Section 3 - Evaluation and Qualification Criteria

## Table of Criteria

1.	Evaluation	3-2

1.1	Technical Evaluation	3-2

1.2	Alternative Technical Solutions	3-2

1.3	Economic Evaluation	3-2

1.4	Multiple Contracts	3-4

2.	Qualification	3-5

2.1	Eligibility	3-5

2.1.1	Nationality	3-5

2.1.2	Conflict of Interest	3-5

2.1.3	ADB Eligibility	3-5

2.1.4	Government-Owned Enterprise	3-5

2.1.5	United Nations Eligibility	3-5

2.2	Pending Litigation and Arbitration	3-6

2.2.1 Pending Litigation and Arbitration	3-6

2.3 	Financial Requirements	3-7

2.3.1	Historical Financial Performance	3-7

2.3.2	Average Annual Turnover	3-7

2.3.3	Financial Resources	3-8

2.4	Bidder's Experience	3-9

2.4.1	Contracts of SImilar Size and Nature	3-9

2.4.2	Experience in Key Activities	3-10

2.5	Subcontractors	3-11

# 1.	Evaluation

# 1.1	Technical Evaluation

Only offers from registered bidders will be considered. Registration takes places automatically after payment of the fee to obtain the bidding documents.

In addition to the criteria listed in ITB 34.1 (a)–(b), other relevant factors are as follows:

If the Bidder´s offer has deviations to the Employer´s requirements, they shall be listed and described using the corresponding Form in the Section 4, List of non-compliance. The Employer shall examine the technical aspects of the non-compliance, in particular to confirm that non-compliance does not affect the functional of the Facilities as described in Section 6. In case the functional requirements are no longer met, the non-compliance will be considered a major deviation and the bid may be rejected.

Evaluation of the Bidder’s Technical Proposal will include an assessment of the Bidder’s technical capacity to mobilize key equipment and personnel for the contract consistent with its proposal regarding work methods, scheduling, and material sourcing in sufficient detail and fully in accordance with the requirements stipulated in Section 6 (Employer’s Requirements).

Non-compliance with equipment and personnel requirements described in Section 6 (Employer’s Requirements) shall not normally be a ground for bid rejection and such non-compliance will be subject to clarification during bid evaluation and rectification prior to contract award.

# 1.2	Alternative Technical Solutions

Technical alternatives are not permitted.

# 1.3	Economic Evaluation

In addition to the criteria listed in ITB 39.2 I (a)–(e), other relevant factors are as follows:

The economic evaluation shall be conducted NOT by the comparison of Bid Price but with the Lifecycle Unit Cost (LUC), as calculated with the following formula.

where:

| # LUC | # [USD/kWh] | Lifecycle unit cost in USD/kWh |
| --- | --- | --- |
| # CBESS | # [kWh] | Overall capacity of BESS specified in specification submitted by the bidder |
| # Nc | # [ - ] | Number of battery cycle tested and guaranteed from the test report with capacity above SoC% |
| # SoC | # % | State of Charge, corresponding to remaining usable capacity of battery in % in kWh against initial capacity of battery in kWh, guaranteed after battery is charged and discharged Nc number of times |
| # Nbr | # [ - ] | Number of times of required battery replacement in 20 years, assuming battery is fully charged and discharged once in a day. When Nc > 7.300 times (=20 year x 365 days), Nbr=0. When Nc ≦7,300, Nbr shall be the rounded up to the integer value of 7,300/Nc |
| # PBESS | # [USD] | Total price of “BESS and related equipment” in USD, put by the bidder in Schedule No.1 and Schedule No.4 in Section 4 PBESS = PBESS1 + PBESS2, Where PBESS1 is the cost of BESS and related equipment in Schedule No.1 of Section 4 and PBESS2 is the cost of Installation of BESS and related equipment, including container in Schedule No.4 of Section 4 |
| # Pbid | # [USD] | Bid Price in USD |

Nc and SoC shall be evaluated by the test report submitted by the Bidder in Technical Bid.

Figure: Concept of SoC and Nc

# 1.3.1	Quantifiable Deviations and Omissions

Quantifiable Deviations and Omissions from the contractual obligations: the evaluation shall be based on the evaluated cost of fulfilling the contract in compliance with all contractual obligations under this Bidding Documents

# 1.3.2	Time Schedule

Time to complete the plant and services from the effective date specified in Article 3 of the Contract Agreement for determining the time for completion of pre-commissioning activities is: 365 days. No credit will be given for earlier completion.

# 1.3.3	Operating and Maintenance (O&M) Costs

Not applicable.

# 1.3.4	Functional Guarantees of the Facilities

The minimum and/or maximum requirements stated in the Specification for functional guarantees required in the Specification are:

| Functional Guarantee | Minimum and/or Maximum Requirements [as required in the Specification] |
| --- | --- |
| 1. Battery lifecycle guarantee | - Cycle of lithium ion battery cells applied in BESS shall be minimum 13,000 cycle, at DOD (depth of discharge) 90% or above at rated power, and remaining battery capacity (SOC, State of Charge) shall be equivalent or above 70% at the end of above life cycle. - Copy of the manufacturer's test report opened to public, submitted to external official agency, or published in reputable international journal shall be submitted in Technical Bid |
| 2. Discharge speed | - The Discharge C-rate of BESS shall be equivalent or above 3C. - Copy of the manufacturer’s test report or specification opened to public, submitted to external official agency, or published in reputable international journal shall be submitted in Technical Bid |
| 3. Safety | - Safety test has been conducted and no burst nor fire shall be observed in the test according to IEC 62619, IEC62660-2, or UL1973 - Copy of certificate from certification body shall be submitted in Technical Bid |
| 4. EMS function | - EMS shall have following function 1) Economic Load Dispatch (ELD) control and Load Frequency Control (LFD) function. 2) Import function weather forecast data from meteorological organization 3) Generation planning function with demand forecast and theoretical PV generation forecast, and creating one-day operation schedule to keep demand and supply balance 4) SoC management function for BESS 5) EMS shall be able to command control charge/discharge of battery - Copy of manufacture’s specification shall be submitted in Technical Bid |

# 1.3.5	Work, Services, Facilities, etc., to Be Provided by the Employer

Where bids include the undertaking of work or the provision of services or facilities by the Employer in excess of the provisions allowed for in the Bidding Document, the Employer shall assess the costs of such additional work, services and/or facilities during the duration of the contract. Such costs shall be added to the bid price for evaluation.

# 1.3.6	Specific Additional Criteria

Not applicable.

# 1.3.7	Domestic Preference

A margin of preference is not applied.

# 1.4	Multiple Contracts

Multiple contracts are not applicable.

# 2.	Qualification

It is the legal entity or entities comprising the Bidder, and not the Bidder’s parent companies, subsidiaries, or affiliates, that must satisfy the qualification criteria described below.

# 2.1	Eligibility

| Criteria | Compliance Requirements |  |  |  | Documents |
| --- | --- | --- | --- | --- | --- |
| Requirement | Single Entity | Joint Venture |  |  | Submission Requirements |
|  |  | All Partners Combined | Each Partner | One Partner |  |

# 2.1.1   Nationality

| Nationality in accordance with ITB Subclause 4.2. | must meet requirement | must meet requirement | must meet requirement | not applicable | Forms ELI - 1; ELI - 2 with attachments |
| --- | --- | --- | --- | --- | --- |

# 2.1.2	Conflict of Interest

| No conflicts of interest in accordance with ITB Subclause 4.3. | must meet requirement | must meet requirement | must meet requirement | not applicable | Letter of Technical Bid |
| --- | --- | --- | --- | --- | --- |

# 2.1.3	ADB Eligibility

| Not having been declared ineligible by ADB, as described in ITB Subclause 4.4. | must meet requirement | must meet requirement | must meet requirement | not applicable | Letter of Technical Bid |
| --- | --- | --- | --- | --- | --- |

# 2.1.4	Government-Owned Enterprise

| Bidder required to meet conditions of ITB Subclause 4.5. | must meet requirement | must meet requirement | must meet requirement | not applicable | Forms ELI - 1; ELI - 2 with attachments |
| --- | --- | --- | --- | --- | --- |

# 2.1.5	United Nations Eligibility

| Not having been excluded by an act of compliance with a United Nations Security Council resolution in accordance with ITB Subclause 4.7. | must meet requirement | must meet requirement | must meet requirement | not applicable | Letter of Technical Bid |
| --- | --- | --- | --- | --- | --- |

# 2.2	Pending Litigation and Arbitration

Pending litigation and arbitration criterion shall not apply.

2.2.1   Pending Litigation and Arbitration

| Criteria | Compliance Requirements |  |  |  | Documents |
| --- | --- | --- | --- | --- | --- |
| Requirement | Single Entity | Joint Venture |  |  | Submission Requirements |
|  |  | All Partners Combined | Each Partner | One Partner |  |
| All pending litigation and arbitration, if any, shall be treated as resolved against the Bidder and so shall in total not represent more than fifty (50) percent of the Bidder’s net worth calculated as the difference between total assets and total liabilities | must meet requirement by itself or as partner to past or existing Joint Venture | not applicable | must meet requirement by itself or as partner to past or existing Joint Venture | not applicable | Form LIT - 1 |

# 2.3 	Financial Situation

# 2.3.1	Historical Financial Performance

| Criteria | Compliance Requirements |  |  |  | Documents |
| --- | --- | --- | --- | --- | --- |
| Requirement | Single Entity | Joint Venture |  |  | Submission Requirements |
|  |  | All Partners Combined | Each Partner | One Partner |  |
| Submission of audited financial statements or, if not required by the law of the Bidder’s country, other financial statements acceptable to the Employer, for the last three (3) years to demonstrate the current soundness of the Bidder’s financial position. As a minimum, the Bidder’s net worth for the last year calculated as the difference between total assets and total liabilities should be positive. | must meet requirement | not applicable | must meet requirement | not applicable | Form FIN - 1 with attachments |

# 2.3.2	Average Annual Turnover

| Criteria | Compliance Requirements |  |  |  | Documents |
| --- | --- | --- | --- | --- | --- |
| Requirement | Single Entity | Joint Venture |  |  | Submission Requirements |
|  |  | All Partners Combined | Each Partner | One Partner |  |
| Minimum average annual turnover of $10,000,000 calculated as total certified payments received for contracts in progress or completed, within the last three (3) years. | must meet requirement | must meet requirement | must meet twenty five percent (25%) of the requirement | must meet forty percent (40%) of the requirement | Form FIN - 2 |

# 2.3.3	Financial Resources

| Criteria | Compliance Requirements |  |  |  | Documents |
| --- | --- | --- | --- | --- | --- |
| Requirement | Single Entity | Joint Venture |  |  | Submission Requirements |
|  |  | All Partners Combined | Each Partner | One Partner |  |
| The Bidder must demonstrate that it has the financial resources to meet: |  |  |  |  |  |
| - its current contract commitments, as defined in FIN-4 (Total Financial Requirements for Current Contract Commitments), plus | must meet requirement | not applicable | must meet requirement for its own contractual commitments | not applicable | Form FIN - 4 |
| - the requirements for the Subject Contract of $ 3,000,000.00 | must meet requirement | must meet requirement | must meet twenty five percent (25%) (A) | must meet sixty percent (60%) (B) | Form FIN – 3 and Form FIN - 4 |

# 2.4	Bidder’s Experience

# 2.4.1	Contracts of Similar Size and Nature

| Criteria | Compliance Requirements |  |  |  | Documents |
| --- | --- | --- | --- | --- | --- |
| Requirement | Single Entity | Joint Venture |  |  | Submission Requirements |
|  |  | All Partners Combined | Each Partner | One Partner |  |
| Participation in at least one contracts that have been successfully or substantially completed within the last 5 years and that are similar to the proposed contract, where the value of the Bidder’s participation exceeds $3,500,000. The similarity of the Bidder’s participation shall be based on the physical size, nature of works, complexity, methods, technology or other characteristics as described in Section 6 (Employer’s Requirements). | must meet requirement | not applicable | not applicable | must meet requirement | Form EXP - 1 |

# 2.4.2	Experience in Key Activities

# (Must be complied with by the Bidder. In case of a Joint Venture Bidder, at least one of the partners must have experience in the key activity. If the activity can be subcontracted, the requirement must be specified in criterion 2.5 of Section 3.)

| Criteria | Compliance Requirements |  |  |  | Documents |
| --- | --- | --- | --- | --- | --- |
| Requirement | Single Entity | Joint Venture |  |  | Submission Requirements |
|  |  | All Partners Combined | Each Partner | One Partner |  |
| For the above or other contracts executed during the period stipulated in 2.4.1 above, a minimum experience in the following key activities: |  |  |  |  |  |
| Supply and installation of electric equipment in projects of which amount exceeds 5 million USD, financed by international or bilateral development agencies, at least one (3) completed projects within the past ten (10) years | must meet requirements | not applicable | not applicable | must meet requirements | Form EXP - 2 |

# 2.5	Subcontractors

Subcontractors or Manufacturers for the following major items of plant and services must meet the following minimum criteria, herein listed for that item. Failure to comply with this requirement will result in rejection of the subcontractor but not the Bidder.

| Item No. | Description of Item | Minimum Criteria to be met | Documents Submission Requirements |
| --- | --- | --- | --- |
| 1 | BESS Supplier/ Manufacturer | i) Design, manufacturing, and supply of BESS with the same battery module proposed in this Project, of which capacity is not less than 1 MW, in at least three (3) completed projects within the past 20 years ii) Evidence of above works such as Completion Certificate from the Client, corresponding part of contract, or equivalent document shall be submitted | Form EXP-3 |
| 2 | EMS Supplier/Manufacturer | i) Design, manufacturing, and supply of EMS that controls hybrid energy system (more than two generation sources) with BESS, in at least one (1) completed projects within the past 20 years iii) Evidence of above works such as Completion Certificate from the Client, corresponding part of contract, or equivalent document shall be submitted |  |
| 3 | Supplier of measuring equipment | The supplier shall supply the measuring equipment (11 kV energy meters, 400V energy meters, and fuel flow meter) in compliance with international standard and with calibration certificate. Specification for proposed measuring equipment and example of calibration certificate or test report or type certificates of the proposed equipment shall be submitted. |  |
| 4 | Cabling and installation works | Must be in the relevant business for the last five (5) years. |  |
| 5 | Civil works | Must be in the relevant business for the last five (5) years. |  |

In the case of a Bidder who offers to supply and install major items of plant under the contract, which the Bidder did not manufacture or otherwise produce, the Bidder shall provide the Manufacturerʼs authorization, using the form provided in Section 4 (Bidding Forms), showing that the Bidder has been duly authorized by the Manufacturer or producer of the related plant and equipment or component to supply and install that item in the Employerʼs country. Failure to submit the Manufacturer’s authorization at the first instance is considered a minor, nonmaterial omission and shall be subject to clarification. However, failure of the Bidder to submit the omitted authorization shall lead to rejection of the Subcontractor or Manufacturer of the item under evaluation in accordance with ITB 35.4.