## Cover Sheet
BILL OF QUANTITIES
CONSTRUCTION OF ACCOMODATION BLOCK
HDH. KULHUDHUFFUSHI

## Summary
SUMMARY OF BILLS OF QUANTITIES
CONSTRUCTION OF ACCOMODATION BLOCK
Bill No | Description |  | Amount
1 | PRELIMINARIES | Bill no. 01 | 0
2 | GROUND WORKS | Bill no. 02 | 0
3 | CONCRETE | Bill no. 03 | 0
4 | MASONRY AND PLASTERING | Bill no. 04 | 0
5 | ROOFING | Bill no. 05 | 0
6 | DOORS AND WINDOWS | Bill no. 06
7 | TILING | Bill no. 07
8 | CEILINGS | Bill no. 08
9 | PAINTING | Bill no. 09
10 | ELECTRICAL INSTALLATIONS | Bill no. 10
11 | HYDRAULICS & DRAINAGE | Bill no. 11
13 | AIR CONDITIONING SYSTEM | Bill no. 12
14 | TENDERER'S ADJUSTMENTS | Bill no. 13
| GRAND TOTAL carried to form of bid |  | 0
0
0

## BOQ
12.85
BILL OF QUANTITIES
CONSTRUCTION OF ACCOMODATION BLOCK
HDH. KULHUDHUFFUSHI
Item | Description | Unit | Qty | Material Rate | Labour Rate | Rate | Amount
BILL No: 01
PRELIMINARIES
1.1 | General Notes
(1) | Abbreviations
m - meter
No - numbers
m³ - cubic meter
m² - square meter
Lm - Linear meter
KG - Kilograms
incl - including
mm - millimeter
dia - diameter
SS - Stainless Steel
GI - Galvanized Iron
1.2 | Site Management Costs
1 | Day to day management of site activities includes carrying out construction works with in stipulated period as per working drawings and technical specification and terms of contract, labour control, material management, stores management and overseeing the safety of work and stores equipment and personnel at site. Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings and similar. | item | 1 |  |  | 0 | 0
1.3 | Sign Board
1 | Allow for sign board. 4'x3' plastic board with layout according Ministry of Health & Libyan Fund for Assistance and Development. | no | 1 |  |  | 0 | 0
1.4 | INSPECTION TRIPS
1 | Arrange inspection trip to consultant, each inspection trip takes 2 days, contractor has to arrange 2 air ticket from Male'/Hanimaadhoo/Male by air (normal fair) and Hanimaadhoo/Kulhudhuffushi/Hanimaadhoo by Speed boat and Accommodation ( Air condition room with 2 twin beds) and land transport from jetty to room and room to jetty to be include. | No | 4
| BILL No: 01 PRELIMINARIES | [5 empty] | 0
TOTAL OF BILL No: 01 - Carried over to summary
BILL No: 02
GROUND WORKS
2.1 | General
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and disposing surplus soil.
2.2 | Site Clearing
1 | Includes clearing of all trees and bushes complete with stems, roots Flooring and the reimbursement fees if applicable. The contractor is advised to survey the construction site and ensure that all necessary works for site clearing are included and on completion of works. | m² | 302 |  |  | 0 | 0
2.3 | Excavation
Excavation shall be carried out in all type of materials and by whatever means are necessary accurately to the lines and levels shown in the approved drawing. No blasting of any kind will be permitted. Excavation for foundations and will include timbering of soil faces and dewatering. Excavation quantities are measured to the faces of concrete members. Rates shall include for dewatering, leveling, grading, trimming compacting to faces of excavation, keeping sides plumb, backfilling, consolidating and disposing surplus soil and include for all additional excavation required to place the formwork / shuttering and dewatering the trench for the required days.
1 | Excavation for Footings | m³ | 122.61 |  |  | 0 | 0
2 | Excavation for Foundation Beams | m³ | 31.15 |  |  | 0 | 0
2.4 | Back Filling up to ground level.
(a) Rates shall include for: leveling, grading, trimming and compacting as specified.
1 | Back Filling up to ground level. | Item | 1 |  |  | 0 | 0
2.5 | Basement filling Above ground level.
Back filling above ground level in 100mm thick compacted layers of approved back fill soil and disposal of any excess soil and including ramp: rates shall include for leveling, grading, trimming and compaction in 100mm layers of filled areas of excavation , back filling to be 300mm above groun level.
1 | Basement filling Above ground level. | m³ | 90.3 |  |  | 0 | 0
2.5 | Damp Proof Membrane
1 | Cutting and laying in position heavy duty polythene sheets of gauge 500 (not less than 1.5mm thick). Rates shall include for: dressing around and sealing to all penetrations. Apply slurry type waterproofing to all surfaces of concrete below ground level in accordance with manufacturer's instructions. | m² | 147 |  |  | 0 | 0
2 | Damp proof membrane below floor slab | m² | 302 |  |  | 0 | 0
3 | Bituminous application to sides of Footings, foundation beams & columns below ground level. | Item | 1 |  |  | 0 | 0
| BILL No: 02 - GROUND WORKS | [5 empty] | 0
TOTAL OF BILL No: 02 - Carried over to summary
BILL No: 03
CONCRETE
3.1 | General
Rates shall include for cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and other supports, laps and wastage, all reinforcement bars except 6 mm dia bars shall be of deformed high strength bars. 6 mm bar shall be round mild steel bars. Binding wire shall be of 1.6 mm or 1.4 mm soft iron wire. Reinforcement bars shall be cleaned before use i.e. should be free from rust, oil, din, or other coatings that reduces bonds, all reinforced bars and binding wires shall be stored under cover of at least 450 mm above the ground, cutting and bending according to approved manner & the approved working drawing, placing and fixing in position and binding should be as per the approved working drawing, laps in the bars shall be staggered, concrete cover for reinforcement shall not less than 50 mm for substructure, 40 mm for columns & side beams and not more than 30 mm for slab and beam bottoms.
1 | Allow for concrete testing. | item | 1 |  |  | 0 | 0
3.2 | Lean Concrete
Lean concrete shall be 50mm thick & mix ratio shall be 1:3:6 by dry volume. Lean concrete placed at bottom of footing and foundation beam and below plinth for protection according to line and length mentioned in the approved drawing. Quantity measured to the edges of concrete foundation members. Rate shall include of placing any formwork where necessary, batching, mixing, casting in all required items pouring & compacting and curing for 3 days and removal of any formwork include for provision casting of required items & finishing after removal of formwork and additional concrete required to confirm to structural and excavated tolerances and rates shall include supply of all required works
1 | Footings, 50mm thick, | m³ | 5.11 |  |  | 0 | 0
1 | Foundation Beam 50mm thick, | m³ | 1.44 |  |  | 0 | 0
3.3 | Reinforced Concrete
3.3.1 | Foundations & Footing
1 | Footing F1, 1950x1950x300mm | m³ | 26.24 |  |  | 0 | 0
2 | Footing F2, 1450x1450x300mm | m³ | 4.42 |  |  | 0 | 0
4 | Foundation Beam, FB 450x250 | m³ | 20.03 |  |  | 0 | 0
3.3.2 | Ground Floor
1 | Concrete columns C1, 200 x 300 | m³ | 7.65 |  |  | 0 | 0
3.3.3 | First Floor
1 | Concrete columns C1, 200 x 300 ( 1 meter above slab ) | m³ | 1.56 |  |  | 0 | 0
| Concrete columns C1, 200 x 300 ( 1 meter above slab for starcase roof area ) | m³ | 0.48 |  |  | 0 | 0
3.3.4 | Staircase
1 | Ground floor staircase | m³ | 1.82 |  |  | 0 | 0
3.3.5 | Beams
1 | Sides of Attached beams, B1 | m³ | 11.55 |  |  | 0 | 0
2 | Sides of Attached beams, B2 | m³ | 1.5 |  |  | 0 | 0
3 | Sides of Attached beams, B3 | m³ | 0.75 |  |  | 0 | 0
3.3.6 | RC Slab
1 | Suspended slab 150mm thick | m³ | 44.8 |  |  | 0 | 0
3.3.7 | Lintel and Sill beams
Lintel beams
Lintel beams to be laid above all doors & windows, lintel beams to be overlap 300mm each side
1 | Lintel beams, 100 x 150 | m³ | 0.84 |  |  | 0 | 0
3.5.10 | Sill beams
Sill beams to be laid above all windows , Sill beams to be overlap 300mm each side
1 | Sill beams, 100 x 150 | m³ | 0.4 |  |  | 0 | 0
3.3.11 | Floor Slab, Ground floor
1 | 100mm thick ground floor RC floor slab as per drawing | m³ | 30.17 |  |  | 0 | 0
3.4 | Formwork
(a) Rates shall include for all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes and removal of formwork. All materials such as plywood, shutter oils and other items and transportation to work place and secure the formwork in highly precise manner guaranteeing straight and smooth concrete edges. Cutting, fixing, bracing and oiling according to line and length as per approved working drawings removal of it after concrete has set without damaging the concrete faces.
3.4.1 | Footings
1 | Footing F1, 1950x1950x300mm | m² | 60.84 |  |  | 0 | 0
2 | Footing F2, 1450x1450x300mm | m² | 6.96 |  |  | 0 | 0
3.4.2 | Foundations
1 | Tie Beam, TB 450x250 | m² | 16.2 |  |  | 0 | 0
3.4.3 | Ground Floor & First Floor
1 | Concrete columns C1 | m² | 162 |  |  | 0 | 0
3.4.4 | RC Slab
1 | Suspended slab 150mm thick | m² | 299 |  |  | 0 | 0
3.4.5 | Beams
1 | Beams, B1 | m² | 140 |  |  | 0 | 0
2 | Beams, B2 | m² | 20 |  |  | 0 | 0
3 | Beams, B3 | m² | 10 |  |  | 0 | 0
3.4.6 | Staircase
1 | Staircase formwork | m² | 19.5 |  |  | 0 | 0
3.4.8 | Lintel and Sill beams
Lintel beams
Lintel beams to be laid above all doors & windows, lintel beams to be overlap 300mm each side
1 | Lintel beams, 100 x 150 | m² | 22.3 |  |  | 0 | 0
3.4.9 | Sill beams
Sill beams to be laid above all windows , Sill beams to be overlap 300mm each side
1 | Sill beams, 150 x 150 ( 50% of form work) | m² | 10.58 |  |  | 0 | 0
3.5 | Reinforcement
GENERAL : Rates shall include for cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and other supports, laps and wastage, all reinforcement bars except 6 mm dia bars shall be of deformed high strength bars. 6 mm bar shall be round mild steel bars. Binding wire shall be of 1.6 mm or 1.4 mm soft iron wire. Reinforcement bars shall be cleaned before use i.e. should be free from rust, oil, din, or other coatings that reduces bonds, all reinforced bars and binding wires shall be stored under cover of at least 450 mm above the ground, cutting and bending according to approved manner & the approved working drawing, placing and fixing in position and binding should be as per the approved working drawing, laps in the bars shall be staggered, concrete cover for reinforcement shall not less than 50 mm for substructure, 40 mm for columns & side beams and not more than 30 mm for slab and beam bottoms.
(b) All reinforcing bars shall be high strength bars.
3.5.1 | Footings
1 | Footing F1, 12mm bars | No | 242 |  |  | 0 | 0
2 | Footing F2, 12mm bars | No | 39 |  |  | 0 | 0
3.5.2 | Tie Beam
Tie Beam, TB 450x250
1 | Steel deformed bars, 12mm dia | No | 262 |  |  | 0 | 0
2 | Steel ring bars, 6mm dia | No | 436 |  |  | 0 | 0
3.5.3 | Column
Ground Floor
Column, C1 300x200
1 | Steel deformed bars, 16mm dia | No | 193 |  |  | 0 | 0
2 | Steel ring bars, 6mm dia | No | 185 |  |  | 0 | 0
3.5.4 | First Floor
Column, C1 300x200
1 | Steel deformed bars, 16mm dia | No | 52 |  |  | 0 | 0
2 | Steel ring bars, 6mm dia | No | 50 |  |  | 0 | 0
3.5.5 | Beams
B1
1 | Steel deformed bars, 20mm dia | No | 320 |  |  | 0 | 0
2 | Steel ring bars, 6mm dia | No | 420 |  |  | 0 | 0
B2
3 | Steel deformed bars, 16mm dia | No | 32 |  |  | 0 | 0
4 | Steel ring bars, 6mm dia | No | 27 |  |  | 0 | 0
B3
5 | Steel deformed bars, 16mm dia | No | 9 |  |  | 0 | 0
6 | Steel ring bars, 6mm dia | No | 10 |  |  | 0 | 0
3.5.6 | Slab
First Floor
1 | Steel deformed bars, 10mm dia | No | 890 |  |  | 0 | 0
3.5.7 | Stair case
1 | Steel deformed bars, 10mm dia | No | 185 |  |  | 0 | 0
3.5.9 | Lintel and Sill beams
Lintel beams
Lintel beams to be laid above all doors & windows, lintel beams to be overlap 300mm each side
Concrete Lintel beams, 100 x 150
1 | Steel deformed bars, 10mm dia | No | 20 |  |  | 0 | 0
2 | Steel ring bars, 6mm dia | No | 21 |  |  | 0 | 0
3.5.10 | Sill beams
Sill beams to be laid above all windows , Sill beams to be overlap 300mm each side
Concrete Sill beams, 100 x 150
1 | Steel deformed bars, 10mm dia | No | 10 |  |  | 0 | 0
2 | Steel ring bars, 6mm dia | No | 11 |  |  | 0 | 0
3.5.11 | Floor Slab
Ground floor floor slab
1 | Steel ring bars, 6mm dia @300c/c | No | 373 |  |  | 0 | 0
3.5.13 | Water Proofing
1 | Watre prrofing of first floor slab a per Consultants instruction. Use apropriate chemical | Item | 1 |  |  | 0 | 0
3.6 | OTHER CONCRETE WORKS
1 | Fabrication of Concrete sink cupboard at Kitchen area 2.5 Meter length and 900mm width(1st Floor) as per drawings, Rates shall include, concrete works tiling of all surfaces, installation of ceramic laboratory sink (Cotto or equivalent) with an wall mount elbow operated faucet. And Rates shall also include all hydarulic works related to this item. Also rates shall include fixing of timber door panel and shelves. | Item | 4
| BILL No: 03 - CONCRETE WORKS | [5 empty] | 0
TOTAL OF BILL No: 03 - Carried over to summary
BILL No: 04
MASONRY AND PLASTERING
4.1 | General
Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good. Bedding mortar (mixing ratio 1:4 i.e. cement: sand)) shall be of OPC & fine aggregate shall be imported river sand shall be approved in grading & clean from any harmful substance. Masonry work shall be done with approved cement blocks (300X150X150 , 300X150X200mm) with no defects. Lay in line and length as per approved working drawing
floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding
Imported River sand to be used Block making, Masonary and Plastering works, Balocks to be Machine copact.
Rates shall include for: 25mm groove lines on external surfaces as shown on the drawing.
4.2 | Cement block work
Ground and First Floor
1 | 150mm Thick Hollow block Masonry wall for ground floor and stair area, | m² | 626 |  |  | 0 | 0
4.3 | Plastering
GENERAL: Interior Plaster All masonry wall have smooth finishing exterior plaster of 25 mm thick cement plastering with mix ratio 1:4 (i.e. cement: sand), plastering material shall be of OPC & fine aggregate shall be imported river sand shall be approved in grading & clean from any harmful substance. Plastic net should be provided wherever concrete surface and masonry meets, and cracks are unacceptable. Regular curing up to 7 days must be done, Use chemical for plastering
1 | Exterior plaster 25mm thick, 2 coat including concrete surfaces. | m² | 288 |  |  | 0 | 0
2 | Interior plaster 18mm thick, including concrete surfaces. | m² | 730 |  |  | 0 | 0
4.4 | Floor Screed
1 | 50mm thick screed on ground floor slab | m² | 302
2 | 50mm thick screed on First floor slab with water proofing | m² | 290
| BILL No: 04 - MASONRY AND PLASTERING | [5 empty] | 0
TOTAL OF BILL No: 04 - Carried over to summary
BILL No: 05
ROOFING
5.1 | General
1 | (a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws. (b) Rates includes to applying solignam wood preservative oil to all the surface of roof structure. (c) Rates include to fixing galvanized bolt with washers and nuts as show on the drawings.
5.2 | Roof Coverings
Roofing sheets Blue scope steel international limited MSP- Aqua Marine or equivalent,
1 | Stair case Void Area | m² | 23.6 |  |  | 0 | 0
5.3 | Capping and Flashings
1 | Flashing: Blue scope steel international limited MSP- Aqua Marine or equivalent | m | 15 |  |  | 0 | 0
5.4 | Gutter
(a) MSP Color bond flat sheet gutter including framing, and supports, straps, brackets, clips, stop ends, overflow, downpipe outlets, mesh flashings and all fixings and fastenings.
1 | GUTTER: Blue scope steel international MSP- Aqua Marine or equivalent for connection area | m | 4.7 |  |  | 0 | 0
5.5 | Down Pipes
1 | 75 mm dia uPVC down pipes including bends, junctions, straps, brackets, clips, roof drain strainer and all fixings. | m | 8 |  |  | 0 | 0
5.6 | Roof Structure
(a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
1 | 50 X 150mm timber rafters | m | 64 |  |  | 0 | 0
2 | 50 X 5mm timber purling | m | 40 |  |  | 0 | 0
3 | Timber fascia board 25 X 250mm ( connection area between 2 building ) | m | 5 |  |  | 0 | 0
4 | 12mm dia. GI Bolt for fixing rafters on roof beam, 350mm length | Nos | 16 |  |  | 0 | 0
| BILL No: 05 - ROOFING | [5 empty] | 0
TOTAL OF BILL No: 05 - Carried over to summary
BILL N0: 06
DOORS AND WINDOWS
6.1 | General
Timber doors & Ventilators, Fabricate the door frames and door panel to specified size using recommended timber fix same and other fittings such as locks etc. wood Paint specified and shown in approved working drawings and installation should be as per technical specifications. Rates shall include for locks (i.e. security lock & dead lock), latches, closures, push plates, pull handles, bolts, kick plates hinges, screws, washer and all door and window hardware and these materials should be of ss steel according to drawing and of superior quality
Aluminum Doors and windows, Fabricate and fix in position the aluminum doors and window frame - aluminum doors and window (white powder coated, 60-80 micron, 1.5mm profile thickness) using recommended material with specified fixtures as shown in approved working drawings and installation should be as per technical specifications. Rates shall include for locks, latches, closures, push plates, pull handles, bolts, kick plates hinges, screws, washer and all door and window hardware and these materials should be of ss steel according to drawing and of superior quality.
(a) All door and window frames and panels shall be as specified in the drawing
(b)All glass should be a frosted.
6.2 | Door / Windows units
1 | D1 - Solid timber door 2150x1000mm with solid panels as per drawings, (Door Frame size is 150X100mm balau timber) | No | 5 |  |  | 0 | 0
2 | D2 - Solid timber door 2150x900mm with solid panels as per drawings, (Door Frame size is 150X100mm balau timber) | No | 8 |  |  | 0 | 0
3 | D3 - Solid timber door 2150x800mm with panels as per drawings, (Door Frame size is 150X100mm Balau timber, Frame and panel to be covered with 0.35mm thick lead sheet inside ) | No | 12 |  |  | 0 | 0
4 | 800mm wide aluminium door for lift woid to acess 1st floor slab | No | 1
5 | W1, Aluminum 60-80 Micron, white powder coated window 1700x1300mm with panels as per drawings | No | 8 |  |  | 0 | 0
6 | W2, Aluminum 60-80 Micron, white powder coated window 1700x675mm with panels as per drawings | No | 6 |  |  | 0 | 0
7 | V1, Aluminum 60-80 Micron, white powder coated window 675x500mm with panels as per drawings | No | 8 |  |  | 0 | 0
6.3 | GRILLS
Grills: Fabrication and fixing of Grills as per drawings, all the pipe should be hollow section frame painted one coat of red oxide, Nippon metal paint undercoat and two coats of Nippon metal or equivalent.
1 | Fabrications and complet fixing of grills at W1 windows | No | 8
2 | Fabrications and complet fixing of grills at W2 windows | No | 6
3 | Fabrications and complet fixing of grills at G1 | No | 4
4 | Fabrications and complet fixing of grills at V1 windows | No | 8
6.4 | Window Curtains
Supply and installation of window curtains for following doors, quality of window curtain should be sun protected medium quality, Size of finished curtain should be 2.4X2.2meter for W1 windows and 2.4X1.575meter for W2 Windows, Rates should be complete installation of curtain with railing.
1 | W1 windows | No | 8
2 | W2 windows | No | 6
| BILL N0: 06 - DOORS AND WINDOWS | [5 empty] | 0
TOTAL OF BILL No: 06 - Carried over to summary
BILL N0: 07
TILING
7.1 | General
Prepare surface for approved bedding tiles with reach bedding materials as per the technical specifications & approved working drawings, fix tiles with ct grout in a precise manner to maintain correct alignment, applying tile grout and wiping any excess grout to ensure the required standards of finished works. Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing any other similar works to ensure the required finish. All tiles shall be homogeneous or equivalent.
7.2 | Floor finish
7.2.1 | 300x300 skid resistant White Ceramic floor tiles,
1 | Ground Floor, | m² | 268
7.2.2 | 300x300 non-slip floor tiles
1 | Ground floor Toilets | m² | 25.76 |  |  | 0 | 0
7.2.3 | 300x300 non-slip floor out door tiles
1 | Ground laundary and enterence area | m² | 18 |  |  | 0 | 0
7.3 | Wall finish
Tiles to be use White horse or equivalent bran tiles
7.3.1 | 300x600 mm wall tiles finish
1 | Toilets, 2.4 meter height | m² | 128 |  |  | 0 | 0
2 | Laundary, 1.8 meter height | m² | 48.24 |  |  | 0 | 0
3 | Kitchen area, 1.8 meter height | m² | 67 |  |  | 0 | 0
7.4 | Skirting
1 | Skirting 100mm high, White horse or equivalent | m | 195 |  |  | 0 | 0
| BILL No: 7 - TILING | [5 empty] | 0
TOTAL OF BILL No: 7 - Carried over to summary
BILL No: 8
CEILINGS
8.1 | Interior Ceilings
Interior ceiling consist of 9 mm thick Gypsum board suspended ceiling, including framing beading nails and screws. Grid of the frame to be 600 x 600 with timber supports to roof structure at every 1200 mm, timber framing and supports shall 50 x 50mm size shall be seasoned red meranti timber as per given drawing. All Support/hangers & framing for ceiling shall be seasoned Red meranti.
Interior Ceilings
1 | Stair void | m² | 13 |  |  | 0 | 0
8.2 | Exterior Ceilings
Exterior ceiling consist of 6 mm thick M board suspended ceiling, including framing beading nails and screws. Grid of the frame to be 600 X 600 with timber supports to roof structure at every 1200 mm on the main entrance ceiling & 600X900 mm at eaves of roof ceiling, timber framing and supports shall 50 x 50mm size shall be seasoned red meranti timber as per given drawing.
8.3 | Exterior Ceiling
1 | Existing building and new building connection area | m² | 5.5 |  |  | 0 | 0
| BILL N0: 8 CEILINGS | [5 empty] | 0
TOTAL OF BILL No:8 - Carried over to summary
BILL No: 9
PAINTING
9.1 | General
Exterior wall shall be of 1 coat of oil based textured paint and 2 coats of Sigma weather bond paint ( white, oil based ) over 1 coat of oil based sealer ( white) or equivalent (according to technical specifications or approved drawings). Erection of scaffolding, preparing working platforms, applying sealer and two coats of paint as specified in the working drawings. Removal of scaffolding if any after completion of work. Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window and including soffits and sides of beams.
Interior wall shall be of 2-3 coats over 1 coat of water based sealer. Rates includes Erection of scaffolding, preparing working platforms, applying sealer and two coats of paint as specified in the working drawings. Removal of scaffolding if any after completion of work. Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window and including soffits and sides of beams.
All painting work shall be carried in accordance with the Specifications
9.2 | Wall painting
1 | Interior Walls ( Washable paint ) | m² | 288 |  |  | 0 | 0
2 | Exterior Walls ( whether bond paint ) | m² | 730 |  |  | 0 | 0
9.3 | Ceiling painting
Note: Inside of Dark room to be use black colour paint,
1 | Interior Painting of below 1st floor slab and edge of the slab | m² | 311 |  |  | 0 | 0
| BILL No: 9 - PAINTING | [5 empty] | 0
TOTAL OF BILL No: 9 - Carried over to summary
BILL No: 10
HYDRAULICS & DRAINAGE
10.1 | Hydraulics
10.1.1 | General
(a) Rates shall include for excavation, laying pipes and backfilling trenches, maintaining faces of drainpipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints brackets, joints, straps, hangers, screws, nails and fixing complete, and all joints and other incidental material, All Pipes and fittings area high pressure uPVC pipes
fixing complete, including cutting and forming holes; excavating, laying pipes and backfilling trenches.
(b) All pipe work shall be uPVC.
10.1.2 | Ground water supply pipe work
1 | Allow for ground water supply pipe work ( Flush tanks only) in accordance with the drawings and specifications | no | 1 |  |  | 0 | 0
10.1.3 | Fresh water supply pipe work
1 | Allow for fresh water and Rain water supply pipe work (except flush tanks) in accordance with the drawings and specifications | no | 1 |  |  | 0 | 0
2 | Allow for fresh water connection to fixtures from MWSC main meters (either diretly or through the booster pumps) | Item | 1
10.1.4 | Black water pipe work
1 | Allow for Black water supply pipe work in accordance with the drawings and specifications, includes of Main connection to the public sewer system as per service providers requirements. | no | 1 |  |  | 0 | 0
10.1.5 | Gray water pipe work
1 | Allow for Grey water supply pipe work in accordance with the drawings and specifications | no | 1 |  |  | 0 | 0
10.1.6 | Sanitary fixtures & accessories
Sanitary fixtures & Accessories: Sanitary fixtures complete including brackets, flush pipes, valves, overflows, plugs and washers, as specified. All WC should be anti bacterial glazing.
1 | WC Suites including dual Flush tank ( Height of WC is 395mm), (Cotto) or equivalent | no | 8 |  |  | 0 | 0
2 | Wash basin with pedestal with tap. ( wash basin height 780mm), (Cotto) or equivalent | no | 8 |  |  | 0 | 0
3 | Muslim shower with flexible pipe & Valve, (Cotto) or equivalent | no | 8 |  |  | 0 | 0
3 | Head shower with Heah shower Valve, (Cotto) or equivalent | no | 8 |  |  | 0 | 0
4 | Hand Shower with Hand shower valve, (Cotto) or equivalent | no | 8 |  |  | 0 | 0
5 | Tap (Cotto) or equivalent for toilts | no | 8 |  |  | 0 | 0
6 | Mirror 450x600mm with timber frame | no | 8 |  |  | 0 | 0
7 | Towel bar | no | 8 |  |  | 0 | 0
8 | 75mm dia Floor drain with gully & water trap. (Cotto) or equivalent ( toilets and laundaries). | no | 12 |  |  | 0 | 0
9 | Taps for laundary area, to connect washing machine | no | 4 |  |  | 0 | 0
10 | Stop Valves, ( Cotto) or equivalent, | no | 32 |  |  | 0 | 0
11 | SS sink 1200mm, Deep Single bowl | no | 4 |  |  | 0 | 0
12 | Sink tap, (Cotto) or equivalent | no | 4 |  |  | 0 | 0
10.2 | Drainage
10.2.1 | General
(a) Rates shall include for: excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus spoil; bends, junctions, reducers, expansion joints and all joints and other incidental materials.
(b) All pipe work shall be UPVC
10.2.2 | Pipe work
1 | Connecting to Sewage disposal pipe 100mm dia UPVC to existing system | no | 1 |  |  | 0 | 0
2 | Connect to Waste disposal pipe 40mm dia UPVC to existing system | no | 1 |  |  | 0 | 0
3 | Connect to Ground water pipe 25mm dia UPVC to existing system | no | 1 |  |  | 0 | 0
4 | Connect to Fresh/Rain water pipe 25mm dia UPVC, includes water meter | no | 1 |  |  | 0 | 0
10.2.3 | Inspection chambers
1 | Inspection chambers complete as shown on the drawing incl. All pipe connections and similar | no | 5 |  |  | 0 | 0
10.3 | Pump
10.3.1 | Supply & installation of the water pump complete including connection of pipe work and electricity as specified
1 | Davey Dynajet XJ ultra pressure pump & Fittings or equivalent | no | 2 |  |  | 0 | 0
| BILL No: 10 - HYDRAULICS & DRAINAGE | [5 empty] | 0
TOTAL OF BILL No: 10 - Carried over to summary
BILL No: 11
ELECTRICAL INSTALLATIONS
11.1 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates shall include for electrical conduits, fittings, equipment and similar all fixings to various building surfaces
(d) Each Light/ light fixture and its switch is measured as one one point; similarly each fan or each socket outlet is measured as one point;
(e) Rates shall include for supply and complete installation
11.2 | Mains connection
1 | Allow for main connection: Rates shall include for screws, nails, bolts ,nuts, standard cable, fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories. Rates shall including for electrical conduits, fittings, equipment and similar items. | no | 1 |  |  | 0 | 0
2 | 3-PHASE CABLE TO D-BOARD: Rates shall include all necessary work in trench shall include for excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers warning tape and disposal of surplus soil supply and laying of the cable in according to Maldives electricity bureau. ( 16mm2 3-Core Cable, Approved by respective Authorities, GI pipe, warning tape to be included) Contractor should measure length of cable on site. | Item | 1 |  |  | 0 | 0
11.3 | Electrical Boards
Three phase electrical distribution board ( wall embedded ) with one Meter: Supply and installation of D-Board & Meter. Rates Shall include all required Brackets and other electrical appliance as per drawings and Maldivian Regulations ( wall embedded ) Meter to be cover with whether proof box.
1 | Distribution Board for Lighting ( Wall embedded) | no | 2 |  |  | 0 | 0
2 | Distribution Board for Power points and Air conditions( Wall embedded) | no | 2 |  |  | 0 | 0
11.4 | Electrical wiring
Electrical wiring with copper conductor cable in conduits in walls and in casing on soffits of slab as specified to: wire to be use "Uni cable" or equivalent brand, all the wiring are three phase.
1 | Wiring with 2.5 mm² cable to 1x13 Amp Power points | points | 37 |  |  | 0 | 0
2 | Wiring with 2.5 mm² cable to 2x13 Amp Power points | points | 22 |  |  | 0 | 0
3 | Wiring with 2.5 mm² cable to 1x15Amp Power points ( Ac sockets) | points | 8 |  |  | 0 | 0
2 | Wiring with 2.5 mm² cable to lights and fan | points | 83 |  |  | 0 | 0
11.5 | Lighting / Fan
1 | Wall mount light with with 13W LED bulb, (Philips) E27, Cool day light, Total lumen 1400. Philips or equivalent | no | 52 |  |  | 0 | 0
2 | Ceiling mount dimm light with covered | no | 4 |  |  | 0 | 0
3 | Whether proof Ceiling mount light with with with 13W LED bulb, (Philips) E27, Warm white, Total lumen 1400, | no | 7 |  |  | 0 | 0
4 | Non maintained wall mounted LED Emergency light with 2 hour battery pack | no | 5 |  |  | 0 | 0
5 | Ceiling Fan 1400dia, USHA or equivalent | no | 16 |  |  | 0 | 0
11.6 | Socket outlets
(a) All socket outlets shall be "Legrand" or equivalent.
1 | 1x13Amp wall socket outlet | no | 33 |  |  | 0 | 0
2 | 2x13Amp wall socket outlet | no | 22 |  |  | 0 | 0
3 | 1x13Amp wall socket outlet ( whether proof) | no | 4 |  |  | 0 | 0
4 | 1x15Amp wall socket outlet, for AC | no | 6 |  |  | 0 | 0
11.7 | Light switches
(a) All light switches shall be "Legrand" or equivalent.
1 | One gang switch | no | 20 |  |  | 0 | 0
2 | Two gang switch | no | 18 |  |  | 0 | 0
3 | Fan Controller | no | 16 |  |  | 0 | 0
4 | Dimmer switch | no | 8 |  |  | 0 | 0
11.8 | Fire fighting
Supply and installation on following items:
1 | CO2 Cylindrical extinguisher ( 2KG) with Plastic cover | No | 5 |  |  | 0 | 0
2 | H2O Cylindrical extinguisher ( 9 Liters) with Plastic cover | No | 5 |  |  | 0 | 0
11.1 | TV Cable and Sockets
1 | Laying TV Cable and install of TV sockets, Rates should be includes for all the necessary works, ( Sitting room) | No | 4 |  |  | 0 | 0
| BILL No: 11 - ELECTRICAL INSTALLATIONS | [5 empty] | 0
TOTAL OF BILL No: 11 - Carried over to summary
BILL No: 12
AIR CONDITIONING SYSTEM
12.1 | General
(a) Rates shall include for supply and complete installation of Split type Air condition units, pipe work, insulation, fixing, electrical wiring, stands for outdoor units, drain pipe etc.
(b) All the Air conditions are Inverter type, DAIKIN of equivalent brand
Design, supply and complete installation of indoor and out door unit, with 40ø drop in water (type) 25ø extended as Cd drop in 32 flex conduit 18ø Cd drain (typ0 run above FC insulated, CU1/3 48,000 BTU/HR, all AC unit is DAIKIN VRV IV digital wired thermostat or equivalent (INVERTER TYPE). wall mount Wired remote to be fixed on each room.
12.2 | Air Condition
Split type Air conditions , Inverter Type
1 | Bed rooms, 12000 Btu | No | 8 |  |  | 0 | 0
| BILL No: 12 -AIR CONDITIONING SYSTEM | [5 empty] | 0
TOTAL OF BILL No: 12 - Carried over to summary
BILL No:13
TENDERER'S ADJUSTMENTS
(a) Provide detail description of work items under each bill and insert extra pages if required.
13.1 | Additions
1 | PRELIMINARIES, Bill no. 01 |  |  |  |  | 0 | 0
2 | GROUND WORKS, Bill no. 02 |  |  |  |  | 0 | 0
3 | CONCRETE, Bill no. 03 |  |  |  |  | 0 | 0
4 | MASONRY AND PLASTERING, Bill no. 04 |  |  |  |  | 0 | 0
5 | ROOFING, Bill no. 05 |  |  |  |  | 0 | 0
6 | DOORS AND WINDOWS, Bill no. 06 |  |  |  |  | 0 | 0
7 | TILING, Bill no. 07 |  |  |  |  | 0 | 0
8 | CEILINGS, Bill no. 08 |  |  |  |  | 0 | 0
9 | PAINTING, Bill no. 09 |  |  |  |  | 0 | 0
10 | HYDRAULICS & DRAINAGE, Bill no. 10 |  |  |  |  | 0 | 0
11 | ELECTRICAL INSTALLATIONS, Bill no. 11 |  |  |  |  | 0 | 0
12 | AIR CONDITIONING SYSTEM, Bill no. 12 |  |  |  |  | 0 | 0
| ADDITIONS TOTAL | [5 empty] | 0
13.2 | Omissions
1 | PRELIMINARIES, Bill no. 01 |  |  |  |  | 0 | 0
2 | GROUND WORKS, Bill no. 02 |  |  |  |  | 0 | 0
3 | CONCRETE, Bill no. 03 |  |  |  |  | 0 | 0
4 | MASONRY AND PLASTERING, Bill no. 04 |  |  |  |  | 0 | 0
5 | ROOFING, Bill no. 05 |  |  |  |  | 0 | 0
6 | DOORS AND WINDOWS, Bill no. 06 |  |  |  |  | 0 | 0
7 | TILING, Bill no. 07 |  |  |  |  | 0 | 0
8 | CEILINGS, Bill no. 08 |  |  |  |  | 0 | 0
9 | PAINTING, Bill no. 09 |  |  |  |  | 0 | 0
10 | HYDRAULICS & DRAINAGE, Bill no. 10 |  |  |  |  | 0 | 0
11 | ELECTRICAL INSTALLATIONS, Bill no. 11 |  |  |  |  | 0 | 0
12 | AIR CONDITIONING SYSTEM, Bill no. 12 |  |  |  |  | 0 | 0
| OMISSIONS TOTAL | [5 empty] | 0
| BILL No: 13 - TENDERER'S ADJUSTMENTS | [5 empty] | 0
TOTAL OF BILL No: 13 - Carried over to summary