## Sheet1
PROJECT: GENARATOR & FIRE PUMP HOUSE
SUMMARY OF BILL OF QUANTITIES
Bl.no | Item Description | Amount
Note | PREAMBLE TO BILL OF QUANTITY
1 | PRELIMINARIES
2 | GROUND WORK
3 | CONCRETE
4 | MASONRY AND PLASTERING
5 | DOORS AND WINDOWS
6 | STEEL ROOF STRUCTURE WORK
7 | PAINTING
8 | ELECTRICAL INSTALLATIONS
9 | FIRE FIGHTING SYSTEM
10 | ADDITIONS
11 | OMISSIONS
TOTAL Mvr
6% GST Mvr
GRAND TOTAL Mvr

## Sheet2
Project : Proposed Single Storey Services Building for Genarator and Fire pump house
Item | Description | Unit | Qty | Material Rate | Labour Rate | Total
BILL No: 01
PRELIMINARIES
1.1.0 | General Notes
1 ) | Abbreviations
m - metre
no - numbers
m³ - cubic metre
m² - square metre
m - metre
t - tonnes
incl - including
mm - millimetre
dia - diameter
SS - Stainless Steel
GI - Galvanised Iron
1.1 | Mobilisation | Item | 1
1.2 | Site setup including any demolition nessecary demolitions and removal of debris for foundation | Item | 1
1.3 | Insurvey | Item | 1
1.4 | Clean up site upon completion of works. Transport excess soil to soil dumping area on site. | Item | 1
1.5 | Outsurvey | Item | 1
1.6 | Prepare as built drawing | Item | 1
BILL No: 01 PRELIMINARIES
TOTAL OF BILL No: 01 - Carried over to summary
BILL NO : 02
GROUND WORK
2.1 | General
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating, additional working space and disposing surplus soil.
2.1.1 | Earth works
Excavation and ground levelling work for all foundations. Rate shall include transport of surplus soil to the excess soil dumping location on site. Excavated ground should be properly compacted before casting work commences
1 ) | Excavation for pad footings and tie beams | m3 | 17.62
2 ) | Levelling work for ground slab including chimney area | m2 | 134.14
3 ) | Polythene damp proof membrane under ground slab (500 gauge) | m2 | 101.25
BILL No: 02 GROUND WORKS
TOTAL OF BILL No: 02 - Carried over to summary
BILL NO : 03
CONCRETE
3.1 | General
(a) Rates shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
(b) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:6 by volume.
(c) Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
d) Rates shall include for: All neccesary chemicals, water proofing agent and reinforcement work speicified on drawing, formwork and concrete curing works
1 ) | Lean concrete for pad footings & tie beam | m3 | 0.84
2 ) | Concrete work for pad footings & tie beam | m3 | 12.03
3 ) | Columns C1 | m3 | 7.61
4 ) | Columns C2 | m3 | 3.38
5 ) | Ground slab Concrete works | m3 | 17.55
6 ) | All Ring beam at level 1 Power house & chimney | m3 | 6.71
7 ) | Roof beam at level 2 Power house & chimney | m3 | 6.71
8 ) | Wall Capping beam of Chimney | m3 | 1.02
9 ) | Provide expansion gaps and fill the gaps with silicon sealant | LS | 1
10 ) | 1.5m diameter RC well complete with base and Cover with all necessary connections. | LS | 1
BILL No: 03 - CONCRETE WORKS
TOTAL OF BILL No: 03 - Carried over to summary
BILL No: 04
MASONRY AND PLASTERING
4.1 | General
a) Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good. Bedding mortar (mixing ratio 1:4 i.e. cement: manufactured sand) shall be of OPC & fine aggregate shall be imported river sand shall be approved in grading & clean from any harmful substance. Masonry work shall be done with approved Machine compact cement blocks (300X150X150) with no defects. Lay in line and length as per approved working drawing Block making (mixing ratio 1:5 i.e. cement: riversand) shall be of OPC.
b) floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding
c) Rates shall include for: 25mm groove lines on external surfaces as shown on the drawing. Desalinated water shall be used for all purposes, ground water shall not be used.
d) Rate shall include for: All neccesary equipment, tools, materials, supplying, handling charges.
1 ) | 150x300mm solid block walls exterior | m2 | 455.03
2 ) | 2x15mm thick plaster on both sides of the walls | m2 | 1026.12
3 ) | 50mm thick floor screed | m2 | 83.02
BILL No: 04 - MASONRY AND PLASTERING
TOTAL OF BILL No: 04 - Carried over to summary
BILL N0: 05
DOORS AND WINDOWS
5.1 | General
(a) Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
(b) Rates shall include for door frames and window frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings and installation.
(c) All Timber door frames shall be treated timber. Rate shall include for Paint/Varnish finish.
(d) All louvres, windows and sliding doors shall be 45 micron powder coated aluminium as per details given in Door/Window schedule.
(e) All doors and windows shall be accordance with door/window drawing details.
1 ) | D1, 2HR Fire Rated Double Paneled Door | Nos | 1
2 ) | D1, with glass panel | Nos | 2
3 ) | W1 | Nos | 1
4 ) | W2 | Nos | 2
BILL N0: 05 - DOORS AND WINDOWS
TOTAL OF BILL No: 05 - Carried over to summary
BILL No: 06
STEEL ROOF STRUCTURE WORK
6.1 | General
(a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails,bolts & screws.
(a) Rate shall include supply and installation of Trusses. Rate shall also include for all fixing materials , anchor bolts & nuts, flexible rubber materials, paint, cuts, welds and other connections deemed necessary to fixing.
(b) Rates shall include for applying approved quality wood preservators as per manufactures instructions for all Timber structures.
1 ) | STEEL TRUSS T1 - 9 nos. T2 - 1 nos | Item | 1
6.2 | "C" purlins
1 ) | C purlins 100mmx6000mm | m | 161
6.3 | Roofing works
1 ) | Supply and install lysaght roofing sheets over areas shown on drawing. Rates shall inlude all laps, connections and provision of intermediate supports to firmly fix the elements to the main structure. Rate shall include ridge capping, flashing, insulation and other necessary to make roofing water proof. | m2 | 133
2) | Supply and install gutter system with downpipes as shown on drawing. Rates shall include for Rain water down pipes at each column with a soakpit at ground level | m | 33
3) | All welds, cleats and other connections | Item | 1
4) | Painting all steel members with primer and top coat | Item | 1
BILL No: 06 - STEEL ROOF STRUCTURE WORK
TOTAL OF BILL No: 06 - Carried over to summary
BILL No: 07
PAINTING
7.1 | General
Exterior wall shall be of 1 coat of oil based textured paint and 2 coats of Kansani weather bond paint ( oil based ) over 1 coat of oil based sealer ( white) or equivalent (according to technical specifications or approved drawings). Erection of scaffolding, preparing working platforms, applying sealer and two coats of paint as specified in the working drawings. Removal of scaffolding if any after completion of work. Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window and including soffits and sides of beams.
Interior wall shall be of 2-3 coats over 1 coat of water based sealer. Rates includes Erection of scaffolding, preparing working platforms, applying sealer and two coats of paint, Kansani Ales AB Clean (anti-bacterial emulsion paint) or equivalent as specified in the working drawings. Removal of scaffolding if any after completion of work. Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window and including soffits and sides of beams.
Exterior & Exterior Ceiling (interior and exterior) shall be of 2 coats of (wood paint over 1 coat of wood primer, Kansani or equivalent. Erection of scaffolding, preparing working platforms, applying sealer and two coats of paint as specified in the working drawings. Removal of scaffolding if any after completion of work. Rates shall include for the provision and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and or masking floors fittings and similar work removing and replacing door window furniture.
All painting work shall be carried in accordance with the Specifications
1) | Wall painting on exterior and interior wall surfaces | m2 | 1026.12
2) | Floor paint | m2 | 83.02
BILL No: 07 - PAINTING
TOTAL OF BILL No: 07 - Carried over to summary
BILL No: 8
ELECTRICAL INSTALLATIONS
8.1 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates shall include for electrical conduits, fittings, equipment and similar all fixings to various building surfaces and also all elecetrical work shall be carried out according to the Utility Regulation Authority standards and specifications.
(d) Each Light/ light fixture and its switch is measured as one one point; similarly each fan or each socket outlet is measured as one point;
(e) Rates shall include for supply and complete installation of fittings and fixtures.
(f) Rate for all electrical panels shall include for supply and installation of all necessary MCCBs, MCBS, EFRs, ELCBs, auxiliary contacts, Voltmeters, ammeters, Digital analyser,kWh meters, indicator lamps, selector switches, copper bus bars, inter locks, aligning and grounding of the panel, inter connectors, internal wiring connections to switch gear,steel channels and necessary hardware fixing insulating materials,all in fully enclosed metal clad panels and distribution boards completed as shown in drawing. They shall comply with the specifications andI.E.E.regulations and be complete to working order to the approval of local authorities.
(g) Rate shall include for supply, installation, maintaining, testing and commissioning of the system for power and lighting according to drawings and specifications to working order.
(h) All materials, equipment wiring shall confirm to local codes, specifications, standards/latest I.E.E. regulations ( BS 7671 ).
1) | Distribution board | Nos | 1
2) | CF Tube Light (CL3) | Nos | 8
3) | LED water proof wall mount light (WL1) | Nos | 2
4) | LED type Emergency Light (with weather proof socket) (EL1) | Nos | 2
5) | 1 Gang switch | Nos | 3
6) | 2 Gang 13A switched socket outlet | Nos | 4
7) | Provisions for Power system supplier requirements | Item | 1
8) | Install earthing rods according to STELCO approved standards | Nos | 1
9) | Fire and rescue services equipments installation | Item | 1
10) | Sound Proofing, and Ventillation Works As per Power Systems Supplier Requirements including ceiling exhausts and wall attenuator and exhaust connection to chiney | Item | 1
BILL No: 8 - ELECTRICAL INSTALLATIONS
TOTAL OF BILL No: 8 - Carried over to summary
BILL No: 9
FIRE FIGHTING SYSTEM
9.1 | GENERAL
a )Rates shall include for: sockets, running joints, connectors, elbows, junctions, reducers, expansion joints, back nuts, and similar incidental fittings, clips, saddles, brackets, straps, hangers screws nails and fixing complete including cutting and forming holes.
b ) Rate shall include for pipe works and inner and outer surface of all pipe work shall be galvanized steel.
c )All wiring and pipe work shall be done as specified in the drawing.
d )Shop drawings of the system shall be prepared to the standard of the government's relevant authority and submitted to the Consultant for approval.
e )Heat Resistant cable shall be laid for connecting the detectors.
9.1.2 | Fire Alarm System
Heat Resistant cable shall be laid for connecting the detectors.
9.2 | GROUND FLOOR
9.2.1 | Fire Alarm / Detection System
1 ) | Manual Call Point | no | 1
2 ) | Smoke Detector | no | 6
3 ) | Beacon | no | 1
4 ) | Sounder Bell | no | 1
5 ) | Exit Sign for all exist doors | item | 1
6 ) | Fire Alarm Control Panel | no | 1
9.2.2 | Fire Fighting System
1 ) | Fire Extinguisher Type A | no | 4
2 ) | Fire Extinguisher Type C | no | 4
BILL No: 9 - FIRE FIGHTING SYSTEM
TOTAL OF BILL No: 9 - Carried over to summary
BILL No: 10
ADDITIONS
10.1 | General
Provision to include quantities as per the drawing which is missed in the bill of quantities.
1 | PRELIMINARIES
2 | GROUND WORK
3 | CONCRETE
4 | MASONRY AND PLASTERING
5 | DOORS AND WINDOWS
6 | STEEL ROOF STRUCTURE WORK
7 | PAINTING
8 | ELECTRICAL INSTALLATIONS
9 | FIRE FIGHTING SYSTEM
BILL No: 10 - ADDITIONS
TOTAL OF BILL No: 10 - Carried over to summary
BILL No: 11
OMISSIONS
11.1 | General
Provision to remove the excess quantity given in the bill quantities if any as per the drawing details
1 | PRELIMINARIES
2 | GROUND WORK
3 | CONCRETE
4 | MASONRY AND PLASTERING
5 | DOORS AND WINDOWS
6 | STEEL ROOF STRUCTURE WORK
7 | PAINTING
8 | ELECTRICAL INSTALLATIONS
9 | FIRE FIGHTING SYSTEM
BILL No: 11 - OMISSIONS
TOTAL OF BILL No: 11 - Carried over to summary