## BOQ
SL.NO | DESCRIPTION | QTY | UNIT | RATE | AMOUNT | TOTAL
Bill No: 01
PRELIMINARIES
1.1 | General Notes
1 ) | Abbreviations
m - meter
No - numbers
m3 - cubic meter
m2 - square meter
Lm - Linear meter
t - tonnes
incl - including
mm - millimeter
dia - diameter
SS - Stainless Steel
GI - Galvanized Iron
1.2 | Site Management Costs
1 ) | Allow for all on and off site management cost including costs of foreman and assistants, safety, telephone,fax,hoardings, mobilization, demobilization and similar. | 1 | item
1.3 | Sign Board
1 ) | Allow for sign board | 1 | no
1.4 | Service and Facilities
1 ) | Provision and maintenance of service and facilities such as Water, Power supply, lighting and fuel required for the project | 1 | no
1.5 | Temporary Fencing and hoarding
1 ) | Supply, erect and maintenance of a fence through out the construction period and hoarding all along the perimeter of the site. | 1 | item
1.6 | Site clearence
1 ) | Removing and clearing any shrubs or trees, rubish and such material from the site. | 1 | item
1.7 | Clean - up
1 ) | Allow for clean - up of completed works and site upon completion. | 1 | item
1.8 | Insurances and Guarentees
1 ) | Allow for provision and maintenance of insurances and guarentees as per contract | 1 | item
1.9 | As-Built Drawings/ Operations and Maintenance Manuals
1 ) | Allow for as provision of as-built drawings and maintenance and operation manuals | 1 | item
TOTAL OF BILL NO. 01 (PRELIMINARIES)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 02
GROUND WORKS
2.1 | General
a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and disposing surplus soil.
2.2 | Protection of Existing Foundations
1) | Protecting foundation of adjacent houses foundation, by using the method of foundation protection as specified by the engineer and drawing. (If required) | 1 | Item
2.3 | Excavation
a) Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork, back fill, dewatering and others Shoring works
1) | Excavation for raft footings and Foundation beams | 25 | m³
2.4 | Dewatering
1) | This item shall include for all the piping, pumps, etc. Water needs to be pumped to an assigned area as per local regulation. | 1 | Item
2.5 | Below ground masonry walls
1) | Below ground walls | 25 | m²
2) | Plastering | 50 | m²
| No of Blocks | 505 | nos
| Cement | 9 | bags
| River sand | 36 | bags
2.2) | Plastering Labour Cost | 50 | m²
2.6 | Back Filling
(a) Rates shall include for: levelling, grading, trimming, compacting and similar.
| (b) Ground need to be compacted to the required density by the consultant. | 1785 | m²
1) | Earth Filling as per drawings | 1 | Item
2.7 | Water Proofing
a) Water proofing and dam proofing rates shall include for: dressing around and sealing to all penetrations.
1) | Water proofing membrane polythene sheet under foundation footings including turn up | 1 | item
2) | Apply bituminous type waterproofing to all surfaces of concrete below ground level in accordance with the specifications and manufacturer's instructions | 1 | item
TOTAL OF BILL NO. 02 (GROUND WORKS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 03
CONCRETE WORKS
3.1 | General
a) Rate shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
b) Mix ratio for reinforced concrete shall be 1:2:3
3.1.1 | Reinforced Concrete
In-situ reinforced concrete to:
*Add water proofing compound / admixture to concrete mix for walls GL and Roof Slabs
3.1.2 | Formwork
a) Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes, removal of formwork and normal practices used.
3.1.3 | Reinforcement
a) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and chair supports, laps, and wastages.
3.2 | Foundation
1) | Lean Concrete | 6.6 | m³
Lean concrete under the raft/ footing/beams with a mix of 1:2:4 as specified in drawings or as specified by consultant.
| Cement | 57 | bags
| River Sand | 114 | bags
| Aggregate | 228 | bags
2) | Reinforced Concrete
In-Situ reinforced concrete to:
| (a) Foundation Raft | 24 | m³
| (b) Foundation Footing | 1.4 | m³
| (c) Foundation Beams - FB,FB1,FB2 | 7.7 | m³
| (d) Foundation Beams - TB | 4.4 | m³
| (e) Columns C1 - 14 nos up to Ground level | 0.1 | m³
| (f) Columns C2 - 19 nos up to Ground level | 0.12 | m³
| (g) Columns SC - 12 nos up to Ground level | 0.06 | m³
| Cement | 322 | bags
| River Sand | 644 | bags
| Aggregate | 966 | bags
3) | Formwork
| (a) Foundation Raft | 13.2 | m²
| (a.a) Labour Cost | 13.2 | m²
| (b) Foundation Footing | 9.55 | m²
| (b.a) Labour Cost | 9.55 | m²
| (c) Foundation Beams - FB,FB1,FB2 | 62 | m²
| (c.a) Labour Cost | 62 | m²
| (d) Foundation Beams - TB | 39 | m²
| (d.a) Labour Cost | 39 | m²
| (e) Columns C1- 14 nos up to Ground level | 4.4 | m²
| (e.a) Labour Cost | 4.4 | m²
| (f) Columns C2 - 19 nos up to Ground level | 3.1 | m²
| (f.a) Labour Cost | 3.1 | m²
| (g) Columns SC - 12 nos up to Ground level | 2 | m²
| (g.a) Labour Cost | 2 | m²
4) | Reinforcement
(a) Foundation Raft
| 10 mm dia. Steel bars | 2728.8 | m
(b) Foundation Footing
| 10 mm dia. Steel bars | 90 | m
(c) Foundation Beams - FB,FB1,FB2
| 12 mm dia. Steel bars | 735.9 | m
| 06 mm dia. Steel bars | 683 | m
(d) Foundation Beams - TB
| 12 mm dia. Steel bars | 534 | m
| 06 mm dia. Steel bars | 408 | m
(e) Columns C1- 14 nos up to Ground level
| 12 mm dia. Steel bars | 67.2 | m
| 06 mm dia. Steel bars | 40.3 | m
(f) Columns C-2 19 nos up to Ground level
| 12 mm dia. Steel bars | 76.8 | m
| 06 mm dia. Steel bars | 27.5 | m
(g) Columns SC- 12 nos up to Ground level
| 12 mm dia. Steel bars | 43 | m
| 06 mm dia. Steel bars | 20 | m
3.3 | Ground Floor
1) | Reinforced Concrete
In-Situ reinforced concrete to:
3.3.1 | Columns
| (a) Column-C1- 14 nos | 1.9 | m³
| (b) Column-C2- 19 nos | 0.99 | m³
| (c) Column-SC- 12 nos | 0.5 | m³
| Cement | 29 | bags
| River Sand | 58 | bags
| Aggregate | 87 | bags
3.3.2 | Beams & Slab
| (a) Attached Beam-RB | 5.25 | m³
| (b) Attached Beam-WB | 3.75 | m³
| (c) Attached Beam-WB1 | 0.11 | m³
| (d) Ground Slab (100mm Thk) | 34 | m³
| Cement | 367 | bags
| River Sand | 734 | bags
| Aggregate | 1101 | bags
2) | Formwork
| (a) Column-C1- 14 nos | 40 | m²
| (a.a) Labour cost | 40 | m²
| (b) Column-C2- 19 nos | 34.7 | m²
| (b.a) Labour cost | 34.7 | m²
| (c) Column-SC- 12 nos | 16.4 | m²
| (c.a) Labour cost | 16.4 | m²
| (d) Attached Beam-RB | 43.4 | m²
| (d.a) Labour cost | 43.4 | m²
| (e) Attached Beam-WB | 41.8 | m²
| (e.a) Labour cost | 41.8 | m²
| (f) Attached Beam-WB1 | 1.1 | m²
| (f.a) Labour cost | 1.1 | m²
| (g) Ground Slab (100mm Thk) | 14.4 | m²
| (g.a) Labour cost | 14.4 | m²
3) | Reinforcement
(a) Column-C1- 14 nos
| 12 mm dia. Steel bars | 235 | m
| 06 mm dia. Steel bars | 235 | m
(b) Column-C2- 19 nos
| 12 mm dia. Steel bars | 273.6 | m
| 06 mm dia. Steel bars | 164.4 | m
(c) Column-SC- 12 nos
| 12 mm dia. Steel bars | 132 | m
| 06 mm dia. Steel bars | 99.3 | m
(d) Attached Beam-RB
| 16 mm dia. Steel bars | 358 | m
| 06 mm dia. Steel bars | 688 | m
(e) Attached Beam-WB
| 12 mm dia. Steel bars | 329 | m
| 06 mm dia. Steel bars | 234.5 | m
(f) Attached Beam-WB1
| 12 mm dia. Steel bars | 7.69 | m
| 06 mm dia. Steel bars | 6.3 | m
(g) Ground Floor Slab
| 06 mm dia. Steel bars | 4375 | m
4 | Other concrete works
1) | Allow for Ground well as per the drawing. | 4 | item
1.1) | Labour Cost | 4 | item
2) | Allow for Inhouse waste water treatment Tank as per the drawing. | 1 | item
2.1) | Labour Cost | 1 | item
3) | Allow for Rainwater Tank Base | 1 | item
3.1) | Labour Cost | 1 | item
4) | Condesation Unit Base | 1 | item
4.1) | Labour Cost | 1 | item
TOTAL OF BILL NO. 03 (CONCRETE WORKS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 04
MASONRY AND PLASTERING
4.1 | General
a) Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
b) All blocks shall be fabricated from manufactured sand and machine pressed and average compression strength for blocks should not be less than 2.8N/mm2 and shall comply with physical requirements of ISO 6073:1981
c) All walls shall be laid on and incl. 1:5 Cement Mortar, tie rods, compression gap filler, nylon / plastic mesh as specified.
d) Cement plastering on external walls and concrete surfaces with 1:4 Cement mortar mix as specified incl. wire mesh at joints of concrete surfaces and walls (first, second coats).
e) Cement plastering on internal walls and concrete surfaces with 1:4 Cement mortar mix as specified incl. wire mesh at joints of concrete surfaces and walls (one coat).
f) Cement screeding on the concrete floor with 1:4 cement mortar mix incl. trowel finish;
4.2 | Ground Floor
1 ) | External walls with 150 mm thick solid blocks | 321 | m²
| No.of blocks | 6472 | nos
| Cement | 107 | bags
| River sand | 428 | bags
2 ) | Internal Walls with 100 mm thick solid blocks | 143 | m²
| No.of blocks | 2884 | nos
| Cement | 48 | bags
| River sand | 192 | bags
3 ) | Boundary wall with 100 mm thick solid blocks | 118 | m²
| No.of blocks | 2385 | nos
| Cement | 30 | bags
| River sand | 60 | bags
4 ) | External Wall Plastering with 25 mm thick (2 coats) | 312 | m²
| Cement | 75 | bags
| River sand | 300 | bags
5 ) | Internal Wall Plastering with 15 mm thick | 607 | m²
| Cement | 87 | bags
| River sand | 348 | bags
6 ) | Screeding with 50 mm thick | 354 | m²
| Cement | 169 | bags
| River sand | 676 | bags
7 ) | Plastering on Sill / Lintel / brace / kicker beams/ columns | 177 | m²
| Cement | 26 | bags
| River sand | 104 | bags
8) | Water proofing membrane under ground slab. | 345.7 | m²
9) | Water proofing on toilet wall upto 2m high | 61 | m²
TOTAL OF BILL NO. 04 (MASONRY AND PLASTERING)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 05
METAL WORKS
5.1 | General
a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts incl. those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
b) Rates shall include for fabrication and erection and temporary supports and fixing into position.
c) Stair railing and balcony railing made as shown in drawings.
5.2 | Ground Floor
1) | Main Entrace Metal Gate (12ft Wide x 2m Height) | 1 | Item
2) | Vehicle Entrace Metal Gate (15ft Wide x 2m Height) | 1 | Item
TOTAL OF BILL NO. 05 (METAL WORKS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 06
WOOD WORKS
6.1 | General
a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
b) Rate shall include for: timber priming and all painting as specified in the drawing
c) Include provsion for fixing in the price as per the drawings.
6.2 | Ground Floor
1) | Wooden Coverings for VRV systmes | 1 | item
2) | Wooden Coverings for Compressor Units | 1 | item
TOTAL OF BILL NO. 06 (WOOD WORKS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 07
CEILING
7.1 | General
a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
b) Rate shall include for: timber priming and all painting as specified in the drawing
7.2 | Ceiling work
As per architects detail.
1) | General seiling works | 300 | m²
TOTAL OF BILL NO. 07 (CEILINGS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 08
DOORS AND WINDOWS
8.1 | General
a) Rates shall include for: locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
b) Rates shall include for door frames and window frame,mullions,transms,trims,glazing,tinting,timber panels, boardings,framing,lining,fastenings and all fixing and installation
b) All Aluminum windows shall be powder coated aluminum or as specified in drawings
c) All timber doors shall be solid timber paneled door with varnish finish or as specified in drawings
d) Rates include the installation cost / labour cost
8.2 | Ground Floor
Door and window units
1 ) | Door D1 | 4 | Nos
2 ) | Door D2 | 3 | Nos
3 ) | Door D3 | 4 | Nos
4 ) | Door D4 | 9 | Nos
5 ) | Door D5 | 3 | Nos
6 ) | Door D6 | 2 | Nos
7 ) | Windoor W1 | 1 | Nos
8 ) | Windoor W2 | 1 | Nos
9 ) | Windoor W3 | 1 | Nos
10) | Windoor W4 | 1 | Nos
11) | Windoor W5 | 1 | Nos
12) | Windoor W6 | 1 | Nos
13) | CW1 | 1 | Nos
14) | CW2 | 1 | Nos
15) | Vent V1 | 2 | Nos
16) | Vent V2 | 1 | Nos
17) | Vent V3 | 1 | Nos
18) | Vent V4 | 4 | Nos
8.3 | Other materails
Cold storage wall panels
1 ) | Thermal Insulated wall panels | 114 | m²
TOTAL OF BILL NO. 08 (DOORS AND WINDOWS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 9
FLOOR & WALL TILES
9.1 | General
a) Rates shall include for: fixing, bedding, grouting and pointing materials; making good around pipes, Sanitary fixtures, and similar: Cleaning down and polishing
b) Rates shall include for all other beading works required at the corners
c) All tiles shall be ISO approved tiles or similar as given in drawings or Technical Specification.
d) where there may be any discrepancies between the drawings and bill of quantities, detail given in the drawings shall be precede.
e) All items are for supply and complete installation
f) All tiles shall be fixed using tile adhesive with proper water proofing (where ever necessary) application by using water proofing Membrane as per the manufacture guidelines and instruction.
g) All items includes labour cost
Ground Floor
1 ) | General Area tiling 600 X 600 mm Homogeneous tiles with 100 mm skirting | 295 | m²
2 ) | Toilet Floor tiling 300 X 300 mm non slip tiles | 15 | m²
3 ) | Toilet wall tiling 300 X 450 mm glazed tiles, height 2m | 73 | m²
TOTAL OF BILL NO. 9 (FLOOR & WALL TILES)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 10
PAINTING
10.1 | General
a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and / or making floors, fittings and similar work, removing and replacing door and window furniture
b) All painting work shall be carried in accordance with the specifications.
c)Weather proof emulsion paint system with textured finish on plastered and concrete surfaces of external walls.
d) Emulsion paint putty finish system on plastered and concrete surfaces of internal walls.
e) Emulsion paint putty finish on concrete slab and beams, plywood / cement fibre board of all internal surfaces.
f) All items includes labour cost
10.2 | Ground Floor
| External wall Paint | 312 | m²
| Internal wall Paint | 607 | m²
| Ceiling Paint | 354 | m²
| Beams and Columns | 177 | m²
TOTAL OF BILL NO. 10 (PAINTING)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 11
HYDRAULICS & DRAINAGE
11.1 | General
a) Design,Suply and install plumbing network for the entire building complete in accordance to standard set by the local governing body MWSC.
b) Rates shall include for: sockets, running joints, connections, elbows, junctions, reducers, expansion joints; backnuts and similar; incidental fittings, clips, saddles, brackets, straps, hangs, screws, nails and fixing complete, including cutting.
f) All items includes labour cost
11.2 | Ground Floor
a | Well / Fresh water supply pipework
1) | Allow for Water meter trenching including concrete works , masonry works , trench covering all complete as per drawings | 36 | m²
2) | Allow for water network connection. | 1 | item
3 ) | Allow for water connection to fixtures from MWSC mains / Well to source (toilets in Ground floor) | 1 | item
4 ) | Supply and fixing MWSC fresh water mains (meters) | 4 | nos
b | Sanitary Fixtures & Accessories
Sanitary Fixtures complete including brackets flush pipes, overflows and washers etc.
1 ) All toilet fittings shall be "Cotto" or equivalent - chrome plated
2 ) All toilet fixtures shall be "Cotto" or equivalent brand.
3 ) All piping shall be of UPVC
4 ) All kitchen sinks shall be of SS type with chrome plated taps.
5 ) All water pumps shall be of "Davie Jet" brand or equivalent.
1 ) | Water Closet | 2 | nos
2 ) | Wash basin | 7 | nos
3 ) | Wash basin tap | 7 | nos
4 ) | Muslim Shower | 2 | nos
5 ) | Floor waste with gully trap | 25 | nos
6 ) | Head shower with mixer | 4 | nos
7 ) | Mirror with accessories | 7 | nos
8 ) | Water Taps / Faucet | 8 | nos
9 ) | Valves | 14 | nos
10) | Water heater | 1 | nos
c | Service fixtures (kitchen fixtures)
1) | SS Kitchen Sink incl. concrete base and masonry support walls. | 4 | nos
2 ) | Water taps | 22 | nos
3) | Service table drain | 7 | nos
4) | Valve | 23 | nos
5) | Foot valve | 6 | nos
6) | Water collection tank | 3 | nos
d | Drainage
Discharge pipework
1 ) | Supply & Install complete Discharge pipe work | 1 | item
1 ) | MWSC main sewer connection | 1 | Item
2 ) | Constructing Inspection Chamber of required size with all provisions to connect pipelines as per drawing. | 11 | nos
e | Well Water pump
1) | Installation of water pump | 4 | nos
TOTAL OF BILL NO. 11 (HYDRAULICS AND DRAINAGE)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 12
ELECTRICAL INSTALLATIONS
12.1 | General
a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
b) Rate shall include for electrical conduits, fittings, equipment and similar all fixings
c) Each light / light fixture and its switches shall measure as one one point: similarly each sockets or each fans shall measured as one point.
d) Rate shall include for supply and complete installation of all floors.
e) Provide junction box for each separate unit of telephone and cable tv system.
f) Rates include labour costs
12.1 | Ground Floor
a) | Electrical boards
Complete installation incl. for all connection earthing, painting, testing and similar of;
1 ) | Electricity Meter | 4 | nos
2 ) | Distribution boards (Inc circuit,brakers & etc..) | 8 | nos
3) | HMP light controller panel board | 1 | item
b) | Electrical wiring
Electrical wiring with copper conductor cable in conduits in walls and slab as specified to
1 ) | 2.5mm2 Wiring to light fixtures, fans and its switches | 278 | points
2 ) | Wiring to Socket Switches | 106 | points
3 ) | Cabling to Distribution boards | 1 | points
4 ) | Cabling to Telephone sockets | 10 | points
5 ) | Cabling to Television sockets | 4 | points
6) | Cabling to Network points | 10 | points
c) | Lighting
1 ) | 18W - Ceiling recessed LED light | 135 | nos
2 ) | 18W - Wall mount down light | 13 | nos
3 ) | Weatherproof linear hanging LED light | 43 | nos
3 ) | High mast light post with max 4 nos LED flood light | 25 | nos
d) | Socket outlets
All sockets shall be "Clipsal"or equivalent
1 ) | 13 Amps 3 gang Socket | 14 | nos
4 ) | 15 Amps Socket Switch | 92 | nos
5 ) | Telephone Socket | 10 | nos
6 ) | Television Socket | 4 | nos
e) | Light Switches
All switches shall be "Clipsal"or equivalent
1) | One Way switches- 1 Gang | 5 | nos
2) | One Way switches- 2 Gang | 5 | nos
3) | One Way switches- 3 Gang | 40 | nos
4) | One Way switches- 4 Gang | 12 | nos
TOTAL OF BILL NO. 12 (ELECTRICAL INSTALLATIONS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 13
ROOFING WORKS
13.1 | General
a) Rates shall include for: all labour in framing, notching and fitting around projects, similar and all nails and screws.
b) Rates include labour costs
13.2 | ROOF
1) | 38x50mm Timber battens @ 600 c/c | 461.7 | m
2) | 50x150mm Timber rafter @900c/c | 285.6 | m
3) | 50x100mm Timber rafter @900c/c | 25.3 | m
4) | 38x50mm C Purlin @ 600c/c | 357 | m
5) | 50mm G.I pipe | 571 | m
6) | Ceiling boards | 513 | m2
7) | Insulation | 513 | m2
8) | 50x100 wall plate | 40 | m
9) | Roofing sheets (Corrugated sheet) | 513 | m2
10) | Flashing | 115 | m
11) | Cement Fascia board (15x225mm ) | 87 | m
12) | Anchoring rods and bolts | 1 | item
13) | Lysaught Gutter (150x200mm) | 87 | m
14) | Gutter down pipe,( 75mm dia pipe ) | 23 | m
TOTAL OF BILL NO. 13 (ROOFING)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 14
VENTILATION
14.1 | General
a) Rates shall include for provision in technical specification and drawings for Mechanical Ventilation System.
b) All items includes labour cost
14.2 | Pipe lines and insulations
1) | Provision for gas pipeline, connections, insulations. Drainage pipe line, insulation and connections. | 1 | item
14.3 | Supply and installation
1 | Mechanical Exhausts | 7 | nos
2 | Radiant fan | 2 | nos
3 | PVC Stripe curtain | 8 | nos
4 | Evaporator | 3 | nos
TOTAL OF BILL NO. 14 ( VENTILATION)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 15
FURNITURE AND EQUIPMENTS
16.1 | General
a) Rates shall allow for supply and installation of Plants and equipments.
16.2 | Equipments
2) | Ice plant (20T/ 24 hrs. Sea flake Ice Machine ) | 1 | item
TOTAL OF BILL NO. 15 (FURNITURE AND EQUIPMENTS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 16
ADDITIONS / OMISSIONS
TOTAL OF BILL NO. 16 (ADDITIONS / OMISSIONS)
(CARRIED OVER TO THE GENERAL SUMMARY)

## SUMMARY
PROJECT:NEIGHBORHOOD FISH PROCESSING PLANT, AT N.KENDHIKULHUDHOO
CONSTRUCTION OF SINGLE STOREY BUILDING
SUMMARY OF BILLS OF QUANTITIES
SL.NO | BILL NAME | TOTAL
1 ) | TOTAL OF BILL NO. 01 (PRELIMINARIES)
2 ) | TOTAL OF BILL NO. 02 (GROUND WORKS)
3 ) | TOTAL OF BILL NO. 03 (CONCRETE WORKS)
4 ) | TOTAL OF BILL NO. 04 (MASONRY AND PLASTERING)
5 ) | TOTAL OF BILL NO. 05 (METAL WORKS)
6 ) | TOTAL OF BILL NO. 06 (WOOD WORKS)
7 ) | TOTAL OF BILL NO. 07 (CEILINGS)
8 ) | TOTAL OF BILL NO. 08 (DOORS AND WINDOWS)
9 ) | TOTAL OF BILL NO. 9 (FLOOR & WALL TILES)
10 ) | TOTAL OF BILL NO. 10 (PAINTING)
11 ) | TOTAL OF BILL NO. 11 (HYDRAULICS AND DRAINAGE)
12 ) | TOTAL OF BILL NO. 12 (ELECTRICAL INSTALLATIONS)
13 ) | TOTAL OF BILL NO. 13 (ROOFING)
14) | TOTAL OF BILL NO. 14 ( VENTILATION)
16) | TOTAL OF BILL NO. 15 (FURNITURE AND EQUIPMENTS)
17) | TOTAL OF BILL NO. 16 (ADDITIONS/OMMISIONS)
GRAND TOTAL
GST 6%
GRAND TOTAL