## Cover
Bill of Quantities
SOUTH REGIONAL CUSTOMS HEAD OFFICE BUILDING
CLIENT
-
-
PREPARED BY

## Summary
PROJECT: SOUTH REGIONAL CUSTOMS HEAD OFFICE BUILDING
SUMMARY OF BILL OF QUANTITIES
Bl.no | Item Description | Amount
1 | PRELIMINARIES | 0
2 | GROUND WORKS | 0
3 | CONCRETE WORKS | 0
4 | MASONRY & PLASTERING | 0
5 | FLOORING & TILING | 0
6 | DOORS & WINDOWS | 0
7 | WOOD WORK & CEILING | 0
8 | PAINTING | 0
9 | METAL WORK | 0
10 | HYDRAULICS & DRAINAGE | 0
11 | ELECTRICAL INSTALLATIONS | 0
12 | FIRE FIGHTING SYSTEM | 0
13 | BAOUNDARY WALL WORK | 0
14 | AIR HANDLING UNIT SYSTEM | 0
15 | CLADDING WORKS | 0
16 | SUPPLY AND INSTALLATION OF FIXED & MOVEABLE FURNITURE | 0
17 | ADDITIONS | 0
18 | OMISSIONS | 0
0
| TOTAL Mvr | 0 | 0
| 6% GST Mvr | 0
| GRAND TOTAL Mvr | 0

## Boq
PROJECT : SOUTH REGIONAL CUSTOMS HEAD OFFICE BUILDING
Item | Description | Unit | Qty | Material Rate | Labour Rate | Total
BILL No: 01
PRELIMINARIES
1.1 | General Notes
(1) | Abbreviations
m - metre
no - numbers
m³ - cubic metre
m² - square metre
m - metre
t - tonnes
incl - including
mm - millimetre
dia - diameter
SS - Stainless Steel
GI - Galvanised Iron
1.2 | Site Management Costs
(1) | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings, fences, Crane/Concrete pump, Machinaries and similar items | Item | 1 |  |  | 0
0
1.3 | Sign Board |  |  |  |  | 0
(1) | Allow for sign board. | No | 1 |  |  | 0
0
1.4 | SAFETY |  |  |  |  | 0
(1) | Safety - Providing and fixing scaffolding with G.I. pipes and clamps and pvc netting alaround building during construction | Item | 1 |  |  | 0
1.5 | Clean-up |  |  |  |  | 0
(1) | Allow for clean-up of completed works and site upon completion. | Item | 1 |  |  | 0
0
BILL No: 01 PRELIMINARIES
| TOTAL OF BILL No: 01 - Carried over to summary |  |  |  |  | 0
BILL NO : 02
GROUND WORK
2.1 | General
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating, additional working space and disposing surplus soil.
2.2 | Site clearance
| Clearing site - Demolition of Existing building and dispatch all debris, clearing and dispose all unwanted materials away from site and prepare site ready for proposed construction. | m² | 582 |  |  | 0 | 278.97
0
2.3 | Shoring |  |  |  |  | 0
| Charges for construction of 150mm thick solid block Masonry wall complete including plastering, below existing adjacent building to protect side buildings. | m² | 50 |  |  | 0 | 142.94
0
2.4 | Excavation |  |  |  |  | 0
| (a) Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork , back fill , dewatering and others |  |  |  |  | 0 | 7.26 | 16.82 | 20.0475 | 5.76 | 1.62 | 6.25 | 15.21 | 16.81 | 89.7775 | 112.2219
2.4.1 | Excavation |  |  |  |  | 0 | 134 | 70.015 |  | 182.2369
(1) | Strip ST1 | m³ | 49.14 |  |  | 0
(1.2) | Beam of ST1 | m³ | 11.34 |  |  | 0
(2) | Strip ST2 | m³ | 39.06 |  |  | 0
(2.1) | Beam of ST2 | m³ | 39.06 |  |  | 0
(3) | Foundations F1 | m³ | 97.47 |  |  | 0
(4) | Foundations F2 | m³ | 62.208 |  |  | 0
(5) | Foundations F3 | m³ | 11.616 |  |  | 0
(6) | Foundations F4 | m³ | 17.328 |  |  | 0
(7) | Tie Beam TB | m³ | 76.5 |  |  | 0 | 148.6 | 16.7175
[7 empty] | 41.5 | 4.6688
2.4.2 | Back filling
(a) Rates shall include for: leveling, grading, trimming and compacting.
(b) Ground need to be compacted to the density required by the consultant
1 ) | 300mm thick highly compacted hard core from Ground floor to below ground floor slab | m² | 582 |  |  | 0 | 345.345
2 ) | 50mm thick Cement/sand blinding layer (1:10 - Cement & Local Sand mix) to receive damp proof membrane below ground floor slab | m² | 582 |  |  | 0
2.5 | Damp Proof Membrane |  |  |  |  | 0
| (a) Rates shall include for: dressing around and sealing to all penetrations, laps and turnups. |  |  |  |  | 0
1 ) | Polythene damp proof membrane (500 gauge) laid on blinding layer. | m² | 294.435 |  |  | 0
BILL No: 02 GROUND WORKS
| TOTAL OF BILL No: 02 - Carried over to summary |  |  |  |  | 0
BILL NO : 03
3.0 | CONCRETE
(a) Rates shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
(b) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:6 by volume.
(c) Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
3.1.1 | LEAN CONCRETE
| 50mm thick lean concrete below Foundation | [5 empty] | 7.26 | 16.82 | 20.0475 | 5.76 | 1.62 | 6.25 | 15.21 | 16.81 | 89.7775 | 89.7775
| Foundation Footings & Tie beams | m² | 294.435 |  |  | 0 | 134 | 73.7 |  | 163.4775
3.2 | REINFORCED CONCRETE
1.0 | FOUNDATIONS
(1) | Strip ST1 | m³ | 16.38 |  |  | 0
(1.2) | Beam of ST1 | m³ | 4.2525 |  |  | 0
(2) | Strip ST2 | m³ | 13.02 |  |  | 0
(2.1) | Beam of ST2 | m³ | 4.2525 |  |  | 0
(3) | Foundations F1 | m³ | 18.49 |  |  | 0
(4) | Foundations F2 | m³ | 12.321 |  |  | 0
(5) | Foundations F3 | m³ | 1.682 |  |  | 0
(6) | Foundations F4 | m³ | 2.916 |  |  | 0
(7) | Tie Beam TB | m³ | 10.4625 |  |  | 0 | 148.6 | 16.7175
2.0 | GROUND FLOOR
2.1 | COLUMNS
| C1 | m3 | 11.52 |  |  | 0 | 5.985 |  |  |  |  | 10 | 1 | 10 | 10 | 100
| C2 | m3 | 5.04 |  |  | 0 | 1.71 |  |  |  |  | -10 | 1 | 30 | 30 | -300
2.2 | STAIRCASE |  |  |  |  | 0
| R.c.c. Staircase | m3 | 3.1 |  |  | 0
2.3 | R.C.C. GROUND FLOOR SLAB |  |  |  |  | 0
| 100mm thick R.C. slab | m3 | 62.1 |  |  | 0 | 356.615 | 9.66 | 366.275 | 36.6275
3.0 | FIRST FLOOR
3.1 | SLAB BEAMS
| B1 | m3 | 8.505 |  |  | 0 | 39.5 | 2.37
| B2 | m3 | 7.2 |  |  | 0 | 30 | 1.8
| B3 | m3 | 1.4625 |  |  | 0 | 3 | 0.24
| B4 | m3 | 6.8625 |  |  | 0 | 3 | 0.24
| B5 | m3 | 6.8625 |  |  | 0 | 3 | 0.24
| CB1 | m3 | 0.945 |  |  | 0 | 3 | 0.24
3.2 | FLOOR SLAB |  |  |  |  | 0
| 175mm thick R.c.c. Floor Slab | m3 | 8.75 |  |  | 0 | 246.5 | 70.84 | 317.34 | 47.601
| 150mm thick R.c.c. Floor Slab | m3 | 66.36 |  |  | 0 | 246.5 | 70.84 | 317.34 | 47.601
| 165mm thick R.c.c. Floor Slab | m3 | 72.15 |  |  | 0 | 246.5 | 70.84 | 317.34 | 47.601
3.3 | COLUMNS
| C1 | m3 | 11.52 |  |  | 0 | 5.985 |  |  |  |  | 10 | 1 | 10 | 10 | 100
| C2 | m3 | 5.04 |  |  | 0 | 1.71 |  |  |  |  | -10 | 1 | 30 | 30 | -300
3.4 | STAIRCASE |  |  |  |  | 0
| R.c.c. Staircase | m3 | 3.1 |  |  | 0
4.0 | TERRACE FLOOR
4.1 | SLAB BEAMS
| B1 | m3 | 8.37 |  |  | 0 | 57.6 | 3.456 |  |  |  | 1000 | 60 | 60000
| B2 | m3 | 6.8625 |  |  | 0 | 8.1 | 0.486
| B3 | m3 | 0.86625 |  |  | 0 | 3 | 0.24
| B4 | m3 | 5.4 |  |  | 0 | 39.5 | 2.37
| B5 | m3 | 8.55 |  |  | 0 | 3 | 0.24
| CB1 | m3 | 2.025 |  |  | 0 | 3 | 0.24
4.2 | FLOOR SLAB |  |  |  |  | 0
| 185mm thick R.c.c. Floor Slab | m3 | 14.985 |  |  | 0 | 246.5 | 70.84 | 317.34 | 47.601
| 150mm thick R.c.c. Floor Slab | m3 | 79.5 |  |  | 0 | 246.5 | 70.84 | 317.34 | 47.601
4.3 | COLUMNS
| C1 | m3 | 5.76 |  |  | 0 | 5.985 |  |  |  |  | 10 | 1 | 10 | 10 | 100
| C2 | m3 | 2.52 |  |  | 0 | 1.71 |  |  |  |  | -10 | 1 | 30 | 30 | -300
4.4 | STAIRCASE |  |  |  |  | 0
| R.c.c. Staircase | m3 | 3.1 |  |  | 0
5.1 | ROOF LEVEL
5.2 | SLAB BEAMS
| B1 | m3 | 1.2825 |  |  | 0 | 57.6 | 3.456 |  |  |  | 1000 | 60 | 60000
| B2 | m3 | 6.075 |  |  | 0 | 57.6 | 3.456 |  |  |  | 1000 | 60 | 60000
| B3 | m3 | 0.86625 |  |  | 0 | 8.1 | 0.486
| B4 | m3 | 1.0687 |  |  | 0 | 39.5 | 2.37
| B5 | m3 | 4.725 |  |  | 0 | 3 | 0.24
| CB1 | m3 | 0.84375 |  |  | 0 | 3 | 0.24
5.3 | ROOF SLAB |  |  |  |  | 0
| 150mm thick R.c.c. Floor Slab | m3 | 45.3 |  |  | 0 | 246.5 | 70.84 | 317.34 | 47.601
| 160mm thick R.c.c. Floor Slab | m3 | 10.56 |  |  | 0 | 246.5 | 70.84 | 317.34 | 47.601
3.3 | FORM WORK | [9 empty] | #REF!
(a) Exposed surface shall have fair finish while remaining may have rough finish.
(b) Timber used for unexposed concrete surface shall sound dressed and seasoned good quality common timber while for exposed concrete surfaces dressedand matched boards uniformly thick and not more than 251mm wide.
c) Plywood used for forms shall be of commercial standard, moisture resistane conrete form plywoodnot lessthan 6mm thick and atleast 12mm thick.
(d) Rates shall include for; all necessary boarding,supports, erecting, framing, temporary cambering cutting, perforations for reinforcing bars, bolts,straps,ties, hangers, pipes and removal of formwork.
1.0 | FOUNDATIONS
(1) | Strip ST1 | m2 | 18.36 |  |  | 0
(1.2) | Beam of ST1 | m2 | 18.9 |  |  | 0
(2) | Strip ST2 | m2 | 18.04 |  |  | 0
(2.1) | Beam of ST2 | m2 | 18.9 |  |  | 0
(3) | Foundations F1 | m2 | 34.4 |  |  | 0
(4) | Foundations F2 | m2 | 26.64 |  |  | 0
(5) | Foundations F3 | m2 | 4.64 |  |  | 0
(6) | Foundations F4 | m2 | 8.64 |  |  | 0
(7) | Tie Beam TB | m2 | 83.7 |  |  | 0 | 148.6 | 16.7175
2.0 | GROUND FLOOR
2.1 | COLUMNS
| C1 | m2 | 134.4 |  |  | 0 | 5.985 |  |  |  |  | 10 | 1 | 10 | 10 | 100
| C2 | m2 | 67.2 |  |  | 0 | 1.71 |  |  |  |  | -10 | 1 | 30 | 30 | -300
2.2 | STAIRCASE |  |  |  |  | 0
| R.c.c. Staircase | m2 | 30 |  |  | 0
3.0 | FIRST FLOOR
3.1 | SLAB BEAMS
| B1 | m2 | 75.6 |  |  | 0 | 39.5 | 2.37
| B2 | m2 | 73.6 |  |  | 0 | 30 | 1.8
| B3 | m2 | 14.95 |  |  | 0 | 3 | 0.24
| B4 | m2 | 70.15 |  |  | 0 | 3 | 0.24
| B5 | m2 | 70.15 |  |  | 0 | 3 | 0.24
| CB1 | m2 | 8.4 |  |  | 0 | 3 | 0.24
3.2 | FLOOR SLAB |  |  |  |  | 0
| 175mm thick R.c.c. Floor Slab | m2 | 50 |  |  | 0 | 246.5 | 70.84 | 317.34 | 47.601
| 150mm thick R.c.c. Floor Slab | m2 | 442.4 |  |  | 0 | 246.5 | 70.84 | 317.34 | 47.601
| 165mm thick R.c.c. Floor Slab | m2 | 111 |  |  | 0 | 246.5 | 70.84 | 317.34 | 47.601
3.3 | COLUMNS
| C1 | m2 | 134.4 |  |  | 0 | 5.985 |  |  |  |  | 10 | 1 | 10 | 10 | 100
| C2 | m2 | 67.2 |  |  | 0 | 1.71 |  |  |  |  | -10 | 1 | 30 | 30 | -300
3.4 | STAIRCASE |  |  |  |  | 0
| R.c.c. Staircase | m2 | 30 |  |  | 0
4.0 | TERRACE FLOOR
4.1 | SLAB BEAMS
| B1 | m2 | 74.4 |  |  | 0 | 57.6 | 3.456 |  |  |  | 1000 | 60 | 60000
| B2 | m2 | 70.15 |  |  | 0 | 8.1 | 0.486
| B3 | m2 | 8.855 |  |  | 0 | 39.5 | 2.37
| B4 | m2 | 55.2 |  |  | 0 | 39.5 | 2.37
| B5 | m2 | 87.4 |  |  | 0 | 39.5 | 2.37
| CB1 | m2 | 18 |  |  | 0 | 39.5 | 2.37
4.2 | FLOOR SLAB |  |  |  |  | 0
| 185mm thick R.c.c. Floor Slab | m2 | 81 |  |  | 0 | 246.5 | 70.84 | 317.34 | 47.601
| 150mm thick R.c.c. Floor Slab | m2 | 530 |  |  | 0 | 246.5 | 70.84 | 317.34 | 47.601
4.3 | COLUMNS
| C1 | m2 | 67.2 |  |  | 0 | 5.985 |  |  |  |  | 10 | 1 | 10 | 10 | 100
| C2 | m2 | 33.6 |  |  | 0 | 1.71 |  |  |  |  | -10 | 1 | 30 | 30 | -300
5.1 | ROOF LEVEL
5.2 | SLAB BEAMS
| B1 | m2 | 11.4 |  |  | 0 | 57.6 | 3.456 |  |  |  | 1000 | 60 | 60000
| B2 | m2 | 62.1 |  |  | 0 | 8.1 | 0.486
| B3 | m2 | 8.855 |  |  | 0 | 39.5 | 2.37
| B4 | m2 | 10.925 |  |  | 0 | 39.5 | 2.37
| B5 | m2 | 48.3 |  |  | 0 | 39.5 | 2.37
| CB1 | m2 | 8.625 |  |  | 0 | 39.5 | 2.37
5.3 | ROOF SLAB |  |  |  |  | 0
| 150mm thick R.c.c. Floor Slab | m2 | 302 |  |  | 0 | 246.5 | 70.84 | 317.34 | 47.601
| 160mm thick R.c.c. Floor Slab | m2 | 66 |  |  | 0 | 246.5 | 70.84 | 317.34 | 47.601
3.4 | REINFORCEMENT WORK
(a) Main reinforcement steel shall be high tensile steel hot rolled deformed bars complying with BS 1119 or BS 1172 Characteristic strength not less than 160N/mm2.
(b) Stirrups shall be hot rolled mildsteel round bars complying with BS 1119, Characteristic strength not less than 250N/mm2
(c ) Rates shall include for; distribution steel, cleaning, fabrication, placing, the provision for all necessary temporary fixings, and supports including chairs and tie wire , laps and wastage.
4.1 | BELOW GROUND
1 ) | FOUNDATIONS
(1) | ST1 |  |  |  |  | 0
| 12mm dia deformed bars - 6m | kg | 833.04 |  |  | 0 | 4438.4371 | 141
(1.2) | Beam of ST1 |  |  |  |  | 0
| 25mm dia deformed bars - 6m | kg | 970.2 |  |  | 0 | 5169.2256 | 141
| 16mm dia deformed bars - 6m | kg | 66.36 |  |  | 0 | 353.5661 | 141
(2) | ST2 |  |  |  |  | 0
| 12mm dia deformed bars - 6m | kg | 662.16 |  |  | 0 | 3527.9885 | 141
(2.2) | Beam of ST2 |  |  |  |  | 0
| 20mm dia deformed bars - 6m | kg | 622.44 |  |  | 0 | 3316.3603 | 141
| 16mm dia deformed bars - 6m | kg | 66.36 |  |  | 0 | 353.5661 | 141
(3) | Foundations F1 |  |  |  |  | 0
| 12mm dia deformed bars - 6m | kg | 658.244 |  |  | 0 | 3507.124 | 141
(4) | Foundations F2 |  |  |  |  | 0
| 12mm dia deformed bars - 6m | kg | 365.523 |  |  | 0 | 1947.5065 | 141
(5) | Foundations F3 |  |  |  |  | 0
| 12mm dia deformed bars - 6m | kg | 49.8993 |  |  | 0 | 265.8636 | 141
(6) | Foundations F4 |  |  |  |  | 0
| 12mm dia deformed bars - 6m | kg | 86.508 |  |  | 0 | 460.9146 | 141
(7) | Tie Beam TB |  |  |  |  | 0 | 148.6 | 16.7175
| 20mm dia deformed bars - 6m | kg | 1837.68 |  |  | 0 | 9791.159 | 141
| 6mm dia deformed bars - 6m | kg | 1614.48 |  |  | 0 | 8601.9494 | 141
4.2 | GROUND FLOOR |  |  |  |  | 0
1 ) | COLUMNS
(1) | C1 |  |  |  |  | 0 | 5.985 |  |  |  |  | 10 | 1 | 10 | 10 | 100
| 20mm dia deformed bars - 6m | kg | 1896.96 |  |  | 0 | 10107.0029 | 141
| 6mm dia deformed bars - 6m | kg | 397.824 |  |  | 0 | 2119.6063 | 141
(2) | C2 |  |  |  |  | 0 | 1.71 |  |  |  |  | -10 | 1 | 30 | 30 | -300
| 20mm dia deformed bars - 6m | kg | 1106.56 |  |  | 0 | 5895.7517 | 141
| 6mm dia deformed bars - 6m | kg | 198.912 |  |  | 0 | 1059.8031 | 141
2 ) | STAIRCASE |  |  |  |  | 0
| 10mm dia deformed bars - 6m | kg | 86.8 |  |  | 0 | 321.3336
3 ) | GROUND FLOOR SLAB |  |  |  |  | 0
| 10mm dia deformed bars - 6m | kg | 3850.2 |  |  | 0 | 14253.4404 |  | 2563.925 | 427.3208 | 71.2201
4.3 | FIRST FLOOR |  |  |  |  | 0
1 ) | SLAB BEAM
| B1 |  |  |  |  | 0 | 39.5 | 2.37
| 25mm dia deformed bars - 6m | kg | 3395.7 |  |  | 0 | 18092.2896 | 141
| 16mm dia deformed bars - 6m | kg | 199.08 |  |  | 0 | 1060.6982 | 141
| 10mm dia deformed bars - 6m | kg | 937.44 |  |  | 0 | 4994.6803 | 141
| B2 |  |  |  |  | 0 | 30 | 1.8
| 20mm dia deformed bars - 6m | kg | 1264.64 |  |  | 0 | 6738.0019 | 141
| 12mm dia deformed bars - 6m | kg | 113.92 |  |  | 0 | 606.9658 | 141
| 6mm dia deformed bars - 6m | kg | 483.072 |  |  | 0 | 2573.8076 | 141
| B3 |  |  |  |  | 0 | 30 | 1.8
| 20mm dia deformed bars - 6m | kg | 256.88 |  |  | 0 | 1368.6566 | 141
| 12mm dia deformed bars - 6m | kg | 23.14 |  |  | 0 | 123.2899 | 141
| 6mm dia deformed bars - 6m | kg | 130.832 |  |  | 0 | 697.0729 | 141
| B4 |  |  |  |  | 0 | 30 | 1.8
| 20mm dia deformed bars - 6m | kg | 602.68 |  |  | 0 | 3211.079 | 141
| 16mm dia deformed bars - 6m | kg | 192.76 |  |  | 0 | 1027.0253 | 141
| 12mm dia deformed bars - 6m | kg | 108.58 |  |  | 0 | 578.5142 | 141
| 6mm dia deformed bars - 6m | kg | 306.952 |  |  | 0 | 1635.4403 | 141
| B5 |  |  |  |  | 0 | 30 | 1.8
| 20mm dia deformed bars - 6m | kg | 602.68 |  |  | 0 | 3211.079 | 141
| 12mm dia deformed bars - 6m | kg | 108.58 |  |  | 0 | 578.5142 | 141
| 6mm dia deformed bars - 6m | kg | 184.1712 |  |  | 0 | 981.2642 | 141
| CB1 |  |  |  |  | 0 | 30 | 1.8
| 25mm dia deformed bars - 6m | kg | 323.4 |  |  | 0 | 1723.0752 | 141
| 16mm dia deformed bars - 6m | kg | 22.12 |  |  | 0 | 117.8554 | 141
| 10mm dia deformed bars - 6m | kg | 164.92 |  |  | 0 | 878.6938 | 141
2 ) | FLOOR SLAB |  |  |  |  | 0 |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
| 10mm dia deformed bars - 6m | kg | 9820.8 |  |  | 0 | 36356.6016
3 ) | COLUMNS
(1) | C1 |  |  |  |  | 0 | 5.985 |  |  |  |  | 10 | 1 | 10 | 10 | 100
| 20mm dia deformed bars - 6m | kg | 1896.96 |  |  | 0 | 10107.0029 | 141
| 6mm dia deformed bars - 6m | kg | 397.824 |  |  | 0 | 2119.6063 | 141
(2) | C2 |  |  |  |  | 0 | 1.71 |  |  |  |  | -10 | 1 | 30 | 30 | -300
| 20mm dia deformed bars - 6m | kg | 276.64 |  |  | 0 | 1473.9379 | 141
| 6mm dia deformed bars - 6m | kg | 49.728 |  |  | 0 | 264.9508 | 141
2 ) | STAIRCASE |  |  |  |  | 0
| 10mm dia deformed bars - 6m | kg | 86.8 |  |  | 0 | 321.3336
4.4 | TERRACE FLOOR |  |  |  |  | 0
1 ) | SLAB BEAM
| B1 |  |  |  |  | 0 | 39.5 | 2.37
| 25mm dia deformed bars - 6m | kg | 3341.8 |  |  | 0 | 17805.1104 | 141
| 16mm dia deformed bars - 6m | kg | 195.92 |  |  | 0 | 1043.8618 | 141
| 10mm dia deformed bars - 6m | kg | 922.56 |  |  | 0 | 4915.3997 | 141
| B2 |  |  |  |  | 0 | 30 | 1.8
| 20mm dia deformed bars - 6m | kg | 1205.36 |  |  | 0 | 6422.1581 | 141
| 12mm dia deformed bars - 6m | kg | 108.58 |  |  | 0 | 578.5142 | 141
| 6mm dia deformed bars - 6m | kg | 460.428 |  |  | 0 | 3 | 0.24
| B3 |  |  |  |  | 0 | 0 | 141
| 20mm dia deformed bars - 6m | kg | 152.152 |  |  | 0 | 810.6659 | 141
| 12mm dia deformed bars - 6m | kg | 13.706 |  |  | 0 | 39.5 | 2.37
| 6mm dia deformed bars - 6m | kg | 77.4928 |  |  | 0 | 412.8816 | 141
| B4 |  |  |  |  | 0 | 0 | 141
| 20mm dia deformed bars - 6m | kg | 474.24 |  |  | 0 | 2526.7507 | 141
| 16mm dia deformed bars - 6m | kg | 151.68 |  |  | 0 | 30 | 1.8
| 12mm dia deformed bars - 6m | kg | 85.44 |  |  | 0 | 455.2243 | 141
| 6mm dia deformed bars - 6m | kg | 241.536 |  |  | 0 | 1286.9038 | 141
| B5 |  |  |  |  | 0 | 3 | 0.24
| 20mm dia deformed bars - 6m | kg | 750.88 |  |  | 0 | 4000.6886 | 141
| 12mm dia deformed bars - 6m | kg | 135.28 |  |  | 0 | 720.7718 | 141
| 6mm dia deformed bars - 6m | kg | 229.4592 |  |  | 0 | 1222.5586 | 141
| CB1 |  |  |  |  | 0 | 0 | 141
| 25mm dia deformed bars - 6m | kg | 693 |  |  | 0 | 3 | 0.24
| 16mm dia deformed bars - 6m | kg | 47.4 |  |  | 0 | 252.5472 | 141
| 10mm dia deformed bars - 6m | kg | 353.4 |  |  | 0 | 1882.9152 | 141
2 ) | FLOOR SLAB |  |  |  |  | 0 |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
| 10mm dia deformed bars - 6m | kg | 9242.1333 |  |  | 0 | 34214.3776
3 ) | COLUMNS
(1) | C1 |  |  |  |  | 0 | 5.985 |  |  |  |  | 10 | 1 | 10 | 10 | 100
| 20mm dia deformed bars - 6m | kg | 948.48 |  |  | 0 | 5053.5014 | 141
| 6mm dia deformed bars - 6m | kg | 198.912 |  |  | 0 | 1059.8031 | 141
(2) | C2 |  |  |  |  | 0 | 1.71 |  |  |  |  | -10 | 1 | 30 | 30 | -300
| 20mm dia deformed bars - 6m | kg | 1106.56 |  |  | 0 | 5895.7517 | 141
| 6mm dia deformed bars - 6m | kg | 198.912 |  |  | 0 | 1059.8031 | 141
4.5 | ROOF LEVEL |  |  |  |  | 0
1 ) | SLAB BEAM
| B1 |  |  |  |  | 0 | 39.5 | 2.37
| 25mm dia deformed bars - 6m | kg | 512.05 |  |  | 0 | 2728.2024 | 141
| 16mm dia deformed bars - 6m | kg | 30.02 |  |  | 0 | 159.9466 | 141
| 10mm dia deformed bars - 6m | kg | 141.36 |  |  | 0 | 753.1661 | 141
| B2 |  |  |  |  | 0 | 30 | 1.8
| 20mm dia deformed bars - 6m | kg | 1067.04 |  |  | 0 | 5685.1891 | 141
| 12mm dia deformed bars - 6m | kg | 96.12 |  |  | 0 | 512.1274 | 141
| 6mm dia deformed bars - 6m | kg | 407.592 |  |  | 0 | 3 | 0.24
| B3 |  |  |  |  | 0 | 0 | 141
| 20mm dia deformed bars - 6m | kg | 152.152 |  |  | 0 | 810.6659 | 141
| 12mm dia deformed bars - 6m | kg | 13.706 |  |  | 0 | 39.5 | 2.37
| 6mm dia deformed bars - 6m | kg | 77.4928 |  |  | 0 | 412.8816 | 141
| B4 |  |  |  |  | 0 | 0 | 141
| 20mm dia deformed bars - 6m | kg | 93.86 |  |  | 0 | 500.0861 | 141
| 16mm dia deformed bars - 6m | kg | 30.02 |  |  | 0 | 30 | 1.8
| 12mm dia deformed bars - 6m | kg | 16.91 |  |  | 0 | 90.0965 | 141
| 6mm dia deformed bars - 6m | kg | 47.804 |  |  | 0 | 254.6997 | 141
| B5 |  |  |  |  | 0 | 3 | 0.24
| 20mm dia deformed bars - 6m | kg | 414.96 |  |  | 0 | 2210.9069 | 141
| 12mm dia deformed bars - 6m | kg | 74.76 |  |  | 0 | 398.3213 | 141
| 6mm dia deformed bars - 6m | kg | 126.8064 |  |  | 0 | 675.6245 | 141
| CB1 |  |  |  |  | 0 | 0 | 141
| 25mm dia deformed bars - 6m | kg | 346.5 |  |  | 0 | 3 | 0.24
| 16mm dia deformed bars - 6m | kg | 23.7 |  |  | 0 | 126.2736 | 141
| 10mm dia deformed bars - 6m | kg | 158.1 |  |  | 0 | 842.3568 | 141
2 ) | FLOOR SLAB |  |  |  |  | 0 |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
| 10mm dia deformed bars - 6m | kg | 5902.4 |  |  | 0 | 21850.6848
5.0 | OTHER CONCRETE WORKS
a ) | WINDOW SILL & LINTELS |  |  |  |  | 0
| Charges for construction of R.c.c. Sills and Lintels for the windows and doors as per details. Rate shall include for shuttering and Reinforcement works complete. | item | 1 |  |  | 0 | 4.116 | 4.8231 | 1.188 |  | 10.1271
b ) | BALCONY WALL |  |  |  |  | 0
| Charges for construction of 100mm thick R.c.c.Parapet wall at First floor Balcony, above Entrance Lobby roof slab and Terrace floor as per details. Rate shall include for Shuttering and Reinforcement work complete. | m | 127 |  |  | 0 | 33.6 | 2.856
c ) | ABSORPTION TRENCH |  |  |  |  | 0
| Charges for Construction and Installation of 1000mm dia. R.c.c. well, as per drawing details. Rate shall include for; Excavation, form work, reinforcement, Lifting hooks, gravel filling etc complete. | item | 2 |  |  | 0
d ) | GROUND WATER WELL |  |  |  |  | 0
| Charges for Construction and Installation of 1200mm dia. R.c.c. well, as per drawing details. Rate shall include for; Excavation, form work, reinforcement, Lifting hooks, gravel filling etc complete. | item | 1 |  |  | 0
e ) | GREASE TRAP (1950x1300) |  |  |  |  | 0
| Charges for Construction and Installation of 1950x1300 . R.c.c. Grease trap as per MWSC Detail. Rate shall include for; Excavation, form work, reinforcement, Lifting hooks, gravel filling etc complete. | item | 2 |  |  | 0
f ) | RAIN WATER TANK (5000 x 2000 x 1200 Depth) |  |  |  |  | 0
| RC concrete rain water tank | m3 | 7.39 |  |  | 0 | 5.985 |  |  |  |  | 10 | 1 | 10 | 10 | 100
| Formworks rain water tank | m2 | 73.9 |  |  | 0 | 5.985 |  |  |  |  | 10 | 1 | 10 | 10 | 100
| 12mm dia deformed bars - 6m | kg | 876.9467 |  |  | 0 | 3246.4566
g ) | FLAG POST |  |  |  |  | 0
| Charges for construction of Rcc flag post concrete works as per details. Rate shall include for Shuttering and Reinforcement work complete. | m3 | 7.39 |  |  | 0 | 5.985 |  |  |  |  | 10 | 1 | 10 | 10 | 100
6.0 | WATER PROOFING & ADD MIXTURES |  |  |  |  | 0
(a) | Apply Rubberised bitumin water proofing paint, Moya Shield RBE, 2 coats to all exposed concrete and masonry surface below ground level. | item | 1 |  |  | 0
(b) | Add approved water proofing admixture Mega Add WL1 as per specification to all concrete below ground level. | item | 1 |  |  | 0
(c) | Add Plasticiser admixture Mega Flow P as per specification to all concrete Substreucture and Super structure. | item | 1 |  |  | 0
BILL No: 03 - CONCRETE WORKS
| TOTAL OF BILL No: 03 - Carried over to summary |  |  |  |  | 0
BILL No: 04
MASONRY AND PLASTERING
4.1 | General
a )Rates shall include for cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs.
b )Cutting or leaving holes and openings as recesses for and building in pipes, conduits , sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joints.
c ) All external wall and all inetrenal walls shall be 100mm thick Solid cement blocks and for masonry mix ratio 1:5 (cement and river sand)
4.2 | MASONRY
1.0 | BELOW GROUND LEVEL
150mm thick Solid block wall
| 300 x150 x 150mm solid block single wall - 150mm thick above all Tie beams. | m2 | 101.25 |  |  | 0 | #REF! | #REF!
2.0 | GROUND FLOOR
1 ) | External walls |  |  |  |  | 0
a ) | 300x150x150mm solid block single wall - 150mm thick | m2 | 515.7475 |  |  | 0 | 73.2 | 239.73 | 81 | 158.73 | 163.4919
2 ) | Interior walls |  |  |  |  | 0
a ) | 300x150x150mm solid block single wall - 150mm thick | m2 | 219.125 |  |  | 0 | 40.5 | 123.525
3.0 | FIRST FLOOR
1 ) | External walls |  |  |  |  | 0
a ) | 300x150x150mm solid block single wall - 150mm thick | m2 | 254.395 |  |  | 0 | 73.2 | 226.92 | 85 | 141.92 | 146.1776
2 ) | Interior walls |  |  |  |  | 0
a ) | 300x150x150mm solid block single wall - 150mm thick | m2 | 234.875 |  |  | 0 | 40.5 | 125.55
4.0 | TERRACE FLOOR
1 ) | External walls |  |  |  |  | 0
a ) | 300x150x200mm solid block single wall - 200mm thick | m2 | 153.482 |  |  | 0 | 73.2 | 226.92 | 85 | 141.92 | 146.1776
2 ) | Interior walls |  |  |  |  | 0
a ) | 300x150x200mm solid block single wall - 200mm thick | m2 | 194.75 |  |  | 0 | 40.5 | 125.55
4.3 | PLASTERING
(a) 20mm thick Cement plastering on Exterior surface of External masonry walls and concrete surfaces and 15mm thick plastering on interior walls and concrete surface as specified incl. wire mesh shall be fixed at the joints of concrete surfaces and walls before plastering. Quantity is measured including concrete surfaces - Parapetwalls, Liftwalls, columns & beams.
(b)Rates shall include for External plastering shall 20mm thick (12+8mm) 2 coats in 1:4 cement and river sand mix ratio
c) Rates shall include for approved brand water proofing compound shall be mixed with cement mortar for external wall plastering as per manufacturers specifications.
4.3.1 | BELOW GROUND LEVEL
1 ) | 15mm thick Plastering
| Both surface of below ground walls | m2 | 202.5 |  |  | 0
4.3.2 | GROUND FLOOR
1 ) | External Plastering |  |  |  |  | 0 | 81.8 | 316.975 | 81 | 235.975 | 243.0543 | 5.8125 | 237.2418 | 37.2 | 24.18
| External surface of exeterior wall | m2 | 515.7475 |  |  | 0 | 6.9863 | [6 empty] | 26.84 | 288.2618
2 ) | Internal Plastering |  |  |  |  | 0 | 41.5 | 278.05 |  | 75.8 | 253.93 | 172.93
| Internal surface of external wall and both surface of Interior walls | m2 | 953.9975 |  |  | 0 | 16.65 | 111.555 | 6.24 | 105.315 |  | 556.295 | 572.9839
4.3.3 | FIRST FLOOR | [5 empty] | 81.8 | 286.3 | 85 | 201.3 | 207.339 | 9.15 | 198.189 | 37.2 | 24.18
1 ) | External Plastering |  |  |  |  | 0 | 6.9863 |  |  |  | 60.48 | 309.689 |  | 26.84 | 249.209
| External surface of exeterior wall | m2 | 254.395 |  |  | 0
2 ) | Internal Plastering |  |  |  |  | 0 | 41.5 | 290.5 |  | 75.8 | 265.3 | 180.3
| Internal surface of external wall and both surface of Interior walls | m2 | 724.145 |  |  | 0 | 16.95 | 118.65 | 8.9285 | 109.7215 |  | 580.5215 | 597.9371
4.3.4 | TERRACE FLOOR | [5 empty] | 81.8 | 286.3 | 85 | 201.3 | 207.339 | 9.15 | 198.189 | 37.2 | 24.18
1 ) | External Plastering |  |  |  |  | 0 | 6.9863 |  |  |  | 60.48 | 309.689 |  | 26.84 | 249.209
| External surface of exeterior wall | m2 | 153.482 |  |  | 0
2 ) | Internal Plastering |  |  |  |  | 0 | 41.5 | 290.5 |  | 75.8 | 265.3 | 180.3
| Internal surface of external wall and both surface of Interior walls | m2 | 542.982 |  |  | 0 | 16.95 | 118.65 | 8.9285 | 109.7215 |  | 580.5215 | 597.9371
BILL No: 04 - MASONRY AND PLASTERING
| TOTAL OF BILL No: 04 - Carried over to summary |  |  |  |  | 0
BILL N0: 05
FLOORING & TILING
5.1 | General
(a) Rates shall include for laying 50mm thick cement mortar in 1 : 5 mix ratio,cleaning down to reveals where necessary and water proofing of Toilet and Balcony floors & Terrace.
5.2 | FLOORING
50mm thick Floor Screeding
5.2.1 | GROUND FLOOR |  |  |  |  | 0
| Entrance Lobby | m2 | 63 |  |  | 0 | 205.84
| Meeting | m2 | 14.4 |  |  | 0 | 59.57 | 11.475 | 1.32 | 2.475 | 74.84
| Office Area | m2 | 168 |  |  | 0 | 23.8663
| Security | m2 | 8 |  |  | 0 | 23.8663
| Tea room | m2 | 18 |  |  | 0 | 3.675
| Prayer Room / abl | m2 | 13 |  |  | 0 | 3.675
| Server Room | m2 | 9 |  |  | 0 | 3.675
| Maintenance | m2 | 6 |  |  | 0 | 3.675
| Parking | m2 | 46 |  |  | 0 | 4.5
| AHU | m2 | 49 |  |  | 0 | 4.5
| Toilets | m2 | 18 |  |  | 0 | 4.5
| Staircase | m2 | 20 |  |  | 0 | 12.36 | 3.225 | 5.175 | 20.76
5.2.2 | FIRST FLOOR |  |  |  |  | 0
| Corridor + Stair lobby | m2 | 52 |  |  | 0 | 59.57 | 11.475 | 1.32 | 2.475 | 74.84
| Office | m2 | 9 |  |  | 0 | 23.8663
| Executive Office | m2 | 11 |  |  | 0 | 59.57 | 11.475 | 1.32 | 2.475 | 74.84
| Pantry | m2 | 5.5 |  |  | 0 | 23.8663
| Toilets | m2 | 8 |  |  | 0 | 3.675
| Open Hall | m2 | 139 |  |  | 0 | 59.57 | 11.475 | 1.32 | 2.475 | 74.84
| Seminar Room | m2 | 53 |  |  | 0 | 23.8663
| Meeting Room | m2 | 20 |  |  | 0 | 59.57 | 11.475 | 1.32 | 2.475 | 74.84
| Training Room | m2 | 41 |  |  | 0 | 23.8663
| Recreation Hall | m2 | 96 |  |  | 0 | 3.675
| Balcony | m2 | 46 |  |  | 0 | 4.5
| Staircase | m2 | 20 |  |  | 0 | 12.36 | 3.225 | 5.175 | 20.76
5.2.3 | TERRACE FLOOR |  |  |  |  | 0
| Living | m2 | 97 |  |  | 0 | 59.57 | 11.475 | 1.32 | 2.475 | 74.84
| Bedroom 1 | m2 | 22 |  |  | 0 | 23.8663
| Bedroom 2 | m2 | 26 |  |  | 0 | 3.675
| Bedroom 3 | m2 | 25 |  |  | 0 | 59.57 | 11.475 | 1.32 | 2.475 | 74.84
| Bedroom 4 | m2 | 22 |  |  | 0 | 23.8663
| Bedroom 5 | m2 | 30 |  |  | 0 | 59.57 | 11.475 | 1.32 | 2.475 | 74.84
| Toilet 1 | m2 | 4.5 |  |  | 0 | 59.57 | 11.475 | 1.32 | 2.475 | 74.84
| Toilet 2 | m2 | 4 |  |  | 0 | 23.8663
| Toilet 3 | m2 | 3 |  |  | 0 | 3.675
| Toilet 4 | m2 | 3 |  |  | 0 | 4.5
| Toilet 5 | m2 | 4 |  |  | 0 | 12.36 | 3.225 | 5.175 | 20.76
| Kitchen | m2 | 24 |  |  | 0 | 12.36 | 3.225 | 5.175 | 20.76
| Balcony | m2 | 8 |  |  | 0 | 59.57 | 11.475 | 1.32 | 2.475 | 74.84
| Terrace | m2 | 295 |  |  | 0 | 23.8663
5.3 | TILING
(a) Rates shall include for: Fixing, bedding, grouting, and pointing materials, making good around pipes, sanitary fixtures, and similar; cleaning & Polishing.
(b) All Tiling work in accordance with specifications and finishes schedule.
(c) Tiles rate shall be given as specified in the drawing.
(d) All tiles to be approved by the client.
(e) All outdoor tiling should be approved by the client
5.3.1 | GROUND FLOOR
A ) | FLOOR TILING
1 ) | Entrance Lobby | m2 | 63 |  |  | 0 | 205.84
2 ) | Meeting | m2 | 14.4 |  |  | 0 | 59.57 | 11.475 | 1.32 | 2.475 | 74.84
3 ) | Office Area | m2 | 168 |  |  | 0 | 23.8663
4 ) | Security | m2 | 8 |  |  | 0 | 23.8663
5 ) | Tea room | m2 | 18 |  |  | 0 | 3.675
6 ) | Prayer Room / abl | m2 | 13 |  |  | 0 | 3.675
7 ) | Server Room | m2 | 9 |  |  | 0 | 3.675
8 ) | Maintenance | m2 | 6 |  |  | 0 | 3.675
9 ) | Toilets | m2 | 18 |  |  | 0 | 4.5
10 ) | Staircase | m2 | 20 |  |  | 0 | 12.36 | 3.225 | 5.175 | 20.76
B ) | WALL TILING
| Toilet walls @ 3M height | m2 | 99 |  |  | 0 | 15 | 45 | 3.6 | 41.4
5.3.2 | FIRST FLOOR
A ) | FLOOR TILING
1 ) | Corridor + Stair lobby | m2 | 52 |  |  | 0 | 59.57 | 11.475 | 1.32 | 2.475 | 74.84
2 ) | Office | m2 | 9 |  |  | 0 | 23.8663
3 ) | Executive Office | m2 | 11 |  |  | 0 | 59.57 | 11.475 | 1.32 | 2.475 | 74.84
4 ) | Pantry | m2 | 5.5 |  |  | 0 | 23.8663
5 ) | Toilets | m2 | 8 |  |  | 0 | 3.675
6 ) | Open Hall | m2 | 139 |  |  | 0 | 59.57 | 11.475 | 1.32 | 2.475 | 74.84
7 ) | Seminar Room | m2 | 53 |  |  | 0 | 23.8663
8 ) | Meeting Room | m2 | 20 |  |  | 0 | 59.57 | 11.475 | 1.32 | 2.475 | 74.84
9 ) | Training Room | m2 | 41 |  |  | 0 | 23.8663
10 ) | Recreation Hall | m2 | 96 |  |  | 0 | 3.675
11 ) | Balcony | m2 | 46 |  |  | 0 | 4.5
12 ) | Staircase | m2 | 20 |  |  | 0 | 59.57 | 11.475 | 1.32 | 2.475 | 74.84
B ) | WALL TILING
| Toilet walls @ 3M height | m2 | 69 |  |  | 0 | 15 | 45 | 3.6 | 41.4
5.3.3 | TERRACE FLOOR
A ) | FLOOR TILING
1 ) | Living | m2 | 97 |  |  | 0 | 59.57 | 11.475 | 1.32 | 2.475 | 74.84
2 ) | Bedroom 1 | m2 | 22 |  |  | 0 | 23.8663
3 ) | Bedroom 2 | m2 | 26 |  |  | 0 | 59.57 | 11.475 | 1.32 | 2.475 | 74.84
4 ) | Bedroom 3 | m2 | 25 |  |  | 0 | 23.8663
5 ) | Bedroom 4 | m2 | 22 |  |  | 0 | 3.675
6 ) | Bedroom 5 | m2 | 30 |  |  | 0 | 59.57 | 11.475 | 1.32 | 2.475 | 74.84
7 ) | Toilet 1 | m2 | 4.5 |  |  | 0 | 23.8663
8 ) | Toilet 2 | m2 | 4 |  |  | 0 | 59.57 | 11.475 | 1.32 | 2.475 | 74.84
9 ) | Toilet 3 | m2 | 3 |  |  | 0 | 23.8663
10 ) | Toilet 4 | m2 | 3 |  |  | 0 | 3.675
11 ) | Toilet 5 | m2 | 4 |  |  | 0 | 4.5
12 ) | Kitchen | m2 | 24 |  |  | 0 | 59.57 | 11.475 | 1.32 | 2.475 | 74.84
13 ) | Balcony | m2 | 8 |  |  | 0 | 23.8663
14 ) | Terrace | m2 | 295 |  |  | 0 | 59.57 | 11.475 | 1.32 | 2.475 | 74.84
B ) | WALL TILING
| Toilet walls @ 3M height | m2 | 99 |  |  | 0 | 15 | 45 | 3.6 | 41.4
7.0 | WATER PROOFING
Apply 2 coats of Water proofing Compound, on wet surfaces - Toilets, Balcony and Terrace Floors.
| Toilets | item | 1 |  |  | 0 | 0.4 | 320 | 320
| Corridor | item | 1 |  |  | 0
8.0 | TILE ADHESIVE
1 ) | Charges for supplying special tiles grout for fixing tiles to all floors. | item | 1 |  |  | 0
BILL No: 05 -FLOORING AND TILING
| TOTAL OF BILL No: 05 - Carried over to summary |  |  |  |  | 0
BILL N0: 06
DOORS AND WINDOWS
6.1 | General
(a) Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
(b) Rates shall include for door frames and window frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings and installation.
(c) All Timber door frames shall be treated timber. Rate shall include for Paint/Varnish finish.
(d) All louvres, windows and sliding doors shall be 30 micron powder coated aluminium as per details given in Door/Window schedule.
(e) All doors and windows shall be accordance with door/window drawing details.
1.0 | GROUND FLOOR
External
1 ) | D4 | no | 5 |  |  | 0 | 2.6885 | 13.4425 | #REF!
2 ) | D5 | no | 2 |  |  | 0 | 2.0425 | 4.085
3 ) | D7 (automatic roller shutter) | no | 1 |  |  | 0 | 1.56 | 1.56
4 ) | D8 (automatic roller shutter) | no | 1 |  |  | 0 | 4.1405 | 4.1405
5 ) | D11 | no | 1 |  |  | 0 | 4.1405 | 4.1405
6 ) | W02 | no | 3 |  |  | 0 | 0.385 | 1.155
Internal
1 ) | D1 | no | 4 |  |  | 0 | 2.6885 | 10.754 | 23.234
2 ) | D2 | no | 1 |  |  | 0 | 2.6885 | 2.6885 | 5.377
3 ) | D4 | no | 5 |  |  | 0 | 2.6885 | 13.4425 | 16.131
4 ) | D5 | no | 2 |  |  | 0 | 2.0425 | 4.085
2.0 | FIRST FLOOR
External
1 ) | D4 | no | 1 |  |  | 0 | 2.6885 | 2.6885 | #REF!
2 ) | D10 | no | 1 |  |  | 0 | 2.0425 | 2.0425
3 ) | W7 | no | 8 |  |  | 0 | 1.56 | 12.48
4 ) | W8 | no | 6 |  |  | 0 | 1.56 | 9.36
5 ) | W10 | no | 1 | [6 empty] | 14.5225
6 ) | W11 | no | 1 | [6 empty] | 10.92
7 ) | W12 | no | 2 | [6 empty] | 1.56
8 ) | W13 | no | 1 | [6 empty] | 0
Internal
1 ) | D1 | no | 2 |  |  | 0 | 2.6885 | 5.377 | #REF!
2 ) | D2 | no | 1 |  |  | 0 | 2.6885 | 2.6885 | #REF!
3 ) | D4 | no | 7 |  |  | 0 | 2.6885 | 18.8195 | #REF!
4 ) | D5 | no | 4 |  |  | 0 | 2.6885 | 10.754 | #REF!
3.0 | TERRACE FLOOR
External
1 ) | D6 | no | 1 |  |  | 0 | 2.6885 | 2.6885 | #REF!
2 ) | D9 | no | 1 |  |  | 0 | 2.6885 | 2.6885 | #REF!
3 ) | W1 | no | 5 |  |  | 0 | 2.0425 | 10.2125
4 ) | W3 | no | 1 |  |  | 0 | 1.56 | 1.56
5 ) | W4 | no | 4 |  |  | 0 | 1.56 | 6.24
6 ) | W5 | no | 2 |  |  | 0 | 1.56 | 3.12
7 ) | W9 | no | 1 | [6 empty] | 8.2825
8 ) | W14 | no | 1 | [6 empty] | 4.68
9 ) | W15 | no | 1 | [6 empty] | 1.56
Internal
1 ) | D1 | no | 6 |  |  | 0 | 2.6885 | 16.131 | #REF!
2 ) | D3 | no | 6 |  |  | 0 | 2.6885 | 16.131 | #REF!
3 ) | D4 | no | 1 |  |  | 0 | 2.6885 | 2.6885 | #REF!
BILL N0: 06 - DOORS AND WINDOWS
| TOTAL OF BILL No: 06 - Carried over to summary |  |  |  |  | 0
BILL No: 07
WOOD WORK & CEILING
7.1 | General
(a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails,bolts & screws.
(b) Rates shall include for applying approved quality wood preservators as per manufactures instructions for all Timber structures.
(c) Rates shall include for 9mm thick Cement board fixed on 35 x 50mm Timber frame,trimming, nails, screws,hooks, hangers, clips and similar.
7.2 | GROUND FLOOR
1 ) | Ground floor ceiling | m2 | 598.33 |  |  | 0
7.3 | FIRST FLOOR
1 ) | 1st floor ceiling | m2 | 608.97 |  |  | 0
7.3 | SECOND FLOOR
1 ) | 2nd floor ceiling | m2 | 368.52 |  |  | 0
BILL No: 07 - WOOD WORK & CEILING
| TOTAL OF BILL No: 07 - Carried over to summary |  |  |  |  | 0
BILL No: 08
PAINTING
8.1 | General | [6 empty] | 80.6
(a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window furniture.
| (b) All painting work shall be carried in accordance with the Specifications | [6 empty] | 168.85
(c)Rate shall include for weather proof paint finish for exterior surfaces of the wall complete including application of two coats of oil based wall sealer and two coats of weather bond paint
| (d)Rate shall include for putty and paint finish for interior surfaces of the wall and ceilings complete including application of two coats of wall sealer, two coats of putty finish and two coats of emulsion paint finish on top for Interior painting. | [6 empty] | 139
1.0 | GROUND FLOOR
| Painting exterior surfaces of External Wall, Columns & beams. | m2 | 515.7475 |  |  | 0
| Painting interior surfaces Wall, Columns & beams) | m2 | 953.9975 |  |  | 0 |  | 143.2
| Painting Soffit of slab (Ceiling) | m2 | 337.4 |  |  | 0 | #REF!
2.0 | FIRST FLOOR
| Painting exterior surfaces of External Wall, Columns & beams. | m2 | 254.395 |  |  | 0
| Painting interior surfaces Wall, Columns & beams) | m2 | 724.145 |  |  | 0 |  | 143.2
| Painting Soffit of slab (Ceiling) | m2 | 500.5 |  |  | 0 | #REF! | #REF!
3.0 | TERRACE FLOOR
| Painting exterior surfaces of External Wall, Columns & beams. | m2 | 153.482 |  |  | 0
| Painting interior surfaces Wall, Columns & beams) | m2 | 542.982 |  |  | 0 |  | 143.2
| Painting Soffit of slab (Ceiling) | m2 | 567.5 |  |  | 0 | #REF! | #REF!
BILL No: 08 - PAINTING
| TOTAL OF BILL No: 08 - Carried over to summary |  |  |  |  | 0
BILL No: 09
METAL WORK
9.1 | General
(a) Rates shall include for ; all labour in framing, cutting, welding, cleats, baseplates, flanges,screws, nails, bends, and similar complete with grinding, surface smoothening and polish finishes.
9.2 | RAILING
1.0 | GROUND FLOOR
1 ) | Railing - Staircase | no
a) | Supply, Fabrication and Fixing S.S.Railing -Staircase as per details | item | 2 |  |  | 0
2.0 | FIRST FLOOR
1 ) | SS. Railing - Staircase | no
a) | Supply, Fabrication and Installation of S.S.Railing - Staircase as per details | item | 2 |  |  | 0 | 33.6
3.0 | TERRACE FLOOR
1 ) | SS. Railing - Staircase & Ladder | no
a) | Supply, Fabrication and Installation of S.S.Railing - Staircase as per details | item | 1 |  |  | 0 | 33.6
b) | Supply, Fabrication and Installation of S.S.ledder to thee roof top | item | 1 |  |  | 0 | 33.6
3.0 | FLAG POLS & NAME BOARD
a) | Supply, Fabrication and Installation of S.S.Flag pols as per details (complete) | item | 1 |  |  | 0 | 33.6
b) | Supply, Fabrication and Installation Nme board as per details (complete) | item | 1 |  |  | 0 | 33.6
BILL No: 09 - METAL WORK
| TOTAL OF BILL No: 09 - Carried over to summary |  |  |  |  | 0
BILL No: 10
HYDRAULICS & DRAINAGE
10.1 | General
(a) Design provide and install plumbing network for the entire building complete in accordance to standard set by the local governing body MWSC
(b) The following items and description and the plumbing drawings are given as guidance as to the nature of the information to be returned by the contractor.
(c) Ground water connection shall be made as specified in the drawings.
(d) The cost shall include for; sockets, running joints, connectors, elbows, junctions, reducers, expansion joints, back nuts and similar, incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails , pvc glues, threadseals and fixing complete, including cutting and forming holes, excavating, laying pipes , backfilling trenches.
(e) All pipes shall be High Pressure uPVC "Mutha" or equivalent brand.
1.0 | GROUND FLOOR |  |  |  |  | 0
1.1 ) | HYDRAULICS
a ) | Charges for Piping for fresh water Pipe work | item | 1 |  |  | 0
b ) | Charges for Piping for Ground water supply pipe work. | item | 1 |  |  | 0
c ) | Supply and Installation Ground water pump (Davey or Equivalent) for Ground water | no | 1 |  |  | 0
d ) | Supply and Installation Ground water pump (Davey or Equivalent) for Rain water | no | 1 |  |  | 0
1.2 ) | FIXTURES &ACCESSORIES |  |  |  |  | 0
1 ) | Floor Drain | no | 1 |  |  | 0
2 ) | Floor Gully | no | 3 |  |  | 0
3 ) | Gully Trap | no | 2 |  |  | 0
4 ) | Manhole | no | 1 |  |  | 0
5 ) | 110Ø Rainwater Outlet Perforated Cowl | no | 2 |  |  | 0
6 ) | Bottle Trap | no | 4 |  |  | 0
7 ) | Basin Faucet | no | 2 |  |  | 0
8 ) | Bib Tap | no | 1 |  |  | 0
9 ) | Bidet Shower | no | 4 |  |  | 0
10 ) | Sink Tap | no | 1 |  |  | 0
11 ) | Wash Basin | no | 2 |  |  | 0
12 ) | Water Closet | no | 4 |  |  | 0
13 ) | Rain Water Bib Tap | no | 6 |  |  | 0
14 ) | Gate Valve | no | 11 |  |  | 0
15 ) | MWSC or FENAKA Meter | no | 2 |  |  | 0
16 ) | Rain Water Pump | no | 1 |  |  | 0
17 ) | Foot Valve With Strainer | no | 2 |  |  | 0
18 ) | Angle valve with cap | no | 4 |  |  | 0
19 ) | Non return valve | no | 2 |  |  | 0
1.3 ) | DRAINAGE |  |  |  |  | 0
1 ) | SEWERAGE & DRAINAGE: Charges for piping for all discharge pipes, sewerage and drainage pipes including connection Main junctions from the Fixtures. | item | 1 |  |  | 0
2 ) | INSPECTION CHAMBERS: Charges for construction and Pipe connection of Inspection chambers as per drawing | item | 1 |  |  | 0
2.0 | FIRST FLOOR
2.1 ) | HYDRAULICS
a ) | Charges for Piping for fresh water Pipe work | item | 1 |  |  | 0
b ) | Charges for Piping for Ground water supply pipe work. | item | 1 |  |  | 0
2.2) | FIXTURES &ACCESSORIES |  |  |  |  | 0
1 ) | Floor Drain | no | 1 |  |  | 0
2 ) | Floor Gully | no | 2 |  |  | 0
3 ) | 110Ø Rainwater Outlet | no | 3 |  |  | 0
4 ) | 110Ø Rainwater Outlet Perforated Cowl | no | 4 |  |  | 0
5 ) | Bottle Trap | no | 3 |  |  | 0
6 ) | Basin Faucet | no | 3 |  |  | 0
7 ) | Bidet Shower | no | 3 |  |  | 0
8 ) | Wash Basin | no | 3 |  |  | 0
9 ) | Water Closet | no | 3 |  |  | 0
10 ) | Gate Valve | no | 3 |  |  | 0
11 ) | Angle valve with cap | no | 3 |  |  | 0
2.3 ) | DRAINAGE |  |  |  |  | 0
1 ) | SEWERAGE & DRAINAGE: Charges for piping for all discharge pipes, sewerage and drainage pipes including connection Main junctions from the Fixtures. | item | 1 |  |  | 0
3.0 | TERRACE FLOOR
3.1 ) | HYDRAULICS
a ) | Charges for Piping for fresh water Pipe work | item | 1 |  |  | 0
b ) | Charges for Piping for Ground water supply pipe work. | item | 1 |  |  | 0
3.2) | FIXTURES &ACCESSORIES |  |  |  |  | 0
1 ) | 40Ø Stub For Washing Machine Or Tub | no | 1 |  |  | 0
2 ) | Floor Drain | no | 2 |  |  | 0
3 ) | Floor Gully | no | 4 |  |  | 0
4 ) | 110Ø Rainwater Outlet | no | 33 |  |  | 0
5 ) | 110Ø Rainwater Outlet Perforated Cowl | no | 2 |  |  | 0
6 ) | Bottle Trap | no | 5 |  |  | 0
7 ) | Bottle Trap For Sink | no | 1 |  |  | 0
8 ) | Basin Faucet | no | 5 |  |  | 0
9 ) | Bidet Shower | no | 5 |  |  | 0
10 ) | Hot Water Shower Mixer | no | 5 |  |  | 0
11 ) | Sink Tap | no | 1 |  |  | 0
12 ) | Wash Basin | no | 5 |  |  | 0
13 ) | Water Closet | no | 5 |  |  | 0
14 ) | Instant Water Heater | no | 5 |  |  | 0
15 ) | Washing Machine Tap | no | 1 |  |  | 0
16 ) | Gate Valve | no | 7 |  |  | 0
17 ) | Angle valve with cap | no | 5 |  |  | 0
3.3 ) | DRAINAGE |  |  |  |  | 0
1 ) | SEWERAGE & DRAINAGE: Charges for piping for all discharge pipes, sewerage and drainage pipes including connection Main junctions from the Fixtures. | item | 1 |  |  | 0
3.0 | ROOF LEVEL
1 ) | RAINWATER DOWN PIPES: Charges for piping for all discharge pipes and Drainage pipes including fittings and fixtures from the Gutter to Ground floor. | item | 1 |  |  | 0
BILL No: 10 - HYDRAULICS AND DRAINAGE
| TOTAL OF BILL No: 10 - Carried over to summary |  |  |  |  | 0
BILL No: 11
ELECTRICAL INSTALLATIONS
11.1 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates shall include for electrical conduits, fittings, equipment and similar all fixings to various building surfaces and also all elecetrical work shall be carried out according to STELCO standards and specifications.
(d) Each Light/ light fixture and its switch is measured as one one point; similarly each fan or each socket outlet is measured as one point;
(e) Rates shall include for supply and complete installation , fittings and fixtures.
2.0 | GROUND FLOOR
2.1 ) | ELECTRIC BOARDS |  |  |  |  | 0
a | Supply and Installation of STELCO approved Main Panel board with meters. | nos | 1 |  |  | 0
b | Supply and Installation of STELCO approved brand Distribution board | nos | 1
c | Supply and Installation of STELCO approved brand Lightning Protection System to cover the plot area. | item | 1
d | Electric Main cable to be connected from the nearest Transformer. | item | 1
0
2.2 ) | ELECTRIC FIXTURES |  |  |  |  | 0
| Bollard Light | nos | 29 |  |  | 0
| Ceiling Down Light (18W) - Weather Proof | nos | 6 |  |  | 0
| Ceiling Light (12W) | nos | 20 |  |  | 0
| Recessed Ceiling Light (12W) | nos | 6 |  |  | 0
| Ceiling Mount Spot Light (3W)- Weather Proof | nos | 9 |  |  | 0
| 600 X 600 Ceiling Recessed LED Panel | nos | 37 |  |  | 0
| Spike Light | nos | 10 |  |  | 0
| HPS Low Bay Light (60W) | nos | 10 |  |  | 0
| Ceiling Mounted Exhaust Fan | nos | 4 |  |  | 0
| Light Switch (1 Gang ) | nos | 3 |  |  | 0
| Light Switch (2 Gang ) | nos | 12 |  |  | 0
| Light Switch (3 Gang ) | nos | 11 |  |  | 0
| Light Switch (4 Gang ) | nos | 10 |  |  | 0
| Light Switch (5 Gang) | nos | 7 |  |  | 0
| 13A Power Socket | nos | 13 |  |  | 0
| 13A Twin Socket | nos | 54 |  |  | 0
| 13A Twin Socket With USB Ports | nos | 4 |  |  | 0
| 15A Socket | nos | 2 |  |  | 0
| 15A Switched Socket at High Level | nos | 6 |  |  | 0
| 15A Socket In Polycarbonate Box | nos | 1 |  |  | 0
| TPN Isolator | nos | 4 |  |  | 0
| Distribution Board | nos | 5 |  |  | 0
| Emergency Light | nos | 11 |  |  | 0
| TV Socket Outlet | nos | 1 |  |  | 0
| Twin Computer Network Outlet | nos | 22 |  |  | 0
| Angular Camera | nos | 24 |  |  | 0
| Digital or network Video Recorder | nos | 1 |  |  | 0
| Security Monitor | nos | 1 |  |  | 0
| Biometric Door Lock With Card Reader | nos | 5 |  |  | 0
| Internet Switchboard | nos | 1 |  |  | 0
| IT Distribution Board | nos | 1 |  |  | 0
| Medianet Booster | nos | 1 |  |  | 0
| Private Automatic Branch Exchange (PABX) | nos | 1 |  |  | 0
| Push Button | nos | 3 |  |  | 0
| Wireless Access Point | nos | 3 |  |  | 0
| 1800 mm Length Air Curtain | nos | 2 |  |  | 0
2.3 ) | ELECTRICAL WIRING |  |  |  |  | 0
1 ) | 2.5mm2 Wiring to Light Points | points | 174 |  |  | 0
2 ) | 2.5mm2 Wiring to Power Points | points | 166 |  |  | 0
3 ) | 16mm2 Cabling to DBs | item | 5 |  |  | 0
4 ) | Cabling - TV Socket Outlet points | no | 1 |  |  | 0
5 ) | Cabling - Data Network points (Cat 06) | no | 33 |  |  | 0
3.0 | FIRST FLOOR
3.1 ) | ELECTRIC BOARDS |  |  |  |  | 0
a | Supply and Installation of STELCO approved brand Distribution board
3.2 ) | ELECTRIC FIXTURES |  |  |  |  | 0
| Ceiling Down Light (18W) - Weather Proof | nos | 4 |  |  | 0
| Ceiling Light (12W) | nos | 4 |  |  | 0
| Recessed Ceiling Light (12W) | nos | 3 |  |  | 0
| Ceiling Mount Spot Light (3W)- Weather Proof | nos | 15 |  |  | 0
| Ceiling Recessed Spot Light (3W) | nos | 6 |  |  | 0
| Recessed Ceiling Light (8W) | nos | 24 |  |  | 0
| 600 X 600 Ceiling Recessed LED Panel | nos | 50 |  |  | 0
| Ceiling Mounted Exhaust Fan | nos | 3 |  |  | 0
| Light Switch (1 Gang ) | nos | 6 |  |  | 0
| Light Switch (2 Gang ) | nos | 8 |  |  | 0
| Light Switch (3 Gang ) | nos | 8 |  |  | 0
| Light Switch (4 Gang ) | nos | 3 |  |  | 0
| Light Switch (5 Gang) | nos | 10 |  |  | 0
| Pendant Pool Table Light | nos | 2 |  |  | 0
| Light Switch (4 Gang ) | nos | 2 |  |  | 0
| 13A Power Socket | nos | 11 |  |  | 0
| 13A Twin Socket | nos | 40 |  |  | 0
| 13A Twin Socket In Floor Mount Pop-up Box | nos | 32 |  |  | 0
| 15A Switched Socket at High Level | nos | 4 |  |  | 0
| TPN Isolator | nos | 4 |  |  | 0
| Distribution Board | nos | 5 |  |  | 0
| Emergency Light | nos | 8 |  |  | 0
| HDMI Socket | nos | 6 |  |  | 0
| TV Socket Outlet | nos | 2 |  |  | 0
| Twin Computer Network Outlet | nos | 6 |  |  | 0
| Twin Computer Network Outlet In Floor Mount Pop-up Box | nos | 16 |  |  | 0
| Angular Camera | nos | 3 |  |  | 0
| Biometric Door Lock With Card Reader | nos | 4 |  |  | 0
| Wireless Access Point | nos | 5 |  |  | 0
3.3 ) | ELECTRICAL WIRING |  |  |  |  | 0
1 ) | 2.5mm2 Wiring to Light Points | points | 146 |  |  | 0
2 ) | 2.5mm2 Wiring to Power Points | points | 146 |  |  | 0
3 ) | 16mm2 Cabling to DBs | no | 5 |  |  | 0
4 ) | Cabling - TV Socket Outlet points | no | 2 |  |  | 0
5 ) | Cabling - Data Network points (Cat 06) | no | 29 |  |  | 0
4.0 | TERRACE FLOOR
4.1 ) | ELECTRIC BOARDS |  |  |  |  | 0
a | Supply and Installation of STELCO approved brand Distribution board
4.2 ) | ELECTRIC FIXTURES |  |  |  |  | 0
| Ceiling Down Light (18W) - Weather Proof | nos | 3 |  |  | 0
| Ceiling Light (12W) | nos | 2 |  |  | 0
| Ceiling Recessed Room Light (18W) | nos | 36 |  |  | 0
| Recessed Ceiling Light (12W) | nos | 6 |  |  | 0
| Ceiling Recessed Spot Light (3W) | nos | 1 |  |  | 0
| Indoor Wall Light (18W) | nos | 1 |  |  | 0
| Night Light (6W) | nos | 13 |  |  | 0
| Wall Light - Weather Proof IP 55 (Low Level 8W) | nos | 13 |  |  | 0
| Ceiling Mounted Exhaust Fan | nos | 5 |  |  | 0
| Light Switch (1 Gang ) | nos | 16 |  |  | 0
| Light Switch (2 Gang ) | nos | 7 |  |  | 0
| Light Switch (3 Gang ) | nos | 5 |  |  | 0
| Light Switch (4 Gang ) | nos | 5 |  |  | 0
| Light Switch (5 Gang) | nos | 3 |  |  | 0
| 13A Power Socket | nos | 3 |  |  | 0
| 13A Power Socket in Weatherproof Polycarbonate Enclosure | nos | 1 |  |  | 0
| 13A Twin Socket | nos | 28 |  |  | 0
| 13A Universal Twin Socket | nos | 13 |  |  | 0
| 15A Cooker Socket 300mm From F.F.L. | nos | 1 |  |  | 0
| 15A Switched Socket at High Level | nos | 8 |  |  | 0
| 20A Switched Neon Indicator For Electric Water Heater | nos | 4 |  |  | 0
| Shaver Socket | nos | 5 |  |  | 0
| Distribution Board | nos | 3 |  |  | 0
| Computer Network Outlet | nos | 3 |  |  | 0
| TV Socket Outlet | nos | 4 |  |  | 0
| Twin Computer Network Outlet | nos | 1 |  |  | 0
| Wireless Access Point | nos | 3 |  |  | 0
| Kitchen Hood | nos | 1 |  |  | 0
4.3 ) | ELECTRICAL WIRING |  |  |  |  | 0
1 ) | 2.5mm2 Wiring to Light Points | points | 116 |  |  | 0
2 ) | 2.5mm2 Wiring to Power Points | points | 78 |  |  | 0
3 ) | 16mm2 Cabling to DBs | no | 3 |  |  | 0
4 ) | Cabling - TV Socket Outlet points | no | 4 |  |  | 0
5 ) | Cabling - Data Network points (Cat 06) | no | 4 |  |  | 0
BILL No: 11 - ELECTRICAL INSTALLATIONS
| TOTAL OF BILL No: 11 - Carried over to summary |  |  |  |  | 0
BILL No: 12
FIRE FIGHTING SYSTEM
12.1 | GENERAL
a )Rates shall include for: sockets, running joints, connectors, elbows, junctions, reducers, expansion joints, back nuts, and similar incidental fittings, clips, saddles, brackets, straps, hangers screws nails and fixing complete including cutting and forming holes.
b ) Rate shall include for pipe works and inner and outer surface of all pipe work shall be galvanized steel.
c )All wiring and pipe work shall be done as specified in the drawing.
d )Shop drawings of the system shall be prepared to the standard of the government's relevant authority and submitted to the Consultant for approval.
12.2 | FIRE ALARM SYSTEM
Heat Resistant cable shall be laid for connecting the detectors.
1 | GROUND FLOOR
a ) | FIRE ALARM SYSTEM |  |  |  |  | 0
1 ) | CO2 Extinguisher (load 2kg) In Polycarbonate Enclosure | no | 3 |  |  | 0
2 ) | DCP Extinguisher (load 6kg) In Polycarbonate Enclosure | no | 2 |  |  | 0
3 ) | H2O Extinguisher (load 9L) In Polycarbonate Enclosure | no | 3 |  |  | 0
4 ) | Heat Detector | no | 5 |  |  | 0
5 ) | Manual Call Point | no | 2 |  |  | 0
6 ) | Smoke Detector | no | 14 |  |  | 0
7 ) | Beacon | no | 2 |  |  | 0
8 ) | Sounder Bell |  | 2
9 ) | Exit Sign | no | 2 |  |  | 0
10 ) | Fire Alarm Control Panel | no | 1 |  |  | 0
11 ) | 4 Way Breeching Inlet | no | 1 |  |  | 0
12 ) | Landing Valve | no | 2 |  |  | 0
2 | FIRST FLOOR
a ) | FIRE ALARM SYSTEM |  |  |  |  | 0
1 ) | CO2 Extinguisher (load 2kg) In Polycarbonate Enclosure | no | 2 |  |  | 0
2 ) | H2O Extinguisher (load 9L) In Polycarbonate Enclosure | no | 2 |  |  | 0
3 ) | Manual Call Point | no | 3 |  |  | 0
4 ) | Smoke Detector | no | 18 |  |  | 0
5 ) | Beacon | no | 3 |  |  | 0
6 ) | Exit Sign | no | 3 |  |  | 0
7 ) | Landing Valve | no | 2 |  |  | 0
3 | TERRACE FLOOR
a ) | FIRE ALARM SYSTEM |  |  |  |  | 0
1 ) | CO2 Extinguisher (load 2kg) In Polycarbonate Enclosure | no | 2 |  |  | 0
2 ) | H2O Extinguisher (load 9L) In Polycarbonate Enclosure | no | 2 |  |  | 0
3 ) | Manual Call Point | no | 1 |  |  | 0
4 ) | Smoke Detector | no | 10 |  |  | 0
5 ) | Beacon | no | 1 |  |  | 0
6 ) | Exit Sign | no | 1 |  |  | 0
7 ) | Landing Valve | no | 1 |  |  | 0
BILL No: 12 - FIRE FIGHTING SYSTEM
| TOTAL OF BILL No: 12 - Carried over to summary |  |  |  |  | 0
BILL NO : 13
BAOUNDARY WALL WORK
13.1.0 | General
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating, additional working space and disposing surplus soil.
13.2.0 | Site clearance
| Clearing site - Demolition of Existing Wall and dispatch all debris, clearing and dispose all unwanted materials away from site and prepare site ready for proposed construction (including all subsurface structure of the wall). | m² | 225.2 |  |  | 0 | 278.97
0
0
13.3.0 | Excavation |  |  |  |  | 0
| (a) Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork , back fill , dewatering and others | [5 empty] | 7.26 | 16.82 | 20.0475 | 5.76 | 1.62 | 6.25 | 15.21 | 16.81 | 89.7775 | 112.2219
13.3.1 | Excavation | [5 empty] | 134 | 70.015 |  | 182.2369
(1) | Foundation Beam FB | m³ | 15.7163 |  |  | 0 | 148.6 | 16.7175
[7 empty] | 41.5 | 4.6688
13.3.2 | Back filling
(a) Rates shall include for: leveling, grading, trimming and compacting.
(b) Ground need to be compacted to the density required by the consultant
1 ) | Foundation Beam | m² | 3.0956 |  |  | 0 | 345.345
13.3.3 | Damp Proof Membrane
(a) Rates shall include for: dressing around and sealing to all penetrations, laps and turnups.
1 ) | Polythene damp proof membrane (500 gauge) laid on blinding layer. | m² | 28.575 |  |  | 0
13.4.0 | CONCRETE
(a) Rates shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
(b) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:6 by volume.
(c) Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
13.4.1 | LEAN CONCRETE
| 50mm thick lean concrete below Foundation | [5 empty] | 7.26 | 16.82 | 20.0475 | 5.76 | 1.62 | 6.25 | 15.21 | 16.81 | 89.7775 | 89.7775
| Foundation Footings & Tie beams | m² | 28.575 |  |  | 0 | 134 | 73.7 |  | 163.4775
13.4.2 | REINFORCED CONCRETE
13.4.3 | FOUNDATIONS
(1) | Foundation Beam FB | m³ | 6.4294 |  |  | 0 | 148.6 | 16.7175
13.4.4 | GROUND FLOOR
13.4.5 | COLUMNS & COPPING
(1) | BC (Main) | m3 | 2.816 |  |  | 0 | 5.985 |  |  |  |  | 10 | 1 | 10 | 10 | 100
(2) | RC Copping Stone | m3 | 1.397 |  |  | 0 | 39.5 | 2.37
13.5.0 | FORM WORK | [9 empty] | #REF!
(a) Exposed surface shall have fair finish while remaining may have rough finish.
(b) Timber used for unexposed concrete surface shall sound dressed and seasoned good quality common timber while for exposed concrete surfaces dressedand matched boards uniformly thick and not more than 251mm wide.
c) Plywood used for forms shall be of commercial standard, moisture resistane conrete form plywoodnot lessthan 6mm thick and atleast 12mm thick.
(d) Rates shall include for; all necessary boarding,supports, erecting, framing, temporary cambering cutting, perforations for reinforcing bars, bolts,straps,ties, hangers, pipes and removal of formwork.
13.5.1 | FOUNDATIONS
(1) | Foundation Beam FB | m2 | 57.15 |  |  | 0 | 148.6 | 16.7175
13.5.2 | GROUND FLOOR
13.5.3 | COLUMNS
(1) | BC (Main) | m2 | 56.32 |  |  | 0 | 5.985 |  |  |  |  | 10 | 1 | 10 | 10 | 100
(2) | RC Copping Stone | m2 | 39.37 |  |  | 0 | 39.5 | 2.37
13.6.0 | REINFORCEMENT WORK
(a) Main reinforcement steel shall be high tensile steel hot rolled deformed bars complying with BS 1119 or BS 1172 Characteristic strength not less than 160N/mm2.
(b) Stirrups shall be hot rolled mildsteel round bars complying with BS 1119, Characteristic strength not less than 250N/mm2
(c ) Rates shall include for; distribution steel, cleaning, fabrication, placing, the provision for all necessary temporary fixings, and supports including chairs and tie wire , laps and wastage.
13.6.1 | BELOW GROUND
13.6.2 | FOUNDATIONS
(1) | Foundation Beam FB | [5 empty] | 148.6 | 16.7175
| 12mm dia deformed bars - 6m | kg | 452.12 |  |  | 0 | 2408.8954 | 141
| 6mm dia deformed bars - 6m | kg | 169.164 |  |  | 0 | 901.3058 | 141
13.6.3 | GROUND FLOOR
13.6.4 | COLUMNS
(1) | BC (Main) |  |  |  |  | 0 | 5.985 |  |  |  |  | 10 | 1 | 10 | 10 | 100
| 12mm dia deformed bars - 6m | kg | 250.624 |  |  | 0 | 1335.3247 | 141
| 6mm dia deformed bars - 6m | kg | 83.3536 |  |  | 0 | 444.108 | 141
(2) | RC Copping Stone | [5 empty] | 39.5 | 2.37
| 10mm dia deformed bars - 6m | kg | 157.48 |  |  | 0 | 839.0534 | 141
| 6mm dia deformed bars - 6m | kg | 67.6656 |  |  | 0 | 360.5223 | 141
MASONRY AND PLASTERING
13.7.0 | General
a )Rates shall include for cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs.
b )Cutting or leaving holes and openings as recesses for and building in pipes, conduits , sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joints.
c ) All external wall and all inetrenal walls shall be 100mm thick Solid cement blocks and for masonry mix ratio 1:5 (cement and river sand)
13.7.1 | MASONRY
13.7.2 | BELOW GROUND LEVEL
150mm thick Solid block wall
| 300 x150 x 150mm solid block single wall - 150mm thick above all FB beams. | m2 | 41.275 |  |  | 0 | #REF! | #REF!
13.7.3 | ABOVE GROUND LEVEL
1 ) | Boundary walls
a ) | 300x150x100mm Hollow block single wall - 100mm thick | m2 | 142.875 |  |  | 0 | 73.2 | 239.73 | 81 | 158.73 | 163.4919
13.8.0 | PLASTERING
(a) 20mm thick Cement plastering on Exterior surface of External masonry walls and concrete surfaces and 15mm thick plastering on interior walls and concrete surface as specified incl. wire mesh shall be fixed at the joints of concrete surfaces and walls before plastering. Quantity is measured including concrete surfaces - Parapetwalls, Liftwalls, columns & beams.
(b)Rates shall include for External plastering shall 20mm thick (12+8mm) 2 coats in 1:4 cement and river sand mix ratio
c) Rates shall include for approved brand water proofing compound shall be mixed with cement mortar for external wall plastering as per manufacturers specifications.
13.8.1 | BELOW GROUND LEVEL
1 ) | 20mm thick Plastering
| Both surface of below ground walls | m2 | 82.55 |  |  | 0
13.8.2 | ABOVE GROUND LEVEL
1 ) | Both Side Plastering | [5 empty] | 81.8 | 316.975 | 81 | 235.975 | 243.0543 | 5.8125 | 237.2418 | 37.2 | 24.18
| Both surface of boundary wall | m2 | 285.75 |  |  | 0 | 6.9863 | [6 empty] | 26.84 | 288.2618
PAINTING
13.9.0 | General | [6 empty] | 80.6
(a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window furniture.
| (b) All painting work shall be carried in accordance with the Specifications | [6 empty] | 168.85
(c)Rate shall include for weather proof paint finish for exterior surfaces of the wall complete including application of two coats of oil based wall sealer and two coats of weather bond paint
| (d)Rate shall include for putty and paint finish for interior surfaces of the wall and ceilings complete including application of two coats of wall sealer, two coats of putty finish and two coats of emulsion paint finish on top for Interior painting. | [6 empty] | 139
13.9.1 | GROUND FLOOR
| Painting exterior surfaces of External Wall, Columns & beams. | m2 | 285.75 |  |  | 0
| RC Copping Stone | m2 | 39.37 |  |  | 0
ELECTRICAL INSTALLATIONS
13.10.0 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates shall include for electrical conduits, fittings, equipment and similar all fixings to various building surfaces and also all elecetrical work shall be carried out according to STELCO standards and specifications.
(d) Each Light/ light fixture and its switch is measured as one one point; similarly each fan or each socket outlet is measured as one point;
(e) Rates shall include for supply and complete installation , fittings and fixtures.
13.10.1 | GROUND FLOOR
13.10.2 | ELECTRIC BOARDS
1) | Supply and Installation | nos | 1 |  |  | 0
13.10.3 | ELECTRIC FIXTURES
1) | Solar Powered LED Gate Lights (12W) IP65 | nos | 4 |  |  | 0
13.10.4 | ELECTRICAL WIRING
1) | 2.5mm2 Wiring to Light Points | points | 4 |  |  | 0
BILL No: 13 -BAOUNDARY WALL WORK
| TOTAL OF BILL No: 13 - Carried over to summary |  |  |  |  | 0
BILL No: 14
AIR HANDLING UNIT SYSTEM
14.0 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates shall include for electrical conduits, fittings, equipment and similar all fixings to various building surfaces and also all elecetrical work shall be carried out according to STELCO standards and specifications.
(d) Supply and install the following plants and equipment. Tenderer is expected to be familiar with the specifed manufacturers and is to submit appropriate brochures of the specified items (or an equivalent product of another acceptable manufacturer as shall be agreed with the Client and Consultants.
(e) Rates shall include for supply and complete installation , fittings and fixtures.
1) | Supply and install of Air Handling Unit with duct system as per manufacture's requirements | item | 1 |  |  | 0
BILL No: 14 - ELECTRICAL INSTALLATIONS
| TOTAL OF BILL No: 14 - Carried over to summary |  |  |  |  | 0
BILL No: 15
CLADDING WORK
15.0 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates shall include for supply and complete installation , fittings, Framing and fixtures.
1) | Exterior Standard Cladding , Consultant to approve | m2 | 923.6245 |  |  | 0
BILL No: 15 - CLADDING WORKS
| TOTAL OF BILL No: 15 - Carried over to summary |  |  |  |  | 0
BILL No: 16
SUPPLY AND INSTALLATION OF FIXED & MOVEABLE FURNITURE
16.0 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard clips, brackets, straps, rivets, and all incidental accessories
(b) Rates shall include for: supply and install according to the clients requirment.
(c) All furniture should be approved by the client
1 | Reception Counter | Nos | 1 |  |  | 0
2 | Kitchen Cabinet for Tea Room | Nos | 1 |  |  | 0
3 | Kitchen Cabinet for Accommodation area | Nos | 1 |  |  | 0
First Floor Furniture
4 | Office Table (4' x 2' or equivalant) | Nos | 6
5 | Executive Table (5' x 2' 5" or equivalant) | Nos | 1
6 | Cubicals (4 work station, including Tables) | Nos | 6
7 | Executive Highback Chair (PU Black or equivalant) | Nos | 1
8 | Medium Back Chair (PU Black or equivalant) | Nos | 36
9 | Meeting Table Round (6 Person) | Nos | 1
10 | Bench Chair (5 seater) | Nos | 2
11 | Counter height Stool | Nos | 2
12 | File Rack (Size: minimum 2' x 6') | Nos | 6
Second Floor Furniture
13 | Executive Table (with Side Table) | Nos | 1
14 | Executive Table | Nos | 1
15 | Exective High back Chair (PU Black or equivalent) | Nos | 2
16 | U Chair (PU Black or equivalent) | Nos | 4
17 | Banquet Chair | Nos | 60
18 | Folding Desk (5' x 2' or quivalant) | Nos | 20
19 | Executive Meeting Table (10 Person) | Nos | 1
20 | Meeting Room Chair (PU Black or equivalent) | Nos | 10
21 | Training Room Chair (for training purpose) | Nos | 30
22 | Projector (for Seminar room) | Nos | 2
23 | Ceiling mount projector Screen (Electric) 16:10 | Nos | 2
24 | Sofa Set (6 Seater) with Table | Nos | 1
25 | Out Door Chair | Nos | 27
26 | Out Door Table (Round Table) | Nos | 10
27 | HD Television 65" (Samsung, Sony, Hisence, Hitachi) | Nos | 2
28 | TV Rack | Nos | 2
Terrace Floor Furniture
29 | Bedroom Set (Queen Size bed, Mattress 8" Thickness, 3 Door Wardrobe, Dressing Table) | Nos | 3
30 | Sofa Single Seater with Table | Nos | 1
31 | Sofa Set (6 Seater) with Table | Nos | 1
32 | Bunk Bed Single (Wooden) with form mattress 6" thickness or equivalent) | Nos | 7
33 | Wardrobe 2 Door | Nos | 2
34 | Dressing Table | Nos | 2
35 | Compartment Locker (6 Compartment) | Nos | 2
36 | Dining Table (10 Person) | Nos | 1
37 | Dining Chair | Nos | 10
38 | 2 Doors Referegerator (400 Ltr or equivalent) | Nos | 2
39 | Referegerator (Single Door) | Nos | 1
40 | Defreezer (400 Ltr or equivalent) | Nos | 1
41 | Washing Machine Front Load 10KG - inverter | Nos | 1
42 | Blinds for First Floor and Second floor | Nos | 1
43 | Curtains for Terrace Floor | Nos | 1
44 | Shoe Cabinet | Nos | 4
45 | Towel Rack | Nos | 5
46 | Pillows | Nos | 34
47 | Door mat | Nos | 20
BILL No: 16 - SUPPLY AND INSTALLATION OF FIXED & MOVEABLE FURNITURE
| TOTAL OF BILL No: 15 - Carried over to summary |  |  |  |  | 0
BILL No: 17
ADDITIONS
17.1 | General
Provision to include quantities as per the drawing which is missed in the bill of quantities.
0
BILL No: 17 - ADDITIONS
| TOTAL OF BILL No: 17 - Carried over to summary |  |  |  |  | 0
BILL No: 18
OMISSIONS
18.1 | General
Provision to remove the excess quantity given in the bill quantities if any as per the drawing details
BILL No: 18 - OMISSIONS
| TOTAL OF BILL No: 18 - Carried over to summary |  |  |  |  | 0