## SUMMARY
BILL OF QUANTITIES
ADMIN BUILDING, MNDF POST
ADH. MAAMIGILI
MILITARY ENGINEERS
MALDIVES NATIONAL DEFENCE FORCE
MALE', REPUBLIC OF MALDIVES
DATE: 28th SEPTEMBER 2015
PROJECT: DEVELOPMENT OF MAAMIGILI MNDF POST, ADMIN BUILDING
CLIENT: MINISTRY OF DEFENCE AND NATIONAL SECURITY
LOCATION: ADH. MAAMIGILI
COST SUMMARY
| GROUND FLOOR | MVR
| FIRST FLOOR | MVR
| TOTAL COST OF THE PROJECT | MVR
| TOTAL COST OF THE PROJECT / m2 | MVR
DURATION: ______ DAYS

## BOQ Ground Floor
MILITARY ENGINEERS
MALDIVES NATIONAL DEFENCE FORCE
MALE', REPUBLIC OF MALDIVES
DATE: 28th SEPTEMBER 2015
PROJECT: DEVELOPMENT OF MAAMIGILI MNDF POST, ADMIN BUILDING
CLIENT: MINISTRY OF DEFENCE AND NATIONAL SECURITY
LOCATION: ADH. MAAMIGILI
COST SUMMARY
SECTION 01 - GROUND FLOOR
BILL 01 | SITE PREPARATION | MVR
BILL 02 | FOUNDATION | MVR
BILL 03 | SLAB ON FILL | MVR
BILL 04 | CONCRETE FRAMES | MVR
BILL 05 | STAIRCASE | MVR
BILL 06 | MASONRY WORKS | MVR
BILL 07 | PERGOLA | MVR
BILL 08 | WALL FINISHES | MVR
BILL 09 | FLOOR FINISHES | MVR
BILL 10 | CEILING FINISHES | MVR
BILL 11 | DOORS & WINDOWS | MVR
BILL 12 | ELECTRICAL FIXTURES AND FITTINGS | MVR
BILL 13 | AIR CONDITIONING SYSTEM | MVR
BILL 14 | TELECOMMUNICATION NETWORK | MVR
BILL 15 | FIREFIGHTING EQUIPMENT | MVR
BILL 16 | SUNSHADES | MVR
BILL 17 | SANITARY & WATER SUPPLY | MVR
BILL 18 | FURNITURE & KITCHENWARE | MVR
BILL 19 | ADDITIONS & OMISSIONS | MVR
TOTAL COST FOR GROUND FLOOR |  | MVR
MILITARY ENGINEERS
MALDIVES NATIONAL DEFENCE FORCE
MALE', REPUBLIC OF MALDIVES
0
DATE: 28th SEPTEMBER 2015
0
PROJECT: DEVELOPMENT OF MAAMIGILI MNDF POST, ADMIN BUILDING
CLIENT: MINISTRY OF DEFENCE AND NATIONAL SECURITY
LOCATION: ADH. MAAMIGILI
BILL OF QUANTITIES
ITEM | DESCRIPTION | QTY. | UNIT | UNIT PRICE | AMOUNT | REMARKS
SECTION 01- GROUND FLOOR
BILL 01 | SITE PREPARATION
a. | Clear site generally, whenever necessary cutting down trees, irrespective of sizes, grubbing roots, stumps etc. dispose of and carting debris, loose boulders, waste materials away from the site. | 833 | m²
BILL 02 | FOUNDATION
Excavate for concrete footing not exceeding the given depth, get out part deposit, return, fill in and ram in making up levels where directed and remainder load and cart away as described;
In isolated footings;
a. | F1 ( 2400 x 2400mm ) 6nos. | 42.588 | m³
b. | F2 ( 1900 x 1900mm ) 11nos. | 50.9355 | m³
c. | F3 ( 1400 x 1400mm ) 5nos. | 13.44 | m³
d. | F4 ( 850 x 850mm ) 7nos. | 8.1034 | m³
In ground beams; 0.85m from NGL
e. | GB1 ( 200 x 300mm ) | 36.474 | m³
f. | GB2 ( 450 x 400mm ) | 2.8889 | m³
Lean concrete (1:3:6) 50 mm thick spread and level as described;
In isolated footings;
g. | F1 ( 2400 x 2400mm ) 6nos. | 40.56 | m²
h. | F2 ( 1900 x 1900mm ) 11nos. | 48.51 | m²
i. | F3 ( 1400 x 1400mm ) 5nos. | 12.8 | m²
j. | F4 ( 850 x 850mm ) 7nos. | 7.7175 | m²
In ground beams; 0.85m from NGL
k. | GB1 ( 200 x 300mm ) | 45.5925 | m²
l. | GB2 ( 450 x 400mm ) | 5.2525 | m²
Reinforced concrete ( 1:2:3 ) mixture using Portland cement and imported fine and course aggregates with 40 % water cement ratio as described;
In isolated footings;
m. | F1 ( 2400 x 2400 x 350mm ) 6nos. | 12.096 | m³
n. | F2 ( 1900 x 1900 x 250mm ) 11nos. | 9.9275 | m³
o. | F3 ( 1400 x 1400 x 250mm ) 5nos. | 2.45 | m³
p. | F4 ( 850 x 850 x 250mm ) 7nos. | 1.2644 | m³
In ground beams;
q. | GB1 ( 200 x 300mm ) | 12.99 | m³
r. | GB2 ( 450 x 400mm ) | 1.44 | m³
Sawn formworks inclusive of all shuttering, propping and slope protection as described;
In isolated footings;
s. | F1 ( 2400 x 2400mm ) 6nos. | 20.58 | m²
t. | F2 ( 1900 x 1900mm ) 11nos. | 21.45 | m²
u. | F3 ( 1400 x 1400mm ) 5nos. | 7.25 | m²
v. | F4 ( 850 x 850mm ) 7nos. | 6.3 | m²
In ground beams;
w. | GB1 ( 200 x 300mm ) | 129.9 | m²
x. | GB2 ( 450 x 400mm ) | 7.64 | m²
High Tensile Steel Reinforcement fabrication bending and fixing as described;
In isolated footings;
F1 ( 2400 x 2400mm ) 6nos.
y. | Steel Bars ( T16 @100 c/c b/w) | 1185.1852 | kg
F2 ( 1900 x 1900mm ) 11nos.
z. | Steel Bars ( T16 @150 c/c b/w) | 1390.6173 | kg
F3 ( 1400 x 1400mm ) 5nos.
aa. | Steel Bars ( T16 @150 c/c b/w) | 355.5556 | kg
F4 ( 850 x 850mm ) 7nos.
ab. | Steel Bars ( T12 @200 c/c b/w) | 199.6642 | kg
In ground beams;
GB1 ( 200 x 300mm )
ac. | Steel Bars ( 4 - T16 ) | 1368.4938 | kg
ad. | Steel Bars ( D6 @ 150 ) | 256.7704 | kg
GB2 ( 450 x 400mm )
ae. | Steel Bars ( T12 @ 150 ) - flange | 50.6 | kg
af. | Steel Bars ( 6 - T12 ) | 50.93 | kg
ag. | Steel Bars ( D6 @ 100 ) | 20.32 | kg
ah. | Thread rod ( 4 - M12 ) 7nos. | 13.9378 | kg
ai. | Allow for anchorage, bend and splice. | 690.1581 | kg
Prepare and apply bituminous damp proofing compound/damp proof membrane as per manufacturer's instructions;
In isolated footings;
aj. | F1 ( 2400 x 2400mm ) 6nos. | 54.72 | m²
ak. | F2 ( 1900 x 1900mm ) 11nos. | 60.61 | m²
al. | F3 ( 1400 x 1400mm ) 5nos. | 16.8 | m²
am. | F4 ( 850 x 850mm ) 7nos. | 11.0075 | m²
In ground beams;
an. | GB1 ( 200 x 300mm ) | 171.52 | m²
ao. | GB2 ( 450 x 400mm ) | 11.9375 | m²
ap. | Masonry walls and columns below NGL | 171 | m²
BILL 03 | SLAB ON FILL |  |  |  | 0
| Clean soil spread, level and compacted not exceeding depth described to receive concrete bed; |  |  |  | 0
a. | In sub base | 739.506 | m² |  | 0
b. | Lay polythene sheet on compacted sub - base | 739.506 | m² |  | 0
| Reinforced concrete ( 1:2:3 ) mixture using Portland cement & imported fine and course aggregates with 40 % water cement ratio; Allow labour for leveling & steel floating on fresh concrete with provision of slopes, expansion grooves with filler in every 10ft on floor finished smooth to levels, providing clearance of 1350x450mm on every column stump base of pergola as described; |  |  |  | 0
c. | RCC Floor Slab 100 mm thick | 73.9506 | m³ |  | 0
0
| High Tensile Steel Reinforcement fabrication bending and fixing as described; |  |  |  | 0
d. | Steel Bars T10 @300 c/c bothways | 3651.8815 | kg
e. | Allow for anchorage, bend and splice. | 547.7822 | kg
BILL 04 | CONCRETE FRAMES |  |  |  | 0
| Reinforced concrete ( 1:2:3 ) mixture using Portland cement and imported fine and course aggregates with 40 % water cement ratio as described; |  |  |  | 0
a. | C1 ( 300 x 300 x 4250 ) 20nos. | 7.65 | m³
b. | C3 ( 200 x 200 x 4250 ) 9nos. | 1.53 | m³
| Sawn formworks inclusive to all shuttering propping and scaffolding as described; |  |  |  | 0
c. | C1 ( 300 x 300 x 4250 ) 20nos. | 102 | m²
d. | C3 ( 200 x 200 x 4250 ) 9nos. | 30.6 | m²
| High Tensile Steel Reinforcement fabrication bending and fixing as described; |  |  |  | 0
C1 ( 300 x 300 x 4250 ) 20nos.
e. | Steel Bars ( 4 - T16) | 537.284 | kg
f. | Steel Bars ( D6 @ 150 ) | 116.0296 | kg
C3 ( 200 x 200 x 4250 ) 9nos.
g. | Steel Bars ( 4 - T12) | 136 | kg
h. | Steel Bars ( D6 @ 150 ) | 28.4533 | kg
BILL 05 | STAIRCASE |  |  |  | 0
Reinforced concrete ( 1:2:3 ) mixture using Portland cement and imported fine and course aggregates with 40 % water cement ratio; Allow labour for leveling and steel floating on fresh concrete to smooth cement finish as described;
a. | In Staircase | 1.69 | m³
Sawn formworks inclusive of all shuttering, propping and slope protection as described;
b. | In Staircase | 10.98 | m²
High Tensile Steel Reinforcement fabrication bending and fixing as described;
In Staircase
c. | Steel Bars ( T10 - 100 c/c b/w Bottom ) | 116.79 | kg.
| Steel Bars ( T12 - 150 c/c b/w Top ) | 117.18 | kg.
d. | Allow for anchorage, bend and splice. | 35 | kg.
Mortar screed (1:4 ) 20mm thick on concrete surface finished with steel trowel. Supply and installation of approved homogeneous tiles jointed and bedded with approved tile adhesive, 2mm grout and provision of nosing tiles as described; Rates shall include for plasterwork required to finish fair on sides/surfaces of staircase;
e. | In riser, tread and landing | 10.08 | m²
Fabrication and installation of SS railing with 50x25mm SS Square hollow section (S.H.S) as top rail and 50x25mm thick SS flat bar as balusters and 8mm dia SS wire as intermediate rails placed as described, inclusive of grinding, cutting, polishing, screws, flanges and fixing as described;.
f. | In Stair case railing | 1 | item
BILL 06 | MASONRY WORKS |  |  |  | 0
| Supply and installation of CHB Blocks 4" x 6" x 12" for both internal and external walls as laid per manufacturer's instruction as described; |  |  |  | 0
a. | In Walls below ground slab | 85.5 | m²
b. | In Exterior Walls (3.3h) | 254.958 | m²
c. | In interior Walls (3.3h) | 225.5975 | m²
Supply and installation of Solid Blocks 2"x4"x8" for external walls as laid per manufacturer's instruction as described;
d. | In ablution and outdoor dish washing bench | 10.0985 | m²
BILL 07 | PERGOLA
a. | Supply and installation of pine wood pergola treated with wood preservative, finished with Sadolin extra durable clear coat or approved equivalent surface finish inclusive of trims, joints, bolts, nuts, cleats, plates and anchorage on thread rods embedded column stumps and beams as described; Rates shall also include for cuts, grinds, drills, welds, application of 1 coat of anti-corrosive paint and 2 coats of enamel paint; | - | LS
b. | Supply and installation of approved polycarbonate sheet as cover on pergola inclusive of trims, aluminium channel joints, screws, application of anti-fungal sealant, provision of wall flashing and all necessary accessories as described; | 103.987 | m²
BILL 08 | WALL FINISHES |  |  |  | 0
Cement Plaster
| Cement and sand mixtures 1:4 applied in 2 coats on masonary surface in fair face finish to receive wall finishing as described; |  |  |  | 0
a. | 25mm plaster steel trowel finished the wall below ground slab | 171 | m² |  | 0
b. | 25mm plaster steel trowel finished to walls, beams and columns in external walls | 275.155 | m² |  | 0
c. | 12mm plaster steel trowel finished to walls, beams and columns in internal walls | 706.153 | m²
d. | Allow for PVC/Nylon mesh reinforcement @ all joints between walls and concrete. | - | LS |  | 0
e. | Allow expansion grooves in plaster wall up to 12mm wide and deep filled with approved sealant. | - | LS
Paintwork
| Prepare and apply 1-coat of exterior Wallsealer (Sigma brand or approved equivalent) and 2-coats of Weathershield Emulsion Paint (Sigma brand or approved equivalent) on surface as described; Allow for application of putty and sanding to fair finish; |  |  |  | 0
f. | In Exterior walls | 254.958 | m² |  | 0
Prepare and apply 1 - coat of interior Wallsealer (Sigma brand or approved equivalent) and 2-coats of Interior Paint (Sigma brand or approved equivalent) on surface as described; Allow for application of putty and sanding to fair finish;
g. | In Interior walls | 460.2116 | m²
Tilework
Supply and installation of approved glazed ceramic tiles (300x450) jointed and bedded with approved tile adhesive, 2mm grout and provision of plastic corner bead as described;
h. | In Junior & senior mess - 1.35m high | 33.345 | m²
i. | In Officers mess - 1.35m high | 26.3858 | m²
j. | In Toilets (2 nos) - 1.8m high | 21.42 | m²
k. | In Cooking & preparation area - 1.8m high | 83.421 | m²
l. | In Mosque - 0.9m high | 23.445 | m²
m. | In Ablution area and kicker - 1.8m high | 17.72 | m²
n. | In Outdoor dish washing area and bench - 1.8m high | 53.53 | m²
Supply and installation of approved stone tiles of size & pattern, jointless, bedded with approved tile adhesive as described;
o. | In Feature wall at entrance - 3.1m high | 9.0675 | m²
BILL 09 | FLOOR FINISHES
40mm cement screed ( 1:4 ) mixture using Portland cement and imported fine aggregates with 40 % water cement ratio and leveled (using steel trowel ) as described;
a. | In general flooring | 739.506 | m²
| Supply and installation of approved Homogeneous floor tiles (300x300mm) jointed and bedded with approved tile adhesive and 2mm grout as described; Tile skirting flushed with the wall plaster; and provision of expansion grooves with filler in every 10ft of exterior floor and 20ft of interior floor tile finish; |  |  |  | 0
b. | In General interior floor | 475.518 | m² |  | 0
c. | In interior tile skirting (100mm high) | 136.175 | m²
d. | In Entrance Portico floor | 225.16 | m² |  | 0
Prepare & apply 1-coat of primer and 2-coats of approved heavy duty floor paint on finished floor screed surface as described;
e. | In Strong room | 15.105 | m² |  | 0
Apply 2-coats of water proofing compound (Masterseal 550 or an approved equivalent as per manufacture's manual) on floor area and on wall surface 600mm from FFL as described;
f. | In Toilet | 12.652 | m²
g. | In Ablution area | 4.685 | m²
h. | In Out door dish washing area | 9.15 | m²
BILL 10 | CEILING FINISHES
Supply and installation of Boral Exposed Grid System in its entirety or an equivalent ceiling system with 9mm thick Fibre board ceiling panels of size 600 x 1200 as per manufacturer's instruction and owners requirement
a. | In Interior ceiling | 476.768 | m²
Supply and installation of timber framed external ceiling using 6mm thick cement board and 2"x2" kiln-treated timber spaced at 600mm c/c b/w; inclusive of sawing, joining and fixing as required. Allow for application of putty and sanding to fair finish,
b. | In External and toilet ceiling. | 18.847 | m²
Prepare and apply approved 1 - coat of Alkali Resisting Primer and 2-coats of Emulsion Paint on surface as described;
c. | In External and toilet ceiling. | 18.847 | m²
BILL 11 | DOORS & WINDOWS |  |  |  | 0
Fabrication and installation of wooden solid panel decorative "Nyatoh" door with "Chengal" double rebate frame 0.05 m x 0.15 section; 6mm thick clear glass inclusive of timber treatment, trims, joints, screws, nails, weather strippings, beadings, application of putty, sanding, provision of approved SS hinges, locks, door closers and iron mongery as described;
a. | D1-A |  |  |  | 0
1 - panel swing solid decorative door w/ fixed glass on top
| size : 900 x 2500h | 1 | set
b. | D1-B |  |  |  | 0
1 - panel swing solid decorative door w/ vision glass and fixed glass on top
| size : 900 x 2500h | 1 | set
| 0 | 0 | 0
c. | D1-C | 0 | 0
| 1 - panel swing solid decorative door | 0 | 0
| size : 900 x 2100h | 1 | set
| 0 | 0 | 0
d. | D2-A | 0 | 0
| 1 - panel swing solid decorative door w/ fixed glass on top | 0 | 0
| size : 800 x 2500h | 1 | set
e. | D2-B |  |  |  | 0
1 - panel swing solid decorative door w/ vision glass and fixed glass on top
| size : 800 x 2500h | 1 | set
f. | D2-C | 0 | 0
| 1 - panel swing solid decorative door w/ vision glass and top hung glass panel ventilator on top | 0 | 0
| size : 800 x 2500h | 2 | set
g. | D2-D | 0 | 0
| 1 - panel swing solid decorative door | 0 | 0
| size : 800 x 2100h | 1 | set
h. | D3-B | 0 | 0
| 1 - panel swing solid decorative door | 0 | 0
| size : 700 x 2100h | 1 | set
i. | D4-A
2 - panel swing solid decorative door with fixed glass panels
| size : 1500 x 2100h | 1 | set
j. | D4-B
2 - panel swing solid decorative door with single vision glass
| size : 1500 x 2100h | 1 | set
k. | D4-C
2 - panel swing solid decorative door with double vision glass
| size : 1500 x 2100h | 1 | set
l. | D4-D
2 - panel swing flush door
| size : 1500 x 2100h | 1 | set
| Installation of single panel PVC door and frame with approved door lock with handle, SS hinges, SS screws, application of PU antifungal sealant between door frame and wall, | 0 | 0
m. | D3-A | 0 | 0
| 1 - panel swing PVC door with louvers at bottom | 0 | 0
| size : 700 x 2100h | 1 | set
Fabrication and installation of 38mm solid wooden flush door with 1.5mm exterior aluminium sheet cladding inclusive of timber treatment, trims, joints, cuts, bends, screws, nails, and provision of approved SS hinges, bolt locks, iron mongery, SS sliding bolt latch lock fabricated using SS 12mm, 18mm rods and 50x6mm SS flat bar as described;
n. | D6
2 - panel swing solid door with 2mm aluminium sheet exterior cladding;
| size : 1500 x 2100h | 1 | set
Fabrication and installation of Aluminum casement doors 1.2mm thick in white powder coat 60-80microns; 6mm clear glass on top & 8mm clear glass with clear shatterguard film for larger panels, inclusive of weather strippings, PU antifungal sealant at all joints between wall & frame & sub frame, approved SS iron mongery i.e hinges, bolt locks, decorative lock with handle & door closer as described;
o. | D8 | 0 | 0
| 2 - panel swing aluminium framed glass door with fixed glass panels on sides and top. | 0 | 0
| size : 4250 x 2950h | 1 | set
Fabrication and installation of Aluminum casement windows; 1.2mm thick in white powder coat 60-80microns; 6mm clear glass; 8mm clear glass with clear shatterguard film for larger panels, inclusive of weather strippings, PU antifungal sealant at all joints between wall and frame and sub frame, approved SS hinges, lock handles and iron mongery as described;
p. | W1 | 0 | 0
| 3 - panel top hung window with top hung ventilator panels | 0 | 0
| size : 1800 x 1600h | 16 | set
q. | W2-A | 0 | 0
| 2 - panel fixed glass curtain with top hung ventilator panels | 0 | 0
| size : 1775 x 2950h | 1 | set
r. | W2-B | 0 | 0
| 5 - panel fixed glass curtain with top hung ventilator panels | 0 | 0
| size : 5000 x 2950h | 1 | set
s. | W3 | 0 | 0
| 5 - panel fixed glass curtain with top hung ventilator panels | 0 | 0
| size : 5675 x 2400h | 1 | set
t. | W6 | 0 | 0
| 4 - panel top hung window with top hung ventilators | 0 | 0
| size : 4250 x 2600h | 1 | set
u. | V1 | 0 | 0
| 1 - panel aluminium louvered ventilator | 0 | 0
| size : 750 x 450h | 1 | set
| 0 | 0 | 0
Reinforced concrete (1:2:3) as described;
v. | In lintel and sill (100 x 150) | 1.38 | m³
Sawn formworks as described;
w. | In lintel and sill | 17.04 | m²
High Tensile Steel Reinforcement fabrication bending and fixing as described;
In lintel and sill
x. | Steel Bars ( 4 - T10 ) | 140.2469 | kg
y. | Steel Bars ( D6 -150 ) | 27.3111 | kg
Supply and installation of vertical blinds in its entirety, of approved design pattern inclusive of rail, pins and necessary items as described;
In entrance main reception
z. | W2-A | 0 | 0
| size : 1950 x 1750h | 1 | set
aa. | W2-B | 0 | 0
| size : 1950 x 1750h | 1 | set
In mosque
ab. | W1 | 0 | 0
| size : 1950 x 1750h | 2 | set
|  | 0 | 0
In conference room
ac. | W3 | 0 | 0
| size : 1950 x 1750h | 1 | set
Supply and installation of single, standard pleat curtain in its entirety, of approved fabric and design pattern inclusive of rail, pins and necessary items as described;
In Junior & Senior mess
ad. | W1 | 0 | 0
| size : 1350 x 1900h | 8 | set
In Officers mess
ae. | W1 | 0 | 0
| size : 2950 x 2200h | 1 | set
BILL 12 | ELECTRICAL FIXTURES AND FITTINGS
Supply, Installation and testing, of conduit pipe, fittings & fixtures shall be executed as described in drawings and conformance to local regulation & to adhere with Local Electrical Authority's requirements. Rates shall include for screws, nails, bolts, nuts, brackets, straps, rivets, plugs and all incidental accesories;
Electrical Fixtures and Fittings;
a. | Distribution box, 36 circuit, wall encased
b. | KDK 60" Ceiling Fan | 40 | nos
c. | LED Emergency light (60 LED), Ceiling mount | 15 | nos
d. | 5" Downlight w/ 20w Energy saving light, Daylight | 106 | nos
e. | 4' Tube light holder with LED tube light, day light | 28 | nos
f. | 18" Exhaust fan with collapsible fins (KDK) | 5 | nos
g. | Outdoor Light, wall mount w/ 18W Energy saving Day light | 14 | nos
h. | Outdoor Light wall mount w/ 8W Energy saving warm white | 1 | nos
i. | 50W Energy Saving Day Light E27 w/ batten holder | 4 | nos
k. | Spotlight with holder | 2 | nos
l. | Switch 1 gang (Clipsal brand) | 4 | nos
m. | Switch 2 gang (Clipsal brand) | 5 | nos
n. | Switch 3 gang (Clipsal brand) | 12 | nos
o. | Switch 4 gang (Clipsal brand) | 13 | nos
p. | Fan Dimmer KDK (Clipsal brand) | 40 | nos
q. | Power Outlet 15A x 1gang (Clipsal brand) | 30 | nos
r. | Power Outlet 13A x 1gang (Clipsal brand) | 17 | nos
s. | Power Outlet 13A x 2gang (Clipsal brand) | 37 | nos
t. | Power Outlet 13A x 1gang w/ waterproof cover (Clipsal brand) | 3 | nos
u. | Supply & installation of Wire/conduit/boxes/trays for the above encased in walls, beams and columns; | - | LS
v. | Supply & installation of Distribution board inclusive of current meters, circuit breakers, connections and any other accessories required; Rates shall also include connection to main distribution board with underground cable run through HP PVC pipe and safety barrier as described; | - | LS
BILL 13 | AIR CONDITIONING SYSTEM
| Supply, Installation and testing of casette type inverter air-conditioning system as per manufacturer's instruction and roughing in of necessary pipe lines to and from indoor and outdoor units as well as connection of power and commissioning of the whole system; | - | LS
BILL 14 | TELECOMMUNICATION NETWORK
Supply, Installation & testing of outlets including encasing of wire, conduits, cables, boxes, & fixtures in walls, beams and columns, to put the system in good operation and to adhere with the owner's requirement;
a. | Telephone outlet | - | LS
b. | Television outlet | - | LS
c. | Public address system | - | LS
d. | Data outlet, ethernet CAT6 dual face plate | - | LS
BILL 15 | FIREFIGHTING EQUIPMENT
Supply and install fire fighting equipment as described inclusive of all necessary connections and to suit with item below as per local fire regulation.
a. | Carbon Dioxide 2kg, Fire Extinguisher with cabinet | 5 | units
b. | Dry Chemical powder 6Kg, Fire Extinguisher with cabinet | 2 | units
c. | Wet Chemical 6Kg, Fire Extinguisher with cabinet | 1 | units
d. | Water 9ltr, Fire Extinguisher with cabinet | 3 | units
e. | Fire Blanket | 1 | nos
BILL 16 | SUNSHADES
Fabrication and installation of red meranti timber frame sunshades fixed to wall using anchor bolts, wall plugs; cover specified for Lysaght "Trim Deck" roofing sheets, fixed in accordance to manufacturer's instruction, inclusive of all necessary accessories as described.
In ablution area and outdoor dish washing area
a. | Lysaght roofing sheets | 52.5262 | m2
b. | Lysaght Gutter inclusive of clips and straps spaced 600 c/c | 40.25 | m
c. | 25 x 180 mm Fascia board | 40.25 | m
Supply and installation of Rainwater Down pipe, connection to soak pits inclusive of fittings, brackets, sealants and necessary accessories as described;
d. | PVC Down pipe 75mm dia. | 8 | nos
BILL 17 | SANITARY & WATER SUPPLY
Installation of pipe fittings & fixtures shall be executed in conformance to local regulation & to adhere with the clients requirement. Inclusive of pressure & leak testing of entire system.
Sanitary & water supply fixtures
a. | Water Closet w/cistern, S trap | 2 | nos
b. | Wash basin, counter sunk | 5 | nos
c. | Wasting plug for wash basin | 5 | nos
d. | Flexible gully | 5 | nos
e. | 18" Shower hose | 7 | nos
f. | Muslim shower | 2 | nos
g. | Handshower valve (Watertec) | 7 | nos
h. | Mirror 400x600 w/ corner fixing brakets | 5 | nos
i. | Basin tap, PVC (Watertec) | 5 | nos
j. | Water tap, wall fix (Watertec) | 8 | nos
k. | Water tap, long neck, wall fix (Watertec) | 8 | nos
l. | SS Grating Sheet 150x150 | 4 | nos
m. | Installation of pipes & fittings for the above including connection of waste water & sewer lines to septic tank. Rates shall include for providing separate greywater and blackwater waste lines as described; | - | LS
n. | Installation and connection of pipes & fittings for municipal water, fresh water (water tank) and well water supply inclusive necessary valves and appropriate pumps for both fresh and well water supply. Rates shall include for provision of 50mm floor screed (1:4) base for placing pumps with steel frame and lysaght cladding for shading. | - | LS
Construction of wash basin counter, with Solid Blocks 2"x4"x8" support walls finished with plaster (1:4) and ceramic wall tiles (300x450), marble counter top for fixing wash basin, inclusive of application of anti fungal sealant as described;
o. | In Toilets | 2 | nos
p. | In Officers mess | 1 | nos
q. | In Junior and senior mess | 1 | nos
r. | Construction of RCC 6 feet dia underground water well, water level of the well shall be maintained @6 feet @ at low tide level. Rates shall include for provision of RCC well cover with service opening. | 1 | nos
s. | Construction of water tank base 1.5m dia, height 500mm using CHB Blocks 4"x6"x12", compacted earth with 50mm 1:3:6 PCC on top, finished with 1:4 plaster as described. Rate shall include provision of 50mm lean concrete at 0.15m below NGL | 4 | nos
t. | Supply and installation of 4nos. 2500 liter SINTEX water tank, lay and connect the tanks with provisions of ball valves as described; connection of down pipe and municipal water to water tank, provision of float valve & connecting overflow to underground well as described. | - | LS
u. | Construction and installation of RCC septic tank, catch basins, clean outs, soak pits as described; | - | LS
v. | Construction and installation of a standard grease trap, lay and connect from the kitchen and mess room waste line and outflow to septic tank as described. | - | LS
BILL 18 | FURNITURE & KITCHENWARE
Supply and Installation of approved items stated below;
a. | Medium back chair, fabric cover | 17 | nos
b. | High back chair, fabric cover | 1 | nos
c. | 4 piece sofa set - single seater, 3 seater, end table & coffee table | 2 | nos
d. | 4 piece sofa set - 2 single seaters, 3 seater & coffee table | 1 | nos
e. | Conference table, 12 seater | 1 | nos
f. | Plastic chair, white | 96 | nos
g. | Wooden chair, cushion seat and back rest | 16 | nos
h. | Wooden dining table 2200 x 900 x 750mm, laminated top | 16 | nos
i. | Wooden dining table 900 x 900 x 750mm, laminated top | 4 | nos
j. | Wooden working table 1800 x 900 x 750mm, SS sheet on top | 2 | nos
k. | 2-Tap water cooler | 1 | nos
l. | Single cast iron gas stove | 4 | nos
m. | Industrial electric oven | 1 | nos
n. | Industrial electric hot plate 24"x36" | 1 | nos
o. | Industrial electric grinder | 1 | nos
p. | Industrial electric spiral mixer | 1 | nos
q. | Chest freezer 400litres | 2 | nos
Construction of Mess Counter, with Solid Block 2"x4"x8" walls finished with plaster (1:4), 75 thick RCC counter top T10 @250 c/c b/w finished smooth with 2mm thk SS sheet on top and enamel paint on bottom, fabrication and fixing of tray conveyor using 25mm & 37.5mm SS bar and SS shelfs as described. Rates shall include supply and installation of approved Ceramic tiles jointed and bedded with approved tile adhesive, 2mm grout and provision of plastic corner bead as described;
r. | In Juniors & seniors mess | 1 | nos
s. | In Officers mess | 1 | nos
Design, fabrication and installation of approved, SS worktop tables complete with shelves, drawers, top mount SS kitchen sink with double bowl and long neck PVC basin faucet (watertec) for each. Rates shall include installation of pipes, valves & fixtures for the above including connection of water & waste water line as described;
t. | In Cooking area worktop table with sink | - | LS
Design, fabrication and installation of approved, 2mm thk SS clad worktop table with shelves and drawers;
u. | In Preparation area | - | LS
Design, fabrication and installation of approved kitchen cupboards / cabinets using approved materials as described;
v. | Kitchen cabinet, 10 panel, wall hung - In Cooking area | 1 | nos
w. | Kitchen cupboard, 8 panel, wall hung - In Junior & Senior Mess | 1 | nos
x. | Kitchen cupboard, 8 panel, wall hung - In Officers mess | 1 | nos
Design, fabrication and installation of reception counter table using approved material as described;
y. | In Entrance main reception | - | LS
BILL 19 | ADDITIONS & OMISSIONS
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## BOQ First Floor
MILITARY ENGINEERS
MALDIVES NATIONAL DEFENCE FORCE
MALE', REPUBLIC OF MALDIVES
0
DATE: 28th SEPTEMBER 2015
0
PROJECT: DEVELOPMENT OF MAAMIGILI MNDF POST, ADMIN BUILDING
CLIENT: MINISTRY OF DEFENCE AND NATIONAL SECURITY
LOCATION: ADH. MAAMIGILI
COST SUMMARY
SECTION 02 - FIRST FLOOR
BILL 20 | SUSPENDED FLOOR SLAB | MVR
BILL 21 | CONCRETE FRAMES | MVR
BILL 22 | MASONRY WORKS | MVR
BILL 23 | WALL FINISHES | MVR
BILL 24 | FLOOR FINISHES | MVR
BILL 25 | CEILING FINISHES | MVR
BILL 26 | DOORS & WINDOWS | MVR
BILL 27 | ELECTRICAL FIXTURES AND FITTINGS | MVR
BILL 28 | AIR CONDITIONING SYSTEM | MVR
BILL 29 | TELECOMMUNICATION NETWORK | MVR
BILL 30 | FIREFIGHTING EQUIPMENT | MVR
BILL 31 | SANITARY & WATER SUPPLY | MVR
BILL 32 | ROOFING | MVR
BILL 33 | FURNITURES | MVR
BILL 34 | ADDITIONS & OMISSIONS | MVR
TOTAL COST FOR FIRST FLOOR |  | MVR
MILITARY ENGINEERS
MALDIVES NATIONAL DEFENCE FORCE
MALE', REPUBLIC OF MALDIVES
0
DATE: 28th SEPTEMBER 2015
0
PROJECT: DEVELOPMENT OF MAAMIGILI MNDF POST, ADMIN BUILDING
CLIENT: MINISTRY OF DEFENCE AND NATIONAL SECURITY
LOCATION: ADH. MAAMIGILI
BILL OF QUANTITIES
ITEM | DESCRIPTION | QTY. | UNIT | UNIT PRICE | AMOUNT | REMARKS
SECTION 02- FIRST FLOOR
BILL 20 | SUSPENDED FLOOR SLAB
Reinforced concrete Grade M25 mixture using Portland cement and imported fine and coarse aggregates. Allow labour for levelling and steel floating on fresh concrete to a smooth cement finish as per floor levels described;
a. | RCC Floor Slab 180 mm thick | 51.55 | m3
b. | RCC Floor Slab 150 mm thick | 1.47 | m3
Sawn formworks inclusive to all shuttering propping and scaffolding as described;
c. | RCC Floor Slab 180 mm thick | 368.2 | m²
d. | RCC Floor Slab 150 mm thick | 10.5 | m²
High Tensile Steel Reinforcement fabrication bending and fixing as described;
e. | RCC Floor Slab 180 mm thick
| Bottom Steel ( T10 - 200 (B1) / T10 - 200 (B2)) | 2270.57 | kg
| Top Steel ( T10 - 200 (T1)/ T10 - 200 (T2)) | 1932.6333 | kg
f. | RCC Floor Slab 150 mm thick
| Top Steel ( T10 - 70 (T1)/ T10 - 200 (T2)) | 194.25 | kg
g. | Allow for anchorage, bend and splice. | 439.7453 | kg
BILL 21 | CONCRETE FRAMES |  |  |  | 0
| Reinforced concrete ( 1:2:3 ) mixture using Portland cement and imported fine and course aggregates with 40 % water cement ratio as described; |  |  |  | 0
0
a. | C1 ( 300 x 300 x 3000 ), 2nos. | 0.54 | m3
b. | C2 ( 250 x 250 x 3000 ), 18nos. | 3.375 | m3
c. | B1 (200 x 400) | 16.4 | m3
d. | B2 (200 x 400) | 1.2 | m3
e. | B3 (200 x 350) | 1.4 | m3
f. | B4 (200 x 350) | 2.1 | m3
g. | B5 (200 x 400) | 2.88 | m3
h. | B6 (200 x 500) | 6.6 | m3
i. | B7 (250 x 500) | 1.5 | m3
j. | CB (150 x 250) | 0.19 | m3
| Sawn formworks inclusive to all shuttering propping and scaffolding as described; |  |  |  | 0
0
k. | C1 ( 300 x 300 x 3000 ), 2nos. | 7.2 | m²
l. | C2 ( 250 x 250 x 3000 ), 18nos. | 54 | m²
m. | B1 (200 x 400) | 205 | m²
n. | B2 (200 x 400) | 15 | m²
o. | B3 (200 x 350) | 18 | m²
p. | B4 (200 x 350) | 27 | m²
q. | B5 (200 x 400) | 36 | m²
r. | B6 (200 x 500) | 79.2 | m²
s. | B7 (250 x 500) | 15 | m²
t. | CB (150 x 250) | 3.25 | m²
| High Tensile Steel Reinforcement fabrication bending and fixing as described; |  |  |  | 0
0
C1 ( 300 x 300 x 3000 ), 2nos.
u. | Steel Bars ( 4-T16) | 37.9259 | kg
v. | Steel Bars ( R6 @ 150 ) | 5.328 | kg
C2 ( 250 x 250 x 3000 ), 18nos.
w. | Steel Bars ( 4-T12) | 192 | kg
x. | Steel Bars ( R6 @ 150 ) | 47.952 | kg
B1 (200 x 400)
y. | Steel Bars ( 5 - T16 / 5 -T16 ) | 1716.67 | kg
z. | Steel Bars ( R6 @ 150 ) | 199.94 | kg
B2 (200 x 400)
aa. | Steel Bars ( 4-T16) | 94.8 | kg
ab. | Steel Bars ( R6 @ 150 ) | 19.51 | kg
B3 (200 x 350)
ac. | Steel Bars ( 7 - T16 / 5 -T16 ) | 205.4 | kg
ad. | Steel Bars ( D6 @ 150 ) | 34.58 | kg
B4 (200 x 350)
ae. | Steel Bars ( 7 - T20 / 5 -T20 ) | 481.65 | kg
af. | Steel Bars ( 2D6 @ 120 / D6 @ 100 ) | 72.62 | kg
B5 (200 x 400)
ag. | Steel Bars ( 6 - T20 / 5 -T20 ) | 524.63 | kg
ah. | Steel Bars ( 2D6 @ 150 ) | 93.63 | kg
B6 (200 x 500)
ai. | Steel Bars ( 7 - T20 / 6 -T20 ) | 1173.74 | kg
aj. | Steel Bars ( D6 @ 120 ) | 131.67 | kg
B7 (250 x 500)
ak. | Steel Bars ( 7 - T20 / 5 -T20 ) | 192.66 | kg
al. | Steel Bars ( 2 - T12 ) | 21.23 | kg
am. | Steel Bars ( 2D6 @ 100 ) | 52.31 | kg
CB (150 x 250)
an. | Steel Bars ( 7 - T20 / 6 -T20 ) | 31.6 | kg
ao. | Steel Bars ( D6 @ 120 ) | 3.62 | kg
ap. | Allow for anchorage, bend and splice. | 465.1076 | kg
BILL 22 | MASONRY WORKS |  |  |  | 0
| Supply and installation of CHB Blocks 4" x 6" x 12" for both internal and external walls as laid per manufacturer's instruction as described; |  |  |  | 0
a. | In Exterior Walls ( 3.0m) | 85.43 | m²
b. | In interior Walls ( 3.0m) | 231.55 | m²
c. | In wall above roof beam | 122.95 | m²
BILL 23 | WALL FINISHES |  |  |  | 0
Cement Plaster
| Cement and sand mixtures 1:4 applied in 2 coats on masonry surface in fair face finish to receive wall finishing as described; |  |  |  | 0
a. | 25mm plaster steel trowel finished the wall above roof beam | 245.9 | m² |  | 0
b. | 25mm plaster steel trowel finished to walls, beams and columns in external walls | 85.43 | m² |  | 0
c. | 25mm plaster steel trowel finished to walls, beams and columns in internal walls | 548.53 | m²
d. | Allow for PVC/Nylon mesh reinforcement @ all joints between walls and concrete. | - | LS |  | 0
e. | Allow expansion grooves in plaster wall up to 12mm wide and deep filled with sealant. | - | LS
Paintwork
| Prepare and apply 1-coat of exterior Wallsealer (Sigma brand or approved equivalent) and 2-coats of Weathershield Emulsion Paint (Sigma brand or approved equivalent) on surface as described; Allow for application of putty and sanding to fair finish; |  |  |  | 0
f. | In Exterior walls | 85.43 | m² |  | 0
Prepare and apply 1 - coat of interior Wallsealer (Sigma brand or approved equivalent) and 2-coats of Interior Paint (Sigma brand or approved equivalent) on surface as described; Allow for application of putty and sanding to fair finish;
g. | In Interior walls | 548.53 | m²
Tilework
Supply and installation of approved Ceramic tiles (300 x 450) jointed and bedded with approved tile adhesive, 2mm grout and provision of plastic corner bead as described;
h. | In Toilet (1.8m high) | 62.68 | m²
BILL 24 | FLOOR FINISHES
38mm cement screed ( 1:4 ) mixture using Portland cement and imported fine aggregates with 40 % water cement ratio and levelled (using steel trowel ) as described;
a. | In general flooring | 378.7 | m²
| Supply and installation of approved non-skid Homogeneous floor tiles (300x300mm) jointed and bedded with approved tile adhesive and 2mm grout as described; Tile skirting flushed with the wall plaster; and provision of expansion grooves with filler in every 20ft of floor finish; |  |  |  | 0
b. | In all areas | 378.7 | m² |  | 0
c. | In tile skirting (100mm high) | 18.8 | m² |  | 0
Apply 2-coats of water proofing compound (Masterseal 550 or an approved equivalent as per manufacture's manual) on floor area and on wall surface 600mm from FFL as described;
d. | In Toilet | 37.92 | m²
Fabrication and installation of SS railing with 1 numbers of 50 x 25mm rectangular section as top rail and 40mm dia SS pipe as balusters and 20mm dia SS pipes as intermediate members placed as described, inclusive of grinding, cutting, polishing, screws, flanges and fixing as described;.
e. | In Safety railing | 1 | item
BILL 25 | CEILING FINISHES
Supply and installation of timber framed internal ceiling using 9mm thick Gypsum plaster board and 2"x2" kiln-treated timber spaced at 600mm c/c b/w. inclusive of trimming, joining and fixings as required. Allow for application of putty and sanding to fair finish.
a. | In Interior ceiling | 392 | m²
Supply and installation of timber framed external ceiling using 6mm thick cement board and 2"x2" kiln-treated timber spaced at 600mm c/c b/w. inclusive of sawing, joining and fixing as required. Allow for application of putty and sanding to fair finish,
b. | In Exterior ceiling and In toilet | 28.2 | m²
Fixing of approved 6" plasterboard cornice to all the joining lines between wall and ceiling, as per manufacturer's instructions using the cornice compounds for fixing of cornice.
c. | In cornice | 188 | m
Prepare and apply 1 - coat of Alkali Resisting Primer and 2-coats of Emulsion Paint on surface as described;
d. | In both internal and external ceiling and on cornice. | 448.4 | m²
BILL 26 | DOORS & WINDOWS |  |  |  | 0
| Fabrication and installation of doors as described. Prepare and apply 1-coat of wood primer and 2-coats of enamel paint/ varnish on door panel and frame. Rates shall include for timber treatment, trims, joints, screws, nails and SS iron mongery and provision of approved locks and door closers; |  |  |  | 0
a. | D1-C |  |  |  | 0
1 - panel solid wooden decorative door
| size : 900 x 2100h | 1 | set
b. | D3-B |  |  |  | 0
1 - panel solid wooden decorative door
| size : 700 x 2100h | 4 | set
c. | D2-B |  |  |  | 0
1 - panel solid wooden decorative door w/ 1- panel fixed glass
| size : 800 x 2500h | 3 | set
d. | D2-D |  |  |  | 0
1 - panel solid wooden decorative door
| size : 800 x 2100h | 1 | set
e. | D4-B |  |  |  | 0
2 - panel solid wooden decorative door
| size : 1500 x 2100h | 1 | set
f. | D4-C |  |  |  | 0
2 - panel solid wooden decorative door
| size : 1500 x 2100h | 2 | set
g. | D5 |  |  |  | 0
1 - panel sliding solid wooden decorative door
| size : 850 x 2100h | 2 | set
| 0 | 0 | 0
| Aluminium casement windows with 6mm reflective glass and openable ventilators, inclusive of all required ironmongery in SS, and application of PU sealant at all joints between wall and frame as described in the drawings. | 0 | 0
h. | W1 | 0 | 0
| 3 - panel side hung w/ top hung | 0 | 0
| size : 1800 x 1600h | 1 | set
| 0 | 0 | 0
i. | W4 | 0 | 0
| 4 - panel w/ top hung | 0 | 0
| size : 2400 x 2500h | 7 | set
| 0 | 0 | 0
j. | W5 | 0 | 0
| 4 - panel w/ top hung | 0 | 0
| size : 4700 x 2600h | 2 | set
| 0 | 0 | 0
k. | D9 | 0 | 0
| 4 - panel w/ top hung and door | 0 | 0
| size : 4725 x 2600h | 1 | set
| 0 | 0 | 0
l. | V1 | 0 | 0
| 1- panel louver ventilator | 0 | 0
| size : 750 x 450h | 4 | set
| 0 | 0 | 0
Reinforced concrete (1:2:3) as described;
m. | In lintel and sill (150 x 150) | 1.0233 | m³
Sawn formworks as described;
n. | In lintel and sill | 13.644 | m²
Mild steel reinforcement as described;
In lintel and sill
o. | Steel Bars ( 4 - T10 ) | 112.2963 | kg
p. | Steel Bars ( D6 -150 ) | 37.1556 | kg
Supply and installation of vertical blinds of approved design pattern inclusive of rail, pins and necessary items as described;
q. | In Grand Meeting room | 1 | item
r. | In Commanders Office | 1 | item
s. | In Deputy Commanders Office | 1 | item
t. | In Officers Office area | 1 | item
u. | In General Office area | 1 | item
v. | In W1 infront of stair case | 1 | item
BILL 27 | ELECTRICAL FIXTURES AND FITTINGS
Supply, Installation and testing of fittings & fixtures. It shall be executed as approved by Site Engineer and conformance to local regulation & to adhere with Local Electrical Authority's requirements. Rates shall include for screws, nails, bolts, nuts, brackets, straps, rivets, plugs and all incidental accessories;
Electrical Fixtures and Fittings;
a. | KDK 60" Ceiling Fan | 22 | nos
b. | LED Emergency light (60 LED), Ceiling mount | 10 | nos
c. | 5" Downlight w/ 20w Energy saving light, Daylight | 75 | nos
d. | Power Outlet 13A x 1gang (Clipsal brand) | 4 | nos
e. | Power Outlet 13A x 2gang (Clipsal brand) | 49 | nos
f. | Power Outlet 15A x 1gang (Clipsal brand) | 21 | nos
g. | Fan Dimmer KDK (Clipsal brand) | 22 | nos
h. | Switch 1 gang (Clipsal brand) | 9 | nos
i. | Switch 4 gang (Clipsal brand) | 10 | nos
j. | Supply & installation of Wire/conduit/boxes/trays for the above encased in walls, beams and columns; | - | LS
k. | Supply & installation of wires from distribution board, inclusive of current meters, circuit breakers, connections and any other accessories required; | - | LS
BILL 28 | AIR CONDITIONING SYSTEM
a. | Supply, Installation and of cassette type indoor air-conditioning system as described, approved by Site Engineer, as per manufacturer's instruction and roughing in of necessary pipe lines to and from indoor and outdoor units as well as connection of power and commissioning of the whole system. | - | LS
b. | Supply and installation AC outdoor unit cover as described using aluminium sheet and angle. Rate shall be inclusive of grinding, cutting, polishing, screws, flanges, and any other necessary items required; | - | LS
BILL 29 | TELECOMMUNICATION NETWORK
Supply, Installation & testing of outlets as described approved by the Site Engineer, including encasing of conduits, cables, boxes, & fixtures in walls, beams and columns, to put the system in good operation and to adhere with the owner's requirement
a. | In telephone network | - | LS
b. | In public address system | - | LS
c. | In data network | - | LS
Supply, Installation & testing of TV cable outlets as described approved by Site Engineer, including encasing conduits, cables, boxes, & fixtures to put the system in good operation and to adhere with the owner's requirement
d. | In TV network | - | LS
BILL 30 | FIREFIGHTING EQUIPMENT
Supply and install fire fighting equipment as described, approved by Site Engineer inclusive of all necessary connections and items to suit with below as per local fire regulation.
a. | Carbon Dioxide, Fire Extinguisher 2 Kg w/ cabinet | 4 | units
b. | Wet Chemical 6 Kg | 1 | units
c. | Dry Chemical powder 6 Kg | 1 | units
d. | Water 9ltr, Fire Extinguisher w/ cabinet | 3 | units
e. | Fire Blanket | 1 | nos
BILL 31 | SANITARY & WATER SUPPLY
Installation of pipe fittings & fixtures shall be executed in conformance to local regulation & to adhere with the clients requirement and approved by Site Engineer. Inclusive of pressure & leak testing of entire system.
Sanitary & water supply fixtures
a. | Water Closet w/ tank | 4 | nos
b. | SS Grating Sheet 150x150 | 4 | nos
c. | Mirror 400x600 w/ corner fixing brackets | 4 | nos
d. | Handshower valve (watertec) | 12 | nos
e. | Counter sunk Wash basin | 4 | nos
f. | Wasting plug for wash basin | 4 | nos
g. | Flexible gully | 4 | nos
h. | Muslim shower | 4 | nos
i. | Basin tap, PVC (Watertec) | 4 | nos
j. | Muslim shower | 4 | nos
k. | Water tap (Watertec) | 4 | nos
l. | Installation of pipes & fittings for the above including connection of waste water & sewer lines to septic tank. Rates shall include for providing separate greywater and blackwater waste lines as described; | - | LS
m. | Installation and connection of pipes & fittings for municipal water/fresh water and well water supply inclusive necessary valves and appropriate pumps for both fresh and well water supply. | - | LS
n. | Supply and installation of 8 nos. 2500 litre SINTEX water tank, lay and connect the tanks with provisions of ball valves as described. Connection of municipal water to water tank and provision of float valve and connecting overflow to well. | - | LS
Construction of wash basin counter, with Solid Blocks 2"x4"x8" support walls finished with plaster (1:4) and ceramic wall tiles (300x450), marble counter top for fixing wash basin as described;
o. | In Toilets | 4 | nos
BILL 32 | ROOFING
a. | Extension of RCC (150 x 150) supporting from roof beams for supporting roofing trusses wherever nessary | - | LS
Roof Trusses;
Fabrication and installation of fully welded GI pipe roof trusses as described inclusive of plates, bolts and necessary items required for fixing truss on RCC beam;
b. | Roof Truss (TR1) | 236.88 | m
c. | Galvanized Lip "C" purlins bolted on MS angle cleats with slotted holes, fully welded on top chords. including fixing of sag rods at 1000mm spacing as per manufacturer's instructions | 762.5 | m
d. | Prepare and apply 1 - coat of red-oxide & 2 coats of aluminium paint to all surface of steel works. | 1 | item
Roof Covers & Accessories;
Specified for Lysaght " Trim Deck" roofing sheets, fixed in accordance to manufacturer's instruction, inclusive of all necessary accessories as described.
e. | Lysaght Roofing sheets | 556.36 | m²
f. | Heat Insulation | 556.36 | m²
g. | PVC Mesh | 556.36 | m³
h. | Lysaght Gutter inclusive of clips and straps spaced 600 c/c | 30.5 | m
i. | 25 x 180 mm Fascia board | 30.5 | m
j. | Fabrication and installation of Lysaght apron, end and wall flashings where required; Rates shall include for sealant, roofing tape, screws and necessary items; | - | LS
Supply and installation of Rainwater Down pipe inclusive of fittings & brackets
k. | PVC Down pipe 100mm dia. | 5 | nos.
l. | PVC Down pipe 75mm dia. | 2 | nos.
m. | Construction and installation of soak pits (300 x 400 x600) with solid blocks 2"x4"x8", filled with gravel for downspouts as required. | - | LS
n. | Installation and connection of pipes from rain water down spouts at the back of the building to the water tanks. Rates shall be inclusive necessary valves, joints and all incidental accessories | - | LS
BILL 33 | FURNITURE
Supply and Installation of approved furniture as described;
a. | 4 piece Grand sofa set - 2nos single seater, 2nos 3 seater, end table & coffee table for Grand Meeting room | 1 | nos
b. | 3 piece sofa set - 2nos single seater, 1nos 3 seater, end table & coffee table for Commanders Office | 1 | nos
c. | 3 piece sofa set - 2nos single seater, 1nos 3 seater, end table & coffee table for Deputy Commanders Office | 1 | nos
d. | Office table for Commanders office as described | 1 | nos
e. | Office table for Deputy Commanders office as described | 1 | nos
f. | High back chair, fabric cover | 2 | nos
g. | 4 Drawer Filing cabinet for File storage room | 8 | nos
Fabrication and installation of counter table as described using approved material as described;
h. | Counter table in Radar Room | 1 | item
i. | Chart Reading in Radar Room | 1 | item
BILL 34 | ADDITIONS & OMISSIONS
1) The contractor shall ascertain that the work characters stipulated herein shall complete the whole of the work. No changes or variation whatsoever shall be entertained unless otherwise the written instruction from the owner or owner's originated changes order.
2) All materials shall be of approved quality delivered and fixed in first class workmanship.
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## Sheet3 (hidden)
excavation
| Nos | L | B | D | Vol.
F1 | 6 | 2.4 | 2.4 | 1.05 | 42.588 | m3
F2 | 11 | 1.9 | 1.9 | 1.05 | 50.9355 | m3
F3 | 5 | 1.4 | 1.4 | 1.05 | 13.44 | m3
F4 | 7 | 0.85 | 0.85 | 1.05 | 8.1034 | m3
GB | 2 | 2.9 | 0.2 | 0.8 | 1.392 | m3
| 2 | 4.65 | 0.2 | 0.8 | 2.232 | m3
| 2 | 4.375 | 0.2 | 0.8 | 2.1 | m3
| 2 | 2.625 | 0.2 | 0.8 | 1.26 | m3
| 5 | 4.35 | 0.2 | 0.8 | 5.22 | m3
| 5 | 4.1 | 0.2 | 0.8 | 4.92 | m3
| 1 | 0.125 | 0.2 | 0.8 | 0.03 | m3
| 1 | 4.875 | 0.2 | 0.8 | 1.17 | m3
| 1 | 3.125 | 0.2 | 0.8 | 0.75 | m3
| 2 | 3.1 | 0.2 | 0.8 | 1.488 | m3
| 2 | 3.35 | 0.2 | 0.8 | 1.608 | m3
| 5 | 3.8 | 0.2 | 0.8 | 4.56 | m3
| 5 | 2.8 | 0.2 | 0.8 | 3.36 | m3
| 7 | 3.5 | 0.2 | 0.8 | 5.88 | m3
| 1 | 2.1 | 0.2 | 0.8 | 0.504 | m3
[5 empty] | 36.474 | m3
GB2 | 1 | 9.55 | 0.55 | 0.55 | 2.8889 | m3
lean
| Nos | L | B | D | Area
F1 | 6 | 2.4 | 2.4 | 0.05 | 40.56 | m2
F2 | 11 | 1.9 | 1.9 | 0.05 | 48.51 | m2
F3 | 5 | 1.4 | 1.4 | 0.05 | 12.8 | m2
F4 | 7 | 0.85 | 0.85 | 0.05 | 7.7175 | m2
GB | 2 | 2.9 | 0.2 | 0.05 | 1.74 | m2
| 2 | 4.65 | 0.2 | 0.05 | 2.79 | m2
| 2 | 4.375 | 0.2 | 0.05 | 2.625 | m2
| 2 | 2.625 | 0.2 | 0.05 | 1.575 | m2
| 5 | 4.35 | 0.2 | 0.05 | 6.525 | m2
| 5 | 4.1 | 0.2 | 0.05 | 6.15 | m2
| 1 | 0.125 | 0.2 | 0.05 | 0.0375 | m2
| 1 | 4.875 | 0.2 | 0.05 | 1.4625 | m2
| 1 | 3.125 | 0.2 | 0.05 | 0.9375 | m2
| 2 | 3.1 | 0.2 | 0.05 | 1.86 | m2
| 2 | 3.35 | 0.2 | 0.05 | 2.01 | m2
| 5 | 3.8 | 0.2 | 0.05 | 5.7 | m2
| 5 | 2.8 | 0.2 | 0.05 | 4.2 | m2
| 7 | 3.5 | 0.2 | 0.05 | 7.35 | m2
| 1 | 2.1 | 0.2 | 0.05 | 0.63 | m2
[5 empty] | 45.5925 | m2
GB2 | 1 | 9.55 | 0.55 | 0.55 | 5.2525 | m2
concrete
| Nos | L | B | D | Vol.
F1 | 6 | 2.4 | 2.4 | 0.35 | 12.096 | m3
F2 | 11 | 1.9 | 1.9 | 0.25 | 9.9275 | m3
F3 | 5 | 1.4 | 1.4 | 0.25 | 2.45 | m3
F4 | 7 | 0.85 | 0.85 | 0.25 | 1.2644 | m3
GB | 4 | 3.55 | 0.2 | 0.3 | 0.852 | m3
| 4 | 5.3 | 0.2 | 0.3 | 1.272 | m3
| 2 | 5.75 | 0.2 | 0.3 | 0.69 | m3
| 21 | 5.7 | 0.2 | 0.3 | 7.182 | m3
| 1 | 1.25 | 0.2 | 0.3 | 0.075 | m3
| 1 | 4.25 | 0.2 | 0.3 | 0.255 | m3
| 9 | 4.7 | 0.2 | 0.3 | 2.538 | m3
| 1 | 2.1 | 0.2 | 0.3 | 0.126 | m3
[5 empty] | 12.99 | m3
GB2 | 1 | 9.55 |  | 0.142 | 1.3561 | m3
stumps | 7 | 0.2 | 0.2 | 0.3 | 0.084 | m3
forms
| Nos | L | B | D | Area
F1 | 6 | 2.4 | 2.4 | 0.35 | 20.58 | m2
F2 | 11 | 1.9 | 1.9 | 0.25 | 21.45 | m2
F3 | 5 | 1.4 | 1.4 | 0.25 | 7.25 | m2
F4 | 7 | 0.85 | 0.85 | 0.25 | 6.3 | m2
GB | 4 | 3.55 | 0.2 | 0.3 | 8.52 | m2
| 4 | 5.3 | 0.2 | 0.3 | 12.72 | m2
| 2 | 5.75 | 0.2 | 0.3 | 6.9 | m2
| 21 | 5.7 | 0.2 | 0.3 | 71.82 | m2
| 1 | 1.25 | 0.2 | 0.3 | 0.75 | m2
| 1 | 4.25 | 0.2 | 0.3 | 2.55 | m2
| 9 | 4.7 | 0.2 | 0.3 | 25.38 | m2
| 1 | 2.1 | 0.2 | 0.3 | 1.26 | m2
[5 empty] | 129.9 | m2
GB2 | 1 | 9.55 |  | 0.4 | 7.64 | m2
steel
| Nos | L | B | D | Vol.
F1 | 6 | 2.4 | 2.4 | 0.35 | 1185.1852 | kg
F2 | 11 | 1.9 | 1.9 | 0.25 | 1390.6173 | kg
F3 | 5 | 1.4 | 1.4 | 0.25 | 355.5556 | kg
F4 | 7 | 0.85 | 0.85 | 0.25 | 199.6642 | kg
[5 empty] | 16mm |  | 6mm
GB1 | 4 | 3.55 | 0.2 | 0.3 | 89.758 | kg | 14.2
| 4 | 5.3 | 0.2 | 0.3 | 134.0049 | kg | 21.2
| 2 | 5.75 | 0.2 | 0.3 | 72.6914 | kg | 11.5
| 21 | 5.7 | 0.2 | 0.3 | 756.6222 | kg | 119.7
| 1 | 1.25 | 0.2 | 0.3 | 7.9012 | kg | 1.25
| 1 | 4.25 | 0.2 | 0.3 | 26.8642 | kg | 4.25
| 9 | 4.7 | 0.2 | 0.3 | 267.3778 | kg | 42.3
| 1 | 2.1 | 0.2 | 0.3 | 13.2741 | kg | 2.1
[5 empty] | 1368.4938 | kg | 216.5 | 256.7704 | kg
GB2 | 1 | 9.55 |  |  | 50.9333 | kg |  | 19.6217 | kg
| 1 | 9.55 |  |  | 16.9778 | kg |  | 0.7 | kg
| 1 | 9.55 |  |  | 33.6267 | kg |  | 20.3217 | kg
[5 empty] | 101.5378 | kg
M12 | 7 | 0.56 |  |  | 13.9378
anchorage and splicing |  |  |  |  | 690.1581 | kg
bitumen
| Nos | L | B | D | Area
F1 | 6 | 2.4 | 2.4 | 0.35 | 54.72 | m2
F2 | 11 | 1.9 | 1.9 | 0.25 | 60.61 | m2
F3 | 5 | 1.4 | 1.4 | 0.25 | 16.8 | m2
F4 | 7 | 0.85 | 0.85 | 0.25 | 11.0075 | m2
GB1 | 4 | 3.55 | 0.2 | 0.3 | 10.792 | m2
| 4 | 5.3 | 0.2 | 0.3 | 16.112 | m2
| 2 | 5.75 | 0.2 | 0.3 | 8.74 | m2
| 21 | 5.7 | 0.2 | 0.3 | 90.972 | m2
| 1 | 1.25 | 0.2 | 0.3 | 0.95 | m2
| 1 | 4.25 | 0.2 | 0.3 | 3.23 | m2
| 9 | 4.7 | 0.2 | 0.3 | 32.148 | m2
| 1 | 2.1 | 0.2 | 0.3 | 1.596 | m2
[5 empty] | 164.54 | m2
GB2 | 1 | 9.55 |  | 0.625 | 11.9375 | m2
Bitumen - outerwalls column below NGL
| Nos | L | W | D | Area
| 2 | 114 | 0.1 | 0.75 | 171 | m2
Ground slab
| Nos | area | D |  | Vol
| 1 | 739.506 | 0.1 |  | 73.9506 | m3
Ground slab steel 300c/c
|  | 8 | per m2
|  | 5916.048 | m
|  | 3651.8815 | kg
Allow for bending and splice
|  | 547.7822 | kg
column
| Nos | H | W | B | Vol.
C1 | 20 | 4.25 | 0.3 | 0.3 | 7.65 | m3
C3 | 9 | 4.25 | 0.2 | 0.2 | 1.53 | m3
column forms
| Nos | H | W | B | Area
C1 | 20 | 4.25 | 0.3 | 0.3 | 102 | m2
C3 | 9 | 4.25 | 0.2 | 0.2 | 30.6 | m2
column steel
| Nos | H | W | B | Steel
C1 | 20 | 4.25 | 0.3 | 0.3 | 537.284 | kg | 116.0296 | kg
C3 | 9 | 4.25 | 0.2 | 0.2 | 136 | kg | 28.4533 | kg
Masonary | [6 empty] | Exterior openings
| Nos | L | W | H | Area |  |  | Nos | L | H | Area | Total
walls below ngl | 1 | 114 | 0.1 | 0.75 | 85.5 | m2 | opening | 1 | 3.3 | 2.85 | 9.405 | 9.405 | m2
[7 empty] | W3 | 1 |  |  | 13.62 | 13.62 | m2
Exterior walls | 1 | 114 | 0.1 | 2.85 | 324.9 | m2 | D6 | 1 |  |  | 3.15 | 3.15 | m2
| 4 | 0.75 | 0.1 | 3.83 | 11.49 | m2 | W1 | 16 |  |  | 2.88 | 46.08 | m2
| 1 | 1.2 | 0.1 | 2.65 | 3.18 | m2 | D4-A | 1 |  |  | 3.15 | 3.15 | m2
[5 empty] | 339.57 | m2 | D3-A | 1 |  |  | 1.47 | 1.47 | m2
|  |  |  | ddt for openings | 254.958 | m2 | V1 | 1 |  |  | 0.337 | 0.337 | m2
[7 empty] | D2-A | 1 |  |  | 2 | 2 | m2
Interior walls | 1 | 7.4 | 0.1 | 2.85 | 21.09 | m2 | D4-D | 1 |  |  | 3.15 | 3.15 | m2
| 1 | 7.1 | 0.1 | 2.85 | 20.235 | m2 | D1-A | 1 |  |  | 2.25 | 2.25 | m2
| 2 | 2.85 | 0.1 | 2.85 | 16.245 | m2 | [5 empty] | 84.612 | m2
| 1 | 1.95 | 0.1 | 2.85 | 5.5575 | m2
| 1 | 6.95 | 0.1 | 2.85 | 19.8075 | m2 | Interior openings
| 1 | 7.2 | 0.1 | 2.85 | 20.52 | m2 |  | Nos | L | H | Area | Total
| 1 | 3.15 | 0.1 | 2.85 | 8.9775 | m2 | D7 | 1 |  |  | 3.15 | 3.15 | m2
| 1 | 2.65 | 0.1 | 2.85 | 7.5525 | m2 | D3-B | 1 |  |  | 1.47 | 1.47 | m2
| 1 | 1.65 | 0.1 | 2.85 | 4.7025 | m2 | D1-B | 1 |  |  | 2.25 | 2.25 | m2
| 1 | 2.35 | 0.1 | 2.85 | 6.6975 | m2 | D4-B | 1 |  |  | 3.15 | 3.15 | m2
| 2 | 5.7 | 0.1 | 2.85 | 32.49 | m2 | D4-C | 1 |  |  | 3.15 | 3.15 | m2
| 2 | 5.925 | 0.1 | 2.85 | 33.7725 | m2 | D1-C | 1 |  |  | 1.91 | 1.91 | m2
| 1 | 2.4 | 0.1 | 2.85 | 6.84 | m2 | D2-C | 2 |  |  | 2 | 4 | m2
| 1 | 0.9 | 0.1 | 2.85 | 2.565 | m2 | D2-B | 1 |  |  | 2 | 2 | m2
| 1 | 5.7 | 0.1 | 2.85 | 16.245 | m2 | D2-D | 1 |  |  | 1.7 | 1.7 | m2
| 1 | 4.65 | 0.1 | 2.85 | 13.2525 | m2 | [5 empty] | 22.78 | m2
| 1 | 1.35 | 0.1 | 2.85 | 3.8475 | m2
| 1 | 1 | 0.1 | 2.85 | 2.85 | m2
| 1 | 1.8 | 0.1 | 2.85 | 5.13 | m2
[5 empty] | 248.3775 | m2
|  |  |  | ddt for openings | 225.5975 | m2
Masonary Solid blocks
| Nos | L | W | H | Area
Ablution area | 1 | 4.925 | 0.1 | 0.5 | 2.4625 | m2
Dish wash area | 2 | 3.818 | 0.075 | 1 | 7.636
[5 empty] | 10.0985 | m2
Plaster works |  |  |  |  | masonry area
|  |  | walls below NGL |  | 85.5
|  |  | Exterior walls |  | 254.958
|  |  | Interior walls |  | 225.5975
|  |  | (below NGL)Exterior plaster 25thk |  | 171 | m2
|  |  | Exterior plaster 25thk |  | 275.155 | m2
|  |  | Interior plaster 12thk |  | 706.153 | m2
Floor tiles
|  |  |  | mosque | 58.275 | m2
|  |  |  | Toilet (02nos) | 5.578 | m2
|  |  |  | conference room | 42.735 | m2
|  |  |  | Entrance seating area | 31.625 | m2
|  |  |  | Staircase and waiting | 36.132 | m2
|  |  |  | Officers mess | 75.326 | m2
|  |  |  | Junior senior mess | 140.865 | m2
|  |  |  | Cold storage | 10.462 | m2
|  |  |  | Stock | 11.52 | m2
|  |  |  | Cooking and prep area | 63 | m2
[5 empty] | 475.518 | m2
Floor paint
|  |  |  | Strong room | 15.105 | m2
|  |  |  | Outdoor Building front | 129.292 | m2
|  |  |  | Outdoor Building rear | 70.868 | m2
|  |  |  | Outdoor left side ablution area | 25 | m2
[5 empty] | 225.16 | m2
Skirting tiles
|  |  |  | conference room | 26.35 | m
|  |  |  | Staircase and waiting | 24.6 | m
|  |  |  | Entrance seating area | 7.725 | m
|  |  |  | Junior senior mess | 49.3 | m
|  |  |  | Cold storage | 13.8 | m
|  |  |  | Stock | 14.4 | m
[5 empty] | 136.175 | m
|  |  |  | Outdoor Building front | 23.175 | m
|  |  |  | Outdoor Building rear | 20.031 | m |  |  |  |  | 450
|  |  |  | Outdoor left side ablution area | 14.576 | m |  |  |  |  | 450
[5 empty] | 57.782 | m |  |  |  |  | 450
450
Wall tiles | [10 empty] | 1800
|  |  | L | H | Area
|  | Junior senior mess | 24.7 | 1.35 | 33.345 | m2
|  | Officers mess | 19.545 | 1.35 | 26.3858 | m2
|  | Toilets (2 nos) | 11.9 | 1.8 | 21.42 | m2
|  | Kitchen | 46.345 | 1.8 | 83.421 | m2
|  | Mosque | 26.05 | 0.9 | 23.445 | m2
|  | Ablution | 4.775 | 1.8 | 8.595 | m2
|  |  | 9.848 | 0.75 | 7.386 | m2
[5 empty] | 1.743 | m2
|  | Butchery | 13.78 | 1.8 | 24.804 | m2
|  |  | 15.272 | 1.6 | 24.4352 | m2
[5 empty] | 4.29 | m2
[5 empty] | 259.2699 | m2
|  | feature wall | 2.925 | 3.1 | 9.0675 | m2
Masterseal |  |  |  |  | floor |  | wall
|  |  |  | Toilet (02nos) | 5.512 | m2 | 7.14 | m2
|  |  |  | Ablution area | 2.24 | m2 | 2.445 | m2
|  |  |  | Dish washing counter (02nos) | 4.95 | m2 | 4.2 | m2
|  |  |  | Toilet (02nos) | 12.652 | m2
|  |  |  | Ablution area | 4.685 | m2
|  |  |  | Dish washing counter (02nos) | 9.15 | m2
Ceiling interior
|  |  |  | mosque | 58.275 | m2
|  |  |  | Strong room | 15.105 | m2
|  |  |  | conference room | 42.735 | m2
|  |  |  | Entrance Staircase and waiting | 64.023 | m2
|  |  |  | Junior senior mess | 140.865 | m2
|  |  |  | Cold storage | 10.124 | m2
|  |  |  | Stock | 11.159 | m2
|  |  |  | Officers mess | 71.448 | m2
|  |  |  | Cooking and prep area | 63.034 | m2
[5 empty] | 476.768 | m2
Ceilng exterior
|  |  |  | Toilet (02nos) | 5.1 | m2
|  |  |  | portico area | 13.747 | m2
[5 empty] | 18.847 | m2
lintel
door | nos | L | W | D | area |  |  | form |  |  | steel |  |  |  | door width
D1-A | 1 | 1.3 | 0.1 | 0.15 | 0.0195 | m2 |  | 0.39 | m2 |  | 5.2 | m | 2.9 | m | 0.9
D1-B | 1 | 1.3 | 0.1 | 0.15 | 0.0195 | m2 |  | 0.39 | m2 |  | 5.2 | m | 2.9 | m | 0.9
D1-C | 1 | 1.3 | 0.1 | 0.15 | 0.0195 | m2 |  | 0.39 | m2 |  | 5.2 | m | 2.9 | m | 0.9
D2-A | 1 | 1.2 | 0.1 | 0.15 | 0.018 | m2 |  | 0.36 | m2 |  | 4.8 | m | 2.7 | m | 0.8
D2-B | 1 | 1.2 | 0.1 | 0.15 | 0.018 | m2 |  | 0.36 | m2 |  | 4.8 | m | 2.7 | m | 0.8
D2-C | 2 | 1.2 | 0.1 | 0.15 | 0.036 | m2 |  | 0.72 | m2 |  | 9.6 | m | 5.4 | m | 0.8
D2-D | 1 | 1.2 | 0.1 | 0.15 | 0.018 | m2 |  | 0.36 | m2 |  | 4.8 | m | 2.7 | m | 0.8
D3-A | 1 | 1.1 | 0.1 | 0.15 | 0.0165 | m2 |  | 0.33 | m2 |  | 4.4 | m | 2.5 | m | 0.7
D3-B | 1 | 1.1 | 0.1 | 0.15 | 0.0165 | m2 |  | 0.33 | m2 |  | 4.4 | m | 2.5 | m | 0.7
D4-A | 1 | 1.9 | 0.1 | 0.15 | 0.0285 | m2 |  | 0.57 | m2 |  | 7.6 | m | 4.1 | m | 1.5
D4-B | 1 | 1.9 | 0.1 | 0.15 | 0.0285 | m2 |  | 0.57 | m2 |  | 7.6 | m | 4.1 | m | 1.5
D4-C | 1 | 1.9 | 0.1 | 0.15 | 0.0285 | m2 |  | 0.57 | m2 |  | 7.6 | m | 4.1 | m | 1.5
D4-D | 1 | 1.9 | 0.1 | 0.15 | 0.0285 | m2 |  | 0.57 | m2 |  | 7.6 | m | 4.1 | m | 1.5
D6 | 1 | 1.9 | 0.1 | 0.15 | 0.0285 | m2 |  | 0.57 | m2 |  | 7.6 | m | 4.1 | m | 1.5
[5 empty] | 0.324 | m2
W1 | 16 | 2.2 | 0.1 | 0.15 | 1.056 | m2 |  | 10.56 | m2 |  | 140.8 | m | 75.2 | m | 1.8
[5 empty] | 1.38 | m2 |  | 17.04 | m2 |  | 227.2 | m | 122.9 | m
[11 empty] | 140.2469 | kg | 27.3111 | kg
Wall interior |  |  | Wall |  |  |  | Openings |  |  |  |  | Tile area
|  |  | L | H | Area |  |  | Nos | Area | Total
|  | mosque | 30.85 | 2.85 | 87.9225 | m2 | W1 | 2 | 2.88 | 5.76 | m2 | 23.445 | m2
|  |  |  | ddt for tiles and openings | 58.7175 | m2
|  | toilet 01 | 6.525 | 2.85 | 18.5963 | m2 | D3-A | 1 | 1.47 | 1.47 | m2 | 21.42 | m2 | <-- for two toilets
|  | toilet 02 | 6.675 | 2.85 | 19.0237 | m2 | V1 | 1 | 0.337 | 0.337 | m2
|  |  |  | ddt for tiles and openings | 14.393 | m2 | D3-B | 1 | 1.47 | 1.47 | m2
[10 empty] | 1.807 | m2
|  | conference | 26.3 | 2.85 | 74.955 | m2 | D3-B | 1 | 1.47 | 1.47 | m2 | 2.635 | m2 | <-- skirting
|  |  |  | ddt for tiles and openings | 68.6 | m2 | D1-B | 1 | 2.25 | 2.25 | m2
[10 empty] | 3.72 | m2
|  | staircase & waiting | 31.7 | 2.85 | 90.345 | m2 | D1-B | 1 | 2.25 | 2.25 | m2 | 2.46 | m2 | <-- skirting
|  |  |  | ddt for tiles and openings | 77.335 | m2 | D2-A | 1 | 2 | 2 | m2
[7 empty] | D4-B | 1 | 3.15 | 3.15 | m2
[7 empty] | D4-C | 1 | 3.15 | 3.15 | m2
[10 empty] | 10.55 | m2
|  | entrance reception | 7.725 | 2.85 | 22.0162 | m2
|  | officers mess | 38.2 | 2.85 | 108.87 | m2 | D4-B | 1 | 3.15 | 3.15 | m2 | 26.3858 | m2
|  |  |  | ddt for tiles and openings | 58.3543 | m2 | W1 | 6 | 2.88 | 17.28 | m2
[7 empty] | D2-D | 1 | 1.7 | 1.7 | m2
[7 empty] | D2-C | 1 | 2 | 2 | m2
[10 empty] | 24.13 | m2
|  | stock | 14.098 | 2.85 | 40.1793 | m2 | D1-C | 1 | 1.91 | 1.91 | m2
|  |  |  | ddt for tiles and openings | 38.2693 | m2
|  | junior senior mess | 52.965 | 2.85 | 150.9503 | m2 | D4-C | 1 | 3.15 | 3.15 | m2 | 33.345 | m2
|  |  |  | ddt for tiles and openings | 85.1653 | m2 | D2-C | 1 | 2 | 2 | m2
[7 empty] | D2-B | 1 | 2 | 2 | m2
[7 empty] | D1-A | 1 | 2.25 | 2.25 | m2
[7 empty] | W1 | 8 | 2.88 | 23.04 | m2
[10 empty] | 32.44 | m2
|  | kitchen n all | 51.77 | 2.85 | 147.5445 | m2 | D2-B | 1 | 2 | 2 | m2 | 83.421 | m2
|  |  |  | ddt for tiles and openings | 37.361 | m2 | D2-C | 2 | 2 | 4 | m2 | 13.8 | m2
[7 empty] | D1-C | 1 | 1.91 | 1.91 | m2
[7 empty] | D2-D | 1 | 1.7 | 1.7 | m2
[7 empty] | exhaust | 1 | 0.2025 | 0.2025 | m2
[7 empty] | D4-D | 1 | 3.15 | 3.15 | m2
[10 empty] | 12.9625 | m2
|  |  |  | Interior wall paint area | 460.2116 | m2
Staircase
|  |  |  | steps CS area | 1.419 | m2
[5 empty] | 0.95 | m
[5 empty] | 1.348 | m3
|  |  |  | landing | 0.171 | m2
[5 empty] | 2 | m
[5 empty] | 0.342 | m3
[5 empty] | 1.6901 | m3
forms
2.838
0.94
2.7664
4.2104
0.2254
[5 empty] | 10.9802 | m2
stairsteel
|  |  |  | stair width | 0.95 | m
|  |  |  | bottom length | 3.548 | m
|  |  |  | top length | 3.665 | m
|  |  |  | bottom steel | 71.91 | m
|  |  |  | top steel | 51.0383 | m
|  |  |  | landing width | 0.832 | m
|  |  |  | landing length | 2 | m
|  |  |  | bottom steel | 36.112 | m
|  |  |  | top steel | 25.0187 | m
|  |  |  | stair width | 0.95 | m
|  |  |  | bottom length | 4.011 | m
|  |  |  | top length | 4.011 | m
|  |  |  | bottom steel | 81.17 | m
|  |  |  | top steel | 55.767 | m
|  |  |  | bottom steel length | 189.192 | m
|  |  |  | top steel length | 131.824 | m
|  |  |  | bottom steel total | 116.7852 | kg
|  |  |  | top steel total | 117.1769 | kg
|  |  |  | allow for anchorage | 35.0943 | kg
stair mortar tile
|  |  |  | stair length | 8.188 | m
|  |  |  | stair width | 0.95 | m
[5 empty] | 7.7786 | m2
|  |  |  | landing width | 1.15
|  |  |  | landing length | 2
[5 empty] | 2.3 | m2
|  |  |  | total area | 10.0786 | m2