## Cover (2)
BILL OF QUANTITIES
HA. KELAA ACCOMMODATION BLOCK
CLIENT : MINISTRY OF HEALTH, GOVERNEMNT OF MALDIVES

## BOQ Summary (2)
SUMMARY OF BILL OF QUANTITIES
Project: HA. KELAA ACCOMMODATION BLOCK | Date:
Version:
Client: MINISTRY OF HEALTH | Prepared by:
DESCRIPTION |  | AMOUNT (MVR) | %
Bill №: 01 - PRELIMINARIES
Bill №: 02 - EXCAVATION AND FILLING
Bill №: 03 - INSITU CONCRETE WORKS
Bill №: 04 - MASONRY
Bill №: 05 - CARPENTRY
Bill №: 06 - STRUCTURAL METAL WORKS
Bill №: 07 - CEILING
Bill №: 08 - WINDOWS, SCREENS & LIGHTS
Bill №: 09 - DOORS, SHUTTERS & HATCHES
Bill №: 10 - DECORATIONS
Bill №: 11 - FINISHES
Bill №: 12 - ROOFING
Bill №: 13 - HYDRAULICS AND DRAINAGE
Bill №: 14 - ELECTRICAL INSTALLATIONS
Bill №: 15- INSULATION, FIRE STOPPING & FIRE PROTECTION
Bill №: 16- ADDITIONS AND OMMISIONS
TOTAL AMOUNT
NOTES to BoQ:

## BOQ for tender
0
BILL OF QUANTITIES
ITEM |  |  |  | DESCRIPTION |  | UNIT | QTY | MATERIAL RATE | LABOUR RATE | AMOUNT
1.0.00 |  |  |  | Bill №: 01 - PRELIMINARIES
1.1.00 | GENERAL NOTES
Abbreviations
|  |  | m | - metre
|  |  | nr | - numbers
|  |  | m3 | - cubic metres
|  |  | m2 | - square metres
|  |  | lm | - linear metre
|  |  | t | - tons
|  |  | inc. | - including
|  |  | mm | - millimetre
|  |  | SS | - stainless steel
|  |  | GI | - galvanized iron
1.2.00 | SITE MANAGEMENT COSTS
|  |  |  | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings & similar. |  | item | 1
1.3.00 | SIGN BOARD
|  |  |  | Allow for sign board. |  | nr | 1
1.4.00 | CLEAN-UP
|  |  |  | Allow for clean-up upon completion of works. |  | item | 1
1.5.00 | INSURANCE, BONDS, GUARANTEES AND WARRANTIES
|  |  |  | Insurance as stated in the general conditions. |  | item | 1
1.6.00 | TOTAL OF BILL №: 01 - Carried Over To Summary
2.0.00 |  |  |  | Bill №: 02 - EXCAVATION AND FILLING
2.1.00 | GENERAL
|  |  | (a) | Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating, and disposing surplus soil.
2.2.00 | SITE CLEARING
|  |  |  | Clear the area of site from rubbish and vegetable matters, stumps, roots. |  | m2 | 222
2.3.00 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all the additional excavation required to place the formwork. Rates shall include for backfilling.
2.3.01 |  |  |  | Excavation for Foundation pads / beam |  | m3 | 125.8938
2.4.00 | FILLING
Rate shall include for: levelling, grading, trimming, compacting and similar
2.4.01 |  |  |  | Compacted earth filling under ground screed. |  | m2 | 223.8
2.4.02 |  |  |  | 100mm thick coarse aggregate layer under foundation |  | m2 | 223.8
2.4.03 |  |  |  | 50mm thick sand blinding below ground slab |  | m2 | 223.8
2.5.00 | DAMP-PROOF MEMBRANE
Rate shall include for: dressing around and sealing to all penetrations.
2.5.01 |  |  |  | Water Proof Membrane - DPM |  | m2 | 84.195
2.5.02 |  |  |  | Bituminous coating |  | m2 | 229.845
2.6.00 | DE-WATERING
2.6.01 |  |  |  | De-watering the excavation until completion of concrete work as required |  | item | 1
2.7.00 | TOTAL OF BILL №: 02 - Carried Over To Summary
3.0.00 |  |  |  | Bill №: 03 - INSITU CONCRETE WORKS
3.1.00 | GENERAL
|  |  | (a) | Rates shall include for: placing in position, making good after removal of formwork, mortar touch up to all concrete and casting in all required items; additional concrete required to conform to structural and excavated tolerances
|  |  | (b) | Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:6.
|  |  | (c) | All structural concrete shall be GRADE M25 and lean concrete shall be GRADE C15
|  |  | (d) | Rates shall include for: concrete, formwork, reinforcement, cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wires and chair supports, laps, distribution bars and wastage.
|  |  | (e) | Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes and removal of formwork.
|  |  | (f) | Rates shall include for: cleaning, fabrication, placing the provision for all necessary temporary fixings and supports including tie wires and chair supports, laps, distribution bars and wastage.
|  |  | (g) | All reinforcing bars shall be high strength bars.
|  |  | (h) | Slab soffits to be finished fairfaced, use plasteciser and formwork with reducing agent.
|  |  | (i) | Waterproofing shall be added to all areas specified.
|  |  | (j) | All works complete as per drawing and specification
3.1.01 |  |  |  | Allow for Concrete Testing. |  | item | 1
3.2.00 | MASS CONCRETE
Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
3.2.01 |  |  | 50 | mm Lean Concrete (Foundations) |  | m3 | 5.0358
REINFORCED INSITU CONCRETE
3.3.00 | SUB-STRUCTURE
FOUNDATION PADS
3.3.01 | 1300 | x | 1300 | x 300mm Foundation pads, F1 |  | m3 | 2.03
3.3.02 | 1600 | x | 1600 | x 300mm Foundation pads, F2 |  | m3 | 2.31
3.3.03 | 1900 | x | 1900 | x 300mm Foundation pads, F3 |  | m3 | 4.34
3.3.04 | 2200 | x | 2200 | x 350mm Foundation pads, F4 |  | m3 | 6.78
3.3.05 | 2300 | x | 2300 | x 350mm Foundation pads, F5 |  | m3 | 3.71
FOUNDATION BEAMS
3.3.06 | 400 | x | 250 | mm Foundation beam, TB |  | m3 | 10.15
RC KICKER (STAIRCASE)
3.3.07 | 1250 | x | 250 | mm wide kicker |  | m3 | 0.38
3.4.0 | GROUND FLOOR
COLUMNS
3.4.01 | 300 | x | 300 | mm Concrete columns C1 |  | m3 | 4.95
3.4.02 | 250 | x | 450 | mm Concrete columns C2 |  | m3 | 0.96
3.4.03 | 250 | x | 450 | mm Concrete columns C3 |  | m3 | 0.96
SLABS
3.4.04 |  |  | 150 | mm thk Concrete ground Slab |  | m3 | 33.57
STAIRS
3.4.05 |  |  |  | Staircase 1 |  | m3 | 2.5822
3.5.0 | FIRST FLOOR
BEAMS
3.5.01 | 600 | x | 250 | mm Beam B1 |  | m3 | 1.01
3.5.02 | 600 | x | 250 | mm Beam B1A |  | m3 | 0.16
3.5.03 | 600 | x | 250 | mm Beam B1B |  | m3 | 0.29
3.5.04 | 575 | x | 250 | mm Beam B2 |  | m3 | 0.9
3.5.05 | 575 | x | 250 | mm Beam B2A |  | m3 | 0.16
3.5.06 | 400 | x | 200 | mm Beam B3 |  | m3 | 2.1
3.5.07 | 450 | x | 200 | mm Beam B4 |  | m3 | 1.44
3.5.08 | 450 | x | 200 | mm Beam B5 |  | m3 | 0.64
3.5.09 | 400 | x | 200 | mm Beam HB |  | m3 | 0.21
COLUMNS
3.5.10 | 300 | x | 300 | mm Concrete columns C1 |  | m3 | 3.05
3.5.11 | 250 | x | 450 | mm Concrete columns C2 |  | m3 | 0.59
3.5.12 | 250 | x | 450 | mm Concrete columns C3 |  | m3 | 0.59
SLABS
3.5.13 |  |  | 150 | mm thk Concrete Slab |  | m3 | 2.46
3.5.14 |  |  | 135 | mm thk Concrete Slab |  | m3 | 19.55
STAIRS
3.5.15 |  |  |  | Staircase 1 |  | m3 | 2.3176
3.6.0 | SECOND FLOOR
BEAMS
3.6.01 | 600 | x | 250 | mm Beam B1 |  | m3 | 1.01
3.6.02 | 600 | x | 250 | mm Beam B1A |  | m3 | 0.16
3.6.03 | 600 | x | 250 | mm Beam B1B |  | m3 | 0.29
3.6.04 | 575 | x | 250 | mm Beam B2 |  | m3 | 0.9
3.6.05 | 575 | x | 250 | mm Beam B2A |  | m3 | 0.16
3.6.06 | 400 | x | 200 | mm Beam B3 |  | m3 | 2.1
3.6.07 | 450 | x | 200 | mm Beam B4 |  | m3 | 1.44
3.6.08 | 450 | x | 200 | mm Beam B5 |  | m3 | 0.64
3.6.09 | 400 | x | 200 | mm Beam HB |  | m3 | 0.21
COLUMNS
3.6.10 | 300 | x | 300 | mm Concrete columns C1 |  | m3 | 3.05
3.6.11 | 250 | x | 450 | mm Concrete columns C2 |  | m3 | 0.59
3.6.12 | 250 | x | 450 | mm Concrete columns C3 |  | m3 | 0.59
SLABS
3.6.13 |  |  | 150 | mm thk Concrete Slab |  | m3 | 2.46
3.6.14 |  |  | 135 | mm thk Concrete Slab |  | m3 | 19.55
STAIRS
3.6.15 |  |  |  | Staircase 1 |  | m3 | 2.3176
3.7.0 | TERRACE FLOOR
BEAMS
3.7.01 | 600 | x | 250 | mm Beam B1 |  | m3 | 1.01
3.7.02 | 600 | x | 250 | mm Beam B1A |  | m3 | 0.16
3.7.03 | 600 | x | 250 | mm Beam B1B |  | m3 | 0.29
3.7.04 | 575 | x | 250 | mm Beam B2 |  | m3 | 0.9
3.7.05 | 575 | x | 250 | mm Beam B2A |  | m3 | 0.16
3.7.06 | 400 | x | 200 | mm Beam B3 |  | m3 | 2.1
3.7.07 | 450 | x | 200 | mm Beam B4 |  | m3 | 1.44
3.7.08 | 450 | x | 200 | mm Beam B5 |  | m3 | 0.64
COLUMNS
3.7.09 | 300 | x | 300 | mm Concrete columns C1 |  | m3 | 0.94
SLABS
3.7.10 |  |  | 150 | mm thk Concrete Slab |  | m3 | 2.46
3.7.11 |  |  | 135 | mm thk Concrete Slab |  | m3 | 19.55
3.8.0 | ROOF LEVEL
BEAMS
3.8.01 | 350 | x | 200 | mm Beam RB |  | m3 | 0.99
SLABS
3.8.02 |  |  | 135 | mm thk Concrete Slab |  | m3 | 1.59
3.9.00 | OTHER WORKS
Lintel and Sill beams
3.9.01 | 150 | x | 150 | mm Lintel Beam LB | item | item | 1
3.9.02 | 150 | x | 150 | mm Sill Beam SB | item | item | 1
3.10.00 |  |  |  | TOTAL OF BILL №: 03 - Carried Over To Summary
4.0.00 |  |  |  | Bill №: 04 - MASONRY
4.1.00 | GENERAL
|  |  | (a) | Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leavingholes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
|  |  | (b) | For masonry and plastering Hilaveli should be used
|  |  | (c) | All works complete as per drawing and specification
4.2.00 | BRICK WORK
150mm thk masonry solid block wall including making of bricks, bricks laid to form alternate courses of headers and stretchers, laid on and inc. mortar. (EXTERNAL WALLS)
4.2.01 |  |  |  | GROUND FLOOR |  | m2 | 197.1505
4.2.02 |  |  |  | FIRST FLOOR |  | m2 | 173.68
4.2.03 |  |  |  | SECOND FLOOR |  | m2 | 173.68
4.2.04 |  |  |  | TERRACE FLOOR |  | m2 | 42.64
150mm thk masonry solid block wall including making of bricks, bricks laid to form alternate courses of headers and stretchers, laid on and inc. mortar (INTERNAL WALLS).
4.2.05 |  |  |  | GROUND FLOOR |  | m2 | 154.8675
4.2.06 |  |  |  | FIRST FLOOR |  | m2 | 100.88
4.2.07 |  |  |  | SECOND FLOOR |  | m2 | 100.88
100mm thk masonry solid block wall including making of bricks, bricks laid to form alternate courses of headers and stretchers, laid on and inc. mortar. (EXTERNAL WALLS)
4.2.08 |  |  |  | FIRST FLOOR |  | m2 | 1.0724
4.2.09 |  |  |  | SECOND FLOOR |  | m2 | 1.0724
4.2.10 |  |  |  | TERRACE FLOOR |  | m2 | 47.8
4.3.00 | PLASTERING
20mm thk cement plaster on external surface as specified on the drawing. Waterproofed with Sika product or equivalent.
4.3.01 |  |  |  | GROUND FLOOR |  | m2 | 222.6405
4.3.02 |  |  |  | FIRST FLOOR |  | m2 | 202.3872
4.3.03 |  |  |  | SECOND FLOOR |  | m2 | 201.3672
4.3.04 |  |  |  | TERRACE FLOOR |  | m2 | 143.175
16mm thk cement plaster on internal surface as specified on the drawing
4.3.05 |  |  |  | GROUND FLOOR |  | m2 | 553.2185
4.3.06 |  |  |  | FIRST FLOOR |  | m2 | 421.773
4.3.07 |  |  |  | SECOND FLOOR |  | m2 | 420.753
4.3.08 |  |  |  | TERRACE FLOOR |  | m2 | 45.46
4.4.00 | CEMENT SCREED
50mm thk cement screed waterproofed with SIKA product or equivalent
4.4.01 |  |  |  | GROUND FLOOR |  | m2 | 203.76
4.4.02 |  |  |  | FIRST FLOOR |  | m2 | 158.07
4.4.03 |  |  |  | SECOND FLOOR |  | m2 | 158.07
4.4.04 |  |  |  | TERRACE FLOOR |  | m2 | 163.5
4.5.00 |  |  |  | TOTAL OF BILL №: 04 - Carried Over To Summary
5.0.00 |  |  |  | Bill №: 05 - CARPENTRY
5.1.00 | GENERAL
|  |  | (a) | Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
|  |  | (b) | All works complete as per drawing and specification
5.2.00 | TIMBER ROOF FRAMING
5.2.01 | 35 | x | 175 | mm Timber Facia Board |  | m | 7.9
5.2.02 | 35 | x | 35 | mm Timber Battens |  | m | 102.7
5.2.03 | 50 | x | 100 | mm Timber Rafters |  | m | 74.1
5.3.00 | TIMBER STRUCTURE
5.3.01 | 50 | x | 200 | mm Timber Hardwood beam RB2 |  | m | 30.8
5.3.02 | 50 | x | 150 | mm Timber Hardwood Column x 2no bolted to roof timber beam on top and bolted to column stump on bottom as per drawing |  | no | 6
Supplying and installation of Furniture
5.4.03 |  |  |  | Double bed, |  | Item | 2
5.4.04 |  |  |  | Single bed, |  | Item | 8
5.4.05 |  |  |  | Wordrobe 2 door panel, |  | Item | 8
5.4.06 |  |  |  | Dressing table, |  | Item | 8
5.4.07 |  |  |  | Double mattress, 6 inch thick. |  | Item | 2
5.4.08 |  |  |  | Single mattress, 6 inch thick. |  | Item | 8
5.4.09 |  |  |  | Dining table, for 4 people with chairs |  | Item | 4
5.4.10 |  |  |  | Sofa set, 1 sofa for 2 person and 1 sofa for 1 person with coffee table. |  | Item | 4
5.4.11 |  |  |  | Sofa set, 1 sofar for 2 person and 2 sofa for 1 person with coffee table. |  | Item | 4
5.4.12 |  |  |  | Display TV 65" with TV reck |  | Item | 8
5.4.13 |  |  |  | Electric stove, No of burners 3. |  | Item | 8
5.4.14 |  |  |  | Automatic washing machine, minimum 8KG |  | Item | 8
Kitchen cupbord
5.4.15 |  |  |  | Design and fabrication of kichen cupboard with over hed cupbord. Rates includes to sink and hood, length of kitchen cupboard is same as floor plan. |  | Item | 4
5.4.00 |  |  |  | TOTAL OF BILL №: 05 - Carried Over To Summary
6.0.00 |  |  |  | Bill №: 06 - STRUCTURAL METAL WORKS
6.1.00 | GENERAL
|  |  | (a) | Rates shall include for: all fabrication work, welding, marking, drilling for bolts incl. those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
|  |  | (b) | Rates shall include for fabrication and erection and temporary supports and fixing into position.
|  |  | (c) | All works complete as per drawing and specification
6.2.00 |  |  |  | Staircase 01 Handrailing
SS pipe railing with timber handle, including bolts, washers and fixing to reinforced concrete as shown in the drawing.
6.2.01 |  |  |  | Ground to First Floor |  | m | 7
6.2.02 |  |  |  | First to Second Floor |  | m | 7
6.2.03 |  |  |  | Second to Terrace Floor |  | m | 8.2
6.3.00 |  |  |  | Balcony Handrailing
SS pipe railing with SS handle, including bolts, washers and fixing to reinforced concrete as shown in the drawing.
6.3.01 |  |  |  | FIRST FLOOR |  | m | 8.4
6.3.02 |  |  |  | SECOND FLOOR |  | m | 8.4
6.4.00 |  |  |  | TOTAL OF BILL №: 06 - Carried Over To Summary
7.0.00 |  |  |  | Bill №: 07 - CEILING
7.1.00 | GENERAL
|  |  | (a) | Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
|  |  | (b) | All works complete as per drawing and specification
7.2.00 |  |  |  | GYPSUM BOARD CEILING
False flat ceiling with 12mm thick gypsum board under 50x50mm ceiling joist. Finish - CF02
7.2.01 |  |  |  | FIRST FLOOR |  | m2 | 112.74
7.2.02 |  |  |  | SECOND FLOOR |  | m2 | 112.74
7.3.00 |  |  |  | TOTAL OF BILL №: 07 - Carried Over To Summary
8.0.00 |  |  |  | Bill №: 08 - WINDOWS, SCREENS & LIGHTS
8.1.00 | GENERAL
|  |  | (a) | Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
|  |  | (b) | Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings.
|  |  | (c) | Sizes are given overall outside dimensions of actual doors and windows.
|  |  | (d) | Thickness and sizes of glass panels are shown on the Drawings and doors and windows schedule
|  |  | (e) | Rates shall include for all painting as specified
|  |  | (f) | Rates shall include all items specified in the door schedule and specification.
|  |  | (g) | Frames and sashes to be 25-60 micron black powder coated aluminium other wise specified.
|  |  | (h) | All works complete as per drawing and specification
8.2.00 | WINDOWS
8.2.01 | 1420 | x | 1325 | W1 - Aluminium frame sliding window |  | nr | 2
8.2.02 | 2795 | x | 1325 | W2 - Aluminium frame sliding window |  | nr | 8
8.2.03 | 770 | x | 600 | V1 - Aluminium frame window |  | nr | 8
8.2.04 | 1300 | x | 600 | V2 - Aluminium frame window |  | nr | 5
8.2.05 | 1300 | x | 600 | V3 - Aluminium frame window |  | nr | 6
8.3.00 |  |  |  | TOTAL OF BILL №: 08 - Carried Over To Summary
9.0.00 |  |  |  | Bill №: 09 - DOORS, SHUTTERS & HATCHES
9.1.00 | GENERAL
|  |  | (a) | Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
|  |  | (b) | Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings.
|  |  | (c) | Sizes are given overall outside dimensions of actual doors and windows.
|  |  | (d) | Thickness and sizes of glass panels are shown on the Drawings and doors and windows schedule.
|  |  | (e) | Rates shall include for all painting as specified
|  |  | (f) | Rates shall include all items specified in the door schedule and specification.
|  |  | (g) | Frames and sashes to be 25-60 micron black powder coated aluminium other wise specified.
|  |  | (g) | All solid timber doors are teak timber or equivalent.
9.2.00 | DOORS
9.2.01 | 7937 | x | 3325 | RS1 - Rolling shutter door |  | nr | 1
9.2.02 | 1000 | x | 2100 | D1 - Timber frame door |  | nr | 4
9.2.03 | 900 | x | 2100 | D2 - Timber frame door |  | nr | 4
9.2.04 | 900 | x | 2100 | D3 - Timber frame door |  | nr | 9
9.2.05 | 850 | x | 2100 | D4 - PVC door |  | nr | 11
9.2.06 | 2000 | x | 2350 | D5 - Timber frame door |  | nr | 2
9.3.00 |  |  |  | TOTAL OF BILL №: 09 - Carried Over To Summary
10.0.00 |  |  |  | Bill №: 10 - DECORATIONS
10.1.00 | GENERAL
|  |  | (a) | Rates shall include for: the provision, erection and removal of scaffolding, preparation, wall putty application, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door & window furniture.
|  |  | (b) | All painting work shall be carried in accordance with the Specifications and drawing.
10.2.00 |  |  |  | WALL PAINTING
EXTERNAL SURFACES: Exterior grade paint finish as specified. Finish - WF01
10.2.01 |  |  |  | GROUND FLOOR |  | m2 | 222.6405
10.2.02 |  |  |  | FIRST FLOOR |  | m2 | 202.3872
10.2.03 |  |  |  | SECOND FLOOR |  | m2 | 201.3672
10.2.04 |  |  |  | TERRACE FLOOR |  | m2 | 143.175
INTERNAL SURFACES: Interior grade paint finish as specified. Finish - WF03
10.2.05 |  |  |  | GROUND FLOOR |  | m2 | 553.2185
10.2.06 |  |  |  | FIRST FLOOR |  | m2 | 421.773
10.2.07 |  |  |  | SECOND FLOOR |  | m2 | 420.753
10.2.08 |  |  |  | TERRACE FLOOR |  | m2 | 45.46
10.3.00 |  |  |  | SLAB SOFFIT / CEILING PAINTING
Satin white paint finish with smooth putty under RC slab/beam as specified in specification and finishing schedule. Finish - CF03
10.3.01 |  |  |  | GROUND FLOOR |  | m2 | 146.4
10.3.02 |  |  |  | FIRST FLOOR |  | m2 | 31.4
10.3.03 |  |  |  | SECOND FLOOR |  | m2 | 31.4
10.3.04 |  |  |  | TERRACE FLOOR |  | m2 | 12.5
Emulsion paint finish on gypsum board ceiling as specified in specification and finishing schedule. Finish - CF02
10.3.05 |  |  |  | FIRST FLOOR |  | m2 | 112.74
10.3.06 |  |  |  | SECOND FLOOR |  | m2 | 112.74
10.4.00 |  |  |  | TOTAL OF BILL №: 10 - Carried Over To Summary
11.0.00 |  |  |  | Bill №: 11 - FINISHES
11.1.00 | GENERAL
|  |  | (a) | Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing.
|  |  | (b) | All works complete as per drawing and specification
11.2.00 |  |  |  | FLOOR PAINTING
Grey epoxy paint finish on Screed. Finish - FF11
11.2.01 |  |  |  | GROUND FLOOR |  | m2 | 122.1
11.2.02 |  |  |  | FIRST FLOOR |  | m2 | 9.6
11.2.03 |  |  |  | SECOND FLOOR |  | m2 | 9.6
11.2.04 |  |  |  | TERRACE FLOOR |  | m2 | 151
11.3.00 |  |  |  | FLOOR TILING
600 x 600 Matte homogeneous floor Tiles . Finish - FF04
11.3.01 |  |  |  | GROUND FLOOR |  | m2 | 79.33
11.3.02 |  |  |  | FIRST FLOOR |  | m2 | 35.67
11.3.03 |  |  |  | SECOND FLOOR |  | m2 | 35.67
11.3.04 |  |  |  | TERRACE FLOOR |  | m2 | 12.5
300 x 300 Matte homogeneous floor Tiles . Finish - FF06
11.3.05 |  |  |  | GROUND FLOOR |  | m2 | 2.33
11.3.06 |  |  |  | FIRST FLOOR |  | m2 | 12.6
11.3.07 |  |  |  | SECOND FLOOR |  | m2 | 12.6
800 x 800 Semi polished homogeneous floor Tiles . Finish - FF03
11.3.08 |  |  |  | FIRST FLOOR |  | m2 | 100.2
11.3.09 |  |  |  | SECOND FLOOR |  | m2 | 100.2
11.4.00 |  |  |  | WALL TILING
300 x 600 Matte homogeneous wall Tiles upto ceiling height. Finish - WF06
11.4.01 |  |  |  | GROUND FLOOR |  | m2 | 18.9505
11.4.02 |  |  |  | FIRST FLOOR |  | m2 | 56.0535
11.4.03 |  |  |  | SECOND FLOOR |  | m2 | 56.0535
11.5.00 |  |  |  | TOTAL OF BILL №: 11 - Carried Over To Summary
12.0.00 |  |  |  | Bill №: 12 - ROOFING
12.1.00 | GENERAL
|  |  | (a) | Rates shall include for: fair edges, dressing over angel fillets, roof sealant, turning into grooves, all other labours, circular edges, nails, screws and other fixings and laps.
|  |  | (b) | All works complete as per drawing and specification
12.2.00 |  |  |  | ROOF COVERING
12.2.01 |  |  |  | Thatch roof, over timber purlin including all fixings, fixed in accordance with manufacturer's instructions. Blue scope steel international limited MSP, Total coated thickness minimum 0.47mm thick- Aqua marine or equivalent |  | m² | 45.03
12.2.02 |  |  |  | 50mm rockwool insulation with foil backing on one side. |  | m² | 45.03
12.3.00 |  |  |  | TOTAL OF BILL №: 12 - Carried Over To Summary
13.0.00 |  |  |  | Bill №: 13 - HYDRAULICS AND DRAINAGE
13.1.00 | HYDRAULICS
13.2.00 | GENERAL
|  |  | (a) | Rates shall include for: sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints; backnuts and similar; incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails and fixing complete including cutting and forming holes; excavating, laying pipes and backfilling trenches.
|  |  | (b) | Rate shall also includes the provision for pipe marking, and tagging as indicated in the specifications.
|  |  | (c) | Rate shall also includes the provisional sum for testing such as but not limited to hydrostatic pressure test for pressure line, and gravity leak test for all gravity lines which was stipulated in the specifications., chlorination/disinfection of network and tanks, and testing and commissioning.
|  |  | (d) | Rate includes the complete delivery of the system and is of working condition.
|  |  | (e) | All pipe work and fittings shall be uPVC.
|  |  | (f) | All works complete as per drawing and specification
13.3.00 |  |  |  | MWSC WATER SUPPLY NETWORK
13.3.01 |  |  |  | GROUND FLOOR |  | item | 1
13.3.02 |  |  |  | FIRST FLOOR |  | item | 1
13.3.03 |  |  |  | SECOND FLOOR |  | item | 1
13.4.00 |  |  |  | SANITARY FITTINGS
Sanitary fittings including installations as per drawings
13.4.01 |  |  |  | Water closet (Anti bacterial type), dual top flush |  | no | 4
13.4.02 |  |  |  | Wash basin |  | no | 5
13.4.03 |  |  |  | Wash basin tap H&C |  | no | 5
13.4.04 |  |  |  | Toilet paper holder |  | no | 3
13.4.05 |  |  |  | Soap holder |  | no | 3
13.4.06 |  |  |  | Mirror set |  | no | 3
13.4.07 |  |  |  | Shower H&C |  | no | 3
13.4.08 |  |  |  | Muslim Shower |  | no | 3
13.4.09 |  |  |  | Sink with built in kitchen cupboard and granite top |  | no | 2
13.4.10 |  |  |  | Sink tap |  | no | 2
13.4.11 |  |  |  | Floor drain |  | no | 6
13.4.12 |  |  |  | Ceiling/wall clean out |  | no | 4
13.4.13 |  |  |  | Railing |  | no | 3
DRAINAGE
13.5.00 |  |  |  | GENERAL
|  |  | (a) | Rates shall include for: excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus spoil; bends, junctions, reducers, expansion joints and all joints and other incidental materials.
|  |  | (b) | Rate shall also includes the provision for pipe marking, and tagging as indicated in the specifications.
|  |  | (c) | Rate shall also includes the provisional sum for testing such as but not limited to hydrostatic pressure test for pressure line, and gravity leak test for all gravity lines which was stipulated in the specifications., chlorination/disinfection of network and tanks, and testing and commissioning.
|  |  | (d) | Rate includes the complete delivery of the system and is of working condition.
|  |  | (e) | All pipeworks shall be uPVC.
13.6.00 |  |  |  | DRAINAGE PIPEWORKS
13.6.01 |  |  |  | GROUND FLOOR |  | item | 1
13.6.02 |  |  |  | FIRST FLOOR |  | item | 1
13.6.03 |  |  |  | SECOND FLOOR |  | item | 1
13.7.00 |  |  |  | WATER METERS
13.7.01 |  |  |  | MWSC Water Meters |  | no | 1
13.8.00 |  |  |  | OTHERS
13.8.01 |  |  |  | Greese trap |  | item | 1
13.8.02 |  |  |  | Manhole |  | item | 1
13.9.00 |  |  |  | HOT WATER SUPPLY PIPEWORK
13.9.01 |  |  |  | GROUND FLOOR |  | item | 1
13.9.02 |  |  |  | FIRST FLOOR |  | item | 1
13.9.03 |  |  |  | SECOND FLOOR |  | item | 1
13.10.0 |  |  |  | VALVES FOR PIPE LINES
13.10.01 |  |  |  | GROUND FLOOR |  | item | 1
13.10.02 |  |  |  | FIRST FLOOR |  | item | 1
13.10.03 |  |  |  | SECOND FLOOR |  | item | 1
13.11.00 |  |  |  | TOTAL OF BILL №: 13 - Carried Over To Summary
14.0.00 |  |  |  | Bill №: 14 - ELECTRICAL INSTALLATIONS
14.1.00 | GENERAL
|  |  | (a) | Design, provide and install electrical network for the entire building complete in accordance to standards set by the local governing body STELCO / FENAKA.
|  |  | (b) | The following items and description and the drawings HULS -01 to HULS-05 are given as a guidance as to the nature of the information required to be returned by the contractor. Should they not be appropriate the contractor should provide a similar BOQ using the Additions/Ommisions sheets provided at the back of this BOQ.
|  |  | (c) | The cost shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
|  |  | (d) | The cost shall also include for trenching including: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil.
|  |  | (e) | Rates for electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces.
|  |  | (f) | A light fixture is measured as one point; switch end of wire is not included in the quantity.
|  |  | (g) | A point wiring for power points is measured (regardless of 1 gang, 2 gang etc) as one point for each socket outlet; other end of wire is not included in the quantity.
|  |  | (h) | Contractor shall provide all cabling, wiring, conduits, etc. within the site boundaries. Cabling, wiring, conduits etc. outside the site boundaries are not included under this Contract.
|  |  | (i) | All works complete as per drawing and specification
14.2.00 | MAINS CONNECTION & BOARD
|  |  |  | Completion of 3 phase Electric mains. |  | item | 1
14.3.00 | ELECTRICAL BOARDS
Complete installation, including for all cabling, wiring, connections, earthing, painting, testing and similar of:
14.3.01 |  |  |  | Light, Power & AC Distribution Board |  | nr | 6
14.4.00 | ELECTRICAL WIRING
Electrical wiring with copper conductor cable in conduits in walls and in casing on soffits of slab as specified to:
14.4.01 |  |  |  | Wiring To Lights, Fittings socket |  | pt | 210
14.5.00 | LIGHTING
14.5.01 |  |  |  | LED recessed light type 2 (12W) |  | nr | 50
14.5.02 |  |  |  | LED recessed light type 3 (8W) |  | nr | 10
14.5.03 |  |  |  | LED wall tube light (18W) |  | nr | 12
14.5.04 |  |  |  | LED spike light (3W) |  | nr | 10
14.6.00 | SWITCHES
14.6.01 |  |  |  | Light switch 1gang |  | nr | 42
14.6.02 |  |  |  | Light switch 2gang |  | nr | 20
14.6.03 |  |  |  | Light switch 3gang |  | nr | 2
14.7.00 | SOCKETS
14.7.01 |  |  |  | 13A Twin socket outlet |  | nr | 52
14.8.00 | FAN
14.8.01 |  |  |  | Ceiling Fan |  | nr | 12
14.9.00 | AIR CONDITION AND VENTILATION
General
(a) Rates shall include for supplying and complete installation of air-conditioning systems; including all pipework, electrical wiring, insulation, stands for outdoor units etc.
(b)All AC Equipments must be VRV/VRF or Central systems which have the capacity to control & operate multiple indoor units
(c) Contractor shall provide Shop Drawings for Consultants' Approval for all electrical units including lighting, power, ACMV systems.
(d) The Brand of AC Equipment specified or to be proposed should demonstrate that it is adequate to cater for highly corrosive environment of Maldives.
(e)The brand or AC Equipment specified should demonstrate all specs below from manufacturer's catalogue /spec sheet.
(d) Proposed system brand and models shall be detailed in Contractor's quotation. Contractor shall propose design and manufacturer's specification sheets of models/units proposed, detailing minimum of below information.
Outdoor Specifications
(a)The Outdoor Unit Shall be factory assembled with Weather Proof casing, constructed from Heavy Gauge Mild Steel Panels and coated with Anti Corrosive Epoxy resin finish. The unit should be completely factory wired and tested and shall be fitted with all necessary controls and switch gear.
(b) All outdoor units need to be VRV or Central systems which have the capacity to control & operate multiple indoor units
(c) All outdoor units needs to have aluminium fins with 105+2 μm thickness, with special Anti corrosive coating of 1.3 ± 0. 35 μm thickness and an outside Hydrophilic layer coating of 0.35 ± 0. 07 μm thickness.
(d) The proposed outdoor or outdoor set specifications should detail Energy Efficiency Ratio (EER) kw/kwh not less than 4.5kw
(e) The brand of AC Equipment proposed should have Outdoor Environment sensor for Compressor Control and adjustment
(f) The Brand of AC Equipment proposed should have an outdoor or outdoor sets of Sound Pressure Level below 60dB (A)
(g)All Outdoor units shall be with inverter compressors and be able to operate even in the event of failure of one compressor.
(H) All outdoor units shall be equipped with high efficiency optimized heat exchangers with variable heat exchanger circuits
(i)The outdoor units shall be provided with its own microprocessor control panels
(j) Service and Parts Replacement Warranty of minimum 12 months for the proposed system should be proposed by the AC Manufacturer
(k) The Outdoot should have a high external static pressure (75Pa or higher)
(l) The Scroll Compressor should have Back Pressure control mechanism to minimize refrigerant load and operational loss.
(m) Outdoor refrigerant type shall be R410A or R32
Indoor Specifications
(a) The address of the indoor unit shall be set automatically in case of individual and group control
(b) Wired centralized control shall be set by liquid crystal remote controller
(c) The fan shall be a dual suction, aerodynamically designed turbo, multi blade centrifugal type fan which shall be statically & dynamically balanced to ensure low noise and vibration free operation. The fan shall be direct driven, mounted directly on motor shaft having support from the unit housing.
(d) The cooling coil shall be made out of seamless copper tubes and have continuous aluminum fins. The tubes shall be staggered in the direction of airflow and shall be hydraulically/ mechanically expanded to bond to the fins. Each coil shall be factory tested at 21kg/sqm air pressure under water.
(e) Each unit shall have a cleanable type filter fixed to an integrally moulded plastic frame. The filter shall be a slide out type and shall be neatly inserted.
(f) Automatic Sensors to control airflow and direction of the airflow by detecting human presence
(i) Each unit shall be provided with a hand held multi-function remote controller. The controller shall be able to change fan speed and angle of swing, temperature and mode (Optional).
13.9.01 |  |  |  | Wall mounted units - 4.1KW |  | nr | 2
13.9.02 |  |  |  | Wall mounted units - 8.4KW |  | nr | 2
13.9.03 |  |  |  | Wall mounted units - 6KW |  | nr | 2
13.9.04 |  |  |  | Wall mounted units - 4.3KW |  | nr | 4
13.9.05 |  |  |  | Outdoor unit side discharge - 27.1KW |  | nr | 2
13.9.06 |  |  |  | Wall mount exhaust fan - 50 CFM |  | nr | 1
13.9.07 |  |  |  | Wall mount exhaust fan - 85 CFM |  | nr | 2
13.9.08 |  |  |  | Wall mount exhaust fan - 70 CFM |  | nr | 4
13.9.09 |  |  |  | Exhaust air grill |  | nr | 4
13.9.10 |  |  |  | Fresh air / exhaust air fan - 1100 CFM |  | nr | 1
13.9.11 |  |  |  | Refrigent pipes with insulation |  | item | 1
13.9.12 |  |  |  | AC drain pipes with insulation |  | item | 1
13.9.13 |  |  |  | Supply air duct with thermal insulation |  | item | 1
14.10.00 | IT / SECURTIY SYSTEM
CCTV security system to manufacturers detail & Door access system (Door Operating/ access system with CCTV Camera
14.10.01 |  |  |  | Close circuit television |  | nr | 3
14.10.02 |  |  |  | Telephone outlet (RJ11, connector) |  | nr | 5
14.10.03 |  |  |  | Computer network outlet (RJ45, connector) |  | nr | 4
14.10.04 |  |  |  | Two gang TV socket outlet |  | nr | 8
14.10.05 |  |  |  | Electromagnetic lock |  | nr | 5
14.10.06 |  |  |  | Exit switch |  | nr | 5
14.10.07 |  |  |  | Emergency door release |  | nr | 5
14.10.08 |  |  |  | proximity card reader |  | nr | 5
14.10.09 |  |  |  | Ceiling speakers |  | nr | 2
14.10.10 |  |  |  | Hone speaker |  | nr | 1
14.12.00 |  |  |  | TOTAL OF BILL №: 14 - Carried Over To Summary
15.0.00 |  |  |  | Bill №: 15- INSULATION, FIRE STOPPING & FIRE PROTECTION
15.1.00 | GENERAL
|  |  | (a) | Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
|  |  | (b) | Rates for cable conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
|  |  | (c) | Rates shall include for all necessary electrical wiring and accessories required for completion
|  |  | (d) | All items shall be supply and complete installation
|  |  | (e) | All works complete as per drawing and specification
15.2.00 | FIRE FIGHTING SYSTEM
15.2.01 |  |  |  | Smoke detectors |  | nr | 25
15.2.02 |  |  |  | Heat detectors |  | nr | 4
15.2.03 |  |  |  | Fire resistance cable |  | item | 1
15.2.04 |  |  |  | System tamper switch - IMU |  | nr | 3
15.2.05 |  |  |  | System flow switch - IMU |  | nr | 3
15.2.06 |  |  |  | Exit sign |  | nr | 2
15.2.07 |  |  |  | Fire alarm sounder |  | nr | 3
15.2.08 |  |  |  | Manual call point |  | nr | 3
15.2.09 |  |  |  | LIM |  | nr | 2
15.3.00 |  |  |  | TOTAL OF BILL №: 15 - Carried Over To Summary
16.0.00 |  |  |  | Bill №: 16 - ADDITIONS AND OMMISIONS
16.1.00 | ADDITIONS
16.1.01 |  |  |  | Bill №: 01 - PRELIMINARIES
16.1.02 |  |  |  | Bill №: 02 - EXCAVATION AND FILLING
16.1.03 |  |  |  | Bill №: 03 - INSITU CONCRETE WORKS
16.1.04 |  |  |  | Bill №: 04 - MASONRY
16.1.05 |  |  |  | Bill №: 05 - CARPENTRY
16.1.06 |  |  |  | Bill №: 06 - STRUCTURAL METAL WORKS
16.1.07 |  |  |  | Bill №: 07 - CEILING
16.1.08 |  |  |  | Bill №: 08 - WINDOWS, SCREENS & LIGHTS
16.1.09 |  |  |  | Bill №: 09 - DOORS, SHUTTERS & HATCHES
16.1.10 |  |  |  | Bill №: 10 - DECORATIONS
16.1.11 |  |  |  | Bill №: 11 - FINISHES
16.1.12 |  |  |  | Bill №: 12 - ROOFING
16.1.13 |  |  |  | Bill №: 13 - HYDRAULICS AND DRAINAGE
16.1.14 |  |  |  | Bill №: 14 - ELECTRICAL INSTALLATIONS
16.1.15 |  |  |  | Bill №: 15- INSULATION, FIRE STOPPING & FIRE PROTECTION
TOTAL
16.2.00 | OMISSIONS
16.2.01 |  |  |  | Bill №: 01 - PRELIMINARIES
16.2.02 |  |  |  | Bill №: 02 - EXCAVATION AND FILLING
16.2.03 |  |  |  | Bill №: 03 - INSITU CONCRETE WORKS
16.2.04 |  |  |  | Bill №: 04 - MASONRY
16.2.05 |  |  |  | Bill №: 05 - CARPENTRY
16.2.06 |  |  |  | Bill №: 06 - STRUCTURAL METAL WORKS
16.2.07 |  |  |  | Bill №: 07 - CEILING
16.2.08 |  |  |  | Bill №: 08 - WINDOWS, SCREENS & LIGHTS
16.2.09 |  |  |  | Bill №: 09 - DOORS, SHUTTERS & HATCHES
16.2.10 |  |  |  | Bill №: 10 - DECORATIONS
16.2.11 |  |  |  | Bill №: 11 - FINISHES
16.2.12 |  |  |  | Bill №: 12 - ROOFING
16.2.13 |  |  |  | Bill №: 13 - HYDRAULICS AND DRAINAGE
16.2.14 |  |  |  | Bill №: 14 - ELECTRICAL INSTALLATIONS
16.2.15 |  |  |  | Bill №: 15- INSULATION, FIRE STOPPING & FIRE PROTECTION
TOTAL
16.3.00 |  |  |  | TOTAL OF BILL №: 16 - Carried Over To Summary