## BOQ Summary
BILL OF QUANTITIES
TEMPORARY HEADQUARTERS
HDH.HANIMAADHOO
MILITARY ENGINEERS
MALDIVES NATIONAL DEFENCE FORCE
MALE', REPUBLIC OF MALDIVES
DATE: 19 DECEMBER 2022
PROJECT: TEMPORARY HQ
CLIENT: MINISTRY OF DEFENCE
LOCATION: HDH.HANIMAADHOO
TOTAL COST SUMMARY
SECTION 01 | RENOVATIONS OF EXISTING BUILDINGS |  | MVR | 0
SECTION 02 | PROPOSED STRUCTURES |  | MVR | 0
|  | SUBTOTAL | MVR | 0
|  | GST 8% | MVR | 0
TOTAL COST OF PROJECT |  |  | MVR: | 0
PROJECT DURATION: ….......... DAYS

## SECTION 01
MILITARY ENGINEERS
MALDIVES NATIONAL DEFENCE FORCE
MALE', REPUBLIC OF MALDIVES
DATE: 19 DECEMBER 2022
PROJECT: TEMPORARY HQ
CLIENT: MINISTRY OF DEFENCE
LOCATION: HDH.HANIMAADHOO
SUMMARY
SECTION 01 - RENOVATIONS OF EXISTING BUILDINGS
BILL 01 | SITE CLEARING & GROUND WORKS |  | MVR | 0
BILL 02 | CONCRETE WORKS |  | MVR | 0
BILL 03 | MASONRY WORKS & DRY WALLS |  | MVR | 0
BILL 04 | WALL FINISHES |  | MVR | 0
BILL 05 | FLOOR FINISHES |  | MVR | 0
BILL 06 | CEILING FINISHES |  | MVR | 0
BILL 07 | DOORS AND WINDOWS |  | MVR | 0
BILL 08 | ROOF FRAME AND COVER |  | MVR | 0
BILL 09 | SANITARY & WATER SUPPLY |  | MVR | 0
BILL 10 | ELECTRICAL FIXTURES AND FITTINGS |  | MVR | 0
BILL 11 | TELECOMMUNICATION NETWORK |  | MVR | 0
BILL 12 | AIRCONDITIONING SYSTEM |  | MVR | 0
BILL 13 | FIRE FIGHTING SYSTEM |  | MVR | 0
BILL 14 | FLAG POST & SIGNAGE |  | MVR | 0
BILL 15 | ADDITIONS & OMISSIONS |  | MVR | 0
TOTAL COST FOR RENOVATIONS OF EXISTING BUILDINGS |  |  | MVR | 0
MILITARY ENGINEERS
MALDIVES NATIONAL DEFENCE FORCE
MALE', REPUBLIC OF MALDIVES
DATE: 19 DECEMBER 2022
PROJECT: TEMPORARY HQ
CLIENT: MINISTRY OF DEFENCE
LOCATION: HDH.HANIMAADHOO
BILL OF QUANTITIES
ITEM | DESCRIPTION | QTY. | UNIT | UNIT PRICE | AMOUNT | REMARKS
SECTION 01 - RENOVATIONS OF EXISTING BUILDINGS
BILL 01 | SITE CLEARING & GROUND WORKS
a. | Allow for all on & off site management costs including costs of foreman, assistants, temporary electricity, water supply, hoardings, hire equipment, props, sign boards, safety provisions, acquiring approvals etc; | - | LS
b. | Clear site generally, taking apart, removing, breaking down of all unwanted components in existing buildings and site required for renovation as described in drawings. Rates shall include for cutting away unwanted tree branches, careful removal of doors & windows including frame, provision of new openings in existing walls for fixing doors/windows, chipping wall plaster & tiles and removing damaged ceiling panels where required, cleaning up roof & gutters etc. carting & disposal of debri and waste materials away from site. | - | LS
c. | Clean soil fill, spread and compacted in waste pit to level with normal ground level as described; | - | LS
d. | Allow for clean-up of worksite upon completion of project. | - | LS
e. | Arrange inspection trips to site for a team of three considering each trip takes 2 days, inclusive of normal fare air tickets from Male to Hanimaadhoo, airconditioned triple room with attached toilet for one night stay and transportation to and from site; | 1 | item
BILL 02 | CONCRETE WORKS
Excavate for concrete foundation not exceeding the given depth, get out part deposit, return, fill in & ram in making up levels where directed & remainder load cart away as described. Rates shall include for foundation protection & de-watering required inclusive of all incidental items;
a. | In Gate column footings & beams | - | LS
Lean concrete M10 mixture 50mm thick spread and level as described;
b. | In Gate column footings & beams | - | LS
Sawn formworks inclusive of all shuttering propping and slope protection as described;
c. | In Gate column footings & beams | - | LS
High Tensile Steel Reinforcement Fabrication bending and fixing as described;
d. | In Gate column footings & beams | - | LS
Reinforced concrete M20 mixture using portland cement & imported fine & coarse aggregates with 40% water cement ratio as described;
e. | In Gate column footings & beams | - | LS
f. | In Gateway slab | - | LS
BILL 03 | MASONRY WORKS & DRY WALLS
Supply & installation of CH Blocks 4"x6"x12" for internal & external walls, laid per manufacturer's instruction; rates shall include for chipping, surface preparation and application of bonding admixture as described;
a. | In Boundary wall | 81 | m²
b. | In Block A | 17.5 | m²
Supply and installation of Drywall partitions full height as directed using 2"x2" kiln-treated timber frame forming grid modules of 600x1200mmc/c with 6mm thick cement board fixed on all sides inclusive of trims, cuts, joints, screws, fixings, gap filler, sealant, corner beads, drywall tape, application of putty & sanding to fair finish.
c. | In Block A | 35.1 | m²
d. | In Block B | 24.85 | m²
e. | In Block C | 24.25 | m²
f. | In Admin block | 27.5 | m²
Supply and fabrication of steel grill cell with walls & ceiling built up of 25mm GI pipe main frame & 12mm GI pipe intermediate members spaced at 125mm c/c in y-axis and 400mm c/c in x-axis with of 800x1800mm swing open steel grill door with gate hinges, sliding bolt gate latch & 50mm steel security padlock. Rates shall also include cutting, welding, grinding, cleats, flanges, plates, bolts, fixings, application of 1 coat of anti-corrosive paint on welded joints & 2 coats of enamel paint on all surface of steel works as described.
g. | In Block A | - | LS
BILL 04 | WALL FINISHES
Cement Plaster
Cement & sand mixtures 1:5 appled in 2 coats on Masonary surface in fair face finish to receive wall finish as described; Allow for plastering on columns, beams and waterproofing admixture in exterior plastering;
a. | 25mm plaster steel trowel finished to exterior masonary surface. | 179.5 | m2
b. | 20mm plaster steel trowel finished to all interior masonary surface. | 17.5 | m2
c. | Wall cracks repair plaster in internal and external walls | - | LS
d. | Allow for PVC/Nylon mesh reinforcement @ all joints between walls and concrete. | - | LS
e. | Repair & renovation of masonry and plaster inclusive of chipping & removing portions of old damaged plaster to obtain sound surface, chip in V-grooves throughout visible cracks, depth/width not exceeding the ¼th of wall thickness to receive cement plaster. | - | LS
Paintwork
Scrape old paint, wipe dust off, remove grease and oil; Prepare and apply 1-coat of Alkali Resisting Primer and 2-coats of Weathershield Emulsion Paint (Sigma brand or approved equivalent) on surface as described; Allow for application of putty where required and sanding to fair finish;
f. | In Boundary wall | 681 | m2
In Exterior wall surface of all existing buildings
g. | In Block A | 285 | m2
h. | In Block B | 207 | m2
i. | In Block C | 95 | m2
j. | In Admin block | 123 | m2
k. | In Mosque | 67 | m2
l. | In Toilet block | 70 | m2
m. | In Storage block | 95 | m2
Scrape old paint, wipe dust off, remove grease and oil; Prepare & apply 1 - coat of Alkali Resisting Primer & 2-coats of Emulsion Paint (Sigma brand or approved equivalent) on surface as described; Allow for application of putty & sanding to fair finish in new walls;
In Interior wall surface of all existing buildings
n. | In Block A | 550 | m2
o. | In Block B | 390 | m2
p. | In Block C | 139 | m2
q. | In Admin block | 246 | m2
r. | In Mosque | 55 | m2
s. | In Toilet block | 74 | m2
t. | In Storage block | 112 | m2
Tilework
Supply & installation of approved Glazed Ceramic tiles (300 x600) jointed & bedded with approved tile adhesive, 2mm grout & provision of corner bead as described;
u. | In Block B - 1200mm high | 4.32 | m2
v. | In Block C - 1800mm high | 57 | m2
w. | In Admin Block -1800mm high | 12.5 | m2
x. | Supply & installation of approved 4" decorative wooden border to all the joining lines between wall & floor, inclusive of trims, joints, putty work, sanding, fixing and all incidental items | 55 | rm
y. | Repair and renovations of existing sliding folding partitions inclusive of fixing, application of 2 coats of emulsion paint and all incidental items | - | LS
BILL 05 | FLOOR FINISHES
a. | Removing carefully badly damaged floor tiles, surface preparation, replace with matching tiles of same finish, jointed and bedded with approved tile adhesive and grout as described; | - | LS
Prepare & apply 1- coat of primer and 2- coats of approved heavy duty floor paint on finished floor surface as described;
b. | In open stage floor | 30.95 | m2
c. | In Block B - Recreation | 53.05 | m2
BILL 06 | CEILING FINISHES
a. | Supply & installation of new ceiling panels in similar thickness and material on existing frame in exterior and interior ceiling panel renovations; Rate shall include for repair of any damages to frame, cuts, joints, fixings as required. Allow for application of joint tape, putty and sanding to fair finish. | - | LS
b. | Supply & installation of approved 4" decorative wooden border to all the joining lines between wall & ceiling, inclusive of trims, joints, putty work, sanding, fixing and all incidental items | 55 | rm
c. | Prepare and apply 1 - coat of Matte Emulsion Paint in interior ceiling paint renovation; Allow for application of 1-coat of alkali resisting primer on repaired panels prior to paint application. | 844 | m2
d. | Prepare & apply 1 - coat of Semi-gloss weathershield Paint in exterior ceiling paint renovation; Allow for application of 1-coat of alkali resisting primer on repaired panels prior to paint application. | 467.5 | m2
BILL 07 | DOORS AND WINDOWS
a. | Allow for repairs and renovations of existing wooden, aluminum & PVC door/window panels & frame, inclusive of timber treatment, repairs, putty application, sanding, screws, fixings, application of PU sealant in all joints between wall and frame, replacing damaged hinges, locks, handles, door closers, putty work & sanding and all incidental items required; | - | LS
Fabrication and installation of approved solid wooden frame and door panel in decorative design with 6mm door lite,transom lite, 50mm wide wooden door sash in dry walls, etc. as described. Rates shall include for timber treatment, trims, joints, putty application, sanding, waxing, polishing, screws, nails, application of PU sealant in all joints between wall and frame and SS iron mongery inclusive of 3 hinges per panel, locks, door closers as described;
1 - Panel swing open solid decorative wooden door with 6mm thick fixed glass door lite & transom lite
Size: 900 x 2500h
b. | D1 | 7 | nos
1 - Panel swing open solid decorative wooden door with 6mm thick fixed glass transom lite
Size: 900 x 2500h
c. | D3 | 5 | nos
Design, fabricate & installation of 2 Panel sliding, Steel Gate fabricated using GI hollow section frame, 6mm thick aluminum checkered sheet panels fixed on outer side: Rate shall include wheels, guides, SS ground rail, hinges, bolts, nuts, rivet, locks and all incidental items;
2 - Panel sliding, steel gate
Size: 4800 x 1800h
d. | SG1 | 1 | nos
Fabrication and installation of wooden window with 6mm thick clear glass panels and fixed glass transom lite, in similar design as existing windows; Rates shall include trimming, joining, screws, fixings, iron mongery,beading, weather strippings & application of white antifungal PU sealant on frame & wall joint;
2 - panel side hung wooden windows with 6mm thick flxed glass panel transom lite
size : 750 x 400h
e. | W1 | 2 | nos
f. | Prepare & apply 1-coat of enamel paint on all door/window panel, frame & sash. Allow for applying 1-coat of wood primer on new wood works prior to painting | - | LS
Supply and installation of curtain; single, standard pleat design, of approved fabric and design pattern inclusive of rail, pins and necessary items as described;
g. | Opening size : 2265 x 1945h | 13 | nos
h. | Opening size : 1500 x 1945h | 4 | nos
i. | Opening size : 1130 x 1945h | 11 | nos
Supply and installation of approved vertical blinds with dim-out fabric, pattern design inclusive of pelmet, rail, pins, fixings and necessary items as described;
j. | Opening size : 2265 x 1945h | 5 | nos
k. | Opening size : 1130 x 1945h | 2 | nos
l. | Allow for fabrication & installation of lintel & sill beams inclusive of formwork, steel, concrete etc as described | - | LS
BILL 08 | ROOF FRAME AND COVER
a. | Inspection, repair and renovations of roof cover, fascia, gutter and downpipes in existing buildings inclusive of all incidental items and work required; | - | LS
BILL 09 | SANITARY & WATER SUPPLY
a. | Inspection, repair & renovations of water supply pipes, fittings & fixtures of existing toilets & showers inclusive of leak testing existing pipeline. Rates shall include for replacing worn out/damaged fixutures, valves etc. as described; | - | LS
b. | Inspection, repair and renovations of waste water pipes, fittings & fixtures of existing toilets & showers inclusive of pressure cleaning waste water lines, inspection chambers, septic tank etc. Rates shall include for replacing worn out/damaged water closets, seats, flush tanks etc. as described; | - | LS
c. | Supply installation and Connection of rain water down pipes from building roof to water storage tanks inclusive of fittings and necessary connections; | - | LS
BILL 10 | ELECTRICAL FIXTURES AND FITTINGS
Supply, Installation and testing, of conduit pipe, fittings & fixtures shall be executed as described in drawings and conformance to local regulation & to adhere with Local Electrical Authority's requirements. Rates shall include for screws, nails, bolts, nuts, brackets, straps, rivets, plugs and all incidental accesories;
Electrical Fixtures and Fittings;
a. | LED Flood light, IP68, 150W, 6000K | 5 | nos
b. | Ceiling mount LED light, 18W, round, 6000K | 93 | nos
c. | Ceiling mount LED light, 12W, round, 6000K | 3 | nos
d. | Thread holder E27, normal, with LED light, 5W, 4000K | 8 | nos
e. | Wall mount LED outdoor light, 12W, 4000K | 10 | nos
f. | Ceiling fan 48" (ORIENT) | 49 | nos
g. | Wall mount Exhaust fan 14" | 2 | nos
h. | Switch 1 gang | 11 | nos
i. | Switch 2 gang | 7 | nos
j. | Switch 3 gang | 24 | nos
k. | Switch 4 gang | 11 | nos
l. | Power Outlet 13A x 1gang | 65 | nos
m. | Power Outlet 13A x 1gang, water proof cover | 1 | nos
n. | Power Outlet 13A x 2gang | 74 | nos
o. | Power Outlet 15A x 1gang | 25 | nos
p. | Fan Dimmer | 49 | nos
q. | Supply and installation of wire/conduit/casing/boxes etc. for the above fixed on ceiling, walls, beams & columns as described; Allow for work and items needed to relocate fixtures to meet with the requirements of the drawing unless otherwise specified; | - | LS
BILL 11 | TELECOMMUNICATION NETWORK
Supply, Installation & testing of outlets shall be executed as described in drawings to put the system in good operation and to adhere with the owner's requirement. Rates shall include for screws, nails, bolts, nuts, brackets, straps, rivets, plugs and all incidental accesories;
Fixtures and fittings;
a. | 12U wall mount rack with lockable door | 3 | nos
b. | 48 Port Rj45 Cat6 Patch panel | 1 | nos
c. | 24 Port Rj45 Cat6 Patch panel | 2 | nos
d. | Ubiquity UAP-AC-PRO Indoor wireless Access points | 8 | nos
e. | Ubiquity Dream Machine Pro (UDM-Pro) | 1 | nos
f. | Ubiquity Switch Pro 24 PoE (USW-Pro-24-PoE) | 4 | nos
g. | CD Player with USB Support | 1 | nos
h. | Horn Speaker (60W) | 2 | nos
i. | Amplifier (120W) | 1 | nos
j. | Mixer 4 channel | 1 | nos
k. | Wired Mic | 1 | nos
l. | Network Dual cable points | 31 | nos
m. | Supply & installation of cable/conduit/outlet/boxes/trays for the above in walls, beams and columns; All Cat6 Cables at Block A must be terminated to the Cat6 Patch Panel located at corridor wall mounted rack. All Cat6 Cables at Block B must be terminated to the Cat6 Patch Panel located at Recreation room wall mounted rack. All Cat6 Cables at Admin block must be terminated to the Cat6 Patch Panel located at Office wall mounted rack. Dual network point cable in block C should be terminated to the Cat6 Patch Panel located at Recreation room wall mounted rack. | - | LS
NOTE: Cat6 UTP cable must be used for the Data Networking Cabling. Rj45 Cat6 Keystone Dual face Plate wall outlet must be installed at the Network Dual Cable End Points within building. For all wireless Access Point's, Cat6 single cable should be laid. All network cables must be laid on Cable tray, secured and properly labelled. Network cables must NOT be laid adjacent to any power cable. Network cables must be laid in separate cable tray from power lines and other cables. All Network cables going outside the building should use Cat6 underground gel type cable. Uplink cables (Cat6 underground gel type cables) should be laid between the tracks ie from Block A to Block B and from Block A to Admin block. Cat6 Patch Cords should be used to connect between patch panel and switch. Horn Speaker will be located outside the Admin building; Mixer & controller will be located inside the Admin building.
n. | Allow for carrying out Service relocation of Dhiraagu and Ooredoo leased lines from the existing location to the new location; | 1 | item
BILL 12 | AIRCONDITIONING SYSTEM
Supply, Installation & testing of split-type inverter, wall mount air-conditioning system as per manufacturer's instruction and roughing in of necessary pipe lines to and from indoor and outdoor units as well as connection of power and commissioning of the whole system.
In Block A
a. | AC unit 12000 BTU | 3 | units
b. | AC unit 24000 BTU | 12 | units
In Block B
c. | AC unit 18000 BTU | 6 | units
In Block C
d. | AC unit 9000 BTU | 1 | units
In Admin block
e. | AC unit 18000 BTU | 5 | units
f. | AC unit 9000 BTU | 2 | units
In Mosque
g. | AC unit 12000 BTU | 2 | units
BILL 13 | FIRE FIGHTING SYSTEM
Supply and installation of fire fighting equipment as described inclusive of all necessary connections and to suit with item below as per local fire regulation.
a. | Fire Extinguisher - Carbon Dioxide 2Kg with cabinet | 8 | units
b. | Fire Extinguisher - Water 9L with cabinet | 8 | units
c. | Fire Blanket | 1 | nos
BILL 14 | FLAG POST & SIGNAGE
a. | Repair and renovations of existing flag post; repositioning of halyard cleat and truck, scrape old paint, sanding, wiping dust off, prepare and apply 2 coats of enamel paint, | - | LS
b. | Fabrication and installation of name board signage made from 3mm clear acrylic sheet, spray painted in black and white inclusive of fixings, sealing an all incidental items | - | LS
BILL 15 | ADDITIONS & OMISSIONS

## SECTION 02
MILITARY ENGINEERS
MALDIVES NATIONAL DEFENCE FORCE
MALE', REPUBLIC OF MALDIVES
0
DATE: 19 DECEMBER 2022
0
PROJECT: TEMPORARY HQ
CLIENT: MINISTRY OF DEFENCE
LOCATION: HDH.HANIMAADHOO
SUMMARY
SECTION 02- PROPOSED STRUCTURES
BILL 16 | SITE PREPARATION |  | MVR | 0
BILL 17 | FOUNDATION |  | MVR | 0
BILL 18 | SLAB ON FILL |  | MVR | 0
BILL 19 | CONCRETE FRAMES |  | MVR | 0
BILL 20 | MASONRY WORKS |  | MVR | 0
BILL 21 | WALL FINISHES |  | MVR | 0
BILL 22 | FLOOR FINISHES |  | MVR | 0
BILL 23 | CEILING FINISHES |  | MVR | 0
BILL 24 | DOORS & WINDOWS |  | MVR | 0
BILL 25 | ELECTRICAL FIXTURES AND FITTINGS |  | MVR | 0
BILL 26 | SANITARY & WATER SUPPLY |  | MVR | 0
BILL 27 | ROOF TRUSS AND COVER |  | MVR | 0
BILL 28 | GARAGE & VEHICLE RAMP |  | MVR | 0
BILL 29 | ADDITIONS & OMISSIONS |  | MVR | 0
TOTAL COST FOR PROPOSED STRUCTURES |  |  | MVR | 0
MILITARY ENGINEERS
MALDIVES NATIONAL DEFENCE FORCE
MALE', REPUBLIC OF MALDIVES
0
DATE: 19 DECEMBER 2022
PROJECT: TEMPORARY HQ
CLIENT: MINISTRY OF DEFENCE
LOCATION: HDH.HANIMAADHOO
BILL OF QUANTITIES
ITEM | DESCRIPTION | QTY. | UNIT | UNIT PRICE | AMOUNT | REMARKS
SECTION 02- PROPOSED STRUCTURES
BILL 16 | SITE PREPARATION
Clear site generally, whenever necessary cutting down trees, irrespective of sizes, grubbing roots, stumps etc. dispose of and carting debris, loose boulders, waste materials away from the site.
a. | In Toilet block; | 85.42 | m²
b. | In Work Shop; | 9 | m²
BILL 17 | FOUNDATION
Excavate for concrete Strip Foundation not exceeding the given depth, get out part deposit, return, fill in and ram in making up levels where directed and remainder load and cart away as described; Rates shall include for foundation protection and de-watering required inclusive of all incidental items;
In Toilet block;
a. | F1 ( 600 x 600 x 200mm ) 14 nos | 4.12 | m³
b. | GB ( 200 x 300mm ) | 9.77 | m³
In Work Shop;
c. | GB ( 200 x 300mm ) | 1.44 | m³
50mm thick lean concrete (1:3:6) spread and level as described;
In Toilet block;
d. | F1 ( 600 x 600 x 200mm ) 14 nos | 6.86 | m²
e. | GB ( 200 x 300mm ) | 24.42 | m²
In Work Shop;
f. | GB ( 200 x 300mm ) | 3.6 | m²
In Butchery;
g. | GB ( 150 x 200mm ) | 4.7 | m²
Sawn formworks inclusive of all shuttering, propping and slope protection as described;
In Toilet block;
h. | F1 ( 600 x 600 x 200mm ) 14 nos | 6.72 | m²
i. | GB ( 200 x 300mm ) | 55.63 | m²
In Work Shop;
j. | GB ( 200 x 300mm ) | 7.2 | m²
In Butchery;
k. | GB ( 150 x 200mm ) | 7.51 | m²
High Tensile Steel Reinforcement fabrication bending and fixing as described;
In Toilet block;
F1 ( 600 x 600 x 200mm ) 14 nos
l. | Steel Bars (T12 @ 150 c/c bw) | 74.67 | kg
GB ( 200 x300mm )
m. | Steel Bars ( 4 - T12 ) | 329.67 | kg
n. | Steel Bars ( D6 @150 c/c ) | 116.95 | kg
In Work Shop;
GB ( 200 x 300mm )
o. | Steel Bars ( 4 - T12 ) | 42.67 | kg
p. | Steel Bars ( D6 @150 c/c ) | 15.3 | kg
In Butchery;
GB ( 150 x 200mm )
q. | Steel Bars ( 4 - T10 ) | 46.38 | kg
r. | Steel Bars ( D6 @150 c/c ) | 10.66 | kg
s. | Allow for anchorage, bend and splice. | 67.05 | kg
Reinforced concrete M20 grade using Portland cement & imported fine & course aggregates with 40 % water cement ratio as described; Allow for addition of waterproofing chemical and admixtures as described;
In Toilet block;
t. | F1 ( 600 x 600 x 150mm ) 14 nos | 1.01 | m³
u. | GB ( 200 x 300mm ) | 5.56 | m³
In Work Shop;
v. | GB ( 200 x 300mm ) | 0.72 | m³
In Butchery;
w. | GB ( 150 x 200mm ) | 0.56 | m³
Prepare and apply approved bituminous damp proofing compound as per manufacture's instructions in concrete foundation below NGL;
In Toilet block;
x. | F1 ( 600 x 600 x 150mm ) 14 nos | 11.76 | m²
y. | GB ( 200 x 300mm ) | 74.18 | m²
In Work Shop;
z. | GB ( 200 x 300mm ) | 9.6 | m²
In Butchery;
aa. | GB ( 150 x 200mm ) | 10.32 | m²
BILL 18 | SLAB ON FILL
Clean soil spread, level and compacted not exceeding depth described to receive concrete bed;
Sub base
a. | In Toilet block | 85.42 | m²
b. | In Work Shop | 9 | m²
c. | In Butchery | 20.84 | m²
Lay polythene sheet on compacted sub - base
d. | In Toilet block | 85.42 | m²
e. | In Work Shop | 9 | m²
f. | In Butchery | 20.84 | m²
Reinforced concrete M20 mixture using Portland cement & imported fine & course aggregates with 40 % water cement ratio; Allow labour for leveling & floating on fresh concrete, provision of slopes, grooves and finished to the levels as described;
RCC Floor Slab 100mm thick
g. | In Toilet block | 8.54 | m³
h. | In Work Shop | 0.9 | m³
i. | In Butchery | 2.08 | m³
High Tensile Steel Reinforcement fabrication bending and fixing as described;
RCC Floor Slab 100mm thick
In Toilet block
j. | Steel Bars T10 - 300 c/c bothways | 421.83 | kg
In Work Shop
k. | Steel Bars T10 - 300 c/c bothways | 40.74 | kg
In Butchery
l. | Steel Bars T10 - 300 c/c bothways | 102.91 | kg
m. | Allow for anchorage, bend and splice. | 69.39 | kg
BILL 19 | CONCRETE FRAMES
Sawn formworks inclusive to all shuttering propping and scaffolding as described;
In Toilet block
a. | C1 ( 150 x 150mm ), 14 nos | 20.16 | m²
b. | RB ( 100 x 150mm) | 23.68 | m²
c. | CB ( 100 x 150mm) | 11.76 | m²
d. | RCC counter top 75mm thick, 05 nos | 3.87 | m²
In Work Shop
e. | C1 ( 150 x 150mm ), 4 nos | 5.76 | m²
f. | RB ( 150 x 150mm ) | 5.4 | m²
In Butchery
g. | RCC counter top 75mm thick | 2.66 | m²
High Tensile Steel Reinforcement fabrication bending and fixing as described;
In Toilet block
C1 ( 150 x 150mm ), 14 nos
h. | Steel Bars ( 2 - T12 ) | 59.73 | kg
i. | Steel Bars ( D6 @ 150 c/c ) | 10.58 | kg
RB ( 100 x 150mm)
j. | Steel Bars ( 4 - T12 ) | 187.06 | kg
k. | Steel Bars ( D6 @150 c/c ) | 35.17 | kg
CB ( 100 x 150mm)
l. | Steel Bars ( 2 - T12 ) | 59.46 | kg
m. | Steel Bars ( D6 @150 c/c ) | 9.92 | kg
RCC counter top 75mm thick, 05 nos
n | Steel Bars ( D6 @150 c/c ) | 10.3 | kg
In Work Shop
C1 ( 150 x 150mm ), 4 nos
o. | Steel Bars ( 2 - T12 ) | 17.07 | kg
p. | Steel Bars ( D6 @ 150 c/c ) | 3.02 | kg
RB ( 100 x 150mm)
q. | Steel Bars ( 4 - T12 ) | 42.67 | kg
r. | Steel Bars ( D6 @150 c/c ) | 8.1 | kg
In Butchery
RCC counter top 75mm thick, 05 nos
s. | Steel Bars ( D6 @150 c/c ) | 9.46 | kg
t. | Allow for anchorage, bend and splice. | 54.9 | kg
Reinforced concrete M20 mixture using Portland cement & imported fine & course aggregates with 40 % water cement ratio; Allow labour for leveling & floating on fresh concrete, provision of slopes, grooves and finished to the levels as described;
In Toilet block
u. | C1 ( 150 x 150mm ), 14 nos | 0.76 | m³
v. | RB ( 100 x 150mm) | 0.79 | m³
w. | CB ( 100 x 150mm) | 0.5 | m³
x. | RCC counter top 75mm thick, 05 nos | 0.23 | m³
In Work Shop
y. | C1 ( 150 x 150mm ), 4 nos | 0.22 | m³
z. | RB ( 100 x 150mm) | 0.18 | m³
In Butchery
aa. | RCC counter top 75mm thick, 05 nos | 0.16 | m³
BILL 20 | MASONRY WORKS
Supply and installation of Machine compacted Cement Hollow Blocks 4" x 6" x 12" for both internal and external walls as laid per manufacturer's instruction as described;
Toilet block
a. | In Exterior Walls | 102.25 | m²
b. | In Interior Walls | 63.74 | m²
c. | In RCC counter walls | 1.88 | m²
In Work Shop
d. | In Exterior Walls | 24.83 | m²
In Butchery
e. | In Exterior Walls - 1200mm high | 21.45 | m²
f. | In counter support walls | 2.64 | m²
BILL 21 | WALL FINISHES
Cement Plaster
Cement & sand mixtures 1:5 applied in 2 coats on Masonary surface in fair face finish to receive wall finish as described; Allow for plastering on columns, beams & waterproofing admixture in exterior plastering;
25mm plaster steel trowel finished to walls, beams and columns in all exterior wall surfases,
a. | In Toilet block | 102.25 | m²
b. | In Work Shop | 24.83 | m²
c. | In Butchery | 21.45 | m²
25mm plaster steel trowel finished to walls, beams and columns in all interior wall surfases,
d. | In Toilet block | 233.48 | m²
e. | In Work Shop | 24.83 | m²
f. | In Butchery | 26.73 | m²
g. | Allow for PVC/Nylon mesh reinforcement @ all joints between walls and concrete. | - | LS
Paintwork
Prepare and apply 1 - coat of exterior Wallsealer (Sigma brand or approved equivalent) and 2-coats of exterior Paint (Sigma brand or approved equivalent) on surface as described; Allow for application of exterior putty and sanding to fair finish;
In Exterior wall surfaces,
h. | In Toilet block | 102.25 | m²
i. | In Work Shop | 24.83 | m²
j. | In Butchery | 21.45 | m²
Prepare and apply 1 - coat of interior Wallsealer (Sigma brand or approved equivalent) and 2-coats of Interior Paint (Sigma brand or approved equivalent) on surface as described; Allow for application of putty and sanding to fair finish;
In Interior wall surfaces,
k. | In Toilet block | 30.24 | m²
l. | In Work Shop | 24.83 | m²
Tilework
Supply and installation of approved Ceramic tiles ( 300 x 600 ) jointed and bedded with approved tile adhesive, 2mm grout and provision of plastic corner bead as described;
In Toilet block
m. | Interior walls (2m high) | 216.04 | m²
n. | RCC counter walls | 3.75 | m²
In Butchery
o. | Interior wall surface | 24.13 | m²
p. | RCC counter walls | 5.76 | m²
BILL 22 | FLOOR FINISHES
50mm cement screed ( 1:4 ) mixture using Portland cement and imported coarse sand with 40 % water cement ratio ,leveled with provision of slope to receive floor finish as described;
a. | In Toilet block walkway, wash & drying area | 49.8 | m²
25mm cement screed ( 1:4 ) mixture using Portland cement and imported coarse sand with 40 % water cement ratio ,leveled with provision of slope to receive floor finish as described;
b. | In Toilets & Showers floor | 25.2 | m²
c. | In Work Shop floor | 9 | m²
Apply 2-coats of water proofing compound (Masterseal 550 or an approved equivalent as per manufacture's manual) on floor area and on wall surface 600mm from FFL as described;
d. | In Toilets & Showers | 68.75 | m²
Supply and installation of Non skid Homogeneous floor tiles (600x600mm) jointed and bedded with tile adhesive and 2mm grout, provision of nosing on all steps and expansion grooves with filler in every 20ft of floor finish;
e. | In Toilet block walkway, wash & drying area | 49.8 | m²
f. | In Butchery floor | 20.84 | m²
Supply and installation of Polished Homogeneous wall tiles (600x600mm) jointed and bedded with tile adhesive and 2mm grout as described;
g. | In Toilet block counter tops | 3.13 | m²
h. | In Butchery counter tops | 2.65 | m²
Supply & installation of Non skid Homogeneous floor tiles (300x300mm) jointed & bedded with tile adhesive & 2mm grout, provision of nosing on all steps & expansion grooves with filler in every 20ft of floor finish;
i. | In Toilets & Showers floor | 25.2 | m²
Supply and application of approved Floor paint (as per manufacturers' manual) on substrate and as skirting including floating, smoothing, curing, sealing, and necessary works for a fine finish.
j. | In Work Shop floor area | 9 | m²
BILL 23 | CEILING FINISHES
Supply and installation of rafters exposed ceiling with 4'x8'x6mm thick Cement board , the boards are laid horizontally over the timber rafters across the roof area, biginning and ending on a rafter,the board secured by screws. Rate shall include all trimming, joining and fixings as required. Allow for application of putty and sanding to fair finish of exposed rafters and cement board.
In Toilet block
a. | Interior ceiling | 85.13 | m²
b. | Eaves ceiling | 21.15 | m²
Work Shop
c. | Interior ceiling | 7.29 | m²
d. | Eaves ceiling | 1.35 | m²
Prepare and apply 1 - coat of interior Wallsealer (Sigma brand or approved equivalent) and 2-coats of Interior Paint (Sigma brand or approved equivalent) on surface as described; Allow for application of putty and sanding to fair finish;
In Interior ceiling
e. | Toilet block | 85.13 | m²
f. | Work Shop | 7.29 | m²
Prepare and apply 1-coat of Alkali resisting primer (Sigma brand or approved equivalent) and 2-coats of Semi gloss weathershield Emulsion Paint (Sigma brand or approved equivalent) on surface as described;
In Eaves ceiling
g. | Toilet block | 21.15 | m²
h. | Work Shop | 1.35 | m²
BILL 24 | DOORS & WINDOWS
Fabrication and installation of approved solid wooden frame and door panel in decorative design with 6mm clear annealed glass, as described. Prepare and apply 1-coat of wood primer and 2-coats of wood dye on door panel and frame. Rates shall include for timber treatment, trims, joints, putty application, sanding, waxing, polishing, screws, nails, application of PU sealant in all joints between wall and frame and SS iron mongery inclusive of 03 SS hinges per panel, locks, door closers as described.
In Work Shop
1-Panel swing open solid decorative wooden door with 6mm thick fixed glass door lite, and transom lite
Size: 900mm x 2500mm
a. | D1 | 1 | set
| Single panel PVC door and Jambs with approved SS sliding lock, SS hinges and SS screws. Allow for provision of door handle and application of white antifungal PU sealant on frames, subframe and wall joints; |  | 0
In Toilet block
| 1 - panel swing open PVC door |  | 0
size : 700 x 1800h
b. | D2 | 14 | set
Fabrication and installation of white powder coated 1.2mm thick aluminum framed, louver panel ventilator with insect mesh, application of clear PU sealant at all joints between wall, frame and subframe and in joints between glass panels as described.
In Toilet block
1 - Panel Aluminum louver ventilator with insect mesh
Size: 900mm x 350mm
c. | V1 | 11 | set
2 - Panel Aluminum louver ventilator with insect mesh
Size: 1200mm x 350mm
d. | V2 | 2 | set
| 0 |  | 0
BILL 25 | ELECTRICAL FIXTURES AND FITTINGS
Supply, Installation and testing, of casing, conduit pipe, fittings & fixtures shall be executed as described in drawings and conformance to local regulation & to adhere with Local Electrical Authority's requirements. Rates shall include for screws, nails, bolts, nuts, brackets, straps, rivets, plugs and all incidental accesories;
Electrical Fixtures and Fittings;
In Toilet block
a. | Distribution box 36 Circuit, wall mount type (hager) | 2 | nos
b. | Ceiling mount led light 12w day light (round) | 24 | nos
c. | Led outdoor light 12w, warm white | 5 | nos
d. | Switch 2 gang | 4 | nos
e. | Switch 4 gang | 4 | nos
f. | Socket switch single 13a, waterproof (abb / clipsal) | 15 | nos
g. | Exhaust fan | 5 | nos
h. | PVC Box single | 23 | nos
In Work Shop
i. | 4' led tube light 40w | 2 | nos
j. | Socket switch double 13a, (abb / clipsal) | 4 | nos
k. | Switch 2 gang | 1 | nos
l. | PVC Box single | 1 | nos
m. | PVC Box double | 4 | nos
In Butchery
n. | 4' led tube light 40w | 3 | nos
o. | Switch 3 gang | 1 | nos
Supply & installation of Wire/conduit/boxes/trays for the above encased in walls, beams and columns;
p. | In Toilet block | - | LS
q. | In Work Shop | - | LS
r. | In Butchery | - | LS
Supply & installation of Distribution boxes inclusive of circuit breakers, residual current devices, DIN rails, busbar links, surge protection devices, connections and all incidental items required;
s. | DB 36 circuit, wall mount type (Hager) - In toilet block | 1 | item
t. | DB 36 circuit, wall mount type (Hager) - In Workshop | 1 | item
BILL 26 | SANITARY & WATER SUPPLY
Supply & Installation of pipe fittings & fixtures shall be executed in conformance to local regulation & to adhere with the clients requirement. Inclusive of pressure & leak testing of entire system. All pvc pipes and fittings
Sanitary & water supply fixtures
In Toilet block
a. | Water Closet w/ cistern | 8 | nos
b. | Muslim shower | 8 | nos
c. | Wash basin, countersunk | 8 | nos
d. | Wasting plug for wash basin | 8 | nos
e. | Basin tap, PVC (Watertec) | 8 | nos
f. | PVC Flexible gully | 8 | nos
g. | 18" Shower hose, PVC | 16 | nos
h. | Handshower with rail, PVC | 10 | nos
i. | Handshower valve, PVC (watertec) | 38 | nos
j. | 2" PVC floor drain 100x100 | 25 | nos
k. | SS Grating Sheet 100x100 | 25 | nos
l. | PVC Mirror | 8 | nos
m. | Bib tap, PVC (Watertec) | 8 | nos
n. | Towel Holder, PVC | 13 | nos
In Work Shop
o. | Bib tap, PVC (Watertec) | 1 | nos
In Butchery
p. | Wall tap, goose neck , PVC | 2 | nos
q. | 2" SS floor drain 100x100 | 1 | nos
Installation and connection of pipes & fittings for the above including connection of waste water & sewer lines to main sewer network. Rates shall include for providing separate greywater and blackwater waste lines, cleanouts, traps, as described;
r. | In Toilet block | - | LS
s. | In Butchery | - | LS
Installation and connection of pipes & fittings for deselination water and ground water supply inclusive necessary valves for both fresh and well water supply. Rates shall include trims, joints, fixing and incidental accessories.
t. | In Toilet block | - | LS
u. | In Work Shop | - | LS
v. | In Butchery | - | LS
Construction of inspection chambers inclusive of excavation, backfilling, compaction, concrete work including form work & reinforcements, connections, water proofing admixture and incidental items as described;
w. | In Toilet block | - | LS
x. | In Butchery | - | LS
BILL 27 | ROOF TRUSS AND COVER
Roof Frames;
Build up timber frames resting on roof beam and fixed using thread rod/anchor bolt anchored in concrete in adherence with the drawing. Rates shall include for cuts, trims, joints, screws, nails, bolts, fixings and all incidental items;
In Toilet block
a. | 50x150mm Wooden Runner | 35.25 | m
b. | 50x100mm Wooden Rafters @1200 c/c | 91.13 | m
c. | 50x50mm Wooden Purlins @600 c/c | 211.5 | m
In Work Shop
d. | 50x100mm Wooden Rafters @1200 c/c | 15 | m
e. | 50x50mm Wooden Purlins @600 c/c | 21 | m
Roof Cover and Accessories
Fixing of Lysaght "Trim Deck 0.53 tct "Heavy duty roofing sheets in accordance to manufacture's instruction, inclusive of all necessary accessories. Rates shall incude for cuts, joints, screws, sealants and all incidental items;
In Toilet block
f. | Lysaght Roofing sheet - Trim Deck | 105.75 | m²
g. | Heat insulation | 105.75 | m²
h. | PVC mesh | 105.75 | m²
i. | Lysaght End cap | 2 | nos
j. | Lysaght Gutter inclusive of clips & straps spaced 600 c/c | 35.25 | m
k. | Lysaght Wall flashing | 35.25 | m
l. | Lysaght End flashing | 9.5 | m
m. | Wooden Fascia board 25x250mm | 35.25 | m
In Work Shop
n. | Lysaght Roofing sheet - Trim Deck | 10.8 | m²
o. | Heat insulation | 10.8 | m²
p. | PVC mesh | 10.8 | m²
q. | Lysaght End cap | 2 | nos
r. | Lysaght Gutter inclusive of clips & straps spaced 600 c/c | 3 | m
s. | Lysaght End flashing | 10.2 | m
t. | Wooden Fascia board 25x250mm | 3 | m
In Butchery
u. | Lysaght Roofing sheet - Trim Deck | 22.7 | m²
v. | Heat insulation | 22.7 | m²
w. | PVC mesh | 22.7 | m²
Supply and installation of Rainwater Down pipe inclusive of fittings, brackets and connection to soak pits;
In Toilet block
x. | Lysaght Down spout 75mm with PVC Strainer | 2 | nos
y. | uPVC Down pipe 75mm dia | 2 | nos
In Work Shop
z. | Lysaght Down spout 75mm with PVC Strainer | 1 | nos
aa. | uPVC Down pipe 75mm dia | 1 | nos
Prepare and apply 2-coats of approved, clear wood preservative on all surface of wood works;
ab. | In Toilet block | - | LS
ac. | In Work Shop | - | LS
Prepare and apply 1-coat of wood primer and 2-coat of approved weathershield gloss enamel finish as described;
ad. | In Toilet block Fascia board | 19.39 | m²
ae. | In Work Shop Fascia board | 1.65 | m²
BILL 28 | GARAGE & VEHICLE RAMP
a. | Disassemble, carefully take apart existing steel structure vehicle garage, transportation and reassemble steel structure at new location inclusive of RCC foundation for steel columns , reinforcement, additional steel work required for extension, heat insulation, pvc mesh, roof cover, gutter installation with downpipe, application of 1-coat anticorrosive pain on welded joints and 2-coats of enamel paint on steel frame, provision of 3nos 40W LED tube 4ft with 3 gang switch as described; | - | LS
b. | Design, approve & construction of 13700x2800x1000mm vehicle service ramp with RCC beams, RCC slab, support columns, solid block masonry and plaster inclusive of clean soil fill in, compaction, application of sealer and paint on walls & all incidental items as described; | - | LS
BILL 29 | ADDITIONS & OMISSIONS
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0