## Summary
Summary of Bill of Quantites for Construction of Visitors Center at Hithadhoo Ecotourism Facility
No | Item | Amount
1 | SITE PREPARATION AND MAINTENANCE
4 | VISITOR CENTRE
6 | SIGNPOSTS, TABLES AND BENCHES
7 | FENCE AND VEGETATION CLEARING
Sub total
GST 6%
GRAND TOTAL

## BoQ
Ministry of Environment and Energy Male', Maldives Bill of Quantity for the work: DEVELOPMENT AND IMPLEMENTATION OF COMMUNITY-BASED WETLANDS MANAGEMENT PLANS (CBWMPS) AND ASSOCIATED DRAINAGE MANAGEMENT IN HITHADHOO AND FUVAHMULAH; ECOTOURISM IN HITHADHOO AND FUVAHMULAH WETLANDS; AND DOCUMENTATION OF BEST PRACTICES ON COMMUNITY-BASED WETLANDS MANAGEMENT Package: VISITOR'S CENTER
BILL Nº 1.- SITE PREPARATION AND MAINTENANCE
SL. No. | Description | Qty | Unit | Rates in MVR | Total MVR
0 | GENERAL NOTES
Abbreviations
m - meter
m2 - square meter
m3 - cubic meter
kg - kilogram
t - tonnes
No - numbers
incl - including
LS - Lump Sum
mm - milimeter
cm - centimeter
dia - diameter
1.1 | SITE PREPARATION AND MAINTENANCE
1.1.1 | Mobilization of Contractors equipment | 1 | LS
1.1.2 | Site setup & Management | 1 | LS
1.1.3 | In survey & Out survey | 1 | LS
1.1.4 | Clean up site upon completion of works | 1 | LS
1.1.5 | Reforestation and restoration of the habitat | 1 | LS
1.1.6 | Demobilization of Contractors equipment | 1 | LS
BILL Nº 4.- VISITOR CENTRE
SL. No. | Description | Qty | Unit | Rates in MVR | Total MVR
4.1 | SITE PREPARATION
4.1.1 | Tree transplantations | 1 | LS
4.1.2 | Clearing of trees, weeds and other plants | 1 | LS
4.1.3 | Levelling according to Drawing Nº 4.1 | 1 | LS
4.2 | FOUNDATIONS
4.2.1 | Excavation for footings and strip footings | 128.59 | m3
4.2.2 | Supply all materials and labour of construction of reinforcement concrete strip footing. 30 (width)x40(depth) cm2 section. and 30 (witdh) x 75 (depth) cm2 Steel reinforcement is to be fixed in the positions shown on Drawing nº 4.5 formed by bars 12 mm dia. Reinforcement is to be firmly tied to prevent movement when concrete is placed and spacers shall be used as required. Formwork shall be set up to give a smooth surface with no visible joins between sheets and no significant marking of the concrete surface with imperfections in the formwork. Formwork oil shall be selected to avoid any staining or marking of exposed surfaces. All reinforced concrete shall be fully compacted by means of power-driven immersion type vibrators. The concrete shall be vibrated until the section is a solid mass entirely free of voids and cavities. Care should be taken to ensure excessive vibration does not occur. Vibrators shall not be allowed to come into contact with the reinforcement, shutter ties or shutter faces. Incl. excavation, loading and transportations to landfill; anchor prior underpinnings necessary, walk rubble removal and pp charge indirect costs | 108.62 | m3
4.2.3 | Reinforced concrete for footings 80x80x80 cm3. All specifications about formwork, vibration, etc indicated in 4.2.2 should be apply as well. | 26.62 | m3
4.2.4 | Reinforced concrete for footings 275x275x50 cm3 for water tanks. All specifications about formwork, vibration, etc indicated in 4.2.2 should be apply as well. | 7.56 | m3
4.2.5 | Non estructural Concrete Slab for Snacks&Juices area with 15 cm thickness over 30 cm of gravel 35/30 | 27.24 | m3
4.2.6. | Selected gravel for concrete slab basis | 36.32 | m3
4.2.7 | Lean concrete in foundations
| Lean concrete of 10 cm thickness, non-structural concrete in foundations. It includes, transport, installation, leveling, etc. | 25.22 | m3
4.3 | WOODEN FLOOR
4.3.1 | Beam in tropical wood (Tualang or Kempas) dimension of 10x20 cm2 and 2.75 / 2,35 / 3,35 m long wooden structure. Produced from sustainable managed forest, treated with bio-based and renewable chemicals. Includes metal zip locks, completely formed and finished. Even anchoring elements. Details shown on Drawing Nº 4,8
| Platform +0.50 | 20.65 | m3
| Platform +1.00 | 10.04 | m3
| Wood floor +0.25 | 3.3 | m3
4.3.2 | Decking in tropical wood (Balau, Chengal, Merbau or Resak) wood size 2.35x0.10x0.05 cm, gap of 0.01. Processing by autoclave, sanding and greasing. Assembly included.
| Platform +1.00 | 306.9 | m2
| Platform +0.50 | 643.35 | m2
| Wood floor +0.25 | 181.61 | m2
4.4 | TIMBER STRUCTURE
4.4.1 | Pillar tropical wood (Balau, Chengal, Merbau or Resak), size 0.30x0.30 embedded upon support structure building
| EXHIBITION AREA | 2.7 | m3
| ADMINISTRATIVE AREA | 2.16 | m3
| TOILETS | 1.08 | m3
| SNACKS AND JUICES | 4.05 | m3
| WORKSHOP | 4.05 | m3
| RAINWATER TANKS | 2.16 | m3
4.4.2 | Beamtropical wood (Balau, Chengal, Merbau or Resak), size 0.30x0.40, upon support structure building
| EXHIBITION AREA | 3 | m3
| ADMINISTRATIVE AREA | 2.4 | m3
| TOILETS | 1.2 | m3
| SNACKS AND JUICES | 4.07 | m3
| WORKSHOP | 1.33 | m3
| RAINWATER TANKS | 1.96 | m3
4.4.3 | Beam tropical wood (Balau, Chengal, Merbau or Resak), size 0.30x0.30, upon support structure building
| EXHIBITION AREA | 0.78 | m3
| ADMINISTRATIVE AREA | 0.62 | m3
| TOILETS | 0.31 | m3
| SNACKS AND JUICES | 2.21 | m3
| WORKSHOP | 1.3 | m3
4.4.4 | Diagonal beamtropical wood (Balau, Chengal, Merbau or Resak), size 0.30x0.40, upon support structure building
| EXHIBITION AREA | 4.98 | m3
| ADMINISTRATIVE AREA | 3.98 | m3
| TOILETS | 1.99 | m3
| SNACKS AND JUICES | 6.03 | m3
| WORKSHOP | 6.88 | m3
4.4.4 | Roof batten in tropical wood (Tualang or Kempas), size 5x15 cm and 20x15 cm
| EXHIBITION AREA | 4.44 | m3
| ADMINISTRATIVE AREA | 3.82 | m3
| TOILETS | 1.62 | m3
| SNACKS AND JUICES | 5.79 | m3
| WORKSHOP | 6.44 | m3
| RAINWATER TANKS | 0.35 | m3
4.5. | GANGWAYS AND FENCING
4.5.1. | Visitor Centre perimeter fencing. Fencing made of tropical wood (Cerejeiro, Iroko, Teak or similar) with Texan bracket wit 2 horizontal units. Made up of: - Verticals measuring 150cm Ø 8/10cm with a point. - Horizontals measuring 220cm Ø6/8cm without a point. - Texan bracket with galvanised nuts and bolts. | 192.22 | m
4.5.2. | Gangways to access to different platforms with tropical wood (Balau, Chengal, Merbau or Resak) as Drawing 4.8. | 22 | m
4.6. | ROOFS
4.6.1 | Roof type 1 in sheet metal cover
| ADMINISTRATIVE AREA | 144.32 | m2
| TOILETS | 61.6 | m2
4.6.2 | Roof type 2 in palm thatching.
| EXHIBITION AREA | 169.84 | m2
| SNACKS AND JUICES | 219.71 | m2
| WORKSHOP | 250.19 | m2
4.6.3 | Plywood roof
| EXHIBITION AREA | 169.84 | m2
| ADMINISTRATIVE AREA | 144.32 | m2
| TOILETS | 61.6 | m2
| SNACKS AND JUICES | 219.71 | m2
| WORKSHOP | 250.19 | m2
4.6.4. | Metal gutter Ø180 mm
| ADMINISTRATIVE AREA | 34.8 | m
| TOILETS | 16 | m
4.7 | CLOSING
4.7.1. | Natural closing "thosahli" made in braided palm leaf
| ADMINISTRATIVE AREA | 116.4 | m2
| TOILETS | 60 | m2
| EXHIBITION AREA | 145.8 | m2
4.8 | CARPENTRY INSIDE/OUTSIDE
4.8.1. | Interior wood lining
| ADMINISTRATIVE AREA | 116.4 | m2
| TOILETS | 60 | m2
| EXHIBITION AREA | 145.8 | m2
4.9 | DOORS AND WINDOWS
4.9,1 | Wooden door type 1 size 2.10x1.00 (Meranti or Nyatoh type)
| ADMINISTRATIVE AREA | 2 | No
| TOILETS | 2 | No
| EXHIBITION AREA | 2 | No
4.9.2. | Wooden door type 2 size 2.10x0.80 (Meranti or Nyatoh type)
| TOILETS | 4 | No
4.9.3. | Wooden window 1.42x1.10 (Meranti or Nyatoh type)
| ADMINISTRATIVE AREA | 6 | No
| TOILETS | 2 | No
| EXHIBITION AREA | 8 | No
4.9.4. | Front vertical border with horizontal, individually adjustable front blades in wood (Meranti or Nyatoh type)
| ADMINISTRATIVE AREA | 4.81 | m2
| TOILETS | 4.81 | m2
| EXHIBITION AREA | 4.81 | m2
| SNACKS AND JUICES | 29.28 | m2
| WORKSHOP | 42.78 | m2
4.1 | ISOLATION AND WATERPROOFING
4.10.1. | Bulk insulation cavity absorber for interior walls
| ADMINISTRATIVE AREA | 116.4 | m2
| TOILETS | 60 | m2
| EXHIBITION AREA | 145.8 | m2
4.10.2. | Polyethylene laminated in rolls for interior walls
| ADMINISTRATIVE AREA | 116.4 | m2
| TOILETS | 60 | m2
| EXHIBITION AREA | 145.8 | m2
4.10.3 | Polythylene covering in roof
| EXHIBITION AREA | 169.84 | m2
| ADMINISTRATIVE AREA | 144.32 | m2
| TOILETS | 61.6 | m2
| SNACK AND JUICES | 219.71 | m2
| WORKSHOP | 250.19 | m2
4.11 | FINISHES
4.11.1. | Sataa curtain or similar (made of pandanas or screw pine wood) | 235.2 | m2
4.12 | DRAINAGE PLUMBING & WASTE WATER
4.12.1 | Plumbing facilities including two water tanks of 2500 gallons fully installed ( pipes, valves, filters, conections, keys, pipes supports, etc) , pumping station of 5 KW, manometer and expansion tank, pipes in polyethylene, ball valves as Drawing 4.12 | 1 | L.S.
4.12.2 | PVC Pipes connection between roofs and tanks | 43.8 | m
4.12.3 | Septic tank reinforced polyester fiberglass with decanter-digester 168"x72"x64.5" with 2 compartiments and biological filter oxidizer of organic matter, of cylindrical shape an capacity of 1500 gal, sewage input from the top tube of 5" diameter, PVC pipe, with 1 manhole and sand bed. Soakaway formed by PVC pipe of 5" diameter with grooves each 15 cm in the last 10 m, including trenchof 0.5x0.5 m section and sand base. Drawing 4.12 | 2 | No
4.13 | ELECTRICAL AND COMMUNICATION INSTALLATIONS
| 3x1.5 mm2 section PVC insulated non-armoured cable with copper conductor 450/750 V | 288.54 | m
| 3x2.5 mm2 section PVC insulated non-armoured cable with copper conductor 450/750 V | 261.92 | m
| 3x4 mm2 section PVC insulated non-armoured cable with copper conductor 450/750V | 125.6 | m
| 3x6 mm2 section PVC insulated non-armoured cable with copper conductor 450/750V | 59.9 | m
| 3x4 mm2 thermoseting isulated armoured cable 600/1000 V copper conductor | 27.3 | m
| 3x10 mm2 thermoseting isulated armoured cable 600/1000 V copper conductor | 51.4 | m
| Ceiling fan 300 WATT | 15 | No
| LED tube 1200 mm 12 WATT | 4 | No
| LED tube 1500 mm 24 WATT | 38 | No
| Ceiling LED light E27 | 4 | No
| PAR30 raid LED light | 3 | No
| Miscelaneous socket 1000 WATT | 12 | No
| Switch | 20 | No
| Socket 2000 WATT | 1 | No
| Socket 1500 WATT | 1 | No
| Exhausted fan | 4 | No
| Motion sensor | 6 | No
| Fan dimmer | 14 | No
| Main Distribution Panel | 1 | No
| Distribution board | 6 | No
| Ground pikes totally assembled | 1 | No
| Conection to the main supply located in the school. It includes trenche, pipes, cables, conection panel, etc | 1 | LS
4.14 | TOILETS
4.14.1 | Sinks | 4 | No
4.14.2 | Toilets | 4 | No
4.15 | OTHERS
4.15.1 | BIKE RACK_ made of teak wood with post and crossbeams of 8 cm diam and support beams for bikes formed by 5 couples of cleats of 6 com dia. Produced from sustainable managed forest, treated with bio-based and renewable chemicals. Includes non-structural concrete as slab and metal zip locks Dimensions shown on Drawing 5.4 Includes non structural concrete base and metal zip locks, completely formed and finished. General measures 3 mt long, 1 mt back, 0.8 m high as shown on Drawing Nº 4.8 | 18 | No
4.15.2 | ARBORETUM_Informative Signs. Treated and planed wood ARROW-type sign (without a point measuring 75x19x3 cm with a post measuring 250x10x10cm. Low relief screen printing and white letters. Includes printing and installation | 7 | No
4.15.3 | NURSERY_Adaptation of space using natural elements and wood | 20 | No
4.15.4 | NURSERY_Stairs to nursery | 3 | No
4.15.5 | Welcome Garden | 142.39 | m2
4.15.6 | Welcome Board as Drawing 4.14. | 1 | No
4.15.7 | Vinyl panels (250x200cm), 70 micron monomeric film, printed laminated vinyl Matt Avery 500 Event Fim or similar approval B1/M1 firefighting. Gloss laminate finish for protection. Includes printing and installation | 5 | No
4.15.8 | Vinyl panels (300x100cm), 70 micron monomeric film, printed laminated vinyl Matt Avery 500 Event Fim or similar approval B1/M1 firefighting. Gloss laminate finish for protection. Includes printing and installation | 4 | No
4.15.9 | Vinyl panels (295x70 cm), 70 micron monomeric film, printed laminated vinyl Matt Avery 500 Event Fim or similar approval B1/M1 firefighting. Gloss laminate finish for protection. Includes printing and installation | 4 | No
4.15.10 | Museographic resources as Drawing 4.14. Includes printing and installation | 2 | No
4.15.11 | Fire extinguisher equipment as Drawing 4.13. | 1 | L.S.
4.15.12 | Pruning branches and clearing weeds to condition 3 m wide foot access to the rainwater tanks | 78.75 | m2
4.15.13 | 15 cm compacted filled. material should be local available sand and selected filling posted by Contractor. Compacting density should be at least 95 % of proctor density. | 11.8125 | m3
4.16 | OFFICE EQUIPMENT & FURNITURE
4.16.1 | Desk Computers | 2 | No
4.16.2 | Copier-Printer | 1 | No
4.16.3 | Phone Devices | 2 | No
4.16.4 | Desk Lamp | 2 | No
4.16.5 | Work desk (including side return) | 2 | No
4.16.6 | Desk chair | 3 | No
4.16.7 | Display shelves | 5 | No
4.16.8 | Display shelf with lock | 1 | No
4.16.9 | Fan | 4 | No
4.16.10 |  | 4 | No
4.17 | SOLAR CELLS
4.17.1 | Solar modules poly-crystaline Jinko JKM-245P or similar maximum power 245 wp power tolerance +-3% open circuit voltage 37,2 v short-circuit current 8,69 A cell efficiency 17,25% module efficiency 14,97% operating temperature -40ºC to 85ºC 1650x992x45 mm anodized aluminium alloy frame, 19 Kg junction box IP65 rated | 12 | No
4.17.2 | Grid tied inverter SMA sunny boy 2500 TL max Dc input 2650 w max input voltaje 750 v MPP voltage range 180-500 v max input current 15 A. Max apparent Ac power 2500 VA nominal Ac voltage 230 v max output AC current 10,9 A. ground fault monitoring and grid monitoring 490x519x185 mm 23 kg degree of protection of electronics IP65, self consumption at night 1 W climatic category 4K4H maximum permissible value for relative humidity 100% Dc connection Sunclick AC connection spring clamp terminal. | 1
4.17.3 | Single cooper conductor 4 mm2 cross section, insulated and non-integrally jacketed, sunlight resistant, photovoltaic wire rated for 90°C wet or dry, 600V for interconnection wiring of grounded and ungrounded photovoltaic power systems | 25 | m
4.17.4 | Ground instalation with rod | 1 | No
4.17.5 | Fastening aluminium components for modules including high grade steel screw M10 | 28 | No
BILL Nº 6.- SIGNPOSTS, TABLES AND BENCHES
SL. No. | Description | Qty | Unit | Rates in MVR | Total MVR
6.3 | INTERPRETIVE BOARDS |  |  |  | 0
6.3.1 | Interpretive Boards aim at providing relevant information to visitors regarding the main features of the Protected Area. The Interpretive Boards are located on coordinates shown on Drawings 6.3. The Interpretive Boards comprise: - two treated wood posts (100 x 150mm) - treated wood panel (100 x 100 mm) - medium for printing made of Perspex (4mm) - metal zip locks (3mm) - treated wood beam (100 x 60 mm) - roof with a treated wood base (22mm) with showing tiles. Assembly is shown on Drawing 6.3 Print ready content (picture or image) in English and Dhivehi for the different Interpretive Boards shall be provided in digital support by Client. Footing for the Interpretive Board is made of non structural concrete as shown on Drawing 6.3 It includes clearing, excavation, moorings and loading and transportation of the products to landfill or excavation workplace. Includes printing and installation | 4 | No
6.3.2 | Tables and benches made of teak wood produced from sustainable managed forests, treated with bio-based and renewable chemicals. Rates shall include all screws, nails and other fasteners as required.
| Tables in Work shop area | 10 | No
| Benches in workshop area | 20 | No
| Tables in snack area | 5 | No
| Benches in snack area | 9 | No
BILL Nº 7.- FENCE AND VEGETATION CLEARING
7 | FENCING
7.1 | Clearing of trees, weeds and other plants on the inner side of fence of width 3 m wide, along 1633 m including loading and transportation of the products to landfill. | 4899 | m2
7.2 | Footing for fencing made with non structural concrete. Dimensions: 40 x 40 cm2 and 60 cm depth as shown on Drawing. Includes excavation. | 513.5 | No
7.3 | Fencing of Certified Wood (teak) formed by post of 100 cm embebded 50 cm in concrete footing ,separated 2 meters. Two crash barriers of 8 cm diameter and 240 cm long as shown on Drawing. Rate shall include all metal zip locked, screws and all necessary elements to assembly. | 1027 | m