## Summary
PROJECT: HOARAFUSHI AIRPORT
PASSENGER TERMINAL (R1)
SUMMARY OF BILLS
BILL No. | WORK DESCRIPTION | TOTAL AMOUNT (MVR)
BILL No. 01 | PRELIMINARIES | 0
BILL No. 02 | GROUND WORKS | 0
BILL No. 03 | CONCRETE WORKS | 0
BILL No. 04 | MASONRY AND PLASTERING | 0
BILL No. 05 | ROOFING AND CEILING WORKS | 0
BILL No. 06 | FINISHES | 0
BILL No. 07 | PAINTING | 0
BILL No. 08 | HYDRAULICS & DRAINAGE | 0
BILL No. 09 | ELECTRICAL INSTALLATION | 0
BILL No. 10 | DOORS AND WINDOWS | 0
BILL No. 12 | CONTENGENCIES ( For materials not covered in the BOQ to complete the items )
TOTAL OF SUMMARY OF BILLS |  | 0

## Material & Labour
PROJECT: HOARAFUSHI AIRPORT
PASSENGER TERMINAL (R1)
BILLS OF QUANTITIES
ITEM | DESCRIPTION | UNIT | QTY | LABOUR & MATERIAL
|  |  |  | RATE | TOTAL
BILL No: 01
PRELIMINARIES
1.1 | GENERAL
m3 - cubic metre
m2 - square metre
LM - Linear metre
t - tonnes
incl - including
mm - millimetre
SS - Stainless Steel
GI - Galvanised Iron
Notes
1.2 | SITE MANAGEMENT COSTS
1.2.1 | Allow for all on and off site management cost including Mobilization and Demobilization upon completion of the project | LS | 1 |  | 0
1.2.3 | SERVICES AND FACILITIES
1.2.1 | Allow provision for such as scaffolding, props, and fuel required till the completion of the project, water, power supply, lighting, and fuel AS required etc. to complete the project | LS | 1 |  | 0
1.3 | SITE CLEANING
1.3.1 | Cleaning site before handing over | LS | 1 |  | 0
BILL No: 01- PRELIMINARIES
| TOTAL OF BILL No:01 - Carried over to summary |  |  |  | 0
BILL No: 02
GROUND WORKS
2.1 | GENERAL
Rates shall include for : leveling,. Grading, trimming, compacting to faces of execavation, keep sides plumb, backfilling, consolidating and disposing surplus soil.
2.3 | EXCAVATION
Excavtion quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork and backfill and compaction. Rates shall also include transporting surplus soil away from the site to where directed by the Client's repressentative
2.3.1 | Excavation for Pads and Ground Beams | m3 | 1197 |  | 0
2.5 | FILLING
Rates shall include for : leveling,. Grading, trimming, compacting
2.5.1 | Earthfilling under ground floor slab, Screed as shown in the drawing. | m3 | 388 |  | 0
2.6 | WATER PROOFING MEMBERANE
Rates shall incl. For dressing around & sealing etc.
2.6.1 | Polythene damp proof membrane (500gauge) laid under blinding layer | m2 | 1935 |  | 0
2.6.3 | Water proof membrane to sides of pads, beams and walls below floor level | m2 | 3840 |  | 0
BILL No: 02- GROUND WORKS
| TOTAL OF BILL No:02 - Carried over to summary |  |  |  | 0
BILL No: 03
CONCRETE WORKS
3.1 | GENERAL
Rates shall include for : placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
Grade 15 for blinding Grade 25-30, w/c ratio < 0.60, cement OPC to BS 12 for all structural concrete unless otherwise stated
3.2 | LEAN CONCRETE
Quantity is measured to the edges or concrete foundation members. (mix ratio; 1:2:6)
3.2.1 | 50mm thick lean concrete to bottom of Foundation & Ground Beams | m3 | 54.8 |  | 0
3.3 | REINFORCED CONCRETE
Quantities are measured to the edges of concrete members. (mix ratio; 1:2:4)
Rates shall include: Formwork and Reinforcement as required
3.3.1 | Foundation Pads & Beams including wall foorings | m3 | 170.35 |  | 0
3.4 | Columns | m3 | 15.61 |  | 0
3.6 | Roof Beams | m3 | 12.4 |  | 0
3.7 | Wall Top (WT) | m3 | 1.6595 |  | 0
3.8 | Lintel Beam | m3 | 1.23 |  | 0
BILL No: 03 - CONCRETE WORKS
| TOTAL OF BILL No:03 - Carried over to summary |  |  |  | 0
BILL No: 04
MASONRY AND PLASTERING
4.1 | GENERAL
Rates shall include for: all cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of cutting or leaving holes and openings, as recesses for and building in pipes, conduits, sleeves and similar as required for all trades, leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
4.2 | MASONRY WORKS
4.2.1 | MASONRY WALLS ( BELOW GROUND LEVEL )
4.2.2 | 150mm thick masonry walls (mix ratio; 1:4) using 150 x 150 x 300 Solid blocks | m2 | 111.52 |  | 0
4.3 | EXTERNAL MASONRY WALLS
4.3.1 | 150mm thick masonry walls (mix ratio; 1:4) using 150 x 150 x 300 Solid blocks | m2 | 65.86 |  | 0
4.4 | INTERNAL MASONRY WALLS
4.4.1 | 100mm thick masonry walls (mix ratio; 1:4) using 100 x 150 x 300 Solid blocks | m2 | 170 |  | 0
4.5 | PARTITION WALLS
4.5.1 | 9mm thick Gypsum board Partition walls 2 sided ( Full height ) | m2 | 213.65 |  | 0
4.6 | Supply & install Alluminium framed Glass Partition (W4) as shown in the drawing | m2 | 92 |  | 0
4.7 | PLASTERING BELOW GROUND LEVEL
4.7.1 | Cement plastering as specified masonry walls (ratio; 1:4) | m2 | 223.04 |  | 0
4.8 | EXTERNAL WALLS
4.8.1 | Cement plastering as specified masonry walls & beams(ratio; 1:4) | m2 | 65.86 |  | 0
4.9 | INTERNAL WALLS
4.9.1 | Cement plastering as specified masonry walls & beams(ratio; 1:4) | m2 | 872.21 |  | 0
4.1 | BEAM PLASTER
4.10.1 | Cement plastering as specified masonry walls & beams(ratio; 1:4) | m2 | 53.52 |  | 0
4.11 | FLOORING
4.11.1 | 50mm thick cement screed (mix ratio; 1:4) | m2 | 875.5 |  | 0
4.11.2 | 50mm thick cement screed laid on exterior including steps, ramping etc infront of gates (mix ratio; 1:4) | m2 | 260 |  | 0
4.11.3 | 50mm thick cement screed laid on Toilet ; (mix ratio; 1:4) | m2 | 79.64 |  | 0
4.11.4 | 100mm thick Slab with 06mm bars @ 300 c/c (mix ratio; 1:2:4) | m3 | 11.4 |  | 0
4.12 | PLANTER BOX
4.12.1 | Masonry and Plaster works on Planter box as required 100 x 150 x 300 hollow blocks | sqm | 131 |  | 0
BILL No: 04 - MASONRY AND PLASTER
| TOTAL OF BILL No:04 - Carried over to summary |  |  |  | 0
BILL No: 05
ROOFING AND CEILING WORKS
5.1 | GENERAL
Rates shall include for: plant, tools, bolts, nuts, washers, nail, screws, preservative paint and any other related items not in the List of Material.
(a) Rates shall include for: fair edges, dressing over angle fillets, turning into grooves, all other labors, circular edges, nails, screws and other fixings and laps
(b) Rates shall include for: all fabrication work, welding, marking, drilling for bolts including those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
(c) Rates shall include for all painting and finishing as specified
(d) Rates shall include for fabrication and erection and temporary supports and fixing into position
Fabrication and install the Trusses including all necessary paints specified in the specification.
5.2 | ROOFING WORKS
5.2.1 | T1 | nos | 4 |  | 0
| T2 | nos | 3 |  | 0
| T3 | nos | 2 |  | 0
| T4 | nos | 8 |  | 0
| T5 | nos | 8 |  | 0
5.2.11 | " C "Purlins 50 x 100 or Square pipe | m | 1154 |  | 0
5.3 | ROOF COVERING
5.3.1 | Supply and installation pf Lysaght Roofing Sheets as per the Manufacturer's specification - Upper and Lower Roof | m2 | 1446.45 |  | 0
5.3.2 | 50mm thick single sided glass wool insulation - Upper and Lower Roof | m2 | 1446.45 |  | 0
5.3.3 | PVC net to place 50mm thick single sided glass wool insulation - Upper and Lower Roof | m2 | 1446.45 |  | 0
5.3.4 | Fixing and Application of 25x250mm timber fascia board with Wood Preservative Primer - Upper and Lower Roof | m | 106 |  | 0
5.3.5 | Self Tapping Roofing Screws | nos | 4340
5.3.6 | Fixing of Lysaght Ridge capping | mts | 28 |  | 0
5.3.7 | Fixing of Lysaght flashing | mts | 159.5 |  | 0
5.3.8 | Fixing of Lysaght gutter | mts | 101.6 |  | 0
5.3.9 | Fixing of 100mm dia. PVC down pipes, with elbows and tee as required | nos | 16 |  | 0
5.3.10 | PVC Pipe 100 mm | nos | 16 |  | 0
5.3.11 | PVC Tee 100 mm | nos | 64 |  | 0
5.3.12 | PVC Elbow 100mm | nos | 16 |  | 0
5.4 | EXTENAL CLADDING
Rates shall include for: all fabrications, fixings, temporary supports, grooves, cuttings etc.
5.4.1 | Supply and install Aluminium Cladding system (Minimum 4 mm thick) as shown in the drawing. Colour shall be approved before purchase. | nos | 455.75 |  | 0
5.4 | INTERNAL CEILING
Rates shall include for: all fabrications, fixings, temporary supports, grooves, cuttings etc.
5.4.1 | Supply and install PVC ceiling system as shown in the drawing | m2 | 955.11 |  | 0
5.5.1 | EXTERNAL CEILING
Rates shall include for: all fabrications, fixings, temporary supports, grooves, cuttings etc.
5.5.2 | Cement Board ceiling with timber Framing @ 600 c/c and with application of Wood Primer | m2 | 180 |  | 0
BILL No: 05- ROOFING AND CEILING WORKS
| TOTAL OF BILL No:05 - Carried over to summary |  |  |  | 0
BILL No: 06
FINISHES
6.1 | GENERAL
Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes sanitary fixtures and similar; cleaning down and polishing
6.2 | INTERIOR FLOOR TILING
6.2.1 | Ceramic Floor Tiles laid on the floor as shown in the drawing , as required routing and all inclusive to complete job. | m2 | 875.5 |  | 0
6.3 | EXTERIOR FLOOR TILING
6.3.1 | 300x300mm Non Skid ceramic Floor Tiles laid on includingl. steps, as required routing and all inclusive to complete job. | m2 | 297 |  | 0
6.4 | TOILET FLOOR TILING
6.4.1 | 300x300mm ceramic wall Tiles laid as required grouting and all inclusive to complete job. | m2 | 79.64 |  | 0
6.5 | TOILET WALL TILING
6.5.1 | 300x600mm ceramic wall Tiles laid as required routing and all inclusive to complete job. | m2 | 89.06 |  | 0
6.6 | TOILET PARTITION
6.6.1 | Supply and install Toilet Partitions with Doors (D2) as per the drawing | m2 | 21.34 |  | 0
BILL No: 06 - FINISHES
| TOTAL OF BILL No:06 - Carried over to summary |  |  |  | 0
BILL No: 07
PAINTING
7.1 | WALLS
(a)One undercoat and two coats of exterior emulsion paint on exterior surfaces of masonry walls
(b) One coat of wall sealer and two coats of semi-gloss emulsion paint on interior surfaces of masonry walls and under , after making good with application of wall putty
7.2 | EXTERIOR
7.2.1 | Exterior surfaces of plastered walls (shall include: Wall sealer, Exterior wall putty & Weather proof exterior paint) | m2 | 65.86 |  | 0
7.3 | INTERIOR
7.3.1 | Interior surfaces of plastered walls (shall include: Wall sealer, Interior wall putty & Semi-gloss emulsion paint) | m2 | 872.21 |  | 0
7.4 | BEAMS
7.4.1 | Exterior/ Interior surfaces of beams (shall include: Wall sealer, putty & Weather proof exterior paint) | m2 | 53.52
7.5 | PARTITIONS
7.5.1 | Interior surfaces of partition walls (shall include: Wall sealer, Interior wall putty & Semi-gloss emulsion paint) | m2 | 427.3 |  | 0
7.6 | EXTERIOR CEILING
7.6.1 | Exterior Cemnet board Ceiling (shall include: Wall sealer, Exterior putty & Weather proof exterior paint) | m2 | 180 |  | 0
BILL No: 07 - PAINTING
| TOTAL OF BILL No:07 - Carried over to summary |  |  |  | 0
BILL No: 08
HYDRAULICS & DRAINAGE
GENERAL
(a) Rates shall include for: sockets, running joints, connectors, elbows, junctions, reducers, expansion joints; backnuts and similar; incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes; excavating, laying pipes and backfilling trenches
(b) Contractors shall provide all pumbing work within the site boundries. Plumbing work that may be recuired to carry outside the site boundries are not included under this Contract.
(c)Pipes, Elbows bends sockets, faucets, valve sockets brackets, flush pipes, overflows, plugs and washersetc. to complete the works shall be supplied by the Contractor
8.1 | GROUND LEVEL
8.1.1 | PLUMBING WORK
| Complete construction of supply water pipework including all pipework, fittings, valves, connection to Main Supply (MS) network etc. | item | 11 |  | 0
8.1.2 | Any additional material given in the material list ( Pipes, Elbows bends sockets, faucets, valve sockets etc.) to complete the works shall be supplied by the Contractor ( Refer material list ) | item | 11 |  | 0
8.1.3 | Complete construction of discharge pipework , work including all pipework, vent pipework, fittings, valves, inspection chambers etc. to complete the works shall be supplied by the Contractor | item | 11 |  | 0
8.1.4 | Any additional material given in the material list ( Pipes, Elbows bends sockets, faucets, valve sockets etc.) to complete the works shall be supplied by the Contractor ( Refer material list ) | item | 11 |  | 0
8.5 | SANITARY FIXTURES & ACCESSORIES
Sanitary fixtures complete shall provide with all fittings, elbowsg, bends, etc. as necessary to complete the job.
8.5.1 | Water closet complete | nos | 12 |  | 0
8.5.2 | Wash Basins complete | nos | 11 |  | 0
8.5.3 | Urinal complete | nos | 5 |  | 0
8.5.4 | Floor waste with water trap | nos | 18 |  | 0
8.5.5 | Basin taps | nos | 11 |  | 0
8.5.6 | Muslim showers | nos | 12 |  | 0
8.5.7 | Water taps | nos | 11 |  | 0
8.5.8 | Mirror units | nos | 11 |  | 0
8.5.9 | Soap Despenser | nos | 24 |  | 0
8.5.10 | Hand Dryer | nos | 7 |  | 0
8.5.11 | Paper holder | nos | 11 |  | 0
8.5.12 | Valve | nos | 51 |  | 0
BILL No: 080 - HYDRAULICS & DRAINAGE
| TOTAL OF BILL No: 08 - Carried over to summary |  |  |  | 0
BILL No: 09
ELECTRICAL INSTALLATION
9.1 | GENERAL
(a) Rates shll include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackates, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates for electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
(d) A light fixtures is measured as one point; switches end of wire is not included in the quantity.
(e) A point wiring for power points is measured (regardless of 1 gang, 2 gang ect) as one point for each socket outlet; other end of wire is not included in the quantity
(f) Rates shall include for supply and complete installation
(g) Contractor shall provide all cabling, wiring, conduites, etc. outside the site boundries are not included under this Contract.
9.2 | ELECTRICAL BOARDS
Complete installation, including for all cabling, wiring, connections, earthing, painting, testing and similar of:
9.2.1 | Distribution board with all necessary accessories to complete the job. | nos | 3 |  | 0
9.3 | ELECTRICAL WIRING
Complete wiring with copper conductors cable in conductor cable in conduits in walls and in casing on soffits of slab as similar of:
9.3.1 | Wiring to light fixtures | points | 162 |  | 0
9.3.2 | Wiring to power points | points | 81 |  | 0
9.3.9 | Other material required to completethe job | LS | 1 |  | 0
9.4 | LIGHT AND SWITCHES AND SOCKET OUTLETS
9.4.1 | 150 dia or square ceiling recessed light led type ( Office, ) | nos | 25 |  | 0
9.4.2 | 90mm dia ceiling recessed light led type (Toilets ) | nos | 20 |  | 0
9.4.3 | 300x1200 ceiling down light rectangular type - Arrival, Departure & Check-in | nos | 51 |  | 0
9.4.4 | Out door ceiling recessed lights | nos | 29 |  | 0
9.4.5 | Emergency Light | nos | 6 |  | 0
9.4.6 | 1x 1 Switch ( single gang ) | nos | 20 |  | 0
9.4.7 | 2x 1 Switch ( double gang ) | nos | 12 |  | 0
9.4.8 | 3x 1 Switch ( three gang ) | nos | 8 |  | 0
9.4.9 | 4x 1 Switch ( four gang ) | nos | 15 |  | 0
9.4.10 | 2x1 socket outlet 13 Amp ( floor mount ) | nos | 5 |  | 0
9.4.11 | 2x1 socket outlet 13 amp ( 250mm above F.floor level ) | nos | 45 |  | 0
9.4.12 | 1x1 socket outlet 15 amp ( for air condition ) | nos | 25 |  | 0
9.4.13 | 1x1 socket outlet 15 amp ( for emergency light ) | nos | 6 |  | 0
9.5 | AIRCONDITIONING & VENTILATION
9.5.1 | Fan Control | nos | 31 |  | 0
9.5.2 | Ceiling Fans | nos | 31 |  | 0
9.5.3 | AC 24000 BTU | nos | 9 |  | 0
9.5.4 | AC 18000 BTU | nos | 2 |  | 0
9.5.5 | AC 12000 BTU | nos | 11 |  | 0
9.6 | TELEPHONE & NETWORK PONTS
9.6.1 | Telephone outlets ( Direct ) ( Airline ofices & Admin Office ) | points | 3 |  | 0
9.6.2 | Intecom ( Office blocks, Near X-ray machine, Arrival & Check - In - Counters ) | points | 18 |  | 0
9.6.3 | Data outlets ( Office blocks & Check - In - Counters ) | points | 26 |  | 0
9.6.4 | Telephone distribution box | nos | 1 |  | 0
9.6.5 | TV points ( Cable TV ) | nos | 3 |  | 0
BILL No: 09 ELECTRICAL INSTALLATION
| TOTAL OF BILL No:09 - Carried over to summary |  |  |  | 0
BILL No: 10
DOORS AND WINDOWS
10.1 | GENERAL
(a) Rates shll include for:Locks, hinges, Latcches, screws, nails, bolts, nuts, all labour and material as required with all incidental accessories
Supply and install with all accessories as per the drawing & specification
10.2 | EXTERNAL
10.2.1 | ME1 | nos | 2 |  | 0
10.2.2 | ME3 | nos | 2 |  | 0
10.2.3 | ME4 | nos | 1 |  | 0
10.2.4 | D7 | nos | 1 |  | 0
10.2.5 | D8 | nos | 1 |  | 0
10.2.6 | W6 | nos | 4 |  | 0
10.2.7 | F1 | nos | 13 |  | 0
10.2.8 | F2 | nos | 2 |  | 0
10.3 | INTERNAL
10.3.1 | D4 | nos | 12 |  | 0
10.3.2 | D6 | nos | 6 |  | 0
10.3.3 | D3 | nos | 1 |  | 0
10.3.4 | D7 | nos | 1 |  | 0
10.3.5 | ME2 | nos | 2 |  | 0
10.3.6 | ME5 | nos | 1 |  | 0
10.3.7 | W1 | nos | 1 |  | 0
10.3.8 | W2 | nos | 1 |  | 0
10.3.9 | W3 | nos | 1 |  | 0
10.3.10 | F2 | nos | 2 |  | 0
10.3.11 | Aluminium Grill at F1 - Air side | nos | 10 |  | 0
10.3.12 | Aluminium Grill at F2 - Air side | nos | 2 |  | 0
10.3.13 | Roller Shutter H = 1800, W =1200 with dust Curtain | nos | 2 |  | 0
BILL No: 10 DOORS AND WINDOWS
| TOTAL OF BILL No:10 - Carried over to summary |  |  |  | 0