## Summary
SUMMARY OF BILL OF QUANTITIES
NO | BILL | AMOUNT (MRF)
1 | PRELIMINARIES | 0
2 | COLD STORAGE | 0
3 | BLAST FREEZER | 0
4 | FISH HANDLING/MOBILE EQUIPMENTS | 0
5 | POWER GENERATION AND DISTRIBUTION | 0
6 | BUILDING AND ASSOCIATED SURROUNDINGS | 0
13 | ADDITION | 0
14 | OMMISION | 0
| SUB TOTAL | 0
| GST | 0
| GRAND TOTAL | 0

## BoQ
Item | Description | Qty | Unit | Material Cost
|  |  |  | U/C (MVR) | T/C (MVR)
BILL No: 01
PRELIMINARIES
1.1 | GENERAL NOTES
1 | Abbreviations
m - metre
Nos - numbers
m³ - cubic metre
m² - square metre
kg - kilogram
incl - including
mm - millimetre
dia - diametre
SS - Staiinless Steel
GI - Galvinised Iron
1.2 | SITE MANAGEMENT COSTS
| Allow for all on and off site management costs including costs of foreman and assistants, temporary services, telephone, fax, hoardings, fences and similar items. |  | Item
1.3 | SITE ESTABLISHMENT
| Allowance for mobilization |  | Item
1.4 | TEMPORARY WORKS
| Allowance for temporary works |  | item
1.5 | SITE DEMOBILIZATION
| Allowance for demobilization |  | item
1.6 | SPARES AND CONSUMABLES
| Allowance for Mechanical and Electrical |  | item
1.7 | CONTRACTORS OVERHEADS
| Allowance for Contractors and Overheads |  | item
1.8 | TECHNOLOGY & ATTENDANCE
| Allowance for Technology and Attendance |  | item
1.9 | SIGN BOARD
| Allow for sign board. |  | Nos.
2 | SAFETY ON SITE
| Safety on site:- Providing and maintaining adequate safety measure on site for all workers and all authorized visitors on site and protecting adjoining properties and people against falling objects or other with regard to the construction works |  | Item
| BILL No: 01 - PRELIMINARIES |  |  |  | 0
TOTAL OF BILL No: 01 - Carried over to summary
BILL No: 02
COLD STORAGE
2 | GENERAL
Mechanical equipments required for the operation of the cold store as per the specifications
2.1 | MECHANICAL EQUIPMENTS
1 | Insulated panels |  | Item |  | 0
2 | Manual doors |  | Item |  | 0
3 | Automatic roller doors & controls |  | Item |  | 0
4 | Underfloor insulation & vapour barrier |  | Item |  | 0
5 | Coldstore Vestibule Floor Heating |  | Item |  | 0
6 | Evaporator, drains and supports |  | Item |  | 0
7 | Refrig control and isolating valves |  | Item |  | 0
8 | Ductwork and access doors |  | Item |  | 0
9 | Evaporator fans |  | Item |  | 0
10 | Chart Recorder |  | Item |  | 0
| BILL No: 02 - COLD STORAGE |  |  |  | 0
TOTAL OF BILL No: 02 - Carried over to summary
BILL No: 03
BLAST FREEZER
3.1 | GENERAL
Equipments required for the blast freezer as per the specifications
0
3.2 | EQUIPMENTS |  | 0
1 | Compressor Unit |  | Item |  | 0
2 | Condenser |  | Item |  | 0
3 | Evaporator |  | Item |  | 0
4 | Expansion Valve |  | Item |  | 0
5 | Electrical Control Box |  | Item |  | 0
6 | Fish Racks (Shelves) |  | Item |  | 0
7 | Additional Supply |  | Item |  | 0
| BILL No: 03 - BLAST FREEZER |  |  |  | 0
TOTAL OF BILL No: 03 - Carried over to summary
BILL No: 04
FISH HANDLING/MOBILE EQUIPMENTS
4.1 | GENERAL
Equipments required for fish handling like cold storage containers and cranes and equipments used for product movements
4.2 | FISH HANDLING
1 | Cold Storage Containers | 200 | Item |  | 0
2 | Jib Cranes | 1 | Item |  | 0
4.3 | MOBILE EQUIPMENTS
1 | Diesel Forklifts | 1 | Item |  | 0
2 | Electric Forklifts | 1 | Item |  | 0
| BILL No: 04 - FISH HANDLING/MOBILE EQUIPMENTS |  |  |  | 0
TOTAL OF BILL No: 04 - Carried over to summary
BILL No: 05
POWER GENERATION AND DISTRIBUTION
5.1 | GENERAL
Power generating facilities and refrigeration complexes are required.
5.2 | POWER GENERATING FACILITY
1 | Electrical Distribution, MCCs |  | Item |  | 0
5.3 | REFRIGERATION COMPLEX
1 | Electrical Distribution, MCCs |  | Item |  | 0
5.4 | EXISTING FACTORY
1 | Electrical Distribution, MCCs |  | Item |  | 0
| BILL No: 05 - POWER GENERATION AND DISTRIBUTION |  |  |  | 0
TOTAL OF BILL No: 05 - Carried over to summary
BILL No: 06
BUILDING AND ASSOCIATED SURROUNDINGS
6.1 | GENERAL
Works required for building and associated surroundings
6.1 | BUILDING AND ASSOCIATED WORKS
1 | Cold Storage Buildings - lighting, plumbing & services |  | Item |  | 0
2 | Paving of roads |  | Item |  | 0
3 | Paving works of dirt roads |  | Item |  | 0
| BILL N0: 06 - BUILDING AND ASSOCIATED SURROUNDINGS |  |  |  | 0
TOTAL OF BILL No: 06 - Carried over to summary
BILL No: 13 - ADDITION
ADDITION
Include in this part, items, that the contractor need to include, in addition, to the items mentioned in the bills.
| BILL No: 13 - ADDITION |  | 0 |  | 0
TOTAL OF BILL No: 13 - Carried over to summary
BILL No: 14
OMMISION
Include in this part, items, that the contratctor need to exclude from any of the bills.
| BILL No: 13 - ADDITION |  | 0 |  | 0
TOTAL OF BILL No: 13 - Carried over to summary