## SUM
PROJECT-LH NAIFARU WATER SUPPLY SCHEME
EMPLOYER-Ministry of Environment and Energy
Bill Of Quantity
SUMMARY
No. | Description | Amount
MVR.
1 | General | 0
2 | Network | 0
3 | Ro Building | 0
4 | Supply & Installation | 0
5 | RTP Clear water tank | 0
SUB TOTAL (A) |  | 0
6 | CONTINGENCIES (10 % OF SUB TOTAL (A) | 0
| TOTAL MVR =SUB TOTAL (B)+6 | 0
TOTAL USD

## Gen
PROJECT-LH NAIFARU WATER SUPPLY SCHEME
EMPLOYER-Ministry of Environment and Energy |  |  |  | BILL#01 GENERAL ITEMS
Item | Item Description | Unit | Qty | Rate | Amount
All necessary materials required to perform the work to be provided by the contractor to the respective sites.
Any contractual or specified requirement not itemized hereunder, shall deemed to be included in the rates of the other bill items.
1.001 | All bonds and guarantees in accordance with the Conditions of Contract | Item | 1 |  | 0
1.002 | All insurance policies in accordance with the Conditions of Contract | Item | 1 |  | 0
1.003 | Establishment of Engineer's main site office and removal on completion as specified in Particular specifications. | Item | 1 |  | 0
1.004 | Maintain Engineer's main site office as specified in Particular specifications. | Months | 18 |  | 0
1.005 | Project management costs including on and offsite management costs, temporary services, transport , hoardings and similar | Months | 18 |  | 0
1.006 | Progress photographs as specified in Particular Specifications and monthly progress reports. | Months | 18 |  | 0
1.007 | Preparation and submission of As built drawings . | Item | 1 |  | 0
1.008 | Carry Survey of each plot and prepare site layout and water supply connection meter location and obtain Homeowner & Contractor agreement for each house | Item | 1
1.009 | Dewatering as required as per EPA regulation | Item | 1
1.01 | Provision of Sign Boards for all sites as per Engineers Approval | Item | 1
1.011 | Allow for Environmental Management as per EIA recommendations | Months | 18
TOTAL CARRIED TO GRAND SUMMARY |  |  |  |  | 0

## Network
PROJECT-LH NAIFARU WATER SUPPLY SCHEME
| EMPLOYER-Ministry of Environment and Energy |  |  |  | BILL#02 DISTRIBUTION NETWORK
| Item No | Description | Unit | Qty | Rate | Amount
Note:- Rates shall cover the value comprising supply of all necessary material, excavation, laying and aligning in position, fixing and compacted backfilling to PE pipes, fittings, specials, accessories, DI valves, joint rings, lubricant, gaskets, nuts & bolts, washers, mastic material and polyethylene sleeving to PE pipes, maker tapes pressure testing, flushing and disinfection as corresponding to the relevant item description and complying to the drawings and specifications except the cost of supplying these items
Note:- All pipes and fittings shall be supplied with joint rings, lubricant, gaskets, nuts & bolts, washers, mastic material incl. primer, profiling compound, mastic paint (inner), protection tape (outer wrap) and all other associated material as stated in the drawings and specifications and required for complete installation
Note:- Rates shall have to be provided to cater all associated cost of procuring and supplying materials from the list of accepted manufacturers provided in the contract data and or specification, who shall be later subjected to the Employer's approval
Note:- Rates shall cover the entire cost of executing the Works as per the drawings and specifications stipulated under the Contract. No further cost is allowed for any items of works which are depicted in the drawings and specifications but no separate item is given in the BOQ
Note:- Rates shall comprise the cost of arranging and providing all required facilities for preshipment inspection as per the special provisions and or specifications, complying with all relevant conditions applicable for inspecting manufacturing process, agency fees, producing necessary documents relevant for the shipment, cost of all insurances, cost of opening LOC, safety precautions during shipment and inland transportation, paying all taxes, duties, cost of demarages and such other costs of clearances as necessary
Note:- Rates shall incorporate the cost of loading and unloading, storing as per the specification, labeling with indelible ink, handling and shifting the layers, positions and places of the storage as directed by the Engineer, transporting material to the site, facilitating the Engineer for material inspection at stores, producing documents of shipment and clearances
CESMM3 CLASS I
PIPE WORK – PIPES
SUPPLY & LAYING AND FIXING OF HDPE PIPES AND FITTINGS TO THE DISTRIBUTION SYSTEM
Note:- Rate to be included for breaking out asphalt, concrete or any other artificially hard material layer where necessary, excavation, shoring and dewatering where necessary, delivering material to the site, trimming, installation of polythene sleeving, laying, cutting grinding jointing of pipes, Suitable bedding materials compacted backfilling with selected excavated material up to a level up to the finished surface of the reinstatement, match with the road reinstatement disposal of surplus excavated materials, laying of marker tape, cleaning and disinfections, pressure testing of HDPE pipes
Note:- Pipes not in Trenches shall cover the whole of the works other than the works stated in Class L. Rates shall comprise delivering, placing in position, fixing to the supports with Pipe brackets as per the Drawings and Specifications of the Pipes, excavation, filling with imported soil, dewatering, upholding sides of excavation where necessity prevails as per the site condition
HDPE (PE 100-SDR 11) Pipes with buts fusion welded joints in trenches depth not exceeding 1.5 m.
2.001 | 2.001 | 63 mm dia. pipes | m | 11600 |  | 0 | 11620
2.002 | 2.002 | 90 mm dia. pipes | m | 3200 |  | 0 | 3300
2.003 | 2.003 | 110 mm dia. pipes | m | 2000 |  | 0 | 2097
2.004 | 2.004 | 160 mm dia. Pipes | m | 230 |  | 0
2.005 | 2.005 | 225 mm dia. Pipes | m | 45
|  | HDPE (PE 100-SDR 11) Pipes with buts fusion welded joints in trenches depth 1.5 m –2.0 m. |  |  |  | 0
2.006 | 2.006 | 63 mm dia. pipes | m | 30 |  | 0
2.007 | 2.007 | 90 mm dia. pipes | m | 100 |  | 0
2.008 | 2.008 | 110 mm dia. pipes | m | 100 |  | 0
2.009 | 2.009 | 160 mm dia. Pipes | m | 20 |  | 0
2.01 | 2.01 | 225 mm dia. Pipes | m | 10
|  | CESMM3 CLASS J |  |  |  | 0
|  | PIPE WORK – FITTINGS AND VALVES |  |  |  | 0
|  | FIXING OF FITTINGS |  |  |  | 0
|  | Note:- Rates shall cover the cost of Supply, laying and fixing in position of all PE repair sockets and such DI couplings which are not indicated in the drawings but laid and fixed to the contractor's discretion |  |  |  | 0
|  | Note:- Rates of Fittings and Valves shall cover the extra cost of such Fittings and Valves which are not in trenches as per the detail drawing. |  |  |  | 0
|  | HDPE Socketed bends-63 mm dia. |  |  |  | 0
2.011 | 2.011 | 45 deg. bend | nr | 18 |  | 0
2.012 | 2.012 | 90 deg. Bend | nr | 49 |  | 0
|  | HDPE Socketed bends-90 mm dia. |  |  |  | 0
2.013 | 2.013 | 45 deg. bend | nr | 1 |  | 0
2.014 | 2.014 | 90 deg. Bend | nr | 7 |  | 0
|  | HDPE Socketed bends-110 mm dia. |  |  |  | 0
2.015 | 2.015 | 45 deg. bend | nr | 3 |  | 0
2.016 | 2.016 | 90 deg. Bend | nr | 3 |  | 0
|  | HDPE Socketed bends-160 mm dia. |  |  |  | 0
2.017 | 2.017 | 45 deg. bend | nr | 1 |  | 0
2.018 | 2.018 | 90 deg. Bend | nr | 1 |  | 0
|  | HDPE Socketed bends-225 mm dia. |  |  |  | 0
2.019 | 2.019 | 45 deg. bend | nr | 1 |  | 0
2.02 | 2.02 | 90 deg. Bend | nr | 2 |  | 0
|  | NOTE:- SUPPLY, LAYING AND JOINTING OR FIXING OF HDPE PIPES, SPECIALS, FITTINGS AND VALVES AT JUNCTIONS. |  |  |  | 0
|  | Note:- Rate to be included for additional safety measures, traffic controlling, excavation, shoring, dewatering, preparation of surfaces, disposal of excavated materials, upholding sides of excavation, compacted backfilling for fittings and all necessary items of work required for completion of work as per the drawings and specifications. |  |  |  | 0
|  | Note:- Rates for Valves shall also include supplying cost of Nuts and Bolts, Washers, mastic protection for exposed bolts and stem, isolating cocks and operating keys and such other accessories as per the specifications |  |  |  | 0
|  | FITTINGS FOR PIPE WORK |  |  |  | 0
|  | HDPE Socketed Tee |  |  |  | 0
2.021 | 2.021 | 63 x 63 mm | nr | 118 |  | 0
2.022 | 2.022 | 90 x 63 mm | nr | 40 |  | 0
2.023 | 2.023 | 90 x 90 mm | nr | 27 |  | 0
2.024 | 2.024 | 110 x 63 mm | nr | 45 |  | 0
2.025 | 2.025 | 110 x 90 mm | nr | 8 |  | 0
2.026 | 2.026 | 110 x 110 mm | nr | 10 |  | 0
2.027 | 2.027 | 160 x 63 mm | nr | 6
2.028 | 2.028 | 160 x 90 mm | nr | 1
2.029 | 2.029 | 160 x 110 mm | nr | 1
2.03 | 2.03 | 160 x 160 mm | nr | 3
2.031 | 2.031 | 225 x 160 mm | nr | 1
|  | HDPE Reducing socket |  |  |  | 0
2.032 | 2.032 | 90 x 63 mm | nr | 28 |  | 0
2.033 | 2.033 | 110 x 63 mm | nr | 5 |  | 0
2.034 | 2.034 | 110 x 90 mm | nr | 11 |  | 0
2.035 | 2.035 | 160 x 63 mm | nr | 5
2.036 | 2.036 | 160 x110 mm | nr | 4
2.037 | 2.037 | 160 x 110 mm | nr | 1
|  | HDPE End cap |  |  |  | 0
2.038 | 2.038 | 63 mm dia. | nr | 26 |  | 0
2.039 | 2.039 | 90 mm dia. | nr | 1 |  | 0
|  | VALVES |  |  |  | 0
|  | Rates shall cover the cost of storage, delivery to the Site, laying and fixing in position of DI/HDPE Fittings |  |  |  | 0
|  | Rate to be included for additional safety measures, traffic controlling, excavation, shoring, dewatering, preparation of surfaces, disposal of excavated materials, upholding sides of excavation, compacted backfilling for fittings and all necessary items of work required for completion of work as per the drawings and specifications. |  |  |  | 0
|  | Rates for fixing Valves shall also include fixing of fittings and supplying cost of Nuts and Bolts, Washers, mastic protection for exposed bolts and stem, isolating cocks and operating keys and such other accessories as per the specifications |  |  |  | 0
|  | VALVES |  |  |  | 0
|  | Sluice Valves for HDPE mains as per the drawing |  |  |  | 0
2.04 | 2.04 | 50 mm dia. Flanged Sluice Valves. | nr | 3 |  | 0
2.041 | 2.041 | 80 mm dia. Flanged Sluice Valves | nr | 12 |  | 0
2.042 | 2.042 | 100 mm dia. Flanged Sluice Valves | nr | 3 |  | 0
2.043 | 2.043 | 200 mm dia. Flanged Sluice Valves | nr | 2
AIR VALVES
Single Orifice Air valves as per the drawing.
2.044 | 2.044 | 25mm single air valve | nr | 5
|  | WASHOUT VALVES |  |  |  | 0
|  | Valve for Washouts as per the drawing. |  |  |  | 0
2.045 | 2.045 | 50 mm dia DI double Flanged Washout valve Rate To be Include for All Necessary Fittings. As per the Details Drawing & Specification | nr | 4 |  | 0
|  | CESMM3 CLASS K |  |  |  | 0
|  | PIPE WORK ANCILLARIES |  |  |  | 0
|  | CONSTRUCTION OF VALVE CHAMBERS AND PIPE WORK ANCILLARIES |  |  |  | 0
|  | Note:- Rate to be included for excavation, preparation of surfaces, disposal of excavated materials, upholding sides of excavation, backfilling, compacted granular filling, reinstatement to damaged carriageways and road shoulders, 300 x 300 x 200mm porous material fill, concrete, reinforcement, formwork, forming holes, joints and finishes, dewatering, MS Steps, fixing manhole cover including frame, chamber cover, dismantling joint or flange adaptors if required and other related items as indicated in the drawings and specification |  |  |  | 0
|  | Note:- Depth of the chamber is measured from top of the chamber cover to top of the base slab |  |  |  | 0
|  | Sluice Valve Chamber as shown in detail Drawing No: Naifaarru/STD/04 |  |  |  | 0
2.046 | 2.046 | Sluice valve chamber depth not exceeding 1.5m | nr | 20 |  | 0
25mm Dia Single Orifice Air Valve Chamber - Type A for washout as shown in detail Drawing No: Naifaarru/STD/06
|  | Single Orifice Air valve chamber depth not exceeding 1.5m | nr | 5
|  | Outlet Chamber - Type A for washout as shown in detail Drawing No: Naifaarru/STD/06 |  |  |  | 0
2.048 | 2.048 | 50mm Dia Washout chamber Type A , depth not exceeding 1.5m | nr | 4 |  | 0
|  | Marker Posts |  |  |  | 0
2.049 | 2.049 | Supply and installation of valve indicator blocks at each chamber and surface box location, complete as shown in drawing No: Naifaarru/STD/07 | nr | 29 |  | 0
|  | Fire Hydrant |  |  |  | 0
2.05 |  | Supply and installation of valve indicator blocks at each chamber and surface box location, completeAs per the Specification & as shown in drawing No: Naifaarru/STD/09 | Nr | 4 |  | 0
|  | CESMM3 CLASS L |  |  |  | 0
|  | PIPE WORK – SUPPORTS AND PROTECTION, ANCILLARIES TO LAYING AND EXCAVATION |  |  |  | 0
|  | Note:- Rate of excavations to be included for safety measures, excavation, preparing of surfaces, disposal of excavated material, upholding sides of excavation and dewatering. |  |  |  | 0
|  | Note:- Rate of backfilling shall comprise the cost of filling material, transporting, storing at or adjacent to the site, compaction as per the drawings and specifications and filling to additional excavations over the theoretical volume specified |  |  |  | 0
|  | Note:- Excavations and backfilling to excavations are measured to the net theoretical volume required, no additional payment is allowed for volume over excavated, providing working spaces and bulking conditions of the backfilling materials |  |  |  | 0
|  | Note:- Excavation of soft rock, artificial hard material, rock within the profile of other material are not considered as excavation of rock |  |  |  | 0
|  | Note:- Depth of the rock excavation is considered to the invert of the pipe bore only |  |  |  | 0
|  | Note:- Backfilling to trenches are measured along the centerline of the Pipe bore |  |  |  | 0
|  | Note:- Backfilling to trenches are not paid unless the depth of the filling is up to the required depth of the relevant backfilling strata as shown in the drawings |  |  |  | 0
|  | Note:- Rates of Stools and Thrust Blocks deemed to include for additional costs under submerged conditions |  |  |  | 0
|  | Note:- Rates for precast pipe supports not in trenches at lagoon crossing shall cover the cost of supply and fabricating of reinforcements, additional widths and depths to suit the site conditions, transporting to the relevant position, storing at site, lifting and driving for support blocks, excavating, backfilling, upholding the sides of excavations and dewatering where necessary |  |  |  | 0
2.051 | 2.051 | Extras to excavation in trenches and chambers and concrete pipe supports excavation of rock - Explosive blasting | m3 | 1500 |  | 0
2.052 | 2.052 | Extras to excavation in trenches and chambers, excavation of rock - Non explosive blasting | m3 | 50 |  | 0
|  | STOOLS AND THRUST BLOCKS |  |  |  | 0
2.053 | 2.053 | Concrete grade 20 block support for Sluice valve | nr | 20 |  | 0
2.054 | 2.054 | Concrete grade 20 block support for Tee for Washout valve | nr | 4 |  | 0
2.055 | 2.055 | Concrete grade 20 block support for Tees for Air valve | nr | 5 |  | 0
2.056 | 2.056 | Concrete grade 20 thrust blocks for Bends in PVC main | nr | 86 |  | 0
2.057 | 2.057 | Concrete grade 20 thrust blocks for 63mm dia, PVC Tees | nr | 118 |  | 0
2.058 | 2.058 | Concrete grade 20 thrust blocks for 90mm dia, PVC Tees | nr | 67 |  | 0
2.059 | 2.059 | Concrete grade 20 thrust blocks for 110mm dia, PVC Tees | nr | 63 |  | 0
2.06 | 2.06 | Concrete grade 20 thrust blocks for 160mm dia, PVC Tees | nr | 11 |  | 0
2.061 | 2.061 | Concrete grade 20 thrust blocks for 225mm dia, PVC Tees | nr | 1 |  | 0
2.062 | 2.062 | Concrete grade 20 thrust blocks for PVC end caps | nr | 27
2.063 | 2.063 | Concrete grade 20 thrust blocks for PVC Reducing socket | nr | 54
Rainwater Collection
2.064 | 2.064 | Rainwater Collection network including first flush, Gate valves, Conveyance pipline, sumps and acillaries | Item | 1
|  | House Connection |  |  |  | 0
|  | Provision of house connections from themain pipe up to properties boundary As per the Specification & Deatails Drawing No:-Naifaru/STD/12 |  |  |  | 0
2.065 | 2.065 | Main Line to Boundary length between 0-2m | nr | 1200
2.066 | 2.066 | Main Line to Boundary length between 2-5m | nr | 507
| TOTAL CARRIED TO GRAND SUMMARY |  |  |  |  | 0

## RO Building
PROJECT-LH NAIFARU WATER SUPPLY SCHEME
| EMPLOYER-Ministry of Environment and Energy |  |  |  | BILL#3 RO Plant Building
| Item No | Description | Unit | Qty | Rate | Amount
SECTION - D
EXCAVATION AND EARTHWORK
Clearing
3.001 | 3.001 | Clear site of all vegetation to an extent of 3.0m away from outer walls. | m2 | 350 |  | 0
|  | Excavation and Earth Work |  |  |  | 0
3.002 | 3.002 | Excavating top soil for preservation an average depth 150 mm. | m2 | 160 |  | 0
|  | Rate to be included for levelling, compacting & dewatering where necessary. |  |  |  | 0
3.003 | 3.003 | Excavating pits for column in any material other than rock, with depth not exceeding 1.00m from ground level. | m3 | 61.9 |  | 0
3.004 | 3.004 | Extra over item No. 03 for excavation in rock blasting prohibited (provisional Qty). | m3 | 3 |  | 0
|  | Disposal |  |  |  | 0
3.005 | 3.005 | Disposal of excavated material away from site as directed by the Engineer. | m3 | 39 |  | 0
3.006 | 3.006 | Disposal of rock away from site as directed by the Engineer. | m3 | 3 |  | 0
|  | Filling |  |  |  | 0
3.007 | 3.007 | Backfilling to column pits with selected excavated material up to a maximum thickness of 450mm compacted well rammed in layers of 150mm thick. | m3 | 27 |  | 0
3.008 | 3.008 | Filling under floors with selected excavated material up to a maximum thickness of 450mm, watered, compacted and well rammed in layers of 150mm thick. | m3 | 12 |  | 0
3.009 | 3.009 | Filling under floors with imported material up to a maximum thickness of 450mm, watered, compacted and well rammed in layers of 150mm thick. | m3 | 10 |  | 0
|  | SECTION - F |  |  |  | 0
|  | CONCRETE WORKS |  |  |  | 0
|  | Reinforcement & formwork measured separately unless otherwise stated. |  |  |  | 0
|  | SECTION F1 - INSITU CONCRETE |  |  |  | 0
|  | Mass Concrete - Grade 15 |  |  |  | 0
3.01 | 3.01 | In 50mm thick screed under column and staircase footing. | m2 | 62.96 |  | 0
3.011 | 3.011 | In 100mm thick Floor Concrete | m3 | 15.2 |  | 0
|  | Reinforced Concrete Grade 25 |  |  |  | 0
3.012 | 3.012 | In bases of columns. | m3 | 23.88 |  | 0
3.013 | 3.013 | In column shaft upto finish floor level. | m3 | 0.45 |  | 0
3.014 | 3.014 | In column shaft from finish floor level to Roof level. | m3 | 2.1 |  | 0
3.015 | 3.015 | In 150mm thick roof slab. | m3 | 36.89 |  | 0
3.016 | 3.016 | In 300 x 300mm Grade beams. | m3 | 8.24 |  | 0
3.017 | 3.017 | In 200 x 500 mm roof Slab beams. | m3 | 1.65 |  | 0
3.018 | 3.018 | In 200 x 400 mm roof slab beams. | m3 | 5.75 |  | 0
3.019 | 3.019 | In 200 x 200mm lintels at Doors & Windows (Rate to be included for necessary reinforcement, Form Work .) | m | 13 |  | 0
|  | SECTION F2 - FORM WORK |  |  |  | 0
|  | Form work in approved timber. Rate to include for splayed edges, battens, strutting, bolting, wedging, easing, striking and removal |  |  |  | 0
|  | Rough Finish Formwork |  |  |  | 0
3.02 | 3.02 | To 50mm high sides of screed. | m | 108.8 |  | 0
3.021 | 3.021 | To not exceeding 400mm high sides of column bases. | m2 | 49.25 |  | 0
3.022 | 3.022 | To sides of 225x225mm column shaft upto finish floor level. | m2 | 7.5 |  | 0
|  | Wrought Finish Formwork |  |  |  | 0
|  | Ground Floor to Roof |  |  |  | 0
3.023 | 3.023 | To sides of 200 x 200mm column shaft from finish floor level to first floor level. | m2 | 9.6 |  | 0
3.024 | 3.024 | To sides of 200 x 300mm column shaft from finish floor level to first floor level. | m2 | 24 |  | 0
3.025 | 3.025 | To soffit of Roof Slab. | m2 | 210 |  | 0
3.026 | 3.026 | To 200mm hight edge of Roof slab. | m | 62 |  | 0
3.027 | 3.027 | To sides and soffits of Roof Slab beams. | m2 | 91.7 |  | 0
3.028 | 3.028 | To sides and soffit of Grade Beams | m2 | 82.43 |  | 0
|  | SECTION F3 - REINFORCEMENT IN INSITU CONCRETE |  |  |  | 0
|  | Tor/Mild steel rod reinforcement cut to lengths, bent to shape, placed in position and tied with GI wire |  |  |  | 0
|  | Mild steel |  |  |  | 0
3.029 | 3.029 | Bar diameter 8mm | Kg | 500 |  | 0
|  | Tor Steel |  |  |  | 0
3.03 | 3.03 | Bar diameter 10mm | t | 1.8 |  | 0
3.031 | 3.031 | Bar diameter 16mm | t | 3 |  | 0
|  | SECTION - G |  |  |  | 0
|  | MASONRY WORKS |  |  |  | 0
|  | SECTION G1 - BRICK WORK / BLOCK WORK |  |  |  | 0
3.032 | 3.032 | 225mm thick vertical straight, common brick walls in cement and sand mortar 1:6. | m2 | 177.4 |  | 0
|  | METAL WORK |  |  |  | 0
|  | Doors and Windows |  |  |  | 0
|  | All materials supplied, fabricated and fixed in position complete as shown in detail on drawing and as specified. Provision shall be made for breaking walls/ concrete floors whenever necessary and making good as directed. |  |  |  | 0
|  | Rate to be included for supply and fix heavy quality brass ironmongery, including fixing with brass screws to match. |  |  |  | 0
|  | Ground Floor |  |  |  | 0
3.033 | 3.033 | Steel frame with Louvers (Type W1) of size 1000 x 1000 mm, Rate to be included all necessary fittings complete as shown in detail on drawing and as specified. | nr | 6 |  | 0
3.034 | 3.034 | Steel Door with Louvers (Type D2) of size 2000x800mm , Rate to be included all necessary fittings complete as shown in detail on drawing and as specified. | nr | 1 |  | 0
3.035 | 3.035 | Steel Door with Louvers (Type D1) of size 2500x2000mm , Rate to be included all necessary fittings complete as shown in detail on drawing and as specified. | nr | 2 |  | 0
|  | SECTION S |  |  |  | 0
|  | ELECTRICAL INSTALLATIONS |  |  |  | 0
|  | Note: All conduit pipes/ cables are to be concealed in walls and ceiling. Wiring to be completed up to M.C board. Rate to be included for necessary testing. |  |  |  | 0
|  | All materials of approved quality ( as per MEA regulations )supplied and fixed complete as directed. Rate to be included for all PVC/PVC/CU wiring involved as specified and switching including switches of approved make, complete to working order. All fixtures shall be of approved quality and make, to the satisfaction of the engineer and as the specification . |  |  |  | 0
3.036 | 3.036 | Single-phase 30A 4PMCB, main circuit breaker and 40A DPELCB (30MA) with 32amp Ring circuit & 8x3 nr 6A Lamp & Fan circuit breakers incorporated in three plastic box with hinged door. Rate to include for suitable buss bar. Rate to be included All necessary fittings. | nr | 01 |  | 0
3.037 | 3.037 | 15amp. Switched socket outlet flushed type. Rate to be included All necessary fittings. | nr | 12 |  | 0
3.038 | 3.038 | Fluorescent lamp with prismatic diffucer 4 feet, electronic ballast type (single). Rate to be included All necessary fittings. | nr | 8 |  | 0
|  | SECTION T |  |  |  | 0
|  | FLOOR/WALL/CEILING FINISHES |  |  |  | 0
|  | SECTION T1 - FLOOR FINISHES |  |  |  | 0
|  | Floor |  |  |  | 0
3.039 | 3.039 | 12mm thick rendering in cement sand mortar 1:3 finished smooth with neat cement floating of approved colour. | m2 | 152 |  | 0
3.04 | 3.04 | 12mm thick 100mm high 1:3 cement sand mortar skirting to matching colour to the floor. | m | 65 |  | 0
|  | Roof Slab |  |  |  | 0
3.041 | 3.041 | 12mm thick renderring in 1:3 cement sand mortar finished smooth with neat cement floating of approved colour. | m2 | 152 |  | 0
|  | SECTION T2 - WALL AND CEILING FINISHES |  |  |  | 0
3.042 | 3.042 | 16mm thick internal plastering in cement, lime and sand mortar 1:1:5 and finished smooth with lime putty, including beams and columns. | m2 | 228.4 |  | 0
3.043 | 3.043 | 16mm thick external plastering in cement, lime and sand mortar 1:1:5 and finished semi rough, including beams and columns. | m2 | 144.4 |  | 0
3.044 | 3.044 | 63mm wide 16mm thick external door & window reveals in cement, lime and sand 1:1:5 and finished semi rough. | m | 47.6 |  | 0
3.045 | 3.045 | 63mm wide 16mm thick internal door & window reveals in cement, lime and sand 1:1:5 and finished smooth with lime float. | m | 47.6 |  | 0
|  | SECTION V |  |  |  | 0
|  | PAINTING |  |  |  | 0
|  | Ground Floor |  |  |  | 0
3.046 | 3.046 | Preare and apply one coat of wall primer and two coats of approved quality emulsion paint on all surfaces of internal walls including beams and columns. | m2 | 228.4 |  | 0
3.047 | 3.047 | Prepare and apply one coat of wall primer and two coats of approved quality weather proof emulsion paint on all surfaces of external walls including beams and columns. | m2 | 144.4 |  | 0
3.048 | 3.048 | Prepare and apply one coat of wall primer and two coats of approved quality emulsion paint on soffit of slab. | m2 | 152 |  | 0
|  | Tube Well |  |  |  | 0
3.049 | 3.049 | Prepare the Tube Well depth 32m As Per the Details Drawing & Specification. | Nr | 2 |  | 0
Yard Piping
3.05 | 3.05 | 110mm Dia Brine Ouut Line | m | 70
3.051 | 3.051 | 150mm Dia Resovior Cleaning Line | m | 50
3.052 | 3.052 | 80mm Dia Chlorine Conection Line | m | 30
Brine Outfall
3.053 | 3.053 | Laying of Brine outfall pipline & diffuser head as per drawings | Item | 1
Miscellaneous Items
3.054 | 3.054 | Interlock paving with compacted crusher dust, concrete edges complete as per drawings | m2 | 350
3.055 | 3.055 | Construction of Entrance gate and Boundary wall of 2.0m height | Item | 1
|  | TOTAL CARRIED TO GRAND SUMMARY |  |  |  | 0
0
0

## Supply & Insta
PROJECT-LH NAIFARU WATER SUPPLY SCHEME
EMPLOYER-Ministry of Environment and Energy |  |  |  | BILL#4 Supply & Insolation
Item No | Description | Unit | Qty | Rate | Amount
4.001 | Supply & Installation For Reverse Osmosis Plant 2 nos . At Naifaarru. As per the Specification and Drawings. | item | 1 |  | 0
4.002 | Supply &Installation For Fire Protection system at Naifaarru RO Plant. As per the Specification | item | 1 |  | 0
4.003 | Supply and install brine pump and connect the brine outfall line to the Sewerage effluent outfall as shawn in the drawings | item | 1 |  | 0
4.004 | Supply & Installation For Lightning Protection. At Naifaarru Ro Plant. As per the Specification | item | 1 |  | 0
4.005 | Supply & Installation For High Lift Pump System. At Naifaarru Ro Plant. As per the Specification | item | 1 |  | 0
4.006 | Supply & Installation For Brine Water Pump. At Naifaarru Ro Plant Rate to be Included for Chamber, Valves & necessary Fittings . As per the Specification as per the Details Drawing Naifaarru/Ro/03 | item | 1 |  | 0
4.007 | Supply and Installation of Tube well pumps as per Specification and Drawings | item | 1
4.008 | Supply and Installation of Disinfection Unit as per sepecification and Drawings | item | 1
4.009 | Supply and istallation of control panels for the system | item | 1
4.01 | Supply and Installation of Monitoring system for Water supply system | Item | 1
| TOTAL CARRIED TO GRAND SUMMARY |  |  |  | 0

## Rain Water Tank (hidden)
PROJECT-LH NAIFARU WATER SUPPLY SCHEME
| EMPLOYER-Ministry of Environment and Energy |  |  |  | BILL#6 RAIN WATER TANK
| Item No | Description | Unit | Qty | Rate | Amount
SECTION - D
EXCAVATION AND EARTHWORK
|  | Excavation and Earth Work |  |  |  | 0
|  | Rate to be included for levelling, compacting and dewatering where necessary. |  |  |  | 0
6.001 | 6.001 | Excavating pits for column in any material other than rock, with depth not exceeding 1.00m from ground level. (provisional Qty). | m3 | 368 |  | 0
6.002 | 6.002 | Extra over item No. 02, 03, 04 & 05 for excavation in rock blasting prohibited (provisional Qty). | m3 | 3 |  | 0
Disposal
6.003 | 6.003 | Disposal of excavated material away from site as directed by the Engineer. | m3 | 368 |  | 0
|  | Filling |  |  |  | 0
6.004 | 6.004 | Filling under floors with selected excavated material up to a maximum thickness of 450mm, watered, compacted and well rammed in layers of 150mm thick. | m3 | 118 |  | 0
SECTION - F
|  | CONCRETE WORKS |  |  |  | 0
|  | Reinforcement and formwork measured separately unless otherwise stated. |  |  |  | 0
SECTION F1 - INSITU CONCRETE
Mass Concrete - Grade 15
6.005 | 6.005 | In 100mm thick screed under column | m2 | 37
6.006 | 6.006 | Column Concrete | m3 | 285
|  | Reinforced Concrete Grade 20 |  |  |  | 0
6.007 | 6.007 | In 225mm thick Base concrete under Column | m3 | 93 |  | 0
6.008 | 6.008 | InBeam. | m3 | 49 |  | 0
6.009 | 6.009 | In Slap | m3 | 39.6
|  | SECTION F2 - FORM WORK |  |  |  | 0
|  | Form work in approved timber. Rate to include for splayed edges, battens, strutting, bolting, wedging, easing, striking and removal |  |  |  | 0
Rough Finish Formwork
6.01 | 6.01 | To 100mm high sides of screed. | m | 81 |  | 0
6.011 | 6.011 | To not exceeding 225mm high sides of column bases. | m2 | 355.8
6.012 | 6.012 | To sides of 230x230mm column shaft upto finish floor level. | m2 | 1049
|  | Wrought Finish Formwork |  |  |  | 0
Ground Floor to Roof
6.013 | 6.013 | To sides of 230 x 230mm column shaft from finish floor level to slap level. | m2 | 1034
6.014 | 6.014 | To sides of 200 x 300mm column shaft from finish floor level to first floor level. | m2 | 368
SECTION F3 - REINFORCEMENT IN INSITU CONCRETE
|  | Tor/Mild steel rod reinforcement cut to lengths, bent to shape, placed in position and tied with GI wire |  |  |  | 0
Mild steel
6.015 | 6.015 | Bar diameter 8mm | t | 0.95 |  | 0
|  | Tor Steel |  |  |  | 0
6.016 | 6.016 | Bar diameter 10mm | t | 2.06
|  | Supply & Fixing RTP Tank |  |  |  | 0
6.017 | 6.017 | Supply & Insolation for RTP Tank 650m3 capacity each. As per the Specification & Details Drawing (rate includes supply installation and fixing of required accessories) | Nr | 2
6.018 | 6.018 | Supply and Installation of inline boosting pump with accumulator to lift the collected ranwater into the RTP rainwater collection tank (Capacity X l/s and head 3m) | Nr | 1
6.019 | 6.019 | Supply and Installation of pump to pump the rain water from the RTP rainwater collection tank to Clear water sump (Capacity X l/s and head 5 m) | Nr | 1
6.02 | 6.02 | Supply and Install cartrige filter for the rain water purification | Nr | 1
|  | TOTAL CARRIED TO GRAND SUMMARY |  |  |  | 0

## RTP TANK
PROJECT-LH NAIFARU WATER SUPPLY SCHEME
| EMPLOYER-Ministry of Environment and Energy |  |  |  | BILL#5 RTP CLEAR WATER TANK
| Item No | Description | Unit | Qty | Rate | Amount
SECTION - D
EXCAVATION AND EARTHWORK
|  | Excavation and Earth Work |  |  |  | 0
|  | Rate to be included for levelling, compacting and dewatering where necessary. |  |  |  | 0
5.001 | 5.001 | Excavating pits for column in any material other than rock, with depth not exceeding 1.00m from ground level. (provisional Qty). | m3 | 368 |  | 0
5.002 | 5.002 | Extra over item No. 02, 03, 04 & 05 for excavation in rock blasting prohibited (provisional Qty). | m3 | 3 |  | 0
Disposal
5.003 | 5.003 | Disposal of excavated material away from site as directed by the Engineer. | m3 | 368 |  | 0
|  | Filling |  |  |  | 0
5.004 | 5.004 | Filling under floors with selected excavated material up to a maximum thickness of 450mm, watered, compacted and well rammed in layers of 150mm thick. | m3 | 118 |  | 0
SECTION - F
|  | CONCRETE WORKS |  |  |  | 0
|  | Reinforcement and formwork measured separately unless otherwise stated. |  |  |  | 0
SECTION F1 - INSITU CONCRETE
Mass Concrete - Grade 15
5.005 | 5.005 | In 100mm thick screed under column | m2 | 37
5.006 | 5.006 | Column Concrete | m3 | 285
|  | Reinforced Concrete Grade 20 |  |  |  | 0
5.007 | 5.007 | In 225mm thick Base concrete under Column | m3 | 93 |  | 0
5.008 | 5.008 | InBeam. | m3 | 49 |  | 0
5.009 | 5.009 | In Slap | m3 | 39.6
|  | SECTION F2 - FORM WORK |  |  |  | 0
|  | Form work in approved timber. Rate to include for splayed edges, battens, strutting, bolting, wedging, easing, striking and removal |  |  |  | 0
Rough Finish Formwork
5.01 | 5.01 | To 100mm high sides of screed. | m | 81 |  | 0
5.011 | 5.011 | To not exceeding 225mm high sides of column bases. | m2 | 355.8
5.012 | 5.012 | To sides of 230x230mm column shaft upto finish floor level. | m2 | 1049
|  | Wrought Finish Formwork |  |  |  | 0
Ground Floor to Roof
5.013 | 5.013 | To sides of 230 x 230mm column shaft from finish floor level to slap level. | m2 | 1034
5.014 | 5.014 | To sides of 200 x 300mm column shaft from finish floor level to first floor level. | m2 | 368
SECTION F3 - REINFORCEMENT IN INSITU CONCRETE
|  | Tor/Mild steel rod reinforcement cut to lengths, bent to shape, placed in position and tied with GI wire |  |  |  | 0
Mild steel
5.015 | 5.015 | Bar diameter 8mm | t | 0.95 |  | 0
|  | Tor Steel |  |  |  | 0
5.016 | 5.016 | Bar diameter 10mm | t | 2.06
|  | Supply & Fixing RTP Tank |  |  |  | 0
5.017 | 5.017 | Supply & Insolation for RTP Tank 650m3 capacity each. As per the Specification & Details Drawing (rate includes supply installation and fixing of required accessories) | Nr | 2
|  | TOTAL CARRIED TO GRAND SUMMARY |  |  |  | 0

## Sheet1 (hidden)
PROJECT-LH NAIFARU WATER SUPPLY SCHEME
| EMPLOYER-Ministry of Environment and Energy |  |  |  | BILL#6 RAIN WATER TANK
| Item No | Description | Unit | Qty | Rate | Amount
SECTION - D
EXCAVATION AND EARTHWORK
|  | Excavation and Earth Work |  |  |  | 0
|  | Rate to be included for levelling, compacting and dewatering where necessary. |  |  |  | 0
6.001 | 6.001 | Excavating pits for column in any material other than rock, with depth not exceeding 1.00m from ground level. (provisional Qty). | m3 | 368 |  | 0
6.002 | 6.002 | Extra over item No. 02, 03, 04 & 05 for excavation in rock blasting prohibited (provisional Qty). | m3 | 3 |  | 0
Disposal
6.003 | 6.003 | Disposal of excavated material away from site as directed by the Engineer. | m3 | 368 |  | 0
|  | Filling |  |  |  | 0
6.004 | 6.004 | Filling under floors with selected excavated material up to a maximum thickness of 450mm, watered, compacted and well rammed in layers of 150mm thick. | m3 | 118 |  | 0
SECTION - F
|  | CONCRETE WORKS |  |  |  | 0
|  | Reinforcement and formwork measured separately unless otherwise stated. |  |  |  | 0
SECTION F1 - INSITU CONCRETE
Mass Concrete - Grade 15
6.005 | 6.005 | In 100mm thick screed under column | m2 | 37
6.006 | 6.006 | Column Concrete | m3 | 285
|  | Reinforced Concrete Grade 20 |  |  |  | 0
6.007 | 6.007 | In 225mm thick Base concrete under Column | m3 | 93 |  | 0
6.008 | 6.008 | InBeam. | m3 | 49 |  | 0
6.009 | 6.009 | In Slap | m3 | 39.6
|  | SECTION F2 - FORM WORK |  |  |  | 0
|  | Form work in approved timber. Rate to include for splayed edges, battens, strutting, bolting, wedging, easing, striking and removal |  |  |  | 0
Rough Finish Formwork
6.01 | 6.01 | To 100mm high sides of screed. | m | 81 |  | 0
6.011 | 6.011 | To not exceeding 225mm high sides of column bases. | m2 | 355.8
6.012 | 6.012 | To sides of 230x230mm column shaft upto finish floor level. | m2 | 1049
|  | Wrought Finish Formwork |  |  |  | 0
Ground Floor to Roof
6.013 | 6.013 | To sides of 230 x 230mm column shaft from finish floor level to slap level. | m2 | 1034
6.014 | 6.014 | To sides of 200 x 300mm column shaft from finish floor level to first floor level. | m2 | 368
SECTION F3 - REINFORCEMENT IN INSITU CONCRETE
|  | Tor/Mild steel rod reinforcement cut to lengths, bent to shape, placed in position and tied with GI wire |  |  |  | 0
Mild steel
6.015 | 6.015 | Bar diameter 8mm | t | 0.95 |  | 0
|  | Tor Steel |  |  |  | 0
6.016 | 6.016 | Bar diameter 10mm | t | 2.06
|  | Supply & Fixing RTP Tank |  |  |  | 0
6.017 | 6.017 | Supply & Insolation for RTP Tank 650m3 capacity each. As per the Specification & Details Drawing (rate includes supply installation and fixing of required accessories) | Nr | 2
6.018 | 6.018 | Supply and Installation of inline boosting pump with accumulator to lift the collected ranwater into the RTP rainwater collection tank (Capacity X l/s and head 3m) | Nr | 1
6.019 | 6.019 | Supply and Installation of pump to pump the rain water from the RTP rainwater collection tank to Clear water sump (Capacity X l/s and head 5 m) | Nr | 1
6.02 | 6.02 | Supply and Install cartrige filter for the rain water purification | Nr | 1
|  | TOTAL CARRIED TO GRAND SUMMARY |  |  |  | 0