## Doors (hidden)
| 0 | 20344.8 | 7098 | 6407 | 4740.75 | 7359.45 | 7359.45 | 4063.5 | 4063.5 | 16537.5 | 0 | 0 | 0 | 0 | 0
DOORS | GB | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | SD1 | SD2 | SD3 | D11 | D12 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m2
|  | 10.1724 | 3.549 | 3.2035 | 2.2575 | 3.5045 | 3.5045 | 1.935 | 1.935 | 7.875
G.FLOORS |  | D1: 1; D2: 1; D3: 1; D4: 7 | [9 empty] | 32.7274
1ST FLOOR |  | D3: 1; D4: 2; D5: 1; D6: 1; D7: 1; D8: 8 | [9 empty] | 32.1425
2nd FLOOR | [23 empty] | 13.336 | bar: D3 to D4; SD1
3rd FLOOR | [23 empty] | 0
4th FLOOR | [23 empty] | 0
5th FLOOR | [23 empty] | 0
6th FLOOR | [23 empty] | 0
7th FLOOR | [23 empty] | 0
8th FLOOR | [23 empty] | 0
9th FLOOR | [23 empty] | 0
10th FLOOR | [23 empty] | 0
| 0 | 1 | 1 | 3 | 10 | 1 | 1 | 1 | 8 | 1 | 0 |  | 0 | 0 | 0
| 61533 | 62387.625 | 130278.82 | 149681.28 | 178099.206 | 167983.585 | 237118.125 | 774 | 0 | 0 | 0 |  | 0 | 0
WINDOWS | CW1 | CW2 | CW3 | GC1 | GC2 | GC3 | GC4 | V1 | V2 | SW | SW1 | [13 empty] | Total Door Opening
| 28.62 | 29.0175 | 60.5948 | 69.6192 | 82.8368 | 78.1319 | 110.2875 | 0.36
G.FLOORS | [23 empty] | 389.4885 | 422.2159 | bar: CW1 to CW3; GC2 to GC4
1ST FLOOR | [23 empty] | 348.8202 | 380.9627 | bar: CW1 to GC3
2nd FLOOR | [23 empty] | 135.7694 | 149.1054 | 0 | bar: CW1 to CW2; GC3
3rd FLOOR | [23 empty] | 0 | 0
4th FLOOR | [23 empty] | 0 | 0
5th FLOOR | [23 empty] | 0 | 0
6th FLOOR | [23 empty] | 0 | 0
7th FLOOR | [23 empty] | 0 | 0
8th FLOOR | [23 empty] | 0 | 0
9th FLOOR | [23 empty] | 0 | 0
10th FLOOR | [23 empty] | 0 | 0
| 3 | 3 | 2 | 1 | 2 | 3 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0
|  |  | G | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | Terrace |  |  | G | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | Terrace
| D1 | 20344.8 | 1 | [8 empty] | 1 | 20344.8 | 20344.8
| D2 | 7098 | 1 | [8 empty] | 1 | 7098 | 7098 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| D3 | 6407 | 1 | 1st: 1; 2nd: 1; 3rd: 1; 4th: 0 |  | 4 | 25628 | 6407 | 6407 | 6407 | 6407 | 0 | 0 | 0 | 0
| D4 | 4740.75 | 7 | 1st: 2; 2nd: 2; 3rd: 2 |  | 13 | 61629.75 | 33185.25 | 9481.5 | 9481.5 | 9481.5 | 0 | 0 | 0 | 0
| D5 | 7359.45 | 0 | [8 empty] | 3 | 22078.35 | 0 | 7359.45 | 7359.45 | 7359.45 | 0 | 0 | 0 | 0 | bar: 1st to 3rd
| SD1 | 4063.5 | [9 empty] | 3 | 12190.5 | 0 | 4063.5 | 4063.5 | 4063.5 | 0 | 0 | 0 | 0 | bar: 1st to 3rd
| SD2 | 4063.5 |  | 1st: 8; 2nd: 8; 3rd: 8 |  | 24 | 97524 | 0 | 32508 | 32508 | 32508 | 0 | 0 | 0 | 0
| SD3 | 16537.5 |  | 1st: 0; 2nd: 0; 3rd: 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SW | 0 | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SW1 | 0 |  | 1st: 0; 2nd: 0; 3rd: 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| W1 | 62387.625 | 1 | 2nd: 0; 3rd: 0 |  | 1 | 62387.625 | 62387.625 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| W2 | 130278.82 | 1 | [8 empty] | 4 | 521115.28 | 130278.82 | 130278.82 | 130278.82 | 130278.82 | 0 | 0 | 0 | 0 | bar: 1st to 3rd
| W3 | 149681.28 | 0 | [8 empty] | 3 | 449043.84 | 0 | 149681.28 | 149681.28 | 149681.28 | 0 | 0 | 0 | 0 | bar: 1st to 3rd
| W4 | 178099.206 | 1 | 2nd: 0; 3rd: 0 |  | 1 | 178099.206 | 178099.206 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| W5 | 167983.585 | [9 empty] | 3 | 503950.755 | 0 | 167983.585 | 167983.585 | 167983.585 | 0 | 0 | 0 | 0 | bar: 1st to 3rd
| W6 | 237118.125 |  | 1st: 0; 2nd: 0; 3rd: 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| V1 | 774 | 0 | 1st: 0; 2nd: 0; 3rd: 0; 4th: 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| V2 | 0 |  | 1st: 0; 2nd: 0; 3rd: 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 1961090.106 | 437800.701 | 507763.135 | 507763.135 | 507763.135 | 0 | 0 | 0 | 0 | 0

## cal (hidden)
[5 empty] | Excavation | Lean | Concrete | Formwork | 25 | 20 | 16 | 12 | 10 | 6
FOUNDATION LEVEL
RAFT |  |  |  |  | 0 | [5 empty] | 0
0
F1 | 2.17 | 2.17 | 0.35 | 7 | 39.5548 | 1.6481 | 11.5368 | 21.266 | 0 | 0 | 98.8869 | 0 | 0 |  | 6.4
[6 empty] | 1.6481 | 11.5368 | 21.266 | 0 | 0 | 0.93626 | 0 | 0 |  | 0.005328
F2 | 2 | 1.45 | 0.35 | 8 | 27.84 | 1.16 | 8.12 | 19.32 | 0 | 0 | 0 | 81.2 | 0 | 0
[6 empty] | 1.16 | 8.12 | 19.32 | 0 | 0 | 0 | 0.4328 | 0
F3 | 1.8 | 1.25 | 0.35 | 7 | 18.9 | 0.7875 | 5.5125 | 14.945 | 0 | 0 | 0 | 55.125 | 0 | 0
[6 empty] | 0.7875 | 5.5125 | 14.945 | 0 | 0 | 0 | 0.29382 | 0
F4 | 1.3 | 1.3 | 0.35 | 2 | 4.056 | 0.169 | 1.183 | 3.64 | 0 | 0 | 0 | 0 | 11.83 |  | 6.4
[6 empty] | 0.169 | 1.183 | 3.64 | 0 | 0 | 0 | 0 | 0.044954 |  | 0.005328
ST-1 | 11.893 | 1.5 | 0.4 | 1 | 21.4074 | 0.89198 | 7.1358 | 10.7144 | 0 | 0 | 107.037 | 0 | 0 | 0
FB2 | 11.893 | 0.2 | 0.45 | 1 |  |  | 1.0704 | 10.7037 | 0 | 0 | 23.786 | 0 | 79.2867 | 0
[6 empty] | 0.89198 | 8.2062 | 21.4181 | 0 | 0 | 1.0134 | 0 | 0
RAFT | 12.193 | 2.375 | 0.3 | 1 | 43.4376 | 1.4479 | 8.6875 | 8.7408 | 0 | 0 | 0 | 101.3543 | 0 | 0
FB1 | 16.886 | 0.2 | 0.45 | 1 |  |  | 1.5197 | 15.1974 | 0 | 0 | 50.658 | 0 | 112.5733 | 0
[6 empty] | 1.4479 | 10.2073 | 23.9382 | 0 | 0 | 0 | 0.54022 | 0.42778
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 6.1045 | 44.7657 | 104.5273 | 0 | 0 | 1.9497 | 1.2668 | 0.47273
TB1 | 30.616 | 0.225 | 0.45 | 1 | 4.1332 | 0.25832 | 3.0999 | 27.5544 | 0 | 0 | 91.848 | 0 | 0 | 170.0889
[5 empty] | 0 |  |  |  | 0 | 0 | 0.86962 | 0 | 0 | 0.22656
TB2 | 154.081 | 0.2 | 0.45 | 1 | 18.4897 | 1.1556 | 13.8673 | 138.6729 | 0 | 0 | 308.162 | 0 | 0 | 753.2849
[9 empty] | 0 | 0 | 2.9177 | 0 | 0 | 1.0034
RCC WALL FOR BASE MENT |  |  |  |  | steel | f.work
69.9 | [15 empty] | 36
Stair Starter Beam | 1.95 | 0.15 | 0.3 | 1 | 0 | 0 | 0.08775 | 1.435 |  |  |  | 3.51 | 1.17
[7 empty] | 0 | 0 |  |  |  | 18.7013 | 4.4203
[7 empty] | 0.08775 | 1.435 |  |  |  | 0.018701 | 0.0044203
0
1.638
4.914
C1 | 12 | 0.225 | 0.425 | 0.6 |  |  | 0.6885 | 7.74 | 0 | 0 | 75 | 0 |  | 32 | 1.62 | 1.59
[7 empty] | 0 | 0 | 0 | 0 | 0.7101 | 0 |  | 0.042624
C2 | 19 | 0.2 | 0.35 | 0.6 |  |  | 0.798 | 10.26 |  | 0 | 88.6667 |  |  | 44.3333 |  | 1.21
[7 empty] | 0 | 0 |  | 0 | 0.8395 |  |  | 0.059052 |  | 0.75
C3 | [6 empty] | 0 | 0 |  | 0 | 0 | 0 |  | 0
[7 empty] | 0 | 0 |  | 0 | 0 | 0 |  | 0
C4 | [6 empty] | 0 | 0 |  | 0 | 0 |  |  | 0
[7 empty] | 0 | 0 |  | 0 | 0 |  |  | 0
C5 | [6 empty] | 0 | 0
[7 empty] | 0 | 0 |  | 0 |  |  |  | 0
C6 | [6 empty] | 0 | 0 |  | 0 |  |  |  | 0
[7 empty] | 0 | 0 |  | 0 | 0 | 0 |  | 0
[7 empty] | 1.4865 | 18 | 0 | 0 | 1.5496 | 0 | 0 | 0.10168
Lift well |  |  |  | 1.35 |  |  | 0 | 0 |  |  |  | 0 | 0
| 8 | 0.15 | 1 | 1.35 |  |  | 1.62 | 21.6 |  |  |  | 0.17269 | 0.13338
[7 empty] | 1.62 | 21.6 | 0 | 0 | 0 | 0.17269 | 0.13338
209,526.12
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
| GROUND FLOOR |  |  | 4.4 | [6 empty] | 0 |  |  | 0
C1 | 12 | 0.225 | 0.425 | 2.525 |  |  | 2.8974 | 32.5725 | 0 | 0 | 75 | 0 |  | 134.6667 | 1.62 | 1.59
[7 empty] | 0 | 0 | 0 | 0 | 0.7101 | 0 |  | 0.17938
C2 | 19 | 0.2 | 0.35 | 2.525 |  |  | 3.3582 | 43.1775 |  | 0 | 88.6667 |  |  | 186.5694 |  | 1.21
[7 empty] | 0 | 0 |  | 0 | 0.8395 |  |  | 0.24851 |  | 0.75
C3 | [6 empty] | 0 | 0 |  | 0 | 0 | 0 |  | 0
[7 empty] | 0 | 0 |  | 0 | 0 | 0 |  | 0
C4 | [6 empty] | 0 | 0 |  | 0 | 0 |  |  | 0
[7 empty] | 0 | 0 |  | 0 | 0 |  |  | 0
C5 |  |  |  | 0.8 |  |  | 0 | 0
[7 empty] | 0 | 0 |  | 0 |  |  |  | 0
C6 |  |  |  | 1.1 |  |  | 0 | 0 |  | 0 |  |  |  | 0
[7 empty] | 6.2557 | 75.75 | 0 | 0 | 1.5496 | 0 | 0 | 0.42789
STAIR CASE | 20 | 0.25 | 0.176 | 1 | 0.5 |  | 0.44 | 3.52 |  |  |  |  | 90
| 6 | 1 | 0.15 | 1 | 1 |  | 0.9 | 7.71 |  |  | 6.5 |  | 340.02
| 2.5 | 0.15 | 1.2 | 1 | 1 |  | 0.45 | 3 |  |  |  |  | 0.42502 |  |  | 0.003778
[7 empty] | 1.79 | 14.23 | [7 empty] | 0.003778
RCC WALL | 1.5 | 0.15 | 2.55 | 2 |  |  | 1.1475 | 15.3 |  |  |  | 0 | 0.094477
[7 empty] | 0 | 0 |  |  |  | 0 | 0
Lift well | 8 | 0.15 | 1 | 2.865 |  |  | 3.123 | 41.64 |  |  |  | 0.36649 | 0.28306
[7 empty] | 3.123 | 41.64 | 0 | 0 | 0 | 0.36649 | 0.28306
[7 empty] | Concrete | Formwork | 25 | 20 | 16 | 12 | 10 | 6
B1 | 22.531 | 0.2 | 0.34 |  | 0.94 |  | 1.5321 | 21.1791 | 0 | 0.50019 | 0.31999 | 0 |  | 0.27283 | 1.04
B1A | 8.729 | 0.2 | 0.34 |  | 0.94 |  | 0.59357 | 8.2053 | 0 | 0.32297 | 0.16529 | 0 |  | 0.051676 | 1.04
B2 | 47.133 | 0.2 | 0.265 |  | 0.865 |  | 2.498 | 40.77 | 0 | 0 | 1.1156 | 0 |  | 0.47561
B3 | 28.956 | 0.2 | 0.265 |  | 0.865 |  | 1.5347 | 25.0469 | 0 | 0 | 0.27416 | 0 |  | 0.21427
B4 | 103.244 | 0.2 | 0.265 |  | 0.865 |  | 5.4719 | 89.3061 | 0 | 0 | 1.4663 | 0 |  | 0.382
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
[7 empty] | 0 | 0 |  |  | 0 | 0 |  | 0
[7 empty] | 0 | 0 |  |  |  | 0 |  | 0
[12 empty] | 0 |  | 0
| 0 | 0.2 | 0.27 |  | 0.87 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 11.6303 | 184.5074 | 0 | 0.82316 | 3.3413 | 0 | 0 | 1.3964
| 210.593 |  |  | 42.1186 |  |  |  | 0
0
Slab | [10 empty] | 3.0797
|  | 249.9255 | 0.135 | 33.7399 |  |  | 33.7399 | 249.9255 | For steel |  |  |  | 6.1444
|  | 75.349 | 0.15 | 11.3024 |  |  | 11.3024 | 75.349 | 325.2745 |  |  | 2.4097 | 0 |  |  | 14.224 | 4.035
[16 empty] | 12.161 | 4.034
0 | 3.2375 | [5 empty] | 0 | 0
| 7.988 | [5 empty] | 0 | 0
OPEN AREA | 11.2255 | [5 empty] | 0 | 0 | [9 empty] | 325.2745
[7 empty] | 45.0423 | 325.2745 |  |  |  | 2.4097 | 6.1444 |  |  |  |  | 1402.0652
RCC WALL | 1.5 | 0.15 | 2.55 | 2 |  |  | 1.1475 | 7.65 |  |  |  | 0 | 0.047239
FIRST FLOOR
C1 | 12 | 0.225 | 0.425 | 2.525 |  |  | 2.8974 | 32.5725 | 0 | 0 | 75 | 0 |  | 134.6667 | 1.62 | 1.59
[7 empty] | 0 | 0 | 0 | 0 | 0.7101 | 0 |  | 0.17938
C2 | 19 | 0.2 | 0.35 | 2.525 |  |  | 3.3582 | 43.1775 |  | 0 | 88.6667 |  |  | 186.5694 |  | 1.21
[7 empty] | 0 | 0 |  | 0 | 0.8395 |  |  | 0.24851 |  | 0.75
C3 | [6 empty] | 0 | 0 |  | 0 | 0 | 0 |  | 0
[7 empty] | 0 | 0 |  | 0 | 0 | 0 |  | 0
C4 | [6 empty] | 0 | 0 |  | 0 | 0 |  |  | 0
[7 empty] | 0 | 0 |  | 0 | 0 |  |  | 0
C5 | [6 empty] | 0 | 0
[7 empty] | 0 | 0 |  | 0 |  |  |  | 0
C6 | [6 empty] | 0 | 0 |  | 0 |  |  |  | 0
[7 empty] | 6.2557 | 75.75 | 0 | 0 | 1.5496 | 0 | 0 | 0.42789
STAIR CASE | 17 | 0.25 | 0.176 | 0.85 | 0.5 |  | 0.3179 | 2.5432 |  |  |  |  | 47.25
| 5.25 | 0.85 | 0.15 | 1 | 1 |  | 0.66938 | 6.1725 |  |  | 6.5 |  | 178.5105
| 1.5 | 0.15 | 0.9 | 1 | 1 |  | 0.2025 | 1.35 |  |  |  |  | 0.17851 |  |  | 0.003778
[7 empty] | 1.1898 | 10.0657 | [7 empty] | 0.003778
Lift well | 19.3 | 0.15 | 1 | 3.25 |  |  | 9.4087 | 125.45 |  |  |  | 1.003 | 0.77465
[7 empty] | 9.4087 | 125.45 | 0 | 0 | 0 | 1.003 | 0.77465
| 4.62 | [5 empty] | Concrete | Formwork | 25 | 20 | 16 | 12 | 10 | 6
SECOND SLAB
B1 | 22.531 | 0.2 | 0.34 |  | 0.94 |  | 1.5321 | 21.1791 | 0 | 0.50019 | 0.31999 | 0 |  | 0.27283 | 1.04
B1A | 8.729 | 0.2 | 0.34 |  | 0.94 |  | 0.59357 | 8.2053 | 0 | 0.32297 | 0.16529 | 0 |  | 0.051676 | 1.04
B2 | 47.133 | 0.2 | 0.265 |  | 0.865 |  | 2.498 | 40.77 | 0 | 0 | 1.1156 | 0 |  | 0.47561
B3 | 28.956 | 0.2 | 0.265 |  | 0.865 |  | 1.5347 | 25.0469 | 0 | 0 | 0.27416 | 0 |  | 0.21427
B4 | 103.244 | 0.2 | 0.265 |  | 0.865 |  | 5.4719 | 89.3061 | 0 | 0 | 1.4663 | 0 |  | 0.382
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
[7 empty] | 0 | 0 |  |  | 0 | 0 |  | 0
[7 empty] | 0 | 0 |  |  |  | 0 |  | 0
[12 empty] | 0 |  | 0
| 0 | 0.2 | 0.27 |  | 0.87 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 11.6303 | 184.5074 | 0 | 0.82316 | 3.3413 | 0 | 0 | 1.3964
| 210.593 |  |  | 0 |  |  |  | 0
[8 empty] | 0 |  |  | 1.4663
Slab | [10 empty] | 0.013883
|  | 249.9255 | 0.135 | 33.7399 |  |  | 33.7399 | 249.9255 | For steel |  |  |  | 6.1444
|  | 75.349 | 0.15 | 11.3024 |  |  | 11.3024 | 75.349 | 325.2745 | [6 empty] | 14.224 | 4.035
[16 empty] | 12.161 | 4.034
0 | 3.2375 | [5 empty] | 0 | 0
| 7.988 | [5 empty] | 0 | 0
OPEN AREA | 11.2255 | [5 empty] | 0 | 0
[7 empty] | 45.0423 | 325.2745 |  |  |  |  | 6.1444
RCC WALL | 1.5 | 0.15 | 2.55 | 2 |  |  | 1.1475 | 7.65 |  |  |  | 0 | 0.047239
Parapet wall |  | 19.5 | 1.2 | 0.1 |  |  | 2.34 | 46.8 |  |  |  |  | 0.44203
Lift well | 19.3 | 0.15 | 1 | 3.25 |  |  | 9.4087 | 125.45 |  |  |  | 1.003 | 0.77465
[7 empty] | 9.4087 | 125.45 | 0 | 0 | 0 | 1.003 | 0.77465
2nd -4th
C1 | 12 | 0.225 | 0.425 | 2.525 |  |  | 2.8974 | 32.5725 | 0 | 0 | 75 | 0 |  | 134.6667 | 1.62 | 1.59
[7 empty] | 0 | 0 | 0 | 0 | 0.7101 | 0 |  | 0.17938
C2 | 19 | 0.2 | 0.35 | 2.525 |  |  | 3.3582 | 43.1775 |  | 0 | 88.6667 |  |  | 186.5694 |  | 1.21
[7 empty] | 0 | 0 |  | 0 | 0.8395 |  |  | 0.24851 |  | 0.75
C3 | [6 empty] | 0 | 0 |  | 0 | 0 | 0 |  | 0
[7 empty] | 0 | 0 |  | 0 | 0 | 0 |  | 0
C4 | [6 empty] | 0 | 0 |  | 0 | 0 |  |  | 0
[7 empty] | 0 | 0 |  | 0 | 0 |  |  | 0
C5 | [6 empty] | 0 | 0
[7 empty] | 0 | 0 |  | 0 |  |  |  | 0
C6 | [6 empty] | 0 | 0 |  | 0 |  |  |  | 0
[7 empty] | 6.2557 | 75.75 | 0 | 0 | 1.5496 | 0 | 0 | 0.42789
0.2875
STAIR CASE | 17 | 0.25 | 0.176 | 0.85 | 0.5 |  | 0.3179 | 2.5432 |  |  |  |  | 47.25
| 5.25 | 0.85 | 0.15 | 1 | 1 |  | 0.66938 | 6.1725 |  |  | 6.5 |  | 178.5105
| 1.5 | 0.15 | 0.9 | 1 | 1 |  | 0.2025 | 1.35 |  |  |  |  | 0.21421 |  |  | 0.003778
[7 empty] | 1.1898 | 10.0657 | [7 empty] | 0.003778
RCC WALL | 1.5 | 0.15 | 2.55 | 2 |  |  | 1.1475 | 7.65 |  |  |  | 0 | 0.047239
Lift well | 16.9 | 0.15 | 1 | 3.25 |  |  | 8.2388 | 109.85 |  |  |  | 0.87825 | 0.67832
[7 empty] | 8.2388 | 109.85 | 0 | 0 | 0 | 0.87825 | 0.67832
| 4.62 | [5 empty] | Concrete | Formwork | 25 | 20 | 16 | 12 | 10 | 6
2ND-9TH SLAB
B1 | 22.531 | 0.2 | 0.34 |  | 0.94 |  | 1.5321 | 21.1791 | 0 | 0.50019 | 0.31999 | 0 |  | 0.27283 | 1.04
B1A | 8.729 | 0.2 | 0.34 |  | 0.94 |  | 0.59357 | 8.2053 | 0 | 0.32297 | 0.16529 | 0 |  | 0.051676 | 1.04
B2 | 47.133 | 0.2 | 0.265 |  | 0.865 |  | 2.498 | 40.77 | 0 | 0 | 1.1156 | 0 |  | 0.47561
B3 | 28.956 | 0.2 | 0.265 |  | 0.865 |  | 1.5347 | 25.0469 | 0 | 0 | 0.27416 | 0 |  | 0.21427
B4 | 103.244 | 0.2 | 0.265 |  | 0.865 |  | 5.4719 | 89.3061 | 0 | 0 | 1.4663 | 0 |  | 0.382
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
[7 empty] | 0 | 0 |  |  | 0 | 0 |  | 0
[7 empty] | 0 | 0 |  |  |  | 0 |  | 0
[12 empty] | 0 |  | 0
CB1 | 0 | 0.2 | 0.27 |  | 0.87 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 210.593 | 0.2 |  | 42.1186
[8 empty] | 0 |  |  | 1.4663
Slab | [10 empty] | 0.013883
|  | 249.9255 | 0.135 | 33.7399 |  |  | 33.7399 | 249.9255 | For steel |  |  |  | 6.1444
|  | 75.349 | 0.15 | 11.3024 |  |  | 11.3024 | 75.349 | 325.2745 | [6 empty] | 14.224 | 4.035
[16 empty] | 12.161 | 4.034
0 | 3.2375 | [5 empty] | 0 | 0
| 7.988 | [5 empty] | 0 | 0
OPEN AREA | 11.2255 | [5 empty] | 0 | 0
[7 empty] | 45.0423 | 325.2745 |  |  |  |  | 6.1444
RCC WALL | 1.5 | 0.15 | 2.55 | 2 |  |  | 1.1475 | 7.65 |  |  |  | 0 | 0.047239
Parapet wall |  | 19.5 | 1.2 | 0.1 |  |  | 2.34 | 46.8 |  |  |  |  | 0.44203
Lift well | 16.9 | 0.15 | 1 | 3.25 |  |  | 8.2388 | 109.85 |  |  |  | 0.87825 | 0.67832
[7 empty] | 8.2388 | 109.85 | 0 | 0 | 0 | 0.87825 | 0.67832
Above 5th floor slab
C1 | 12 | 0.225 | 0.425 | 2.525 |  |  | 2.8974 | 32.5725 | 0 | 0 | 75 | 0 |  | 134.6667 | 1.62 | 1.59
[7 empty] | 0 | 0 | 0 | 0 | 0.7101 | 0 |  | 0.17938
C2 | 19 | 0.2 | 0.35 | 2.525 |  |  | 3.3582 | 43.1775 |  | 0 | 88.6667 |  |  | 186.5694 |  | 1.21
[7 empty] | 0 | 0 |  | 0 | 0.8395 |  |  | 0.24851 |  | 0.75
C3 |  | 0.2 | 0.3 | 2.6 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0
[9 empty] | 0 | 0 | 0 |  |  | 0
C4 |  | 0.2 | 0.25 | 2.6 |  |  | 0 | 0 |  | 0 | 0 |  |  | 0
[10 empty] | 0 | 0 |  |  | 0
C5 |  |  | 0.35 | 3.4 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0
[9 empty] | 0 | 0 |  |  |  | 0
C6 |  |  | 1 | 3.4 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0
[7 empty] | 6.2557 | 75.75 | 0 | 0 | 1.5496 | 0 | 0 | 0.42789
STAIR CASE | 17 | 0.25 | 0.176 | 0.85 | 0.5 |  | 0.3179 | 2.5432 |  |  |  |  | 47.25
| 5.25 | 0.85 | 0.15 | 1 | 1 |  | 0.66938 | 6.1725 |  |  | 6.5 |  | 178.5105
| 1.5 | 0.15 | 0.9 | 1 | 1 |  | 0.2025 | 1.35 |  |  |  |  | 0.17851 |  |  | 0.003778
[7 empty] | 1.1898 | 10.0657 | [7 empty] | 0.003778
Lift well | 16.9 | 0.15 | 1 | 3.25 |  |  | 8.2388 | 109.85 |  |  |  | 0.87825 | 0.67832
[7 empty] | 8.2388 | 109.85 | 0 | 0 | 0 | 0.87825 | 0.67832
| 4.62 | [5 empty] | Concrete | Formwork | 25 | 20 | 16 | 12 | 10 | 6
2ND-9TH SLAB
B1 | 22.531 | 0.2 | 0.34 |  | 0.94 |  | 1.5321 | 21.1791 | 0 | 0.50019 | 0.31999 | 0 |  | 0.27283 | 1.04
B1A | 8.729 | 0.2 | 0.34 |  | 0.94 |  | 0.59357 | 8.2053 | 0 | 0.32297 | 0.16529 | 0 |  | 0.051676 | 1.04
B2 | 47.133 | 0.2 | 0.265 |  | 0.865 |  | 2.498 | 40.77 | 0 | 0 | 1.1156 | 0 |  | 0.47561
B3 | 28.956 | 0.2 | 0.265 |  | 0.865 |  | 1.5347 | 25.0469 | 0 | 0 | 0.27416 | 0 |  | 0.21427
B4 | 103.244 | 0.2 | 0.265 |  | 0.865 |  | 5.4719 | 89.3061 | 0 | 0 | 1.4663 | 0 |  | 0.382
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
[7 empty] | 0 | 0 |  |  | 0 | 0 |  | 0
[7 empty] | 0 | 0 |  |  |  | 0 |  | 0
[12 empty] | 0 |  | 0
CB1 | 0 | 0.2 | 0.27 |  | 0.87 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13.3333
| 210.593 | 0.2 |  | 42.1186 | [8 empty] | 26.6667
[8 empty] | 0 |  |  | 1.4663 |  | 4.4444 | 8.8889
Slab | [10 empty] | 0.013883
|  | 249.9255 | 0.135 | 33.7399 |  |  | 33.7399 | 249.9255 | For steel |  |  |  | 6.1444
|  | 75.349 | 0.15 | 11.3024 |  |  | 11.3024 | 75.349 | 325.2745 | [6 empty] | 14.224 | 4.035
[16 empty] | 12.161 | 4.034
0 | 3.2375 | [5 empty] | 0 | 0
| 7.988 | [5 empty] | 0 | 0
OPEN AREA | 11.2255 | [5 empty] | 0 | 0
|  |  |  | 4.16 |  |  | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 45.0423 | 325.2745 |  |  |  |  | 0
RCC WALL | 1.5 | 0.15 | 2.55 | 2 |  |  | 1.1475 | 7.65 |  |  |  | 0 | 0.047239
6th -9TH floor slab
C1 | 12 | 0.225 | 0.425 | 2.525 |  |  | 2.8974 | 32.5725 | 0 | 0 | 75 | 0 |  | 134.6667 | 1.62 | 1.59
[7 empty] | 0 | 0 | 0 | 0 | 0.7101 | 0 |  | 0.17938
C2 | 19 | 0.2 | 0.35 | 2.525 |  |  | 3.3582 | 43.1775 |  | 0 | 88.6667 |  |  | 186.5694 |  | 1.21
[7 empty] | 0 | 0 |  | 0 | 0.8395 |  |  | 0.24851 |  | 0.75
C3 |  | 0.2 | 0.3 | 2.6 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0
[9 empty] | 0 | 0 | 0 |  |  | 0
C4 |  | 0.2 | 0.25 | 2.6 |  |  | 0 | 0 |  | 0 | 0 |  |  | 0
[10 empty] | 0 | 0 |  |  | 0
C5 |  |  | 0.35 | 3.4 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0
[9 empty] | 0 | 0 |  |  |  | 0
C6 |  |  | 1 | 3.4 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0
[7 empty] | 6.2557 | 75.75 | 0 | 0 | 1.5496 | 0 | 0 | 0.42789
Lift well | 8 | 0.15 | 1 | 4.87 |  |  | 5.844 | 77.92 |  |  |  | 0.62297 | 0.48116
[7 empty] | 5.844 | 77.92 | 0 | 0 | 0 | 0.62297 | 0.48116
TERRACE FLOOR
C1 | 7 | 0.225 | 0.425 | 2.525 |  |  | 1.6902 | 19.0006 | 0 | 0 | 43.75 | 0 |  | 78.5556 | 1.62 | 1.59
[7 empty] | 0 | 0 | 0 | 0 | 0.41423 | 0 |  | 0.10464
C2 | 2 | 0.2 | 0.35 | 2.525 |  |  | 0.3535 | 4.545 |  | 0 | 9.3333 |  |  | 19.6389 |  | 1.21
[7 empty] | 0 | 0 |  | 0 | 0.088368 |  |  | 0.026159 |  | 0.75
[7 empty] | 2.0437 | 23.5456 | 0 | 0 | 0.50259 | 0 | 0 | 0.13079
Lift well | 6.9 | 0.15 | 1 | 3.25 |  |  | 3.3638 | 44.85 |  |  |  | 0.35858 | 0.27695
[7 empty] | 3.3638 | 44.85 | 0 | 0 | 0 | 0.35858 | 0.27695
B1 | 22.531 | 0.2 | 0.34 |  | 0.94 |  | 1.5321 | 21.1791 | 0 | 0.50019 | 0.31999 | 0 |  | 0.27283 | 1.04
B1A | 8.729 | 0.2 | 0.34 |  | 0.94 |  | 0.59357 | 8.2053 | 0 | 0.32297 | 0.16529 | 0 |  | 0.051676 | 1.04
B2 | 4.943 | 0.2 | 0.265 |  | 0.865 |  | 0.26198 | 4.2757 | 0 | 0 | 0.117 | 0 |  | 0.049879
B3 | 10.028 | 0.2 | 0.265 |  | 0.865 |  | 0.53148 | 8.6742 | 0 | 0 | 0.094945 | 0 |  | 0.074207
B4 | 6.894 | 0.2 | 0.265 |  | 0.865 |  | 0.36538 | 5.9633 | 0 | 0 | 0.097909 | 0 |  | 0.025508
[7 empty] | 3.2845 | 48.2976 |  |  | 0.79513 | 0 | 0 | 0.4741
| 53.125 | 0.2 | 10.625
Above Terrace
Lift well |  | 0.15 | 3.683 | 1 |  |  | 0 | 0 |  |  |  | 0 | 0
B1 | 22.531 | 0.2 | 0.34 |  | 0.94 |  | 1.5321 | 21.1791 | 0 | 0.50019 | 0.31999 | 0 |  | 0.27283 | 1.04
B1A | 8.729 | 0.2 | 0.34 |  | 0.94 |  | 0.59357 | 8.2053 | 0 | 0.32297 | 0.16529 | 0 |  | 0.051676 | 1.04
B2 | 4.943 | 0.2 | 0.265 |  | 0.865 |  | 0.26198 | 4.2757 | 0 | 0 | 0.117 | 0 |  | 0.049879
B3 | 10.028 | 0.2 | 0.265 |  | 0.865 |  | 0.53148 | 8.6742 | 0 | 0 | 0.094945 | 0 |  | 0.074207
B4 | 6.894 | 0.2 | 0.265 |  | 0.865 |  | 0.36538 | 5.9633 | 0 | 0 | 0.097909 | 0 |  | 0.025508
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
[7 empty] | 0 | 0 |  |  | 0 | 0 |  | 0
[7 empty] | 0 | 0 |  |  |  | 0 |  | 0
[12 empty] | 0 |  | 0
[7 empty] | 3.2845 | 48.2976 |  |  | 0.79513 | 0 | 0 | 0.4741
| 106.035 | 106.035 | 0.135 | 14.3147 |  |  | 14.3147 | 106.035 | For steel |  |  |  | 2.1632
| OPEN |  | 0.15 | 0 |  |  | 0 |  | 106.035
1152.5543 | [6 empty] | 0 | 0
[7 empty] | 0 | 0
B1 |  | 0.2 | 0.34 |  | 0.94 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.04
B1A |  | 0.2 | 0.34 |  | 0.94 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.04
B2 | 5.181 | 0.2 | 0.265 |  | 0.865 |  | 0.27459 | 4.4816 | 0 | 0 | 0.12263 | 0 |  | 0.052281
B3 | 2.5 | 0.2 | 0.265 |  | 0.865 |  | 0.1325 | 2.1625 | 0 | 0 | 0.02367 | 0 |  | 0.0185
B4 |  | 0.2 | 0.265 |  | 0.865 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
[7 empty] | 0 | 0 |  |  | 0 | 0 |  | 0
[7 empty] | 0 | 0 |  |  |  | 0 |  | 0
[12 empty] | 0 |  | 0
[7 empty] | 0.40709 | 6.6441 |  |  | 0.1463 | 0 | 0 | 0.070781
| 10.489 | -10.971 | 0.135 | -1.4811 |  |  | -1.4811 | -10.971 | For steel |  |  |  | -0.22382
ROOF LEVEL
C1 | 2 | 0.225 | 0.425 | 2.525 |  |  | 0.48291 | 5.4287 | 0 | 0 | 12.5 | 0 |  | 22.4444 | 1.62 | 1.59
[7 empty] | 0 | 0 | 0 | 0 | 0.11835 | 0 |  | 0.029896
C2 | 2 | 0.2 | 0.2 | 2.525 |  |  | 0.202 | 3.03 |  | 0 | 0 | 6 |  | 10.1 |  | 1.21
[7 empty] | 0 | 0 |  | 0 | 0 | 0.03198 |  | 0.013453 |  | 0.75
[7 empty] | 0.68491 | 8.4588 | 0 | 0 | 0.11835 | 0.03198 | 0 | 0.043349
Lift well | 6.9 | 0.15 | 1 | 3.25 |  |  | 3.3638 | 44.85 |  |  |  | 0.35858 | 0.27695
[7 empty] | 3.3638 | 44.85 | 0 | 0 | 0 | 0.35858 | 0.27695
| OPEN |  | 0.15 | 0 |  |  | 0 |  | -10.971
114.0109 | [6 empty] | 0 | 0
[7 empty] | 0 | 0
B1 |  | 0.2 | 0.34 |  | 0.94 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.04
B1A |  | 0.2 | 0.34 |  | 0.94 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.04
B2 |  | 0.2 | 0.265 |  | 0.865 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
B3 | 13.208 | 0.2 | 0.265 |  | 0.865 |  | 0.70002 | 11.4249 | 0 | 0 | 0.12505 | 0 |  | 0.097739
B4 | 2.5 | 0.2 | 0.265 |  | 0.865 |  | 0.1325 | 2.1625 | 0 | 0 | 0.035505 | 0 |  | 0.00925
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
[7 empty] | 0 | 0 |  |  | 0 | 0 |  | 0
[7 empty] | 0 | 0 |  |  |  | 0 |  | 0
[12 empty] | 0 |  | 0
[7 empty] | 0.83252 | 13.5874 |  |  | 0.16056 | 0 | 0 | 0.10699
| 21.707 | 21.707 | 0.135 | 2.9304 |  |  | 2.9304 | 21.707 | For steel |  |  |  | 0.44285
| OPEN |  | 0.15 | 0 |  |  | 0 |  | 21.707
235.9457 | [6 empty] | 0 | 0
[7 empty] | 0 | 0
Parapet wall Terrace |  | 10.399 | 0.15 | 1 |  |  | 1.5598 | 20.798 |  |  | 0.10256 |  | 0.11786 | 0.017699
|  | 0 | 2 | 0.1 |  |  | 0 | 0 |  |  |  |  | 0
[7 empty] | 1.5598 | 20.798 |  |  | 0.10256 | 0 | 0.11786 | 0.017699
112.608 |  |  |  | FINISHING WORK
124.032 | [6 empty] | 1.62 | 135.05
masonry |  |  |  |  | msonry | plaster | screed | toilet floor |  |  | toilet wall | floor
Ground | 98.246 | 3.1 | 304.5626 |  | 304.5626 | 304.5626 | 333.2625 | 13.952 | 78.795 |  | 78.795 | 319.3105
| 35.734 | 3.1 | 110.7754 |  | 110.7754 | 526.1134
1st | 98.246 | 2.55 | 250.5273 |  | 250.5273 | 250.5273 | 333.2625 | 7.168 | 40.5399 |  | 40.5399
| 62.432 | 2.55 | 159.2016 |  | 159.2016 | 568.9305 |  |  |  |  | 0
2nd | 98.246 | 2.55 | 250.5273 |  | 250.5273 | 250.5273 | 333.2625 | 7.168 | 40.5399 |  | 40.5399
| 70.132 | 2.55 | 178.8366 |  | 178.8366 | 608.2005 |  |  |  |  | 0
Terrace floor | 39.646 | 2.55 | 101.0973 |  | 101.0973 | 202.1946 | 333.2625 | 7.168 | 40.5399 |  | 40.5399
| 14.795 | 3.55 | 52.5222 |  | 52.5222 | 307.2391 | 0 | 7.168 | 40.5399 |  | 40.5399
Terrace floor | 21.46 | 2.55 | 54.723 |  | 54.723 | 109.446 | 333.2625 | 7.168 | 40.5399 |  | 40.5399
| 2.5 | 3.55 | 8.875 |  | 8.875 | 127.196 | 0 | 7.168 | 40.5399 |  | 40.5399
Terrace floor | 46.506 | 1 | 1 | 1 | 46.506 | 93.012 | 0 |  |  |  |  | 0
|  |  | 0 | 0 | 0 | 0 | 0
| 13.468 | 9.774 | [11 empty] | 384
Roof ing | 131.6362 | 11.5 | 1513.8167 | [10 empty] | 116.736 |  | 3622.4185
c purlin | 438.7874 | 1 | 438.7874 |  |  | 14.375
facia bord | 40.484 |  |  |  |  | 1892.2708
| 13.2978 | 129.9725
| Area |  |  | GF | 1F | 2F | 3F | 4F | 5F | 6F | 7F | 8F | 9F | Ter |  | Total | G | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th
Door - G1 | 5.25 | 2250 | 11812.5 | 1 | [11 empty] | 1 | 5.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Door - G2 | 4.515 | 2250 | 10158.75 | 1 | [11 empty] | 1 | 4.515 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Door - D1 | 8.2824 | 2250 | 18635.4 | 1 | [11 empty] | 1 | 8.2824 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Door - D1A | 3.5616 | 2250 | 8013.6 | 1 | [11 empty] | 1 | 3.5616 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Door - D2 | 2.205 | 2250 | 4961.25 | 1 | 2 | 2 | [7 empty] | 2 |  | 7 | 2.205 | 4.41 | 4.41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.41
Door - D3 | 1.89 | 2250 | 4252.5 |  | 11 | 8 | [9 empty] | 19 | 0 | 20.79 | 15.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Door - D4 | 1.68 | 2250 | 3780 | 1 | [9 empty] | 1 |  | 2 | 1.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.68
Door - D5 | 5.775 | 2250 | 12993.75 | [10 empty] | 1 |  | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.775
Door - D6 | 2.205 | 2250 | 4961.25 | [10 empty] | 1 |  | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.205
Window- W1 | 3.2375 | 2250 | 7284.375 |  | 5 | 5 | [7 empty] | 1 |  | 11 | 0 | 16.1875 | 16.1875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2375
Window- CW1 | 2.88 | 2250 | 6480 |  | 6 | 6 | [9 empty] | 12 | 0 | 17.28 | 17.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Window- CW2 | 1.44 | 2250 | 3240 |  | 3 | 4 | [9 empty] | 7 | 0 | 4.32 | 5.76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Window- CW3 | 1.44 | 2250 | 3240 |  | 8 | 8 | [9 empty] | 16 | 0 | 2nd: 11.52
Window- FW1 | 7.92 | 2250 | 17820 | 7 | [11 empty] | 7 | 55.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Window- W4 | 1.2 | 2250 | 2700 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Window- W5 | 0.42 | 2250 | 945 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Window- W6 | 1.2 | 2250 | 2700 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[16 empty] | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
[16 empty] | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 13 | 35 | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 85 | 71.169 | 62.9875 | 70.2775 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.3075
Window- CW1 | 102.69 | 2250 | 231052.5 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Window- CW2 | 64.9285 | 2250 | 146089.2037 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Window- CW3 | 71.5091 | 2250 | 160895.43 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Sheet1
Contents | Page
Summary | 2
BILL No: 01 - PRELIMINARIES | 3
BILL No: 02 - GROUND WORKS | 4
BILL No: 03 - CONCRETE | 5
BILL No: 04 - MASONRY AND PLASTERING | 9
BILL No: 05 - METAL WORKS | 10
BILL N0: 06 - PARTITION WOOD WORKS | 11
BILL N0: 07 - CEILINGWORKS | 12
BILL N0: 08 -DOORS AND WINDOWS | 13
BILL No: 09 - FINISHES | 14
BILL No: 10 - HYDRAULICS AND DRAINAGE | 15
BILL No: 11 - PAINTING | 17
BILL No: 12 - ELECTRICAL INSTALLATION | 18
BILL No: 13 - FIRE STOPPING & FIRE PROTECTION | 20

## Summary
PROPOSED THREE STOREY INNOVATION LAB BUILDING
SUMMARY OF BILLS OF QUANTITIES
CLIENT: Ministry of Youth, Sports and Community Empowerment
BILL NO | DESCRIPTION | MATERIAL AMOUNT MVR | LABOUR AMOUNT MVR | TOTAL AMOUNT MVR
1 | PRELIMINARIES | 0 | 0 | 0
2 | GROUND WORKS | 0 | 0 | 0
3 | CONCRETE WORK | 0 | 0 | 0
4 | MASONRY AND PLASTERING | 0 | 0 | 0
5 | METAL WORKS | 0 | 0 | 0
6 | PARTITION WOOD WORKS | 0 | 0 | 0
7 | CEILING WORKS | 0 | 0 | 0
8 | DOORS AND WINDOWS | 0 | 0 | 0
9 | FINISHES | 0 | 0 | 0
10 | HYDRAULICS AND DRAINAGE | 0 | 0 | 0
11 | PAINTING WORKS | 0 | 0 | 0
12 | ELECTRICAL INSTALLATIONS | 0 | 0 | 0
13 | FIRE STOPPING & FIRE PROTECTION | 0 | 0 | 0
PROJECT VALUE TOTAL |  | 0 | 0 | 0
GST 6% |  | 0 | 0 | 0
GRAND TOTAL |  | 0 | 0 | 0
|  |  |  | 7800000 | 91.3297
8.6703
100

## BOQ
Item | Description | Qty | Unit | MATERIAL AMOUNT | LABOUR AMOUNT | TOTAL AMOUNT
BILL No: 01
PRELIMINARIES
1.1 | GENERAL NOTES
1 | Abbreviations
m - metre
Nos - numbers
m³ - cubic metre
m² - square metre
m - metre
kg - kilogram
incl - including
mm - millimetre
dia - diametre
SS - Staiinless Steel
GI - Galvinised Iron
1.2 | SITE MANAGEMENT COSTS
1 | Allow for all on and off site management costs including costs of foreman and assistants, temporary services, telephone, fax, hoardings, fences and similar items. | 1 | Item
1.3 | SIGN BOARD
1 | Allow for sign board. | 1 | Nos.
1.4 | CONCRETE TESTING
1 | Allow for concrete testing | 1 | Item
1.5 | CLEAN - UP
| Allow for clean up of completed works and site upon completion | 1 | Item
BILL No: 01 - PRELIMINARIES
TOTAL OF BILL No: 01 - Carried over to summary
BILL No: 02
GROUND WORKS
2 | GENERAL
Rates shall include for; levelin, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and dispoding surplus soil
2.1 | SITE CLEARING
| Demolition of any existing buildings and removal of those material from the site. Removing and clearing any shrubs or trees from the site. | 349.907 | m²
2.2 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork/shuttering and dewatering the trenches and others
1 | Excavation for foundation Footings | 177.8186 | m³
2.3 | WATER PROOFING
Note: Rates shall include for: dressing around and sealing to avoid all penetrations
1 | Apply 2 coats of water proofing paint on all concrete surfaces below finished floor level in accordance with BS 8102 standards | 1 | Item
2.4 | BACK FILLING
Rates shall include for levelling, grading, trimming and compacting.
1 | Sand filling upto 200mm including compaction as per specification, to receive ground slab | 1 | item
2.5 | CLEANING UPON COMPLETION
| Cleaning the site upon completion of all works | 1 | Item
BILL No: 02 - GROUND WORKS
TOTAL OF BILL No: 02 - Carried over to summary
BILL No: 03
CONCRETE WORK
3.1 | GENERAL
(a) Rates shall include for: provision to place in position; casting of all required items and finishing after removal of formwork and additional concrete required to conform to structural and excavated tolerances
(b) Rates shall include supply of all formwork item including form oil, timber, plywood, nails etc.
(c) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:3:6 by volume
3.2 | LEAN CONCRETE
Note: Quantity is measured to the edges of concrete members.
1 | 50mm thick lean concrete to bottom of foundation pads and beams | 7.5184 | m³
3.3 | DAMP PROOF MEMBRANE
Damp prof membrane to bottom of concrete elements as per specification
1 | Polythene sheet 500 gauge to foundations | 150.3688 | m²
3.4 | REINFORCED CONCRETE
In-situ reinforced concrete to:
3.4.1 | Foundation level
1 | Foundation- F1 -F4, Strip- 01 & Raft | 44.7657 | m³
2 | Foundation- TB1 & TB2 | 16.9672 | m³
3 | Stair Starter | 0.08775 | m³
4 | Columns | 1.4865 | m³
5 | Lift well | 1.62 | m³
3.4.2 | Ground Floor
1 | Columns | 6.2557 | m³
2 | Staircase | 1.79 | m³
3 | Lift well | 3.123 | m³
3.4.3 | First Floor
1 | Attached Beams & Slab, | 56.6726 | m³
2 | Columns | 6.2557 | m³
3 | Staircase | 1.1898 | m³
4 | Lift well | 3.123 | m³
3.4.4 | Second Floor
1 | Attached Beams & Slab, | 56.6726 | m³
2 | Columns | 6.2557 | m³
3 | Staircase | 1.1898 | m³
4 | Lift well | 3.123 | m³
3.4.5 | Terrace Floor
1 | Attached Beams & Slab, | 56.6726 | m³
2 | Columns | 2.0437 | m³
3 | Staircase | 1.1898 | m³
4 | Lift well | 5.844 | m³
3.4.5 | Roof Beam
1 | Attached Beams & Roof Slab, | 20.5297 | m³
3.5 | REINFORCEMENT
GENERAL
(a) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and chair supports, laps and wastage
(b) All reinforcing bars except 6mm dia bars shall be high strength deformed bars.
(c) The exact length exclusive of laps are given. The rates shall take into account laps and any wastage.
3.5.1 | Foundation level
1 | Foundation- F1 -F4, Strip- 01 & Raft
| 16 mm dia. Bars | 1.9497 | t
| 12 mm dia. Bars | 1.2668 | t
| 10 mm dia. Bars | 0.47273 | t
2 | Foundatio TieBeam - TB1 &TB2
| 16 mm dia. Bars | 3.7873 | t
| 12 mm dia. Bars | 0 | t
| 6mm dia bars | 1.2299 | t
3 | Columns
| 16 mm dia. Bars | 1.5496 | t
| 6mm dia bars | 0.10168 | t
4 | Stair Starter
| 10 mm dia. Bars | 0.0088405 | t
5 | Lift well
| 12 mm dia. Bars | 0.17269 | t
| 10 mm dia. Bars | 0.13338 | t
3.5.2 | Ground Floor
1 | Columns
| 16 mm dia. Bars | 3.0992 | t
| 12 mm dia. Bars | 0 | t
| 6mm dia bars | 0.52956 | t
2 | Staircase
| 10 mm dia. Bars | 0.44373 | t
3 | Lift well
| 12 mm dia. Bars | 0.36649 | t
| 10 mm dia. Bars | 0.28306 | t
3.5.3 | 1st Floor
1 | Attached Beams & Slab
| 20 mm dia. Bars | 0.82316 | t
| 16 mm dia. Bars | 3.3413 | t
| 12mm dia bars | 0 | t
| 10 mm dia. Bars | 6.1444 | t
| 6 mm dia. Bars | 1.3964 | t
2 | Columns
| 16 mm dia. Bars | 1.5496 | t
| 12 mm dia. Bars | 0 | t
| 6mm dia bars | 0.42789 | t
3 | Staircase
| 10 mm dia. Bars | 0.44373 | t
4 | Lift well | 0
| 12 mm dia. Bars | 0.36649 | t
| 10 mm dia. Bars | 0.28306 | t
3.5.4 | 2nd Floor
1 | Attached Beams & Slab
| 20 mm dia. Bars | 0.82316 | t
| 16 mm dia. Bars | 3.3413 | t
| 12mm dia bars | 0 | t
| 10 mm dia. Bars | 6.1444 | t
| 6 mm dia. Bars | 1.3964 | t
2 | Columns | 0
| 16 mm dia. Bars | 1.5496 | t
| 12 mm dia. Bars | 0 | t
| 6mm dia bars | 0.42789 | t
3 | Staircase | 0
| 10 mm dia. Bars | 0.44373 | t
4 | Lift well | 0
| 12 mm dia. Bars | 0.36649 | t
| 10 mm dia. Bars | 0.28306 | t
3.5.5 | Terrace Floor
1 | Attached Beams & Slab
| 20 mm dia. Bars | 0.82316 | t
| 16 mm dia. Bars | 3.3413 | t
| 12mm dia bars | 0 | t
| 10 mm dia. Bars | 6.1444 | t
| 6 mm dia. Bars | 1.3964 | t
2 | Columns
| 16 mm dia. Bars | 0.50259 | t
| 12 mm dia. Bars | 0 | t
| 6mm dia bars | 0.13079 | t
3 | Staircase | 0
| 10 mm dia. Bars | 0.44373 | t
4 | Lift well | 0
| 12 mm dia. Bars | 0.36649 | t
| 10 mm dia. Bars | 0.28306 | t
3.5.6 | Roof Slab
1 | Attached Beams, Slab
| 16 mm dia. Bars | 0.79513 | t
| 12mm dia bars | 0 | t
| 10 mm dia. Bars | 2.1632 | t
| 6 mm dia. Bars | 0.4741 | t
3.6 | FORM WORK
GENERAL
(a) Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, straps, ties, hangers, pipes, edge formwork and removal of formwork.
3.6.1 | Foundation level
1 | Foundation- F1 -F4, Strip- 01 & Raft | 104.5273 | m²
2 | Foundatio TieBeam - TB1 &TB2 | 166.2273 | m²
3 | Stair Starter | 1.435 | m²
4 | Columns | 18 | m²
5 | Lift well | 21.6 | m²
3.6.2 | Ground Floor
1 | Columns | 93.75 | m²
2 | Staircase | 15.665 | m²
3 | Lift well | 41.64 | m²
3.6.3 | First Floor
1 | Attached Beams & Slab | 509.7819 | m²
2 | Columns | 75.75 | m²
3 | Staircase | 10.0657 | m²
4 | Lift well | 41.64 | m²
3.6.4 | Second Floor
1 | Attached Beams & Slab | 249.9255 | m²
2 | Columns | 125.45 | m²
3 | Staircase | 8.2053 | m²
4 | Lift well | 25.0469 | m²
3.6.5 | Terrace Floor
1 | Attached Beams & Slab | 509.7819 | m²
2 | Columns | 23.5456 | m²
3 | Lift well | 77.92 | m²
3.6.6 | Roof Beam & Slab
1 | Roof Beam & Slab | 154.3326 | m²
BILL No: 03 - CONCRETE
TOTAL OF BILL No: 03 - Carried over to summary
BILL No: 04
MASONRY AND PLASTERING
4.1 | GENERAL
Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down reveals where necessary; and wall panels, cutting or leaving holes and openings as recesses, building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames, temporary supports to openings. Providing approved quality mesh at joints between structaral members and masonry in the exterior walls.
4.2 | EPS SOLID WALL PANEL WORK
4.2.1 | 150mm EPS Solid Wall Panels
1 | Ground floor | 415.338 | m²
2 | 1st floor | 409.7289 | m²
3 | 2nd floor | 429.3639 | m²
4 | Terrace floor | 153.6196 | m²
5 | Roof Level | 63.598 | m²
4.3 | PLASTERING
Plastering on walls and concrete surfaces in accordance with the specifications
4.3.1 | Exterior & Interior surfaces of walls
20mm Thick ready mix weather sheild plastering cement on external surfaces and 15mm Thick ready mix plastering cement on internal surfaces of walls and concrete column surfaces and 15 mm thick water proofing ready mix plastering to all toilets as specified including wire mesh at joints of concrete surfaces and masonry walls
1 | Ground floor | 830.676 | m²
2 | 1st floor | 819.4578 | m²
3 | 2nd floor | 858.7278 | m²
4 | Terrace floor | 509.4337 | m²
5 | Roof Level | 236.642 | m²
4.4 | FLOORING
4.4.1 | 35mm Thick cement sand screed on concrete floor with 1:4 mortar mix with a smooth finish for general areas
1 | Ground floor | 333.2625 | m²
2 | 1st floor | 333.2625 | m²
3 | 2nd floor | 333.2625 | m²
4 | Terrace floor | 333.2625 | m²
BILL No: 04 - MASONRY AND PLASTERING
TOTAL OF BILL No: 04 - Carried over to summary
BILL No: 05
METAL WORKS
5.1 | GENERAL
(a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts including those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
(b) Rates shall include for all painting and finishing.
(c) Rates shall include for fabrication and erection of temporary supports and fixing into position
5.2 | SS Pipe Handrails for Staircase as shown in drawing
1 | Handrail of staircase | 4 | item
5.3 | SS Pipe Handrails for Ramp as shown in drawing
1 | Handrail of Ramp | 1 | item
BILL No: 05 - METAL WORKS
TOTAL OF BILL No: 05 - Carried over to summary
BILL No: 06
PARTITION WOOD WORKS
6.1 | General
(a) Rates shall include for: all labour in framing, notching andfitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
6.2 | TIMBER TRELLIS
1 | Timber Joist 50 X 150 mm @100mm c/c | 355.5 | m
6.3 | General
| (a) Rates shall include for: fair edges,dressing over angel fillets, turning into grooves, all other labours,circular edges, nails, screws and other fixings and laps. | [5 empty] | 8.67 | 0
6.3.1 | G.I COLUMNS | [6 empty] | 14.4
1 | 100mm x100mm GI Columns | 24 | nos
6.3.2 | PARTITION
1 | Sound Proof Partition | 330.1281 | m²
2 | Glass Partition | 79.6008 | m²
BILL N0: 06 - PARTITION WOOD WORKS
TOTAL OF BILL No: 06 - Carried over to summary
BILL No: 07
CEILING WORKS
7.1 | GENERAL
(a) Rates shall include for all fixing, cutting, trimmings, nails, screws and other fixings according to manufacturers' instructions.
(b) Rates shall include for timber priming and all putty work as specified in the drawing
(c) Rates shall include for all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar complete with cleats, packers, wedges and timber beeding etc. similar and all nails and screws
7.2 | Ceilings
4.5mm Cement fibre board ceiling with timber cornice, including timber framing, trimming, nails, screws and other fixings.
The ceiling frame shall be constructed using 50 X 50 mm timber, and all the frames supported to the walls shall be installed using brass screws and wall plugs.
The bottom framing of the ceiling shall also be completed under the direction of the consultant
7.3 | Gypsum Board
1 | Ground floor | 333.26 | m²
2 | 1st floor | 333.26 | m²
3 | 2nd floor | 333.26 | m²
4 | Terrace floor | 106.035 | m²
BILL N0: 07 - CEILINGWORKS
TOTAL OF BILL No: 07 - Carried over to summary
BILL N0: 08
DOORS AND WINDOWS
8.1 | GENERAL
(a) Rates shall include for locks, latches, closures, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware. These materials should brass and of superior quality.
(b) Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boarding, framing, lining, fastenings and all fixings
(c) Rates shall include for painting timber doors
8.2 | DOORs & WINDOW UNITS
1 | Door - G1 | 1 | Nos
2 | Door - G2 | 1 | Nos
3 | Door - D1 | 1 | Nos
4 | Door - D1A | 1 | Nos
5 | Door - D2 | 7 | Nos
6 | Door - D3 | 19 | Nos
7 | Door - D4 | 2 | Nos
8 | Door - D5 | 1 | Nos
9 | Door - D6 | 1 | Nos
10 | Window- W1 | 11 | Nos
11 | Window- CW1 | 12 | Nos
12 | Window- CW2 | 7 | Nos
13 | Window- CW3 | 16 | Nos
14 | Window- FW1 | 7 | Nos
8.2 | GLASS CURTAIN WALL
1 | Future Wall | 74.3845 | m²
2 | Glass Curtain Wall -CW1 | 102.69 | m²
3 | Glass Curtain Wall -CW2 | 64.9285 | m²
4 | Glass Curtain Wall -CW3 | 71.5091 | m²
BILL N0: 08 -DOORS AND WINDOWS
TOTAL OF BILL No: 08 - Carried over to summary
BILL N0: 09
FINISHES
9.1 | GENERAL
Note: Rates shall include for: fixing, bedding, grouting, pointing, finishing and any other similar works to ensure the required finish.
9.2 | FLOOR FINISHES
9.2.1 | 600mm x 600mm Homogenous tiles on floor
1 | Ground floor | 319.3105 | m²
2 | 1st floor | 333.2625 | m²
3 | 2nd floor | 333.2625 | m²
4 | Terrace floor | 333.2625 | m²
9.2.2 | 300mm x 300mm Non-skid ceramic tiles on Toilet floor
1 | Ground floor | 13.952 | m²
2 | 1st floor | 7.168 | m²
3 | 2nd floor | 7.168 | m²
4 | Terrace floor | 7.168 | m²
9.3 | WALL FINISHES
9.3.1 | 300 x 600 ceramic tile finish on toilet walls
1 | Ground floor | 78.795 | m²
2 | 1st Floor toilets | 40.5399 | m²
3 | 2nd Floor toilets | 40.5399 | m²
4 | Terrace floor | 40.5399 | m²
BILL No: 09 - FINISHES
TOTAL OF BILL No: 09- Carried over to summary
BILL No: 10
HYDRAULICS & DRAINAGE
10.1 | HYDRAULICS
10.1.1 | Preamble notes
(a) Rates shall include for sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints, backnuts and similar, incidental fittings, clips saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes, excavating, laying pipes and backfilling trenches.
(b) All pipe work and fittings shall be high pressure PVC
(c) Rate shall include for supply and fixing of all pipes
10.1.2 | Internal Plumbing
| Internal plumbing to all toilets & kitchens incl. Supply and laying of pipes. | 1 | Item
10.1.3 | External plumbing
1 | MWSC Water Meter | 1 | Item
2 | Waste water and sewage connection to mains, from all the toilets & sinks inc. supply and laying of pipes including inspection chambers as necessary | 1 | Item
3 | Ground water connection to all toilets and sinks. Rate shall include for supply and laying of pipes. | 1 | Item
4 | 150mm dia. UPVC pipe for rain water collection as shown in drawings, complete with fittings | 1 | item
9.1.4 | Sanitary Fixtures & Accessories
Sanitary fixtures complete including brackets, stop valves, fittings etc. All sanitary fittings shall be of superior quality. Taps, Hand shower, Head shower and towel bar should be plastic.
1 | Water closet, complete with flush tank | 10 | Nos
2 | Wash basin with drain fixed to counter top | 10 | Nos
3 | Wash basin Tap | 10 | Nos
4 | Muslim shower | 10 | Nos
5 | Floor drain with gully trap | 10 | Nos
6 | Head Shower | 10 | Nos
7 | Faucet | 10 | Nos
8 | Sink with tap | 0 | Nos
9 | Mirror | 10 | Nos
10 | Water Taps | 10 | Nos
11 | Valves | 10 | Nos
9.1.5 | Pumps
1 | Supply and installation of appropriate capacity Water pump complete including pump stand, connecting to pipe work and electricity as specified | 1 | Nos
9.2 | DRAINAGE
9.2.1 | Preamble notes
(a) Rates shall include for excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints and all joints and other incidental materials.
(b) All pipework shall be PVC
9.2.2 | Inspection chambers
1 | Supply and installation of inspection chamber as shown in the drawings according to specifications | 1 | Nos
BILL No: 10 - HYDRAULICS AND DRAINAGE
TOTAL OF BILL No: 09 - Carried over to summary
BILL No: 11
PAINTING
11.1 | GENERAL NOTE
(a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door window furniture
(b) All painting work shall be carried in accordance with the Specifications
11.2 | WALLS AND CONCRETE SURFACES
Emulsion paint finish on cement plastered walls and concrete column surfaces. Exterior walls should be applied with weather proof paint.
1 coat of wall sealer, 1 coat of textured and two coats of paint
EXTERIOR WALL
1 | Ground floor Exterior | 830.676 | m²
2 | 1st floor Exterior | 819.4578 | m²
3 | 1st floor Exterior | 858.7278 | m²
4 | Terrace floor Exterior | 509.4337 | m²
5 | Roof level Exterior | 236.642 | m²
INTERIOR WALL
1 | Ground floor Interior | 830.676 | m²
2 | 1st floor Interior | 819.4578 | m²
3 | 2nd floor Interior | 858.7278 | m²
4 | Terrace floor interior | 509.4337 | m²
5 | Roof level interior | 236.642 | m²
11.3 | CEILING / SOFFIT OF SLAB
Emulsion paint finish after grinding and application of putty.
1 | Emulsion putty paint finish . | 1048.34 | m²
BILL No: 11 - PAINTING
TOTAL OF BILL No: 11 - Carried over to summary
BILL No: 12
ELECTRICAL INSTALLATIONS
12.1 | GENERAL
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates for electrical conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
(d) Light end and switch end of wiring together measured as one point
(e) A point wiring for power points is measured as one point for each socket outlet; other end of wire is not included in the quantity.
(f) Rates shall include for supply and complete installation
(g) Three phase power supply.
12.2 | ELECTRICAL BOARDS
Complete installation, including for all connections, earthing, painting, testing and similar of:
1 | Distribution board | 3 | Nos
12.3 | ELECTRICAL WIRING
Electrical wiring with copper conductor cable in conduits in walls and concrete as per government regulations.
1 | Wiring to lights | 210 | points
2 | Wiring to power points | 149 | points
3 | Wiring to Distribution boards | 3 | nos
12.4 | LIGHTING, POWER POINTS & FANS
1 | Ceiling fan (56") with SS fixing hook |  | nos
2 | Fan dimmer |  | nos
4 | Outer GardenLights | 0 | nos
5 | 40w Ceiling Light | 169 | nos
6 | 40w Ceiling mount Light | 4 | nos
7 | 40w weather proof Wall Mount Light | 18 | nos
8 | 40w weather proof Ceiling Mount Light | 19 | nos
9 | 40w outor pendent Light | 0 | nos
10 | One way switch(1 gang) | 169 | nos
11 | One way switch(2 gang) | 37 | nos
12 | Two way switch | 8 | nos
13 | Wall socket outlet, single gang 13A | 10 | nos
14 | Wall socket outlet, double gang 13A | 100 | nos
15 | Wall socket outlet, single gang 15A | 32 | nos
16 | Water Proof socket outlet, single gang 13A | 7 | nos
19 | Net work Socket | 4 | nos
20 | Cable TV Point | 4 | nos
12.5 | AIR-CONDITIONER
1 | Wall Mounted Split Type Ac | 24 | nos
2 | Ceiling Cassette Type Ac | 7 | nos
BILL No: 12 - ELECTRICAL INSTALLATION
TOTAL OF BILL No: 12 - Carried over to summary
BILL No: 13
FIRE STOPPING & FIRE PROTECTION
13.1 | GENERAL
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for cable conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
( c ) Rates shall include for all necessary electrical wiring and accessories required for completion
(d) All items shall be supply and complete installation
13.2 | FIRE ALARM SYSTEM
1 | Supply and installation of Fire alarm control panel | 1 | nr
2 | Supply and installation of smoke detector | 16 | nr
3 | Supply and installation of Manual call point | 6 | nr
4 | Supply and installation of sounder/bell | 4 | nr
5 | Supply and installation of beacons | 4 | nr
FIRE EXTINGUISHERS.
1 | Supply and installation of 2Kg CO2 Extinguishers | 8 | nr
2 | Supply and installation of 9 Lt. water Extinguishers. | 8 | nr
BILL No: 13 - FIRE STOPPING & FIRE PROTECTION
TOTAL OF BILL No: 13 - Carried over to summary

## Summary Analize (hidden)
FLOOR | Preliminaries | Ground Works | Concrete Works | Masonry & Plastering | Metal Works | Ceiling Works | Doors | Finishes | Plumbing | Panitng | Electrical with Lift | Roofing | TOTAL
| 0 | [11 empty] | 0 | 0 | 0
|  | 0 | [10 empty] | 0 | 0 | 0
Basemenet |  |  | 0 | [9 empty] | 0 | 0
Ground Floor |  |  | 0 | #REF! | 0 | 0 | 437800.701 | 0 | 0 | 0 | 0 |  | #REF! | 0 | #REF!
1st floor |  |  | 0 | #REF! | #REF! | 0 | 507763.135 | 0 | 0 | 0 | 0 |  | #REF! | 0 | #REF!
2nd floor |  |  | #REF! | 0 | #REF! | 0 | 507763.135 | #REF! | 0 | #REF! | 0 |  | #REF! | #REF! | #REF!
3rd floor |  |  | #REF! | #REF! | #REF! | 0 | 507763.135 | #REF! | 0 | 0 | 0 |  | #REF! | #REF! | #REF!
4th floor |  |  | #REF! | #REF! | 0 |  | 0 | #REF! | 0 | 0 | 0 |  | #REF! | #REF! | #REF!
Terrace |  |  | #REF! | [9 empty] | #REF! | #REF!
[10 empty] | #REF! |  |  | #REF!
[10 empty] | #REF! |  |  | #REF! |  | #REF!
[13 empty] | 0 |  | 0
| 0 | 0 | #REF! | #REF! | #REF! | 0 | 1961090.106 | #REF! | 0 | #REF! | 0 | 0 | #REF! | #REF! | #REF!
15361296.9012
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 16616291.42
0 | 0 | 0 | #REF! | #REF! | #REF! | 0 | -1961090.106 | #REF! | 0 | #REF!
18217065.22
#REF!

## Floor Summary (hidden)
Foundation | Concrete | 0
| Steel | 0
| Form work | 0 |  |  | 0 | 0 | 0
Ground Floor | Concrete | 0
| Steel | 0
| Form work | 0 |  |  | 0 | 0 | 0
1st Floor | Concrete | 0
| Steel | 0
| Form work | 0 |  |  | 0 | 0 | 0
2nd Floor | Concrete | 0
| Steel | 0
| Form work | #REF! |  |  | #REF! | 0 | #REF!
3rd Floor | Concrete | #REF!
| Steel | 0
| Form work | #REF! |  |  | #REF! | 0 | #REF!
4th Floor | Concrete | #REF!
| Steel | #REF!
| Form work | #REF! |  |  | #REF! | 0 | #REF!
Terrace | Concrete | #REF!
| Steel | #REF!
| Form work | #REF! |  |  | #REF! | 0 | #REF!
Above | Concrete
Steel
| Form work |  |  |  | 0 | 0 | 0
|  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
0
#REF!