## SUMMARY
PROJECT: HEALTH CARE CENTER AT BA.EYDHAFUSHI
CONSTRUCTION OF 04 STOREY BUILDING (PHASE-I-02 STOREY ONLY)
SUMMARY OF BILLS OF QUANTITIES
SL.NO | BILL NAME | AMOUNT (MRF)
1 ) | TOTAL OF BILL NO. 01 (PRELIMINARIES) | 0
2 ) | TOTAL OF BILL NO. 02 (GROUND WORKS) | 0
3 ) | TOTAL OF BILL NO. 03 (CONCRETE WORKS) | 0
4 ) | TOTAL OF BILL NO. 04 (MASONRY & PLASTERING WORKS) | 0
5 ) | TOTAL OF BILL NO. 05 (CEILING WORKS) | 0
6 ) | TOTAL OF BILL NO. 06 (TILING WORKS) | 0
7 ) | TOTAL OF BILL NO. 07 (PAINTING WORKS) | 0
8 ) | TOTAL OF BILL NO. 08 (DOORS & WINDOWS WORKS) | 0
9 ) | TOTAL OF BILL NO. 09 (METAL WORKS) | 0
10 ) | TOTAL OF BILL NO. 10 (HYDRAULICS AND DRAINAGE) | 0
11 ) | TOTAL OF BILL NO. 11 (ELECTRICAL INSTALLATIONS) | 0
12 ) | TOTAL OF BILL NO. 12 (AIR CONDITIONING)
13 ) | TOTAL OF BILL NO. 13 (SPECIAL SERVICE) | 0
TOTAL |  | 0
GST |  | 0
GRAND TOTAL |  | 0

## Cover
BILL OF QUANTITIES
PROJECT: HEALTH CARE CENTER AT BA.EYDHAFUSHI
PROPOSED PHASE-I (02 STOREY ) OF 04 STOREY BUILDING - STRUCTURE & FINISHING
Revision on 12-07-2016
MAY -2016

## BOQ
SL.NO | DESCRIPTION | QTY | UNIT | LABOUR RATE | MATERIAL RATE | LABOUR AMOUNT | MATERIAL AMOUNT | TOTAL AMOUNT
Bill No: 01
PRELIMINARIES
1.1 | General Notes
1 ) | Abbreviations
m - meter
No - numbers
m3 - cubic meter
m2 - square meter
Lm - Linear meter
t - tonnes
incl - including
mm - millimeter
dia - diameter
SS - Stainless Steel
#VALUE!
1.2 | Site Management Costs
1 ) | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone,fax,hoardings and similar. | 1 | item | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
1.3 | Sign Board |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Allow for sign board | 1 | no | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
1.4 | Clean - up |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Allow for clean - up of completed works and site upon completion. | 1 | item | 0 | 0 | 0 | 0 | 0
1.5 | Inspection Trips
1) | Arrange inspection trip to consultant, contractor has to arrange air ticket (normal fair) Male'/B.Dharavandhoo/Male' for 2 people for each trip, speed boat transfer dharavandhoo/eydhafushi/dharavandhoo. also acomodation for 2 days (AC room with Twin beds) | 6 | items
TOTAL OF BILL NO. 01 (PRELIMINARIES) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 02
GROUND WORKS
2.1 | GENERAL
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and disposing surplus soil.
2.2 | SITE CLEARING
| Clear the area of site from rubbish and vegetable matters, stumps, roots. Demolition shall be included (if any) | 355.21 | m² | 0 | 0 | 0 | 0 | 0
2.3 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork, back fill, dewatering and others
1 ) | Excavation for raft footings and Foundation beams | 192.47 | m³ | 0 | 0 | 0 | 0 | 0
2.4 | BACK FILLING
(a) Rates shall include for: levelling, grading, trimming, compacting and similar.
(b) Ground need to be compacted to the required density by the consultant.
1 ) | Earth Filling as per drawings | 159.15 | m³ | 0 | 0 | 0 | 0 | 0
2.5 | DAMP PROOF MEMBRANE
(a) Rates shall include for: dressing around and sealing to all penetrations, laps and turnups
1 ) | Polythene damp proof membrane (500 gauge) laid on blinding layer under raft | 161.3 | m² | 0 | 0 | 0 | 0 | 0
2 ) | Polythene damp proof membrane (500 gauge) laid on blinding layer under Ground Slab | 355.25 | m² | 0 | 0 | 0 | 0 | 0
2.6 | DEWATERING
| This item shall include for all the piping, pumps, etc. Water needs to be pumped to an assigned area as per local regulation. | 1 | Item | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 02 (GROUND WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 03
CONCRETE WORKS
General
a) Rate shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
b) Mix ratio for reinforced concrete shall be 1:2:3
1 ) | Allow for concrete testing | 1 | item | 0 | 0 | 0 | 0 | 0
3.1 | Lean Concrete
| 50mm thick lean concrete under the raft footing with a mix of 1:2:6 | 161.3 | m² | 0 | 0 | 0 | 0 | 0
3.2 | Reinforced Concrete
In-situ reinforced concrete to:
*Add water proofing compound / admixture to concrete mix for walls GL and Roof Slabs
*Add Conmix Mega Flow P or equivalent for all Super Structure concrete
*Add Conmix Mega ADD WL3 or equivalent for all Sub Structure concrete
*Apply the Conmix MOYA SHIELD RBE or equivalent for all Structure below ground level as water proofing compound
3.2.1 | Foundation
1 ) | Foundation Strip Footing - F1 - 2900 mm x 2900mm x 450 mm - 1 nos | 3.7845 | m³ | 0 | 0 | 0 | 0 | 0
2 ) | Foundation Strip Footing - F2 - 2700 mm x 2700mm x 450 mm - 1 nos | 3.2805 | m³ | 0 | 0 | 0 | 0 | 0
3 ) | Foundation Strip Footing - F3 - 2650 mm x 2650mm x 450 mm - 3 nos | 9.4804 | m³ | 0 | 0 | 0 | 0 | 0
4 ) | Foundation Strip Footing - F4 - 2300 mm x 2300mm x 450 mm - 5 nos | 11.9025 | m³ | 0 | 0 | 0 | 0 | 0
5 ) | Foundation Strip Footing - F5 - 2500 mm x 2500mm x 450 mm - 1 nos | 2.8125 | m³ | 0 | 0 | 0 | 0 | 0
6 ) | Foundation Strip Footing - F6 - 2100 mm x 2100mm x 450 mm - 8 nos | 15.876 | m³ | 0 | 0 | 0 | 0 | 0
7 ) | Foundation Strip Footing - F7 - 1900 mm x 1900mm x 450 mm - 7 nos | 11.3715 | m³ | 0 | 0 | 0 | 0 | 0
8 ) | Foundation Strip Footing - F8 - 1750 mm x 1750mm x 450 mm - 2 nos | 2.7563 | m³ | 0 | 0 | 0 | 0 | 0
9 ) | Foundation Strip Footing - F9 - 1550 mm x 1550mm x 450 mm - 2 nos | 2.1622 | m³ | 0 | 0 | 0 | 0 | 0
10 ) | Lift Pad - 4200mm x 3600 mm x 450mm | 6.804 | m³ | 0 | 0 | 0 | 0 | 0
11 ) | Foundation Beam - 205mm x 450 mm | 21.3501 | m³ | 0 | 0 | 0 | 0 | 0
12 ) | Column - C1 - 200 mm x 500 mm - 24 nos up to GFFL | 1.44 | m³ | 0 | 0 | 0 | 0 | 0
13 ) | Column - C2 - 200 mm x 600 mm - 2 nos up to GFFL | 0.144 | m³ | 0 | 0 | 0 | 0 | 0
14 ) | Column - C3 - 300 mm x 300 mm - 4 nos up to GFFL | 0.216 | m³ | 0 | 0 | 0 | 0 | 0
15 ) | Staircase Starter - 250mm thick | 0.351 | m³ | 0 | 0 | 0 | 0 | 0
16 ) | Lift wall - 200 mm thick | 2.205 | m³ | 0 | 0 | 0 | 0 | 0
3.2.2 | Ground Floor
1 ) | Column - C1 - 200 mm x 500 mm - 24 nos up to 1st Slab | 6.24 | m³ | 0 | 0 | 0 | 0 | 0
2 ) | Column - C2 - 200 mm x 600 mm - 2 nos up to 1st Slab | 0.624 | m³ | 0 | 0 | 0 | 0 | 0
3 ) | Column - C3 - 300 mm x 300 mm - 4 nos up to 1st Slab | 0.936 | m³ | 0 | 0 | 0 | 0 | 0
4 ) | Staircase - Wais thick 250mm up to 1st Slab | 3.9443 | m³ | 0 | 0 | 0 | 0 | 0
5 ) | Lift wall - 200 mm thick up to 1st Slab | 5.964
6 ) | Ground Concrete | 33.5458 | m³ | 0 | 0 | 0 | 0 | 0
7 ) | Attached Beam - B1- 200mm x 600mm | 9.9936 | m³ | 0 | 0 | 0 | 0 | 0
8 ) | Attached Beam - B3 - 200mm x 600mm | 2.241 | m³ | 0 | 0 | 0 | 0 | 0
9 ) | Attached Beam - B4 - 200mm x 600mm | 0.909 | m³ | 0 | 0 | 0 | 0 | 0
10 ) | Attached Beam - B5 - 200mm x 600mm | 3.1995 | m³ | 0 | 0 | 0 | 0 | 0
11 ) | Attached Beam - B6 - 200mm x 600mm | 0.459 | m³ | 0 | 0 | 0 | 0 | 0
12 ) | Attached Beam - CB1 - 200mm x 600mm | 0.6768 | m³ | 0 | 0 | 0 | 0 | 0
13 ) | 1st Slab Concrete - 150mm & 185 mm thick | 50.1889 | m³ | 0 | 0 | 0 | 0 | 0
3.2.3 | First Floor
1 ) | Column - C1 - 200 mm x 500 mm - 24 nos up to 2nd Slab | 6.24 | m³ | 0 | 0 | 0 | 0 | 0
2 ) | Column - C2 - 200 mm x 600 mm - 2 nos up to 2nd Slab | 0.624 | m³ | 0 | 0 | 0 | 0 | 0
3 ) | Column - C3 - 300 mm x 300 mm - 4 nos up to 2nd Slab | 0.936 | m³ | 0 | 0 | 0 | 0 | 0
4 ) | Staircase - Waist thick 250mm up to 2nd Slab | 3.9443 | m³ | 0 | 0 | 0 | 0 | 0
5 ) | Lift wall - 200 mm thick up to 2nd Slab | 5.964 | m³ | 0 | 0 | 0 | 0 | 0
6 ) | Attached Beam - B1- 200mm x 600mm | 9.1395 | m³ | 0 | 0 | 0 | 0 | 0
7 ) | Attached Beam - B2 - 200mm x 600mm | 1.782 | m³ | 0 | 0 | 0 | 0 | 0
| Attached Beam - B3 - 200mm x 600mm | 0.4455
8 ) | Attached Beam - B4 - 200mm x 600mm | 0.909 | m³ | 0 | 0 | 0 | 0 | 0
9 ) | Attached Beam - B5 - 200mm x 600mm | 1.836 | m³ | 0 | 0 | 0 | 0 | 0
10 ) | Attached Beam - B6 - 200mm x 600mm | 0.918 | m³ | 0 | 0 | 0 | 0 | 0
11 ) | Attached Beam - B7 - 200mm x 600mm | 0.459 | m³ | 0 | 0 | 0 | 0 | 0
12 ) | Attached Beam - CB1 - 200mm x 600mm | 0.6768 | m³ | 0 | 0 | 0 | 0 | 0
13 ) | Second Slab Concrete - 150mm & 185 mm thick | 52.0264 | m³ | 0 | 0 | 0 | 0 | 0
3.3 | Formwork
a) Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes, removal of formwork and normal practices used.
3.3.1 | Foundation
1 ) | Foundation Strip Footing - F1 - 2900 mm x 2900mm x 450 mm - 1 nos | 1.305 | m² | 0 | 0 | 0 | 0 | 0
2 ) | Foundation Strip Footing - F2 - 2700 mm x 2700mm x 450 mm - 1 nos | 4.86 | m² | 0 | 0 | 0 | 0 | 0
3 ) | Foundation Strip Footing - F3 - 2650 mm x 2650mm x 450 mm - 3 nos | 14.31 | m² | 0 | 0 | 0 | 0 | 0
4 ) | Foundation Strip Footing - F4 - 2300 mm x 2300mm x 450 mm - 5 nos | 20.7 | m² | 0 | 0 | 0 | 0 | 0
5 ) | Foundation Strip Footing - F5 - 2500 mm x 2500mm x 450 mm - 1 nos | 4.5 | m² | 0 | 0 | 0 | 0 | 0
6 ) | Foundation Strip Footing - F6 - 2100 mm x 2100mm x 450 mm - 8 nos | 30.24 | m² | 0 | 0 | 0 | 0 | 0
7 ) | Foundation Strip Footing - F7 - 1900 mm x 1900mm x 450 mm - 7 nos | 23.94 | m² | 0 | 0 | 0 | 0 | 0
8 ) | Foundation Strip Footing - F8 - 1750 mm x 1750mm x 450 mm - 2 nos | 6.3 | m² | 0 | 0 | 0 | 0 | 0
9 ) | Foundation Strip Footing - F9 - 1550 mm x 1550mm x 450 mm - 2 nos | 5.58 | m² | 0 | 0 | 0 | 0 | 0
10 ) | Lift Pad - 4200mm x 3600 mm x 450mm | 7.02 | m² | 0 | 0 | 0 | 0 | 0
11 ) | Foundation Beam - 205mm x 450 mm | 170.8011 | m² | 0 | 0 | 0 | 0 | 0
12 ) | Column - C1 - 200 mm x 500 mm - 24 nos up to GFFL | 20.16 | m² | 0 | 0 | 0 | 0 | 0
13 ) | Column - C2 - 200 mm x 600 mm - 2 nos up to GFFL | 1.92 | m² | 0 | 0 | 0 | 0 | 0
14 ) | Column - C3 - 300 mm x 300 mm - 4 nos up to GFFL | 2.88 | m² | 0 | 0 | 0 | 0 | 0
15 ) | Staircase Starter - 250mm thick | 4.53 | m² | 0 | 0 | 0 | 0 | 0
16 ) | Lift wall - 200 mm thick | 22.05 | m² | 0 | 0
3.3.2 | Ground Floor
1 ) | Column - C1 - 200 mm x 500 mm - 24 nos up to 1st Slab | 87.36 | m² | 0 | 0 | 0 | 0 | 0
2 ) | Column - C2 - 200 mm x 600 mm - 2 nos up to 1st Slab | 8.32 | m² | 0 | 0 | 0 | 0 | 0
3 ) | Column - C3 - 300 mm x 300 mm - 4 nos up to 1st Slab | 12.48 | m² | 0 | 0 | 0 | 0 | 0
4 ) | Staircase - Wais thick 250mm up to 1st Slab | 24.088 | m² | 0 | 0 | 0 | 0 | 0
5 ) | Lift wall - 200 mm thick up to 1st Slab | 83.728 | m² | 0 | 0 | 0 | 0 | 0
6 ) | Ground Concrete | 9.206 | m² | 0 | 0 | 0 | 0 | 0
7 ) | Attached Beam - B1- 200mm x 600mm | 122.144 | m² | 0 | 0 | 0 | 0 | 0
8 ) | Attached Beam - B3 - 200mm x 600mm | 27.39 | m² | 0 | 0 | 0 | 0 | 0
9 ) | Attached Beam - B4 - 200mm x 600mm | 11.11 | m² | 0 | 0 | 0 | 0 | 0
10 ) | Attached Beam - B5 - 200mm x 600mm | 39.105 | m² | 0 | 0 | 0 | 0 | 0
11 ) | Attached Beam - B6 - 200mm x 600mm | 5.61 | m² | 0 | 0 | 0 | 0 | 0
12 ) | Attached Beam - CB1 - 200mm x 600mm | 8.272 | m² | 0 | 0 | 0 | 0 | 0
13 ) | 1st Slab Concrete - 150mm & 185 mm thick | 362.471 | m² | 0 | 0 | 0 | 0 | 0
3.3.3 | First Floor
1 ) | Column - C1 - 200 mm x 500 mm - 24 nos up to 2nd Slab | 87.36 | m² | 0 | 0 | 0 | 0 | 0
2 ) | Column - C2 - 200 mm x 600 mm - 2 nos up to 2nd Slab | 8.32 | m² | 0 | 0 | 0 | 0 | 0
3 ) | Column - C3 - 300 mm x 300 mm - 4 nos up to 2nd Slab | 12.48 | m² | 0 | 0 | 0 | 0 | 0
4 ) | Staircase - Wais thick 250mm up to 1st Slab | 24.088 | m² | 0 | 0 | 0 | 0 | 0
5 ) | Lift wall - 200 mm thick up to 1st Slab | 84.538 | m² | 0 | 0 | 0 | 0 | 0
6 ) | Attached Beam - B1- 200mm x 600mm | 111.705 | m² | 0 | 0 | 0 | 0 | 0
7 ) | Attached Beam - B2 - 200mm x 600mm | 21.78 | m² | 0 | 0 | 0 | 0 | 0
8 ) | Attached Beam - B3 - 200mm x 600mm | 5.445 | m² | 0 | 0 | 0 | 0 | 0
9 ) | Attached Beam - B4 - 200mm x 600mm | 11.11 | m² | 0 | 0 | 0 | 0 | 0
10 ) | Attached Beam - B5 - 200mm x 600mm | 28.05 | m² | 0 | 0 | 0 | 0 | 0
11 ) | Attached Beam - B6 - 200mm x 600mm | 5.61 | m² | 0 | 0 | 0 | 0 | 0
12 ) | Attached Beam - B7 - 200mm x 600mm | 5.61 | m² | 0 | 0 | 0 | 0 | 0
13 ) | Attached Beam - CB1 - 200mm x 600mm | 8.272 | m² | 0 | 0 | 0 | 0 | 0
14 ) | Slab Concrete - 150mm & 185 mm thick | 347.876 | m² | 0 | 0 | 0 | 0 | 0
3.4 | Reinforcement
a) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and chair supports, laps, and wastages.
3.4.1 | Foundation
1 ) | Foundation Strip Footing - F1 - 2900 mm x 2900mm x 450 mm - 1 nos
| 16 mm dia bars | 279.19 | Kg | 0 | 0 | 0 | 0 | 0
2 ) | Foundation Strip Footing - F2 - 2700 mm x 2700mm x 450 mm - 1 nos
| 16 mm dia bars | 169.53 | Kg | 0 | 0 | 0 | 0 | 0
3 ) | Foundation Strip Footing - F3 - 2650 mm x 2650mm x 450 mm - 3 nos
| 16 mm dia bars | 472.89 | Kg | 0 | 0 | 0 | 0 | 0
4 ) | Foundation Strip Footing - F4 - 2300 mm x 2300mm x 450 mm - 5 nos
| 16 mm dia bars | 612.25 | Kg | 0 | 0 | 0 | 0 | 0
5 ) | Foundation Strip Footing - F5 - 2500 mm x 2500mm x 450 mm - 1 nos
| 16 mm dia bars | 149.31 | Kg | 0 | 0 | 0 | 0 | 0
6 ) | Foundation Strip Footing - F6 - 2100 mm x 2100mm x 450 mm - 8 nos
| 12 mm dia bars | 469.57 | Kg | 0 | 0 | 0 | 0 | 0
7 ) | Foundation Strip Footing - F7 - 1900 mm x 1900mm x 450 mm - 7 nos
| 12 mm dia bars | 354.2 | Kg | 0 | 0 | 0 | 0 | 0
8 ) | Foundation Strip Footing - F8 - 1750 mm x 1750mm x 450 mm - 2 nos
| 12 mm dia bars | 78.94 | Kg | 0 | 0 | 0 | 0 | 0
9 ) | Foundation Strip Footing - F9 - 1550 mm x 1550mm x 450 mm - 2 nos
| 12 mm dia bars | 64.68 | Kg | 0 | 0 | 0 | 0 | 0
10 ) | Lift Pad - 4200mm x 3600 mm x 450mm
| 12 mm dia bars | 387.55 | Kg | 0 | 0 | 0 | 0 | 0
11 ) | Foundation Beam - 250mm x 450 mm
| 16 mm dia bars | 1232.78 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 322.29 | Kg | 0 | 0 | 0 | 0 | 0
12 ) | Column - C1 - 200 mm x 500 mm - 24 nos up to GFFL
| 16 mm dia bars | 758.4 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 56.53 | Kg | 0 | 0 | 0 | 0 | 0
13 ) | Column - C2 - 200 mm x 600 mm - 2 nos up to GFFL
| 20 mm dia bars | 98.8 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 5.31 | Kg | 0 | 0 | 0 | 0 | 0
14 ) | Column - C3 - 300 mm x 300 mm - 4 nos up to GFFL
| 16 mm dia bars | 50.56 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 3.96 | Kg | 0 | 0 | 0 | 0 | 0
15 ) | Staircase Starter - 250mm thick
| 12 mm dia bars | 47.52 | Kg | 0 | 0 | 0 | 0 | 0
| 10 mm dia bars | 23.87 | Kg | 0 | 0 | 0 | 0 | 0
16 ) | Lift wall - 200 mm thick
| 10 mm dia bars | 272.49 | Kg | 0 | 0 | 0 | 0 | 0
3.4.2 | Ground Floor |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Column - C1 - 200 mm x 500 mm - 24 nos up to 1st Slab
| 16 mm dia bars | 1213.44 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 733.04 | Kg | 0 | 0 | 0 | 0 | 0
2 ) | Column - C2 - 200 mm x 600 mm - 2 nos up to 1st Slab
| 20 mm dia bars | 148.2 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 22.46 | Kg | 0 | 0 | 0 | 0 | 0
3 ) | Column - C3 - 300 mm x 300 mm - 4 nos up to 1st Slab
| 16 mm dia bars | 75.84 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 16.28 | Kg | 0 | 0 | 0 | 0 | 0
4 ) | Staircase - Wais thick 250mm up to 1st Slab
| 12 mm dia bars | 306.24 | Kg | 0 | 0 | 0 | 0 | 0
| 10 mm dia bars | 229.71 | Kg | 0 | 0 | 0 | 0 | 0
5 ) | Lift wall - 200 mm thick up to 1st Slab
| 10 mm dia bars | 539.59 | Kg | 0 | 0 | 0 | 0 | 0
6 ) | Ground Concrete
| 06 mm dia bars | 731.5 | Kg | 0 | 0 | 0 | 0 | 0
7 ) | Attached Beam - B1- 200mm x 600mm
| 20 mm dia bars | 1205.66 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 733.04 | Kg | 0 | 0 | 0 | 0 | 0
8 ) | Attached Beam - B3 - 200mm x 600mm
| 20 mm dia bars | 533.52 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 156.16 | Kg | 0 | 0 | 0 | 0 | 0
9 ) | Attached Beam - B4 - 200mm x 600mm
| 20 mm dia bars | 420.89 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 63.14 | Kg | 0 | 0 | 0 | 0 | 0
10 ) | Attached Beam - B5 - 200mm x 600mm
| 20 mm dia bars | 696.54 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 63.14 | Kg | 0 | 0 | 0 | 0 | 0
11 ) | Attached Beam - B6 - 200mm x 600mm
| 20 mm dia bars | 106.7 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 31.11 | Kg | 0 | 0 | 0 | 0 | 0
12 ) | Attached Beam - CB1 - 200mm x 600mm
| 25 mm dia bars | 64.68 | Kg | 0 | 0 | 0 | 0 | 0
| 20 mm dia bars | 213.41 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 33.26 | Kg | 0 | 0 | 0 | 0 | 0
13 ) | 1st Slab Concrete - 150mm & 185 mm thick
| 12 mm dia bars | 42.77 | Kg | 0 | 0 | 0 | 0 | 0
| 10 mm dia bars | 6318.3 | Kg | 0 | 0 | 0 | 0 | 0
3.4.3 | First Floor |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Column - C1 - 200 mm x 500 mm - 24 nos up to 2nd Slab
| 16 mm dia bars | 1213.44 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 733.04 | Kg | 0 | 0 | 0 | 0 | 0
2 ) | Column - C2 - 200 mm x 600 mm - 2 nos up to 2nd Slab
| 20 mm dia bars | 148.2 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 22.46 | Kg | 0 | 0 | 0 | 0 | 0
3 ) | Column - C3 - 300 mm x 300 mm - 4 nos up to 2nd Slab
| 16 mm dia bars | 75.84 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 16.28 | Kg | 0 | 0 | 0 | 0 | 0
4 ) | Staircase - Waist thick 250mm up to 2nd Slab
| 12 mm dia bars | 306.24 | Kg | 0 | 0 | 0 | 0 | 0
| 10 mm dia bars | 229.71 | Kg | 0 | 0 | 0 | 0 | 0
5 ) | Lift wall - 200 mm thick up to 2nd Slab
| 10 mm dia bars | 539.59 | Kg | 0 | 0 | 0 | 0 | 0
6 ) | Attached Beam - B1- 200mm x 600mm
| 20 mm dia bars | 1111.9 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 674.52 | Kg | 0 | 0 | 0 | 0 | 0
7 ) | Attached Beam - B2 - 200mm x 600mm
| 20 mm dia bars | 426.82 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 124.43 | Kg | 0 | 0 | 0 | 0 | 0
8 ) | Attached Beam - B3 - 200mm x 600mm
| 20 mm dia bars | 414.96 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 124.43 | Kg | 0 | 0 | 0 | 0 | 0
9 ) | Attached Beam - B4 - 200mm x 600mm
| 20 mm dia bars | 420.89 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 63.14 | Kg | 0 | 0 | 0 | 0 | 0
10 ) | Attached Beam - B5 - 200mm x 600mm
| 20 mm dia bars | 189.7 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 22.79 | Kg | 0 | 0 | 0 | 0 | 0
11 ) | Attached Beam - B6 - 200mm x 600mm
| 20 mm dia bars | 486.1 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 76.69 | Kg | 0 | 0 | 0 | 0 | 0
12 ) | Attached Beam - B7 - 200mm x 600mm
| 20 mm dia bars | 80.03 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 21.25 | Kg | 0 | 0 | 0 | 0 | 0
13 ) | Attached Beam - CB1 - 200mm x 600mm
| 25 mm dia bars | 64.68 | Kg | 0 | 0 | 0 | 0 | 0
| 20 mm dia bars | 213.41 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 33.26 | Kg | 0 | 0 | 0 | 0 | 0
14 ) | Slab Concrete - 150mm & 185 mm thick
| 12 mm dia bars | 42.77 | Kg | 0 | 0 | 0 | 0 | 0
| 10 mm dia bars | 6318.3 | Kg | 0 | 0 | 0 | 0 | 0
3.7 | OTHER CONCRETE WORKS
3.2.4 | Second Floor
(a) Rates shall include for: All the column should be raised not less than 1.2 Mtr ht to recive the Second phase extention with low mix ratio and columns should be plastered all around after apply anti corrosive protective coating for steel bars, All the steel bars accoring to the supplied drawing should be continue up to 1.2 Mtr ht blinding, concrete, formwork and reinforcement as per drawings and specifications
(b) All the service voids are to be raised up to .9 mtr ht and top should be covered with 50mm thick RCC slab etc.,
1 ) | Column - C1 - 200 mm x 500 mm - 24 nos up to 1 Mtr ht with concrete mix 1:4:8 | 1 | item | 0 | 0 | 0 | 0 | 0
2 ) | Column - C2 - 200 mm x 600 mm - 2 nos up to 1 Mtr ht with concrete mix 1:4:8 | 1 | item | 0 | 0 | 0 | 0 | 0
3 ) | Column - C3 - 300 mm x 300 mm - 4 nos up to 1 Mtr ht with concrete mix 1:4:8 | 1 | item | 0 | 0 | 0 | 0 | 0
4 ) | Lift wall - 200 mm thick up to 1 Mtr ht with concrete mix 1:4:8 | 1 | item | 0 | 0 | 0 | 0 | 0
5 ) | 100 mm thick x 300mm height ledge wall concrete with 6mm steel bar @ 200mm spacing around the all void openings, Service duct openings and building ouside edges including Concrete, Steel bars, Form works etc., with Concrete mix 1:4:8 | 1 | item | 0 | 0 | 0 | 0 | 0
6) | Complete supply and installation of 150X150mm lintel beam on top Door and Windows. | 1 | Item | 0 | 0 | 0 | 0 | 0
7) | Complete supply and installation of 150X150mm Sill beam on below the Windows. | 1 | Item | 0 | 0 | 0 | 0 | 0
8) | Constrution of All flower pots as per the given drawing and details with proper water proofing as required | 1 | Item
9) | Complete construction and installation of Wash basin counter top with 50mm thick RCC concrete finished with 20mm thick granite | 3 | nos | 0 | 0 | 0 | 0 | 0
10) | Make and Erecting of 1400mm Dia: Ground water well | 1 | Item | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
11) | Making and erectingthe 1800 mm soak pit tank with all neacessary | 1 | Item | 0 | 0 | 0 | 0 | 0
3.8 | WATERPROOFING
3.8.1 | (a) Rates shall include for: dressing around and sealing to all penetrations
1) | Apply Conmix Moya Proof WS2 waterproof memberane or equivelant for , terrace including Gutter area, Head room top and toilet screed as specified. | 1 | Item | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
2) | Application of damp proof membrane Conmix Moya Shield RBE or equivalent on all underground concrete structures, Bothe side of Block work, as shown in the drawing. | 1 | Item | 0 | 0 | 0 | 0 | 0
3.9 | Sink Cupboards and benches
1 | Fabrication of Concrete sink cupboard at Laboratory 13 Meter length (1st Floor) as per drawings, Rates shall include, concrete works tiling of all surfaces, installation of ceramic laboratory sink (Cotto or equivalent) with an wall mount elbow operated faucet. And Rates shall also include all hydarulic works related to this item. Also rates shall include fixing of timber door panel and shelves. | 1 | item
2 | Fabrication of Concrete sink cupboard at Micro Biology room 6.4 Meter length (1st Floor) as per drawings, Rates shall include, concrete works tiling of all surfaces, installation of ceramic laboratory sink (Cotto or equivalent) with an wall mount elbow operated faucet. And Rates shall also include all hydarulic works related to this item. Also rates shall include fixing of timber door panel and shelves. | 1 | item
3 | Fabrication of Concrete sink cupboard at Doctors rest room, 2.4 Meter length (1st Floor) as per drawings, Rates shall include, concrete works tiling of all surfaces, installation of ceramic laboratory sink (Cotto or equivalent) with an wall mount elbow operated faucet. And Rates shall also include all hydarulic works related to this item. Also rates shall include fixing of timber door panel and shelves. | 1 | item
4 | Fabrication of Concrete sink cupboard at Feeding Room, 1.87 Meter length (1st Floor) as per drawings, Rates shall include, concrete works tiling of all surfaces, installation of ceramic laboratory sink (Cotto or equivalent) with an wall mount elbow operated faucet. And Rates shall also include all hydarulic works related to this item. Also rates shall include fixing of timber door panel and shelves. | 1 | item
5 | Fabrication of Concrete sink cupboard at Dental service room, 4.1 Meter length (1st Floor) as per drawings, Rates shall include, concrete works tiling of all surfaces, installation of ceramic laboratory sink (Cotto or equivalent) with an wall mount elbow operated faucet. And Rates shall also include all hydarulic works related to this item. Also rates shall include fixing of timber door panel and shelves. | 1 | item
3.1 | Ground water Well
1 | Fabricate and completion of RC ground water well as per drawings | 1 | item
TOTAL OF BILL NO. 03 (CONCRETE WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
BILL No: 04
MASONRY AND PLASTERING
4.1 | GENERAL
(a) Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of
floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding
frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good
(b) Rates shall include for providing approved quality mesh at joints between structaral members and masonry in the exterior walls.
(c) 150mm Thick solid blocks shall be used for exterior masonry walls, & 100 thick solid blocks shall be used for interior masonry wall
(d) All blocks shall be fabricated from manufactured sand and machine pressed and average compression strength for blocks should not be less than 2.8N/mm2 and shall comply with physical requirements of ISO 6073:1981.
(e) For masonry, plastering and screeding works manufactured sand shall be used.
(f) Manufactured sand shall be used for block making and masonry. All blocks (solid and hollow) shall be machine compressed.
4.1.1 | BLOCK WORK
1) | BELOW GROUND FLOOR
| 150 mm wide Solid block wall (external walls) | 49.81 | m2 | 0 | 0 | 0 | 0 | 0
4.1.2 | GROUND FLOOR |  |  | 0 | 0 | 0 | 0 | 0
1) | 150 mm wide Solid block wall (external walls) | 134.15 | m2 | 0 | 0 | 0 | 0 | 0
2) | 150 mm wide Solid block wall, laid on and including mortar (internal walls) | 212.01 | m2 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
4.1.3 | FIRST FLOOR |  |  | 0 | 0 | 0 | 0 | 0
1) | 150 mm wide Solid block wall (external walls) | 145.91 | m2 | 0 | 0 | 0 | 0 | 0
2) | 150 mm wide Solid block wall, laid on and including mortar (internal walls) | 232.04 | m2 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
4.1.4 | SECOND FLOOR |  |  | 0 | 0 | 0 | 0 | 0
1) | 150 mm wide Solid block wall (external walls) 1mtr height for parapet wall around outer wall & Courtyard wall and 2.1 Mtr height for Lift, Stair void | 129.87 | m2 | 0 | 0 | 0 | 0 | 0
4.2 | PLASTERING
4.2.1 | PLATERING - EXTERNAL
a) 25mm cement plastering on external walls and concrete surfaces with 1:4 Cement mortar mix as specified incl. wire mesh at joints of concrete surfaces and walls (first, second coats).
1) | Below Ground Level | 99.61 | m² | 0 | 0 | 0 | 0 | 0
2) | Ground Floor | 180.9 | m² | 0 | 0 | 0 | 0 | 0
3) | First Floor | 190.39 | m² | 0 | 0 | 0 | 0 | 0
4) | Second Floor | 232.07 | m² | 0 | 0 | 0 | 0 | 0
4.2.2 | PLASTERING - INTERNAL
a) 15mm cement plastering on internal walls and concrete surfaces with 1:4 Cement mortar mix as specified incl. wire mesh at joints of concrete surfaces and walls (one coat).
1) | Ground Floor | 608.92 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 800.87 | m² | 0 | 0 | 0 | 0 | 0
3) | Second Floor | 41 | m² | 0 | 0 | 0 | 0 | 0
4.2.3 | CEMENT SCREED
A | 50 mm thick Cement screed on top of slabs for General Areas.
1) | Ground Floor | 250.23 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 263.12 | m² | 0 | 0 | 0 | 0 | 0
B | 35 mm thick Cement screed on top of slabs including Screed to slope to drains in toilets.
1) | Ground Floor | 47.35 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 15.86 | m² | 0 | 0 | 0 | 0 | 0
C | 25mm thick Cement screed stairs including passage
1) | Ground - First Floor | 15.56 | m² | 0 | 0 | 0 | 0 | 0
2) | First - Second Floor | 25.438 | m² | 0 | 0 | 0 | 0 | 0
D | 75 mm thick Cement screed on top of slabs including Screed to slope to drains, the price need to include the making 12mm grooves as construction joints and it should be filled with sealant and application of elastromatric waterproofing coating as Conmix Moyashield Uflex or Equivalant
1) | Open Terrace | 284.83 | m² | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 04 (MASONRY & PLASTERING WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
BILL No: 05
CEILING WORKS
5.1 | GENERAL
(a) Rates shall include for: all labour in framing, notching and fitting around projections, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
5.1.1 | CEILING
A | Supply & Fixing the 600mm x 600 mm boral exposed Grid Ceiling System supported by the al 6mm thread bar with alumimium angles in proper level etc., for General area and Toilets (internal areas)
1) | Ground Floor | 297.59 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 278.97 | m² | 0 | 0 | 0 | 0 | 0
0
B | Supply & Fixing the 6 mm thick M board Ceiling for the Head room and Court yard area for temprary closing supprted 50mm x 50mm timber grid in 600mm c/c with wall and ceiling etc.
1) | Second Floor | 43.44 | m² | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 05 (CEILING WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
BILL N0: 6
FINISHES
6.1 | GENERAL
(a) Rates shall include for: motar, fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing.
(b) All tiles used be of Whitehorse brand or similar as given in Technical Specifications
(c) Contractor shall submit samples of all tiles for approval of Consultant prior to procurement
(d) Where there may be any descripancies between the drawings and bill of quantities, details given in the drawings shall precede.
(e) All items are for supply and complete installation
(f) All tiles shall be fixed using a proper tiling adhesive approved by the Consultant.
6.2 | FLOOR FINISHES
6.2.1 | 600 X 600 mm white body ceramic tiles (A grade) Rocell or equivalent with 150 mm skirting
1) | Ground Floor | 280.6 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 300.18 | m² | 0 | 0 | 0 | 0 | 0
6.2.2 | 300 x 300 Non Slip Rocell or equivalent white body Ceramic tiles: for Toilets, Laundry, Balconies & Ground floor Main entrance with ramp etc.,
1) | Ground Floor | 53.55 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 15.86 | m² | 0 | 0 | 0 | 0 | 0
6.2.3 | 300mm x 600 mm homogeneous Non Skid Step Tiles with anti slip nosing
1) | Ground - First Floor | 17.02 | m² | 0 | 0 | 0 | 0 | 0
2) | First - Second Floor | 26.9 | m² | 0 | 0 | 0 | 0 | 0
6.3 | WALL FINISHES
6.3.1 | 600mm x 300mm Ceramic wall tiles with waterproof adhesive up to 2100mm height
1) | Ground Floor | 91.99 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 70.46 | m² | 0 | 0 | 0 | 0 | 0
6.3.2 | 600x300 mm anti bacterial (hospital graded) tiles up to ceiling height (2.6m) Rates Shall include at
1) | Microbiology | 39.936 | m²
2) | Laboratory | 66.4768 | m²
3) | sample collection | 47.7048 | m²
TOTAL OF BILL NO. 06 (TILING WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
BILL N0: 7
PAINTING
7.1 | PAINTING
(a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door window furniture
(b) All painting work shall be carried in accordance with the Specifications
(c) SKK /Sigma or equivalent for exterior walls (Oil based for exterior)
(d) All exterior surfaces shall have textured paint finish and interior surfaces shall have emulsion paint finish after application of 2 coats of putty.
(d) The colour and type of paint will be selected by the architect/client.
7.1.1 | WALLS
A | External painting 1 coat of wall sealer, 1 coat tex compound & 2 coats of oil base Weather proof paints
1) | Ground Floor including Boundary Wall | 217.07 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 225.01 | m² | 0 | 0 | 0 | 0 | 0
3) | Second Floor | 43.44 | m² | 0 | 0 | 0 | 0 | 0
B | Anti Bacterial & Easy wash Internal Painting 1 coat of wall sealer & 2 coats of paints
1) | Ground Floor | 587.79 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 839.98 | m² | 0 | 0 | 0 | 0 | 0
7.1.2. | Ceilings
A | Emulsion paint putty finish on concrete slab and beams, plywood / cement fibre board of all internal surfaces.
1 coat of primer & 2 coats of paints
Emulsion putty paint finish
1) | Ground Floor | 225.01 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 280.62 | m² | 0 | 0 | 0 | 0 | 0
3) | Second Floor | 43.44 | m² | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 07 (PAINTING WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 08
DOORS AND WINDOWS
8.1 | General
a) Rates shall include for: locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
b) All Aluminum windows shall be white powder coated aluminium.and 5mm thick Dark gray tinted and 5mm frosted glass for W3 and W4
c) All timber doors shall be solid timber paneled door with varnish finish.
8.2 | Aluminum Doors & windows
1) | D1 - 40mm thick Openable Alumimium framed Door with 6mm thick clear glass window - 1700 x 2400 mm | 2 | nos | 0 | 0 | 0 | 0 | 0
2) | D3 - 40mm thick Openable Aluminium Framed door panel with Louver - 750X2150 mm | 4 | nos | 0 | 0 | 0 | 0 | 0
3) | SD1 - Alumimium Framed Sliding Door - 1900mm x 2550 mm | 1 | nos | 0 | 0 | 0 | 0 | 0
4) | W1 - Alumimium Framed Openable window with 6mm thick Heat reflective glass - 1500mm x 1550mm | 20 | nos | 0 | 0 | 0 | 0 | 0
5) | W2 - Alumimium Framed Openable window with 6mm thick Heat reflective glass - 3180mm x 2350mm | 3 | nos | 0 | 0 | 0 | 0 | 0
6) | W2A - Alumimium Framed Openable window with 6mm thick Heat reflective glass - 3180mm x 2350mm | 1 | nos | 0 | 0 | 0 | 0 | 0
7) | W3 - aluminium Openable window - 600mm x 600 mm | 14 | nos | 0 | 0 | 0 | 0 | 0
8) | W5 - Alumimium Framed sliding window - 2738mm x 1500mm | 8 | nos | 0 | 0 | 0 | 0 | 0
8.3 | Timber Door units
1) | D2 - 40mm thick Openable Timber Door with 6mm thick clear glass window - 1000 x 2150 mm | 17 | nos | 0 | 0 | 0 | 0 | 0
2) | D4 - 40mm thick Openable Timber Framed Door Panel - 750X2700 mm | 11 | nos | 0 | 0 | 0 | 0 | 0
3) | D5 - 40mm thick Openable timber Framed Door Panel - 750X2150 mm | 2 | nos | 0 | 0 | 0 | 0 | 0
8.4 | Window Curtains
a) Supply/fabrication and complete installation of window curtains for following doors, quality of window curtain should be sun protected medium quality, Size of finished curtain shall be 300mm above FFL & 300mm added to the width of the window. Each window shall have two parts (divided in half along the width of the window), Rates should be complete installation of curtain with railing.
b) rates shall include Rates shall include fixing of alumium rails, fixing rail brackets, sewing fixing, fitting of hook tape and full installation of curtains.
1 | W1 - Alumimium Framed Openable window with 6mm thick Heat reflective glass - 1500mm x 1550mm | 20 | items
2 | W2 - Alumimium Framed Openable window with 6mm thick Heat reflective glass - 3180mm x 2350mm | 3 | items
3 | W2A - Alumimium Framed Openable window with 6mm thick Heat reflective glass - 3180mm x 2350mm | 1 | items
4 | W3 - aluminium Openable window - 600mm x 600 mm | 14 | items
5 | W5 - Alumimium Framed sliding window - 2738mm x 1500mm | 8 | items
8.5 | TIMBER WORK
General
a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
b) Rate shall include for: timber priming and all painting as specified in the drawing
Counters
Ground Floor
8.51 | Fabrication of Reception counter as per drawings (4.8 m length) | 1 | item
TOTAL OF BILL NO. 08 (DOORS & WINDOWS WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 09
METAL WORKS
9.1 | General
a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts incl. those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
b) Rates shall include for fabrication and erection and temporary supports and fixing into position.
9.2 | Staircase Hand railing
A | 50mm dia (1 no) top member, 35mm dia vertically and 25mm dia horizontally 2 nos etc, including bolts, washers and fixing to reinforced concrete as shown in the drawing.
1 ) | Ground - First Floor | 6.2 | Rmtr | 0 | 0 | 0 | 0 | 0
2 ) | First - Second Floor | 7.5 | Rmtr | 0 | 0 | 0 | 0 | 0
B | Supply & Fixing Wooden Privacy Screen between - waiting area to walk way as per the given details and drawing
1 ) | Ground Floor | 1 | item | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 09 (METAL WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 10
HYDRAULICS & DRAINAGE
10.1 | General
a) Rates shall include for: sockets, running joints, connections, elbows, junctions, reducers, expansion joints; backnuts and similar; incidental fittings, clips, saddles, brackets, straps, hanges, screws, nails and fixing complete, including cutting and forming holes; excavating, laying pipes and backfilling trenches.
10.2 | Rain Water Pipe works
1 ) | Allow for Rain water discharge pipe lines as shown in drawings | 1 | item | 0 | 0 | 0 | 0 | 0
10.3 | Water supply pipework
1 ) | Allow for Fresh water water connection to fixtures and others as per the given drawing | 1 | item | 0 | 0 | 0 | 0 | 0
3 ) | Ground water supply pipework for the fixtureres as per given drawing ad details | 1 | item | 0 | 0 | 0 | 0 | 0
10.4 | Sanitary Fixtures & Accessories
Sanitary Fixtures complete including brackets flush pipes, overflows and washers etc.
1 ) All toilet fittings shall be "Cotto" or equivalent - chrome plated
2) All Wash closets shall be anti-bacterial glazed wash closets with top & dual flushing feature.
2 ) All toilet fixtures shall be "Cotto" or equivalent brand.
3 ) All piping shall be of UPVC
5 ) All water pumps shall be of "Davey" brand or equivalent.
6) All labs sinks shall be Cotto or equivalent ceramic sink (minimum 600mm in length).
7) all Handicapped accessories shall be cotto or equivalent chrome finished stainless steel fixtures, rates shall include supply and complete installation of fixtures.
8)) All lab sinks shall have a wall mounted elbow action lever type faucet. (faucet shall be extended outwards from the wall with using a stainless steel sleeve).
9) Complete fabrication of sink cupboards as per drawing
5 ) All water pumps shall be of "Davey" brand or equivalent.
1 ) | Water Closet | 8 | nos | 0 | 0 | 0 | 0 | 0
2 ) | Wash Basin | 8 | nos | 0 | 0 | 0 | 0 | 0
3 ) | Counter top Ceramic Lab sinks with complete installation & Complete fabrication of sink cupboards as per drawing | 3 | nos | 0 | 0 | 0 | 0 | 0
4 ) | Muslim Shower | 8 | nos | 0 | 0 | 0 | 0 | 0
5 ) | Floor Drain | 14 | nos | 0 | 0 | 0 | 0 | 0
6 ) | Mirror | 8 | nos | 0 | 0 | 0 | 0 | 0
9 ) | Towel Holder | 11 | nos | 0 | 0 | 0 | 0 | 0
10.5 | Pumping System
Supply and installation of water pump complete including connecting valves and other fittings to pipework and electricity as per requirements.
1 ) | Ground water pump | 1 | nos | 0 | 0 | 0 | 0 | 0
10.6 | Drainage
Discharge pipework
1 ) | Complete Discharge pipe work | 1 | item | 0 | 0 | 0 | 0 | 0
2) | Connecting to MWSC sewer mains | 1 | item
3) | Constructing Inspection Chamber of required size with all provisions to connect pipelines as per drawing. | 1 | item | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 10 (HYDRAULICS AND DRAINAGE) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 11
ELECTRICAL INSTALLATIONS
11.1 | General
a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
b) Rate shall include for electrical conduits, fittings, equipment and similar all fixings
c) Each light / light fixture and its switches shall measure as one one point: similarly each sockets or each fans shall measured as one point.
d) Rate shall include for supply and complete installation of all floors.
11.2 | Main Connection
| Allow for three phase main connection from STELCO board to Panel board | 1 | item | 0 | 0 | 0 | 0 | 0
11.3 | Electrical boards
Complete installation incl. for all connection earthing, painting, testing and similar of;
1 ) | Main panel board | 1 | nos | 0 | 0 | 0 | 0 | 0
2 ) | Main Distribution boards | 8 | nos | 0 | 0 | 0 | 0 | 0
11.4 | Electrical wiring
Electrical wiring with copper conductor cable in conduits in walls and slab as specified to;
1 ) | 1.5mm2 Wiring to light fixtures and its switches | 123 | points | 0 | 0 | 0 | 0 | 0
2 ) | 2.5mm2 Wiring to Fans and Dimmer switches | 87 | points | 0 | 0 | 0 | 0 | 0
3 ) | Cabling to Main Distribution boards | 8 | points | 0 | 0 | 0 | 0 | 0
4 ) | Cabling to Telephone sockets | 20 | points | 0 | 0 | 0 | 0 | 0
5 ) | Cabling to Network sockets | 19 | points | 0 | 0 | 0 | 0 | 0
6 ) | Cabling to Television sockets | 2 | points | 0 | 0 | 0 | 0 | 0
7 ) | Cabling to Speaker | 2 | points | 0 | 0 | 0 | 0 | 0
11.5 | Ceiling Fans
1 ) | Ceiling fans "USHA" or equivalent 1200 mm dia | 24 | nos | 0 | 0 | 0 | 0 | 0
2 ) | 300 mm dia Exhaust Fan KDK or equivalent, Rates shall include all neccesary works | 14 | nos | 0 | 0 | 0 | 0 | 0
11.6 | Lighting
1 ) | Ceiling reccessed downlights 150mm dia. (with Philips or Equivalent 12W - 1400 LUMENS BULB) | 102 | nos | 0 | 0 | 0 | 0 | 0
2 ) | Table Lamp in Consultant room | 14 | nos | 0 | 0 | 0 | 0 | 0
4 ) | Weather proof Ceiling mount light (with Philips or Equivalent 12W - 1400 LUMENS BULB) | 7 | nos | 0 | 0 | 0 | 0 | 0
11.7 | Socket outlets
All sockets shall be "LEGRAND" / " ABB" or equivalent
1 ) | 1x13A Socket Outlet | 45 | nos | 0 | 0 | 0 | 0 | 0
2 ) | 2x13A Socket Outlet | 30 | nos | 0 | 0 | 0 | 0 | 0
3 ) | 1x15A Socket Outlet (Ceiling level) | 12 | nos | 0 | 0 | 0 | 0 | 0
4 ) | Computer Network Outlet | 19 | nos | 0 | 0 | 0 | 0 | 0
5 ) | TV Point | 2 | nos | 0 | 0 | 0 | 0 | 0
6 ) | Speaker | 3 | nos | 0 | 0 | 0 | 0 | 0
7 ) | Telephone sockets | 20 | nos
8 ) | Ceiling Fan - 1500mm dia | 24 | nos | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
11.8 | Light Switches
All switches shall be "Clipsal"/ "ABB" or equivalent
1 ) | 1Gang 1 Way Switch | 17 | nos | 0 | 0 | 0 | 0 | 0
2 ) | 2Gang 1 Way Switch | 22 | nos | 0 | 0 | 0 | 0 | 0
3 ) | 3 Gang 1 Way Switch | 2 | nos | 0 | 0 | 0 | 0 | 0
4 ) | 4 Gang 1 Way Switch | 5 | nos | 0 | 0 | 0 | 0 | 0
11.9 | CCTV Cameras
| (Rate shall include Design supply and Complete installation as per manufacturer's instructions of CCTV System with all networking cabling and connections, monitors, DVR and recorded back data with atleast of 30 days etc.) all the camera should be night vision. And all cameras shall be IP Cameras |  |  | 0 | 0 | 0 | 0 | 0
| Design supply and complete installation of CCTV surveilance system. | 8 | nos
11.1 | Computer Network
Design, Supply and Complete Installation of computer networking, including CAT6 Cabling, Sockets and double layer switches, Allow for the provision of a completed and detailed set of shop drawings
| Data Network points | 65 | no
11.11 | Telephone Network
Design and supply and complete installation of Telephone network (Including cabling and sockets) and connect to existing PABX. Cat6 cable to be used for laying telephone network.
| Telephone points | 55 | no
11.12 | Network Switch
| Supply and Complete installation of CISCO or equivalent. double layer network swith or equivalent. One network swith for each floor | 2 | Item
TOTAL OF BILL NO. 11 (ELECTRICAL INSTALLATIONS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 12
AIR CONDITIONING
13.1 | Variable Refrigerant Volume (VRV) Air Conditioning system
Rates Shall include design supply and complete installation of VRV IV Daikin or equivalent Air conditioning system The Contractor shall propose the complete system as required
Rates shall include All the duct works, complete pipeline works that includes welding joints, insulation and all other necessary works to complete.
GROUND FLOOR
| Consultation Rooms 1- 6 | 1 | item
| Dressing room | 1 | item
FIRST FLOOR
| Consultation Rooms 7-9 | 1 | item
| Ultra sound scan | 1 | item
| Dental service | 1 | item
| Specimen Room | 1 | item
| Laboratary | 1 | item
| Micro Biology room | 1 | item
TOTAL OF BILL NO. 12 (AIR CONDITIONING) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 13
SPECIAL SERVICE
13.1 | General
a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
b) Rate shall include for electrical conduits, fittings, pumps, contolr boards and other quipment and similar all fixings
c) Rate shall include for all necessary electrical wiring and accessaries required for completion of fire fighting system installation in acconrdance with the drawings, specification and MNDF regulations
c) Rate shall include Design, supply and complete installation of Wet Riser system according to MNDF Regulations
Supply and Complete Insatallation of Wet riser system and Alarm System
1 ) | Fire Blanket | 4 | nos | 0 | 0 | 0 | 0 | 0
2 ) | Break Glass panel | 2 | nos | 0 | 0 | 0 | 0 | 0
3 ) | Smoke detector | 7 | nos | 0 | 0 | 0 | 0 | 0
4 ) | Fire Alarm Panel | 2 | nos | 0 | 0 | 0 | 0 | 0
5 ) | CO2 Extinguisher ( 2 kg) | 2 | nos | 0 | 0 | 0 | 0 | 0
6 ) | DCP Extinguisher (9 kg) | 2 | nos | 0 | 0 | 0 | 0 | 0
7 ) | Junction Box | 2 | nos | 0 | 0 | 0 | 0 | 0
8 ) | Control panel for fire alram (addressable) | 2 | nos | 0 | 0 | 0 | 0 | 0
9 ) | Exist Sign light | 22 | nos | 0 | 0 | 0 | 0 | 0
10) | Smoke detector for fire alarm system | 22 | nos | 0 | 0 | 0 | 0 | 0
11) | Electronic loop fire alarm sounder | 2 | nos
13.1.1 | HOSE REEL SYSTEM (DRY RISER)
1) | Design Supply and complete installation of Dry riser Pipe system and MNDF regulations | 1 | Item
2) | Hose Reels 30 m length (Rates shall include provision to keep dry riser landing valve) | 2 | Nos
3) | Complete Installation of Breaching inlet | 1 | Nos
14.1 | PUBLIC ADDRESSING SYSTEM
All rates shall include design supply and complete installation of public addressing system BOSE or Equivalent.
All speaker shall be ceiling recessed. All components shall be BOSE or Equivalent. Rates shall include installing all components, establishing the public addressing system, cabling and all works.
1) | Ceiling recessed speakers | 8 | nos
2) | Sound Amplifier | 1 | nos
3) | Sound Mixer | 1 | nos
4) | Desktop Microphone | 1 | nos
5) | DVD Player with USB Function | 1 | nos
6) | Equipment rack (lockable) | 1 | nos
7) | Complete installation and calibration of the public addressing system | 1 | item
15.1 | BED SIDE CURTAINS
All Rates shall include Supply and complete installation of Hospital type bes side curtain including railling. All Curtains should be fabricated with mesh cloth (600mm wide) from top of the curtains
15.1.1 | Consultation rooms 1-6 (ground floor) | 6 | Items
15.1.2 | Dressing room (ground floor) | 1 | Items
15.1.3 | Consultation rooms 7-9 (First floor) | 3 | Items
TOTAL OF BILL NO. 13 (SPECIAL SERVICE) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
#VALUE!
Bill No: 14
ADDITIONS
Bill No: 01
Bill No: 02
Bill No: 03
Bill No: 04
Bill No: 05
Bill No: 06
Bill No: 07
Bill No: 08
Bill No: 09
Bill No: 10
Bill No: 11
Bill No: 12
Bill No: 13
TOTAL OF BILL NO. 15 (ADDITIONS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 15
OMISSIONS
Bill No: 01
Bill No: 02
Bill No: 03
Bill No: 04
Bill No: 05
Bill No: 06
Bill No: 07
Bill No: 08
Bill No: 09
Bill No: 10
Bill No: 11
Bill No: 12
Bill No: 13
TOTAL OF BILL NO. 16 (OMISSIONS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)

## Sheet1
| l | w | perimeter
micro bio | 4.67 | 3.01 | 15.36 | 39.936
lab | 7.774 | 5.01 | 25.568 | 66.4768
sample collection | 5.174 | 4 | 18.348 | 47.7048
ceiling height | 2.6 |  |  | 59.276
total area of anti bacterial tilling |  |  | 154.1176
124.4796