## SUMMARY
PROJECT:04 CLASS ROOM BLOCK & HALL BLOCK AT B.KENDHOO SCHOOL
CONSTRUCTION OF 02 STOREY BUILDING
SUMMARY OF BILLS OF QUANTITIES
SL.NO | BILL NAME |  | AMOUNT (MRF) | AMOUNT (MRF)
1 ) | TOTAL OF BILL NO. 01 (PRELIMINARIES) |  | #REF! | 0
2 ) | TOTAL OF BILL NO. 02 (GROUND WORKS) |  | #REF! | 0
3 ) | TOTAL OF BILL NO. 03 (CONCRETE WORKS) |  | #REF! | 0
4 ) | TOTAL OF BILL NO. 04 (MASONRY & PLASTERING WORKS) |  | #REF! | 0
5 ) | TOTAL OF BILL NO. 05 (CEILING WORKS) |  | #REF! | 0
6 ) | TOTAL OF BILL NO. 06 (TILING WORKS) |  | #REF! | 0
7 ) | TOTAL OF BILL NO. 07 (PAINTING WORKS) |  | #REF! | 0
8 ) | TOTAL OF BILL NO. 08 (DOORS & WINDOWS WORKS) |  | #REF! | 0
9 ) | TOTAL OF BILL NO. 09 (METAL WORKS) |  | #REF! | 0
10 ) | TOTAL OF BILL NO. 10 (HYDRAULICS AND DRAINAGE) |  | #REF! | 0
11 ) | TOTAL OF BILL NO. 11 (ELECTRICAL & FIRE ALARM INSTALLATIONS) |  | #REF! | 0
12 ) | TOTAL OF BILL NO. 12 (ROOF) |  | #REF! | 0
GRAND TOTAL |  |  | #REF! | 0
| Total area in Sq.ft |  | 13392
| Rate per sq.ft |  | #REF! | 0
|  | Total area | 14775
|  |  | #REF! | 0

## Cover
BILL OF QUANTITIES
PROJECT: CONSTRUCTION OF 04 CLASS ROOM BLOCK & HALL BLOCK AT B.KENDHOO SCHOOL
PROPOSED 02-STOREY BUILDING - STRUCTURE & FINISHING
JUNE -2016

## BOQ
SL.NO | DESCRIPTION | QTY | UNIT | LABOUR RATE | MATERIAL RATE | LABOUR AMOUNT | MATERIAL AMOUNT | TOTAL AMOUNT
Bill No: 01
PRELIMINARIES
1.1 | General Notes
1 ) | Abbreviations
m - meter
No - numbers
m3 - cubic meter
m2 - square meter
Lm - Linear meter
t - tonnes
incl - including
mm - millimeter
dia - diameter
SS - Stainless Steel
GI - Galvanised Iron
1.2 | Site Management Costs
1 ) | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone,fax,hoardings, Tools & Mechinaries rentals, Transportation charges for materials, Labors and similar. | 1 | item | 0 | 0 | 0 | 0 | 0
1.3 | Sign Board
1 ) | Allow for sign board | 1 | no | 0 | 0 | 0 | 0 | 0
1.4 | Clean - up
1 ) | Allow for clean - up of completed works and site upon completion. | 1 | item | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 01 (PRELIMINARIES) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 02
GROUND WORKS
2.1 | GENERAL
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and disposing surplus soil.
2.2 | SITE CLEARING
| Clear the area of site from rubbish and vegetable matters, stumps, roots. Demolition shall be included (if any) | 1 | item | 0 | 0 | 0 | 0 | 0
2.3 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork, back fill, dewatering and others
1 ) | Excavation for raft footings and Foundation beams | 145.11 | m³ | 0 | 0 | 0 | 0 | 0
2.4 | BACK FILLING
(a) Rates shall include for: levelling, grading, trimming, compacting and similar.
(b) Ground need to be compacted to the required density by the consultant.
1 ) | Earth Filling as per drawings | 262.45 | m³ | 0 | 0 | 0 | 0 | 0
2.5 | DAMP PROOF MEMBRANE
(a) Rates shall include for: dressing around and sealing to all penetrations, laps and turnups
1 ) | Polythene damp proof membrane (500 gauge) laid on blinding layer under Footing | 125.96 | m² | 0 | 0 | 0 | 0 | 0
2 ) | Polythene damp proof membrane (500 gauge) laid on blinding layer under Ground Slab | 480.12 | m² | 0 | 0 | 0 | 0 | 0
2.6 | DEWATERING
| This item shall include for all the piping, pumps, etc. Water needs to be pumped to an assigned area as per local regulation. | 1 | Item | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 02 (GROUND WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 03
CONCRETE WORKS
General
a) Rate shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
b) Mix ratio for reinforced concrete shall be 1:2:3
1 ) | Allow for concrete testing | 1 | item | 0 | 0 | 0 | 0 | 0
0
3.1 | Lean Concrete | [6 empty] | 0
| 75mm thick lean concrete under the raft footing with a mix of 1:2:6 | 165.05 | m² | 0 | 0 | 0 | 0 | 0
3.2 | Reinforced Concrete
In-situ reinforced concrete to:
*Add Mega Flow P for all Super Structure concrete
*Add Mega ADD WL3 for all Sub Structure concrete
*Apply the MOYA SHIELD RBE for all Structure below ground level as water proofing compound
3.2.1 | Foundation
1 ) | Foundation Footing - F1 - 1750mm x 1750mm x 350 mm - 16 nos | 17.15 | m³ | 0 | 0 | 0 | 0 | 0
2 ) | Foundation Footing - F2 - 700mm x 700mm x 350 mm - 19 nos | 3.2585 | m³ | 0 | 0 | 0 | 0 | 0
3 ) | Foundation Footing - F3 - 1000mm x 1000mm x 350 mm - 4 nos | 1.4 | m³ | 0 | 0 | 0 | 0 | 0
4 ) | Foundation Footing - F4 - 1150mm x 1150mm x 350 mm - 5 nos | 2.3144 | m³ | 0 | 0 | 0 | 0 | 0
5 ) | Foundation Footing - F5 - 1450mm x 1450mm x 350 mm - 3 nos | 2.2076 | m³ | 0 | 0 | 0 | 0 | 0
6 ) | Foundation Footing - F6 - 1250mm x 1250mm x 350 mm - 1 nos | 0.54688 | m³ | 0 | 0 | 0 | 0 | 0
7 ) | Foundation Footing - F7 - 1350mm x 1350mm x 350 mm - 2 nos | 1.2757 | m³ | 0 | 0 | 0 | 0 | 0
8 ) | Foundation Footing - F8 - 1850mm x 1850mm x 350 mm - 3 nos | 3.5936 | m³ | 0 | 0 | 0 | 0 | 0
9 ) | Tie Beam - TB1 - 250mm x 400 mm | 24.24 | m³ | 0 | 0 | 0 | 0 | 0
10 ) | Column - C1 - 400mm x 400 mm - 19 nos up to GFFL | 2.508 | m³ | 0 | 0 | 0 | 0 | 0
11 ) | Column - C2 - 250mm 250mm - 32 nos up to GFFL | 1.65 | m³ | 0 | 0 | 0 | 0 | 0
12 ) | Column - C3 - 350mm x 250mm - 2 nos up to GFFL | 0.14438 | m³ | 0 | 0 | 0 | 0 | 0
13 ) | Staircase Starter - 225mm x 1550 mm | 0.28772 | m³ | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3.2.2 | Ground Floor |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Column - C1 - 400mm x 400 mm - 19 nos up to 1 St Slab | 10.792 | m³ | 0 | 0 | 0 | 0 | 0
2 ) | Column - C2 - 250mm 250mm - 32 nos up to 1 St Slab | 6.5062 | m³ | 0 | 0 | 0 | 0 | 0
3 ) | Column - C3 - 350mm x 250mm - 2 nos up to 1 St Slab | 0.62125 | m³ | 0 | 0 | 0 | 0 | 0
4 ) | Staircase up to 1 St Slab | 3.7625 | m³ | 0 | 0 | 0 | 0 | 0
5 ) | Ground concrete - 100 mm thick | 45.201 | m³ | 0 | 0 | 0 | 0 | 0
6 ) | Attached Beam - B1 - 350mm x 850mm | 17.3215 | m³ | 0 | 0 | 0 | 0 | 0
7 ) | Attached Beam - B2 - 200mm x 450mm | 11.13 | m³ | 0 | 0 | 0 | 0 | 0
8 ) | Attached Beam - B3 - 200mm x 450mm | 1.53 | m³ | 0 | 0 | 0 | 0 | 0
9 ) | Attached Beam - B4 - 200mm x 450mm | 1.02 | m³ | 0 | 0 | 0 | 0 | 0
10 ) | Attached Beam - B5 - 200mm x 450mm | 2.016 | m³ | 0 | 0 | 0 | 0 | 0
11 ) | Main Slab - 150mm thick | 55.78 | m³ | 0 | 0 | 0 | 0 | 0
3.2.3 | First Floor
1 ) | Column - C1 - 400mm x 400 mm - 19 nos up to Roof Beam | 9.272 | m³ | 0 | 0 | 0 | 0 | 0
2 ) | Column - C2 - 250mm 250mm - 13 nos up to Roof Beam | 2.4781 | m³ | 0 | 0 | 0 | 0 | 0
3 ) | Column - C3 - 350mm x 250mm - 2 nos up to Roof Beam | 0.53375 | m³ | 0 | 0 | 0 | 0 | 0
4 ) | Parapet wall | 2.9028 | m³ | 0 | 0 | 0 | 0 | 0
5 ) | Roof Beam - RB1 - 200mm x 450mm | 12.789 | m³ | 0 | 0 | 0 | 0 | 0
6 ) | Roof Beam - RB2 - 250mm x 700mm | 12.8625 | m³ | 0 | 0 | 0 | 0 | 0
7 ) | Column - C2 - 250mm 250mm - 3 nos above Roof Beam | 0.27 | m³ | 0 | 0 | 0 | 0 | 0
8 ) | Column - C3 - 350mm x 250mm - 1 nos above Roof Beam | 0.1715 | m³ | 0 | 0 | 0 | 0 | 0
3.3.0 | Formwork
a) Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes, removal of formwork and normal practices used.
3.3.1 | Foundation |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Foundation Footing - F1 - 1750mm x 1750mm x 350 mm - 16 nos | 39.2 | m² | 0 | 0 | 0 | 0 | 0
2 ) | Foundation Footing - F2 - 700mm x 700mm x 350 mm - 19 nos | 18.62 | m² | 0 | 0 | 0 | 0 | 0
3 ) | Foundation Footing - F3 - 1000mm x 1000mm x 350 mm - 4 nos | 5.6 | m² | 0 | 0 | 0 | 0 | 0
4 ) | Foundation Footing - F4 - 1150mm x 1150mm x 350 mm - 5 nos | 8.05 | m² | 0 | 0 | 0 | 0 | 0
5 ) | Foundation Footing - F5 - 1450mm x 1450mm x 350 mm - 3 nos | 6.09 | m² | 0 | 0 | 0 | 0 | 0
6 ) | Foundation Footing - F6 - 1250mm x 1250mm x 350 mm - 1 nos | 1.75 | m² | 0 | 0 | 0 | 0 | 0
7 ) | Foundation Footing - F7 - 1350mm x 1350mm x 350 mm - 2 nos | 3.78 | m² | 0 | 0 | 0 | 0 | 0
8 ) | Foundation Footing - F8 - 1850mm x 1850mm x 350 mm - 3 nos | 7.77 | m² | 0 | 0 | 0 | 0 | 0
9 ) | Tie Beam - TB1 - 250mm x 400 mm | 194.14 | m² | 0 | 0 | 0 | 0 | 0
10 ) | Column - C1 - 400mm x 400 mm - 19 nos up to GFFL | 25.08 | m² | 0 | 0 | 0 | 0 | 0
11 ) | Column - C2 - 250mm 250mm - 32 nos up to GFFL | 26.4 | m² | 0 | 0 | 0 | 0 | 0
12 ) | Column - C3 - 350mm x 250mm - 2 nos up to GFFL | 1.98 | m² | 0 | 0 | 0 | 0 | 0
13 ) | Staircase Starter - 225mm x 1550 mm | 2.9287 | m² | 0 | 0 | 0 | 0 | 0
3.3.2 | Ground Floor |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Column - C1 - 400mm x 400 mm - 19 nos up to 1 St Slab | 107.92 | m² | 0 | 0 | 0 | 0 | 0
2 ) | Column - C2 - 250mm 250mm - 32 nos up to 1 St Slab | 104.1 | m² | 0 | 0 | 0 | 0 | 0
3 ) | Column - C3 - 350mm x 250mm - 2 nos up to 1 St Slab | 8.52 | m² | 0 | 0 | 0 | 0 | 0
4 ) | Staircase up to 1 St Slab | 27.0063 | m² | 0 | 0 | 0 | 0 | 0
5 ) | Ground concrete - 100 mm thick | 9.9301 | m² | 0 | 0 | 0 | 0 | 0
6 ) | Attached Beam - B1 - 350mm x 850mm | 123.725 | m² | 0 | 0 | 0 | 0 | 0
7 ) | Attached Beam - B2 - 200mm x 450mm | 141.82 | m² | 0 | 0 | 0 | 0 | 0
8 ) | Attached Beam - B3 - 200mm x 450mm | 20.4 | m² | 0 | 0 | 0 | 0 | 0
9 ) | Attached Beam - B4 - 200mm x 450mm | 13.6 | m² | 0 | 0 | 0 | 0 | 0
10 ) | Attached Beam - B5 - 200mm x 450mm | 24.64 | m² | 0 | 0 | 0 | 0 | 0
11 ) | Main Slab - 150mm thick | 315.523 | m² | 0 | 0 | 0 | 0 | 0
3.3.3. | First Floor
1 ) | Column - C1 - 400mm x 400 mm - 19 nos up to Roof Beam | 92.72 | m² | 0 | 0 | 0 | 0 | 0
2 ) | Column - C2 - 250mm 250mm - 13 nos up to Roof Beam | 39.65 | m² | 0 | 0 | 0 | 0 | 0
3 ) | Column - C3 - 350mm x 250mm - 2 nos up to Roof Beam | 7.32 | m² | 0 | 0 | 0 | 0 | 0
4 ) | Parapet wall | 58.055 | m² | 0 | 0 | 0 | 0 | 0
5 ) | Roof Beam - RB1 - 200mm x 450mm | 156.31 | m² | 0 | 0 | 0 | 0 | 0
6 ) | Roof Beam - RB2 - 250mm x 700mm | 121.275 | m² | 0 | 0 | 0 | 0 | 0
7 ) | Column - C2 - 250mm 250mm - 3 nos above Roof Beam | 4.26 | m² | 0 | 0 | 0 | 0 | 0
8 ) | Column - C3 - 350mm x 250mm - 1 nos above Roof Beam | 2.352 | m² | 0 | 0 | 0 | 0 | 0
3.4 | Reinforcement
a) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and chair supports, laps, and wastages.
3.4.1 | Foundation
1 ) | Foundation Footing - F1 - 1750mm x 1750mm x 350 mm - 16 nos
| 12 mm dia bars | 658.94 | Kg | 0 | 0 | 0 | 0 | 0
2 ) | Foundation Footing - F2 - 700mm x 700mm x 350 mm - 19 nos
| 12 mm dia bars | 150.48 | Kg | 0 | 0 | 0 | 0 | 0
3 ) | Foundation Footing - F3 - 1000mm x 1000mm x 350 mm - 4 nos
| 12 mm dia bars | 59.14 | Kg | 0 | 0 | 0 | 0 | 0
4 ) | Foundation Footing - F4 - 1150mm x 1150mm x 350 mm - 5 nos
| 12 mm dia bars | 102.08 | Kg | 0 | 0 | 0 | 0 | 0
5 ) | Foundation Footing - F5 - 1450mm x 1450mm x 350 mm - 3 nos
| 12 mm dia bars | 87.12 | Kg | 0 | 0 | 0 | 0 | 0
6 ) | Foundation Footing - F6 - 1250mm x 1250mm x 350 mm - 1 nos
| 12 mm dia bars | 22.97 | Kg | 0 | 0 | 0 | 0 | 0
7 ) | Foundation Footing - F7 - 1350mm x 1350mm x 350 mm - 2 nos
| 12 mm dia bars | 60.02 | Kg | 0 | 0 | 0 | 0 | 0
8 ) | Foundation Footing - F8 - 1850mm x 1850mm x 350 mm - 3 nos
| 12 mm dia bars | 205.66 | Kg | 0 | 0 | 0 | 0 | 0
9 ) | Tie Beam - TB1 - 250mm x 400 mm
| 16 mm dia bars | 1548.4 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 363.3 | Kg | 0 | 0 | 0 | 0 | 0
10 ) | Column - C1 - 400mm x 400 mm - 19 nos up to GFFL
| 16 mm dia bars | 720.48 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 81.93 | Kg | 0 | 0 | 0 | 0 | 0
11 ) | Column - C2 - 250mm 250mm - 32 nos up to GFFL
| 16 mm dia bars | 404.48 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 39.42 | Kg | 0 | 0 | 0 | 0 | 0
12 ) | Column - C3 - 350mm x 250mm - 2 nos up to GFFL
| 16 mm dia bars | 37.42 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 5.93 | Kg | 0 | 0 | 0 | 0 | 0
13 ) | Staircase Starter - 225mm x 1550 mm
| 10 mm dia bars | 54.31 | Kg | 0 | 0 | 0 | 0 | 0
3.4.2 | Ground Floor |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Column - C1 - 400mm x 400 mm - 19 nos up to 1 St Slab
| 16 mm dia bars | 1440.96 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 292.6 | Kg | 0 | 0 | 0 | 0 | 0
2 ) | Column - C2 - 250mm 250mm - 32 nos up to 1 St Slab
| 16 mm dia bars | 748.92 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 130.77 | Kg | 0 | 0 | 0 | 0 | 0
3 ) | Column - C3 - 350mm x 250mm - 2 nos up to 1 St Slab
| 16 mm dia bars | 75.84 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 18.3 | Kg | 0 | 0 | 0 | 0 | 0
4 ) | Staircase up to 1 St Slab
| 10 mm dia bars | 252.51 | Kg | 0 | 0 | 0 | 0 | 0
5 ) | Ground concrete - 100 mm thick
| 10 mm dia bars | 4205.343 | Kg | 0 | 0 | 0 | 0 | 0
6 ) | Attached Beam - B1 - 350mm x 850mm
| 25 mm dia bars | 2261.63 | Kg | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 482.22 | Kg | 0 | 0 | 0 | 0 | 0
| 10 mm dia bars | 670.79 | Kg | 0 | 0 | 0 | 0 | 0
7 ) | Attached Beam - B2 - 200mm x 450mm
| 16 mm dia bars | 996.66 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 252.65 | Kg | 0 | 0 | 0 | 0 | 0
8 ) | Attached Beam - B3 - 200mm x 450mm
| 16 mm dia bars | 333.7 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 100.19 | Kg | 0 | 0 | 0 | 0 | 0
9 ) | Attached Beam - B4 - 200mm x 450mm
| 16 mm dia bars | 222.46 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 56.14 | Kg | 0 | 0 | 0 | 0 | 0
10 ) | Attached Beam - B5 - 200mm x 450mm
| 16 mm dia bars | 249.32 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 41.38 | Kg | 0 | 0 | 0 | 0 | 0
11 ) | Main Slab - 150mm thick
| 10 mm dia bars | 6176.96 | Kg | 0 | 0 | 0 | 0 | 0
3.4.3 | First Floor |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Column - C1 - 400mm x 400 mm - 19 nos up to Roof Beam
| 16 mm dia bars | 1260.84 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 257.49 | Kg | 0 | 0 | 0 | 0 | 0
2 ) | Column - C2 - 250mm 250mm - 13 nos up to Roof Beam
| 16 mm dia bars | 287.56 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 50.34 | Kg | 0 | 0 | 0 | 0 | 0
3 ) | Column - C3 - 350mm x 250mm - 2 nos up to Roof Beam
| 16 mm dia bars | 66.36 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 16.11 | Kg | 0 | 0 | 0 | 0 | 0
4 ) | Parapet wall
| 10 mm dia bars | 300.02 | Kg | 0 | 0 | 0 | 0 | 0
5 ) | Roof Beam - RB1 - 200mm x 450mm
| 16 mm dia bars | 918.93 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 232.56 | Kg | 0 | 0 | 0 | 0 | 0
6 ) | Roof Beam - RB2 - 250mm x 700mm
| 20 mm dia bars | 1120.39 | Kg | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 238.9 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 185.88 | Kg | 0 | 0 | 0 | 0 | 0
7 ) | Column - C2 - 250mm 250mm - 3 nos above Roof Beam
| 16 mm dia bars | 26.92 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 5.81 | Kg | 0 | 0 | 0 | 0 | 0
8 ) | Column - C3 - 350mm x 250mm - 1 nos above Roof Beam
| 16 mm dia bars | 37.16 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 10.98 | Kg | 0 | 0 | 0 | 0 | 0
3.5 | OTHER CONCRETE WORKS
3.5.1 | (a) Rates shall include for: excavation, blinding, concrete, formwork and reinforcement as per drawings and specifications
1) | Complete supply and installation of lintel beam on top Door and Windows as per the given Specification and details. | 1 | Item | 0 | 0 | 0 | 0 | 0
2) | Complete supply and installation of Sill beam on below the Windows as per the given specification and details. | 1 | Item | 0 | 0 | 0 | 0 | 0
3) | Constrction of 1200mm Dia: Ground water well | 1 | Item | 0 | 0 | 0 | 0 | 0
4 ) | Construction of RC Fins as per the given details and drawing (Refer Dwg.S16) | 3 | Nos | 0 | 0 | 0 | 0 | 0
5 ) | Construction of window shades arround window W1 by Concrete and Masonary works with plastering all around, including painting works etc., | 1 | item | 0 | 0 | 0 | 0 | 0
3.6 | WATERPROOFING
3.6.1 | (a) Rates shall include for: dressing around and sealing to all penetrations
1) | Apply Conmix Moya Proof WS2 or Equivalent waterproof memberane for , terrace including Gutter area, Head room top and toilet screed as specified. | 1 | Item | 0 | 0 | 0 | 0 | 0
2) | Application of damp proof membrane Conmix Moya Shield RBE or Equivalent on all underground concrete structures, Bothe side of Block work, Stage well inner side as shown in the drawing. | 1 | item | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 03 (CONCRETE WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
BILL No: 04
MASONRY AND PLASTERING
4.1 | GENERAL
(a) Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of
floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding
frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good
(b) Rates shall include for providing approved quality mesh at joints between structaral members and masonry in the exterior walls.
(c) 150mm Thick solid blocks shall be used for exterior masonry walls, & 100 thick solid blocks shall be used for interior masonry wall
(d) All blocks shall be fabricated from manufactured sand and machine pressed and average compression strength for blocks should not be less than 2.8N/mm2 and shall comply with physical requirements of ISO 6073:1981.
(e) For masonry, plastering and screeding works manufactured sand shall be used with prior approval of consultant.
4.1.1 | BLOCK WORK
1) | BELOW GROUND FLOOR
| 150 mm wide Solid block wall (external walls) | 115.11 | m2 | 0 | 0 | 0 | 0 | 0
4.1.2 | GROUND FLOOR |  |  | 0 | 0 | 0 | 0 | 0
1) | 150 mm wide Solid block wall (external walls including cable wall) | 228.66 | m2 | 0 | 0 | 0 | 0 | 0
2) | 150 mm wide Solid block wall, laid on and including mortar (internal walls) | 108.27 | m2 | 0 | 0 | 0 | 0 | 0
3) | 100 mm wide Solid block wall, laid on and including mortar (internal walls) | 90.76 | m2 | 0 | 0 | 0 | 0 | 0
4.1.3 | FIRST FLOOR
1) | 150 mm wide Solid block wall (external walls including cable wall) | 190.67 | m2 | 0 | 0 | 0 | 0 | 0
2) | 150 mm wide Solid block wall, laid on and including mortar (internal walls) | 25.65 | m2 | 0 | 0 | 0 | 0 | 0
3) | 100 mm wide Solid block wall, laid on and including mortar (internal walls) | 153.51 | m2 | 0 | 0 | 0 | 0 | 0
4.2 | PLASTERING
4.2.1 | PLATERING - EXTERNAL
a) 25mm cement plastering on external walls and concrete surfaces with 1:4 Cement mortar mix as specified incl. wire mesh at joints of concrete surfaces and walls (first, second coats).
1) | Below Ground Level | 230.22 | m² | 0 | 0 | 0 | 0 | 0
2) | Ground Floor | 270.11 | m² | 0 | 0 | 0 | 0 | 0
3) | First Floor | 260.36 | m² | 0 | 0 | 0 | 0 | 0
4.2.3 | PLASTERING - INTERNAL
a) 15mm cement plastering on internal walls and concrete surfaces with 1:4 Cement mortar mix as specified incl. wire mesh at joints of concrete surfaces and walls (one coat).
1) | Ground Floor | 551.07 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor including parapet wall | 667.1 | m² | 0 | 0 | 0 | 0 | 0
4.2.4 | CEMENT SCREED
A | 50 mm thick Cement screed on top of slabs for General Areas. |  |  | 0 | 0 | 0 | 0 | 0
1) | Ground Floor | 280.88 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 242.83 | m² | 0 | 0 | 0 | 0 | 0
B | 35 mm thick Cement screed for toilets, Corridors etc.,
1) | Ground Floor | 182.01 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 91.48 | m² | 0 | 0 | 0 | 0 | 0
C | 25 mm thick Cement screed on top of the Riser & treads with Mid landing etc.,
1) | Ground - First Floor including stage | 25.59 | m² | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 04 (MASONRY & PLASTERING WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
BILL No: 05
CEILING WORKS
5.1 | GENERAL
(a) Rates shall include for: all labour in framing, notching and fitting around projections, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
5.1.1 | CEILING
A | Supply & Fixing the Suspended acoustic water proofed ceiling system with aluminium frame
1) | Ground Floor | 40.75 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 25.48 | m² | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
B | Supply & Fixing the 6mm thick cement sheet fixed with treated 50 x 35 mm timber grid with 600 mm c/c with proper support system for Varandah & Eves
1) | Ground Floor | 135.3 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 118.8 | m² | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
C | Supply & Fixing the Suspended acoustic water proofed ceiling system with aluminium frame
1) | First Floor | 217.93 | m² | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 05 (CEILING WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
BILL N0: 6
FINISHES
6.1 | GENERAL
(a) Rates shall include for: motar, fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing.
(b) All tiles used be of Lanka Tiles brand or similar as given in Technical Specifications
(c) Contractor shall submit samples of all tiles for approval of Consultant prior to procurement
(d) Where there may be any descripancies between the drawings and bill of quantities, details given in the drawings shall precede.
(e) All items are for supply and complete installation
(f) All tiles shall be fixed using Conmix C-800 tile adhesive with proper water proofing(wherever necessary) application by using Conmix Moyaproof HF water proofing Memberane as per the manufacturer guidelines and instructions.
6.2 | FLOOR FINISHES
6.2.1 | 600 x 600 mm Ceramic floor tiles in general areas and the price should be including skirting
1) | Ground Floor | 291.83 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 263.73 | m² | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
6.2.2. | 600 x 600 mm Non Skid Outdoor Ceramic floor tiles in Corridors, Foyer etc., and the price should be including skirting
1) | Ground Floor | 148.12 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 75.53 | m² | 0 | 0 | 0 | 0 | 0
6.2.3. | 300 x 300 mm Non-skid floor tiles in toilets
1) | Ground Floor | 40.69 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 25.48 | m² | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
6.2.4. | Step tile for Staircase with Anti slip Aluminium Nosing Strip
1) | Ground - First Floor | 33.08 | m² | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
6.3 | WALL FINISHES |  |  | 0 | 0 | 0 | 0 | 0
6.3.1 | 300 x 600 mm Ceramic wall tiles with waterproof adhesive up to Door Height
1) | Ground Floor | 174.58 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 115.99 | m² | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
6.4 | WASH BASIN COUNTER TOPS
Complete installation of counter tops of wash basin as per the given details including concrete base and finished by the 600mm x 600mm polished granite tile counter top by using tile adhesive and water proofing etc.,
1) | Ground Floor
a | Wash Basin counter top | 2 | nos | 0 | 0 | 0 | 0 | 0
2) | First Floor
a | Wash Basin counter top | 1 | nos | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 06 (TILING WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
BILL N0: 7
PAINTING
7.1 | PAINTING
(a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door window furniture
(b) All painting work shall be carried in accordance with the Specifications
(c) The brand of paint used shall be SKK or Sigma for exterior walls & SKK, Crown or Nippon for interior walls
(d) The colour and type of paint will be selected by the architect/client.
7.1.1 | WALLS
A | External painting 1 coat of wall sealer & 2 coats of paints
1) | Ground Floor | 297.121 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 286.396 | m² | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
B | Internal Painting 1 coat of wall sealer & 2 coats of paints
1) | Ground Floor | 420.761 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 666.743 | m² | 0 | 0 | 0 | 0 | 0
7.1.2. | Ceilings
A | Emulsion paint putty finish on concrete slab and beams, plywood / cement fibre board of all internal surfaces.
1 coat of primer & 2 coats of paints
Emulsion putty paint finish
1) | Ground Floor | 289.63 | m² | 0 | 0 | 0 | 0 | 0
B | Exterior grade Emulsion paint putty finish on Toilet Ceilings, Eves Ceiling and all external surfaces.
1 coat of primer & 2 coats of paints
Emulsion putty paint finish
1) | Ground Floor | 135.3 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 118.3 | m² | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 07 (PAINTING WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 08
DOORS AND WINDOWS
8.1 | General
a) Rates shall include for: locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
b) All Aluminum windows shall be white powder(80 Micron) coated aluminium.and 5mm thick Blue tinted and 5mm frosted glass for W3
c) All timber doors shall be 40mm thick solid timber paneled door and 120mm timber frames made with red Marantie timber with varnish / Paint finish.
8.2 | Timber Door units
1) | D2 - Solid Timber Door panel - 950 x 2830 mm | 8 | nos | 0 | 0 | 0 | 0 | 0
2) | D3 - Solid Timber Door panel - 950 x 2150 mm | 5 | nos | 0 | 0 | 0 | 0 | 0
3) | D4 - Solid Timber Door panel - 780 x 2000 mm | 9 |  | 0 | 0 | 0 | 0 | 0
8.3 | Aluminium Doors & Window Units
1) | D1 - Alumimium Framed Openable door - 1850 x 2830 mm | 12 | nos | 0 | 0 | 0 | 0 | 0
2) | W1 - Aluminium window Panel - 2450 x 1690 mm | 8 | nos | 0 | 0 | 0 | 0 | 0
3) | W2 - Aluminium window Panel - 1575 x 2000 mm | 8 | nos | 0 | 0 | 0 | 0 | 0
4) | W3 - Aluminium window Panel - 1240 x 1690 mm | 3 | nos | 0 | 0 | 0 | 0 | 0
5) | W4 - Aluminium Louver Panel - 700 x 550 mm | 4 | nos | 0 | 0 | 0 | 0 | 0
6) | Shading Device (Type-01) - 3000 x 650 mm | 11 | nos | 0 | 0 | 0 | 0 | 0
7) | Shading Device (Type-02) - 1800 x 650 mm | 2 | nos | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 08 (DOORS & WINDOWS WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 09
METAL WORKS
9.1 | General
a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts incl. those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
b) Rates shall include for fabrication and erection and temporary supports and fixing into position.
9.2 | Staircase Hand railing
A.1 | 50mm dia top & Bottom member, 35mm dia & 25mm dia vertically etc., including bolts, washers and fixing to reinforced concrete as shown in the drawing.
1 ) | Ground - First Floor | 8.37 | Rmtr | 0 | 0 | 0 | 0 | 0
9.3 | Balcony railing - 250 mm height
B | 50mm dia (2 no) top member (Horizantal), 25mm dia vertically etc, including bolts, washers and fixing to reinforced concrete as shown in the drawing.
1 ) | First Floor | 34.1 | Rmtr | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 09 (METAL WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 10
HYDRAULICS & DRAINAGE
10.1 | General
a) Rates shall include for: sockets, running joints, connections, elbows, junctions, reducers, expansion joints; backnuts and similar; incidental fittings, clips, saddles, brackets, straps, hanges, screws, nails and fixing complete, including cutting and forming holes; excavating, laying pipes and backfilling trenches.
10.2 | Rain Water Pipe works
1 ) | Allow for Rain water discharge as shown in drawings | 1 | item | 0 | 0 | 0 | 0 | 0
10.3 | Fresh water supply pipework
1 ) | Allow for water connection to fixtures from MWSC mains | 1 | item | 0 | 0 | 0 | 0 | 0
2 ) | Supply and fixing MWSC fresh water mains (meters) | 1 | nos | 0 | 0 | 0 | 0 | 0
3 ) | Ground water supply pipework |  |  | 0 | 0 | 0 | 0 | 0
4 ) | Allow for water connection to fixtures from Ground water only for WC | 1 | item | 0 | 0 | 0 | 0 | 0
10.4 | Sanitary Fixtures & Accessories
Sanitary Fixtures complete including brackets flush pipes, overflows, plugs and washers etc.
1 ) All toilet fittings shall be "Cotto" or equivalent - chrome plated
2 ) All toilet fixtures shall be "Watertec" or equivalent brand.
3 ) All piping shall be of UPVC
4 ) All kitchen sinks shall be of SS type with chrome plated taps.
5 ) All water pumps shall be of "Davey" brand or equivalent.
1 ) | Water Closet | 9 | nos | 0 | 0 | 0 | 0 | 0
2 ) | Wash basin - Counter top type | 3 | nos | 0 | 0 | 0 | 0 | 0
3 ) | Wash basin tap | 3 | nos | 0 | 0 | 0 | 0 | 0
4 ) | Muslim Shower | 9 | nos | 0 | 0 | 0 | 0 | 0
5 ) | Floor waste with gully trap | 17 | nos | 0 | 0 | 0 | 0 | 0
6 ) | Water dispenser with complete accesseries | 2 | nos | 0 | 0 | 0 | 0 | 0
7 ) | 1/4" mirror fixed over 1/4" ply and aluminium frame | 3 | nos | 0 | 0 | 0 | 0 | 0
8 ) | Water Taps / Faucet | 9 | nos | 0 | 0 | 0 | 0 | 0
8 ) | Towel Hanger | 9 | Set | 0 | 0 | 0 | 0 | 0
10.5 | Pumping System
Supply and installation of water pump complete including connecting valves to pipework and electricity as per requirements.
1 ) | MWSC booster water pump (with stand by pump) | 0 | Item | 0 | 0 | 0 | 0 | 0
2 ) | Ground water pump | 1 | nos | 0 | 0 | 0 | 0 | 0
10.6 | Drainage
Discharge pipework
1 ) | All pipework connection from fixtures and upto the inspection chamber and MWSC sewer | 1 | item | 0 | 0 | 0 | 0 | 0
2 ) | Connecting to MWSC sewer mains | 1 | item | 0 | 0 | 0 | 0 | 0
3 ) | Constructing of Soak pit with Inspection Chamber of required size with all provisions to connect pipelines as per drawing. | 1 | item | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 10 (HYDRAULICS AND DRAINAGE) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 11
ELECTRICAL & FIRE INSTALLATIONS
11 | General
a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
b) Rate shall include for electrical conduits, fittings, equipment and similar all fixings
c) Each light / light fixture and its switches shall measure as one one point: similarly each sockets or each fans shall measured as one point.
d) Rate shall include for supply and complete installation of all floors.
11.2 | Main Connection
| Allow for three phase main connection from STELCO board to Panel board | 1 | item | 0 | 0 | 0 | 0 | 0
11.3 | Electrical boards
Complete installation incl. for all connection earthing, painting, testing and similar of;
1 ) | Main panel board | 1 | nos | 0 | 0 | 0 | 0 | 0
2 ) | Main Distribution boards | 2 | nos | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
11.4 | Electrical wiring |  |  | 0 | 0 | 0 | 0 | 0
Electrical wiring with copper conductor cable in conduits in walls and slab as specified to;
1 ) | 1.5mm2 Wiring to light fixtures and its switches | 133 | points | 0 | 0 | 0 | 0 | 0
2 ) | 2.5mm2 Wiring to Fans and Dimmer switches | 81 | points | 0 | 0 | 0 | 0 | 0
3 ) | Cabling to Main Distribution boards | 2 | points | 0 | 0 | 0 | 0 | 0
4 ) | Cabeling For VGA01 | 4 | points | 0 | 0 | 0 | 0 | 0
5 ) | Cabeling For VGA02 | 4 | points | 0 | 0 | 0 | 0 | 0
6 ) | Cabeling For Telephone Outlet (T01) | 4 | points | 0 | 0 | 0 | 0 | 0
7 ) | Cabeling For Computer Network Outlet (T02) | 6 | points | 0 | 0 | 0 | 0 | 0
8 ) | Cabeling For Multimedia Projector (MP01) | 4 | points | 0 | 0 | 0 | 0 | 0
9 ) | Cabeling For TV point (T10) | 4 | points | 0 | 0 | 0 | 0 | 0
10 ) | Cabeling For Speaker (T11) | 8 | points | 0 | 0 | 0 | 0 | 0
11.5 | Ceiling Fans
1 ) | 1200 mm dia Ceiling Fan (V01b) | 34 | nos | 0 | 0 | 0 | 0 | 0
2 ) | Fan / Light Dimmer switch (P23) | 34 | nos | 0 | 0 | 0 | 0 | 0
3 ) | Mechanical Ventilator | 9 | nos | 0 | 0 | 0 | 0 | 0
11.6 | Lighting
1 ) | 2X36W Fluorescent lamps in Surface Mount Luminaire with Diffuser(L07) | 64 | nos | 0 | 0 | 0 | 0 | 0
2 ) | Wall Mount Energy Saving Light (L09) | 5 | nos | 0 | 0 | 0 | 0 | 0
3 ) | 1X26W Compact Fluorescent Lamps in Recessed Decorative Luminaire (L10) | 29 | nos | 0 | 0 | 0 | 0 | 0
4 ) | 1X60W Incandescent Lamps in Recessed Decorative Luminaire (L15) | 29 | nos | 0 | 0 | 0 | 0 | 0
5 ) | 1X60W Incandescent Lamps in Surface Mount Weather proof Luminaire (L17) | 6 | nos | 0 | 0 | 0 | 0 | 0
11.7 | Socket outlets
All sockets shall be "Clipsal" / " ABB" or equivalent
1 ) | 1 x 13A Socket outlet (P01,P16) | 13 | nos | 0 | 0 | 0 | 0 | 0
2 ) | 2 x 13A Socket outlet (P02) | 50 | nos | 0 | 0 | 0 | 0 | 0
3 ) | 1 x 15A Socket outlet (P15) | 12 | nos | 0 | 0 | 0 | 0 | 0
4 ) | 1 x 13A Socket outlet - Weather Proof (P17) | 6 | nos | 0 | 0 | 0 | 0 | 0
5 ) | VGA01 - VGA Cable | 4 | nos | 0 | 0 | 0 | 0 | 0
6 ) | VGA02 - VGA Cable at Ceiling Level | 4 | nos | 0 | 0 | 0 | 0 | 0
7 ) | Plain Telephone Outlet (T01) | 4 | nos | 0 | 0 | 0 | 0 | 0
8 ) | Computer Network Outlet (T02) | 6 | nos | 0 | 0 | 0 | 0 | 0
9 ) | Multimedia Projector (MP01) | 4 | nos | 0 | 0 | 0 | 0 | 0
10 ) | TV point (T10) | 4 | nos | 0 | 0 | 0 | 0 | 0
11 ) | Speaker (T11) | 8 | nos | 0 | 0 | 0 | 0 | 0
11.8 | Light Switches
All switches shall be "Clipsal"/ "ABB" or equivalent
1 ) | One Gang One way Switch (P19) | 11 | nos | 0 | 0 | 0 | 0 | 0
2 ) | Two Gang One way Switch (P20) | 8 | nos | 0 | 0 | 0 | 0 | 0
3 ) | Three Gang One way Switch (P21) | 12 | nos | 0 | 0 | 0 | 0 | 0
4 ) | Four Gang One Way Switch (P22) | 16 | nos | 0 | 0 | 0 | 0 | 0
11.9 | Fire Alarm System
All switches shall be "Clipsal"/ "ABB" or equivalent
1 ) | Manual Call Point (F02) | 3 | nos | 0 | 0 | 0 | 0 | 0
2 ) | Smoke detector (F03) | 8 | nos | 0 | 0 | 0 | 0 | 0
3 ) | Fire Alarm Bell (F05) | 1 | nos | 0 | 0 | 0 | 0 | 0
4 ) | Portable Extinguisher - H2O (F07) | 3 | nos | 0 | 0 | 0 | 0 | 0
5 ) | Portable Extinguisher - Co2 (F08) | 3 | nos | 0 | 0 | 0 | 0 | 0
6 ) | Junction Box (F06) | 1 | nos | 0 | 0 | 0 | 0 | 0
7 ) | Conventional Fire Alarm Panel (F09) | 2 | nos | 0 | 0 | 0 | 0 | 0
8 ) | Exit Sign(L12) | 20 | nos | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 11 (ELECTRICAL & FIRE ALARM INSTALLATIONS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 12
ROOF
GENERAL
12.1 | (a) Rates shall include for: fair edges, dressing over angel fillets, turning into grooves, all other labours, circular edges, nails, screws and other fixings and laps.
b) Rates shall include for: all fabrication work, welding, marking, drilling for bolts incl. those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
c) Rates shall include for fabrication and erection and temporary supports and fixing into position.
12.2 | ROOF TRUSS
12.2.1 | Roof truss made with 60.3mm dia with 2.5mm thick GI pipe top and bottom chord and 42.4 mm dia with 2mm tk GI pipe bracing chord as per the given drawings
1 ) | Ridge Beam | 35.3 | Mtr | 0 | 0 | 0 | 0 | 0
1 ) | TR1 - 5250 mm | 24 | Nos | 0 | 0 | 0 | 0 | 0
1 ) | TR2 - 1275 mm | 12 | Nos | 0 | 0 | 0 | 0 | 0
1 ) | TR3 - 1275 mm | 7 | Nos | 0 | 0 | 0 | 0 | 0
12.2.2 | C10010 Purlins with
1 ) | Steel purlins @900 c/c connected with 50mm x 50 mm cleat angle as per the given drawings | 853.4 | Mtr | 0 | 0 | 0 | 0 | 0
12.2.3 | ROOF COVERING
1 ) | BHP Lysaght Trimdek Hi-Ten or equivalent roofing sheet, including all fixings, fixed in accordance with manufacturer's instructions. | 608.56 | m2 | 0 | 0 | 0 | 0 | 0
2 ) | 50mm rockwool insulation with Aluminium foil backing on both side and PVC mesh including | 608.56 | m2 | 0 | 0 | 0 | 0 | 0
12.2.4 | CAPPING AND FLASHING
1 ) | 400 mm Ridge capping | 35.3 | Rmt | 0 | 0 | 0 | 0 | 0
2 ) | Cable Wall Flashing | 36.8 | Rmt | 0 | 0 | 0 | 0 | 0
3 ) | Apron Wall Flashing | 54.5 | Rmt | 0 | 0 | 0 | 0 | 0
4 ) | 25mm x 250mm Facia Board | 125.1 | Rmt | 0 | 0 | 0 | 0 | 0
12.2.5 | DOWN PIPE
1 ) | 100 mm dia PVC down pipes including down spouts, bends, junctions, straps, brackets, clips and all fixings. | 1 | item | 0 | 0 | 0 | 0 | 0
12.2.6 | GUTTER
1 ) | 200 mm wide MS Gutter | 125.1 | Rmt | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 12 (ROOF) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
[6 empty] | 0 | 0
[6 empty] | #DIV/0! | #DIV/0!