## Cover Page
BILL OF QUANTITIES
(BOQ)
Proposed 2 Storey Juvenile Residential Centre
Dh.Kudahuvadhoo
Ministry of Home Affairs
Rep. of Maldives
March 2021

## SUMMARY
Project : Proposed 2 Storey Juvenile Residential Centre
Client : Ministry of Home Affairs / Rep Maldives
Location: Dh.Kudahuvadhoo
Date: March 2021
Contractor :
Project Duration :
BILL OF QUANTITIES
SUMMARY
BILL NO: | DESCRIPTION | AMOUNT
1 | GENERAL & PRELIMINARIES | MVR.
2 | EARTH WORKS | MVR.
3 | WATERPROOFING | MVR.
4 | CONCRETE WORKS | MVR.
5 | MASONRY AND PLASTERING | MVR.
6 | DOORS & WINDOWS | MVR.
7 | WOOD, GLASS & METAL WORKS | MVR.
8 | TILING & OTHER FLOOR FINISHING WORKS | MVR.
9 | PUTTY & PAINTING | MVR.
10 | ROOFING WORKS | MVR.
11 | BOUNDARY WALL | MVR.
12 | PAVING AND LANDSCAPING | MVR.
13 | ELECTRICAL INSTALLATIONS | MVR.
14 | HYDRAULICS & DRAINAGE | MVR.
15 | AIR CONDITIONING & VENTILATION SYSTEM | MVR.
16 | FIRE FIGHTING INSTALLATION | MVR.
17 | LIFT INSTALLATION | MVR.
18 | TENDERER'S ADJUSTMENTS | MVR.
SUB TOTAL |  | MVR.
| GST 6% | MVR.
TOTAL (Incl GST) |  | MVR.

## BOQ
Item | Description | Unit | Qty | Rate | Amount
BILL No: 01
1 | GENERAL & PRELIMINARIES
1.1 | GENERAL
a) | Abbreviations
b) | m - metre
c) | nos - numbers
d) | m³ - cubic metre
e) | m² - square metre
f) | m - Linear metre
g) | Kg-Kilogram
h) | t - Tonne
i) | incl - including
j) | mm - millimetre
k) | dia - diameter
l) | L/S -Lump Sum
1.2 | PRELIMINARIES
1.2.1 | Mobilization and Demobilization
a) | Mobilization and Demobilization of contractors personel, plants, machineries, equipments, materials, contractors facilities and the like. | Item | 1
1.2.2 | Insurances & Bonds
a) | The Contractor shall effect and maintain insurances in the joint names of the Employer and Contractor including subcontractors that may be appointed from time to time in respect of the following:- a. Loss or damage to the Works, or any part thereof, or materials or Plant for incorporation therein. b. Third Party Insurance c. Workman's Compensation Insurance | Item | 1
1.2.3 | Site Management Cost
a) | Allow provision for all on and off site management cost including costs of foreman and assistants, site office, Internet & telephone Facilities and equipments for site office and other Operational costs for site office. The Contractor shall constantly keep upon the Works on a full-time basis, the following key site personnel:- a. A competent and experienced Project Director who shall be overall in charge of the Works b. Competent and experienced Project and Construction Managers who shall be in charge of the various section of the works and tasks at the site c. A qualified and competent Architectural Coordinator who shall organize and coordinate on the Contractor is behalf all the Architectural aspects of the Works | Item | 1
1.2.4 | Site Safety and Protection
a) | Providing and maintaining adequate safety measures on site for all workers and all authorized visitors on site safeguard the works including providing safety equipments, pest control, fire fighting equipments, materials and Plant against damage or theft including all necessary watching and lighting for the security of the Works and the protection of the public, Provide for carefully covering up and protecting the Works and Materials from inclement weather and theft. | Item | 1
1.2.5 | Plants & Machineries
a) | Rate shall include cost of rentals, operation & maintenance, fuel, lubricant and the like. | Item | 1
1.2.6 | Services and Facilities
a) | Allow Provision for services and facilities such as water, power supply, lighting, food, accomodation and the like. | Item | 1
1.2.7 | Temporary Structures
a) | Provide all necessary temporary fencing, hoarding, scaffolding, Safety nets, screens, fans, planked footways, guardrails, gantries, and the like to seal off the site and for the protection of the public and the occupants of any local or statutory authority, law or regulations and to the satisfaction of the Engineer. Provide all necessary lighting to same at night and for removing and making good any damage resulting there from on completion. | Item | 1
1.2.8 | Sign Board
a) | Project Information Boards, Safety and Security Boards etc. | item | 1
1.2.9 | Clean-ups and Handover
a) | Daily removal of debris and unnecessary materials from the project site to the dump site 'area as designated by the Engineer. The General Contractor shall allow all costs for proper housekeeping of the project site at all times. Making good of the compacted areas during final completion. | Item | 1
1.2.10 | Allow for all other cost not included elsewhere for General & Prelimineries. Each item to be detailed and priced seperately below.
a)
b)
c)
d)
e)
f)
BILL No: 01 GENERAL & PRELIMINARIES
TOTAL OF BILL No: 01 - Carried over to summary
BILL No: 02
2 | EARTH WORKS
2.1 | General
2.1.1 | Excavation
2.1.1.1 | Excavation shall be carried out in all type of materials and by whatever means are necessary accurately to the lines and levels shown in the approved drawing. No blasting of any kind will be permitted. Excavation for foundations and will include timbering of soil faces. Excavation quantities are measured to the faces of concrete members. Rates shall include for leveling, grading, trimming compacting to faces of excavation, keeping sides plumb, backfilling, consolidating and disposing surplus soil and include for all additional excavation required to place the formwork / shuttering etc.
2.1.2 | Backfilling
2.1.2.1 | (a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and disposing surplus soil.
2.1.3 | Dewatering
2.1.3.1 | (b) For dewatering works, rate shall include for taking all Authority approvals and all necessary mitigation measures.
2.2 | Site Clearing
2.2.1 | Includes clearing of all trees and bushes complete with stems, roots Flooring and the reimbursement fees if applicable. The contractor is advised to survey the construction site and ensure that all necessary works for site clearing also included Reallocation of existing prefabricated garage within the health center site, Rates includes to additinal materials (if needed) and labour to reallocate garage. | m2 | 1854.21
2.3 | Excavation
2.3.1 | Excavation to receive foundation, foundation beams, tie beams and other concrete structures below ground level. | m³ | 408.7189
2.4 | Back filling
2.4.1 | Backfilling using excavated materials to receive Finished floor lvl maximum thickness not exceeding 150mm above ground lvl.'Rates shall include for: leveling, grading, trimming and compacting as specified. | m2 | 1348.83
2.4.2 | Ditto But not exceeding 300mm above ground level. | m2 | 505.38
2.5 | Dewatering.
2.5.1 | Allow Provision for dewatering to receive foundation and all concrete structures below ground lelv where required. Rate shall include for taking Authority approvals, Pumping, Laying Pipes and addressing all necessary mitigation measures. | item | 1
BILL No: 02 EARTHWORKS
TOTAL OF BILL No: 02 - Carried over to summary
BILL No: 03
WATERPROOFING
3.1 | General
a) | All the Waterproofing chemical shall be applied / mixed with the instruction of Manufacturer / Supplier and Consultant.
3.2 | Apply 2 coats of water proofing bitumen paint conmix moya shield RBE or equivalent to all concrete structures and plastered masonry walls below ground level | Item | 1
3.3 | Apply CONMIX MOYA PROOF WS2 or equivalent Water Proofing membrane on RC Gutter. | Item | 1
3.4 | Apply CONMIX MOYA PROOF WS2 or equivalent Water Proofing membrane on top of toilet floor screed. | m2 | 88.64
3.5 | Apply CONMIX MOYA PROOF WS2 or equivalent Water Proofing membrane on top of Outdoor (Ramps, Staircase, Balcony etc) floor screed . | m2 | 118.51
3.6 | Polythene damp proof membrane 18 gauge to recive pad foundation and foundation beams. Rate shall include for: dressing around and sealing to all penetrations. | m2 | 370.9
3.6.1 | Dittoo below ground slab | m2 | 599.52
3.7 | Apply Bituminous felt DPC through all ground floor masonry walls 1m above ground level. | m | 507.83
BILL No: 03 WATERPROOFING
TOTAL OF BILL No: 03 - Carried over to summary
BILL No: 04
CONCRETE WORKS
4.1 | General
4.1.1 | ConcreteWorks
4.1.1.1 | (a) Rate shall include batching, mixing, compacting, leveling and placing of concrete and curing and removal of any formwork include for provision casting of required items & finishing after removal of formwork and additional concrete required to confirm to structural tolerances and rates shall include supply of all required materials and machineries
4.1.1.2 | (b) Mix ratio for reinforced concrete shall be 1:2:3 (20mm crushed aggregates) and lean concrete shall be 1:2:4 (20mm Crushed aggregates)by volume.
4.1.1.3 | (c) concrete test results shall be submitted by the contractor. All structural concrete shall be Grade 25 unless specified.
4.1.1.4 | d) Rate shall include to provide expansion joint as specified in the drawing.
4.1.1.5 | Rate shall include for water proofing mixures, CONMIX MEGA ADD WL1 or equavalent mixed with all concrete below ground level
4.1.1.6 | Rate shall include for water proofing mixures, CONMIX MEGAFLOW P or equavalent mixed with super structure concrete work
4.1.2 | Formwork
4.1.2.1 | (a) Rates shall include for all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes and removal of formwork.
4.1.2.2 | b) All materials such as plywood, shutter oils and other items and transportation to site and secure the formwork in highly precise manner guaranteeing straight and smooth concrete edges.
4.1.3 | Reinforcement
4.1.3.1 | a) Rates shall include for cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and other supports, laps and wastage.
4.1.3.2 | a) All reinforcement bars except 6 mm dia bars shall be of deformed high strength bars. 6 mm bar shall be round mild steel bars.
4.1.3.3 | c) Binding wire shall be of 1.6 mm or 1.4 mm soft iron wire.
4.1.3.4 | d) Reinforcement bars shall be cleaned before use i.e. should be free from rust, oil, din, or other coatings that reduces bonds, all reinforced bars and binding wires shall be stored under cover of at least 450 mm above the ground, cutting and bending according to approved manner.
4.2 | Lean Concrete
4.2.1 | Lean concrete shall be 50mm thick & mix ratio shall be 1:3:6 by dry volume. Lean concrete placed at bottom of footing and foundation beam and below plinth for protection according to line and length mentioned in the approved drawing. Quantity measured to the edges of concrete foundation members. Rate shall include of placing any formwork where necessary, batching, mixing, casting in all required items pouring & compacting and curing for 3 days and removal of any formwork include for provision casting of required items & finishing after removal of formwork and additional concrete required to confirm to structural and excavated tolerances and rates shall include supply of all required works.
a) | 50mm thk 1:2:4 Concrete Blinding to receive Pad Footings and Foundation Beams | m³ | 11.76
4.3 | Reinforced Concrete
4.3.1 | Pad Foundation
a) | Concrete | m³ | 75.1679
b) | Formwork | m2 | 151.84
b) | 12mm dia bars | Kg | 3465.23
4.3.2 | Foundation Beams
a) | Concrete | m³ | 48.96
b) | Formwork | m2 | 382.4405
c) | 6mm dia bars | Kg | 1874.12
d) | 10mm dia bars | Kg | 632.84
e) | 12mm dia bars | Kg | 2715.48
f) | 16mm dia bars | Kg | 3363.08
g) | 20mm dia bars | Kg | 1195.79
4.3.3 | Columns
a) | Concrete | m³ | 48.97
b) | Formwork | m2 | 764.21
c) | 6mm dia Bars | Kg | 2513.4105
d) | 12mm dia bars | Kg | 733.1328
e) | 16mm dia bars | Kg | 7045.8098
4.3.4 | Floor Beams & Roof Beams
a) | Concrete | m³ | 61.96
b) | Formwork | m2 | 804.4
c) | 6mm dia bars | Kg | 3043.73
d) | 10mm dia bars | Kg | 207.07
e) | 12mm dia bars | Kg | 1543.06
f) | 16mm dia bars | Kg | 8305.78
g) | 20mm dia bars | Kg | 188.25
4.3.5 | 75mm thk Ground Slab
a) | Concrete | m³ | 44.21
b) | 6mm dia bars @ 300mm c/c single net | Kg | 1032.53
4.3.6 | Floor Slabs & Roof Slabs and Lip lines, Slab Drops etc
a) | Concrete | m³ | 182.7626
b) | Formwork | m2 | 1307.3065
c) | 10mm dia bars | Kg | 20616.31
d) | 12mm dia bars | Kg | 57.01
e) | 16mm dia bars | Kg | 213.48
4.3.7 | Lift Wall (200mm thk below ground and 150mm thk above ground)
a) | Concrete | m³ | 20.15
b) | Formwork | m2 | 252.55
c) | 10mm dia bars | Kg | 1627
4.3.8 | Staircase & Steps (Incl Stair Starter)
a) | Concrete | m³ | 6.68
b) | Formwork | m2 | 55.52
c) | 10mm dia bars | Kg | 564
4.3.8 | RC Parapet Walls 100mm thk
a) | Concrete | m³ | 8.95
b) | Formwork | m2 | 178.91
c) | 10mm dia bars | Kg | 826.67
4.3.10 | Other Concrete Works
4.3.10.1 | Rate shall include Concrete, formwork, reinforcement, casting, curing, placing etc as specified in the drawings and specifications.
a) | Wall Stiffner members incl RC Lintel Beams, Sill beams, Stiffner columns, copping beams etc. | item | 1
BILL No: 04 CONCRETE WORKS
TOTAL OF BILL No: 04 - Carried over to summary
BILL No: 05
5 | MASONRY AND PLASTERING
5.1 | General
5.1.1 | Masonry
5.1.1.1 | (a) Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding
5.1.1.2 | frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
5.1.1.3 | (b) Blocks shall be of standard quality with no defects and sample shall be submitted for approval of the Consultant.
5.1.1.4 | (c) Bonding mortar shall be used immediately after mix, and mixed mortar left for more than one hour shall be rejected.
5.1.1.5 | (d) The thickness of joints shall not exceed 10 mm and the joints shall be rated (13 mm dup.) when the mortar is still floor, so as to provide for proper bond for the plaster. Any mortar which falls on the floor from this joints or removed due to raking of joints shall not be reused.
5.1.1.6 | (e) The blocks shall be free from excessive amounts of salt or other impurities and shall be inspected and approved by the Consultant.
5.1.1.7 | (f) Vertical and horizontal joint of blocks shall be filled completely and suitable with mortar on line shall not be moved or rearranged. Joint and surface of block of exposed finished block wall shall be cleaned immediately after joint is filled.
5.1.2 | Plastering
5.1.2.1 | (g) The thickness stated for plastering and backings are nominal. Allowance shall be made for any dubbing required to achieve the designed thickness.
5.1.2.2 | (h) All masonry walls shall have smooth finished cement plaster on both sides with a surface setting coat of neat cement applied within an hour of the completion of rendering.
5.1.2.3 | All exterior plastering shall be provided with galvanised mesh
5.1.3 | Water proofing
5.1.3.1 | (i) Rates for waterproofing system shall include for screeding, dressing around and into pipes and outlets, and or providing the necessary agreed (accepted local) years guarantee for workmanship and materials and testing by flooding.
5.1.3.2 | (j )Rate for damp proof membrane shall include for laying, dressing around, sealing all penetration and laps.
5.1.3.3 | (k) Rate shall include providing Sonalastic NP1 or equivalent anti-fungal silicon fill to masonry and slab joints to suppliers instruction.
5.2 | Brick Work
5.2.1 | 150mm thick masonry block wall, bricks laid to form alternate courses of headers and stretchers, laid on and incl. mortar
a) | External Walls | m2 | 1370.5143
5.2.2 | 150mm thick masonry block wall, bricks laid to form alternate courses of headers and stretchers, laid on and incl. mortar
a) | Internal Walls | m2 | 1278.6578
5.3 | Plastering
5.3.1 | External plastering 20mm thk. (10+10mm) 2 coats Plain Cement Plaster, 1:4 cement to river sand mix ratio on External surface with waterproofed prime plaster
a) | External Walls | m2 | 1468.2563
5.3.2 | Internal plastering 15mm thk. One coats Plain Cement Plaster, 1:4 cement to river sand mix ratio on Internal surface | m2 | 3978.4559
5.4 | Screeding
a) | Cement screeding on the concrete floor with 1:4 cement mortar mix incl. trowel finish to receive finished floor level maximum thickness not exceeding 35mm. | m2 | 1125.18
BILL No: 05 MASONRY AND PLASTERING
TOTAL OF BILL No: 05 - Carried over to summary
BILL No: 06
6 | DOORS & WINDOWS
6.1 | General
6.1.1 | (a) The prices for doors, windows, handrailings and fixed glass panels, etc., shall include for All necessary materials, labor and plant in connection with design, manufacturing, fabricating, transporting, handling, hoisting, installing, Cutting holes and chases for fixings, extract fans and making good, Pointing the clearances between the aluminum framings and structural openings with quality patent mastic as recommended, Large and small panes, cutting, waste, all risk putty, glazing beads, caulking compound, breakages before and after fixing, fixing at floor level or at heights, etc.
6.1.2 | (b) Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
6.1.3 | (c) Rates shall include for door frames, mullions, transoms, trims, glazing, tinting,timber panels, boardings, framing, lining, fastenings and all fixings.
6.1.4 | (d) Sizes are given overall outside dimensions of actual doors and windows.
6.1.5 | (e) Thickness and sizes of glass panels are shown on the Drawings and doors and windows schedule and glazing for doors and windows shall be of specified thickness and of approved quality and shall conform to specification of glazing
6.1.6 | (f) Rates shall include for all doors and windows painting as specified
6.1.7 | (g) Rate shall be include for sills & lintels for all necessary doors and windows and lintel shall be reinforced concrete as approved or directed by the Engineer.
6.1.8 | (h) Rates shall be include all items specified in the door schedule
6.1.9 | (i) All louvres, windows and sliding doors shall be 80 micron powder coated aluminium as per details given in Door/Window schedule.
6.1.10 | (j) Rate shall be include for Bedding frames in waterproof cement mortar and pointing both sides in mastic and All necessary fixing and glazing beads, rubber or neoprene gaskets, rivets, bolt anchors
6.1.11 | (k) On Site Measurements shall be taken to verify the dimensions before fabricating any door/ window.
6.2 | Supply and Installation of:
6.2.1 | D1 - Solid core Timber Double Door with glazing - 1600mm X 2300mm | nos | 7
6.2.2 | D2 - Hollow core Timber Door with glazing - 1000mm X 2600mm | nos | 1
6.2.3 | D3 - Solid core Timber Door with décor SS strips - 900mm X 2150mm | nos | 20
6.2.4 | D4 - Solid core Timber Door with décor SS strips - 800mm X 2150mm | nos | 9
6.2.5 | D5 - Solid core Timber Door with décor SS strips - 700mm X 2150mm | nos | 34
6.2.6 | D6 - Solid core Timber Door - 900mm X 2150mm | nos | 18
6.2.7 | D7 - Solid core Timber Door - 800mm X 2150mm | nos | 30
6.2.8 | D8 - Solid core Timber Door - 1000mm X 2150mm | nos | 2
6.2.9 | D9 - Solid core Timber Top hung folding Door - 4550mm X 2300mm | nos | 1
6.2.10 | D10 - Aluminum Roller shutter Door - 4430mm X 2600mm | nos | 1
6.2.11 | D11 - Aluminum Roller shutter Door - 3600mm X 2600mm | nos | 1
6.2.12 | D12 - Aluminum Roller shutter Door - 3300mm X 2600mm | nos | 1
6.2.13 | D13 - Welded steel bars Door - 800mm X 2150mm | nos | 7
6.2.14 | W1 - Aluminum sliding window - 1500mm X 1100mm | nos | 4
6.2.15 | W2 - Aluminum sliding window - 750mm X 1100mm | nos | 4
6.2.16 | W3 - Aluminum sliding window - 650mm X 1100mm | nos | 4
6.2.17 | W4 - Aluminum top-guided awning window - 800mm X 600mm | nos | 20
6.2.18 | W5 - Aluminum top-guided awning window - 600mm X 450mm | nos | 18
6.2.19 | W6 - Aluminum top-guided awning window - 1600mm X 600mm | nos | 3
6.2.20 | W6a - Aluminum top-guided awning window - 1600mm X 600mm | nos | 1
6.2.21 | W7 - Aluminum top-guided awning window - 2000mm X 700mm | nos | 7
6.2.22 | W8 - Steel bars embedded in wall - 800mm X 400mm | nos | 7
6.2.23 | W9 - Aluminum top-guided awning window - 700mm X 1600mm | nos | 26
6.2.24 | W10 - Aluminum top-guided awning window - 1500mm X 1600mm | nos | 17
6.2.25 | W11 - Aluminum top-guided awning window - 2050mm X 2390mm | nos | 8
6.2.26 | W12 - Aluminum top-guided awning window - 2700mm X 2390mm | nos | 9
6.2.27 | W13 - Aluminum top-guided awning window - 2400mm X 2390mm with Plexiglass | nos | 3
6.2.28 | W14 - Aluminum top-guided awning window - 1500mm X 600mm | nos | 7
6.2.29 | W15 - Aluminum top-guided awning window - 1800mm X 2390mm | nos | 2
6.2.30 | W16 - Aluminum top-guided awning window - 1000mm X 2390mm | nos | 1
6.2.31 | W17 - Aluminum top-guided awning window - 2250mm X 2600mm with Plexiglass | nos | 1
6.2.32 | W18 - Aluminum top-guided awning window - 2050mm X 2390mm | nos | 4
BILL No: 06 DOORS & WINDOWS
TOTAL OF BILL No: 06 - Carried over to summary
Bill No: 07
7 | WOOD, GLASS & METAL WORKS
7.1 | General
7.1.1 | a)Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails,bolts & screws.
7.1.2 | b) Rate shall include for all fabrication works, welding, polishing, Marking, drilling for bolts, nuts, washers, rivets, sounter sinking and the like.
7.1.3 | c) The Contractor / Supplier shall take On Site measurements before commenting any fabrication works.
7.1.4 | d) Any materials used shall be approved by the Client / Consultant before commencing the installation works.
7.1.5 | e) The Contractor shall submit shop drawings for Consultant's review / approval for any of the mentioned works .
7.1.6 | f) All the mentioned works shall be constructed in accordance to the given specifications.
7.2 | Ceiling Works
7.2.1 | Supply and Installation of Approved Suspended Mineral Fiber Ceiling System on Aluminum Frame Work as specified in the drawing and to Manufacturers Instruction. | m2 | 250.7
7.2.2 | Construction of 9mm thk Gypsum Ceiling on 600x600mm Timber frame . | m2 | 205.82
7.3 | Metal Railing
7.3.1 | Fabrication and installation of 850mm high Staircase railing as specified in the drawing. Rate shall include 50mm Dia SS Handrail and balustrades and 4 nos of 25mm dia Midrails fixed to RC Steps using 3 nos of 6mm Anchor Bolts as Specified in the Drawing. | m | 21.78
7.3.2 | Dittoo But Staircase 1 grab bar railing. Rate shall include fabrication of 75mm dia SS Pipe horizontal grab bar welded to 50mm dia SS pipe support at 1m c/c fixed to Masonry railing with 3 nos of SS Bolts | m | 9.196
7.3.3 | Fabrication and installation of 1.2m High Balcony SS.Railing. Rate shall include 50mm dia handrail, 38mm dia balustrades at 120mm c/c fixed to RC floor slab using 3 nos of anchor bolts. | m | 2.79
7.4 | Steel Gate
7.4.1 | Fabrication of 1.2m high steel gate. Rate shall include welding works, supply and complete installation with weather proof coating. | item | 1
7.5 | Timber Privacy Wall
7.5.1 | Allow Provision of fabrication and Installation of 2m high Timber frivacy screen to engineers specifications. | m | 10.2
7.6 | Timber Screen
7.6.1 | Allow for fabrication and Installation of Timber Screens in Windows in 1st floor (Type A to Type D) as specified in the detail drawing. | L/S | 1
7.7 | Steel Frame
7.7.1 | Allow for fabrication and Installation of Steel Frames in Windows in 1st floor (Type A to Type E) as specified in the detail drawing. | L/S | 1
BILL No: 07 - WOOD & METAL WORKS
TOTAL OF BILL No: 07 - Carried over to summary
BILL No: 08
8 | TILING & OTHER FLOOR FINISHING WORKS
8.1 | General
8.1.1 | Rate shall include prepare surface for approved bedding tiles with reach bedding materials as per the technical specifications & approved working drawings, fix tiles with ct grout in a precise manner to maintain correct alignment, applying tile grout and wiping any excess grout to ensure the required standards of finished works. Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing any other similar works to ensure the required finish.
8.1.2 | b) Rate shall include waterproofing membrane below floor screeding for all toilets, wet kitchens and open terrace.
8.1.3 | c) Approved Adhesive waterproofing chemical shall be used as screed for toilets, wet kitchens and external floor tiles as per manufacturers instruction.
8.2 | Floor finish
a) | 300 x 300 non-skid floor tiles on approved tile adhesive | m2 | 96.26
b) | 300 x 300 ceramic tiles floor tiles on approved tile adhesive | m2 | 80.62
c) | 600 x 600 non-skid floor tiles on approved tile adhesive | m2 | 11.35
d) | 600 x 600 homogeneous tiles on approved tile adhesive | m2 | 546.78
8.3 | Wall finish
a) | 300 x 600 homogenous tiles on approved tile adhesive | m2 | 589.206
8.4 | Staircase Tiling
a) | 300x600 mm non-skid nosing tiles | m2 | 137.505
8.5 | Floor Carpet
a) | Floor Carpet | m2 | 227.83
BILL No: 08 - TILING & OTHER FLOOR FINISHING WORKS
TOTAL OF BILL No: 08 - Carried over to summary
BILL No: 09
9 | PUTTY & PAINTING
9.1 | General
9.1.1 | (a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window furniture where necessary.
9.1.2 | (b) All painting work shall be carried in accordance with the drawings and Specifications and subject to approval by Engineer
9.1.3 | External Painting
a) | (c) Rate shall include for putty, 2 coats of wall sealer and 2 coats of weather proof paint to External walls and ceiling and concrete surfaces.
9.1.4 | Internal Painting
a) | (c) Rate shall include for putty, 1 coat of wall sealer and 2 coats of Acrylic Washable Paint to internal masonry walls, ceiling and othr concrete surfaces.
9.2 | Wall painting
9.2.1 | Painting 2 coat of wall sealer, 2 coats of weather proof paint as specified to;
a) | External Walls and Concrete Surfaces | m2 | 1468.8563
9.2.2 | Painting 1 coat of wall sealer & 2 coats of emulsion white matt paint as specified to;
a) | Internal Walls and Concrete Surfaces | m2 | 3389.4499
9.3 | Ceiling Painting
a) | Putty & Painting 2 coat of wall sealer, 2 coats of emulsion white matt paint finish to Gypsum Ceiling and Soffit of RC Slab. | m2 | 772.28
9.4 | Staircase Sides & Soffit
a) | Putty & Painting 2 coat of wall sealer, 2 coats of Emulsion white matt paint as specified to sides and soffit of staircase. | m2 | 55.52
BILL No: 09 - PUTTY & PAINTING
TOTAL OF BILL No: 09 - Carried over to summary
BILL No: 10
11 | ROOFING WORKS
11.1 | General
11.1.1 | (a) Rates shall include for: all labour in framing, notching and fitting around projections, and complete with cleats, packers, wedges and similar and all nails and screws and the like.
11.1.2 | (b) Rates shall include for fair edges, dressing over angle fillets, turning into grooves, all other labors, circular edges, nails, screw and other fixings and laps.
11.1.3 | (c Rates shall include for: applying of wood preservatives on wooden members. And all exposed timbers to be coated with approved primer and painted.
11.1.4 | d) Rates shall include for: the provision, erection and removal of scaffolding
11.1.5 | d) Rate shall include for waterproofing and sealing through all penetrations.
11.2 | Supply and Installation of
a) | Lysaght or equivalent Roofing Sheets | m2 | 242.71
b) | 50mm thick glass wool insulation on one side with aluminum foil | m2 | 242.71
c) | Flat sheet 200mm gutter including framing, and supports, straps, brackets,clips,top ends, overflow, downpipe outlets, mesh flashings and all fixing and fastenings. | m | 30.64
d) | Valley Gutter | m | 6.42
e) | Lysaght or equivalent Ridge Capping | m | 24.98
f) | Lysaght or equivalent Flashing | m | 82.13
g) | 50x150mm timber rafters @ 700mm c/c | m | 338.215
h) | 35x50mm timber battens 600mm c/c | m | 416.92
i) | 100x50mm timber wall plate | m | 70.3
j) | 150x50mm timber bearer fixed to RC lip | m | 22.13
k) | 100x250mm timber beam | m | 39.13
l) | 50x200mm timber hip beam | m | 19.15
m) | 50x200mm timber ridge beam | m | 5.85
n) | 25x250mm timber fascia board | m | 51.24
o) | 50x200mm timber valley rafter | m | 6.3
11.3 | Lighweight Roofing
a) | Supply and Installation of Light weight Polycarbonate or equivalent roof on top of Staircase 3 as specified in the drawing. | m2 | 15.95
a) | Apply CONMIX MOYA PROOF WS2 or equivalent Water Proofing membrane on top of Outdoor concrete slab finished as terrace or balconies or flexible waterproof roof coating with good weather resistance, ideally suited for use in areas with extreme climatic conditions. | m2 | 362.39
BILL No: 10 - ROOFING WORKS
TOTAL OF BILL No: 10 - Carried over to summary
BILL No: 11
10 | BOUNDARY WALL
10.1 | Earthworks
a) | Excavation to receiveive foundation beams and any structure below ground lvl. | m³ | 35.511
a) | Backfilling using excavated materials | item | 1
10.2 | Waterproofing
a) | Waterproofng all Concrete Structures below ground level | item | 1
10.3 | Concrete
10.3.1 | Concrete Blinding 1:2:4 as specified to;
a) | Foundation and ground beams | m³ | 2.01
10.3.2 | Concrete 1:2:3 as specified to;
a) | Foundation Beams, Copping Beams and Stiffner Columns etc. | m³ | 16.45
10.4 | Formwork
a) | Formwork to receive Foundation Beams, Copping Beams and Stiffner Columns etc. | m2 | 215.79
10.5 | Reinforcement
a) | 12mm dia bars | Kg | 1801.08
b) | 6mm dia bars | Kg | 613.3936
10.6 | Masonry and Plastering
a) | 150mm thk block masonry wall | m2 | 358.887
b) | 15mm thk plaster on both sides | m2 | 717.774
10.7 | Finishing Works
a) | Apply approved external weather proof primer and texture paint system on both sides of the boundary wall to suppliers' instruction. | m2 | 562.96
BILL No: 11 - BOUNDARY WALL
TOTAL OF BILL No: 11 - Carried over to summary
BILL No: 12
10 | PAVING AND LANDSCAPING
10.1 | Paving Works
10.1.1 | supply and installation of 300x300mm concrete paving blocks. Rate shall include levelling, compacting ground and all preparations required for paving. Rate shall include for giving provision for flood mitigation measures. | m2 | 334.11
10.2 | Landscaping Works
10.2.1 | Allow Provision for landscaping works at compound area to client's requirement. | L/S | 1
BILL No: 12 - PAVING AND LANDSCAPING
TOTAL OF BILL No: 12 - Carried over to summary
BILL No: 13
12 | ELECTRICAL INSTALLATIONS
12.1 | General
12.1.1 | (a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
12.1.2 | (b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
12.1.3 | (c) Rates shall include for electrical conduits, fittings, equipment and similar all fixings to various building surfaces and also all elecetrical work shall be carried out according to STELCO standards and specifications.
12.1.4 | (d) Each Light/ light fixture and its switch is measured as one one point; similarly each fan or each socket outlet is measured as one point;
12.1.5 | (e) Rates shall include for supply and complete installation
12.1.6 | f) Electrical Sockets and IT Socket locations to be verified by the contractor / electrician accoring to spaces and there relevant equipment.
12.1.7 | g) Electrical Sockets Amperage to be determined by the electrical specialist according to there relavant equipment and there spaces.
12.2 | Electrical Mains Connection
12.2.1 | Allow Provision for 3 Phase Electrical mains Connection. Rate shall include supply and laying of main cable from the nearest Transformer / Distribution Box as approved by the local service provider. The size and quality of main cable shall be approved from the respective Authority. | item | 1
12.2.2 | Allow Provision for Carrying out testing and commissioning as per the employers requirment for all components of the Electrical System and Obtain Fenaka Approval for Permanent Electrical Connection to the building. | Item | 1
12.3 | Electrical Boards
12.3.1 | Supply and installation of Main Electrical Panel Board complete with MCCBs, MCBS, EFRs, ELCBs, auxilary contacts, volumeters, ameters, Digital analyser etc. Rate shall include for all connections, earthing, testing, painting and similar. | Item | 1
12.3.2 | Supply and installation of Distribution Boards complete with MCBs, RCCBs, etc any other item required to working order, wall mounted steel powder coated IP44 enclouser with neutral link, earth bar and required accessories required for complete installation as per the specifications. | nos | 15
12.3.3 | Supply and installation of Electricle meter Boards complete with accessories required for complete installation as per the specifications. | nos | 5
12.4 | Electrical wiring
12.4.1 | Three phase Electrical wiring with copper conductor cable in conduits in walls and in casing on soffits of slab as specified to:
a) | 1.5mm2 cable to light fixtures | points | 425
b) | 2.5mm2 cable to Power Points | points | 334
c) | 4mm2 cable to AC Points | points | 40
12.5 | Electrical Fixtures
12.5.1 | Lights and Fans
a) | L01 - 1x36W Fluorescent lamp in surface mount luminaries with diffuser | nos | 6
b) | L02 - 600X600mm Ceiling recessed LED panel light | nos | 53
c) | L03 - 18W LED lamp in wall mount luminaries with diffuser (W/P) | nos | 62
d) | L04 - 18W LED lamp in wall mount luminaries with diffuser | nos | 11
e) | L10 - 16W compact LED light in surface mount luminaries | nos | 209
f) | L11 - 16W compact LED light in recessed luminaries | nos | 44
g) | V01 - 1200 dia ceiling fan | nos | 40
h) | E01 - Emergency light with socket | nos | 20
12.6 | Light switches
a) | P18 - 1 gang 2 way switch | nos | 2
b) | P19 - 1 gang 1 way switch | nos | 89
c) | P20 - 2 gang 1 way switch | nos | 39
d) | P21 - 3 gang 1 way switch | nos | 5
e) | P22 - 4 gang 1 way switch | nos | 21
f) | P23 - Fan / Light Dimmer | nos | 40
12.7 | Sockets
a) | P01 - 1 gang 13A socket outlet at 300 mm above finished floor level | nos | 20
b) | P02 - 2 gang 13A socket outlet at 300 mm above finished floor level | nos | 199
c) | P03 - 2 gang 13A socket outlet at 2400 mm from FFL | nos | 31
d) | P09 - 1 gang 13A socket outlet at 1200 mm above finished floor level (w/p) | nos | 53
e) | P10 - 2 gang 13A socket outlet at 1000 mm above finished floor level (w/p) | nos | 24
f) | P15 - 1 gang 15A socket outlet at 2400 mm above finished floor level | nos | 42
g) | P16 - 1 gang 13A socket ceiling concealed | nos | 5
12.8 | Telecommunication and IT System
12.8.1 | Note: rate shall include for cable and connection
a) | Supply and Installation of Main Server System complete with Rack, Switches, Router, UPS etc to Suppliers Specification. | nos | 1
b) | T01 - Plain telephone outlet (RJ11, connector) | nos | 22
c) | T04 - Computer network outlet (RJ45 connectors) | nos | 29
d) | T09 - Building access control phone system complete with Doorphone Display Unit, Door Phone System Indoor Unit, Key Tags, Poe Switch, Bolt lock, Cables etc and all required accessories for complete installation. Total of 11 points. | item | 1
e) | T10 - T.V. point with 13A socket at TV level | point | 9
f) | T11 - CCTV point. All CCTV to be provided with 13A socket and network outlet connection at ceiling level. Rate shall include supply and installation of CCTV Monitors, cameras and connection to main server in 1st floor IT Room. All out door camaras must be Waterproof / Weatherproof and motion detection night vision compatible | point | 22
g) | Additional 4 outdoor and 4 indoor cameras to install as per the client instruction during the construction stage (All the cameras to be motion detection night vision compatible) | point | 8
BILL No: 13 - ELECTRICAL INSTALLATIONS
TOTAL OF BILL No: 13 - Carried over to summary
BILL No: 14
13 | HYDRAULICS & DRAINAGE
13.1 | General
13.1.1 | (a) Rates shall include for excavation, laying pipes and backfilling trenches, maintaining faces of drainpipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints brackets, joints, straps, hangers, screws, nails and fixing complete, and all joints and other incidental material, All Pipes and fittings area high pressure uPVC pipes
13.1.2 | fixing complete, including cutting and forming holes; excavating, laying pipes and backfilling trenches.
13.1.3 | (b) All pipe work shall be uPVC or Equivalent.
13.2 | Mains Connection and Common Works
13.2.1 | Allow provision for sewer and drainage mains connection including pipes, fittings and accessories. | item | 1
13.2.2 | Allow provision for fresh water supply mains connection including MWSC / Fenaka Approved water meters, pipes, fittings & Accessories. Rate shall include for supply and installation of valve chamber. | item | 1
13.2.3 | Allow Provision for complete installation of inspection chambers | nos | 13
13.2.4 | Supply and Installation of Grease Trap | nos | 3
13.2.5 | Allow Provision for Supply and installation of Booster Pump as per Consultant / Engineer / Service provider Specification. | item | 1
13.2.6 | Construction of 2 nos of rain water harvesting tanks capacity of 30,000L (10mx3mx1m x 150mm thk) complete with earthworks, concrete works, waterproofing, pipe connection etc required to complete construction to engineers instruction. | item | 1
13.3 | Pipes and Fittings
13.3.2 | Allow Provision for Fresh Water Supply Pipes Fittings and Accessories. | l/s | 1
13.3.3 | Allow Provision for Hot Water Supply Pipes Fittings and Accessories. | l/s | 1
13.3.4 | Allow Provision for Sewerage Disposal Pipes Fittings and Accessories. | l/s | 1
13.3.5 | Allow Provision for Stormwater Drainage Pipes Fittings and Accessories (Incl Rainwater Down Pipes with Fittings and Accessories). | l/s | 1
13.7 | Fixtures
13.7.1 | All Fixtures shall be of "COTTO" or Equivalent Brand.
a) | Water Closet | set | 28
b) | Wash Basin | set | 36
c) | Wash Basin Faucet | set | 36
d) | Muslim Shower | set | 28
e) | Water Tap | set | 7
f) | Water Tap for washing machine | set | 2
g) | Floor Trap | set | 38
i) | 1/4" Thk Facial Mirror on 1/4" Thk Plywood Backing with Aluminum Frame Finish. | nos | 36
j) | Tissue Holder | nos | 36
k) | Shower head with mixer | set | 13
l) | 13L Water heater | set | 7
m) | Kitchen Sink | set | 5
n) | Sink Faucet | set | 5
BILL No: 14 - HYDRAULICS & DRAINAGE
TOTAL OF BILL No: 14 - Carried over to summary
BILL No: 15
14 | AIR CONDITIONING & VENTILATION SYSTEM
4.1 | General
14.1.1 | (a) Rates shall include for detail design, supply and complete installation of A/C units pipework, insulation, fixings, electrical wiring, drain pipes etc.
14.1.2 | (b) The Contractor shall provide detailed and complete set of shop drawings
14.1.3 | c) The contractor shall submit shop drawings of AC and Exhaust System. The capacity shall be determined by the contractor.
14.1.4 | d) Rate shall include complete installation of indoor units and outdoor units.
a) | Supply and Complete Installation of Split type Wall mount A/C - 9000 BTU. Rate shall Include All Pipe Works and Accessories for Complete Installation. | nos | 16
b) | Supply and Complete Installation of Split type Wall mount A/C - 12000 BTU. Rate shall Include All Pipe Works and Accessories for Complete Installation. | nos | 13
c) | Supply and Complete Installation of Split type Wall mount A/C - 24000 BTU. Rate shall Include All Pipe Works and Accessories for Complete Installation. | nos | 8
d) | 500 X 500 Air exchaust grill (inline with 80 CMH fan). Rate shall Include All duct Works and Accessories for Complete Installation. | nos | 10
BILL No: 15 -AIR CONDITIONING & EXHAUST SYSTEM
TOTAL OF BILL No: 15 - Carried over to summary
BILL No: 16
15 | FIRE FIGHTING INSTALLATION
15.1 | General
15.1.1 | (a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
15.1.2 | b) Rate shall include for Electrical Condiuts, fittings, pumps, controller boards, and other equipment and similar all fixings and making good around ducts.
15.1.3 | (c) The Contractor shall prepare shop drawings and shall be approved by Client/Consultatnt.
15.1.4 | (e) Rate shall include for all necessary electrical wiring and accessories required for completion of fire fighting system installation in accordance with MNDF Regulations.
15.1.5 | (f) All materials, fixtures, boxes, cabinets and equipments should be approved by MNDF prior to installation.
15.1.6 | g) All pipeing works & fixtures shall be fire resistant.
15.1.7 | h) All wiring ( Including detection and alarming circuits) shall be fire resistant
15.2 | Fire Fighting Equipments and Fixtures
a) | Allow Provision for Supply & installation of Horse Reel Pumping system complete with galvanized pipe Schedule 40 with all Fittings and Accessories including 1 electrical pump and 1 diesel pump as specified in the drawing. | item | 1
b) | Exit Sign | nos | 22
c) | Smoke Detector | nos | 68
d) | Heat Detector | nos | 7
e) | Break Glass Manual Call Point with Cabinet | nos | 7
f) | Hose Reel System 30m (Slim Type-Recessed Wall) | nos | 7
g) | CO2 Portable Extinguisher 2KG | nos | 16
h) | ABC Dry Chemical Powder 2KG Portable Extinguisher | nos | 4
i) | ABC Dry Chemical Powder 6KG Portable Extinguisher | nos | 7
j) | 9L H2O Portable Extinguisher | nos | 10
k) | Fire Alarm Bell (with sound level of 65dB) | nos | 8
l) | Addressable fire alarm control panel | nos | 3
m) | Fire Blanket | nos | 9
BILL No: 16 -'FIREFIGHTING INSTALLATION
TOTAL OF BILL No: 16 - Carried over to summary
BILL No: 17
16 | LIFT INSTALLATION
16.1 | General
16.1.1 | a) The Contractor shall check on site measurements before installing the lift.
16.1.2 | b) Rate shall include for any required electrical connection, masonry works and finishing works.
Lift Installation
a) | Supply and Installation of 14 person capacity MRL Lift to suppliers instruction. | nos | 1
| Supply and Installation of 6 person capacity MRL Lift to suppliers instruction. | nos | 1
BILL No: 17 -LIFT INSTALLATION
TOTAL OF BILL No: 17- Carried over to summary
BILL No:18
17 | TENDERER'S ADJUSTMENTS
17.1 | Any adjustments that the contractor may consider necessary should be written below and on similar continuation sheets if required, and the net amount of the adjustments is to be carried to the summary.
17.1.1 | Additions
a) | BILL No: 01 GENERAL & PRELIMINARIES
b) | BILL No: 02 EARTHWORKS
c) | BILL No: 03 WATERPROOFING
d) | BILL No: 04 CONCRETE WORKS
e) | BILL No: 05 MASONRY AND PLASTERING
f) | BILL No: 06 DOORS & WINDOWS
g) | BILL No: 07 - WOOD & METAL WORKS
h) | BILL No: 08 - TILING & OTHER FLOOR FINISHING WORKS
i) | BILL No: 09 - PUTTY & PAINTING
j) | BILL No: 10 - ROOFING WORKS
k) | BILL No: 11 - BOUNDARY WALL
l) | BILL No: 12 - PAVING AND LANDSCAPING WORKS
m) | BILL No: 13 - ELECTRICAL INSTALLATIONS
n) | BILL No: 14 - HYDRAULICS & DRAINAGE
o) | BILL No: 15 -AIR CONDITIONING & EXHAUST SYSTEM
p) | BILL No: 16 -FIREFIGHTING INSTALLATION
q) | BILL No: 17 - LIFT INSTALLATION
ADDITIONS TOTAL
17.1.2 | Omissions
a) | BILL No: 01 GENERAL & PRELIMINARIES
b) | BILL No: 02 EARTHWORKS
c) | BILL No: 03 WATERPROOFING
d) | BILL No: 04 CONCRETE WORKS
e) | BILL No: 05 MASONRY AND PLASTERING
f) | BILL No: 06 DOORS & WINDOWS
g) | BILL No: 07 - WOOD & METAL WORKS
h) | BILL No: 08 - TILING & OTHER FLOOR FINISHING WORKS
i) | BILL No: 09 - PUTTY & PAINTING
j) | BILL No: 10 - ROOFING WORKS
k) | BILL No: 11 - BOUNDARY WALL
l) | BILL No: 12 - PAVING AND LANDSCAPING WORKS
m) | BILL No: 13 - ELECTRICAL INSTALLATIONS
n) | BILL No: 14 - HYDRAULICS & DRAINAGE
o) | BILL No: 15 -AIR CONDITIONING & EXHAUST SYSTEM
p) | BILL No: 16 -FIREFIGHTING INSTALLATION
q) | BILL No: 17 - LIFT INSTALLATION
OMISSIONS TOTAL
BILL No: 18 - TENDERER'S ADJUSTMENTS
TOTAL OF BILL No: 18 - Carried over to summary