## Cover
Bill of Quantities
PROPPOSED 03 STOREY IMMIGRATION AT S.HITHADHOO
CLIENT
MALDIVES IMMIGRATION
PREPARED BY

## Grand Summary
BOUNDARY WALL
SUMMARY OF BILL OF QUANTITIES
GRAND SUMMARY
Bl.no | Item Description | Amount
1 | OFFICE | 0
2 | STORAGE | 0
3 | BOUNDARY WALL | 0
TOTAL Mvr |  | 0
6% GST Mvr |  | 0
GRAND TOTAL Mvr |  | 0
DURATION DAYS

## BOQ Office
PROJECT : PROPPOSED 03 STOREY IMMIGRATION AT S.HITHADHOO
Item | Description | Unit | Qty | Material Rate | Labour Rate | Total
BILL No: 01
PRELIMINARIES
1.1 | General Notes
(1) | Abbreviations
m - metre
no - numbers
m³ - cubic metre
m² - square metre
m - metre
t - tonnes
incl - including
mm - millimetre
dia - diameter
SS - Stainless Steel
GI - Galvanised Iron
1.2 | Site Management Costs
(1) | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings, fences, Crane/Concrete pump, Machinaries and similar items | Item | 1
1.3 | Sign Board
(1) | Allow for sign board. | nos | 1
1.4 | SAFETY
(1) | Safety - Providing and fixing scaffolding with G.I. pipes and clamps and pvc netting alaround building during construction | Item | 1
1.5 | Clean-up
(1) | Allow for clean-up of completed works and site upon completion. | Item | 1
BILL No: 01 PRELIMINARIES
TOTAL OF BILL No: 01 - Carried over to summary
BILL NO : 02
GROUND WORK
2.1 | GENERAL
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating, additional working space and disposing surplus soil.
2.2 | SITE CLEARANCE
| Clearing site - Demolition of Existing building and dispatch all debris, clearing and dispose all unwanted materials away from site and prepare site ready for proposed construction. | m² | 318.77
2.3 | EXCAVATION
(a) Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork , back fill , dewatering and others
2.3.1 | Excavation
(1) | Foundations F1 | m³ | 26.136
(2) | Foundations F2 | m³ | 8.712
(3) | Foundations F3 | m³ | 28.512
(4) | Foundations F4 | m³ | 33.6
(5) | Foundations F5 | m³ | 9.216
(6) | Foundations F6 | m³ | 4.488
(7) | Tie Beam TB1 | m³ | 6.89
(8) | Tie Beam TB2 | m³ | 17.5525
2.4.2 | Back filling
(a) Rates shall include for: leveling, grading, trimming and compacting.
| (b) Ground need to be compacted to the density required by the consultant |  | `
1 ) | 200mm thick highly compacted hard core from Ground floor to below ground floor slab | m² | 73.5391
2.5 | DAMP PROOF MEMBRANE
(a) Rates shall include for: dressing around and sealing to all penetrations, laps and turnups.
1 ) | Polythene damp proof membrane (500 gauge) laid on blinding layer. | m² | 73.5391
BILL No: 02 GROUND WORKS
TOTAL OF BILL No: 02 - Carried over to summary
BILL NO : 03
CONCRETE
3.0 | (a) Rates shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
(b) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:6 by volume.
(c) Rate should include reinforcements as per specifications & drawings,
(d) Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
3.1 | LEAN CONCRETE
50mm thick lean concrete below Foundation
| Foundation Footings & Tie beams | m³ | 7.46
3.2 | REINFORCED CONCRETE
1.0 | FOUNDATIONS
(1) | Foundations F1 | m³ | 9.801
(2) | Foundations F2 | m³ | 3.267
(3) | Foundations F3 | m³ | 10.692
(4) | Foundations F4 | m³ | 10.5
(5) | Foundations F5 | m³ | 2.88
(6) | Foundations F6 | m³ | 1.4025
(7) | Tie Beam TB1 | m³ | 4.4293
(8) | Tie Beam TB2 | m³ | 9.4031
2.0 | BELOW GROUND
2.1 | COLUMNS
| C1 | m3 | 0.378
| C2 | m3 | 0.39375
| C3 | m3 | 0.30625
| C4 | m3 | 0.21
| C5 | m3 | 0.1575
| C6 | m3 | 0.112
2.2 | STAIRSTARTER
| RC Stairstarter | m3 | 0.175 | [5 empty] | 7150
3 | GROUND FLOOR
3.1 | COLUMNS
| C1 | m3 | 1.6389
| C2 | m3 | 1.7072
| C3 | m3 | 1.3278
| C4 | m3 | 0.9105
| C5 | m3 | 0.68288
| C6 | m3 | 0.4856
2.2 | STAIRCASE
| Staircase | m3 | 1.86
3.2 | R.C.C. GROUND FLOOR SLAB
| 100mm thick R.C. slab | m3 | 21.4
3.3 | RAMP FOR DISABLED
| Wall footing | m3 | 1.43
| Ramp Slab | m3 | 0.487
3.4 | FIRST FLOOR BEAMS
| B1 | m3 | 2.4972
| B2 | m3 | 2.4284
| B3 | m3 | 2.0024
| B4 | m3 | 1.3125
| B5 | m3 | 2.8535
| B6 | m3 | 0.5092
| CB1 | m3 | 0.043215
3.5 | FIRST FLOOR SLAB
| First Floor Slab | m3 | 34.3
4 | FIRST FLOOR
4.1 | COLUMNS
| C1 | m3 | 1.6389
| C2 | m3 | 1.7072
| C3 | m3 | 1.3278
| C4 | m3 | 0.9105
| C5 | m3 | 0.68288
| C6 | m3 | 0.4856
4.2 | STAIRCASE
| Staircase | m3 | 1.86
4.3 | SECOND FLOOR BEAMS
| B1 | m3 | 2.4972
| B2 | m3 | 2.4284
| B3 | m3 | 2.0024
| B4 | m3 | 1.3125
| B5 | m3 | 2.8535
| B6 | m3 | 0.5092
| CB1 | m3 | 0.043215
4.4 | SECOND FLOOR SLAB
| Second Floor Slab | m3 | 34.3
5 | SECOND FLOOR
5.1 | COLUMNS
| C1 | m3 | 1.3635
| C2 | m3 | 1.4203
| C3 | m3 | 1.1047
| C4 | m3 | 0.7575
| C5 | m3 | 0.56812
| C6 | m3 | 0.404
5.2 | STAIRCASE
| Staircase | m3 | 1.86
5.3 | TERRACE FLOOR BEAMS
| B1 | m3 | 2.4972
| B2 | m3 | 2.4284
| B3 | m3 | 2.0024
| B4 | m3 | 1.3125
| B5 | m3 | 2.8535
| B6 | m3 | 1.0845
| CB1 | m3 | 0.25112
6 | TERACE FLOOR
6.1 | COLUMNS
| C2 | m3 | 1.1362
| C3 | m3 | 0.88375
| C4 | m3 | 0.37875
| C5 | m3 | 1.7044
| C6 | m3 | 0.404
| C7 | m3 | 0.1
6.2 | ROOF BEAMS
| B9 | m3 | 5.5204
| CB1 | m3 | 0.21375
3.3 | FORM WORK
(a) Exposed surface shall have fair finish while remaining may have rough finish.
(b) Timber used for unexposed concrete surface shall sound dressed and seasoned good quality common timber while for exposed concrete surfaces dressedand matched boards uniformly thick and not more than 251mm wide.
c) Plywood used for forms shall be of commercial standard, moisture resistane conrete form plywoodnot lessthan 6mm thick and atleast 12mm thick.
(d) Rates shall include for; all necessary boarding,supports, erecting, framing, temporary cambering cutting, perforations for reinforcing bars, bolts,straps,ties, hangers, pipes and removal of formwork.
1.0 | FOUNDATIONS
(1) | Foundations F1 | m2 | 11.88
(2) | Foundations F2 | m2 | 4.95
(3) | Foundations F3 | m2 | 18.36
(4) | Foundations F4 | m2 | 21.525
(5) | Foundations F5 | m2 | 7.2
(6) | Foundations F6 | m2 | 4.2
(7) | Tie Beam TB1 | m2 | 15.4062
(8) | Tie Beam TB2 | m2 | 75.225
2.0 | BELOW GROUND
2.1 | COLUMNS
| C1 | m2 | 3.57 |  |  |  | 180 | 120
| C2 | m2 | 4.9
| C3 | m2 | 4.2
| C4 | m2 | 3.08
| C5 | m2 | 1.61
| C6 | m2 | 1.4
2.2 | STAIRSTARTER
| RC Stairstarter | m2 | 1.75
3 | GROUND FLOOR
3.1 | COLUMNS
| C1 | m2 | 1.6389
| C2 | m2 | 1.7072
| C3 | m2 | 1.3278
| C4 | m2 | 0.9105
| C5 | m2 | 0.68288
| C6 | m2 | 0.4856
2.2 | STAIRCASE
| Staircase | m2 | 26
3.2 | R.C.C. GROUND FLOOR SLAB
| 100mm thick R.C. slab | m2 | 21.4
3.3 | RAMP FOR DISABLED
| Wall footing | m2 | 1.43
| Ramp Slab | m2 | 0.487
3.4 | FIRST FLOOR BEAMS
| B1 | m2 | 19.1663
| B2 | m2 | 23.2435
| B3 | m2 | 22.6828
| B4 | m2 | 17.0433
| B5 | m2 | 37.0533
| B6 | m2 | 6.612
| CB1 | m2 | 0.56115
3.5 | FIRST FLOOR SLAB
| First Floor Slab | m2 | 233
4 | FIRST FLOOR
4.1 | COLUMNS
| C1 | m2 | 15.4785
| C2 | m2 | 21.245
| C3 | m2 | 18.21
| C4 | m2 | 13.354
| C5 | m2 | 6.9805
| C6 | m2 | 6.07
4.2 | STAIRCASE
| Staircase | m2 | 26
4.3 | SECOND FLOOR BEAMS
| B1 | m2 | 19.1663
| B2 | m2 | 23.2435
| B3 | m2 | 22.6828
| B4 | m2 | 17.0433
| B5 | m2 | 37.0533
| B6 | m2 | 6.612
| CB1 | m2 | 0.56115
4.4 | SECOND FLOOR SLAB
| Second Floor Slab | m2 | 233
5 | SECOND FLOOR
5.1 | COLUMNS
| C1 | m2 | 12.8775
| C2 | m2 | 17.675
| C3 | m2 | 15.15
| C4 | m2 | 11.11
| C5 | m2 | 5.8075
| C6 | m2 | 5.05
5.2 | STAIRCASE
| Staircase | m2 | 26
5.3 | TERRACE FLOOR BEAMS
| B1 | m2 | 19.1663
| B2 | m2 | 23.2435
| B3 | m2 | 22.6828
| B4 | m2 | 17.0433
| B5 | m2 | 37.0533
| B6 | m2 | 14.0827
| CB1 | m2 | 3.2608
6 | TERACE FLOOR
6.1 | COLUMNS
| C2 | m2 | 14.14
| C3 | m2 | 12.12
| C4 | m2 | 5.555
| C5 | m2 | 17.4225
| C6 | m2 | 5.05
| C7 | m2 | 2.02
6.2 | ROOF BEAMS
| B9 | m2 | 66.8254
| CB1 | m2 | 2.5875
6.0 | OTHER CONCRETE WORKS
a ) | WINDOW SILL & LINTELS
| Charges for construction of R.c.c. Sills and Lintels for the windows and doors as per details. Rate shall include for shuttering and Reinforcement works complete. | item | 1
b ) | PLANTER BOX
| Charges for construction of 100mm thick R.c.c. Planter Box with Bituminious waterproofing membrane (Refer drawing no:A 25) Rate shall include for Formwork and Reinforcement work complete. | nos | 3
c ) | ROOF GUTTER
| Charges for construction of 100mm thick R.c.c. Planter Box with Bituminious waterproofing membrane (Refer drawing no:A 24) Rate shall include for Formwork and Reinforcement work complete. | item | 1
d ) | FLAG POST BASE
| Charges for construction of 600mm x 2000mm x 350mm R.C Flag Post Base (Refer drawing no: A22) | item | 1
7.0 | WATER PROOFING & ADD MIXTURES
(a) | Apply Rubberised bitumin water proofing paint, Moya Shield RBE, 2 coats to all exposed concrete and masonry surface below ground level. | item | 1
(b) | Add approved water proofing admixture Mega Add WL1 as per specification to all concrete below ground level. | item | 1
(c) | Add Plasticiser admixture Mega Flow P as per specification to all concrete Substreucture and Super structure. | item | 1 | [5 empty] | 5250
BILL No: 03 - CONCRETE WORKS
TOTAL OF BILL No: 03 - Carried over to summary
BILL No: 04
MASONRY AND PLASTERING
4.1 | General
a )Rates shall include for cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs.
b )Cutting or leaving holes and openings as recesses for and building in pipes, conduits , sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joints.
c ) All external wall and all inetrenal walls shall be 100mm thick Solid cement blocks and for masonry mix ratio 1:5 (cement and river sand)
4.2 | MASONRY
1.0 | BELOW GROUND LEVEL
150mm thick Solid block wall
| 300 x150 x 150mm solid block single wall - 150mm thick above all Tie beams. | m2 | 66.58
2.0 | GROUND FLOOR
| 150mm thick solid masonry block exterior wall | m2 | 116.1527
| 150mm thick solid masonry block interior wall | m2 | 119.0799
3.0 | FIRST FLOOR
| 150mm thick solid masonry block exterior wall | m2 | 62.8192
| 150mm thick solid masonry block interior wall | m2 | 109.3122
4.0 | SECOND FLOOR
| 150mm thick solid masonry block exterior wall | m2 | 58.7539
| 150mm thick solid masonry block interior wall | m2 | 174.3981
5.0 | TERRACE FLOOR
| 150mm thick solid masonry block exterior wall | m2 | 67.1402
| 150mm thick solid masonry block interior wall | m2 | 19.1506
6.0 | ROOF LEVEL 1
| 150mm thick solid masonry block interior wall | m2 | 44.76
4.3 | PLASTERING
(a) 20mm thick Cement plastering on Exterior surface of External masonry walls and concrete surfaces and 15mm thick plastering on interior walls and concrete surface as specified incl. wire mesh shall be fixed at the joints of concrete surfaces and walls before plastering. Quantity is measured including concrete surfaces - Parapetwalls, Liftwalls, columns & beams.
(b)Rates shall include for External plastering shall 20mm thick (12+8mm) 2 coats in 1:4 cement and river sand mix ratio
c) Rates shall include for approved brand water proofing compound shall be mixed with cement mortar for external wall plastering as per manufacturers specifications.
1.0 | BELOW GROUND LEVEL
| Both surface of below ground walls | m2 | 133.16
2.0 | GROUND FLOOR
| 25mm External surface of exeterior wall | m2 | 146.8742
| 16mm Internal surface of exeterior wall | m2 | 385.0341
3.0 | FIRST FLOOR
| 25mm External surface of exeterior wall | m2 | 93.3964
| 16mm Internal surface of exeterior wall | m2 | 312.0208
4.0 | SECOND FLOOR
| 25mm External surface of exeterior wall | m2 | 83.999
| 16mm Internal surface of exeterior wall | m2 | 432.7952
5.0 | ROOF LEVEL
| 25mm External surface of exeterior wall | m2 | 44.76
| 16mm Internal surface of exeterior wall | m2 | 44.76
BILL No: 04 - MASONRY AND PLASTERING
TOTAL OF BILL No: 04 - Carried over to summary
BILL N0: 05
FLOORING & TILING
5.1 | General
(a) Rates shall include for laying 50mm thick cement mortar in 1 : 5 mix ratio,cleaning down to reveals where necessary and water proofing of Toilet and Balcony floors & Terrace.
5.2 | SCREEDING
50mm thick Floor Screeding
1.0 | GROUND FLOOR
1 ) | Tea Room | m2 | 16.78
2 ) | Office | m2 | 79.18
3 ) | Citizen service | m2 | 10.12
4 ) | Visa Printing | m2 | 8.81
5 ) | Incharge Office | m2 | 10.54
6 ) | Service Counter area | m2 | 49.11
7 ) | Toilet | m2 | 16.37
7 ) | Staircase | m2 | 8.589
8 ) | Ramp & Steps | m2 | 49.11
2.0 | FIRST FLOOR
1 ) | Tea Room | m2 | 16.78
2 ) | Office | m2 | 59.98
3 ) | Server room | m2 | 14.25
4 ) | Strong room | m2 | 16.05
5 ) | VIP | m2 | 16.09
6 ) | Meeting room | m2 | 53.65
7 ) | Toilet | m2 | 13.52
8 ) | Staircase | m2 | 8.589
9 ) | Balcony | m2 | 10.8
3.0 | SECOND FLOOR
1 ) | Bedroom 1 | m2 | 16.93
2 ) | Bedroom 2 | m2 | 19.05
3 ) | Bedroom 3 | m2 | 18.93
4 ) | Sitting/Dining/Kitchen | m2 | 47.65
5 ) | Walkway | m2 | 14.06
6 ) | Filling Room | m2 | 15.35
7 ) | Store | m2 | 4.67
8 ) | Prayer room | m2 | 12.02
9 ) | Toilet | m2 | 10.79
10 ) | Balcony | m2 | 38.49
4.0 | TERRACE FLOOR
1 ) | Indoor Terrace Area | m2 | 49.61
2 ) | Toilet | m2 | 8.28
3 ) | Open Terrace | m2 | 144.64
5.3 | TILING
(a) Rates shall include for: Fixing, bedding, grouting, and pointing materials, making good around pipes, sanitary fixtures, and similar; cleaning & Polishing.
(b) All Tiling work in accordance with specifications and finishes schedule.
c) Tiles for general areas such as rooms, sitting room and kitchen shall be 600x600 ceramic glazed tiles or sizes approved by client and tiles for wet area such as toilets balconies shall be of 300x450 ceramic non-skid tiles on floor also tiling add-on such as borders and decorative tiles for bathroom shall be included and all materials for floor finishes shall be subjected to written approval by client
5.3.1 | FLOOR TILE
1.0 | GROUND FLOOR
7 ) | Toilet | m2 | 16.37 |  |  |  |  | 450
7 ) | Staircase | m2 | 8.589
8 ) | Ramp & Steps | m2 | 49.11
2.0 | FIRST FLOOR
7 ) | Toilet | m2 | 13.52
8 ) | Staircase | m2 | 8.589
9 ) | Balcony | m2 | 10.8
3.0 | SECOND FLOOR
1 ) | Bedroom 1 | m2 | 16.93
2 ) | Bedroom 2 | m2 | 19.05
3 ) | Bedroom 3 | m2 | 18.93
4 ) | Sitting/Dining/Kitchen | m2 | 47.65
5 ) | Walkway | m2 | 14.06
6 ) | Filling Room | m2 | 15.35
7 ) | Store | m2 | 4.67
8 ) | Prayer room | m2 | 12.02
9 ) | Toilet | m2 | 10.79
10 ) | Balcony | m2 | 38.49
4.0 | TERRACE FLOOR
1 ) | Indoor Terrace Area | m2 | 49.61
2 ) | Toilet | m2 | 8.28
3 ) | Open Terrace | m2 | 144.64
5.3.1 | WALL TILE
1.0 | GROUND FLOOR
1 ) | Tea Room | m2 | 1.653
2 ) | Toilet | m2 | 107.96
2.0 | FIRST FLOOR
1 ) | Tea Room | m2 | 1.653
2 ) | Toilet | m2 | 89.36
3.0 | SECOND FLOOR
1 ) | Kitchen | m2 | 6.38
2 ) | Toilet | m2 | 64.54
4.0 | TERRACE FLOOR
2 ) | Toilet | m2 | 56.54
5.3.2 | CARPET TILES ON FLOOR
1.0 | GROUND FLOOR
1 ) | Tea Room | m2 | 16.78 |  |  |  | 348
2 ) | Office | m2 | 79.18
3 ) | Citizen service | m2 | 10.12
4 ) | Visa Printing | m2 | 8.81
5 ) | Incharge Office | m2 | 10.54
6 ) | Service Counter area | m2 | 49.11
2.0 | FIRST FLOOR
1 ) | Tea Room | m2 | 16.78
2 ) | Office | m2 | 59.98
3 ) | Server room | m2 | 14.25
4 ) | Strong room | m2 | 16.05
5 ) | VIP | m2 | 16.09
6 ) | Meeting room | m2 | 53.65
BILL No: 05 -FLOORING AND TILING
TOTAL OF BILL No: 05 - Carried over to summary
BILL N0: 06
DOORS AND WINDOWS
6.1 | General
(a) Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
(b) Rates shall include for door frames and window frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings and installation.
(c) All Timber door frames shall be treated timber. Rate shall include for Paint/Varnish finish.
(d) All louvres, windows and sliding doors shall be 30 micron powder coated aluminium as per details given in Door/Window schedule.
(e) All doors and windows shall be accordance with door/window drawing details.
DOOR AND WINDOW UNITS
1.0 | GROUND FLOOR
1 ) | D1 | nos | 1
2 ) | D2 | nos | 1
3 ) | D3 | nos | 1
4 ) | D4 | nos | 2
5 ) | D6 | nos | 3
6 ) | D7 | nos | 2
7 ) | SD1 | nos | 1
8 ) | FG1 | nos | 1
9 ) | FG2 | nos | 1
10 ) | FG3 | nos | 1
11 ) | FG4 | nos | 2
12 ) | W1 | nos | 1
13 ) | W2 | nos | 2
2.0 | FIRST FLOOR
1 ) | D4 | nos | 2
2 ) | D5 | nos | 1
3 ) | D6 | nos | 2
4 ) | D7 | nos | 2
5 ) | SD2 | nos | 1
6 ) | FG1 | nos | 1
7 ) | FG2 | nos | 1
8 ) | FG4 | nos | 2
9 ) | FG6 | nos | 1
10 ) | FG7 | nos | 1
11 ) | FG8 | nos | 1
12 ) | FG9 | nos | 1
13 ) | FG10 | nos | 1
14 ) | W1 | nos | 2
15 ) | W2 | nos | 2
3.0 | SECOND FLOOR
1 ) | SD2 | nos | 1
2 ) | SD3 | nos | 1
3 ) | SD4 | nos | 2
4 ) | FG1 | nos | 1
5 ) | FG2 | nos | 1
6 ) | FG4 | nos | 2
7 ) | FG5 | nos | 1
8 ) | FG6 | nos | 1
9 ) | FG7 | nos | 1
10 ) | FG8 | nos | 1
11 ) | FG9 | nos | 1
12 ) | FG10 | nos | 1
13 ) | FG1A | nos | 1
14 ) | FG4A | nos | 1
15 ) | FG7A | nos | 2
16 ) | FG8A | nos | 1
17 ) | FG10A | nos | 1
18 ) | W3 | nos | 1
19 ) | V1 | nos | 1
20 ) | W1 | nos | 2
21 ) | W2 | nos | 2
3.0 | TERRACE FLOOR
1 ) | D5 | nos | 2
2 ) | D6 | nos | 2
2 ) | D7 | nos | 2
3 ) | SD5 | nos | 1
4 ) | FG5 | nos | 2
5 ) | FG10a | nos | 1
6 ) | FG11 | nos | 1
7 ) | FG12 | nos | 1
8 ) | W2 | nos | 1
9 ) | V1 | nos | 1
BILL N0: 06 - DOORS AND WINDOWS
TOTAL OF BILL No: 06 - Carried over to summary
BILL No: 07
WOOD WORK & CEILING
7.0 | General
(a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails,bolts & screws.
(b) Rates shall include for applying approved quality wood preservators as per manufactures instructions for all Timber structures.
(c) Rates shall include for 6mm thick Fiber Cement board fixed on 35 x 50mm Timber frame @600c/c,trimming, nails, screws,hooks, hangers, clips and similar. - Toilets/Balcony
(c) Rates shall include for 9mm thick Gypsum board fixed on 35 x 50mm Timber frame @600c/c,trimming, nails, screws,hooks, hangers, clips and similar. - General areas
SUSPENDED CEILING
1.0 | GROUND FLOOR
1 ) | General areas | m2 | 232.24
2 ) | Toilet, Ramp & Steps area | m2 | 65.48
2 | FIRST FLOOR
1 ) | General areas | m2 | 185.39
2 ) | Toilet & Balcony | m2 | 24.32
3 | SECOND FLOOR
1 ) | General areas | m2 | 148.66
2 ) | Toilet & Balcony | m2 | 49.28
4 | TERRACE FLOOR
1 ) | General areas | m2 | 49.61
2 ) | Toilet | m2 | 8.28
BILL No: 07 - WOOD WORK & CEILING
TOTAL OF BILL No: 07 - Carried over to summary
BILL No: 08
PAINTING
8.1 | General
(a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window furniture.
(b) All painting work shall be carried in accordance with the Specifications
(c)Rate shall include for weather proof paint finish for exterior surfaces of the wall complete including application of two coats of oil based wall sealer and two coats of weather bond paint
(d)Rate shall include for putty and paint finish for interior surfaces of the wall and ceilings complete including application of two coats of wall sealer, two coats of putty finish and two coats of emulsion paint finish on top for Interior painting.
1.0 | GROUND FLOOR
| Painting exterior surfaces of External Wall, Columns & beams. | m2 | 146.8742
| Painting interior surfaces Wall, Columns & beams) | m2 | 385.0341
| Painting Soffit of slab and Ceiling | m2 | 248.61
2.0 | FIRST FLOOR
| Painting exterior surfaces of External Wall, Columns & beams. | m2 | 93.3964
| Painting interior surfaces Wall, Columns & beams) | m2 | 312.0208
| Painting Soffit of slab and Ceiling | m2 | 209.71
3.0 | SECOND FLOOR
| Painting exterior surfaces of External Wall, Columns & beams. | m2 | 83.999
| Painting interior surfaces Wall, Columns & beams) | m2 | 432.7952
| Painting Soffit of slab and Ceiling | m2 | 197.94
4.0 | TERRACE FLOOR
| Painting exterior surfaces of External Wall, Columns & beams. | m2 | 44.76
| Painting interior surfaces Wall, Columns & beams) | m2 | 44.76
| Painting Soffit of slab and Ceiling | m2 | 13.68
BILL No: 08 - PAINTING
TOTAL OF BILL No: 08 - Carried over to summary
BILL No: 09
METAL & GLASS WORK
9.1 | General
(a) Rates shall include for ; all labour in framing, cutting, welding, cleats, baseplates, flanges,screws, nails, bends, and similar complete with grinding, surface smoothening and polish finishes.
9.2 | ROOFING
Roof Truss - Supply, Fabrication and Fixing Roof Trusses complete with Base plates, Bolts, nuts, Washers etc including Paint Finishes. Refer drawing details
1) | TR1 | mtr | 29.713
2) | TR2 | mtr | 60.732
3) | Supply and Fixing GI Purlins 50x100x2.5mm C purlins @ 1000 C/C (14.2m) | mtr | 151.213
4) | Roof Covering - Supply and Fixing BHP Lysaght Roofing sheet | m2 | 128.44
5) | 50mm thick double side Aluminium Foiled Rock wool Insulation laid as heat resistant below roofing sheet. | m2 | 128.44
6) | 25mm grid G.I. mesh laid as support to under the Rock wool insulation | m2 | 128.44
7) | Capping - Supply and Fixing 600mm wide Lysaght Eddge Capping | mtr | 16.61
8) | Capping - Supply and Fixing 600mm wide Lysaght Flashing at Sides | mtr | 21.48
9.3 | GLASS WORK
1 | GROUND FLOOR
12mm Thick Tempered Glass Partition with swing Door as per in the specification & drawings
1) | Glass partion | m2 | 84.624
2 | FIRST FLOOR
12mm Thick Tempered Glass Partition with swing Door as per in the specification & drawings
1) | Glass partion | m2 | 67.461
9.4 | FLAG POST
Construction of concrete flag post as per drawings .Rates shall include concrete base ,formwork tiling works,two nos 3" dia SS poles and completion of all necessary accessories .Allow for painting and texture finish as described
1) | Flag Post | item | 1
9.3 | STAINLESS STEEL HAND RAILING
1 | GROUND FLOOR
40mm SS Pipe on vertical members, 25mm SS Pipe on horizontal members
1) | Staircase Handrail | item | 1
2) | Ramp | item | 1
2 | FIRST FLOOR
40mm SS Pipe on vertical members, 25mm SS Pipe on horizontal members
1) | Staircase Handrail | item | 1
2) | Ramp | item | 1
3 | SECOND FLOOR
40mm SS Pipe on vertical members, 25mm SS Pipe on horizontal members
1) | Staircase Handrail | item | 1
2) | Ramp | item | 1
9.4 | BALCONY RAILING
1 | FIRST FLOOR
20mm Thick Toughened Temprered glass Balustrade as per specifications & drawings
1) | Balcony railing | item | 1
2 | SECOND FLOOR
20mm Thick Toughened Temprered glass Balustrade as per specifications & drawings
1) | Balcony railing | item | 1
9.4 | CLADDING
1 | TERRACE FLOOR
50mm x 150mm RHS @100c/c mounted to slab as per the specifications & drawings
1) | 50mm x 150mm RHS @100c/c | m | 111
BILL No: 09 - METAL WORK
TOTAL OF BILL No: 09 - Carried over to summary
BILL No: 10
HYDRAULICS & DRAINAGE
10.1 | General
(a) Design provide and install plumbing network for the entire building complete in accordance to standard set by the local governing body MWSC
(b) The following items and description and the plumbing drawings are given as guidance as to the nature of the information to be returned by the contractor.
(c) Ground water connection shall be made as specified in the drawings.
(d) The cost shall include for; sockets, running joints, connectors, elbows, junctions, reducers, expansion joints, back nuts and similar, incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails , pvc glues, threadseals and fixing complete, including cutting and forming holes, excavating, laying pipes , backfilling trenches.
(e) All pipes shall be High Pressure uPVC "Mutha" or equivalent brand.
10.2 | INTERNAL PLUMBING
1 | Internal plumbing to all toilets, washrooms, pantries and work area sinks incl. supply and laying of pipes. | item | 1
10.3 | EXTERNAL PLUMBING
1 | Waste water and sewage connection from all the toilets & lab inc. supply and laying of pipes. | item | 1
10.4 | SANIRARY FIXTURES & ACCESSORIES
1.0 | GROUND FLOOR
1 | Sanitary fixtures complete including brackets, stop valves, fittings etc. All sanitary fittings shall be of 'Rapetti' brand or equivalent and all fixtures shall be of 'Duravit' brand or equivalent.
2 | WC suites incl. Flush tank and fittings with well water connection - Type A | nos | 2
2 | WC suites incl. Flush tank and fittings with well water connection - Type B | nos | 1
3 | Wash Basins incl. taps and fittings with public water connection | nos | 3
4 | Low level Taps with public water connection | nos | 3
5 | Mirror | nos | 3
6 | Soap dispenser | nos | 3
7 | Floor drain | nos | 4
8 | Muslim shower | nos | 3
9 | Kitchen Sink | nos | 1
2 | FIRST FLOOR
1 | Sanitary fixtures complete including brackets, stop valves, fittings etc. All sanitary fittings shall be of 'Rapetti' brand or equivalent and all fixtures shall be of 'Duravit' brand or equivalent.
2 | WC suites incl. Flush tank and fittings with well water connection - Type A | nos | 2
4 | Low level Taps with public water connection | nos | 2
5 | Mirror | nos | 2
6 | Soap dispenser | nos | 2
7 | Floor drain | nos | 6
8 | Muslim shower | nos | 2
9 | Kitchen Sink | nos | 1
3 | SECOND FLOOR
1 | Sanitary fixtures complete including brackets, stop valves, fittings etc. All sanitary fittings shall be of 'Rapetti' brand or equivalent and all fixtures shall be of 'Duravit' brand or equivalent. | item
2 | WC suites incl. Flush tank and fittings with well water connection - Type A | nos | 3
3 | Wash Basins incl. taps and fittings with public water connection | nos | 3
4 | Low level Taps with public water connection | nos | 3
5 | Mirror | nos | 3
6 | Soap dispenser | nos | 3
7 | Floor drain | nos | 12
8 | Muslim shower | nos | 3
9 | Kitchen Sink | nos | 1
4 | TERRACE FLOOR
1 | Sanitary fixtures complete including brackets, stop valves, fittings etc. All sanitary fittings shall be of 'Rapetti' brand or equivalent and all fixtures shall be of 'Duravit' brand or equivalent. | item
2 | WC suites incl. Flush tank and fittings with well water connection - Type A | nos | 2
3 | Wash Basins incl. taps and fittings with public water connection | nos | 2
4 | Low level Taps with public water connection | nos | 2
5 | Mirror | nos | 2
6 | Soap dispenser | nos | 2
7 | Floor drain | nos | 8
8 | Muslim shower | nos | 2
9 | Kitchen Sink | nos | 1
10.5 | DRAINAGE & WELL SYSTEM
(a) Rates shall include for: excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus spoil; bends, junctions, reducers, expansion joints and all joints and other incidental materials.
10.5.1 | PIPE WORK
| Allow for supply and installation of pipework including all the necessary accessories & fittings. | item | 1
10.5.2 | GROUND WATER WELL
| Provide and Construct Ground water well complete as shown on the drawings incl all pipe connections and similar | item | 1
10.5.3 | INSPECTION CHAMBERS
| Inspection chambers complete as shown on the drawings incl all pipe connections | item | 1
10.5.4 | RAINWATER DISCHARGE PIPE
| ø 75mm PVC Rainwater down pipe from roof. | item | 1
10.5.5 | FRESH WATER CONNECTION
| Fresh water connection including water meters for whole building | item | 1
BILL No: 10 - HYDRAULICS & DRAINAGE
TOTAL OF BILL No: 10 - Carried over to summary
BILL No: 11
ELECTRICAL INSTALLATIONS
11.1 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates shall include for electrical conduits, fittings, equipment and similar all fixings to various building surfaces and also all elecetrical work shall be carried out according to STELCO standards and specifications.
(d) Each Light/ light fixture and its switch is measured as one one point; similarly each fan or each socket outlet is measured as one point;
(e) Rates shall include for supply and complete installation of fittings and fixtures.
1 ) | MAINS CONNECTION
1 ) | Main connection: Rates shall include for screws, nails, bolts ,nuts, standard cable, fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories. Rates shall including for electrical conduits, fittings, equipment and similar items. Three - PHASE CABLE WIRING TO D-BOARD: All necessary work in trench shall include for excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers warning tape and disposal of surplus soil supply and laying of the cable in according to Maldives electricity bureau. ( 16mm2 4-Core Cable, Approved by respective Authorities, GI pipe, warning tape), contractor has to measure cable length from site. | nos | 1
2 ) | ELECTRICAL BOARDS/CCTV CAMERA CONTROL BOARD
1 ) | Three phase electrical distribution board (wall embedded) with one Meter: Supply and installation of D-Board . Rates Shall include all required Brackets and other electrical appliance as per drawings and Maldivian Regulations ( wall embedded ) Meter to be cover with whether proof box. All the light circuit should be one DB Sockets to be one DB. Rate shall also include Installation & Comissioning of CCTV Camera control board | nos | 1
3 ) | ELECTRICAL WIRING
3.1 | GROUND FLOOR
1 ) | 2.5mm2 Wiring to Light Points | points | 106 | [5 empty] | 92
2 ) | 2.5mm2 Wiring to Power Points | points | 120 | [5 empty] | 101
3 ) | 16mm2 Cabling to DBs | nos | 5
4 ) | Cabling - Data Network points (CAT6) | item | 1
4 ) | ELECTRICAL/ NETWORK/ CCTV FIXTURES
4.1 | GROUND FLOOR
1 ) | Distribution Board | nos | 1
2 ) | LED Recessed Light | nos | 18
3 ) | LED Downlight | nos | 30
4 ) | Wall Mounted Light | nos | 1
5 ) | Wall Mounted Light (waterproof) | nos | 0
6 ) | LED Waterproof Spot Light | nos | 2
7 ) | Sub Distribution Board | nos | 1
8 ) | Fan | nos | 1
9 ) | Fan regulator | nos | 1
10 ) | One-way switch | nos | 21
11 ) | 1 x13A Socket (Single) | nos | 9
12 ) | 2 x13A Socket (Double) | nos | 40
13 ) | Network Outlet | nos | 33
14 ) | Telephone Outlet | nos | 33
15 ) | CCTV Camera | nos | 8
16 ) | Door Access System for main door | nos | 1
4.2 | FIRST FLOOR
1 ) | Distribution Board | nos | 1
2 ) | LED Recessed Light | nos | 18
3 ) | LED Downlight | nos | 26
4 ) | Wall Mounted Light | nos | 1
5 ) | LED Waterproof Spot Light | nos | 4
6 ) | Fan | nos | 1
7 ) | Fan regulator | nos | 1
8 ) | One-way switch | nos | 21
9 ) | 1 x13A Socket (Single) | nos | 2
10 ) | 2 x13A Socket (Double) | nos | 27
11 ) | Network Outlet | nos | 19
12 ) | Telephone Outlet | nos | 19
13 ) | CCTV Camera | nos | 1
14 ) | Door Access System for main door | nos | 1
4.3 | SECOND FLOOR
1 ) | Distribution Board | nos | 2
2 ) | LED Recessed Light | nos | 0
3 ) | LED Downlight | nos | 42
4 ) | Wall Mounted Light | nos | 1
5 ) | LED Waterproof Spot Light | nos | 4
6 ) | Fan | nos | 6
7 ) | Fan regulator | nos | 6
8 ) | One-way switch | nos | 25
9 ) | 1 x13A Socket (Single) | nos | 3
10 ) | 1 x13A Shaver Socket | nos | 3
11 ) | 1 x20A Socket (Hood) | nos | 1
12 ) | 2 x13A Socket (Double) | nos | 28
13 ) | CCTV Camera | nos | 1
14 ) | Door Access System for main door | nos | 1
4.4 | TERRACE FLOOR
1 ) | Distribution Board | nos | 1
2 ) | LED Downlight | nos | 29
3 ) | Wall Mounted Light | nos | 1
4 ) | Wall Mounted Light (waterproof) | nos | 5
5 ) | Fan | nos | 6
6 ) | Fan regulator | nos | 6
7 ) | One-way switch | nos | 11
8 ) | 1 x13A Socket (Single) | nos | 1
9 ) | 2 x13A Socket (Double) | nos | 14
10 ) | Cable TV Outlet | nos | 1
11 ) | CCTV Camera | nos | 1
BILL No: 11 - ELECTRICAL INSTALLATIONS
TOTAL OF BILL No: 11 - Carried over to summary
BILL No: 12
AIR CONDITIONING SYSTEM
12.1 | General
(a) Rates shall include for detail design, supply and complete installation of A/C units pipework, insulation, fixings, electrical wiring, drain pipes etc.
(b) The Contractor shall provide detailed and complete set of shop drawings
c) The contractor shall subbmit shop drawings of AC and Exhaust System. The capacity shall be determined by the contractor.
d) Rate shall include complete installation of indoor units and outdoor units.
The whole of the liquid and suction refrigerant lines including all fittings, valves etc. shall be insulated with 25mm thick insulation for all copper sizes. Insulation shall be closed cell elastomeric nitrile rubber.
Protection of exposed Refrigerant Pipe Insulation: To protect nitrile rubber of exposed piping from degrading due ultra violet rays & atmospheric conditons, it shall be covered polyshield coating with at least two coats of resin and hardener (Make-Polybond /Paramount Polytreat). Fiberglass tape shall be helically wound & painted with two coats of resin with hardener to give smooth & plain finish.
The Outdoor Unit Shall be Factory assembled with Weather Proof casing, constructed from Heavy Gauge Mild Steel Panels and coated with Anti Corrosive Epoxy resin finish. The unit should be completely factory wired and tested and shall be fitted with all necessary controls and switch gear.
All outdoor units needs to have aluminium fins with 105+2 μm thickness, with special Anti corrosive coating of 1.3 ± 0. 35 μm thickness and an outside Hydrophilic layer coating of 0.35 ± 0. 07 μm thickness.
All outdoor units shall be equipped with high efficiency optimized heat exchangers with variable heat exchanger circuits
All the outdoor unit must be fixed back side of the Building.
12.2 | AIR CONDITION
1.0 | GROUND FLOOR
1 ) | 24,000 BTU spilt type Ceiling cassette air conditioner (with wired remote) DAIKIN or equivalent. | nos | 7
2 ) | 18,000 BTU spilt type Ceiling cassette air conditioner (with wired remote) DAIKIN or equivalent. | nos | 3
3 ) | 9,000 BTU spilt type Wall Mount air conditioner. | nos | 2
2.0 | FIRST FLOOR
1 ) | 24,000 BTU spilt type Ceiling cassette air conditioner (with wired remote) DAIKIN or equivalent. | nos | 9
2 ) | 9,000 BTU spilt type Wall Mount air conditioner. | nos | 2
3.0 | SECOND FLOOR
1 ) | 9,000 BTU spilt type Wall Mount air conditioner. | nos | 3
2 ) | 12,000 BTU spilt type Wall Mount air conditioner. | nos | 3
3 ) | 24,000 BTU spilt type Ceiling cassette air conditioner (with wired remote) DAIKIN or equivalent. | nos | 1
4.0 | TERRACE FLOOR
1 ) | 24,000 BTU spilt type Ceiling cassette air conditioner (with wired remote) DAIKIN or equivalent. | nos | 3
BILL No: 12 - ELECTRICAL INSTALLATIONS
TOTAL OF BILL No: 12 - Carried over to summary
BILL No: 13
FIRE ALARM & FIGHTING SYSTEM
13.1 | General
A. Provide & install fire fighting equipment inclusive of all necessary connection as per local regulations as described
B. Provide addressable fire alarm system (MNDF approved brand)
13.2 | FIRE ALARM & FIGHTING SYSTEM
1.0 | GROUND FLOOR
1 ) | Smoke Detector | nos | 8
2 ) | CO2 Portable Fire Extinguisher 2kg | nos | 2
3 ) | H2O Portable Fire Extinguisher (9ltr ) | nos | 2
4 ) | Fire Alarm Control Panel | nos | 1
5 ) | Sounder with strobe | nos | 1
6 ) | Exit Sign light | nos | 3
7 ) | DCP | nos | 1
8 ) | Heat Detector | nos | 1
9 ) | Fire Blanket | nos | 1
10 ) | Manual Call Point | nos | 1
11 ) | 2.5sqmm fire retardant low smoke (FRLS) cables in FRLS conduits | item | 1
2.0 | FIRST FLOOR
1 ) | Smoke Detector | nos | 7
2 ) | CO2 Portable Fire Extinguisher 2kg | nos | 4
3 ) | H2O Portable Fire Extinguisher (9ltr ) | nos | 2
4 ) | Sounder with strobe | nos | 1
5 ) | Exit Sign light | nos | 1
6 ) | DCP | nos | 1
7 ) | Heat Detector | nos | 2
8 ) | Fire Blanket | nos | 1
9 ) | Manual Call Point | nos | 1
3.0 | SECOND FLOOR
1 ) | Smoke Detector | nos | 3
2 ) | CO2 Portable Fire Extinguisher 2kg | nos | 1
3 ) | H2O Portable Fire Extinguisher (9ltr ) | nos | 1
4 ) | Sounder with strobe | nos | 1
5 ) | Exit Sign light | nos | 1
6 ) | DCP | nos | 1
7 ) | Heat Detector | nos | 1
8 ) | Fire Blanket | nos | 1
9 ) | Manual Call Point | nos | 1
4.0 | TERRACE FLOOR
1 ) | Smoke Detector | nos | 1
2 ) | CO2 Portable Fire Extinguisher 2kg | nos | 1
3 ) | H2O Portable Fire Extinguisher (9ltr ) | nos | 0
4 ) | Sounder with strobe | nos | 1
5 ) | Exit Sign light | nos | 1
6 ) | DCP | nos | 1
8 ) | Fire Blanket | nos | 1
9 ) | Manual Call Point | nos | 1
BILL No: 13 -FIRE ALARM & FIGHTING SYSTEM
TOTAL OF BILL No: 13 - Carried over to summary
BILL No: 14
ADDITIONS
14.1 | General
Provision to include quantities as per the drawing which is missed in the bill of quantities.
BILL No: 14 - ADDITIONS
TOTAL OF BILL No: 14 - Carried over to summary
BILL No: 15
OMISSIONS
15.1 | General
Provision to remove the excess quantity given in the bill quantities if any as per the drawing details
BILL No: 15 - OMISSIONS
TOTAL OF BILL No: 15 - Carried over to summary

## Summary
PROJECT : PROPPOSED 03 STOREY IMMIGRATION AT S.HITHADHOO
SUMMARY OF BILL OF QUANTITIES
Bl.no | Item Description | Amount
1 | PRELIMINARIES | 0
2 | GROUND WORKS | 0
3 | CONCRETE WORKS | 0
4 | MASONRY & PLASTERING | 0
5 | FLOORING & TILING | 0
6 | DOORS & WINDOWS | 0
7 | CEILING | 0
8 | PAINTING | 0
9 | METAL & GLASS WORK | 0
10 | HYDRAULICS & DRAINAGE | 0
11 | ELECTRICAL INSTALLATIONS | 0
12 | AIR CONDITION | 0
13 | FIRE ALARM & FIGHTING SYSTEM | 0
14 | ADDITIONS | 0
15 | OMISSIONS | 0
TOTAL Mvr |  | 0
6% GST Mvr |  | 0
GRAND TOTAL Mvr |  | 0

## Summary BW
BOUNDARY WALL
SUMMARY OF BILL OF QUANTITIES
Bl.no | Item Description | Amount
1 | GROUND WORKS
2 | CONCRETE WORKS
3 | MASONRY & PLASTERING
4 | DOORS & WINDOWS
5 | PAINTING
6 | ELECTRICAL INSTALLATIONS
7 | ADDITIONS
8 | OMISSIONS
TOTAL Mvr |  | 0
6% GST Mvr |  | 0
GRAND TOTAL Mvr |  | 0

## Boundary
BOUNDARY WALL
Item | Description | Unit | Qty | Material Rate | Labour Rate | Total
BILL NO : 01
GROUND WORK
1.1 | GENERAL
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating, additional working space and disposing surplus soil.
1.2 | EXCAVATION
(a) Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork , back fill , dewatering and others
1.2.1 | Excavation
(1) | Foundations Beams | m³ | 17.037
1.2.2 | Back filling
(a) Rates shall include for: leveling, grading, trimming and compacting.
| (b) Ground need to be compacted to the density required by the consultant |  | `
1 ) | Back filling | m² | 5.997
1.3 | DAMP PROOF MEMBRANE
(a) Rates shall include for: dressing around and sealing to all penetrations, laps and turnups.
1 ) | Polythene damp proof membrane (500 gauge) laid on blinding layer. | m² | 18.9
BILL No: 01 GROUND WORKS
TOTAL OF BILL No: 01 - Carried over to summary
BILL NO : 03
CONCRETE
2.0 | (a) Rates shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
(b) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:6 by volume.
(c) Rate should include reinforcements as per specifications & drawings,
(d) Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
2.1 | LEAN CONCRETE
50mm thick lean concrete below Foundation
| Foundation Footings & Tie beams | m³ | 0.954
2.2 | REINFORCED CONCRETE
1.0 | FOUNDATIONS
(1) | Foundations Beams FB1 | m³ | 9.801
2.3 | COLUMNS
2.0 | BELOW GROUND
| Columns | m3 | 0.285
3 | ABOVE GROUND
| 200mm x 200mm Columns | m3 | 2.052
| Capping Beams | m3 | 0.7155
FORM WORK
(a) Exposed surface shall have fair finish while remaining may have rough finish.
(b) Timber used for unexposed concrete surface shall sound dressed and seasoned good quality common timber while for exposed concrete surfaces dressedand matched boards uniformly thick and not more than 251mm wide.
c) Plywood used for forms shall be of commercial standard, moisture resistane conrete form plywoodnot lessthan 6mm thick and atleast 12mm thick.
(d) Rates shall include for; all necessary boarding,supports, erecting, framing, temporary cambering cutting, perforations for reinforcing bars, bolts,straps,ties, hangers, pipes and removal of formwork.
1.0 | FOUNDATIONS
(1) | Foundations Beams FB1 | m2 | 31.5
2.4 | COLUMNS
2.0 | BELOW GROUND
| Columns | m2 | 5.7
3 | ABOVE GROUND
| 200mm x 200mm Columns | m2 | 41.04
| Capping Beams | m2 | 9.45
BILL No: 02 - CONCRETE WORKS
TOTAL OF BILL No: 02 - Carried over to summary
BILL No: 03
MASONRY AND PLASTERING
3.1 | General
a )Rates shall include for cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs.
b )Cutting or leaving holes and openings as recesses for and building in pipes, conduits , sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joints.
c ) All external wall and all inetrenal walls shall be 100mm thick Solid cement blocks and for masonry mix ratio 1:5 (cement and river sand)
3.2 | MASONRY
1.0 | BELOW GROUND LEVEL
150mm thick Solid block wall
| 300 x150 x 150mm solid block single wall - 150mm thick above all Tie beams. | m2 | 22.05
2.0 | ABOVE GROUND LEVEL
| 150mm thick solid masonry block wall | m2 | 153.72
3.3 | PLASTERING
(a) 20mm thick Cement plastering on Exterior surface of External masonry walls and concrete surfaces and 15mm thick plastering on interior walls and concrete surface as specified incl. wire mesh shall be fixed at the joints of concrete surfaces and walls before plastering. Quantity is measured including concrete surfaces - Parapetwalls, Liftwalls, columns & beams.
(b)Rates shall include for External plastering shall 20mm thick (12+8mm) 2 coats in 1:4 cement and river sand mix ratio
c) Rates shall include for approved brand water proofing compound shall be mixed with cement mortar for external wall plastering as per manufacturers specifications.
1.0 | BELOW GROUND LEVEL
| Both surface of below ground walls | m2 | 44.1
2.0 | ABOVE GROUND LEVEL
| 16mm External surface of exeterior wall | m2 | 153.72
| 16mm Internal surface of exeterior wall | m2 | 153.72
BILL No: 03 - MASONRY AND PLASTERING
TOTAL OF BILL No: 03 - Carried over to summary
BILL N0: 04
DOORS AND WINDOWS
4.1 | General
Notes: (a) Rates shall include for locks, latches, closures, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
(b) Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boarding, framing, lining, fastenings and all fixings
Notes: (a) Rates shall include for locks, latches, closures, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
4.2 | DOOR AND WINDOW UNITS
Supply and fabrication of GI gate as per specification .Rates shall include all necessary accessories .Allow for painting and cladding on both side as described
| Side Entrance SE Services gate | item | 1
| Main Entrance ME Services gate | item | 1
BILL N0: 04 - DOORS AND WINDOWS
TOTAL OF BILL No: 04 - Carried over to summary
BILL No: 05
PAINTING
5.1 | General
Note: (a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door window furniture
(b) All painting work shall be carried in accordance with the Specifications
5.2 | WALLS/CONCRETE SURFACES
Nippon or equivalent emulsion paint finish on cement plastered walls and concrete surfaces. Exterior walls should be applied with weather proof paint.Allow for applied 1-coats of Alkali Resisting primer on all plastered surface.
| External and internal surfaces | m2 | 307.44
BILL No: 05- PAINTING
TOTAL OF BILL No: 05 - Carried over to summary
BILL No: 06
ELECTRICAL INSTALLATIONS
6.1 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates for electrical conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
(d) Light end and switch end of wiring together measured as one point
(e) A point wiring for power points is measured as one point for each socket outlet; other end of wire is not included in the quantity.
(f) Rates shall include for supply and complete installation
6.3 | CABLE LAYING
Complete installation, including for all connections, earthing, painting, testing etc.
1 ) | Main connection , connected to nearest distribution board from existing building .Allow for 6sqmm 3core cable with GI condute | item | 1
6.4 | ELECTRICAL WIRING
1 ) | Wiring to Lighting | points | 15 |  |  |  | #REF!
6.5 | LIGHTING, POWER POINTS & FANS
1 ) | Wall mounted Light (Waterproof) | nos | 17
BILL No: 6 - ELECTRICAL INSTALLATIONS
TOTAL OF BILL No: 6 - Carried over to summary
BILL No: 07
ADDITIONS
7.1 | General
Provision to include quantities as per the drawing which is missed in the bill of quantities.
BILL No: 07 - ADDITIONS
TOTAL OF BILL No: 07- Carried over to summary
BILL No: 08
OMISSIONS
8.1 | General
Provision to remove the excess quantity given in the bill quantities if any as per the drawing details
BILL No: 08 - OMISSIONS
TOTAL OF BILL No: 08 - Carried over to summary

## Summary Storage
BOUNDARY WALL
SUMMARY OF BILL OF QUANTITIES
Bl.no | Item Description | Amount
1 | GROUND WORKS
2 | CONCRETE WORKS
3 | MASONRY & PLASTERING
3 | ROOFING
4 | DOORS & WINDOWS
5 | PAINTING
6 | ELECTRICAL INSTALLATIONS
6 | FIRE ALARM & FIGHTING SYSTEM
7 | ADDITIONS
8 | OMISSIONS
TOTAL Mvr |  | 0
6% GST Mvr |  | 0
GRAND TOTAL Mvr |  | 0

## Storage
STORAGE
Item | Description | Unit | Qty | Material Rate | Labour Rate | Total
BILL NO : 01
GROUND WORK
1.1 | GENERAL
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating, additional working space and disposing surplus soil.
1.2 | EXCAVATION
(a) Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork , back fill , dewatering and others
1.2.1 | Excavation
(1) | Foundations Beams | m³ | 11.16
1.2.2 | Back filling
(a) Rates shall include for: leveling, grading, trimming and compacting.
(b) Ground need to be compacted to the density required by the consultant
1 ) | Back filling | m² | 7.63
1.3 | DAMP PROOF MEMBRANE
(a) Rates shall include for: dressing around and sealing to all penetrations, laps and turnups.
1 ) | Polythene damp proof membrane (500 gauge) laid on blinding layer. | m² | 22.32
BILL No: 01 GROUND WORKS
TOTAL OF BILL No: 01 - Carried over to summary
BILL NO : 03
CONCRETE
2.0 | (a) Rates shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
(b) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:6 by volume.
(c) Rate should include reinforcements as per specifications & drawings,
(d) Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
2.1 | LEAN CONCRETE
50mm thick lean concrete below Foundation
| Foundation beams | m³ | 0.75
2.2 | REINFORCED CONCRETE
1.0 | FOUNDATIONS
(1) | Foundations Beams FB1 | m³ | 2.78
2.3 | COLUMNS
| 200mm x 200mm Columns | m3 | 1.4
2.3 | ROOF BEAMS
| Beams B8 | m3 | 2.6
2.4 | GROUND SLAB
| Ground slab | m3 | 3.844
FORM WORK
(a) Exposed surface shall have fair finish while remaining may have rough finish.
(b) Timber used for unexposed concrete surface shall sound dressed and seasoned good quality common timber while for exposed concrete surfaces dressedand matched boards uniformly thick and not more than 251mm wide.
c) Plywood used for forms shall be of commercial standard, moisture resistane conrete form plywoodnot lessthan 6mm thick and atleast 12mm thick.
(d) Rates shall include for; all necessary boarding,supports, erecting, framing, temporary cambering cutting, perforations for reinforcing bars, bolts,straps,ties, hangers, pipes and removal of formwork.
1.0 | FOUNDATIONS
(1) | Foundations Beams FB1 | m2 | 18.6
2.3 | COLUMNS
| 200mm x 200mm Columns | m2 | 28
2.3 | ROOF BEAMS
| Beams B8 | m2 | 33.48
2.4 | GROUND SLAB
| Ground slab | m3 | 2.48
BILL No: 02 - CONCRETE WORKS
TOTAL OF BILL No: 02 - Carried over to summary
BILL No: 03
MASONRY AND PLASTERING
3.1 | General
a )Rates shall include for cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs.
b )Cutting or leaving holes and openings as recesses for and building in pipes, conduits , sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joints.
c ) All external wall and all inetrenal walls shall be 100mm thick Solid cement blocks and for masonry mix ratio 1:5 (cement and river sand)
3.2 | MASONRY
150mm thick Solid block wall
| 300 x150 x 150mm solid block single wall - 150mm thick above all Tie beams. | m2 | 86.89
3.3 | PLASTERING
(a) 20mm thick Cement plastering on Exterior surface of External masonry walls and concrete surfaces and 15mm thick plastering on interior walls and concrete surface as specified incl. wire mesh shall be fixed at the joints of concrete surfaces and walls before plastering. Quantity is measured including concrete surfaces - Parapetwalls, Liftwalls, columns & beams.
(b)Rates shall include for External plastering shall 20mm thick (12+8mm) 2 coats in 1:4 cement and river sand mix ratio
c) Rates shall include for approved brand water proofing compound shall be mixed with cement mortar for external wall plastering as per manufacturers specifications.
2.0 | PLASTERING
| 18mm External surface of exeterior wall | m2 | 86.89
| 13mm Internal surface of exeterior wall | m2 | 86.89
BILL No: 03 - MASONRY AND PLASTERING
TOTAL OF BILL No: 03 - Carried over to summary
BILL No: 04
ROOFING
4.1 | General
(a) Rates shall include for ; all labour in framing, cutting, welding, cleats, baseplates, flanges,screws, nails, bends, and similar complete with grinding, surface smoothening and polish finishes.
4.2 | ROOFING
Roof Truss - Supply, Fabrication and Fixing Roof Trusses complete with Base plates, Bolts, nuts, Washers etc including Paint Finishes. Refer drawing details
1) | 50mm x 150mm Timber rafters @750c/c | mtr | 29.713 |  |  |  | 5483.6307
2) | 50mm x 50mm Timber battens 750c/c | mtr | 60.732 |  |  |  | 3736.096
4) | Roof Covering - Supply and Fixing BHP Lysaght Roofing sheet | m2 | 37.3
5) | 50mm thick double side Aluminium Foiled Rock wool Insulation laid as heat resistant below roofing sheet. | m2 | 37.3
6) | 25mm grid G.I. mesh laid as support to under the Rock wool insulation | m2 | 37.3
7) | Capping - Supply and Fixing 600mm wide Lysaght Eddge Capping | mtr | 6.2
8) | Capping - Supply and Fixing 600mm wide Lysaght Flashing at Sides | mtr | 12.4
BILL No: 04 - ROOFING
TOTAL OF BILL No: 04 - Carried over to summary
BILL N0: 05
DOORS AND WINDOWS
5.1 | General
Notes: (a) Rates shall include for locks, latches, closures, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
(b) Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boarding, framing, lining, fastenings and all fixings
Notes: (a) Rates shall include for locks, latches, closures, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
5.2 | DOOR AND WINDOW UNITS
Supply and fabrication of GI gate as per specification .Rates shall include all necessary accessories .Allow for painting and cladding on both side as described
| STD | nos | 1
BILL N0: 05 - DOORS AND WINDOWS
TOTAL OF BILL No: 05 - Carried over to summary
BILL No: 06
PAINTING
6.1 | General
Note: (a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door window furniture
(b) All painting work shall be carried in accordance with the Specifications
6.2 | WALLS/CONCRETE SURFACES
Nippon or equivalent emulsion paint finish on cement plastered walls and concrete surfaces. Exterior walls should be applied with weather proof paint.Allow for applied 1-coats of Alkali Resisting primer on all plastered surface.
| External and internal surfaces | m2 | 173.78
BILL No: 06- PAINTING
TOTAL OF BILL No: 06 - Carried over to summary
BILL No: 07
ELECTRICAL INSTALLATIONS
7.1 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates for electrical conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
(d) Light end and switch end of wiring together measured as one point
(e) A point wiring for power points is measured as one point for each socket outlet; other end of wire is not included in the quantity.
(f) Rates shall include for supply and complete installation
7.2 | CABLE LAYING
Complete installation, including for all connections, earthing, painting, testing etc.
1 ) | Main connection , connected to nearest distribution board from existing building .Allow for 6sqmm 3core cable with GI condute | item | 1
7.3 | ELECTRICAL WIRING
1 ) | 2.5mm2 Wiring to Light Points | points | 3
7.4 | LIGHTING, POWER POINTS & FANS
1 ) | LED Downlight | nos | 8
2 ) | One-way switch | nos | 3
BILL No: 7 - ELECTRICAL INSTALLATIONS
TOTAL OF BILL No: 7 - Carried over to summary
BILL No: 13
FIRE ALARM & FIGHTING SYSTEM
13.1 | General
A. Provide & install fire fighting equipment inclusive of all necessary connection as per local regulations as described
B. Provide addressable fire alarm system (MNDF approved brand)
13.2 | FIRE ALARM & FIGHTING SYSTEM
1 ) | Smoke Detector | nos | 2
2 ) | CO2 Portable Fire Extinguisher 2kg | nos | 1
3 ) | H2O Portable Fire Extinguisher (9ltr ) | nos | 1
5 ) | Sounder with strobe | nos | 1
6 ) | Exit Sign light | nos | 1
BILL No: 7 -FIRE ALARM & FIGHTING SYSTEM
TOTAL OF BILL No: 7 - Carried over to summary
BILL No: 08
ADDITIONS
8.1 | General
Provision to include quantities as per the drawing which is missed in the bill of quantities.
BILL No: 08 - ADDITIONS
TOTAL OF BILL No: 08- Carried over to summary
BILL No: 09
OMISSIONS
9.1 | General
Provision to remove the excess quantity given in the bill quantities if any as per the drawing details
BILL No: 09 - OMISSIONS
TOTAL OF BILL No: 09 - Carried over to summary

## Finishing (hidden)
| Nos | Bar Spacing | Length | Breadth | Height | Area | 4"Hollow Blocks | Cement | C. Sand | F.Sand | 12mm Steel | 16mm Steel | 20mm Steel | 25mm Steel
BOUNDARY PROTECTIVE WALL
Boundary wall | 1 |  | 73.78 |  | 1.7 | 125.426 | 2787.2444 | 46.4541 | 232.2704
MASONRY & PLASTERING
Below ground
Ext | 1 |  | 64.677 |  | 0.675 | 43.657 | 970.155 | 16.1693 | 80.8463
Int | 1 |  | 33.965 |  | 0.675 | 22.9264
Ground - 1st
Exterior wall
| 1 |  | 17.235 |  | 3.025 | 52.1359
| 1 |  | 5.356 |  | 3.025 | 16.2019
` | 1 |  | 1.25 |  | 3.025 | 3.7812
| 1 |  | 3.312 |  | 3.025 | 10.0188
| 1 |  | 2.6 |  | 3.025 | 7.865
| 1 |  | 4.686 |  | 3.025 | 14.1751
` | 1 |  | 0.7 |  | 3.025 | 2.1175
| 1 |  | 1.872 |  | 3.025 | 5.6628
` | 1 |  | 6.533 |  | 3.025 | 19.7623
| 1 |  | 0.4 |  | 3.025 | 1.21
| 1 |  | 7.378 |  | 3.025 | 22.3184
| 1 |  | 13.355 |  | 3.025 | 40.3989
| 1 |  | 18.328 |  | 0.6 | 10.9968
D1 | -1 |  | 1.7 |  | 3.025 | -5.1425
D2 | -1 |  | 1 |  | 2.2 | -2.2
D3 | -1 |  | 4.387 |  | 3.025 | -13.2707
SD1 | -1 |  | 3.652 |  | 3.025 | -11.0473
FG1 | -1 |  | 2.602 |  | 3.025 | -7.871
FG2 | -1 |  | 3.951 |  | 3.025 | -11.9518
FG3 | -1 |  | 2.67 |  | 3.025 | -8.0767
FG4 | -2 |  | 4.24 |  | 3.025 | -25.652
W2 | -2 |  | 1.65 |  | 1.6 | -5.28
116.1527
Interior wall
| 1 |  | 2.392 |  | 3.025 | 7.2358
| 1 |  | 2.6 |  | 3.025 | 7.865
` | 1 |  | 2.704 |  | 3.025 | 8.1796
| 2 |  | 1.456 |  | 3.025 | 8.8088
| 2 |  | 5.336 |  | 3.025 | 32.2828
| 1 |  | 6.24 |  | 3.025 | 18.876
` | 1 |  | 4.16 |  | 3.025 | 12.584
| 1 |  | 3.773 |  | 3.025 | 11.4133
` | 1 |  | 2.704 |  | 3.025 | 8.1796
| 2 |  | 1.56 |  | 3.025 | 9.438
| 2 |  | 1.04 |  | 3.025 | 6.292
D4 | -2 |  | 0.85 |  | 2.1 | -3.57
D6 | -3 |  | 0.85 |  | 2.1 | -5.355
D7 | -2 |  | 0.75 |  | 2.1 | -3.15
119.0799
Exterior Plaster
| 1 |  | 17.235 |  | 3.5 | 60.3225
| 1 |  | 5.356 |  | 3.5 | 18.746
` | 1 |  | 1.25 |  | 3.5 | 4.375
| 1 |  | 3.312 |  | 3.5 | 11.592
| 1 |  | 2.6 |  | 3.5 | 9.1
| 1 |  | 4.686 |  | 3.5 | 16.401
` | 1 |  | 0.7 |  | 3.5 | 2.45
| 1 |  | 1.872 |  | 3.5 | 6.552
` | 1 |  | 6.533 |  | 3.5 | 22.8655
| 1 |  | 0.4 |  | 3.5 | 1.4
| 1 |  | 7.378 |  | 3.5 | 25.823
| 1 |  | 13.355 |  | 3.5 | 46.7425
| 1 |  | 18.328 |  | 0.6 | 10.9968
D1 | -1 |  | 1.7 |  | 3.025 | -5.1425
D2 | -1 |  | 1 |  | 2.2 | -2.2
D3 | -1 |  | 4.387 |  | 3.025 | -13.2707
SD1 | -1 |  | 3.652 |  | 3.025 | -11.0473
FG1 | -1 |  | 2.602 |  | 3.025 | -7.871
FG2 | -1 |  | 3.951 |  | 3.025 | -11.9518
FG3 | -1 |  | 2.67 |  | 3.025 | -8.0767
FG4 | -2 |  | 4.24 |  | 3.025 | -25.652
W2 | -2 |  | 1.65 |  | 1.6 | -5.28
146.8742
Interior Plaster
Ext. inside | [5 empty] | 146.8742
Int. walls | [5 empty] | 238.1598
385.0341
1ST - 2ND
Exterior wall
| 1 |  | 17.235 |  | 3.025 | 52.1359
| 2 |  | 1.248 |  | 3.025 | 7.5504
| 1 |  | 5.356 |  | 3.025 | 16.2019
` | 1 |  | 1.25 |  | 3.025 | 3.7812
| 1 |  | 3.312 |  | 3.025 | 10.0188
| 1 |  | 2.6 |  | 3.025 | 7.865
| 1 |  | 4.686 |  | 3.025 | 14.1751
| 1 |  | 2.08 |  | 3.025 | 6.292
` | 1 |  | 0.645 |  | 3.025 | 1.9511
| 1 |  | 11.358 |  | 3.025 | 34.358
| 1 |  | 13.355 |  | 3.025 | 40.3989
SD2 | -1 |  | 3.652 |  | 3.025 | -11.0473
FG1 | -1 |  | 2.601 |  | 3.025 | -7.868
FG2 | -1 |  | 3.951 |  | 3.025 | -11.9518
FG4 | -2 |  | 4.24 |  | 3.025 | -25.652
FG6 | -1 |  | 1.65 |  | 3.025 | -4.9912
FG7 | -1 |  | 4.387 |  | 2.425 | -10.6385
FG8 | -1 |  | 1.927 |  | 3.025 | -5.8292
FG9 | -1 |  | 3.652 |  | 3.025 | -11.0473
FG10 | -1 |  | 3.951 |  | 3.025 | -11.9518
W1 | -2 |  | 4.24 |  | 3.025 | -25.652
W2 | -2 |  | 1.65 |  | 1.6 | -5.28
62.8192
Interior wall
| 3 |  | 4.136 |  | 3.025 | 37.5342
| 1 |  | 5.4 |  | 3.025 | 16.335
` | 1 |  | 2.6 |  | 3.025 | 7.865
| 2 |  | 1.56 |  | 3.025 | 9.438
` | 2 |  | 1.04 |  | 3.025 | 6.292
| 1 |  | 2.1 |  | 3.025 | 6.3525
| 1 |  | 4.1 |  | 3.025 | 12.4025
| 1 |  | 3.12 |  | 3.025 | 9.438
| 1 |  | 5.2 |  | 3.025 | 15.73
D4 | -2 |  | 0.85 |  | 2.1 | -3.57
D5 | -1 |  | 0.85 |  | 2.1 | -1.785
D6 | -2 |  | 0.85 |  | 2.1 | -3.57
D7 | -2 |  | 0.75 |  | 2.1 | -3.15
109.3122
Exterior Plaster
| 1 |  | 17.235 |  | 3.5 | 60.3225
| 2 |  | 1.248 |  | 3.5 | 8.736
| 1 |  | 5.356 |  | 3.5 | 18.746
` | 1 |  | 1.25 |  | 3.5 | 4.375
| 1 |  | 3.312 |  | 3.5 | 11.592
| 1 |  | 2.6 |  | 3.5 | 9.1
| 1 |  | 4.686 |  | 3.5 | 16.401
| 1 |  | 2.08 |  | 3.5 | 7.28
` | 1 |  | 0.645 |  | 3.5 | 2.2575
| 1 |  | 11.358 |  | 3.5 | 39.753
| 1 |  | 13.355 |  | 3.5 | 46.7425
SD2 | -1 |  | 3.652 |  | 3.025 | -11.0473
FG1 | -1 |  | 2.601 |  | 3.025 | -7.868
FG2 | -1 |  | 3.951 |  | 3.025 | -11.9518
FG4 | -2 |  | 4.24 |  | 3.025 | -25.652
FG6 | -1 |  | 1.65 |  | 3.025 | -4.9912
FG7 | -1 |  | 4.387 |  | 2.425 | -10.6385
FG8 | -1 |  | 1.927 |  | 3.025 | -5.8292
FG9 | -1 |  | 3.652 |  | 3.025 | -11.0473
FG10 | -1 |  | 3.951 |  | 3.025 | -11.9518
W1 | -2 |  | 4.24 |  | 3.025 | -25.652
W2 | -2 |  | 1.65 |  | 1.6 | -5.28
93.3964
Interior Plaster
Ext. inside | [5 empty] | 93.3964
Int. walls | [5 empty] | 218.6244
312.0208
2ND-3RD
Exterior wall
| 1 |  | 17.235 |  | 2.534 | 43.6735
| 1 |  | 1.248 |  | 2.534 | 3.1624
| 1 |  | 5.356 |  | 2.534 | 13.5721
` | 1 |  | 1.25 |  | 2.534 | 3.1675
| 1 |  | 3.312 |  | 2.534 | 8.3926
| 1 |  | 2.6 |  | 2.534 | 6.5884
| 1 |  | 4.686 |  | 2.534 | 11.8743
| 1 |  | 2.08 |  | 2.534 | 5.2707
` | 1 |  | 3.052 |  | 2.534 | 7.7338
| 1 |  | 13.355 |  | 2.534 | 33.8416
SD3 | -1 |  | 3.4 |  | 2.525 | -8.585
SD4 | -2 |  | 2.5 |  | 2.525 | -12.625
FG5 | -1 |  | 1.65 |  | 2.525 | -4.1662
FG1A | -1 |  | 2.602 |  | 2.525 | -6.57
FG4A | -1 |  | 4.24 |  | 2.525 | -10.706
FG7A | -2 |  | 4.387 |  | 1.925 | -16.8899
FG8A | -1 |  | 1.927 |  | 2.525 | -4.8657
FG10 | -1 |  | 1.7 |  | 2.425 | -4.1225
W3 | -1 |  | 4.24 |  | 2.24 | -9.4976
V1 | -1 |  | 0.9 |  | 0.55 | -0.495
58.7539
Interior wall
| 1 |  | 5.928 |  | 2.53 | 14.9978
| 1 |  | 4.264 |  | 2.53 | 10.7879
| 1 |  | 5.824 |  | 2.53 | 14.7347
| 1 |  | 4.784 |  | 2.53 | 12.1035
| 1 |  | 5.72 |  | 2.53 | 14.4716
| 1 |  | 3.64 |  | 2.53 | 9.2092
| 1 |  | 5.2 |  | 2.53 | 13.156
| 1 |  | 7.28 |  | 2.53 | 18.4184
| 1 |  | 3.64 |  | 2.53 | 9.2092
| 1 |  | 2.08 |  | 2.53 | 5.2624
| 1 |  | 2.288 |  | 2.53 | 5.7886
| 1 |  | 1.664 |  | 2.53 | 4.2099
| 3 |  | 4.16 |  | 2.53 | 31.5744
| 1 |  | 2.6 |  | 2.53 | 6.578
| 1 |  | 5.824 |  | 2.53 | 14.7347
| 1 |  | 1.248 |  | 2.53 | 3.1574
| 1 |  | 3.64 |  | 2.53 | 9.2092
D4 | -4 |  | 0.85 |  | 2.1 | -7.14
D5 | -1 |  | 0.85 |  | 2.1 | -1.785
D6 | -3 |  | 0.85 |  | 2.1 | -5.355
D9 | -1 |  | 0.85 |  | 2.1 | -1.785
D10 | -3 |  | 0.85 |  | 2.1 | -5.355
D11 | -1 |  | 0.85 |  | 2.1 | -1.785
174.3981
Exterior Plaster
| 1 |  | 17.235 |  | 3 | 51.705
| 1 |  | 1.248 |  | 3 | 3.744
| 1 |  | 5.356 |  | 3 | 16.068
` | 1 |  | 1.25 |  | 3 | 3.75
| 1 |  | 3.312 |  | 3 | 9.936
| 1 |  | 2.6 |  | 3 | 7.8
| 1 |  | 4.686 |  | 3 | 14.058
| 1 |  | 2.08 |  | 3 | 6.24
` | 1 |  | 3.052 |  | 3 | 9.156
| 1 |  | 13.355 |  | 3 | 40.065
SD3 | -1 |  | 3.4 |  | 2.525 | -8.585
SD4 | -2 |  | 2.5 |  | 2.525 | -12.625
FG5 | -1 |  | 1.65 |  | 2.525 | -4.1662
FG1A | -1 |  | 2.602 |  | 2.525 | -6.57
FG4A | -1 |  | 4.24 |  | 2.525 | -10.706
FG7A | -2 |  | 4.387 |  | 1.925 | -16.8899
FG8A | -1 |  | 1.927 |  | 2.525 | -4.8657
FG10 | -1 |  | 1.7 |  | 2.425 | -4.1225
W3 | -1 |  | 4.24 |  | 2.24 | -9.4976
V1 | -1 |  | 0.9 |  | 0.55 | -0.495
83.999
Interior Plaster
Ext. inside | [5 empty] | 83.999
Int. walls | [5 empty] | 348.7962
432.7952
TERRACE FLOOR
Exterior wall
| 1 |  | 8.736 |  | 2.534 | 22.137
| 1 |  | 3.744 |  | 2.534 | 9.4873
| 1 |  | 4.992 |  | 2.534 | 12.6497
` | 1 |  | 10.192 |  | 2.534 | 25.8265
| 1 |  | 2.184 |  | 2.534 | 5.5343
| 1 |  | 4.68 |  | 2.534 | 11.8591
| 1 |  | 3.432 |  | 2.534 | 8.6967
| 1 |  | 9.855 |  | 2.534 | 24.9726
D5 | -1 |  | 0.8 |  | 2.235 | -1.788
D6 | -2 |  | 0.85 |  | 2.1 | -3.57
SD5 | -1 |  | 5.122 |  | 2.525 | -12.933
FG5 | -2 |  | 1.65 |  | 2.525 | -8.3325
FG10a | -1 |  | 1.7 |  | 1.925 | -3.2725
FG11 | -2 |  | 3.05 |  | 2.525 | -15.4025
FG12 | -1 |  | 2.927 |  | 1.925 | -5.6345
W2 | -1 |  | 1.65 |  | 1.6 | -2.64
V1 | -1 |  | 0.9 |  | 0.5 | -0.45
67.1402
Interior wall
| 1 |  | 1.2 |  | 2.53 | 3.036
| 1 |  | 2.288 |  | 2.53 | 5.7886
| 1 |  | 2.288 |  | 2.53 | 5.7886
| 1 |  | 3.744 |  | 2.53 | 9.4723
D5 | -1 |  | 0.85 |  | 2.1 | -1.785
D7 | -2 |  | 0.75 |  | 2.1 | -3.15
19.1506
Exterior Plaster
| 1 |  | 8.736 |  | 3 | 26.208
| 1 |  | 3.744 |  | 3 | 11.232
| 1 |  | 4.992 |  | 3 | 14.976
` | 1 |  | 10.192 |  | 3 | 30.576
| 1 |  | 2.184 |  | 3 | 6.552
| 1 |  | 4.68 |  | 3 | 14.04
| 1 |  | 3.432 |  | 3 | 10.296
| 1 |  | 9.855 |  | 3 | 29.565
D5 | -1 |  | 0.8 |  | 2.235 | -1.788
D6 | -2 |  | 0.85 |  | 2.1 | -3.57
SD5 | -1 |  | 5.122 |  | 2.525 | -12.933
FG5 | -2 |  | 1.65 |  | 2.525 | -8.3325
FG10a | -1 |  | 1.7 |  | 1.925 | -3.2725
FG11 | -2 |  | 3.05 |  | 2.525 | -15.4025
FG12 | -1 |  | 2.927 |  | 1.925 | -5.6345
W2 | -1 |  | 1.65 |  | 1.6 | -2.64
V1 | -1 |  | 0.9 |  | 0.5 | -0.45
89.422
Interior Plaster
Ext. inside | [5 empty] | 89.422
Int. walls | [5 empty] | 38.3012
127.7232
SCREEDING
Ground Floor
General | [5 empty] | 81 | [9 empty] | 100.88
Toilet | [5 empty] | 3.2 | [9 empty] | 0.9375
Stairs | [5 empty] | 12.35 | [9 empty] | 1.0725
2.9347
1st Floor | [15 empty] | 4
3.2
General | [5 empty] | 85 | [9 empty] | 3.52
Stairs | [5 empty] | 6.75
85.2153
2nd- 9th | [15 empty] | 3.6135
General | [5 empty] | 82
Balcony | [5 empty] | 2.41
Toilet | [5 empty] | 8.05 | [8 empty] | 1.517
Stairs | [5 empty] | 6.75 | [8 empty] | 0.9
Terrace | [15 empty] | 3.6135
General | [5 empty] | 92.8
TILING
Ground Floor
General | [5 empty] | 81
Toilet Floor | [5 empty] | 3.2 | [9 empty] | 7 | 2.6 | 18.2
Toilet Wall | [5 empty] | 16.5 | [11 empty] | 1.575
Stairs | [5 empty] | 12.35 | [11 empty] | 16.625
First Floor
General | [5 empty] | 85
Stairs | [5 empty] | 6.75
2nd - 9th
General | [5 empty] | 82
Balcony | [5 empty] | 2.41
Toilet floor | [5 empty] | 8.05
Toilet Wall | [5 empty] | 43.5
Stairs | [5 empty] | 6.75
Terrace | [15 empty] | 3.6135
General | [5 empty] | 92.8
4.2 | 3 | 12.6 |  |  | 4 | 3
4.339 | 3 | 13.017 |  |  | 0.6 | 3
3.15 | 3 | 9.45 |  |  | 1.4 | 3
4.412 | 3 | 13.236 |  |  | 1.1 | 3
10.316 | 3 | 30.948 |  |  | 1 | 3
4.2 | 3 | 12.6 |  |  | 4 | 3
|  | -6 |  |  | 2 | 3
1.98 | 3 | 5.94 |  |  | 1.2 | 3
0.965 | 0.9 | 0.8685 |  |  | 4.1 | 3
1 | 0.9 | 0.9 |  |  | 3 | 3
1 | 0.9 | 0.9 |  |  | 1.3 | 3
2.09 | 0.9 | 1.881 |  |  | 4 | 3
1.8 | 0.9 | 1.62 |  |  | 6 | 3
[5 empty] | 1.2 | 3
4.2 | 3 | 12.6 |  |  | 4 | 3
4.339 | 3 | 13.017 |  |  | 0.6 | 3
3.15 | 3 | 9.45 |  |  | 1.4 | 3
4.412 | 3 | 13.236 |  |  | 1.1 | 3
10.316 | 3 | 30.948 |  |  | 1 | 3
4.2 | 3 | 12.6 |  |  | 4 | 3
|  | -6 |  |  | 2 | 3
1.98 | 3 | 5.94 |  |  | 1.2 | 3
0.965 | 0.9 | 0.8685 |  |  | 4.1 | 3
1 | 0.9 | 0.9 |  |  | 3 | 3
1 | 0.9 | 0.9 |  |  | 1.3 | 3
2.09 | 0.9 | 1.881 |  |  | 4 | 3
1.8 | 0.9 | 1.62 |  |  | 6 | 3
[5 empty] | 1.2 | 3
4.2 | 3 | 12.6 |  |  | 4 | 3
4.339 | 3 | 13.017 |  |  | 0.6 | 3
3.15 | 3 | 9.45 |  |  | 1.4 | 3
4.412 | 3 | 13.236 |  |  | 1.1 | 3
10.316 | 3 | 30.948 |  |  | 1 | 3
4.2 | 3 | 12.6 |  |  | 4 | 3
|  | -6 |  |  | 2 | 3
1.98 | 3 | 5.94 |  |  | 1.2 | 3
0.965 | 0.9 | 0.8685 |  |  | 4.1 | 3
1 | 0.9 | 0.9 |  |  | 3 | 3
1 | 0.9 | 0.9 |  |  | 1.3 | 3
2.09 | 0.9 | 1.881 |  |  | 4 | 3
1.8 | 0.9 | 1.62 |  |  | 6 | 3
[5 empty] | 1.2 | 3
C1 | 1 | 0.15 | 3 | 0.2 | 0.35 | 0.21 | 1.1458 | 2.067 | 32.8 |  |  | 24
C4 | 3 |  | 3 | 0.2 | 0.25 | 0.45 | 2.8125 | 6.201 | 45.6 |  |  | 36
0.21
0.45
B1 | 1 | 0.15 | 4.192 | 0.2 | 0.27 | 0.22637 | #REF! |  | 27.9467 |  | 18.4448
B5 | 1 | 0.15 | 1.85 | 0.2 | 0.27 | 0.0999 | #REF! |  | 12.3333 |  |  | 12.21
B6 | 1 | 0.13 | 4.192 | 0.2 | 0.27 | 0.22637 | #REF! |  | 32.2462 |  | 9.2224 | 18.4448
12.72
24.2698
48.5395
97.079
39.5 | 1 | 79
263.3333
263.3333
| 10.1 | 3 | 30.3
| 39.5 | 1 | 39.5
| 1.908 | 3 | 5.724
#REF!

## Office (hidden)
|  | Length | Width | Height | Conc | Formwork | 20mm | 16mm | 12mm | 10mm | 6mm
FOUNDATION
F1 | 2 | 3.3 | 3.3 | 0.45 | 9.801 | 11.88 |  | 480 | 237.6 |  |  |  | 21.78 | 23.958 | 1.1979 | 26.136
F2 | 1 | 2.2 | 3.3 | 0.45 | 3.267 | 4.95 |  | 161.7 | 80.85 |  |  |  | 7.26 | 7.986 | 0.3993 | 8.712
F3 | 4 | 1.8 | 3.3 | 0.45 | 10.692 | 18.36 |  | 536.4 | 268.2 |  |  |  | 23.76 | 26.136 | 1.3068 | 28.512
F4 | 7 | 1.6 | 2.5 | 0.375 | 10.5 | 21.525 |  |  | 861.42 |  |  |  | 28 | 30.8 | 1.54 | 33.6
F5 | 3 | 1.6 | 1.6 | 0.375 | 2.88 | 7.2 |  |  | 91.2 |  |  |  | 7.68 | 8.448 | 0.4224 | 9.216
F6 | 2 | 1.1 | 1.7 | 0.375 | 1.4025 | 4.2 |  |  | 46.9 |  |  |  | 3.74 | 4.114 | 0.2057 | 4.488
[14 empty] | 0 | 0
TB1 | 1 | 17.118 | 0.575 | 0.45 | 4.4293 | 15.4062 | [6 empty] | 9.8429 | 10.8271 | 0.54136 | 6.89
TB2 | 1 | 100.3 | 0.25 | 0.375 | 9.4031 | 75.225 | [6 empty] | 25.075 | 27.5825 | 1.3791 | 17.5525
COLUMNS
Below Ground
C1 | 3 | 0.45 | 0.4 | 0.7 | 0.378 | 3.57
C2 | 5 | 0.45 | 0.25 | 0.7 | 0.39375 | 4.9
C3 | 5 | 0.35 | 0.25 | 0.7 | 0.30625 | 4.2
C4 | 4 | 0.3 | 0.25 | 0.7 | 0.21 | 3.08
C5 | 1 | 0.9 | 0.25 | 0.7 | 0.1575 | 1.61
C6 | 1 | 0.8 | 0.2 | 0.7 | 0.112 | 1.4
Ground-1st Floor
C1 | 3 | 0.45 | 0.4 | 3.035 | 1.6389 | 15.4785
C2 | 5 | 0.45 | 0.25 | 3.035 | 1.7072 | 21.245
C3 | 5 | 0.35 | 0.25 | 3.035 | 1.3278 | 18.21
C4 | 4 | 0.3 | 0.25 | 3.035 | 0.9105 | 13.354
C5 | 1 | 0.9 | 0.25 | 3.035 | 0.68288 | 6.9805
C6 | 1 | 0.8 | 0.2 | 3.035 | 0.4856 | 6.07
1st - 2nd Floor
C1 | 3 | 0.45 | 0.4 | 3.035 | 1.6389 | 15.4785
C2 | 5 | 0.45 | 0.25 | 3.035 | 1.7072 | 21.245
C3 | 5 | 0.35 | 0.25 | 3.035 | 1.3278 | 18.21
C4 | 4 | 0.3 | 0.25 | 3.035 | 0.9105 | 13.354
C5 | 1 | 0.9 | 0.25 | 3.035 | 0.68288 | 6.9805
C6 | 1 | 0.8 | 0.2 | 3.035 | 0.4856 | 6.07
2nd - Terrace | [10 empty] | 13.999
C1 | 3 | 0.45 | 0.4 | 2.525 | 1.3635 | 12.8775 |  |  |  |  | 10.138 | 20.276
C2 | 5 | 0.45 | 0.25 | 2.525 | 1.4203 | 17.675 |  |  |  |  | 21.706
C3 | 5 | 0.35 | 0.25 | 2.525 | 1.1047 | 15.15 |  |  |  |  | 19.588
C4 | 4 | 0.3 | 0.25 | 2.525 | 0.7575 | 11.11 |  |  |  |  | 42.593
C5 | 1 | 0.9 | 0.25 | 2.525 | 0.56812 | 5.8075 |  |  |  |  | 7.589
C6 | 1 | 0.8 | 0.2 | 2.525 | 0.404 | 5.05
Terrace- Roof
C1 | 0 | 0.45 | 0.4 | 2.525 | 0 | 0
C2 | 4 | 0.45 | 0.25 | 2.525 | 1.1362 | 14.14
C3 | 4 | 0.35 | 0.25 | 2.525 | 0.88375 | 12.12
C4 | 2 | 0.3 | 0.25 | 2.525 | 0.37875 | 5.555
C5 | 1 | 0.9 | 0.25 | 2.525 | 1.7044 | 17.4225
C6 | 1 | 0.8 | 0.2 | 2.525 | 0.404 | 5.05
B5 | 2 | 0.9 | 0.25 | 2.525 | 1.1362 | 11.615 | [5 empty] | 0
C7 | 1 | 0.2 | 0.2 | 2.525 | 0.101 | 2.02
BEAMS
1st & 2nd
B1 | 1 | 13.99 | 0.35 | 0.51 | 2.4972 | 19.1663
B2 | 1 | 20.3 | 0.275 | 0.435 | 2.4284 | 23.2435
B3 | 1 | 21.706 | 0.225 | 0.41 | 2.0024 | 22.6828
B4 | 1 | 19.59 | 0.2 | 0.335 | 1.3125 | 17.0433
B5 | 1 | 42.59 | 0.2 | 0.335 | 2.8535 | 37.0533
B6 | 1 | 7.6 | 0.2 | 0.335 | 0.5092 | 6.612
CB1 | 1 | 0.645 | 0.2 | 0.335 | 0.043215 | 0.56115
Terrace Floor
B1 | 1 | 13.99 | 0.35 | 0.51 | 2.4972 | 19.1663
B2 | 1 | 20.3 | 0.275 | 0.435 | 2.4284 | 23.2435
B3 | 1 | 21.706 | 0.225 | 0.41 | 2.0024 | 22.6828
B4 | 1 | 19.59 | 0.2 | 0.335 | 1.3125 | 17.0433
B5 | 1 | 42.59 | 0.2 | 0.335 | 2.8535 | 37.0533
B6 | 1 | 16.187 | 0.2 | 0.335 | 1.0845 | 14.0827
CB1 | 1 | 3.748 | 0.2 | 0.335 | 0.25112 | 3.2608
Roof Beam
B9 | 1 | 58.109 | 0.2 | 0.475 | 5.5204 | 66.8254
CB1 | 1 | 2.25 | 0.2 | 0.475 | 0.21375 | 2.5875

## Storage (hidden)
|  | Length | Width | Height | Conc | Formwork | 20mm | 16mm | 12mm | 10mm | 6mm
FOUNDATION
FB1 | 1 | 37.197 | 0.3 | 0.25 | 2.7898 | 18.5985
COLUMNS
Below Ground
C1 | 10 | 0.2 | 0.2 | 0.45 | 0.18 | 3.6
Ground-1st Floor
C1 | 10 | 0.2 | 0.2 | 3.15 | 1.26 | 25.2
BEAMS
Roof Beam
RB | 1 | 37.197 | 0.2 | 0.35 | 2.6038 | 33.4773