## BOQ
SL.NO | DESCRIPTION | QTY | UNIT | MATERIAL RATE | LABOUR RATE | AMOUNT
Bill No: 01
PRELIMINARIES
1.1 | General Notes
1 | Abbreviations
m - meter
No - numbers
m3 - cubic meter
m2 - square meter
Lm - Linear meter
t - tonnes
incl - including
mm - millimeter
dia - diameter
SS - Stainless Steel
GI - Galvanised Iron
1.2 | Site Management Costs
1 | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone,fax,hoardings and similar. | 1 | item |  |  | 0
1.3 | Sign Board
1 | Allow for sign board | 1 | no |  |  | 0
1.4 | Clean - up
1 | Allow for clean - up of completed works and site upon completion. | 1 | item |  |  | 0
1.5 | INSPECTION TRIPS
1 | Arrange inspection trip to consultant, each inspection trip takes 2 days, speed boat should be Touring 36 or equivalent speed boat | 15 | No |  |  | 0
TOTAL OF BILL NO. 01 (PRELIMINARIES) | [5 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 02
GROUND WORKS
2.1 | GENERAL
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and disposing surplus soil.
2.2 | SITE CLEARING
1 | Clear the area of site from rubbish and vegetable matters, stumps, roots. Demolition shall be included (if any) | 491.8 | m² |  |  | 0
2 | Demolisionof existing single storey structure | 1 | nos |  |  | 0
2.3 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork, back fill, dewatering and others
1 | Excavation for footings and Foundation beams | 639.34 | m³ |  |  | 0
2.4 | BACK FILLING
(a) Rates shall include for: levelling, grading, trimming, compacting and similar.
(b) Ground need to be compacted to the required density by the consultant.
1 | Earth Filling as per drawings | 540.98 | m3 |  |  | 0
2 | 50 mm thick sand blinding layer to receive damp proof membrane | 491.8 | m² |  |  | 0
2.5 | DAMP PROOF MEMBRANE
(a) Rates shall include for: dressing around and sealing to all penetrations, laps and turnups
1 | Polythene damp proof membrane (500 gauge) laid on blinding layer under raft and ground floor slab | 491.8 | m² |  |  | 0
2.6 | DEWATERING
| This item shall include for all the piping, pumps, etc. Water needs to be pumped to an assigned area as per local regulation. | 1 | Item |  |  | 0
TOTAL OF BILL NO. 02 (GROUND WORKS) | [5 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 03
CONCRETE WORKS
General
a) Rate shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
b) Mix ratio for reinforced concrete shall be 1:2:3
3.0.1 | Allow for concrete testing | 1 | item |  |  | 0
3.1 | Lean Concrete
1 | 50mm thick lean concrete under the footing with a mix of 1:2:6 | 491.8 | m² |  |  | 0
3.2 | Reinforced Concrete
In-situ reinforced concrete to:
*Add water proofing compound / admixture to concrete mix for walls GL and Roof Slabs
3.2.1 | Foundation
1 | Raft Foundation Slab | 393.44 | m³ |  |  | 0
2 | Foundation Beam | 117.87 | m³ |  |  | 0
3 | Columns C1, 200 X 450 mm upto GFFL | 1.3 | m³ |  |  | 0
4 | Columns C2, 200 X 450 mm upto GFFL | 0.32 | m³ |  |  | 0
5 | Columns C3, 300 X 450 mm upto GFFL | 1.46 | m³ |  |  | 0
6 | Columns C4, 200 X 450 mm upto GFFL | 0.72 | m³ |  |  | 0
7 | Staircase upto Ground Floor Level | 0.38 | m³ |  |  | 0
8 | Lift walls 150 mm & 200 mm thick upto Ground Floor Level as per the drawings | 2.88 | m³ |  |  | 0
3.2.2 | Ground Floor
1 | RCC Ground Slab 100 mm thick, (Rate shall include for reinforcement and shuttering required as per the drawings) | 49.18 | m³ |  |  | 0
2 | Columns C1, 200 X 450 mm | 3.24 | m³ |  |  | 0
3 | Columns C2, 200 X 450 mm | 0.81 | m³ |  |  | 0
4 | Columns C3, 300 X 450 mm | 3.65 | m³ |  |  | 0
5 | Columns C4, 200 X 450 mm | 1.8 | m³ |  |  | 0
6 | RC Stair waist slab,steps incl. landings | 2.85 | m³ |  |  | 0
7 | Lift walls 150 mm & 200 mm thick upto First Floor Level as per the drawings | 7.2 | m³ |  |  | 0
3.2.3 | First Floor
1 | Attached beams B1, 500 X 200 mm | 1.82 | m³ |  |  | 0
2 | Attached beams B2, 500 X 200 mm | 4.64 | m³ |  |  | 0
3 | Attached beams B3, 500 X 200 mm | 4.46 | m³ |  |  | 0
4 | Attached beams B4, 600 X 200 mm | 2.53 | m³ |  |  | 0
5 | Attached beams B5, 500 X 200 mm | 3.95 | m³ |  |  | 0
6 | Attached beams B6, 500 X 200 mm | 0.51 | m³ |  |  | 0
7 | Attached beams B8, 600 X 200 mm | 1.56 | m³ |  |  | 0
8 | Attached beams B9, 600 X 200 mm | 0.78 | m³ |  |  | 0
9 | Attached beams CB, 600 X 200 mm | 0.19 | m³ |  |  | 0
10 | Suspended slab, 130 mm thick | 103.28 | m³ |  |  | 0
11 | Columns C1, 200 X 450 mm | 3.24 | m³ |  |  | 0
12 | Columns C2, 200 X 450 mm | 0.81 | m³ |  |  | 0
13 | Columns C3, 300 X 450 mm | 3.65 | m³ |  |  | 0
14 | Columns C4, 200 X 450 mm | 1.8 | m³ |  |  | 0
15 | RC Stair waist slab,steps incl. landings | 2.85 | m³ |  |  | 0
16 | Lift walls 150 mm & 200 mm thick upto First Floor Level as per the drawings | 7.2 | m³ |  |  | 0
3.2.4 | Second Floor
1 | Attached beams B1, 500 X 200 mm | 1.82 | m³ |  |  | 0
2 | Attached beams B2, 500 X 200 mm | 4.64 | m³ |  |  | 0
3 | Attached beams B3, 500 X 200 mm | 4.46 | m³ |  |  | 0
4 | Attached beams B4, 600 X 200 mm | 2.53 | m³ |  |  | 0
5 | Attached beams B5, 500 X 200 mm | 3.95 | m³ |  |  | 0
6 | Attached beams B6, 500 X 200 mm | 0.51 | m³ |  |  | 0
7 | Attached beams B8, 600 X 200 mm | 1.56 | m³ |  |  | 0
8 | Attached beams B9, 600 X 200 mm | 0.78 | m³ |  |  | 0
9 | Attached beams CB, 600 X 200 mm | 0.19 | m³ |  |  | 0
10 | Suspended slab, 130 mm thick | 103.28 | m³ |  |  | 0
11 | Columns C1, 200 X 450 mm | 3.24 | m³ |  |  | 0
12 | Columns C2, 200 X 450 mm | 0.81 | m³ |  |  | 0
13 | Columns C3, 300 X 450 mm | 3.65 | m³ |  |  | 0
14 | Columns C4, 200 X 450 mm | 1.8 | m³ |  |  | 0
15 | RC Stair waist slab,steps incl. landings | 2.85 | m³ |  |  | 0
16 | Lift walls 150 mm & 200 mm thick upto First Floor Level as per the drawings | 7.2 | m³ |  |  | 0
3.2.5 | Third Floor
1 | Attached beams B1, 500 X 200 mm | 1.82 | m³ |  |  | 0
2 | Attached beams B2, 500 X 200 mm | 4.64 | m³ |  |  | 0
3 | Attached beams B3, 500 X 200 mm | 4.46 | m³ |  |  | 0
4 | Attached beams B4, 600 X 200 mm | 2.53 | m³ |  |  | 0
5 | Attached beams B5, 500 X 200 mm | 3.95 | m³ |  |  | 0
6 | Attached beams B6, 500 X 200 mm | 0.51 | m³ |  |  | 0
7 | Attached beams B8, 600 X 200 mm | 1.56 | m³ |  |  | 0
8 | Attached beams B9, 600 X 200 mm | 0.78 | m³ |  |  | 0
9 | Attached beams CB, 600 X 200 mm | 0.19 | m³ |  |  | 0
10 | Suspended slab, 130 mm thick | 103.28 | m³ |  |  | 0
11 | Columns C1, 200 X 450 mm | 3.24 | m³ |  |  | 0
12 | Columns C2, 200 X 450 mm | 0.81 | m³ |  |  | 0
13 | Columns C3, 300 X 450 mm | 3.65 | m³ |  |  | 0
14 | Columns C4, 200 X 450 mm | 1.8 | m³ |  |  | 0
15 | RC Stair waist slab,steps incl. landings | 2.85 | m³ |  |  | 0
16 | Lift walls 150 mm & 200 mm thick upto First Floor Level as per the drawings | 7.2 | m³ |  |  | 0
3.2.6 | Fourth Floor
1 | Attached beams B1, 500 X 200 mm | 1.82 | m³ |  |  | 0
2 | Attached beams B2, 500 X 200 mm | 4.64 | m³ |  |  | 0
3 | Attached beams B3, 500 X 200 mm | 4.46 | m³ |  |  | 0
4 | Attached beams B4, 600 X 200 mm | 2.53 | m³ |  |  | 0
5 | Attached beams B5, 500 X 200 mm | 3.95 | m³ |  |  | 0
6 | Attached beams B6, 500 X 200 mm | 0.51 | m³ |  |  | 0
7 | Attached beams B8, 600 X 200 mm | 1.56 | m³ |  |  | 0
8 | Attached beams B9, 600 X 200 mm | 0.78 | m³ |  |  | 0
9 | Attached beams CB, 600 X 200 mm | 0.19 | m³ |  |  | 0
10 | Suspended slab, 130 mm thick | 103.28 | m³ |  |  | 0
11 | Columns C1, 200 X 450 mm | 3.24 | m³ |  |  | 0
12 | Columns C2, 200 X 450 mm | 0.81 | m³ |  |  | 0
13 | Columns C3, 300 X 450 mm | 3.65 | m³ |  |  | 0
14 | Columns C4, 200 X 450 mm | 1.8 | m³ |  |  | 0
15 | RC Stair waist slab,steps incl. landings | 2.85 | m³ |  |  | 0
16 | Lift walls 150 mm & 200 mm thick upto First Floor Level as per the drawings | 7.2 | m³ |  |  | 0
3.2.7 | Fifth Floor
1 | Attached beams B1, 500 X 200 mm | 1.82 | m³ |  |  | 0
2 | Attached beams B2, 500 X 200 mm | 4.64 | m³ |  |  | 0
3 | Attached beams B3, 500 X 200 mm | 4.46 | m³ |  |  | 0
4 | Attached beams B4, 600 X 200 mm | 2.53 | m³ |  |  | 0
5 | Attached beams B5, 500 X 200 mm | 3.95 | m³ |  |  | 0
6 | Attached beams B6, 500 X 200 mm | 0.51 | m³ |  |  | 0
7 | Attached beams B8, 600 X 200 mm | 1.56 | m³ |  |  | 0
8 | Attached beams B9, 600 X 200 mm | 0.78 | m³ |  |  | 0
9 | Attached beams CB, 600 X 200 mm | 0.19 | m³ |  |  | 0
10 | Suspended slab, 130 mm thick | 103.28 | m³ |  |  | 0
11 | Columns C1, 200 X 450 mm | 3.24 | m³ |  |  | 0
12 | Columns C2, 200 X 450 mm | 0.81 | m³ |  |  | 0
13 | Columns C3, 300 X 450 mm | 3.65 | m³ |  |  | 0
14 | Columns C4, 200 X 450 mm | 1.8 | m³ |  |  | 0
15 | RC Stair waist slab,steps incl. landings | 2.85 | m³ |  |  | 0
16 | Lift walls 150 mm & 200 mm thick upto First Floor Level as per the drawings | 7.2 | m³ |  |  | 0
3.2.8 | Roof Level
1 | Attached beams B1, 500 X 200 mm | 1.82 | m³ |  |  | 0
2 | Attached beams B2, 500 X 200 mm | 4.64 | m³ |  |  | 0
3 | Attached beams B3, 500 X 200 mm | 4.46 | m³ |  |  | 0
4 | Attached beams B4, 600 X 200 mm | 2.53 | m³ |  |  | 0
5 | Attached beams B5, 500 X 200 mm | 3.95 | m³ |  |  | 0
6 | Attached beams B6, 500 X 200 mm | 0.51 | m³ |  |  | 0
7 | Attached beams B8, 600 X 200 mm | 1.56 | m³ |  |  | 0
8 | Attached beams B9, 600 X 200 mm | 0.78 | m³ |  |  | 0
9 | Attached beams CB, 600 X 200 mm | 0.19 | m³ |  |  | 0
10 | Columns C1, 200 X 450 mm | 1.3 | m³ |  |  | 0
11 | Columns C2, 200 X 450 mm | 0.3 | m³ |  |  | 0
12 | Columns C3, 300 X 450 mm | 1.46 | m³ |  |  | 0
13 | Columns C4, 200 X 450 mm | 0.66 | m³ |  |  | 0
14 | Lift walls 150 mm & 200 mm thick upto First Floor Level as per the drawings | 7.2 | m³ |  |  | 0
3.3 | Formwork
a) Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes, removal of formwork and normal practices used.
3.3.1 | Foundation
1 | Foundation Beam | 471.49 | m² |  |  | 0
2 | Columns C1, 200 X 450 mm upto GFFL | 18.72 | m² |  |  | 0
3 | Columns C2, 200 X 450 mm upto GFFL | 4.68 | m² |  |  | 0
4 | Columns C3, 300 X 450 mm upto GFFL | 16.2 | m² |  |  | 0
5 | Columns C4, 200 X 450 mm upto GFFL | 7.68 | m² |  |  | 0
6 | Staircase upto Ground Floor Level | 12 | m² |  |  | 0
7 | Lift walls 150 mm & 200 mm thick upto Ground Floor Level as per the drawings | 36 | m2 |  |  | 0
3.3.2 | Ground Floor
1 | RCC Ground Slab 100 mm thick, (Rate shall include for reinforcement and shuttering required as per the drawings) | 25 | m² |  |  | 0
2 | Columns C1, 200 X 450 mm | 18.72 | m² |  |  | 0
3 | Columns C2, 200 X 450 | 4.68 | m² |  |  | 0
4 | Columns C3, 300 X 450 mm | 16.2 | m² |  |  | 0
5 | Columns C4, 200 X 450 mm | 7.68 | m² |  |  | 0
6 | Staircase upto Ground Floor Level | 12 | m² |  |  | 0
7 | Lift walls 150 mm & 200 mm thick upto Ground Floor Level as per the drawings | 36 | m2 |  |  | 0
3.3.3 | First Floor
1 | Attached beams B1, 500 X 200 mm | 21.8 | m² |  |  | 0
2 | Attached beams B2, 500 X 200 mm | 1076.94 | m² |  |  | 0
3 | Attached beams B3, 500 X 200 mm | 995.47 | m² |  |  | 0
4 | Attached beams B4, 600 X 200 mm | 267.13 | m² |  |  | 0
5 | Attached beams B5, 500 X 200 mm | 780.13 | m² |  |  | 0
6 | Attached beams B6, 500 X 200 mm | 13.01 | m² |  |  | 0
7 | Attached beams B8, 600 X 200 mm | 101.4 | m² |  |  | 0
8 | Attached beams B9, 600 X 200 mm | 25.35 | m² |  |  | 0
9 | Attached beams CB, 600 X 200 mm | 1.54 | m² |  |  | 0
10 | Suspended slab, 130 mm thick | 491.8 | m² |  |  | 0
11 | Columns C1, 200 X 450 mm | 46.8 | m² |  |  | 0
12 | Columns C2, 200 X 450 mm | 11.7 | m² |  |  | 0
13 | Columns C3, 300 X 450 mm | 40.5 | m² |  |  | 0
14 | Columns C4, 200 X 450 mm | 19.2 | m² |  |  | 0
15 | RC Stair waist slab,steps incl. landings | 12 | m² |  |  | 0
16 | Lift walls 150 mm & 200 mm thick upto First Floor Level as per the drawings | 36 | m² |  |  | 0
3.3.4 | Second Floor
1 | Attached beams B1, 500 X 200 mm | 21.8 | m² |  |  | 0
2 | Attached beams B2, 500 X 200 mm | 1076.94 | m² |  |  | 0
3 | Attached beams B3, 500 X 200 mm | 995.47 | m² |  |  | 0
4 | Attached beams B4, 600 X 200 mm | 267.13 | m² |  |  | 0
5 | Attached beams B5, 500 X 200 mm | 780.13 | m² |  |  | 0
6 | Attached beams B6, 500 X 200 mm | 13.01 | m² |  |  | 0
7 | Attached beams B8, 600 X 200 mm | 101.4 | m² |  |  | 0
8 | Attached beams B9, 600 X 200 mm | 25.35 | m² |  |  | 0
9 | Attached beams CB, 600 X 200 mm | 1.54 | m² |  |  | 0
10 | Suspended slab, 130 mm thick | 491.8 | m² |  |  | 0
11 | Columns C1, 200 X 450 mm | 46.8 | m² |  |  | 0
12 | Columns C2, 200 X 450 mm | 11.7 | m² |  |  | 0
13 | Columns C3, 300 X 450 mm | 40.5 | m² |  |  | 0
14 | Columns C4, 200 X 450 mm | 19.2 | m² |  |  | 0
15 | RC Stair waist slab,steps incl. landings | 12 | m² |  |  | 0
16 | Lift walls 150 mm & 200 mm thick upto First Floor Level as per the drawings | 36 | m² |  |  | 0
3.3.5 | Third Floor
1 | Attached beams B1, 500 X 200 mm | 21.8 | m² |  |  | 0
2 | Attached beams B2, 500 X 200 mm | 1076.94 | m² |  |  | 0
3 | Attached beams B3, 500 X 200 mm | 995.47 | m² |  |  | 0
4 | Attached beams B4, 600 X 200 mm | 267.13 | m² |  |  | 0
5 | Attached beams B5, 500 X 200 mm | 780.13 | m² |  |  | 0
6 | Attached beams B6, 500 X 200 mm | 13.01 | m² |  |  | 0
7 | Attached beams B8, 600 X 200 mm | 101.4 | m² |  |  | 0
8 | Attached beams B9, 600 X 200 mm | 25.35 | m² |  |  | 0
9 | Attached beams CB, 600 X 200 mm | 1.54 | m² |  |  | 0
10 | Suspended slab, 130 mm thick | 491.8 | m² |  |  | 0
11 | Columns C1, 200 X 450 mm | 46.8 | m² |  |  | 0
12 | Columns C2, 200 X 450 mm | 11.7 | m² |  |  | 0
13 | Columns C3, 300 X 450 mm | 40.5 | m² |  |  | 0
14 | Columns C4, 200 X 450 mm | 19.2 | m² |  |  | 0
15 | RC Stair waist slab,steps incl. landings | 12 | m² |  |  | 0
16 | Lift walls 150 mm & 200 mm thick upto First Floor Level as per the drawings | 36 | m² |  |  | 0
3.3.6 | Fourth Floor
1 | Attached beams B1, 500 X 200 mm | 21.8 | m² |  |  | 0
2 | Attached beams B2, 500 X 200 mm | 1076.94 | m² |  |  | 0
3 | Attached beams B3, 500 X 200 mm | 995.47 | m² |  |  | 0
4 | Attached beams B4, 600 X 200 mm | 267.13 | m² |  |  | 0
5 | Attached beams B5, 500 X 200 mm | 780.13 | m² |  |  | 0
6 | Attached beams B6, 500 X 200 mm | 13.01 | m² |  |  | 0
7 | Attached beams B8, 600 X 200 mm | 101.4 | m² |  |  | 0
8 | Attached beams B9, 600 X 200 mm | 25.35 | m² |  |  | 0
9 | Attached beams CB, 600 X 200 mm | 1.54 | m² |  |  | 0
10 | Suspended slab, 130 mm thick | 491.8 | m² |  |  | 0
11 | Columns C1, 200 X 450 mm | 46.8 | m² |  |  | 0
12 | Columns C2, 200 X 450 mm | 11.7 | m² |  |  | 0
13 | Columns C3, 300 X 450 mm | 40.5 | m² |  |  | 0
14 | Columns C4, 200 X 450 mm | 19.2 | m² |  |  | 0
15 | RC Stair waist slab,steps incl. landings | 12 | m² |  |  | 0
16 | Lift walls 150 mm & 200 mm thick upto First Floor Level as per the drawings | 36 | m² |  |  | 0
3.3.7 | Fifth Floor
1 | Attached beams B1, 500 X 200 mm | 21.8 | m² |  |  | 0
2 | Attached beams B2, 500 X 200 mm | 1076.94 | m² |  |  | 0
3 | Attached beams B3, 500 X 200 mm | 995.47 | m² |  |  | 0
4 | Attached beams B4, 600 X 200 mm | 267.13 | m² |  |  | 0
5 | Attached beams B5, 500 X 200 mm | 780.13 | m² |  |  | 0
6 | Attached beams B6, 500 X 200 mm | 13.01 | m² |  |  | 0
7 | Attached beams B8, 600 X 200 mm | 101.4 | m² |  |  | 0
8 | Attached beams B9, 600 X 200 mm | 25.35 | m² |  |  | 0
9 | Attached beams CB, 600 X 200 mm | 1.54 | m² |  |  | 0
10 | Suspended slab, 130 mm thick | 491.8 | m² |  |  | 0
11 | Columns C1, 200 X 450 mm | 46.8 | m² |  |  | 0
12 | Columns C2, 200 X 450 mm | 11.7 | m² |  |  | 0
13 | Columns C3, 300 X 450 mm | 40.5 | m² |  |  | 0
14 | Columns C4, 200 X 450 mm | 19.2 | m² |  |  | 0
15 | RC Stair waist slab,steps incl. landings | 12 | m² |  |  | 0
16 | Lift walls 150 mm & 200 mm thick upto First Floor Level as per the drawings | 36 | m² |  |  | 0
3.3.8 | Roof Level
1 | Attached beams B1, 500 X 200 mm | 21.8 | m² |  |  | 0
2 | Attached beams B2, 500 X 200 mm | 1076.94 | m² |  |  | 0
3 | Attached beams B3, 500 X 200 mm | 995.47 | m² |  |  | 0
4 | Attached beams B4, 600 X 200 mm | 267.13 | m² |  |  | 0
5 | Attached beams B5, 500 X 200 mm | 780.13 | m² |  |  | 0
6 | Attached beams B6, 500 X 200 mm | 13.01 | m² |  |  | 0
7 | Attached beams B8, 600 X 200 mm | 101.4 | m² |  |  | 0
8 | Attached beams B9, 600 X 200 mm | 25.35 | m² |  |  | 0
9 | Attached beams CB, 600 X 200 mm | 1.54 | m² |  |  | 0
10 | Columns C1, 200 X 450 mm | 18.72 | m² |  |  | 0
11 | Columns C2, 200 X 450 mm | 4.29 | m² |  |  | 0
12 | Columns C3, 300 X 450 mm | 16.2 | m² |  |  | 0
13 | Columns C4, 200 X 450 mm | 7.04 | m² |  |  | 0
14 | RC Stair waist slab,steps incl. landings | 12 | m² |  |  | 0
15 | Lift walls 150 mm & 200 mm thick upto First Floor Level as per the drawings | 36 | m² |  |  | 0
3.4 | Reinforcement
a) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and chair supports, laps, and wastages.
3.4.1 | Foundation
1 | Raft Foundation Slab
| 20 mm dia bars | 53448.82 | kg |  |  | 0
2 | Foundation Beam
| 25 mm dia bars | 7563.52 | kg |  |  | 0
| 20 mm dia bars | 4852.44 | kg |  |  | 0
| 10 mm dia bars | 13600.07 | kg |  |  | 0
3 | Columns C1, 200 X 450 mm upto GFFL
| 20 mm dia bars | 23.71 | kg |  |  | 0
| 6 mm dia bars | 6.93 | kg |  |  | 0
4 | Columns C2, 200 X 450 mm upto GFFL
| 25 mm dia bars | 36.96 | kg |  |  | 0
| 6 mm dia bars | 6.93 | kg |  |  | 0
5 | Columns C3, 300 X 450 mm upto GFFL
| 25 mm dia bars | 55.44 | kg |  |  | 0
| 6 mm dia bars | 7.99 | kg |  |  | 0
6 | Columns C4, 200 X 450 mm upto GFFL
| 25 mm dia bars | 73.92 | kg |  |  | 0
| 6 mm dia bars | 11.37 | kg |  |  | 0
7 | Staircase upto Ground Floor Level
| 12 mm dia bars | 560 | kg |  |  | 0
8 | Lift walls 150 mm & 200 mm thick upto Ground Floor Level as per the drawings
| 12 mm dia bars | 150.96 | kg |  |  | 0
3.4.2 | Ground Floor
1 | RCC Ground Slab 100 mm thick, (Rate shall include for reinforcement and shuttering required as per the drawings)
| 12 mm dia bars | 1674.09 | kg |  |  | 0
2 | Columns C1, 200 X 450 mm
| 20 mm dia bars | 23.71 | kg |  |  | 0
| 6 mm dia bars | 6.93 | kg |  |  | 0
3 | Columns C2, 200 X 450 mm
| 25 mm dia bars | 36.96 | kg |  |  | 0
| 6 mm dia bars | 6.93 | kg |  |  | 0
4 | Columns C3, 300 X 450 mm
| 25 mm dia bars | 55.44 | kg |  |  | 0
| 6 mm dia bars | 7.99 | kg |  |  | 0
5 | Columns C4, 200 X 450 mm
| 25 mm dia bars | 73.92 | kg |  |  | 0
| 6 mm dia bars | 11.37 | kg |  |  | 0
6 | RC Stair waist slab,steps incl. landings
| 12 mm dia bars | 560 | kg |  |  | 0
7 | Lift walls 150 mm & 200 mm thick upto First Floor Level as per the drawings
| 12 mm dia bars | 411.44 | kg |  |  | 0
3.4.3 | First Floor
1 | Attached beams B1, 500 X 200 mm
| 16 mm dia bars | 114.83 | kg |  |  | 0
| 12 mm dia bars | 64.54 | kg |  |  | 0
| 6 mm dia bars | 115.1 | kg |  |  | 0
2 | Attached beams B2, 500 X 200 mm
| 16 mm dia bars | 439.97 | kg |  |  | 0
| 6 mm dia bars | 514.47 | kg |  |  | 0
3 | Attached beams B3, 500 X 200 mm
| 25 mm dia bars | 687.15 | kg |  |  | 0
| 20 mm dia bars | 440.85 | kg |  |  | 0
| 6 mm dia bars | 565.29 | kg |  |  | 0
4 | Attached beams B4, 600 X 200 mm
| 25 mm dia bars | 487.41 | kg |  |  | 0
| 6 mm dia bars | 305.51 | kg |  |  | 0
5 | Attached beams B5, 500 X 200 mm
| 25 mm dia bars | 585.39 | kg |  |  | 0
| 6 mm dia bars | 500.43 | kg |  |  | 0
6 | Attached beams B6, 500 X 200 mm
| 20 mm dia bars | 50.39 | kg |  |  | 0
| 16 mm dia bars | 32.23 | kg |  |  | 0
| 6 mm dia bars | 64.61 | kg |  |  | 0
7 | Attached beams B8, 600 X 200 mm
| 25 mm dia bars | 192.66 | kg |  |  | 0
| 6 mm dia bars | 188.23 | kg |  |  | 0
8 | Attached beams B9, 600 X 200 mm
| 25 mm dia bars | 100.1 | kg |  |  | 0
| 20 mm dia bars | 64.22 | kg |  |  | 0
| 6 mm dia bars | 129.41 | kg |  |  | 0
9 | Attached beams CB, 600 X 200 mm
| 25 mm dia bars | 24.64 | kg |  |  | 0
| 20 mm dia bars | 15.81 | kg |  |  | 0
| 6 mm dia bars | 31.85 | kg |  |  | 0
10 | Suspended slab, 130 mm thick
| 12 mm dia bars | 17294.05 | kg |  |  | 0
11 | Columns C1, 200 X 450 mm
| 20 mm dia bars | 23.71 | kg |  |  | 0
| 6 mm dia bars | 6.93 | kg |  |  | 0
12 | Columns C2, 200 X 450 mm
| 25 mm dia bars | 36.96 | kg |  |  | 0
| 6 mm dia bars | 6.93 | kg |  |  | 0
13 | Columns C3, 300 X 450 mm
| 25 mm dia bars | 55.44 | kg |  |  | 0
| 6 mm dia bars | 7.99 | kg |  |  | 0
14 | Columns C4, 200 X 450 mm
| 25 mm dia bars | 73.92 | kg |  |  | 0
| 6 mm dia bars | 11.37 | kg |  |  | 0
15 | RC Stair waist slab,steps incl. landings
| 12 mm dia bars | 560 | kg |  |  | 0
16 | Lift walls 150 mm & 200 mm thick upto First Floor Level as per the drawings
| 12 mm dia bars | 411.44 | kg |  |  | 0
3.4.4 | Second Floor
1 | Attached beams B1, 500 X 200 mm
| 16 mm dia bars | 114.83 | kg |  |  | 0
| 12 mm dia bars | 64.54 | kg |  |  | 0
| 6 mm dia bars | 115.1 | kg |  |  | 0
2 | Attached beams B2, 500 X 200 mm
| 16 mm dia bars | 439.97 | kg |  |  | 0
| 6 mm dia bars | 514.47 | kg |  |  | 0
3 | Attached beams B3, 500 X 200 mm
| 25 mm dia bars | 687.15 | kg |  |  | 0
| 20 mm dia bars | 440.85 | kg |  |  | 0
| 6 mm dia bars | 565.29 | kg |  |  | 0
4 | Attached beams B4, 600 X 200 mm
| 25 mm dia bars | 487.41 | kg |  |  | 0
| 6 mm dia bars | 305.51 | kg |  |  | 0
5 | Attached beams B5, 500 X 200 mm
| 25 mm dia bars | 585.39 | kg |  |  | 0
| 6 mm dia bars | 500.43 | kg |  |  | 0
6 | Attached beams B6, 500 X 200 mm
| 20 mm dia bars | 50.39 | kg |  |  | 0
| 16 mm dia bars | 32.23 | kg |  |  | 0
| 6 mm dia bars | 64.61 | kg |  |  | 0
7 | Attached beams B8, 600 X 200 mm
| 25 mm dia bars | 192.66 | kg |  |  | 0
| 6 mm dia bars | 188.23 | kg |  |  | 0
8 | Attached beams B9, 600 X 200 mm
| 25 mm dia bars | 100.1 | kg |  |  | 0
| 20 mm dia bars | 64.22 | kg |  |  | 0
| 6 mm dia bars | 129.41 | kg |  |  | 0
9 | Attached beams CB, 600 X 200 mm
| 25 mm dia bars | 24.64 | kg |  |  | 0
| 20 mm dia bars | 15.81 | kg |  |  | 0
| 6 mm dia bars | 31.85 | kg |  |  | 0
10 | Suspended slab, 130 mm thick
| 12 mm dia bars | 17294.05 | kg |  |  | 0
11 | Columns C1, 200 X 450 mm
| 20 mm dia bars | 23.71 | kg |  |  | 0
| 6 mm dia bars | 6.93 | kg |  |  | 0
12 | Columns C2, 200 X 450 mm
| 25 mm dia bars | 36.96 | kg |  |  | 0
| 6 mm dia bars | 6.93 | kg |  |  | 0
13 | Columns C3, 300 X 450 mm
| 25 mm dia bars | 55.44 | kg |  |  | 0
| 6 mm dia bars | 7.99 | kg |  |  | 0
14 | Columns C4, 200 X 450 mm
| 25 mm dia bars | 73.92 | kg |  |  | 0
| 6 mm dia bars | 11.37 | kg |  |  | 0
15 | RC Stair waist slab,steps incl. landings
| 12 mm dia bars | 560 | kg |  |  | 0
16 | Lift walls 150 mm & 200 mm thick upto First Floor Level as per the drawings
| 12 mm dia bars | 411.44 | kg |  |  | 0
3.4.5 | Third Floor
1 | Attached beams B1, 500 X 200 mm
| 16 mm dia bars | 114.83 | kg |  |  | 0
| 12 mm dia bars | 64.54 | kg |  |  | 0
| 6 mm dia bars | 115.1 | kg |  |  | 0
2 | Attached beams B2, 500 X 200 mm
| 16 mm dia bars | 439.97 | kg |  |  | 0
| 6 mm dia bars | 514.47 | kg |  |  | 0
3 | Attached beams B3, 500 X 200 mm
| 25 mm dia bars | 687.15 | kg |  |  | 0
| 20 mm dia bars | 440.85 | kg |  |  | 0
| 6 mm dia bars | 565.29 | kg |  |  | 0
4 | Attached beams B4, 600 X 200 mm
| 25 mm dia bars | 487.41 | kg |  |  | 0
| 6 mm dia bars | 305.51 | kg |  |  | 0
5 | Attached beams B5, 500 X 200 mm
| 25 mm dia bars | 585.39 | kg |  |  | 0
| 6 mm dia bars | 500.43 | kg |  |  | 0
6 | Attached beams B6, 500 X 200 mm
| 20 mm dia bars | 50.39 | kg |  |  | 0
| 16 mm dia bars | 32.23 | kg |  |  | 0
| 6 mm dia bars | 64.61 | kg |  |  | 0
7 | Attached beams B8, 600 X 200 mm
| 25 mm dia bars | 192.66 | kg |  |  | 0
| 6 mm dia bars | 188.23 | kg |  |  | 0
8 | Attached beams B9, 600 X 200 mm
| 25 mm dia bars | 100.1 | kg |  |  | 0
| 20 mm dia bars | 64.22 | kg |  |  | 0
| 6 mm dia bars | 129.41 | kg |  |  | 0
9 | Attached beams CB, 600 X 200 mm
| 25 mm dia bars | 24.64 | kg |  |  | 0
| 20 mm dia bars | 15.81 | kg |  |  | 0
| 6 mm dia bars | 31.85 | kg |  |  | 0
10 | Suspended slab, 130 mm thick
| 12 mm dia bars | 17294.05 | kg |  |  | 0
11 | Columns C1, 200 X 450 mm
| 20 mm dia bars | 23.71 | kg |  |  | 0
| 6 mm dia bars | 6.93 | kg |  |  | 0
12 | Columns C2, 200 X 450 mm
| 25 mm dia bars | 36.96 | kg |  |  | 0
| 6 mm dia bars | 6.93 | kg |  |  | 0
13 | Columns C3, 300 X 450 mm
| 25 mm dia bars | 55.44 | kg |  |  | 0
| 6 mm dia bars | 7.99 | kg |  |  | 0
14 | Columns C4, 200 X 450 mm
| 25 mm dia bars | 73.92 | kg |  |  | 0
| 6 mm dia bars | 11.37 | kg |  |  | 0
15 | RC Stair waist slab,steps incl. landings
| 12 mm dia bars | 560 | kg |  |  | 0
16 | Lift walls 150 mm & 200 mm thick upto First Floor Level as per the drawings
| 12 mm dia bars | 411.44 | kg |  |  | 0
3.4.6 | Fourth Floor
1 | Attached beams B1, 500 X 200 mm
| 16 mm dia bars | 114.83 | kg |  |  | 0
| 12 mm dia bars | 64.54 | kg |  |  | 0
| 6 mm dia bars | 115.1 | kg |  |  | 0
2 | Attached beams B2, 500 X 200 mm
| 16 mm dia bars | 439.97 | kg |  |  | 0
| 6 mm dia bars | 514.47 | kg |  |  | 0
3 | Attached beams B3, 500 X 200 mm
| 25 mm dia bars | 687.15 | kg |  |  | 0
| 20 mm dia bars | 440.85 | kg |  |  | 0
| 6 mm dia bars | 565.29 | kg |  |  | 0
4 | Attached beams B4, 600 X 200 mm
| 25 mm dia bars | 487.41 | kg |  |  | 0
| 6 mm dia bars | 305.51 | kg |  |  | 0
5 | Attached beams B5, 500 X 200 mm
| 25 mm dia bars | 585.39 | kg |  |  | 0
| 6 mm dia bars | 500.43 | kg |  |  | 0
6 | Attached beams B6, 500 X 200 mm
| 20 mm dia bars | 50.39 | kg |  |  | 0
| 16 mm dia bars | 32.23 | kg |  |  | 0
| 6 mm dia bars | 64.61 | kg |  |  | 0
7 | Attached beams B8, 600 X 200 mm
| 25 mm dia bars | 192.66 | kg |  |  | 0
| 6 mm dia bars | 188.23 | kg |  |  | 0
8 | Attached beams B9, 600 X 200 mm
| 25 mm dia bars | 100.1 | kg |  |  | 0
| 20 mm dia bars | 64.22 | kg |  |  | 0
| 6 mm dia bars | 129.41 | kg |  |  | 0
9 | Attached beams CB, 600 X 200 mm
| 25 mm dia bars | 24.64 | kg |  |  | 0
| 20 mm dia bars | 15.81 | kg |  |  | 0
| 6 mm dia bars | 31.85 | kg |  |  | 0
10 | Suspended slab, 130 mm thick
| 12 mm dia bars | 17294.05 | kg |  |  | 0
11 | Columns C1, 200 X 450 mm
| 20 mm dia bars | 23.71 | kg |  |  | 0
| 6 mm dia bars | 6.93 | kg |  |  | 0
12 | Columns C2, 200 X 450 mm
| 25 mm dia bars | 36.96 | kg |  |  | 0
| 6 mm dia bars | 6.93 | kg |  |  | 0
13 | Columns C3, 300 X 450 mm
| 25 mm dia bars | 55.44 | kg |  |  | 0
| 6 mm dia bars | 7.99 | kg |  |  | 0
14 | Columns C4, 200 X 450 mm
| 25 mm dia bars | 73.92 | kg |  |  | 0
| 6 mm dia bars | 11.37 | kg |  |  | 0
15 | RC Stair waist slab,steps incl. landings
| 12 mm dia bars | 560 | kg |  |  | 0
16 | Lift walls 150 mm & 200 mm thick upto First Floor Level as per the drawings
| 12 mm dia bars | 411.44 | kg |  |  | 0
3.4.7 | Fifth Floor
1 | Attached beams B1, 500 X 200 mm
| 16 mm dia bars | 114.83 | kg |  |  | 0
| 12 mm dia bars | 64.54 | kg |  |  | 0
| 6 mm dia bars | 115.1 | kg |  |  | 0
2 | Attached beams B2, 500 X 200 mm
| 16 mm dia bars | 439.97 | kg |  |  | 0
| 6 mm dia bars | 514.47 | kg |  |  | 0
3 | Attached beams B3, 500 X 200 mm
| 25 mm dia bars | 687.15 | kg |  |  | 0
| 20 mm dia bars | 440.85 | kg |  |  | 0
| 6 mm dia bars | 565.29 | kg |  |  | 0
4 | Attached beams B4, 600 X 200 mm
| 25 mm dia bars | 487.41 | kg |  |  | 0
| 6 mm dia bars | 305.51 | kg |  |  | 0
5 | Attached beams B5, 500 X 200 mm
| 25 mm dia bars | 585.39 | kg |  |  | 0
| 6 mm dia bars | 500.43 | kg |  |  | 0
6 | Attached beams B6, 500 X 200 mm
| 20 mm dia bars | 50.39 | kg |  |  | 0
| 16 mm dia bars | 32.23 | kg |  |  | 0
| 6 mm dia bars | 64.61 | kg |  |  | 0
7 | Attached beams B8, 600 X 200 mm
| 25 mm dia bars | 192.66 | kg |  |  | 0
| 6 mm dia bars | 188.23 | kg |  |  | 0
8 | Attached beams B9, 600 X 200 mm
| 25 mm dia bars | 100.1 | kg |  |  | 0
| 20 mm dia bars | 64.22 | kg |  |  | 0
| 6 mm dia bars | 129.41 | kg |  |  | 0
9 | Attached beams CB, 600 X 200 mm
| 25 mm dia bars | 24.64 | kg |  |  | 0
| 20 mm dia bars | 15.81 | kg |  |  | 0
| 6 mm dia bars | 31.85 | kg |  |  | 0
10 | Suspended slab, 130 mm thick
| 12 mm dia bars | 17294.05 | kg |  |  | 0
11 | Columns C1, 200 X 450 mm
| 20 mm dia bars | 23.71 | kg |  |  | 0
| 6 mm dia bars | 6.93 | kg |  |  | 0
12 | Columns C2, 200 X 450 mm
| 25 mm dia bars | 36.96 | kg |  |  | 0
| 6 mm dia bars | 6.93 | kg |  |  | 0
13 | Columns C3, 300 X 450 mm
| 25 mm dia bars | 55.44 | kg |  |  | 0
| 6 mm dia bars | 7.99 | kg |  |  | 0
14 | Columns C4, 200 X 450 mm
| 25 mm dia bars | 73.92 | kg |  |  | 0
| 6 mm dia bars | 11.37 | kg |  |  | 0
15 | RC Stair waist slab,steps incl. landings
| 12 mm dia bars | 560 | kg |  |  | 0
16 | Lift walls 150 mm & 200 mm thick upto First Floor Level as per the drawings
3.4.8 | Roof Floor
1 | Attached beams B1, 500 X 200 mm
| 16 mm dia bars | 114.83 | kg |  |  | 0
| 12 mm dia bars | 64.54 | kg |  |  | 0
| 6 mm dia bars | 115.1 | kg |  |  | 0
2 | Attached beams B2, 500 X 200 mm
| 16 mm dia bars | 439.97 | kg |  |  | 0
| 6 mm dia bars | 514.47 | kg |  |  | 0
3 | Attached beams B3, 500 X 200 mm
| 25 mm dia bars | 687.15 | kg |  |  | 0
| 20 mm dia bars | 440.85 | kg |  |  | 0
| 6 mm dia bars | 565.29 | kg |  |  | 0
4 | Attached beams B4, 600 X 200 mm
| 25 mm dia bars | 487.41 | kg |  |  | 0
| 6 mm dia bars | 305.51 | kg |  |  | 0
5 | Attached beams B5, 500 X 200 mm
| 25 mm dia bars | 585.39 | kg |  |  | 0
| 6 mm dia bars | 500.43 | kg |  |  | 0
6 | Attached beams B6, 500 X 200 mm
| 20 mm dia bars | 50.39 | kg |  |  | 0
| 16 mm dia bars | 32.23 | kg |  |  | 0
| 6 mm dia bars | 64.61 | kg |  |  | 0
7 | Attached beams B8, 600 X 200 mm
| 25 mm dia bars | 192.66 | kg |  |  | 0
| 6 mm dia bars | 188.23 | kg |  |  | 0
8 | Attached beams B9, 600 X 200 mm
| 25 mm dia bars | 100.1 | kg |  |  | 0
| 20 mm dia bars | 64.22 | kg |  |  | 0
| 6 mm dia bars | 129.41 | kg |  |  | 0
9 | Attached beams CB, 600 X 200 mm
| 25 mm dia bars | 24.64 | kg |  |  | 0
| 20 mm dia bars | 15.81 | kg |  |  | 0
| 6 mm dia bars | 31.85 | kg |  |  | 0
10 | Columns C1, 200 X 450 mm
| 20 mm dia bars | 23.71 | kg |  |  | 0
| 6 mm dia bars | 6.93 | kg |  |  | 0
11 | Columns C2, 200 X 450 mm
| 25 mm dia bars | 36.96 | kg |  |  | 0
| 6 mm dia bars | 6.93 | kg |  |  | 0
12 | Columns C3, 300 X 450 mm
| 25 mm dia bars | 55.44 | kg |  |  | 0
| 6 mm dia bars | 7.99 | kg |  |  | 0
13 | Columns C4, 200 X 450 mm
| 25 mm dia bars | 73.92 | kg |  |  | 0
| 6 mm dia bars | 11.37 | kg |  |  | 0
14 | RC Stair waist slab,steps incl. landings
| 12 mm dia bars | 560 | kg |  |  | 0
15 | Lift walls 150 mm & 200 mm thick upto First Floor Level as per the drawings
3.5 | OTHER CONCRETE WORKS
1 | 1800mm dia RC Ground water well as per the instruction given in the drawing with minimum water level of 900 mm at all tides, including all necessary pipe connections and all related works. | 3 | no |  |  | 0
2 | Lintel Beam as per the specifications and drawings | 73 | m |  |  | 0
3 | Sill Beam as per the specifications and drawings | 154 | m |  |  | 0
4 | RCC balcony parapet walls 1000 mm height and 100 mm thick as shown in drawings | 45 | m |  |  | 0
5 | Concrete ledge at all balconies and roof level as required | 1 | Item |  |  | 0
6 | Electrical Cable trench for main line and distribution at Ground floor | 1 | Item |  |  | 0
7 | Plumbing pipe trench for ground water/ fresh water supply / sewere waste lines at ground floor | 1 | Item |  |  | 0
3.6 | WATER PROOFING
Rate shall include for: dressing arround and sealing to all penetrations
1 | Apply bituminous type waterproofing to all surfaces of concrete below ground level in accordance with the specifications and manufacturer's instructions | 1 | item |  |  | 0
2 | Apply crystalline or equivalent type waterproofing material to the surface of roof slab & terrace in accordance with the specifications and manufacturer's instructions | 1 | item |  |  | 0
3 | Apply crystalline or equivalent type waterproofing material to the surface of balcony and toilets in accordance with the specifications and manufacturer's instructions | 1 | item |  |  | 0
TOTAL OF BILL NO. 03 (CONCRETE WORKS) | [5 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 04
MASONRY AND PLASTERING
4.1 | General
a) Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
4.2 | Cement block work
4.2.1 | 150mm wide solid blocks, made of river sand aggregates of approved quality, laid on and incl. 1:5 Cement Mortor, tie rods, compression gap filler, nylon / plastic mesh as specified.
All External walls
1 | Boundary wall | 43.61 | m² |  |  | 0
2 | Below Ground | 73.26 | m² |  |  | 0
3 | Ground Floor | 259.45 | m² |  |  | 0
4 | First Floor | 274.14 | m² |  |  | 0
5 | Second Floor | 274.31 | m² |  |  | 0
6 | Third Floor | 274.31 | m² |  |  | 0
7 | Fourth Flo0r | 286.21 | m² |  |  | 0
8 | Fifth Floor | 286.21 | m² |  |  | 0
9 | Roof Level | 12.58 | m² |  |  | 0
4.2.2 | 150mm wide solid blocks, made of river sand aggregates of approved quality, laid on and incl. 1:5 Cement Mortor, tie rods, compression gap filler, nylon / plastic mesh as specified.
All Internal walls
1 | Below Ground | 99.093 | m² |  |  | 0
2 | Ground Floor | 330.31 | m² |  |  | 0
3 | First Floor | 284.988 | m² |  |  | 0
4 | Second Floor | 252.042 | m² |  |  | 0
5 | Third Floor | 252.11 | m² |  |  | 0
6 | Fourth Flo0r | 429.046 | m² |  |  | 0
7 | Fifth Floor | 412.624 | m² |  |  | 0
8 | Roof Level | 60.3504 | m² |  |  | 0
4.3 | Plastering
4.3.1 | a) 25mm cement plastering on external walls and concrete surfaces with 1:4 Cement mortor mix as specified incl. wire mesh at joints of concrete surfaces and walls (first,second coats).
b) all plastering works must be carried out using river sand of approved quality and sieve characteristics
1 | Below Ground | 73.26 | m² |  |  | 0
2 | Ground Floor | 259.45 | m² |  |  | 0
3 | First Floor | 274.14 | m² |  |  | 0
4 | Second Floor | 274.31 | m² |  |  | 0
5 | Third Floor | 274.31 | m² |  |  | 0
6 | Fourth Flo0r | 286.21 | m² |  |  | 0
7 | Fifth Floor | 286.21 | m² |  |  | 0
8 | Roof Level | 12.58 | m² |  |  | 0
4.3.2 | a) 15mm cement plastering on internal walls and concrete surfaces with 1:4 Cement mortor mix as specified incl. wire mesh at joints of concrete surfaces and walls (one coat).
b) all plastering works must be carried out using river sand of approved quality and sieve characteristics
1 | Ground Floor | 920.07 | m² |  |  | 0
2 | First Floor | 844.12 | m² |  |  | 0
3 | Second Floor | 778.4 | m² |  |  | 0
4 | Third Floor | 778.53 | m² |  |  | 0
5 | Fourth Flo0r | 1144.3 | m² |  |  | 0
6 | Fifth Floor | 1111.46 | m² |  |  | 0
7 | Roof Level | 133.28 | m² |  |  | 0
4.4 | Cement Screed Finish
4.4.1 | 35mm thick Cement screeding on the
concrete floor with 1:4 cement mortar
mix incl. trowel finish; General Areas
1 | Ground Floor | 430.08 | m² |  |  | 0
2 | First Floor | 379.28 | m² |  |  | 0
3 | Second Floor | 362.87 | m² |  |  | 0
4 | Third Floor | 362.87 | m² |  |  | 0
5 | Fourth Floor | 375.22 | m² |  |  | 0
6 | Fifth Floor | 388.31 | m² |  |  | 0
4.4.2 | 25mm thick Cement screeding on the
concrete floor with 1:4 cement mortar
mix incl. trowel finish; Staircase, Toilet, balconies and Terrace areas
1 | Ground Floor | 61.72 | m² |  |  | 0
2 | First Floor | 61.72 | m² |  |  | 0
3 | Second Floor | 78.13 | m² |  |  | 0
4 | Third Floor | 78.13 | m² |  |  | 0
5 | Fourth Floor | 65.78 | m² |  |  | 0
6 | Fifth Floor | 52.69 | m² |  |  | 0
4.4.3 | 75mm thick Cement screeding on the
concrete floor with 1:4 cement mortar
| mix incl. trowel finish; Roof and Terrace | 10 | m² |  |  | 0
TOTAL OF BILL NO. 04 (MASONRY AND PLASTERING) | [5 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 05
METAL WORKS
5.1 | General
a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts incl. those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
b) Rates shall include for fabrication and erection and temporary supports and fixing into position.
5.2 | Staircase Handrailing
50 mm dia (1 no) top member, 35mm dia vertically and 25 mm dia horizontally 3 nos etc, including bolts, washers and fixing to reinforced concrete as shown in the drawing.
1 | Ground to First Floor | 12.4 | m |  |  | 0
2 | First to Second | 12.4 | m |  |  | 0
3 | Second to Third | 12.4 | m |  |  | 0
4 | Third to Fourth | 12.4 | m |  |  | 0
5 | Fourth to Fifth | 12.4 | m |  |  | 0
TOTAL OF BILL NO. 05 (METAL WORKS) | [5 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 06
ROOFING & WOODWORKS
6.1 | General
a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
b) Rate shall include for: timber priming and all painting as specified in the drawing
6.2 | Roof Framing & Coverings
| 50 X 150 mm timber hard wood rafters at 600 mm c/c | 1390.5 | m |  |  | 0
1 ) | 50 X 100 mm timber hard wood battens at 600 mm c/c | 7460.25 | m |  |  | 0
2 ) | 50 X 200 mm timber fascia board | 330.31 | m |  |  | 0
3 ) | 150 X 250 mm Lysaught Gutter | 330.31 | m |  |  | 0
4 ) | End Flashing | 76 | m |  |  | 0
5 ) | 75 mm thick Heat Insulation with Aluminium Foil on both sides, including the wire mesh | 529.2 | m² |  |  | 0
6 ) | Lyaught or MSP Equivalent Roofing sheets | 529.2 | m² |  |  | 0
7 ) | Down pipes for rain water collection as shown in drawings, it shall be connected to rain water tank / fire tanks and with control valves with over flow mechanism | 1 | Item |  |  | 0
TOTAL OF BILL NO. 06 (ROOFING & WOOD WORKS) | [5 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 07
CEILING
7.1 | General
a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
b) Rate shall include for: timber priming and all painting as specified in the drawing
7.2 | Concealed Ceiling
Concealed ceiling with 600 X 600mm grid with 50 X 35 mm timber framed and 9 mm gypsum 4 mm cement fibre board with all beading, nails and screws etc. (Toilet areas only)
1 | Ground Floor (Toilets) | 17 | m² |  |  | 0
2 | First Floor (Toilets) | 17 | m² |  |  | 0
3 | Second Floor (Toilets) | 33.41 | m² |  |  | 0
4 | Third Floor (Toilets) | 33.41 | m² |  |  | 0
5 | Fourth Floor (Toilets) | 21.06 | m² |  |  | 0
6 | Fifth Floor (Toilets) | 7.97 | m² |  |  | 0
7.3 | Exposed Ceiling
Concealed ceiling with 600 X 600mm grid 9 mm gypsum board with aluminium metal frame , beading, nails and screws. (Corridor and lobby as shown in drawings)
1 | Ground Floor | 474.8 | m² |  |  | 0
2 | First Floor | 424 | m² |  |  | 0
3 | Second Floor | 407.59 | m² |  |  | 0
4 | Third Floor | 407.59 | m² |  |  | 0
5 | Fourth Floor | 419.94 | m² |  |  | 0
6 | Fifth Floor | 433.03 | m² |  |  | 0
TOTAL OF BILL NO. 07 (CEILINGS) | [5 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 08
DOORS AND WINDOWS
8.1 | General
a) Rates shall include for: locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
b) All Aluminium doors and windows shall be 60 - 80 micron white powder coated aluminium.
c) All timber doors shall be solid timber panneled door with varnish finish.
d) All glazing shall be 6mm Tinted
(Profiles to be chosen by client).
8.2 | Door units
1 | Door D1 (3.989) | 5 | nos |  |  | 0
2 | Door D2 (2.835) | 18 | nos |  |  | 0
3 | Door D3 (2.1) | 13 | nos |  |  | 0
4 | Door D4 (1.469) | 24 | nos |  |  | 0
5 | Door D5 (3.990) | 1 | nos |  |  | 0
6 | Door D6 (2.10) | 34 | nos |  |  | 0
7 | SD1 (23.031) | 5 | nos |  |  | 0
8.4 | Window Units
1 | Window W1 (4.95) | 28 | nos |  |  | 0
2 | Window W2 (7.368) | 1 | nos |  |  | 0
3 | Window W3 (3.24) | 25 | nos |  |  | 0
4 | Window W4 (9.9) | 5 | nos |  |  | 0
5 | Window V1 (1.54) | 10 | nos |  |  | 0
6 | Window V2 (0.81) | 30 | nos |  |  | 0
8 | Fixed Glass Window FG1 (8.262) | 1 | nos |  |  | 0
9 | Fixed Glass Window FG2 (5.177) | 2 | nos |  |  | 0
10 | Fixed Glass Window FG3 | 1 | nos |  |  | 0
11 | Fixed Glass Window FG4 | 5 | nos |  |  | 0
8.6 | Duct Access Doors
1 | Duct access doors for all ducts as per the Client's requirement (6 mm plywood and/or 4 mm cement board and with timber normal frame) | 1 | Item |  |  | 0
TOTAL OF BILL NO. 08 (DOORS AND WINDOWS) | [5 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 9
TILING WORKS
9.1 | General
a) Rates shall include for: fixing, bedding, grouting, pointing, finishing and any other similar works to ensure the required finish.
b) Rates shall include for all other beading works required at the corneres
9.2 | Floor Tiling (general areas)
600 X 600 mm Ceramic tiles with 100 mm skirting
1 | Ground Floor | 430.08 | m² |  |  | 0
2 | First Floor | 379.28 | m² |  |  | 0
3 | Second Floor | 362.87 | m² |  |  | 0
4 | Third Floor | 362.87 | m² |  |  | 0
5 | Fourth Floor | 375.22 | m² |  |  | 0
6 | Fifth Floor | 347.63 | m² |  |  | 0
9.3 | Floor tiling (toilets)
200 x 200 Non Slip Ceramic tiles:
1 | Ground Floor | 61.72 | m² |  |  | 0
2 | First Floor | 61.72 | m² |  |  | 0
3 | Second Floor | 78.13 | m² |  |  | 0
4 | Third Floor | 78.13 | m² |  |  | 0
5 | Fourth Floor | 65.78 | m² |  |  | 0
6 | Fifth Floor | 52.69 | m² |  |  | 0
9.4 | Wall tiling (toilets)
200 x 250 Polished Ceramic Tiles upto Ceiling height
1 | Ground Floor | 77.28 | m² |  |  | 0
2 | First Floor | 74.64 | m² |  |  | 0
3 | Second Floor | 141.48 | m² |  |  | 0
4 | Third Floor | 141.48 | m² |  |  | 0
5 | Fourth Floor | 133.44 | m² |  |  | 0
6 | Fifth Floor | 24.06 | m² |  |  | 0
9.5 | CeramicTiles in Stair steps
Non slip Ceramic Tiles with nosing & 100 mm skirting, inlcuding the lading areas
1 | Stairs | 21 | m² |  |  | 0
9.7 | Tiling over special walls (wards)
600 X 300 mm Glazed Ceramic Tiles:
1 | First Floor | 240.85 | m² |  |  | 0
9.8 | Hospital grade tiles in operation theatre
| 600 X 600 mm tiles on floors | 40.68 | m² |  |  | 0
| 600 X 300 mm tiles on floors | 90.96 | m² |  |  | 0
TOTAL OF BILL NO. 9 (TILING WORKS) | [5 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 10
PAINTING
10.1 | General
a) Rates shall include for: the provition, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and / or making floors, fittings and similar work, removing and replacing door and window furniture
b) All painting work shall be carried in accordance with the specifications.
Painting system shall be Nippon or Equivalent
10.2 | Walls
Weather proof emulsion paint system with textured finish on plastered and concrete surfaces of external and normal emulsion paint on internal walls.
10.2.1 | External painting 1 coat of wall sealer, 1 coat tex compound & 2 coats of paints
1 | Ground Floor | 259.45 | m² |  |  | 0
2 | First Floor | 274.14 | m² |  |  | 0
3 | Second Floor | 274.31 | m² |  |  | 0
4 | Third Floor | 274.31 | m² |  |  | 0
5 | Fourth Floor | 286.21 | m² |  |  | 0
6 | Fifth Floor | 298.79 | m² |  |  | 0
10.2.2 | Anti-bacterial Emulsion paint putty finish system on plastered and concrete surfaces of internal walls.
Internal Painting 1 coat of wall sealer & 2 coats of paints
1 | Ground Floor | 920.07 | m² |  |  | 0
2 | First Floor | 844.12 | m² |  |  | 0
3 | Second Floor | 778.4 | m² |  |  | 0
4 | Third Floor | 778.53 | m² |  |  | 0
5 | Fourth Floor | 1144.3 | m² |  |  | 0
6 | Fifth Floor | 1244.74 | m² |  |  | 0
10.3 | Ceilings
Emulsion paint putty finish on concrete slab and beams, plywood / cement fibre board of all internal surfaces.
1 coat of primer & 2 coats of paints
Putty and Emulsion paint finish
1 | Ground Floor | 426 | m² |  |  | 0
2 | First Floor | 414 | m² |  |  | 0
3 | Second Floor | 414 | m² |  |  | 0
4 | Third Floor | 414 | m² |  |  | 0
5 | Fourth Floor | 414 | m² |  |  | 0
6 | Fifth Floor | 414 | m² |  |  | 0
TOTAL OF BILL NO. 10 (PAINTING) | [5 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 11
HYDRAULICS & DRAINAGE
11.1 | General
a) Rates shall include for: sockets, running joints, connections, elbows, junctions, reducers, expansion joints; backnuts and similar; incidental fittings, clips, saddles, brackets, straps, hanges, screws, nails and fixing complete, including cutting and
11.2 | Ground water supply pipework
| Allow for water connection to fixtures from ground water well and pumps | 1 | item |  |  | 0
11.3 | Fresh water supply pipework
1 ) | Allow for fresh water connection to fixtures from MWSC main meters (either diretly or through the booster pumps) | 1 | item |  |  | 0
2 ) | Supply and fixing MWSC fresh water mains (meters) | 1 | nos |  |  | 0
3 ) | Supply and fixing MWSC bulk fresh water main (meter) for fire water tank | 1 | nos |  |  | 0
11.4 | Sanitary Fixtures & Accessories
Sanitary Fixtures complete including brackets flush pipes, overflows and washers etc.
1 ) All toilet fittings shall be "Cotto" or equivalent - chrome plated
2 ) All toilet fixtures shall be "Cotto" or equivalent brand.
3 ) All piping shall be of UPVC
4 ) All kitchen sinks shall be of SS type with chrome plated taps.
5 ) All water pumps shall be of "Davie Jet" brand or equivalent.
1 ) | Water Closet | 29 | nos |  |  | 0
2 ) | Wash basin | 29 | nos |  |  | 0
3 ) | Wash basin tap | 29 | nos |  |  | 0
4 ) | Muslim Shower | 29 | nos |  |  | 0
5 ) | Floor waste / drain with gully trap | 48 | nos |  |  | 0
6 ) | Head shower | 12 | nos |  |  | 0
7 ) | SS Kitchen Sink incl. fixing of brackets | 48 | nos |  |  | 0
8 ) | Sink Tap | 48 | nos |  |  | 0
9 ) | Mirror with accessories | 12 | nos |  |  | 0
10 ) | Water Taps / Faucet | 48 | nos |  |  | 0
11 ) | Valves | 81 | nos |  |  | 0
11.5 | Pumping System
Supply and installation of water pump complete including connecting valves to pipework and electricity as per requirements.
1 ) | Well water pump including the panel ( 2 running pumps with a standby pump) | 2 | nos |  |  | 0
2 ) | MWSC booster water pump system including the panel (with stand by pump) | 1 | Item |  |  | 0
11.6 | Drainage
Discharge pipework
1 ) | Complete Discharge pipe work including the vent pipes | 1 | item |  |  | 0
2 ) | Connecting to MWSC sewer mains | 2 | nos |  |  | 0
3 ) | Constructing Inspection Chamber of required size with all provisions to connect pipelines as per drawing. | 13 | nos |  |  | 0
TOTAL OF BILL NO. 11 (HYDRAULICS AND DRAINAGE) | [5 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 12
ELECTRICAL INSTALLATIONS
12.1 | General
a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
b) Rate shall include for electrical conduits, fittings, equipment and similar all fixings
c) Each light / light fixture and its switches shall measure as one one point: similarly each sockets or each fans shall measured as one point.
d) Rate shall include for supply and complete installation of all floors.
e) Provide junction box for each separate unit of telephone and cable tv system.
12.2 | Main Connection
| Allow for three phase main connection from STELCO board to Panel board from STELCO Transformer / Road DB | 1 | item |  |  | 0
12.3 | Electrical boards
Complete installation incl. for all connection earthing, painting, testing and similar of;
1 ) | Main panel board including all meters and connections | 1 | Item |  |  | 0
2 ) | Distribution boards | 8 | nos |  |  | 0
12.4 | Electrical wiring
Electrical wiring with copper conductor cable in conduits in walls and slab as specified to
1 ) | 2.5mm2 Wiring to light fixtures, fans and its switches | 265 | points |  |  | 0
2 ) | Wiring to Socket Switches | 312 | points |  |  | 0
3 ) | Cabling to Distribution boards | 12 | points |  |  | 0
4 ) | Cabling to Telephone sockets | 52 | points |  |  | 0
5 ) | Cabling to Television sockets | 52 | points |  |  | 0
12.5 | Fans
1 ) | Ceiling fans "USHA" or Equivalent 1200 mm dia. | 48 | nos |  |  | 0
2 ) | Fan dimmer for ceiling fans | 48 | nos |  |  | 0
3 ) | Wall mount fans | 5 | nos |  |  | 0
12.6 | Lighting and others
1 ) | Ceiling mount light (LED) | 48 | nos |  |  | 0
2 ) | Wall mount light (LED) | 48 | nos |  |  | 0
3 ) | Weather proof ceiling mount light | 8 | nos |  |  | 0
4 ) | Weather proof wall mount light | 12 | nos |  |  | 0
5 ) | Emergency Light | 48 | nos |  |  | 0
12.7 | Socket outlets
All sockets shall be "Clipsal"or equivalent
1 ) | 13 Amps Socket Switch single | 56 | nos |  |  | 0
2 ) | 13 Amps Socket Switch double | 104 | nos |  |  | 0
4 ) | 15 Amps Socket Switch | 48 | nos |  |  | 0
6 ) | Telephone Socket | 52 | nos |  |  | 0
7 ) | Television Socket | 52 | nos |  |  | 0
12.8 | Light Switches
All switches shall be "Clipsal"or equivalent
1 ) | One Way switches | 116 | nos |  |  | 0
12.9 | CCTV Cameras
1 ) | CCTV Camera as shown in drawings | 12 | nos |  |  | 0
(Rate shall include with all networking cabling and connections, monitors and back data with atleast of 30 days etc.)
12.10 | Lightening Protection System
1 ) | Lightening Protection System as required to cover the whole building as per local regulations (Rate shall include for all fixing of system and down conductor to earthing) | 1 | Item |  |  | 0
TOTAL OF BILL NO. 12 (ELECTRICAL INSTALLATIONS) | [5 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 13
LIFT
13.1 | General
a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
b) Rate shall include for electrical conduits, fittings, equipment and similar all fixings
c) Rate shall include for all necessary electrical wiring and accessaries required for completion of lift installation.
d) Lift shall be Machine room less design and serving all floors
13.2 | LIFTS
| Supply and install lift complete: "Mitsubishi or Equivalent, stretcher and bed lift capacity, serving all levels as per manufacturer's instructions. | 1 | no |  |  | 0
TOTAL OF BILL NO. 13 (LIFT) | [5 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 14
FIRE FIGHTING
14.1 | General
a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
b) Rate shall include for electrical conduits, fittings, pumps, contolr boards and other quipment and similar all fixings
c) Rate shall include for all necessary electrical wiring and accessaries required for completion of fire fighting system installation in acconrdance with the drawings, specification and NSS regulations
14.2 | First Response and Alarm System
5 ) | Control panel for fire alram (addressable) | 1 | Nos |  |  | 0
6 ) | Manual call point for fire alram system | 2 | Nos |  |  | 0
7 ) | Electronic loop fire alarm sounder | 10 | Nos |  |  | 0
8 ) | Smoke detector for fire alarm system | 36 | Nos |  |  | 0
10 ) | Exit sign light | 8 | Nos |  |  | 0
11 ) | CO2 Extinguisher ( 2 kg) | 36 | Nos |  |  | 0
12 ) | DCP Extinguisher (9 kg) | 36 | Nos |  |  | 0
13 ) | Fire Balnket ( 3ft X 5 ft) | 2 | Nos |  |  | 0
14.3 | HOSE REEL SYSTEM (WET RISER)
1) | Wet riser Pipe system as per the drawings and local authority regulations | 1 | Item |  |  | 0
2) | Fire Pump (2 Eletrical and 1 Diesel stand by pump system including panel) | 1 | Nos |  |  | 0
3) | Hose Reels 30 m length (Box shall have provision to keep dry riser landing valve) | 2 | Nos |  |  | 0
TOTAL OF BILL NO. 14 (FIRE FIGHTING) | [5 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 15
SPECIAL SERVICES
15.1 | General
a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
b) Rate shall include for electrical conduits, fittings, pumps, contolr boards and other quipment and similar all fixings
c) Rate shall include for all necessary electrical/steel jointing wiring and accessaries required for completion of fire fighting system installation in acconrdance with the drawings, specification for ministry of health regulations
15.2 | Oxygen delivery system
1 ) | Piped and tested oxygen delivery system from a central tank location as shown to all points as shown | 1 | Item |  |  | 0
2 ) | Inlet for oxygen including water bath and regulator |  | Nos |  |  | 0
15.3 | VACCUUM SYSTEM
1) | Piped and tested vaccuum system from a central vaccum as shown to all points as shown | 1 | Item |  |  | 0
2) | vaccuum collection vesel and accessoried | 1 | Nos |  |  | 0
TOTAL OF BILL NO. 15 (SPECIAL SERVICES) | [5 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 15
ADDITIONS
Bill No: 01
Bill No: 02
Bill No: 03
Bill No: 04
Bill No: 05
Bill No: 06
Bill No: 07
Bill No: 08
Bill No: 09
Bill No: 10
Bill No: 11
Bill No: 12
Bill No: 13
Bill No: 14
TOTAL OF BILL NO. 15 (ADDITIONS) | [5 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 16
OMISSIONS
Bill No: 01
Bill No: 02
Bill No: 03
Bill No: 04
Bill No: 05
Bill No: 06
Bill No: 07
Bill No: 08
Bill No: 09
Bill No: 10
Bill No: 11
Bill No: 12
Bill No: 13
Bill No: 14
TOTAL OF BILL NO. 16 (OMISSIONS) | [5 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)

## SUMMARY
PROJECT: NAIFARU HOSPITAL
CONSTRUCTION OF 6 STOREY BUILDING
SUMMARY OF BILLS OF QUANTITIES
SL.NO | BILL NAME | AMOUNT (MRF)
1 ) | TOTAL OF BILL NO. 01 (PRELIMINARIES) | 0
2 ) | TOTAL OF BILL NO. 02 (GROUND WORKS) | 0
3 ) | TOTAL OF BILL NO. 03 (CONCRETE WORKS) | 0
4 ) | TOTAL OF BILL NO. 04 (MASONRY AND PLASTERING) | 0
5 ) | TOTAL OF BILL NO. 05 (METAL WORKS) | 0
6 ) | TOTAL OF BILL NO. 06 (ROOFING & WOOD WORKS) | 0
7 ) | TOTAL OF BILL NO. 07 (CEILINGS) | 0
8 ) | TOTAL OF BILL NO. 08 (DOORS AND WINDOWS) | 0
9 ) | TOTAL OF BILL NO. 9 (TILING WORKS) | 0
10 ) | TOTAL OF BILL NO. 10 (PAINTING) | 0
11 ) | TOTAL OF BILL NO. 11 (HYDRAULICS AND DRAINAGE) | 0
12 ) | TOTAL OF BILL NO. 12 (ELECTRICAL INSTALLATIONS) | 0
13 ) | TOTAL OF BILL NO. 13 (LIFT) | 0
14 ) | TOTAL OF BILL NO. 14 (FIRE FIGHTING) | 0
15 ) | TOTAL OF BILL NO. 15 (SPECIAL SERVICES) | 0
16 ) | TOTAL OF BILL NO. 15 (ADDITIONS) | 0
15 7 | TOTAL OF BILL NO. 16 (OMISSIONS) | 0
SUB TOTAL |  | 0
GST 6% |  | 0
GRAND TOTAL |  | 0

## Cover
BILL OF QUANTITIES
PROJECT: NAIFARU HOSPITAL
CLIENT: MINISTRY OF HEALTH
JUNE - 2015