## BOQ
SL.NO | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
Bill No: 01
PRELIMINARIES
1.1 | General Notes
1 ) | Abbreviations
m - meter
No - numbers
m3 - cubic meter
m2 - square meter
Lm - Linear meter
t - tonnes
incl - including
mm - millimeter
dia - diameter
SS - Stainless Steel
GI - Galvanised Iron
1.2 | Site Management Costs
1 ) | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone,fax,hoardings and similar. | 1 | item |  | 0
0
1.3 | Sign Board |  |  |  | 0
1 ) | Allow for sign board | 1 | no |  | 0
0
1.4 | Clean - up |  |  |  | 0
1 ) | Allow for clean - up of completed works and site upon completion. | 1 | item |  | 0
0
0
0
0
TOTAL OF BILL NO. 01 (PRELIMINARIES) |  |  |  |  | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 02
GROUND WORKS
2.1 | GENERAL
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and disposing surplus soil.
2.2 | SITE CLEARING
| Clear the area of site from rubbish and vegetable matters, stumps, roots. Demolition shall be included (if any) | 495 | m² |  | 0
0
2.3 | EXCAVATION |  |  |  | 0
| Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork, back fill, dewatering and others |  |  |  | 0
1 ) | Excavation for footings and Tie beams | 294.62 | m³ |  | 0
0
2.4 | BACK FILLING |  |  |  | 0
| (a) Rates shall include for: levelling, grading, trimming, compacting and similar. |  |  |  | 0
| (b) Ground need to be compacted to the required density by the consultant. |  |  |  | 0
1 ) | Earth Filling as per drawings | 495 | m² |  | 0
2 ) | 25mm thick sand blinding layer to receive damp proof membrane | 495 | m² |  | 0
0
2.5 | DAMP PROOF MEMBRANE |  |  |  | 0
| (a) Rates shall include for: dressing around and sealing to all penetrations, laps and turnups |  |  |  | 0
1 ) | Polythene damp proof membrane (500 gauge) laid on blinding layer under footing, tie beams and ground floor slab | 635 | m² |  | 0
0
2.6 | DEWATERING |  |  |  | 0
| This item shall include for all the piping, pumps, etc. Water needs to be pumped to an assigned area as per local regulation. | 1 | Item |  | 0
0
0
0
0
TOTAL OF BILL NO. 02 (GROUND WORKS) |  |  |  |  | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 03
CONCRETE WORKS
General
a) Rate shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
b) Mix ratio for reinforced concrete shall be 1:2:3
1 ) | Allow for concrete testing | 1 | item |  | 0
0
3.1 | Lean Concrete |  |  |  | 0
| 50mm thick lean concrete under the footings and tie beam with a mix of 1:2:6 | 181.23 | m² |  | 0
0
3.2 | Reinforced Concrete |  |  |  | 0
| In-situ reinforced concrete to: |  |  |  | 0
| *Add water proofing compound / admixture to concrete mix for walls GL and Roof Slabs |  |  |  | 0
0
3.2.1 | Foundation |  |  |  | 0
1 ) | Footings & Tie Beams | 72.79 | m³ |  | 0
2 ) | Columns Stumps & Stair Starter | 9.37 | m³ |  | 0
0
3.2.2 | Ground Floor |  |  |  | 0
1 ) | RCC Ground Slab 100 mm thick including the stage slab, (Rate shall include for reinforcement T10 @150 BW / R6@200 BW and shuttering required as per the drawings) | 49.5 | m³ |  | 0
2 ) | Column & Staircase incl. landing etc | 18.55 | m³ |  | 0
0
3.2.3 | First Floor |  |  |  | 0
1 ) | Attached Beams & slab | 52.26 | m³ |  | 0
2 ) | Column & Staircase incl. landing etc | 18.55 | m³ |  | 0
0
3.2.4 | Second Floor |  |  |  | 0
1 ) | Attached Beams & slab | 110.85 | m³ |  | 0
2 ) | Column | 15.55 | m³ |  | 0
0
3.2.5 | Roof Level |  |  |  | 0
1 ) | Roof beam, Roof slab with RC gutter | 44.52 | m³ |  | 0
0
3.3 | Formwork |  |  |  | 0
| a) Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes, removal of formwork and normal practices used. |  |  |  | 0
3.3.1 | Foundation |  |  |  | 0
1 ) | Footings & Tie Beams | 219.29 | m² |  | 0
2 ) | Columns Stumps & Stair Starter | 110 | m² |  | 0
0
3.3.2 | Ground Floor |  |  |  | 0
1 ) | Column & Staircase incl. landing etc | 194 | m² |  | 0
0
3.3.3 | First Floor |  |  |  | 0
1 ) | Attached Beams & slab | 384.5 | m² |  | 0
2 ) | Column & Staircase incl. landing etc | 194 | m² |  | 0
0
3.3.4 | Second Floor |  |  |  | 0
1 ) | Attached Beams & slab | 691.3 | m² |  | 0
2 ) | Column | 201.6 | m² |  | 0
0
3.3.5 | Roof Level |  |  |  | 0
1 ) | Roof beam, Roof slab with RC gutter | 352.48 | m² |  | 0
0
3.4 | Reinforcement |  |  |  | 0
| a) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and chair supports, laps, and wastages. |  |  |  | 0
3.4.1 | Foundation |  |  |  | 0
1 ) | Footings & Tie Beams |  |  |  | 0
| 20 mm dia bars | 625 | kg |  | 0
| 16 mm dia bars | 3395 | kg |  | 0
| 12 mm dia bars | 22 | kg |  | 0
| 6 mm dia bars | 415 | kg |  | 0
2 ) | Columns Stumps & Stair Starter |  |  |  | 0
| 25 mm dia bars | 555 | kg
| 20 mm dia bars | 1511 | kg |  | 0
| 16 mm dia bars | 325 | kg |  | 0
| 12 mm dia bars | 70 | kg |  | 0
| 10 mm dia bars | 50 | kg |  | 0
| 6 mm dia bars | 525 | kg |  | 0
0
3.4.2 | Ground Floor |  |  |  | 0
1 ) | Column & Staircase incl. landing etc |  |  |  | 0
| 25 mm dia bars | 745 | kg |  | 0
| 20 mm dia bars | 2015 | kg
| 16 mm dia bars | 430 | kg |  | 0
| 12 mm dia bars | 455 | kg |  | 0
| 10 mm dia bars | 320 | kg |  | 0
| 6 mm dia bars | 610 | kg |  | 0
0
3.4.3 | First Floor |  |  |  | 0
1 ) | Attached Beams & slab |  |  |  | 0
| 25 mm dia bars | 675 | kg
| 20 mm dia bars | 1055 | kg |  | 0
| 16 mm dia bars | 1515 | kg |  | 0
| 12 mm dia bars | 8880 | kg |  | 0
| 10 mm dia bars | 495 | kg |  | 0
| 6 mm dia bars | 465 | kg |  | 0
2 ) | Column & Staircase incl. landing etc |  |  |  | 0
| 25 mm dia bars | 745 | kg |  | 0
| 20 mm dia bars | 2015 | kg
| 16 mm dia bars | 430 | kg |  | 0
| 12 mm dia bars | 455 | kg |  | 0
| 10 mm dia bars | 320 | kg |  | 0
| 6 mm dia bars | 610 | kg |  | 0
3.4.4 | Second Floor |  |  |  | 0
1 ) | Attached Beams & slab |  |  |  | 0
| 25 mm dia bars | 3080 | kg
| 20 mm dia bars | 1625 | kg |  | 0
| 16 mm dia bars | 1570 | kg |  | 0
| 12 mm dia bars | 8880 | kg |  | 0
| 10 mm dia bars | 495 | kg |  | 0
| 6 mm dia bars | 785 | kg |  | 0
2 ) | Column |  |  |  | 0
| 25 mm dia bars | 745 | kg
| 20 mm dia bars | 2015 | kg |  | 0
| 16 mm dia bars | 430 | kg |  | 0
| 10 mm dia bars | 168 | kg |  | 0
| 6 mm dia bars | 730 | kg |  | 0
0
3.4.5 | Roof Level |  |  |  | 0
1 ) | Roof beam, Roof slab with RC gutter |  |  |  | 0
| 25 mm dia bars | 405 | kg
| 20 mm dia bars | 1085 | kg |  | 0
| 16 mm dia bars | 1245 | kg |  | 0
| 10 mm dia bars | 1745 | kg |  | 0
| 6 mm dia bars | 565 | kg |  | 0
0
3.5 | OTHER CONCRETE WORKS |  |  |  | 0
1 ) | Lintel Beam as per the specifications and drawings | 1 | Item |  | 0
2 ) | Sill Beam as per the specifications and drawings | 1 | Item |  | 0
3 ) | Concrete Steps as required and as shown in drawings | 1 | Item |  | 0
4 ) | RC fins as shown in drawings | 1 | Item |  | 0
5 ) | RC parapet wall at corridors / catwalk area as shown in drawings (Rate shall include for shuttering and reinforcement and finishing) | 105 | m |  | 0
0
3.6 | WATER PROOFING |  |  |  | 0
| Rate shall include for: dressing arround and sealing to all penetrations |  |  |  | 0
1 ) | Apply bituminous type waterproofing to all surfaces of concrete below ground level in accordance with the specifications and manufacturer's instructions | 1 | item |  | 0
2 ) | Apply crystalline or equivalent type waterproofing material to the surface of roof slab & terrace in accordance with the specifications and manufacturer's instructions | 1 | item |  | 0
3 ) | Apply crystalline or equivalent type waterproofing material to the surface of balcony and toilets in accordance with the specifications and manufacturer's instructions | 1 | item |  | 0
0
0
0
0
0
TOTAL OF BILL NO. 03 (CONCRETE WORKS) |  |  |  |  | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 04
MASONRY AND PLASTERING
4.1 | General
a) Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
4.2 | Cement block work
4.2.1 | 150mm wide solid blocks, laid on and incl. 1:5 Cement Mortor, tie rods, compression gap filler, nylon / plastic mesh as specified.
All External walls
1 ) | Ground Floor | 210 | m² |  | 0
2 ) | First Floor | 195 | m² |  | 0
3 ) | Second Floor including gable wall | 225 | m² |  | 0
0
4.2.2 | 150mm wide solid blocks, laid on and incl. 1:5 Cement Mortor, tie rods, compression gap filler, nylon / plastic mesh as specified. |  |  |  | 0
| All Internal walls |  |  |  | 0
1 ) | Ground Floor | 35 | m² |  | 0
2 ) | First Floor | 140 | m² |  | 0
3 ) | Second Floor including gable wall | 265 | m² |  | 0
0
4.3 | Plastering |  |  |  | 0
4.3.1 | a) 25mm cement plastering on external walls and concrete surfaces with 1:4 Cement mortor mix as specified incl. wire mesh at joints of concrete surfaces and walls (first,second coats). |  |  |  | 0
1 ) | Ground Floor | 235 | m² |  | 0
2 ) | First Floor | 215 | m² |  | 0
3 ) | Second Floor including gable wall | 245 | m² |  | 0
0
4.3.2 | a) 15mm cement plastering on internal walls and concrete surfaces with 1:4 Cement mortor mix as specified incl. wire mesh at joints of concrete surfaces and walls (one coat). |  |  |  | 0
1 ) | Ground Floor | 315 | m² |  | 0
2 ) | First Floor | 525 | m² |  | 0
3 ) | Second Floor including gable wall | 825 | m² |  | 0
0
4.4 | Cement Screed Finish |  |  |  | 0
4.4.1 | 35mm thick Cement screeding on the |  |  |  | 0
| concrete floor with 1:4 cement mortar |  |  |  | 0
| mix incl. trowel finish; General Areas |  |  |  | 0
1 ) | Ground Floor | 490 | m² |  | 0
2 ) | First Floor | 255 | m² |  | 0
3 ) | Second Floor | 475 | m² |  | 0
0
4.4.3 | 75mm thick Cement screeding on the |  |  |  | 0
| concrete floor with 1:4 cement mortar |  |  |  | 0
| mix incl. trowel finish;balconies and Terrace areas |  |  |  | 0
0
1 ) | Terrace and above roof slab | 90 | m² |  | 0
TOTAL OF BILL NO. 04 (MASONRY AND PLASTERING) |  |  |  |  | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 05
METAL WORKS
5.1 | General
a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts incl. those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
b) Rates shall include for fabrication and erection and temporary supports and fixing into position.
5.2 | Staircase Handrailing
35 mm dia SS pipe as top member, 25 mm dia SS pipe as middle members as shown etc, including bolts, washers and fixing to reinforced concrete as shown in the drawing.
1 ) | Ground Floor | 8 | m |  | 0
2 ) | First Floor | 8 | m |  | 0
0
5.3 | Roof Trusses |  |  |  | 0
| Metal Truss as per drawings |  |  |  | 0
1 ) | TR1 Main trusses as per the drawings with CHS 60.3 and 42.4 mm members including fixing, painting etc | 14 | nos |  | 0
2 ) | C10015 C Purlins | 650 | m |  | 0
0
0
5.4 | Balcony parapet Handrailing |  |  |  | 0
| 50 mm dia SS pipe 2 top members with 25 mm dia SS pipe supports as showin drawings |  |  |  | 0
1 ) | Handrails | 70 | m |  | 0
0
TOTAL OF BILL NO. 05 (METAL WORKS) |  |  |  |  | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 06
WOOD / ROOF WORKS
6.1 | General
a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
b) Rate shall include for: timber priming and all painting as specified in the drawing
6.2 | Roof Coverings
1 ) | BHP Lysaught or Equivalent trim deck roofing sheets | 470 | m² |  | 0
2 ) | Ridge Capping | 36 | m |  | 0
3 ) | End Flashing | 26 | m |  | 0
4 ) | 50 mm thick rock wool insulation with wire mesh | 470 | m² |  | 0
5 ) | Down pipes as shown in drawings | 1 | Item |  | 0
6 ) | Gutter as shown in drawings | 26 | m |  | 0
TOTAL OF BILL NO. 06 (WOOD / ROOF WORKS) |  |  |  |  | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 07
CEILING
7.1 | General
a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
b) Rate shall include for:Priming and all painting as specified in the drawing
7.2 | Cement Board Ceiling
9 mm gypsum accoustic board on a Aluminium metal frame at 600 X 600mm grid, including framing, beading, nails and screws as per the manufacturer's specifications
1 ) | Second Floor | 260 | m² |  | 0
7.3 | Cement Board Ceiling
6 mm cement fibre sheet on a timber frame at 600 X 600mm grid, smoothed and painted including framing, beading, nails and screws as per the manufacturer's specifications
1 ) | Ground Floor | 35 | m² |  | 0
2 ) | First Floor | 35 | m² |  | 0
3 ) | Second Floor | 190 | m² |  | 0
TOTAL OF BILL NO. 07 (CEILINGS) |  |  |  |  | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 08
DOORS AND WINDOWS
8.1 | General
a) Rates shall include for: locks (mortise double locks), latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
b) All Aluminium windows shall be white powder coated aluminium.
c) All timber doors shall be solid treated timber panneled door with varnish finish.
d) All glazing shall be 6mm tempered glass (blue Tinted)
(Profiles to be chosen by client and as shown in the drawings).
0
8.2 | Door Units |  |  |  | 0
1 ) | Door D1 | 1 | nos |  | 0
2 ) | Door D2 | 10 | nos |  | 0
3 ) | Door D3 | 11 | nos
4 ) | Door D4 | 3 | nos
5 ) | Door D5 | 13 | nos
0
8.3 | Window Units |  |  |  | 0
1 ) | Window W1 | 17 | nos |  | 0
2 ) | Window W2 | 13 | nos |  | 0
3 ) | Window W3 | 12 | nos |  | 0
4 ) | Window W4 | 2 | nos |  | 0
5 ) | Shading device (Fixed Al.Louvers) | 1 | Item |  | 0
(Actual sizes to be chcked from Elevation and as per site conditions)
0
TOTAL OF BILL NO. 08 (DOORS AND WINDOWS) |  |  |  |  | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 9
TILING
9.1 | General
a) Rates shall include for: fixing, bedding, grouting, pointing, finishing and any other similar works to ensure the required finish.
b) Rates shall include for all other beading works required at the corneres
9.2 | Floor tiling (toilets) |  |  |  | 0
| 300 x 300 Non Slip Ceramic tiles as shown in drawings |  |  |  | 0
1 ) | First Floor | 20 | m² |  | 0
2 ) | Second Floor | 20 | m² |  | 0
0
0
9.3 | Wall tiling (toilets) |  |  |  | 0
| 300 x 600 Polished Ceramic Tiles upto ceiling height as shown in drawings |  |  |  | 0
1 ) | First Floor | 105 | m² |  | 0
2 ) | Second Floor | 105 | m² |  | 0
0
0
9.4 | General area |  |  |  | 0
| 450 X 450 mm Ceramic floor tiles for class room area as shown in drawings |  |  |  | 0
1 ) | First Floor | 52 | m² |  | 0
2 ) | Second Floor | 260 | m² |  | 0
0
9.5 | Outdoor areas |  |  |  | 0
| 600 X 600 mm non-skid out door tiles as shown in drawings |  |  |  | 0
1 ) | Ground Floor | 95 | m² |  | 0
2 ) | First Floor | 120 | m² |  | 0
3 ) | Second Floor | 150 | m² |  | 0
9.6 | Roof Terrace |  |  |  | 0
| 300 X 300 mm non-skid out door tiles as shown in drawings |  |  |  | 0
1 ) | Roof Terrace | 90 | m² |  | 0
0
0
TOTAL OF BILL NO. 9 (TILING) |  |  |  |  | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 10
PAINTING
10.1 | General
a) Rates shall include for: the provition, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and / or making floors, fittings and similar work, removing and replacing door and window furniture
b) All painting work shall be carried in accordance with the specifications.
Sigma or Equivalanet for External Walls and Nippon brand for interal finishes
10.2 | Walls
Weather proof emulsion paint system with textured finish on plastered and concrete surfaces of external and normal emulsion paint on internal walls.
10.2.1 | External painting 1 coat of wall sealer, & 2 coats of paints
1 ) | Ground Floor | 235 | m² |  | 0
2 ) | First Floor | 215 | m² |  | 0
3 ) | Second Floor including gable wall | 245 | m² |  | 0
0
10.2.2 | Emulsion paint putty finish system on plastered and concrete surfaces of internal walls. |  |  |  | 0
| Internal Painting 1 coat of wall sealer & 2 coats of paints |  |  |  | 0
1 ) | Ground Floor | 315 | m² |  | 0
2 ) | First Floor | 525 | m² |  | 0
3 ) | Second Floor including gable wall | 825 | m² |  | 0
0
10.3 | Ceilings |  |  |  | 0
| Emulsion paint putty finish on concrete slab and beams |  |  |  | 0
| 1 coat of primer & 2 coats of paints |  |  |  | 0
1 ) | Emulsion putty paint finish | 820 | m² |  | 0
0
10.4 | Floor Paint |  |  |  | 0
| Epoxy floor paint system |  |  |  | 0
1 ) | Ground Floor | 340 | m² |  | 0
0
0
0
TOTAL OF BILL NO. 10 (PAINTING) |  |  |  |  | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 11
HYDRAULICS & DRAINAGE
11.1 | General
a) Rates shall include for: sockets, running joints, connections, elbows, junctions, reducers, expansion joints; backnuts and similar; incidental fittings, clips, saddles, brackets, straps, hanges, screws, nails and fixing complete, including cutting and
11.2 | Rain water pipework
1 ) | Allow for rain water connection as shown in drawings | 1 | item |  | 0
0
11.3 | Ground water supply pipework |  |  |  | 0
1 ) | Allow for Ground water supply from well to fixtures as shown in drawings | 1 | Item |  | 0
0
11.4 | Sanitary Fixtures & Accessories |  |  |  | 0
| Sanitary Fixtures complete including brackets flush pipes, overflows and washers etc. |  |  |  | 0
| 1 ) All toilet fittings shall be "Cotto" or equivalent - chrome plated |  |  |  | 0
| 2 ) All toilet fixtures shall be "Cotto" or equivalent brand. |  |  |  | 0
| 3 ) All piping shall be of UPVC |  |  |  | 0
| 4 ) All kitchen sinks shall be of SS type with chrome plated taps. |  |  |  | 0
| 5 ) All water pumps shall be of "Davie Jet" brand or equivalent. |  |  |  | 0
1 ) | Water Closet | 8 | nos |  | 0
2 ) | Wash basin with counter granite top as shown in drawings | 4 | nos |  | 0
3 ) | Wash basin tap | 4 | nos |  | 0
4 ) | Muslim Shower | 8 | nos |  | 0
5 ) | Floor waste with gully trap | 14 | nos |  | 0
6 ) | Mirror with accessories | 4 | nos |  | 0
7 ) | Water Taps / Faucet | 2 | nos |  | 0
8 ) | Water Dispenser | 2 | nos |  | 0
9 ) | Valves | 40 | nos |  | 0
0
11.5 | Drainage |  |  |  | 0
| Discharge pipework |  |  |  | 0
1 ) | Complete Discharge pipe work, basement drain covers, and required casings or trays | 1 | item |  | 0
2 ) | Connecting to Soak pit (Rate shall include the soak pit) | 1 | item |  | 0
3 ) | Constructing Inspection Chamber of required size with all provisions to connect pipelines as per drawing. | 1 | nos |  | 0
0
4 ) | Construction of Septic tank as required as per the drawings | 1 | nos |  | 0
0
TOTAL OF BILL NO. 11 (HYDRAULICS AND DRAINAGE) |  |  |  |  | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 12
ELECTRICAL INSTALLATIONS
12.1 | General
a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
b) Rate shall include for electrical conduits, fittings, equipment and similar all fixings
c) Each light / light fixture and its switches shall measure as one one point: similarly each sockets or each fans shall measured as one point.
d) Rate shall include for supply and complete installation of all floors.
e) Provide junction box for each separate unit of telephone and cable tv system.
12.2 | Main Connection
| Allow for three phase main connection from STELCO board to Panel / Distribution board | 1 | item |  | 0
12.3 | Electrical boards |  |  |  | 0
| Complete installation incl. for all connection earthing, painting, testing and similar of; |  |  |  | 0
1 ) | Main panel /Distribution board | 1 | nos |  | 0
2 ) | Floor Main Distribution board | 3 | nos |  | 0
2 ) | Distribution boards | 10 | nos |  | 0
12.4 | Electrical wiring |  |  |  | 0
| Electrical wiring with copper conductor cable in conduits in walls and slab as specified to |  |  |  | 0
1 ) | 1.5mm2 Wiring to light fixtures, fans and its switches | 222 | points |  | 0
2 ) | 2.5 mm2 Wiring to Socket Switches | 92 | points |  | 0
3 ) | Cabling to Distribution boards | 10 | points |  | 0
4 ) | Cabling for Telephon sockets | 15 | points |  | 0
5 ) | Cabling for Television sockets | 6 | points |  | 0
6 ) | Cabling for Multimedia sockets | 5 | points |  | 0
7 ) | Cabling for Speakers | 14 | points |  | 0
8 ) | Cabling for VGA sockets | 12 | points |  | 0
0
12.5 | Ceiling Fans |  |  |  | 0
1 ) | 1200 mm dia ceiling fan | 48 | nos |  | 0
2 ) | Fan dimmers | 48 | nos |  | 0
3 ) | Exhaust fans | 8 | nos |  | 0
0
12.6 | Lighting |  |  |  | 0
1 ) | 2 X 36 Watt Flourscent lamps | 80 | nos |  | 0
2 ) | Wall mount energy savign lights | 4 | nos |  | 0
3 ) | 1 X 26 Watt Flourscent lamps | 46 | nos |  | 0
4 ) | 1 X 60 watt Incandescent lamps | 22 | nos |  | 0
5 ) | 1 X 60 watt Incandescent lamps (W) | 14 | nos |  | 0
0
0
0
12.7 | Switches and Socket outlets |  |  |  | 0
| All sockets shall be "Clipsal"or equivalent (Refer to drawings for label reference) |  |  |  | 0
1 ) | 1 X 13 A socket single gang | 50 | nos |  | 0
2 ) | 2 X 13 A socket double gang | 30 | nos |  | 0
3 ) | 1 X 15 A socket | 12 | nos |  | 0
4 ) | VGA cable socket | 12 | nos |  | 0
5 ) | Telephone / Networking socket | 15 | nos |  | 0
6 ) | Multimedia socket | 5 | nos |  | 0
7 ) | Television socket | 6 | nos |  | 0
8 ) | Speaker socket point outlet | 14 | nos |  | 0
0
12.8 | Switches |  |  |  | 0
1 ) | Switches | 35 | nos |  | 0
TOTAL OF BILL NO. 12 (ELECTRICAL INSTALLATIONS) |  |  |  |  | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 13
ADDITIONS
Bill No: 01
Bill No: 02
Bill No: 03
Bill No: 04
Bill No: 05
Bill No: 06
Bill No: 07
Bill No: 08
Bill No: 09
Bill No: 10
Bill No: 11
Bill No: 12
TOTAL OF BILL NO. 13 (ADDITIONS) |  |  |  |  | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 14
OMISSIONS
Bill No: 01
Bill No: 02
Bill No: 03
Bill No: 04
Bill No: 05
Bill No: 06
Bill No: 07
Bill No: 08
Bill No: 09
Bill No: 10
Bill No: 11
Bill No: 12
TOTAL OF BILL NO. 14 (OMISSIONS) |  |  |  |  | 0
(CARRIED OVER TO THE GENERAL SUMMARY)

## SUMMARY
PROJECT: 6 CLASS ROOM BLOCK AT N.HOLHUDHOO SCHOOL (3-STOREY)
CONSTRUCTION OF 03 STOREY BUILDING
SUMMARY OF BILLS OF QUANTITIES
SL.NO | BILL NAME | AMOUNT (MRF)
1 ) | TOTAL OF BILL NO. 01 (PRELIMINARIES) | 0
2 ) | TOTAL OF BILL NO. 02 (GROUND WORKS) | 0
3 ) | TOTAL OF BILL NO. 03 (CONCRETE WORKS) | 0
4 ) | TOTAL OF BILL NO. 04 (MASONRY AND PLASTERING) | 0
5 ) | TOTAL OF BILL NO. 05 (METAL WORKS) | 0
6 ) | TOTAL OF BILL NO. 06 (WOOD / ROOF WORKS) | 0
7 ) | TOTAL OF BILL NO. 07 (CEILINGS) | 0
8 ) | TOTAL OF BILL NO. 08 (DOORS AND WINDOWS) | 0
9 ) | TOTAL OF BILL NO. 9 (TILING) | 0
10 ) | TOTAL OF BILL NO. 10 (PAINTING) | 0
11 ) | TOTAL OF BILL NO. 11 (HYDRAULICS AND DRAINAGE) | 0
12 ) | TOTAL OF BILL NO. 12 (ELECTRICAL INSTALLATIONS) | 0
13 ) | TOTAL OF BILL NO. 13 (ADDITIONS)
14 ) | TOTAL OF BILL NO. 14 (OMISSIONS)
GRAND TOTAL |  | 0

## Cover
BILL OF QUANTITIES
PROJECT: N.HOLHUDHOO SCHOOL (3-STOREY)
PROPOSED 6 CLASS ROOM BLOCK BUILDING
ENHANCING EDUATION DEVELOPMENT PROJECT (EEDP)
CLIENT: MINISTRY OF EDUCATION
AUGUST - 2015