## COVER SHEET
BILL OF QUANTITIES
FINISHING WORKS OF HEALTH CENTRE EXTENSION
LAAMUGAAFU DHAALU FARES MAATHODA

## SUMMARY
SUMMARY OF BILLS OF QUANTITIES
FINISHING WORKS OF HEALTH CENTRE EXTENSION
Bill No | Description |  | Amount
1 | PRELIMINARIES | Bill no. 01 | 0
2 | GROUND WORKS | Bill no. 02 | 0
3 | CONCRETE | Bill no. 03 | 0
4 | MASONRY AND PLASTERING | Bill no. 04 | 0
5 | ROOFING | Bill no. 05 | 0
6 | DOORS AND WINDOWS | Bill no. 06 | 0
7 | TILING | Bill no. 07 | 0
8 | CEILINGS | Bill no. 08 | 0
9 | PAINTING | Bill no. 09 | 0
10 | ELECTRICAL INSTALLATIONS | Bill no. 10 | 0
11 | HYDRAULICS & DRAINAGE | Bill no. 11 | 0
12 | RENOVATION WORKS | Bill no. 12 | 0
13 | AIR CONDITIONING SYSTEM | Bill no. 13 | 0
14 | TENDERER'S ADJUSTMENTS | Bill no. 14 | 0
| GRAND TOTAL carried to form of bid |  | 0

## BoQ
BILL OF QUANTITIES
FINISHING WORKS OF HEALTH CENTRE EXTENSION
LAAMUGAAFU DHAALU FARES MAATHODA
Item | Description | Unit | Quantity | Rate/ Unit | Rate/ Unit | Total Unit Rate | Amount
|  |  |  | Material | Labour | Rates per Units
BILL No: 01
PRELIMINARIES
1.1 | General Notes
(1) | Abbreviations
m - meter
No - numbers
m³ - cubic meter
m² - square meter
Lm - Linear meter
KG - Kilograms
incl - including
mm - millimeter
dia - diameter
SS - Stainless Steel
GI - Galvanized Iron
1.4 | Clean-up
1 | Allow for clean-up of completed works and site upon completion. | Item | 1 |  |  | 0 | 0
2.6 | INSPECTION TRIPS
1 | Arrange inspection trip to consultant, each inspection trip takes 2 days, contractor has to arrange 2 air ticket from Male'/Gdh. Kaadedhoo/Male' by air (normal fair) and Kaadedhoo/Fares maathoda/Kaadedhoo by Speed boat and Accommodation ( 1 Air condition room with 2 twin beds) to be include. Type of speed boat should be Gulf craft Touring 36 or equivalent. | No | 5 |  |  | 0 | 0
| BILL No: 01 PRELIMINARIES | [5 empty] | 0
TOTAL OF BILL No: 01 - Carried over to summary
BILL No: 02
GROUND WORKS
2.1 | General
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and disposing surplus soil.
2.3 | Basement filling Above ground level.
1 | Back filling above ground level in 100mm thick compacted layers of approved back fill soil and disposal of any excess soil and including ramp: rates shall include for leveling, grading, trimming and compaction in 100mm layers of filled areas of excavation | m³ | 103.33 |  |  | 0 | 0
2.4 | Damp Proof Membrane
Cutting and laying in position heavy duty polythene sheets of gauge 500 (not less than 1.5mm thick). Rates shall include for: dressing around and sealing to all penetrations. Apply slurry type waterproofing to all surfaces of concrete below ground level in accordance with manufacturer's instructions.
1 | Damp proof membrane below floor slab | m² | 301.94 |  |  | 0 | 0
| BILL No: 02 - GROUND WORKS | [5 empty] | 0
TOTAL OF BILL No: 02 - Carried over to summary
BILL No: 03
CONCRETE
3.1 | General
Rates shall include for cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and other supports, laps and wastage, all reinforcement bars except 6 mm dia bars shall be of deformed high strength bars. 6 mm bar shall be round mild steel bars. Binding wire shall be of 1.6 mm or 1.4 mm soft iron wire. Reinforcement bars shall be cleaned before use i.e. should be free from rust, oil, din, or other coatings that reduces bonds, all reinforced bars and binding wires shall be stored under cover of at least 450 mm above the ground, cutting and bending according to approved manner & the approved working drawing, placing and fixing in position and binding should be as per the approved working drawing, laps in the bars shall be staggered, concrete cover for reinforcement shall not less than 50 mm for substructure, 40 mm for columns & side beams and not more than 30 mm for slab and beam bottoms.
3.1.2 | Ground Floor
1 | 100mm thick RC floor slab | m³ | 22.65 |  |  | 0 | 0
3.2 | Ground water Well
1 | Fabricate and completion of RC ground water well as per drawings, includes Concrete, Reinforcement, formwork, ecavation and other necessary works. | Item | 1 |  |  | 0 | 0
3.5 | Reinforcement
GENERAL : Rates shall include for cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and other supports, laps and wastage, all reinforcement bars except 6 mm dia bars shall be of deformed high strength bars. 6 mm bar shall be round mild steel bars. Binding wire shall be of 1.6 mm or 1.4 mm soft iron wire. Reinforcement bars shall be cleaned before use i.e. should be free from rust, oil, din, or other coatings that reduces bonds, all reinforced bars and binding wires shall be stored under cover of at least 450 mm above the ground, cutting and bending according to approved manner & the approved working drawing, placing and fixing in position and binding should be as per the approved working drawing, laps in the bars shall be staggered, concrete cover for reinforcement shall not less than 50 mm for substructure, 40 mm for columns & side beams and not more than 30 mm for slab and beam bottoms.
(b) All reinforcing bars shall be high strength bars.
[6 empty] | 0 | 0
3.5.1 | Floor Slab |  |  |  |  | 0 | 0
1 | Steel ring bars, 6mm dia x 6m @300 C/C BW | Bars | 185 |  |  | 0 | 0
[6 empty] | 0 | 0
3.6 | Sink cupboards
1 | Fabrication of Concrete sink cupboard at Laboratory, 3.850 Meter length and 900mm width as per drawings, Rates shall include, concrete works tiling of all surfaces, installation of ceramic laboratory sink 620x480x255mm, (Cotto or equivalent) with an wall mount elbow operated faucet. And Rates shall also include all hydraulic works related to this item. Also rates shall include fixing of timber door panel and shelves. | Item | 1 |  |  | 0 | 0
2 | Fabrication of Concrete sink cupboard at Dressing and Injection room, 2.1 Meter length and 650mm width as per drawings, Rates shall include, concrete works tiling of all surfaces, installation of ceramic laboratory sink (Cotto or equivalent) with an wall mount elbow operated faucet. And Rates shall also include all hydarulic works related to this item. Also rates shall include fixing of timber door panel and shelves. | Item | 1 |  |  | 0 | 0
3 | Fabrication of Concrete sink cupboard at Nurse station, 2.1 Meter length and 650mm width as per drawings, Rates shall include, concrete works tiling of all surfaces, installation of ceramic laboratory sink (Cotto or equivalent) with an wall mount elbow operated faucet. And Rates shall also include all hydarulic works related to this item. Also rates shall include fixing of timber door panel and shelves. | Item | 1 |  |  | 0 | 0
4 | Fabrication of Concrete Bench at Laboratory, 2.4 Meter length and 650mm width as per drawings, Rates shall include, concrete works tiling of all surfaces, And Rates shall also include all hydarulic works related to this item. Also rates shall include fixing of timber door panel and shelves. | Item | 1 |  |  | 0 | 0
| BILL No: 03 - CONCRETE WORKS | [5 empty] | 0
TOTAL OF BILL No: 03 - Carried over to summary
BILL No: 04
MASONRY AND PLASTERING
4.1 | General
Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good. Bedding mortar (mixing ratio 1:4 i.e. cement: sand) shall be of OPC & fine aggregate shall be imported river sand shall be approved in grading & clean from any harmful substance. Masonry work shall be done with approved Machine compact cement blocks (300X150X150) with no defects. Lay in line and length as per approved working drawing Block making (mixing ratio 1:4 i.e. cement: sand) shall be of OPC & Local sand free form salt.
floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding
Rates shall include for: 25mm groove lines on external surfaces as shown on the drawing.
4.2 | Cement block work of new walls
1 | 150mm Thick Hollow block Masonry wall for ground floor ( Connection area works) | m² | 10 |  |  | 0 | 0
4.3 | Plastering
GENERAL: Interior and Exterior: Plaster All masonry wall have smooth finishing of 18 mm thick cement plastering with mix ratio 1:4 (i.e. cement: River Sand), plastering material shall be of OPC & fine aggregate shall be imported river sand shall be approved in grading & clean from any harmful substance. Plastic net should be provided wherever concrete surface and masonry meets, and cracks are unacceptable. Regular curing up to 7 days must be done, edges of doors, windows and ventilators included.
1 | Interior and Exterior plaster 18mm thick ( 150mm thick hollow block masonary wall) 450mm from foundation. | m² | 20 |  |  | 0 | 0
| BILL No: 04 - MASONRY AND PLASTERING | [5 empty] | 0
TOTAL OF BILL No: 04 - Carried over to summary
BILL No: 05
ROOFING
5.1 | General
(a) Rates shall include for: fair edges, dressing over angel fillets, turning into grooves, all other labours, circular edges, nails, screws and other fixings and laps.
(b) Rates shall include to apply Wood preservative to all the surface of timbers (Roof structure).
0
5.2 | Capping and Flashings | [5 empty] | 0
1 | End Capping: Blue scope steel international limited MSP- Aqua marine or equivalent | m | 32 |  |  | 0 | 0
[6 empty] | 0 | 0
5.2 | Gutter |  |  |  |  | 0 | 0
| (a) MSP Colorbond flat sheet gutter including framing, and supports, straps, brackets, clips, stop ends, overflow, downpipe outlets, mesh flashings and all fixings and fastenings. |  |  |  |  | 0 | 0
1 | GUTTER: Blue scope steel international MSP- Aqua marine or equivalent | m | 82 |  |  | 0 | 0
[6 empty] | 0 | 0
5.3 | Down Pipes |  |  |  |  | 0 | 0
1 | 75 mm dia uPVC down pipes including bends, junctions, straps, brackets, clips, roof drain strainer and all fixings. | m | 49.22 |  |  | 0 | 0
0
5.7 | Roof Structure
(a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws. (b) Rates includes to applying solignam wood preservative oil to all the surface of roof structure. (c) Rates include to fixing galvanized bolt with washers and nuts as show on the drawings.
[6 empty] | 0 | 0
1 | Timber fascia board 25 X 250mm | m | 105.2 |  |  | 0 | 0
[6 empty] | 0 | 0
| BILL No: 05 - ROOFING | [5 empty] | 0
TOTAL OF BILL No: 05 - Carried over to summary
BILL N0: 06
DOORS AND WINDOWS
6.1 | General
Aluminum Doors and windows, Fabricate and fix in position the aluminum doors and window frame - aluminum doors and window (white powder coated, 60-80 micron, 1.5mm profile thickness) using recommended material with specified fixtures as shown in approved working drawings and installation should be as per technical specifications. Rates shall include for locks, latches, closures, push plates, pull handles, bolts, kick plates hinges, screws, washer and all door and window hardware and these materials should be of ss steel according to drawing and of superior quality.
(a) All door and window frames and panels shall be as specified in the drawing
(b)All glass should be a frosted.
6.2 | Door / Windows units
1 | D1, Decorative Solid timber Door 2600x1700mm with panels as per drawings | no | 1 |  |  | 0 | 0
2 | D2, Aluminum 60-80 Micron, white powder coated Door 2150X1800mm with panels as per drawings | no | 1 |  |  | 0 | 0
3 | D3, Timber Door 2150X900mm with panels as per drawings | no | 9 |  |  | 0 | 0
4 | D4, Timber Door 2150X900mm with panels as per drawings | no | 3 |  |  | 0 | 0
5 | D5, Decorative Solid Timber Door 2150X900mm with panels as per drawings | no | 2 |  |  | 0 | 0
6 | W1, Aluminum 60-80 Micron, white powder coated window 1750x1300mm with panels as per drawings | no | 14 |  |  | 0 | 0
7 | W2, Aluminum 60-80 Micron, white powder coated window 1750x675mm with panels as per drawings | no | 2 |  |  | 0 | 0
8 | W3, Aluminum 60-80 Micron, white powder coated window 1200x1800mm with panels as per drawings | no | 2 |  |  | 0 | 0
9 | V1, Aluminum 60-80 Micron, white powder coated window 500x650mm with panels as per drawings | no | 3 |  |  | 0 | 0
6.4 | Window Curtains
Supply and installation of window curtains for following doors, quality of window curtain should be sun protected medium quality, Size of finished curtain should be 2.4X2.2meter for W1 window and 2.4X1.575meter, Rates should be complete installation of curtain with railing.
1 | W1 windows | No | 14 |  |  | 0 | 0
2 | W1 windows | No | 2 |  |  | 0 | 0
[6 empty] | 0 | 0
6.5 | Counters |  |  |  |  | 0 | 0
1 | Design and Fabrication of Registration counter as per drawings and floor plan | No | 1 |  |  | 0 | 0
2 | Design and Fabrication of Nurse station counter as per floor plan. | No | 1
[6 empty] | 0 | 0
6.6 | Partition Works |  |  |  |  | 0 | 0
1 | Fabrication of 100mm thick full height ( up to the ceiling) Partition as per drawing, 100X50mm timber frame at 1200X600 c/c with both side 6mm thick M board with paint finish. ( Office area) | m² | 33 |  |  | 0 | 0
2 | Fabrication of 100mm thick full height ( up to the ceiling) Partition as per drawing, 100X50mm timber frame at 1200X600 c/c with both side 6mm thick M board with paint finish. ( Nurses Store) | m² | 20 |  |  | 0 | 0
3 | Fabrication of 100mm thick full height ( up to the ceiling) Partition as per drawing, 100X50mm timber frame at 1200X600 c/c with both side 6mm thick M board with paint finish. (Laboratory) | m² | 11 |  |  | 0 | 0
| BILL N0: 06 - DOORS AND WINDOWS | [5 empty] | 0
TOTAL OF BILL No: 06 - Carried over to summary
BILL N0: 07
TILING
7.1 | General
Prepare surface for approved bedding tiles with reach bedding materials as per the technical specifications & approved working drawings, fix tiles with ct grout in a precise manner to maintain correct alignment, applying tile grout and wiping any excess grout to ensure the required standards of finished works. Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing any other similar works to ensure the required finish. All tiles shall be White ceramic / Homogeneous or equivalent.
7.2 | Floor finish
7.2.1 | 300x300 skid resistant White Ceramic floor tiles,
1 | Ground Floor, General area floor tiles | m² | 270.14 |  |  | 0 | 0
2 | Ground Floor, Toilet area floor tiles | m² | 7.8 |  |  | 0 | 0
2 | Ground Floor, Portico area, External tiles | m² | 27.9 |  |  | 0 | 0
[6 empty] | 0 | 0
7.3 | Wall finish |  |  |  |  | 0 | 0
7.3.1 | 300x600 mm glazed white ceramic wall tile, |  |  |  |  | 0 | 0
1 | Laboratory, 2.4M from FFL | m² | 35.82 |  |  | 0 | 0
2 | Dressing & Injection Room, 2.4M from FFL | m² | 31.34 |  |  | 0 | 0
3 | 150mm hight tile boader | M | 165 |  |  | 0 | 0
[6 empty] | 0 | 0
7.3 | Toilet Wall finish |  |  |  |  | 0 | 0
7.3.1 | 300x600 mm glazed white ceramic wall tile, |  |  |  |  | 0 | 0
1 | Toilet wall finish, 2.4 Meter from Floor finish level (public toilet) | m² | 14.44 |  |  | 0 | 0
2 | Toilet wall finish, 2.4 Meter from Floor finish level (office toilet) | m² | 13.96 |  |  | 0 | 0
2 | Toilet wall finish, 2.4 Meter from Floor finish level (PHUe toilet) | m² | 13.96 |  |  | 0 | 0
| BILL No: 7 - TILING | [5 empty] | 0
TOTAL OF BILL No: 7 - Carried over to summary
BILL No: 8
CEILINGS
8.1 | Interior Ceilings
Interior ceiling consist of GI frame with Gypsum board suspended ceiling, including framing beading nails and screws as per manufactures instruction.
1 | Ground floor | m² | 403.94 |  |  | 0 | 0
8.2 | Exterior Ceilings
Exterior ceiling consist of 6mm thick M board suspended ceiling, including framing beading nails and screws. Grid of the frame to be 600 X 600 with timber supports to roof structure at every 1200 mm on the main entrance ceiling & 600X900 mm at eaves of roof ceiling, timber framing and supports shall 50 x 50mm size shall be seasoned red meranti timber as per given drawing.
1 | Portico | m² | 24 |  |  | 0 | 0
1 | Ground floor | m² | 77.76 |  |  | 0 | 0
| BILL N0: 8 CEILINGS | [5 empty] | 0
TOTAL OF BILL No:8 - Carried over to summary
BILL No: 9
PAINTING
9.1 | General
Exterior wall shall be of 1 coat of oil based textured paint and 2 coats of Sigma weather bond paint ( white, oil based ) over 1 coat of oil based sealer ( white) or equivalent (according to technical specifications or approved drawings). Erection of scaffolding, preparing working platforms, applying sealer and two coats of paint as specified in the working drawings. Removal of scaffolding if any after completion of work. Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window and including soffits and sides of beams.
Interior wall shall be of 2-3 coats over 1 coat of water based sealer. Rates includes Erection of scaffolding, preparing working platforms, applying sealer and two coats of paint as specified in the working drawings. Removal of scaffolding if any after completion of work. Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window and including soffits and sides of beams.
Exterior & Exterior Ceiling (interior and exterior) shall be of 2 coats of (bodelac 9000) high gloss wood paint over 1 coat of wood primer (bodelac 9000 undercoat) or equivalent. Erection of scaffolding, preparing working platforms, applying sealer and two coats of paint as specified in the working drawings. Removal of scaffolding if any after completion of work. Rates shall include for the provision and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and or masking floors fittings and similar work removing and replacing door window furniture.
All painting work shall be carried in accordance with the Specifications
9.2 | Wall painting
1 | External Plaster surface of walls (with texture) as per specification given. | m² | 245.2 |  |  | 0 | 0
2 | Internal Plaster surface of walls as per specification given. | m² | 778.8 |  |  | 0 | 0
9.3 | Interior Ceilling painting
1 | Interior Ceiling painting as per specification given. | m² | 403.94 |  |  | 0 | 0
9.3 | Exterior ceilling painting
1 | Exterior Ceiling painting as per specification given. | m² | 101.76 |  |  | 0 | 0
| BILL No: 9 - PAINTING | [5 empty] | 0
TOTAL OF BILL No: 9 - Carried over to summary
BILL No: 10
ELECTRICAL INSTALLATIONS
10.1 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates shall include for electrical conduits, fittings, equipment and similar all fixings to various building surfaces
(d) Each Light/ light fixture and its switch is measured as one one point; similarly each fan or each socket outlet is measured as one point;
(e) Rates shall include for supply and complete installation
10.2 | Mains connection
1 | Main connection: Rates shall include for screws, nails, bolts ,nuts, standard cable, fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories. Rates shall including for electrical conduits, fittings, equipment and similar items. Three - PHASE CABLE WIRING TO D-BOARD: All necessary work in trench shall include for excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers warning tape and disposal of surplus soil supply and laying of the cable in according to Maldives electricity bureau. ( 16mm2 4-Core Cable, Approved by respective Authorities, GI pipe, warning tape), contractor has to measure cable length from site. ( For Main Building) | no | 1 |  |  | 0 | 0
2 | Main connection: Rates shall include for screws, nails, bolts ,nuts, standard cable, fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories. Rates shall including for electrical conduits, fittings, equipment and similar items. Three - PHASE CABLE WIRING TO D-BOARD: All necessary work in trench shall include for excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers warning tape and disposal of surplus soil supply and laying of the cable in according to Maldives electricity bureau. ( 16mm2 4-Core Cable, Approved by respective Authorities, GI pipe, warning tape), contractor has to measure cable length from site. ( For Pharmacy) | no | 1 |  |  | 0 | 0
10.3 | Electrical Boards
1 | Three phase electrical distribution board (wall embedded) with one Meter: Supply and installation of D-Board . Rates Shall include all required Brackets and other electrical appliance as per drawings and Maldivian Regulations ( wall embedded ) Meter to be cover with whether proof box. All the light circuit should be one DB Sockets to be one DB. | no | 2 |  |  | 0 | 0
10.4 | Electrical wiring
Three phase Electrical wiring with copper conductor cable in conduits in walls and in casing on soffits of slab as specified to:
1 | Wiring with 2.5 mm² cable to 1x13 Amp Power points | points | 21 |  |  | 0 | 0
2 | Wiring with 2.5 mm² cable to 2 x 13 Amp Power points | points | 30 |  |  | 0 | 0
3 | Wiring with 2.5 mm² cable to 1 x 15 Amp Power points | points | 1 |  |  | 0 | 0
4 | Wiring with 2.5 mm² cable to 1 x 15 Amp Power points (for AC) | points | 10 |  |  | 0 | 0
5 | Wiring with 2.5 mm² cable to lights and fan | points | 74 |  |  | 0 | 0
[6 empty] | 0 | 0
10.5 | Lighting / Fan |  |  |  |  | 0 | 0
1 | Ceiling embeded down light 200mm dia with 13W LED bulb, (Philips) E27, Cool day light, Total lumen 1400. or equivalent | no | 51 |  |  | 0 | 0
2 | LED Emergency light ( 2 hours Battery charge) | no | 12 |  |  | 0 | 0
3 | Whether proof ceiling mount light with with 13W LED bulb, (Philips) E27, Cool day light, Total lumen 1400, for Portico area | no | 3 |  |  | 0 | 0
3 | Whether proof ceiling mount light with with 13W LED bulb, (Philips) E27, Cool day light, Total lumen 1400, | no | 8 |  |  | 0 | 0
10.6 | Socket outlets
(a) All socket outlets shall be "Legrand" or equivalent.
1 | 1x13Amp wall Socket outlet, 100mm below ceiling | no | 21 |  |  | 0 | 0
2 | 2x13Amp wall Socket outlet, 700mm above floor level | no | 30 |  |  | 0 | 0
3 | 1x15Amp wall Socket outlet, 300mm below ceiling level | no | 1 |  |  | 0 | 0
4 | 1x15Amp wall socket outlet, for AC | no | 10 |  |  | 0 | 0
10.7 | Light switches
(a) All light switches shall be "Legrand" or equivalent. Each light should be control by one switch.
1 | One gang switch | no | 4 |  |  | 0 | 0
2 | Two gang switch | no | 11 |  |  | 0 | 0
3 | Three gang switch | no | 10 |  |  | 0 | 0
4 | Four gang switch | no | 1 |  |  | 0 | 0
5 | Out door photo cell switch | no | 3 |  |  | 0 | 0
[6 empty] | 0 | 0
10.8 | Water pump |  |  |  |  | 0 | 0
1 | Supply and complete installation of DEAVY or equivalent pump for Fresh water | Item | 1 |  |  | 0 | 0
2 | Supply and complete installation of DEAVY or equivalent pump for ground water | Item | 1 |  |  | 0 | 0
| BILL No: 10 - ELECTRICAL INSTALLATIONS | [5 empty] | 0
TOTAL OF BILL No: 10 - Carried over to summary
BILL No: 11
HYDRAULICS & DRAINAGE
11.1 | Hydraulics
11.1.1 | General
(a) Rates shall include for excavation, laying pipes and backfilling trenches, maintaining faces of drainpipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints brackets, joints, straps, hangers, screws, nails and fixing complete, and all joints and other incidental material, All Pipes and fittings area high pressure uPVC pipes
fixing complete, including cutting and forming holes; excavating, laying pipes and backfilling trenches.
(b) All pipe work shall be uPVC.
11.1.2 | Ground water supply pipe work
1 | Completion of pipe works and Connect ground water supply pipe work to existing system. | no | 1 |  |  | 0 | 0
11.1.3 | Rain water supply pipe work
1 | Completion of pipe works and Connect rain water supply pipe work to existing system. For Nurse station sink | no | 1 |  |  | 0 | 0
11.1.3 | Sanitary fixtures & accessories
| Sanitary fixtures & Accessories: Sanitary fixtures complete including brackets, flush pipes, valves, overflows, plugs and washers, as specified. |  |  |  |  | 0 | 0
1 | Water closet (Cotto) or equivalent, (dual top flush) | no | 3 |  |  | 0 | 0
2 | Wash basin with stand (Cotto) or equivalent | no | 3 |  |  | 0 | 0
3 | Floor drain with gully & water trap. | no | 3 |  |  | 0 | 0
4 | Water tap for wash basin , ( Cotto) or equivalent | no | 3 |  |  | 0 | 0
5 | Muslim Shower with Stop valve, ( Cotto) or equivalent | no | 3 |  |  | 0 | 0
6 | Stop Valves, ( Cotto) or equivalent | no | 9 |  |  | 0 | 0
7 | Wall cabinet | no | 3 |  |  | 0 | 0
8 | Counter top ceramic laboratory Wash basin with cuboad as per drawings for Laboratory | no | 1 |  |  | 0 | 0
9 | Counter top ceramic laboratory Wash basin with cuboad as per drawings for Dressing & Injection room | no | 1 |  |  | 0 | 0
10 | Elbow operated water tap for Ground water & Rain water ( tap connection pipe to be extended 250mm SS pipe from wall),rain water and ground water | no | 2 |  |  | 0 | 0
11 | Water tap at back side of the building, ( Cotto) or equivalent to connect hose. | no | 1 |  |  | 0 | 0
11.2 | Drainage
11.2.1 | General
(a) Rates shall include for: excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus spoil; bends, junctions, reducers, expansion joints and all joints and other incidental materials.
(b) All pipe work shall be UPVC
11.3 | Pipe work
1 | Completion of pipe works and Connect Waste disposal pipe 75mm dia UPVC to existing system. | Item | 1 |  |  | 0 | 0
2 | Completion of pipe works and Connect Sewersal pipe 100mm dia UPVC to existing system. | Item | 1 |  |  | 0 | 0
[6 empty] | 0 | 0
| BILL No: 11 - HYDRAULICS & DRAINAGE | [5 empty] | 0
TOTAL OF BILL No: 11 - Carried over to summary
BILL No: 12
RENOVATION WORKS
12.1 | General
(a) Rates shall include for completion of works as per drawings.
12.2 | Connection Works
1 | Demolition of existing wall as per drawing, rates to be include demolition of existing walls, plastering of edges, painting and cleaning of debris also other necessary works. | m² | 36 |  |  | 0 | 0
[6 empty] | 0 | 0
12.3 | Tilling |  |  |  |  | 0 | 0
1 | Removing of Wall tiles and laying floor tiles at toilet aera ans ward area, Rates includes to removing existing floor tiles, cleaning of debris, and plastering of tiles remiving area. | m² | 73.6 |  |  | 0 | 0
2 | screeding and laying new floor tiles, quality of ward area, quality of tiles should be White ceramic / Homogeneous or equivalent. | m² | 39.2 |  |  | 0 | 0
[6 empty] | 0 | 0
12.4 | Ceilling works |  |  |  |  | 0 | 0
1 | Removing of existing ceiling and instqallation of new ceiling, Rates includes to removing existing ceiling, cleaning of debris, specification of ceiling should be same as Bill No 8. (existing ward and toilet area) | m² | 40 |  |  | 0 | 0
12.5 | Drive way paving
1 | Paving ambuilance way as per drawing. Rates includes to erect edge blocks, backfilling, compacting and payving with dimon blocks ( manufatured by MRDC), demolition of 2 gate at Boundary wall and cast 2 column for each gate at boundary wall. | m² | 116 |  |  | 0 | 0
12.6 | Demolition of existing gorund water well.
| Demolition of existing water well located in existing building, Rates includes to demolish up to the ground level, fill with sand and other necesarry works, | Item | 1 |  |  | 0 | 0
| BILL No: 12 - RENOVATION WORKS | [5 empty] | 0
TOTAL OF BILL No: 12- Carried over to summary
BILL No: 13
AIR CONDITIONING SYSTEM
13.1 | General
Design, supply and complete installation of indoor and out door unit, with 40ø drop in water (type) 25ø extended as Cd drop in 32 flex conduit 18ø Cd drain (typ0 run above FC insulated, CU1/3 48,000 BTU/HR, all AC unit is DAIKIN VRV IV digital wired thermostat or equivalent (INVERTER TYPE).
(b) All the Air conditions are Inverter type, DIKIN or equivalent brand
Following rooms should be installed AC,
13.2 | Air Condition
1 | Consultation room, 9000Btu, Ceiling cassette | Item | 3 |  |  | 0 | 0
2 | Dressing and Injection room, 9000Btu, Split type | Item | 1 |  |  | 0 | 0
3 | Laboratory , 19000Btu, Ceiling cassette | Item | 2 |  |  | 0 | 0
4 | PHU room, 2400Btu, Ceiling cassette | Item | 1 |  |  | 0 | 0
5 | Office, 31000Btu, Ceiling cassette | Item | 2 |  |  | 0 | 0
| BILL No: 13 -AIR CONDITIONING SYSTEM | [5 empty] | 0
TOTAL OF BILL No: 13 - Carried over to summary
BILL No:14
TENDERER'S ADJUSTMENTS
(a) Provide detail description of work items under each bill and insert extra pages if required.
14.1 | Additions
1 | PRELIMINARIES, Bill no. 01 |  |  |  |  | 0 | 0
2 | GROUND WORKS, Bill no. 02 |  |  |  |  | 0 | 0
3 | CONCRETE, Bill no. 03 |  |  |  |  | 0 | 0
4 | MASONRY AND PLASTERING, Bill no. 04 |  |  |  |  | 0 | 0
5 | ROOFING, Bill no. 05 |  |  |  |  | 0 | 0
6 | DOORS AND WINDOWS, Bill no. 06 |  |  |  |  | 0 | 0
7 | TILING, Bill no. 07 |  |  |  |  | 0 | 0
8 | CEILINGS, Bill no. 08 |  |  |  |  | 0 | 0
9 | PAINTING, Bill no. 09 |  |  |  |  | 0 | 0
10 | HYDRAULICS & DRAINAGE, Bill no. 10 |  |  |  |  | 0 | 0
11 | ELECTRICAL INSTALLATIONS, Bill no. 11 |  |  |  |  | 0 | 0
12 | AIR CONDITIONING SYSTEM, Bill no. 12 |  |  |  |  | 0 | 0
13 | RENOVATION WORKS, Bill no. 13 |  |  |  |  | 0 | 0
14 | TENDERER'S ADJUSTMENTS, Bill no. 14 |  |  |  |  | 0 | 0
| ADDITIONS TOTAL | [5 empty] | 0
14.2 | Omissions
1 | PRELIMINARIES, Bill no. 01 |  |  |  |  | 0 | 0
2 | GROUND WORKS, Bill no. 02 |  |  |  |  | 0 | 0
3 | CONCRETE, Bill no. 03 |  |  |  |  | 0 | 0
4 | MASONRY AND PLASTERING, Bill no. 04 |  |  |  |  | 0 | 0
5 | ROOFING, Bill no. 05 |  |  |  |  | 0 | 0
6 | DOORS AND WINDOWS, Bill no. 06 |  |  |  |  | 0 | 0
7 | TILING, Bill no. 07 |  |  |  |  | 0 | 0
8 | CEILINGS, Bill no. 08 |  |  |  |  | 0 | 0
9 | PAINTING, Bill no. 09 |  |  |  |  | 0 | 0
10 | HYDRAULICS & DRAINAGE, Bill no. 10 |  |  |  |  | 0 | 0
11 | ELECTRICAL INSTALLATIONS, Bill no. 11 |  |  |  |  | 0 | 0
12 | AIR CONDITIONING SYSTEM, Bill no. 12 |  |  |  |  | 0 | 0
13 | RENOVATION WORKS, Bill no. 13 |  |  |  |  | 0 | 0
14 | TENDERER'S ADJUSTMENTS, Bill no. 14 |  |  |  |  | 0 | 0
| OMISSIONS TOTAL | [5 empty] | 0
| BILL No: 14 - TENDERER'S ADJUSTMENTS | [5 empty] | 0
TOTAL OF BILL No: 14 - Carried over to summary