## Cover
Bill of Quantities
COURT COMPLEX - S. HITHADHOO
PREPARED BY
ArchEng Studio Pvt. Ltd.

## Summary
PROJECT:COURT COMPLEX (SINGLE STOREY BUILDING)
SUMMARY OF BILL OF QUANTITIES
Bl.no | Item Description | Amount
1 | PRELIMINARIES | 0
2 | GROUND WORKS | 0
3 | CONCRETE WORKS | 0
4 | MASONRY & PLASTERING | 0
5 | FLOORING & TILING | 0
6 | DOORS & WINDOWS | 0
7 | CEILING & WOOD WORK | 0
8 | PAINTING | 0
9 | METAL WORK | 0
10 | HYDRAULICS & DRAINAGE | 0
11 | ELECTRICAL INSTALLATIONS | 0
12 | FIRE FIGHTING SYSTEM | 0
13 | SECURITY POST & PARKING SHED | 0
14 | ADDITIONS | 0
15 | OMISSIONS | 0
| GRAND TOTAL Mrf | 0

## Boq
PROJECT : COURT COMPLEX (SINGLE STOREY BUILDING) AT S. HITHADHOO
Item | Description | Unit | Qty | Material Rate | Labour Rate | Total
BILL No: 01
PRELIMINARIES
1.1 | General Notes
(1) | Abbreviations
m - metre
no - numbers
m³ - cubic metre
m² - square metre
m - metre
t - tonnes
incl - including
mm - millimetre
dia - diameter
SS - Stainless Steel
GI - Galvanised Iron
1.2 | Site Management Costs
(1) | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings, fences and similar items | Item | 1 |  |  | 0
0
1.3 | Sign Board |  |  |  |  | 0
(1) | Allow for sign board. | No | 1 |  |  | 0
0
1.4 | SAFETY |  |  |  |  | 0
(1) | Safety - Providing and fixing scaffolding with G.I. pipes and clamps and pvc netting alaround building during construction | Item | 1 |  |  | 0
0
1.5 | Clean-up |  |  |  |  | 0
(1) | Allow for clean-up of completed works and site upon completion. | Item | 1 |  |  | 0
BILL No: 01 PRELIMINARIES
| TOTAL OF BILL No: 01 - Carried over to summary |  |  |  |  | 0
BILL NO : 02
GROUND WORK
2.1 | General
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating, additional working space and disposing surplus soil.
2.2 | Site clearance |  |  |  |  | 0
| Clearing site - Demolition of Existing building and dispatch all debris, clearing and dispose all unwanted materials away from site and prepare site ready for proposed construction. | m² | 2600 |  |  | 0
0
2.3 | Excavation |  |  |  |  | 0
| (a) Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork , back fill , dewatering and others |  |  |  |  | 0
1.3.1 | Excavation |  |  |  |  | 0
1 ) | Foundations - F1 to F9, Tie beams & Boundary foundation beams | m³ | 415 |  |  | 0
0
2.4 | Back filling
(a) Rates shall include for: leveling, grading, trimming and compacting.
(b) Ground need to be compacted to the density required by the consultant
1 ) | 300mm thick highly compacted hard core below ground floor slab | m² | 2151 |  |  | 0
2 ) | 50mm thick sand blinding layer (1:10 - Cement & Sand mix) to receive damp proof membrane below ground floor slab | m² | 2151 |  |  | 0
2.5 | Damp Proof Membrane |  |  |  |  | 0
| (a) Rates shall include for: dressing around and sealing to all penetrations, laps and turnups. |  |  |  |  | 0
1 ) | Polythene damp proof membrane (500 gauge) laid on blinding layer. | m² | 2721 |  |  | 0
| Polythene sheet | roll | 50.3889 |  |  | 0
0
BILL No: 02 GROUND WORKS
| TOTAL OF BILL No: 02 - Carried over to summary |  |  |  |  | 0
BILL NO : 03
3.0 | CONCRETE
a ) Rates shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
b ) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:6 by volume.
c ) Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
3.1.1 | LEAN CONCRETE
50mm thick lean concrete
1 ) | Below Foundations | m² | 570 |  |  | 0
3.2 | REINFORCED CONCRETE
Rate shall include for all cast in situ concrete as per drawing and 500 gauge polythene sheet or asphalt sheet shall be laid below Foundations, Tie beams & Wall Beams as damp proof membrane.
1.0 | FOUNDATIONS
1.1 | FOUNDATION STRIP
1 ) | F1 - 600 x 600 x 250mm x 128nos | m³ | 11.52 |  |  | 0
2 ) | F2 - 1150 x 1150 x 250mm x 02nos | m³ | 0.66 |  |  | 0
3 ) | F3 - 700 x 700 x 250mm x 53nos | m³ | 6.49 |  |  | 0
4 ) | F4 - 800 x 800 x 250mm x 10nos | m³ | 1.6 |  |  | 0
5 ) | F5 - 1050 x 1050 x 250mm x 04nos | m³ | 1.1 |  |  | 0
6 ) | F6 - 900 x 900 x 250mm x 02nos | m³ | 0.41 |  |  | 0
7 ) | F7 - 900 x 1400 x 250mm x 04nos | m³ | 1.26 |  |  | 0
1.2 | TIE BEAMS
| TB | m³ | 74.6 |  |  | 0
2.0 | GROUND FLOOR
2.1 | COLUMNS
a ) | C1 - 150 x 150mm x 4650mm x 95nos | m3 | 9.94 |  |  | 0
b ) | C2 - 300mm dia. x 54nos | m3 | 17.75 |  |  | 0
c ) | C3 - 200 x 200mm x 58nos | m3 | 10.8 |  |  | 0
2.2 | R.C.C. GROUND FLOOR SLAB |  |  |  |  | 0
a ) | 100mm thick R.C. slab including form work | m3 | 211.5 |  |  | 0
3.0 | LEVEL 1 @ +4150mm as beam Top level
3.1 | BEAMS
a ) | B1 (150 x 400mm) | m3 | 56.4 |  |  | 0
b ) | B2 (150 x 500mm) | m3 | 1.45 |  |  | 0
c ) | B3 (150 x 450mm) | m3 | 13.85 |  |  | 0
d ) | B4 (150 x 500mm) | m3 | 0.76 |  |  | 0
e ) | B5 (150 x 400mm) | m3 | 2.1 |  |  | 0
f ) | B6 (150 x 450mm) | m3 | 0.8 |  |  | 0
g ) | B7 (150 x 400mm) | m3 | 0.77 |  |  | 0
h ) | B8 (150 x 400mm) | m3 | 2.3 |  |  | 0
i ) | B9 (150 x 400mm) | m3 | 0.55 |  |  | 0
j ) | CB1 (150 x 450mm) | m3 | 0.56 |  |  | 0
k ) | CB2 (150 x 500mm) | m3 | 0.25 |  |  | 0
l ) | CB3 (150 x 500mm) | m3 | 0.12 |  |  | 0
3.2 | FLOOR SLAB @ 4150mm as beam Level
| 130mm thick Slab - Gutter slab | m3 | 28.76 |  |  | 0
| 130mm thick Floor Slab | m3 | 10.1 |  |  | 0
3.3 | COLUMNS ABOVE 4150mm Level |  |  |  |  | 0
a ) | C1/SC - 150 x 150mm x 2800mm x 23nos | m3 | 1.45 |  |  | 0
b ) | C1/SC - 150 x 150mm x 1550mm x 20nos | m3 | 0.7 |  |  | 0
c ) | C2 - 300mm dia. x 1550mm x 10nos | m3 | 1.1 |  |  | 0
d ) | C3 - 200 x 200mm x 2800mm x 27nos | m3 | 3 |  |  | 0
3.4 | LINTEL @ + 5415mm Level |  |  |  |  | 0
a ) | Roof support Lintel beam 200 x 150mm | m3 | 3.6 |  |  | 0
4.0 | LEVEL 2 @ +5700mm as beam Top level
4.1 | BEAMS
a ) | B1 (150 x 400mm) | m3 | 9.753 |  |  | 0
5.1 | LEVEL 3 @ +6950mm as beam Top level
5.1 | BEAMS
a ) | B1 (150 x 400mm) | m3 | 14.77 |  |  | 0
b ) | B2 (150 x 500mm) | m3 | 0.62 |  |  | 0
c ) | B4 (150 x 500mm) | m3 | 0.64 |  |  | 0
d ) | B5 (150 x 400mm) | m3 | 1.75 |  |  | 0
e ) | B8 (150 x 400mm) | m3 | 0.29 |  |  | 0
f ) | B9 (150 x 400mm) | m3 | 0.27 |  |  | 0
g ) | CB1 (150 x 450mm) | m3 | 0.46 |  |  | 0
h ) | CB2 (150 x 500mm) | m3 | 0.25 |  |  | 0
3.3 | FORM WORK
(a) Exposed surface shall have fair finish while remaining may have rough finish.
(b) Timber used for unexposed concrete surface shall sound dressed and seasoned good quality common timber while for exposed concrete surfaces dressedand matched boards uniformly thick and not more than 251mm wide.
c) Plywood used for forms shall be of commercial standard, moisture resistane conrete form plywoodnot lessthan 6mm thick and atleast 12mm thick.
(d) Rates shall include for; all necessary boarding,supports, erecting, framing, temporary cambering cutting, perforations for reinforcing bars, bolts,straps,ties, hangers, pipes and removal of formwork.
1.0 | FOUNDATIONS
1.1 | FOUNDATION STRIP
1 ) | F1 - 600 x 600 x 250mm x 128nos | m2 | 76.8 |  |  | 0
2 ) | F2 - 1150 x 1150 x 250mm x 02nos | m2 | 2.3 |  |  | 0
3 ) | F3 - 700 x 700 x 250mm x 53nos | m2 | 37.1 |  |  | 0
4 ) | F4 - 800 x 800 x 250mm x 10nos | m2 | 8 |  |  | 0
5 ) | F5 - 1050 x 1050 x 250mm x 04nos | m2 | 4.2 |  |  | 0
6 ) | F6 - 900 x 900 x 250mm x 02nos | m2 | 1.8 |  |  | 0
7 ) | F7 - 900 x 1400 x 250mm x 04nos | m2 | 4.6 |  |  | 0
1.2 | TIE BEAMS
| TB - 250 x 300mm | m2 | 596.3 |  |  | 0
2.0 | GROUND FLOOR
2.1 | COLUMNS
a ) | C1 - 150 x 150mm x 4650mm x 95nos (50%) | m2 | 265 |  |  | 0
b ) | C2 - 300mm dia. x 54nos (50%) | m2 | 118.3 |  |  | 0
c ) | C3 - 200 x 200mm x 58nos (50%) | m2 | 108 |  |  | 0
3.0 | LEVEL 1 @ +4150mm as beam Top level
3.1 | BEAMS
a ) | B1 (150 x 400mm) | m2 | 892.8 |  |  | 0
b ) | B2 (150 x 500mm) | m2 | 22.25 |  |  | 0
c ) | B3 (150 x 450mm) | m2 | 215.3 |  |  | 0
d ) | B4 (150 x 500mm) | m2 | 11.7 |  |  | 0
e ) | B5 (150 x 400mm) | m2 | 33 |  |  | 0
f ) | B6 (150 x 450mm) | m2 | 12.5 |  |  | 0
g ) | B7 (150 x 400mm) | m2 | 12.1 |  |  | 0
h ) | B8 (150 x 400mm) | m2 | 36.5 |  |  | 0
i ) | B9 (150 x 400mm) | m2 | 8.7 |  |  | 0
j ) | CB1 (150 x 450mm) | m2 | 8.7 |  |  | 0
k ) | CB2 (150 x 500mm) | m2 | 3.5 |  |  | 0
l ) | CB3 (150 x 500mm) | m2 | 1.63 |  |  | 0
3.2 | FLOOR SLAB
| 130mm thick Slab - Gutter slab | m2 | 221.3 |  |  | 0
| 130mm thick Roof Slab @ 4150mm level | m2 | 77.6 |  |  | 0
3.3 | COLUMNS ABOVE 4150mm Level |  |  |  |  | 0
a ) | C1/SC - 150 x 150mm x 2800mm x 23nos (50%) | m2 | 19.35 |  |  | 0
b ) | C1/SC - 150 x 150mm x 1550mm x 20nos (50%) | m2 | 9.3 |  |  | 0
c ) | C2 - 300mm dia. x 1550 x 10nos (50%) | m2 | 39.4 |  |  | 0
d ) | C3 - 200 x 200mm x 2800mm x 27nos (50%) | m2 | 30.24 |  |  | 0
3.4 | LINTEL @ + 5415mm Level |  |  |  |  | 0
a ) | Roof support Lintel beam 200 x 150mm | m2 | 47 |  |  | 0
4.0 | LEVEL 2 @ +5700mm as beam Top level
4.1 | BEAMS
a ) | B1 (150 x 400mm) | m2 | 153.85 |  |  | 0
5.0 | LEVEL 3 @ +6950mm as beam Top level
5.1 | BEAMS
a ) | B1 (150 x 400mm) | m2 | 196.9 |  |  | 0
b ) | B2 (150 x 500mm) | m2 | 8.15 |  |  | 0
c ) | B4 (150 x 500mm) | m2 | 8.5 |  |  | 0
d ) | B5 (150 x 400mm) | m2 | 23.3 |  |  | 0
e ) | B8 (150 x 400mm) | m2 | 3.8 |  |  | 0
f ) | B9 (150 x 400mm) | m2 | 3.6 |  |  | 0
g ) | CB1 (150 x 450mm) | m2 | 6.15 |  |  | 0
h ) | CB2 (150 x 500mm) | m2 | 3.3 |  |  | 0
3.4 | REINFORCEMENT WORK
a ) Main reinforcement steel shall be high tensile steel hot rolled deformed bars complying with BS 1119 or BS 1172 Characteristic strength not less than 160N/mm2.
b ) Stirrups shall be hot rolled mildsteel round bars complying with BS 1119, Characteristic strength not less than 250N/mm2
c ) Rates shall include for; distribution steel, cleaning, fabrication, placing, the provision for all necessary temporary fixings, and supports including chairs and tie wire , laps and wastage.
4.1 | FOUNDATIONS
1 ) | F1 - 600 x 600 x 250mm x 128nos | t | 0.68198 |  |  | 0
| 12mm dia deformed bars - 6M | nos | 128 |  |  | 0
| Binding wire | kg | 13.6397 |  |  | 0
2 ) | F2 - 1150 x 1150 x 250mm x 02nos | t | 0.042624 |  |  | 0
| 12mm dia deformed bars - 6M | nos | 8 |  |  | 0
| Binding wire | kg | 0.85248 |  |  | 0
3 ) | F3 - 700 x 700 x 250mm x 53nos | t | 0.47419
| 12mm dia deformed bars - 6M | nos | 89 |  |  | 0
| Binding wire | kg | 9.4838 |  |  | 0
4 ) | F4 - 800 x 800 x 250mm x 10nos | t | 0.10656
| 12mm dia deformed bars - 6M | nos | 20 |  |  | 0
| Binding wire | kg | 2.1312 |  |  | 0
5 ) | F5 - 1050 x 1050 x 250mm x 04nos | t | 0.063936
| 12mm dia deformed bars - 6M | nos | 12 |  |  | 0
| Binding wire | kg | 1.2787 |  |  | 0
6 ) | F6 - 900 x 900 x 250mm x 02nos | t | 0.02664
| 12mm dia deformed bars - 6M | nos | 5 |  |  | 0
| Binding wire | kg | 0.5328 |  |  | 0
7 ) | F7 - 900 x 1400 x 250mm x 04nos | t | 0.085248
| 12mm dia deformed bars - 6M | nos | 16 |  |  | 0
| Binding wire | kg | 1.705 |  |  | 0
1.2 | TIE BEAMS
| TB - 250 x 300mm | t | 5.3999 |  |  | 0
| 12mm dia deformed bars - 6M | nos | 806 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 830 |  |  | 0
| Binding wire | kg | 107.9986 |  |  | 0
2.0 | GROUND FLOOR
2.1 | COLUMNS
a ) | C1 - 150 x 150mm x 4150mm x 95nos | t | 2.2644 |  |  | 0
| 12mm dia deformed bars - 6M | nos | 380 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 180 |  |  | 0
| Binding wire | kg | 45.288 |  |  | 0
b ) | C2 - 300mm dia. x 54nos | t | 3.3779 |  |  | 0
| 16mm dia deformed bars - 6M | nos | 324 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 230 |  |  | 0
| Binding wire | kg | 67.5576 |  |  | 0
c ) | C3 - 200 x 200mm x 58nos | t | 2.4391 |  |  | 0
| 16mm dia deformed bars - 6M | nos | 232 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 180 |  |  | 0
| Binding wire | kg | 48.7824 |  |  | 0
2.2 | R.C.C. GROUND FLOOR SLAB |  |  |  |  | 0
a ) | 100mm thick R.C. slab | t | 17.0847 |  |  | 0
| 10mm dia deformed bars - 6M | nos | 4615 |  |  | 0
| Binding wire | kg | 341.6946 |  |  | 0
3.0 | LEVEL 1 @ +4150mm as beam Top level
3.1 | BEAMS
a ) | B1 (150 x 400mm) | t | 8.5439 |  |  | 0
| 16mm dia deformed bars - 6M | nos | 754 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 1048 |  |  | 0
| Binding wire | kg | 170.8771 |  |  | 0
b ) | B2 (150 x 500mm) | t | 3.8431 |  |  | 0
| 16mm dia deformed bars - 6M | nos | 16 |  |  | 0
| 20mm dia deformed bars - 6M | nos | 233 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 180 |  |  | 0
| Binding wire | kg | 76.862 |  |  | 0
c ) | B3 (150 x 450mm) | t | 9.5846 |  |  | 0
| 16mm dia deformed bars - 6M | nos | 979 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 228 |  |  | 0
| Binding wire | kg | 191.6923 |  |  | 0
d ) | B4 (150 x 500mm) | t | 0.11345 |  |  | 0
| 16mm dia deformed bars - 6M | nos | 10 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 14 |  |  | 0
| Binding wire | kg | 2.269 |  |  | 0
e ) | B5 (150 x 400mm) | t | 0.58416 |  |  | 0
| 16mm dia deformed bars - 6M | nos | 56 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 40 |  |  | 0
| Binding wire | kg | 11.6832 |  |  | 0
f ) | B6 (150 x 450mm) | t | 0.18929 |  |  | 0
| 16mm dia deformed bars - 6M | nos | 18 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 14 |  |  | 0
| Binding wire | kg | 3.7858 |  |  | 0
g ) | B7 (150 x 400mm) | t | 0.31151 |  |  | 0
| 16mm dia deformed bars - 6M | nos | 12 |  |  | 0
| 20mm dia deformed bars - 6M | nos | 12 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 15 |  |  | 0
| Binding wire | kg | 6.2302 |  |  | 0
h ) | B8 (150 x 400mm) | t | 0.45544 |  |  | 0
| 16mm dia deformed bars - 6M | nos | 42 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 43 |  |  | 0
| Binding wire | kg | 9.1087 |  |  | 0
i ) | B9 (150 x 400mm) | t | 0.14975 |  |  | 0
| 16mm dia deformed bars - 6M | nos | 8 |  |  | 0
| 20mm dia deformed bars - 6M | nos | 4 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 11 |  |  | 0
| Binding wire | kg | 2.995 |  |  | 0
j ) | CB1 (150 x 450mm) | t | 0.18708 |  |  | 0
| 16mm dia deformed bars - 6M | nos | 8 |  |  | 0
| 25mm dia deformed bars - 6M | nos | 4 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 14 |  |  | 0
| Binding wire | kg | 3.7416 |  |  | 0
k ) | CB2 (150 x 500mm) | t | 0.092208 |  |  | 0
| 16mm dia deformed bars - 6M | nos | 4 |  |  | 0
| 25mm dia deformed bars - 6M | nos | 2 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 6 |  |  | 0
| Binding wire | kg | 1.8442 |  |  | 0
l ) | CB3 (150 x 500mm) | t | 0.036624 |  |  | 0
| 16mm dia deformed bars - 6M | nos | 1 |  |  | 0
| 25mm dia deformed bars - 6M | nos | 1 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 3 |  |  | 0
| Binding wire | kg | 0.73248 |  |  | 0
3.2 | FLOOR SLAB @ 4150mm as beam Level
a ) | 130mm thick Slab - Gutter slab | t | 3.4429 |  |  | 0
| 10mm dia deformed bars - 6M | nos | 930 |  |  | 0
| Binding wire | kg | 68.8572 |  |  | 0
b ) | 130mm thick Floor Slab | t | 1.2069 |  |  | 0
| 10mm dia deformed bars - 6M | nos | 326 |  |  | 0
| Binding wire | kg | 24.137 |  |  | 0
3.3 | COLUMNS ABOVE 4150mm Level |  |  |  |  | 0
a ) | C1/SC - 150 x 150mm x 2800mm x 23nos | t | 0.27839 |  |  | 0
| 12mm dia deformed bars - 6M | nos | 46 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 25 |  |  | 0
| Binding wire | kg | 5.5678 |  |  | 0
b ) | C1 - 150 x 150mm x 1550mm x 20nos | t | 0.15984 |  |  | 0
| 12mm dia deformed bars - 6M | nos | 27 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 12 |  |  | 0
| Binding wire | kg | 3.1968 |  |  | 0
c ) | C2 - 300mm dia. x 1550mm x 10nos | t | 0.20825 |  |  | 0
| 16mm dia deformed bars - 6M | nos | 20 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 14 |  |  | 0
| Binding wire | kg | 4.165 |  |  | 0
d ) | C3 - 200 x 200mm x 27nos | t | 0.57452 |  |  | 0
| 16mm dia deformed bars - 6M | nos | 54 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 47 |  |  | 0
| Binding wire | kg | 11.4905 |  |  | 0
3.4 | LINTEL @ + 5415mm Level |  |  |  |  | 0
a ) | Roof support Lintel beam 200 x 150mm | t | 0.5994 |  |  | 0
| 12mm dia deformed bars - 6M | nos | 96 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 66 |  |  | 0
| Binding wire | kg | 11.988 |  |  | 0
4.0 | BEAM @ + 5700mm Level |  |  |  |  | 0
a ) | B1 (150 x 400mm) | t | 1.4911 |  |  | 0
| 16mm dia deformed bars - 6M | nos | 132 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 180 |  |  | 0
| Binding wire | kg | 29.8224 |  |  | 0
4.0 | LEVEL 3 @ +6950mm as beam Top level
4.1 | BEAMS
a ) | B1 (150 x 400mm) | t | 8.8193 |  |  | 0
| 16mm dia deformed bars - 6M | nos | 778 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 1084 |  |  | 0
| Binding wire | kg | 176.3866 |  |  | 0
b ) | B2 (150 x 500mm) | t | 0.21034 |  |  | 0
| 16mm dia deformed bars - 6M | nos | 8 |  |  | 0
| 20mm dia deformed bars - 6M | nos | 8 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 12 |  |  | 0
| Binding wire | kg | 4.2067 |  |  | 0
c ) | B4 (150 x 500mm) | t | 0.091824 |  |  | 0
| 16mm dia deformed bars - 6M | nos | 8 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 12 |  |  | 0
| Binding wire | kg | 1.8365 |  |  | 0
d ) | B5 (150 x 400mm) | t | 0.57484 |  |  | 0
| 16mm dia deformed bars - 6M | nos | 56 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 33 |  |  | 0
| Binding wire | kg | 11.4967 |  |  | 0
e ) | B8 (150 x 400mm) | t | 0.064872 |  |  | 0
| 16mm dia deformed bars - 6M | nos | 6 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 6 |  |  | 0
| Binding wire | kg | 1.2974 |  |  | 0
f ) | B9 (150 x 400mm) | t | 0.07554 |  |  | 0
| 16mm dia deformed bars - 6M | nos | 4 |  |  | 0
| 20mm dia deformed bars - 6M | nos | 2 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 6 |  |  | 0
| Binding wire | kg | 1.5108 |  |  | 0
g ) | CB1 (150 x 450mm) | t | 0.14231 |  |  | 0
| 16mm dia deformed bars - 6M | nos | 6 |  |  | 0
| 25mm dia deformed bars - 6M | nos | 3 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 12 |  |  | 0
| Binding wire | kg | 2.8462 |  |  | 0
h ) | CB2 (150 x 500mm) | t | 0.0501 |  |  | 0
| 16mm dia deformed bars - 6M | nos | 2 |  |  | 0
| 25mm dia deformed bars - 6M | nos | 1 |  |  | 0
| 6mm dia M.S. Round bars - 6M | nos | 6 |  |  | 0
| Binding wire | kg | 1.002 |  |  | 0
6.0 | OTHER CONCRETE WORKS |  |  |  |  | 0
a ) | PLANTER WALL |  |  |  |  | 0
| 100mm thick R.C.C Planter wall | m3 | 15.6 |  |  | 0
b ) | GUTTER WALL |  |  |  |  | 0
| 150mm thick R.c.c. wall around gutter slab | m3 | 29 |  |  | 0
c ) | Boundary wall - FOUNDATION BEAM |  |  |  |  | 0
| 300 x 200mm R.C.C beam below Boundary wall at Ground floor | m3 | 17.3 |  |  | 0
d ) | Boundary wall - COPING BEAM |  |  |  |  | 0
| 150 x 150mm R.c.c. Coping beam at top of Boundary wall at Ground floor | m3 | 6.5 |  |  | 0
e ) | Lintel beam 150 x 150mm |  |  |  |  | 0
| 150 x 150mm R.C.C Lintel beam above doors for all floors | item | 1 |  |  | 0
3.0 | WATER PROOFING |  |  |  |  | 0
(a) | Apply Rubberised bitumin water proofing paint, Moya Shield RBE, 2 coats to all exposed concrete and masonry surface below ground level. | m2 | 1065.1 |  |  | 0
| Moya Shield RBE | ltr | 639.06 |  |  | 0
BILL No: 03 - CONCRETE WORKS
| TOTAL OF BILL No: 03 - Carried over to summary |  |  |  |  | 0
BILL No: 04
MASONRY AND PLASTERING
4.1 | General
a ) Rates shall include for cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs.
b ) Cutting or leaving holes and openings as recesses for and building in pipes, conduits , sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building joints.
c ) Cement blocks shall be made in river sand.
d ) All external wall and all inetrenal walls shall be 100mm thick Solid cement blocks and for masonry mix ratio 1:5 (cement and river sand)
4.2 | MASONRY
1.0 | BELOW GROUND LEVEL
| 200mm thick Solid block wall on all tie beam up to ground floor slab | m2 | 508.9 |  |  | 0
2.0 | GROUND FLOOR
1 ) | EXTERIOR WALLS
1 ) | 150mm thick Solid block wall | m2 | 555.6 |  |  | 0
2 ) | INTERIOR WALLS
| 150mm thick Hollow block wall | m2 | 1532 |  |  | 0
3 ) | BOUNDARY WALL (Please clarify the length of boundary wall with the client)
| 150mm thick Hollow block wall | m2 | 351.2 |  |  | 0
3.0 | LEVEL 1 @ + 4150mm ABOVE
1 ) | 150mm thick Solid block wall | m2 | 322.9 |  |  | 0
4.0 | LEVEL 2 @ + 6950mm ABOVE
1 ) | 150mm thick Solid block wall | m2 | 182 |  |  | 0
4.3 | PLASTERING
a) 20mm thick Cement plastering on Exterior surface of External masonry walls and concrete surfaces and 15mm thick plastering on interior walls and concrete surface as specified incl. wire mesh shall be fixed at the joints of concrete surfaces and walls before plastering. Quantity is measured including concrete surfaces - Parapetwalls, Liftwalls, columns & beams.
b) Rates shall include for External plastering shall 20mm thick (12+8mm) 2 coats in 1:4 cement and river sand mix ratio
c) Rates shall include for approved brand water proofing compound shall be mixed with cement mortar for external wall plastering as per manufacturers specifications.
1.0 | BELOW GROUND LEVEL
| Both surface of below ground wall | m2 | 1017.8 |  |  | 0
2.0 | GROUND FLOOR
1 ) | External surface of exeterior wall | m2 | 744.1 |  |  | 0
2 ) | Internal surface of external wall and both surface of Interior walls | m2 | 4309.7 |  |  | 0
3 ) | Plastering on both surface of boundary walls (Please clarify the length of boundary wall with the client) | m2 | 777.2 |  |  | 0
4 ) | Decorative plastering to all external circular columns as shown in the drawing | item | 1
3.0 | LEVEL 1 @ + 4150mm ABOVE
1 ) | 150mm thick Solid block wall | m2 | 646 |  |  | 0
4.0 | LEVEL 2 @ + 6950mm ABOVE
1 ) | 150mm thick Solid block wall | m2 | 362.4 |  |  | 0
5.0 | PLASTERING ON CONCRETE SURFACES
1 ) | Decorative plastering to all external circular columns as shown in the drawing | item | 1 |  |  | 0
2 ) | External surface of Garden wall | m2 | 128 |  |  | 0
3 ) | External surface of Gutter wall | m2 | 199.7 |  |  | 0
BILL No: 04 - MASONRY AND PLASTERING
| TOTAL OF BILL No: 04 - Carried over to summary |  |  |  |  | 0
BILL N0: 05
FLOORING & TILING
5.1 | General
a) Rates shall include for laying 50mm thick cement mortar in 1 : 5 mix ratio,cleaning down to reveals where necessary and water proofing of Toilet and Balcony floors & Terrace.
b) Rates shall include for: Fixing, bedding, grouting, and pointing materials, making good around pipes, sanitary fixtures, and similar; cleaning & Polishing.
5.2 | FLOORING
| 50mm thick floor screeding | m2 | 2051.2
1 ) | GROUND FLOOR
| WAITING LOUNGE | m2 | 70.51 |  |  | 0
| RECEPTION | m2 | 16.1 |  |  | 0
| TRAINING ROOM | m2 | 52.24 |  |  | 0
| MEETING ROOM | m2 | 45.05 |  |  | 0
| VIP WAITING LOUNGE | m2 | 34.05 |  |  | 0
| PUBLIC HEARING ROOM | m2 | 35.4 |  |  | 0
| LAWYERS ROOM | m2 | 24.9 |  |  | 0
| MUDHATHU JAHAA ROOM | m2 | 36.4 |  |  | 0
| CRIMINAL ROOM (MALE & FEMALE) | m2 | 25.6 |  |  | 0
| JUVENILE ROOM ( MALE & FEMALE) | m2 | 13.5 |  |  | 0
| COURT ROOM 1 - 5 | m2 | 194.5 |  |  | 0
| COURT ROOM / WEDDING HALL | m2 | 74.6 |  |  | 0
| GENERAL ADMIN OFFICE | m2 | 150.9 |  |  | 0
| OFFICE HEAD 1 & 2 | m2 | 24 |  |  | 0
| STAFF LOBBY | m2 | 18 |  |  | 0
| STAFF PANTRY | m2 | 23.2 |  |  | 0
| ARCHIVE ROOM | m2 | 65.1 |  |  | 0
| STORE ROOM | m2 | 23.8 |  |  | 0
| SERVER ROOM | m2 | 12 |  |  | 0
| IT ROOM / WORK SPACE | m2 | 12 |  |  | 0
| MAGISTRATE MEETING ROOM | m2 | 25.25 |  |  | 0
| SENIOR MAGISTRATE | m2 | 22.15 |  |  | 0
| OFFICE 1 - 3 | m2 | 153.2 |  |  | 0
| MAGISTRATE 1 - 6 | m2 | 94.2 |  |  | 0
| PRAYER ROOM (MALE & FEMALE) | m2 | 15.8 |  |  | 0
| PUMP ROOM | m2 | 4.75 |  |  | 0
| PANEL ROOM | m2 | 6.7 |  |  | 0
| CORRIDORS / WAITING / POLICE WAITING | m2 | 342 |  |  | 0
| VERANDAH, ENTRY & STEPS | m2 | 324.6 |  |  | 0
| TOILETS | m2 | 107 |  |  | 0
| JANITOR | m2 | 3.7 |  |  | 0
3 ) | TERRACE
| OPEN TERRACE | m2 | 299.3 |  |  | 0
5 ) | WATER PROOFING AGENT
a ) | Apply Conmix Moya Proof HF on floors of Open Terrace, Balcony, Laundry and Toilets as water proofing Agent. | m2 | 406.3 |  |  | 0
| CONMIX MOYA PROOF WS2 | ltr | 135.4333 |  |  | 0
5.3 | TILING
a ) All Tiling work in accordance with specifications and finishes schedule.Toilet wall tiling shall be up to ceiling level. Toilet wall tiles shall be 300 x 200 mm size ceramic Polished tiles and Toilet Floor Tiles shall be 200 x 200mm Non- Slip ceramicTiles.
b ) Rate shall include for; Special Grouts shall be used for Fixing Tiles. 1 ) Conmix C 800 for fixing Porcelain Tiles and Homogeneous Tiles. 2 ) Conmix C 500 for fixing ceramic tiles.
1.0 | GROUND FLOOR
a ) | 600 x 600mm Polished Porcelain Tiles
| WAITING LOUNGE | m2 | 70.51 |  |  | 0
| RECEPTION | m2 | 16.1 |  |  | 0
| TRAINING ROOM | m2 | 52.24 |  |  | 0
| MEETING ROOM | m2 | 45.05 |  |  | 0
| VIP WAITING LOUNGE | m2 | 34.05 |  |  | 0
| PUBLIC HEARING ROOM | m2 | 35.4 |  |  | 0
| LAWYERS ROOM | m2 | 24.9 |  |  | 0
| MUDHATHU JAHAA ROOM | m2 | 36.4 |  |  | 0
| CRIMINAL ROOM (MALE & FEMALE) | m2 | 25.6 |  |  | 0
| JUVENILE ROOM ( MALE & FEMALE) | m2 | 13.5 |  |  | 0
| COURT ROOM 1 - 5 | m2 | 194.5 |  |  | 0
| COURT ROOM / WEDDING HALL | m2 | 74.6 |  |  | 0
| GENERAL ADMIN OFFICE | m2 | 150.9 |  |  | 0
| OFFICE HEAD 1 & 2 | m2 | 24 |  |  | 0
| STAFF LOBBY | m2 | 18 |  |  | 0
| STAFF PANTRY | m2 | 23.2 |  |  | 0
| ARCHIVE ROOM | m2 | 65.1 |  |  | 0
| STORE ROOM | m2 | 23.8 |  |  | 0
| SERVER ROOM | m2 | 12 |  |  | 0
| IT ROOM / WORK SPACE | m2 | 12 |  |  | 0
| MAGISTRATE MEETING ROOM | m2 | 25.25 |  |  | 0
| SENIOR MAGISTRATE | m2 | 22.15 |  |  | 0
| OFFICE 1 - 3 | m2 | 153.2 |  |  | 0
| MAGISTRATE 1 - 6 | m2 | 94.2 |  |  | 0
| PRAYER ROOM (MALE & FEMALE) | m2 | 15.8 |  |  | 0
| PUMP ROOM | m2 | 4.75 |  |  | 0
| PANEL ROOM | m2 | 6.7 |  |  | 0
| CORRIDORS / WAITING / POLICE WAITING | m2 | 342 |  |  | 0
b ) | 600 x 600mm Nonslip Porcelain Tiles
| VERANDAH, ENTRY & STEPS | m2 | 324.6 |  |  | 0
c ) | 300 x 300mm Non Slip Ceramic Tiles
| TOILETS | m2 | 107 |  |  | 0
| JANITOR | m2 | 3.7 |  |  | 0
d ) | 300 x 600mm Polished Ceramic Tiles
| Wall tiling - TOILETS 2.7m high & ABLUTION | m2 | 275.5 |  |  | 0
| Wall tiling - KITCHEN | m2 | 10.8 |  |  | 0
e ) | 100 x 600mm Polished Porcelain Tiles
| 100mm high SKIRTING | m | 1160 |  |  | 0
2.0 | TILE ADHESIVE
a ) | Charges for Supply and using Tile adhesive Conmix C500 to fix all tiles | m2 | 2395 |  |  | 0
BILL No: 05 -FLOORING AND TILING
| TOTAL OF BILL No: 05 - Carried over to summary |  |  |  |  | 0
BILL N0: 06
DOORS AND WINDOWS
6.1 | General
a ) Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
b ) Rates shall include for door frames and window frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings and installation.
c ) All Timber door frames shall be treated timber.
d ) All louvres, windows and sliding doors shall be 30 micron powder coated aluminium as per details given in Door/Window schedule.
DOOR UNITS
1 ) | SD1 - Aluminium framed Sliding door with Laminated glass door panels, 7100 x 2500mm | no | 2 |  |  | 0
2 ) | D1 - Aluminium framed door with Laminated glass door panels, 5400 x 2500mm | no | 3 |  |  | 0
3 ) | D2 - Aluminium framed door with Laminated glass door panels, 2250 x 2500mm | no | 2 |  |  | 0
4 ) | D3A - Aluminium framed door with Laminated glass door panels, 1800 x 3350mm | no | 1 |  |  | 0
5 ) | D3 - Treated Solid Timber framed door with 40mm thick Solid Timber panel, 1800 x 2500mm | no | 7 |  |  | 0
6 ) | D4 - Treated Solid Timber framed door with 40mm thick Solid Timber panel, 950 x 2500mm | no | 43 |  |  | 0
7 ) | D5 - Treated Solid Timber framed door with 40mm thick Solid Timber panel, 950 x 2500mm | no | 4 |  |  | 0
8 ) | D6 - Treated Solid Timber framed door with 40mm thick Solid Timber panel, 950 x 2100mm | no | 10 |  |  | 0
9 ) | D7 - Treated Solid Timber framed door with 40mm thick Solid Timber panel, 800 x 2100mm | no | 13 |  |  | 0
| WINDOW UNITS |  |  |  |  | 0
1 ) | W1 - Powder coated Aluminium Framed with Fixed Laminated glass Panel windows, 4250 x 2500mm | units | 1 |  |  | 0
2 ) | W2 - Powder coated Aluminium Framed with Fixed Laminated glass Panel windows, 2650 x 1500mm | units | 13 |  |  | 0
3 ) | W3 - Powder coated Aluminium Framed with Fixed Laminated glass Panel windows, 3300 x 1500mm | units | 1 |  |  | 0
4 ) | W4 - Powder coated Aluminium Framed with Fixed Laminated glass Panel windows, 1800 x 2500mm | units | 2 |  |  | 0
5 ) | W5 - Powder coated Aluminium Framed with Fixed Laminated glass Panel windows, 1300 x 1500mm | units | 4 |  |  | 0
6 ) | W6 - Powder coated Aluminium Framed with Fixed Laminated glass Panel windows, 1100 x 2500mm | units | 4 |  |  | 0
7 ) | W7 - Powder coated Aluminium Framed with Fixed Laminated glass Panel windows, 800 x 2500mm | units | 19 |  |  | 0
8 ) | W8 - Powder coated Aluminium Framed with Fixed Laminated glass Panel windows, 1350 x 770mm | units | 3 |  |  | 0
9 ) | W9 - Powder coated Aluminium Framed with Fixed Laminated glass Panel windows, 800 x 770mm | units | 13 |  |  | 0
BILL N0: 06 - DOORS AND WINDOWS
| TOTAL OF BILL No: 06 - Carried over to summary |  |  |  |  | 0
BILL No: 07
CEILING & WOOD WORK
7.1 | General
(a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails,bolts & screws.
(b) Rates shall include for applying approved quality wood preservators as per manufactures instructions for all Timber structures.
(c) Rates shall include for 12mm thick Cement board fixed on 50 x 50mm Timber frame,trimming, nails, screws,hooks, hangers, clips and similar.
7.2 | CEILING
a ) | Acoustic Ceiling on Aluminium frame | m2 | 1616 |  |  | 0
b ) | Cement Board ceiling on Timber frame inside toilets | m2 | 111 |  |  | 0
7.3 | WOOD WORK
1.0 | ROOF LEVEL
| ROOF FRAMING |  |  |  |  | 0
1 ) | ROOFING @ 5.4M height (Roof Apex 1)
a ) | 50 x 150mm Timber Rafters @ 800mm spacing | mtr | 1422 |  |  | 0
b ) | 50 x 35mm Timber battens @ 400mm spacing | mtr | 2803 |  |  | 0
c ) | 75 x 100mm Timber wall plate | mtr | 172.8 |  |  | 0
d ) | 25 x 200mm Timber Fascia Board | mtr | 173 |  |  | 0
e ) | 100 x 200mm Timber Beam | mtr | 124.4 |  |  | 0
f ) | 75 x 150mm Hip Timber | mtr | 52 |  |  | 0
2 ) | ROOFING @ 9.05M height (Roof Apex 2 )
a ) | 50 x 150mm Timber Rafters @ 800mm spacing | mtr | 440 |  |  | 0
b ) | 50 x 35mm Timber battens @ 400mm spacing | mtr | 893 |  |  | 0
c ) | 75 x 100mm Timber wall plate | mtr | 36 |  |  | 0
d ) | 25 x 200mm Timber Fascia Board | mtr | 36 |  |  | 0
e ) | 75 x 200mm Ridge beam | mtr | 18 |  |  | 0
3 ) | ROOFING @ 9.70M height (Roof Apex 3 )
a ) | 50 x 150mm Timber Rafters @ 800mm spacing | mtr | 870 |  |  | 0
b ) | 50 x 35mm Timber battens @ 400mm spacing | mtr | 2075 |  |  | 0
c ) | 75 x 100mm Timber wall plate | mtr | 116 |  |  | 0
d ) | 25 x 200mm Timber Fascia Board | mtr | 127 |  |  | 0
e ) | 75 x 150mm Hip Timber | mtr | 45 |  |  | 0
f ) | 75 x 200mm Ridge beam | mtr | 46 |  |  | 0
BILL No: 07 - CEILING & WOOD WORK
| TOTAL OF BILL No: 07 - Carried over to summary |  |  |  |  | 0
BILL No: 08
PAINTING
8.1 | General
a ) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window furniture.
b ) All painting work shall be carried in accordance with the Specifications
c ) Rate shall include for weather proof paint finish for exterior surfaces of the wall complete including application of two coats of oil based wall sealer and two coats of weather bond paint
d ) Rate shall include for putty and paint finish for interior surfaces of the wall and ceilings complete including application of two coats of wall sealer, two coats of putty finish and two coats of emulsion paint finish on top for Interior painting.
1.0 | GROUND FLOOR
a ) | Painting exterior surfaces of External Wall, Columns, Beams & Boundary wall | m2 | 744.1 |  |  | 0
b ) | Painting interior surfaces - Wall, Columns & beams) | m2 | 4309.7 |  |  | 0
c ) | Painting Soffit of slab & Toilet Ceiling | m2 | 409.9 |  |  | 0
d ) | Painting on Boundary wall | m2 | 777.2 |  |  | 0
e ) | Painting on Gutter wall and Planter wall | m2 | 327.7 |  |  | 0
BILL No: 08 - PAINTING
| TOTAL OF BILL No: 08 - Carried over to summary |  |  |  |  | 0
BILL No: 09
METAL WORK
9.1 | General
(a) Rates shall include for ; all labour in framing, cutting, welding, cleats, baseplates, flanges,screws, nails, bends, and similar complete with grinding, surface smoothening and polish finishes.
9.2 | RAILING
1 ) | S.S. Railing - RAMP
| Charges for Supply, Fabrication and Installation of S.S. Railing to on one side of Ramp | m | 10.6 |  |  | 0
2 ) | WINDOW GRILLS |  |  |  |  | 0
a ) | Charges for Supply, Fabrication and Installation of S.S. GRILLS to Window W2 | no | 13 |  |  | 0
b ) | Charges for Supply, Fabrication and Installation of S.S. GRILLS to Window W4 | no | 2 |  |  | 0
c ) | Charges for Supply, Fabrication and Installation of S.S. GRILLS to Window W5 | no | 4 |  |  | 0
d ) | Charges for Supply, Fabrication and Installation of S.S. GRILLS to Window W6 | no | 4 |  |  | 0
e ) | Charges for Supply, Fabrication and Installation of S.S. GRILLS to Window W7 | no | 19 |  |  | 0
f ) | Charges for Supply, Fabrication and Installation of S.S. GRILLS to Window W8 | no | 3 |  |  | 0
g ) | Charges for Supply, Fabrication and Installation of S.S. GRILLS to Window W9 | no | 13 |  |  | 0
3 ) | ROOF TRUSSES | no |  |  |  | 0
a ) | Truss TR1: Charges for Supply, Fabrication and Installation of Truss TR1 as per drawing complete including bolts, nuts and paint finishes - 9.1m long | no | 6 |  |  | 0
b ) | Truss TR2: Charges for Supply, Fabrication and Installation of Truss TR2 as per drawing complete including bolts, nuts and paint finishes - 3.225m length. | no | 7 |  |  | 0
c ) | Truss TR2: Charges for Supply, Fabrication and Installation of Truss TR2 as per drawing complete including bolts, nuts and paint finishes - 3.925m length. | no | 7 |  |  | 0
d ) | Truss TR2: Charges for Supply, Fabrication and Installation of Truss TR2 as per drawing complete including bolts, nuts and paint finishes - 0.55m length. | no | 7 |  |  | 0
4 ) | ENTRANCE GATE - BOUNDARY WALL |  |  |  |  | 0
| Charges for Supply & Installation of Entrance Gate complete including all accessories as per drawing details. | no | 3 |  |  | 0
5 ) | FENCE - BOUNDARY WALL | no |  |  |  | 0
| Charges for Supply & Installation of Stainless Steel fence to fixed above masonry wall on the boundary complete including as per drawing details. (Please clarify the length of boundary wall with the client) | mtr | 282 |  |  | 0
6 ) | ROOF COVERING |  |  |  |  | 0
A) | ROOFING @ 5.4M height (Roof Apex 1)
a ) | Supply & Fixing Standard Lysaght sheet for roof covering. | m2 | 1121.2 |  |  | 0
b ) | Supply & Laying 50mm thick one side foiled glass wool insulation below the roofing sheet. | m2 | 1121.2 |  |  | 0
c ) | Supply & fixing 25mm grid PVC mesh as support to the Glass wool insulation. | m2 | 1121.2 |  |  | 0
d ) | Supply & Fixing Lysaght Flashing 400mm wide. | mtr | 11 |  |  | 0
e ) | Supply & Fixing Lysaght Ridge Capping. | mtr | 52 |  |  | 0
f ) | Supply & Fixing Lysaght Gutter 150 x 200mm. | mtr | 166 |  |  | 0
g ) | Supply & Fixing PVC Pipe as down spout as per drawing details. | item | 1 |  |  | 0
B ) | ROOFING @ 9.05M height (Roof Apex 2 )
a ) | Supply & Fixing Standard Lysaght sheet for roof covering. | m2 | 320.8 |  |  | 0
b ) | Supply & Laying 50mm thick one side foiled glass wool insulation below the roofing sheet. | m2 | 320.8 |  |  | 0
c ) | Supply & fixing 25mm grid PVC mesh as support to the Glass wool insulation. | m2 | 320.8 |  |  | 0
d ) | Supply & Fixing Lysaght Flashing 400mm wide. | mtr | 38 |  |  | 0
e ) | Supply & Fixing Lysaght Ridge Capping. | mtr | 18 |  |  | 0
f ) | Supply & Fixing Lysaght Gutter 150 x 200mm. | mtr | 36 |  |  | 0
g ) | Supply & Fixing PVC Pipe as down spout. | item | 1 |  |  | 0
C ) | ROOFING @ 9.70M height (Roof Apex 2 )
a ) | Supply & Fixing Standard Lysaght sheet for roof covering. | m2 | 741 |  |  | 0
b ) | Supply & Laying 50mm thick one side foiled glass wool insulation below the roofing sheet. | m2 | 741 |  |  | 0
c ) | Supply & fixing 25mm grid PVC mesh as support to the Glass wool insulation. | m2 | 741 |  |  | 0
d ) | Supply & Fixing Lysaght Flashing 400mm wide. | mtr | 34 |  |  | 0
e ) | Supply & Fixing Lysaght Ridge Capping. | mtr | 76 |  |  | 0
f ) | Supply & Fixing Lysaght Gutter 150 x 200mm. | mtr | 122 |  |  | 0
g ) | Supply & Fixing PVC Pipe as down spout. | item | 1 |  |  | 0
0
BILL No: 09 - METAL WORK
| TOTAL OF BILL No: 09 - Carried over to summary |  |  |  |  | 0
BILL No: 10
HYDRAULICS & DRAINAGE
10.1 | General
a ) Design provide and install plumbing network for the entire building complete in accordance to standard set by the local governing body MWSC
b) The following items and description and the plumbing drawings are given as guidance as to the nature of the information to be returned by the contractor.
c) Ground water connection shall be made as specified in the drawings.
d ) The cost shall include for; sockets, running joints, connectors, elbows, junctions, reducers, expansion joints, back nuts and similar, incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails , pvc glues, threadseals and fixing complete, including cutting and forming holes, excavating, laying pipes , backfilling trenches.
e ) All pipes shall be High Pressure uPVC "Mutha" or equivalent brand.
1.0 | GROUND FLOOR |  |  |  |  | 0
1 ) | HYDRAULICS
a ) | Charges for supply & installation of Fresh water connection including water meters. | no | 1 |  |  | 0
b ) | Charges for Piping for fresh water Pipe work | item | 1 |  |  | 0
c ) | Charges for Piping for Ground water supply pipe work. | item | 1 |  |  | 0
d ) | Charges for Providing and Fixing Davey Water pump for Ground water supply. | item | 2 |  |  | 0
2 ) | SANITARY FIXTURES &ACCESSORIES
a ) | W/C Suits | no | 14 |  |  | 0
b ) | Wash basin with trap on Vanity counter | no | 14 |  |  | 0
c ) | Wash basin with trap on Pedestals | no | 5 |  |  | 0
d ) | Wash basin taps | no | 19 |  |  | 0
e ) | Muslim Shower | no | 14 |  |  | 0
f ) | Ablution taps | no | 4 |  |  | 0
g ) | Floor drain with trap | no | 22 |  |  | 0
h ) | Water taps | no | 15 |  |  | 0
i ) | Stop Valve | no | 20 |  |  | 0
j ) | Kitchen Sink with Trap and taps including counter. | no | 1 |  |  | 0
3 ) | DRAINAGE |  |  |  |  | 0
1 ) | SEWERAGE & DRAINAGE PIPE WORK: Charges for piping for all discharge pipes, sewerage and drainage pipes including connection Main junctions from the Fixtures. | item | 1 |  |  | 0
2 ) | INSPECTION CHAMBERS: Charges for construction and Pipe connection of Inspection chambers as per drawing | item | 1 |  |  | 0
3 ) | MAIN SEWERAGE JUNCTION (MWSC) : Charges for Installation of Main Junctions and Supply and Connecting Pipe net work as per drawing | no | 2 |  |  | 0
BILL No: 10 - HYDRAULICS & DRAINAGE
| TOTAL OF BILL No: 10 - Carried over to summary |  |  |  |  | 0
BILL No: 11
ELECTRICAL INSTALLATIONS
11.1 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates shall include for electrical conduits, fittings, equipment and similar all fixings to various building surfaces and also all elecetrical work shall be carried out according to STELCO standards and specifications.
(d) Each Light/ light fixture and its switch is measured as one one point; similarly each fan or each socket outlet is measured as one point;
(e) Rates shall include for supply and complete installation of fittings and fixtures.
1 ) | ELECTRIC BOARDS |  |  |  |  | 0
a ) | P33 - Distribution board - Power & Lights | nos | 7 |  |  | 0
b ) | P34 - Supply & Installation of Main PANEL BOARD including connection to the Building as required. | nos | 1 |  |  | 0
2 ) | ELECTRIC FIXTURES |  |  |  |  | 0
| Light - L07 | nos | 292 |  |  | 0
| Light - L15 | nos | 282 |  |  | 0
| Light - L35 | nos | 31 |  |  | 0
| Light - L40 | nos | 4 |  |  | 0
| Light - L41 | nos | 91 |  |  | 0
| P01 - 1 x 13A Socket out let +300mm FFL |  | 28 |  |  | 0
| P02 - 2 x 13A Socket out let +300mm FFL | nos | 124 |  |  | 0
| P10 - 2 x 13A Socket out let +1200mm FFL | nos | 2 |  |  | 0
| P15 - 1 x 15A Socket out let @ Ceiling level |  | 28 |  |  | 0
| P16 - 1 x 15A Socket out let @ Ceiling concealed. |  | 28 |  |  | 0
| P26 - Floor concealed Multimedia outlet consisting of 2 x 13A Socket outlet + RJ11 & RJ45 connectors | nos | 28 |  |  | 0
| P27 - Multimedia Outlet + 2 x 13A socket outlet RJ11 & RJ45 Connectors. | nos | 43 |  |  | 0
| P28 - 1 x 13A Socket out let @ Ceiling level | nos | 81 |  |  | 0
| S01 - Security Camera | nos | 56 |  |  | 0
| 48" - TV monitor for Security Camera System | nos | 4 |  |  | 0
| T10 - TV Socket outlet | nos | 24 |  |  | 0
| T12 - VGA Point with connector + 1 x 13A Socket outlet at Ceiling level. | nos | 12 |  |  | 0
| P19 - 1 gang 1 way Switches | nos | 6 |  |  | 0
| P20 - 2 gang 1 way Switches | nos | 16 |  |  | 0
| P21 - 3 gang 1 way Switches | nos | 24 |  |  | 0
| P22 - 4 gang 1 way Switches | nos | 35 |  |  | 0
3 ) | ELECTRICAL WIRING |  |  |  |  | 0
1 ) | 2.5mm2 Wiring to Light Points | points | 700 |  |  | 0
2 ) | 2.5mm2 Wiring to Power Points | points | 374 |  |  | 0
3 ) | 16mm2 Cabling to DBs | no | 6 |  |  | 0
4 ) | Cabling to TV points | no | 24 |  |  | 0
5 ) | Cabling to Security Camera | no | 56 |  |  | 0
6 ) | VGA Cabling to Mulitmedia Projectors. | no | 12 |  |  | 0
7 ) | Network cabling RJ11 & RJ45 | no | 71 |  |  | 0
8 ) | Supply & Laying Main cables from adjacent STELCO/FENAKA PANEL BOARD TO BUILDING PANEL BOARD | item | 1 |  |  | 0
9 ) | Supply & Installation of VRV Out door Unit system for the Airconditioning. | item | 1 |  |  | 0
3 ) | AIR - CONDITIONING |  |  |  |  | 0
a ) | Out door units: Supply & Installation of VRV Out door Unit system for the Airconditioning. | item | 1 |  |  | 0
b ) | Indoor units: Supply & Installation of Ceiling cassette indoor units - V04 | item | 111 |  |  | 0
c ) | Indoor units: Supply & Installation of Wall mount units - V07 | item | 20 |  |  | 0
BILL No: 11 - ELECTRICAL INSTALLATIONS
| TOTAL OF BILL No: 11 - Carried over to summary |  |  |  |  | 0
BILL No: 12
FIRE FIGHTING SYSTEM
12.1 | GENERAL
| a )Rates shall include for: sockets, running joints, connectors, elbows, junctions, reducers, expansion joints, back nuts, and similar incidental fittings, clips, saddles, brackets, straps, hangers screws nails and fixing complete including cutting and forming holes. |  |  |  |  | 0
| b ) Rate shall include for pipe works and inner and outer surface of all pipe work shall be galvanized steel. |  |  |  |  | 0
| c )All wiring and pipe work shall be done as specified in the drawing. |  |  |  |  | 0
| d )Shop drawings of the system shall be prepared to the standard of the government's relevant authority and submitted to the Consultant for approval. |  |  |  |  | 0
0
12.2 | FIRE ALARM SYSTEM |  |  |  |  | 0
| Heat Resistant cable shall be laid for connecting the detectors. |  |  |  |  | 0
a ) | FIRE ALARM SYSTEM |  |  |  |  | 0
1 ) | F02 - BREAK GLASS MANUAL CALL POINT | no | 21 |  |  | 0
2 ) | F03 - SMOKE DETECTOR | no | 132 |  |  | 0
3 ) | F05 - FIRE ALARAM BELL | no | 16 |  |  | 0
4 ) | F06 - JUNCTION BOX | no | 1 |  |  | 0
5 ) | F07 - PORTABLE FIRE EXTINGUISHER H2O (9 LTR) | no | 32 |  |  | 0
6 ) | F07 - PORTABLE FIRE EXTINGUISHER CO2 | no | 32 |  |  | 0
7 ) | F11 - MAIN FIRE ALARM PANEL | no | 1 |  |  | 0
BILL No: 12 - FIRE FIGHTING SYSTEM
TOTAL OF BILL No: 12 - Carried over to summary
BILL No: 13
SECURITY POST & PARKING SHED
1 | Concrete works
| Foundation beam | m3 | 1.4 |  |  | 0
| Ground Slab | m3 | 3.5 |  |  | 0
| Columns | m3 | 0.63 |  |  | 0
| Roof beam | m3 | 0.5 |  |  | 0
| Roof Slab | m3 | 3 |  |  | 0
2 | Masonry
| External walls - 150mm thick block walls | m2 | 40.8 |  |  | 0
| Interior walls - 150mm thick block walls | m2 | 5.9 |  |  | 0
3 | Plastering
| External Plastering | m2 | 45.5 |  |  | 0
| Interior Plastering | m2 | 55.5 |  |  | 0
4 | Flooring & Tiling
| 35mm thick Floor Screeding | m2 | 28 |  |  | 0
| Floor Tiling | m2 | 28 |  |  | 0
| Wall tiling | m2 | 18.7 |  |  | 0
5 | Doors & Windows
| D5 | no | 1 |  |  | 0
| D7 | no | 1 |  |  | 0
| W1 | no | 3 |  |  | 0
6 | Painting
| External walls | m2 | 45.5 |  |  | 0
| Interior walls | m2 | 55.5 |  |  | 0
| Ceiling | m2 | 28 |  |  | 0
7 | Hydraulics & Drainage
1 ) | HYDRAULICS
a ) | Charges for supply & installation of Fresh water connection including water meters. | no | 1 |  |  | 0
2 ) | SANITARY FIXTURES &ACCESSORIES
a ) | W/C Suits | no | 1 |  |  | 0
b ) | Wash basin with trap on Vanity counter | no | 1 |  |  | 0
c ) | Wash basin with trap on Pedestals | no | 1 |  |  | 0
d ) | Wash basin taps | no | 2 |  |  | 0
e ) | Muslim Shower | no | 1 |  |  | 0
f ) | Floor drain with trap | no | 2 |  |  | 0
g ) | Water taps | no | 2 |  |  | 0
h ) | Stop Valve | no | 2 |  |  | 0
3 ) | DRAINAGE |  |  |  |  | 0
1 ) | SEWERAGE & DRAINAGE PIPE WORK: Charges for piping for all discharge pipes, sewerage and drainage pipes including connection Main junctions from the Fixtures. | item | 1 |  |  | 0
(Electrical works included in the Main BOQ)
7 | Metal works - Parking Sheds
7.1 | CARSHED
| G.I. Columns - 76.2 x 2.6mm | m | 23
Roofing
| Charges for supply & Installation of Roofing complete including Roof trusses, Roof coverings, Ridge capping etc. | m2 | 38
7.2 | CYCLE SHED
| G.I. Columns - 76.2 x 2.6mm | m | 30
Roofing
| Charges for supply & Installation of Roofing complete including Roof trusses, Roof coverings, Ridge capping etc. | m2 | 30
BILL No: 13 - FIRE FIGHTING SYSTEM
TOTAL OF BILL No: 13 - Carried over to summary
BILL No: 14
ADDITIONS
14.1 | General
Provision made to include quantities as per the drawingm which is missed in the bill of quantities.
BILL No: 14 - ADDITIONS
TOTAL OF BILL No: 14 - Carried over to summary
BILL No: 15
OMISSIONS
15.1 | General
Provision to made to remove excess quantity given in the bill quantities than the drawing details
BILL No: 15 - OMISSIONS
TOTAL OF BILL No: 15 - Carried over to summary