## Summary
IGMH MOSQUE
SUMMARY OF BILL OF QUANTITIES
NO | BILL | AMOUNT (MRF)
1 | PRELIMINARIES | 0
2 | GROUND WORKS | 0
3 | CONCRETE WORK | 0
4 | MASONRY AND PLASTERING | 0
5 | METAL WORKS & RAILING | 0
6 | CEILING WORKS | 0
7 | DOORS AND WINDOWS | 0
8 | FINISHES & PAVING | 0
9 | PAINTING | 0
10 | ELECTRICAL, IT & HVAC INSTALLATIONS | 0
11 | HYDRAULICS & DRAINAGE | 0
12 | LIFT | 0
13 | ADDITION | 0
14 | OMMISION | 0
| GRAND TOTAL | 0
| plot area | 265.5
| x 11 | 2920.5
| sqft | 31436.262
| cost/sqft | 0

## BoQ
Item | Description | Qty | Unit | Rate | Amount Rf
BILL No: 01
PRELIMINARIES
1.1 | GENERAL NOTES
1 | Abbreviations
m - metre
Nos - numbers
m³ - cubic metre
m² - square metre
m - metre
kg - kilogram
incl - including
mm - millimetre
dia - diametre
SS - Staiinless Steel
GI - Galvinised Iron
1.2 | SITE MANAGEMENT COSTS
| Allow for all on and off site management costs including costs of foreman and assistants, temporary services, telephone, fax, hoardings, fences and similar items. | 1 | Item |  | 0
1.3 | SITE ESTABLISHMENT
| Allow for mobilization and demobilization | 1 | Item |  | 0
1.4 | SERVICES AND FACILITIES
| Provision and maintenance of services and facilities such as Water, power supply, lighting and fuel required for the project. | 1 | item |  | 0
1.5 | TEMPORARY FENCING AND HOARDING
| Supply, erect and maintenance of a fence through out the construction period and hoarding all along the perimeter of the of the site. | 1 | item |  | 0
1.6 | SIGN BOARD
| Allow for sign board. | 1 | Nos. |  | 0
1.7 | MATERIAL TESTING
| Allow for material testing as per technical specifications. Testing shall include for concrete cube testing, testing of cement, sand, aggregate, blocks, timber and similar | 1 | Item |  | 0
1.8 | INSURANCE
| Allow for insurance as per conditions of contract | 1 | Item |  | 0
1.9 | TEMPORARY WORKS
| Allow for erection of temporary structures such as Contractors & Engineers site office, Toilets for workers and other similar works. | 1 | Item |  | 0
1.1 | SAFETY ON SITE
| Safety on site:- Providing and maintaining adequate safety measure on site for all workers and all authorized visitors on site and protecting adjoining properties and people against falling objects or other with regard to the construction works | 1 | Item |  | 0
| BILL No: 01 - PRELIMINARIES |  |  |  | 0
TOTAL OF BILL No: 01 - Carried over to summary
BILL No: 02
GROUND WORKS
2 | GENERAL
Rates shall include for; leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and dispoding surplus soil
2.1 | SITE CLEARING AND DEMOLITION
| Demolition of any existing buildings and removal of those material from the site. Removing and clearing any shrubs or trees from the site. | 1 | Item |  | 0
2.2 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork/shuttering and dewatering the trenches and others
1 | Excavation for Raft foundation starting from formation level. Thickness of layer of excavation is from 0.00m level to -1.5m level and disposal of excavated material from site as directed by the Consultant. | 197.6 | m³ |  | 0
2 | Excavation for Raft foundation starting from -1.5m to -1.80m level and disposal of excavated material from site as directed by the Consultant. | 18.9 | m³ |  | 0
2.3 | DEWATERING
| Allow for dewatering as per MWSC regulations. Rate shall include for continuous dewatering during foundation concreting where required and laying of drainage piping to sea or municipal drain | 1 | Item |  | 0
2.4 | FILLING
| Back filling of excavated area, including compaction as per specification | 177.3 | m³ |  | 0
2.5 | TERMITE TREATMENT
| Allow for termite treatment of excavated area before construction of basement | 1 | Item |  | 0
2.6 | CLEANING UPON COMPLETION
| Cleaning the site upon completion of all works | 1 | Item |  | 0
| BILL No: 02 - GROUND WORKS |  |  |  | 0
TOTAL OF BILL No: 02 - Carried over to summary
BILL No: 03
CONCRETE WORK
3.1 | GENERAL
(a) Rates shall include for: provision to place in position; casting of all required items and finishing after removal of formwork and additional concrete required to conform to structural and excavated tolerances.
(b) Rates shall include supply of all formwork item including form oil, timber, plywood, nails etc.
(c) Mix ratio for reinforced concrete shall be 1:2:3 or as specified by the structural engineer and lean concrete shall be 1:2:4 by volume
0
3.2 | LEAN CONCRETE |  | 0
| Note: Quantity is measured to the edges of concrete members. |  | 0
1 | 75mm thick lean concrete to bottom of raft foundation | 7.4 | m³ |  | 0
3.3 | DAMP PROOF MEMBRANE
Damp prof membrane to bottom of concrete elements as per specification
1 | Polythene sheet over lean concrete | 53.4 | m² |  | 0
2 | Polythene sheet over backfilling to receive basement floor slab. | 147 | m² |  | 0
3.4 | REINFORCED CONCRETE |  | 0
(a) Rates shall include for in situ concrete
| (b) Rates for reinforcement shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and chair supports, laps and wastage |  | 0
| (c) All reinforcing bars shall be high strength deformed bars. |  | 0
(d) The rates for reinforcement shall take into account laps and any wastage.
(e) Rates for formwork shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, straps, ties, hangers, pipes, edge formwork and removal of formwork.
(f) Rates reinforcement shall be given in compliance to all structural drawings and technical specifications
| In-situ reinforced concrete to: |  | 0
3.4.1 | Works Below Ground Floor |  | 0
1 | Tie beam TB, 200mm x 400mm | 4.8 | m³ |  | 0
2 | F1 | 2.7 | m³ |  | 0
3 | F2 | 2 | m³ |  | 0
4 | F3 | 0.6 | m³ |  | 0
5 | F4 | 1.6 | m³ |  | 0
6 | F5 | 0.9 | m³ |  | 0
7 | F6 | 0.8 | m³ |  | 0
8 | F7 | 0.5 | m³ |  | 0
9 | F9 | 3.2 | m³ |  | 0
11 | Lift Walls, 150mm thick | 1.7 | m³ |  | 0
12 | 1200mm dia, well | 1.3 | m³ |  | 0
13 | Staircase starter | 0.16646 | m³
3.4.2 | Ground Floor
1 | Column C1, 250mm x 400mm | 1.6 | m³ |  | 0
2 | Column C2, 250mm x 300mm | 1.7 | m³ |  | 0
3 | Column C3, 250mm x 300mm | 0.3 | m³
4 | Column C4, 200mm x 200mm | 0.6 | m³ |  | 0
5 | RC Staircase - Main staircase | 1.3 | m³ |  | 0
6 | Lift Walls, 150mm thick | 3.6 | m³ |  | 0
3.4.3 | First Floor
1 | Column C1, 250mm x 400mm | 1.6 | m³ |  | 0
2 | Column C2, 250mm x 300mm | 1.7 | m³ |  | 0
3 | Column C3, 250mm x 300mm | 0.3 | m³
4 | Column C4, 200mm x 200mm | 0.6 | m³ |  | 0
5 | First floor attached beams | 5.2 | m³ |  | 0
6 | RC slab, First floor 150mm thick | 17.8 | m³ |  | 0
7 | RC Staircase - Main staircase | 1.3 | m³ |  | 0
8 | Lift Walls, 150mm thick | 6.7 | m³ |  | 0
3.4.4 | Terrace Floor
1 | Column C2, 250mm x 300mm | 0.3 | m³ |  | 0
2 | Column C4, 200mm x 200mm | 0.3 | m³ |  | 0
3 | Second floor attached beams | 5.3 | m³ |  | 0
4 | RC slab,150mm thick | 17.8 | m³ |  | 0
5 | RC Staircase - Main staircase | 1.3 | m³ |  | 0
6 | Lift Walls, 150mm thick | 6.7 | m³
7 | Parapet wall | 0.7 | m³ |  | 0
3.4.9 | Roof
1 | Roof beams | 0.7 | m³ |  | 0
3.8 | WATER PROOFING
Rates shall include for dressing around and sealing all penetrations
1 | Application of approved bituminous water proofing chemical on all concrete & masonry surfaces below lowest finished floor level in accordance with drawings, specification and manufacturers instructions. | 82.7 | m² |  | 0
2 | Application of 2 coats of approved water proofing chemical on concrete roof slab & terrace in accordance with the drawings, technical specifications and manufacturers instructions. | 118.201 | m² |  | 0
3 | Addition of approved water proofing admixture during concreting in accordance with manufacturer's instructions | 1 | item |  | 0
| BILL No: 03 - CONCRETE |  |  |  | 0
TOTAL OF BILL No: 03 - Carried over to summary
BILL No: 04
MASONRY AND PLASTERING
4.1 | GENERAL
(a) Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down reveals where necessary; and blocks, cutting or leaving holes and openings as recesses, building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames, temporary supports to openings. Providing approved quality mesh at joints between structaral members and masonry in the exterior walls.
(b) 150mm Thick solid blocks shall be used for exterior masonry walls, & 100 thick solid blocks shall be used for interior masonry wall
(c) All blocks shall be fabricated from manufactured sand and machine pressed and average compression strength for blocks should not be less than 2.8N/mm2 and shall comply with physical requirements of ISO 6073:1981.
(d) For plastering and screeding works manufactured sand shall be used
(e) BASF RHEOMIX 141 shall be used in all joints of concrete and masonry, as a bonding agent
(f) BASF RHEOFIBRE shall be used in all plastering works.
4.2 | CEMENT BLOCK WORK
4.2.1 | Solid blockwalls, with 150mm thick solid concrete blocks (excluding plaster thickness) laid on and including 1:5 cement mortar, compression gap filler, PVC mesh as specified.
4.2.1.1 | Exterior Walls
1 | Ground floor | 128.3 | m² |  | 0
2 | First floor | 163.1 | m² |  | 0
3 | Terrace Floor | 41.4 | m² |  | 0
4.2.2 | Solid blockwalls, with 100mm thick solid concrete blocks (excluding plaster thickness) laid on and including 1:5 cement mortar, compression gap filler, PVC mesh as specified.
4.2.2.1 | Interior Walls
1 | Ground floor | 70.8 | m² |  | 0
4.3 | PLASTERING
Plastering on walls and concrete surfaces in accordance with the drawings and specifications
4.3.1 | Exterior Walls
25mm Thick cement plastering (made up of 2 layers, 1st layer being 12mm thick and second layer 13mm thick) on external surfaces of walls and concrete column surfaces with 1:4 cement mortar first coat and 1:4 cement mortar mix second coat
as specified including PVC wire mesh at joints of concrete surfaces and masonry walls; and making of 10mm deep grooves at joints of masonry and concrete filled with anti-fungus silicone fill.
1 | Ground floor | 138.4 | m² |  | 0
2 | First floor | 176.1 | m² |  | 0
3 | Terrace Floor | 75.7 | m² |  | 0
4.3.2 | Interior Walls
12mm Thick cement plastering on internal surfaces of walls and concrete column surfaces with 1:4 cement mortar mix as specified including wire mesh at joints of concrete surfaces and masonry walls
2 | Ground floor | 172.8 | m² |  | 0
3 | First floor | 48 | m² |  | 0
4 | Terrace Floor | 76.928 | m² |  | 0
4.4 | FLOORING
4.4.1 | 65mm Thick cement sand screed on concrete floor with 1:5 mortar mix with a smooth finish for general areas and RC staircase
1 | Ground floor | 91.3 | m² |  | 0
2 | First floor | 115.2 | m² |  | 0
3 | Terrace floor | 86.7 | m² |  | 0
4.4.2 | 40mm Thick cement sand screed on concrete floor with 1:5 mortar mix with a smooth finish for Ablution area
1 | Ground floor | 8.9 | m² |  | 0
| BILL No: 04 - MASONRY AND PLASTERING |  |  |  | 0
TOTAL OF BILL No: 04 - Carried over to summary
BILL No: 05
METAL WORKS & RAILING
5.1 | GENERAL
| (a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts including those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws. |  | 0
| (b) Rates shall include for all painting and finishing. |  | 0
(c) Rates shall include for fabrication and erection of temporary supports and fixing into position
(d) The Contractor shall submit samples of SS & GI sections and all other accessories for approval of Consultant/client before procurement
(e) The SS grade used shall be 308
5.2 | HANDRAILING
5.2.1 | SS staircase handrail with 50mm dia. SS main rail fixed to walls as described in the drawings and specifications.
Main staircase from ground floor - terrace floor
1 | Ground floor | 1 | item |  | 0
2 | First floor | 1 | item |  | 0
5.2.2 | Ground floor (Circular Stairs)
1 | Ground floor | 1 | item |  | 0
2 | First floor | 1 | item |  | 0
| BILL No: 05 - METAL & GLASS WORKS |  |  |  | 0
TOTAL OF BILL No: 05 - Carried over to summary
BILL No: 06
CEILING WORKS
6.1 | GENERAL
(a) Rates shall include for all fixing, cutting, trimmings, nails, screws and other fixings according to manufacturers' instructions.
(b) Rates shall include for timber priming and all putty work as specified in the drawing
(c) Rates shall include for all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar complete with cleats, packers, wedges and timber beeding etc. similar and all nails and screws
(d) The Contractor shall submit samples of ceiling boards, all sections for framing and all other accessories for approval of Consultant before procurement
6.2 | SUSPENDED CEILING
6.2.1 | 6mm Thick cement board ceiling with 25mm x 25mm GI square hollow section framing
1 | Ground floor | 8.9 | m² |  | 0
| BILL N0: 06 - CEILINGWORKS |  |  |  | 0
TOTAL OF BILL No: 06 - Carried over to summary
BILL N0: 07
DOORS AND WINDOWS
7.1 | GENERAL
(a) Rates shall include for locks, latches, closures, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware. These materials should brass and of superior quality.
(b) Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boarding, framing, lining, fastenings and all fixings
(c) Rates shall include for painting timber doors
(d) All doors shall be in accordance with drawings (doors and windows schedule) and specifications
(e) All measurements shall be checked on site by the contractor before fabrication.
(f) All aluminium doors and windows shall have 80 micron white powder coated frames unless otherwise specified.
(g) The Contractor shall submit samples for aluminium frames, timber, door & window hardware, glass, shutter samples, sealants for doors & windows, accessories and similar for approval of Consultant before procurement
7.2.1 | DOOR UNITS
2 | Door D1 - (1500mm x 2800mm) | 1 | Nos |  | 0
3 | Door D2 - (913mm x 2300mm) | 4 | Nos |  | 0
7.2.2 | WINDOWS & FIXED GLASS PANELS
1 | Window W1 - (730mm x 1800mm) | 24 | Nos |  | 0
2 | Window W2 - (800mm x 1005mm) | 3 | Nos |  | 0
| BILL N0: 07 - DOORS AND WINDOWS |  |  |  | 0
TOTAL OF BILL No: 07 - Carried over to summary
BILL N0: 08
FINISHES & PAVING
8.1 | GENERAL
| Note:(a) Rates shall include for: fixing, bedding for tiles & paving, grouting, pointing, finishing and any other similar works to ensure the required finish. |  | 0
(b) All tiles used be of Whitehorse brand or similar as given in Technical Specifications
| (c) Contractor shall submit samples of all tiles for approval of consultant prior to procurement |  | 0
(d) Where there may be any descripancies between the drawings and bill of quantities, details given in the drawings shall precede
(e) All items are for supply and complete installation
(f) All tiles shall be fixed using a proper tiling adhesive approved by the Engineer
(g) The Contractor shall submit all tiles, paving stones and all finishing materials before procurement for approval of the Consutant
8.2 | FLOOR FINISHES AND TILING |  | 0
8.2.1 | 600mm x 300mm Polished Homogeneous tiles on floor
1 | Ground Floor | 58.8 | m² |  | 0
2 | First floor | 115.029 | m² |  | 0
8.2.2 | 300mm x 300mm Matt Homogeneous tiles on floor
1 | Ground floor | 32.4 | m² |  | 0
2 | Terrace floor | 86.7 | m² |  | 0
8.2.3 | Homogenous Staircase tile set with nosing.
1 | Ground floor | 8.2 | m² |  | 0
2 | First floor | 8.2 | m² |  | 0
8.3 | WALL FINISHES
8.3.1 | 300mm x 600mm Homogeneous tiles on walls
1 | Ground floor - ablution area | 23.62 | m² |  | 0
8.4 | SKIRTING TILE
8.4.1 | 600mm x 100mm High Homogenous skirting tile
1 | Ground floor | 53.5 | m |  | 0
2 | First floor | 47.4 | m |  | 0
| BILL No: 08 - FINISHES & PAVING |  |  |  | 0
TOTAL OF BILL No: 08 - Carried over to summary
BILL No: 09
PAINTING
9.1 | GENERAL
Note: (a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the
protection and/or masking floors, fittings and similar work, removing and replacing door window furniture
| (b) All painting work shall be carried in accordance with the Specifications |  | 0
(c) The colour and type of paint will be selected by the architect/client.
(d) The brand of paint used shall be SKK or Sigma
9.2 | WALLS AND CONCRETE SURFACES |  | 0
Emulsion paint finish on cement plastered walls and concrete column, sides and soffits of beam and soffits of slab surfaces as specified. Exterior walls should be applied with textured exterior weather proof paint.
9.2.1 | Exterior Walls
1 | Ground floor | 138.4 | m² |  | 0
2 | First floor | 176.1 | m² |  | 0
3 | Second floor | 75.7 | m² |  | 0
9.2.2 | Interior Walls
Emulsion paint finish after application of putty and grinding for a smooth finish.
1 | Ground floor | 172.8 | m² |  | 0
2 | First floor | 48 | m² |  | 0
3 | Second floor | 76.928 | m² |  | 0
9.3 | CEILING
Emulsion paint finish after application of putty and grinding for a smooth finish.
1 | Ground floor | 8.9 | m² |  | 0
| BILL No: 09 - PAINTING |  |  |  | 0
TOTAL OF BILL No: 09 - Carried over to summary
BILL No: 10
ELECTRICAL, IT & HVAC INSTALLATIONS
10.1 | GENERAL
| (a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories |  | 0
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates for electrical conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
(d) Light end and switch end of wiring together measured as one point
(e) A point wiring for power points is measured as one point for each socket outlet; other end of wire is not included in the quantity.
(f) Rates shall include for supply and complete installation
(g) Three phase power supply.
(h) The loading for air conditioning shall be according to a specialists details.
(i) For electrical wiring, 1.5mm2 wire shall be used for light fixtures & fans. 2.5mm2 wire shall be used for light circuit wiring and 4mm2 wire shall be used for all 15A sockets
(j) The Contractor shall provide shop drawings for approval before proceeding with any works
(k) All electrical wires, cables, fittings, fixtures, accessories & similar shall be approved by the Consultant
10.2 | ELECTRICAL BOARDS & PANELS
Complete installation, including for all connections, earthing, painting, testing and similar of:
1 | Three phase main panel board with connections from the mains including meters, cut-off fuse and other accessories to be located in the panel room at ground floor to electrical engineers specification upto STELCO & MEB standard. | 1 | Nos |  | 0
2 | Distribution Boards | 3 | Nos |  | 0
10.3 | ELECTRICAL WIRING
Electrical wiring with copper conductor cable as per government regulations.
1 | Ground Floor | 1 | item |  | 0
2 | First Floor | 1 | item |  | 0
3 | Terrace Floor | 1 | item |  | 0
10.4 | LIGHTING, POWER POINTS & FANS
Supply and fixing of:
Fixing of the following items as shown in the drawings. The quantities given are provisional
1 | Ground Floor | 1 | item |  | 0
2 | First Floor | 1 | item |  | 0
3 | Terrace Floor | 1 | item |  | 0
| BILL No: 10 ELECTRICAL, IT & HVAC INSTALLATIONS |  |  |  | 0
TOTAL OF BILL No: 10 - Carried over to summary
BILL No: 11
HYDRAULICS & DRAINAGE
11.1 | HYDRAULICS
Preamble notes
(a) Rates shall include for sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints, backnuts and similar, incidental fittings, clips saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes, excavating, laying pipes and backfilling trenches.
(b) All pipe work and fittings shall be high pressure PVC
(c) Rates shall include for supply and fixing of all pipes
(d) All sanitary fixtures used shall be of superior quality and approved by the architect/consultant on submission of samples.
11.1.1 | Internal Plumbing - Cold Water
Internal plumbing to all toilets and kitchen incl. supply and laying of pipes.
1 | Ground floor | 3 | Nos |  | 0
11.1.2 | External plumbing
1 | Connection to Main sewer line | 1 | Item |  | 0
2 | Connection to MWSC water meters | 2 | Nos |  | 0
3 | All pipe works under groundfloor screed/slab to be laid for Waste water, sewage, fresh water and well water connection. | 1 | Item |  | 0
4 | Waste water and sewage connection from all the toilets and ablution area including the catch pits and manholes as necessary. Rates shall include for supply and laying of pipes | 1 | Item |  | 0
5 | MWSC water connection to all toilets and ablution area. Rate shall include for supply and laying of pipes. | 1 | Item |  | 0
11.1.3 | Pumps
1 | Supply and installation of appropriate capacity Water pump complete including pump stand, connecting to pipe work and electricity as specified. A common water pump and a standby pump for ground water | 1 | item |  | 0
11.2 | DRAINAGE
11.2.1 | Preamble notes
(a) Rates shall include for excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints and all joints and other incidental materials.
(b) All pipework shall be PVC
11.2.2 | Rainwater Discharge Pipe
(a) Rates shall include for excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints and all joints and other incidental materials.
1 | 100mm Ø Rainwater discharge pipe from Terrace, rates shall include for supply and installation of piping from terrace through the ducting and connection to exterior drain system. | 1 | item |  | 0
| BILL No: 11 - HYDRAULICS AND DRAINAGE |  |  |  | 0
TOTAL OF BILL No: 11 - Carried over to summary
BILL No: 12
LIFT
12.1 | GENERAL
(a) Type of lift shall be of Mitsubishi brand
(b) The contractor shall submit for approval technical data regarding the lift to the consultant prior to procuring the lift
(c) Rates shall include for complete supply, installation and commisioning
(d) Finishing for lifts shall be as outlined in the Project Manual
12.2 | LIFT
1 | Mitsubishi 6 person lift, code P6, of rated load 450kg | 1 | nos |  | 0
| BILL No: 12 - LIFT |  | 0 |  | 0
TOTAL OF BILL No: 12 - Carried over to summary
BILL No: 13
ADDITION
Include in this part, items, that the contractor need to include, in addition, to the items mentioned in the bills.
| BILL No: 13 - ADDITION |  | 0 |  | 0
TOTAL OF BILL No: 13 - Carried over to summary
BILL No: 14
OMMISION
Include in this part, items, that the contratctor need to exclude from any of the bills.
| BILL No: 14 - OMMISION |  | 0 |  | 0
TOTAL OF BILL No: 14 - Carried over to summary