## COVER
BOQ for:
Proposed Kalhuvakaru Mosque Relocation
The Employer : Ministry of Culture , Arts & Heritage
The Engineer :

## BOQ Summary
Proposed Kalhuvakaru Mosque Relocation
BOQ Summary
Item No | Description | Amount ( MVR )
1 | Preliminaries | 0
2 | Ground Works | 0
3 | Concrete Works | 0
4 | Masonry Works | 0
5 | Finishing Works | 0
6 | Miskiy Assembling Works | 0
7 | Roofing Works | 0
8 | Landscaping Works | 0
9 | Electrical Works | 0
10 | Fire Fighting Works | 0
11 | Addition Works | 0
12 | Omission Works | 0
| Total ( MVR ) | 0
| Add Contingencies 15 % : | 0
| Total with Contingencies | 0
| Add : GST - 6% | 0
| Grand Total | 0

## BOQ
Item | Description | Unit | Qty | Rate (MVR) | Amount (MVR)
Bill No : 1
Preliminaries
1.1 | General Notes
Symbols & Abbreviations
m - meter
nr - numbers
m³ - cubic meter
m² - square meter
kg - kilograms
t - tonne
incl - including
mm - millimeter
> - exceeding
≥ - equal to or exceeding
dia - diameter
≤ - not exceeding
< - less than
% - percentage
SS - Stainless Steel
GI - Galvanized Iron
1.2 | Site Management , Staff & Office Maintain Cost
1 | Allow for site management cost including technical staff etc. | Item | 1
2 | Allow to the Contractor to include plant , machineries and equipment cost related to the works. | Item | 1
1.3 | Safety On Site and Site Security Works
1 | Providing and maintains adequate safety measures for whole workers , staff and authorized visitors and site security works for the works and people until completion of the works. | Item | 1
2 | Relocation of Temporary Fence on the Eastern Side (within Sultan Park area). (Reference: Technical Specification and Scope of Works, chapter 1.16) | Item | 1
1.4 | Clean-up
1 | Allow for clean-up of completed works and site upon completion. Rate to include demobilization & removal of debris and garbage from site. | Item | 1
1.5 | Setting Out
1 | Setting out of the Works | Item | 1
| Total of Bill No: 01 - Carried to Bill Summary |  |  |  | 0
Bill No: 02
Ground Works
2.1 | General
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, dewatering, keep sides plumb, backfilling, consolidating and disposing surplus & debris from site.
(b) All are according to the detailed drawing and specification.
( c ) The Bidder is required to visit the site before pricing these items.
( d ) Rate to include all the works completely unless otherwise measured separately.
( e ) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed.
Drawing References: All Architectural and Structural Drawings
2.2 | Excavation
1 | Excavation for Low Wall Foundation | m³ | 33 |  | 0
2 | Excavation for Miskiy Foundation | m³ | 21 |  | 0
3 | Excavation for Well | m³ | 2 |  | 0
4 | Excavation for Boundary Wall | m³ | 22 |  | 0
2.3 | Earth Compaction
1 | Well compacted earth before placing concrete as shown in the detailed drawing. | m² | 75 |  | 0
2.4 | Dry Mortar Filling
1 | Well compacted Dry Mortar Mix ( 1:10 ) as shown in the drawing. | m³ | 20 |  | 0
2.5 | Back Filling
1 | Well compacted sand/gravel filling to the foundation with open pit as shown in the drawing including 50-75mm perforations to the bottom and sides of pit. | m³ | 40 |  | 0
2.6 | Damp Proof Membrane
Rates shall include for: dressing around and sealing to all penetrations. All works according to the drawing. And also note that Lime mortar will be provided by the client.
1 | Lime mortar Damp proof membrane according to the drawing for Low Wall Foundation. | m² | 67 |  | 0
2 | Lime mortar Damp proof membrane according to the drawing to bottom of Miskiy foundation. | m² | 88 |  | 0
3 | Damp proof membrane , Bitustick P or Equivalent as shown in the detailed drawing. | m² | 38 |  | 0
4 | Lime mortar Damp proof membrane for well bottom & sides of wall as per drawing | m² | 8 |  | 0
2.7 | Water Proofing Application
Rates shall include for dressing around and sealing to all penetrations
Apply water proofing material to surface of concrete/masonry above ground level in accordance with specification , shown in the drawings and manufacturer's instructions.
1 | For Low Wall | m² | 161 |  | 0
2 | For Miskiy foundation | m² | 8 |  | 0
3 | For well area | m² | 6 |  | 0
2.8 | Dewatering
| Allow for dewatering during construction period using suitable system as required. | Item | 1 |  | 0
| Total Of Bill No: 02 - Carried to Bill summary |  |  |  | 0
Bill No: 03
Concrete Works
3 | General
(a)The Bidder is requested to refer the General Notes, Schedules, Drawings, Specifications and other relevant documents.
(b) Rates shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
(c) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:4 by volume.
(d) Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork and excavated tolerances.
(e) Rate to include water proofing compound/admixtures to concrete for wet area unless other wise stated separately.
( f ) Rate to include all the works completely unless otherwise measured separately.
( g ) Rate to include apply movement joint , groove filling , expansion joint , construction joint as shown in the drawing completely.
( h ) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed.
Drawing References: All Architectural, Structural and Drainage Drawings
3.1 | Concrete Works
3.1.1 | Lean Concrete
1 | 50 mm thick lean concrete to low wall foundation. | m² | 35 |  | 0
2 | 50 mm thick lean concrete for bottom of Miskiy foundation. | m² | 81 |  | 0
3.1.2 | Reinforced Concrete
Rate to include reinforcement , formwork as shown in the detailed drawing.
1 | For Miskiy foundation ( Raft & Beam ) | m³ | 17 |  | 0
2 | Outer Beam | m³ | 1.5 |  | 0
3 | Low Wall/Boundary Wall | m³ | 19 |  | 0
4 | Well & Beam | m³ | 1.5 |  | 0
5 | 75 mm thk. Concrete Slab around well area | m² | 6 |  | 0
6 | Ground Slab ( Pre Cast Slab ) | m² | 23 |  | 0
3.2 | Other Concrete Works
1 | Relocate existing circular concrete steps to the entrance location to Mosque.Rate to include only the labour works. | Item | 1 |  | 0
3.3 | Other Works
| Making PVC/Conduit including sleeves as shown in the drawing completely. | Item | 1 |  | 0
| Total Of Bill No: 03 - Carried to Bill Summary |  |  |  | 0
Bill No: 04
Masonry Works
4.1 | General
(a) The Bidder is requested to refer the General Notes, Schedules, Drawings, Specifications and other relevant documents.
(b) Rates shall include for cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary fractional size blocks , all necessary machine cutting , cutting or forming chases or edges of floor slabs, filling gaps , cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding , frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
(c) Rate to include bonding agent according to the drawing.
(d) Rate shall include water proofing chemicals/admixtures unless other wise measured separately.
( e ) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed.
( f ) Rate to include all the works according to the drawing otherwise measured it separately.
Drawing References: All Architectural, Structural and Drainage Drawings
4.2 | Cement Block Work
1 | 150 mm thick vertical Solid ( Miskiy Foundation ) Block Wall in 1:5 cement sand mortar . (Reference: K3-21-101R03) | m² | 22 |  | 0
2 | 400 mm thick vertical Solid ( Miskiy Foundation ) Block Wall in 1:5 cement sand mortar . (Reference: K3-21-101R03) | m³ | 5.25 |  | 0
3 | 900 mm thick vertical masonary wall for boundary wall , height 1200 mm , in 1:5 cement sand mortar with top part as shown in the drawing. (Reference: K3-11-102R03 and K3-11-502BOUNDARYWALL_GATER00) | m³ | 104 |  | 0
4 | 75 mm thick vertical Ledge wall ( Former playstation Foundation area ) Block Wall in 1:5 cement sand mortar . (Reference: K3-11-102R03 and K3-11-505R00) | m² | 36 |  | 0
5 | 180 mm thick vertical masonary wall for museum boundary wall , height 1824 mm , in 1:5 cement sand mortar with top part as shown in the drawing. (Reference: K3-11-102R03 and K3-11-504aMACHGATER00 and K3-11-504bMACHGATER00) | m³ | 4 |  | 0
4.3 | Plastering
15 mm thick ( 10 mm 1st layer & 5 mm 2nd layer ) external plastering on masonary surface with 1:5 cement sand mortar finish with smooth.
1 | Boundary Wall - park area | m² | 318 |  | 0
2 | Ledge wall | m² | 78 |  | 0
3 | Boundary Wall - museum area | m² | 22 |  | 0
| Total Of Bill No: 04 - Carried to Bill Summary |  |  |  | 0
Bill No: 05
Finishing Works
5.1 | General
Painting Works
(a) Rates shall include for the provision , erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window furniture.
(b) All painting work shall be carried in accordance with the Specifications
( c ) Colour to be approved by the Architect & the Engineer.
( d ) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed.
( e ) Rate to include water proofing admixtures where necessary.
( f ) Rate to include all the works according to the drawing otherwise measured it separately.
Drawing References: All Architectural Drawings
Painting Works
1 | Surface smoothing and apply exterior paint surface of Low wall. Colour to approve by the employer. | m² | 103 |  | 0
2 | Apply exterior paint surface of Boundary Wall - park area. Colour to approve by the Employer. | m² | 260 |  | 0
3 | Apply exterior paint surface of Ledge Wall. Colour to approve by the Employer. | m² | 30 |  | 0
4 | Apply exterior paint surface of Boundary Wall - museum area. Colour to approve by the Employer. | m² | 18 |  | 0
| Total Of Bill No: 05 - Carried to Bill summary |  |  |  | 0
Bill No: 06
Miskiy Assembling Works
6.1 | General
(a)The Bidder is requested to refer the General Notes, Schedules, Drawings, Specifications and other relevant documents.
( b ) Rate to include all the works according to the drawing otherwise measured it separately.
( c ) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed.
( d ) Material will provide/supply by the employer. The contractor has to do Only Labour Works only.
Drawing References: All Architectural and Structural Drawings
Miskiy Assembling
Assembling of pre fabricated Miskiy directed by the Employer to complete as shown in the detailed drawing.
6.2 | Wall Panel
Wall panel and other material provided by the employer. The contractor has to do Labour Only.
1 | Wall panel up to slab level | Item | 1 |  | 0
2 | From slab level to roof level | Item | 1 |  | 0
6.3 | Roof Structure
Roof structure and other material provided by the employer. The contractor has to do Labour Only.
1 | Fixing roof structure | Item | 1 |  | 0
6.3 | Fixing Stump/Post
| Fixing of stump/post as shown in the drawing . Material provided by the employer. The contractor has to do Labour Only. | Item | 1 |  | 0
6.4 | Stone Wall
1 | Placing of existing stone wall for well area as shown in the drawing. Stone wall provide by the employer. The contractor has to do Labour Only. | Item | 1 |  | 0
6.5 | Fixing Door Panel
1 | Fixing door panel provide by the employer. The contractor has to do Labour Only. | Item | 1 |  | 0
| Total Of Bill No: 06 - Carried to Bill summary |  |  |  | 0
Bill No: 07
Roof Works
7.1 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
(b) All works are according to the drawing and specifications.
(c ) Rates shall cover all the work items completely as shown in the drawings unless otherwise measured separately.
( d ) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed.
Drawing References: All Architectural and Structural Drawings
7.2 | Roof Cover & Accessories
1 | Supply & laying Corrugated roofing sheet according to the drawing including fittings & related accessories with Manufacturers specification. | m² | 109 |  | 0
2 | Supply and laying insulation , aluminum foil backing , insulation net as shown in the drawing completely. | m² | 109 |  | 0
Note : Consider these works add newly to the Miskiy , required material plus labour shall give by the main contractor.
| Total Of Bill No: 07 - Carried to Bill summary |  |  |  | 0
Bill No: 08
Landscaping Works
8.1 | General
(a)The Bidder is requested to refer the General Notes, Schedules, Drawings, Specifications and other relevant documents.
( b ) Rate to include all the works according to the drawing otherwise measured it separately.
( c ) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed.
Drawing Reference: All architectural drawings
8.2 | Tree Planting Works
Supply and planting trees including all related works .
1 | Gulchampa | nr | 1 |  | 0
2 | Flame of the Forest | nr | 2 |  | 0
3 | Uni | nr | 7 |  | 0
4 | Huvandhuma | nr | 3 |  | 0
5 | Night of Jasmine | nr | 120 |  | 0
6 | Hithigas | nr | 5 |  | 0
8.3 | Apply Grass/Grasses
Rate to include ground leveling , earth preparation etc…
1 | Grass | m² | 1808 |  | 0
8.4 | Supply & Laying of Sand
1 | Sand apply ( Average thk. 300 mm ) for floor in side the Low Wall/Miskiy Compound Boundary as shown in the drawing. | m² | 313
2 | Supply and laying coarse (kashi veli) layer around out edge of verandah as shown in the drawing completely. | m² | 25
5 | Well compacted white dry sand finish to play area as shown in the drawing. ( Average thk. 150 mm ) | m³ | 37
6 | Well compacted white dry sand finish to mosque area (Verandah-2) as shown in the drawing. (Reference: K3-35-101R02) | m³ | 25
8.5 | Other Works
1 | Making Bench ( Holhuashi Type ) & placing at landscape area as shown in the detailed drawing. (Reference: K3-11-501BENCHDETAILR02) | nr | 15 |  | 0
2 | Concrete Pavement as shown in the drawing. Thickness approx 50 mm. | m² | 296 |  | 0
3 | Supply & placing Dustbin as shown in the drawing. | nr | 11 |  | 0
4 | Four seats timber joali ( Holhuashi Type ) & placing at landscape area as shown in the detailed drawing. (Reference: K3-11-506JOALIR00) | nr | 4 |  | 0
8.5 | Steel Gate
1 | Sliding metal gate (museum boundary) as shown in the detal drawing. (Reference: K3-11-504aMACHGATER00 and K3-11-504bMACHGATER00) | Item | 1 |  | 0
| Total Of Bill No: 08 - Carried to Bill summary |  |  |  | 0
Bill No: 9
Electrical Works
9.1 | General
( a ) The Bidder is requested to refer the General Notes, Schedules, Drawings, Specifications and other relevant documents.
( b ) All materials, equipment, wiring and workmanship shall good quality as required by STELCO.
(c) Rates shall include for electrical conduits , Cable , PVC sun box , fittings, equipment and similar all fixings to various building surfaces.
(d) Rates shall include for screws , nails , bolts, nuts , standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
(e) Rates for work in trench shall include for excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus soil from site.
(f) Rates shall include all costs associated with provision of all holes , openings , chases in block walls , duct and other builders work completely.
(g) Electrical fittings shall in approved manufactures & it will be measured under separately.
(h) A point wiring for power point is measured as one point including all for each socket outlets and wiring for light & fan is measured as one point including all. All the fitting will be measured separately.
(i) Rates shall include for supply and complete installation
( j ) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed.
Drawing Reference: All Lighting and Power Drawings
9.2 | Main Panel Board/Main Switch Board
1 | Supply and installation of Main Panel Board completely including all the accessories as shown in detailed electrical drawings and technical specifications. Rate to include proper earthing system , connections to the requirement of STELCO and wiring , switch and other fittings etc. Rate to include necessary builders work completely finishing. | Item | 1 |  | 0
9.3 | Distribution Board
Supply and installation Distribution Board for power distribution with cable from Main Panel Board to require location with other required fittings completely as shown in the drawings and technical data. Rate shall include fixing electrical meter completely for each section. Rate to include cable , conduit , necessary fittings & accessories and all the builders work completely.
1 | For Miskiy | nr | 1 |  | 0
2 | For Park/Landscape Area | nr | 1 |  | 0
3 | Master & Digital Control Module Unit | nr | 1 |  | 0
9.4 | Testing and Commissioning Works
1 | Allow for whole electrical works testing and commissioning. | Item | 1 |  | 0
9.5 | Electrical Wiring
Electrical wiring with copper conductor cable in conduits through walls , casing on soffits of slab or through soffit , through ceiling , below ground as specified. Rates shall include related fittings and accessories completely.
9.5.1 | Wiring with 1.5 mm² cable to lighting points
1 | For Miskiy | nr | 40 |  | 0
2 | For landscape Area | nr | 56 |  | 0
9.5.2 | Wiring with 2.5 mm² cable to power points
1 | For Miskiy | nr | 6 |  | 0
9.5.3 | Cable for Computer Network Outlets
RJ 45 Connector , Floor Concealed
1 | For Miskiy | nr | 1 |  | 0
9.6 | Light Fittings
Supply and fixing light fittings completely with approved manufactures.
All are accordance to the drawings and specification.
9.6.1 | For Miskiy
| Outdoor Linear LED Light ( L70 ) | nr | 12 | Materials Provided by the Employer
| LED Strip Light ( L125 ) | nr | 12
| Recessed Linear LED System ( L126 ) | nr | 16
9.6.2 | For Park/Landscape Area
| 50 W Colour Garden Light in Weather Proof Lamp Holder ( L41 ) | nr | 10
| LED Bollard as shown in the Schedule ( L124 ) | nr | 30
| LED Bollard as shown in the Schedule ( L124a ) | nr | 11
| LED in ground luminaire as shown in the Schedule ( L124b ) | nr | 6
9.7 | Socket Outlets
Supply and fixing socket outlets completely with approved manufactures.
All socket outlets shall be accordance to the drawings and specification.
For Miskiy
1 | Two Gang 13A Socket Outlet - Floor Concealed | nr | 6
| Total Of Bill No: 9 - Carried to Bill summary |  |  |  | 0
Bill No: 10
Fire Fighting Works
10.1 | General
( a ) The Bidder is requested to refer the General Notes, Schedules, Drawings, Specifications and other relevant documents.
(b) Rates shall include for: sockets, running joints, connectors, elbows, junctions, reducers, expansion joints; backnuts and similar; incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes; excavating, laying pipes and backfilling trenches
( c ) Rate shall include for pipe works and inner and outer surface all pipe work shall be galvanized steel
( d ) All are according to the drawing and specification. Rates shall include all the works completely unless otherwise measured separately.
( e ) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed.
Drawing Reference: All Fire Alarm - Fire Fighting System Drawings
10.2 | Fire Fighting System
1 | Portable Extinguisher - H₂O , 10 Ltr | nr | 1 |  | 0
2 | Portable Extinguisher - CO₂ , 2 Kg | nr | 1 |  | 0
| Total Of Bill No: 10 - Carried to Bill summary |  |  |  | 0
Bill No: 11
Addition Works
11.1 | General
| Total Of Bill No: 11 - Carried to Bill Summary |  |  |  | 0
Bill No: 12
Omission Works
12.1 | General
| Total Of Bill No: 12 - Carried to Bill Summary |  |  |  | 0

## Sheet1 (hidden)
2.2 | Site clearance
1 | Clearing site including removing debris , remove top soil , stumps and roots if available . Rate to include disposal of material away from the site. ( In Side of New Low Wall ) | m² | 389
2 | Clearing site including removing debris , top soil , stumps and roots if available . Rate to include disposal of material away from the site. ( Area in between existing boundary wall & proposed Low wall ) | m² | 2239