## Lot 1 fire vehcile
PROJECT: G.DH. MAAVAARULU AIRPORT
PRICED BILL OF QUANTITIES
Supply, Delivery, Installation and Commissioning of Fire Vehicles
Item no | Description | Unit | Qty | Rate | Amount
Fire Vehicle
Rates shall include for supplying, Commissioning and Training
1 | Refurbished fire vehicle (Not more than 15 years after manufacturing)4 x 4 drives Airport Crash Rescue vehicle, for the operation of a category 5 airport ( please refer to the technical specification attached for all the details ) | Nos | 2
Total |  |  |  |  | 0

## Lot 2 fire ext
PROJECT: G.DH. MAAVAARULU AIRPORT
PRICED BILL OF QUANTITIES
Supply, Delivery, Installation and Commissioning of Fire Fighting Equipments
Item no | Description | Unit | Qty | Rate | Amount
Rates shall include for supplying, Commissioning and installation.
1 | Airport Rescue Fire Fighting Equipments
1.1 | Protective Clothing ( suit ) | nos | 13
1.2 | Helmet | nos | 13
1.3 | Gloves | nos | 13
1.4 | Boot | nos | 13
1.5 | Protective Clothing ( suit aluminium ) | nos | 4
1.6 | Stretcher ( Folderble ) | nos | 30
1.7 | Portable Centrifugal Fire Pump ( angus or equivalent ) | nos | 1
1.8 | Suction Horse | nos | 3
1.9 | Fire Horse 2 1/2 inches | nos | 10
2 | Fire Horse 1 3/4 inches | nos | 10
2.1 | Dead Body Bags | nos | 30
2.2 | Trauma kit | nos | 3
2.3 | Foam Testing Kit | nos | 2
2.4 | Suction wrench | nos | 2
2.5 | Spray branch | nos | 4
2.6 | Standard nozzle 1" | nos | 2
2.7 | Dividing Breaching | nos | 3
2.8 | Collecting Breaching | nos | 3
2.9 | Power Saw | nos | 1
3 | Deat Belt Cutter | nos | 2
3.1 | BA sets | nos | 8
3.2 | BA spare Cylinder | nos | 8
3.3 | Oxygen Inhaler | nos | 1
3.4 | Forcing tools | nos | 1
3.5 | Medical first aid kit | nos | 2
3.6 | Tarpaulin ( 20 x 12 ) | nos | 1
3.7 | Fan for ventilating / cooling | nos | 1
3.8 | Fire Blanket | nos | 1
3.9 | Ladder ( double sections ) | nos | 1
4 | Rope line, 15m | nos | 1
4.1 | Rope line , 30m | nos | 2
4.2 | Pliers, 17.8 cm | nos | 1
4.3 | Pliers, slip joint 25 | nos | 1
4.4 | screw driver set | nos | 1
4.5 | Tin snipper | nos | 1
4.6 | Chock 15cm | nos | 4
4.7 | Chock 10 cm | nos | 1
4.8 | Adjustable wrench | nos | 1
4.9 | Axe large | nos | 1
5 | Axe small | nos | 2
5.1 | Cutter bolt , 61cm | nos | 1
5.2 | Crowbar , 1.65m | nos | 1
5.3 | Chisel, cold 2.5cm | nos | 1
5.4 | Flash lights | nos | 3
5.5 | Hammer, 1.8 kg | nos | 1
5.6 | Hook , grab | nos | 1
5.7 | hack saw c/w s blades | nos | 1
5.8 | Foam FFFP ( barell ) 200 Lts barell | nos | 14
5.9 | Dry Chemical Powder, 25 kg drum | kg | 720
6 | Fire extingusher 2 kg Co2 ATC Room & Office | nos | 2
6.1 | Fire extingusher 9 kg DCP fire building | nos | 3
6.2 | Fire extingusher 2 kg Co2 Terminal Building | nos | 7
6.3 | Wheeled 16kg Co2 trolley 1. Wheeled 50lt Foam trolley. ( for apron ) | Nos | 1 |  | 0
Total |  |  |  |  | 0

## Lot 3 operational
PROJECT: G.DH. MAAVAARULU AIRPORT
PRICED BILL OF QUANTITIES
Supply, Delivery, Installation and Commissioning of Operational Equipments
Item no | Description | Unit | Qty | Rate | Amount
Operational Equipment
Rates shall include for supplying, Commissioning and installation.
1 | Supply following items as instructed in the specification
1.1 | Baggage Trolley ( Aluminium , 3 wheel ) pictures attached | no | 50
1.2 | Baggage Cart ( customized buggy ) | no | 2
1.3 | Vehicle for Runway Inspection ( Doube cab pick up , manual ) | no | 1
1.4 | Baggage Weighing machine ( 150 kg capacity ) | nos | 2
1.5 | Wheel Chair | nos | 2
1.6 | GROUND POWER UNIT | Nos | 1 |  | 0
Model: 11-6603-1033
S/N: HK339828
Power Input: 50 Hz, 3 Phase
Voltage 220 / 380 / 440
Amperage 97/56/48
Power output: Continuous: 550 AMPS @ 28.5 VDC
Intermittent: 2000 AMPS @ 26 VDC
Ripple: 2% RMS Maximum
Current Limiting: 100 to 2000 AMPS
Voltage: 27 to 30 Volts D.C
Reserve Current Protection
Physical: Dimensions: 48”L x 30” W x 39” H
Total |  |  |  |  | 0

## Lot 4 security
PROJECT: G.DH. MAAVAARULU AIRPORT
PRICED BILL OF QUANTITIES
Supply, Delivery, Installation and Commissioning of Security Equipment
Item no | Description | Unit | Qty | Rate | Amount
Security Equipment
Rates shall include for supplying, Commissioning and installation.
1 | Supply following items as instructed in the specification and to the approval of Maldives Civil Aviation Authority
1.1 | Hand Held Metal Detectors ( PD 140N or equivalent and accepted by AVSEC. ) | no | 2
1.2 | Walkthrough Detectors ( EIA or equivalent and accepted by AVSEC ) |  | 1
1.3 | X-ray machine checked baggage) Smiths 9075 or equivalent and accepted by AVSEC. | no | 1
Total |  |  |  |  | 0

## Lot 5 navigational
PROJECT: G.DH. MAAVAARULU AIRPORT
PRICED BILL OF QUANTITIES
Supply, Delivery, installation and commissioning of Navigational And Met Equipments
Item no | Description | Unit | Qty | Rate | Amount
Navigational And Met Equipments
GENERAL
Rates shall include for supplying material, freight, handling etc, and complete installation works. Installation, testing and commissioning shall be done by a specialised supplier.
1 | NAVIGATION AIDS & MET EQUIPEMENTS
1.1 | VHF Main ( ICOM IC-A110 or equivalent ) airband transreciever with all accessories. | No | 1 |  | 0
1.2 | VHF Standby ( ICOM IC-A110 or equivalent ) airband transreciever with all accessories. | No | 1 |  | 0
1.3 | VHF Emergency Frequency 121.5 ( ICOM IC-A110 or equivalent ) airband transreciever with all accessories. | No | 1 |  | 0
| UPS ( 650 VA APC or equivalent ) | No | 3
1.4 | Motorolla Handset GP 328 or equivalent c/w antenna and acessories | No | 6 |  | 0
1.5 | Motorolla CDR700 Repeater Station | No | 1 |  | 0
1.6 | Digital Clock with Temperature guage | No | 1 |  | 0
1.7 | Binocular ( day and night visible ) | No | 1 |  | 0
1.8 | Barometer ( as specified in technical specification or equivalent ) | No | 1 |  | 0
1.9 | Signalling Lamp ( as specified in technical specification or equivalent ) | No | 1 |  | 0
1.9.1 | VIASALA, MODEL WA15 includes: wind speed sensor (Anemometer) wind direction sensor, outdoor main power supply, Cross arm and serial RS-485 Transmitter | No | 1 |  | 0
1.9.2 | Provision of Crash Alarm System ( to be installed in ATC Tower ) | No | 1 |  | 0
2 | AIRFIELD LIGHTING
2.1 | Information Signs "A" & "B" ( Entrance of each Taxiway ) both sides of the boards should be visible at day and night | No | 2
2.2 | Illuminated Wind Direction Indicator ( with powered obstruction light ) | No | 1
3 | AIRFIELD LIGHTING CABLE
3.1 | Secondary Cable 2.5mm2 twin core PVC sheathed - CCR - PAPI ( length of the cable should be determined by the supplier , drwaings will be provided by the client ) | Mtrs |  |  | 0
3.2 |  |  |  |  | 0
3.3 | Cable 2C 10 mm2 - CCR - Windcone ( length of the cable should be determined by the supplier , drwaings will be provided by the client ) | Mtrs |  |  | 0
3.4 | Cable 4C 6mm2 3 phase - Powe House -GPU ( length of the cable should be determined by the supplier , drwaings will be provided by the client ) | Mtrs |  |  | 0
3.5 | Earth Cable 2.5 mm ( length of the cable should be determined by the supplier , drwaings will be provided by the client ) | Mtrs |  |  | 0
3.6 | Earth Rod ( minimum 1.7 meter length ) | Nos |  |  | 0
3.7 | Cable Trench - A-PAPI , Taxiway Boards , Windcone & GPU | Mtrs |  |  | 0
5 | FREIGHT COSTS
5.1 | Cost for freight, handling and any charges involved in clearing and deliver the goods to the site. ( length of the trenches should be measured by the supplier and clinet will provide the drawing ) | Item | 1 |  | 0
6 | INSTALLATION, COMMISSIONING AND TESTING
Total |  |  |  |  | 0