## Cover (2)
BILL OF QUANTITIES
HA. KELAA ISOLATION BLOCK
CLIENT : MINISTRY OF HEALTH, GOVERNEMNT OF MALDIVES

## BOQ Summary (2)
SUMMARY OF BILL OF QUANTITIES
Project: HA. KELAA ISOLATION BLOCK | Date:
Version:
Client: MINISTRY OF HEALTH | Prepared by:
DESCRIPTION |  | AMOUNT (MVR) | %
Bill №: 01 - PRELIMINARIES
Bill №: 02 - EXCAVATION AND FILLING
Bill №: 03 - INSITU CONCRETE WORKS
Bill №: 04 - MASONRY
Bill №: 05 - CEILING
Bill №: 06 - WINDOWS, SCREENS & LIGHTS
Bill №: 07 - DOORS, SHUTTERS & HATCHES
Bill №: 8 - DECORATIONS
Bill №: 9 - FINISHES
Bill №: 10 - HYDRAULICS AND DRAINAGE
Bill №: 11 - ELECTRICAL INSTALLATIONS
Bill №: 12- INSULATION, FIRE STOPPING & FIRE PROTECTION
Bill №: 13- ADDITIONS AND OMMISIONS
TOTAL AMOUNT
NOTES to BoQ:

## BOQ for tender
0
BILL OF QUANTITIES
ITEM |  |  |  | DESCRIPTION |  | UNIT | QTY | MATERIAL RATE | LABOUR RATE | AMOUNT
1.0.00 |  |  |  | Bill №: 01 - PRELIMINARIES
1.1.00 | GENERAL NOTES
Abbreviations
|  |  | m | - metre
|  |  | nr | - numbers
|  |  | m3 | - cubic metres
|  |  | m2 | - square metres
|  |  | lm | - linear metre
|  |  | t | - tons
|  |  | inc. | - including
|  |  | mm | - millimetre
|  |  | SS | - stainless steel
|  |  | GI | - galvanized iron
1.2.00 | SITE MANAGEMENT COSTS
|  |  |  | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings & similar. |  | item | 1
1.3.00 | SIGN BOARD
|  |  |  | Allow for sign board. |  | nr | 1
1.4.00 | CLEAN-UP
|  |  |  | Allow for clean-up upon completion of works. |  | item | 1
1.5.00 | INSURANCE, BONDS, GUARANTEES AND WARRANTIES
|  |  |  | Insurance as stated in the general conditions. |  | item | 1
1.6.00 | TOTAL OF BILL №: 01 - Carried Over To Summary
2.0.00 |  |  |  | Bill №: 02 - EXCAVATION AND FILLING
2.1.00 | GENERAL
|  |  | (a) | Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating, and disposing surplus soil.
2.2.00 | SITE CLEARING
|  |  |  | Clear the area of site from rubbish and vegetable matters, stumps, roots. |  | m2 | 247.24
2.3.00 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all the additional excavation required to place the formwork. Rates shall include for backfilling.
2.3.01 |  |  |  | Excavation for Foundation pads / beam |  | m3 | 76.3681
2.4.00 | FILLING
Rate shall include for: levelling, grading, trimming, compacting and similar
2.4.01 |  |  |  | Compacted earth filling under ground screed. |  | m2 | 247.24
2.4.02 |  |  |  | 100mm thick coarse aggregate layer under foundation |  | m2 | 247.24
2.4.03 |  |  |  | 50mm thick sand blinding below ground slab |  | m2 | 247.24
2.5.00 | DAMP-PROOF MEMBRANE
Rate shall include for: dressing around and sealing to all penetrations.
2.5.01 |  |  |  | Water Proof Membrane - DPM |  | m2 | 58.8675
2.5.02 |  |  |  | Bituminous coating |  | m2 | 229.3775
2.6.00 | DE-WATERING
2.6.01 |  |  |  | De-watering the excavation until completion of concrete work as required |  | item | 1
2.7.00 | TOTAL OF BILL №: 02 - Carried Over To Summary
3.0.00 |  |  |  | Bill №: 03 - INSITU CONCRETE WORKS
3.1.00 | GENERAL
|  |  | (a) | Rates shall include for: placing in position, making good after removal of formwork, mortar touch up to all concrete and casting in all required items; additional concrete required to conform to structural and excavated tolerances
|  |  | (b) | Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:6.
|  |  | (c) | All structural concrete shall be GRADE M25 and lean concrete shall be GRADE C15
|  |  | (d) | Rates shall include for: concrete, formwork, reinforcement, cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wires and chair supports, laps, distribution bars and wastage.
|  |  | (e) | Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes and removal of formwork.
|  |  | (f) | Rates shall include for: cleaning, fabrication, placing the provision for all necessary temporary fixings and supports including tie wires and chair supports, laps, distribution bars and wastage.
|  |  | (g) | All reinforcing bars shall be high strength bars.
|  |  | (h) | Slab soffits to be finished fairfaced, use plasteciser and formwork with reducing agent.
|  |  | (i) | Waterproofing shall be added to all areas specified.
|  |  | (j) | All works complete as per drawing and specification
3.1.01 |  |  |  | Allow for Concrete Testing. |  | item | 1
3.2.00 | MASS CONCRETE
Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
3.2.01 |  |  | 50 | mm Lean Concrete (Foundations) |  | m3 | 4.0194
REINFORCED INSITU CONCRETE
3.3.00 | SUB-STRUCTURE
FOUNDATION PADS
3.3.01 | 750 | x | 750 | x 250mm Foundation pads, F1 |  | m3 | 0.68
3.3.02 | 900 | x | 900 | x 250mm Foundation pads, F2 |  | m3 | 3.16
3.3.03 | 1150 | x | 1150 | x 250mm Foundation pads, F3 |  | m3 | 4.37
FOUNDATION BEAMS
3.3.04 | 350 | x | 200 | mm Foundation beam, TB |  | m3 | 11.04
3.4.0 | GROUND FLOOR
COLUMNS
3.4.01 | 300 | x | 200 | mm Concrete columns C1 |  | m3 | 6.68
SLABS
3.4.02 |  |  | 150 | mm thk Concrete ground Slab |  | m3 | 37.09
3.5.0 | ROOF LEVEL
BEAMS
3.5.01 | 400 | x | 200 | mm Beam B1 |  | m3 | 4.41
3.5.02 | 400 | x | 200 | mm Beam B2 |  | m3 | 8.8
SLABS
3.5.03 |  |  | 135 | mm thk Concrete Slab |  | m3 | 33.39
3.6.00 | OTHER WORKS
Lintel and Sill beams
3.6.01 | 150 | x | 150 | mm Lintel Beam LB | item | item | 1
3.6.02 | 150 | x | 150 | mm Sill Beam SB | item | item | 1
3.7.00 |  |  |  | TOTAL OF BILL №: 03 - Carried Over To Summary
4.0.00 |  |  |  | Bill №: 04 - MASONRY
4.1.00 | GENERAL
|  |  | (a) | Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leavingholes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
|  |  | (b) | For masonry and plastering Hilaveli should be used
|  |  | (c) | All works complete as per drawing and specification
4.2.00 | BRICK WORK
150mm thk masonry solid block wall including making of bricks, bricks laid to form alternate courses of headers and stretchers, laid on and inc. mortar. (EXTERNAL WALLS)
4.2.01 |  |  |  | GROUND FLOOR |  | m2 | 246.5141
100mm thk masonry solid block wall including making of bricks, bricks laid to form alternate courses of headers and stretchers, laid on and inc. mortar (INTERNAL WALLS).
4.2.02 |  |  |  | GROUND FLOOR |  | m2 | 332.865
150mm thk masonry solid block wall including making of bricks, bricks laid to form alternate courses of headers and stretchers, laid on and inc. mortar (INTERNAL WALLS).
4.2.03 |  |  |  | GROUND FLOOR |  | m2 | 123.8025
100mm thk masonry solid block wall including making of bricks, bricks laid to form alternate courses of headers and stretchers, laid on and inc. mortar. (EXTERNAL WALLS)
4.2.04 |  |  |  | ROOF LEVEL |  | m2 | 68
4.3.00 | PLASTERING
20mm thk cement plaster on external surface as specified on the drawing. Waterproofed with Sika product or equivalent.
4.3.01 |  |  |  | GROUND FLOOR |  | m2 | 273.7141
4.3.02 |  |  |  | ROOF LEVEL |  | m2 | 136
16mm thk cement plaster on internal surface as specified on the drawing
4.3.03 |  |  |  | GROUND FLOOR |  | m2 | 1264.7291
4.4.00 | CEMENT SCREED
50mm thk cement screed waterproofed with SIKA product or equivalent
4.4.01 |  |  |  | GROUND FLOOR |  | m2 | 217.8
4.4.02 |  |  |  | ROOF LEVEL |  | m2 | 240.43
4.5.00 |  |  |  | TOTAL OF BILL №: 04 - Carried Over To Summary
5.0.00 |  |  |  | Bill №: 05 - CEILING
5.1.00 | GENERAL
|  |  | (a) | Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
|  |  | (b) | All works complete as per drawing and specification
5.2.00 |  |  |  | GYPSUM BOARD CEILING
False flat ceiling with 12mm thick gypsum board under 50x50mm ceiling joist. Finish - CF02
5.2.01 |  |  |  | GROUND FLOOR |  | m2 | 110.4
5.3.00 |  |  |  | CALCIUM SILICATE BOARD CEILING
False flat ceiling with 12mm thick calcium silicate board under 50x50mm ceiling joist. Finish - CF01
5.3.01 |  |  |  | GROUND FLOOR |  | m2 | 107.9
5.4.00 |  |  |  | TOTAL OF BILL №: 05 - Carried Over To Summary
6.0.00 |  |  |  | Bill №: 06 - WINDOWS, SCREENS & LIGHTS
6.1.00 | GENERAL
|  |  | (a) | Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
|  |  | (b) | Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings.
|  |  | (c) | Sizes are given overall outside dimensions of actual doors and windows.
|  |  | (d) | Thickness and sizes of glass panels are shown on the Drawings and doors and windows schedule
|  |  | (e) | Rates shall include for all painting as specified
|  |  | (f) | Rates shall include all items specified in the door schedule and specification.
|  |  | (g) | Frames and sashes to be 25-60 micron black powder coated aluminium other wise specified.
|  |  | (h) | All works complete as per drawing and specification
6.2.00 | WINDOWS
6.2.01 | 2045 | x | 1325 | W1 - Aluminium frame sliding window |  | nr | 2
6.2.02 | 2045 | x | 1325 | W2 - Aluminium frame sliding window |  | nr | 1
6.2.03 | 770 | x | 600 | V1 - Aluminium frame window |  | nr | 6
6.2.04 | 1300 | x | 600 | V2 - Aluminium frame window |  | nr | 10
6.3.00 |  |  |  | TOTAL OF BILL №: 06 - Carried Over To Summary
7.0.00 |  |  |  | Bill №: 07 - DOORS, SHUTTERS & HATCHES
7.1.00 | GENERAL
|  |  | (a) | Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
|  |  | (b) | Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings.
|  |  | (c) | Sizes are given overall outside dimensions of actual doors and windows.
|  |  | (d) | Thickness and sizes of glass panels are shown on the Drawings and doors and windows schedule.
|  |  | (e) | Rates shall include for all painting as specified
|  |  | (f) | Rates shall include all items specified in the door schedule and specification.
|  |  | (g) | Frames and sashes to be 25-60 micron black powder coated aluminium other wise specified.
|  |  | (g) | All solid timber doors are teak timber or equivalent.
7.2.00 | DOORS
7.2.01 | 1000 | x | 2100 | D1 - Timber frame door |  | nr | 6
7.2.02 | 900 | x | 2100 | D2 - Timber frame door |  | nr | 8
7.2.03 | 900 | x | 2100 | D3 - Timber frame door |  | nr | 14
7.2.04 | 1500 | x | 2100 | D4 - Timber frame door |  | nr | 3
7.2.05 | 850 | x | 2100 | D5 - PVC door |  | nr | 4
7.2.06 | 1000 | x | 2100 | D6 - Timber frame door |  | nr | 3
7.2.07 | 1800 | x | 2100 | D7 - Timber frame door |  | nr | 2
7.2.08 | 1800 | x | 2100 | TD7 - Timber frame door |  | nr | 1
7.3.00 |  |  |  | TOTAL OF BILL №: 07 - Carried Over To Summary
8.0.00 |  |  |  | Bill №: 8 - DECORATIONS
8.1.00 | GENERAL
|  |  | (a) | Rates shall include for: the provision, erection and removal of scaffolding, preparation, wall putty application, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door & window furniture.
|  |  | (b) | All painting work shall be carried in accordance with the Specifications and drawing.
8.2.00 |  |  |  | WALL PAINTING
EXTERNAL SURFACES: Exterior grade paint finish as specified. Finish - WF01
8.2.01 |  |  |  | GROUND FLOOR |  | m2 | 273.7141
8.2.02 |  |  |  | ROOF LEVEL |  | m2 | 136
INTERNAL SURFACES: Interior grade paint finish as specified. Finish - WF03
8.2.03 |  |  |  | GROUND FLOOR |  | m2 | 323.8661
8.3.00 |  |  |  | VINYLE FINISH
INTERNAL SURFACES: Vinyl wall finish as specified. Finish - WF05
8.3.01 |  |  |  | GROUND FLOOR |  | m2 | 420.24
8.4.00 |  |  |  | SLAB SOFFIT / CEILING PAINTING
Satin white paint finish with smooth putty under RC slab/beam as specified in specification and finishing schedule. Finish - CF03
8.4.01 |  |  |  | GROUND FLOOR |  | m2 | 5.1
Emulsion paint finish on gypsum board ceiling as specified in specification and finishing schedule. Finish - CF02
8.4.02 |  |  |  | GROUND FLOOR |  | m2 | 110.4
Emulsion paint finish on calcium silicate board ceiling as specified in specification and finishing schedule. Finish - CF01
8.4.03 |  |  |  | GROUND FLOOR |  | m2 | 107.9
8.5.00 |  |  |  | TOTAL OF BILL №: 8 - Carried Over To Summary
9.0.00 |  |  |  | Bill №: 9 - FINISHES
9.1.00 | GENERAL
|  |  | (a) | Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing.
|  |  | (b) | All works complete as per drawing and specification
9.2.00 |  |  |  | FLOOR PAINTING
Grey epoxy paint finish on Screed. Finish - FF11
9.2.01 |  |  |  | ROOF LEVEL |  | m2 | 240.43
9.3.00 |  |  |  | FLOOR TILING
600 x 600 Matte homogeneous floor Tiles . Finish - FF04
9.3.01 |  |  |  | GROUND FLOOR |  | m2 | 39.2
300 x 300 Matte homogeneous floor Tiles . Finish - FF06
9.3.02 |  |  |  | GROUND FLOOR |  | m2 | 13.5
800 x 800 Semi polished homogeneous floor Tiles . Finish - FF03
9.3.03 |  |  |  | GROUND FLOOR |  | m2 | 37.1
Homogeneous vinyl flooring for sterile area . Finish - FF08
9.3.04 |  |  |  | GROUND FLOOR |  | m2 | 128
9.4.00 |  |  |  | WALL TILING
300 x 600 Matte homogeneous wall Tiles upto ceiling height. Finish - WF06
9.4.01 |  |  |  | GROUND FLOOR |  | m2 | 90.114
9.5.00 |  |  |  | TOTAL OF BILL №: 9 - Carried Over To Summary
10.0.00 |  |  |  | Bill №: 10 - HYDRAULICS AND DRAINAGE
10.1.00 | HYDRAULICS
10.2.00 | GENERAL
|  |  | (a) | Rates shall include for: sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints; backnuts and similar; incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails and fixing complete including cutting and forming holes; excavating, laying pipes and backfilling trenches.
|  |  | (b) | Rate shall also includes the provision for pipe marking, and tagging as indicated in the specifications.
|  |  | (c) | Rate shall also includes the provisional sum for testing such as but not limited to hydrostatic pressure test for pressure line, and gravity leak test for all gravity lines which was stipulated in the specifications., chlorination/disinfection of network and tanks, and testing and commissioning.
|  |  | (d) | Rate includes the complete delivery of the system and is of working condition.
|  |  | (e) | All pipe work and fittings shall be uPVC.
|  |  | (f) | All works complete as per drawing and specification
10.3.00 |  |  |  | MWSC WATER SUPPLY NETWORK
10.3.01 |  |  |  | GROUND FLOOR |  | item | 1
10.4.00 |  |  |  | SANITARY FITTINGS
Sanitary fittings including installations as per drawings
10.4.01 |  |  |  | WC |  | no | 5
10.4.02 |  |  |  | Wash basin |  | no | 3
10.4.03 |  |  |  | Wash basin tap |  | no | 3
10.4.04 |  |  |  | Toilet paper holder |  | no | 5
10.4.05 |  |  |  | Soap holder |  | no | 5
10.4.06 |  |  |  | Mirror set |  | no | 3
10.4.07 |  |  |  | Shower |  | no | 2
10.4.08 |  |  |  | Muslim Shower |  | no | 5
10.4.09 |  |  |  | Basin with built in cupboard and granite top - dirty utility / anteroom |  | nr | 5 |  |  |  | 5
10.4.10 |  |  |  | Basin elbow turn tap - dirty utility / anteroom |  | nr | 5 |  |  |  | 5
10.4.11 |  |  |  | Sink with built in cupboard and granite top - pantry |  | no | 2 |  |  |  | 2
10.4.12 |  |  |  | Sink elbow turn tap |  | no | 2 |  |  |  | 2
10.4.13 |  |  |  | Floor drain |  | no | 5
10.4.14 |  |  |  | Floor/Ground clean out |  | no | 6
10.4.15 |  |  |  | Railing |  | no | 3
DRAINAGE
10.5.00 |  |  |  | GENERAL
|  |  | (a) | Rates shall include for: excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus spoil; bends, junctions, reducers, expansion joints and all joints and other incidental materials.
|  |  | (b) | All pipeworks shall be uPVC.
10.6.00 |  |  |  | DRAINAGE PIPEWORKS
10.6.01 |  |  |  | GROUND FLOOR |  | item | 1
10.10.00 |  |  |  | VALVES FOR PIPE LINES
10.10.01 |  |  |  | GROUND FLOOR |  | item | 1
10.11.00 |  |  |  | TOTAL OF BILL №: 10 - Carried Over To Summary
11.0.00 |  |  |  | Bill №: 11 - ELECTRICAL INSTALLATIONS
11.1.00 | GENERAL
|  |  | (a) | Design, provide and install electrical network for the entire building complete in accordance to standards set by the local governing body STELCO / FENAKA.
|  |  | (b) | The following items and description and the drawings HULS -01 to HULS-05 are given as a guidance as to the nature of the information required to be returned by the contractor. Should they not be appropriate the contractor should provide a similar BOQ using the Additions/Ommisions sheets provided at the back of this BOQ.
|  |  | (c) | The cost shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
|  |  | (d) | The cost shall also include for trenching including: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil.
|  |  | (e) | Rates for electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces.
|  |  | (f) | A light fixture is measured as one point; switch end of wire is not included in the quantity.
|  |  | (g) | A point wiring for power points is measured (regardless of 1 gang, 2 gang etc) as one point for each socket outlet; other end of wire is not included in the quantity.
|  |  | (h) | Contractor shall provide all cabling, wiring, conduits, etc. within the site boundaries. Cabling, wiring, conduits etc. outside the site boundaries are not included under this Contract.
|  |  | (i) | All works complete as per drawing and specification
11.2.00 | MAINS CONNECTION & BOARD
|  |  |  | Allow for connection to electrical mains |  | item | 1
11.3.00 | ELECTRICAL BOARDS
Complete installation, including for all cabling, wiring, connections, earthing, painting, testing and similar of:
11.3.01 |  |  |  | Light, Power & AC Distribution Board |  | nr | 2
11.4.00 | ELECTRICAL WIRING
Electrical wiring with copper conductor cable in conduits in walls and in casing on soffits of slab as specified to:
11.4.01 |  |  |  | Wiring To Lights, Fittings socket |  | pt | 124
11.5.00 | LIGHTING
11.5.01 |  |  |  | LED recessed light type 2 (12W) |  | nr | 17
11.5.02 |  |  |  | 600x600 LED panel light (12W) |  | nr | 9
11.5.03 |  |  |  | LED recessed light type 3 (8W) |  | nr | 30
11.5.04 |  |  |  | LED spike light (3W) |  | nr | 2
11.6.00 | SWITCHES
11.6.01 |  |  |  | Light switch 1gang |  | nr | 27
11.6.02 |  |  |  | Light switch 2gang |  | nr | 4
11.6.03 |  |  |  | Light switch 3gang |  | nr | 2
11.6.04 |  |  |  | Light switch 4gang |  | nr | 2
11.7.00 | SOCKETS
11.7.01 |  |  |  | 13A Twin socket outlet |  | nr | 21
11.7.02 |  |  |  | 13A UPS socket outlet |  | nr | 2
11.7.03 |  |  |  | 8 power points on envirom head wall |  | nr | 8
11.8.00 | AIR CONDITION AND VENTILATION
a. All the ACV equipment should be Anti corrosive
b. The minimum Energy efficient value for AC [EER] Should be 3.5 [KW/KW]
Rates shall include for outdoor units
13.8.01 |  |  |  | Air Handling Unit - 6KW |  | nr | 2 |  |  |  | 2
13.8.02 |  |  |  | Air Handling Unit - 11.5KW |  | nr | 1 |  |  |  | 1
13.8.03 |  |  |  | 4 way cassette units - 7.4KW |  | nr | 1 |  |  |  | 1
13.8.04 |  |  |  | 4 way cassette units - 7.8KW |  | nr | 1 |  |  |  | 1
13.8.05 |  |  |  | Supply air diffuser with damper |  | nr | 4 |  |  |  | 4
13.8.06 |  |  |  | Return air diffuser with damper |  | nr | 4 |  |  |  | 4
13.8.07 |  |  |  | Outdoor unit top discharge - 39KW |  | nr | 1 |  |  |  | 1
13.8.08 |  |  |  | Exhaust air grill |  | nr | 16
13.8.09 |  |  |  | Wall mounted exhaust fan - 90 CFM |  | nr | 2 |  |  |  | 2
13.8.10 |  |  |  | Wall mounted exhaust fan - 75 CFM |  | nr | 1 |  |  |  | 1
13.8.11 |  |  |  | Wall mounted exhaust fan - 165 CFM |  | nr | 1 |  |  |  | 1
13.8.12 |  |  |  | Fresh air / exhaust air fan - 240 CFM |  | nr | 2 |  |  |  | 2
13.8.13 |  |  |  | Fresh air / exhaust air fan - 80 CFM |  | nr | 1 |  |  |  | 1
13.8.14 |  |  |  | Fresh air / exhaust air fan - 90 CFM |  | nr | 1 |  |  |  | 1
13.8.15 |  |  |  | Fresh air / exhaust air fan - 580 CFM |  | nr | 2 |  |  |  | 2
13.8.16 |  |  |  | Fresh air / exhaust air fan - 1080 CFM |  | nr | 1 |  |  |  | 1
13.8.17 |  |  |  | UV Lamp |  | nr | 5 |  |  |  | 5
13.8.18 |  |  |  | Refrigent pipes with insulation |  | item | 1
13.8.19 |  |  |  | AC drain pipes with insulation |  | item | 1
13.8.20 |  |  |  | Supply air duct with thermal insulation |  | item | 1
13.8.21 |  |  |  | Return air duct with thermal insulation |  | item | 1
13.8.22 |  |  |  | exhaust air duct |  | item | 1
13.8.23 |  |  |  | Fresh air duct |  | item | 1
13.8.24 |  |  |  | Volume control damper |  | item | 1
11.9.00 | IT / SECURTIY SYSTEM
CCTV security system to manufacturers detail & Door access system (Door Operating/ access system with CCTV Camera
11.9.01 |  |  |  | Close circuit television |  | nr | 2
11.9.02 |  |  |  | Tel/Data outlet |  | nr | 4
11.9.03 |  |  |  | Telephone outlet (RJ11, connector) |  | nr | 2
11.9.04 |  |  |  | Twin Computer network outlet (RJ45, connector) |  | nr | 2
11.9.05 |  |  |  | Exit switch |  | nr | 5
11.9.06 |  |  |  | Electromagnetic lock |  | nr | 5
11.9.06 |  |  |  | Emergency door release |  | nr | 5
11.9.07 |  |  |  | proximity card reader |  | nr | 5
11.9.08 |  |  |  | Ceiling speakers |  | nr | 2
11.9.09 |  |  |  | Hone speaker |  | nr | 1
11.9.10 |  |  |  | Nurse station panel room indicator |  | nr | 2
11.9.11 |  |  |  | Door bell button |  | nr | 1
11.10.00 |  |  |  | TOTAL OF BILL №: 11 - Carried Over To Summary
12.0.00 |  |  |  | Bill №: 12- INSULATION, FIRE STOPPING & FIRE PROTECTION
12.1.00 | GENERAL
|  |  | (a) | Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
|  |  | (b) | Rates for cable conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
|  |  | (c) | Rates shall include for all necessary electrical wiring and accessories required for completion
|  |  | (d) | All items shall be supply and complete installation
|  |  | (e) | All works complete as per drawing and specification
12.2.00 | FIRE FIGHTING SYSTEM
12.2.01 |  |  |  | Smoke detectors |  | nr | 25
12.2.02 |  |  |  | Heat detectors |  | nr | 2
12.2.03 |  |  |  | Fire resistance cable |  | item | 1
12.2.04 |  |  |  | System tamper switch - IMU |  | nr | 1
12.2.05 |  |  |  | System flow switch - IMU |  | nr | 1
12.2.06 |  |  |  | Exit sign |  | nr | 2
12.2.07 |  |  |  | Fire alarm sounder |  | nr | 4
12.2.08 |  |  |  | Manual call point |  | nr | 4
12.2.09 |  |  |  | LIM |  | nr | 3
12.2.10 |  |  |  | No smoking sign |  | nr | 3
12.3.00 |  |  |  | TOTAL OF BILL №: 12 - Carried Over To Summary
13.0.00 |  |  |  | Bill №: 13 - ADDITIONS AND OMMISIONS
13.1.00 | ADDITIONS
13.1.01 |  |  |  | Bill №: 01 - PRELIMINARIES
13.1.02 |  |  |  | Bill №: 02 - EXCAVATION AND FILLING
13.1.03 |  |  |  | Bill №: 03 - INSITU CONCRETE WORKS
13.1.04 |  |  |  | Bill №: 04 - MASONRY
13.1.05 |  |  |  | Bill №: 05 - CEILING
13.1.06 |  |  |  | Bill №: 06 - WINDOWS, SCREENS & LIGHTS
13.1.07 |  |  |  | Bill №: 07 - DOORS, SHUTTERS & HATCHES
13.1.08 |  |  |  | Bill №: 8 - DECORATIONS
13.1.09 |  |  |  | Bill №: 9 - FINISHES
13.1.10 |  |  |  | Bill №: 10 - HYDRAULICS AND DRAINAGE
13.1.11 |  |  |  | Bill №: 11 - ELECTRICAL INSTALLATIONS
13.1.12 |  |  |  | Bill №: 12- INSULATION, FIRE STOPPING & FIRE PROTECTION
TOTAL
13.2.00 | OMISSIONS
13.2.01 |  |  |  | Bill №: 01 - PRELIMINARIES
13.2.02 |  |  |  | Bill №: 02 - EXCAVATION AND FILLING
13.2.03 |  |  |  | Bill №: 03 - INSITU CONCRETE WORKS
13.2.04 |  |  |  | Bill №: 04 - MASONRY
13.2.05 |  |  |  | Bill №: 05 - CEILING
13.2.06 |  |  |  | Bill №: 06 - WINDOWS, SCREENS & LIGHTS
13.2.07 |  |  |  | Bill №: 07 - DOORS, SHUTTERS & HATCHES
13.2.08 |  |  |  | Bill №: 8 - DECORATIONS
13.2.09 |  |  |  | Bill №: 9 - FINISHES
13.2.10 |  |  |  | Bill №: 10 - HYDRAULICS AND DRAINAGE
13.2.11 |  |  |  | Bill №: 11 - ELECTRICAL INSTALLATIONS
13.2.12 |  |  |  | Bill №: 12- INSULATION, FIRE STOPPING & FIRE PROTECTION
TOTAL
13.3.00 |  |  |  | TOTAL OF BILL №: 13 - Carried Over To Summary