## BOQ Summary New
SUMMARY OF BILLS OF QUANTITIES
R.ALIFUSHI HOSPITAL BUILDING - 03 STOREY
S.NO | DESCRIPTION | AMOUNT
1 | Bill №: 01 - PRELIMINARIES | 0
2 | Bill №: 02 - EXCAVATION AND FILLING | 0
3 | Bill №: 03 - INSITU CONCRETE | 0
4 | Bill №: 04 - MASONRY | 0
5 | Bill №: 05 - DOOR AND WINDOWS | 0
6 | Bill №: 06 - STAIRS AND BALCONY RAILING | 0
7 | Bill №: 07 - FINISHING | 0
8 | Bill №: 08 - PAINTING & DECORATIONS | 0
9 | Bill №: 09 - HYDRAULICS AND DRAINAGE | 0
10 | Bill №: 10 - MECHANICAL & ELECTRICAL SERVICES | 0
11 | Bill №: 11 - ROOFING & CEILING | 0
12 | Bill №: 12 - LIFT | 0
13 | Bill №: 13 - FURNITURES | 0
14 | Bill №: 14 - INSULATION, FIRE STOPPING & FIRE PROTECTION | 0
15 | Bill №: 15 - MISCELLANEOUS | 0
16 | Bill №: 16 - ADDITIONS AND OMISSIONS | 0
TOTAL AMOUNT |  | 0
GOODS AND SERVICE TAX |  | 0
GRAND TOTAL |  | 0

## BOQ
R.ALIFUSHI HOSPITAL BUILDING ( 03 STOREY) - BOQ
BILL OF QUANTITIES
ITEM |  |  |  | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
1.0.00 |  |  |  | Bill №: 01 - PRELIMINARIES
1.1.00 | GENERAL NOTES
Abbreviations
|  |  | m | - meter
|  |  | nr | - numbers
|  |  | m3 | - cubic meters
|  |  | m2 | - square meters
|  |  | m | - linear meter
|  |  | t | - tons
|  |  | Inc. | - including
|  |  | mm | - millimetre
|  |  | SS | - stainless steel
|  |  | GI | - galvanized iron
1.2.00 | MOBILIZATION
|  |  |  | Allow for Mobilization of the project | Item | 1 |  | 0
1.3.00 | SITE MANAGEMENT COSTS
|  |  |  | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings & similar. | Item | 1 |  | 0
1.4.00 | SIGN BOARD
|  |  |  | Allow for sign board. | Item | 1 |  | 0
1.5.00 | CLEAN-UP & MOBILIZATION
|  |  |  | Allow for clean-up upon completion of works. | Item | 1 |  | 0
1.6.00 | INSURANCE, BONDS, GUARANTEES AND WARRANTIES
|  |  |  | Insurance as stated in the general conditions. | Item | 1 |  | 0
1.7.00 | SITE CLEARING AND DEMOLITION
|  |  |  | Demolition of any existing buildings and removal of those material from the site.Removing and clearingany shrubs or trees from the site. | Item | 1 |  | 0
1.8.00 | INSPECTION TRIPS
|  |  |  | Arrange inspection trips to a Client/consultant, each inspection trip takes 2 days, the contractor has to arrange 2 air tickets from Male'/Ifuru/Male' by air (normal fair) and speed boat transport to Ifuru/ Alifushi/ Ifuru as well as accommodations ( 2 Air condition rooms) per trip. | Item | 12 |  | 0
|  |  |  | TOTAL OF BILL №: 01 - Carried Over To Summary |  |  |  | 0
2.0.00 |  |  |  | Bill №: 02 - EXCAVATION AND FILLING
2.1.00 | GENERAL
|  |  | (a) | Rates shall include for: levelling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating, and disposing surplus soil.
2.2.00 | SITE CLEARING
2.2.01 |  |  |  | Clearing the area of site (rubbish and vegetable matters, stumps, roots. Rates shall include for removal of trees and tree stumps) | Item | 1 |  | 0
2.3.00 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all the additional excavation required to place the formwork. Rates shall include for backfilling.
2.3.01 |  |  |  | Excavation | m3 | 1589.7056 |  | 0
2.4.00 | FILLING
Rate shall include for: levelling, grading, trimming, compacting and similar
2.4.01 |  |  |  | Earth filling under ground slab after Casting | m3 | 1303.9666 |  | 0
|  |  |  | Compaction of Soil Under the Ground Slab 100mm Thick | m2 | 975.5 |  | 0
2.5.00 | DAMP-PROOF MEMBRANE
Rate shall include for: dressing around and sealing to all penetrations.
Bituminous waterproofing membrane
2.5.01 |  |  |  | Polythene damp proof membrane (500gauge) laid under blinding layer | m2 | 975.5 |  | 0
2.5.02 |  |  |  | Water proof membrane to sides of pads, beams and walls below floor level | m2 | 1636.2325 |  | 0
2.6.00 | ANTI-TERMITE TREATMENT
2.6.01 |  |  |  | Anti-Termite treatment for the whole ground floor area under Raft Slab | m2 | 975.5 |  | 0
2.7.00 | DE-WATERING
2.7.01 |  |  |  | De-watering the excavation until completion of concrete work as required | item | 1 |  | 0
|  |  |  | TOTAL OF BILL №: 02 - Carried Over To Summary |  |  |  | 0
3.0.00 |  |  |  | Bill №: 03 - INSITU CONCRETE WORKS
3.1.00 | GENERAL
|  |  | (a) | Rates shall include for: placing in position, making good after removal of formwork, mortar touch up to all concrete and casting in all required items; additional concrete required to conform to structural and excavated tolerances
|  |  | (b) | Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:6.
|  |  | (d) | Rates shall include for: concrete, formwork, reinforcement, cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wires and chair supports, laps, distribution bars and wastage.
|  |  | (e) | Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes and removal of formwork.
|  |  | (f) | Rates shall include for: cleaning, fabrication, placing the provision for all necessary temporary fixings and supports including tie wires and chair supports, laps, distribution bars and wastage.
|  |  | (g) | All reinforcing bars shall be high strength bars.
|  |  | (h) | Slab soffits to be finished fair faced, use plasticizer and formwork with reducing agent.
|  |  | (i) | Waterproofing shall be added to all areas specified.
3.2.00 | REINFORCED INSITU CONCRETE
3.3.00 | UP TO GROUND FLOOR LEVEL (+300mm)
3.3.01 |  | LEAN CONCRETE
|  |  |  | Under Footings, Strip Footings, Beams | m2 | 1118.5355 |  | 0
3.3.02 |  | FOUNDATION
|  |  |  | Foundation Footings | m3 | 138.5088 |  | 0
|  |  |  | Foundation Strip Footings | m3 | 86.708 |  | 0
|  |  |  | Plinth Beam | m3 | 46.5311 |  | 0
3.3.03 |  | COLUMNS
|  |  |  | Reinforced Concrete columns | m3 | 10.6311 |  | 0
3.3.04 |  | RAFT SLABS
|  |  | 100 | mm thk Concrete Raft Slab | m3 | 97.55 |  | 0
3.3.05 |  | LIFT RC WALL
|  |  | 200 | mm thk RC Wall Up to Ground Floor Level | m3 | 3.36 |  | 0
3.3.06 |  | RAMP
|  |  | 100 | mm thk RC ramp in entrance area | m3 | 10.08 |  | 0
3.4.00 | UPTO FIRST FLOOR LEVEL (+300 to +4300mm)
3.4.01 |  | COLUMNS
|  |  |  | Reinforced Concrete columns | m3 | 36.9922 |  | 0
3.4.02 |  | BEAMS
|  |  |  | Reinforced Concrete Beams | m3 | 67.8872 |  | 0
3.4.03 |  | SLABS
|  |  | 175 | mm thk Concrete Slab | m3 | 149.6547 |  | 0
3.4.04 |  | STAIRS
|  |  |  | Staircase with beams | m3 | 3.6 |  | 0
3.4.05 |  | LIFT RC WALL
|  |  | 200 | mm thk RC Wall Up to First Floor Level | m3 | 7.8 |  | 0
3.4.06 |  | RAMP BEAM
|  |  |  | Reinforced Concrete Beam | m3 | 2.016 |  | 0
3.4.07 |  | RAMP SLAB
|  |  | 150 | mm thk RC slab | m3 | 12.8625 |  | 0
3.5.00 | UP TO SECOND FLOOR LEVEL (+4300 to +8300 mm)
3.5.01 |  | COLUMNS
|  |  |  | Reinforced Concrete columns | m3 | 36.9922 |  | 0
3.5.02 |  | BEAMS
|  |  |  | Reinforced Concrete Beams | m3 | 67.8872 |  | 0
3.5.03 |  | SLABS
|  |  | 175 | mm thk Concrete Slab | m3 | 149.6547 |  | 0
3.5.04 |  | STAIRS
|  |  |  | Staircase with beams | m3 | 3.6 |  | 0
3.5.05 |  | LIFT RC WALL
|  |  | 200 | mm thk RC Wall Up to Second Floor Level | m3 | 7.8 |  | 0
3.5.06 |  | RAMP BEAM
|  |  |  | Reinforced Concrete Beam | m3 | 2.016 |  | 0
3.5.07 |  | RAMP SLAB
|  |  | 150 | mm thk RC slab | m3 | 12.8625 |  | 0
3.6.00 | UP TO TERRACE FLOOR LEVEL (+8300 to +12300 mm)
3.6.01 |  | COLUMNS
|  |  |  | Reinforced Concrete columns | m3 | 36.9922 |  | 0
3.6.02 |  | BEAMS
|  |  |  | Reinforced Concrete Beams | m3 | 67.8872 |  | 0
3.6.03 |  | SLABS
|  |  | 175 | mm thk Concrete Slab | m3 | 149.6547 |  | 0
3.6.04 |  | STAIRS
|  |  |  | Staircase with beams | m3 | 3.6 |  | 0
3.6.05 |  | LIFT RC WALL
|  |  | 200 | mm thk RC Wall Up to Terrace Floor Level | m3 | 7.8 |  | 0
3.6.06 |  | RAMP BEAM
|  |  |  | Reinforced Concrete Beam | m3 | 2.016 |  | 0
3.6.07 |  | RAMP SLAB
|  |  | 150 | mm thk RC slab | m3 | 12.8625 |  | 0
3.7.00 | UP TO MACHINERY ROOM FLOOR LEVEL (+12300 to +16875 mm)
3.7.01 |  | COLUMNS
|  |  |  | Reinforced Concrete columns | m3 | 12.197 |  | 0
3.7.02 |  | BEAMS
|  |  |  | Reinforced Concrete Beams | m3 | 15.3174 |  | 0
3.7.03 |  | STAIR SLAB
|  |  | 175 | mm thk Concrete Slab | m3 | 7.6475 |  | 0
3.7.04 |  | RAMP & LIFT ROOM SLAB
|  |  | 175 | mm thk Concrete Slab | m3 | 26.4775 |  | 0
3.7.05 |  | LIFT RC WALL
|  |  | 200 | mm thk RC Wall Up to Machinery Floor Level | m3 | 8.58 |  | 0
3.7.06 |  | PARAPET WALL
|  |  | 150 | mm thk Concrete Wall | m3 | 33.525 |  | 0
3.8.00 | UP TO MACHINERY ROOM TOP LEVEL (+16875 to +19250 mm)
3.8.01 |  | LIFT RC WALL
|  |  | 200 | mm thk RC Wall Up to Machinery Room Top Level | m3 | 4.29 |  | 0
3.8.02 |  | LIFT SLAB
|  |  | 150 | mm thk Concrete Slab | m3 | 1.6887 |  | 0
|  |  |  | TOTAL OF BILL №: 03 - Carried Over To Summary |  |  |  | 0
4.0.00 |  |  |  | Bill №: 04 - MASONRY
4.1.00 | GENERAL
|  |  | (a) | Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
4.2.00 | MASONRY WORK
Internal Masonry Wall
|  |  | 110 | mm thk Full Height
4.2.01 |  |  |  | Ground Floor | m2 | 938.1943 |  | 0
4.2.02 |  |  |  | First Floor | m2 | 878.1644 |  | 0
4.2.03 |  |  |  | Second Floor | m2 | 1021.0418 |  | 0
4.2.04 |  |  |  | Terrace Floor | m2 | 25.8 |  | 0
4.3.00 | BLOCK WORK
Internal Cement Block Wall (Solid)
|  |  | 150 | mm thk Full Height
4.3.01 |  |  |  | Ground Floor | m2 | 388.969 |  | 0
4.3.02 |  |  |  | First Floor | m2 | 0 |  | 0
4.3.03 |  |  |  | Second Floor | m2 | 0 |  | 0
External Cement Block Wall (Solid)
|  |  | 150 | mm thk Full Height
4.3.04 |  |  |  | Below Ground Floor | m2 | 358.1812 |  | 0
4.3.05 |  |  |  | Ground Floor | m2 | 455.1075 |  | 0
4.3.06 |  |  |  | First Floor | m2 | 549.7839 |  | 0
4.3.07 |  |  |  | Second Floor | m2 | 549.7839 |  | 0
4.3.08 |  |  |  | Terrace Floor | m2 | 78.6915 |  | 0
4.4.00 | DRY WALLS
Dry Wall Partition Walls Fixed as Per the Drawing Details
|  |  | 100 | mm thk Full Height
4.4.01 |  |  |  | First Floor | m2 | 40.3538 |  | 0
4.4.02 |  |  |  | Second Floor | m2 | 7.65 |  | 0
|  |  |  | TOTAL OF BILL №: 04 - Carried Over To Summary |  |  |  | 0
5.0.00 |  |  |  | Bill №: 05 - DOOR AND WINDOWS
5.1.00 | GENERAL
|  |  | (a) | Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
|  |  | (b) | Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boarding, framing, lining, fastenings and all fixings.
|  |  | (c) | Sizes are given overall outside dimensions of actual doors and windows.
|  |  | (d) | Thickness and sizes of glass panels are shown on the Drawings and doors and windows schedule.
|  |  | (e) | Rates shall include for all painting as specified.
|  |  | (f) | Rates shall include all items specified in the door schedule and specification.
|  |  | (g) | Frames and sashes to be 25-60 micron black powder coated aluminium other wise specified.
5.2.00 | GROUND FLOOR
5.2.01 | 1240 | X | 1625 | W1 - Powder Coated Aluminium Framed Panel with Pushout Window & Fixed Glass On Side Panel (Tempered Reflective Glass) | no's | 8 |  | 0
5.2.02 | 2300 | X | 1625 | W2 - Powder Coated Aluminium Framed Panel with Pushout Window & Fixed Glass On Side Panel (Tempered Reflective Glass) | no's | 10 |  | 0
5.2.03 | 740 | X | 600 | W3 - Powder Coated Aluminium Framed Panel with Top Hinge & Lockset (Low E-Tempered Reflective Glass) | no's | 4 |  | 0
5.2.04 | 1425 | X | 600 | W4 - Powder Coated Aluminium Framed Panel with Top Hinge & Lockset (Low E-Tempered Reflective Glass) |  | 14 |  | 0
5.2.05 | 3000 | X | 600 | W5 - Powder Coated Aluminium Framed Panel (Low E-Tempered Reflective Glass) | no's | 3 |  | 0
5.2.06 | 1990 | X | 1625 | W8 - Powder Coated Aluminium Framed Panel with Pushout Window & Fixed Glass (Tempered Reflective Glass) | no's | 1 |  | 0
5.2.07 | 4800 | X | 1900 | FG1 - Powder Coated Aluminium Framed Panel With Low-E Tempered Glass (Reflective Glass) | no's | 4 |  | 0
5.2.08 | 1950 | X | 1900 | FG2 - Powder Coated Aluminium Framed Panel With Low-E Tempered Glass (Reflective Glass) | no's | 1 |  | 0
5.2.09 | 1200 | X | 1600 | FG2A - Fixed Glass with Lead Lined Window Frame (Leaded Glass) | no's | 1 |  | 0
5.2.10 | 5745 | X | 2400 | FG7 - Powder Coated Aluminium Framed Panel With Low-E Tempered Glass (Reflective Glass) | no's | 1 |  | 0
5.2.11 | 3215 | X | 2400 | FG8 - Powder Coated Aluminium Framed Panel With Low-E Tempered Glass (Reflective Glass) | no's | 1 |  | 0
5.2.12 | 3065 | X | 2400 | FG9 - Powder Coated Aluminium Framed Panel With Low-E Tempered Glass (Reflective Glass) | no's | 1 |  | 0
5.2.13 | 4565 | X | 2400 | FG10 - Powder Coated Aluminium Framed Panel With Low-E Tempered Glass (Reflective Glass) | no's | 1 |  | 0
5.2.14 | 13065 | X | 3825 | FG11 - Powder Coated Aluminium Framed Panel With Low-E Tempered Glass (Reflective Glass) | no's | 1 |  | 0
5.2.15 | 1900 | X | 2400 | D1 - Power Coated Aluminium Frame With GRP Door Glazing (200mm SS Border @ Bottom) | no's | 1 |  | 0
5.2.16 | 1900 | X | 2400 | D2 - Power Coated Aluminium Frame With GRP Door Glazing (200mm SS Border @ Bottom) | no's | 2 |  | 0
5.2.17 | 1000 | X | 2100 | D4 - Power Coated Aluminium Frame With GRP Door Glazing (200mm SS Border @ Bottom & @ 900mm) | no's | 10 |  | 0
5.2.18 | 1000 | X | 2100 | D5 - Power Coated Aluminium Frame With GRP Door & 10mm Groove (200mm SS Border @ Bottom) | no's | 12 |  | 0
5.2.19 | 1280 | X | 2100 | D6 - Power Coated Aluminium Frame With GRP Door & LED Lining (200mm SS Border @ Bottom) | no's | 1 |  | 0
5.2.20 | 1000 | X | 2100 | D7 - Power Coated Aluminium Frame With Tempered Glass Door | no's | 1 |  | 0
5.2.21 | 800 | X | 2100 | D8 - Power Coated Aluminium Frame With GRP Door (200mm SS Border @ Bottom) | no's | 6 |  | 0
5.2.22 | 1000 | X | 2100 | D9 - Power Coated Aluminium Frame With GRP Door Glazing (200mm SS Border @ Bottom) | no's | 2 |  | 0
5.2.23 | 1000 | X | 2100 | D10 - Power Coated Aluminium Frame With GRP Door (200mm SS Border @ Bottom & @ 900mm) | no's | 1 |  | 0
5.2.24 | 1000 | X | 2100 | D14 - Power Coated Aluminium Frame With 2 Way Swing GRP Door & Glazing (200mm SS Border @ Bottom & @ 900mm) | no's | 1 |  | 0
5.2.25 | 4670 | X | 3000 | SD1 - Automatic Sensor with Aluminium Power Coated Framed Tempered Glass Sliding Double Door & Reflective Glass (200mm Frosted Sticker & 1000mm ) | no's | 1 |  | 0
5.2.26 | 2220 | X | 2185 | SD2 - Aluminium Top Railing with GRP Door Panel Sliding Door (200mm SS Boarder @ Bottom & @ 900mm) | no's | 3 |  | 0
5.2.27 | 2345 | X | 3000 | SD4 - Automatic Sensor with Aluminium Power Coated Framed Tempered Glass Sliding Door & Reflective Glass (200mm Frosted Sticker & 1000mm ) | no's | 1 |  | 0
5.3.00 | FIRST FLOOR
5.3.01 | 1240 | X | 1625 | W1 - Powder Coated Aluminium Framed Panel with Pushout Window & Fixed Glass On Side Panel (Tempered Reflective Glass) | no's | 13 |  | 0
5.3.02 | 2300 | X | 1625 | W2 - Powder Coated Aluminium Framed Panel with Pushout Window & Fixed Glass On Side Panel (Tempered Reflective Glass) | no's | 5 |  | 0
5.3.03 | 740 | X | 600 | W3 - Powder Coated Aluminium Framed Panel with Top Hinge & Lockset (Low E-Tempered Reflective Glass) | no's | 4 |  | 0
5.3.04 | 1425 | X | 600 | W4 - Powder Coated Aluminium Framed Panel with Top Hinge & Lockset (Low E-Tempered Reflective Glass) |  | 15 |  | 0
5.3.05 | 3000 | X | 600 | W5 - Powder Coated Aluminium Framed Panel (Low E-Tempered Reflective Glass) | no's | 1 |  | 0
5.3.06 | 3100 | X | 1625 | W6 - Powder Coated Aluminium Framed Panel with Pushout Window & Fixed Glass On Side Panel (Tempered Reflective Glass) | no's | 5 |  | 0
5.3.07 | 800 | X | 1625 | W7 - Powder Coated Aluminium Framed Panel with Pushout Window & Fixed Glass (Tempered Reflective Glass) | no's | 3 |  | 0
5.3.08 | 900 | X | 1625 | W9 - Powder Coated Aluminium Framed Panel with Sliding Window & Fixed Glass Panel (Tempered Reflective Glass) | no's | 1 |  | 0
5.3.09 | 4800 | X | 1900 | FG1 - Powder Coated Aluminium Framed Panel With Low-E Tempered Glass (Reflective Glass) | no's | 4 |  | 0
5.3.10 | 1950 | X | 1900 | FG2 - Powder Coated Aluminium Framed Panel With Low-E Tempered Glass (Reflective Glass) | no's | 1 |  | 0
5.3.11 | 5745 | X | 1800 | FG3 - Powder Coated Aluminium Framed Panel With Low-E Tempered Glass (Reflective Glass) | no's | 1 |  | 0
5.3.12 | 3215 | X | 1800 | FG4 - Powder Coated Aluminium Framed Panel With Low-E Tempered Glass (Reflective Glass) | no's | 1 |  | 0
5.3.13 | 3065 | X | 1800 | FG5 - Powder Coated Aluminium Framed Panel With Low-E Tempered Glass (Reflective Glass) | no's | 1 |  | 0
5.3.14 | 4565 | X | 1800 | FG6 - Powder Coated Aluminium Framed Panel With Low-E Tempered Glass (Reflective Glass) | no's | 1 |  | 0
5.3.15 | 13065 | X | 3825 | FG11 - Powder Coated Aluminium Framed Panel With Low-E Tempered Glass (Reflective Glass) | no's | 1 |  | 0
5.3.16 | 1900 | X | 2400 | D2 - Power Coated Aluminium Frame With GRP Door Glazing (200mm SS Border @ Bottom) | no's | 2 |  | 0
5.3.17 | 1000 | X | 2100 | D4 - Power Coated Aluminium Frame With GRP Door Glazing (200mm SS Border @ Bottom & @ 900mm) | no's | 12 |  | 0
5.3.18 | 1000 | X | 2100 | D5 - Power Coated Aluminium Frame With GRP Door & 10mm Groove (200mm SS Border @ Bottom) | no's | 1 |  | 0
5.3.19 | 800 | X | 2100 | D8 - Power Coated Aluminium Frame With GRP Door (200mm SS Border @ Bottom) | no's | 3 |  | 0
5.3.20 | 1000 | X | 2100 | D9 - Power Coated Aluminium Frame With GRP Door Glazing (200mm SS Border @ Bottom) | no's | 1 |  | 0
5.3.21 | 1000 | X | 2100 | D10 - Power Coated Aluminium Frame With GRP Door (200mm SS Border @ Bottom & @ 900mm) | no's | 4 |  | 0
5.3.22 | 850 | X | 2100 | D11 - Power Coated Aluminium Frame With GRP Door Glazing (200mm SS Border @ Bottom & @ 900mm) | no's | 7 |  | 0
5.3.23 | 1280 | X | 2100 | D12 - Power Coated Aluminium Frame With GRP Door Glazing (200mm SS Border @ Bottom) | no's | 4 |  | 0
5.3.24 | 850 | X | 2100 | D13 - Power Coated Aluminium Frame With Wooden Door | no's | 2 |  | 0
5.3.25 | 2220 | X | 2185 | SD2 - Aluminium Top Railing with GRP Door Panel Sliding Door (200mm SS Boarder @ Bottom & @ 900mm) | no's | 1 |  | 0
5.3.26 | 3020 | X | 2185 | SD3 - Aluminium Top Railing with Framed Glass 2 Sliding Door (200mm SS Boarder @ Bottom & @ 900mm) | no's | 1 |  | 0
5.3.27 | 2345 | X | 3000 | SD5 - Aluminium Top Railing with Power Coated Sliding Door | no's | 2 |  | 0
5.3.28 | 1650 | X | 2585 | SD6 - Aluminium Top Railing with GRP Sliding Door Panel | no's | 1 |  | 0
5.4.00 | SECOND FLOOR
5.4.01 | 1240 | X | 1625 | W1 - Powder Coated Aluminium Framed Panel with Pushout Window & Fixed Glass On Side Panel (Tempered Reflective Glass) | no's | 6 |  | 0
5.4.02 | 2300 | X | 1625 | W2 - Powder Coated Aluminium Framed Panel with Pushout Window & Fixed Glass On Side Panel (Tempered Reflective Glass) | no's | 16 |  | 0
5.4.03 | 1425 | X | 600 | W4 - Powder Coated Aluminium Framed Panel with Top Hinge & Lockset (Low E-Tempered Reflective Glass) |  | 10 |  | 0
5.4.04 | 3000 | X | 600 | W5 - Powder Coated Aluminium Framed Panel (Low E-Tempered Reflective Glass) | no's | 1 |  | 0
5.4.05 | 3100 | X | 1625 | W6 - Powder Coated Aluminium Framed Panel with Pushout Window & Fixed Glass On Side Panel (Tempered Reflective Glass) | no's | 4 |  | 0
5.4.06 | 800 | X | 1625 | W7 - Powder Coated Aluminium Framed Panel with Pushout Window & Fixed Glass (Tempered Reflective Glass) | no's | 3 |  | 0
5.4.07 | 4800 | X | 1900 | FG1 - Powder Coated Aluminium Framed Panel With Low-E Tempered Glass (Reflective Glass) | no's | 4 |  | 0
5.4.08 | 1950 | X | 1900 | FG2 - Powder Coated Aluminium Framed Panel With Low-E Tempered Glass (Reflective Glass) | no's | 1 |  | 0
5.4.09 | 5745 | X | 1800 | FG3 - Powder Coated Aluminium Framed Panel With Low-E Tempered Glass (Reflective Glass) | no's | 1 |  | 0
5.4.10 | 3215 | X | 1800 | FG4 - Powder Coated Aluminium Framed Panel With Low-E Tempered Glass (Reflective Glass) | no's | 1 |  | 0
5.4.11 | 3065 | X | 1800 | FG5 - Powder Coated Aluminium Framed Panel With Low-E Tempered Glass (Reflective Glass) | no's | 1 |  | 0
5.4.12 | 4565 | X | 1800 | FG6 - Powder Coated Aluminium Framed Panel With Low-E Tempered Glass (Reflective Glass) | no's | 1 |  | 0
5.4.13 | 13065 | X | 3825 | FG11 - Powder Coated Aluminium Framed Panel With Low-E Tempered Glass (Reflective Glass) | no's | 1 |  | 0
5.4.14 | 1900 | X | 2400 | D2 - Power Coated Aluminium Frame With GRP Door Glazing (200mm SS Border @ Bottom) | no's | 3 |  | 0
5.4.15 | 1900 | X | 2400 | D3 - Polished Stainless Steel Frame With Wooden Door | no's | 2 |  | 0
5.4.16 | 1000 | X | 2100 | D4 - Power Coated Aluminium Frame With GRP Door Glazing (200mm SS Border @ Bottom & @ 900mm) | no's | 11 |  | 0
5.4.17 | 1000 | X | 2100 | D5 - Power Coated Aluminium Frame With GRP Door & 10mm Groove (200mm SS Border @ Bottom) | no's | 5 |  | 0
5.4.18 | 1000 | X | 2100 | D7 - Power Coated Aluminium Frame With Tempered Glass Door | no's | 4 |  | 0
5.4.19 | 800 | X | 2100 | D8 - Power Coated Aluminium Frame With GRP Door (200mm SS Border @ Bottom) | no's | 4 |  | 0
5.4.20 | 1000 | X | 2100 | D9 - Power Coated Aluminium Frame With GRP Door Glazing (200mm SS Border @ Bottom) | no's | 1 |  | 0
5.4.21 | 1000 | X | 2100 | D10 - Power Coated Aluminium Frame With GRP Door (200mm SS Border @ Bottom & @ 900mm) | no's | 4 |  | 0
5.4.22 | 850 | X | 2100 | D11 - Power Coated Aluminium Frame With GRP Door Glazing (200mm SS Border @ Bottom & @ 900mm) | no's | 1 |  | 0
5.4.23 | 1280 | X | 2100 | D12 - Power Coated Aluminium Frame With GRP Door Glazing (200mm SS Border @ Bottom) | no's | 4 |  | 0
5.4.24 | 2220 | X | 2185 | SD2 - Aluminium Top Railing with GRP Door Panel Sliding Door (200mm SS Boarder @ Bottom & @ 900mm) | no's | 5 |  | 0
5.4.25 | 2345 | X | 3000 | SD5 - Aluminium Top Railing with Power Coated Sliding Door |  | 1 |  | 0
5.5.00 | TERRACE FLOOR
5.5.01 | 4800 | X | 1900 | FG1 - Powder Coated Aluminium Framed Panel With Low-E Tempered Glass (Reflective Glass) | no's | 4 |  | 0
5.5.02 | 1950 | X | 1900 | FG2 - Powder Coated Aluminium Framed Panel With Low-E Tempered Glass (Reflective Glass) | no's | 1 |  | 0
5.5.03 | 5745 | X | 1800 | FG3 - Powder Coated Aluminium Framed Panel With Low-E Tempered Glass (Reflective Glass) | no's | 1 |  | 0
5.5.04 | 2300 | X | 2400 | FG12 - Powder Coated Aluminium Framed Panel With Low-E Tempered Glass (Reflective Glass) | no's | 1 |  | 0
5.5.05 | 1900 | X | 2400 | D2 - Power Coated Aluminium Frame With GRP Door Glazing (200mm SS Border @ Bottom) | no's | 1 |  | 0
5.5.06 | 1000 | X | 2100 | D9 - Power Coated Aluminium Frame With GRP Door Glazing (200mm SS Border @ Bottom) | no's | 3 |  | 0
5.5.07 | 1000 | X | 2100 | D10 - Power Coated Aluminium Frame With GRP Door (200mm SS Border @ Bottom & @ 900mm) | no's | 1 |  | 0
5.6.00 | MACHINE ROOM
5.6.01 | 1000 | X | 2100 | D10 - Power Coated Aluminium Frame With GRP Door (200mm SS Border @ Bottom & @ 900mm) | no's | 1 |  | 0
5.7.00 | WINDOW SHADING
5.7.01 |  |  |  | Window Shading in Ground floor, First floor & Second Floor | Item | 1 |  | 0
5.8.00 | BED SIDE CURTAIN
5.8.01 |  |  |  | Design Supply and complete installation of top quality Hospital grade bed side curtain including railing as per Floor plan.
5.8.1.1 |  |  |  | Ground Floor
5.8.1.1 |  |  |  | Consultation rooms | Item | 6 |  | 0
5.8.1.1.1 |  |  |  | Treatment Room | Item | 1 |  | 0
5.8.1.1.2 |  |  |  | Dressing and Injection Room | Item | 1 |  | 0
5.8.1.1.3 |  |  |  | High/Low Dependency Unit | Item | 4 |  | 0
5.8.1.1.4 |  |  |  | Resuscitation room | Item | 1 |  | 0
5.8.1.2 |  |  |  | First Floor
5.8.1.2.1 |  |  |  | Medical Ward | Item | 4 |  | 0
5.8.1.2.2 |  |  |  | Pediatric Ward | Item | 4 |  | 0
5.8.1.2.3 |  |  |  | Gynacology Ward | Item | 3 |  | 0
5.8.1.2.4 |  |  |  | Labour Room | Item | 2 |  | 0
5.8.1.2.5 |  |  |  | Delivery Room | Item | 2 |  | 0
5.8.1.3 |  |  |  | Second Floor
5.8.1.3.1 |  |  |  | Private Rooms | Item | 2 |  | 0
|  |  |  | TOTAL OF BILL №: 05 - Carried Over To Summary |  |  |  | 0
6.0.00 |  |  |  | Bill №: 06 - STAIRS AND BALCONY RAILING
6.1.00 | GENERAL
|  |  | (a) | Rates shall include for: all fabrication work, welding, marking, drilling for bolts incl. those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
|  |  | (b) | Rates shall include for fabrication and erection and temporary supports and fixing into position.
6.2.00 | RAILINGS
Stainless steel-Handrail-50mm SS pipe on top and vertical handrail attached to 25mm SS pipes as specified on the drawing.
Entrance Ramp Area
6.2.01 |  |  |  | Railing in ground floor ramp | Item | 1 |  | 0
Circular Staircase & Emergency Staircase
6.2.02 |  |  |  | Staircase railings from ground to first floor with timber & SS metal | Item | 1 |  | 0
6.2.03 |  |  |  | Staircase railings from first floor to second floor with timber & SS metal | Item | 1 |  | 0
6.2.04 |  |  |  | Staircase railings from first floor to Third with timber & SS metal | Item | 1 |  | 0
6.2.05 |  |  |  | Rungs Ladder in Terrace Floor to Machine Room | item | 1 |  | 0
|  |  |  | TOTAL OF BILL №: 06 - Carried Over To Summary |  |  |  | 0
7.0.00 |  |  |  | Bill №: 07 - FINISHING
7.1.00 | GENERAL
|  |  | (a) | Rates shall include for :all labour in framing , notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws
|  |  | (b) | Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing.
|  |  | (c) | Skirting rate is included in the Tiling rate
7.2.00 | PLASTERING
16mm thk cement plaster on internal surface as specified on the drawing.
7.2.01 |  |  |  | Ground Floor | m2 | 3114.7122 |  | 0
7.2.02 |  |  |  | First Floor | m2 | 2292.5127 |  | 0
7.2.03 |  |  |  | Second Floor | m2 | 2186.9376 |  | 0
7.2.04 |  |  |  | Above Terrace Floor | m2 | 208.983 |  | 0
16mm thk cement plaster on external surface as specified on the drawing. Waterproofed with Sika product or equivalent to be applied.
7.2.05 |  |  |  | Below Ground level | m2 | 716.3624 |  | 0
7.3.00 | WALL CLADDING
EXTERNAL CLADDING
Prefabricated Cladding panel including Gauge Metal Clip, Z-Clip, sealant & closed backed rod, panel substrate & angel connector in external wall as shown in the drawings.
7.3.01 |  |  |  | Ground Floor | m2 | 553.4662 |  | 0
7.3.02 |  |  |  | First Floor | m2 | 295.9964 |  | 0
7.3.03 |  |  |  | Second Floor | m2 | 277.6606 |  | 0
7.3.04 |  |  |  | Above Terrace Floor | m2 | 157.383 |  | 0
7.3.05 |  |  |  | Machinery room | m2 | 44.008 |  | 0
7.4.00 | COLUMN CLADDING
Rates for Column cladding works includes Mirror aluminium sheet clad, texture white acrylic sheet ,SS metal railing ,SS Border, SS metal ring, aluminium composted panel wrapped around column with accessories
7.4.01 |  |  |  | Interior Column Cladding (Ground Floor, First Floor & Second Floor) | no's | 5 |  | 0
7.5.00 | CEMENT SCREED
|  |  | 25 | mm thick cement screed
7.5.01 |  |  |  | Ground Floor | m2 | 758 |  | 0
7.5.02 |  |  |  | First Floor | m2 | 781 |  | 0
7.5.03 |  |  |  | Second Floor | m2 | 774 |  | 0
7.5.04 |  |  |  | Third Floor | m2 | 834 |  | 0
7.5.05 |  |  |  | Machinery Room | m2 | 9.6 |  | 0
|  |  | 50 | mm thick cement screed (Toilets/Laundry)
7.5.06 |  |  |  | Ground Floor | m2 | 41.2056 |  | 0
7.5.07 |  |  |  | First Floor | m2 | 53.0744 |  | 0
7.5.08 |  |  |  | Second Floor | m2 | 60.1814 |  | 0
7.6.00 | FLOOR TILING FINISH
| 600 | x | 600 | mm Homogenous tiles
7.6.01 |  |  |  | Ground Floor | m2 | 758 |  | 0
7.6.02 |  |  |  | First Floor | m2 | 781 |  | 0
7.6.03 |  |  |  | Second Floor | m2 | 774 |  | 0
7.6.04 |  |  |  | Third Floor | m2 | 834 |  | 0
7.6.05 |  |  |  | Machinery Room | m2 | 9.6 |  | 0
| 300 | x | 600 | mm Homogenous tiles (Toilets/Laundry)
7.6.06 |  |  |  | Ground Floor | m2 | 41.2056 |  | 0
7.6.07 |  |  |  | First Floor | m2 | 53.0744 |  | 0
7.6.08 |  |  |  | Second Floor | m2 | 60.1814 |  | 0
7.7.00 | ANTI SLIP RUBBER FLOORING
Ramp
7.7.01 |  |  |  | Ground Floor to First Floor | m2 | 85.75 |  | 0
7.7.02 |  |  |  | First Floor to Second Floor | m2 | 85.75 |  | 0
7.7.03 |  |  |  | Second Floor to Third Floor | m2 | 85.75 |  | 0
7.8.00 | WALL TILING
Toilet wall
| 300 | x | 600 | mm Porcelain Tile
7.8.01 |  |  |  | Ground Floor | m2 | 80.522 |  | 0
7.8.02 |  |  |  | First Floor | m2 | 86.4541 |  | 0
7.8.03 |  |  |  | Second Floor | m2 | 119.7746 |  | 0
7.9.00 | STAIRCASE
Non-Skid Marble finish tiles both in Riser & Thread
7.9.01 |  |  |  | Circular & Emergency Stair case from Ground Floor to First Floor | item | 1 |  | 0
7.9.02 |  |  |  | Circular & Emergency Stair case from First Floor to Second Floor | item | 1 |  | 0
7.9.03 |  |  |  | Circular & Emergency Stair case from Second Floor to Third Floor | item | 1 |  | 0
7.10.00 | GRANITE COUNTER TOP
7.10.01 |  |  |  | Ground Floor | item | 1 |  | 0
7.10.02 |  |  |  | First Floor | item | 1 |  | 0
7.10.03 |  |  |  | Second Floor | item | 1 |  | 0
|  |  |  | TOTAL OF BILL №: 07- Carried Over To Summary |  |  |  | 0
8.0.00 |  |  |  | Bill №: 08 - PAINTING & DECORATIONS
8.1.00 | GENERAL
|  |  | (a) | Rates shall include for: the provision, erection and removal of scaffolding, preparation, wall putty application, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door & window furniture.
|  |  | (b) | All painting work shall be carried in accordance with the Specifications.
8.2.00 | WALL PAINTING
INTERNAL PAINTING
8.2.01 |  |  |  | Emulsion paint finish including putty application for internal
8.2.02 |  |  |  | Ground Floor | m2 | 3114.7122 |  | 0
8.2.03 |  |  |  | First Floor | m2 | 2332.8665 |  | 0
8.2.04 |  |  |  | Second Floor | m2 | 2194.5876 |  | 0
8.2.05 |  |  |  | Terrace Floor | m2 | 208.983 |  | 0
8.3.00 | FAÇADE
INSTALLATION OF FAÇADE
8.3.01 |  |  |  | Installation of Façade in the front Elevation of Building. | m2 | 708.1 |  | 0
8.4.00 | DECIDAMP-SOUND PAINT
8.4.01 |  |  |  | Deci damp-Sound paint | item | 1 |  | 0
|  |  |  | TOTAL OF BILL №: 08 - Carried Over To Summary |  |  |  | 0
09.0.00 |  |  |  | Bill №: 09 - HYDRAULICS AND DRAINAGE
09.1.00 | GENERAL
|  |  | (a) | Rates shall include for: sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints; back nuts and similar; incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails and fixing complete including cutting and forming holes; excavating, laying pipes and backfilling trenches.
|  |  | (b) | All pipe work and fittings shall be uPVC.
|  |  | (c) | All costs related to installation of water supply system and waste water disposal system on site, that complies with the local standards at the property from the local mains.
|  |  | (d) | All measurements to be made on site by the contractor.
|  |  | (e) | Contractor shall submit shop drawings for all related works to be approved by the Engineer before executing the work.
09.2.00 | FRESH WATER SUPPLY SYSTEM
GROUND FLOOR
09.2.01 |  |  |  | uPVC pipe | Item | 1 |  | 0
FIRST FLOOR
09.2.02 |  |  |  | uPVC pipe | Item | 1 |  | 0
SECOND FLOOR
09.2.03 |  |  |  | uPVC pipe | Item | 1 |  | 0
09.3.00 | SEWER AND WASTE WATER DRAINAGE SYSTEM
GROUND FLOOR
WASTE PIPE
09.3.01 |  |  |  | uPVC pipe & necessary fittings | Item | 1 |  | 0
FIRST FLOOR
WASTE PIPE
09.3.02 |  |  |  | uPVC pipe & necessary fittings | Item | 1 |  | 0
SECOND FLOOR
WASTE PIPE
09.3.03 |  |  |  | uPVC pipe & necessary fittings | Item | 1 |  | 0
09.4.00 | SANITARY FITTINGS
GROUND FLOOR
09.4.01 |  |  |  | WC | nr | 10 |  | 0
09.4.02 |  |  |  | Muslim Shower | nr | 10 |  | 0
09.4.03 |  |  |  | Cistern tap | nr | 10 |  | 0
09.4.04 |  |  |  | Wash basin with Faucet | nr | 18 |  | 0
09.4.05 |  |  |  | Sink with Tap | nr | 1 |  | 0
09.4.06 |  |  |  | Wall Tap | nr | 2 |  | 0
09.4.07 |  |  |  | Hot & Cold Water Shower Mixer | nr | 1 |  | 0
09.4.08 |  |  |  | Hot & Cold Water Basin Mixer Faucet | nr | 4 |  | 0
09.4.09 |  |  |  | Hot & Cold Water Bedpan Washer | nr | 1 |  | 0
09.4.10 |  |  |  | Gate Valve | nr | 30 |  | 0
09.4.11 |  |  |  | MWSC Meter | nr | 5 |  | 0
09.4.12 |  |  |  | 200L Floor Standing Water Heater | nr | 2 |  | 0
09.4.13 |  |  |  | Cabinet with granite type Tile counter top | nr | 9 |  | 0
09.4.14 |  |  |  | Angled Grab Rail | nr | 3 |  | 0
09.4.15 |  |  |  | Drop Down Rail | nr | 3 |  | 0
09.4.16 |  |  |  | Mirror | nr | 9 |  | 0
09.4.17 |  |  |  | Dark Tinted Mirror | nr | 10 |  | 0
09.4.18 |  |  |  | Towel Holder | nr | 1 |  | 0
09.4.19 |  |  |  | Soap Holder | nr | 1 |  | 0
09.4.20 |  |  |  | Toilet Paper Dispenser | nr | 10 |  | 0
09.4.21 |  |  |  | Toilets WC Covered with Phenolic Resin Compact Sheet | item | 1 |  | 0
09.4.22 |  |  |  | Floor drain with P Trap | nr | 5 |  | 0
09.4.23 |  |  |  | Floor Gully | nr | 7 |  | 0
09.4.24 |  |  |  | Gully Trap | nr | 3 |  | 0
09.4.25 |  |  |  | Bottle Trap | nr | 23 |  | 0
09.4.26 |  |  | 82 | mm dia. Stub | nr | 2 |  | 0
09.4.27 |  |  | 90 | mm dia. Stub | nr | 1 |  | 0
09.4.28 |  |  | 1000 | mm dia. Absorption Trench | nr | 2 |  | 0
09.4.29 |  |  |  | Manhole | nr | 2 |  | 0
09.4.30 |  |  |  | Rain water Tank | nr | 2 |  | 0
09.4.31 |  |  |  | Dilution Tank | nr | 1 |  | 0
FIRST FLOOR
09.4.32 |  |  |  | WC | nr | 9 |  | 0
09.4.33 |  |  |  | Muslim Shower | nr | 9 |  | 0
09.4.34 |  |  |  | Cistern tap | nr | 9 |  | 0
09.4.35 |  |  |  | Wash basin with Faucet | nr | 10 |  | 0
09.4.36 |  |  |  | Sink with Tap | nr | 1 |  | 0
09.4.37 |  |  |  | Gate Valve | nr | 21 |  | 0
09.4.38 |  |  |  | Hot & Cold Water Shower Mixer | nr | 4 |  | 0
09.4.39 |  |  |  | Hot & Cold Water Basin Mixer Faucet | nr | 9 |  | 0
09.4.40 |  |  |  | Hot & Cold Water Bedpan Washer | nr | 1 |  | 0
09.4.41 |  |  |  | Cabinet With Granite Type Tile Counter Top | nr | 9 |  | 0
09.4.42 |  |  |  | Angled Grab Rail | nr | 5 |  | 0
09.4.43 |  |  |  | Drop Down Rail | nr | 5 |  | 0
09.4.44 |  |  |  | Mirror | nr | 9 |  | 0
09.4.45 |  |  |  | Dark Tinted Mirror | nr | 9 |  | 0
09.4.46 |  |  |  | Towel Holder | nr | 4 |  | 0
09.4.47 |  |  |  | Soap Holder | nr | 4 |  | 0
09.4.48 |  |  |  | Toilet Paper Dispenser | nr | 9 |  | 0
09.4.49 |  |  |  | Toilets WC Covered with Phenolic Resin Compact Sheet | item | 1 |  | 0
09.4.50 |  |  |  | Floor drain with P Trap | nr | 4 |  | 0
09.4.51 |  |  |  | Floor Gully | nr | 4 |  | 0
09.4.52 |  |  |  | Bottle Trap | nr | 20 |  | 0
09.4.53 |  |  | 90 | mm dia. Stub | nr | 1 |  | 0
SECOND FLOOR
09.4.55 |  |  |  | WC | nr | 14 |  | 0
09.4.56 |  |  |  | Muslim Shower | nr | 14 |  | 0
09.4.57 |  |  |  | Cistern tap | nr | 14 |  | 0
09.4.58 |  |  |  | Wash basin with Faucet | nr | 13 |  | 0
09.4.59 |  |  |  | Sink with Tap | nr | 3 |  | 0
09.4.60 |  |  |  | Wall Tap | nr | 6 |  | 0
09.4.61 |  |  |  | Hot & Cold Water Shower Mixer | nr | 4 |  | 0
09.4.62 |  |  |  | Hot & Cold Water Basin Mixer Faucet | nr | 3 |  | 0
09.4.63 |  |  |  | Hot & Cold Water Bedpan Washer | nr | 1 |  | 0
09.4.64 |  |  |  | Gate Valve | nr | 22 |  | 0
09.4.65 |  |  | 100 | L Wall-Hung Water Heater | nr | 1 |  | 0
09.4.66 |  |  |  | Cabinet with granite type Tile counter top | nr | 11 |  | 0
09.4.67 |  |  |  | Angled Grab Rail | nr | 6 |  | 0
09.4.68 |  |  |  | Drop Down Rail | nr | 6 |  | 0
09.4.69 |  |  |  | Mirror | nr | 11 |  | 0
09.4.70 |  |  |  | Dark Tinted Mirror | nr | 11 |  | 0
09.4.71 |  |  |  | Towel Holder | nr | 3 |  | 0
09.4.72 |  |  |  | Soap Holder | nr | 3 |  | 0
09.4.73 |  |  |  | Toilet Paper Dispenser | nr | 14 |  | 0
09.4.74 |  |  |  | Toilets WC Covered with Phenolic Resin Compact Sheet | item | 1 |  | 0
09.4.75 |  |  |  | Floor drain with P Trap | nr | 5 |  | 0
09.4.76 |  |  |  | Floor Gully | nr | 13 |  | 0
09.4.77 |  |  |  | Bottle Trap | nr | 23 |  | 0
09.4.78 |  |  | 90 | mm dia. Stub | nr | 1 |  | 0
09.5.00 | RAINWATER DISCHARGE PIPE
(a) Rates shall include for excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints and all joints and other incidental materials.
09.5.01 |  |  |  | 110mm Ø Rainwater discharge pipe from Terrace, rates shall include for supply and installation of piping from terrace through the ducting and connection to exterior drain system and any associated civil works. | Item | 1 |  | 0
09.6.00 | GARBAGE CHUTES
09.6.01 |  |  |  | Installation of Garbage Chutes ( Garbage Collection System) | item | 1 |  | 0
09.7.00 |  |  | SERVICE DUCTS
09.7.01 |  |  |  | Cladding works for covering service ducts | Item | 1 |  | 0
|  |  |  | TOTAL OF BILL №: 09 - Carried Over To Summary |  |  |  | 0
10.0.00 |  |  |  | Bill №: 10 - MECHANICAL & ELECTRICAL SERVICES
10.1.00 | GENERAL
|  |  | (a) | Design, provide and install electrical network for the entire building complete in accordance to standards set by the local governing body STELCO
|  |  | (b) | The cost shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
|  |  | (c) | Rates for electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces.
|  |  | (d) | A light fixture is measured as one point; switch end of wire is not included in the quantity.
|  |  | (e) | A point wiring for power points is measured (regardless of 1 gang, 2 gang etc.) as one point for each socket outlet; other end of wire is not included in the quantity.
|  |  | (f) | All under ground cables directly buried in ground/run in trenches to be properly laid and covered with cable tiles/trench covers. Rate for under ground cables shall include for all necessary excavation, sand layers, concrete tiles, warning strips and back filling with approved quality earth properly compacted, hot dipped galvanized brackets for trenches, accessories, etc. as applicable.
|  |  | (g) | The contractor shall provide a schedule of all builder's work in connection with details of such items as necessary, along with the tender.
|  |  | (h) | Rates for materials/ plants/ equipment not approved for duty free facilities to be quoted on duty paid basis.
|  |  | (j) | All equipment shall be guaranteed for a period of 12 months from the date of commissioning or date of practical completion of the project which ever later
|  |  | (k) | The rate shall include for insurance during handling, re-handling, transport, storage until ready for installation, delivery of equipment up to the point of installation and until handing over.
|  |  | (l) | The rates shall include for comprehensive maintenance during defects liability period of 12 months from the date of handing over.
|  |  | (m) | Rate shall include for supply, installation, maintaining, testing and commissioning of the system for power and lighting according to drawings and specifications to working order.
|  |  | (n) | All materials, equipment wiring shall confirm to local codes, specifications, standards/latest I.E.E. regulations ( BS 7671 ).
|  |  | (o) | All costs related to installation of service cables that complies with the local standards at the property from the local mains.
|  |  | (p) | All measurements to be made on site by the contractor.
|  |  | (q) | Contractor shall submit shop drawings for all related works to be approved by the Engineer before executing the work.
10.2.00 | POINT WIRING AND FITTINGS
Rate shall include for supply & installation of cable, conduits for point wiring in concealed installations including switches, power outlet, isolators, etc., all as specified
10.2.01 |  |  |  | Supply and Installation of 2 x 1C 1.5mm2 PVC/PVC/Cu + 2.5mm2 PVC/Cu earth cable c/w uPVC conduit, junction boxes etc. for light point wiring | nr | 1097 |  | 0
10.2.02 |  |  |  | Supply and Installation of 2 x 1C 2.5mm2 PVC/PVC/Cu + 2.5mm2 PVC/Cu earth cable c/w uPVC conduit, junction boxes etc. for following Socket outlet/isolator point wiring | nr | 668 |  | 0
Wiring points
ELECTRICAL BOARDS
Complete installation incl. for all connection earthing, painting, testing and similar of;
10.3.00 | MAIN DISTRIBUTION BOARD
10.3.01 |  |  |  | Ground Floor | nr | 2 |  | 0
10.3.02 |  |  |  | First Floor | nr | 2 |  | 0
10.3.03 |  |  |  | Second Floor | nr | 2 |  | 0
10.4.00 | DISTRIBUTION BOARDS
10.4.01 |  |  |  | Ground Floor | nr | 9 |  | 0
10.4.02 |  |  |  | First Floor | nr | 8 |  | 0
10.4.03 |  |  |  | Second Floor | nr | 9 |  | 0
10.4.04 |  |  |  | Terrace Floor | nr | 2 |  | 0
10.5.00 | SOCKETS
GROUND FLOOR
10.5.01 |  |  | 13A | Twin Socket | nr | 98 |  | 0
10.5.02 |  |  | 13A | Twin Socket with USB Ports | nr | 9 |  | 0
10.5.03 |  |  | 13A | Power Socket | nr | 12 |  | 0
10.5.04 |  |  | 15A | Power Socket in Polycarbonate Box | nr | 9 |  | 0
10.5.05 |  |  | 15A | Power Socket | nr | 10 |  | 0
10.5.06 |  |  |  | Power Outlets On Bed Head Unit | nr | 4 |  | 0
10.5.07 |  |  |  | Power Outlets On Medica Pendent | nr | 1 |  | 0
10.5.08 |  |  |  | TPN Isolator | nr | 5 |  | 0
10.5.09 |  |  |  | Telephone Extension | nr | 16 |  | 0
10.5.10 |  |  |  | Telephone Outlet | nr | 2 |  | 0
10.5.11 |  |  |  | Computer network outlet | nr | 20 |  | 0
10.5.12 |  |  |  | TV Socket Outlet | nr | 1 |  | 0
10.5.13 |  |  |  | Emergency light | nr | 11 |  | 0
10.5.14 |  |  |  | IT Distribution Board | nr | 1 |  | 0
10.5.15 |  |  |  | Private Automatic Branch Exchange (PABX) | nr | 1 |  | 0
10.5.16 |  |  |  | Internet Switchboard | nr | 1 |  | 0
FIRST FLOOR
10.5.17 |  |  | 13A | Twin Socket | nr | 90 |  | 0
10.5.18 |  |  | 13A | Twin Socket with USB Ports | nr | 11 |  | 0
10.5.19 |  |  | 13A | Power Socket | nr | 17 |  | 0
10.5.20 |  |  | 15A | Power Socket in Polycarbonate Box | nr | 7 |  | 0
10.5.21 |  |  | 15A | Power Socket | nr | 9 |  | 0
10.5.22 |  |  |  | Power Outlets On Bed Head Unit | nr | 15 |  | 0
10.5.23 |  |  |  | Power Outlets On Medica Pendent | nr | 1 |  | 0
10.5.24 |  |  |  | TPN Isolator | nr | 6 |  | 0
10.5.25 |  |  |  | Telephone Extension | nr | 11 |  | 0
10.5.26 |  |  |  | Computer network outlet | nr | 11 |  | 0
10.5.27 |  |  |  | TV Socket Outlet | nr | 2 |  | 0
10.5.28 |  |  |  | Emergency light | nr | 15 |  | 0
SECOND FLOOR
10.5.29 |  |  | 13A | Twin Socket | nr | 115 |  | 0
10.5.30 |  |  | 13A | Twin Socket with USB Ports | nr | 14 |  | 0
10.5.31 |  |  | 13A | Power Socket | nr | 17 |  | 0
10.5.32 |  |  | 15A | Power Socket in Polycarbonate Box | nr | 9 |  | 0
10.5.33 |  |  |  | Power Outlets On Bed Head Unit | nr | 4 |  | 0
10.5.34 |  |  |  | HDMI Socket | nr | 6 |  | 0
10.5.35 |  |  |  | Telephone Extension | nr | 25 |  | 0
10.5.36 |  |  |  | Telephone Outlet | nr | 3 |  | 0
10.5.37 |  |  |  | Computer network outlet | nr | 28 |  | 0
10.5.38 |  |  |  | TV Socket Outlet | nr | 2 |  | 0
10.5.39 |  |  |  | Emergency light | nr | 13 |  | 0
TERRACE FLOOR
10.5.40 |  |  | 13A | Twin Socket | nr | 2 |  | 0
10.5.41 |  |  | 13A | Power Socket | nr | 2 |  | 0
10.5.42 |  |  |  | Emergency light | nr | 2 |  | 0
10.6.00 | SWITCHES AND LIGHTING
GROUND FLOOR
10.6.01 | 600 | x | 600 | Rectangular LED Panel | nr | 110 |  | 0
10.6.02 |  |  |  | Recessed Baffle Trim LED Ceiling Light Type 2 (10W) | nr | 16 |  | 0
10.6.03 |  |  |  | Ceiling Recessed Light (5W) | nr | 7 |  | 0
10.6.04 |  |  |  | Ceiling Light (12W) | nr | 24 |  | 0
10.6.05 |  |  |  | Ceiling Down Light (18W) - Weather Proof | nr | 5 |  | 0
10.6.06 |  |  | 42" to 48" | Ceiling Fan | nr | 15 |  | 0
10.6.07 |  |  |  | Ceiling Fan Controller | nr | 15 |  | 0
10.6.08 |  |  |  | Led Strip Light in Ceiling Cove | m | 155 |  | 0
10.6.09 |  |  |  | 1 x 1 Switch (1 Gang) | nr | 13 |  | 0
10.6.10 |  |  |  | 1 x 2 Switch (2 Gang) | nr | 20 |  | 0
10.6.11 |  |  |  | 1 x 3 Switch ( 3 Gang) | nr | 12 |  | 0
10.6.12 |  |  |  | 1 x 4 Switch ( 4 Gang) | nr | 13 |  | 0
10.6.13 |  |  |  | 1 x 5 Switch ( 5 Gang) | nr | 7 |  | 0
FIRST FLOOR
10.6.14 | 600 | x | 600 | Rectangular LED Panel | nr | 112 |  | 0
10.6.15 |  |  |  | Recessed Baffle Trim LED Ceiling Light Type 2 (10W) | nr | 17 |  | 0
10.6.16 |  |  |  | Ceiling Light (12W) | nr | 26 |  | 0
10.6.17 |  |  | 42" to 48" | Ceiling Fan | nr | 10 |  | 0
10.6.18 |  |  |  | Ceiling Fan Controller | nr | 10 |  | 0
10.6.19 |  |  |  | Led Strip Light in Ceiling Cove | m | 96 |  | 0
10.6.20 |  |  |  | 1 x 1 Switch (1 Gang) | nr | 23 |  | 0
10.6.21 |  |  |  | 1 x 2 Switch (2 Gang) | nr | 12 |  | 0
10.6.22 |  |  |  | 1 x 3 Switch ( 3 Gang) | nr | 12 |  | 0
10.6.23 |  |  |  | 1 x 4 Switch ( 4 Gang) | nr | 12 |  | 0
10.6.24 |  |  |  | 1 x 5 Switch ( 5 Gang) | nr | 5 |  | 0
SECOND FLOOR
10.6.25 | 600 | x | 600 | Rectangular LED Panel | nr | 112 |  | 0
10.6.26 |  |  |  | Recessed Baffle Trim LED Ceiling Light Type 2 (10W) | nr | 29 |  | 0
10.6.27 |  |  |  | Ceiling Light (12W) | nr | 24 |  | 0
10.6.28 |  |  | 42" to 48" | Ceiling Fan | nr | 5 |  | 0
10.6.29 |  |  |  | Ceiling Fan Controller | nr | 5 |  | 0
10.6.30 |  |  |  | Led Strip Light in Ceiling Cove | m | 96 |  | 0
10.6.31 |  |  |  | 1 x 1 Switch (1 Gang) | nr | 14 |  | 0
10.6.32 |  |  |  | 1 x 2 Switch (2 Gang) | nr | 25 |  | 0
10.6.33 |  |  |  | 1 x 3 Switch ( 3 Gang) | nr | 11 |  | 0
10.6.34 |  |  |  | 1 x 4 Switch ( 4 Gang) | nr | 12 |  | 0
10.6.35 |  |  |  | 1 x 5 Switch ( 5 Gang) | nr | 5 |  | 0
TERRACE FLOOR
10.6.36 |  |  |  | Ceiling Light (12W) | nr | 8 |  | 0
10.6.37 |  |  |  | 1 x 1 Switch (1 Gang) | nr | 1 |  | 0
10.6.38 |  |  |  | 1 x 2 Switch (2Gang) | nr | 2 |  | 0
10.6.39 |  |  |  | 1 x 3 Switch ( 3 Gang) | nr | 1 |  | 0
10.7.00 | AIR CONDITIONERS
10.1.00 | GENERAL
|  |  | (a) | Rates shall include for detail design, supply and complete installation of A/C units, Fresh air systems pipework, insulation, fixings, electrical wiring, drain pipes etc.
|  |  | (b) | The Contractor shall provide detailed and complete set of shop drawings
GROUND FLOOR
10.7.01 |  |  |  | Ceiling Concealed Air Conditioner | nr | 13 |  | 0
10.7.02 |  |  |  | Ceiling Surface Supply Air Grill | nr | 67 |  | 0
10.7.03 |  |  |  | Ceiling Surface Return Air Grill | nr | 56 |  | 0
10.7.04 |  |  |  | Thermostat - Remote controller | nr | 13 |  | 0
10.7.05 |  |  | 1800mm | Length Air Curtain | nr | 1 |  | 0
10.7.06 |  |  | 1200mm | Length Air Curtain | nr | 5 |  | 0
10.7.07 |  |  |  | Ceiling Mounted Exhaust Fan | nr | 14 |  | 0
10.7.08 |  |  | 15A | Switch socket above False Ceiling | nr | 10 |  | 0
10.7.09 |  |  | 13A | Power socket at Air curtain Level | nr | 6 |  | 0
10.7.10 |  |  |  | TPN Isolator Above False Ceiling | nr | 3 |  | 0
Note: All Ceiling Surface grills should be equipped with HEPA filters
FIRST FLOOR
10.7.11 |  |  |  | Ceiling Concealed Air Conditioner | nr | 8 |  | 0
10.7.12 |  |  |  | Ceiling Surface Supply Air Grill | nr | 74 |  | 0
10.7.13 |  |  |  | Ceiling Surface Return Air Grill | nr | 69 |  | 0
10.7.14 |  |  |  | Thermostat - Remote controller | nr | 8 |  | 0
10.7.15 |  |  |  | Ceiling Mounted Exhaust Fan | nr | 15 |  | 0
10.7.16 |  |  | 15A | Switch socket above False Ceiling | nr | 4 |  | 0
10.7.17 |  |  |  | TPN Isolator Above False Ceiling | nr | 4 |  | 0
Note: All Ceiling Surface grills should be equipped with HEPA filters
SECOND FLOOR
10.7.18 |  |  |  | Ceiling Concealed Air Conditioner | nr | 13 |  | 0
10.7.19 |  |  |  | Ceiling Surface Supply Air Grill | nr | 62 |  | 0
10.7.20 |  |  |  | Ceiling Surface Return Air Grill | nr | 62 |  | 0
10.7.21 |  |  |  | Thermostat - Remote controller | nr | 13 |  | 0
10.7.22 |  |  | 1200mm | Length Air Curtain | nr | 1 |  | 0
10.7.23 |  |  |  | Ceiling Mounted Exhaust Fan | nr | 15 |  | 0
10.7.24 |  |  | 15A | Switch socket above False Ceiling | nr | 9 |  | 0
10.7.25 |  |  | 13A | Power socket at Air curtain Level | nr | 1 |  | 0
10.7.26 |  |  |  | TPN Isolator Above False Ceiling | nr | 4 |  | 0
Note: All Ceiling Surface grills should be equipped with HEPA filters
10.8.00 | SOLAR PV SYSTEM
GENERAL
|  |  | (a) | Rates shall include for: Design, supply and install according to hospital operators’ demand/specifications. screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
|  |  | (b) | Rate shall include for electrical conduits, fittings, equipment and similar all fixings
|  |  | (c) | Rate shall include to complete the system and connect to the grid with net metering as per specification and approval of Consultant/ Client (Junction box specs, solar AC & DC cable specs, solar brackets specs, inverter specs & solar panel specs…etc)
10.8.1 |  |  |  | SOLAR PV SYSTEM Design, supply and Complete installation according to Maldives Energy Authority Regulations and Guidelines with a minimum capacity of 100kW, also connect to the Grid. | Item | 1 |  | 0
10.9.00 | OTHERS
CCTV System
10.9.01 |  |  |  | Ground Floor, First Floor & Second Floor (Provision) | Item | 1 |  | 0
Access Constrol system (Security)
10.9.02 |  |  |  | Access control system as required for all floors (call buttons, monitors etc) design, supply and install according to hospital operators’ demand/specifications. | Item | 6 |  | 0
10.9.03 |  |  |  | Electromagnetic lock with Proximity Card Reader and Push Button | Item | 6 |  | 0
10.9.04 |  |  |  | Door Bell | Item | 5 |  | 0
NURSE CALL SYSTEM & PUBLIC ADDRESS SYSTEM
10.9.05 |  |  |  | Nurse call system and Public address system. incluing all hardwear, wiring as required for all floors all inclusive installation and commissioning.design, supply and install according to hospital operators’ demand/specifications. | Item | 1 |  | 0
QUEUE NUMBER SYSTEM
10.9.06 |  |  |  | Queue Number system. incluing all hardwear, wiring as required for all floors all inclusive installation and commissioning.design, supply and install according to hospital operators’ demand/specifications. | Item | 1 |  | 0
LIGHTENING PROTECTION SYSTEM
10.9.07 |  |  |  | Design, supply, and Complete installation of Erco, Eritech or equivalent lightening Protection System to cover the whole building as per local regulations (Rate shall include for all fixing of the system and down conductor to earthing) Coverage of lightning protection should be minimum 200 Meter Radius. Pric also include to install Marine grade SS post. | Item | 1 |  | 0
10.9.00 | SERVICE DUCTS
10.9.01 |  |  |  | Cladding works for covering Air conditioner service line ducts | Item | 1 |  | 0
10.10.00 | MEDICAL GASES, SUCTION & MEDICAL AIR SYSTEMS.
10.10.1 |  |  | Oxygen delivery system
10.10.01.01 |  |  |  | Design supply and complete installation of Piped and tested oxygen delivery system from the Oxygen bank. Oxygen bank, capacity to connect minimum 12 jumbo cylinder. System to be insttaled as per manufactures standards. | Item | 1 |  | 0
10.10.1.2 |  |  | GROUND FLOOR
10.10.1.2.1 |  |  |  | ER | Item | 4 |  | 0
10.10.1.2.2 |  |  |  | Resuscitation room | Item | 1 |  | 0
10.10.1.2.3 |  |  |  | Treatment room | Item | 1 |  | 0
10.10.1.3 |  |  | FIRST FLOOR
10.10.1.3.1 |  |  |  | Medical ward | Item | 4 |  | 0
10.10.1.3.2 |  |  |  | Pediatric Ward | Item | 2 |  | 0
10.10.1.3.3 |  |  |  | Gynacology Ward | Item | 3 |  | 0
10.10.1.3.4 |  |  |  | Minor Theater | Item | 2 |  | 0
10.10.1.3.5 |  |  |  | Labour Room | Item | 4 |  | 0
10.10.1.4 |  |  | SECOND FLOOR
10.10.1.4.1 |  |  |  | Private rooms | Item | 2 |  | 0
10.10.1.4.2 |  |  |  | Isolation Room | Item | 2 |  | 0
10.10.2 |  |  | MEDICAL AIR SYSTEM
10.10.02.01 |  |  |  | Design supply and complete installation of Piped and tested Medical Air system from a central Medical air system, | Item | 1 |  | 0
10.10.2.2 |  |  | GROUND FLOOR
10.10.2.2.1 |  |  |  | ER | Item | 4 |  | 0
10.10.2.2.2 |  |  |  | Resuscitation room | Item | 1 |  | 0
10.10.2.2.3 |  |  |  | Treatment room | Item | 1 |  | 0
10.10.2.3 |  |  | FIRST FLOOR
10.10.2.3.1 |  |  |  | Medical ward | Item | 4 |  | 0
10.10.2.3.2 |  |  |  | Pediatric Ward | Item | 2 |  | 0
10.10.2.3.3 |  |  |  | Gynacology Ward | Item | 3 |  | 0
10.10.2.3.4 |  |  |  | Minor Theater | Item | 2 |  | 0
|  |  |  | Labour Room | Item | 4 |  | 0
10.10.2.4 |  |  | SECOND FLOOR
10.10.2.4.1 |  |  |  | Private rooms | Item | 2 |  | 0
10.10.2.4.2 |  |  |  | Isolation Room | Item | 2 |  | 0
10.10.3 |  |  | VACCUUM SYSTEM
10.10.03.01 |  |  |  | Design supply and complete installation of Piped and tested vacuum system from a central vacuum system, | Item | 1 |  | 0
10.10.3.2 |  |  | GROUND FLOOR
10.10.3.2.1 |  |  |  | ER | Item | 4 |  | 0
10.10.3.2.2 |  |  |  | Resuscitation room | Item | 1 |  | 0
10.10.3.2.3 |  |  |  | Treatment room | Item | 1 |  | 0
10.10.3.3 |  |  | FIRST FLOOR
10.10.3.3.1 |  |  |  | Medical ward | Item | 4 |  | 0
10.10.3.3.2 |  |  |  | Pediatric Ward | Item | 2 |  | 0
10.10.3.3.3 |  |  |  | Gynacology Ward | Item | 3 |  | 0
10.10.3.3.4 |  |  |  | Minor Theater | Item | 2 |  | 0
10.10.3.3.5 |  |  |  | Labour Room | Item | 4 |  | 0
10.10.3.4 |  |  | SECOND FLOOR
10.10.3.4.1 |  |  |  | Private rooms | Item | 2 |  | 0
10.10.3.4.2 |  |  |  | Isolation Room | Item | 2 |  | 0
10.10.4.4 |  |  | BED HEAD UNITS
10.10.4.4.1 |  |  |  | Supply and complete installation of Bed head units, with control panels , each unit must includes 13amp 4 single sockets, 13amp 1 single socket with USB port, 1 network point, Obsevatuion light and necessary accessories. | Item | 21 |  | 0
10.10.4.5 |  |  | EQUIPMENTS
Supply and Complete installation of following items
10.10.4.5.1 |  |  |  | Desktop Computer Systems (Spec attached) | Nos | 30 |  | 0
10.10.4.5.2 |  |  |  | Laser Printers: Paper sizes: Minimum: 76 x 127 mm (3 x 5 inches) Maximum: 216 x 356 mm (8.5 x 14 inches) | Nos | 10 |  | 0
10.10.4.5.3 |  |  |  | Office server system with server rack | Items | 1 |  | 0
10.10.4.5.4 |  |  |  | Network Server with server rack (Spec Attached) | Items | 1 |  | 0
10.10.4.5.5 |  |  |  | Manageable Network Port Switch (with spare 20 ports) | Items | 2 |  | 0
10.10.4.5.6 |  |  |  | Cable Roll box (Spec attached) | Items | 1 |  | 0
10.10.4.5.7 |  |  |  | Display TV 65" (Spec attached) | nos | 4 |  | 0
10.10.4.5.8 |  |  |  | Projector (Spec attached) | nos | 2 |  | 0
10.10.4.5.9 |  |  |  | Token Printer (Spec attached) | nos | 2 |  | 0
10.10.4.5.10 |  |  |  | Touch Screen (Spec attached) | nos | 2 |  | 0
10.10.4.5.11 |  |  |  | Biometric Attendance System (Spec attached) | Items | 1 |  | 0
10.10.4.5.12 |  |  |  | 8KVA Smart UPS (Spec attached) | Items | 1 |  | 0
|  |  |  | TOTAL OF BILL №: 10 - Carried Over To Summary |  |  |  | 0
11.0.00 |  |  |  | Bill №: 11 - CEILING
11.1.00 | GENERAL
|  |  | (a) | Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges, struts, collars and similar and all nails and screws.
11.2.00 | CEILING WORKS
Ground Floor
11.2.01 |  |  |  | Suspended False Ceiling Panels | m2 | 978.09 |  | 0
11.2.02 |  |  |  | PVC Ceiling System for Washroom, Laundry | m2 | 35.81 |  | 0
First Floor
11.2.03 |  |  |  | Suspended False Ceiling Panels | m2 | 977.65 |  | 0
11.2.04 |  |  |  | PVC Ceiling System for Washroom, Laundry | m2 | 36.25 |  | 0
Second Floor
11.2.05 |  |  |  | Suspended False Ceiling Panels | m2 | 906.65 |  | 0
11.2.06 |  |  |  | PVC Ceiling System for Washroom, Laundry | m2 | 107.25 |  | 0
|  |  |  | TOTAL OF BILL №: 11 - Carried Over To Summary |  |  |  | 0
12.0.00 |  |  |  | Bill №: 12 - LIFT
12.1.00 | GENERAL
|  |  | (a) | Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
|  |  | (b) | Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil.
|  |  | (c) | Rates for cable conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces.
|  |  | (d) | Rates shall include for all necessary electrical wiring and accessories required for completion of the lift installation.
|  |  | (e) | Rate shall include for complete installation.
Lift: Bed lift (2.5m x 1.5m)
12.1.01 |  |  |  | Complete installation with all necessary equipment and accessories and maintenance. | item | 1 |  | 0
|  |  |  | TOTAL OF BILL №: 12 - Carried Over To Summary |  |  |  | 0
13.0.00 |  |  |  | Bill №: 13 - FURNITURES
13.1.00 |  |  |  | Allow for all the Furniture and Interior Designs | Item | 1 |  | 0
|  |  |  | TOTAL OF BILL №: 13 - Carried Over To Summary |  |  |  | 0
14.0.00 |  |  |  | Bill №: 14 - INSULATION, FIRE STOPPING & FIRE PROTECTION
14.1.00 | GENERAL
|  |  | (a) | Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
|  |  | (b) | Rates for cable conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces.
|  |  | (c) | Rates shall include for all necessary electrical wiring and accessories required for completion.
|  |  | (d) | All items shall be supply and complete installation.
14.2.00 | FIRE FIGHTING SYSTEM
GROUND FLOOR
14.2.01 |  |  |  | Fire alarm panel with beacon | nr | 4 |  | 0
14.2.02 |  |  |  | Optical smoke detector | nr | 31 |  | 0
14.2.03 |  |  |  | Heat detector | nr | 2 |  | 0
14.2.04 |  |  |  | Manual call point | nr | 4 |  | 0
14.2.05 |  |  |  | Sound bell | nr | 4 |  | 0
14.2.06 |  |  |  | Fire alarm control panel | nr | 1 |  | 0
14.2.07 |  |  |  | CO2 Fire extinguisher cylinder(2kg) in polycarbonate enclosure | nr | 8 |  | 0
14.2.08 |  |  |  | H20 Fire extinguisher cylinder(9ltr) in polycarbonate enclosure | nr | 8 |  | 0
14.2.09 |  |  |  | Exit sign light | nr | 12 |  | 0
14.2.10 |  |  |  | 30m Hose Reel | nr | 2 |  | 0
14.2.11 |  |  |  | Fire Blanket | nr | 1 |  | 0
FIRST FLOOR
14.2.12 |  |  |  | Fire alarm panel with beacon | nr | 3 |  | 0
14.2.13 |  |  |  | Optical smoke detector | nr | 43 |  | 0
14.2.14 |  |  |  | Manual call point | nr | 3 |  | 0
14.2.15 |  |  |  | Sound bell | nr | 3 |  | 0
14.2.16 |  |  |  | CO2 Fire extinguisher cylinder(2kg) in polycarbonate enclosure | nr | 10 |  | 0
14.2.17 |  |  |  | H20 Fire extinguisher cylinder(9ltr) in polycarbonate enclosure | nr | 10 |  | 0
14.2.18 |  |  |  | Exit sign light | nr | 8 |  | 0
14.2.19 |  |  |  | 30m Hose Reel | nr | 2 |  | 0
SECOND FLOOR
14.2.20 |  |  |  | Fire alarm panel with beacon | nr | 4 |  | 0
14.2.21 |  |  |  | Optical smoke detector | nr | 44 |  | 0
14.2.22 |  |  |  | Manual call point | nr | 4 |  | 0
14.2.23 |  |  |  | Sound bell | nr | 4 |  | 0
14.2.24 |  |  |  | CO2 Fire extinguisher cylinder(2kg) in polycarbonate enclosure | nr | 6 |  | 0
14.2.25 |  |  |  | H20 Fire extinguisher cylinder(9ltr) in polycarbonate enclosure | nr | 6 |  | 0
14.2.26 |  |  |  | Exit sign light | nr | 9 |  | 0
14.2.27 |  |  |  | 30m Hose Reel | nr | 2 |  | 0
|  |  |  | TOTAL OF BILL №: 14 - Carried Over To Summary |  |  |  | 0
15.0.00 |  |  |  | Bill №: 15 - MISCELLANEOUS
15.1.00 |  |  | LANDSCAPING
15.1.01 |  |  |  | Portico with Treated Timers, Polycarbonate Solid Sheet, SS Bracing Rod, Wall bracket, Support Bracket etc.. | Item | 1
15.1.02 |  |  |  | Landscape area at main entrance with monument & signage | Item | 1
15.1.03 |  |  |  | Landscape area with plants & paved at Emergency entrance, Walkway & Children Paly area | Item | 1
15.1.04 |  |  |  | Outdoor Seating Area | Item | 1
|  |  |  | TOTAL OF BILL №: 15 - Carried Over To Summary |  |  |  | 0
16.0.00 |  |  |  | Bill №: 16 - ADDITIONS AND OMMISIONS
16.1.00 | ADDITIONS
16.1.01 |  |  |  | Bill №: 01 - PRELIMINARIES
16.1.02 |  |  |  | Bill №: 02 - EXCAVATION AND FILLING
16.1.03 |  |  |  | Bill №: 03 - INSITU CONCRETE WORKS
16.1.04 |  |  |  | Bill №: 04 - MASONRY
16.1.05 |  |  |  | Bill №: 05 - DOOR AND WINDOWS
16.1.06 |  |  |  | Bill №: 06 - STAIRS AND BALCONY RAILINGS
16.1.07 |  |  |  | Bill №: 07 - FLOOR, WALL, CEILING FINISHINGS
16.1.08 |  |  |  | Bill №: 08 - PAINTING & DECORATIONS
16.1.09 |  |  |  | Bill №: 09 - HYDRAULICS AND DRAINAGE
16.1.10 |  |  |  | Bill №: 10 - MECHANICAL & ELECTRICAL SERVICES
16.1.11 |  |  |  | Bill №: 11 - CEILING
16.1.12 |  |  |  | Bill №: 12 - LIFT
16.1.13 |  |  |  | Bill №: 13 - FURNITURES
16.1.14 |  |  |  | Bill №: 14 - INSULATION, FIRE STOPPING & FIRE PROTECTION
16.1.15 |  |  |  | Bill №: 15 - MISCELLANEOUS
16.1.16 |  |  |  | Bill №: 16 - ADDITIONS AND OMISSIONS
OMISSIONS
16.1.17 |  |  |  | Bill №: 01 - PRELIMINARIES
16.1.18 |  |  |  | Bill №: 02 - EXCAVATION AND FILLING
16.1.19 |  |  |  | Bill №: 03 - INSITU CONCRETE WORKS
16.1.20 |  |  |  | Bill №: 04 - MASONRY
16.1.21 |  |  |  | Bill №: 05 - DOOR AND WINDOWS
16.1.22 |  |  |  | Bill №: 06 - STAIRS AND BALCONY RAILINGS
16.1.23 |  |  |  | Bill №: 07 - FLOOR, WALL, CEILING FINISHINGS
16.1.24 |  |  |  | Bill №: 08 - PAINTING & DECORATIONS
16.1.25 |  |  |  | Bill №: 09 - HYDRAULICS AND DRAINAGE
16.1.26 |  |  |  | Bill №: 10 - MECHANICAL & ELECTRICAL SERVICES
16.1.27 |  |  |  | Bill №: 11 - CEILING
16.1.28 |  |  |  | Bill №: 12 - LIFT
16.1.29 |  |  |  | Bill №: 13 - FURNITURES
16.1.30 |  |  |  | Bill №: 14 - INSULATION, FIRE STOPPING & FIRE PROTECTION
16.1.31 |  |  |  | Bill №: 15 - MISCELLANEOUS
16.1.32 |  |  |  | Bill №: 16 - ADDITIONS AND OMISSIONS
|  |  |  | TOTAL OF BILL №: 16 - Carried Over To Summary |  |  |  | 0