## Cover
Bill Of Quantities (BOQ)
BOQ for:
SUPPLY & INSTALLATION OF MEDICAL AND NON-MEDICAL MACHINERIES, EQUIPMENTS AND FURNITUES For Koveli Building New Operation Theaters at 5th Floor , Hulhumale Hospital , Maldives.
Project Title:
New Operation Theaters Hulhumale Hospital

## Summary
BOQ Summary - Estimated Cost
| Project:- SUPPLY & INSTALLATION OF MEDICAL AND NON-MEDICAL MACHINERIES, EQUIPMENTS AND FURNITUES For Koveli Building New Operation Theaters at 5th Floor , Hulhumale Hospital , Maldives. |  | 2022-01-03
Bill Item No | Description | Total Amount ( MVR )
1 | Theater Equipments & Machines | 0
2 | Furnitures & Common Equipments | 0
3 | Additional Works | 0
4 | Omission Works | 0
| Total Amount ( MVR ) | 0
| Contingency - 10 % | 0
| Total Incl. Contingency | 0
| GST - 6% | 0
| Grand Total ( MVR ) | 0

## EQUIPMENT
Item | Description | Unit | Quantity | Rate (MVR) | Amount (MVR)
Bill No: 2
Theater Equipment's & Machines
2 | General
(a) The Bidder is requested to refer Drawings, Specifications and other relevant documents.
(b) All items shall be supply and complete installation/fixing placing completely.
(c) All the works are according to the manufacture's technical specification & requested by the employer/engineer.
(d) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed.
(e) The rates shall cover all the works completely according to the bid details unless otherwise measured separately.
2.1 | Theater Equipment & Machine
Supply & placing operation theater equipment & machines as shown in the drawings , schedules , manufacture's specification completely.
1 | Surgeon Control Panel ( Item Code : T6-89-106 ) | nos | 4
2 | X-Ray Viewer ( Item Code : T6-89-107 ) | nos | 6
3 | Double Door Sterilizer Machine ( Item Code : T6-89-401 ) | nos | 1
4 | Infant Warmer ( Item Code : T6-89-402 ) | nos | 2
5 | Portable Incubator ( Item Code : T6-89-403 ) | nos | 1
6 | Anesthesia Pendant ( Item Code : T6-89-404 ) | nos | 4
7 | Anesthesia Unit ( Item Code : T6-89-406 ) | nos | 4
8 | Pneumatic Tourniquet System ( Item Code : T6-89-409 ) | nos | 2
9 | Laparoscope System ( Item Code : T6-89-410 ) | nos | 1
10 | Portable Scan Machine ( Item Code : T6-89-414 ) | nos | 1
11 | Suction Machine ( Item Code : T6-89-415 ) | nos | 5
12 | Patient Monitor ( Item Code : T6-89-102 ) | nos | 4
13 | Syringe Pump ( Item Code : T6-68-501 ) | nos | 4
14 | Infusion Pump ( Item Code : T6-68-502 ) | nos | 4
15 | Water Distiller ( Item Code : T6-86-701 ) | nos | 3
16 | Surgical Light Double Dome ( Item Code : T6-88-301 ) | nos | 4
17 | Crib/Baby Cradle ( Item Code : T6-21-801 ) | nos | 1
18 | Bed ( Item Code : T6-21-901 ) | nos | 7
19 | OT Table for OTHO ( Item Code : T6-21-903 ) | nos | 1
20 | OT Table for ENT ( Item Code : T6-21-903 ) | nos | 1
21 | OT Table ( Item Code : T6-21-903 ) | nos | 1
22 | Wheel Chair ( Item Code : T6-22-102 ) | nos | 2
23 | Foot Step ( Item Code : T6-23-202 ) | nos | 5
24 | Trolley ( Item Code : T6-68-401) | nos | 6
25 | Trolley ( Item Code : T6-68-402 ) | nos | 1
26 | Trolley ( Item Code : T6-68-403 ) | nos | 5
27 | Trolley ( Item Code : T6-68-404 ) | nos | 6
28 | Trolley ( Item Code : T6-68-405 ) | nos | 3
29 | Trolley ( Item Code : T6-68-406 ) | nos | 1
30 | Trolley ( Item Code : T6-68-407 ) | nos | 2
31 | Trolley ( Item Code : T6-68-409 ) | nos | 1
32 | Trolley ( Item Code : T6-68-410 ) | nos | 1
33 | Peripheral Modular LED Ceiling Light ( Item Code : T6-88-303 ) | nos | 4
34 | X-Ray View Box ( Item Code : T6-89-103 ) | nos | 2
35 | Computer System ( Item Code : T6-89-104 ) | nos | 1
36 | Monitor ( Item Code : T6-89-105 ) | nos | 1
37 | Surgical Pendant ( Item Code : T6-89-405 ) | nos | 4
38 | Cautery Machine ( Item Code : T6-89-407 ) | nos | 1
39 | Arthroscopy System ( Item Code : T6-89-408 ) | nos | 1
40 | Cautery Machine ( Item Code : T6-89-411 ) | nos | 2
41 | Customize Bed Head Unit ( Item Code : T6-89-416 ) | nos | 6
42 | AGSS Gas Outlet ( Item Code : T6-89-417 ) | nos | 4
43 | Surgical Air Gas Outlet ( Item Code : T6-89-418 ) | nos | 4
44 | Medical Air Gas Outlet ( Item Code : T6-89-419 ) | nos | 4
45 | N₂O Gas Outlet ( Item Code : T6-89-420 ) | nos | 4
46 | Vacuum Gas Outlet ( Item Code : T6-89-421 ) | nos | 8
47 | Bedpan washer (Item Code : T6-21-602) | nos | 1
48 | Defibrillator | nos | 5
49 | ECG Machine | nos | 1
50 | Electrosurgical Unit (Monopolar-bipolar) | nos | 4
51 | Fetal heart rate monitor (Doppler) | nos | 1
52 | Fluids warming unit | nos | 2
53 | Automatic Pressure infuser | nos | 2
54 | Pressure infuser bag | nos | 1
55 | Video laryngoscope | nos | 1
56 | Fiberoptic bronchoscope | nos | 1
57 | Vein detector | nos | 1
58 | Surgical clipper | nos | 2
59 | Medical graded high-quality spotlight | nos | 1
60 | Portable patient warming unit with cart and all accessories | nos | 5
61 | Scale for newborn children | nos | 1
62 | UV light | nos | 6
63 | Opertaing ENT microscope with 250mm & 400MM lenses with video attachment | nos | 1
64 | HEAD LIGHT FIBREOPTIC - COAXIAL | nos | 1
65 | Video camera single chip with UNIVERSAL ADAPTOR | nos | 1
66 | Video Camera 3 chip | nos | 1
67 | Coablator with bands | nos | 1
68 | Micro motor | nos | 1
69 | Suspension laryngoscope | nos | 1
70 | Medical fogger machines with minimum 5 liters capacity | nos | 2
71 | Nerve stimulator | nos | 1
72 | Automatic Instruments washer | nos | 1
73 | Burr machine | nos | 2
74 | Portable ventilator | nos | 1
75 | Blood warmer | nos | 2
76 | Suction with Irrigation system | nos | 1
77 | ABG machine | nos | 1
78 | Bubble C PAP | nos | 1
79 | wall suction unit with pressure regulator for central suctioning in bed heads | nos | 6
80 | Digital adult weighing machine | nos | 2
81 | patient shifting roller board | nos | 4
82 | portable IV stands | nos | 12
83 | Small SS mayo trolley | nos | 10
84 | SS dressing trolley | nos | 1
85 | Adult laryngoscope with all size blades | nos | 5
86 | Paediatric laryngoscope with all size blades | nos | 2
87 | Dressing drums small size (sterilizable) | nos | 10
88 | Thermoscan | nos | 6
89 | Digital thermometer | nos | 2
90 | Adult Stethoscope | nos | 6
91 | Paediatric stethoscopes | nos | 3
92 | Neonatal stethoscopes | nos | 3
93 | BP apparatus | nos | 4
94 | Glucometers | nos | 6
95 | Diagnostic kit. | nos | 1
96 | SS trolleys (2 tiers) for keeping surgical sets/kits | nos | 8
97 | SS mayo trolleys medium | nos | 8
98 | SS mayo trolleys small | nos | 8
99 | SS mayo trolleys large | nos | 8
100 | SS curved instrument trolley | nos | 4
101 | SS cidex chamber medium size | nos | 10
102 | Bougie for adult | nos | 4
103 | Paediatric bougie | nos | 2
104 | Adult size stylet | nos | 5
105 | Paediatric size stylet | nos | 2
106 | SS kick basins with wheels | nos | 10
107 | Cardiac table height adjustable | nos | 4
108 | Double side Linen hamper with lid | nos | 4
109 | Bed lockers (plastic) | nos | 6
110 | Foot stool (SS) | nos | 8
111 | Foot board (wooden) | nos | 4
112 | Rotating stools (surgeon | nos | 10
113 | Narcotic cupboard (large) | nos | 1
114 | Lead apron stand with multiple arms (at least 10- 12 arms) | nos | 1
115 | Lead aprons (large size) | nos | 10
116 | Adult ambu bag | nos | 6
117 | Paediatric ambu bag | nos | 2
118 | Neonatal ambu bag | nos | 1
119 | MVA kit | nos | 2
120 | Thyroid collar | nos | 10
121 | Pulse oximeter | nos | 1
122 | Pulse oximeter | nos | 15
123 | Sterile container system (medium)/ instruments sterilization container | nos | 15
124 | Sterile container system (small) /instruments sterilization container | nos | 10
125 | Arthroscopic shaver system | nos | 1

## FURNITURE
Item | Description | Unit | Quantity | Rate (MVR) | Amount (MVR)
Bill No: 1
Furnitures & Common Equipments
1 | General
(a) The Bidder is requested to refer Drawings, Specifications and other relevant documents.
(b) All items shall be supply and complete installation/fixing placing completely.
(c) All the works are according to the manufacture's technical specification & requested by the employer/engineer.
(d) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed.
(e) The rates shall cover all the works completely according to the bid details unless otherwise measured separately.
1.1 | Furnitures & Common Equipments
Supply & placing furniture works as shown in the drawings , schedules , manufacture's specification completely.
1 | 8 Pax Dining Set With Table ( Item Code : T6-15-401 ) | nr | 1
2 | Chair ( Item Code : T6-22-101 ) | nr | 2
3 | Office Chair ( Item Code : T6-32-101 ) | nr | 8
4 | Swivel Chair ( Item Code : T6-32-301 ) | nr | 1
5 | Swivel Chair ( Item Code : T6-32-302 ) | nr | 3
6 | Storage Cabinet ( Item Code : T6-35-104 ) | nr | 2
7 | Storage Cabinet ( Item Code : T6-35-105 ) | nr | 2
8 | Storage Cabinet ( Item Code : T6-35-106 ) | nr | 1
9 | Storage Cabinet ( Item Code : T6-35-107 ) | nr | 5
10 | Storage Cabinet ( Item Code : T6-35-108 ) | nr | 1
11 | Storage Cabinet ( Item Code : T6-35-109 ) | nr | 3
12 | Storage Cabinet ( Item Code : T6-35-110 ) | nr | 1
13 | Storage Cabinet ( Item Code : T6-35-111 ) | nr | 1
14 | Storage Cabinet ( Item Code : T6-35-112 ) | nr | 1
15 | Storage Cabinet ( Item Code : T6-35-113 ) | nr | 3
16 | Storage Cabinet ( Item Code : T6-35-114 ) | nr | 1
17 | Storage Cabinet ( Item Code : T6-35-115 ) | nr | 1
18 | Open Shelving ( Item Code : T6-35-402 ) | nr | 6
19 | Open Shelving ( Item Code : T6-35-403 ) | nr | 1
20 | Locker ( Item Code : T6-35-601 ) | nr | 25
21 | Locker ( Item Code : T6-35-602 ) | nr | 30
22 | Filling Drawer ( Item Code : T6-35-501 ) | nr | 1
23 | Dish Drying Rack ( Item Code : T6-53-301 ) | nr | 1
24 | Refrigerator ( Item Code : T6-53-401 ) | nr | 1
25 | Refrigerator ( Item Code : T6-53-402 ) | nr | 1
26 | Water Purifier ( Item Code : T6-53-501 ) | nr | 1
27 | Storage Cabinet With Zink ( Item Code : T6-54-201 ) | nr | 1
28 | Storage Cabinet With Zink ( Item Code : T6-54-202 ) | nr | 1
29 | Storage Cabinet With Zink ( Item Code : T6-54-203 ) | nr | 1
30 | Kitchen Cabinet ( Item Code : T6-55-101 ) | nr | 1
31 | Curtain Rod ( Item Code : T6-66-101 ) | m | 25
32 | Roller Blinds ( Item Code : T6-66-801 ) | nr | 1
33 | Cubicle Curtains ( Item Code : T6-66-901 ) | m | 25
34 | Storage Container ( Item Code : T6-68-101 ) | nr | 1
35 | Linen Hamper ( Item Code : T6-68-201 ) | nr | 3
36 | Linen Hamper ( Item Code : T6-68-202 ) | nr | 1
37 | Ladder ( Item Code : T6-68-301 ) | nr | 2
38 | Trolley ( Item Code : T6-68-401 ) | nr | 3
Total Of Bill No: 1 - Carried over to summary