## boq
BILL OF QUANTITIES
Item | Description | Qty | Unit | Rate | Amount
BILL No: 01
PRELIMINARIES
1.1 | SITE MANAGEMENT COSTS
1 | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings and similar. | 1 | item
1.2 | SITE SAFETY / SECURITIES
1 | Allow lump sum for health and safety measures for labor and contractor's staff | 1 | item
1.3 | CLEANING UPON COMPLETION
1 | Cleaning the site upon completion of all works | 1 | item
| BILL No: 01 - PRELIMINARIES |  |  |  | 0
TOTAL OF BILL No: 01 - Carried over to summary
BILL No: 02
EARTH WORKS
2.1 | SITE CLEARING
1 | Demolition ,leveling and cleang, waste materials away from the site. | 1 | item
2.2 | EXCAVATION
Note: Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork/shuttering and dewatering the trenches for the required days.
1 | Excavation for the poles and columns | 1 | item
2.3 | DAMP PROOFING
Note: Rates shall include for: dressing around and sealing to avoid all penetrations
1 | Damp proof membrane under foundation | 1 | item
2.4 | WATER PROOFING
Apply 2 coats of Bituminous paint or similar on all concrete surfaces below ground level in accordance with manufacturer's instructions
1 | Concrete base | 1 | item
2.5 | EARTH FILLING
Rates shall include for levelling, grading, trimming and compacting.
1 | Back filling | 1 | item
2.6 | LEVELLING WORKS OF BASHI COURT
| Levelling and compacting of bashi court | 1 | item
2.7 | CLEANING UPON COMPLETION
1 | Cleaning the site upon completion of all works | 1 | item
| BILL No: 02 - EARTH WORKS |  |  |  | 0
TOTAL OF BILL No: 02 - Carried over to summary
BILL No: 03
CONCRETE
(a) Rates shall include for: provision to place in position; casting of all required items and finishing after removal of formwork and additional concrete required to conform to structural and excavated tolerances
(b) Rates shall include supply of all formwork item including form oil, timber, plywood, nails etc.
(c) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:3:6 by volume
3.1 | LEAN CONCRETE |  | 0
| Note: Quantity is measured to the edges of concrete members. Rates shall be inclusive of any additional concrete required to place the formwork. |  | 0
1 | 50mm thick lean concrete to bottom of concrete base | 1 | item
3.2 | REINFORCED CONCRETE |  | 0
| In-situ reinforced concrete to: |  | 0
3.2.1 | Foundation level |  | 0
Concrete base for fencing support
1 | Conrete 150mm/450mm columns (total 13) | 1 | item
3.3 | FORMWORK
(a) Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes and removal of formwork.
| BILL No: 03 - CONCRETE |  |  |  | 0
TOTAL OF BILL No: 03 - Carried over to summary
BILL No: 04
METAL WORKS
| Note: (a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts including those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws. |  | 0
| (b) Rates shall include for all painting and finishing. |  | 0
(c) Rates shall include for fabrication and erection of temporary supports and fixing into position
4.1 | NET AND TAPE
Allow for a net and 3" white wooden tape to mark the boundary.
1 | Net | 1 | pcs
2 | Tape | 1 | item
4.2 | PAINTING
| Nippon or equivalent emulsion paint finish on all GI Pipes including fencing structure and net posts. | 1 | item
4.3 | FENCING WORKS
Rates shall include for: fair edges, dressing over pipes, turning into grooves, all other labours, circular edges, nails, screws, welding, binding and other fixings and laps. Wires used for binding should be approved by consultant. All edges must be clearly fixed and no loose ends should be allowed.
1 | 38mm GI Pipe | 19 | Nos
2 | 50mm GI Pipe | 7 | Nos
3 | 8Guage fencing net | 3 | Nos
4.4 | Net Post
3feet height bashi net post (50mm Gi Pipe)
| bashi post | 1 | item
| BILL No: 04 - METAL WORKS |  |  |  | 0
TOTAL OF BILL No: 04 - Carried over to summary
BILL No: 05
ELECTRICAL & SPECIFIC INSTALLATIONS
| (a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories |  | 0
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates for electrical conduits, fittings, warning tape equipment and similar items shall include for: all fixings to various building surfaces
(d) Light end and switch end of wiring together measured as one point
(e) A point wiring for power points is measured as one point for each socket outlet; other end of wire is not included in the quantity.
(f) Rates shall include for supply and complete installation
(g) Three phase power supply.
5.1 | ELECTRICAL BOARDS
Complete installation, including for all connections, earthing, painting, testing and similar of:
Three phase main panel board with connections from the mains including meter, cut-off fuse and other accessories to be located in the panel room at ground floor to electrical engineers specification
1 | Main distribution board | 1 | nos | 11000 | 11000
2 | Electricity meters | 1 | nos | 10000 | 10000
5.3 | ELECTRICAL WIRING |  | 0
| Electrical wiring with copper conductor cable in conduits in walls and concrete as per government regulations including necessary D-boards at each level. |  | 0
1 | Wiring to Lighting | 16 | points | 1000 | 16000
2 | Wiring to D/B | 1 | item | 10000 | 10000
3 | Connected to main with 16sqm cable | 1 | item | 19000 | 19000
5.4 | CABLE LAYING
Supply and laying of 10 sqmm cable with GI 4.5mm thick condute and avarage depth is - 600mm to 650mm as described
1 | 10sqmm 4 core cabe with hard condute on all light post to main distribution boad | 1 | item | 19000 | 19000
5.5 | LIGHTING, POWER POINTS & FANS |  | 0
All lights shall be of 'Cree' or equivalent brand or equivalent,led tube light shall be pure white all switches, sockets etc. shall be 'Legrand' brand or equivalent
1 | Led flood light (400watts) | 16 | nos | 13000 | 208000
2 | Switch( manual control) | 16 | nos | 900 | 14400
BILL No: 05 - ELECTRICAL& SPECIFIC INSTALLATIONS
TOTAL OF BILL No: 05- Carried over to summary

## summary
SUMMARY
1 | PRELIMINARIES
2 | EARTH WORKS | 0
3 | CONCRETE | 0
4 | METAL WORKS
0
TOTAL
ADD GST 6%
TOTAL COST IN MRF
DURATION IN DAYS

## Cover
BILL OF QUANTITIES
PROJECT TITILE
CONSTRUCTION OF BASHI COURT
TYPICAL BOQ
CLIENT
MINISTRY OF YOUTH AND SPORTS
DATE
2015-06-05