## Doors (hidden)
| 0 | 12787.5 | 5321.25 | 4730 | 10725 | 0 | 5321.25 | 0 | 40755 | 0 | 0 | 0 | 0 | 0 | 0
DOORS |  | D1 | D2 | D3 | D4 | D5 | D6 | D7 | SD1 | SD2 | SD3 |  | D11 | D12 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m2
|  | 4.65 | 1.935 | 1.72 | 3.9 | 0 | 1.935 | 0 | 14.82
G.FLOORS |  | D1: 1; D2: 6; D3: -10; D4: 1; D6: 2 | [12 empty] | 6.83
1ST FLOOR |  | D2: 8; D3: -4; D4: 1 | [12 empty] | 12.5
2nd FLOOR |  | D2: 13; D3: 7; D4: 1; SD1: 1 | [12 empty] | 55.915
3rd FLOOR | [23 empty] | 0
4th FLOOR | [23 empty] | 0
5th FLOOR | [23 empty] | 0
6th FLOOR | [23 empty] | 0
7th FLOOR | [23 empty] | 0
8th FLOOR | [23 empty] | 0
9th FLOOR | [23 empty] | 0
10th FLOOR | [23 empty] | 0
| 0 | 1 | 27 | -7 | 3 | 0 | 2 | 0 | 1 | 0 | 0 |  | 0 | 0 | 0
| 0 | 5962.5 | 5962.5 | 16430 | 16430 | 0 | 5247 | 47236.25 | 80825 | 4273.125 | 1550.25 | 954 | 2146.5 | 0
WINDOWS | SW | W1 | W2 | W3 | W4 | W5 | W6 | W7 | W8 | W9 | V1 | V2 | V3 | [11 empty] | Total Door Opening
|  | 2.25 | 2.25 | 6.2 | 6.2 | 0 | 1.98 | 17.825 | 30.5 | 1.6125 | 0.585 | 0.36 | 0.81
G.FLOORS |  | 10 | 8 | 1 | 1 | 1 | 3 |  |  | 1 | 5 | 2 | [11 empty] | 63.3775 | 70.2075
1ST FLOOR |  | W1: 8; W2: 8; W7: 1; W8: 1; V1: 4 | [10 empty] | 86.665 | 99.165
2nd FLOOR |  | W1: 10; W2: 8; W9: 2; V3: 8 | [10 empty] | 50.205 | 106.12 | 0
3rd FLOOR | [23 empty] | 0 | 0
4th FLOOR | [23 empty] | 0 | 0
5th FLOOR | [23 empty] | 0 | 0
6th FLOOR | [23 empty] | 0 | 0
7th FLOOR | [23 empty] | 0 | 0
8th FLOOR | [23 empty] | 0 | 0
9th FLOOR | [23 empty] | 0 | 0
10th FLOOR | [23 empty] | 0 | 0
| 0 | 28 | 24 | 1 | 1 | 1 | 3 | 1 | 1 | 3 | 9 | 2 | 8 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0
|  |  | G | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | Terrace |  |  | G | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | Terrace
| Dw1 | 12787.5 | 1 | [8 empty] | 1 | 12787.5 | 12787.5
| Dw2 | 5321.25 | 6 | 1st: 8; 2nd: 13 |  | 27 | 143673.75 | 31927.5 | 42570 | 69176.25 | 0 | 0 | 0 | 0 | 0 | 0
| D3 | 4730 | -10 | 1st: -4; 2nd: -4; 3rd: -4; 4th: 0 |  | -22 | -104060 | -47300 | -18920 | -18920 | -18920 | 0 | 0 | 0 | 0
| D4 | 10725 | 1 | 1st: 1; 2nd: 1; 3rd: 0 |  | 3 | 32175 | 10725 | 10725 | 10725 | 0 | 0 | 0 | 0 | 0
| D5 | 0 | 0 | 1st: 0; 2nd: 0; 3rd: 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| D6 | 5321.25 |  | 1st: 0; 2nd: 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| D7 | 0 |  | 1st: 0; 2nd: 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SD3 | 0 |  | 1st: 0; 2nd: 0; 3rd: 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SW | 4273.125 | 1 | [8 empty] | 1 | 4273.125 | 4273.125 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SW1 | 1550.25 |  | 1st: 4; 2nd: 4; 3rd: 4 |  | 12 | 18603 | 0 | 6201 | 6201 | 6201 | 0 | 0 | 0 | 0
| W1 | 5962.5 | 10 | 2nd: 0; 3rd: 0 |  | 10 | 59625 | 59625 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| W2 | 5962.5 | 8 | 1st: 8; 2nd: 8; 3rd: 8 |  | 32 | 190800 | 47700 | 47700 | 47700 | 47700 | 0 | 0 | 0 | 0
| W3 | 16430 | 1 | 1st: 0; 2nd: 0; 3rd: 0 |  | 1 | 16430 | 16430 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| W3a | 16430 | 1 | 1st: 0; 2nd: 0; 3rd: 0 |  | 1 | 16430 | 16430 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| W4 | 0 |  | 1st: 0; 2nd: 0; 3rd: 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| W5 | 5247 |  | 1st: 0; 2nd: 0; 3rd: 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| W6 | 47236.25 | 0 | 1st: 1; 2nd: 1; 3rd: 1; 4th: 0 |  | 3 | 141708.75 | 0 | 47236.25 | 47236.25 | 47236.25 | 0 | 0 | 0 | 0
| W6a | 80825 | 0 | [8 empty] | 3 | 242475 | 0 | 80825 | 80825 | 80825 | 0 | 0 | 0 | 0 | bar: 1st to 3rd
[13 empty] | 774921.125 | 152598.125 | 216337.25 | 242943.5 | 163042.25 | 0 | 0 | 0 | 0 | 0
0
-774921.125

## SUmmary
CUSTOMS BUILDING.
Project: Proposed 03 Storey Customs Building
CUSTOMS, H.DH.KULHUDHUFFUSHI, MALDIVES.
SUMMARY OF BILLS OF QUANTITIES
BILL NO | DESCRIPTION | AMOUNT (MRF)
1 | PRELIMINARIES | 0
2 | GROUND WORKS | 0
3 | CONCRETE WORK | 0
4 | MASONRY AND PLASTERING | 0
5 | ROOFING WORKS | 0
6 | METAL WORKS | 0
7 | WOOD WORKS | 0
8 | CEILING WORKS | 0
9 | DOORS AND WINDOWS | 0
10 | FINISHES | 0
11 | HYDRAULICS AND DRAINAGE | 0
12 | PAINTING WORKS | 0
13 | ELECTRICAL INSTALLATIONS | 0
14 | ADDITIONS | 0
15 | OMISSIONS | 0
PROJECT VALUE TOTAL |  | 0 | 11235
GST 6% |  | 0 | 0
GRAND TOTAL |  | 0

## cal (hidden)
[5 empty] | Excavation | Lean | Concrete | Formwork | 25 | 20 | 16 | 12 | 10 | 6
FOUNDATION LEVEL
RAFT |  |  |  |  | 0 | [5 empty] | 0
0
F1 | 3.9 | 2.3 | 0.45 | 1 | 8.073 | 0.4485 | 4.0365 | 5.58 | 0 | 0 | 58.305 | 0 | 0 |  | 6.4
0
[5 empty] | 0 | 0.4485 | 4.0365 | 5.58 | 0 | 0 | 0.55203 | 0 | 0 |  | 0.005328
F2 | 1.6 | 1.6 | 0.3 | 3 | 6.912 | 0.384 | 2.304 | 5.76 | 0 | 0 | 0 | 0 | 23.04 | 0
0
[5 empty] | 0 | 0.384 | 2.304 | 5.76 | 0 | 0 | 0 | 0 | 0.087552
F3 | 2 | 2 | 0.4 | 8 | 28.8 | 1.6 | 12.8 | 25.6 | 0 | 0 | 0 | 96 | 0 | 0
0
[5 empty] | 0 | 1.6 | 12.8 | 25.6 | 0 | 0 | 0 | 0.51168 | 0
F4 | 2.2 | 2.2 | 0.45 | 4 | 17.424 | 0.968 | 8.712 | 15.84 | 0 | 0 | 0 | 58.08 | 0 |  | 6.4
0
[5 empty] | 0 | 0.968 | 8.712 | 15.84 | 0 | 0 | 0 | 0.30957 | 0 |  | 0.005328
F5 | 2.3 | 2.3 | 0.45 | 2 | 9.522 | 0.529 | 4.761 | 8.28 | 0 | 0 | 0 | 31.74 | 0 | 0
0
[5 empty] | 0 | 0.529 | 4.761 | 8.28 | 0 | 0 | 0 | 0.16917 | 0
F6 | 2.5 | 2.5 | 0.45 | 2 | 11.25 | 0.625 | 5.625 | 9 | 0 | 0 | 81.25 | 0 | 0 | 0
0
[5 empty] | 0 | 0.625 | 5.625 | 9 | 0 | 0 | 0.76928 | 0 | 0
F7 | 2.85 | 2.85 | 0.45 | 1 | 7.3103 | 0.40613 | 3.6551 | 5.13 | 0 | 0 | 52.7963 | 0 | 0 |  | 6.4
0
[5 empty] | 0 | 0.40613 | 3.6551 | 5.13 | 0 | 0 | 0.49987 | 0 | 0 |  | 0.005328
F8 | 3.9 | 0.24 | 0.45 | 1 | 0.8424 | 0.0468 | 0.4212 | 3.726 | 0 | 0 | 6.084 | 0 | 0 | 0
0
[5 empty] | 0 | 0.0468 | 0.4212 | 3.726 | 0 | 0 | 0.057603 | 0 | 0
F9 | 3.9 | 2 | 0.45 | 1 | 7.02 | 0.39 | 3.51 | 5.31 | 0 | 0 | 50.7 | 0 | 0 | 0
0
[5 empty] | 0 | 0.39 | 3.51 | 5.31 | 0 | 0 | 0.48003 | 0 | 0
TB | 203.206 | 0.25 | 0.35 | 1 | 25.4007 | 1.524 | 17.7805 | 142.2442 | 0 | 0 | 0 | 169.3383 | 0 | 270.9413
[9 empty] | 0 | 0 | 0 | 0.90257 | 0 | 0.36089
[5 empty] | 122.5544 | 5.3974 | 45.8248 | 84.226 | 0 | 0 | 2.3588 | 0.99042 | 0.087552 | 0
Security Post
Security Post | 12.44 | 0.25 | 0.35 | 1 | 1.555 | 0.0933 | 1.0885 | 8.708 | 0 | 0 | 0 | 10.3667 | 0 | 16.5867
[9 empty] | 0 | 0 | 0 | 0.055254 | 0 | 0.022093
C5 | 4 | 0.2 | 0.2 | 3.2 |  |  | 0.512 | 7.68 | 0 | 0 | 0 | 16 |  | 14.2222
| 0 |  |  | 0 |  |  |  |  | 0 | 0 | 0 | 0.08528 |  | 0.018944
B1 | 12.44 | 0.2 | 0.35 | 3.2 |  |  | 2.7866 | 8.708 | 0 | 0 | 0 | 0.055254 |  | 0.020252 | 1.04
Boundary Wall
Boundary Wall | 158.959 | 0.2 | 0.2 | 1 | 15.8959 | 0.95375 | 6.3584 | 63.5836 | 0 | 0 | 0 | 132.4658 | 0 | 211.9453
[9 empty] | 0 | 0 | 0 | 0.70604 | 0 | 0.28231
C5 | 52.9863 | 0.15 | 0.15 | 2.3 |  |  | 2.742 | 54.8409 | 0 | 0 | 0 | 211.9453 |  | 135.4095
| 0 |  |  | 0 |  |  |  |  | 0 | 0 | 0 | 1.1297 |  | 0.18037
Boundary Wall | 158.959 | 2.1 | 333.8139 |  | 333.8139 | 667.6278 | 0 | 8.6905 |  |  | 0 | 0
RCC WALL FOR BASE MENT |  |  |  |  | steel | f.work
Stair Starter Beam | 1.95 | 0.15 | 0.3 | 1 | 0 | 0 | 0.08775 | 1.435 |  |  |  | 3.51 | 1.17
[7 empty] | 0 | 0 |  |  |  | 18.7013 | 4.4203
[7 empty] | 0.08775 | 1.435 |  |  |  | 0.018701 | 0.0044203
0
Lift well |  |  |  | 1.35 |  |  | 0 | 0 |  |  |  | 0 | 0
| 6.116 | 0.15 | 1 | 1.35 |  |  | 1.2385 | 16.5132 |  |  |  | 0.13202 | 0.10197
[7 empty] | 1.2385 | 16.5132 | 0 | 0 | 0 | 0.13202 | 0.10197
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
| GROUND FLOOR |  |  | 4.55 | [6 empty] | 0 |  |  | 0
C1 | 1 | 0.2 | 0.35 | 3.25 |  |  | 0.2275 | 2.925 | 0 | 0 | 6 | 0 |  | 3.9722 | 2.041
[9 empty] | 0 | 0 | 0.056808 | 0 |  | 0.005291
C2 | 3 | 0.2 | 0.2 | 3.25 |  |  | 0.39 | 5.85 | 0 | 0 | 0 | 12 |  | 10.8333
| 0 | [7 empty] | 0 | 0 | 0 | 0.06396 |  | 0.01443
C3 | 1 | 0.2 | 0.4 | 3.25 |  |  | 0.26 | 3.25 | 0 | 0 | 8 |  |  | 7.2222
[9 empty] | 0 | 0 | 0.075744 | 0 |  | 0.00962
C4 | 2 | 0.3 | 0.5 | 3.25 |  |  | 0.975 | 8.45 |  | 20 | 0 |  |  | 14.4444
[10 empty] | 0.296 | 0 |  |  | 0.01924
C5 | 1 | 0.2 | 0.4 | 3.25 |  |  | 0.26 | 3.25 |  | 8 |  |  |  | 7.2222
[10 empty] | 0.1184 |  |  |  | 0.00962
C6 | 1 | 0.225 | 0.45 | 3.25 |  |  | 0.32906 | 3.6563 | 0 | 8 |  |  |  | 5.7778
[9 empty] | 0 | 0.1184 |  |  |  | 0.007696
c7 | 2 | 0.2 | 0.45 | 3.25 |  |  | 0.585 | 7.15 |  | 16 | 0 |  |  | 12.6389
[10 empty] | 0.2368 | 0 |  |  | 0.016835
c8 | 1 | 0.3 | 0.475 | 3.25 |  |  | 0.46313 | 4.0625 | 0 | 10 |  |  |  | 7.2222
[9 empty] | 0 | 0.148 |  |  |  | 0.00962
C9 | 1 | 0.25 | 0.475 | 3.25 |  |  | 0.38594 | 3.9 | 0 | 8 |  |  |  | 9.0278
[9 empty] | 0 | 0.1184 |  |  |  | 0.012025
C10 | 1 | 0.3 | 0.475 | 3.25 |  |  | 0.46313 | 4.0625 |  | 8 | 0 |  |  | 7.9444
[10 empty] | 0.1184 | 0 |  |  | 0.010582
C11 | 3 | 0.2 | 0.45 | 3.25 |  |  | 0.8775 | 10.725 |  | 0 | 18 |  |  | 18.9583
[10 empty] | 0 | 0.17042 |  |  | 0.025253
C12 | 1 | 0.2 | 0.45 | 3.25 |  |  | 0.2925 | 3.575 |  | 0 | 8 |  |  | 6.3194
[10 empty] | 0 | 0.075744 |  |  | 0.0084175
C13 | 7 | 0.2 | 0.4 | 3.25 |  |  | 1.82 | 22.75 |  | 0 | 42 |  |  | 44.2361
[10 empty] | 0 | 0.39766 |  |  | 0.058923
C14 | 1 | 0.2 | 0.4 | 3.25 |  |  | 0.26 | 3.25 | 0 | 0 | 0 | 6 |  | 3.6111
[9 empty] | 0 | 0 | 0 | 0.03198 |  | 0.00481
[7 empty] | 2.4416 | 27.3813 | 0 | 1.1544 | 0.77638 | 0.09594 | 0 | 0.21236
STAIR CASE | 17 | 0.25 | 0.176 | 0.85 | 0.5 |  | 0.3179 | 2.5432 |  |  |  |  | 47.25
| 5.25 | 0.85 | 0.15 | 1 | 1 |  | 0.66938 | 6.1725 |  |  | 6.5 |  | 178.5105
| 1.5 | 0.15 | 1.2 | 1 | 1 |  | 0.27 | 1.8 |  |  |  |  | 0.22314 |  |  | 0.003778
[7 empty] | 1.2573 | 10.5157 | [7 empty] | 0.003778
RCC WALL | 1.5 | 0.15 | 2.55 | 2 |  |  | 1.1475 | 15.3 |  |  |  | 0 | 0.094477
[7 empty] | 0 | 0 |  |  |  | 0 | 0
Lift well | 5.2 | 0.15 | 1 | 2.87 |  |  | 2.2386 | 29.848 |  |  |  | 0.23863 | 0.18431
[7 empty] | 2.2386 | 29.848 | 0 | 0 | 0 | 0.23863 | 0.18431
[7 empty] | Concrete | Formwork | 25 | 20 | 16 | 12 | 10 | 6
B1 | 2.2 | 0.2 | 0.2 |  | 0.75 |  | 0.088 | 1.65 | 0 | 0 | 0 | 0.017589 |  | 0.0035816 | 1.04
B2 | 31.106 | 0.2 | 0.25 |  | 0.85 |  | 1.5553 | 26.4401 | 0 | 0 | 0 | 0.24869 |  | 0.055244
B3 | 28.619 | 0.2 | 0.27 |  | 0.89 |  | 1.5454 | 25.4709 | 0 | 0 | 0.40645 | 0 |  | 0.058647
B4 | 18.574 | 0.2 | 0.27 |  | 0.89 |  | 1.003 | 16.5309 | 0 | 0 | 0.26379 | 0 |  | 0.076125
B5 | 73.399 | 0.2 | 0.3 |  | 0.95 |  | 4.4039 | 69.7291 | 0 | 0 | 1.0424 | 0 |  | 0.34006
B6 | 10.05 | 0.2 | 0.35 |  | 1.05 |  | 0.7035 | 10.5525 | 0 | 0 | 0.14273 | 0 |  | 0.078089
B7 | 9.769 | 0.2 | 0.2 |  | 0.9 |  | 0.39076 | 8.7921 | 0 | 0 | 0.13874 | 0 |  | 0.075905
CB1 | 0 | 0.2 | 0.2 |  | 0.75 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
[7 empty] | 9.6899 | 159.1655 | 0 | 0 | 1.9941 | 0.26628 |  | 0.68765
| 173.717 |  |  | 0 |  |  |  | 0
0
Slab | [10 empty] | 2.9922
18.788 | 431.7295 | 206.6493 | 0.15 | 30.9974 |  |  | 30.9974 | 327.7414 | For steel |  |  |  | 6.4475
22.979 | OPEN | 109.385 | 0.165 | 18.0485 |  |  | 18.0485 |  | 316.0343
| 61.7011 | 11.7071 | 0.15 | 1.7561 |  |  | 1.7561
| 36.287 | [5 empty] | 0 | 0
| 0 | [5 empty] | 0 | 0
6
OPEN AREA | 103.9881 | [5 empty] | 0 | 0
[7 empty] | 50.802 | 327.7414 |  |  |  |  | 6.4475
RCC WALL | 1.5 | 0.15 | 2.55 | 2 |  |  | 1.1475 | 7.65 |  |  |  | 0 | 0.047239
FIRST FLOOR
C1 | 1 | 0.2 | 0.35 | 3.1 |  |  | 0.217 | 2.79 | 0 | 0 | 3.75 | 0 |  | 3.7889 | 2.041
[9 empty] | 0 | 0 | 0.035505 | 0 |  | 0.0050468
C2 | 3 | 0.2 | 0.2 | 3.1 |  |  | 0.372 | 5.58 | 0 | 0 | 0 | 7.5 |  | 10.3333
| 0 | [7 empty] | 0 | 0 | 0 | 0.039975 |  | 0.013764
C3 | 1 | 0.2 | 0.4 | 3.1 |  |  | 0.248 | 3.1 | 0 | 0 | 5 |  |  | 6.8889
[9 empty] | 0 | 0 | 0.04734 | 0 |  | 0.009176
C4 | 2 | 0.3 | 0.5 | 3.1 |  |  | 0.93 | 8.06 |  | 13 | 0 |  |  | 13.7778
[10 empty] | 0.1924 | 0 |  |  | 0.018352
C5 | 1 | 0.2 | 0.4 | 3.1 |  |  | 0.248 | 3.1 |  | 5.2 |  |  |  | 6.8889
[10 empty] | 0.07696 |  |  |  | 0.009176
C6 | 1 | 0.225 | 0.45 | 3.1 |  |  | 0.31388 | 3.4875 | 0 | 5.2 |  |  |  | 5.5111
[9 empty] | 0 | 0.07696 |  |  |  | 0.0073408
c7 | 2 | 0.2 | 0.45 | 3.1 |  |  | 0.558 | 6.82 |  | 10.4 | 0 |  |  | 12.0556
[10 empty] | 0.15392 | 0 |  |  | 0.016058
c8 | 1 | 0.3 | 0.475 | 3.1 |  |  | 0.44175 | 3.875 | 0 | 6.5 |  |  |  | 6.8889
[9 empty] | 0 | 0.0962 |  |  |  | 0.009176
C9 | 1 | 0.25 | 0.475 | 3.1 |  |  | 0.36812 | 3.72 | 0 | 5.2 |  |  |  | 8.6111
[9 empty] | 0 | 0.07696 |  |  |  | 0.01147
C10 | 1 | 0.3 | 0.475 | 3.1 |  |  | 0.44175 | 3.875 |  | 5.2 | 0 |  |  | 7.5778
[10 empty] | 0.07696 | 0 |  |  | 0.010094
C11 | 3 | 0.2 | 0.45 | 3.1 |  |  | 0.837 | 10.23 |  | 0 | 11.25 |  |  | 18.0833
[10 empty] | 0 | 0.10652 |  |  | 0.024087
C12 | 1 | 0.2 | 0.45 | 3.1 |  |  | 0.279 | 3.41 |  | 0 | 5 |  |  | 6.0278
[10 empty] | 0 | 0.04734 |  |  | 0.008029
C13 | 7 | 0.2 | 0.4 | 3.1 |  |  | 1.736 | 21.7 |  | 0 | 26.25 |  |  | 42.1944
[10 empty] | 0 | 0.24854 |  |  | 0.056203
C14 | 1 | 0.2 | 0.4 | 3.1 |  |  | 0.248 | 3.1 | 0 | 0 | 0 | 3.75 |  | 3.4444
[9 empty] | 0 | 0 | 0 | 0.019987 |  | 0.004588
[7 empty] | 2.3289 | 26.1175 | 0 | 0.75036 | 0.48524 | 0.059962 | 0 | 0.20256
STAIR CASE | 17 | 0.25 | 0.176 | 0.85 | 0.5 |  | 0.3179 | 2.5432 |  |  |  |  | 47.25
| 5.25 | 0.85 | 0.15 | 1 | 1 |  | 0.66938 | 6.1725 |  |  | 6.5 |  | 178.5105
| 1.5 | 0.15 | 0.9 | 1 | 1 |  | 0.2025 | 1.35 |  |  |  |  | 0.17851 |  |  | 0.003778
[7 empty] | 1.1898 | 10.0657 | [7 empty] | 0.003778
Lift well | 19.3 | 0.15 | 1 | 3.25 |  |  | 9.4087 | 125.45 |  |  |  | 1.003 | 0.77465
[7 empty] | 9.4087 | 125.45 | 0 | 0 | 0 | 1.003 | 0.77465
| 4.62 | [5 empty] | Concrete | Formwork | 25 | 20 | 16 | 12 | 10 | 6
SECOND SLAB
B1 | 2.2 | 0.2 | 0.2 |  | 0.75 |  | 0.088 | 1.65 | 0 | 0 | 0 | 0.017589 |  | 0.0035816 | 1.04
B2 | 37.664 | 0.2 | 0.25 |  | 0.85 |  | 1.8832 | 32.0144 | 0 | 0 | 0 | 0.30112 |  | 0.066891
B3 | 28.619 | 0.2 | 0.27 |  | 0.89 |  | 1.5454 | 25.4709 | 0 | 0 | 0.40645 | 0 |  | 0.058647
B4 | 18.574 | 0.2 | 0.27 |  | 0.89 |  | 1.003 | 16.5309 | 0 | 0 | 0.26379 | 0 |  | 0.076125
B5 | 73.399 | 0.2 | 0.3 |  | 0.95 |  | 4.4039 | 69.7291 | 0 | 0 | 1.0424 | 0 |  | 0.34006
B6 | 10.05 | 0.2 | 0.35 |  | 1.05 |  | 0.7035 | 10.5525 | 0 | 0 | 0.14273 | 0 |  | 0.078089
B7 | 9.769 | 0.2 | 0.2 |  | 0.9 |  | 0.39076 | 8.7921 | 0 | 0 | 0.13874 | 0 |  | 0.075905
CB1 | 0 | 0.2 | 0.2 |  | 0.75 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
[7 empty] | 8.0466 | 131.0754 | 0 | 0 | 1.9941 | 0.31871 | 0 | 0.6993
| 180.275 |  |  | 36.055 |  |  |  | 0
[8 empty] | 0 |  |  | 1.0424
Slab | [10 empty] | 0.0098696
18.788 | 431.7295 | 323.4558 | 0.15 | 48.5184 |  |  | 48.5184 | 303.1408 | For steel |  |  |  | 6.5989
22.979 | OPEN | 0 | 0.165 | 0 |  |  | 0 |  | 323.4558
| 50.2467 | 15.74 | 0.15 | 2.361 |  |  | 2.361
| 36.287 | [5 empty] | 0 | 0
| 0 | [5 empty] | 0 | 0
6
OPEN AREA | 92.5337 | [5 empty] | 0 | 0
[7 empty] | 50.8794 | 303.1408 |  |  |  |  | 6.5989
RCC WALL | 1.5 | 0.15 | 2.55 | 2 |  |  | 1.1475 | 7.65 |  |  |  | 0 | 0.047239
Parapet wall |  | 19.5 | 1.2 | 0.1 |  |  | 2.34 | 46.8 |  |  |  |  | 0.44203
Lift well | 19.3 | 0.15 | 1 | 3.25 |  |  | 9.4087 | 125.45 |  |  |  | 1.003 | 0.77465
[7 empty] | 9.4087 | 125.45 | 0 | 0 | 0 | 1.003 | 0.77465
2nd -4th
C1 | 1 | 0.2 | 0.35 | 3.1 |  |  | 0.217 | 2.79 | 0 | 0 | 3.75 | 0 |  | 3.7889 | 2.041
[9 empty] | 0 | 0 | 0.035505 | 0 |  | 0.0050468
C2 | 3 | 0.2 | 0.2 | 3.1 |  |  | 0.372 | 5.58 | 0 | 0 | 0 | 7.5 |  | 10.3333
| 0 | [7 empty] | 0 | 0 | 0 | 0.039975 |  | 0.013764
C3 | 1 | 0.2 | 0.4 | 3.1 |  |  | 0.248 | 3.1 | 0 | 0 | 5 |  |  | 6.8889
[9 empty] | 0 | 0 | 0.04734 | 0 |  | 0.009176
C4 | 2 | 0.3 | 0.5 | 3.1 |  |  | 0.93 | 8.06 |  | 13 | 0 |  |  | 13.7778
[10 empty] | 0.1924 | 0 |  |  | 0.018352
C5 | 1 | 0.2 | 0.4 | 3.1 |  |  | 0.248 | 3.1 |  | 5.2 |  |  |  | 6.8889
[10 empty] | 0.07696 |  |  |  | 0.009176
C6 | 1 | 0.225 | 0.45 | 3.1 |  |  | 0.31388 | 3.4875 | 0 | 5.2 |  |  |  | 5.5111
[9 empty] | 0 | 0.07696 |  |  |  | 0.0073408
c7 | 2 | 0.2 | 0.45 | 3.1 |  |  | 0.558 | 6.82 |  | 10.4 | 0 |  |  | 12.0556
[10 empty] | 0.15392 | 0 |  |  | 0.016058
c8 | 1 | 0.3 | 0.475 | 3.1 |  |  | 0.44175 | 3.875 | 0 | 6.5 |  |  |  | 6.8889
[9 empty] | 0 | 0.0962 |  |  |  | 0.009176
C9 | 1 | 0.25 | 0.475 | 3.1 |  |  | 0.36812 | 3.72 | 0 | 5.2 |  |  |  | 8.6111
[9 empty] | 0 | 0.07696 |  |  |  | 0.01147
C10 | 1 | 0.3 | 0.475 | 3.1 |  |  | 0.44175 | 3.875 |  | 5.2 | 0 |  |  | 7.5778
[10 empty] | 0.07696 | 0 |  |  | 0.010094
C11 | 3 | 0.2 | 0.45 | 3.1 |  |  | 0.837 | 10.23 |  | 0 | 11.25 |  |  | 18.0833
[10 empty] | 0 | 0.10652 |  |  | 0.024087
C12 | 1 | 0.2 | 0.45 | 3.1 |  |  | 0.279 | 3.41 |  | 0 | 5 |  |  | 6.0278
[10 empty] | 0 | 0.04734 |  |  | 0.008029
C13 | 7 | 0.2 | 0.4 | 3.1 |  |  | 1.736 | 21.7 |  | 0 | 26.25 |  |  | 42.1944
[10 empty] | 0 | 0.24854 |  |  | 0.056203
C14 | 1 | 0.2 | 0.4 | 3.1 |  |  | 0.248 | 3.1 | 0 | 0 | 0 | 3.75 |  | 3.4444
[9 empty] | 0 | 0 | 0 | 0.019987 |  | 0.004588
[7 empty] | 2.3289 | 26.1175 | 0 | 0.75036 | 0.48524 | 0.059962 | 0 | 0.20256
0.2875
STAIR CASE | 17 | 0.25 | 0.176 | 0.85 | 0.5 |  | 0.3179 | 2.5432 |  |  |  |  | 47.25
| 5.25 | 0.85 | 0.15 | 1 | 1 |  | 0.66938 | 6.1725 |  |  | 6.5 |  | 178.5105
| 1.5 | 0.15 | 0.9 | 1 | 1 |  | 0.2025 | 1.35 |  |  |  |  | 0.21421 |  |  | 0.003778
[7 empty] | 1.1898 | 10.0657 | [7 empty] | 0.003778
RCC WALL | 1.5 | 0.15 | 2.55 | 2 |  |  | 1.1475 | 7.65 |  |  |  | 0 | 0.047239
Lift well | 16.9 | 0.15 | 1 | 3.25 |  |  | 8.2388 | 109.85 |  |  |  | 0.87825 | 0.67832
[7 empty] | 8.2388 | 109.85 | 0 | 0 | 0 | 0.87825 | 0.67832
| 4.62 | [5 empty] | Concrete | Formwork | 25 | 20 | 16 | 12 | 10 | 6
2ND-9TH SLAB
B1 | 2.2 | 0.2 | 0.2 |  | 0.75 |  | 0.088 | 1.65 | 0 | 0 | 0 | 0.017589 |  | 0.0035816 | 1.04
B2 | 37.664 | 0.2 | 0.25 |  | 0.85 |  | 1.8832 | 32.0144 | 0 | 0 | 0 | 0.30112 |  | 0.066891
B3 | 28.619 | 0.2 | 0.27 |  | 0.89 |  | 1.5454 | 25.4709 | 0 | 0 | 0.40645 | 0 |  | 0.058647
B4 | 18.574 | 0.2 | 0.27 |  | 0.89 |  | 1.003 | 16.5309 | 0 | 0 | 0.26379 | 0 |  | 0.076125
B5 | 73.399 | 0.2 | 0.3 |  | 0.95 |  | 4.4039 | 69.7291 | 0 | 0 | 1.0424 | 0 |  | 0.34006
B6 | 10.05 | 0.2 | 0.35 |  | 1.05 |  | 0.7035 | 10.5525 | 0 | 0 | 0.14273 | 0 |  | 0.078089
B7 | 9.769 | 0.2 | 0.2 |  | 0.9 |  | 0.39076 | 8.7921 | 0 | 0 | 0.13874 | 0 |  | 0.075905
CB1 | 0 | 0.2 | 0.2 |  | 0.75 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
[7 empty] | 8.0466 | 131.0754 | 0 | 0 | 1.9941 | 0.31871 | 0 | 0.6993
| 180.275 | 0.2 |  | 36.055
[8 empty] | 0 |  |  | 1.0424
Slab | [10 empty] | 0.0098696
3.4745 | 24.4228 | 19.6828 | 0.13 | 2.5588 |  |  | 2.5588 | 19.6828 | For steel |  |  |  | 0.40155
6.616 | OPEN | 0 | 0.16 | 0 |  |  | 0 |  | 19.6828
0
[7 empty] | 0 | 0
22.9873 | 1.89 | [5 empty] | 0 | 0
249.8619 | 2.85
OPEN AREA | 4.74 | [5 empty] | 0 | 0
[7 empty] | 2.5588 | 19.6828 |  |  |  |  | 0.40155
RCC WALL | 1.5 | 0.15 | 2.55 | 2 |  |  | 1.1475 | 7.65 |  |  |  | 0 | 0.047239
Parapet wall |  | 19.5 | 1.2 | 0.1 |  |  | 2.34 | 46.8 |  |  |  |  | 0.44203
Lift well | 16.9 | 0.15 | 1 | 3.25 |  |  | 8.2388 | 109.85 |  |  |  | 0.87825 | 0.67832
[7 empty] | 8.2388 | 109.85 | 0 | 0 | 0 | 0.87825 | 0.67832
Above 5th floor slab
C1 | 1 | 0.2 | 0.35 | 3.1 |  |  | 0.217 | 2.79 | 0 | 0 | 3.75 | 0 |  | 3.7889 | 2.041
[9 empty] | 0 | 0 | 0.035505 | 0 |  | 0.0050468
C3 | 1 | 0.2 | 0.4 | 3.1 |  |  | 0.248 | 3.1 | 0 | 0 | 5 |  |  | 6.8889
[9 empty] | 0 | 0 | 0.04734 | 0 |  | 0.009176
C13 | 3 | 0.2 | 0.4 | 3.1 |  |  | 0.744 | 9.3 |  | 0 | 11.25 |  |  | 18.0833
[10 empty] | 0 | 0.10652 |  |  | 0.024087
C14 | 1 | 0.2 | 0.4 | 3.1 |  |  | 0.248 | 3.1 | 0 | 0 | 0 | 3.75 |  | 3.4444
[10 empty] | 0 | 0 |  |  | 0.004588
C5 |  |  | 0.35 | 3.4 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0
[9 empty] | 0 | 0 |  |  |  | 0
C6 |  |  | 1 | 3.4 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0
[9 empty] | 0 | 0 |  |  |  | 0
[7 empty] | 1.457 | 18.29 | 0 | 0 | 0.18936 | 0 | 0 | 0.042898
STAIR CASE | 17 | 0.25 | 0.176 | 0.85 | 0.5 |  | 0.3179 | 2.5432 |  |  |  |  | 47.25
| 5.25 | 0.85 | 0.15 | 1 | 1 |  | 0.66938 | 6.1725 |  |  | 6.5 |  | 178.5105
| 1.5 | 0.15 | 0.9 | 1 | 1 |  | 0.2025 | 1.35 |  |  |  |  | 0.17851 |  |  | 0.003778
[7 empty] | 1.1898 | 10.0657 | [7 empty] | 0.003778
Lift well | 16.9 | 0.15 | 1 | 3.25 |  |  | 8.2388 | 109.85 |  |  |  | 0.87825 | 0.67832
[7 empty] | 8.2388 | 109.85 | 0 | 0 | 0 | 0.87825 | 0.67832
| 4.62 | [5 empty] | Concrete | Formwork | 25 | 20 | 16 | 12 | 10 | 6
2ND-9TH SLAB
B1 | 10.319 | 0.2 | 0.27 |  | 0.87 |  | 0.55723 | 8.9775 | 0 | 0 | 0.14655 | 0 |  | 0.018327 | 1.04
B2 | 3.65 | 0.2 | 0.27 |  | 0.87 |  | 0.1971 | 3.1755 | 0 | 0 | 0.028799 | 0 |  | 0.0064824
B3 | 3.19 | 0.2 | 0.27 |  | 0.87 |  | 0.17226 | 2.7753 | 0 | 0 | 0.025169 | 0 |  | 0.0056654
B4 | 5.207 | 0.2 | 0.27 |  | 0.87 |  | 0.28118 | 4.5301 | 0 | 0 | 0 | 0.023128 |  | 0.0092476
B5 | 1.454 | 0.2 | 0.27 |  | 0.87 |  | 0.078516 | 1.265 | 0 | 0 | 0.017208 | 0.0032291 |  | 0.0051646
B4b | 0 | 0.2 | 0.265 |  | 0.815 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
B7 |  | 0.2 | 0.27 |  | 0.87 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
B8 |  | 0.15 | 0.17 |  | 0.72 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
B9 |  | 0.2 | 0.27 |  | 0.87 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
CB1 | 0 | 0.2 | 0.27 |  | 0.87 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13.3333
| 23.82 | 0.2 |  | 4.764 | [8 empty] | 26.6667
|  | 261.8 | [5 empty] | 0 |  |  | 0.017208 |  | 4.4444 | 8.8889
Slab |  | 167.86 | [8 empty] | 0.00016293
3.4745 | 24.4228 | 21.9528 | 0.13 | 2.8539 |  |  | 2.8539 | 17.1888 | For steel |  |  |  | 0.45616
6.616 | OPEN | 0 | 0.16 | 0 |  |  | 0 |  | 21.9528
0
[7 empty] | 0 | 0
[7 empty] | 0 | 0
2.47
OPEN AREA | 2.47 | [5 empty] | 0 | 0
|  |  |  | 4.16 |  |  | 0 | 0
[7 empty] | 0 | 0
[7 empty] | 2.8539 | 0 |  |  |  |  | 0
RCC WALL | 1.5 | 0.15 | 2.55 | 2 |  |  | 1.1475 | 7.65 |  |  |  | 0 | 0.047239
6th -9TH floor slab
C1 | 16 | 0.2 | 0.4 | 2.6 |  |  | 3.328 | 41.6 | 0 | 41.6 | 0 |  |  | 73.9556 | 2.041
[9 empty] | 0 | 0.61568 | 0 |  |  | 0.098509
C2 |  | 0.2 | 0.4 | 2.6 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0
[9 empty] | 0 | 0 | 0 |  |  | 0
C3 |  | 0.2 | 0.3 | 2.6 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0
[9 empty] | 0 | 0 | 0 |  |  | 0
C4 |  | 0.2 | 0.25 | 2.6 |  |  | 0 | 0 |  | 0 | 0 |  |  | 0
[10 empty] | 0 | 0 |  |  | 0
C5 |  |  | 0.35 | 3.4 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0
[9 empty] | 0 | 0 |  |  |  | 0
C6 |  |  | 1 | 3.4 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0
[9 empty] | 0 | 0 |  |  |  | 0
[7 empty] | 3.328 | 41.6 | 0 | 0.61568 | 0 | 0 | 0 | 0.098509
Lift well | 16.9 | 0.15 | 1 | 3.25 |  |  | 8.2388 | 109.85 |  |  |  | 0.87825 | 0.67832
[7 empty] | 8.2388 | 109.85 | 0 | 0 | 0 | 0.87825 | 0.67832
C1 | 1 | 0.2 | 0.35 | 2.65 |  |  | 0.1855 | 2.385 | 0 | 0 | 2.5 | 2.5 |  | 4.4167 | 2.041
[9 empty] | 0 | 0 | 0.02367 | 0.013325 |  | 0.005883
C2 | 7 | 0.25 | 0.25 | 2.65 |  |  | 1.1594 | 13.9125 | 0 | 0 | 26.25 |  |  | 41.2222
[9 empty] | 0 | 0 | 0.24854 | 0 |  | 0.054908
[7 empty] | 1.3449 | 16.2975 | 0 | 0 | 0.27221 | 0.013325 | 0 | 0.060791
[9 empty] | 0 | 0 |  |  |  | 8.0974e-05
Lift well | 6.9 | 0.15 | 1 | 3.25 |  |  | 3.3638 | 44.85 |  |  |  | 0.35858 | 0.27695
[7 empty] | 3.3638 | 44.85 | 0 | 0 | 0 | 0.35858 | 0.27695
B1 |  | 0.2 | 0.35 |  | 0.9 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.04
B2 | 12.158 | 0.2 | 0.4 |  | 1 |  | 0.97264 | 12.158 | 0 | 0 | 0 | 0.097203 |  | 0.021593
B3 | 8.154 | 0.2 | 0.42 |  | 1.04 |  | 0.68494 | 8.4802 | 0 | 0 | 0.1158 | 0 |  | 0.016709
B5 | 24 | 0.2 | 0.45 |  | 1.1 |  | 2.16 | 26.4 | 0 | 0 | 0.34085 | 0 |  | 0.11119
[7 empty] | 3.8176 | 47.0382 | 0 | 0 | 0.45665 | 0.097203 |  | 0.1495
| 44.312 | 0.2 | 8.8624
Above Terrace
Lift well |  |  |  | 1 |  |  | 0 | 0 |  |  |  | 0 | 0
RB1 |  |  |  |  | 0.675 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.04
B9 |  |  |  |  | 0.4 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Slab |  |  |  | 0 |  |  | 0 | 0 | For steel |  |  |  | 0
[7 empty] | 0 | 0 |  |  |  | 0 | 0 | 0
[7 empty] | 0 | 0 |  |  | 0 | 0 | 0 | 0
Parapet wall Terrace |  | 9.336 | 0.1 | 1 |  |  | 0.9336 | 18.672 |  |  | 0.092076 |  | 0.10581 | 0.01589
|  | 5.073 | 2 | 0.1 |  |  | 1.0146 | 1.0146 |  |  |  |  | 0.11499
[7 empty] | 1.9482 | 19.6866 |  |  | 0.092076 | 0 | 0.22081 | 0.01589
FINISHING WORK
[7 empty] | 1.62 | 135.05
masonry |  |  |  |  | msonry | plaster | screed | toilet floor |  |  | toilet wall | floor
Ground | 140.406 | 3.1 | 435.2586 | 70.2075 | 365.0511 | 730.1022 | 364.7158 | 8.6905 | 58.585 |  | 58.585 | 364.7158
1st | 129.341 | 2.6 | 336.2866 | 99.165 | 237.1216 | 474.2432 | 333.7414 | 8.6905 | 58.585 |  | 58.585 | 325.0508
2nd | 197.709 | 2.6 | 514.0434 | 106.12 | 407.9234 | 815.8468 | 345.1958 | 22.7428 | 134.5292 |  | 134.5292 | 322.453
3rd | 29 | 2.6 | 75.4 | 0 | 75.4 | 150.8 | 345.1958 |  |  |  | 0 | 345.1958 |  |  |  | 4.73 | 79.02
4th |  | 2.6 | 0 | 0 | 0 | 0 | 345.1958 |  |  |  | 0 | 345.1958 |  |  |  | 5.871
5th |  | 2.6 | 0 | 0 | 0 | 0 | 345.1958 |  |  |  | 0 | 345.1958
6th |  | 2.6 | 0 | 0 | 0 | 0 | 345.1958 |  |  |  | 0 | 345.1958 |  |  |  |  | 26.5995 | 0
7th |  | 2.6 | 0 | 0 | 0 | 0 | 345.1958 |  |  |  | 0 | 345.1958
8th |  | 2.6 | 0 | 0 | 0 | 0 | 345.1958 |  |  |  | 0 | 345.1958
9th |  | 2.6 | 0 | 0 | 0 | 0 | 345.1958 |  |  |  | 0 | 345.1958
Terrace floor | 179.121 | 0.5 | 89.5605 | 0 | 89.5605 | 179.121 | 345.1958 |  |  |  |  | 345.1958
| 5.073 | 2 | 10.146 | 0 | 10.146 | 20.292 | 345.1958
3964.3017
Roof ing | 32.89 | 11.5 | 378.235
c purlin | 472.7937 | 1 | 472.7937 |  |  | 14.375
facia bord | 65.78 |  |  |  |  | 472.7937
18.588 | 17.089 | 317.6503
4.688 | 4.077 | 19.113
2 | 4.688 | -9.376
6.55 | 5.699 | 37.3284
364.7158
18.588 | 17.089 | 317.6503
4.688 | 4.077 | 19.113
2 | 4.688 | -9.376
6.55 | 5.699 | 37.3284
364.7158
Partition
Ground | 11.277 | 2.6 | 29.3202
1st | 11.277 | 2.6 | 29.3202
2nd | 30.908 | 2.6
3rd | 10.312 | 2.6
4th | 13.212 | 2.6

## BOQ
Item | Description | Qty | Unit | Rate Mrf | Amount
BILL No: 01
PRELIMINARIES
1.1 | GENERAL NOTES
1 | Abbreviations
m - metre
Nos - numbers
m³ - cubic metre
m² - square metre
m - metre
kg - kilogram
incl - including
mm - millimetre
dia - diametre
SS - Staiinless Steel
GI - Galvinised Iron
1.2 | SITE MANAGEMENT COSTS
1 | Allow for all on and off site management costs including costs of foreman and assistants, temporary services, telephone, fax, hoardings, fences and similar items. | 1 | Item |  | 0
1.3 | SIGN BOARD
1 | Allow for sign board. | 1 | Nos. |  | 0
1.4 | CLEAN - UP
| Allow for clean up of completed works and site upon completion | 1 | Item |  | 0
BILL No: 01 - PRELIMINARIES
| TOTAL OF BILL No: 01 - Carried over to summary |  |  |  | 0
BILL No: 02
GROUND WORKS
2 | GENERAL
Rates shall include for; levelin, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and dispoding surplus soil
2.1 | SITE CLEARING
| Demolition of any existing buildings and removal of those material from the site. Removing and clearing any shrubs or trees from the site. | 1 | Item |  | 0
2.2 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork/shuttering and dewatering the trenches and others
1 | Excavation for foundation Footings & Tie Beam | 122.5544 | m³ |  | 0
2 | Excavation for Security Post foundation Beam | 1.555 | m³ |  | 0
3 | Excavation for Boundary Wall foundation Beam | 15.8959 | m³ |  | 0
2.3 | WATER PROOFING
Note: Rates shall include for: dressing around and sealing to avoid all penetrations
1 | Apply 2 coats of water proofing paint on all concrete surfaces below finished floor level in accordance with BS 8102 standards | 1 | Item |  | 0
2.4 | BACK FILLING
Rates shall include for levelling, grading, trimming and compacting.
1 | Sand filling upto 200mm including compaction as per specification, to receive ground slab | 116.4267 | m³ |  | 0
2.5 | CLEANING UPON COMPLETION
| Cleaning the site upon completion of all works | 1 | Item |  | 0
BILL No: 02 - GROUND WORKS
| TOTAL OF BILL No: 02 - Carried over to summary |  |  |  | 0
BILL No: 03
CONCRETE WORK
3.1 | GENERAL
(a) Rates shall include for: provision to place in position; casting of all required items and finishing after removal of formwork and additional concrete required to conform to structural and excavated tolerances
(b) Rates shall include supply of all formwork item including form oil, timber, plywood, nails etc.
(c) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:3:6 by volume
3.2 | LEAN CONCRETE
Note: Quantity is measured to the edges of concrete members.
1 | 50mm thick lean concrete to bottom of foundation pads and beams | 6.4445 | m³ |  | 0
3.3 | DAMP PROOF MEMBRANE
Damp prof membrane to bottom of concrete elements as per specification
1 | Polythene sheet 500 gauge to foundations | 128.8896 | m² |  | 0
3.4 | REINFORCED CONCRETE
In-situ reinforced concrete to:
3.4.1 | Foundation level
1 | Foundation Footings - F1 to F9 | 45.8248 | m³ |  | 0
2 | Foundation Tie Beam-TB | 17.7805 | m³ |  | 0
3 | Foundation Beam-Security Post | 1.0885 | m³ |  | 0
4 | Foundation Beam-Boundary Wall | 6.3584 | m³ |  | 0
5 | Staircase starter | 0.08775 | m³ |  | 0
3.4.2 | Ground Floor
1 | Columns C5 -Security Post | 0.512 | m³ |  | 0
2 | Attached Beams, Security Post | 2.7866 | m³ |  | 0
3 | Columns - Boundary Wall | 2.742 | m³ |  | 0
4 | Columns C1-C14 | 2.4416 | m³ |  | 0
5 | Staircase | 1.2573 | m³ |  | 0
3.4.3 | First Floor
1 | Attached Beams, B1 | 0.088 | m³ |  | 0
2 | Attached Beams, B2 | 1.5553 | m³ |  | 0
3 | Attached Beams, B3 | 1.5454 | m³ |  | 0
4 | Attached Beams, B4 | 1.003 | m³ |  | 0
5 | Attached Beams, B5 | 4.4039 | m³ |  | 0
6 | Attached Beams, B6 | 0.7035 | m³ |  | 0
7 | Attached Beams, B7 | 0.39076 | m³ |  | 0
8 | 150mm Thick suspended slab | 32.7535 | m³ |  | 0
9 | 165mm Thick suspended slab | 18.0485 | m³ |  | 0
10 | Columns C1-C14 | 2.3289 | m³ |  | 0
11 | Staircase | 1.2573 | m³ |  | 0
3.4.4 | 2nd Floor
1 | Attached Beams, B1 | 0.088 | m³ |  | 0
2 | Attached Beams, B2 | 1.8832 | m³ |  | 0
3 | Attached Beams, B3 | 1.5454 | m³ |  | 0
4 | Attached Beams, B4 | 1.003 | m³ |  | 0
5 | Attached Beams, B5 | 4.4039 | m³ |  | 0
6 | Attached Beams, B6 | 0.7035 | m³ |  | 0
7 | Attached Beams, B7 | 0.39076 | m³ |  | 0
8 | 150mm Thick suspended slab | 50.8794 | m³ |  | 0
9 | Columns C1-C14 | 2.3289 | m³ |  | 0
10 | Staircase | 1.2573 | m³ |  | 0
3.4.5 | Terrace Floor
1 | Attached Beams, B1 | 0.088 | m³ |  | 0
2 | Attached Beams, B2 | 1.8832 | m³ |  | 0
3 | Attached Beams, B3 | 1.5454 | m³ |  | 0
4 | Attached Beams, B4 | 1.003 | m³ |  | 0
5 | Attached Beams, B5 | 4.4039 | m³ |  | 0
6 | Attached Beams, B6 | 0.7035 | m³ |  | 0
7 | Attached Beams, B7 | 0.39076 | m³ |  | 0
6 | 150mm Thick suspended slab | 50.8794 | m³ |  | 0
10 | Columns C1-C14 | 1.457 | m³ |  | 0
3.4.6 | Above Terrace Floor
1 | Attached Beams, B2 | 0.97264 | m³ |  | 0
2 | Attached Beams, B3 | 0.68494 | m³ |  | 0
3 | Attached Beams, B5 | 2.16 | m³ |  | 0
4 | Parapet wall | 0.9336 | m³ |  | 0
3.5 | REINFORCEMENT
GENERAL
(a) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and chair supports, laps and wastage
(b) All reinforcing bars except 6mm dia bars shall be high strength deformed bars.
(c) The exact length exclusive of laps are given. The rates shall take into account laps and any wastage.
3.5.1 | Foundation level
1 | Foundation Beam-Security Post
| 12mm dia bars | 0.055254 | t |  | 0
| 6mm dia bars | 0.022093 | t |  | 0
2 | Columns -Security Post
| 12mm dia bars | 0.08528 | t |  | 0
| 6mm dia bars | 0.018944 | t |  | 0
3 | Security Post Beam
| 12mm dia bars | 0.055254 | t |  | 0
| 6mm dia bars | 0.020252 | t |  | 0
4 | Foundation Beam-Boundary Wall
| 12mm dia bars | 0.70604 | t |  | 0
| 6mm dia bars | 0.28231 | t |  | 0
5 | Boundary Wall - Column
| 12mm dia bars | 1.1297 | t |  | 0
| 6mm dia bars | 0.18037 | t |  | 0
3 | Foundation Footings- F1 to F9
| 16 mm dia. bars | 2.3588 | t |  | 0
| 12mm dia bars | 0.99042 | t |  | 0
| 10mm dia bars | 0.087552 | t |  | 0
3 | Foundatio TieBeam - TB
| 12mm dia bars | 0.90257 | t |  | 0
| 6mm dia bars | 0.36089 | t |  | 0
3 | Staircase starter Beam - 10mm dia bars | 0.018701 | t |  | 0
3.5.2 | Ground Floor
1 | Staircase 10mm dia bars | 0.22314 | t |  | 0
2 | Columns C1-C14
| 20 mm dia. bars | 1.1544 | t |  | 0
| 16 mm dia. bars | 0.77638 | t |  | 0
| 12mm dia bars | 0.09594 | t |  | 0
| 6mm dia bars | 0.21236 | t |  | 0
3 | Attached Beams, B1- B7
| 16 mm dia. Bars | 1.9941 | t |  | 0
| 12mm dia bars | 0.26628 | t |  | 0
| 6 mm dia. Bars | 0.68765 | t |  | 0
4 | Suspended slab 10mm dia bars | 6.4475 | t |  | 0
3.5.3 | 1st Floor
2 | Columns C1-C14
| 20 mm dia. bars | 0.75036 | t |  | 0
| 16 mm dia. bars | 0.48524 | t |  | 0
| 12mm dia bars | 0.059962 | t |  | 0
| 6mm dia bars | 0.20256 | t |  | 0
2 | Staircase
| 10mm dia bars | 0.22314 | t |  | 0
3 | Attached Beams, B1- B7
| 16 mm dia. Bars | 1.9941 | t |  | 0
| 12mm dia bars | 0.31871 | t |  | 0
| 6 mm dia. Bars | 0.6993 | t |  | 0
4 | Suspended slab 10mm dia bars | 6.5989 | t |  | 0
3.5.4 | 2nd Floor
1 | Columns C1-C14
| 16 mm dia. bars | 0.48524 | t |  | 0
| 12mm dia bars | 0.059962 | t |  | 0
| 6mm dia bars | 0.20256 | t |  | 0
2 | Staircase
| 10mm dia bars | 0.21421 | t |  | 0
3 | Attached Beams, B1- B7
| 16 mm dia. Bars | 1.9941 | t |  | 0
| 12mm dia bars | 0.31871 | t |  | 0
| 6 mm dia. Bars | 0.6993 | t |  | 0
4 | Suspended slab 10mm dia bars | 6.5989 | t |  | 0
3.5.6 | Terrace Floor
1 | Columns C1-C14
| 16 mm dia. Bars | 0.18936 | t |  | 0
| 6mm dia bars | 0.042898 | t |  | 0
3.5.12 | Above Terrace floor & Roof Level Slab slab
1 | Attached Roof Beams
| 16 mm dia. Bars | 0.45665 | t |  | 0
| 12 mm dia. Bars | 0.097203 | t |  | 0
| 6 mm dia. Bars | 0.1495 | t |  | 0
2 | Parapet wall
| 10mm dia bars | 0.10581 | t |  | 0
3.6 | FORM WORK
GENERAL
(a) Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, straps, ties, hangers, pipes, edge formwork and removal of formwork.
3.6.1 | Foundation level
1 | Foundation Beam-Security Post | 8.708 | m² |  | 0
2 | Columns -Security Post | 7.68 | m² |  | 0
3 | Security Post Beam | 8.708 | m² |  | 0
4 | Foundation Beam-Boundary Wall | 63.5836 | m² |  | 0
5 | Boundary Wall - Column | 54.8409 | m² |  | 0
6 | Foundation Footings - F1 to F9 | 84.226 | m² |  | 0
7 | Foundation Tie Beam-TB | 142.2442 | m² |  | 0
8 | Staircase starter | 1.435 | m² |  | 0
3.6.2 | Ground Floor
1 | Columns C1, 200mm x 400mm | 2.925 | m² |  | 0
2 | Staircase | 10.5157 | m² |  | 0
3.6.3 | First Floor
1 | Attached Beams, B1 | 1.65 | m² |  | 0
2 | Attached Beams, B2 | 26.4401 | m² |  | 0
3 | Attached Beams, B3 | 25.4709 | m² |  | 0
4 | Attached Beams, B4 | 16.5309 | m² |  | 0
5 | Attached Beams, B5 | 69.7291 | m² |  | 0
6 | Attached Beams, B6 | 10.5525 | m² |  | 0
7 | Attached Beams, B7 | 8.7921 | m² |  | 0
8 | RCC Suspended slab | 327.7414 | m² |  | 0
9 | Columns C1-C14 | 27.3813 | m² |  | 0
10 | Staircase | 10.5157 | m² |  | 0
3.6.4 | 2nd Floor
1 | Attached Beams, B1 | 1.65 | m² |  | 0
2 | Attached Beams, B2 | 32.0144 | m² |  | 0
3 | Attached Beams, B2 | 25.4709 | m² |  | 0
4 | Attached Beams, B4 | 16.5309 | m² |  | 0
5 | Attached Beams, B5 | 69.7291 | m² |  | 0
6 | Attached Beams, B6 | 10.5525 | m² |  | 0
7 | Attached Beams, B7 | 8.7921 | m² |  | 0
8 | RCC Suspended slab | 303.1408 | m² |  | 0
9 | Columns C1-C14 | 26.1175 | m² |  | 0
10 | Staircase | 10.0657 | m² |  | 0
9
3.6.6 | Terrace Floor
1 | Attached Beams, B1 | 1.65 | m² |  | 0
2 | Attached Beams, B2 | 32.0144 | m² |  | 0
3.6.7 | Attached Beams, B3 | 25.4709 | m² |  | 0
3 | Attached Beams, B4 | 16.5309 | m² |  | 0
4 | Attached Beams, B5 | 69.7291 | m² |  | 0
3.6.8 | Attached Beams, B6 | 10.5525 | m² |  | 0
5 | Attached Beams, B7 | 8.7921 | m² |  | 0
6 | 135mm Thick suspended slab | 303.1408 | m² |  | 0
3.6.9 | Columns C1-C14 | 18.29 | m² |  | 0
3.6.12 | Above Terrace floor
1 | Attached Beams, B2 | 12.158 | m² |  | 0
2 | Attached Beams, B3 | 8.4802 | m² |  | 0
3 | Attached Beams, B5 | 26.4 | m² |  | 0
4 | Parapet wall | 18.672 | m² |  | 0
BILL No: 03 - CONCRETE
| TOTAL OF BILL No: 03 - Carried over to summary |  |  |  | 0
BILL No: 04
MASONRY AND PLASTERING
4.1 | GENERAL
Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down reveals where necessary; and blocks, cutting or leaving holes and openings as recesses, building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames, temporary supports to openings. Providing approved quality mesh at joints between structaral members and masonry in the exterior walls.
4.2 | CEMENT BLOCK WORK
4.2.1 | 150mm & 100mm Thick Wall
150mm Thick hollow blocks, laid on and including 1:5 cement mortar, tie rods, compression gap filler, nylon'plastic mesh as specified.
4.2.1.1 | 150mm Cement brickwork
1 | Security Post - Wall Masonry | 39.808 | m² |  | 0
2 | Boundary Wall and Planter Box Wall Masonry | 333.8139 | m² |  | 0
3 | Ground floor and below ground floor | 365.0511 | m² |  | 0
4 | 1st floor | 237.1216 | m² |  | 0
5 | 2nd floor | 407.9234 | m² |  | 0
6 | Terrace | 75.4 | m² |  | 0
4.3 | PLASTERING
Plastering on walls and concrete surfaces in accordance with the specifications
4.3.1 | Exterior & Interior surfaces of walls
20mm Thick cement plastering on external surfaces 15mm Thick cement plastering on internal surfaces of walls and concrete column surfaces with 1:4 cement mortar mix as specified including wire mesh at joints of concrete surfaces and masonry walls
1 | Security Post - Plastering on walls | 79.616 | m² |  | 0
2 | Boundary Wall and Planter Box Plastering on walls | 667.6278 | m² |  | 0
3 | Ground floor and below ground floor | 730.1022 | m² |  | 0
4 | 1st floor | 474.2432 | m² |  | 0
5 | 2nd floor | 815.8468 | m² |  | 0
6 | Terrace Parapetwall | 10.146 | m² |  | 0
4.4 | FLOORING
4.4.1 | 35mm Thick cement sand screed on concrete floor with 1:4 mortar mix with a smooth finish for general areas
1 | Security Post - Flooring | 10.7 | m² |  | 0 |  |  |  |  | 10.696
2 | Ground floor | 364.7158 | m² |  | 0
3 | 1st floor | 333.7414 | m² |  | 0
4 | 2nd floor | 345.1958 | m² |  | 0
5 | Terrace Floor | 170.4866 | m² |  | 0
4.5 | PARTITION
4.5.1 | The Partition wall height 2500mm
1 | Ground floor | 29.3202 | m² |  | 0
2 | 1st floor | 29.3202 | m² |  | 0
4.6 | CEMENT TILED DRIVE THROUGH
4.6.1 | Cement Tiled Blocks Paving on Ground Drive Through | 97.625 | m² |  | 0
BILL No: 04 - MASONRY AND PLASTERING
| TOTAL OF BILL No: 04 - Carried over to summary |  |  |  | 0
BILL No: 05
ROOF WORKS
5.1 | General
(a) Rates shall include for: fair edges, dressing over angle fillets, turning into grooves insect treatment, all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails, screws and the necessary.
5.2 | FRAMING & ROOFING
1 | 150 X 50 mm Timber Rafters | 110.7 | m |  | 0
2 | 35 x 35mm Timber purlins | 187.2 | m |  | 0
3 | 50x 100 mm.Timber wall plate, | 28.8 | m |  | 0
4 | 25 x 250mm Timber Facia | 14.8 | m |  | 0
5 | Lysaght Roofing sheet installed in accordance to manufacturer,s instructions including all flashings and capping | 73.8 | m² |  | 0
6 | Lysaght Roofing sheet installed in accordance to manufacturer,s instructions including all flashings and capping in Security Post | 10.7 | m² |  | 0
5.3 | Cappings and Flashings
1 | Lysaght longitudinal Flashing | 24.3 | m |  | 0
2 | Lysaght longitudinal Flashing in Security Post | 17.3924 | m |  | 0
5.4 | Down Pipes
1 | 75 mm dia UPVC down pipes including bends, junctions, straps, brackets, clips and all fixings. | 1 | item |  | 0
5.5 | Gutter
| Lysaght gutter as per drawing | 14.8 | m |  | 0
5.6 | Insulation
| 50mm thick Both side Aluminium -poil rock-glass wool insulation | 84.5 | m² |  | 0
BILL No: 05 - ROOF WORK
| TOTAL OF BILL No: 05 - Carried over to summary |  |  |  | 0
BILL No: 06
METAL WORKS
6.1 | GENERAL
(a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts including those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
(b) Rates shall include for all painting and finishing.
(c) Rates shall include for fabrication and erection of temporary supports and fixing into position
6.2 | SS Pipe Handrails for Staircase as shown in drawing
1 | Ground to First floor- Handrail of staircase | 5.5 | m |  | 0
2 | 1st - 2nd floor- Handrail of staircase | 5.5 | m |  | 0
3 | 2nd toto Terrace floor- Handrail of staircase | 5.5 | m |  | 0
6.3 | RAILING | [13 empty] | 75.354
1 | 1st floor- Detail 13 | 15.18 | m² |  | 0 | [9 empty] | 75.354 | 3.5 | 263.739 | 0 | 263.739
2 | Terrace Floor Façade Railing | 14.4 | m² |  | 0 | [9 empty] | 82.734
6.4 | ALUMINIUM CLADDING | [13 empty] | 75.354
Supply Installation Aluminium Cladding as per the Drawing and with Manufacturer's Instructions
1 | Ground to First floor | 215.3015 | m² |  | 0 | [9 empty] | 75.354 | 3.5 | 263.739 | 48.4375 | 215.3015
2 | 1st - 2nd floor | 181.574 | m² |  | 0 | [9 empty] | 75.354 | 3.5 | 263.739 | 82.165 | 181.574
3 | 2nd to Terrace floor | 243.864 | m² |  | 0 | [9 empty] | 82.734 | 3.5 | 289.569 | 45.705 | 243.864
4 | Terrace Floor Parapet wall | 82.734 | m² |  | 0 | [9 empty] | 82.734 | 1 | 82.734 |  | 82.734
6.5 | FLAGPOST | [13 empty] | 75.354
1 | The Twin Flag Post will be with 50mm dia GI Pipe for Flag. The Concrete Structure to Display Office name. And 100mm thick and 600mm height low wall infront of the Flagpost. | 2 | item |  | 0 | [9 empty] | 75.354 | 3.5 | 263.739 | 0 | 263.739
BILL No: 06 - METAL WORKS
| TOTAL OF BILL No: 06 - Carried over to summary |  |  |  | 0
Bill No: 07
WOOD WORKS
7.1 | General
a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
b) Rate shall include for: timber priming and all painting as specified in the drawing
7.2 | Counter
1 ) | The Counter with Fixed glass partition and drilled holes to carry coversation, place Enchande letters and such. | 1 | Item |  | 0
7.3 | PLANTER BOX TIMBER FRAME | [13 empty] | 75.354
Timber Frame
1 | 1st - 2nd floor | 7 | mts |  | 0 | [9 empty] | 75.354 | 3.5 | 263.739 | 0 | 263.739
2 | 2nd toto Terrace floor | 9 | mts |  | 0 | [9 empty] | 82.734 | 3.5 | 289.569 | 0 | 289.569
7.4 | PERGOLA | [13 empty] | 75.354
1 | Timber Frame with Timber Column | 42 | m² |  | 0 | [9 empty] | 75.354 | 3.5 | 263.739 | 0 | 263.739
7.5 | Kitchen Fitures
1 | Supply and installation of Kitchen Cupboard set | 42 | m² |  | 0 | [9 empty] | 75.354 | 3.5 | 263.739 | 0 | 263.739
(including all fixtures: hood and stove )
BILL No: 07 - WOOD WORKS
| TOTAL OF BILL No: 07 - Carried over to summary |  |  |  | 0
BILL No: 08
CEILING WORKS
8.1 | GENERAL
(a) Rates shall include for all fixing, cutting, trimmings, nails, screws and other fixings according to manufacturers' instructions.
(b) Rates shall include for timber priming and all putty work as specified in the drawing
(c) Rates shall include for all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar complete with cleats, packers, wedges and timber beeding etc. similar and all nails and screws
8.2 | Plaster board Ceilings
Plaster board suspended ceiling with timber cornice, including timber framing, trimming, nails, screws and other fixings.
The ceiling frame shall be constructed using 50 X 50 mm timber, and all the frames supported to the walls shall be installed using brass screws and wall plugs.
The bottom framing of the ceiling shall also be completed under the direction of the consultant
| Ground floor |  |  |  |  | 457.7
1 | EXPOSED CEILING SYSTEM
| Hall Area | 153.67 | m² |  | 0 | 42.1084 | 44.4 | 86.5084
2 | GYPSUMBOARD CEILING SYSTEM
| Toilets, Maintainance & Storeroom Garage , Server room, | 86.51 | m² |  | 0 | 3.874 | 12.015 | 15.889
1st floor
1 | EXPOSED CEILING SYSTEM
| Tearoom, Office, Seminar room 1 & 2, Lounge space | 169 | m² |  | 0 |  |  | 0
2 | GYPSUMBOARD CEILING SYSTEM
| Toilets, Training Class room, Meeting room | 48 | m² |  | 0 |  | 38.17 | 38.17
[7 empty] | 21.1416 | 21.1416
2nd floor
1 | EXPOSED CEILING SYSTEM
| Tearoom, Office, Seminar room 1 & 2, Lounge space | 176.28 | m² |  | 0 | 1915.6
2 | GYPSUMBOARD CEILING SYSTEM
| Toilets, Training Class room, Meeting room | 48 | m² |  | 0 | 176.2352 |  | 176.2352
BILL N0: 08 - CEILINGWORKS
| TOTAL OF BILL No: 08 - Carried over to summary |  |  |  | 0
BILL N0: 09
DOORS AND WINDOWS
9.1 | GENERAL
(a) Rates shall include for locks, latches, closures, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware. These materials should brass and of superior quality.
(b) Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boarding, framing, lining, fastenings and all fixings
(c) Rates shall include for painting timber doors
9.2 | GATES
Steel welded with 50mm & 30mm dia GI pipe Swinging Doors and Garage Entrance swinging Doors
1 | Gates- G01 | 1 | Nos |  | 0
2 | Gates- G02 | 1 | Nos |  | 0
3 | Gates- G03 | 1 | Nos |  | 0
9.3 | DOOR UNITS
1 | Doors - D1 | 1 | Nos |  | 0
2 | Doors - D2 | 27 | Nos |  | 0
3 | Doors - D3 | 21 | Nos |  | 0
4 | Doors - D4 | 3 | Nos |  | 0
6 | Doors - D6 | 3 | Nos |  | 0
7 | Doors - SD1 | 1 | Nos |  | 0
9.4 | ALUMINIUM WINDOW UNITS
1 | Aluminum framed glass windows- W1 | 28 | Nos |  | 0
2 | Aluminum framed glass windows- W2 | 24 | Nos |  | 0
3 | Aluminum framed glass windows- W3 | 1 | Nos |  | 0
4 | Aluminum framed glass windows- W4 | 1 | Nos |  | 0
5 | Aluminum framed glass windows- W6 | 3 | Nos |  | 0
6 | Aluminum framed glass windows- W7 | 1 | Nos |  | 0
7 | Aluminum framed glass windows- W8 | 1 | Nos |  | 0
8 | Aluminum framed glass windows- W9 | 2 | Nos |  | 0
9 | Aluminum framed glass windows- V1 | 9 | Nos |  | 0
10 | Aluminum framed glass windows- V2 | 2 | Nos |  | 0
11 | Aluminum framed glass windows- V3 | 8 | Nos |  | 0
BILL N0: 09 -DOORS AND WINDOWS
| TOTAL OF BILL No: 09 - Carried over to summary |  |  |  | 0
BILL N0: 10
FINISHES
10.1 | GENERAL
Note: Rates shall include for: fixing, bedding, grouting, pointing, finishing and any other similar works to ensure the required finish.
10.2 | FLOOR FINISHES
10.2.1 | 600mm x 600mm Homogenous tiles on floor
1 | Security Post Floor | 10.7 | m² |  | 0
2 | Ground floor | 364.7158 | m² |  | 0
3 | 1st floor | 325.0508 | m² |  | 0
4 | 2nd floor | 322.453 | m² |  | 0
5 | Terrace | 345.1958 | m² |  | 0
10.2.2 | 300mm x 300mm Non-skid ceramic tiles on Toilet floor
1 | Ground floor | 8.6905 | m² |  | 0
2 | 1st floor | 8.6905 | m² |  | 0
3 | 2nd floor | 22.7428 | m² |  | 0
10.3 | WALL FINISHES
10.3.1 | 300 x 600 ceramic tile finish on toilet walls
1 | Ground floor toilets | 58.585 | m² |  | 0
2 | 1st Floor toilets | 58.585 | m² |  | 0
3 | 2nd Floor toilets | 134.5292 | m² |  | 0
BILL No: 10 - FINISHES
| TOTAL OF BILL No: 10 - Carried over to summary |  |  |  | 0
BILL No: 11
HYDRAULICS & DRAINAGE
11.1 | HYDRAULICS
11.1.1 | Preamble notes
(a) Rates shall include for sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints, backnuts and similar, incidental fittings, clips saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes, excavating, laying pipes and backfilling trenches.
(b) All pipe work and fittings shall be high pressure PVC
(c) Rate shall include for supply and fixing of all pipes
11.1.2 | Internal Plumbing
| Internal plumbing to all toilets & kitchens incl. Supply and laying of pipes. | 1 | Item |  | 0
11.2 | External plumbing
1 | MWSC Water Meter | 3 | Item |  | 0
2 | Waste water and sewage connection to mains, from all the toilets & sinks inc. supply and laying of pipes including inspection chambers as necessary | 1 | Item |  | 0
3 | Ground water connection to all toilets and sinks. Rate shall include for supply and laying of pipes. | 1 | Item |  | 0
4 | 150mm dia. UPVC pipe for rain water collection as shown in drawings, complete with fittings | 1 | item |  | 0
11.3 | Sanitary Fixtures & Accessories
Sanitary fixtures complete including brackets, stop valves, fittings etc. All sanitary fittings shall be of superior quality. Taps, Hand shower, Head shower and towel bar should be plastic.
1 | Water closet, complete with flush tank | 17 | Nos |  | 0
2 | Wash basin with drain fixed to counter top | 17 | Nos |  | 0
3 | Head Shower | 17 | Nos |  | 0
4 | Hand Shower | 17 | Nos |  | 0
5 | Faucet | 34 | Nos |  | 0
6 | Muslim shower | 17 | Nos |  | 0
7 | Floor drain with gully trap | 17 | Nos |  | 0
8 | Sink with tap | 3 | Nos |  | 0
9 | Toilet mirror | 12 | Nos |  | 0
10 | Water Heater | 7 | Nos |  | 0
11 | Urinals | 2 | Nos |  | 0
12 | Exhaust
11.4 | Pumps
1 | Supply and installation of appropriate capacity Water pump complete including pump stand, connecting to pipe work and electricity as specified | 1 | Nos |  | 0
11.5 | DRAINAGE
11.5.1 | Preamble notes
(a) Rates shall include for excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints and all joints and other incidental materials.
(b) All pipework shall be PVC
11.5.2 | Inspection chambers
1 | Supply and installation of inspection chamber as shown in the drawings according to specifications | 1 | Nos |  | 0
BILL No: 11 - HYDRAULICS AND DRAINAGE
| TOTAL OF BILL No:11 - Carried over to summary |  |  |  | 0 |  |  |  | 0
BILL No: 12
PAINTING
12.1 | GENERAL NOTE
(a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door window furniture
(b) All painting work shall be carried in accordance with the Specifications
12.2 | WALLS AND CONCRETE SURFACES
Emulsion paint finish on cement plastered walls and concrete column surfaces. Exterior walls should be applied with weather proof paint.
1 coat of wall sealer, 1 coat of textured and two coats of paint
1 | Security Post | 79.616 | m² |  | 0
2 | Ground floor | 452.6634 | m² |  | 0
3 | 1st floor | 294.0308 | m² |  | 0
4 | 2nd floor | 505.825 | m² |  | 0
5 | Terrace Floor | 10.146 | m² |  | 0
12.3 | CEILING / SOFFIT OF SLAB
Emulsion paint finish after grinding and application of putty.
1 | Security Post | 10.7 | m² |  | 0
2 | Ground floor | 364.7158 | m² |  | 0
3 | 1st floor | 333.7414 | m² |  | 0
4 | 2nd floor | 345.1958 | m² |  | 0
5 | Terrace Floor | 170.4866 | m² |  | 0
BILL No: 12 - PAINTING
| TOTAL OF BILL No: 12 - Carried over to summary |  |  |  | 0
BILL No: 13
ELECTRICAL INSTALLATIONS
13.1 | GENERAL
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates for electrical conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
(d) Light end and switch end of wiring together measured as one point
(e) A point wiring for power points is measured as one point for each socket outlet; other end of wire is not included in the quantity.
(f) Rates shall include for supply and complete installation
(g) Three phase power supply.
13.2 | ELECTRICAL BOARDS
Complete installation, including for all connections, earthing, painting, testing and similar of:
1 | Main Distribution Board with Supply Cable | 1 | item |  | 0
2 | STELCO- Main Supply with Meter | 3 | Nos |  | 0
3 | Distribution board | 4 | Nos |  | 0
13.3 | ELECTRICAL WIRING
Electrical wiring with copper conductor cable in conduits in walls and concrete as per government regulations.
1 | Wiring to lights | 350 | points |  | 0
2 | Wiring to power points
| (a) Single gang, 13A | 201 | points |  | 0
| (b) Double gang, 13A | 124 | points |  | 0
| (c) Single gang, 15A | 18 | points |  | 0
3 | Wiring to CCTV camera | 9 | nos |  | 0
13.4 | LIGHTING, POWER POINTS & FANS | [8 empty] | G | 1 | 2 | 3
1 | Ceiling fan (56") with SS fixing hook | 43 | nos |  | 0 |  |  |  |  | 11 | 22 | 10 |  | 43
2 | Weather proof wall mount terrace light 18w energy saving light. | 18 | nos |  | 0 |  |  |  |  | 4 | 6 | 8 |  | 18
3 | Ceiling Recessed Light | 242 | nos |  | 0 |  |  |  |  | 6 | 6 | 7 |  | 19
4 | 40w Wall Mount Lights | 12 | nos |  | 0 |  |  |  |  | 20 | 24 | 20 |  | 64
5 | 40w Ceiling Mount led Light | 23 | nos |  | 0 |  |  |  |  | 28 | 60 | 40 |  | 128
6 | 40w weather proof Wall Mount Light | 12 | nos |  | 0 |  |  |  |  | 4 | 4 | 7 |  | 15
7 | Main Power Switch | 3 | nos |  | 0 |  |  |  |  | 1 | 1 | 1 |  | 3
8 | One way switch(1 gang) | 123.5 | nos |  | 0 |  |  |  |  | 31.5 | 50.5 | 41.5 |  | 123.5
9 | One way switch(2 gang) | 61.75 | nos |  | 0 |  |  |  |  | 15.75 | 25.25 | 20.75 |  | 61.75
10 | Two way switch | 27 | nos |  | 0 |  |  |  |  | 8 | 9 | 10 |  | 27
11 | Fan dimmer | 43 | nos |  | 0 |  |  |  |  | 11 | 22 | 10 |  | 43
12 | Wall socket outlet, single gang 13A | 186 | nos |  | 0 |  |  |  |  | 33 | 66 | 30 |  | 129
13 | Wall socket outlet, double gang 13A | 124 | nos |  | 0 |  |  |  |  | 22 | 22 | 22 |  | 66
14 | Wall socket outlet, single gang 15A | 18 | nos |  | 0 |  |  |  |  | 6 | 6 | 6 |  | 18
15 | Water Proof socket outlet, single gang 13A | 15 | nos |  | 0 |  |  |  |  | 5 | 5 | 5 |  | 15
13.5 | TV & Telephone Socket Outlets
(a) Supply and installation of telephone cables together with socket outlets as shown in the drawings.
1 | Phone extension | 62 | nos |  | 0 |  |  |  |  | 10
2 | Telephone outlet | 62 | nos |  | 0 |  |  |  |  | 4
3 | Computer Network Oulet | 62 | nos |  | 0
4 | TV/FM point | 62 | nos |  | 0
5 | WIFI | 62 | nos |  | 0 |  |  |  | AC
6 | Net work cabling to CCTV camera | 9 | points |  | 0 |  |  |  | AC
7 | CCTV Camera (HD camera minimum 3 mega pixcel- night vision) | 9 | nos |  | 0
0
13.6 | AIR CONDITION |  |  |  | 0
| (a) Supply and installation of Air-Conditionair as shown in the drawings. |  |  |  | 0
| Panasonic or Equallant Brand |  |  |  | 0
| Ground floor |  |  |  | 0
1 | Staff Hall 25000Btu ,2.5HP ceiling cassette, Central | 4 | nos |  | 0
2 | Server Room 15000Btu 1.7HO ceiling cassette, Central | 1 | nos |  | 0
3 | Maintenance Room 7500Btu - 0.7HP ceiling cassette, Central | 1 | nos |  | 0
4 | Lobby 15000Btu 1.7HP ceiling cassette, Central | 1 | nos |  | 0
5 | Lobby Inside Counter 7500Btu 0.7HP wall mount, Central | 1 | nos |  | 0
6 | Section Head - 7500Btu 0.7HP wall mount, Central | 1 | nos |  | 0
7 | DC Room - 7500btu 0.7HP wall mount, Central | 1 | nos |  | 0
8 | Security Post -7500Btu 0.7HP wall mount, Central | 1 | nos |  | 0
|  | 1 | nos |  | 0
| First floor |  |  |  | 0
1 | Meeting Room 14000Btu ,1.5HP ceiling cassette, Central | 1 | nos |  | 0
2 | Training Classroom 15000Btu 1.7HO ceiling cassette, Central | 2 | nos |  | 0
3 | Tea Room Room 7500Btu - 0.7HP ceiling cassette, Central | 1 | nos |  | 0
4 | Office 15000Btu 1.7HP ceiling cassette, Central | 1 | nos |  | 0
5 | Seminar Room- 1 15000Btu 1.7HP ceiling cassette, Central | 2 | nos |  | 0
6 | Seminar Room- 2 15000Btu 1.7HP ceiling cassette, Central | 2 | nos |  | 0
0
| Second floor |  |  |  | 0
1 | Bedroom 1 13000Btu ,1.5HP wall mount, Split Type | 1 | nos |  | 0
2 | Bedroom 2 13000Btu ,1.5HP wall mount, Split Type | 1 | nos |  | 0
3 | Bedroom 3 13000Btu ,1.5HP wall mount, Split Type | 1 | nos |  | 0
4 | Bedroom 4 13000Btu ,1.5HP wall mount, Split Type | 1 | nos |  | 0
5 | Bedroom 5 18000Btu ,2.0HP wall mount, Split Type | 1 | nos |  | 0
6 | Bedroom 6 13000Btu ,1.5HP wall mount, Split Type | 1 | nos |  | 0
| Bedroom 7 18000Btu ,2.0HP wall mount, Split Type | 1 | nos |  | 0
| Living Area 13000Btu ,1.5HP wall mount, Split Type | 1 | nos |  | 0
12
13.7 | FIRE PROTECTION
GENERAL
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for cable conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
(c) Rates shall include for all necessary electrical wiring and accessories required for completion
(d) All items shall be supply and complete installation
DRY RISER SYSTEM
| Dry riser system | 1 | item |  | 0
FIRE FIGHTING SYSTEM
1 | 9litre Water fire extinguishers in polycarbonate enclosure | 3 | no |  | 0
2 | 2Kg Dry Chemical Powder fire extinguishers in polycarbonate enclosure | 3 | no |  | 0
3 | 7.2Kg Wet Chemical fire extinguishers in polycarbonate enclosure | 6 | no |  | 0
4 | Smoke detectors | 60 | no |  | 0
5 | Heat Detector | 24 | no |  | 0
6 | Fire Alarm control panel | 3 | no |  | 0
7 | Fire resistance cable | 1 | item |  | 0
8 | Manuel Call Point | 3 | no |  | 0
9 | Fire Exit sign (backup Battery) | 6 | no |  | 0
10 | Fire Blanket | 3 | no |  | 0
11 | Fire Hose Reel 30m with cabinet | 1 | no |  | 0
12 | Installation charges | 1 | item |  | 0
(Cylinders should be in boxed)
BILL No: 13 - ELECTRICAL INSTALLATION
| TOTAL OF BILL No: 13 - Carried over to summary |  |  |  | 0
Bill No: 14
ADDITIONS
Bill No: 01
Bill No: 02
Bill No: 03
Bill No: 04
Bill No: 05
Bill No: 06
Bill No: 07
Bill No: 08
Bill No: 09
Bill No: 10
Bill No: 11
Bill No: 12
Bill No: 13
BILL No: 14 - ADDITIONS
| TOTAL OF BILL No: 14 - Carried over to summary |  |  |  | 0
Bill No: 15
OMISSIONS
Bill No: 01
Bill No: 02
Bill No: 03
Bill No: 04
Bill No: 05
Bill No: 06
Bill No: 07
Bill No: 08
Bill No: 09
Bill No: 10
Bill No: 11
Bill No: 12
Bill No: 13
BILL No: 15 - OMISSIONS
| TOTAL OF BILL No: 15 - Carried over to summary |  |  |  | 0

## Summary Analize (hidden)
FLOOR | Preliminaries | Ground Works | Concrete Works | Masonry & Plastering | Metal Works | Ceiling Works | Doors | Finishes | Plumbing | Panitng | Electrical with Lift | Roofing | TOTAL
| 0 | [11 empty] | 0 | 0 | 0
|  | 0 | [10 empty] | 0 | 0 | 0
Basemenet |  |  | 0 | [9 empty] | 0 | 0
Ground Floor |  |  | 0 | 0 | 0 | 0 | 152598.125 | 0 | 0 | 0 | 0 |  | 152598.125 | 0 | 152598.125
1st floor |  |  | 0 | 0 | 0 | #REF! | 216337.25 | 0 | 0 | 0 | 0 |  | #REF! | 0 | #REF!
2nd floor |  |  | 0 | 0 | 0 | 0 | 242943.5 | 0 | 0 | 0 | 0 |  | 242943.5 | 0 | 242943.5
3rd floor |  |  | 0 | 0 | 0 | 0 | 163042.25 | 0 | 0 | 0 | 0 |  | 163042.25 | 0 | 163042.25
4th floor |  |  | 1181.51 | 0 | 0 |  | 0 | 0 |  | 0 |  |  | 1181.51 | 0 | 0
Terrace | [12 empty] | 0 | 0
[10 empty] | 0 |  |  | 0 | 0
[10 empty] | 0 |  |  | 0 |  | 0
[13 empty] | 0 |  | 0
| 0 | 0 | 1181.51 | 0 | 0 | #REF! | 774921.125 | 0 | 0 | 0 | 0 | 0 | #REF! | 0 | #REF!
15361296.9012
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 16616291.42
0 | 0 | 0 | -1181.51 | 0 | 0 | #REF! | -774921.125 | 0 | 0 | 0
18217065.22
#REF!

## Floor Summary (hidden)
Foundation | Concrete | 0
| Steel | 0
| Form work | 0 |  |  | 0 | 0 | 0
Ground Floor | Concrete | 0
| Steel | 0
| Form work | 0 |  |  | 0 | 0 | 0
1st Floor | Concrete | 0
| Steel | 0
| Form work | 0 |  |  | 0 | 0 | 0
2nd Floor | Concrete | 0
| Steel | 0
| Form work | 0 |  |  | 0 | 0 | 0
3rd Floor | Concrete | 0
| Steel | 0
| Form work | 0 |  |  | 0 | 0 | 0
Terrace | Concrete | 0
| Steel | 1181.51
| Form work | 0 |  |  | 1181.51 | 0 | 1181.51
Above | Concrete
Steel
| Form work |  |  |  | 0 | 0 | 0
|  | 1181.51 | #REF! | #REF! | #REF! | #REF! | #REF!
0
1181.51