## COVER
Bill Of Quantities (BOQ)
BOQ for:
Construction of 3 Storey Court Complex Building at Hithadhoo - Atoll of Addu , Maldives. For the Client of Department Of Judicial Administration.
Project Title:
Addu Court Complex

## BOQ Summary Comment (hidden)
Construction of 3 Storey Court Complex Building at Hithadhoo - Atoll of Addu , Maldives. For the Client of Department Of Judicial Administration.
BOQ Summary
Bill Item No | Description | Total Amount ( MVR ) |  | For Progress / Update |  | #REF!
1 | Preliminaries | #REF! | Bill 1- Prilims'!A1 |  | #REF!
2 | Ground Works | 0 | Bill 2 - Ground Works'!A1 | Detail enough
3 | Concrete Works | 0 | Bill 3 - Concrete Works'!A1 | Detail not enough. Done approx. basis.
4 | Masonry Works | 0 | need internal wall details.
5 | Metal Works | 0 | No details. But can do estimate/tentative basis.
6 | Ceiling Works | 0 | need finishing shedule
7 | Door , Window & Glass Works | 0 | need door & window shedule.
8 | Painting Works | 0 | need finishing shedule
9 | Tiling & Clading Works | 0 | need finishing shedule
10 | Electrical Installation | 0
11 | Hydraulics , Drainage and Sanitary Fixtures | 0
12 | Air Conditioning Works | 0
13 | Lift Installation | 0 | Bill - 13 Lift'!Print_Area
14 | Fire Fighting Works | 0
15 | Steel Structures Works | #REF! | Bill - 15 Steel Structures'!Print_Area | Detail not enough. Done approx. basis.
16 | Additional Works | 0
17 | Omission Works | 0
| Total Amount ( MVR ) | #REF!
| GST - 6% | #REF!
| Grand Total ( MVR ) | #REF!

## BOQ Summary
Construction of 3 Storey Court Complex Building at Hithadhoo - Atoll of Addu , Maldives. For the Client of Department Of Judicial Administration.
BOQ Summary
Bill Item No | Description | Total Amount ( MVR )
1 | Preliminaries | 0 | Bill 1- Prilims'!A1
2 | Ground Works | 0 | Bill 2 - Ground Works'!A1
3 | Concrete Works | 0 | Bill 3 - Concrete Works'!A1
4 | Masonary & Plastering Works | 0 | Bill 4 - Masonry & Plastering'!Print_Area
5 | Metal Works | 0 | Bill 5 MetalWorks'!Print_Area
6 | Ceiling Works | 0 | Bill 6 - Ceiling '!A1
7 | Door , Window & Glass Works | 0 | Bill 7 - Door&Window'!A1
8 | Painting Works | 0 | Bill 8 - Painting'!A1
9 | Floor & Wall Finishing and Cladding Works | 0 | Bill 9 - Tile & cladding'!Print_Area
10 | Electrical Installation | 0 | Bill 10 Electrical'!Print_Area
11 | Hydraulics , Drainage and Sanitary Fixtures | 0 | 11 Hydraulics & Drainage'!Print_Area
12 | Air Conditioning Works | 0 | Bill 12 - AC works'!Print_Area
13 | Lift Installation | 0 | Bill - 13 Lift'!Print_Area
14 | Fire Fighting & Alarm Works | 0 | Bill 14 - Fire Fighting & alarm'!Print_Area
15 | External Works | 0 | Bill 15 External Works'!Print_Area
16 | Furniture | 0 | Bill 16 Furniture'!A1
17 | Additional Works | 0 | Bill 17 Additional '!Print_Area
18 | Omission Works | 0 | Bill 18 -Ommission Work'!A1
| Total Amount ( MVR ) | 0
| GST - 6% | 0
| Grand Total ( MVR ) | 0

## Bill 1- Prilims
Item | Description | Unit | Qty | Rate (MVR) | Amount (MVR)
Bill No : 1
Preliminaries
1.1 | General Notes
(a) Allow for all costs and expenses for complying with the General Conditions of Contract and General Requirements in Specifications.
(b) Any services not specifically provided for herein will be deemed to be included in the rates of other items in the BOQ or under additional works.
1.2 | Site Management , Staff & Office Maintain Cost
1 | Allow for site management cost including technical staff etc. | Item | 1 |  | 0
2 | Allow for temporary office maintain at site & maintaining facilities including office equipment , stationeries , computers & printers , if any other cost. | Item | 1 |  | 0
3 | Allow to the Contractor to include plant , machineries and equipment cost related to the works. | Item | 1 |  | 0
1.3 | Temporary Fencing and Hoarding
1 | Supply, erect & maintain of a fence through out the construction period and hoarding all along the perimeter of the site until completion. | Item | 1 |  | 0
1.4 | Safety On Site and Site Security Works
1 | Providing and maintains adequate safety measures for whole workers , staff and authorized visitors and site security works for the works and people until completion of the works. | Item | 1 |  | 0
1.5 | Name Board and Sign Board
1 | Allow for making & maintain name board until completion the works. | Item | 1 |  | 0
2 | Allow for making & maintain sign board until completion the works. | Item | 1 |  | 0
1.6 | Clean-up
1 | Allow for keeping all the site tidy and clean, and for clearance of the site to the satisfaction of the Engineer/the Employer on completion of the contract. | Item | 1 |  | 0
1.7 | Setting Out
1 | Setting out of the Works | Item | 1 |  | 0
1.8 | Precautionary , protect on ground or underground existing utilities , structures , services until complete the works.
1 | Allow for precaution measures & maintaining for existing building , structure , foundation until completion the works as required. If there is any existing services to be protected can be included under this item. | Item | 1 |  | 0
1.9 | Contractual Requirement
1 | Provide all insurances under the contract as in Conditions of Contract. | Item | 1 |  | 0
2 | Provide performance bond as per the conditions of contract. | Item | 1 |  | 0
3 | Provide monthly progress report ( couple of original copies ) with photos prints each month. | Item | 1 |  | 0
4 | Provide originals and copies of "As Built Drawings" as per the contact. | Item | 1 |  | 0
5 | Provide originals and copies of operation and maintenance data manuals as per the contract stated. | Item | 1 |  | 0
6 | Payment to Relevant Statutory Utility Services Organizations for relocation of existing services as specified, If available. | Item | 1 |  | 0
| Total of Bill No: 01 - Carried to Bill Summary |  |  |  | 0

## Bill 2 - Ground Works
Item | Description | Unit | Qty | Rate (MVR) | Amount (MVR)
Bill No: 02
Ground Works
2.1 | General
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, dewatering, keep sides plumb, backfilling, consolidating and disposing surplus & debris from site.
(b) All are according to the detailed drawing and specification.
(c) Rate shall include all the works completely unless other wise measured separately.
(d) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed for completion.
2.2 | Site clearance
1 | Clearing site including if any trees, stumps , roots etc . Rate to include disposal of material away from the site. | m² | 4600 |  | 0
( Entire Land )
2.3 | Excavation
(a) Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork and disposal of excavated material from site.
1 | Excavation for strip foundation | m³ | 1307 |  | 0
2 | Tie beam | m³ | 145 |  | 0
2.4 | Back Filling & Earth Compaction
1 | Back filling & well compact excavated area with suitable material as directed by the engineer. | Item | 1 |  | 0
2 | Allow to make floor preparation before placing ground floor slab. Rate to include compaction, leveling, filling etc.. | Item | 1 |  | 0
2.5 | Dewatering
1 | Allow for dewatering during construction period using suitable system as required. This amount shall cover the removal of surface water collected by rain , under ground water or etc. | Item | 1 |  | 0
2.6 | Damp Proof Membrane
(a) Rates shall include for dressing around and sealing to all penetrations. All works according to the drawing.
Damp Proof Membrane for
1 | Bottom of Strip Foundation & Tie Beam | m² | 1336 |  | 0
2 | Sides of Strip Foundation & Tie Beam | m² | 723 |  | 0
3 | Before placing ground floor slab | m² | 2586 |  | 0
2.7 | Water Proofing
Rates shall include for dressing around and sealing to all penetrations
Apply slurry type waterproofing to all surfaces of concrete below ground level in accordance with specification , drawings and manufacturer's instructions.
1 | Strip Foundation & Tie Beam | m² | 1336 |  | 0
2 | Column | m² | 280 |  | 0
3 | Water Tank | m² | 92 |  | 0
| Total Of Bill No: 02 - Carried to Bill summary |  |  |  | 0

## Bill 3 - Concrete Works
Item | Description | Unit | Qty | Rate (MVR) | Amount (MVR)
Bill No: 03
Concrete Works
3 | General
(a)The Bidder is requested to refer the General Notes, Schedules, Drawings, Specifications and other relevant documents.
(b) Rates shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
(c) Mix ratio for reinforced concrete shall be 1:3:6 and lean concrete shall be 1:2:4 by volume.
(d) Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork and excavated tolerances.
(e) Rate to include water proofing compound/admixtures to concrete for wet area unless other wise measured separately. separately.
( f ) All works are according to the drawing and Rate to include all the work items unless other wise measured separately.
(g) All works are according to the drawing and technical specification.
(h) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed.
1 | Allow for concrete testing works until completion the works. | Item | 1 |  | 0
3.1 | Concrete Works
3.1.1 | Blinding Concrete
1 | 50 mm thick blinding/lean concrete to bottom | m² | 1045 |  | 0
Reinforced Concrete
In-situ reinforced concrete to:
3.1.2 | Foundation To Ground Floor Level
1 | Footing | m³ | 479 |  | 0
2 | Column | m³ | 27 |  | 0
3 | Lift Base & Wall | m³ | 12 |  | 0
4 | Staircase Base | m³ | 5 |  | 0
5 | Ground Floor Slab - 100 mm thk. | m³ | 258 |  | 0
6 | Tie Beam | m³ | 145 |  | 0
3.1.3 | Ground Floor Level to First Floor Level
1 | Column | m³ | 133 |  | 0
2 | Staircase | m³ | 15.75 |  | 0
3 | Lift Wall | m³ | 23 |  | 0
4 | Slab | m³ | 400 |  | 0
5 | Beam | m³ | 179 |  | 0
6 | Water Tank | m³ | 14 |  | 0
3.1.4 | First Floor Level to Second Floor Level
1 | Column | m³ | 133 |  | 0
2 | Staircase | m³ | 15.75 |  | 0
3 | Lift Wall | m³ | 23 |  | 0
4 | Slab | m³ | 345 |  | 0
5 | Beam | m³ | 170 |  | 0
3.1.5 | Second Floor Level to Roof Level
1 | Column | m³ | 107 |  | 0
2 | Lift Wall | m³ | 23 |  | 0
3 | Slab | m³ | 230 |  | 0
4 | Beam | m³ | 140 |  | 0
5 | Concrete Wall - 125 mm thick | m³ | 24.25 |  | 0
3.2 | Formwork
(a) Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes and removal of formwork.
3.2.1 | Foundation To Ground Floor Level
1 | Footing | m² | 663 |  | 0
2 | Column | m² | 280 |  | 0
3 | Lift Base & Wall | m² | 85.5 |  | 0
4 | Staircase Base | m² | 38 |  | 0
5 | Tie Beam | m² | 1165 |  | 0
3.2.2 | Ground Floor Level to First Floor Level
1 | Column | m² | 1409 |  | 0
2 | Staircase | m² | 117 |  | 0
3 | Lift Wall | m² | 307.25 |  | 0
4 | Slab | m² | 2450 |  | 0
5 | Beam | m² | 1988 |  | 0
6 | Water Tank | m² | 140 |  | 0
3.2.3 | First Floor Level to Second Floor Level
1 | Column | m² | 1409 |  | 0
2 | Staircase | m² | 117 |  | 0
3 | Lift Wall | m² | 307.25 |  | 0
4 | Slab | m² | 1920 |  | 0
5 | Beam | m² | 1900 |  | 0
3.2.4 | Second Floor Level to Roof Level
1 | Column | m² | 1127 |  | 0
2 | Lift Wall | m² | 307.25 |  | 0
3 | Slab | m² | 1538 |  | 0
4 | Beam | m² | 1300 |  | 0
5 | Concrete Wall - 125 mm thick | m² | 379 |  | 0
3.3 | Reinforcement
(a) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings , supports including tie wire and chair supports, laps , couplers , distribution bars and wastage.
(b) All reinforcing bars shall be high strength bars.
(c) All in accordance with the drawings and specifications.
3.3.1 | Foundation To Ground Floor Level
1 | Footing | t | 24 |  | 0
2 | Column | t | 8 |  | 0
3 | Lift Base & Wall | t | 1.5 |  | 0
4 | Staircase Base | t | 0.5 |  | 0
5 | Ground Floor Slab | t | 11 |  | 0
6 | Tie Beam | t | 17 |  | 0
3.3.2 | Ground Floor Level to First Floor Level
1 | Column | t | 26 |  | 0
2 | Staircase | t | 1.5 |  | 0
3 | Lift Wall | t | 2.5 |  | 0
4 | Slab | t | 28 |  | 0
5 | Beam | t | 49 |  | 0
6 | Water Tank | t | 1.5 |  | 0
3.3.3 | First Floor Level to Second Floor Level
1 | Column | t | 26 |  | 0
2 | Staircase | t | 1.5 |  | 0
3 | Lift Wall | t | 2.5 |  | 0
4 | Slab | t | 25 |  | 0
5 | Beam | t | 46 |  | 0
3.3.4 | Second Floor Level to Roof Level
1 | Column | t | 19 |  | 0
2 | Lift Wall | t | 2.5 |  | 0
3 | Slab | t | 17 |  | 0
4 | Beam | t | 38 |  | 0
5 | Concrete Wall - 125 mm thick | t | 2.5 |  | 0
3.4 | Other Concrete Works
Lintel Works
3.4.1 | Provide lintel where the door/windows do not touch the concrete surface. Rate to include reinforcement , formwork & concrete completely .
1 | Ground Floor | Item | 1 |  | 0
2 | First Floor | Item | 1 |  | 0
3 | Second Floor | Item | 1 |  | 0
3.4.2 | Vanity for Toilets & Pantry
Preparation of vanity for toilets & pantry area as shown in the drawing. Rate to include reinforcement , formwork & concrete completely .
1 | Ground Floor | Item | 1 |  | 0
2 | First Floor | Item | 1 |  | 0
3 | Second Floor | Item | 1 |  | 0
3.4.3 | Expansion Joint
Allow to make expansion joint completely as shown in the detailed drawing.
1 | Ground Floor | m | 41 |  | 0
2 | First Floor | m | 43 |  | 0
3 | Second Floor | m | 40 |  | 0
4 | Roof | m | 27 |  | 0
3.4.4 | Allow to making steps/stair at ground floor building entrance points as shown in the detailed drawing completely. | Item | 1 |  | 0
3.4.5 | Preparation of ramps for entrance locations to the building at ground floor as shown in the detailed drawing. Rate to include reinforcement , formwork , concrete & related works completely . | m² | 70 |  | 0
3.4.6 | Provide 150 mm thk. parapet wall as shown in the drawing completely. Rate to include reinforcement , formwork etc …
3.4.6.1 | First Floor
1 | 250 mm height | m | 64 |  | 0
2 | 1800 mm height | m | 28 |  | 0
3.4.6.2 | Second Floor
1 | 1800 mm height | m | 98 |  | 0
3.4.6.3 | Roof Floor/Top
1 | 250 mm height | m | 199 |  | 0
3.5 | Water Proofing for Wet Surface
3.5.1 | Application of approved water proofing chemical for toilets floor , in accordance with the drawings , specifications and manufacture instructions. |  |  |  |  | Toilets and Bathrooms walls.
1 | Ground floor | m² | 100 |  | 0
2 | First floor | m² | 74 |  | 0
3 | Second floor | m² | 53 |  | 0
3.5.2 | Application of approved water proofing chemical for balcony/terrace area , in accordance with the drawings , specifications and manufacture instructions. |  |  |  |  | Toilets and Bathrooms walls.
1 | Second floor | m² | 847 |  | 0
2 | Roof | m² | 1697 |  | 0
3.6 | Cap Portico Canopy - Waterproofing
| Application of approved water proofing and related works for canopy top surface according to shown detailed drawing completely. Drg No : H9-11-503R01. | Item | 1 |  | 0
| Total Of Bill No: 03 - Carried to Bill Summary |  |  |  | 0

## Bill 4 - Masonry & Plastering
Item | Description | Unit | Qty | Rate (MVR) | Amount (MVR)
Bill No: 04
Masonry & Plastering
4.1 | General
(a) The Bidder is requested to refer the General Notes, Schedules, Drawings, Specifications and other relevant documents.
(b) Rates shall include for cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary fractional size blocks , all necessary machine cutting , filling of gaps , cutting or forming chases or edges of floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding , temporary supports to openings and for all necessary making good.
(c) Suitable filling material shall be used in all joints of concrete and masonry as a bonding agent according to the drawing.
(d) Rate shall include water proofing chemicals/admixtures unless other wise measured separately.
(e) All in accordance with the drawing and specification & The rates shall cover all the works completely unless other wise measured separately.
(f) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed.
4.2 | Cement Block Work
External Wall
4.2.1 | 150 mm thick vertical Hallow Block wall in 1:5 cement sand mortar .
1 | Ground floor | m² | 972 |  | 0
2 | First floor | m² | 803 |  | 0
3 | Second floor | m² | 631 |  | 0
Internal Wall
4.2.2 | 150 mm thick vertical Hallow Block wall in 1:5 cement sand mortar .
1 | Ground floor | m² | 1884 |  | 0
2 | First floor | m² | 1510 |  | 0
3 | Second floor | m² | 677 |  | 0
Internal Wall
4.2.3 | 200 mm thick vertical Solid Block wall in 1:5 cement sand mortar .
1 | Ground floor | m² | 834 |  | 0
2 | First floor | m² | 595 |  | 0
3 | Second floor | m² | 197 |  | 0
4.3 | Plastering
(a) Cement plastering on walls and concrete surfaces as specified incl. wire mesh at the joints of concrete surfaces and walls. Rates shall include for cutting all decorative grooves as shown in the drawing .
(b) Rates for plastering shall includes for forming doors and windows revels.
(c) Rates for plastering shall include for providing chamfered edges straight and neat edges.
(d) Rate shall include water proofing admixtures/chemicals for external plastering.
(e) Rate to include steel mesh, fiber mesh where necessary & all works are according to the drawing.
(f) Rate to include Boss PU25 or Similar Anti Fungus Silicon Fill .
External Walls
4.3.1 | 20 mm thk. External plastering , 10 mm thk. 1 layer & 10 mm thk. 2 layer , on all external surface with 1:5 cement sand mortar finish with semi rough.
1 | Ground floor | m² | 1010 |  | 0
2 | First floor | m² | 834 |  | 0
3 | Second floor | m² | 655 |  | 0
4 | Roof floor | m² | 87 |  | 0
4.3.2 | 20 mm thk. Parapet wall plastering 10 mm thk. 1 layer & 10 mm thk. 2 layer , on all external surface with 1:5 cement sand mortar finish with semi rough.
1 | First floor | m² | 133 |  | 0
2 | Second floor | m² | 353 |  | 0
3 | Roof floor | m² | 100 |  | 0
Internal Walls
4.3.3 | 13 mm thk. Internal plastering on all internal surface with 1:5 cement sand mortar finish with smooth.
1 | Ground floor | m² | 5878 |  | 0
2 | First floor | m² | 3718 |  | 0
3 | Second floor | m² | 2144 |  | 0
4 | Roof floor | m² | 87 |  | 0
4.4 | Cement Screed/Flooring ( 38 mm thk. )
For General Floor
4.4.1 | Cement sand mortar screed 1:3 with rough finish for tilling works.
1 | Ground floor | m² | 2101 |  | 0
2 | First floor | m² | 1873 |  | 0
3 | Second floor | m² | 1259 |  | 0
For Staircase
4.4.2 | Cement sand mortar screed 1:3 with rough finish for tilling works.
1 | Ground floor | m² | 161 |  | 0
2 | First floor | m² | 161 |  | 0
For Toilets
4.4.3 | Cement sand mortar screed 1:3 with rough finish for tilling works.
1 | Ground floor | m² | 100 |  | 0
2 | First floor | m² | 74 |  | 0
3 | Second floor | m² | 53 |  | 0
For Terrace
4.4.4 | Cement sand mortar screed 1:3 with rough finish for tilling works.
1 | Second floor | m² | 847 |  | 0
2 | Roof terrace | m² | 1697 |  | 0
| Total Of Bill No: 04 - Carried to Bill Summary |  |  |  | 0

## Bill 5 MetalWorks
Item | Description | Unit | Qty | Rate (MVR) | Amount (MVR)
Bill No: 05
Metal Works
5.1 | General
(a) The Bidder is requested to refer the General Notes, Schedules, Drawings, Specifications and other relevant documents.
(b) Rates shall include for: all fabrication work, welding, marking, drilling, for bolts including those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
(c) Rates shall include for all painting and finished as specified.
(d)Rates shall include for fabrication and erection and temporary supports and fixing in to position.
(e) The contractor shall submit sample of SS and GI sections and all other accessories for approval for the Engineer.
(f) All are according to the drawings and specification. The rates shall cover all the works completely unless other wise measured separately.
(g) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed.
5.2 | Main Staircase Railing
Supply , fabricate and fixing main staircase handrail completely according to shown in the drawings. Rate to include finishing works etc..
1 | Ground floor | m | 115 |  | 0
2 | First floor | m | 115 |  | 0
3 | Second floor | m | 66 |  | 0
5.3 | Access Ladder
Supply , fabricate and fixing access ladder for roof top from second floor, completely according to the detailed drawings , specification. Drg : H9-11-104R01
1 | Second floor | Item | 1 |  | 0
5.4 | Stainless Steel Wall Guard
| Supply and fixing 50 mm stainless steel wall guard for courtroom completely according to the detailed drawings , specification. | Item | 1 |  | 0
| Total Of Bill No: 05 - Carried to Bill Summary |  |  |  | 0

## Bill 6 - Ceiling
Item | Description | Unit | Qty | Rate (MVR) | Amount (MVR)
Bill No: 06
Ceiling Works
6 | General
(a) The Bidder is requested to refer the General Notes, Schedules, Drawings, Specifications and other relevant documents.
(b) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
(c) The rates shall cover all the works completely according to the drawing unless otherwise measured separately.
(d) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed.
(e) Please see finishing schedule ''note'' for more details.
6.1 | Proprietary Acoustic Ceiling Panel
Supply & fixing proprietary acoustic ceiling panel.
1 | Ground floor | m² | 1616 |  | 0
2 | First floor | m² | 1591 |  | 0
3 | Second floor | m² | 971 |  | 0
6.2 | Plaster Board Ceiling Panels
Supply & fixing suspended 8mm thk plaster board ceiling panels with frame , fittings & accessories etc.. Rate to include one coat primer & two coats of emulsion paint finish.
1 | Ground floor | m² | 180 |  | 0
2 | First floor | m² | 150 |  | 0
3 | Second floor | m² | 236 |  | 0
6.3 | Ceiling For Main Carport
| Supply & fixing ceiling at main carport area as shown in the drawing with frame , fittings & accessories etc.. | Item | 1 |  | 0
| Total Of Bill No: 06 - Carried to Bill Summary |  |  |  | 0

## Bill 7 - Door&Window
Item | Description | Unit | Qty | Rate (MVR) | Amount (MVR)
Bill No : 07
Door , Window & Glass Works
7.1 | General
(a) The Bidder is requested to refer the General Notes, Schedules, Drawings, Specifications and other relevant documents.
(b) Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware with other accessories. Material should be with superior quality.
(c) Rates shall include for door frames and window frames, mullions, transoms, trims, glass, tinting, timber panels, boardings, framing, lining, fastenings and all fixings and installation.
(d) All louvers, windows and sliding doors shall be as specified in the drawing & schedules..
(e) Rates shall include for all painting/coating as specified.
(f) The contractor shall submit sample for aluminum frames, timber door & window hardware , tempered heat reflective glass , shutter sample , sealants for door and windows , accessories and other similar for approval of the Engineer.
(g) All are according to drawings and specifications. The rates shall cover all the work items completely unless other wise separately.
(h) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed.
(i) The contractor shall refer schedules of door and window for more details to pricing.
7.2 | Door Units
7.2.1 | Ground Floor
1 | D1 - 1650 x 2750 mm aluminum door with 12 mm thk tempered clear glass. | nr | 2 |  | 0
2 | D2 - 4200 x 2750 mm aluminum door with 12 mm thk tempered clear glass. | nr | 2 |  | 0
3 | D3 - 1045 x 2100 mm solid wood door with 90 minute fire rated. | nr | 16 |  | 0
4 | D4 - 1045 x 2100 mm solid wood door with 30 minute fire rated. | nr | 33 |  | 0
5 | D5 - 900 x 2100 mm solid wood door with 90 minute fire rated. | nr | 10 |  | 0
6 | D6 - 1045 x 2100 mm solid wood door with 90 minute fire rated. | nr | 26 |  | 0
7 | D7 - 900 x 2100 mm solid wood door with 30 minute fire rated. | nr | 22 |  | 0
8 | D8 - 1045 x 2100 mm MDF plywood door with fixed glass , 60 minute fire rated. | nr | 5 |  | 0
9 | D9 - 1045 x 2100 mm plywood door with 60 minute fire rated. | nr | 21 |  | 0
10 | D10 - 1045 x 2100 mm solid timber door with 90 minute fire rated. | nr | 5 |  | 0
11 | D11 - 810 x 2100 mm solid timber door with 90 minute fire rated. | nr | 2 |  | 0
12 | D12 - 900 x 2100 mm solid plywood door with 30 minute fire rated. | nr | 4 |  | 0
13 | R1 - 4700 x 3000 mm roller shutter with 30 min. fire rated. | nr | 1 |  | 0
14 | R2 - 3000 x 3000 mm roller shutter with 30 min. fire rated. | nr | 7 |  | 0
15 | G1 - 3000 x 3000 mm sliding gate for entrance gate. | nr | 7 |  | 0
16 | G2 - 4800 x 2000 mm sliding gate for entrance gate. | nr | 2 |  | 0
7.2.2 | First Floor
1 | D3 - 1045 x 2100 mm solid wood door with 90 minute fire rated. | nr | 9 |  | 0
2 | D4 - 1045 x 2100 mm solid wood door with 30 minute fire rated. | nr | 20 |  | 0
3 | D5 - 900 x 2100 mm solid wood door with 90 minute fire rated. | nr | 6 |  | 0
4 | D6 - 1045 x 2100 mm solid wood door with 90 minute fire rated. | nr | 21 |  | 0
5 | D7 - 900 x 2100 mm solid wood door with 30 minute fire rated. | nr | 14 |  | 0
6 | D8 - 1045 x 2100 mm MDF plywood door with fixed glass , 60 minute fire rated. | nr | 9 |  | 0
7 | D9 - 1045 x 2100 mm plywood door with 60 minute fire rated. | nr | 14 |  | 0
8 | D12 - 900 x 2100 mm solid plywood door with 30 minute fire rated. | nr | 4 |  | 0
7.2.3 | Second Floor
1 | D3 - 1045 x 2100 mm solid wood door with 90 minute fire rated. | nr | 5 |  | 0
2 | D4 - 1045 x 2100 mm solid wood door with 30 minute fire rated. | nr | 4 |  | 0
3 | D6 - 1045 x 2100 mm solid wood door with 90 minute fire rated. | nr | 2 |  | 0
4 | D7 - 900 x 2100 mm solid wood door with 30 minute fire rated. | nr | 9 |  | 0
5 | D8 - 1045 x 2100 mm MDF plywood door with fixed glass , 60 minute fire rated. | nr | 12 |  | 0
6 | D9 - 1045 x 2100 mm plywood door with 60 minute fire rated. | nr | 9 |  | 0
7 | D10 - 1045 x 2100 mm solid timber door with 90 minute fire rated. | nr | 1 |  | 0
8 | D12 - 900 x 2100 mm solid plywood door with 30 minute fire rated. | nr | 4 |  | 0
7.2.4 | Roof/Terrace
1 | D14 - 800 x 2000 mm plywood door | nr | 3 |  | 0
7.3 | Window Units
7.3.1 | Ground Floor
1 | W1 - 1650 x 2750 mm aluminum frame window with 12 mm thk. Tempered clear glass. | nr | 8 |  | 0
2 | W2 - 4200 x 2750 mm aluminum frame window with 12 mm thk. Tempered clear glass. | nr | 1 |  | 0
3 | W3 - 750 x 6000 mm aluminum frame window with 12 mm thk. Tempered clear glass. | nr | 7 |  | 0
4 | W5 - 750 x 750 mm aluminum frame window with 12 mm thk. Tempered clear glass. | nr | 4 |  | 0
7.3.2 | First Floor
1 | W2 - 4200 x 2750 mm aluminum frame window with 12 mm thk. Tempered clear glass. | nr | 2 |  | 0
2 | W3 - 750 x 6000 mm aluminum frame window with 12 mm thk. Tempered clear glass. | nr | 9 |  | 0
3 | W4 - 750 x 2750 mm aluminum frame window with 12 mm thk. Tempered clear glass. | nr | 7 |  | 0
4 | W5 - 750 x 750 mm aluminum frame window with 12 mm thk. Tempered clear glass. | nr | 4 |  | 0
5 | CW - 16144 x 2750 mm aluminum frame window with 12 mm thk. Tempered clear glass. Rate to include cladding as shown in the drawing. | nr | 1 |  | 0
7.3.3 | Second Floor
1 | W2 - 4200 x 2750 mm aluminum frame window with 12 mm thk. Tempered clear glass. | nr | 2 |  | 0
2 | W3 - 750 x 6000 mm aluminum frame window with 12 mm thk. Tempered clear glass. | nr | 2 |  | 0
3 | W4 - 750 x 2750 mm aluminum frame window with 12 mm thk. Tempered clear glass. | nr | 3 |  | 0
4 | W6 - 750 x 1800 mm aluminum frame window with 12 mm thk. Tempered clear glass. | nr | 10 |  | 0
5 | CW - 16144 x 2750 mm aluminum frame window with 12 mm thk. Tempered clear glass. Rate to include cladding as shown in the drawing. | nr | 1 |  | 0
| Total Of Bill No: 07 - Carried to Bill Summary |  |  |  | 0

## Bill 8 - Painting
Item | Description | Unit | Qty | Rate (MVR) | Amount (MVR)
Bill No: 08
Painting Works
8.1 | General
Painting Works
(a) Rates shall include for the provision , erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window furniture.
(b) All painting work shall be carried in accordance with the Specifications
(c) Colour to be approved by the Architect & the Engineer.
(d) The brand of paint shall be with approved manufacture.
(e) The rates shall cover all the works completely according to the drawing unless otherwise measured separately.
(f) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed.
(g) Please see finishing schedule for more details.
8.2 | Internal Walls
Emulsion paint by approved manufacture finishing with wall putty , one coat of primer , two paint coat interior grade on internal wall , columns , beam. Rate to include walls smoothing works etc.
1 | Ground floor | m² | 5878 |  | 0
2 | First floor | m² | 3718 |  | 0
3 | Second floor | m² | 2144 |  | 0
4 | Roof floor | m² | 87 |  | 0
8.3 | External Walls ( Except Cladding Area , Parapet Wall Area & External Work ( Bill:15) )
Apply paint by approved manufacture finishing with one coat of primer , two paint coat exterior grade on all external surface finish with texture.
1 | Ground floor | m² | 0 |  | 0
2 | First floor | m² | 0 |  | 0
3 | Second floor | m² | 0 |  | 0
4 | Roof floor | m² | 87 |  | 0
8.3.1 | Parapet Wall
Apply paint by approved manufacture finishing with one coat of primer , two paint coat exterior grade on all external surface finish with texture.
1 | First floor | m² | 133 |  | 0
2 | Second floor | m² | 353 |  | 0
3 | Roof floor | m² | 100 |  | 0
8.4 | Internal Floor
Apply of approved manufacture Epoxy Floor painting according to the drawing & finishing schedules.
1 | Ground floor | m² | 650 |  | 0
2 | First floor | m² | 455 |  | 0
3 | Second floor | m² | 194 |  | 0
8.5 | Soffit Painting
Exposed slab finish by emulsion paint according to the finishing schedule.
1 | Ground floor | m² | 364 |  | 0
2 | First floor | m² | 80 |  | 0
3 | Second floor | m² | 46 |  | 0
| Total Of Bill No: 08 - Carried to Bill Summary |  |  |  | 0

## Bill 9 - Tile & cladding
Item | Description | Unit | Qty | Rate (MVR) | Amount (MVR)
Bill No: 09
Floor & Wall Finishing & Cladding Works
9.1 | General
Floor Finishing
(a) Rates shall include for fixing , paving , grouting , pointing , finishing and any other similar works to ensure the required finish. Tile bed has measured separately under Masonry Works.
(b) All materials shall be approved quality/brand or similar as given in the technical specifications and finishing schedule.
(c) The contractor shall submit samples of all finishing materials for approval of the Engineer / the Architect.
(d) All materials shall be fixed using a proper adhesive/bonding material.
(e) The rates shall cover all the works completely according to the drawing unless otherwise measured separately.
(f) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed.
(g) Please see finishing schedule for more details.
Wall Finishing
(a) Rates shall include for fixing , paving , grouting , pointing , finishing and any other similar works to ensure the required finish. Tile bed has measured separately under Masonry Works.
(b) All acoustic surface shall be approved quality/brand or similar as given in the technical specifications and finishing schedule.
( c ) The contractor shall submit samples of all finishing materials for approval of the Engineer / the Architect.
( d ) The rates shall cover all the works completely according to the drawing unless otherwise measured separately.
(e) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed.
( f ) Please see finishing schedule for more details.
9.2 | Floor Finishes
9.2.1 | 600 x 600 x 8 mm homogenous tile
1 | Ground Floor | m² | 836 |  | 0
2 | First floor | m² | 1032 |  | 0
3 | Second floor | m² | 202 |  | 0
9.2.2 | Supply & laying carpet
1 | Ground Floor | m² | 399 |  | 0
2 | First floor | m² | 294 |  | 0
9.2.3 | 300 x 300 x 6 mm homogeneous tile - toilet floor
1 | Ground Floor | m² | 100 |  | 0
2 | First floor | m² | 74 |  | 0
3 | Second floor | m² | 53 |  | 0
9.2.4 | Raised Access Flooring System
1 | Second floor | m² | 17 |  | 0
9.2.5 | Vinyl Tiles
1 | Ground Floor | m² | 598 |  | 0
2 | First floor | m² | 510 |  | 0
3 | Second floor | m² | 877 |  | 0
9.2.6 | Concrete Paving Block
Rate to include leveling floor & etc..
1 | Ground Floor | m² | 896 |  | 0
9.2.7 | Timber Plank Podium For Courtrooms
| Supply and fixing timber plank podium in side the courtroom at judge located area as shown in the drawing , specification completely. | m² | 156 |  | 0
9.3 | Wall Finishes
9.3.1 | 600 x 300 x 8 mm homogeneous tile - toilet wall
1 | Ground Floor | m² | 340 |  | 0
2 | First floor | m² | 270 |  | 0
3 | Second floor | m² | 186 |  | 0
9.3.2 | Acoustic Wall Panel
1 | Ground Floor | m² | 807 |  | 0
2 | First floor | m² | 577 |  | 0
3 | Second floor | m² | 361 |  | 0
9.4 | Tile Skirting
Fixing tile skirting according to the drawing & schedule.
1 | Ground floor | Item | 1 |  | 0
2 | First floor | Item | 1 |  | 0
3 | Second floor | Item | 1 |  | 0
9.5 | Staircase Tiling
Supply & fixing tile for staircase as requirement/finishing schedule.
1 | Ground floor | m² | 161 |  | 0
2 | First floor | m² | 161 |  | 0
9.6 | Vanity Finishing Works
Finishing works for vanity at toilets & panty area , according to the drawing. Rate to shall include all the works completely.
1 | Ground floor | Item | 1 |  | 0
2 | First floor | Item | 1 |  | 0
3 | Second floor | Item | 1 |  | 0
9.7 | Main Carport - Floor Finishing Works
| Allow to make main car portico floor finishing works as shown in the drawing , specification completely. Drg No : H9-11-503R01. | Item | 1 |  | 0
9.8 | Building Shading
| Allow to supply & fixing building sun shading system as shown in the detailed drawing completely. Drg No : H9-11-104R01 & 503R01 | Item | 1 |  | 0
9.9 | Cap Portico Canopy
| Allow to make main car portico canopy top floor finishing and related works as shown in the drawing , specification completely. Drg No : H9-11-503R01. | Item | 1 |  | 0
9.1 | Exterior Wall Cladding
Supply and fixing 1200 x 1200 x 25 mm proprietary interlocking aluminum panel cladding system fixed to manufacture's specification. ( Panel size to be value engineered ) Drg : H9-11-503R01 & 505R01
1 | Ground floor | m² | 1010 |  | 0
2 | First floor | m² | 834 |  | 0
3 | Second floor | m² | 655 |  | 0
| Total Of Bill No: 09 - Carried to Bill Summary |  |  |  | 0

## Bill 10 Electrical
Item | Description | Unit | Qty | Rate (MVR) | Amount (MVR)
Bill No : 10
Electrical Installation
10.1 | General
(a) The Bidder is requested to refer the General Notes, Schedules, Drawings, Specifications and other relevant documents.
(b) All materials, equipment, wiring and workmanship shall good quality as required by STELCO.
(c) Rates shall include for electrical conduits , Cable , PVC sun box , fittings, equipment and similar all fixings to various building surfaces.
(d) Rates shall include for screws , nails , bolts, nuts , standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
(e) Rates for work in trench shall include for excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus soil from site.
(f) Rates shall include all costs associated with provision of all holes , openings , chases in block walls , duct and other builders work completely.
(g) Electrical fittings shall in approved manufactures & it will be measured under separately.
(h) A point wiring for power point is measured as one point including all for each socket outlets and wiring for light & fan is measured as one point including all. All the fitting will be measured separately.
(i) Rates shall include for supply and complete installation
(j) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed.
10.2 | Main Connection
| Supply STELCO main connection as required completely. Rate to include main cable/11 KV incoming cable and laying cost from transformer to main panel board completely. | Item | 1 |  | 0
10.3 | Main Panel Board/Main Switch Board
| Supply and installation of Main Panel Board completely including all the accessories as shown in detailed electrical drawings and technical specifications. Rate to include proper earthing system , connections , testing and commissioning as to the requirement of STELCO , wiring , switch and other fittings etc. Rate to include necessary builders work completely finishing. | Item | 1 |  | 0
10.4 | Distribution Board
Supply and installation Distribution Board for power distribution with cable from Main Panel Board to require location with other required fittings completely as shown in the drawings and technical data. Rate to include cable , conduit and all the builders work completely.
1 | Ground floor | nr | 32 |  | 0
2 | First floor | nr | 28 |  | 0
3 | Second floor | nr | 10 |  | 0
4 | Roof | nr | 4 |  | 0
10.5 | Testing and Commissioning Works
| Allow for whole electrical works testing and commissioning. | Item | 1 |  | 0
10.6 | Electrical Wiring
Electrical wiring with copper conductor cable in conduits through walls , casing on soffits of slab or through soffit , through ceiling as specified. Rates shall include related fittings and accessories completely.
10.6.1 | Wiring with 1.5 mm² cable to lighting points
1 | Ground Floor | nr | 317 |  | 0
2 | First Floor | nr | 203 |  | 0
3 | Second Floor | nr | 108 |  | 0
10.6.2 | Wiring with 2.5 mm² cable to power points
1 | Ground Floor | nr | 402 |  | 0
2 | First Floor | nr | 121 |  | 0
3 | Second Floor | nr | 57 |  | 0
10.6.3 | Cable for Telephone Outlet , Computer Network Outlets , TV Points.
1 | Ground Floor | nr | 139 |  | 0
2 | First Floor | nr | 103 |  | 0
3 | Second Floor | nr | 66 |  | 0
10.7 | Light Fittings
Supply and fixing light fittings completely with approved manufactures.
All are accordance to the drawings and specification.
10.7.1 | Ground Floor
1 | 600 X 600 MM Recessed square panel light | nr | 277 |  | 0
2 | 2 x 36 W Surface mount fluorescent light with diffuser | nr | 37 |  | 0
3 | Exhaust fan | nr | 23 |  | 0
4 | T5 - Ceiling recessed tube light | nr | 64 |  | 0
5 | Emergency 3hr power pack/battery | m | 150 |  | 0
6 | 1 x 23W LED wall mount weather proof light | nr | 41 |  | 0
7 | 1 x 18W Compact fluorescent recessed down light | nr | 33 |  | 0
8 | Self contain wall mount emergency light | nr | 14 |  | 0
9 | Linear LED light with colour & brightness controller | m | 186 |  | 0
10.7.2 | First Floor
1 | 600 X 600 MM Recessed square panel light | nr | 378 |  | 0
2 | Exhaust fan | nr | 15 |  | 0
3 | T5 - Ceiling recessed tube light | nr | 53 |  | 0
4 | Emergency 3hr power pack/battery | m | 148 |  | 0
5 | 1 x 18W Compact fluorescent recessed down light | nr | 27 |  | 0
6 | Self contain wall mount emergency light | nr | 14 |  | 0
7 | Linear LED light with colour & brightness controller | m | 131 |  | 0
10.7.3 | Second Floor
1 | 600 X 600 MM Recessed square panel light | nr | 281 |  | 0
2 | Exhaust fan | nr | 12 |  | 0
3 | Emergency 3hr power pack/battery | m | 73 |  | 0
4 | 1 x 23W LED wall mount weather proof light | nr | 4 |  | 0
5 | 1 x 18W Compact fluorescent recessed down light | nr | 17 |  | 0
6 | Self contain wall mount emergency light | nr | 8 |  | 0
10.7.4 | Roof/Terrace
1 | 600 X 600 MM Recessed square panel light | nr | 3 |  | 0
10.8 | Socket Outlets
Supply and fixing socket outlets completely with approved manufactures.
All socket outlets shall be accordance to the drawings and specification.
10.8.1 | Ground Floor
1 | 1 Gang 13A | nr | 61 |  | 0
2 | 1 Gang 13A - Weather Proof | nr | 10 |  | 0
3 | 2 Gang 13A | nr | 192 |  | 0
4 | 2 x 2 Gang 13A | nr | 16 |  | 0
5 | 1 Gang 15A - Ceiling Concealed | nr | 97 |  | 0
6 | Computer Network Outlet - R145 | nr | 96 |  | 0
7 | Computer Network Outlet - R145 - Floor Concealed | nr | 14 |  | 0
8 | TV Point | nr | 3 |  | 0
9 | Floor Concealed Multimedia Outlet | nr | 27 |  | 0
10 | Connectivity POD Consisting 4 Gang 13A Socket | nr | 23 |  | 0
11 | 13A Fused Socket Outlet | nr | 18 |  | 0
12 | 1 Gang 13A Floor Concealed | nr | 14 |  | 0
10.8.2 | First Floor
1 | 1 Gang 13A | nr | 56 |  | 0
2 | 2 Gang 13A | nr | 127 |  | 0
3 | 2 x 2 Gang 13A | nr | 15 |  | 0
4 | 1 Gang 15A - Ceiling Concealed | nr | 71 |  | 0
5 | Computer Network Outlet - R145 | nr | 40 |  | 0
6 | Computer Network Outlet - R145 - Floor Concealed | nr | 10 |  | 0
7 | TV Point | nr | 2 |  | 0
8 | Floor Concealed Multimedia Outlet | nr | 21 |  | 0
9 | Connectivity POD Consisting 4 Gang 13A Socket | nr | 27 |  | 0
10 | 13A Fused Socket Outlet | nr | 13 |  | 0
11 | 1 Gang 13A Floor Concealed | nr | 10 |  | 0
10.8.3 | Second Floor
1 | 1 Gang 13A | nr | 25 |  | 0
2 | 1 Gang 13A - Weather Proof | nr | 1 |  | 0
3 | 2 Gang 13A | nr | 73 |  | 0
4 | 2 x 2 Gang 13A | nr | 5 |  | 0
5 | 1 Gang 15A - Ceiling Concealed | nr | 33 |  | 0
6 | Computer Network Outlet - R145 | nr | 20 |  | 0
7 | Computer Network Outlet - R145 - Floor Concealed | nr | 1 |  | 0
8 | TV Point | nr | 1 |  | 0
9 | Connectivity POD Consisting 4 Gang 13A Socket | nr | 45 |  | 0
10 | 13A Fused Socket Outlet | nr | 13 |  | 0
11 | 1 Gang 13A Floor Concealed | nr | 1 |  | 0
10.9 | Switches
Supply and fixing light switches completely with approved manufactures.
All are accordance to the drawings and specification.
10.9.1 | Ground Floor
1 | 1 Gang 2 Way | nr | 18 |  | 0
2 | 2 Gang 2 Way | nr | 7 |  | 0
3 | 1 Gang 1 Way | nr | 114 |  | 0
4 | 2 Gang 1 Way | nr | 10 |  | 0
5 | 3 Gang 1 Way | nr | 5 |  | 0
10.9.2 | First Floor
1 | 1 Gang 2 Way | nr | 10 |  | 0
2 | 1 Gang 1 Way | nr | 64 |  | 0
3 | 2 Gang 1 Way | nr | 8 |  | 0
4 | 3 Gang 1 Way | nr | 6 |  | 0
5 | 4 Gang 1 Way | nr | 9 |  | 0
10.9.3 | Second Floor
1 | 1 Gang 2 Way | nr | 2 |  | 0
2 | 1 Gang 1 Way | nr | 25 |  | 0
3 | 2 Gang 1 Way | nr | 3 |  | 0
4 | 3 Gang 1 Way | nr | 5 |  | 0
5 | 4 Gang 1 Way | nr | 13 |  | 0
10.9.4 | Roof/Terrace
3 | 1 Gang 1 Way | nr | 3 |  | 0
10.1 | Other Works
10.10.1 | CCTV Camera System
Supply & fixing CCTV camera as shown in the location drawing, specification & manufacture's instruction. Rate to include power supply , data cable , conduit & etc…
1 | Wall Mount CCTV Camera
1.1 | Ground floor | nr | 64 |  | 0
1.2 | First floor | nr | 41 |  | 0
1.3 | Second floor | nr | 17 |  | 0
2 | Wall Mount Outdoor CCTV Camera ( With Water Proof Cover )
1.1 | Ground floor | nr | 52 |  | 0
1.2 | Second floor | nr | 2 |  | 0
3 | Supply & fixing CCTV monitor panel/main control panel as shown in the drawing , specification & manufacture's instruction. Rate to include monitor panel , data storage , cable , power supply etc.. Completely. | Item | 1 |  | 0
4 | Supply & fixing wide angle CCTV camera, in side the lift as shown in the drawing , specification & manufacture's instruction. Rate to include power & data cable and other related fittings , accessories etc.. | nr | 4 |  | 0
10.10.2 | Signage Works
| Allow to provide signage as requirement of design for the works including identification signs , directional signs , warning & caution signs , wall mounted information signs , basic identification system elements , placement of signs , sign messaging , sign hardware system and installation etc... | Item | 1 |  | 0
10.10.3 | Earthing & Lightening Protection System
1 | Roof
| Supply & fixing lightening protection system as shown in the drawing. Rate to include conductor , pvc cover copper tape , clamp , cable , clips , potential equalization bar , soft drawn bars , all the builder's work , related fittings & accessories etc… | Item | 1 |  | 0
2 | Ground
| Supply & fixing earthing system as shown in the drawing. Rate to include earth rod embedded in inspection pit/test pit , ground cabling , all the builder's work , related fittings & accessories etc… | Item | 1 |  | 0
10.10.4 | Air Terminal Unit
| Supply & fixing/install early emission streamer air terminal unit radius 70m as shown in the drawing completely. | Item | 1 |  | 0
10.10.5 | Transformer
| Supply & install transformer as requirement of the project/building . Rate to including related builder's works , fittings & accessories etc.. | Item | 1 |  | 0
10.10.6 | Generator
| Supply & install generator as requirement of the project/building . Rate to including related builder's works , fittings & accessories etc.. | Item | 1 |  | 0
10.10.7 | Manhole - Power & Telecom
1 | Allow to make power manhole as shown in the detailed drawing completely. | Item | 1 |  | 0
2 | Allow to make telecom manhole as shown in the detailed drawing completely. | Item | 1 |  | 0
10.10.8 | Cable Tray
Supply & fixing/laying cable tray for telephone, cctv & power cables as shown in the detailed drawing completely.
10.10.8.1 | Ground floor
1 | For telephone & cctv | m | 40 |  | 0
2 | For power - 200 mm width | m | 17 |  | 0
3 | For power - 300 mm width | m | 58 |  | 0
10.10.8.2 | First floor
1 | For telephone & cctv | m | 4 |  | 0
2 | 50 mm width | m | 74 |  | 0
3 | 100 mm width | m | 11 |  | 0
4 | For power - 200 mm width | m | 4 |  | 0
10.10.8.3 | Second floor
1 | For telephone & cctv | m | 4 |  | 0
2 | 50 mm width | m | 32 |  | 0
3 | 100 mm width | m | 31 |  | 0
4 | 200 mm width | m | 27 |  | 0
10.10.9 | Server Room Equipment
1 | Supply & fixing/install server room equipment according to the requirement with cable , fittings , accessories etc. | Item | 1 |  | 0
| Total Of Bill No: 10 - Carried to Bill Summary |  |  |  | 0

## 11 Hydraulics & Drainage
Item | Description | Unit | Qty | Rate (MVR) | Amount (MVR)
Bill No: 11
Hydraulics , Drainage and Sanitary Fixtures
11.1 | General
(a) The Bidder is requested to refer the General Notes, Schedules, Drawings, Specifications and other relevant documents.
(b) Rates shall include for pipe laying works cutting & waste of pipe etc. & joining pipes , connecting pipes to sanitary fixture and appliances , valves , sockets, running joints, connectors, elbows, junctions, reducers, expansion joints , backnuts and similar , incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails and fixing complete.
(c) Rates shall include cutting and forming holes , mortises , chases and casting to block walls.
(d) Drainage works shall include excavation , pipe laying & backfilling and disposal of surplus soil from site. Rate to include necessary bends , junctions , reducers , valve & etc.
(e) All pipe work shall be uPVC.
(f) Rates for the sanitary fittings and applications shall include all the material for proper fixing as shown in the drawings with approved manufactures , assembling , jointing together with fixing component parts and perfect working order on completion and protecting the works.
(g) All sanitary fixtures used shall be of superior quality and approved by the Architect / the Engineer on submission of samples.
(h) Rates shall include all the works completely unless otherwise measured separately.
(i) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed.
11.2 | Main Connection
1 | Allow for main connection from MWSC completely. Rate to include statutory authorities charges and other relate cost. | Item | 1 |  | 0
2 | Building main sewer line connect to road main line. Rate to include all related charges. | Item | 1 |  | 0
3 | Building storm water & waste water line connect to road main drain. Rate to include all related charges. | Item | 1 |  | 0
11.3 | Pipe work - Fresh water
Allow for supply and installation of pipe work to all floors toilets , kitchen & for general works from basement pump room including all the necessary pipes , fittings and other accessories as shown in the detailed drawings.
1 | Ground floor | Item | 1 |  | 0
2 | First floor | Item | 1 |  | 0
3 | Second floor | Item | 1 |  | 0
11.4 | Pipe Work - Sewage , Waste Water & Storm Water
Pipe works for Sewage , Waste water & Storm water collection from all floor toilets , kitchens & terrace storm water to ground floor lifting station/collection chamber. Rate shall include necessary pipes , fittings , accessories & etc.
1 | Ground floor | Item | 1 |  | 0
2 | First floor | Item | 1 |  | 0
3 | Second floor | Item | 1 |  | 0
4 | Roof floor | Item | 1 |  | 0
11.5 | Sanitary Fixtures & Accessories
Supply and fixing sanitary fixtures according to the given drawing and technical specifications complete including brackets, flush pipes, overflows, plugs , washers , necessary fittings & accessories.
All the works according to the drawings and technical specifications.
11.5.1 | Ground Floor
1 | WC Complete Set | nr | 21 |  | 0
2 | Wash Basin Pedestal Type | nr | 17 |  | 0
3 | Wash Basin Counter Type | nr | 6 |  | 0
4 | Wash Basin Tap | nr | 23 |  | 0
5 | Mirror | nr | 23 |  | 0
6 | Muslim shower | nr | 21 |  | 0
7 | Toilet Paper Holder | nr | 21 |  | 0
8 | Soap Holder | nr | 23 |  | 0
11.5.2 | First floor
1 | WC Complete Set | nr | 12 |  | 0
2 | Wash Basin Pedestal Type | nr | 8 |  | 0
3 | Wash Basin Counter Type | nr | 6 |  | 0
4 | Wash Basin Tap | nr | 14 |  | 0
5 | Mirror | nr | 14 |  | 0
6 | Muslim shower | nr | 12 |  | 0
7 | Toilet Paper Holder | nr | 12 |  | 0
8 | Soap Holder | nr | 12 |  | 0
11.5.3 | Second floor
1 | WC Complete Set | nr | 9 |  | 0
2 | Wash Basin Pedestal Type | nr | 5 |  | 0
3 | Wash Basin Counter Type | nr | 6 |  | 0
4 | Wash Basin Tap | nr | 11 |  | 0
5 | Mirror | nr | 11 |  | 0
6 | Muslim shower | nr | 9 |  | 0
7 | Toilet Paper Holder | nr | 9 |  | 0
8 | Soap Holder | nr | 9 |  | 0
11.6 | Floor Trap
Supply and fixing floor trap according to the drawing & specification.
1 | Ground floor | nr | 21 |  | 0
2 | First floor | nr | 14 |  | 0
3 | Second floor | nr | 11 |  | 0
11.7 | Floor Waste
Supply and fixing floor waste according to the drawing & specification.
1 | Ground floor | nr | 4 |  | 0
2 | First floor | nr | 4 |  | 0
3 | Second floor | nr | 2 |  | 0
11.8 | Water Pumps
| Supply and installation of water booster Pumps completely, for fresh water supply including pump stand, connecting to pipe work and electricity as specified given in the drawing. Rate shall include all the works completely. | Item | 1 |  | 0
11.9 | Water Meters
| Supply and fixing of MWSC water meter at ground floor, for each floor completely according to the drawing. | Item | 1 |  | 0
11.1 | Roof Drain Outlets
Supply & fixing roof drain outlets as shown in detailed drawing completely.
1 | Second floor ( Approx. 12 nr ) | Item | 1 |  | 0
2 | Roof terrace ( Approx. 12 nr ) | Item | 1 |  | 0
11.11 | Inspection Chamber
(a) Rates shall include for excavation, concrete works , maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus spoil , bends, junctions, reducers, expansion joints and all joints and other incidental materials.
1 | Inspection Chamber(IC) 750 x 750 mm size, complete as shown in the detailed drawing including all pipe connections and similar. | nr | 15 |  | 0
| Total Of Bill No: 11 - Carried to Bill Summary |  |  |  | 0

## Bill 12 - AC works
Item | Description | Unit | Qty | Rate (MVR) | Amount (MVR)
Bill No : 12
Air Conditioning Works
12.1 | General
(a) The Bidder is requested to refer the General Notes, Schedules, Drawings, Specifications and other relevant documents.
(b) Rates shall include for complete supply, installation, ducting, wiring, pipe work (insulated liquid, gas and drain), electrical and fixings as per the drawings.
(c) Rate to include builders works as necessary complete the works.
(d) Rate to include indoor & out door A/C unit as shown in the drawing completely.
(e) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed.
(f) Rate shall include all the works completely unless otherwise measured separately.
12.2 | Ceiling Mounted FCU
Supply and install ceiling mount FCU according to the detailed drawing completely . Rate to include power supply works & related builder's works completely and fixing fittings and accessories.
12.2.1 | Ground floor
1 | 7500 BTU/HR | nr | 13 |  | 0
2 | 9000 BTU/HR | nr | 9 |  | 0
3 | 12000 BTU/HR | nr | 20 |  | 0
4 | 15000 BTU/HR | nr | 8 |  | 0
5 | 18000 BTU/HR | nr | 14 |  | 0
6 | 24000 BTU/HR | nr | 16 |  | 0
7 | 30000 BTU/HR | nr | 4 |  | 0
12.2.2 | First floor
1 | 7500 BTU/HR | nr | 5 |  | 0
2 | 9000 BTU/HR | nr | 10 |  | 0
3 | 12000 BTU/HR | nr | 8 |  | 0
4 | 18000 BTU/HR | nr | 16 |  | 0
5 | 24000 BTU/HR | nr | 18 |  | 0
6 | 30000 BTU/HR | nr | 7 |  | 0
7 | 36000 BTU/HR | nr | 2 |  | 0
12.2.3 | Second floor
1 | 12000 BTU/HR | nr | 9 |  | 0
2 | 15000 BTU/HR | nr | 1 |  | 0
3 | 24000 BTU/HR | nr | 14 |  | 0
4 | 30000 BTU/HR | nr | 6 |  | 0
5 | 36000 BTU/HR | nr | 5 |  | 0
12.3 | Wall Mounted FCU
Supply and install wall mount FCU according to the detailed drawing completely . Rate to include out door unit , power supply works & related builder's works completely and fixing fittings and accessories.
12.3.1 | Ground floor
1 | 12000 BTU/HR | nr | 1 |  | 0
2 | 18000 BTU/HR | nr | 2 |  | 0
12.3.2 | Second floor
1 | 12000 BTU/HR - Split Type Condenser Only | nr | 2 |  | 0
12.4 | VRV Unit
Supply & fixing variable refrigerant volume system at terrace as shown in the drawing and manufactures specification. Rate to include all builders work & other related work items.
1 | VRV 1 - 436000 BTU/HR | nr | 1 |  | 0
2 | VRV 2 - 360000 BTU/HR | nr | 1 |  | 0
3 | VRV 3 - 414000 BTU/HR | nr | 1 |  | 0
4 | VRV 4 - 596000 BTU/HR | nr | 1 |  | 0
5 | VRV 5 - 574000 BTU/HR | nr | 1 |  | 0
6 | VRV 6 - 336000 BTU/HR | nr | 1 |  | 0
7 | VRV 7 - 342000 BTU/HR | nr | 1 |  | 0
12.5 | Exhaust Fans - Ceiling Fix
Rates shall include for supply , installation, wiring , conduit, electrical supply , fittings and necessary accessories as per the drawings & specification.
12.5.1 | Ground floor
1 | 80 CMH | nr | 2 |  | 0
2 | 160 CMH | nr | 3 |  | 0
3 | 250 CMH | nr | 2 |  | 0
4 | 320 CMH | nr | 1 |  | 0
5 | 500 CMH | nr | 2 |  | 0
6 | 800 CMH | nr | 1 |  | 0
12.5.2 | First floor
1 | 80 CMH | nr | 2 |  | 0
2 | 160 CMH | nr | 2 |  | 0
3 | 320 CMH | nr | 1 |  | 0
4 | 480 CMH | nr | 1 |  | 0
12.5.3 | Second floor
1 | 80 CMH | nr | 1 |  | 0
2 | 250 CMH | nr | 1 |  | 0
3 | 320 CMH | nr | 1 |  | 0
4 | 500 CMH | nr | 1 |  | 0
5 | 640 CMH | nr | 1 |  | 0
12.6 | Exhaust Fans - Wall Fix
Rates shall include for supply , installation, wiring , conduit, electrical supply , fittings and necessary accessories as per the drawings & specification.
12.6.1 | Ground floor
1 | 300 CMH | nr | 2 |  | 0
2 | 350 CMH | nr | 1 |  | 0
3 | 500 CMH | nr | 2 |  | 0
12.7 | Pre-Insulated Flexible Duct
Supply , fabricate & fixing duct with insulation including all the fittings & related accessories according to the manufactures specification & drawings.
12.7.1 | Ground floor
1 | 100 mm dia. | m | 171 |  | 0
2 | 150 mm dia. | m | 170 |  | 0
3 | 200 mm dia. | m | 81 |  | 0
4 | 250 mm dia. | m | 16 |  | 0
12.7.2 | First floor
1 | 100 mm dia. | m | 152 |  | 0
2 | 150 mm dia. | m | 150 |  | 0
3 | 200 mm dia. | m | 75 |  | 0
4 | 250 mm dia. | m | 24 |  | 0
12.7.3 | Second floor
1 | 100 mm dia. | m | 96 |  | 0
2 | 150 mm dia. | m | 93 |  | 0
3 | 200 mm dia. | m | 46 |  | 0
4 | 250 mm dia. | m | 50 |  | 0
12.8 | Supply & Return Duct Line - Rigid Duct
Supply , fabricate & fixing duct with insulation including all the fittings & related accessories according to the manufactures specification & drawings.
12.8.1 | Ground floor
1 | 100 x 100 mm | m | 20 |  | 0
2 | 150 x 100 mm | m | 4 |  | 0
3 | 150 x 150 mm | m | 27 |  | 0
4 | 200 x 100 mm | m | 4 |  | 0
5 | 200 x 200 mm | m | 53 |  | 0
6 | 250 x 150 mm | m | 28 |  | 0
7 | 250 x 200 mm | m | 97 |  | 0
8 | 300 x 200 mm | m | 32 |  | 0
9 | 300 x 300 mm | m | 16 |  | 0
10 | 350 x 350 mm | m | 13 |  | 0
12.8.2 | First floor
1 | 150 x 150 mm | m | 120 |  | 0
2 | 200 x 150 mm | m | 96 |  | 0
3 | 225 x 225 mm | m | 61 |  | 0
4 | 250 x 250 mm | m | 30 |  | 0
5 | 300 x 250 mm | m | 68 |  | 0
6 | 350 x 250 mm | m | 21 |  | 0
12.8.3 | Second floor
1 | 150 x 100 mm | m | 5 |  | 0
2 | 150 x 150 mm | m | 7 |  | 0
3 | 200 x 150 mm | m | 11 |  | 0
4 | 200 x 200 mm | m | 21 |  | 0
5 | 250 x 150 mm | m | 7 |  | 0
6 | 250 x 200 mm | m | 40 |  | 0
7 | 250 x 250 mm | m | 11 |  | 0
8 | 300 x 200 mm | m | 12 |  | 0
9 | 300 x 250 mm | m | 45 |  | 0
10 | 300 x 300 mm | m | 22 |  | 0
11 | 350 x 250 mm | m | 10 |  | 0
12 | 350 x 350 mm | m | 15 |  | 0
13 | 350 x 300 mm | m | 16 |  | 0
12.9 | Gas Pipe
Supply , fabricate & fixing of gas pipe with insulation including all the fittings & related accessories according to the manufactures specification & drawings.
1 | Ground floor | m | 312 |  | 0
2 | First floor | m | 442 |  | 0
3 | Second floor | m | 226 |  | 0
12.1 | Liquid Pipe
Supply , fabricate & fixing of liquid pipe with insulation including all the fittings & related accessories according to the manufactures specification & drawings.
1 | Ground floor | m | 312 |  | 0
2 | First floor | m | 442 |  | 0
3 | Second floor | m | 226 |  | 0
12.11 | Air Exhaust Grill - External
Supply and fixing with cover as shown in the detailed drawing & specification completely.
12.11.1 | Ground floor
1 | 150 x 150 mm | nr | 6 |  | 0
2 | 225 x 225 mm | nr | 2 |  | 0
3 | 300 x 300 mm | nr | 11 |  | 0
4 | 350 x 350 mm | nr | 5 |  | 0
12.11.2 | First floor
1 | 150 x 150 mm | nr | 4 |  | 0
2 | 225 x 225 mm | nr | 1 |  | 0
3 | 250 x 250 mm | nr | 1 |  | 0
4 | 300 x 300 mm | nr | 2 |  | 0
5 | 350 x 350 mm | nr | 9 |  | 0
12.11.3 | Second floor
1 | 150 x 150 mm | nr | 2 |  | 0
2 | 200 x 200 mm | nr | 1 |  | 0
3 | 225 x 225 mm | nr | 1 |  | 0
4 | 300 x 300 mm | nr | 1 |  | 0
5 | 350 x 350 mm | nr | 6 |  | 0
12.12 | Air Intake Grill
Supply and fixing with cover as shown in the detailed drawing & specification completely.
12.12.1 | Ground floor
1 | 300 x 300 mm | nr | 3 |  | 0
2 | 350 x 350 mm | nr | 11 |  | 0
12.12.2 | First floor
1 | 300 x 300 mm | nr | 2 |  | 0
2 | 350 x 350 mm | nr | 8 |  | 0
12.12.3 | Second floor
1 | 350 x 350 mm | nr | 6 |  | 0
12.13 | Internal Air Exhaust Grill - EA
Supply and fixing as shown in the detailed drawing & specification completely.
12.13.1 | Ground floor
1 | 150 x 150 mm | nr | 25 |  | 0
12.13.2 | First floor
1 | 150 x 150 mm | nr | 18 |  | 0
12.13.3 | Second floor
1 | 150 x 150 mm | nr | 9 |  | 0
12.14 | Wall Mounted Exhaust Grill
Supply and fixing as shown in the detailed drawing & specification completely.
12.14.1 | Ground floor
1 | 50 x 1000 mm | nr | 5 |  | 0
12.14.2 | Second floor
1 | 50 x 1000 mm | nr | 1 |  | 0
12.15 | Air Exhaust Square Ceiling Diffuser - Internal
Supply and fixing as shown in the detailed drawing & specification completely.
12.15.1 | Ground floor
1 | 150 x 150 mm | nr | 37 |  | 0
2 | 225 x 225 mm | nr | 42 |  | 0
3 | 300 x 300 mm | nr | 4 |  | 0
12.15.2 | First floor
1 | 150 x 150 mm | nr | 56 |  | 0
2 | 225 x 225 mm | nr | 70 |  | 0
3 | 300 x 300 mm | nr | 6 |  | 0
12.15.3 | Second floor
1 | 150 x 150 mm | nr | 20 |  | 0
2 | 225 x 225 mm | nr | 26 |  | 0
3 | 300 x 300 mm | nr | 32 |  | 0
12.16 | Heat Reclaim Ventilation Unit ( HRV )
Supply and fixing heat reclaim ventilation unit as shown in the drawing , schedules & manufactures specification completely. Rate shall cover all the related work items, under this.
12.16.1 | Ground floor
1 | 1000 CMH | nr | 3 |  | 0
2 | 1500 CMH | nr | 9 |  | 0
3 | 2000 CMH | nr | 3 |  | 0
12.16.2 | First floor
1 | 800 CMH | nr | 1 |  | 0
2 | 1000 CMH | nr | 1 |  | 0
3 | 1500 CMH | nr | 4 |  | 0
4 | 2000 CMH | nr | 5 |  | 0
12.16.3 | Second floor
1 | 2000 CMH | nr | 6 |  | 0
12.17 | AC Control System
| Supply and fixing/install building AC control system at ground floor as shown in the drawing and specification. All zones AC units are controlled by multi zone controller and induvudual unit controller. Rate to include all the work items completely. | Item | 1 |  | 0
| Total Of Bill No: 12 - Carried to Bill Summary |  |  |  | 0

## Bill - 13 Lift
Item | Description | Unit | Qty | Rate (MVR) | Amount (MVR)
Bill No: 13
Lift Works
13.1 | GENERAL
(a) The Bidder is requested to refer Drawings, Specifications and other relevant documents.
(b) Rates shall include for all necessary electrical wiring and accessories required for completion of the lift installation.
(c) All items shall be supply and complete installation completely.
(d) All the works are according to the drawing and directed by the Engineer.
(e) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed.
13.2 | Supply and Installation of Lift
1 | Supply and installation of Lift ( 13 Passenger ) according to the given drawing & specification completely . | nr | 2 |  | 0
2 | Supply and installation of Lift according to the given drawing & specification completely . | nr | 2 |  | 0
| Total Of Bill No: 13 - Carried to Bill Summary |  |  |  | 0

## Bill 14 - Fire Fighting & alarm
Item | Description | Unit | Qty | Rate (MVR) | Amount (MVR)
Bill No: 14
Fire Fighting & Alarm Works
14.1 | GENERAL
(a) The Bidder is requested to refer the General Notes, Schedules, Drawings, Specifications and other relevant documents.
(b) Shop drawings of the system shall be prepared to the standard of the government's relevant authority and submitted to the Consultant for approval.
(c) All are according to the drawing and specification. Rates shall include all the works completely unless otherwise measured separately.
(d) Rate to include valves , flexible connections , clean agent , pipes , conduits , cables and other fittings & necessary accessories.
(e) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed.
14.2 | Fire Fighting System
Rate to include supply and fixing completely with proper manufactures quality.
14.2.1 | Ground Floor
1 | Portable CO₂ - Extinguisher - 2Kg | nr | 27 |  | 0
2 | Portable H₂O - Extinguisher - 9Ltr | nr | 26 |  | 0
3 | Portable ABC - Extinguisher - 4.5Kg | nr | 7 |  | 0
4 | Hose Reel | nr | 8 |  | 0
14.2.2 | First Floor
1 | Portable CO₂ - Extinguisher - 2Kg | nr | 20 |  | 0
2 | Portable H₂O - Extinguisher - 9Ltr | nr | 20 |  | 0
3 | Hose Reel | nr | 6 |  | 0
14.2.3 | Second Floor
1 | Portable CO₂ - Extinguisher - 2Kg | nr | 17 |  | 0
2 | Portable H₂O - Extinguisher - 9Ltr | nr | 15 |  | 0
3 | Portable ABC - Extinguisher - 4.5Kg | nr | 2 |  | 0
4 | Hose Reel | nr | 4 |  | 0
14.3 | Fire Alarm System
Rate to include supply and fixing completely with proper manufactures quality.
14.3.1 | Ground Floor
1 | Break Glass manual call point | nr | 15 |  | 0
2 | Smoke detector | nr | 119 |  | 0
3 | Heat detector | nr | 6 |  | 0
4 | Fire alarm bell | nr | 15 |  | 0
5 | Flash light | nr | 10 |  | 0
6 | Main Fire Alarm Control Panel - MFCP | nr | 1 |  | 0
7 | 1.5 mm² Fire resistance cable | m | 723 |  | 0
14.3.2 | First Floor
1 | Break Glass manual call point | nr | 12 |  | 0
2 | Smoke detector | nr | 56 |  | 0
3 | Heat detector | nr | 2 |  | 0
4 | Fire alarm bell | nr | 13 |  | 0
5 | Flash light | nr | 7 |  | 0
6 | 1.5 mm² Fire resistance cable | m | 581 |  | 0
14.3.3 | Second Floor
1 | Break Glass manual call point | nr | 8 |  | 0
2 | Smoke detector | nr | 47 |  | 0
3 | Heat detector | nr | 4 |  | 0
4 | Fire alarm bell | nr | 8 |  | 0
5 | Flash light | nr | 8 |  | 0
6 | 1.5 mm² Fire resistance cable | m | 355 |  | 0
14.4 | Pipes for Fire Fighting Related Works
Supply & laying wet & dry pipes for each floors vertical & horizontal, as shown in the drawings & specification completely.
1 | 32 mm dia. GI pipe | m | 91 |  | 0
2 | 50 mm dia. GI pipe | m | 424 |  | 0
3 | 100 mm dia. GI pipe | m | 272 |  | 0
4 | Gate Valve | nr | 24 |  | 0
5 | Outside screw & yoke valve | nr | 6 |  | 0
6 | Flexible connector | nr | 6 |  | 0
7 | Non return valve | nr | 3 |  | 0
8 | Landing valve | nr | 10 |  | 0
14.5 | Fire Pumps Installation
Supply and installation of Fire Pumps complete including pump stand, connecting to pipe work and electricity as specified given in the drawing & specification. Rate shall include all the works completely.
1 | Electric Pump | nr | 1 |  | 0
2 | Diesel Pump | nr | 1 |  | 0
3 | Jockey Pump | nr | 1 |  | 0
14.6 | Fire Water Tank
| Allow to make fire water tank including all as shown in the detailed drawing completely. Capacity 9100 Ltr. | Item | 1 |  | 0
14.7 | Other Works
1 | Allow to make provision for fire department connection as shown in the drawing. ( 2 way Breeching inlet ) | Item | 1 |  | 0
2 | Allow for main water connection to fire water tank as shown in the drawing. | Item | 1 |  | 0
3 | Allow for supply & fixing suction header and discharge header as shown in the drawing. | Item | 1 |  | 0
4 | Allow for supply & fixing pressure gauge as shown in the drawing . ( 3 nr ) | Item | 1 |  | 0
| Total Of Bill No: 14 - Carried to Bill Summary |  |  |  | 0

## Bill 15 External Works
Item | Description | Unit | Qty | Rate (MVR) | Amount (MVR)
Bill No: 15
External Works
15.1 | General
(a) The Bidder is requested to refer Drawings, Specifications and other relevant documents.
(b) All items shall be supply and complete installation/fixing/paving/laying completely.
(c) All the works are according to the drawing,specification,shedules, manufacture's details and directed by the Engineer/Employer.
(d) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed.
(e) The rates shall cover all the works completely according to the drawing unless otherwise measured separately.
15.2 | External Works
15.2.1 | Boundary Works
Allow to construct boundary wall according to the detailed drawing & specification completely.
1 | Excavation | mᶟ | 57 |  | 0
2 | Damp Proof Membrane | m² | 126 |  | 0
3 | Apply slurry type waterproofing materials | m² | 362 |  | 0
4 | Backfilling & compaction as suitable | Item | 1 |  | 0
5 | 50 mm thk. Lean concrete | m² | 126 |  | 0
6 | Concrete for Base/footing incl. reinforcement & formwork | mᶟ | 42 |  | 0
7 | Concrete for Lintol/Beam incl. reinforcement & formwork | mᶟ | 16 |  | 0
8 | Concrete for Columns incl. reinforcement & formwork | mᶟ | 12 |  | 0
9 | 150 mm thk. Solid vertical block wall | m² | 465 |  | 0
10 | External plastering | m² | 1024 |  | 0
11 | Apply exterior painting | m² | 1024 |  | 0
12 | 1 x 60W Incandescent Wall Mount Lamp ( Weather Proof ) | nr | 58 |  | 0
13 | 2 Gang 1 Way Switch | nr | 2 |  | 0
14 | 4 Gang 1 Way Switch | nr | 2 |  | 0
15 | 1 Gang 1 Way Switch | nr | 2 |  | 0
16 | Point Wiring | nr | 58 |  | 0
17 | Emergency 3HR Battery Pack | nr | 1 |  | 0
15.2.2 | Paving Works
| Allow to make paving works according to the detailed drawing. Rate to include surface preparation , apply paving block , kerbs , concrete works & finishing works completely. | Item | 1 |  | 0
15.2.3 | Landscaping & Planting
| Allow to make landscaping & planting works according to the detailed drawing completely. | Item | 1 |  | 0
15.2.4 | Car Park Area Floor Preparation
| Allow to make floor preparation at car park area according to the detailed drawing completely. | Item | 1 |  | 0
15.2.5 | Guard Post
Allow to construction guard post 1 , 2 & 3 including all substructure, super structure and finishing works according to the detailed drawing completely.
1 | Guard Post - 01 | Item | 1 |  | 0
2 | Guard Post - 02 | Item | 1 |  | 0
3 | Guard Post - 03 | Item | 1 |  | 0
15.2.6 | Generator & Transformer Room
Allow to construction generator room & transformer room including substructure , super structure and finishing works as shown in the drawing , specification completely.
1 | Generator Room | Item | 1 |  | 0
2 | Transformer Room | Item | 1 |  | 0
15.2.7 | Plant Box
| Allow to make plant box as shown in the drawing , specification completely. Drg No : H9-11-501R01 | Item | 1 |  | 0
15.2.8 | Flag Post
| Allow to make flag post as shown in the drawing , specification completely. Drg No : H9-11-502R01 | Item | 1 |  | 0
| Total Of Bill No: 15 - Carried over to summary |  |  |  | 0

## Bill 16 Furniture
Item | Description | Unit | Qty | Rate (MVR) | Amount (MVR)
BILL No: 16
FURNITURE
16.1 | General
(a) Rates shall include for supplying and complete installation and arrangement of furnitures.
(b) Contractor shall submit to the consultant and client for the approvals before supply and installation.
(c)Admin staff chair and Conference hall chair is Eurotech Ergohuman collection high back mesh ergonomic chair it designed to be the ultimate in comfort. Specifically intended for users who are in their chair for five or more hours per day, Ergohuman features exclusive flex zones that ensure constant back and lumbar support. With a wide range of ergonomic adjustments required, the Ergohuman high back chair can be easily customized to fit virtually any user. Instant lift seat adjustment is controlled by a lever located beneath the right front of the seatpan, and positions seat height from 17"-21".
(d)Elegant finish on hardwood arms and leg caps, with tailored leather padding on armrests for a truly distinguished look. Passive ergonomic seating with built-in lumbar support provides lasting comfort. Back size is 22"H x 21"W. Seat size is 21"W x 20-1/2"D. Mahogany wood finish on wood legs. Weight Capacity is 250 lbs.
(e)8' Treck shape conference table by Regency it is constructed of a thermal fused laminate, finished with 3mm matching PVC edge. Table seats up to 8 people. Table features a 2" thick top, wire management on the underside of the table, and wire grommets for easy cabling access in the table top. Adjustable leveling glides keep provide stability on uneven floors.
(f)It is constructed of laminated engineered wood with a durable Classic Cherry laminate finish. Office suite includes an executive desk, computer credenza with hutch, lateral file cabinet, open bookcase, and doored bookcase. Executive desk has three file drawers with heavy duty-metal full extension glides that accommodate letter and legal files. File drawers in left pedestal lock. Desk should two small drawers and a center pencil drawer/keyboard tray with metal slides and safety stops. Grommet hole in top surface keeps cords organized. Dimensions: 65-1/2"W x 31-1/8"D x 29-5/8"H. Computer credenza features a box drawer and a letter size file drawer in the left drawer pedestal. Right door pedestal houses a vertical CPU compartment with an adjustable shelf. Pull-out laptop/keyboard drawer in center has full-extension slides and a built-in power strip with three outlets. Desktop grommet allows easy routing of cords.
(g)Wall Street collection sofa by Avenue Six provides a sound investment for those who take stock in high fashion design and unsurpassed seating comfort. Wall Street gives you the options to fashion the size and style best suited for your office. Sofa features easy care Espresso faux leather upholstery, dacron wrapped foam cushions, chrome steel base and legs, and a kiln dried hardwood frame. •Corner-blocked, dowelled, •glued, screwed & stapled •High density foam •Removeable back •Sinuous wire springs
TV stand is constructed of hardwood solids and veneers. TV stand features two spacious shelves that hold audio/video equipment, two small storage drawers, and rear cut-outs for easy cord accessibility. Holds TVs weighing 95 lbs or less and with a base up to 42"W.
16.2 | Furniture
1 | Conference 10ftx3ft Table including 10 chairs(Fabric) (Criminal Court, Drug Court, Juvenile Court) Civil Court ADR, Mediation) | Nos | 5
2 | Conference 12ftx4ft Table including 12 chairs(Fabric) (Family Court, Civil Court) | Nos | 2
3 | Conference 15ftx4ft Table including 16 chairs(Fabric) (Common Conference Room) | Nos | 1
4 | Sofa Set 1-3 | Nos | 10
5 | Exective Table 5ft x 2.5ft | Nos | 35
6 | Exective Chair hight back | Nos | 35
7 | Chair armless (Fabric, Steel frame) | Nos | 400
8 | Work Station 4ft x 2ft with patition (table 3drawer) | Nos | 65
9 | Secretary Chair Medium Back (Fabric) | Nos | 80
16.3 | COURT ROOMS FURNITURE
16.4 | General
(a) Rates shall include for all fixing, cutting, trimmings, nails, screws and other fixings according to manufacturers' instructions.
(b) Rates shall include for timber priming and all putty work as specified in the drawing
(c) Rates shall include for all labour in framing, notching and fitting around projections, pipes, electrical fittings, hatches, grilles and similar complete with cleats, packers, wedges and timber beeding etc. similar and all nails and screws
(d) Rates shall include for fair edges, dressing over angle fillets, turning into grooves, all other labours, circular edges, nails, screws and other fixing and laps.
(e) Rates shall include for supply of all required materials and complete installation of the furnishings.
(f) All timber used for internal framework shall be applied with Solignum Timber Treatment chemical 24 hrs prior to fabrication of frame
(g) All dimensions shall be checked on site before fabrication
(h) All materials used shall be as specified by the architect as given in the drawings and specifications, unless otherwise specified
16.2 | Backdrop Panel (BDP 3) (2Court Room)
Finished with 3mm Nyatoh Veneer plywood in selected Matte-Clear Lacquer Spray finish.Standard internal frame work 600mm C/C.
Refer to drawings.
1 | 1971mm high and 7603mm wide panel | Nos | 1
2 | 1971mm high and 4725mm wide panel | Nos | 1
3 | 1971mm high and 5450mm wide panel | Nos | 1
4 | 1971mm high and 5425mm wide panel | Nos | 1
5 | 1971mm high and 5099mm wide panel | Nos | 1
6 | 1971mm high and 4750mm wide panel | Nos | 1
7 | 1971mm high and 4649mm wide panel | Nos | 1
8 | 1971mm high and 4849mm wide panel | Nos | 1
9 | 1971mm high and 7600mm wide panel | Nos | 1
10 | 1971mm high and 5450mm wide panel | Nos | 1
11 | 1971mm high and 4825mm wide panel | Nos | 1
12 | 1971mm high and 8374mm wide panel | Nos | 1
13 | 1971mm high and 4575mm wide panel | Nos | 1
16.3 | Judjes Panel Deck ( JPD 3)
Minimum 25mm thick plywood laid on internal standard framework 600mm c/c.
Refer to drawings.
1 | 1676.4mm Wx 7603 mm Lx 300 mm H deck finished with Red Carpet on top and sides. | Nos | 1
2 | 1676.4mm Wx 4725 mm Lx 300 mm H deck finished with Red Carpet on top and sides. | Nos | 1
3 | 1676.4mm Wx 5450 mm Lx 300 mm H deck finished with Red Carpet on top and sides. | Nos | 1
4 | 1676.4mm Wx 5425 mm Lx 300 mm H deck finished with Red Carpet on top and sides. | Nos | 1
5 | 1676.4mm Wx 5099 mm Lx 300 mm H deck finished with Red Carpet on top and sides. | Nos | 1
6 | 1676.4mm Wx4750 mm Lx 300 mm H deck finished with Red Carpet on top and sides. | Nos | 1
7 | 1676.4mm Wx4649 mm Lx 300 mm H deck finished with Red Carpet on top and sides. | Nos | 1
8 | 1676.4mm Wx4849 mm Lx 300 mm H deck finished with Red Carpet on top and sides. | Nos | 1
9 | 1676.4mm Wx7600mm Lx 300 mm H deck finished with Red Carpet on top and sides. | Nos | 1
10 | 1676.4mm Wx5450mm Lx 300 mm H deck finished with Red Carpet on top and sides. | Nos | 1
11 | 1676.4mm Wx4825mm Lx 300 mm H deck finished with Red Carpet on top and sides. | Nos | 1
12 | 1676.4mm Wx8374mm Lx 300 mm H deck finished with Red Carpet on top and sides. | Nos | 1
13 | 1676.4mm Wx4575mm Lx 300 mm H deck finished with Red Carpet on top and sides. | Nos | 1
16.4 | Judges Panel Table ( JPTB 3 )
Refer to drawings.
1 | Judges Panel Table 3500x720 mm | Nos | 13
16.5 | Registrar/Lawyer/Witness Tables ( LWT3 )
Refer to drawings.
1 | Table 800x560mm |  | 113
2 | Table 1600x560mm | Nos | 13
| Total Of Bill No: 16 - Carried over to summary |  |  |  | 0

## Bill 17 Additional
Item | Description | Unit | Qty | Rate (MVR) | Amount (MVR)
Bill No: 17
Additional Works
17.1 | General
The Contractor shall describe and price hereunder any items/quantities shown on the drawings, mentioned in the Specifications, or required for the satisfactory completion of the project, not mentioned in the BOQ.
| Total Of Bill No: 17 - Carried over to summary |  |  |  | 0

## Bill 18 -Ommission Work
Item | Description | Unit | Qty | Rate (MVR) | Amount (MVR)
Bill No: 17
Omission Works
17.1 | General
Total Of Bill No: 17 - Carried over to summary