## Summary
Proposed Single Storey Fish Market at H. Dh Kulhudhufushi
SUMMARY OF BILL OF QUANTITIES
NO | BILL | AMOUNT (MVR)
1 | PRELIMINARIES | 0
2 | GROUND WORKS | 0
3 | CONCRETE WORK | 0
4 | MASONRY AND PLASTERING | 0
5 | ROOFING WORKS | 0
6 | CEILING WORKS | 0
7 | DOORS AND WINDOWS | 0
8 | FINISHES & PAVING | 0
9 | PAINTING | 0
10 | ELECTRICAL, IT & HVAC INSTALLATIONS | 0
11 | HYDRAULICS & DRAINAGE | 0
12 | ADDITION | 0
13 | OMMISION | 0
| TOTAL | 0
| GST @ 6% | 0
GRAND TOTAL

## BoQ
Item | Description | Qty | Unit | Rate (MVR) | Amount (MVR)
BILL No: 01
PRELIMINARIES
1.1 | GENERAL NOTES
1 | Abbreviations
m - metre
Nos - numbers
m³ - cubic metre
m² - square metre
kg - kilogram
incl - including
mm - millimetre
dia - diametre
SS - Staiinless Steel
GI - Galvinised Iron
0
1.2 | SITE MANAGEMENT COSTS
| Allow for all on and off site management costs including costs of foreman and assistants, temporary services, telephone, fax, hoardings, fences and similar items. | 1 | Item |  | 0
1.3 | SITE ESTABLISHMENT
| Allow for mobilization and demobilization | 1 | Item |  | 0
| BILL No: 01 - PRELIMINARIES |  |  |  | 0
TOTAL OF BILL No: 01 - Carried over to summary
BILL No: 02
GROUND WORKS
2 | GENERAL
Rates shall include for; leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and dispoding surplus soil
2.1 | SITE CLEARING AND DEMOLITION
| Demolition of any existing buildings and removal of those material from the site. Removing and clearing any shrubs or trees from the site. | 1 | Item |  | 0
2.2 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork/shuttering and dewatering the trenches and others
1 | Excavation for Pad foundations and foundation beams starting from formation level. Thickness of layer of excavation is from 0.00m level to -0.750m level and disposal of excavated material from site as directed by the Consultant. | 43 | m³ |  | 0
2.3 | FILLING
1 | Back filling of excavated area including compaction as per specification from previously excavated material | 16.5 | m³ |  | 0
2.4 | CLEANING UPON COMPLETION
| Cleaning the site upon completion of all works | 1 | Item |  | 0
| BILL No: 02 - GROUND WORKS |  |  |  | 0
TOTAL OF BILL No: 02 - Carried over to summary
BILL No: 03
CONCRETE WORK
3.1 | GENERAL
(a) Rates shall include for: provision to place in position; casting of all required items and finishing after removal of formwork and additional concrete required to conform to structural and excavated tolerances.
(b) Rates shall include supply of all formwork item including form oil, timber, plywood, nails etc.
(c) Mix ratio for reinforced concrete shall be 1:2:3 or as specified by the structural engineer and lean concrete shall be 1:2:4 by volume
0
3.2 | LEAN CONCRETE |  | 0
| Note: Quantity is measured to the edges of concrete members. |  | 0
1 | 50mm thick lean concrete to bottom of foundations | 3.8 | m³ |  | 0
3.3 | DAMP PROOF MEMBRANE
Damp proof membrane to bottom of concrete elements as per specification
1 | Polythene sheet damp proof membrane over lean concrete and to sides of raft foundation | 75.1 | m² |  | 0
2 | Polythene sheet over backfilling to receive ground slab. | 385 | m² |  | 0
3.4 | REINFORCED CONCRETE |  | 0
(a) Rates shall include for in situ concrete, formwork and reinforcement
| (b) Rates for reinforcement shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and chair supports, laps and wastage |  | 0
| (c) Reinforcing bars shall be high strength deformed bars. |  | 0
| In-situ reinforced concrete to: |  | 0
3.4.1 | Works Below Ground Floor |  | 0
1 | F1 - 1100mm x 1100mm x 300mm | 1.1 | m³ |  | 0
2 | F2 - 900mm x 900mm x 300mm | 3.2 | m³ |  | 0
3 | F3 - 750mm x 750mm x 300mm | 4.8 | m³ |  | 0
4 | TB - 200mm x 300mm | 13.6 | m³ |  | 0
3.4.2 | Ground Floor
1 | Column C1, 200mm x 200mm | 2.9 | m³ |  | 0
2 | Column C2, 200mm x 200mm | 3.8 | m³ |  | 0
3 | RC Slab 100mm thick, including making of gutters as shown in the drawings | 38.5 | m³ |  | 0
3.4.3 | Roof
1 | Roof Beam RB1, 200mm x 350mm deep | 10.5 | m³ |  | 0
2 | Roof Beam RB2, 200mm x 350mm deep | 1.3 | m³ |  | 0
3.4.4 | Other Concrete works
1 | Fish display platform as shown in the drawings | 14.3 | m³ |  | 0
2 | Fish filleting platform as shown in the drawings | 7.6 | m³ |  | 0
3 | 1400mm dia. Water well as shown in the drawings, rates shall include for formwork and reinforcement | 1 | item |  | 0
3.5 | FORMWORK
3.5.1 | Works Below Ground Floor
1 | F1 - 1100mm x 1100mm x 300mm | 4 | m² |  | 0
2 | F2 - 900mm x 900mm x 300mm | 14.1 | m² |  | 0
3 | F3 - 750mm x 750mm x 300mm | 25.2 | m² |  | 0
4 | TB - 200mm x 300mm | 135.4 | m² |  | 0
3.5.2 | Ground Floor
1 | Column C1, 200mm x 200mm | 57 | m² |  | 0
2 | Column C2, 200mm x 200mm | 75 | m² |  | 0
3 | RC Slab 100mm thick, including making of gutters as shown in the drawings | 1 | item |  | 0
3.5.3 | Roof
1 | Roof Beam RB1, 200mm x 350mm deep | 57 | m² |  | 0
2 | Roof Beam RB2, 200mm x 350mm deep | 75 | m² |  | 0
3.5.4 | Other Concrete works
1 | Fish display platform as shown in the drawings | 177.5 | m² |  | 0
2 | Fish filleting platform as shown in the drawings | 97.4 | m² |  | 0
3.6 | REINFORCEMENT
3.6.1 | Works Below Ground Floor
1 | 12mm Dia. bars in pad footings | 396 | kgs |  | 0
2 | 16mm Dia. bars in tie beams | 1425 | kgs |  | 0
3 | 6mm Dia. bars in tie beams | 268 | kgs |  | 0
3.6.2 | Ground Floor
1 | 16mm Dia. bars in columns | 711 | kgs |  | 0
2 | 12mm Dia. bars in columns | 304 | kgs |  | 0
3 | 6mm Dia. bars in columns | 243 | kgs |  | 0
4 | 6mm Dia. bars in ground slab | 2491 | kgs |  | 0
3.6.3 | Roof
1 | 16mm Dia. bars in roof beams | 110 | kgs |  | 0
2 | 12mm Dia. bars in roof beams | 529 | kgs |  | 0
3 | 6mm Dia. bars in roof beams | 242 | kgs |  | 0
3.6.4 | Other Concrete works
1 | 10mm Dia. bars in fish display platform | 1970 | kgs |  | 0
2 | 10mm Dia. bars in fish filleting platform | 1015 | kgs |  | 0
3.8 | WATER PROOFING
Rates shall include for dressing around and sealing all penetrations. Water proofing material must be approved by the engineer/consultant
1 | Addition of Conmix Mega Flow P or similar to all super structure concrete in accordance with the drawings, technical specifications and manufacturers instructions. | 1 | item |  | 0
2 | Addition of Conmix Mega Add WL3 or similar to all sub structure concrete in accordance with the drawings, technical specifications and manufacturers instructions. | 1 | item |  | 0
3 | Application of 2 coats of Conmix Moya Shield RBE or similar to all structural concrete in accordance with the drawings, technical specifications and manufacturers instructions. | 1 | item |  | 0
| BILL No: 03 - CONCRETE WORK |  |  |  | 0
TOTAL OF BILL No: 03 - Carried over to summary
BILL No: 04
MASONRY AND PLASTERING
4.1 | GENERAL
(a) Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down reveals where necessary; and blocks, cutting or leaving holes and openings as recesses, building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames, temporary supports to openings. Providing approved quality mesh at joints between structaral members and masonry in the exterior walls.
(b) 100mm Thick solid blocks shall be used for exterior and interior masonry wall
(c) For plastering and screeding works manufactured sand shall be used
4.2 | CEMENT BLOCK WORK
4.2.1 | Solid blockwalls, with 300mm x 150mm x 100mm thick solid concrete blocks laid on and including 1:5 cement mortar, compression gap filler, PVC mesh as specified.
4.2.1.1 | Exterior Walls
1 | Below Ground floor | 3.6 | m² |  | 0
2 | Ground floor | 82 | m² |  | 0
4.2.2.1 | Interior Walls
1 | Ground floor | 41.3 | m² |  | 0
4.3 | PLASTERING
(a) Rates shall include for addition of Conmix Mega Flow MP or similar to all external plaster and wet area plaster.
25mm Thick cement plastering (made up of 2 layers, 1st layer being 12mm thick and second layer 13mm thick) on external surfaces of walls and concrete column surfaces with 1:4 cement mortar first coat and 1:4 cement mortar mix
second coat as specified including PVC wire mesh at joints of concrete surfaces and masonry walls.
4.3.1 | Exterior Walls
1 | Below ground level | 7.1 | m² |  | 0
2 | Ground floor | 212.1 | m² |  | 0
4.3.2 | Interior Walls
1 | Ground floor | 180.8 | m² |  | 0
4.4 | FLOORING
4.4.1 | 65mm Thick cement sand screed on concrete floor with 1:5 mortar mix with a rough finish for general areas and RC staircase
Rates shall include for application of Conmix Moya Proof HF or similar water proofing on RC slab before screeding in all all wet areas
1 | Ground floor | 414.9 | m² |  | 0
| BILL No: 04 - MASONRY AND PLASTERING |  |  |  | 0
TOTAL OF BILL No: 04 - Carried over to summary
BILL No: 05
ROOFING WORKS
5.1 | GENERAL
| (a) Rates shall include for fair edges, dressing over angle fillets, turning into grooves, all other labours, circular edges, nails, screws and other fixing and laps. |  | 0
(b) Rates shall include for: the provision, erection and removal of scaffolding, preparation, the protection and/or masking floors, fittings and similar work.
(c) Rates shall include for supply and complete installation.
5.2 | ROOF COVERING
1 | Lysaght Roofing | 458.7 | m² |  | 0
2 | 50mm Thick glass woll insulation with double sided aluminium foil | 458.7 | m² |  | 0
3 | PVC mesh netting | 458.7 | m² |  | 0
4 | 9mm Thick plywood sloping ceiling | 458.7 | m² |  | 0
5 | Lysaght ridge flashing, 400mm wide | 19.8 | m |  | 0
6 | Lysaght hip flashing, 400mm wide | 32 | m |  | 0
7 | Lysaght Gutter, 200mm wide | 90.8 | m |  | 0
8 | 25mm x 300mm Timber Fascia board | 90.8 | m |  | 0
9 | 75mm Dia RWDP | 20.4 | m |  | 0
5.3 | ROOF STRUCTURE
1 | Timber Truss, TR1, rates shall include for fabrication, hoisting and fixing in place as shown is detailed drawing, including all plate connections, 12mm dia. bolts (measured separately) and similar. | 20 | nos |  | 0
2 | 75mm x 200mm Timber Ridge Rafter | 19.8 | m |  | 0
3 | 75mm x 200mm Timber Hip Rafter | 32 | m |  | 0
4 | 75mm x 200mm Timber Rafter | 227.2 | m |  | 0
5 | 75mm x 200mm Timber Support Members, rates shall include for all 3mm & 12mm thick MS plate connections and 12mm dia. Bolts (measured separately) and similar as shown in the drawings | 22.5 | m |  | 0
6 | 75mm x 100mm Timber Wall plate | 86 | m |  | 0
7 | 50mm x 50mm Timber Battens | 764.5 | m |  | 0
8 | 12mm Dia GI bolt, 300mm long | 518 | nos |  | 0
| BILL No: 05 - ROOFING WORKS |  |  |  | 0
TOTAL OF BILL No: 05 - Carried over to summary
BILL No: 06
CEILING WORKS
6.1 | GENERAL
(a) Rates shall include for all fixing, cutting, trimmings, nails, screws and other fixings according to manufacturers' instructions.
(b) Rates shall include for timber priming
(c) Rates shall include for all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar complete with cleats, packers, wedges and timber beeding etc. similar and all nails and screws
(d) The Contractor shall submit samples of ceiling boards, all sections for framing and all other accessories for approval of Consultant before procurement
6.2 | SUSPENDED CEILING
6.2.1 | 12mm Thick cement board ceiling with timber framing in accordance with the drawings and specifications.
1 | 12mm thick cement board | 20.8 | m² |  | 0
2 | 50mm x 100mm Timber joists | 38 | m |  | 0
| BILL N0: 06 - CEILINGWORKS |  |  |  | 0
TOTAL OF BILL No: 06 - Carried over to summary
BILL N0: 07
DOORS AND WINDOWS
7.1 | GENERAL
(a) Rates shall include for locks, latches, closures, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware. These materials should brass and of superior quality.
(b) Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boarding, framing, lining, fastenings and all fixings
(c) Rates shall include for painting timber doors
(d) All doors shall be in accordance with drawings (doors and windows schedule) and specifications
(e) All measurements shall be checked on site by the contractor before fabrication.
(f) All aluminium doors and windows shall have 80 micron white powder coated frames unless otherwise specified.
(g) The Contractor shall submit samples for aluminium frames, timber, door & window hardware, glass, shutter samples, sealants for doors & windows, accessories and similar for approval of Consultant before procurement
7.2 | DOOR UNITS
1 | Solid Timber Door, D1 - (750mm x 2000mm) | 3 | Nos |  | 0
2 | Solid Timber Door, D2 - (750mm x 2000mm) | 2 | Nos |  | 0
7.3 | WINDOWS & FIXED GLASS PANELS
2 | Aluminium Window, W1 - (1025mm x 950mm) | 1 | Nos |  | 0
3 | Aluminium Window, V1 - (600mm x 1050mm) | 2 | Nos |  | 0
4 | Aluminium Window, V2 - (600mm x 1050mm) | 1 | Nos |  | 0
5 | Aluminium Service Door - (800mm x 400mm) | 28 | Nos |  | 0
| BILL N0: 07 - DOORS AND WINDOWS |  |  |  | 0
TOTAL OF BILL No: 07 - Carried over to summary
BILL N0: 08
FINISHES & PAVING
8.1 | GENERAL
| Note:(a) Rates shall include for: fixing, bedding for tiles & paving, grouting, pointing, finishing and any other similar works to ensure the required finish. |  | 0
(b) All tiles used be of Whitehorse brand or similar as given in Technical Specifications
| (c) Contractor shall submit samples of all tiles for approval of consultant prior to procurement |  | 0
(d) Where there may be any descripancies between the drawings and bill of quantities, details given in the drawings shall precede
(e) All items are for supply and complete installation
(f) All tiles shall be fixed using a proper tiling adhesive approved by the Engineer
(g) The Contractor shall submit all tiles, paving stones and all finishing materials before procurement for approval.
(h) Conmix C500 tile adhesive or similar for tiling
8.2 | FLOOR FINISHES AND TILING |  | 0
8.2.1 | 300mm x 300mm Non-Skid Ceramic tiles on floor as per detailed drawings
1 | Fish Market | 337.6 | m² |  | 0
2 | Toilet areas | 9.3 | m² |  | 0
3 | Fish Filleting and display platforms | 68 | m² |  | 0
8.3 | WALL FINISHES
8.3.1 | 300mm x 600mm Ceramic tiles on toilet walls as per detailed drawings | 48.5 | m² |  | 0
8.4 | SKIRTING TILE
8.4.1 | 600mm x 100mm High Homogenous skirting tile
1 | Fish Market | 70.6 | m |  | 0
| BILL No: 08 - FINISHES & PAVING |  |  |  | 0
TOTAL OF BILL No: 08 - Carried over to summary
BILL No: 09
PAINTING
9.1 | GENERAL
Note: (a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the
protection and/or masking floors, fittings and similar work, removing and replacing door window furniture
| (b) All painting work shall be carried in accordance with the Specifications |  | 0
(c) The colour and type of paint will be selected by the architect/client.
(d) The brand of paint used shall be SKK or Sigma
9.2 | WALLS AND CONCRETE SURFACES |  | 0
Emulsion paint finish on cement plastered walls and concrete column, sides and soffits of beam and soffits of slab surfaces as specified. Exterior walls should be applied with exterior weather proof paint.
9.2.1 | Exterior Walls
1 | Ground floor | 212.1 | m² |  | 0
9.2.2 | Interior Walls & Ceilings
Acrylic Emulsion paint finish (total paint system shall be used, sealer, primer and top coat)
1 | Interior walls | 180.8 | m² |  | 0
2 | Sloping Plywood ceiling | 458.7 | m² |  | 0
3 | Cement board ceiling | 20.8 | m² |  | 0
| BILL No: 09 - PAINTING |  |  |  | 0
TOTAL OF BILL No: 09 - Carried over to summary
BILL No: 10
ELECTRICAL, IT & HVAC INSTALLATIONS
10.1 | GENERAL
| (a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories |  | 0
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates for electrical conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
(d) Light end and switch end of wiring together measured as one point
(e) A point wiring for power points is measured as one point for each socket outlet; other end of wire is not included in the quantity.
(f) Rates shall include for supply and complete installation
(g) Three phase power supply.
(h) The loading for air conditioning shall be according to a specialists details.
(i) For electrical wiring, 1.5mm2 wire shall be used for light fixtures & fans. 2.5mm2 wire shall be used for circuit wiring
(j) The Contractor shall provide shop drawings for approval before proceeding with any works
(k) All electrical wires, cables, fittings, fixtures, accessories & similar shall be approved by the Consultant
10.2 | ELECTRICAL BOARDS & PANELS
Complete installation, including for all connections, earthing, painting, testing and similar of:
1 | Connection to mains | 1 | Nos |  | 0
2 | Distribution Boards | 1 | Nos |  | 0
10.3 | ELECTRICAL WIRING
Electrical wiring with copper conductor cable in conduits in walls and concrete as per government regulations.
1 | Wiring to fans & light | 41 | points |  | 0
2 | Wiring to power points | 39 | points |  | 0
3 | Wiring to distribution boards | 1 | points |  | 0
10.4 | LIGHTING, POWER POINTS & FANS
Supply and fixing of:
Fixing of the following items as shown in the drawings. The quantities given are provisional
1 | Ceiling fan, 1200mm dia | 1 | Nos |  | 0
2 | Ceiling fan / Light dimmer switch | 1 | Nos |  | 0
3 | 1 way switch (1 gang) | 3 | Nos |  | 0
4 | 1 way switch (4 gang) | 10 | Nos |  | 0
5 | 1 x 13 amp Socket Outlet (weatherproof) | 6 | Nos |  | 0
6 | 2 x 13 amp Socket Outlet | 1 | Nos |  | 0
7 | 2 x 36W Flourescent Lamps with diffuser/LED | 32 | Nos |  | 0
8 | 1 x 60W Incandescent Lamps in recessed decorative luminaire | 8 | Nos |  | 0
| BILL No: 10 ELECTRICAL, IT & HVAC INSTALLATIONS |  |  |  | 0
TOTAL OF BILL No: 10 - Carried over to summary
BILL No: 11
HYDRAULICS & DRAINAGE
11.1 | HYDRAULICS
Preamble notes
(a) Rates shall include for sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints, backnuts and similar, incidental fittings, clips saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes, excavating, laying pipes and backfilling trenches.
(b) All pipe work and fittings shall be high pressure PVC
(c) Rates shall include for supply and fixing of all pipes
(d) All sanitary fixtures used shall be approved by the Engineer on submission of samples.
11.1.1 | Internal Plumbing - Cold Water
Internal plumbing to all toilets and kitchen incl. supply and laying of pipes.
1 | Toilets | 1 | Nos |  | 0
2 | Display platform | 1 | Nos |  | 0
3 | Fish Filleting platform | 1 | Nos |  | 0
11.1.2 | External plumbing
1 | Connection to Main sewer line | 1 | Item |  | 0
2 | All pipe works under groundfloor screed/slab to be laid for Waste water, sewage, fresh water and well water connection. | 1 | Item |  | 0
3 | Waste water and sewage connection from all the toilets and display flatforms including the necessary catch pits and manholes as necessary. Rates shall include for supply and laying of pipes including clean-outs as necessary | 1 | Item |  | 0
4 | Fresh water connection to all toilets, fish filleting platform, & fish display flatform. | 1 | Item |  | 0
11.1.4 | Sanitary Fixtures & Accessories
Sanitary fixtures complete including brackets, stop valves, fittings etc. All sanitary fittings shall be as specified
1 | WC Complete | 1 | Nos |  | 0
2 | Wash Basin | 1 | Nos |  | 0
3 | Wash Basin with RC counter top | 2 | Nos |  | 0
4 | Wash basin Tap | 3 | Nos |  | 0
5 | Hand Shower | 2 | Nos |  | 0
6 | Head Shower | 1 | Nos |  | 0
7 | Faucet / Tap | 17 | Nos |  | 0
8 | Floor drain | 25 | Nos |  | 0
9 | Mirror | 2 | Nos |  | 0
10 | Towel bar single rod | 1 | Nos |  | 0
11 | Soap holder | 1 | Nos |  | 0
12 | PVC Grill on floor | 76.2 | m |  | 0
11.1.5 | Pumps
1 | Supply and installation of appropriate capacity Water pump complete including pump stand, connecting to pipe work and electricity as specified. A common water pump and a standby pump for ground water | 1 | item |  | 0
11.2 | DRAINAGE
11.2.1 | Preamble notes
(a) Rates shall include for excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints and all joints and other incidental materials.
(b) All pipework shall be PVC
11.2.2 | Rainwater Discharge Pipe
(a) Rates shall include for excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints and all joints and other incidental materials.
1 | 100mm Ø Rainwater discharge pipe from Terrace, rates shall include for supply and installation of piping from terrace through the ducting and connection to exterior drain system and any associated civil works. | 1 | item |  | 0
11.2.3 | Inspection Chamber
(a) Installation of an inspection chamber for sewage, waste water and drainage.
1 | MWSC Inspection chamber, 650mm x 650mm | 1 | nos |  | 0
| BILL No: 11 - HYDRAULICS AND DRAINAGE |  |  |  | 0
TOTAL OF BILL No: 11 - Carried over to summary
BILL No: 12 - ADDITION
ADDITION
Include in this part, items, that the contractor need to include, in addition, to the items mentioned in the bills.
| BILL No: 12 - ADDITION |  | 0 |  | 0
TOTAL OF BILL No: 12 - Carried over to summary
BILL No: 13
OMMISION
Include in this part, items, that the contratctor need to exclude from any of the bills.
| BILL No: 13 - OMMISION |  | 0 |  | 0
TOTAL OF BILL No: 13 - Carried over to summary