## BOQ
Infrastructure Unit
Finance Department
Maldives Police Service
Date: 28 December 2015
Project: Construction of Juvenile Cell Block
Client: Maldives Police Service
BILL OF QUANTITIES
Item | Description | Qty | Unit | Rate | Amount
BILL No: 01
PRILIMINARIES
Abbreviations
m - meter
No - numbers
m³ - cubic meter
m² - square meter
Lm - Linear meter
t - tonnes
incl - including
mm - millimeter
SS - Stainless Steel
GI - Galvanized Iron
1.1 | SITE MANAGEMENT COST
1 | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings and similar. | 1 | item
1.2 | SIGN BOARD
1 | Allow for sign board. | 1 | nos
| BILL No: 01 - PRILIMINARIES |  |  |  | 0
TOTAL OF BILL No: 01 - Carried over to summary
BILL No: 02
GROUND WORKS
2.1 | SITE CLEARING
| Clear site generally, whenever necessary cutting down trees, irrespective of sizes, grubbing roots, stumps etc. dispose of and carting debris, loose boulders, waste materials away from the site. | 1 | item
2.2 | EXCAVATION
Note: Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork/shuttering and dewatering the trenches for the required days.
1 | Excavation Pad footing F1 | 5.18 | m³
2 | Excavation Pad footing F2 | 4.1 | m³
3 | Excavation Pad footing F3 | 6.27 | m³
4 | Excavation Pad footing F4 | 1.15 | m³
2 | Excavation for Ground Beams | 18.48 | m³
2.3 | WATER PROOFING
Note: Rates shall include for: dressing around and sealing to avoid all penetrations
1 | Damp proof membrane under foundation beam | 36.75 | m2
2 | Damp proof membrane under foundation pads | 20.88 | m2
3 | Damp proof membrane under ground floor slab | 354 | m2
4 | Apply 2 coats of Brush Bond or similar on all concrete surfaces below ground level in accordance with manufacturer's instructions | 156 | m2
5 | Apply 2 coats of water proof or similar on all toilets, roof slab and balcony surfaces in accordance with manufacturer's instructions | 327 | m2
2.4 | BACK FILLING
Rates shall include for leveling, grading, trimming and compacting.
1 | Back filling | 24.5 | m³
2 | 150mm thk hardcore | 172.48 | m³
2.5 | CLEANING UPON COMPLETION
1 | Cleaning the site upon completion of all works | 1 | item
| BILL No: 02 - GROUND WORKS |  |  |  | 0
TOTAL OF BILL No: 02 - Carried over to summary
BILL No: 03
CONCRETE
(a) Rates shall include for: provision to place in position; casting of all required items and finishing after removal of formwork and additional concrete required to conform to structural and excavated tolerances
(b) Rates shall include supply of all formwork item including form oil, timber, plywood, nails etc.
(c) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:3:6 by volume
3.1 | LEAN CONCRETE |  | 0
| Note: Quantity is measured to the edges of concrete members. Rates shall be inclusive of any additional concrete required to place the formwork. |  | 0
1 | 50mm thick lean concrete to bottom of foundation beam and pads | 3.1 | m³
0
3.2 | REINFORCED CONCRETE |  | 0
| In-situ reinforced concrete to: |  | 0
3.2.1 | Foundation level |  | 0
1 | Foundation beams | 10.45 | m³
2 | Pad footings | 4.18 | m³
3.2.2 | Ground Floor
1 | Columns C1 | 3.25 | m³
2 | Columns C2 | 4.07 | m³
3 | Columns C4 | 2.96 | m³
4 | 75mm thick Ground slab | 26.55 | m³
5 | RCC Lintel and Sill beams on all doors and windows and Lintel beams tied to columns | 1 | item
3.2.3 | Roof
1 | Attached beams | 12.54 | m³
2 | Suspended slab | 44.6 | m³
3.3 | Formwork
(a) Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes and removal of formwork.
3.3.1 | Foundation level |  | 0
1 | Pad footings | 23.04 | m2
2 | foundation beams | 104.5 | m2
3.3.2 | Ground Floor
1 | Columns | 212.11 | m2
2 | RCC Lintel and Sill beams on all doors and windows and Lintel beams tied to columns | 1 | item
3.3.3 | Roof
1 | Attached beams | 167.2 | m2
2 | Suspended slab | 327 | m2
3.4 | REINFORCEMENT |  | 0
0
| (a) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and chair supports, laps and wastage |  | 0
| (b) All reinforcing bars except 6mm dia bars shall be high strength deformed bars |  | 0
(c) The exact length exclusive of laps are given. The rates shall take into account laps and any wastage.
3.4.1 | Foundation
1 | 12 mm dia. bars in foundation pads | 0.31 | t
2 | 12 mm dia. bars in foundation beams | 0.74 | t
3 | 6 mm dia. bars in foundation beams | 0.28 | t
3.4.2 | Ground Floor
1 | 20mm dia. bars in columns | 0.67 | t
2 | 16 mm dia. bars in columns | 0.54 | t
3 | 10 mm dia. bars in columns | 0.32 | t
4 | 6 mm dia. bars in columns | 0.4 | t
5 | 10mm dia. bars in ground slab @ 600 c/c bw | 0.83 | t
6 | RCC Lintel and Sill beams on all doors and windows and Lintel beams tied to columns | 1 | item
3.4.3 | Roof
1 | 16 mm dia. bars in beams | 0.72 | t
2 | 10 mm dia. bars in beams | 0.24 | t
3 | 6 mm dia. bars in beams | 0.28 | t
4 | 10 mm dia. bars in slab | 3.76 | t
| BILL No: 03 - CONCRETE |  |  |  | 0
TOTAL OF BILL No: 03 - Carried over to summary
BILL No: 04
MASONRY AND PLASTERING
Note: Rates shall include for: blocks, cutting or leaving holes and openings as recesses, building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames
(a) Mix ratio for Plastering & masonry shall be 1:3.
4.1 | SOLID BLOCK WORK 150 MM THK
1 | Ground floor | 314.5 | m²
4.2 | SOLID BLOCK WORK 100 MM THK
1 | Ground floor | 577.15 | m²
4.3 | PLASTERING
15mm thk for interior, 20mm thk for exterior plastering on walls and concrete surfaces.
1 | Ground floor
| Interior | 1468.8 | m²
| Exterior | 314.5 | m²
4.4 | FLOORING
45mm thk,1:4 cement sand screeding on the floor to receive steel trowel finish,
1 | Ground floor | 327 | m²
| BILL No: 04 - MASONRY AND PLASTERING |  |  |  | 0
TOTAL OF BILL No: 04 - Carried over to summary
BILL No: 05
METAL /WOOD WORKS
| Note: (a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts including those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws. |  | 0
| (b) Rates shall include for all painting and finishing. |  | 0
(c) Rates shall include for fabrication and erection of temporary supports and fixing into position
5.2 | COTROL ROOM COUNTER
1 | Control room counter top complete as per drawing specification .Rates shall include shelves , fixing accessories and completion all necessary works. | 1 | item
5.3 | CONCRETE BEDS
1 | Concrete beds complete as per drawings Rates shall include painting formwork, reinforcement and completion all necessary works | 20 | nos
5.4 | WALL PADDING
1 | Installation foam panel board on all surface of padded cell with manufactures instructions | 1 | item
5.5 | SAFETY NET
1 | Installation galvanized steel net on roof opening as per drawing. Rates shall include fixing trimming and completion of all neceaary works | 1 | item
| BILL No: 05 - METAL WORKS |  |  |  | 0
TOTAL OF BILL No: 05 - Carried over to summary
BILL No: 06
CEILING
6.1 | SUSPENDED CEILING
"6mm thk fiber cement board for external & 10mm thk gypsum for internal suspended ceiling system as specified with all necessary framing, beading, screws etc. Rates shall also include for finishing as specified
2 | Internal ceiling at control room, mess room , rest room , toilet and monitor area | 66 | m²
6.2 | PLASTERBOARD CORNICE
Supply and installation of plastered board cornice to all edges between walls and ceiling soffits.
1 | Ground floor at control room, mess room and monitor area | 63.67 | m
| BILL N0: 06 - CEILINGS |  |  |  | 0
TOTAL OF BILL No: 06 - Carried over to summary
BILL N0: 07
DOORS AND WINDOWS
Notes: (a) Rates shall include for locks, latches, closures, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
(b) Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boarding, framing, lining, fastenings and all fixings
(c) Rates shall include for finishing
7.1 | DOORS AND WINDOWS
1 | D4 (Wooden door ) | 2 | nos
2 | G1 (Steel framed door) | 10 | nos
3 | G2 (Steel framed door) | 11 | nos
4 | SD1 (steel framed door) | 2 | nos
5 | SG2 (Steel framed door) | 5 | nos
6 | V1 ( Aluminium ventilator ) | 1 | nos
7 | V2 ( GI Grilled ventilator ) | 12 | nos
8 | V3 ( GI Grilled ventilator ) | 8 | nos
9 | V5 ( GI Grilled ventilator ) | 1 | nos
7.2 | STRUCTURAL GLAZING
structural glass panels fixed to concrete beams. The system is mounted on an aluminium support system using concealed mechanical fixings, panels can also be structurally bonded. Allow for safety net as per drawings. Rates shall include completion and all necessary works
1 | 12 mm thk glass panel on control room | 1 | item
| BILL N0: 07 -DOORS AND WINDOWS |  |  |  | 0
TOTAL OF BILL No: 07 - Carried over to summary
BILL N0: 08
FINISHES
| Note: Rates for tiling shall include for: fixing, bedding, grouting, pointing, finishing and any other similar works to ensure the required finish. |  | 0
0
8.1 | FLOOR FINISHES |  | 0
8.1.1 | Ground Floor
1 | 600x 600mm semi gloss homogenous tiles on floor at control, mess , monitor, rest and walkway | 66 | m²
2 | 200x200mm matt ceramic tiles on toilet floor | 2.9 | m²
8.2 | WALL FINISHES |  | 0
8.2.1 | Ground Floor
1 | 200x250mm Ceramic tiles on toilet wall at 1.2m height | 15.6 | m²
8.3 | CEILING FINISHES
Applying putty and grind using sand paper in slab bottom to acquire a smooth ceiling surface.
1 | Ground floor | 66 | m²
8.4 | TLIE SKIRTINGS
Tiles skirting between wall and floor as specified
1 | Ground floor | 84.57 | m
| BILL No: 08 - FINISHES |  |  |  | 0
TOTAL OF BILL No: 08 - Carried over to summary
BILL No: 09
HYDRAULICS & DRAINAGE
9.1 | HYDRAULICS
Preamble notes
a) Rates shall include for sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints, backnuts and similar, incidental fittings, clips saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting
(b) All pipe work and fittings shall be high pressure PVC
(c) Rate shall include for supply and fixing of all pipes
9.1.1 | Internal Plumbing
| Internal plumbing to all toilets, washrooms, pantries and work area sinks incl. supply and laying of pipes. | 1 | item
9.1.2 | External plumbing
1 | Well water connection to all WC's. Rate shall include for supply and laying of pipes | 1 | item
2 | Waste water and sewage connection from all the toilets & lab inc. supply and laying of pipes. | 1 | item
3 | Waste water and sewerage connection to septic tank junction box inc. supply and laying of pipes. | 1 | item
9.1.3 | Sanitary Fixtures & Accessories
Sanitary fixtures complete including brackets, stop valves, fittings etc. All sanitary fittings shall be of 'Rapetti' brand or equivalent and all fixtures shall be of 'Duravit' brand or equivalent.
1 | SS water closet | 10 | nos
2 | WC suites incl. Flush tank and fittings with well water connection | 1 | nos
3 | Wash Basins incl. taps and fittings with fresh water connection | 1 | nos
4 | Low level Taps with well water connection | 11 | nos
5 | Mirror | 1 | nos
6 | SS floor drain | 10 | nos
7 | Floor drain | 2 | nos
8 | Muslim shower | 1 | nos
9.1.4 | Pumps
1 | Supply and installation of appropriate capacity Water pump 'Davey' or equivalent, complete including pump stand, connecting to pipe work and electricity as specified | 1 | item
9.2.1 | Rainwater discharge pipe
1 | ø 75mm PVC Rainwater down pipe from roof to the rainwater collection tank | 1 | item
9.3. | INPECTION CHEMBERS AND SEPTIC TANK
1 | PCC Inspection Chambers (450 x600) for toilets with PVC screening net. | 8 | nos
2 | RCC Septic tank install with necessary fittings and complete | 1 | nos
3 | PCC Soak pit install with necessary fittings and complete | 2 | nos
| BILL No: 09 - HYDRAULIC AND DRAINAGE |  |  |  | 0
TOTAL OF BILL No: 09 - Carried over to summary
BILL No: 10
PAINTING
Note: (a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door window furniture
| (b) All painting work shall be carried in accordance with the Specifications |  | 0
10.1 | WALLS / CONCRETE SURFACES |  | 0
Nippon or equivalent emulsion paint finish on cement plastered walls and concrete surfaces. Exterior walls should be applied with weather proof paint. Allow for applied 1-coats of Alkali Resisting primer on all plastered surface.
Nippon or equivalent floor paint finish on cell toilet wall and concrete surfaces according to manufactures instructions
1 | Ground floor
| Interior | 1280 | m²
| Exterior | 314.5 | m²
10.2 | CEILING SURFACES
Nippon or equivalent emulsion paint finish on cement plastered walls and concrete surfaces. Exterior walls should be applied with weather proof paint. Allow for applied 1-coats of Alkali Resisting primer on all plastered surface.
1 | Ground floor | 66 | m²
10.3 | FLOOR SURFACES
Nippon or equivalent floor paint finish on floor and concrete surfaces according to manufactures instructions
1 | Ground floor | 261 | m²
| BILL No: 10 - PAINTING |  |  |  | 0
TOTAL OF BILL No: 10 - Carried over to summary
BILL No: 11
ELECTRICAL & SPECIFIC INSTALLATIONS
| (a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories |  | 0
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates for electrical conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
(d) Light end and switch end of wiring together measured as one point
(e) A point wiring for power points is measured as one point for each socket outlet; other end of wire is not included in the quantity.
(f) Rates shall include for supply and complete installation
(g) Three phase power supply.
11.1 | ELECTRICAL BOARDS
1 | Complete installation, including for all connections, earthling, painting, testing and similar of:
Three phase main panel board with connections from the mains including meter, cut-off fuse and other accessories to be located in the panel room at ground floor to electrical engineers specification
1 | Three phase meters | 1 | nos
2 | Three phase distribution Board | 1 | nos
3 | Main Distribution Panel Board | 1 | nos
11.2 | ELECTRICAL WIRING |  | 0
| Electrical wiring with copper conductor cable in conduits in walls and concrete as per government regulations including necessary D-boards at each level. |  | 0
1 | Wiring to Lighting | 57 | points
2 | Wiring to Power outlets and fan | 34 | points
3 | Main connection from nearest substation | 1 | item
11.3 | LIGHTING, POWER POINTS & FANS |  | 0
All lights shall be of 'Erco' brand or equivalent, all switches, sockets etc. shall be 'Clipsal' brand or equivalent
1 | Celling mount led light with 3 led (Weather proof) | 31 | nos
2 | Celling mount led light with 2 led (Weather proof) | 10 | nos
3 | Ceiling mount tube light | 6 | nos
4 | Emergency light | 5 | nos
5 | Socket 2 Gang - 13A | 7 | nos
6 | Socket 1 Gang - 15A | 7 | nos
7 | One-way Switch | 3 | nos
8 | Two-way Switch 3G | 1 | nos
9 | Two-way Switch 4G | 2 | nos
10 | Two-way Switch 5G | 4 | nos
11 | Two-way Switch 6G | 2 | nos
12 | Ceiling fan(KDK or equivalent) with controller | 5 | nos
13 | Telephone outlet | 3 | nos
14 | Network outlet | 5 | nos
15 | Provide necessary wiring ,fittings and accessories above and provide shop drawings subjects to consultant approval. | 1 | item
11.4 | AIRCONDITIONING SYSTEMS
necessary wiring ,trays, fittings and accessories above and provide shop drawings subjects to consultant approval.A
1 | A/C ceiling cassette type 9000 BTU | 1 | nos
2 | A/C ceiling cassette type 24000 BTU | 1 | nos
11.5 | FIRE FIGHTING
Provide & install fire fighting equipment inclusive of all necessary connection as per local regulations as described.
1 | CO2 Extinguisher(2kg) | 4 | nos
2 | Water Extinguisher(9ltr, 13A) | 4 | nos
| BILL No: 11 - ELECTRICAL |  |  |  | 0
TOTAL OF BILL No: 11- Carried over to summary
BILL No:12
ADDITION/OMMISSION
12.1 | ADDITIONS
12.2 | OMMISSIONS
| BILL No: 12 -ADDITIONS/OMMISSIONS |  | 0
TOTAL OF BILL No: 13 - Carried over to summary
(a) Rates shall include for sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints, backnuts and similar, incidental fittings, clips saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes, excavating, laying pipes and backfilling trenches.

## summary
Maldives Police Service
Infrastructure Development Unit
Finance Department
Male' Rep of Maldives
Date: 28 December 2015
PROJECT: Construction of Juvenile Cell Block
CLIENT: Maldives police service
LOCATION: K.Dhoonidhoo
SUMMARY
Bill no | Description |  | Amount
1 | PRILIMINARIES |  | 0
2 | GROUND WORKS |  | 0
3 | CONCRETE |  | 0
4 | MASONRY AND PLASTERING |  | 0
5 | METAL WORKS |  | 0
6 | CEILING |  | 21593.6
7 | DOORS AND WINDOWS |  | 0
8 | FINISHES |  | 0
9 | HYDRAULICS & DRAINAGE |  | 0
10 | PAINTING |  | 0
11 | ELECTRICAL & SPECIFIC INSTALLATIONS |  | 0
13 | ADDITION/OMMISSION
0
TOTAL AMOUNT (MVR) |  |  | 21593.6
ADD GST 6% |  |  | 1295.616
GRAND TOTAL (MVR) |  |  | 22889.216

## Sheet1
Maldives Police Service
Infrastructure Development Unit
Finance Department
Male' Rep of Maldives
Date: 28 December 2015
PROJECT: Construction of Juvenile Cell Block (Phase -1)
CLIENT: Maldives police service
LOCATION: K.Dhoonidhoo
SUMMARY
Bill no | Description |  | Amount
1 | PRILIMINARIES
2 | GROUND WORKS |  |  | 1410000 | 90000 | 1500000
3 | CONCRETE |  |  | 0 | 84600
4 | MASONRY AND PLASTERING |  |  | 1410000 | 5400
0
TOTAL AMOUNT (MVR) |  |  | 0
ADD GST 6% |  |  | 0
GRAND TOTAL (MVR) |  |  | 0