## COVER SHEET
BILL OF QUANTITIES
CONSTRUCTION OF N. MAGOODHOO HEALTH CENTER
N. MAGOODHOO

## BoQ
BILL OF QUANTITIES
CONSTRUCTION OF N. MAGOODHOO HEALTH CENTER
N. MAGOODHOO
Item | Description | Unit | Quantity | Rate/ Unit | Rate/ Unit | Total Unit Rate | Amount
|  |  |  | Material | Labour | Rates per Units
BILL No: 01
| PRELIMINARIES |  |  |  |  | 0 | 0
[6 empty] | 0 | 0
1.1 | General Notes |  |  |  |  | 0 | 0
(1) | Abbreviations |  |  |  |  | 0 | 0
| m - meter |  |  |  |  | 0 | 0
| No - numbers |  |  |  |  | 0 | 0
| m³ - cubic meter |  |  |  |  | 0 | 0
| m² - square meter |  |  |  |  | 0 | 0
Lm - Linear meter
KG - Kilograms
incl - including
mm - millimeter
dia - diameter
SS - Stainless Steel
GI - Galvanized Iron
1.2 | Site Management Costs
1 | Day to day management of site activities includes carrying out construction works with in stipulated period as per working drawings and technical specification and terms of contract, labour control, material management, stores management and overseeing the safety of work and stores equipment and personnel at site. Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings and similar. | item | 1
1.3 | Sign Board
1 | Allow for sign board. | no | 1
| BILL No: 01 PRELIMINARIES | [5 empty] | 0
TOTAL OF BILL No: 01 - Carried over to summary
BILL No: 02
GROUND WORKS
2.1 | General
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and disposing surplus soil.
2.2 | Excavation
Excavation shall be carried out in all type of materials and by whatever means are necessary accurately to the lines and levels shown in the approved drawing. No blasting of any kind will be permitted. Excavation for foundations and will include timbering of soil faces and dewatering. Excavation quantities are measured to the faces of concrete members. Rates shall include for dewatering, leveling, grading, trimming compacting to faces of excavation, keeping sides plumb, backfilling, consolidating and disposing surplus soil and include for all additional excavation required to place the formwork / shuttering and dewatering the trench for the required days.
1 | Excavation for Foundation Beams | m³ | 10.22
2.3 | Back Filling up to ground level.
1 | Rates shall include for: leveling, grading, trimming and compacting as specified. | m³ | 1.4
2.4 | Basement filling Above ground level.
1 | Back filling above ground level in 100mm thick compacted layers of approved back fill soil and disposal of any excess soil and including ramp: rates shall include for leveling, grading, trimming and compaction in 100mm layers of filled areas of excavation | m³ | 50.49
2.5 | Damp Proof Membrane
Cutting and laying in position heavy duty polythene sheets of gauge 500 (not less than 1.5mm thick). Rates shall include for: dressing around and sealing to all penetrations. Apply slurry type waterproofing to all surfaces of concrete below ground level in accordance with manufacturer's instructions.
1 | Damp proof membrane above lean concrete | m² | 25.58
2 | Damp proof membrane below floor slab | m² | 145
3 | Bituminous application to sides of foundation beams & columns below ground level. | m² | 63
2.6 | INSPECTION TRIPS
1 | Arrange inspection trip to consultant, (Male'/N. Magoodhoo/N.Manadhoo/Male') each inspection trip takes 2 days, Type of speed boat should be Touring 36 or equivalent speed boat. | No | 4
0
| BILL No: 02 - GROUND WORKS | [5 empty] | 0
TOTAL OF BILL No: 02 - Carried over to summary
BILL No: 03
CONCRETE
3.1 | General
Rates shall include for cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and other supports, laps and wastage, all reinforcement bars except 6 mm dia bars shall be of deformed high strength bars. 6 mm bar shall be round mild steel bars. Binding wire shall be of 1.6 mm or 1.4 mm soft iron wire. Reinforcement bars shall be cleaned before use i.e. should be free from rust, oil, din, or other coatings that reduces bonds, all reinforced bars and binding wires shall be stored under cover of at least 450 mm above the ground, cutting and bending according to approved manner & the approved working drawing, placing and fixing in position and binding should be as per the approved working drawing, laps in the bars shall be staggered, concrete cover for reinforcement shall not less than 50 mm for substructure, 40 mm for columns & side beams and not more than 30 mm for slab and beam bottoms.
3.2 | Lean Concrete
Lean concrete shall be 50mm thick & mix ratio shall be 1:3:6 by dry volume. Lean concrete placed at bottom of footing and foundation beam and below plinth for protection according to line and length mentioned in the approved drawing. Quantity measured to the edges of concrete foundation members. Rate shall include of placing any formwork where necessary, batching, mixing, casting in all required items pouring & compacting and curing for 3 days and removal of any formwork include for provision casting of required items & finishing after removal of formwork and additional concrete required to confirm to structural and excavated tolerances and rates shall include supply of all required works
1 | Foundation Beams, 50mm thick, | m³ | 0.15
3.3 | Reinforced Concrete
3.3.1 | Foundations
1 | Foundation Beam, FB 200x200mm | m³ | 4.09
3.3.2 | Ground Floor
1 | Concrete columns C1, 200 x 200mm | m³ | 2.3
2 | Concrete columns C2, 200 x 200mm ( above roof beams) | m³ | 0.28
3.3.3 | Roof level
1 | Roof beam, RB, 200x200 | m³ | 3.6
3.3.4 | Floor Slab
1 | 75mm thick RC ground slab | m³ | 12.02
3.5.5 | Lintel & Sill beams
1 | Lintel beams and sill beams, Rates includes for concrete, rebar and formworks | m | 65
3.4 | Formwork
(a) Rates shall include for all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes and removal of formwork. All materials such as plywood, shutter oils and other items and transportation to work place and secure the formwork in highly precise manner guaranteeing straight and smooth concrete edges. Cutting, fixing, bracing and oiling according to line and length as per approved working drawings removal of it after concrete has set without damaging the concrete faces.
3.4.1 | Foundations
1 | Foundation Beam, FB 200x200mm | m² | 40.91
3.4.2 | Ground Floor
1 | Concrete columns C1, 200 x 200mm | m² | 46
2 | Concrete columns C2, 200 x 150mm | m² | 5.6
3.4.2 | Roof level
1 | Roof beam, RB 200x200 | m² | 58.6
3.5 | Reinforcement
GENERAL : Rates shall include for cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and other supports, laps and wastage, all reinforcement bars except 6 mm dia bars shall be of deformed high strength bars. 6 mm bar shall be round mild steel bars. Binding wire shall be of 1.6 mm or 1.4 mm soft iron wire. Reinforcement bars shall be cleaned before use i.e. should be free from rust, oil, din, or other coatings that reduces bonds, all reinforced bars and binding wires shall be stored under cover of at least 450 mm above the ground, cutting and bending according to approved manner & the approved working drawing, placing and fixing in position and binding should be as per the approved working drawing, laps in the bars shall be staggered, concrete cover for reinforcement shall not less than 50 mm for substructure, 40 mm for columns & side beams and not more than 30 mm for slab and beam bottoms.
(b) All reinforcing bars shall be high strength bars.
3.5.1 | Foundation
Foundation Beam, FB 200x200mm
1 | Steel deformed bars, 12mm dia x 6m | Bars | 75
2 | Steel ring bars, 6mm dia x 6m | Bars | 56
3.5.2 | Ground Floor
Concrete columns C1, 200 x 200mm
1 | Steel deformed bars, 12mm dia x 6m | Bars | 43
2 | Steel ring bars, 6mm dia x 6m | Bars | 31
Concrete columns C2, 200 x 200mm
1 | Steel deformed bars, 12mm dia x 6m | Bars | 5
2 | Steel ring bars, 6mm dia x 6m | Bars | 4
3.5.3 | Roof level
Roof beam, RB, 200x200mm
1 | Steel deformed bars, 12mm dia | Bars | 66
2 | Steel ring bars, 6mm dia | Bars | 50
3.5.2 | Floor Slab
1 | Steel ring bars, 6mm dia x 6m @300 C/C BW | Bars | 206
3.5.3 | Ground water Well
1 | Fabricate and completion of RC ground water well as per drawings | Item | 1
3.5.4 | Septic Tank
1 | Fabricate and completion of Septic tank as per drawings | Item | 1
| BILL No: 03 - CONCRETE WORKS | [5 empty] | 0
TOTAL OF BILL No: 03 - Carried over to summary
BILL No: 04
MASONRY AND PLASTERING
4.1 | General
Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good. Bedding mortar (mixing ratio 1:4 i.e. cement: river sand) shall be of OPC & fine aggregate shall be imported river sand shall be approved in grading & clean from any harmful substance. Masonry work shall be done with approved cement blocks (300X150X150) with no defects. Lay in line and length as per approved working drawing
floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding
Rates shall include for: 25mm groove lines on external surfaces as shown on the drawing.
4.2 | Cement block work
1 | 150mm Thick Hollow block Masonry wall for ground floor ( River sand to be use masonry works as well as block making) | m² | 364
4.3 | Plastering
GENERAL: Interior and Exterior: Plaster All masonry wall have smooth finishing of 20 mm thick cement plastering with mix ratio 1:4 (i.e. cement: River Sand), plastering material shall be of OPC & fine aggregate shall be imported river sand shall be approved in grading & clean from any harmful substance. Plastic net should be provided wherever concrete surface and masonry meets, and cracks are unacceptable. Regular curing up to 7 days must be done
1 | Interior and Exterior plaster 18mm thick, | m² | 727
| BILL No: 04 - MASONRY AND PLASTERING | [5 empty] | 0
TOTAL OF BILL No: 04 - Carried over to summary
BILL No: 05
ROOFING
5.1 | General
(a) Rates shall include for: fair edges, dressing over angel fillets, turning into grooves, all other labours, circular edges, nails, screws and other fixings and laps.
(b) Rates shall include to apply Wood preservative to all the surface of timbers (Roof structure).
5.2 | Roof Coverings
1 | Roofing sheets: Blue scope steel international limited MSP- Aqua marine or equivalent for Main building and connection area. | m² | 249
5.3 | Capping and Flashings
1 | Ridge Capping: Blue scope steel international limited MSP- Aqua marine or equivalent | m | 21.5
2 | End cap: Blue scope steel international limited MSP- Aqua marine or equivalent | m | 31
3 | Flashing: Blue scope steel international limited MSP- Aqua marine or equivalent | m | 9
5.4 | Gutter
(a) MSP Color bond flat sheet gutter including framing, and supports, straps, brackets, clips, stop ends, overflow, downpipe outlets, mesh flashings and all fixings and fastenings.
1 | GUTTER: Blue scope steel international MSP- Aqua marine or equivalent for Main building | m | 41
0
5.5 | Down Pipes
1 | 75 mm dia uPVC down pipes including bends, junctions, straps, brackets, clips, roof drain strainer and all fixings. (8 down pipes) | m | 46
0
5.6 | Roof Structure
1 | (a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
1 | 150 X 100mm timber Ridge beam as per drawing | m | 23
2 | 50 X 150mm timber Hip rafters as per drawing | m | 9.5
3 | 50 X 150mm timber rafters as per drawing | m | 286
4 | 50 X 50mm timber purling as per drawing | m | 386
5 | 12mm dia. GI Bolt for fixing rafters to roof beam, 300mm length | Nos | 81
6 | Applying Solignum or equivalent wood preservative for all roof structure | item | 1
7 | Timber fascia board 25 X 250mm | m | 71
9 | Fabrication and fixing of 3mm thick MS Gusset plate on both side of rafters including bolts and painting on both side of plates. | Nos | 64
10 | Fabrication and fixing of 3mm thick MS Gusset plate on both side of rafters (portico area) including bolts and painting on both sides. | Nos | 4
5.7 | Roof Insulation
1 | 50mm thick Mineral wool installation with both side reflective foil on Fixed to underside of roofing with 12.5X12.5mm plastic mesh, Connection and edges of the foil to be sealed properly with a approved tape from consultant. | m² | 249
| BILL No: 05 - ROOFING | [5 empty] | 0
TOTAL OF BILL No: 05 - Carried over to summary
BILL N0: 06
DOORS AND WINDOWS
6.1 | General
Aluminum Doors and windows, Fabricate and fix in position the aluminum doors and window frame - aluminum doors and window (white powder coated, 60-80 micron, 1.5mm profile thickness) using recommended material with specified fixtures as shown in approved working drawings and installation should be as per technical specifications. Rates shall include for locks, latches, closures, push plates, pull handles, bolts, kick plates hinges, screws, washer and all door and window hardware and these materials should be of ss steel according to drawing and of superior quality.
(a) All door and window frames and panels shall be as specified in the drawing
(b)All glass should be a frosted.
6.2 | Door / Windows units
1 | D1, Decorative Solid timber Door 2600X1700mm with panels as per drawings | no | 1
2 | D2, Decorative Solid timber Door 2150X1350mm with panels as per drawings | no | 1
3 | D3, Decorative Solid timber Door 2150X1350mm with panels as per drawings | no | 1
4 | D4, Decorative Solid timber Door 2150X900mm with panels as per drawings | no | 6
5 | W1, Aluminum 60-80 Micron, white powder coated window 1700x1300mm with panels as per drawings | no | 6
6 | V1, Aluminum 60-80 Micron, white powder coated window 500x675mm with panels as per drawings for Office Building | no | 3
6.3 | Partition Works
1 | Fabrication of 75mm thick full height ( up to the ceiling) Partition as per drawing, 75X50mm timber frame at 1200X600 c/c with both side M board with paint finish. | m² | 6.8
6.4 | Window Curtains
Supply and installation of window curtains for following doors, quality of window curtain should be sun protected medium quality, Size of finished curtain should be 2.4X2.2meter for W1 window and 2.4X1.575meter, Rates should be complete installation of curtain with railing.
1 | W1 windows | No | 6
6.5 | Registration counter
1 | Fabrication of Registration counter as per drawings | No | 1
BILL N0: 06 - DOORS AND WINDOWS
TOTAL OF BILL No: 06 - Carried over to summary
BILL N0: 07
TILING
7.1 | General
Prepare surface for approved bedding tiles with reach bedding materials as per the technical specifications & approved working drawings, fix tiles with ct grout in a precise manner to maintain correct alignment, applying tile grout and wiping any excess grout to ensure the required standards of finished works. Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing any other similar works to ensure the required finish. All tiles shall be homogeneous or equivalent.
7.2 | Floor finish
7.2.1 | 300x300 skid resistant White Ceramic floor tiles, | m² | 114.7
7.2.2 | 300x300 skid resistant White Ceramic floor tiles, Out door tiles for Portico area | m² | 26.95
7.2.3 | 300x300 skid resistant White Ceramic floor tiles for toilet area, | m² | 7.5
7.3 | Wall finish
7.3.1 | 300x600 mm glazed white ceramic wall tiles,
1 | Toilet area, 2.4M Height form FFL, | m² | 11.8
2 | Labour room, 2.4M Height form FFL | m² | 42
3 | Ward area, 2.4M Height form FFL | m² | 36.8
4 | Dressing room, 1.8M Height form FFL | m² | 26.11
5 | 300x150 mm glazed white ceramic wall tiles, border | m | 54
BILL No: 7 - TILING
TOTAL OF BILL No: 7 - Carried over to summary
BILL No: 8
CEILINGS
8.1 | Interior Ceilings
Interior ceiling consist of Gypsum board suspended ceiling, including framing beading nails and screws. Grid of the frame to be 600 x 600 with timber supports to roof structure at every 1200 mm, timber framing and supports shall 50 x 50mm size shall be seasoned red meranti timber as per given drawing. All Support/hangers & framing for ceiling shall be seasoned Red meranti. Rates includes to cornice borders to all adges between ceiling and wall.
1 | Ground floor | m² | 122.23
8.1 | Exterior Ceilings
Exterior ceiling consist of 6mm thick M board suspended ceiling, including framing beading nails and screws. Grid of the frame to be 600 X 600 with timber supports to roof structure at every 1200 mm on the main entrance ceiling & 600X900 mm at eaves of roof ceiling, timber framing and supports shall 50 x 50mm size shall be seasoned red meranti timber as per given drawing. Rates includes to cornice borders at portico area
1 | Portico area | m² | 22
2 | Eve ceiling | m² | 53.74
BILL N0: 8 CEILINGS
TOTAL OF BILL No:8 - Carried over to summary
BILL No: 9
PAINTING
9.1 | General
Exterior wall shall be of 1 coat of oil based textured paint and 2 coats of Nippon Sigma or equivalent weather bond paint ( white, oil based ) over 1 coat of oil based sealer ( white) or equivalent (according to technical specifications or approved drawings). Erection of scaffolding, preparing working platforms, applying sealer and two coats of paint as specified in the working drawings. Removal of scaffolding if any after completion of work. Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window and including soffits and sides of beams.
Interior wall shall be of 2 coats of Nippon 3-in1 Medifresh or equivalent over 1 coat of oil based sealer or equivalent. Erection of scaffolding, preparing working platforms, applying sealer and two coats of paint as specified in the working drawings. Removal of scaffolding if any after completion of work. Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window and including soffits and sides of beams.
Exterior & Exterior Ceiling (interior and exterior) shall be of 2 coats of Nippon or equivalent high gloss wood paint over 1 coat of wood primer or equivalent. Erection of scaffolding, preparing working platforms, applying sealer and two coats of paint as specified in the working drawings. Removal of scaffolding if any after completion of work. Rates shall include for the provision and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and or masking floors fittings and similar work removing and replacing door window furniture.
All painting work shall be carried in accordance with the Specifications
9.2 | Wall painting
1 | External and Internal Plaster surface of walls | m² | 780
93 | Ceiling painting
1 | External ceiling, | m² | 76
2 | Internal ceiling, | m² | 122.23
BILL No: 9 - PAINTING
TOTAL OF BILL No: 9 - Carried over to summary
BILL No: 10
ELECTRICAL INSTALLATIONS
10.1 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates shall include for electrical conduits, fittings, equipment and similar all fixings to various building surfaces
(d) Each Light/ light fixture and its switch is measured as one one point; similarly each fan or each socket outlet is measured as one point;
(e) Rates shall include for supply and complete installation
10.2 | Mains connection
1 | Three Phase Main connection: Rates shall include for Cable, Three phase house meter, screws, nails, bolts ,nuts, standard cable, fixing or supporting clips, brackets, straps, rivets, plugs, single phase meter and all incidental accessories. Rates shall including for electrical conduits, fittings, equipment and similar items. Three - PHASE CABLE WIRING TO D-BOARD: All necessary work in trench shall include for excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers warning tape and disposal of surplus soil supply and laying of the cable in according to Maldives electricity bureau. ( 16mm2 3-Core Cable, Approved by respective Authorities, GI pipe, warning tape) | no | 1
10.3 | Electrical Boards
1 | Three phase electrical distribution board (wall embedded) with one Meter: Supply and installation of D-Board . Rates Shall include all required Brackets and other electrical appliance as per drawings and Maldivian Regulations ( wall embedded ) Meter to be cover with whether proof box. All the light circuit should be one DB Sockets to be one DB. | no | 2
10.4 | Electrical wiring
Single phase Electrical wiring with copper conductor cable in conduits in walls and in casing on soffits of slab as specified to:
1 | Wiring with 2.5 mm² cable to 1x13 Amp Power points | points | 6
2 | Wiring with 2.5 mm² cable to 2 x 13 Amp Power points | points | 15
3 | Wiring with 2.5 mm² cable to 1 x 15 Amp Power points | points | 2
4 | Wiring with 2.5 mm² cable to lights and fan | points | 32
10.5 | Lighting / Fan
1 | Ceiling Mount holder with 14 W LED bulb, (Philips or equivalent ) Base E27, Cool day light, Total lumen 1400. | no | 17
2 | LED Emergency light ( 2 hours Battery charge) | no | 8
3 | Whether proof ceiling mount light with 14 W LED bulb, (Philips or equivalent ) Base E27, Cool day light, Total lumen 1400. for portico area | no | 4
4 | Whether proof Wall mount light with 12.5 W LED bulb, (Philips or equivalent ) Base E27, Cool day light, Total lumen 1050. | no | 6
5 | Ceiling Fan, 1200mm dia. USHA or equivalent | no | 8
6 | Night Bulb | no | 1
10.6 | Socket outlets
(a) All socket outlets shall be "Legrand" or equivalent.
1 | 1x13Amp wall Socket outlet, 600mm above floor level | no | 3
2 | 2x13Amp wall Socket outlet, 600mm above floor level | no | 15
3 | 1x13Amp wall Socket outlet, 200mm below ceiling. | no | 3
4 | 1x15Amp wall socket outlet, for AC | no | 3
10.7 | Light switches
(a) All light switches shall be "Legrand" or equivalent. Each light should be control by one switch.
1 | One gang switch | no | 6
2 | Two gang switch | no | 7
3 | Out door photo cell switch | no | 2
4 | Fan control | no | 8
10.8 | Water pump
1 | Supply and complete installation of DEAVY or equivalent pump for ground water | Item | 1
2 | Supply and complete installation of DEAVY or equivalent pump for Rain water | Item | 1
BILL No: 10 - ELECTRICAL INSTALLATIONS
TOTAL OF BILL No: 10 - Carried over to summary
BILL No: 11
HYDRAULICS & DRAINAGE
11.1 | Hydraulics
11.1.1 | General
(a) Rates shall include for excavation, laying pipes and backfilling trenches, maintaining faces of drainpipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints brackets, joints, straps, hangers, screws, nails and fixing complete, and all joints and other incidental material, All Pipes and fittings area high pressure uPVC pipes
fixing complete, including cutting and forming holes; excavating, laying pipes and backfilling trenches.
(b) All pipe work shall be uPVC.
11.1.2 | Ground water supply pipe work
1 | Completion of ground water pipe line and Connect ground water system. | Item | 1
11.1.3 | Rain water supply pipe work
| Completion of rain water pipe line and rain ground water system to nurse station and dressing room. | Item | 1
11.1.3 | Sanitary fixtures & accessories
Sanitary fixtures & Accessories: Sanitary fixtures complete including, piping, brackets, flush pipes, valves, overflows, plugs and washers, as specified.
1 | Water closet (Cotto) or equivalent | no | 2
2 | Wash basin with stand (Cotto) or equivalent | no | 3
3 | Floor drain with gully & water trap. | no | 2
4 | Water tap for wash basin , ( Cotto) or equivalent | no | 2
5 | Muslim Shower, ( Cotto) or equivalent with valve | no | 2
6 | Ball Valves, ( Cotto) or equivalent | No | 8
7 | Wall cabinet | No | 2
8 | Ceramic Lab Sink ( Cotto) or equivalent | No | 2
9 | Elbow Operated tap for Consultation room | no | 3
11.2 | Drainage
11.2.1 | General
(a) Rates shall include for: excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus spoil; bends, junctions, reducers, expansion joints and all joints and other incidental materials.
(b) All pipe work shall be UPVC
11.2.2 | Pipe work
1 | Installation and Complete Connection of Waste disposal pipe 75mm dia UPVC to leach field | Item | 1
2 | Installation and Complete Connection of Sewers pipe 100mm dia UPVC to septic tank | Item | 1
11.3 | Sink cupboards
Fabrication and complete insulation of sink cupboard as per drawings, Rates includes for Concrete, masonry, plastering, tiling, plumbing and other necessary works required for complete sink cupboard with Elbow operated tap.
1 | Sink cupboard as per drawing ( labour room ) 2.1 Meter length | Item | 1
2 | Sink cupboard as per drawing ( Dressing room ), 2.1 Meter length | Item | 1
11.4 | Rain water tank
| Supply and installation of 5000L Sintex or equivalent HDPE rain water tank, rates includes to casting of foundation as per drawing and connect to down pipe to water tank as well as connect rain water pipe system. | Item | 1
11.5 | Over head water tank
1 | Supply and installation of 2000L Sintex or equivalent HDPE over head water tank, rates includes to casting of foundation as per drawing and connect to existing pipe line. | Item | 1
2 | Completion of RC water tower as per drawing | Item | 1
11.6 | Leach Field
1 | Fabricate and complete installation of leach field as per drawings. | Item | 1
BILL No: 11 - HYDRAULICS & DRAINAGE
TOTAL OF BILL No: 11 - Carried over to summary
BILL No: 12
AIR CONDITIONING SYSTEM
12.1 | General
(a) Rates shall include for detail design, supply and complete installation of Split type A/C units pipework, insulation, fixings, electrical wiring, stands for outdoor units, drain pipes etc.
(b) The Contractor shall provide detailed and complete set of shop drawings
12.2 | Air Condition
Design, supply and complete installation of indoor and out door unit, with 40ø drop in water (type) 25ø extended as Cd drop in 32 flex conduit 18ø Cd drain (typ0 run above FC insulated, CU1/3 48,000 BTU/HR, all AC unit is DAIKIN VRV IV digital wired thermostat or equivalent (INVERTER TYPE).
Following rooms should be installed AC,
12.3 | Ground Floor
1 | Consultation room, 9000Btu, Split type | Item | 1
2 | Labour room, 2400Btu, Split type | Item | 1
3 | Office, 18000Btu, Split type | Item | 1
BILL No: 12 - AIR CONDITIONING SYSTEM
TOTAL OF BILL No: 12- Carried over to summary
BILL No:13
TENDERER'S ADJUSTMENTS
(a) Provide detail description of work items under each bill and insert extra pages if required.
13.1 | Additions
1 | PRELIMINARIES, Bill no. 01
2 | GROUND WORKS, Bill no. 02
3 | CONCRETE, Bill no. 03
4 | MASONRY AND PLASTERING, Bill no. 04
5 | ROOFING, Bill no. 05
6 | DOORS AND WINDOWS, Bill no. 06
7 | TILING, Bill no. 07
8 | CEILINGS, Bill no. 08
9 | PAINTING, Bill no. 09
10 | HYDRAULICS & DRAINAGE, Bill no. 10
11 | ELECTRICAL INSTALLATIONS, Bill no. 11
12 | AIR CONDITIONING SYSTEM, Bill no. 12
ADDITIONS TOTAL
13.2 | Omissions
1 | PRELIMINARIES, Bill no. 01
2 | GROUND WORKS, Bill no. 02
3 | CONCRETE, Bill no. 03
4 | MASONRY AND PLASTERING, Bill no. 04
5 | ROOFING, Bill no. 05
6 | DOORS AND WINDOWS, Bill no. 06
7 | TILING, Bill no. 07
8 | CEILINGS, Bill no. 08
9 | PAINTING, Bill no. 09
10 | HYDRAULICS & DRAINAGE, Bill no. 10
11 | ELECTRICAL INSTALLATIONS, Bill no. 11
12 | AIR CONDITIONING SYSTEM, Bill no. 12
OMISSIONS TOTAL
BILL No: 13 - TENDERER'S ADJUSTMENTS
TOTAL OF BILL No: 13 - Carried over to summary

## SUMMARY
SUMMARY OF BILLS OF QUANTITIES
CONSTRUCTION OF N. MAGOODHOO HEALTH CENTER
Bill No | Description |  | Amount
1 | PRELIMINARIES | Bill no. 01 | 0
2 | GROUND WORKS | Bill no. 02 | 0
3 | CONCRETE | Bill no. 03 | 0
4 | MASONRY AND PLASTERING | Bill no. 04 | 0
5 | ROOFING | Bill no. 05 | 0
6 | DOORS AND WINDOWS | Bill no. 06
7 | TILING | Bill no. 07
8 | CEILINGS | Bill no. 08
9 | PAINTING | Bill no. 09
10 | ELECTRICAL INSTALLATIONS | Bill no. 10
11 | HYDRAULICS & DRAINAGE | Bill no. 11
12 | AIR CONDITIONING SYSTEM | Bill no. 12
13 | TENDERER'S ADJUSTMENTS | Bill no. 13
14 | GST 6%
| GRAND TOTAL carried to form of bid |  | 0
0
0