## BOQ
SL.NO | DESCRIPTION | QTY | UNIT | LABOUR RATE | MATERIAL RATE | LABOUR AMOUNT | MATERIAL AMOUNT | TOTAL AMOUNT
Bill No: 01
PRELIMINARIES
1.1 | General Notes
1 ) | Abbreviations
m - meter
No - numbers
m3 - cubic meter
m2 - square meter
Lm - Linear meter
t - tonnes
incl - including
mm - millimeter
dia - diameter
SS - Stainless Steel
GI - Galvanised Iron
1.2 | Site Management Costs
1 ) | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone,fax,hoardings and similar. | 1 | item |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
1.3 | Sign Board |  |  |  |  | 0 | 0 | 0
1 ) | Allow for sign board | 1 | no |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
1.4 | Clean - up |  |  |  |  | 0 | 0 | 0
1 ) | Allow for clean - up of completed works and site upon completion. | 1 | item |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
| Inspection Trips |  |  |  |  | 0 | 0 | 0
| Arrange inspection trip to consultant, contractor has to arrange air ticket (normal fare) Male' / Fuvahmulah / Male' for 2 people for each trip and land transport, also acomodation for 2 days (AC room with Twin beds) | 9 | items |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
TOTAL OF BILL NO. 01 (PRELIMINARIES) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 02
GROUND WORKS
2.1 | GENERAL
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and disposing surplus soil.
2.2 | SITE CLEARING
| Clear the area of site from rubbish and vegetable matters, stumps, roots. Demolition shall be included (if any) | 565.86 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
2.3 | EXCAVATION |  |  |  |  | 0 | 0 | 0
| Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formworks |  |  |  |  | 0 | 0 | 0
1 ) | Excavation for Footings and Tie beams | 275 | m³ |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
2.4 | BACK FILLING |  |  |  |  | 0 | 0 | 0
| (a) Rates shall include for: levelling, grading, trimming, compacting and similar. |  |  |  |  | 0 | 0 | 0
| (b) Ground need to be compacted to the required density by the consultant. |  |  |  |  | 0 | 0 | 0
1 ) | Earth Filling as per drawings | 565.86 | m² |  |  | 0 | 0 | 0
2 ) | 50 mm thick sand blinding layer to receive damp proof membrane | 565.86 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
2.5 | DAMP PROOF MEMBRANE |  |  |  |  | 0 | 0 | 0
| (a) Rates shall include for: dressing around and sealing to all penetrations, laps and turnups |  |  |  |  | 0 | 0 | 0
1 ) | Polythene damp proof membrane (500 gauge) laid on blinding layer under footings, tie beams and ground floor slab | 793 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
2.6 | DEWATERING |  |  |  |  | 0 | 0 | 0
| This item shall include for all the piping, pumps, etc. Water needs to be pumped to an assigned area as per local regulation. | 1 | Item |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
TOTAL OF BILL NO. 02 (GROUND WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 03
CONCRETE WORKS
General
a) Rate shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
b) Mix ratio for reinforced concrete shall be 1:2:3
1 ) | Allow for concrete testing | 1 | item |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.1 | Lean Concrete |  |  |  |  | 0 | 0 | 0
| 50 mm thick lean concrete under the footings / strip footing and tie beam with a mix of 1:2:6 | 227 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.2 | Reinforced Concrete |  |  |  |  | 0 | 0 | 0
| In-situ reinforced concrete to: |  |  |  |  | 0 | 0 | 0
| *Add water proofing compound / admixture to concrete mix for walls GL and Roof Slabs |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.2.1 | Foundation |  |  |  |  | 0 | 0 | 0
1 ) | Footings, Strips and Tie Beams | 115 | m³ |  |  | 0 | 0 | 0
2 ) | Lift walls, Columns and Stair starter | 8.7 | m³ |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.2.2 | Ground Floor |  |  |  |  | 0 | 0 | 0
1 ) | RCC Ground Slab 100 mm thick, (Rate shall include for reinforcement and shuttering required as per the drawings) | 56.5 | m³ |  |  | 0 | 0 | 0
2 ) | Lift walls, Columns and Stairs | 22.6 | m³ |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.2.3 | First Floor |  |  |  |  | 0 | 0 | 0
1 ) | Attached Beams, Suspended Slab including slab turn downs | 108.2 | m³ |  |  | 0 | 0 | 0
2 ) | Lift walls, Columns and Stairs | 22.2 | m³ |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.2.4 | Second Floor |  |  |  |  | 0 | 0 | 0
1 ) | Attached Beams, Suspended Slab including slab turn downs | 100.3 | m³ |  |  | 0 | 0 | 0
2 ) | Lift walls, Columns and Stairs | 21.7 | m³ |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.2.5 | Terrace Floor |  |  |  |  | 0 | 0 | 0
1 ) | Attached Beams, Suspended Slab including Roof beams | 42.5 | m³ |  |  | 0 | 0 | 0
2 ) | Lift walls, Columns | 16.5 | m³ |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.2.6 | Roof Level |  |  |  |  | 0 | 0 | 0
1 ) | Attached beams, slab at Lift Machine room level and Roof level | 13.2 | m³ |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.3 | Formwork |  |  |  |  | 0 | 0 | 0
| a) Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes, removal of formwork and normal practices used. |  |  |  |  | 0 | 0 | 0
3.3.1 | Foundation |  |  |  |  | 0 | 0 | 0
1 ) | Footings, Strips and Tie Beams | 392 | m² |  |  | 0 | 0 | 0
2 ) | Lift walls, Columns and Stair starter | 98 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.3.2 | Ground Floor |  |  |  |  | 0 | 0 | 0
1 ) | Lift walls, Columns and Stairs | 265 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.3.3 | First Floor |  |  |  |  | 0 | 0 | 0
1 ) | Attached Beams, Suspended Slab including slab turn downs | 752 | m² |  |  | 0 | 0 | 0
2 ) | Lift walls, Columns and Stairs | 252 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.3.4 | Second Floor |  |  |  |  | 0 | 0 | 0
1 ) | Attached Beams, Suspended Slab including slab turn downs | 698 | m² |  |  | 0 | 0 | 0
2 ) | Lift walls, Columns and Stairs | 252 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.3.5 | Terrace Floor |  |  |  |  | 0 | 0 | 0
1 ) | Attached Beams, Suspended Slab including Roof beams | 322 | m² |  |  | 0 | 0 | 0
2 ) | Lift walls, Columns | 162 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.3.6 | Roof Level |  |  |  |  | 0 | 0 | 0
1 ) | Attached beams, slab at Lift Machine room level and Roof level | 102 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.4 | Reinforcement |  |  |  |  | 0 | 0 | 0
| a) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and chair supports, laps, and wastages. |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.4.1 | Foundation |  |  |  |  | 0 | 0 | 0
1 ) | Footings, Strips and Tie Beams |  |  |  |  | 0 | 0 | 0
| 20 mm dia bars | 170 | kg |  |  | 0 | 0 | 0
| 16 mm dia bars | 610 | kg |  |  | 0 | 0 | 0
| 12 mm dia bars | 375 | kg |  |  | 0 | 0 | 0
| 10 mm dia bars | 940 | kg |  |  | 0 | 0 | 0
| 6 mm dia bars | 720 | kg |  |  | 0 | 0 | 0
2 ) | Lift walls, Columns and Stair starter |  |  |  |  | 0 | 0 | 0
| 16 mm dia bars | 120 | kg |  |  | 0 | 0 | 0
| 12 mm dia bars | 160 | kg |  |  | 0 | 0 | 0
| 6 mm dia bars | 170 | kg |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.4.2 | Ground Floor |  |  |  |  | 0 | 0 | 0
1 ) | Lift walls, Columns and Stairs |  |  |  |  | 0 | 0 | 0
| 16 mm dia bars | 120 | kg |  |  | 0 | 0 | 0
| 12 mm dia bars | 390 | kg |  |  | 0 | 0 | 0
| 6 mm dia bars | 250 | kg |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.4.3 | First Floor |  |  |  |  | 0 | 0 | 0
1 ) | Attached Beams, Suspended Slab including slab turn downs |  |  |  |  | 0 | 0 | 0
| 25 mm dia bars | 10 | kg
| 20 mm dia bars | 235 | kg |  |  | 0 | 0 | 0
| 16 mm dia bars | 100 | kg |  |  | 0 | 0 | 0
| 12 mm dia bars | 80 | kg |  |  | 0 | 0 | 0
| 10 mm dia bars | 2700 | kg |  |  | 0 | 0 | 0
| 6 mm dia bars | 630 | kg |  |  | 0 | 0 | 0
2 ) | Lift walls, Columns and Stairs |  |  |  |  | 0 | 0 | 0
| 16 mm dia bars | 120 | kg |  |  | 0 | 0 | 0
| 12 mm dia bars | 390 | kg |  |  | 0 | 0 | 0
| 6 mm dia bars | 250 | kg |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.4.4 | Second Floor |  |  |  |  | 0 | 0 | 0
1 ) | Attached Beams, Suspended Slab including slab turn downs |  |  |  |  | 0 | 0 | 0
| 25 mm dia bars | 8 | kg
| 20 mm dia bars | 195 | kg |  |  | 0 | 0 | 0
| 16 mm dia bars | 100 | kg |  |  | 0 | 0 | 0
| 12 mm dia bars | 72 | kg |  |  | 0 | 0 | 0
| 10 mm dia bars | 2500 | kg |  |  | 0 | 0 | 0
| 6 mm dia bars | 540 | kg |  |  | 0 | 0 | 0
2 ) | Lift walls, Columns and Stairs |  |  |  |  | 0 | 0 | 0
| 16 mm dia bars | 120 | kg |  |  | 0 | 0 | 0
| 12 mm dia bars | 390 | kg |  |  | 0 | 0 | 0
| 6 mm dia bars | 250 | kg |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.4.5 | Terrace Floor |  |  |  |  | 0 | 0 | 0
1 ) | Attached Beams, Suspended Slab including Roof beams |  |  |  |  | 0 | 0 | 0
| 25 mm dia bars | 15 | kg
| 20 mm dia bars | 65 | kg |  |  | 0 | 0 | 0
| 16 mm dia bars | 135 | kg |  |  | 0 | 0 | 0
| 12 mm dia bars | 105 | kg |  |  | 0 | 0 | 0
| 10 mm dia bars | 670 | kg |  |  | 0 | 0 | 0
| 6 mm dia bars | 365 | kg |  |  | 0 | 0 | 0
2 ) | Lift walls, Columns |  |  |  |  | 0 | 0 | 0
| 16 mm dia bars | 15 | kg |  |  | 0 | 0 | 0
| 12 mm dia bars | 170 | kg |  |  | 0 | 0 | 0
| 6 mm dia bars | 20 | kg |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.4.6 | Roof Level |  |  |  |  | 0 | 0 | 0
1 ) | Attached beams, slab at Lift Machine room level and Roof level |  |  |  |  | 0 | 0 | 0
| 20 mm dia bars | 20 | kg |  |  | 0 | 0 | 0
| 16 mm dia bars | 35 | kg
| 12 mm dia bars | 15 | kg |  |  | 0 | 0 | 0
| 10 mm dia bars | 310 | kg |  |  | 0 | 0 | 0
| 6 mm dia bars | 100 | kg |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.5 | OTHER CONCRETE WORKS |  |  |  |  | 0 | 0 | 0
1 ) | Lintel Beam as per the specifications and drawings | 1 | Item |  |  | 0 | 0 | 0
2 ) | Sill Beam as per the specifications and drawings | 1 | Item |  |  | 0 | 0 | 0
3 ) | RCC parapet walls 1200 mm height, 80 mm thick as shown in drawings | 25 | m |  |  | 0 | 0 | 0
4 ) | Ramp as per the drawings | 1 | Item |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.6 | WATER PROOFING |  |  |  |  | 0 | 0 | 0
| Rate shall include for: dressing arround and sealing to all penetrations |  |  |  |  | 0 | 0 | 0
1 ) | Apply bituminous type waterproofing to all surfaces of concrete below ground level in accordance with the specifications and manufacturer's instructions | 1 | item |  |  | 0 | 0 | 0
2 ) | Apply crystalline or equivalent type waterproofing material to the surface of roof slab & terrace in accordance with the specifications and manufacturer's instructions | 1 | item |  |  | 0 | 0 | 0
3 ) | Apply crystalline or equivalent type waterproofing material to the surface of balcony and toilets in accordance with the specifications and manufacturer's instructions | 1 | item |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
TOTAL OF BILL NO. 03 (CONCRETE WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 04
MASONRY AND PLASTERING
4.1 | General
a) Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
b) Manufactured sand shall be used for block making and masonry. All blocks (solid and hollow) shall be machine compressed.
4.2 | Cement block work
4.2.1 | 150 mm wide solid blocks, laid on and incl. 1:5 Cement Mortor, tie rods, compression gap filler, nylon / plastic mesh as specified.
All External walls
1 ) | Ground Floor | 125 | m² |  |  | 0 | 0 | 0
2 ) | First Floor | 185 | m² |  |  | 0 | 0 | 0
3 ) | Second Floor | 215 | m² |  |  | 0 | 0 | 0
4 ) | Terrace Floor | 55 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
4.2.2 | 100mm wide hollow blocks, laid on and incl. 1:5 Cement Mortor, tie rods, compression gap filler, nylon / plastic mesh as specified. |  |  |  |  | 0 | 0 | 0
| All Internal walls |  |  |  |  | 0 | 0 | 0
1 ) | Ground Floor | 448 | m² |  |  | 0 | 0 | 0
2 ) | First Floor | 422 | m² |  |  | 0 | 0 | 0
3 ) | Second Floor | 560 | m² |  |  | 0 | 0 | 0
4 ) | Terrace Floor | 32 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
4.3 | Plastering |  |  |  |  | 0 | 0 | 0
4.3.1 | a) 25mm cement plastering on external walls and concrete surfaces with 1:4 Cement mortor mix as specified incl. wire mesh at joints of concrete surfaces and walls (first,second coats). |  |  |  |  | 0 | 0 | 0
b) Manufactured sand shall be used for plastering works both internal and external surfaces
1 ) | Ground Floor | 138 | m² |  |  | 0 | 0 | 0
2 ) | First Floor | 205 | m² |  |  | 0 | 0 | 0
3 ) | Second Floor | 237 | m² |  |  | 0 | 0 | 0
4 ) | Terrace Floor | 60 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
4.3.2 | a) 15mm cement plastering on internal walls and concrete surfaces with 1:4 Cement mortor mix as specified incl. wire mesh at joints of concrete surfaces and walls (one coat). |  |  |  |  | 0 | 0 | 0
1 ) | Ground Floor | 1124 | m² |  |  | 0 | 0 | 0
2 ) | First Floor | 1134 | m² |  |  | 0 | 0 | 0
3 ) | Second Floor | 1469 | m² |  |  | 0 | 0 | 0
4 ) | Terrace Floor | 130 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
4.4 | Cement Screed Finish |  |  |  |  | 0 | 0 | 0
4.4.1 | 35mm thick Cement screeding on the |  |  |  |  | 0 | 0 | 0
| concrete floor with 1:4 cement mortar |  |  |  |  | 0 | 0 | 0
| mix incl. trowel finish; General Areas |  |  |  |  | 0 | 0 | 0
1 ) | Ground Floor | 560 | m² |  |  | 0 | 0 | 0
2 ) | First Floor | 520 | m² |  |  | 0 | 0 | 0
3 ) | Second Floor | 520 | m² |  |  | 0 | 0 | 0
4 ) | Terrace Floor | 70 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
4.4.2 | 75mm thick Cement screeding on the |  |  |  |  | 0 | 0 | 0
| concrete floor with 1:4 cement mortar |  |  |  |  | 0 | 0 | 0
| mix incl. trowel finish; Staircase, Toilet, balconies and Terrace areas |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
1 ) | Roof slab | 180 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
TOTAL OF BILL NO. 04 (MASONRY AND PLASTERING) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 05
METAL WORKS
5.1 | General
a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts incl. those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
b) Rates shall include for fabrication and erection and temporary supports and fixing into position.
5.2 | Staircase Handrailing
50 mm dia (1 no) top member, 38mm dia vertically and 25 mm dia horizontally 3 nos etc, including bolts, washers and fixing to reinforced concrete as shown in the drawing.
1 ) | Ground to First Floor | 7 | m |  |  | 0 | 0 | 0
2 ) | First to Second Floor | 7 | m |  |  | 0 | 0 | 0
3 ) | Second to Roof Floor | 7 | m |  |  | 0 | 0 | 0
TOTAL OF BILL NO. 05 (METAL WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 06
WOOD WORKS & ROOFING
6.1 | General
a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
b) Rates shall include, Treating all the timbers with a colourless paintable preservative solignum or equivalent.
c) Rates shall include for: timber priming and all painting as specified in the drawing
6.2 | Gypsum partition
1 ) | Gypsum partition wall (type-A) as shown in drawings | 30 | m²
Roof structure & Roof coverings
1 ) | 50 X 150 mm timber rafters | 425 | m
2 ) | 38 X 38 mm timber battens | 950 | m
3 ) | 25 X 250 mm timber Fascia | 45 | m
4 ) | MSP or Equivalent roofing sheets | 375 | m²
5 ) | 50 mm thick Rock wool insulation relflective foil on both sides | 375 | m²
6 ) | End Flashing | 85 | m
7 ) | MSP Gutter as shown | 45 | m
8 ) | Down pipes as shown | 1 | Item
TOTAL OF BILL NO. 06 (WOOD WORKS & ROOFING) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 07
CEILING
7.1 | General
a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
b) Rate shall include for: timber priming and all painting as specified in the drawing
7.2 | Concealed Ceiling
Supplying & Fixed ceiling with 600 X 600mm grid 9 mm gypsum accoustic board metal (GI) frame , beading, nails and screws. supported by the al 6mm thread bar with alumimium angles in proper level etc., for General area and Toilets (internal areas)
[6 empty] | 0 | 0 | 0
1 ) | Ground Floor | 430 | m² |  |  | 0 | 0 | 0
2 ) | First Floor | 430 | m² |  |  | 0 | 0 | 0
3 ) | Second Floor | 430 | m² |  |  | 0 | 0 | 0
7.3 | Supply & Fixing the 6 mm thick M board or equivalent weather proof board ceiling with fixed GI frame (grid in 600mm c/c) for eaves (exterior ceilings) | 30 | m²
TOTAL OF BILL NO. 07 (CEILINGS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 08
DOORS AND WINDOWS
8.1 | General
a) Rates shall include for: locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
b) All Aluminium windows shall be white powder coated aluminium.
c) All timber doors shall be solid timber panneled door with varnish finish.
d) All glazing shall be 6mm Tinted.
(Profiles to be chosen by client).
8.2 | Aluminum / Timber Door
1 ) | Door D1 | 1 | nos |  |  | 0 | 0 | 0
2 ) | Door D2 | 1 | nos |  |  | 0 | 0 | 0
3 ) | Door D3 | 2 | nos |  |  | 0 | 0 | 0
4 ) | Door D4 | 2 | nos |  |  | 0 | 0 | 0
5 ) | Door D5 | 3 | nos |  |  | 0 | 0 | 0
6 ) | Door D6 | 27 | nos |  |  | 0 | 0 | 0
7 ) | Door D7 | 10 | nos |  |  | 0 | 0 | 0
8 ) | Door D8 | 3 | nos |  |  | 0 | 0 | 0
9 ) | Door D9 | 2 | nos |  |  | 0 | 0 | 0
10 ) | Door D10 | 6 | nos |  |  | 0 | 0 | 0
11 ) | Door D11 | 6 | nos |  |  | 0 | 0 | 0
12 ) | Door D12 | 17 | nos |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
8.4 | Window Units |  |  |  |  | 0 | 0 | 0
1 ) | Window W1 | 1 | nos |  |  | 0 | 0 | 0
2 ) | Window W2 | 2 | nos |  |  | 0 | 0 | 0
3 ) | Window W3 | 1 | nos |  |  | 0 | 0 | 0
4 ) | Window W4 | 1 | nos |  |  | 0 | 0 | 0
5 ) | Window W5 | 1 | nos |  |  | 0 | 0 | 0
6 ) | Window W6 | 13 | nos |  |  | 0 | 0 | 0
7 ) | Window W7 | 22 | nos |  |  | 0 | 0 | 0
8 ) | Window W8 | 1 | nos |  |  | 0 | 0 | 0
9 ) | Window W9 | 14 | nos |  |  | 0 | 0 | 0
10 ) | Window W10 | 7 | nos |  |  | 0 | 0 | 0
11 ) | Window W11 | 12 | nos |  |  | 0 | 0 | 0
12 ) | Window W12 | 8 | nos |  |  | 0 | 0 | 0
13 ) | Window W13 | 6 | nos |  |  | 0 | 0 | 0
14 ) | Window W14 | 4 | nos |  |  | 0 | 0 | 0
8.5 | Window Curtains
a) Supply/fabrication and complete installation of window curtains for following doors, quality of window curtain should be sun protected medium quality, Size of finished curtain shall be 300mm above FFL & 300mm added to the width of the window. Each window shall have two parts (divided in half along the width of the window), Rates should be complete installation of curtain with railing.
b) rates shall include Rates shall include fixing of alumium rails, fixing rail brackets, sewing fixing, fitting of hook tape and full installation of curtains.
1 ) | Window W1 | 1 | Items
2 ) | Window W2 | 2 | Items
3 ) | Window W3 | 1 | Items
4 ) | Window W4 | 1 | Items
5 ) | Window W5 | 1 | Items
6 ) | Window W6 | 13 | Items
7 ) | Window W7 | 22 | Items
8 ) | Window W8 | 1 | Items
9 ) | Window W9 | 14 | Items
10 ) | Window W10 | 7 | Items
11 ) | Window W11 | 12 | Items
12 ) | Window W12 | 8 | Items
13 ) | Window W13 | 6 | Items
14 ) | Window W14 | 4 | Items
TOTAL OF BILL NO. 08 (DOORS AND WINDOWS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 9
FINISHES
9.1 | General
a) Rates shall include for: fixing, bedding, grouting, pointing, finishing and any other similar works to ensure the required finish.
b) Rates shall include for all other beading works required at the corneres, Rates shall include tiling using speciallized motar as per manufacturers instructions
c) At the areas that are o be tiled with antibacterial tiles walls shall be tiled up to ceiling level.
9.2 | Floor Tiling (general areas)
600 X 600 mm white body ceramic tiles (A grade) Rocell or equivalent with 150 mm skirting
1 ) | Ground Floor | 510 | m² |  |  | 0 | 0 | 0
2 ) | Ground Floor (Anti-bacterial hospital graded ceramic tiles for minor OT) | 11 | m² |  |  | 0 | 0 | 0
3 ) | First Floor | 540 | m² |  |  | 0 | 0 | 0
4 ) | Second Floor | 490 | m²
5 ) | Third Floor | 50 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
9.3 | Floor tiling (toilets) |  |  |  |  | 0 | 0 | 0
| 300 x 300 Non Slip Rocell or equivalent white body Ceramic tiles: |  |  |  |  | 0 | 0 | 0
1 ) | Ground Floor | 40 | m² |  |  | 0 | 0 | 0
2 ) | First Floor | 25 | m² |  |  | 0 | 0 | 0
3 ) | Second Floor | 60 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
9.4 | Wall tiling (toilets & Internal walls) |  |  |  |  | 0 | 0 | 0
| 300 x 600 Polished Ceramic Tiles upto Ceiling height |  |  |  |  | 0 | 0 | 0
1 ) | Ground Floor | 325 | m² |  |  | 0 | 0 | 0
2 ) | Ground Floor (Anti-bacterial tiles for minor OT) | 60 | m² |  |  | 0 | 0 | 0
3 ) | First Floor | 320 | m² |  |  | 0 | 0 | 0
4 ) | Second Floor | 520 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
9.5 | CeramicTiles in Stair steps including Lift wall |  |  |  |  | 0 | 0 | 0
| 600 mm wide Non slip homogeneous Tiles with nosing & 150 mm skirting, inlcuding the lading areas |  |  |  |  | 0 | 0 | 0
1 ) | Ground Floor | 60 | m² |  |  | 0 | 0 | 0
2 ) | First Floor | 60 | m² |  |  | 0 | 0 | 0
3 ) | Second Floor | 60 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
9.6 | Tiling on terrace and balconies |  |  |  |  | 0 | 0 | 0
| 300 x 300 white body ceramic (exterior tiles) Rocell or equivalent with 150mm high skirting |  |  |  |  | 0 | 0 | 0
1 ) | Ground Floor | 50 | m² |  |  | 0 | 0 | 0
2 ) | First Floor | 75 | m² |  |  | 0 | 0 | 0
3 ) | Second Floor | 35 | m² |  |  | 0 | 0 | 0
4 ) | Terrace | 180 | m² |  |  | 0 | 0 | 0
TOTAL OF BILL NO. 9 (FINISHES) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 10
PAINTING
10.1 | General
a) Rates shall include for: the provition, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and / or making floors, fittings and similar work, removing and replacing door and window furniture
b) All painting work shall be carried in accordance with the specifications.
Painting system shall be Nippon or Equivalent
10.2 | Walls
Weather proof emulsion paint system with Oil based textured finish on plastered and concrete surfaces of external and normal emulsion paint on internal walls. All Paints shall be DULUX or Equivalent
10.2.1 | External painting 1 coat of wall sealer, 1 coat tex compound & 2 coats of paints
1 ) | Ground Floor | 138 | m² |  |  | 0 | 0 | 0
2 ) | First Floor | 205 | m² |  |  | 0 | 0 | 0
3 ) | Second Floor | 237 | m² |  |  | 0 | 0 | 0
4 ) | Third Floor | 60 | m² |  |  | 0 | 0 | 0
10.2.2 | Emulsion paint putty finish system on plastered and concrete surfaces of internal walls. |  |  |  |  | 0 | 0 | 0
| Internal Painting 1 coat of wall sealer & 2 coats of paints |  |  |  |  | 0 | 0 | 0
1 ) | Ground Floor | 1124 | m² |  |  | 0 | 0 | 0
2 ) | First Floor | 1134 | m² |  |  | 0 | 0 | 0
3 ) | Second Floor | 1469 | m² |  |  | 0 | 0 | 0
4 ) | Third Floor | 130 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
10.3 | Ceilings |  |  |  |  | 0 | 0 | 0
| Emulsion paint putty finish on concrete slab and beams, plywood / cement fibre board of all internal surfaces. |  |  |  |  | 0 | 0 | 0
| 1 coat of primer & 2 coats of paints |  |  |  |  | 0 | 0 | 0
1 ) | Emulsion putty paint finish | 1670 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
TOTAL OF BILL NO. 10 (PAINTING) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 11
HYDRAULICS & DRAINAGE
11.1 | General
a) Rates shall include for: sockets, running joints, connections, elbows, junctions, reducers, expansion joints; backnuts and similar; incidental fittings, clips, saddles, brackets, straps, hanges, screws, nails and fixing complete, including cutting and
11.2 | Rain water pipework
| Allow for rain water discharge | 1 | item |  |  | 0 | 0 | 0
11.3 | Fresh water supply pipework |  |  |  |  | 0 | 0 | 0
1 ) | Allow for water connection to fixtures from MWSC ( or Utility service provider's) mains | 1 | item |  |  | 0 | 0 | 0
2 ) | Supply and fixing MWSC ( or Utility service provider's)fresh water mains (meters) | 1 | nos |  |  | 0 | 0 | 0
11.3.1 | Hot water supply pipework
1) | All private room shall have a separate hot water pipe line. Pipes shall be of CPVC pipe and fittings. Rates shall include embeding, fitting, and complete installation of hot water system. | 1 | nos |  |  | 0 | 0 | 0
11.4 | Sanitary Fixtures & Accessories |  |  |  |  | 0 | 0 | 0
| Sanitary Fixtures complete including brackets flush pipes, overflows and washers etc. |  |  |  |  | 0 | 0 | 0
| 1 ) All toilet fittings shall be "Cotto" or equivalent - chrome plated |  |  |  |  | 0 | 0 | 0
2) All Wash closets shall be anti-bacterial glazed wash closets with top & dual flushing feature.
| 2 ) All toilet fixtures shall be "Cotto" or equivalent brand. |  |  |  |  | 0 | 0 | 0
| 3 ) All piping shall be of UPVC |  |  |  |  | 0 | 0 | 0
| 4 ) All kitchen sinks shall be of SS type with chrome plated taps. |  |  |  |  | 0 | 0 | 0
| 5 ) All water pumps shall be of "Davie Jet" brand or equivalent. |  |  |  |  | 0 | 0 | 0
6) All labs sinks shall be Cotto or equivalent ceramic sink (minimum 600mm in length).
7) all Handicapped accessories shall be cotto or equivalent chrome finished stainless steel fixtures, rates shall include supply and complete installation of fixtures.
8)) All lab sinks shall have a wall mounted elbow action lever type faucet. (faucet shall be extended outwards from the wall with using a stainless steel sleeve).
9) Complete fabrication of sink cupboards as per drawing
5 ) All water pumps shall be of "Davey" brand or equivalent.
1 ) | Water Closet | 26 | nos |  |  | 0 | 0 | 0
2 ) | Wash basin including Counter top | 23 | nos |  |  | 0 | 0 | 0
3 ) | Wash basin tap | 23 | nos |  |  | 0 | 0 | 0
4 ) | Muslim Shower | 26 | nos |  |  | 0 | 0 | 0
5 ) | Floor waste with gully trap | 75 | nos |  |  | 0 | 0 | 0
6 ) | Head shower | 10 | nos |  |  | 0 | 0 | 0
7 ) | Hand Shower | 10 | nos
8 ) | Counter top Ceramic Lab sinks with complete installation & Complete fabrication of sink cupboards as per drawing | 4 | nos |  |  | 0 | 0 | 0
9 ) | Elbow action Faucet | 4 | nos |  |  | 0 | 0 | 0
10 ) | Mirror with accessories | 23 | nos |  |  | 0 | 0 | 0
11 ) | Water Taps / Faucet | 26 | nos |  |  | 0 | 0 | 0
12 ) | Stop Valves | 160 | nos |  |  | 0 | 0 | 0
13) | Toilet Accessories for Physically handicapped for all toilets | 26 | Item
11.41 | Pumping System
Supply and installation of water pump complete including connecting valves and other fittings to pipework and electricity as per requirements.
1) | Ground water pump | 1 | nos
11.5 | Drainage |  |  |  |  | 0 | 0 | 0
| Discharge pipework |  |  |  |  | 0 | 0 | 0
1 ) | Complete Discharge pipe work | 1 | item |  |  | 0 | 0 | 0
2 ) | Connecting to MWSC sewer mains | 1 | item |  |  | 0 | 0 | 0
3 ) | Constructing Inspection Chamber of required size with all provisions to connect pipelines as per drawing. | 3 | nos |  |  | 0 | 0 | 0
TOTAL OF BILL NO. 11 (HYDRAULICS AND DRAINAGE) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 12
ELECTRICAL INSTALLATIONS
12.1 | General
a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
b) Rate shall include for electrical conduits, fittings, equipment and similar all fixings
c) Each light / light fixture and its switches shall measure as one one point: similarly each sockets or each fans shall measured as one point.
d) Rate shall include for supply and complete installation of all floors.
e) Provide junction box for each separate unit of telephone and cable tv system.
12.2 | Main Connection
| Allow for three phase main connection from STELCO board to Panel board from STELCO Transformer / Road DB | 1 | item |  |  | 0 | 0 | 0
12.3 | Electrical boards |  |  |  |  | 0 | 0 | 0
| Complete installation incl. for all connection earthing, painting, testing and similar of; |  |  |  |  | 0 | 0 | 0
1 ) | Main panel board | 1 | Item |  |  | 0 | 0 | 0
2 ) | Floor Main Distribution boards | 3 | nos
3 ) | Sub-Distribution boards | 6 | nos |  |  | 0 | 0 | 0
12.4 | Electrical wiring |  |  |  |  | 0 | 0 | 0
| Electrical wiring with copper conductor cable in conduits in walls and slab as specified to |  |  |  |  | 0 | 0 | 0
1 ) | 2.5mm2 Wiring to light fixtures, fans and its switches | 379 | points |  |  | 0 | 0 | 0
2 ) | Wiring to Socket Switches | 195 | points |  |  | 0 | 0 | 0
3 ) | Cabling to Floor / Distribution boards | 9 | points |  |  | 0 | 0 | 0
4 ) | Cabling to Telephone / Networking sockets | 20 | points |  |  | 0 | 0 | 0
5 ) | Cabling to Television sockets | 20 | points |  |  | 0 | 0 | 0
12.5 | Fans |  |  |  |  | 0 | 0 | 0
1 ) | Ceiling fans "USHA" or equivalent 1200 mm dia | 38 | nos |  |  | 0 | 0 | 0
2 ) | Fan Regulator | 38 | nos |  |  | 0 | 0 | 0
3) | supplying and complete installation of Ceiling mount exhaust fans (300x300mm) KDK or equivalent . Rates shall including piping/ducting and all other neccesary works | 25 | nos |  |  | 0 | 0 | 0
12.6 | Lighting and others |  |  |  |  | 0 | 0 | 0
1 ) | Ceiling reccessed downlights 150mm dia. (with Philips or Equivalent 12W - 1400 LUMENS BULB) | 236 | nos |  |  | 0 | 0 | 0
2 ) | Wall mount light (with Philips or Equivalent 12W - 1400 LUMENS BULB) | 9 | nos |  |  | 0 | 0 | 0
3 ) | Weather proof Ceiling mount light (with Philips or Equivalent 12W - 1400 LUMENS BULB) | 3 | nos |  |  | 0 | 0 | 0
4 ) | Weather proof wall mount light (with Philips or Equivalent 9.5W - 850 LUMENS BULB) | 4 | nos |  |  | 0 | 0 | 0
5 ) | Surgical light head | 1 | nos |  |  | 0 | 0 | 0
6 ) | Emergency Light packs (battery must have 2hrs.of Continous operation Capacity) | 67 | nos |  |  | 0 | 0 | 0
12.7 | Socket outlets |  |  |  |  | 0 | 0 | 0
| All sockets shall be "Legrand/T&J"or equivalent |  |  |  |  | 0 | 0 | 0
1 ) | 13 Amps Socket Switch single | 137 | nos |  |  | 0 | 0 | 0
2 ) | 15 Amps Socket Switch | 55 | nos |  |  | 0 | 0 | 0
3 ) | 13 Amps Sockets switch single (W) | 15 | nos |  |  | 0 | 0 | 0
4 ) | Telephone / Networking Socket | 21 | nos |  |  | 0 | 0 | 0
5 ) | Television Socket | 21 | nos |  |  | 0 | 0 | 0
12.8 | Light Switches |  |  |  |  | 0 | 0 | 0
| All switches shall be "Legrand/T&J"or equivalent |  |  |  |  | 0 | 0 | 0
1 ) | One Way switches | 120 | nos |  |  | 0 | 0 | 0
CCTV Cameras
(Rate shall include supply and Complete installation as per manufacturer's instructions of CCTV System with all networking cabling and connections, monitors and back data with atleast of 30 days etc.) all the camera should be night vision. And all cameras shall be IP Cameras
| CCTV Camera with all the necessary items as shown in drawings | 8 | nos
Lightening Protection System
| Design, supply and Complete installation of Erco, Eritech or equivalent lightening Protection System to cover the whole building as per local regulations (Rate shall include for all fixing of system and down conductor to earthing) | 1 | Item
Computer Network
Design, Supply and Complete Installation of computer networking, including CAT6 Cabling, Sockets and double layer switches, Allow for the provision of a completed and detailed set of shop drawings
| Data Network points | 65 | no
Telephone Network
Design and supply and complete installation of Telephone network (Including cabling and sockets) and connect to existing PABX. Cat6 cable to be used for laying telephone network.
| Telephone points | 55 | no
Server with Server rack
| Supply and Complete installation of Server to existing Sever room. PowerEdge R920 Rack Enclosure server or equivalent with Dell Server Rack or equivalent. Server shall be installed with Dell server rack as recommended by the manufaturer. Rates shall include all the provisions (for example, Power distribution unit, genuine server rack, hardware upgrades, all requirements to meet the specification provided) | 1 | Item
Network Switch
| Supply and Complete installation of CISCO or equivalent. double layer network swith or equivalent. One network swith for each floor | 2 | Item
TOTAL OF BILL NO. 12 (ELECTRICAL INSTALLATIONS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 13
SPECIAL SERVICES
13.1 | General
a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
b) Rate shall include for electrical conduits, fittings, pumps, contolr boards and other quipment and similar all fixings
c) Rate shall include for all necessary electrical wiring and accessaries required for completion of fire fighting system installation in acconrdance with the drawings, specification and MNDF regulations
c) Rate shall include Design, supply and complete installation of Wet Riser system according to MNDF Regulations
Supply and Complete Insatallation of Wet riser system and Alarm System
14.2 | First Response and Alarm System
5 ) | Control panel for fire alram (addressable) | 1 | Nos
6 ) | Manual call point for fire alram system | 7 | Nos
7 ) | Electronic loop fire alarm sounder | 7 | Nos
8 ) | Smoke detector for fire alarm system | 43 | Nos
| Heat detector for fire alarm system | 2 | Nos
10 ) | Exit sign light | 14 | Nos
11 ) | CO2 Extinguisher ( 2 kg) | 11 | Nos
12 ) | DCP Extinguisher (9 kg) | 11 | Nos
13 ) | Fire Balnket ( 3ft X 5 ft) | 3 | Nos
14.3 | HOSE REEL SYSTEM (WET RISER)
Rates shall include Design and building of Pump room (3x3M) in the location designated by consultant. Rates shall include all provisions of construction of pump room , complete finishing works.
1) | Design Supply and complete installation of Wet riser Pipe system and MNDF regulations | 1 | Item
2) | Design Supply and complete installation Fire Pump (1 Eletrical and 1 Diesel stand by pump system including panel) | 1 | Nos
3) | Hose Reels 30 m length (Rates shall include provision to keep dry riser landing valve) | 2 | Nos
4) | complete Construction of Pump room to accommodate disel pump and electric pump at a designated location by the consultant | 1 | item
13.3 | Medical Gas Piping |  |  |  |  | 0 | 0 | 0
General
Rates Shall include Design,supply and installation of Oxygen/vaccum System with all the accessories (as per specification). Rates Shall include complete piping works to all bed head trunks.
1 ) | Oxygen gas piping (Design Supply and Complete Installation) | 1 | Item |  |  | 0 | 0 | 0
2 ) | Vaccume piping (Design Supply and Complete Installation) | 1 | Item |  |  | 0 | 0 | 0
3 ) | Medical air piping as per the drawings | 1 | Item |  |  | 0 | 0 | 0
| vaccuum collection vesel and accessoried | 17 | nos.
| Inlet for oxygen including water bath and regulator | 17 | nos.
4 ) | Bed head units (17 units) as per the drawings with all control panels | 17 | Item |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
13.4 | Variable Refrigerant Volume (VRV) Air Conditioning system |  |  |  |  | 0 | 0 | 0
1 ) | Rates Shall include design supply and complete installation of VRV IV Daikin or equivalent Air conditioning system The Contractor shall propose the complete system as required) |  |  |  |  | 0 | 0 | 0
Rates shall include All the duct works, complete pipeline works that includes welding joints, insulation and all other necessary works to complete.
GROUND FLOOR
-1 | Minor Operation Theater | 1 | item
2 | Procedure Room | 1 | item
3 | Observation Room | 1 | item
4 | Triage | 1 | item
5 | Consultation Rooms 1- 4 | 4 | item
1st Floor
1 | Dental Consultation Room 1
2 | Dental Procedure Room | 1 | item
3 | Dental Consultation Room 2 | 1 | item
4 | Meeting Room | 1 | item
5 | Bio Chemistry | 1 | item
6 | Pathology | 1 | item
8 | Hematology | 1 | item
9 | MicroBiology | 1 | item
10 | Lab Incharge | 1 | item
11 | Physiotherapy | 1 | item
12 | Laborotary Corridor | 1 | item
13 | Laborotary Store | 1 | item
2nd Floor
1 | Pvt Room 1-9 | 9 | item
2 | VIP ROOM | 1 | item
3 | Treatment Room | 1 | item
4 | Store | 1 | item
[6 empty] | 0 | 0 | 0
13.5 | Split Air Conditioning System
1 ) | Split Air conditioners for Lift Machine room | 2 | Nos
BED SIDE CURTAINS
All Rates shall include Supply and complete installation of Hospital type bes side curtain including railling. All Curtains should be fabricated with mesh cloth (600mm wide) from top of the curtains
1 | Procedure Room (Ground Floor) | 1 | item
2 | Observation Room (Ground Floor) | 1 | item
3 | Triage (Ground Floor) | 1 | item
4 | Pvt Room 1-9 (2nd Floor) | 9 | item
5 | VIP ROOM (2nd Floor) | 1 | item
6 | Treatment Room (2nd Floor) | 1 | item
PUBLIC ADDRESSING SYSTEM
All rates shall include design supply and complete installation of public addressing system BOSE or Equivalent.
All speaker shall be ceiling recessed. All components shall be BOSE or Equivalent. Rates shall include installing all components, establishing the public addressing system, cabling and all works.
1 | Ceiling recessed speakers | 8 | nos
2 | Sound Amplifier | 1 | nos
3 | Sound Mixer | 1 | nos
4 | Desktop Microphone | 1 | nos
5 | DVD Player with USB Function | 1 | nos
6 | Equipment rack (lockable) | 1 | nos
7 | Complete installation and calibration of the public addressing system | 1 | item
TOTAL OF BILL NO. 13 (SPECIAL SERVICES ) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
| BILL NO: 14 |  |  |  |  | 0 | 0 | 0
| LIFTS |  |  |  |  | 0 | 0 | 0
General: Rates shall include supply and complete installation as per manufacture's instruction, Rates shall include provisions for the specifications/finishes of the elevator, All lifts shall be equipped with access control (BIO METRIC) and shall be equipped with emergency landing device. Also all lifts shall be machine less elevators
1 ) | Supply and Complete installation of Bed lift complete: "Otis or Equivalent, to 1600 KG capacity standard type Hospital Deep Car, serving all levels ( 3 floors) as per manufacturer's instructions. | 1 | no |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
TOTAL OF BILL NO. 14 (LIFT WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 15
ADDITIONS
Bill No: 01
Bill No: 02
Bill No: 03
Bill No: 04
Bill No: 05
Bill No: 06
Bill No: 07
Bill No: 08
Bill No: 09
Bill No: 10
Bill No: 11
Bill No: 12
TOTAL OF BILL NO. 15 (ADDITIONS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 16
OMISSIONS
Bill No: 01
Bill No: 02
Bill No: 03
Bill No: 04
Bill No: 05
Bill No: 06
Bill No: 07
Bill No: 08
Bill No: 09
Bill No: 10
Bill No: 11
Bill No: 12
TOTAL OF BILL NO. 16 (OMISSIONS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)

## SUMMARY
PROJECT: GN. ATOLL HOSPITAL EXTENSION
CONSTRUCTION OF 03 STOREY BUILDING
SUMMARY OF BILLS OF QUANTITIES
SL.NO | BILL NAME | AMOUNT (MRF)
1 ) | TOTAL OF BILL NO. 01 (PRELIMINARIES) | 0
2 ) | TOTAL OF BILL NO. 02 (GROUND WORKS) | 0
3 ) | TOTAL OF BILL NO. 03 (CONCRETE WORKS) | 0
4 ) | TOTAL OF BILL NO. 04 (MASONRY AND PLASTERING) | 0
5 ) | TOTAL OF BILL NO. 05 (METAL WORKS) | 0
6 ) | TOTAL OF BILL NO. 06 (WOOD WORKS & ROOFING) | 0
7 ) | TOTAL OF BILL NO. 07 (CEILINGS) | 0
8 ) | TOTAL OF BILL NO. 08 (DOORS AND WINDOWS) | 0
9 ) | TOTAL OF BILL NO. 9 (FINISHES) | 0
10 ) | TOTAL OF BILL NO. 10 (PAINTING) | 0
11 ) | TOTAL OF BILL NO. 11 (HYDRAULICS AND DRAINAGE) | 0
12 ) | TOTAL OF BILL NO. 12 (ELECTRICAL INSTALLATIONS) | 0
13 ) | TOTAL OF BILL NO. 13 (SPECIAL SERVICES ) | 0
14 ) | TOTAL OF BILL NO. 14 (LIFT WORKS) | 0
15 ) | TOTAL OF BILL NO. 15 (ADDITIONS) | 0
16 ) | TOTAL OF BILL NO. 16 (OMISSIONS) | 0
GRAND TOTAL |  | 0

## Cover
BILL OF QUANTITIES
PROJECT: GN.ATOLL HOSPITAL EXTENSION
PROPOSED THREE-STOREY BUILDING
CLIENT:MINISTRY OF HEALTH
Revision on 12-07-2016
APRIL - 2016