## COVER SHEET
Bill of Quantities
Construction of 4 Storey Police Station at Hulumale'

## SUMMARY
Maldives Police Service
Infrastructure Development Unit
Finance Department
Male' Rep of Maldives
Date: 13 July 2015
PROJECT: Construction of hulumale' police station
CLIENT: Maldives police service
LOCATION: Hulumale'
SUMMARY
Bill No | Description | Amount
1 | PRELIMINARIES | 0
2 | GROUND WORKS | 0
3 | CONCRETE | 0
4 | MASSONRY AND PLASTERING | 0
5 | METAL WORKS AND WOOD WORKS | 0
6 | CEILING | 0
7 | DOORS AND WINDOWS | 0
8 | FINISHES | 0
9 | PAINTING | 0
10 | HYDRAULIC AND DRAINAGE | 0
11 | ELECTRICAL AND SPESIFIC INSTALLATION | 0
12 | ADDITION | 0
13 | OMISSION | 0
14 | BOUNDARY WALL | 0
| GRAND TOTAL | 0
| 6% GST | 0
| NET TOTAL | 0
100

## BOQ
BILL OF QUANTITIES
Item | Description | Qty | Unit | Rate | Amount
BILL N0: 01
PRELIMINARIES
1.1 | Abbreviations
m - metre
Nos - numbers
m³ - cubic metre
m² - square metre
Lm - Linear metre
t - tonnes
incl - including
mm - millimetre
dia - diameter
SS - Stainless Steel
GI - Galvanised Iron
DN - Drawing number from drawings
SN - Sheet number from drawings
1.2 | SITE MANAGEMENT COST
| Allow for all on and off site management cost including cost of certified site engineer,foreman and assistants, temporary services, telephone, fax,hoardings, guards and similler. | 1 | item |  | 0
1.3 | SIGN BOARD
| Allow for sign board | 1 | item |  | 0
1.4 | CLEAN - UP
| Allow for clean- up of completed works and site up on completion. | 1 | item |  | 0
BILL N0: 01 -PRELIMINARIES
| TOTAL OF BILL No: 01 - Carried over to summary |  |  |  | 0
BILL No: 02
GROUND WORKS
2.1 | GENERAL
(a) Rates Shall include for: leveling, grading, triming, compecting to faces of excavation, keep sides plumb, back filling, consolidating and disposing surplus soil.
2.2 | SITE CLEARING
1 | Clear site generally, whenever necessary cutting down trees, irrespective of sizes, grubbing roots, stumps etc. dispose of and carting debris, loose boulders, waste materials away from the site. | 860.27 | m2 |  | 0
2.3 | EXCAVATION
Note: Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork/shuttering and dewatering the trenches for the required days.
1 | Excavation for Strip footings ST-01 | 96.6 | m³ |  | 0
2 | Excavation for Strip footings ST-02 | 127.37 | m³ |  | 0
3 | Excavation for Tie beam | 22.39 | m³ |  | 0
2.4 | BACK FILLING
Note:(a) Rates shall include for levelling, grading, trimming, compacting and similar.
(b) Ground need to be compected to the requred density by the consultant.
1 | Earth filling for Strip footings ST-01 | 51.99 | m³ |  | 0
2 | Earth filling for Strip footings ST-02 | 62.09 | m³ |  | 0
3 | Earth filling for Tie Beam | 2.05 | m³ |  | 0
3 | Well compacted earth filling under ground slab
2.5 | DAMP PROOF MEMBRANE
Note: Rates shall include for: dressing around and sealing to avoid all penetrations, laps and turnups.
Polythene damp proof membrane (500 gauge) under:-
1 | Strip footings ST-01 | 80.5 | m2 |  | 0
2 | Strip footings ST-02 | 106.14 | m2 |  | 0
3 | Tie Beam | 26.93 | m2 |  | 0
4 | Ground Slab
Apply 2 coats of Brush Bond or similar on all concrete and masonry plastered surfaces below ground level in accordance with manufacturer's instructions.
5 | Strip footings ST-01 | 182.28 | m2 |  | 0
6 | Strip footings ST-02 | 194.29 | m2 |  | 0
7 | Tie Beam | 144.02 | m2 |  | 0
8 | Below ground level walls | 191.87 | m2 |  | 0
BILL No: 02 - GROUND WORKS
| TOTAL OF BILL No: 02 - Carried over to summary |  |  |  | 0
BILL No: 03
CONCRETE
3.1 | GENERAL
(a) Rates shall include for: provision to place in position; casting of all required items and finishing after removal of formwork and additional concrete required to conform to structural and excavated tolerances.
(b) Rates shall include supply of all formwork item including form oil, timber, plywood, nails etc.
(c) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:3:6 by volume.
3.2 | LEAN CONCRETE |  | 0
| Note: Quantity is measured to the edges of concrete members. Rates shall be inclusive of any additional concrete required to place the formwork. |  | 0
1 | 50mm thick lean concrete to bottom of Strip footings ST-01 | 80.5 | m² |  | 0
2 | 50mm thick lean concrete to bottom of Strip footings ST-02 | 106.14 | m² |  | 0
3 | 50mm thick lean concrete to bottom of Tie Beam | 26.93 | m² |  | 0
4 | 50mm thick lean concrete to bottom of stair footing. | 0.4 | m² |  | 0
0
3.3 | REINFORCED CONCRETE |  | 0
| Note: In-situ reinforced concrete to: |  | 0
Add water proofing compound to concrete mix for walls and cover slab below ground level.
3.3.1 | Foundation |  | 0
1 | Strip footings ST-01 | 38.91 | m³ |  | 0
2 | Strip footings ST-02 | 57.32 | m³ |  | 0
3 | Tie Beam | 13.17 | m³ |  | 0
4 | Stair footing | 0.34 | m³ |  | 0
5 | Columns C1, (250x300mm) | 0.32 | m³ |  | 0
6 | Columns C2, (250x350mm) | 2.24 | m³ |  | 0
3.3.2 | Ground Floor
1 | Columns C1, (250x400mm) | 2.42 | m³ |  | 0
2 | Columns C2, (200x400mm) | 7.73 | m³ |  | 0
3 | 75mm thick ground slab | 36.06 | m³ |  | 0
4 | Staircase including waist, raise, going, midlanding, etc.. upto first floor level. | 4 | m³ |  | 0
Cell Block Area
5 | 50mm thick Lean Concrete under Ground Beam | 2.31 | m² |  | 0
6 | Ground Beam (150x200mm) | 0.35 | m³ |  | 0
7 | Stiffner Columns (150x150mm) | 0.43 | m³ |  | 0
8 | Lintel Beam (150x150mm) | 0.26 | m³ |  | 0
3.3.3 | First Floor
1 | Columns C1, (250x400mm) | 2.1 | m³ |  | 0
2 | Columns C2, (200x400mm) | 6.72 | m³ |  | 0
3 | Attached Beams B1, (200x450mm) | 12.68 | m³ |  | 0
4 | Attached Beams B2, (200x450mm) | 10.4 | m³ |  | 0
5 | Attached Beams B3, (200x450mm) | 0.65 | m³ |  | 0
6 | Attached Beams CB1, (200x450mm) | 0.07 | m³ |  | 0
7 | 160mm floor Slab | 15.07 | m³ |  | 0
8 | 140mm floor Slab | 54.87 | m³ |  | 0
8 | Staircase including waist, raise, going, midlanding, etc.. upto second floor level. | 4 | m³ |  | 0
10 | 100mm thic RCC Balcony wall | 0.04 | m³ |  | 0
3.3.4 | Second Floor
1 | Columns C1, (200x375mm) | 1.58 | m³ |  | 0
2 | Columns C2, (200x350mm) | 6.3 | m³ |  | 0
3 | Attached Beams B1, (200x450mm) | 12.68 | m³ |  | 0
4 | Attached Beams B2, (200x450mm) | 10.4 | m³ |  | 0
5 | Attached Beams B3, (200x450mm) | 0.65 | m³ |  | 0
6 | Attached Beams CB1, (200x450mm) | 0.07 | m³ |  | 0
7 | 160mm floor Slab | 15.07 | m³ |  | 0
8 | 140mm floor Slab | 54.87 | m³ |  | 0
8 | Staircase including waist, raise, going, midlanding, etc.. upto second floor level. | 4 | m³ |  | 0
10 | 100mm thic RCC Balcony wall | 0.04 | m³ |  | 0
3.3.4 | Terrace Floor
1 | Columns C1, (200x375mm) | 1.58 | m³ |  | 0
2 | Columns C2, (200x350mm) | 6.3 | m³ |  | 0
3 | Attached Beams B1, (200x450mm) | 12.68 | m³ |  | 0
4 | Attached Beams B2, (200x450mm) | 10.4 | m³ |  | 0
5 | Attached Beams B3, (200x450mm) | 0.65 | m³ |  | 0
6 | Attached Beams CB1, (200x450mm) | 0.07 | m³ |  | 0
7 | 160mm floor Slab | 15.07 | m³ |  | 0
8 | 140mm floor Slab | 54.87 | m³ |  | 0
9 | 100mm thic RCC Balcony wall | 0.57 | m³ |  | 0
3.3.5 | Roof Level
1 | Attached Beams RB, (200x400mm) | 12.67 | m³ |  | 0
2 | RCC Roof Slab | 41.67 | m³ |  | 0
3.4 | FORMWORK
Note: Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes and removal of formwork.
3.4.1 | Foundation |  | 0
1 | Strip footings ST-01 | 52.63 | m² |  | 0
2 | Strip footings ST-02 | 58.58 | m² |  | 0
3 | Tie Beam | 117.09 | m² |  | 0
4 | Stair footing | 3.4 | m² |  | 0
5 | Columns C1, (250x400mm) | 4.1 | m² |  | 0
6 | Columns C2, (200x400mm) | 15.12 | m² |  | 0
3.4.2 | Ground Floor
1 | Columns C1, (250x400mm) | 31.4 | m² |  | 0
2 | Columns C2, (200x400mm) | 115.92 | m² |  | 0
3 | Staircase including waist, raise, going, midlanding, etc.. upto first floor level. | 25.6 | m² |  | 0
Cell Block Area
4 | Ground Beam (150x200mm) | 3.46 | m² |  | 0
5 | Stiffner Columns (150x150mm) | 11.34 | m² |  | 0
6 | Lintel Beam (150x150mm) | 5.77 | m² |  | 0
3.4.3 | First Floor
1 | Columns C1, (250x400mm) | 27.3 | m² |  | 0
2 | Columns C2, (200x400mm) | 100.8 | m² |  | 0
3 | Attached Beams B1, (200x450mm) | 154.96 | m² |  | 0
4 | Attached Beams B2, (200x450mm) | 127.15 | m² |  | 0
5 | Attached Beams B3, (200x450mm) | 7.91 | m² |  | 0
6 | Attached Beams CB1, (200x450mm) | 0.88 | m² |  | 0
7 | 160mm floor Slab | 94.17 | m² |  | 0
8 | 140mm floor Slab | 391.9 | m² |  | 0
9 | Staircase including waist, raise, going, midlanding, etc.. upto second floor level. | 25.6 | m² |  | 0
10 | 100mm thic RCC Balcony wall | 7.06 | m² |  | 0
3.4.4 | Second Floor
1 | Columns C1, (200x375mm) | 24.15 | m² |  | 0
2 | Columns C2, (200x350mm) | 92.4 | m² |  | 0
3 | Attached Beams B1, (200x450mm) | 154.96 | m² |  | 0
4 | Attached Beams B2, (200x450mm) | 127.15 | m² |  | 0
5 | Attached Beams B3, (200x450mm) | 7.91 | m² |  | 0
6 | Attached Beams CB1, (200x450mm) | 0.88 | m² |  | 0
7 | 160mm floor Slab | 94.17 | m² |  | 0
8 | 140mm floor Slab | 391.9 | m² |  | 0
9 | Staircase including waist, raise, going, midlanding, etc.. upto second floor level. | 25.6 | m² |  | 0
10 | 100mm thic RCC Balcony wall | 7.06 | m² |  | 0
3.4.4 | Terrace Floor
1 | Columns C1, (200x375mm) | 24.15 | m² |  | 0
2 | Columns C2, (200x350mm) | 92.4 | m² |  | 0
3 | Attached Beams B1, (200x450mm) | 154.96 | m² |  | 0
4 | Attached Beams B2, (200x450mm) | 127.15 | m² |  | 0
5 | Attached Beams B3, (200x450mm) | 7.91 | m² |  | 0
6 | Attached Beams CB1, (200x450mm) | 0.88 | m² |  | 0
7 | 160mm floor Slab | 94.17 | m² |  | 0
8 | 140mm floor Slab | 391.9 | m² |  | 0
9 | 100mm thic RCC Balcony wall | 113.24 | m² |  | 0
3.4.5 | Roof Level
1 | Attached Beams RB, (200x400mm) | 190.1 | m² |  | 0
2 | RCC Roof Slab | 308.68 | m² |  | 0
3.5 | REINFORCEMENT |  | 0
| Note: (a) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and chair supports, laps and wastage. |  | 0
| (b) All reinforcing bars except 6mm dia bars shall be high strength deformed bars. |  | 0
(c) The exact length exclusive of laps are given. The rates shall take into account laps and any wastage.
3.5.1 | Foundation
Foundation Strip (ST - 1)
1 | 20 mm dia. bars in Strip footing | 1.32 | t |  | 0
2 | 16 mm dia. bars in Strip footing | 0.64 | t |  | 0
3 | 12 mm dia. bars in Strip footing | 2.86 | t |  | 0
4 | 10 mm dia. bars in Strip footing | 0.9 | t |  | 0
Foundation Strip (ST - 2)
1 | 20 mm dia. bars in Strip footing | 1.83 | t |  | 0
2 | 12 mm dia. bars in Strip footing | 3.9 | t |  | 0
3 | 10 mm dia. bars in Strip footing | 1.05 | t |  | 0
Tie Beams (TB)
4 | 16 mm dia. bars in tie beams | 1.29 | t |  | 0
6 | 6 mm dia. bars in tie beams | 0.25 | t |  | 0
Staircase
7 | 10 mm dia. bars in stair case | 0.04 | t |  | 0
3.5.2 | Ground Floor
Columns (C1, C2)
1 | 20 mm dia. bars in columns | 0.24 | t |  | 0
2 | 16 mm dia. bars in columns | 1.45 | t |  | 0
3 | 6 mm dia. bars in columns | 0.48 | t |  | 0
Cell Block Area
4 | 10 mm dia. bars in ground beam | 0.03 | t |  | 0
5 | 6 mm dia. bars in ground beam | 0.02 | t |  | 0
6 | 10 mm dia. bars in columns | 0.05 | t |  | 0
7 | 6 mm dia. bars in columns | 0.02 | t |  | 0
8 | 10 mm dia. bars in lintel beam | 0.03 | t |  | 0
9 | 6 mm dia. bars in lintel beam | 0.01 | t |  | 0
Ground Slab
4 | 10 mm dia. Bars in ground slab | 2.46 | t |  | 0
Staircase
5 | 10 mm dia. bars in staircase | 0.12 | t |  | 0
3.5.3 | First Floor
Columns (C1, C2)
1 | 20 mm dia. bars in columns | 0.21 | t |  | 0
2 | 16 mm dia. bars in columns | 1.26 | t |  | 0
3 | 6 mm dia. bars in columns | 0.42 | t |  | 0
Beams (B1, B2, B3, CB1)
4 | 20 mm dia. bars in beams | 1.82 | t |  | 0
5 | 16 mm dia. bars in beams | 1.8 | t |  | 0
6 | 6 mm dia. bars in beams | 1.04 | t |  | 0
Staircase
7 | 10 mm dia. bars in staircase | 0.12 | t |  | 0
RCC slab
8 | 10 mm dia. bars in slabs | 6.34 | t |  | 0
RCC Balcony Wall
9 | 10 mm dia. bars in balcony wall | 0.03 | t |  | 0
3.5.4 | Second Floor
Columns (C1, C2)
1 | 16 mm dia. bars in columns | 0.8 | t |  | 0
2 | 12 mm dia. bars in columns | 0.3 | t |  | 0
3 | 6 mm dia. bars in columns | 0.84 | t |  | 0
Beams (B1, B2, B3, CB1)
4 | 20 mm dia. bars in beams | 1.82 | t |  | 0
5 | 16 mm dia. bars in beams | 1.8 | t |  | 0
6 | 6 mm dia. bars in beams | 1.04 | t |  | 0
Staircase
7 | 10 mm dia. bars in staircase | 6.34 | t |  | 0
RCC slab
8 | 10 mm dia. bars in slabs | 6.34 | t |  | 0
RCC Balcony Wall
9 | 10 mm dia. bars in balcony wall | 0.03 | t |  | 0
3.5.5 | Terrace Floor
Columns (C1, C2)
1 | 16 mm dia. bars in columns | 0.8 | t |  | 0
2 | 12 mm dia. bars in columns | 0.3 | t |  | 0
3 | 6 mm dia. bars in columns | 0.84 | t |  | 0
Beams (B1, B2, B3, CB1)
4 | 20 mm dia. bars in beams | 1.82 | t |  | 0
5 | 16 mm dia. bars in beams | 1.8 | t |  | 0
6 | 6 mm dia. bars in beams | 1.04 | t |  | 0
Staircase
7 | 10 mm dia. bars in staircase | 6.34 | t |  | 0
RCC slab
8 | 10 mm dia. bars in slabs | 6.34 | t |  | 0
RCC Balcony Wall
9 | 10 mm dia. bars in balcony wall | 0.47 | t |  | 0
3.5.5 | Roof Level
Roof Beam (RB)
1 | 16 mm dia. bars in beams | 2 | t |  | 0
2 | 6 mm dia. bars in beams | 0.7 | t |  | 0
Roof Slab
3 | 10 mm dia. bars in slab | 3.61 | t |  | 0
3.6 | OTHER CONCRETE WORKS
3.6.1 | RCC Well
| 1800mm dia RCC ground water well 1.2m depth of water level as per the instruction given in the drawing all necessary pipe connections and all related works. | 1 | item |  | 0
3.6.2 | RCC lintel and sill beams
| Asper the drawings lintel beams and sill beam on all external windows shown in the drawings with the reinforcement, shuttering, plastering, etc…. | 1 | item |  | 0
1 | Window W1 (1800x1600mm) | 11 | nos |  | 0
2 | Window W2 (750x700mm) | 8 | nos |  | 0
3 | Window W3 (600x700mm) | 28 | nos |  | 0
4 | Window W5 (1600x2400mm) | 8 | nos |  | 0
5 | Window W8 (1600x600mm) | 4 | nos |  | 0
6 | Window FG 1 | 2 | nos |  | 0
7 | Window FG 2 | 2 | nos |  | 0
8 | Window FG 3 | 4 | nos |  | 0
9 | Window FG 4 | 4 | nos |  | 0
10 | Window FG 5 | 4 | nos |  | 0
3.6.3 | Flag Post
| Asper the drawings construct a flag post. Rates should include all necessary works. | 1 | item |  | 0
3.6.4 | Reception counter
| Asper the drawings make a reception counter. Rates should include all necessary works | 1 | item |  | 0
BILL No: 03 - CONCRETE
| TOTAL OF BILL No: 03 - Carried over to summary |  |  |  | 0
BILL No: 04
MASONRY AND PLASTERING
4.1 | GENERAL
(a)Rates shall include for: blocks, cutting or leaving holes and openings as recesses, building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames.
(b) Mix ratio for Plastering & masonry shall be 1:3 Cement Mortar, tie rods, compression gap filler, nylon / plastic mesh as specified.
4.2 | ALL EXTERNAL WALLS
4.2.1 | 150mmhtick solid brick wall
1 | Under ground | 9.92 | m² |  | 0
2 | Ground floor | 407.43 | m² |  | 0
3 | First floor | 360.41 | m² |  | 0
4 | Second floor | 357.03 | m² |  | 0
5 | Terrace floor | 267.05 | m² |  | 0
4.3 | ALL INTERNAL WALLS
4.3.1 | 100mm thick solid brick walls
1 | Ground Floor | 383.19 | m² |  | 0
2 | First Floor | 444.78 | m² |  | 0
3 | Second Floor | 423.18 | m² |  | 0
4 | Terrace Floor | 127.58 | m² |  | 0
4.4 | PLASTERING
4.4.1 | Note: 20mm Thick cement plastering on all EXTERNAL WALLS and concrete surface with 1:4 cement mortor mix as specified incl. wire mesh at joints of concrete surfaces and walls ( first, second coats ).
1 | Under ground | 19.83 | m² |  | 0
2 | Ground Floor | 407.43 | m² |  | 0
3 | First Floor | 360.41 | m² |  | 0
4 | Second Floor | 357.03 | m² |  | 0
5 | Terrace Floor | 267.05 | m² |  | 0
6 | 15mm thick plastering on first and second floor balcony walls | 14.12 | m² |  | 0
7 | 15mm thick plastering on terrace floor balcony walls | 113.24 | m² |  | 0
4.4.2 | Note: 12mm Thick cement plastering on all INTERNAL WALLS and concrete surface with 1:4 cement mortor mix as specified incl. wire mesh at joints of concrete surfaces and walls ( first, second coats ).
1 | Ground Floor | 1173.81 | m² |  | 0
2 | First Floor | 1249.97 | m² |  | 0
3 | Second Floor | 1203.39 | m² |  | 0
4 | Terrace Floor | 522.21 | m² |  | 0
4.5 | CEMENT SCREED FINISH
Note: 50mm Thick cement screed on the concrete floor with 1:4 cement mortar mix incl. float finish to receive the tiles.
1 | Ground floor | 469.05 | m² |  | 0
2 | First floor | 469.05 | m² |  | 0
3 | Second floor | 469.05 | m² |  | 0
4 | Terrace floor | 469.05 | m² |  | 0
5 | Roof Slab | 30.86 | m² |  | 0
BILL No: 04 - MASONRY AND PLASTERING
| TOTAL OF BILL No: 04 - Carried over to summary |  |  |  | 0
BILL No: 05
METAL WORKS & WOOD WORKS
5.1 | GENERAL
| (a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts including those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws. |  | 0
| (b) Rates shall include for all painting and finishing. |  | 0
(c) Rates shall include for fabrication and erection of temporary supports and fixing into position
5.2 | STAIRCASE HANDRAILING
1 | 100mm dia. SS Pipe post | 4 | nos |  | 0
Stair case railing
2 | 50mm dia. SS Pipe railing | 74.4 | m |  | 0
3 | 25mm dia. SS Pipe railing | 31.8 | m |  | 0
5.3 | RECEPTION COUNTER
1 | Asper the drawings make a reception counter. Rates should include all necessary works | 1 | item |  | 0
5.3 | KITCHEN CABINET
1 | Febricate Kichen wall and base cabinet. Rates shall include double bowl zinc, taps, hood, etc.. and all necessary fixtures. | 1 | item |  | 0
BILL No: 05 - METAL & WOOD WORKS
| TOTAL OF BILL No: 05 - Carried over to summary |  |  |  | 0
BILL No: 06
CEILING
6.1 | GENERAL
Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and timber beeding, etc…. similar nail and screws.
6.2 | TIMBER FRAME GYPSUM BOARD CEILING
1 | Ground floor | 469.05 | m² |  | 0
2 | First floor | 469.05 | m² |  | 0
3 | Second floor | 469.05 | m² |  | 0
4 | Terrace floor | 469.05 | m² |  | 0
6.3 | Timber Skirting
Note: Rates shall include for: Supply and installation of 100mm height timber skirting. Fix as per manufactures instructions.
1 | Ground floor | 126.88 | m |  | 0
2 | First floor | 259.41 | m |  | 0
3 | Second floor | 191.67 | m |  | 0
4 | Terrace floor | 112.23 | m |  | 0
6.3 | Tile Skirting
Note: Rates shall include for: Cutting and installation of 100mm height tile skirting. Fix as per manufactures instructions.
1 | First floor | 6.75 | m |  | 0
2 | Second floor | 6.75 | m |  | 0
3 | Terrace floor (Out door and kitchen area) | 103.59 | m |  | 0
BILL N0: 06 - CEILINGS
| TOTAL OF BILL No: 06 - Carried over to summary |  |  |  | 0
BILL N0: 07
DOORS AND WINDOWS
7.1 | GENERAL
(a) Rates shall include for locks, latches, closures, push plates, pull handles, bolts, kick plates, hinges,door closer,door stoppers and all door & window hardware.
(b) Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boarding, framing, lining, fastenings and all fixings.
(c) All Aluminium door abd windows shall be 60-80 micron aluminium.
(d) All Timber doors shall Solid timber paneled door with paint finish.
(e) All Windows Glazing shall be 6-12mm blue reflective glass. (see door and window schedule)
7.1.1 | Timber door units
1 | Door D1 (1800x2800mm) | 7 | Nos |  | 0
2 | Door D2 (1000x2100mm) | 15 | Nos |  | 0
3 | Door D3 (1000x2100mm) | 12 | Nos |  | 0
4 | Door D4 (900x2100mm) | 3 | Nos |  | 0
5 | Door D5 (1000x2100mm) | 11 | Nos |  | 0
6 | Door D6 (750x2100mm) | 27 | Nos |  | 0
7 | Door SD 1 (1650x2100mm) | 2 | Nos |  | 0
7.1.2 | Aluminium window units
1 | Window W1 (1800x1600mm) | 14 | Nos |  | 0
2 | Window W2 (750x700mm) | 8 | Nos |  | 0
3 | Window W3 (600x700mm) | 27 | Nos |  | 0
4 | Window W4 (4150x2250mm) | 5 | Nos |  | 0
5 | Window W5 (1600x2400mm) | 14 | Nos |  | 0
6 | Window W6 (1926x2655mm) | 1 | Nos |  | 0
7 | Window W7 (1926x732mm) | 6 | Nos |  | 0
8 | Window W8 (1600x600mm) | 4 | Nos |  | 0
5 | Window FG 1 | 3 | Nos |  | 0
6 | Window FG 2 | 2 | Nos |  | 0
7 | Window FG 3 | 4 | Nos |  | 0
8 | Window FG 4 | 4 | Nos |  | 0
9 | Window FG 5 | 4 | Nos |  | 0
7.1.2 | GI Pipe door units
1 | Door CD1 (2110x2100mm) | 5 | Nos |  | 0
2 | Door CD2 (700x600mm) | 6 | Nos |  | 0
BILL N0: 07 -DOORS AND WINDOWS
| TOTAL OF BILL No: 07 - Carried over to summary |  |  |  | 0
BILL N0: 08
FINISHES
8.1 | GENERAL
| Rates for tiling shall include for: fixing, bedding, grouting, pointing, finishing and any other similar works to ensure the required finish. |  | 0
0
8.2 | FLOOR FINISHES |  | 0
8.2.1 | Ground Floor
1 | 600x600mm Homogenous tiles on floor | 115.22 | m² |  | 0
2 | 300x300mm Ceramic tiles on floor | 113.02 | m² |  | 0
3 | 200x600mm non-skid Homogenous tiles with Homogenous nosing strip on stair. | 9.46 | m² |  | 0
4 | 300x300mm non-skid Ceramic tiles on toilet floor | 14.17 | m² |  | 0
5 | 300x450mm homogenous tiles on toilet walls (1.35m Height.) | 21.06 | m² |  | 0
6 | Application of 2 coats of floor paint finish "NIPPON" or Equivalent". | 185.91 | m² |  | 0
8.2.2 | First Floor
1 | 600x600mm Homogenous tiles on floor | 371.44 | m² |  | 0
2 | 200x600mm non-skid Homogenous tiles with Homogenous nosing strip on stair. | 9.46 | m² |  | 0
3 | 300x300mm non-skid Ceramic tiles on toilet floor | 38.51 | m² |  | 0
4 | 300x450mm homogenous tiles on toilet walls (1.35m Height.) | 86.42 | m² |  | 0
5 | 300x300mm non-skid Ceramic tiles on balcony | 2.85 | m² |  | 0
6 | Application of 2 coats of floor paint finish "NIPPON" or Equivalent". | 45.82 | m² |  | 0
8.2.3 | Second Floor
1 | 600x600mm Homogenous tiles on floor | 380.55 | m² |  | 0
2 | 200x600mm non-skid Homogenous tiles with Homogenous nosing strip on stair. | 9.46 | m² |  | 0
3 | 300x300mm non-skid Ceramic tiles on toilet floor | 38.51 | m² |  | 0
4 | 300x450mm homogenous tiles on toilet walls (1.35m Height.) | 86.42 | m² |  | 0
5 | 300x300mm non-skid Ceramic tiles on balcony | 2.85 | m² |  | 0
6 | 300x300mm non-skid Ceramic floor tiles on ablution area | 8.33 | m² |  | 0
7 | 300x450mm non-skid Ceramic wall tiles on ablution area | 8.27 | m² |  | 0
6 | Application of 2 coats of floor paint finish "NIPPON" or Equivalent". | 45.82 | m² |  | 0
8.2.3 | Terrace Floor
1 | 600x600mm Homogenous tiles on floor (indor) | 212.58 | m² |  | 0
1 | 300x300mm Ceramic tiles on floor (outdor) | 200.08 | m² |  | 0
2 | 300x300mm Homogenous tiles on kitchen area | 32.45 | m² |  | 0
3 | 300x300mm non-skid Ceramic tiles on toilet floor | 7.2 | m² |  | 0
4 | 300x450mm homogenous tiles on toilet walls (1.35m Height.) | 22.88 | m² |  | 0
6 | Application of 2 coats of floor paint finish "NIPPON" or Equivalent". | 45.82 | m² |  | 0
BILL No: 08 - FINISHES
| TOTAL OF BILL No: 08 - Carried over to summary |  |  |  | 0
BILL No: 09
PAINTING
9.1 | GENERAL
(a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door window furniture
| (b) All painting work shall be carried in accordance with the Specifications of "NIPPON PAINT or Equivalent". |  | 0
9.2 | WALLS / CONCRETE SURFACES |  | 0
Note: Oil based emultion paint system with textured finish on plastered and concrete surfaces of all EXTERNAL WALL. 1 coat of wall sealer, 1 coat of textured and 2 coat of paint.
1 | Ground Floor | 407.43 | m² |  | 0
2 | First Floor | 360.41 | m² |  | 0
3 | Second Floor | 357.03 | m² |  | 0
4 | Terrace Floor | 267.05 | m² |  | 0
5 | 15mm thick plastering on first and second floor balcony walls | 14.12 | m² |  | 0
6 | 15mm thick plastering on terrace floor balcony walls | 113.24 | m² |  | 0
9.2.1 | WALLS |  | 0
Note: Emultion paint mat finish surfaces of all INTERNAL WALL. 1 coat of wall sealer and 2 coat of paint.
1 | Ground Floor | 1173.81 | m² |  | 0
2 | First Floor | 1249.97 | m² |  | 0
3 | Second Floor | 1203.39 | m² |  | 0
4 | Terrace Floor | 522.21 | m² |  | 0
9.2.2 | CEILING / SOFFIT OF SLAB
Note: Emultion paint oil based finish surfaces of all CEILING AREA. 1 coat of wall sealer and 2 coat of paint.
1 | Ground floor | 469.05 | m² |  | 0
2 | First floor | 469.05 | m² |  | 0
3 | Second floor | 469.05 | m² |  | 0
4 | Terrace floor | 469.05 | m² |  | 0
BILL No: 09 - PAINTING
| TOTAL OF BILL No: 09 - Carried over to summary |  |  |  | 0
BILL No: 10
HYDRAULICS & DRAINAGE
10.1 | GENERAL
(a) Rates shall include for sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints, backnuts and similar, incidental fittings, clips saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes, excavating, laying pipes and backfilling trenches.
(b) All pipe work and fittings shall be high pressure PVC.
(c) Rates shall include for supply and fixing of all pipes.
10.2 | PIPE WORK
1 | Allow for ground water connection and internal pipe works well to all toilets, laundarys inc. supply and laying of all pipe works. | 1 | item |  | 0
2 | Allow for fresh water connection and internal pipework rain water tank to all toilets, laundarys, kitchen and counters inc. supply and laying of all pipes. | 1 | item |  | 0
3 | Allow for Waste water and sewage connection and internal pipe works from all the toilets inc. supply and laying of pipes. | 1 | item |  | 0
10.2.1 | Sanitary Fixtures & Accessories
Note: (a)Sanitary fixtures complete including brackets, stop valves, fittings etc.
(b)All sanitary fittings shall be of 'COTTO' brand.
(c)All fixtures shall be of 'COTTO' brand.
(d) All Taps, Hand shower, Head shower, Bidet shower, towel ring, and towel bar should be plastic.
( e) All pipes shall be of 'UPVC' .
1 | MWSC water meter | 1 | Nos |  | 0
2 | Water Closets | 22 | Nos |  | 0
3 | Wash Basins | 20 | Nos |  | 0
4 | Floor drain | 41 | Nos |  | 0
5 | Muslim Shower | 22 | Nos |  | 0
6 | Stop Valves | 41 | Nos |  | 0
7 | Wash Basin Taps | 20 | Nos |  | 0
8 | SS water closet | 5 | Nos |  | 0
9 | SS floor drain | 7 | Nos |  | 0
10 | low level tap | 13 | Nos |  | 0
10.3 | PUMPING SYSTEM
Note: Supply and installation of appropriate capacity water pump ( fresh water and ground water ) complete pump system with automatic controle board including connecting valves to pipework and electricity as per requirements "Davy, Groundfos or equivalant".
1 | For Ground Water Connection | 1 | nos |  | 0
10.4 | DRAINAGE
Note: (a) Rates shall include for excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints and all joints and other incidental materials.
(b) All pipework shall be PVC
10.5 | DISCHARGE PIPEWORK
1 | All pipe connection from fixtures and upto the inspection chember. | 1 | item |  | 0
2 | Connecting to the Septic tank. | 1 | item |  | 0
10.6 | INSPECTION CHEMBER
1 | PCC Inspection Chambers (600 x600x600) for toilets with PVC screening net. | 3 | Nos |  | 0
2 | MWSC Inspection chember | 1 | nos |  | 0
10.7 | REINWATER DISCHAREGE PIPE LINE
1 | 75mm ø UPVC Rainwater down pipe from roof to the rainwater collection tank | 72.25 | m |  | 0
BILL No: 10 - HYDRAULIC AND DRAINAGE
| TOTAL OF BILL No: 10 - Carried over to summary |  |  |  | 0
BILL No: 11
ELECTRICAL & SPECIFIC INSTALLATIONS
11.1 | GENERAL
(a) Design, provide and install electrical network for the entire building complete in accordance to the standerds set by the local governing body 'STELCO'.
| (b) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories |  | 0
(c) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil.
(d) Rates for electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces.
(e) Light end and switch end of wiring together measured as one point.
(f) A point wiring for power points is measured as one point for each socket outlet; other end of wire is not included in the quantity.
(g) Rates shall include for supply and complete installation.
(h) Three phase power supply.
11.2 | MAIN CONNECTIONS |  | 0
1 | Allow for connection to electrical mains from out side substation to main panel board. | 1 | item |  | 0
2 | Allow for connection to electrical mains from main panel board to floor floor distribution boards. | 1 | item |  | 0
11.3 | ELECTRICAL BOARDS
Note: Complete installation, including for all connections, earthing, painting, testing and similar of:
1 | 3 Phase Panel Board | 1 | Nos |  | 0
2 | Electric meter | 1 | Nos |  | 0
3 | 3 Phase Distribution Board | 12 | Nos |  | 0
11.4 | ELECTRICAL WIRING |  | 0
| Note: Electrical wiring with copper conductor cable in conduits in walls and concrete as per government regulations including necessary D-boards at each level. |  | 0
1 | Wiring to Lights and fans. | 1 | item |  | 0
2 | Wiring to Socket outlets. | 1 | item |  | 0
11.5 | LIGHTING
Note: All lights shall be of 'PHILIPS brand or equivalent', all switches, sockets etc. shall be 'LEGRAND brand or equivalent'.
1 | Emergency light 2 hours non maintained. | 29 | Nos |  | 0
2 | Ceiling recessed 2x4' tube light (4x20W) with reflective louver | 80 | Nos |  | 0
4 | Ceiling recessed down light with 12W compact florescent cool light | 198 | Nos |  | 0
4 | Ceiling mount light with 12W compact florescent cool light | 8 | Nos |  | 0
5 | wall mount light | 14 | Nos |  | 0
6 | 1x13 Amp Single Socket out let | 15 | Nos |  | 0
7 | 2x13 Amp Double Socket out let | 94 | Nos |  | 0
8 | Ceiling fan 1.2m dia ceiling mount | 18 | Nos |  | 0
9 | Ceiling fan wall mount | 5 | Nos |  | 0
9 | 1 Gang switch (one way) | 48 | Nos |  | 0
10 | 2 Gang switch (one way) | 26 | Nos |  | 0
11 | 3 Gang switch (one way) | 3 | Nos |  | 0
12 | 4 Gang switch (one way) | 9 | Nos |  | 0
10 | Fan regulator | 5 | Nos |  | 0
11 | Light dimmer | 8 | Nos |  | 0
11.6 | TELECOMUNICATION SYSTEM
1 | Note: Telephone networking cables with DBs including all necessary wiring, fittings, and connection from the concern authorities and PABX etc.. for state no. of lines and number of extensions. | 1 | item |  | 0
2 | Telephone extension sockets | 10 | nos |  | 0
11.7 | CABLE TV EXTENSION
1 | Note: Cable TV extension as per the drawings and from the concern authorities rules and regulations including all the connections and required TAPS/DBs, etc. | 1 | item |  | 0
2 | Cable TV sockets outlets | 10 | nos |  | 0
11.8 | IT NETWORK
Provide & install with all necessary wiring, fittings & accessaries IT Network System for the entire building as per drawings, specifications & contractor's shop drawings subject to consultants approval.
1 | Internet outlet extension sockets | 65 | nos |  | 0
2 | Network Gigabit Switch | 2 | nos |  | 0
3 | Wall mount rack 6U | 2 | nos |  | 0
11.9 | VRV AIR-CONDITIONING SYSTEM
| Supply and installation of appropriate capacity "HITACHI" or equivalent VRV AIR-CINDITIONING SYSTEM including electricity and complete . Rates shall include pipes, fixing and all necessary works. Contractor's shall submit shop drawings subject to consultants approval | 1 | item |  | 0
11.8 | FIRE FIGHTING
Provide & install fire fighting equipment inclusive of all necessary connection as per local regulations as described.
1 | CO2 Fire Extinguisher(2kg) | 16 | Nos |  | 0
2 | H2O Water Extinguisher(9ltr, 13A) | 16 | Nos |  | 0
3 | Exit Sign | 8 | Nos |  | 0
BILL No: 11 - ELECTRICAL
| TOTAL OF BILL No: 11 - Carried over to summary |  |  |  | 0
BILL No:12
ADDITIONS
| BILL No: 12 -ADDITIONS |  | 0
| TOTAL OF BILL No: 12 - Carried over to summary |  |  |  | 0
BILL No:13
OMISSIONS
| BILL No: 13 -OMISSIONS |  | 0
| TOTAL OF BILL No: 13 - Carried over to summary |  |  |  | 0
0
GRAND TOTAL

## BOUNDARY WALL
BILL OF QUANTITIES
Item | Description | Qty | Unit | Rate | Amount
BILL N0: 14
A | GROUND WORKS
1.1 | GENERAL
(a) Rates Shall include for: leveling, grading, triming, compecting to faces of excavation, keep sides plumb, back filling, consolidating and disposing surplus soil.
1.2 | EXCAVATION
Note: Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork/shuttering and dewatering the trenches for the required days.
1 | Excavation for Foundation Beam FB1 | 15.04 | m³ |  | 0
2 | Excavation for Foundation Beam FB2 | 3.99 | m³ |  | 0
3 | Excavation for Column C1 | 0.86 | m³ |  | 0
4 | Excavation for Column C2 | 0.99 | m³ |  | 0
5 | Excavation for Column C3 | 0.5 | m³ |  | 0
6 | Excavation for Column C4 | 0.99 | m³ |  | 0
1.3 | DAMP PROOF MEMBRANE
Note: Rates shall include for: dressing around and sealing to avoid all penetrations, laps and turnups.
Polythene damp proof membrane (500 gauge) under:-
1 | Foundation Beam FB-01 | 25.06 | m2 |  | 0
2 | Foundation Beam FB-02 | 12.14 | m2 |  | 0
Apply 2 coats of Brush Bond or similar on all concrete and masonry plastered surfaces below ground level in accordance with manufacturer's instructions.
5 | Foundation Beam FB-01 | 75.18 | m2 |  | 0
6 | Foundation Beam FB-02 | 44.51 | m2 |  | 0
7 | Below ground level | 100 | m2 |  | 0
BILL No: A - GROUND WORKS
| TOTAL OF BILL No: 02 - Carried over to summary |  |  |  | 0
BILL No: B
CONCRETE
1.1 | GENERAL
(a) Rates shall include for: provision to place in position; casting of all required items and finishing after removal of formwork and additional concrete required to conform to structural and excavated tolerances.
(b) Rates shall include supply of all formwork item including form oil, timber, plywood, nails etc.
(c) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:3:6 by volume.
1.2 | LEAN CONCRETE |  | 0
| Note: Quantity is measured to the edges of concrete members. Rates shall be inclusive of any additional concrete required to place the formwork. |  | 0
1 | 50mm thick lean concrete Foundation Beam FB-01 | 25.06 | m² |  | 0
2 | 50mm thick lean concrete Foundation Beam FB-02 | 12.14 | m² |  | 0
0
1.3 | REINFORCED CONCRETE |  | 0
| Note: In-situ reinforced concrete to: |  | 0
Add water proofing compound to concrete mix for walls and cover slab below ground level.
1 | Foundation Beam FB-01 | 5.01 | m³ |  | 0
2 | Foundation Beam FB-02 | 2.43 | m³ |  | 0
3 | Columns C1, (600x600mm) | 1.6 | m³ |  | 0
4 | Columns C2, (550x250mm) | 5.28 | m³ |  | 0
5 | Columns C3, (550x250mm) | 1.57 | m³ |  | 0
6 | Columns C4, (550x250mm) | 1.54 | m³ |  | 0
8 | Top Beam TB | 3.18 | m³ |  | 0
9 | 100mm thick RCC slab with RCC Arc wall | 6.16 | m³ |  | 0
1.4 | FORMWORK
Note: Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes and removal of formwork.
1 | Foundation Beam FB-01 | 50.12 | m² |  | 0
2 | Foundation Beam FB-02 | 32.37 | m² |  | 0
3 | Columns C1, (600x600mm) | 4.8 | m² |  | 0
4 | Columns C2, (550x250mm) | 61.44 | m² |  | 0
5 | Columns C3, (550x250mm) | 18.24 | m² |  | 0
6 | Columns C4, (550x250mm) | 30.72 | m² |  | 0
8 | Top Beam TB | 47.75 | m² |  | 0
9 | 100mm thick RCC slab with RCC Arc wall | 74.78 | m² |  | 0
1.5 | REINFORCEMENT |  | 0
| Note: (a) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and chair supports, laps and wastage. |  | 0
| (b) All reinforcing bars except 6mm dia bars shall be high strength deformed bars. |  | 0
(c) The exact length exclusive of laps are given. The rates shall take into account laps and any wastage.
Foundation
1 | 12 mm dia. bars in Foundation Beams | 0.69 | t |  | 0
2 | 06 mm dia. bars in Foundation beams | 0.23 | t |  | 0
3 | 12 mm dia. bars in columns | 0.55 | t |  | 0
4 | 06 mm dia. bars in columns | 0.2 | t |  | 0
5 | 12 mm dia. bars in top beam | 0.28 | t |  | 0
6 | 06 mm dia. bars in top beam | 0.09 | t |  | 0
7 | 10 mm dia. bars in slab with arc wall | 0.48 | t |  | 0
BILL No: B - CONCRETE
| TOTAL OF BILL No: B - Carried over to summary |  |  |  | 0
BILL No: C
MASONRY AND PLASTERING
1.1 | GENERAL
(a)Rates shall include for: blocks, cutting or leaving holes and openings as recesses, building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames.
(b) Mix ratio for Plastering & masonry shall be 1:3 Cement Mortar, tie rods, compression gap filler, nylon / plastic mesh as specified.
1 | 150mm thick hollow brick wall | 285.38 | m2 |  | 0
2 | 100mm thick hollow brick wall | 179.79 | m2 |  | 0
1.2 | PLASTERING
Note: 20mm Thick cement plastering on all EXTERNAL WALLS and concrete surface with 1:4 cement mortor mix as specified incl. wire mesh at joints of concrete surfaces and walls ( first, second coats ).
1 | 150mm thick hollow brick wall | 499.41 | m2 |  | 0
2 | 100mm thick hollow brick wall | 359.58 | m2 |  | 0
BILL No: C - MASONRY AND PLASTERING
| TOTAL OF BILL No: C - Carried over to summary |  |  |  | 0
BILL N0: D
DOORS AND WINDOWS
1.1 | GENERAL
(a) Rates shall include for locks, latches, closures, push plates, pull handles, bolts, kick plates, hinges,door closer,door stoppers and all door & window hardware.
(b) Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boarding, framing, lining, fastenings and all fixings.
GI Pipe door units
1 | Gate door G1 (1800x2800mm) | 1 | Nos |  | 0
2 | Gate door G2 (1800x2800mm) | 1 | Nos |  | 0
BILL N0: D -DOORS AND WINDOWS
| TOTAL OF BILL No: D - Carried over to summary |  |  |  | 0
BILL No: E
PAINTING
1.1 | GENERAL
(a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door window furniture
| (b) All painting work shall be carried in accordance with the Specifications of "NIPPON PAINT or Equivalent". |  | 0
1.2 | WALLS / CONCRETE SURFACES |  | 0
Note: Oil based emultion paint system with textured finish on plastered and concrete surfaces of all EXTERNAL WALL. 1 coat of wall sealer, 1 coat of textured and 2 coat of paint.
1 | 150mm thick hollow brick wall | 499.41 | m² |  | 0
2 | 100mm thick hollow brick wall | 359.58 | m² |  | 0
BILL No: E - PAINTING
| TOTAL OF BILL No: E - Carried over to summary |  |  |  | 0
BILL No: F
ELECTRICAL & SPECIFIC INSTALLATIONS
1.1 | GENERAL
(a) Design, provide and install electrical network for the entire building complete in accordance to the standerds set by the local governing body 'STELCO'.
| (b) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories |  | 0
(c) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil.
(d) Rates for electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces.
(e) Light end and switch end of wiring together measured as one point.
(f) A point wiring for power points is measured as one point for each socket outlet; other end of wire is not included in the quantity.
(g) Rates shall include for supply and complete installation.
(h) Three phase power supply.
1.2 | MAIN CONNECTIONS |  | 0
1 | Allow for connection to electrical mains from out side substation to main panel board.
2 | Allow for connection to electrical mains from main panel board to floor floor distribution boards.
1.3 | ELECTRICAL BOARDS
Note: Complete installation, including for all connections, earthing, painting, testing and similar of:
1 | 3 Phase Distribution Board | 1 | Nos |  | 0
1.4 | ELECTRICAL WIRING |  | 0
| Note: Electrical wiring with copper conductor cable in conduits in walls and concrete as per government regulations including necessary D-boards at each level. |  | 0
1 | Wiring to Lights | 1 | item |  | 0
1.5 | LIGHTING
Note: All lights shall be of 'PHILIPS brand or equivalent', all switches, sockets etc. shall be 'LEGRAND brand or equivalent'.
1 | Weather proof wall mount light | 35 | Nos |  | 0
2 | Globe light | 4 | Nos |  | 0
BILL No: F - ELECTRICAL
| TOTAL OF BILL No: F - Carried over to summary |  |  |  | 0
| Total |  |  |  | 0