## SUMMARY
PROJECT: HEALTH CARE CENTER AT F.NILANDHOO
CONSTRUCTION OF 04 STOREY BUILDING (PHASE-I-01 STOREY ONLY)
SUMMARY OF BILLS OF QUANTITIES
SL.NO | BILL NAME | AMOUNT (MRF)
1 ) | TOTAL OF BILL NO. 01 (PRELIMINARIES) | 0
2 ) | TOTAL OF BILL NO. 02 (GROUND WORKS) | 0
3 ) | TOTAL OF BILL NO. 03 (CONCRETE WORKS) | 0
4 ) | TOTAL OF BILL NO. 04 (MASONRY & PLASTERING WORKS) | 0
5 ) | TOTAL OF BILL NO. 05 (CEILING WORKS) | 0
6 ) | TOTAL OF BILL NO. 06 (TILING WORKS) | 0
7 ) | TOTAL OF BILL NO. 07 (PAINTING WORKS) | 0
8 ) | TOTAL OF BILL NO. 08 (DOORS & WINDOWS WORKS) | 0
9 ) | TOTAL OF BILL NO. 09 (METAL WORKS) | 0
10 ) | TOTAL OF BILL NO. 10 (HYDRAULICS AND DRAINAGE) | 0
11 ) | TOTAL OF BILL NO. 11 (ELECTRICAL INSTALLATIONS) | 0
12 ) | TOTAL OF BILL NO. 12 (FIRE FIGHTING SYSTEM) | 0
TOTAL |  | 0
GST |  | 0
110.143
116.098
116.1
116.1
GRAND TOTAL |  | 0 | 116.1
116.1
12.506
703.147
7565.8617

## Cover
BILL OF QUANTITIES
PROJECT: HEALTH CARE CENTER AT F.NILANDHOO
PROPOSED PHASE-I (01 STOREY ) OF 04 STOREY BUILDING - STRUCTURE & FINISHING
MAY -2016

## BOQ
SL.NO | DESCRIPTION | QTY | UNIT | LABOUR RATE | MATERIAL RATE | LABOUR AMOUNT | MATERIAL AMOUNT | TOTAL AMOUNT
Bill No: 01
PRELIMINARIES
1.1 | General Notes
1 ) | Abbreviations
m - meter
No - numbers
m3 - cubic meter
m2 - square meter
Lm - Linear meter
t - tonnes
incl - including
mm - millimeter
dia - diameter
SS - Stainless Steel
GI - Galvanised Iron
1.2 | Site Management Costs
1 ) | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone,fax,hoardings and similar. | 1 | item | 0 | 0 | 0 | 0 | 0
1.3 | Sign Board
1 ) | Allow for sign board | 1 | no | 0 | 0 | 0 | 0 | 0
1.4 | Clean - up
1 ) | Allow for clean - up of completed works and site upon completion. | 1 | item | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 01 (PRELIMINARIES) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 02
GROUND WORKS
2.1 | GENERAL
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and disposing surplus soil.
2.2 | SITE CLEARING
| Clear the area of site from rubbish and vegetable matters, stumps, roots. Demolition shall be included (if any) | 595.64 | m² | 0 | 0 | 0 | 0 | 0
2.3 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork, back fill, dewatering and others
1 ) | Excavation for raft footings and Foundation beams | 349.02 | m³ | 0 | 0 | 0 | 0 | 0
2.4 | BACK FILLING
(a) Rates shall include for: levelling, grading, trimming, compacting and similar.
(b) Ground need to be compacted to the required density by the consultant.
1 ) | Earth Filling as per drawings | 298.76 | m³ | 0 | 0 | 0 | 0 | 0
2.5 | DAMP PROOF MEMBRANE
(a) Rates shall include for: dressing around and sealing to all penetrations, laps and turnups
1 ) | Polythene damp proof membrane (500 gauge) laid on blinding layer under raft | 291.36 | m² | 0 | 0 | 0 | 0 | 0
2 ) | Polythene damp proof membrane (500 gauge) laid on blinding layer under Ground Slab | 595.64 | m² | 0 | 0 | 0 | 0 | 0
2.6 | DEWATERING
| This item shall include for all the piping, pumps, etc. Water needs to be pumped to an assigned area as per local regulation. | 1 | Item | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 02 (GROUND WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 03
CONCRETE WORKS
General
a) Rate shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
b) Mix ratio for reinforced concrete shall be 1:2:3
1 ) | Allow for concrete testing | 1 | item | 0 | 0 | 0 | 0 | 0
3.1 | Lean Concrete
| 50mm thick lean concrete under the raft footing with a mix of 1:2:6 | 291.36 | m² | 0 | 0 | 0 | 0 | 0
3.2 | Reinforced Concrete
In-situ reinforced concrete to:
*Add water proofing compound / admixture to concrete mix for walls GL and Roof Slabs
*Add Conmix Mega Flow P or equivalent for all Super Structure concrete
*Add Conmix Mega ADD WL3 or equivalent for all Sub Structure concrete
*Apply the Conmix MOYA SHIELD RBE or equivalent for all Structure below ground level as water proofing compound
3.2.1 | Foundation
1 ) | Foundation Strip Footing - F1 - 2650mm x 2650 mm x 450 mm - 8nos | 25.281 | m³ | 0 | 0 | 0 | 0 | 0
2 ) | Foundation Strip Footing - F2 - 2000mm x 2000 mm x 350 mm - 5 nos | 7 | m³ | 0 | 0 | 0 | 0 | 0
3 ) | Foundation Strip Footing - F3 - 2900mm x 2900 mm x 500 mm - 1 nos | 4.205 | m³ | 0 | 0 | 0 | 0 | 0
4 ) | Foundation Strip Footing - F4 - 2300mm x 2300 mm x 400 mm - 13 nos | 27.508 | m³ | 0 | 0 | 0 | 0 | 0
5 ) | Foundation Strip Footing - F5 - 1600mm x 1600 mm x 300 mm - 3 nos | 2.304 | m³ | 0 | 0 | 0 | 0 | 0
6 ) | Foundation Strip Footing - F6 - 1800mm x 1800 mm x 300 mm - 8 nos | 7.776 | m³ | 0 | 0 | 0 | 0 | 0
7 ) | Foundation Strip Footing - F7 - 1300mm x 1300 mm x 300 mm - 3 nos | 1.521 | m³ | 0 | 0 | 0 | 0 | 0
8 ) | Foundation Strip Footing - F8 - 3800mm x 2800 mm x 450 mm - 1 nos | 4.788 | m³ | 0 | 0 | 0 | 0 | 0
9 ) | Foundation Strip Footing - F9 - As given- 1 nos | 34.8403 | m³ | 0 | 0 | 0 | 0 | 0
10 ) | Foundation Strip Footing - Lift Pad - 5400mm x 4700 mm x 450mm thick | 11.421 | m³ | 0 | 0 | 0 | 0 | 0
11 ) | Foundation Beam TB1 & TB2 - 200mm x 430 mm | 27.87 | m³ | 0 | 0 | 0 | 0 | 0
12 ) | Column - C1 - 450 mm x 250 mm up to GFFL | 1.0462 | m³ | 0 | 0 | 0 | 0 | 0
13 ) | Column - C2 - 300 mm x 200 mm up to GFFL | 0.6324 | m³ | 0 | 0 | 0 | 0 | 0
14 ) | Column - C3 - 400 mm x 200 mm up to GFFL | 0.1488 | m³ | 0 | 0 | 0 | 0 | 0
15 ) | Column - C4 - 350 mm x 200 mm up to GFFL | 0.3472 | m³ | 0 | 0 | 0 | 0 | 0
16 ) | Column - C5 - 300 mm x 250 mm up to GFFL | 0.1395 | m³ | 0 | 0 | 0 | 0 | 0
17 ) | Staircase Starter - 250mm thick | 0.37 | m³ | 0 | 0 | 0 | 0 | 0
18 ) | Lift wall - 200 mm thick | 2.39 | m³ | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3.2.2 | Ground Floor |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Column - C1 - 450 mm x 250 mm up to 1 st Floor | 5.1806 | m³ | 0 | 0 | 0 | 0 | 0
2 ) | Column - C2 - 300 mm x 200 mm up to 1 st Floor | 3.1314 | m³ | 0 | 0 | 0 | 0 | 0
3 ) | Column - C3 - 400 mm x 200 mm up to 1 st Floor | 0.7368 | m³ | 0 | 0 | 0 | 0 | 0
4 ) | Column - C4 - 350 mm x 200 mm up to 1 st Floor | 1.7192 | m³ | 0 | 0 | 0 | 0 | 0
5 ) | Column - C5 - 300 mm x 250 mm up to 1 st Floor | 0.69075 | m³ | 0 | 0 | 0 | 0 | 0
6 ) | Staircase - Wais thick 250mm up to 1st Slab | 3.72 | m³ | 0 | 0 | 0 | 0 | 0
7 ) | Lift wall - 200 mm thick up to 1st Slab | 6.2 | m³ | 0 | 0 | 0 | 0 | 0
8 ) | Ground Concrete | 59.56 | m³ | 0 | 0 | 0 | 0 | 0
9 ) | Attached Beam - B1- 200mm x 430mm | 4.9394 | m³ | 0 | 0 | 0 | 0 | 0
10 ) | Attached Beam - B2 - 200mm x 430mm | 3.81 | m³ | 0 | 0 | 0 | 0 | 0
11 ) | Attached Beam - B3 - 200mm x 430mm | 0.92322 | m³ | 0 | 0 | 0 | 0 | 0
12 ) | Attached Beam - B4 - 200mm x 430mm | 2.8102 | m³ | 0 | 0 | 0 | 0 | 0
13 ) | Attached Beam - B5 - 200mm x 600mm | 0.6251 | m³ | 0 | 0 | 0 | 0 | 0
14 ) | Attached Beam - B6 - 250mm x 750mm | 5.7722 | m³ | 0 | 0 | 0 | 0 | 0
15 ) | Attached Beam - B7 - 200mm x 600mm | 1.786 | m³ | 0 | 0 | 0 | 0 | 0
16 ) | Attached Beam - B8 - 200mm x 500mm | 0.83154 | m³ | 0 | 0 | 0 | 0 | 0
17 ) | Attached Beam - B9 - 200mm x 600mm | 0.6204 | m³ | 0 | 0 | 0 | 0 | 0
18 ) | Attached Beam - B10- 250mm x 600mm | 0.7755 | m³ | 0 | 0 | 0 | 0 | 0
19 ) | 1st Slab Concrete - 150mm & 185 mm thick | 76.32 | m³ | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3.2.3 | First Floor |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Column - C1 - 450 mm x 250 mm Above 1 st Floor | 1.6875 | m³ | 0 | 0 | 0 | 0 | 0
2 ) | Column - C2 - 300 mm x 200 mm Above 1 st Floor | 1.02 | m³ | 0 | 0 | 0 | 0 | 0
3 ) | Column - C3 - 400 mm x 200 mm Above 1 st Floor | 0.24 | m³ | 0 | 0 | 0 | 0 | 0
4 ) | Column - C4 - 350 mm x 200 mm Above 1 st Floor | 0.56 | m³ | 0 | 0 | 0 | 0 | 0
5 ) | Column - C5 - 300 mm x 250 mm Above 1 st Floor | 0.225 | m³ | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3.3 | Formwork |  |  | 0 | 0 | 0 | 0 | 0
| a) Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes, removal of formwork and normal practices used. |  |  | 0 | 0 | 0 | 0 | 0
3.3.1 | Foundation |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Foundation Strip Footing - F1 - 2650mm x 2650 mm x 450 mm - 8nos | 38.16 | m² | 0 | 0 | 0 | 0 | 0
2 ) | Foundation Strip Footing - F2 - 2000mm x 2000 mm x 350 mm - 5 nos | 14 | m² | 0 | 0 | 0 | 0 | 0
3 ) | Foundation Strip Footing - F3 - 2900mm x 2900 mm x 500 mm - 1 nos | 5.8 | m² | 0 | 0 | 0 | 0 | 0
4 ) | Foundation Strip Footing - F4 - 2300mm x 2300 mm x 400 mm - 13 nos | 47.84 | m² | 0 | 0 | 0 | 0 | 0
5 ) | Foundation Strip Footing - F5 - 1600mm x 1600 mm x 300 mm - 3 nos | 5.76 | m² | 0 | 0 | 0 | 0 | 0
6 ) | Foundation Strip Footing - F6 - 1800mm x 1800 mm x 300 mm - 8 nos | 17.28 | m² | 0 | 0 | 0 | 0 | 0
7 ) | Foundation Strip Footing - F7 - 1300mm x 1300 mm x 300 mm - 3 nos | 4.68 | m² | 0 | 0 | 0 | 0 | 0
8 ) | Foundation Strip Footing - F8 - 3800mm x 2800 mm x 450 mm - 1 nos | 5.94 | m² | 0 | 0 | 0 | 0 | 0
9 ) | Foundation Strip Footing - F9 -as given - 1 nos | 29.7 | m² | 0 | 0 | 0 | 0 | 0
10 ) | Foundation Strip Footing - Lift Pad - 5400mm x 4700 mm x 450mm thick | 9.135 | m² | 0 | 0 | 0 | 0 | 0
11 ) | Foundation Beam TB1 & TB2 - 200mm x 430 mm | 278.68 | m² | 0 | 0 | 0 | 0 | 0
12 ) | Column - C1 - 450 mm x 250 mm up to GFFL | 13.02 | m² | 0 | 0 | 0 | 0 | 0
13 ) | Column - C2 - 300 mm x 200 mm up to GFFL | 10.54 | m² | 0 | 0 | 0 | 0 | 0
14 ) | Column - C3 - 400 mm x 200 mm up to GFFL | 2.232 | m² | 0 | 0 | 0 | 0 | 0
15 ) | Column - C4 - 350 mm x 200 mm up to GFFL | 5.456 | m² | 0 | 0 | 0 | 0 | 0
16 ) | Column - C5 - 300 mm x 250 mm up to GFFL | 2.046 | m² | 0 | 0 | 0 | 0 | 0
17 ) | Staircase Starter - 250mm thick | 4.6 | m² | 0 | 0 | 0 | 0 | 0
18 ) | Lift wall - 200 mm thick | 24.05 | m² | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3.3.2 | Ground Floor |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Column - C1 - 450 mm x 250 mm up to 1 st Floor | 64.47 | m² | 0 | 0 | 0 | 0 | 0
2 ) | Column - C2 - 300 mm x 200 mm up to 1 st Floor | 52.19 | m² | 0 | 0 | 0 | 0 | 0
3 ) | Column - C3 - 400 mm x 200 mm up to 1 st Floor | 11.052 | m² | 0 | 0 | 0 | 0 | 0
4 ) | Column - C4 - 350 mm x 200 mm up to 1 st Floor | 27.016 | m² | 0 | 0 | 0 | 0 | 0
5 ) | Column - C5 - 300 mm x 250 mm up to 1 st Floor | 10.131 | m² | 0 | 0 | 0 | 0 | 0
6 ) | Staircase - Wais thick 250mm up to 1st Slab | 19.88 | m² | 0 | 0 | 0 | 0 | 0
7 ) | Lift wall - 200 mm thick up to 1st Slab | 16.07 | m² | 0 | 0 | 0 | 0 | 0
8 ) | Ground Concrete | 10.21 | m² | 0 | 0 | 0 | 0 | 0
9 ) | Attached Beam - B1- 200mm x 430mm | 65.8592 | m² | 0 | 0 | 0 | 0 | 0
10 ) | Attached Beam - B2 - 200mm x 430mm | 35.92 | m² | 0 | 0 | 0 | 0 | 0
11 ) | Attached Beam - B3 - 200mm x 430mm | 11.6696 | m² | 0 | 0 | 0 | 0 | 0
12 ) | Attached Beam - B4 - 200mm x 430mm | 34.24 | m² | 0 | 0 | 0 | 0 | 0
13 ) | Attached Beam - B5 - 200mm x 600mm | 7.581 | m² | 0 | 0 | 0 | 0 | 0
14 ) | Attached Beam - B6 - 250mm x 750mm | 67.032 | m² | 0 | 0 | 0 | 0 | 0
15 ) | Attached Beam - B7 - 200mm x 600mm | 21.66 | m² | 0 | 0 | 0 | 0 | 0
16 ) | Attached Beam - B8 - 200mm x 500mm | 10.5628 | m² | 0 | 0 | 0 | 0 | 0
17 ) | Attached Beam - B9 - 200mm x 600mm | 7.524 | m² | 0 | 0 | 0 | 0 | 0
18 ) | Attached Beam - B10- 250mm x 600mm | 7.854 | m² | 0 | 0 | 0 | 0 | 0
19 ) | 1st Slab Concrete - 150mm & 185 mm thick | 523.66 | m² | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3.3.3 | First Floor |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Column - C1 - 450 mm x 250 mm Above 1 st Floor | 21 | m² | 0 | 0 | 0 | 0 | 0
2 ) | Column - C2 - 300 mm x 200 mm Above 1 st Floor | 17 | m² | 0 | 0 | 0 | 0 | 0
3 ) | Column - C3 - 400 mm x 200 mm Above 1 st Floor | 3.6 | m² | 0 | 0 | 0 | 0 | 0
4 ) | Column - C4 - 350 mm x 200 mm Above 1 st Floor | 8.8 | m² | 0 | 0 | 0 | 0 | 0
5 ) | Column - C5 - 300 mm x 250 mm Above 1 st Floor | 3.3 | m² | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3.4 | Reinforcement |  |  | 0 | 0 | 0 | 0 | 0
| a) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and chair supports, laps, and wastages. |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3.4.1 | Foundation |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Foundation Strip Footing - F1 - 2650mm x 2650 mm x 450 mm - 8nos |  |  | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 2050.84 | Kg | 0 | 0 | 0 | 0 | 0
2 ) | Foundation Strip Footing - F2 - 2000mm x 2000 mm x 350 mm - 5 nos |  |  | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 744.97 | Kg | 0 | 0 | 0 | 0 | 0
3 ) | Foundation Strip Footing - F3 - 2900mm x 2900 mm x 500 mm - 1 nos |  |  | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 298.3 | Kg | 0 | 0 | 0 | 0 | 0
4 ) | Foundation Strip Footing - F4 - 2300mm x 2300 mm x 400 mm - 13 nos |  |  | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 2509.99 | Kg | 0 | 0 | 0 | 0 | 0
5 ) | Foundation Strip Footing - F5 - 1600mm x 1600 mm x 300 mm - 3 nos |  |  | 0 | 0 | 0 | 0 | 0
| 12 mm dia bars | 165.53 | Kg | 0 | 0 | 0 | 0 | 0
6 ) | Foundation Strip Footing - F6 - 1800mm x 1800 mm x 300 mm - 8 nos |  |  | 0 | 0 | 0 | 0 | 0
| 12 mm dia bars | 547.01 | Kg | 0 | 0 | 0 | 0 | 0
7 ) | Foundation Strip Footing - F7 - 1300mm x 1300 mm x 300 mm - 3 nos |  |  | 0 | 0 | 0 | 0 | 0
| 12 mm dia bars | 114.05 | Kg | 0 | 0 | 0 | 0 | 0
8 ) | Foundation Strip Footing - F8 - 3800mm x 2800 mm x 450 mm - 1 nos |  |  | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 550.47 | Kg | 0 | 0 | 0 | 0 | 0
9 ) | Foundation Strip Footing - F9 - As Given - 1 nos |  |  | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 1966.82 | Kg | 0 | 0 | 0 | 0 | 0
10 ) | Foundation Strip Footing - Lift Pad - 5400mm x 4700 mm x 450mm thick |  |  | 0 | 0 | 0 | 0 | 0
| 12 mm dia bars | 647.24 | Kg | 0 | 0 | 0 | 0 | 0
11 ) | Foundation Beam TB1 & TB2 - 200mm x 430 mm |  |  | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 2792.08 | Kg | 0 | 0 | 0 | 0 | 0
| 12 mm dia bars | 838.76 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 548.37 | Kg | 0 | 0 | 0 | 0 | 0
12 ) | Column - C1 - 450 mm x 250 mm up to GFFL |  |  | 0 | 0 | 0 | 0 | 0
| 20 mm dia bars | 711.36 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 92.73 | Kg | 0 | 0 | 0 | 0 | 0
13 ) | Column - C2 - 300 mm x 200 mm up to GFFL |  |  | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 357.78 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 66.33 | Kg | 0 | 0 | 0 | 0 | 0
14 ) | Column - C3 - 400 mm x 200 mm up to GFFL |  |  | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 84.18 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 15.5 | Kg | 0 | 0 | 0 | 0 | 0
15 ) | Column - C4 - 350 mm x 200 mm up to GFFL |  |  | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 224.49 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 37.38 | Kg | 0 | 0 | 0 | 0 | 0
16 ) | Column - C5 - 300 mm x 250 mm up to GFFL |  |  | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 63.14 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 13.55 | Kg | 0 | 0 | 0 | 0 | 0
17 ) | Staircase Starter - 250mm thick |  |  | 0 | 0 | 0 | 0 | 0
| 10 mm dia bars | 59.15 | Kg | 0 | 0 | 0 | 0 | 0
18 ) | Lift wall - 200 mm thick |  |  | 0 | 0 | 0 | 0 | 0
| 10 mm dia bars | 276.86 | Kg | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3.4.2 | Ground Floor |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Column - C1 - 450 mm x 250 mm up to 1 st Floor |  |  | 0 | 0 | 0 | 0 | 0
| 20 mm dia bars | 1037.4 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 356.73 | Kg | 0 | 0 | 0 | 0 | 0
2 ) | Column - C2 - 300 mm x 200 mm up to 1 st Floor |  |  | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 564.06 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 254.95 | Kg | 0 | 0 | 0 | 0 | 0
3 ) | Column - C3 - 400 mm x 200 mm up to 1 st Floor |  |  | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 132.72 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 59.64 | Kg | 0 | 0 | 0 | 0 | 0
4 ) | Column - C4 - 350 mm x 200 mm up to 1 st Floor |  |  | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 353.92 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 143.83 | Kg | 0 | 0 | 0 | 0 | 0
5 ) | Column - C5 - 300 mm x 250 mm up to 1 st Floor |  |  | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 99.54 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 52.12 | Kg | 0 | 0 | 0 | 0 | 0
6 ) | Staircase - Waist thick 250mm up to 1st Slab |  |  | 0 | 0 | 0 | 0 | 0
| 10 mm dia bars | 446.08 | Kg | 0 | 0 | 0 | 0 | 0
7 ) | Lift wall - 200 mm thick up to 1st Slab |  |  | 0 | 0 | 0 | 0 | 0
| 10 mm dia bars | 609.03 | Kg | 0 | 0 | 0 | 0 | 0
8 ) | Ground Concrete |  |  | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 1298.83 | Kg | 0 | 0 | 0 | 0 | 0
9 ) | Attached Beam - B1- 200mm x 430mm |  |  | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 525.03 | Kg | 0 | 0 | 0 | 0 | 0
| 12 mm dia bars | 305.54 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 400.03 | Kg | 0 | 0 | 0 | 0 | 0
10 ) | Attached Beam - B2 - 200mm x 430mm |  |  | 0 | 0 | 0 | 0 | 0
| 20 mm dia bars | 520.68 | Kg | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 422.18 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 335.65 | Kg | 0 | 0 | 0 | 0 | 0
11 ) | Attached Beam - B3 - 200mm x 430mm |  |  | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 97.88 | Kg | 0 | 0 | 0 | 0 | 0
| 12 mm dia bars | 43.65 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 75.26 | Kg | 0 | 0 | 0 | 0 | 0
12 ) | Attached Beam - B4 - 200mm x 430mm |  |  | 0 | 0 | 0 | 0 | 0
| 20 mm dia bars | 878.2 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 228.21 | Kg | 0 | 0 | 0 | 0 | 0
13 ) | Attached Beam - B5 - 200mm x 600mm |  |  | 0 | 0 | 0 | 0 | 0
| 20 mm dia bars | 96.33 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 44.04 | Kg | 0 | 0 | 0 | 0 | 0
14 ) | Attached Beam - B6 - 250mm x 750mm |  |  | 0 | 0 | 0 | 0 | 0
| 25 mm dia bars | 485.1 | Kg | 0 | 0 | 0 | 0 | 0
| 20 mm dia bars | 862.77 | Kg | 0 | 0 | 0 | 0 | 0
| 10 mm dia bars | 118.92 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 393.87 | Kg | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
15 ) | Attached Beam - B7 - 200mm x 600mm |  |  | 0 | 0 | 0 | 0 | 0
| 20 mm dia bars | 193.65 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 126.09 | Kg | 0 | 0 | 0 | 0 | 0
16 ) | Attached Beam - B8 - 200mm x 500mm |  |  | 0 | 0 | 0 | 0 | 0
| 20 mm dia bars | 114.48 | Kg | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 53.72 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 63.84 | Kg | 0 | 0 | 0 | 0 | 0
17 ) | Attached Beam - B9 - 200mm x 600mm |  |  | 0 | 0 | 0 | 0 | 0
| 20 mm dia bars | 87.44 | Kg | 0 | 0 | 0 | 0 | 0
| 16 mm dia bars | 18.33 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 29.46 | Kg | 0 | 0 | 0 | 0 | 0
18 ) | Attached Beam - B10- 250mm x 600mm |  |  | 0 | 0 | 0 | 0 | 0
| 20 mm dia bars | 116.09 | Kg | 0 | 0 | 0 | 0 | 0
| 06 mm dia bars | 29.46 | Kg | 0 | 0 | 0 | 0 | 0
19 ) | 1st Slab Concrete - 150mm & 185 mm thick |  |  | 0 | 0 | 0 | 0 | 0
| 10 mm dia bars | 9331.1 | Kg | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3.7 | OTHER CONCRETE WORKS |  |  | 0 | 0 | 0 | 0 | 0
3.2.4 | First Floor |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| (a) Rates shall include for: All the column should be raised not less than 1.2 Mtr ht to recive the Second phase extention with low mix ratio and columns should be plastered all around after apply anti corrosive protective coating for steel bars, All the steel bars accoring to the supplied drawing should be continue up to 1.2 Mtr ht blinding, concrete, formwork and reinforcement as per drawings and specifications |  |  | 0 | 0 | 0 | 0 | 0
| (b) All the service voids are to be raised up to .9 mtr ht and top should be covered with 50mm thick RCC slab etc., |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Column - C1 - 450 mm x 250 mm up to 1 Mtr ht with concrete mix 1:4:8 | 1 | item | 0 | 0 | 0 | 0 | 0
2 ) | Column - C2 - 300 mm x 200 mm up to 1 Mtr ht with concrete mix 1:4:8 | 1 | item | 0 | 0 | 0 | 0 | 0
3 ) | Column - C3 - 400 mm x 200 mm up to 1 Mtr ht with concrete mix 1:4:8 | 1 | item | 0 | 0 | 0 | 0 | 0
4 ) | Column - C4 - 350 mm x 200 mm up to 1 Mtr ht with concrete mix 1:4:8 | 1 | item | 0 | 0 | 0 | 0 | 0
5 ) | Column - C5 - 300 mm x 250 mm up to 1 Mtr ht with concrete mix 1:4:8 | 1 | item | 0 | 0 | 0 | 0 | 0
6 ) | Lift wall - 200 mm thick up to 1 Mtr ht with concrete mix 1:4:8 | 1 | item | 0 | 0 | 0 | 0 | 0
7 ) | 100 mm thick x 300mm height ledge wall concrete with 6mm steel bar @ 200mm spacing around the all void openings, Service duct openings and building ouside edges including Concrete, Steel bars, Form works etc., with Concrete mix 1:4:8 | 1 | item | 0 | 0 | 0 | 0 | 0
8 ) | Complete supply and installation of 150X150mm lintel beam on top Door and Windows. | 1 | Item | 0 | 0 | 0 | 0 | 0
9 ) | Complete supply and installation of 150X150mm Sill beam on below the Windows. | 1 | Item | 0 | 0 | 0 | 0 | 0
10 ) | Complete construction and installation of Wash basin counter top with 50mm thick RCC concrete finished with 20mm thick granite | 1 | Item | 0 | 0 | 0 | 0 | 0
11 ) | Make and Erecting of 1400mm Dia: Ground water well | 1 | nos | 0 | 0 | 0 | 0 | 0
12 ) | Making and erectingthe 1800 mm soak pit tank with all neacessary | 1 | nos | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
3.8 | WATERPROOFING |  |  | 0 | 0 | 0 | 0 | 0
3.8.1 | (a) Rates shall include for: dressing around and sealing to all penetrations |  |  | 0 | 0 | 0 | 0 | 0
1) | Apply Conmix Moya Proof WS2 waterproof memberane or equivelant for , terrace including Gutter area, Head room top and toilet screed as specified. | 1 | Item | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
2) | Application of damp proof membrane Conmix Moya Shield RBE or equivalent on all underground concrete structures, Bothe side of Block work, as shown in the drawing. | 1 | Item | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 03 (CONCRETE WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
BILL No: 04
MASONRY AND PLASTERING
4.1 | GENERAL
(a) Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of
floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding
frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good
(b) Rates shall include for providing approved quality mesh at joints between structaral members and masonry in the exterior walls.
(c) 150mm Thick solid blocks shall be used for exterior masonry walls, & 100 thick solid blocks shall be used for interior masonry wall
(d) All blocks shall be fabricated from manufactured sand and machine pressed and average compression strength for blocks should not be less than 2.8N/mm2 and shall comply with physical requirements of ISO 6073:1981.
(e) For masonry, plastering and screeding works manufactured sand shall be used.
4.1.1 | BLOCK WORK
1) | BELOW GROUND FLOOR
| 150 mm wide Solid block wall (external walls) | 106.27 | m2 | 0 | 0 | 0 | 0 | 0
4.1.2 | GROUND FLOOR |  |  | 0 | 0 | 0 | 0 | 0
1) | 150 mm wide Solid block wall (external walls) | 220.79 | m2 | 0 | 0 | 0 | 0 | 0
2) | 100 mm wide Solid block wall, laid on and including mortar (internal walls) | 411.33 | m2 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
4.1.3 | FIRST FLOOR |  |  | 0 | 0 | 0 | 0 | 0
1) | 150 mm wide Solid block wall (external walls) 1mtr height for parapet wall around outer wall & Courtyard wall and 2.1 Mtr height for Lift, Stair void | 126.37 | m2 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
4.2 | PLASTERING |  |  | 0 | 0 | 0 | 0 | 0
4.2.1 | PLATERING - EXTERNAL |  |  | 0 | 0 | 0 | 0 | 0
| a) 25mm cement plastering on external walls and concrete surfaces with 1:4 Cement mortar mix as specified incl. wire mesh at joints of concrete surfaces and walls (first, second coats). |  |  | 0 | 0 | 0 | 0 | 0
1) | Below Ground Level | 212.54 | m² | 0 | 0 | 0 | 0 | 0
2) | Ground Floor | 269.79 | m² | 0 | 0 | 0 | 0 | 0
3) | First Floor | 244.3 | m² | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
4.2.2 | PLASTERING - INTERNAL |  |  | 0 | 0 | 0 | 0 | 0
| a) 15mm cement plastering on internal walls and concrete surfaces with 1:4 Cement mortar mix as specified incl. wire mesh at joints of concrete surfaces and walls (one coat). |  |  | 0 | 0 | 0 | 0 | 0
1) | Ground Floor | 1183.58 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 46.19 | m² | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
4.2.3 | CEMENT SCREED |  |  | 0 | 0 | 0 | 0 | 0
A | 50 mm thick Cement screed on top of slabs for General Areas. |  |  | 0 | 0 | 0 | 0 | 0
1) | Ground Floor | 499.92 | m² | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
B | 35 mm thick Cement screed on top of slabs including Screed to slope to drains in toilets. |  |  | 0 | 0 | 0 | 0 | 0
1) | Ground Floor | 42.77 | m² | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
C | 25mm thick Cement screed stairs including passage |  |  | 0 | 0 | 0 | 0 | 0
1) | Ground - First Floor | 17.88 | m² | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
D | 75 mm thick Cement screed on top of slabs including Screed to slope to drains, the price need to include the making 12mm grooves as construction joints and it should be filled with sealant and application of elastromatric waterproofing coating as Conmix Moyashield Uflex or Equivalant |  |  | 0 | 0 | 0 | 0 | 0
1) | Open Terrace | 547.5 | m² | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 04 (MASONRY & PLASTERING WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
BILL No: 05
CEILING WORKS
5.1 | GENERAL
(a) Rates shall include for: all labour in framing, notching and fitting around projections, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
5.1.1 | CEILING
A | Supply & Fixing the 600mm x 600 mm boral exposed Grid Ceiling System supported by the al 6mm thread bar with alumimium angles in proper level etc., for General area and Toilets
1) | Ground Floor | 542.68 | m² | 0 | 0 | 0 | 0 | 0
B | Supply & Fixing the Cement board Ceiling for the Head room and Court yard area for temprary closing supprted 50mm x 50mm timber grid in 600mm c/c with wall and ceiling etc.,
1) | First Floor | 23.44 | m² | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 05 (CEILING WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
BILL N0: 6
FINISHES
6.1 | GENERAL
(a) Rates shall include for: motar, fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing.
(b) All tiles used be of Whitehorse brand or similar as given in Technical Specifications
(c) Contractor shall submit samples of all tiles for approval of Consultant prior to procurement
(d) Where there may be any descripancies between the drawings and bill of quantities, details given in the drawings shall precede.
(e) All items are for supply and complete installation
(f) All tiles shall be fixed using a proper tiling adhesive approved by the Consultant.
6.2 | FLOOR FINISHES
6.2.1 | 600mm x 600 mm Semi Skid Ceramic Floor Tiles
1) | Ground Floor | 531.18 | m² | 0 | 0 | 0 | 0 | 0
6.2.2 | 300 x 300 mm Non-skid Ceramic floor tiles for Toilets, Laundry, Balconies & Ground floor Main entrance with ramp etc.,
1) | Ground Floor | 42.78 | m² | 0 | 0 | 0 | 0 | 0
6.2.3 | 300mm x 600 mm Ceramic Non Skid Step Tiles with anti slip nosing
1) | Ground - First Floor | 19.9 | m² | 0 | 0 | 0 | 0 | 0
6.3 | WALL FINISHES
6.3.1 | 200mm x 300mm Ceramic wall tiles with waterproof adhesive up to 2100mm height
1) | Ground Floor | 156.84 | m² | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 06 (TILING WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
BILL N0: 7
PAINTING
7.1 | PAINTING
(a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door window furniture
(b) All painting work shall be carried in accordance with the Specifications
(c) The brand of paint used shall be SKK /Nippon?Sigma or Sigma for exterior walls
(d) All exterior surfaces shall have textured paint finish and interior surfaces shall have emulsion paint finish after application of 2 coats of putty.
(d) The colour and type of paint will be selected by the architect/client.
7.1.1 | WALLS
A | External painting 1 coat of wall sealer, 1 coat tex compound & 2 coats of oil base Weather proof paints
1) | Ground Floor including Boundary Wall | 269.79 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 244.3 | m² | 0 | 0 | 0 | 0 | 0
B | Anti Bacterial & Easy wash Internal Painting 1 coat of wall sealer & 2 coats of paints
1) | Ground Floor | 1171.082 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 48.4995 | m² | 0 | 0 | 0 | 0 | 0
7.1.2. | Ceilings
A | Emulsion paint putty finish on concrete slab and beams, plywood / cement fibre board of all internal surfaces.
1 coat of primer & 2 coats of paints
Emulsion putty paint finish
1) | Ground Floor | 596.948 | m² | 0 | 0 | 0 | 0 | 0
2) | First Floor | 23.44 | m² | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 07 (PAINTING WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 08
DOORS AND WINDOWS
8.1 | General
a) Rates shall include for: locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
b) All Aluminum windows shall be white powder coated aluminium.and 5mm thick Dark gray tinted and 5mm frosted glass for W3 and W4
c) All timber doors shall be solid timber paneled door with varnish finish.
8.2 | Aluminum Doors & windows
1) | Alumimium Door - D1 - 1950mm x 2400 mm | 1 | nos | 0 | 0 | 0 | 0 | 0
2) | Alumimium Door - D1A - 1700mm x 2400 mm | 3 | nos | 0 | 0 | 0 | 0 | 0
3) | Alumimium Window - W1 - 5650mm x 1400 mm | 1 | nos | 0 | 0 | 0 | 0 | 0
4) | Alumimium window - W2 - 3500mm x 1400 mm | 1 | nos | 0 | 0 | 0 | 0 | 0
5) | Alumimium Window - W3 - 2500mm x 1400 mm | 9 | nos | 0 | 0 | 0 | 0 | 0
6) | Alumimium window - W4 - 1500mm x 1400mm | 1 | nos | 0 | 0 | 0 | 0 | 0
7) | Alumimum window - W5 - 2500mm x 1100 mm | 1 | nos | 0 | 0 | 0 | 0 | 0
8) | Aliminium window - W6 - 1200 mm x 1100 mm | 9 | nos | 0 | 0 | 0 | 0 | 0
9) | Alumimium window - W7 - 5650 mm x 445 mm | 1 | nos | 0 | 0 | 0 | 0 | 0
10) | Alumimium Framed Fixed Glass - W8 - 500mm x 1700mm | 7 | nos | 0 | 0 | 0 | 0 | 0
11) | Alumimium framed fixed Glass Panel - W9 - 2400mm x 3500mm | 1 | nos | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
8.3 | Timber Door units |  |  | 0 | 0 | 0 | 0 | 0
1) | Timber Door - D2 - 1000mm x 2150 mm | 13 | nos | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 08 (DOORS & WINDOWS WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 09
METAL WORKS
9.1 | General
a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts incl. those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
b) Rates shall include for fabrication and erection and temporary supports and fixing into position.
9.2 | Staircase Hand railing
A | 50mm dia (1 no) top member, 35mm dia vertically and 25mm dia horizontally 2 nos etc, including bolts, washers and fixing to reinforced concrete as shown in the drawing.
1 ) | Ground - First Floor | 6.11 | Rmtr | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 09 (METAL WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 10
HYDRAULICS & DRAINAGE
10.1 | General
a) Rates shall include for: sockets, running joints, connections, elbows, junctions, reducers, expansion joints; backnuts and similar; incidental fittings, clips, saddles, brackets, straps, hanges, screws, nails and fixing complete, including cutting and forming holes; excavating, laying pipes and backfilling trenches.
10.2 | Rain Water Pipe works
1 ) | Allow for Rain water discharge pipe lines as shown in drawings | 1 | item | 0 | 0 | 0 | 0 | 0
10.3 | Water supply pipework
1 ) | Allow for Fresh water water connection to fixtures and others as per the given drawing | 1 | item | 0 | 0 | 0 | 0 | 0
3 ) | Ground water supply pipework for the fixtureres as per given drawing ad details | 1 | item | 0 | 0 | 0 | 0 | 0
10.4 | Sanitary Fixtures & Accessories
Sanitary Fixtures complete including brackets flush pipes, overflows, plugs and washers etc.
1 ) All toilet fittings shall be "Cotto" or equivalent - chrome plated
2 ) All toilet fixtures shall be "Watertec" or equivalent brand.
3 ) All piping shall be of UPVC
4 ) All kitchen sinks shall be of SS type with chrome plated taps.
5 ) All water pumps shall be of "Davey" brand or equivalent.
1 ) | Water closet | 6 | nos | 0 | 0 | 0 | 0 | 0
2 ) | Counter top Wash Basin | 9 | nos
3 ) | Kitchen Sink | 1 | nos | 0 | 0 | 0 | 0 | 0
4 ) | Muslim shower | 6 | nos
5 ) | Head shower | 6 | nos | 0 | 0 | 0 | 0 | 0
6 ) | Floor drain | 6 | nos
7 ) | Towel Bar | 6 | nos | 0 | 0 | 0 | 0 | 0
8 ) | Floor & Wall mounted SS Holding bars | 5 | nos
9 ) | Wal mounted SS holding bars | 5 | nos | 0 | 0 | 0 | 0 | 0
10 ) | Paper Holder | 6 | nos
11 ) | Soap Holder | 6 | nos | 0 | 0 | 0 | 0 | 0
12 ) | Brush Holder | 6 | nos
13 ) | Mirror | 6 | nos | 0 | 0 | 0 | 0 | 0
10.5 | Pumping System |  |  | 0 | 0 | 0 | 0 | 0
Supply and installation of water pump complete including connecting valves and other fittings to pipework and electricity as per requirements.
1 ) | Ground water pump | 1 | nos | 0 | 0 | 0 | 0 | 0
10.6 | Drainage |  |  | 0 | 0 | 0 | 0 | 0
Discharge pipework
1 ) | All pipework connection from fixtures and upto the inspection chamber and connecting to the Proposed soak pit | 1 | item | 0 | 0 | 0 | 0 | 0
2 ) | Constructing Inspection Chamber of required size with all provisions to connect pipelines as per drawing. | 1 | item
TOTAL OF BILL NO. 10 (HYDRAULICS AND DRAINAGE) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 11
ELECTRICAL INSTALLATIONS
11.1 | General
a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
b) Rate shall include for electrical conduits, fittings, equipment and similar all fixings
c) Each light / light fixture and its switches shall measure as one one point: similarly each sockets or each fans shall measured as one point.
d) Rate shall include for supply and complete installation of all floors.
11.2 | Main Connection
| Allow for three phase main connection from STELCO board to Panel board | 1 | item | 0 | 0 | 0 | 0 | 0
11.3 | Electrical boards |  |  | 0 | 0 | 0 | 0 | 0
| Complete installation incl. for all connection earthing, painting, testing and similar of; |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Main panel board | 1 | nos | 0 | 0 | 0 | 0 | 0
2 ) | Main Distribution boards | 2 | nos | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
11.4 | Electrical wiring |  |  | 0 | 0 | 0 | 0 | 0
| Electrical wiring with copper conductor cable in conduits in walls and slab as specified to; |  |  | 0 | 0 | 0 | 0 | 0
1 ) | 1.5mm2 Wiring to light fixtures and its switches | 95 | points | 0 | 0 | 0 | 0 | 0
2 ) | 2.5mm2 Wiring to Fans and Dimmer switches | 83 | points | 0 | 0 | 0 | 0 | 0
3 ) | Cabling to Main Distribution boards | 2 | points | 0 | 0 | 0 | 0 | 0
4 ) | Cabling to Telephone sockets | 7 | points | 0 | 0 | 0 | 0 | 0
5 ) | Cabling to Network sockets | 10 | points | 0 | 0 | 0 | 0 | 0
6 ) | Cabling to Television sockets | 4 | points | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
11.5 | Ceiling Fans |  |  | 0 | 0 | 0 | 0 | 0
1 ) | Ceiling Fan - 1500mm dia | 24 | nos | 0 | 0 | 0 | 0 | 0
2 ) | A.C.Unit | 5 | nos | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
11.6 | Lighting |  |  | 0 | 0 | 0 | 0 | 0
1 ) | 1X26W Compact Fluorescent Lamps in Surface mount decorative luminarie Diffuser | 44 | nos | 0 | 0 | 0 | 0 | 0
2 ) | 1X26W Compact Fluorescent Lamps in wall mount luminarie | 12 | nos | 0 | 0 | 0 | 0 | 0
3 ) | 1X60W Incandescent Lamps in Recessed decorative luminaire | 37 | nos | 0 | 0 | 0 | 0 | 0
3 ) | 1X60W Incandescent Lamp in Surface mount Weatherproof Luminarie | 2 | nos | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
11.7 | Socket outlets |  |  | 0 | 0 | 0 | 0 | 0
| All sockets shall be "Clipsal" / " ABB" or equivalent |  |  | 0 | 0 | 0 | 0 | 0
1 ) | 1x13A Socket Outlet | 9 | nos | 0 | 0 | 0 | 0 | 0
2 ) | 1x13A Socket Outlet -WP | 6 | nos | 0 | 0 | 0 | 0 | 0
3 ) | 2x13A Socket Outlet | 39 | nos | 0 | 0 | 0 | 0 | 0
4 ) | 1x15A Socket Outlet (Ceiling level) | 5 | nos | 0 | 0 | 0 | 0 | 0
5 ) | Plain Telephone Socket | 7 | nos | 0 | 0 | 0 | 0 | 0
6 ) | Computer Network Outlet | 10 | nos | 0 | 0 | 0 | 0 | 0
7 ) | TV Point | 4 | nos | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
11.8 | Light Switches |  |  | 0 | 0 | 0 | 0 | 0
| All switches shall be "Clipsal"/ "ABB" or equivalent |  |  | 0 | 0 | 0 | 0 | 0
1 ) | 1Gang 1 Way Switch | 17 | nos | 0 | 0 | 0 | 0 | 0
2 ) | 2Gang 1 Way Switch | 12 | nos | 0 | 0 | 0 | 0 | 0
3 ) | 3 Gang 1 Way Switch | 11 | nos | 0 | 0 | 0 | 0 | 0
4 ) | 4 Gang 1 Way Switch | 5 | nos | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 11 (ELECTRICAL INSTALLATIONS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 12
FIRE FIGHTING SYSTEM
12.1 | Supply & Fixing of Mitushubusi or equivalent passenger elevator (Machine room less )for 6 pax with G+6 with complete errection, service with all necessery items etc.,
1 ) | Fire Blanket | 3 | nos | 0 | 0 | 0 | 0 | 0
2 ) | Break Glass panel | 1 | nos | 0 | 0 | 0 | 0 | 0
3 ) | Smoke detector | 14 | nos | 0 | 0 | 0 | 0 | 0
4 ) | Fire Alarm Panel | 1 | nos | 0 | 0 | 0 | 0 | 0
5 ) | Portable Extinguisher - H2o | 2 | nos | 0 | 0 | 0 | 0 | 0
6 ) | Portable Extinguisher - Co2 | 2 | nos | 0 | 0 | 0 | 0 | 0
7 ) | Junction Box | 1 | nos | 0 | 0 | 0 | 0 | 0
8 ) | Conventional Fire Alam panel | 1 | nos | 0 | 0 | 0 | 0 | 0
9 ) | Exist Sign light | 7 | nos | 0 | 0 | 0 | 0 | 0
10) | Wiring works for the Smoke detectors | 1 | item | 0 | 0 | 0 | 0 | 0
TOTAL OF BILL NO. 12 (FIRE FIGHTING SYSTEM) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
#VALUE!