## 03 Material List
#REF!
03 MATERIAL LIST
Male', Republic of Maldives
BILL OF QUANTITIES
ITEM | DESCRIPTION | QTY | UNIT | MATERIAL RATE | AMOUNT
BILL NO. 01 - SEWERAGE NETWORK
1.1.00 | Sewer Main Pipes
1.1.01 | 160mm dia, uPVC Pipe (SN4, SDR41) Rubber ring type . (5.8m in length) |  | Nos
1.1.02 | 110mm dia, uPVC Pipe (SN4, SDR41) Rubber ring type .(5.8m in length) |  | Nos
1.1.03 | Marker tape 150mm wide (250m roll) |  | Nos
1.2.00 | Pressure Mains and Outfall
1.2.01 | 110 Diameter HDPE Pipe (PE100, PN16, SDR11) (5.8m in length) |  | Nos
1.2.02 | 160 Diameter HDPE Pipe (PE100, PN16, SDR11) (5.8m in length) |  | Nos
1.2.03 | 110 Diameter HDPE 45 degree bend (PE100, PN16, SDR11) |  | Nos
1.2.04 | 110 Diameter HDPE tee juction (PE100, PN16, SDR11) |  | Nos
1.2.05 | 160 Diameter HDPE 45 degree bend (PE100, PN16, SDR11) |  | Nos
1.2.06 | 160 Diameter HDPE tee juction (PE100, PN16, SDR11) |  | Nos
1.2.07 | 160 Diameter HDPE tee juction (PE100, PN16, SDR11) |  | Nos
1.2.08 | 110/160 Diameter HDPE reducer (PE100, PN16, SDR11) |  | Nos
1.2.09 | 110/125 Diameter HDPE reducer (PE100, PN16, SDR11) |  | Nos
1.2.10 | 125/160 Diameter HDPE reducer (PE100, PN16, SDR11) |  | Nos
1.2.11 | 110 Diameter DI Non-Return Valve (PN16) |  | Nos
1.2.12 | 110 Diameter DI Gate Valve (PN16) |  | Nos
1.2.13 | 25mm Diameter SS 316 anchor j-bolt (500mm length) |  | Nos
1.2.14 | 25mm Diameter SS 316 nut |  | Nos
1.2.15 | 25mm Diameter SS 316 washer |  | Nos
1.3.00 | Maintenance shaft
1.3.01 | 600 Diameter DI Cover top With Rubber Seal and Frame set in concrete surround |  | Nos
1.3.02 | 600 Diameter PE/PP Corrugated Shaft (4m in length) |  | Nos
1.3.03 | Multi profile maintenance shaft base from PE/PP to suit DN150 uPVC Sewer Main |  | Nos
1.3.04 | Socket plug 160mm diameter for maintanance shaft |  | Nos
1.3.05 | In-situ insert connector 160mm diameter for maintanance shaft |  | Nos
1.3.06 | End cap 160mm diameter |  | Nos
1.4.00 | House inspection Chamber
1.4.01 | 315 UpvC inspection chamber with cover,shaft and Base |  | Nos
1.4.02 | 110/160 uPVC Y-Junction with rubber seal-Pushfit type |  | Nos
1.4.03 | 110/110 uPVC 45 degree bend with rubber seal-Pushfit type |  | Nos
1.5.00 | Cleanouts
1.5.01 | 230 Daimeter DI cover with rubber seal and frameset in concrete surround |  | Nos
1.5.02 | 160 Diameter Coupler with Screw end Cap |  | Nos
1.5.03 | 160 Diameter 45 degreee bend Push fit type |  | Nos
1.5.04 | 160 Diameter uPVC Y Junction Push fit type |  | Nos
1.5.05 | 160 Diameter uPVC end cap Push fit type |  | Nos
1.6.00 | Vent Stack
1.6.01 | Teppered Vent pipe 250-150mm (6-8mm thick, 9m length) |  | Nos
1.6.02 | Vent cowl with carbon filter |  | Nos
1.6.00 | TOTAL OF BILL №: 01
BILL NO. 02 - PUMP STATIONS
2.1.00 | Pumps
2.1.01 | Submersible Pumps 4.8kW (Pump Station 01) - Pump Capacity, Qdp=8.4 l/s, Head=16m each |  | Nos.
2.1.02 | Submersible Pumps 4.8kW (Pump Station 02) - Pump Capacity, Qdp= 7.5 l/s, Head=17.9m each |  | Nos.
2.1.03 | Internal Coating Epoxy paint |  | ltrs
2.1.04 | External Coating Bitumen paint |  | ltrs
2.1.05 | Guide rail 33mm diameter SS316 (4m length) |  | Nos
2.1.06 | Guide rail L-Bracket SS316 |  | Nos
2.1.07 | Guide rail 12mm SS316 bolts |  | Nos
2.1.08 | Guide rail 12mm SS316 nuts |  | Nos
2.1.09 | Guide rail 12mm washer |  | Nos
2.1.10 | Lifting Chain 8mm SS316 (4m length) |  | Nos
2.1.11 | 1000x1000 Heavy Duty Cast Iron Cover,Rubber seal and Frame set in concrete surround |  | Nos
2.2.00 | Control panel
2.2.01 | Control Panels with level indicators 1-4, pump starts, pump stops, trips, ammeters, voltmeters, selector switch, automatic/manual selector switch, emergency stop, alarm, buzzer, alarm reset, gsm/plc module, mcb, mccb, elcb, manual change over switch, bus bar, surge arresters, necessary cabling and control wiring |  | Nos
2.2.02 | Float Switch with 10m cable |  | Nos
2.2.03 | 25 mm2 4-Core armoured cable (feeder to PS) |  | m
2.2.04 | Monitoring GSM/PLC System |  | Nos
2.3.00 | Sewer jetting and Suction Machine/Vehicle ( 1500 litre tank) |  | Nos
2.4.00 | TOTAL OF BILL №: 02 - Carried Over To Summary
BILL NO. 03 - Construction Materials
3.1.00 | Concrete
3.1.01 | Cement (50kg) |  | Nos
3.1.02 | Course sand (50kg) |  | Nos
3.1.03 | Aggregate (50kg) |  | Nos
3.1.04 | Waterproofing Admixture |  | Nos
3.1.05 | Cement SRC ( 50 Kg bags) |  | Nos
3.2.00 | Formwork
3.2.01 | Plywood, 12mm thick 4ft x 8ft |  | Nos
3.2.02 | Timber hardwood, 50x35 |  | Nos
3.2.03 | Nails, 35mm dia. x 1.5" length |  | Nos
3.2.04 | Mould oil |  | Nos
3.3.00 | Reinforcement
3.3.01 | Steel deformed bars, 12mm dia x 6m |  | Nos
3.3.02 | Steel deformed bars, 10mm dia x 6m |  | Nos
3.3.03 | Steel deformed bars, 6mm dia x 6m |  | Nos
3.3.04 | Binding wire, 18 gauge |  | Nos
3.4.00 | Epoxy Coated Reinforcements
3.4.01 | 10 mm deformed bar |  | Nos
3.4.02 | 12 mm deformed bar |  | Nos
3.4.03 | 16 mm deformed bar |  | Nos
3.5.00 | Masonry and Plastering
3.5.01 | Cement solid blocks 300x150x150mm thick
3.5.02 | Fine sand
3.6.00 | Doors and Windows
3.6.01 | 1100 x 2100 D1- Aluminium Louvers Door with Aluminium Louvers Panels |  | Nos
3.6.02 | 900 x 2100 D2- Aluminium Louvers Door with Aluminium Louvers Panels |  | Nos
3.6.03 | 900 x 2100 D2a- Aluminium Louvers Door with Aluminium Louvers Panels |  | Nos
3.6.04 | 1500 x 2100 D3- Aluminium Louvers Door with Aluminium Louvers Panels |  | Nos
3.6.05 | 2400 x 1200 W1- Whith Powder Coated Aluminium Window with Reflective Double Glazed Glass Panels |  | Nos
3.6.06 | 1800 x 1200 W2- Whith Powder Coated Aluminium Window with Reflective Double Glazed Glass Panels |  | Nos
3.6.07 | 600 x 700 V1- Whith Powder Coated Aluminium Window with Frosted Glass Panels |  | Nos
3.6.08 | 1200 x 700 V1- Whith Powder Coated Aluminium Window with Frosted Glass Panels |  | Nos
3.6.09 | 1000 x 1000 Exhaust Louver |  | Nos
3.7.00 | Metal Work
3.7.01 | 50mm x 50mm G.I Box Bar Frame (Gate) |  | Nos
3.7.02 | 3 Rows Barb Wire |  | Nos
3.7.03 | upvc coated wire mesh |  | Nos
3.8.00 | Painting
3.8.01 | Anti-Corrossive paint |  | Nos
3.8.02 | Wall sealer paint |  | Nos
3.8.03 | Emulsion paint |  | Nos
3.8.04 | Putty |  | Nos
3.9.00 | Tiling
3.9.01 | 600x600mm homogenous tiles (floor) |  | Nos
3.9.02 | 300x300mm homogenous tiles (toilet) |  | Nos
3.9.03 | Sika Fix T adhesive (25kg bags) |  | Nos
3.10.00 | Roofing
3.10.01 | 38 x 50 Timber Purlins |  | Nos
3.10.02 | 50 x 150 Timber Rafter |  | Nos
3.10.03 | 75 x 200 Timber Ridge Beam |  | Nos
3.10.04 | Lysaught roofing sheet |  | Nos
3.10.05 | Ridge Capping |  | Nos
3.10.06 | End Flashing |  | Nos
3.10.07 | Lysaught Gutter |  | Nos
3.11.00 | TOTAL OF BILL №: 03 - Carried Over To Summary
BILL NO. 04- ADDITIONS AND OMMISSIONS
4.1.00 | ADDITIONS
4.1.01
4.1.02
4.1.03
4.2.00 | OMMISSIONS
4.2.01
4.2.02
4.2.03
04.3.00 | TOTAL OF BILL №: 04 - Carried Over To Summary