## Cover
BILL OF QUANTITIES
PROJECT: HITHADHOO ISLAMIC CENTER
PROPOSED TWO-STOREY BUILDING
CLIENT: MINISTRY OF ISLAMIC AFFAIRS
JANUARY 2023

## SUMM-GRAND
PROJECT: HITHADHOO ISLAMIC CENTER
CONSTRUCTION OF 02 STOREY BUILDING
GRAND SUMMARY
SL.NO | BILL NAME | AMOUNT (MRF)
1 ) | SUMMARY OF MOSQUE
2 ) | SUMMARY OF MINARET
TOTAL
GST 8%
GRAND TOTAL

## SUMM-MOSQUE
PROJECT: HITHADHOO ISLAMIC CENTER
CONSTRUCTION OF 02 STOREY BUILDING
SUMMARY OF BILLS OF QUANTITIES (MOSQUE)
SL.NO | BILL NAME |  | AMOUNT (MRF)
1 ) | Bill No: 01 | PRELIMINARIES
2 ) | Bill No: 02 | GROUND WORKS
3 ) | Bill No: 03 | CONCRETE WORKS
4 ) | Bill No: 04 | MASONRY AND PLASTERING
5 ) | Bill No: 05 | METAL WORKS
6 ) | Bill No: 06 | WOOD WORKS & ROOFINGS
7 ) | Bill No: 07 | CEILING
8 ) | Bill No: 08 | DOORS AND WINDOWS
9 ) | Bill No: 09 | FINISHES & FURNITURE
10 ) | Bill No: 10 | PAINTING
11 ) | Bill No: 11 | HYDRAULICS & DRAINAGE
12 ) | Bill No: 12 | ELECTRICAL INSTALLATIONS
13 ) | Bill No: 13 | MECHANICAL INSTALATION
14 ) | Bill No: 14 | SOLAR SYSTEM
15 ) | Bill No: 15 | LIFT
16 ) | Bill No: 16 | ADDITIONS
17 ) | Bill No: 17 | OMISSIONS
TOTAL
GST 8%
GRAND TOTAL

## BOQ-MOSQUE
BILLS OF QUANTITIES
CONSTRUCTION OF 02 STOREY BUILDING
SL.NO | DESCRIPTION | QTY | UNIT | RATE | TOTAL AMOUNT
Bill No: 01
PRELIMINARIES
GENERAL NOTES
Abbreviations
m - metre
Nos - numbers
m³ - cubic metre
m² - square metre
lm - Linear metre
kg - Kilograms
incl. - including
mm - millimetre
SS - Stainless Steel
GI - Galvanised steel
(a) The General Contractor is to provide any sum he considers necesssary in complying with the following requirements and terms. The monetary value of any item which is left unpriced shall be deemed to have been included in the rates of each item of work in the Bill of Quantities.
(b) The Contractor shall be deemed to have satisfied himself as to the correctness and sufficiency of his tender for the works and of the rates and prices stated in the priced Bill of Quantities, which rates and prices shall be inclusive of all ancillary and other works and expenditure whether separately or specifically mentioned or described in the Contract Documents or not, which are either indispensably necessary to carry out and bring completion the works described in the Contract Documents or which may continently become necessary to overcome difficulties’ before completion.
(c) Where any clause or item in these Bills of Quantities is not priced, it shall be deemed that the cost of such clause or item has been allowed elsewhere within these Bills of Quantities. No subsequent claim against such item or clause will be considered.
(d) The General Contractor is requested to check the number of pages of the Bill of Quantities and if any page is missing or duplicating or if any figure is indistinctive, he shall notify the Project Manager who will rectify the matter. No claims for loss consequent upon the General Contractor's failure to observe this Clause will be considered.
(e) Approved equivalent” shall mean material, product, component or assembly having a similar standard of quality and identical level of performance in all respect of the materials and/or product specified. The contractor shall ensure such instruction adhered when submitting the sample for approval. Any sub standard materials and performance will be subjected to a cost reduction by Engineer.
(f) Wherever the term "Provisional Sum" occur in the Main Works, the General Contractor shall provide cost on such items. The cost indicated on such items will be subject to remeasurement based on the actual quantity installed. Provisional Sums may be used in whole or in part as directed in writing by the Project Manager. The balance shall be deductible from the Contract Price.
(g) All items in the Bill of Quantities shall be priced in detail not grouped together as total prices for any trades or sections.
(h) The items of work and corresponding quantities indicated in the Bill of Quantities should remain unchanged.
(i) The General Contractor shall be deemed to have taken into account all possible inclement weather when preparing his Bid and shall not be entitled to extra payment by reason of the occurrence or effect of excessive wind, typhoon or other meteorogical phenomena.
(j) The General Contractor shall be responsible for checking all drawings issued to him and if he finds discrepancies in the drawings he shall, before proceeding with the works, inform the Engineer of such discrepancies and the Engineer's ruling shall be taken as final. No claims by the Contractor for any extra costs incurred as a result of discrepancies in the Contract Drawings will be entertained if he fails to inform the Engineer of such discrepancies before proceeding with the Works.
(k) The rates and prices inserted shall be deemed to have allowed for compliance with the above stipulations and other documents forming part of the Contract. All rates and prices entered against items measured and described in the Bills of Quantities shall be for the full inclusive value of the finished work described or shown on the Drawings or stipulated in the Specifications.
1.2 | Site Management Costs
1.2.1 | Allow for all on & off site management cost including cost of site staff, temporary services such as electricity, water and telephone for the execution of the whole work, site security and safety, provide and maintain necessary documents and all management related cost. | 1 | item
1.3 | Sign Board
1 ) | Allow for sign board (1500 mm x 900 mm) Design should be approved by client. | 1 | item
1.4 | Clean - up
1 ) | Allow for clean - up of completed works and site upon completion. | 1 | item
1.5 | INSURANCE, BONDS, GUARANTEES AND WARRANTIES
1.5.1 | Insurance as stated in the general conditions (Clause 13) | 1 | item
1.6 | AS-BUILT
1.6.1 | The contractor shall provide all "As-built" drawings and operation and maintenance manuals, which shall include 1-set hard copy orginal & soft copy for Architectural/Civil (with complete products specs, origin,supplier name & details) and 1 set hard copy original | 1 | item
As built drawing as stated in Particular Conditions 55.1
1.7 | TEMPORARY FENCING & HOARDING
1.7.1 | Supply, erect & maintenance of a fence through out the construction period & hoarding all along the perimeter of the site. Hoarding shall be according to Regulation (2019/R-156) Hoarding guideline under section 12. | 1 | item
TOTAL OF BILL NO. 01 (PRELIMINARIES)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 02
GROUND WORKS
2.1 | GENERAL
(a) Rates shall include for: levelling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and disposing surplus soil. Cost to include supply of material , labour , tools, & equipment, scaffolding, consumables (nails, screws, bolts, nuts,washer,etc.), technical supervision and all other incidentals necessary to complete the work all in accordance with plans & specification.
(b) Rates for demolishing existing structure shall include; breaking up and pulling down of structures and its associated substructure, and removing all incidental debris, cleaning and stacking materials required for making good, casing, covering up and protecting works to be retained or left intact, carrying out the works in sequence or phases; including piecemeal works.
(c) Rates for setting aside for re-use shall include cleaning, stacking, protecting and dispatching from, and the subsequent returning to site as required.
(d) Rates for cutting out existing structures shall include; using chisels, sledge hammers, pneumatic tools, flame cutters, diamond cores and other equipments/processes of various descriptions in cutting openings, quoining up jambs, forming recessed reveals, toothing and bonding, preparing thresholds and cut edges, providing necessary safety and security measures, installing temporary supports as required, cleaning and stacking materials required for making good, removing all debris from site.
(e) Site clearing is measured area on plan
(f) Rates for site clearance shall include:
i. clearing all general vegetation, tall grass, creepers, shrubs, bushes and small trees.
ii. clearing all rubbish, debris and unwanted materials.
iii. removal of existing soil piles
(g) Unless otherwise described in the Bills of Quantities, excavation shall be deemed to commence at existing ground level.
(h) Rates for filling/backfilling shall include;
i. spreading, leveling and compacting
ii. decrease in bulk volume
(i) Ground needs to be compacted to the density required by the Engineer
(j) Excavation of sand bed in foundation trenches, Columns pits etc. At a given depth from existing natural ground level and stacking the excavated material within the site or adjacent plots including dressing of bottom, sides strutting, timbering, shoring, trimming of sides dewatering, all leads, and lifts, incidentals, etc. complete with the ramming of the bottom, surface preparation as per specifications to receive the PCC. Excavation shall be payable only for vertical cut up to the outer edge of foundation lean concrete as indicated in drawings for all depths. Cost of extra excavation required for working space, supporting side shuttering of foundations and retaining walls and that required for making slopes for the stability of excavation shall be deemed to be included in the rate quoted. (Note: The Line & levels in the drawings shall be strictly followed and over-excavation if any shall be made good by the contractor free of cost.) Organize the space for stacking of excavated earth for using the same in backfilling will be the responsibility of the contractor only.
2.2 | SITE CLEARING
| Clearing site including trees less than 0.8m girth complete with stumps and roots. All debris should be transported off site and dumped at a location as per Engineer's instructions. | 1 | item
2.3 | EXCAVATION
Note: Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork/shuttering and dewatering the trenches for the required days.
2.3.1 | Excavation for foundation pads & beams | 675.96 | m³
2.4 | BACK FILLING
(a) Rates shall include for: levelling, grading, trimming, compacting and similar.
(b) Ground need to be compacted to the required density by the consultant.
1 ) | Earth Filling as per drawings | 2020 | m²
2 ) | 50 mm thick sand blinding layer to receive damp proof membrane | 2020 | m²
Earth filling in ground floor (375mm above ground level)
2.5 | DAMP PROOF MEMBRANE
(a) Rates shall include for: dressing around and sealing to all penetrations, laps and turnups
1 ) | Supplying and laying of Polythene damp proof membrane (1000 guage) laid on blinding area.The membrane is loosely-laid on the compacted surface before casting of the RCC slab and having uniform surface including necessary removal of membrane release liner while applying, necessary overlaps between the membranes and fixing overlaps by PrePrufe tape, firm rolling onto the surface to get a tight seal, etc. complete all as per manufacturer’s recommendations, etc. | 2472 | m²
2.6 | DEWATERING
| This item shall include for all the piping, pumps, etc. Water needs to be pumped to an assigned area as per local regulation. | 1 | Item
TOTAL OF BILL NO. 02 (GROUND WORKS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 03
CONCRETE WORKS
3.1 | GENERAL
(a) Concrete is measured net without deduction for the volume of reinforcement.
(b) All concrete admixtures shall be administered in accordance with manufacturer's recommendations.
(c) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:3:6 by volume
(d) Rates for concrete shall include;
1) mixing, depositing, hoisting or pumping and placing in position
2) Compacting by suitable means
3) Packing and tampering around reinforcement including mechanical vibration
4) Curing and protection
5) Removing or cutting rebates, grooves, chases, mortises and the like, including making good after removal of formwork and casting in all required items
6) All formworks, reinforcements as described in FORMWORK (3.2) & REINFORCEMENT (3.3).
7) Additional concrete required to place the formwork and to conform to structural and excavated tolerances.
(e) All concrete test according to the engineers instructions. Test for estimation on strength of concrete in structure, compressive strength test shall be conducted for prepared test pieces (150 x 150mm Test Cubes) on the 07th day (3nos cubes) and 28th day (03nos cubes). Strength test shall be conducted for Foundation works, Columns, Slabs and Slab beams according to British Standards.
(f) Rates shall be inclusive for any additional concrete required to place the formwork.
3.2 | FORMWORK
(a) | Approved film coated 12mm plywood or 3mm thick steel plate shuttering and centering for structural concrete work in locations called for including strutting, propping, bracing, bolting, wedging, casing, striking, removal etc. complete for any size, section, thickness. Props shall consist of well designed steel pipes adequately braced (wooden ballies as props shall not be permitted).
(b) | Rates shall include formwork shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes and removal of formwork.
(c) | Allow for forming grooves, drip course, chamfers, cut-outs, openings etc. where called for and for dressing with approved shuttering oil to prevent adhesion. The finished surface should be smooth and as per direction as well as to the Engineer's approval. Rate shall include all cost for shuttering and deshuttering as well.
3.3 | REINFORCEMENT
Main reinforcement steel shall be high tensile steel hot rolled deformed bars complying with BS 4449, Characteristic strength not less than 460N/mm2
Stirrups shall be hot rolled mildsteel round bars complying with BS 4449, Characteristic strength not less than 250N/mm2
Rates shall include for; distribution steel, cleaning, fabrication, placing, the provision for all necessary temporary fixings, and supports including chairs and tie wire , laps and wastage.
No allowance has been made in the weight of steel reinforcement for rolling margin, tying wires, spacers, chairs and weight of weld etc.
Rates for bar reinforcement shall include;
(1) allowance for rolling margin, weight of welds and wastage
(2) cutting to length and fabricating including bending to various bend and radii
(3) placing in position, holding and supporting
(4) providing and tying with galvanised steel wire at all intersections
(5) providing and seating of spacer blocks and chairs
(6) Providing all necessary laps, bends and anchorages including stirrup rebars, weld connections..etc
(7) cleaning by wire brushing
3.1 | LEAN CONCRETE
Note: Quantity is measured with additional 0.1m to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
| Concrete Volume for 50mm thick lean concrete to bottom of foundation pads or strip footing and beams | 22.5 | m³
3.2 | Reinforced Concrete
(a) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and chair supports, laps and wastage
(b) All reinforcing bars except 6mm dia bars shall be high strength deformed bars
(c) The exact length inclusive of laps are given. The rates shall take into account any wastage.
In-situ reinforced concrete to:
3.2.1 | Foundation
1 ) | Footings, Foundation beams, Foundation strips | 197.66 | m³
2 ) | stair starter, lift walls | 10 | m³
3 ) | Columns upto GFFL | 12.08 | m³
3.2.2 | Ground Floor
1 ) | RCC Ground Slab 100 mm thick, (Rate shall include for reinforcement and shuttering required) | 128 | m³
2 ) | Staircases | 15 | m³
3 ) | Columns | 43.48 | m³
4 ) | Attched beams and slab at 3450 mm level | 29.56 | m³
5 ) | Attched beams and slab at 4500 mm level | 289.3 | m³
3.2.3 | First Floor
1 ) | Columns | 34.36 | m³
2 ) | Attched beams and slab at level | 137 | m³
3 ) | Arches | 10 | m³
3.3 | FORMWORK
3.3.1 | Foundation
1 ) | Footings, Foundation beams, Foundation strips | 773.08 | m²
2 ) | stair starter, lift walls | 150 | m²
3 ) | Columns upto GFFL | 135.8 | m²
3.3.2 | Ground Floor
1 ) | Staircases | 80 | m²
2 ) | Columns | 488.85 | m²
3 ) | Attched beams and slab at 3450 mm level | 240.2 | m²
4 ) | Attched beams and slab at 4500 mm level | 1883.85 | m²
3.3.3 | First Floor
1 ) | Columns | 332.82 | m²
2 ) | Attched beams and slab at level | 958.05 | m²
3 ) | Arches | 198 | m²
3.4 | Reinforcement
a) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and chair supports, laps, and wastages.
3.4.1 | Foundation
1 ) | Footings, Foundation beams, Foundation strips
| 20 mm dia bars | 2964 | kgs
| 16 mm dia bars | 8027 | kgs
| 12 mm dia bars | 1344 | kgs
| 10 mm dia bars | 3739 | kgs
| 6 mm dia bars | 2149 | kgs
2 ) | stair starter, lift walls
| 12 mm dia bars | 1620 | kgs
| 10 mm dia bars | 205 | kgs
3 ) | Columns upto GFFL
| 20 mm dia bars | 2727 | kgs
| 16 mm dia bars | 847 | kgs
| 12 mm dia bars | 263 | kgs
| 10 mm dia bars | 178 | kgs
| 6 mm dia bars | 768 | kgs
3.4.2 | Ground Floor
1 ) | staircases
| 12 mm dia bars | 2486 | kgs
| 10 mm dia bars | 75 | kgs
2 ) | Columns
| 20 mm dia bars | 5454 | kgs
| 16 mm dia bars | 1694 | kgs
| 12 mm dia bars | 526 | kgs
| 10 mm dia bars | 356 | kgs
| 6 mm dia bars | 1536 | kgs
3 ) | Attched beams and slab at 3450 mm level
| 20 mm dia bars | 712 | kgs
| 16 mm dia bars | 241 | kgs
| 12 mm dia bars | 383 | kgs
| 10 mm dia bars | 2880 | kgs
| 6 mm dia bars | 215 | kgs
4 ) | Attched beams and slab at 4500 mm level
| 25 mm dia bars | 11365 | kg
| 20 mm dia bars | 312 | kg
| 16 mm dia bars | 1682 | kg
| 12 mm dia bars | 12846 | kg
| 10 mm dia bars | 17945 | kg
| 6 mm dia bars | 1388 | kg
3.4.3 | First Floor
1 ) | Columns
| 20 mm dia bars | 4980 | kgs
| 16 mm dia bars | 354 | kgs
| 12 mm dia bars | 114 | kgs
| 10 mm dia bars | 356 | kgs
| 6 mm dia bars | 924 | kgs
2 ) | Attched beams and slab at level
| 25 mm dia bars | 5020 | kgs
| 20 mm dia bars | 4070 | kgs
| 16 mm dia bars | 1728 | kgs
| 12 mm dia bars | 1234 | kgs
| 10 mm dia bars | 11550 | kgs
| 6 mm dia bars | 996 | kgs
3.5 | OTHER CONCRETE WORKS
1 ) | Lintel Beam as per the specifications and drawings | 1 | item
2 ) | Sill Beam as per the specifications and drawings | 1 | item
3 ) | Steps as shown | 1 | item
4 ) | Terrace Parapet walls including RC gutter as shown | 1 | item
5 ) | Doors / Windows concrete fins | 1 | item
6 ) | Ramps as shown | 1 | item
3.6 | WATER PROOFING
Note: Rates shall include for: dressing around and sealing to avoid all penetrations
1 | Add Water proofing admixture, CONMIX MEGA ADD WL1 or approved equivalent to below ground concrete work. | 1 | item
2 | Apply Rubberised Bitumen Paint as Water proofing , CONMIX MoyaShield SBB or approved equivalent to exposed surface of below ground Concrete and Masonry structures. | 1 | item
3 | Add Concrete Plasticizer, CONMIX MEGA FLOW P to all concrete work above ground level. | 1 | item
4 | Apply MasterSeal® 588 or approved equivalent type waterproofing material to the surface of roof slab in accordance with the specifications and manufacturer's instructions. | 1 | item
TOTAL OF BILL NO. 03 (CONCRETE WORKS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 04
MASONRY AND PLASTERING
4.1 | General
Note: Rates shall include for: a) cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good. Providing approved quality mesh at joints between structural members and masonry in the exterior and interior walls.
b) All blocks shall be fabricated from manufactured sand and machine pressed and average compression strength for blocks should not be less than 2.8N/mm2 and shall comply with physical requirements of ISO 6073:1981. Vertical and horizontal joint of blocks shall be filled completely and suitable with mortar on line shall not be moved or rearranged. Joint and surface of exposed finished block wall shall be cleaned immediately after joint is filled.
c) Supplying and laying masonry using selected quality blocks of approved class laid in cement mortar 1:5 (1 cement : 5 fine river sand) mix, joints finished, flush/ raked to 10mm depth including scaffolding, curing complete as per drawing and specifications.
4.2 | Cement block work
4.2.1 | Solid blocks, laid on and incl. 1:5 Cement Mortor, tie rods, compression gap filler, nylon / plastic mesh as specified.
All External walls
1 ) | Below Ground level (200 mm thick walls) | 180 | m²
2 ) | Ground Floor (200 mm thick walls) | 515 | m²
3 ) | Ground Floor (150 mm thick walls) | 317 | m²
4 ) | First Floor (200 mm thick walls) | 491 | m²
4.2.2 | 150mm wide solid blocks, laid on and incl. 1:5 Cement Mortor, tie rods, compression gap filler, nylon / plastic mesh as specified.
All Internal walls
1 ) | Ground Floor | 665 | m²
2 ) | First Floor | 275 | m²
4.3 | Plastering
Note: Rates shall include for; a) 20mm thick Cement plastering on Exterior surface of External masonry walls and concrete surfaces and 15mm thick plastering on interior walls and concrete surface as specified.
b) Cement plastering on external walls and concrete surfaces with 1:4 Cement mortor mix as specified incl. wire mesh at joints of concrete surfaces and walls (first,second coats).
c) River Fine Sand / M.Sand shall be used for all plastering work.
d) Rates shall include for CONMIX MegaFlow MP or approved equivalent that shall be mixed with cement mortar for external wall plastering as per manufacturers specifications.
4.3.1 | 25mm cement plastering on external walls and concrete surfaces with 1:4 Cement mortor mix as specified incl. wire mesh at joints of concrete surfaces and walls.
1 ) | Below Ground level | 205 | m²
2 ) | Ground Floor | 895 | m²
3 ) | First Floor | 539 | m²
4.3.2 | 15mm cement plastering on internal walls and concrete surfaces with 1:4 Cement mortor mix as specified incl. wire mesh at joints of concrete surfaces and walls.
1 ) | Ground Floor | 2447 | m²
2 ) | First Floor | 1029 | m²
4.4 | Cement Screed Finish
4.4.1 | 35mm thick Cement screeding on the
concrete floor with 1:4 cement mortar
mix incl. trowel finish; General Areas
1 ) | Ground Floor | 1523 | m²
2 ) | First Floor | 1625 | m²
3 ) | Terrace Floor | 525 | m²
4.5 | Boundary wall
1 ) | Boundary wall with 150 mm thick block works, with islamic lattice design embosed on both side of the wall as per the drawings (Rate shall include Foundation beam, RC columns, coping beam and islamic lattice design etc) | 410 | m²
2 ) | Plastering on both sides | 840 | m²
TOTAL OF BILL NO. 04 (MASONRY AND PLASTERING)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 05
METAL WORKS
5.1 | General
Note: (a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts including those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
(b) Rates shall include for all painting and finishing as specified in technical specifications
(c) Rates shall include for fabrication and erection and temporary supports and fixing into position
(d) The contractor shall submit the detail of the railing and get the approval from the Consultant before fixing it in position
5.2 | Roof frame
Roof Truss (RT1) with 75 X 3.2 mm thick and 68 X 3.2 mm thick GI Pipes as shown in drawings (rate shal include for all fabrication and fixings etc)
1 ) | Truss TR1 | 20 | Nos
2 ) | 50 X 150 X 3.2 mm 'C' purlin as shown in drawings | 1040 | m
5.3 | Mosque Dome
1 ) | Metallic dome as specified in the drawings for mosque (shop drawings should be submitted by the contractor for approval) | 1 | Item
5.4 | Railings
1 ) | Staircase railing as per drawings | 1 | Item
2 ) | Ramp railing as per drawings | 1 | Item
3 ) | Disabled toilet guide rail | 1 | Item
TOTAL OF BILL NO. 05 (METAL WORKS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 06
WOOD WORKS & ROOFINGS
6.1 | General
a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
b) Rate shall include for: timber priming and all painting as specified in the drawing
6.2 | Roof frame & coverings
1 ) | MSP or Equivalent Roofing | 832 | m²
2 ) | 50 mm thick heat insulation with Al. foil on both sides and wire mesh | 832 | m²
3 ) | End flashing | 121 | m
4 ) | Fascia board | 66 | m
5 ) | Down pipes | 1 | Item
6.3 | Wooden stage
1 ) | Wooden stage with 25 mm thick plywood, timber joist including timber staircase etc as shown in drawings, 6mm carpet finish (carpet to be approved by the client) etc as shown in drawings | 1 | Item
6.4 | Calligraphy boards
1 ) | Calligraphy boards mentioned in annex 1 (materials and design to be approved by the client)
TOTAL OF BILL NO. 06 (WOOD WORKS & ROOFING)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 07
CEILING
7.1 | General
a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
b) Rate shall include for: timber priming and all painting as specified in the drawing
c) Exterior ceilings consists of Aluminium framed with 6mm thick weather proof fibre cement suspended board ceiling system.
7.2 | Ceiling
1 ) | Concelead ceiling at first floor | 820 | m²
2 ) | Accoustic board ceiling with 600 X 600 mm Aluminium frame (hall) | 335 | m²
TOTAL OF BILL NO. 07 (CEILINGS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 08
DOORS AND WINDOWS
8.1 | General
a) Rates shall include for: locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
b) All Aluminium windows shall be white powder coated aluminium.
c) All timber doors shall be solid timber panneled door with varnish finish.
d) All glazing shall be 6mm green Tinted.
(Profiles to be chosen by client).
8.2 | Door Units
1 ) | Door D1a | 1 | nos
2 ) | Door D1 | 8 | nos
3 ) | Door D2 | 2 | nos
4 ) | Door D3 | 12 | nos
5 ) | Door D4 | 5 | nos
6 ) | Door D5 | 5 | nos
7 ) | Door D6 | 3 | nos
8 ) | Door D7 | 2 | nos
9 ) | Door D8 | 2 | nos
10 ) | Door D9 | 7 | nos
11 ) | Door D10 | 10 | nos
8.4 | Window Units
1 ) | Window W1 | 13 | nos
2 ) | Window W2 | 8 | nos
3 ) | Window W3 | 19 | nos
4 ) | Window W4 | 29 | nos
5 ) | Window W5 | 2 | nos
6 ) | Window W6 | 6 | nos
7 ) | Window W7 | 2 | nos
8 ) | Window W8 | 12 | nos
TOTAL OF BILL NO. 08 (DOORS AND WINDOWS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 09
FINISHES & FURNITURE
FINISHES
9.1 | General
a) Rates shall include for: fixing, bedding, grouting and pointing materials; making good around pipes, Sanitary fixtures, and similar: Cleaning down and polishing to achieve desired finish.
b) Rates shall include for all other beading works required at the corners and ends.
c) All tiles shall be ISO approved tiles or smilar as given in drawings or Techinical Specification.
d) All tiles shall be fixed using tile adhesive with proper water proofing (where ever necessary) application by using water proofing Membrane as per the manufacture guidelines and instruction.
9.2 | Ground Floor
1 ) | 1200 X 600 mm full body homogeneous tiles including 100 mm high skirting for general area | 1108 | m²
2 ) | 600 X 300 mm porcelain Non-skid tiles for toilets/ ablution areas | 125 | m²
3 ) | 600 X 300 mm porcelain glazed tiles for toilets/ ablution wall areas | 385 | m²
4 ) | 600 X 300 mm ceramic out door tiles with skirting | 38 | m²
5 ) | 300 X 300 mm Homogeneous Non-skid tiles for staircases including risers, landings, skirting etc | 510 | m²
9.3 | First Floor
1 ) | 1200 x 600 full body homogeneous tiles black & white as per the design at prayer areas | 580 | m²
2 ) | 600 x 300 full body homogeneous tiles black / white as per the design at prayer area walls | 185 | m²
3 ) | 300 X 300 mm porcelain tiles including 100 mm high skirting for general area | 131 | m²
4 ) | 300 X 300 mm porcelain out door tiles with skirting | 410 | m²
5 ) | Carpet floor finish at prayer area | 420 | m²
9.4 | Terrace Floor
1 ) | 300 X 300 mm ceramic outdoor tiles with skirting | 535 | m²
9.5 | Paving Blocks
1 ) | 65X100X200 mm paving blocks in compound area | 1698 | m²
9.6 | FURNITURES
GENERAL
(a) Rates shall include for supply & complete installation.
(b) Should be approved by the client
9.7 | Mimbaru
1 | Stand for Khuthuba with Steps (Design should be approved from the client), treated solid Mahogany wood finished with coatings of varnish (sample design in annex 3) | 1 | nos
9.8 | Mus'haf cupboard
1 | Mus'haf cupboards 2m L x 600mm H x 300mm D (design to be approved from the client) made using treated solid Mahogany wood finished with coatings of varnish (or approved equivalent) | 8 | nos
9.9 | Sound rack
1 | 12U, 1000D av rack including 2 sliding shelf and all the accessories required to mount the equipments (Should be approved from the client) | 2 | nos
9.1 | Miscellaneous
All the items should be approved from the client before procuring.
1 | Wall clock 16" (White) | 2 | nos
2 | Digital prayer time clock including istallation & electrical connection | 2 | nos
3 | Foldable prayer chair | 15 | nos
4 | Single sofa seat for Imaam room should be foam leather | 1 | nos
5 | Door Mat 3M-Coil matt or equivalent | 10 | nos
6 | Broom with Dustpan | 5 | nos
7 | Heavy Duty Hybrid Garden Water Hose 5/8 IN. X 50' | 1 | nos
8 | Microfiber Glass Cleaning Cloths16" x 16" | 25 | nos
9 | Twin pedal dustbin 20Ltr | 1 | nos
10 | Pedal Operated Wheelie Bins 120 ltr (Frontier or equivalent) | 2 | nos
11 | Outdoor litter bins 60 ltr (Frontier or equivalent) | 5 | nos
12 | Window cleaner | 10 | nos
13 | Floor wiper with handle | 10 | nos
14 | Window wiper 25cm | 10 | nos
15 | all rooms class rooms, meeting rooms, library office etc labels (150 mm x 400 mm x 6mm) acrylic plastic boards | 1 | item
TOTAL OF BILL NO. 9 (FINISHES & FURNITURE)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 10
PAINTING
10.1 | General
Note: (a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door window furniture
(b) All painting work shall be carried in accordance with the Specifications
(c) Color code and brand should be approved from the client
(d) Emulsion paint or approved equivalent putty finish on plastered and concrete surfaces, plywood / cement fibre board of all internal surfaces.
(e) Weather proof emulsion paint or approved equivalent system with textured finish on plastered and concrete surfaces of external walls.
(f) Paint finish for interior surfaces of the wall and ceilings complete including application of two coats of wall sealer, two coats of putty finish and two coats of emulsion paint finish on top for Interior painting.
10.2 | Walls
10.2.1 | External painting 1 coat of wall sealer, 1 coat tex compound & 2 coats of paints
1 ) | Ground Floor | 895 | m²
2 ) | First Floor | 539 | m²
3 ) | Parapet walls | 1 | Item
10.2.2 | Emulsion paint putty finish system on plastered and concrete surfaces of internal walls.
Internal Painting 1 coat of wall sealer & 2 coats of paints
1 ) | Ground Floor | 2447 | m²
2 ) | First Floor | 1029 | m²
10.3 | Ceilings
Emulsion paint putty finish on concrete slab and beams, plywood / cement fibre board of all internal surfaces.
1 coat of primer & 2 coats of paints
1 ) | Emulsion putty paint finish | 3473 | m²
10.4 | Boundary wall
1 ) | Boundary wall painting (textured paint finish on all exposed external walls surfaces including putty finish as per drawing (exterior surface) | 840 | m²
TOTAL OF BILL NO. 10 (PAINTING)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 11
HYDRAULICS & DRAINAGE
11.1 | General
(a) Rates shall include for sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints, backnuts and similar, incidental fittings, clips saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes, excavating, laying pipes and backfilling trenches.
(b) All pipework and fittings shall be high pressure UPVC
(c) Rate shall include for supply and fixing of all pipes
11.2 | Ground water supply pipework
| Allow for water connection to fixtures from ground water well. | 1 | item
11.3 | Fresh water supply pipework
1 ) | Allow for water connection to fixtures from future fresh water source | 1 | item
11.4 | Sanitary Fixtures & Accessories
Sanitary fixtures complete including brackets. All sanitary fittings shall be of superior quality Cotto or Approved equivalent. Taps, Hand shower, TP Hoder and Soap trays should be Stainless steel
1 ) All toilet fittings shall be "Cotto" or equivalent - chrome plated
2 ) All toilet fixtures shall be "Cotto" or equivalent brand.
3 ) All piping shall be of UPVC
4 ) All sinks shall be of SS type with SS taps.
5 ) All water pumps shall be of "Davey Jet" brand or equivalent.
1 ) | Water Closet | 15 | nos
2 ) | Wash basin | 5 | nos
3 ) | Wash basin tap | 5 | nos
4 ) | Muslim Shower | 15 | nos
5 ) | Floor waste with gully trap | 22 | nos
| Floor waste with gully trap drain 38 mm dia | 24 | nos
6 ) | Mirror with accessories | 5 | nos
7 ) | Water Taps / Faucet | 46 | nos
8 ) | Valves | 65 | nos
11.5 | Pumping System
1 | Supply and installation of appropriate capacity Water pump 'DAVEY DYNADRIVE CONSTANT PRESSURE SYSTEM' or approved equivalent, complete including pump stand, connecting to pipe work and electricity as specified, Should be approved from the client. | 1 | nos
11.6 | Drainage
(a) Rates shall include for excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints and all joints, gutters, end caps and other incidental materials.
Discharge pipework
1 ) | Complete Discharge pipe work | 1 | item
2 ) | Connection to local sewer network including all acessories | 1 | item
3 ) | Constructing Inspection Chamber of required size with all provisions to connect pipelines as per drawing. | 8 | nos
TOTAL OF BILL NO. 11 (HYDRAULICS AND DRAINAGE)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 12
ELECTRICAL INSTALLATIONS
12.1 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates for electrical conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
(d) Light end and switch end of wiring together measured as one point
(e) A point wiring for power points is measured as one point for each socket outlet; other end of wire is not included in the quantity.
(f) Rates shall include for supply and complete installation
(g) Rates shall include special electrical works, above ceiling cable trenches including fixing and complete installation.
(h) Three phase power supply
(i) All equipment shall be guaranteed for a period of 12 months from the date of commissioning or date of practical completion of the project which ever later
(j) The rates shall include for comprehensive maintenance during defects liability period of 12 months from the date of handing over
(k) Rate shall include for supply, installation, maintaining, testing and commissioning of the system for power and lighting according to drawings and specifications to working order and approval of service Utility.
(l) All materials, equipment wiring shall confirm to local codes, specifications, standards/latest I.E.E. regulations (BS 7671).
(m) All measurements to be made on site by the contractor.
(n) All building lights shall be Philips or approved equivalent and power sockets, switches dimmers shall be of brand legrand or approved equivalent.
o) Provide junction box for each separate unit of telephone and cable tv system.
12.2 | Main Connection
| Allow for three phase main connection from Utility board to Panel board from Transformer / Road DB | 1 | item
12.3 | Electrical boards
Complete installation incl. for all connection earthing, painting, testing and similar of;
1 ) | Three phase main panel board with connections from the mains including meters, cut-off fuse and other accessories to be located in the panel room at ground floor to electrical engineers specification | 1 | Item
2 ) | Distribution boards | 7 | nos
12.4 | Electrical wiring
Electrical wiring with copper conductor cable in conduits in walls and slab as specified to
1 ) | 2.5mm2 Wiring to light fixtures, fans and its switches | 565 | points
2 ) | Wiring to Socket Switches | 177 | points
3 ) | Cabling to Distribution boards | 7 | points
4 ) | Cabling to Telephone/networking sockets | 27 | points
5 ) | Fibre ODF 4 core, c/w 4 core outdoor fibre cable connection | 2 | nos
Electrical Fixtures
12.5 | Fans
1 ) | Ceiling fans "USHA" or equivalent 1200 mm dia | 82 | nos
2 ) | Fan dimmer | 82 | nos
3 ) | Exhaust fans | 3 | nos
4 ) | Manageable Network Port Switch (08 ports) 10/100/1000 ethernet, L2 managed, 802.3 Bt POE+ | 1 | nos
5 ) | Biometric Attendance System Specific brand: ZKT, for compatiblity to existing system Built in backup battery | 1 | nos
12.6 | Lighting and others
1 ) | 40 bulb main chandelier | 5 | nos
2 ) | Ceiling mount LED light | 109 | nos
3 ) | 1 X 2 ' LED tube light | 14 | nos
4 ) | 1 X 4' LED tube light | 95 | nos
5 ) | 600 X 600 mm 2 X 18watt LED tube lights | 60 | nos
6 ) | Wall mount Light | 24 | nos
7 ) | Wall mount weather proof Light | 38 | nos
8 ) | Wall mount weather proof Light (Terrace) | 22 | nos
9 ) | Floor mount up light weather proof | 12 | nos
10 ) | Emergency Light | 29 | nos
12.7 | Socket outlets
All sockets shall be "Clipsal"or equivalent
1 ) | 13 Amps Socket Switch single | 132 | nos
2 ) | 15 Amps Socket Switch | 42 | nos
3 ) | 15 Amps Socket Switch (W) | 3 | nos
4 ) | Telephone / Networking Socket | 27 | nos
5 ) | SPN isolators | 26 | nos
12.8 | Light Switches
1 ) | One Way switches | 160 | nos
12.9 | MosqueSystem
1 | Horn Loudspeaker 75W (TOA or approved equiv) | 4 | nos
2 | Speakers 30W wall fixed shall be "JBL", "Bose" or approved equivalent (White color) | 18 | nos
3 | Amplifier 360w, 100v (Line 6, or YAMAHA or approved equivalent) | 2 | nos
4 | Audio Mixer (8 Channel), phantom power shall be "YAMAHA", "Sound Craft" or approved equivalent | 1 | nos
5 | Wireless Headworn mic shall be "Sennheiser", "SHURE" or approved equivalent | 1 | nos
6 | Cable Mic shall be "Bose" or "JTS" or approved equivalent | 1 | nos
7 | Goose neck mic with shock mount shall be "SHURE" OR "Sennheiser" OR approved equivalent | 1 | nos
8 | Adjustable mic stand with round Base | 1 | nos
9 | Microphone Cable with Connection Jacks, faceplates and Extension | 1 | item
10 | 2kVA UPS | 1 | nos
12.1 | Name Board
1 | Design and Supply and complete installation of Mosque Name board including Cut Out Letters (38 mm thick) with 2 spotlight (760 mm x 3700 mm) (location mentioned in annex 2 | 1 | nos
2 | Design and Supply and complete installation of Islamic Centre name board, including back lighting and electric connection, name written in 3 languages (annex 4) | 1 | nos
12.11 | Conference Hall Sound System
| Supply & complete installation of; | 2 | nos
1 | Amplifier 360w, 100v (Line 6, or YAMAHA or approved equivalent) |  | nos
2 | Speakers 30W wall fixed shall be "JBL", "Bose" or approved equivalent (White color) | 20 | nos
3 | Goose neck mic with shock mount shall be "SHURE" OR "Sennheiser" OR approved equivalent | 2 | nos
4 | Audio Mixer (16 Channel UHF), phantom power shall be "YAMAHA", "Sound Craft" or approved equivalent | 1 | nos
5 | Microphone - 4x100 Channel UHF Wireless Microphone System (Sennheiser) handheld | 5 | nos
6 | Wall Mount speaker- White surface Mount speaker 30W JBL or equivalent | 2 | nos
7 | Audio distributor-5 Channel Input/output | 1 | nos
8 | Headworn microphone - headworn Wireless UHF microphone system ( sennheiser or equivalent ) | 2 | nos
9 | 2kVA UPS | 1 | nos
TOTAL OF BILL NO. 12 (ELECTRICAL INSTALLATIONS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 13
MECHANICAL INSTALATION
13.1 | Fire fighting system
13.1.1 | General
a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
b) Rate shall include for electrical conduits, fittings, pumps, contolr boards and other quipment and similar all fixings
c) Rate shall include for all necessary electrical wiring and accessaries required for completion of fire fighting system installation in acconrdance with the drawings, specification and NSS regulations
13.1.2 | Dry riser system and Alarm System
1 ) | Control panel for fire alram | 1 | Nos
2 ) | Manual call point for fire alram system | 1 | Nos
3 ) | Loop sounder for fire alram system | 1 | Nos
4 ) | Smoke detector for fire alarm system | 22 | Nos
5 ) | Exit sign light | 8 | Nos
6 ) | CO2 Extinguisher | 4 | Nos
7 ) | H2O Extinguisher | 4 | Nos
8 ) | Fire blanket | 1 | Nos
13.2 | MVAC
Supply of spit air conditioner unit with indoor,outdoor units, pipes and other accessories as per the engineers instruction and specifications
1 ) | Refrigerant supply | 910 | m
2 ) | Refrigerant return | 910 | m
3 ) | Condense drain pipe | 220 | m
4 ) | Outdoor unit | 42 | nos
5 ) | Indoor wallmounted split unit 12000BTU | 42 | nos
TOTAL OF BILL NO. 13 (MECHANICAL INSTALLATION)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 14
SOLAR SYSTEM
a) Rates shall include for: Design, supply and install according to operators’ demand/specifications. screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
b) Rate shall include for electrical conduits, fittings, equipment and similar all fixings
c) Rate shall include to complete the system and connect to the grid including supply and installation of net meter as per specification and approval of Consultant/ Client (Netmeter, Junction box specs, solar AC & DC cable specs, solar brackets specs, inverter specs & solar panel specs, display monitors…etc)
1 | Solar panels | 60 | nos
2 | 200KVA solar inverter | 1 | nos
3 | MPPT solar controller | 1 | nos
4 | 12V battery solar storage bank | 4 | nos
5 | Cabling & conduits | 1 | Item
TOTAL OF BILL NO. 14 (SOLAR SYSTEM)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 15
LIFT
15.1 | General
a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
b) Rate shall include for electrical conduits, fittings, equipment and similar all fixings
c) Rate shall include for all necessary electrical wiring and accessaries required for completion of lift installation.
15.2 | LIFTS
| Supply and installation of lift complete: "Mitsubushi, to lift 6 person capacity, serving all levels (2 floors) as per manufacturer's instructions. | 1 | no
TOTAL OF BILL NO. 15(LIFT)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 16
ADDITIONS
Bill No: 01
Bill No: 02
Bill No: 03
Bill No: 04
Bill No: 05
Bill No: 06
Bill No: 07
Bill No: 08
Bill No: 09
Bill No: 10
Bill No: 11
Bill No: 12
Bill No: 13
Bill No: 14
TOTAL OF BILL NO. 16 (ADDITIONS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 17
OMISSIONS
Bill No: 01
Bill No: 02
Bill No: 03
Bill No: 04
Bill No: 05
Bill No: 06
Bill No: 07
Bill No: 08
Bill No: 09
Bill No: 10
Bill No: 11
Bill No: 12
Bill No: 13
TOTAL OF BILL NO. 17(OMISSIONS)
(CARRIED OVER TO THE GENERAL SUMMARY)

## SUM- MINARET
PROJECT: HITHADHOO ISLAMIC CENTER
CONSTRUCTION OF 02 STOREY BUILDING
SUMMARY OF BILLS OF QUANTITIES (MINARET)
SL.NO | BILL NAME |  | AMOUNT (MVR)
1 | Bill No: 01 | GROUND WORKS
2 | Bill No: 02 | CONCRETE WORKS
3 | Bill No: 03 | MASONRY AND PLASTERING
4 | Bill No: 04 | METAL WORKS
5 | Bill No: 05 | DOORS AND WINDOWS
6 | Bill No: 06 | PAINTING
7 | Bill No: 07 | HYDRAULICS & DRAINAGE
8 | Bill No: 08 | ELECTRICAL INSTALLATIONS
9 | Bill No: 09 | ADDITIONS
10 | Bill No: 10 | OMISSIONS
TOTAL
GST 8%
GRAND TOTAL

## BOQ-MINARET
BILLS OF QUANTITIES
CONSTRUCTION OF MINARET
SL.NO | DESCRIPTION | QTY | UNIT | RATE | TOTAL AMOUNT
Bill No: 01
GROUND WORKS
2.1 | GENERAL
(a) Rates shall include for: levelling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and disposing surplus soil. Cost to include supply of material , labour , tools, & equipment, scaffolding, consumables (nails, screws, bolts, nuts,washer,etc.), technical supervision and all other incidentals necessary to complete the work all in accordance with plans & specification.
(b) Rates for demolishing existing structure shall include; breaking up and pulling down of structures and its associated substructure, and removing all incidental debris, cleaning and stacking materials required for making good, casing, covering up and protecting works to be retained or left intact, carrying out the works in sequence or phases; including piecemeal works.
(c) Rates for setting aside for re-use shall include cleaning, stacking, protecting and dispatching from, and the subsequent returning to site as required.
(d) Rates for cutting out existing structures shall include; using chisels, sledge hammers, pneumatic tools, flame cutters, diamond cores and other equipments/processes of various descriptions in cutting openings, quoining up jambs, forming recessed reveals, toothing and bonding, preparing thresholds and cut edges, providing necessary safety and security measures, installing temporary supports as required, cleaning and stacking materials required for making good, removing all debris from site.
(e) Site clearing is measured area on plan
(f) Rates for site clearance shall include:
i. clearing all general vegetation, tall grass, creepers, shrubs, bushes and small trees.
ii. clearing all rubbish, debris and unwanted materials.
iii. removal of existing soil piles
(g) Unless otherwise described in the Bills of Quantities, excavation shall be deemed to commence at existing ground level.
(h) Rates for filling/backfilling shall include;
i. spreading, leveling and compacting
ii. decrease in bulk volume
(i) Ground needs to be compacted to the density required by the Engineer
(j) Excavation of sand bed in foundation trenches, Columns pits etc. At a given depth from existing natural ground level and stacking the excavated material within the site or adjacent plots including dressing of bottom, sides strutting, timbering, shoring, trimming of sides dewatering, all leads, and lifts, incidentals, etc. complete with the ramming of the bottom, surface preparation as per specifications to receive the PCC. Excavation shall be payable only for vertical cut up to the outer edge of foundation lean concrete as indicated in drawings for all depths. Cost of extra excavation required for working space, supporting side shuttering of foundations and retaining walls and that required for making slopes for the stability of excavation shall be deemed to be included in the rate quoted. (Note: The Line & levels in the drawings shall be strictly followed and over-excavation if any shall be made good by the contractor free of cost.) Organize the space for stacking of excavated earth for using the same in backfilling will be the responsibility of the contractor only.
2.3 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formworks
1 ) | Excavation for Foundation beams | 75 | m³
2.4 | BACK FILLING
(a) Rates shall include for: levelling, grading, trimming, compacting and similar.
(b) Ground need to be compacted to the required density by the consultant.
1 ) | Earth Filling as per drawings | 25 | m²
2 ) | 50 mm thick sand blinding layer to receive damp proof membrane | 25 | m²
2.5 | DAMP PROOF MEMBRANE
(a) Rates shall include for: dressing around and sealing to all penetrations, laps and turnups
1 ) | Supplying and laying of Polythene damp proof membrane (1000 guage) laid on blinding area.The membrane is loosely-laid on the compacted surface before casting of the RCC slab and having uniform surface including necessary removal of membrane release liner while applying, necessary overlaps between the membranes and fixing overlaps by PrePrufe tape, firm rolling onto the surface to get a tight seal, etc. complete all as per manufacturer’s recommendations, etc. | 1 | Item
2.6 | DEWATERING
| This item shall include for all the piping, pumps, etc. Water needs to be pumped to an assigned area as per local regulation. | 1 | Item
TOTAL OF BILL NO. 01 (GROUND WORKS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 02
CONCRETE WORKS
General
(a) Concrete is measured net without deduction for the volume of reinforcement.
(b) All concrete admixtures shall be administered in accordance with manufacturer's recommendations.
(c) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:3:6 by volume
(d) Rates for concrete shall include;
(1) mixing, depositing, hoisting or pumping and placing in position
(2) Compacting by suitable means
(3) Packing and tampering around reinforcement including mechanical vibration
(4) Curing and protection
(5) Removing or cutting rebates, grooves, chases, mortises and the like, including making good after removal of formwork and casting in all required items
(6) All formworks, reinforcements as described in FORMWORK (3.2) & REINFORCEMENT (3.3).
(7) Additional concrete required to place the formwork and to conform to structural and excavated tolerances.
(e) All concrete test according to the engineers instructions. Test for estimation on strength of concrete in structure, compressive strength test shall be conducted for prepared test pieces (150 x 150mm Test Cubes) on the 07th day (3nos cubes) and 28th day (03nos cubes). Strength test shall be conducted for Foundation works, Columns, Slabs and Slab beams according to British Standards.
(f) Rates shall be inclusive for any additional concrete required to place the formwork.
FORMWORK
Approved film coated 12mm plywood or 3mm thick steel plate shuttering and centering for structural concrete work in locations called for including strutting, propping, bracing, bolting, wedging, casing, striking, removal etc. complete for any size, section, thickness. Props shall consist of well designed steel pipes adequately braced (wooden ballies as props shall not be permitted).
Rates shall include formwork shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes and removal of formwork.
Allow for forming grooves, drip course, chamfers, cut-outs, openings etc. where called for and for dressing with approved shuttering oil to prevent adhesion. The finished surface should be smooth and as per direction as well as to the Engineer's approval. Rate shall include all cost for shuttering and deshuttering as well.
REINFORCEMENT
Main reinforcement steel shall be high tensile steel hot rolled deformed bars complying with BS 4449, Characteristic strength not less than 460N/mm2
Stirrups shall be hot rolled mildsteel round bars complying with BS 4449, Characteristic strength not less than 250N/mm2
Rates shall include for; distribution steel, cleaning, fabrication, placing, the provision for all necessary temporary fixings, and supports including chairs and tie wire , laps and wastage.
No allowance has been made in the weight of steel reinforcement for rolling margin, tying wires, spacers, chairs and weight of weld etc.
Rates for bar reinforcement shall include;
(1) allowance for rolling margin, weight of welds and wastage
(2) cutting to length and fabricating including bending to various bend and radii
(3) placing in position, holding and supporting
(4) providing and tying with galvanised steel wire at all intersections
(5) providing and seating of spacer blocks and chairs
(6) Providing all necessary laps, bends and anchorages including stirrup rebars, weld connections..etc
(7) cleaning by wire brushing
3.1 | Lean Concrete
Note: Quantity is measured with additional 0.1m to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
1 ) | 50mm thick lean concrete under the foundation footing with a mix of 1:2:6 | 25 | m²
3.2 | Reinforced Concrete
In-situ reinforced concrete to:
*Add water proofing compound / admixture to concrete mix for walls GL and Roof Slabs
3.2.1 | Foundation
1 ) | Foundation pad 5000 X 5000 X 2500 mm | 62.5 | m³
2 ) | RC walls 150 mm thick upto pavement level | 0.07 | m³
3.2.2 | Above Ground Level
1 ) | RCC Ground Slab 100 mm thick, (Rate shall include for reinforcement and shuttering required as per the drawings) | 0.38 | m³
2 ) | RC walls 150 mm thick upto landing -01 | 9.4 | m³
3 ) | RC walls 150 mm thick landing 01-02 | 7.2 | m³
4 ) | RC walls 150 mm thick landing 02-03 | 3.2 | m³
5 ) | RC walls 150 mm thick landing above 03 | 1.3 | m³
3.3 | Formwork
3.3.1 | Foundation
1 ) | Foundation pad 5000 X 5000 X 2500 mm | 50 | m²
2 ) | RC walls 150 mm thick upto pavement level | 13.82 | m²
3.3.2 | Above Ground Level
1 ) | RC walls 150 mm thick upto landing -01 | 124.5 | m²
2 ) | RC walls 150 mm thick landing 01-02 | 96.2 | m²
3 ) | RC walls 150 mm thick landing 02-03 | 41.48 | m²
4 ) | RC walls 150 mm thick landing above 03 | 16.96 | m²
3.4 | Reinforcement
3.4.1 | Foundation
1 ) | Foundation pad 5000 X 5000 X 2500 mm
| 10 mm dia bars | 1025 | kg
2 ) | RC walls 150 mm thick upto pavement level
| 10 mm dia bars | 38 | kg
3.4.2 | Above Ground Level
1 ) | RC walls 150 mm thick upto landing -01
| 10 mm dia bars | 325.5 | kg
2 ) | RC walls 150 mm thick landing 01-02
| 10 mm dia bars | 255 | kg
3 ) | RC walls 150 mm thick landing 02-03
| 10 mm dia bars | 112 | kg
4 ) | RC walls 150 mm thick landing above 03
| 10 mm dia bars | 52 | kg
3.5 | OTHER CONCRETE WORKS
1 ) | Concrete borders as specified in drawings | 1 | Item
2 ) | Concrete ledge | 1 | Item
3.6 | WATER PROOFING
Note: Rates shall include for: dressing around and sealing to avoid all penetrations
1 ) | Add Water proofing admixture, CONMIX MEGA ADD WL1 or approved equivalent to below ground concrete work. | 1 | Item
2 ) | Apply Rubberised Bitumen Paint as Water proofing , CONMIX MoyaShield SBB or approved equivalent to exposed surface of below ground Concrete and Masonry structures. | 1 | Item
3 ) | Add Concrete Plasticizer, CONMIX MEGA FLOW P to all concrete work above ground level. | 1 | Item
TOTAL OF BILL NO. 02 (CONCRETE WORKS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 03
MASONRY AND PLASTERING
4.1 | General
Note: Rates shall include for: a) cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good. Providing approved quality mesh at joints between structural members and masonry in the exterior and interior walls.
b) All blocks shall be fabricated from manufactured sand and machine pressed and average compression strength for blocks should not be less than 2.8N/mm2 and shall comply with physical requirements of ISO 6073:1981. Vertical and horizontal joint of blocks shall be filled completely and suitable with mortar on line shall not be moved or rearranged. Joint and surface of exposed finished block wall shall be cleaned immediately after joint is filled.
c) Supplying and laying masonry using selected quality blocks of approved class laid in cement mortar 1:5 (1 cement : 5 fine river sand) mix, joints finished, flush/ raked to 10mm depth including scaffolding, curing complete as per drawing and specifications.
4.2 | Plastering
4.2.1 | a) 25mm cement plastering on external walls and concrete surfaces with 1:4 Cement mortor mix as specified incl. wire mesh at joints of concrete surfaces and walls (first,second coats).
1 ) | Minaret external plastering | 110 | m²
4.2.2 | a) 15mm cement plastering on internal walls and concrete surfaces with 1:4 Cement mortor mix as specified incl. wire mesh at joints of concrete surfaces and walls (one coat).
1 ) | Minaret internal plastering | 110 | m²
4.3 | Cement Screed Finish
4.3.1 | 35mm thick Cement screeding on the
concrete floor with 1:4 cement mortar
mix incl. trowel finish; General Areas
1 ) | Minaret base | 4 | m²
TOTAL OF BILL NO. 03 (MASONRY AND PLASTERING)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 04
METAL WORKS
5.1 | General
a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts incl. those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
b) Rates shall include for fabrication and erection and temporary supports and fixing into position.
5.2 | Stainless Steel Ladder
GI Ladder with Enamel Coating fixed to interrior of the Minaret for acces to top level of minaret.
1 ) | SS ladder as per the details and drawings for Minaret | 1 | Item
5.3 | Minaret Dome
1 ) | Metallic dome as specified in the drawings for Minaret | 1 | Item
TOTAL OF BILL NO. 04 (METAL WORKS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 05
DOORS AND WINDOWS
8.1 | General
a) Rates shall include for: locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
b) All Aluminium windows shall be white powder coated aluminium.
c) All timber doors shall be solid timber panneled door with varnish finish.
d) All glazing shall be 6mm Tinted.
(Profiles to be chosen by client).
8.3 | Door
1 ) | Minaret door | 1 | nos
TOTAL OF BILL NO. 05 (DOORS AND WINDOWS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 06
PAINTING
10.1 | General
Note: (a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door window furniture
(b) All painting work shall be carried in accordance with the Specifications
(c) Color code and brand should be approved from the client
(d) Emulsion paint or equivalent putty finish on plastered and concrete surfaces, plywood / cement fibre board of all internal surfaces.
(e) Weather proof emulsion paint or equivalent system with textured finish on plastered and concrete surfaces of external walls.
(f) Paint finish for interior surfaces of the wall and ceilings complete including application of two coats of wall sealer, two coats of putty finish and two coats of emulsion paint finish on top for Interior painting.
10.2 | Walls
Weather proof emulsion paint system with textured finish on plastered and concrete surfaces of external and normal emulsion paint on internal walls.
10.2.1 | External painting 1 coat of wall sealer, 1 coat tex compound & 2 coats of paints
1 ) | External walls of Minaret | 110 | m²
10.2.2 | Emulsion paint putty finish system on plastered and concrete surfaces of internal walls.
Internal Painting 1 coat of wall sealer & 2 coats of paints
1 ) | Internal walls of Minaret | 110 | m²
TOTAL OF BILL NO.06 (PAINTING)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 07
HYDRAULICS & DRAINAGE
11.1 | General
a) Rates shall include for: sockets, running joints, connections, elbows, junctions, reducers, expansion joints; backnuts and similar; incidental fittings, clips, saddles, brackets, straps, hanges, screws, nails and fixing complete, including cutting and
11.2 | Drainage
Discharge pipework
1 ) | Complete Discharge pipe work with required drains and connections etc | 1 | item
TOTAL OF BILL NO. 07 (HYDRAULICS AND DRAINAGE)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 08
ELECTRICAL INSTALLATIONS
12.1 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates for electrical conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
(d) Light end and switch end of wiring together measured as one point
(e) A point wiring for power points is measured as one point for each socket outlet; other end of wire is not included in the quantity.
(f) Rates shall include for supply and complete installation
(g) Rates shall include special electrical works, above ceiling cable trenches including fixing and complete installation.
(h) Three phase power supply
(i) All equipment shall be guaranteed for a period of 12 months from the date of commissioning or date of practical completion of the project which ever later
(j) The rates shall include for comprehensive maintenance during defects liability period of 12 months from the date of handing over
(k) Rate shall include for supply, installation, maintaining, testing and commissioning of the system for power and lighting according to drawings and specifications to working order and approval of service Utility.
(l) All materials, equipment wiring shall confirm to local codes, specifications, standards/latest I.E.E. regulations (BS 7671).
(m) All measurements to be made on site by the contractor.
(n) All building lights shall be Philips or approved equivalent and power sockets, switches dimmers shall be of brand legrand or equivalent.
12.3 | Electrical boards
Complete installation incl. for all connection earthing, painting, testing, cable connection from main DB and similar of;
1 ) | Distribution boards | 1 | Item
12.4 | Electrical wiring
Electrical wiring with copper conductor cable in conduits in walls and slab as specified to
1 ) | 2.5mm2 Wiring to light fixtures, fans and its switches | 12 | points
2 ) | Wiring to Socket Switches | 6 | points
3 ) | Cabling to Distribution boards | 1 | points
12.5 | Lighting and others
1 ) | Weather proof floor mount lights | 12 | nos
2 ) | Emergency Light | 2 | nos
12.6 | Socket outlets
1 ) | 13 Amps Socket Switch single | 4 | nos
2 ) | 15 Amps Socket Switch | 2 | nos
12.7 | Light Switches
All switches shall be "Clipsal"or equivalent
1 ) | One Way switches | 4 | nos
12.8 | Lightning Protection System
1 ) | Design, supply and complete installation of standard lightening protection system to Minaret Dome which shall cover the whole building as per the local regulations (rates shall include for all fixing of system and down conductor to earthing) | 1 | Item
TOTAL OF BILL NO. 08 (ELECTRICAL INSTALLATIONS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 09
ADDITIONS
Bill No: 01
Bill No: 02
Bill No: 03
Bill No: 04
Bill No: 05
Bill No: 06
Bill No: 07
Bill No: 08
Bill No: 09
TOTAL OF BILL NO. 09 (ADDITIONS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 10
OMISSIONS
Bill No: 01
Bill No: 02
Bill No: 03
Bill No: 04
Bill No: 05
Bill No: 06
Bill No: 07
Bill No: 08
Bill No: 09
TOTAL OF BILL NO. 10 (OMISSIONS)
(CARRIED OVER TO THE GENERAL SUMMARY)