## cover
BILL OF QUANTITIES
CONSTRUCTION OF
CHSE SCHOOL BUILDING @ HULHUMALE
BLOCK B
CLIENT
Ministry of Finance
BUILD UP AREA
793.64 SQ.M

## summary
PROJECT: CONSTRUCTION OF CHSE SCHOOL BUILDING @ HULHUMALE
BLOCK B
SUMMARY SHEET
2021-03-14
BILL NOS. | DESCRIPTION |  | AMOUNT
1 |  | PRELIMINARIES | 0
2 |  | GROUND WORKS | 0
3 |  | CONCRETE WORKS | 0
4 |  | MASONRY WORKS | 0
5 |  | PLASTERING | 0
6 |  | PAINTING | 0
7 |  | SCREEDING | 0
8 |  | TILING | 0
9 |  | CEILING | 0
10 |  | DOORS AND WINDOWS | 0
11 |  | PLUMBING, | 0
12 |  | ELECTRICAL INSTALLATION | 0
13 |  | AIR CONDITIONING | 0
14 |  | LIFT | 0
15 |  | FIRE FIGHTING | 0
16 |  | METAL WORK | 0
17 |  | COMPOUND WALL | 0
TOTAL |  |  | 0
GST 6% |  |  | 0
TOTAL AMOUNT WITH GST |  |  | 0

## B O Q
BILL OF QUANTITIES
PROJECT: CONSTRUCTION OF CHSE SCHOOL BUILDING @ HULHUMALE
DATE: | 2021-06-16
Item | Descripion | Qty | Unit | Rate ( Mat+Lab) | Total (Mat+Lab)
1 | PRELIMINARIES |  |  |  | 0
PRELIMINARIES
1.1 | SITE MANAGEMENT COST
| Allow for all on and off site management costs including costs seting out work, plant and machinary, service and facilities (site office,telephone, fax, electricity, water, toilet and first aid etc…) insurance, temporary fencing and scaffolding etc… | 1 | item
1.2 | SIGN BOARD
(a) Rate shall include for fabrication, erection, maintenance and removal upon completion of the project.
(b) A scaled layout shall be submitted for the Consultant's approval before fabrication
1 | Allow for a sign board | 1 | item
1.3 | CLEAN-UP UPON COMPLETION
1 | Allow for clean-up of completed works and site | 1 | item
1.4 | Insurance, Bonds, Guarantees and Warranties
1 | Insurance as stated in the General Consditions. | 1 | item
1.5 | TESTING
1 | Concrete testing | 1 | item
1.6 | As-Built Drawings
1 | Preparation and submission of "as-built" Drawings. | 1 | item
2 | GROUND WORKS |  |  |  | 0
GENERAL NOTES:
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating in layers and disposing surplus soil
2.1 | SITE CLEARING
| Clearing of site including cutting down of trees irrespective of sizes, grubbing roots and stumps, dispose off loose boulders and waste materials away from site directed by the Client or his representative. (Excluding existing building demolition works.) | 1268 | M2 |  | 0
2.2 | FOUNDATION PROTECTION
| Provide adequate protection for existing foundation. This includes any cost incurred for any temporary retaining walls that may need to be employed at excavation stage as determined by the consultant in conjunction with the contractor and aslo cover the costs for any damage to adjoining buildings. (Consider 3 sides only) | 156 | RM |  | 0
2.3 | EXCAVATION
| Excavation | 1049 | M3 |  | 0
2.4 | DEWATERING
| Dewatering | 1 | item |  | 0
2.5 | BACK FILLING
| Back fill volume & base ment Filling | 524 | M3 |  | 0
2.6 | DISPOSAL
| Excavated soil disposal | 525 | M3 |  | 0
2.7 | HARD CORE
| Hard core layer 75mm thick | 60 | M3 |  | 0
2.8 | DAMP PROOFING
(a) Rates shall include for dressing around and sealing to all penetrations, laps and turn-ups.
1 | Apply two coats of waterproofing compound to all concrete members and plastering in contact with ground in accordance with manufacturer's instructions. | 1208 | m2 |  | 0
2 | DPM | 1 | item |  | 0
3 | CONCRETE WORKS ( R.C.C) |  |  |  | 0
Note :
Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:6 by volume
3.1 | SUB- STRUCTURE
1 | LEAN CONCRETE 75 mm thick
| concrete volume | 42 | m3 |  | 0
2 | FLOOR CONCRETE 100 mm thick
| concrete volume | 98.5 | m3 |  | 0
3 | FOUNDATION
STRIP FOOTING
| Concrete volume | 306 | m3 |  | 0
4 | STRIP BEAMS
| Concrete volume | 124 | m3 |  | 0
5 | TIE BEAMS
| Concrete volume | 5.7 | m3 |  | 0
SUPER - STRUCTURE
3.2 | COLUMN
1 | BELOW GROUND LVL ( Including Stair Starter)
| Concrete volume | 12 | m3 |  | 0
2 | GROUND TO FIRST FLOOR
| Concrete volume | 33.89 | m3 |  | 0
3 | FIRST FLOOR TO SECOND FLOOR
| Concrete volume | 33.89 | m3 |  | 0
4 | SECOND FLOOR TO THIRD FLOOR
| Concrete volume | 33.89 | m3 |  | 0
5 | THIRD FLOOR TO FOURTH FLOOR
| Concrete volume | 33.89 | m3 |  | 0
6 | FOURTH FLOOR TO FIFTH FLOOR
| Concrete volume | 33.89 | m3 |  | 0
7 | FIFTH FLOOR TO TERRACE FLOOR
| Concrete volume | 33.89 | m3 |  | 0
8 | TERRACE TO HEAD & MACHINE ROOMS
| Concrete volume | 8 | m3 |  | 0
3.3 | BEAMS
1 | FIRST FLOOR LVL BEAM
| Concrete volume | 55.16 | m3 |  | 0
2 | SECOND FLOOR LVL BEAM
| Concrete volume | 55.16 | m3 |  | 0
3 | THIRD FLOOR LVL BEAM
| Concrete volume | 55.16 | m3 |  | 0
4 | FOURTH FLOOR LVL BEAM
| Concrete volume | 55.16 | m3 |  | 0
5 | FIFTH FLOOR LVL BEAM
| Concrete volume | 55.16 | m3 |  | 0
6 | TERRACE LVL BEAM
| Concrete volume | 55.16 | m3 |  | 0
7 | ROOF TOP OR HEAD ROOM LVL BEAM
| Concrete volume | 10 | m3 |  | 0
3.4 | SLABS
1 | 1st floor Slab
| Concrete volume | 127.74 | m3 |  | 0
2 | 2nd floor Slab
| Concrete volume | 126.39 | m3 |  | 0
3 | 3rd floor Slab
| Concrete volume | 126.39 | m3 |  | 0
4 | 4th floor Slab
| Concrete volume | 126.39 | m3 |  | 0
5 | 5th floor Slab
| Concrete volume | 126.39 | m3 |  | 0
6 | TERRACE floor Slab
| Concrete volume | 128.79 | m3 |  | 0
7 | Roof Slab (lift Room Slab)
| Concrete volume | 23.5 | m3 |  | 0
8 | Expension joint | 130 | m |  | 0
9 | Expension joint - Seler and roof top cover | 130 | m |  | 0
3.5 | LIFT WALL
1 | BELOW GROUND
| Concrete volume | 7.5 | m3 |  | 0
2 | GF - 1st Floor Wall
| Concrete volume | 14 | m3 |  | 0
3 | 1st - 2nd Floor Wall
| Concrete volume | 14 | m3 |  | 0
4 | 2nd - 3rd Floor Wall
| Concrete volume | 14 | m3 |  | 0
5 | 3rd- 4th Floor Wall
| Concrete volume | 14 | m3 |  | 0
6 | 4th - 5th Floor Wall
| Concrete volume | 14 | m3 |  | 0
7 | 5th - TERRACE Floor Wall
| Concrete volume | 14 | m3 |  | 0
8 | Terrace To MachineRoom Floor Wall
| Concrete volume | 26.5 | m3 |  | 0
3.6 | STAIR CASE (Stair 01)
1 | Ground floor TO First Floor Stair
| Concrete volume | 6.5 | m3 |  | 0
2 | First TO Second Floor Stair
| Concrete volume | 6.5 | m3 |  | 0
3 | Second TO Third Floor Stair
| Concrete volume | 6.5 | m3 |  | 0
4 | Third TO Fourth Floor Stair
| Concrete volume | 6.5 | m3 |  | 0
5 | Fourth TO Fifth Floor Stair
| Concrete volume | 6.5 | m3 |  | 0
3.7 | STAIR CASE (Stair 02)
1 | Ground floor TO First Floor Stair
| Concrete volume | 6.5 | m3 |  | 0
2 | First TO Second Floor Stair
| Concrete volume | 6.5 | m3 |  | 0
3 | Second TO Third Floor Stair
| Concrete volume | 6.5 | m3 |  | 0
4 | Third TO Fourth Floor Stair
| Concrete volume | 6.5 | m3 |  | 0
5 | Fourth TO Fifth Floor Stair
| Concrete volume | 6.5 | m3 |  | 0
6 | Fifth TO Terrace Floor Stair
| Concrete volume | 6.5 | m3 |  | 0
3.8 | STAIR CASE (Stair 03)
1 | Ground floor TO First Floor Stair
| Concrete volume | 4.4 | m3 |  | 0
2 | First TO Second Floor Stair
| Concrete volume | 4.4 | m3 |  | 0
3 | Second TO Third Floor Stair
| Concrete volume | 4.4 | m3 |  | 0
4 | Third TO Fourth Floor Stair
| Concrete volume | 4.4 | m3 |  | 0
5 | Fourth TO Fifth Floor Stair
| Concrete volume | 4.4 | m3 |  | 0
6 | Fifth TO Terrace Floor Stair
| Concrete volume | 4.4 | m3 |  | 0
3.9 | STAIR CASE (Stair 04)
1 | Ground floor TO First Floor Stair
| Concrete volume | 4.7 | m3 |  | 0
2 | First TO Second Floor Stair
| Concrete volume | 4.7 | m3 |  | 0
3 | Second TO Third Floor Stair
| Concrete volume | 4.7 | m3 |  | 0
4 | Third TO Fourth Floor Stair
| Concrete volume | 4.7 | m3 |  | 0
5 | Fourth TO Fifth Floor Stair
| Concrete volume | 4.7 | m3 |  | 0
3.1 | BALCONY & PLANTER BOX
1 | Ground Floor
| Concrete volume | 1.8 | m3 |  | 0
2 | First Floor
| Concrete volume | 2.2 | m3 |  | 0
3 | Second Floor
| Concrete volume | 2.2 | m3 |  | 0
4 | Third Floor
| Concrete volume | 2.2 | m3 |  | 0
5 | Fourth Floor
| Concrete volume | 2.2 | m3 |  | 0
6 | Fifth Floor
| Concrete volume | 2 | m3 |  | 0
3.11 | LINTELS, SILL & BRACE BEAM
1 | Lintel over Doors windows, Sill & Brace Beam
| Concrete volume | 35 | m3 |  | 0
3.12 | PARAPET WALL
1 | 150mm thick 1.2m High RCC Parapet wall on Terrace
| Concrete volume | 16 | m3 |  | 0
2 | 100mm thick 1.2m High RCC Parapet wall on Terrace
| Concrete volume | 7.5 | m3 |  | 0
3.13 | RCC GUTTER
1 | 100mm thick RCC Gutter in Ground floor
| Concrete volume | 12 | m3 |  | 0
4 | MASONARY |  |  |  | 0
Note :
External wall - MRDC 150 mm thick solid blocks
Internal wall - MRDC 100 mm thick hollow blocks
4.1 | BELOW GROUND FLOOR
1 | 150 thick masonry with MCPW Solid blocks size 300 x 150 x 150mm laid in 1:5 mortar ( external walls) | 190 | m2 |  | 0
4.2 | GROUND FLOOR
1 | 150 thick masonry with MCPW Solid blocks size 300 x 150 x 150mm laid in 1:5 mortar ( external walls) | 594 | m2 |  | 0
2 | 100thick masonry with MCPW Solid blocks size 300 x 100 x 150mm laid in 1:5 mortar ( INTERIOR walls) | 102 | m2 |  | 0
4.3 | FIRST FLOOR
1 | 150 thick masonry with MCPW Solid blocks size 300 x 150 x 150mm laid in 1:5 mortar ( external walls) | 585 | m2 |  | 0
2 | 100thick masonry with MCPW Solid blocks size 300 x 100 x 150mm laid in 1:5 mortar ( INTERIOR walls) | 102 | m2 |  | 0
4.4 | SECOND FLOOR
1 | 150 thick masonry with MCPW Solid blocks size 300 x 150 x 150mm laid in 1:5 mortar ( external walls) | 585 | m2 |  | 0
2 | 100thick masonry with MCPW Solid blocks size 300 x 100 x 150mm laid in 1:5 mortar ( INTERIOR walls) | 102 | m2 |  | 0
4.5 | THIRD FLOOR
1 | 150 thick masonry with MCPW Solid blocks size 300 x 150 x 150mm laid in 1:5 mortar ( external walls) | 585 | m2 |  | 0
2 | 100thick masonry with MCPW Solid blocks size 300 x 100 x 150mm laid in 1:5 mortar ( INTERIOR walls) | 102 | m2 |  | 0
4.6 | FOURTH FLOOR
1 | 150 thick masonry with MCPW Solid blocks size 300 x 150 x 150mm laid in 1:5 mortar ( external walls) | 585 | m2 |  | 0
2 | 100thick masonry with MCPW Solid blocks size 300 x 100 x 150mm laid in 1:5 mortar ( INTERIOR walls) | 102 | m2 |  | 0
4.7 | FIFTH FLOOR
1 | 150 thick masonry with MCPW Solid blocks size 300 x 150 x 150mm laid in 1:5 mortar ( external walls) | 665 | m2 |  | 0
2 | 100thick masonry with MCPW Solid blocks size 300 x 100 x 150mm laid in 1:5 mortar ( INTERIOR walls) | 143 | m2 |  | 0
4.8 | TERRACE FLOOR (Including the lift machine rooms)
1 | 150 thick masonry with MCPW Solid blocks size 300 x 150 x 150mm laid in 1:5 mortar ( external walls) | 130 | m2 |  | 0
5 | PLASTERING |  |  |  | 0
5.1 | BELOW GROUNDFLOOR
1 | Plastering Area 15mm thick ( Interior only for block wall ) | 154 | m2 |  | 0
5.2 | GROUNDFLOOR
1 | Plastering Area 15mm thick ( Interior ) | 958 | m2 |  | 0
2 | Plastering Area20mm thick ( Exterior ) | 713 | m2 |  | 0
5.3 | FIRST FLOOR
1 | Plastering Area 15mm thick ( Interior ) | 947 | m2 |  | 0
2 | Plastering Area20mm thick ( Exterior ) | 702 | m2 |  | 0
5.4 | SECOND FLOOR
1 | Plastering Area 15mm thick ( Interior ) | 947 | m2 |  | 0
2 | Plastering Area20mm thick ( Exterior ) | 702 | m2 |  | 0
5.5 | THIRD FLOOR
1 | Plastering Area 15mm thick ( Interior ) | 947 | m2 |  | 0
2 | Plastering Area20mm thick ( Exterior ) | 702 | m2 |  | 0
5.6 | FOURTH FLOOR
1 | Plastering Area 15mm thick ( Interior ) | 947 | m2 |  | 0
2 | Plastering Area20mm thick ( Exterior ) | 702 | m2 |  | 0
5.7 | FIFTH FLOOR
1 | Plastering Area 15mm thick ( Interior ) | 1142 | m2 |  | 0
2 | Plastering Area20mm thick ( Exterior ) | 800 | m2 |  | 0
5.8 | TERRACE FLOOR
1 | Plastering Area 15mm thick ( Interior ) including lift machine rooms | 250 | m2 |  | 0
2 | Plastering Area20mm thick ( Exterior ) including lift machine rooms & terrace parapet wall | 982 | m2 |  | 0
6 | PAINTING |  |  |  | 0
6.1 | GROUND FLOOR
1 | Interior Walls
| Apply 1 coat of KCC water based wall sealer or equi. on walls. Applying 2 coats of KCC VinlyFresh or equivalent brand. emulsion paint on all INTERIOR with putty or equivalent brand. | 958 | m2 |  | 0
2 | Exterior Walls
| Apply 1 coat of KCC oil based wall sealer or equi., applying of 2 coats of KCC Weather force or equivalent brand.emulsion paint on all EXTERIOR finish or equivalent brand. | 713 | m2 |  | 0
3 | Ceiling
| Apply 1 coat of KCC or equ. brand sealer (water based) apply Wall Putty, sandering to obtain a smooth surface. And applying 2 coats of KCC emulsion on the Ceiling or equivalent brand. | 770 | m2 |  | 0
6.2 | FIRST FLOOR
1 | Interior Walls
| Apply 1 coat of KCC water based wall sealer or equi. on walls. Applying 2 coats of KCC VinlyFresh or equivalent brand. emulsion paint on all INTERIOR with putty or equivalent brand. | 947 | m2 |  | 0
2 | Exterior Walls
| Apply 1 coat of KCC oil based wall sealer or equi., applying of 2 coats of KCC Weather force or equi. emulsion paint on all EXTERIOR finish | 702 | m2 |  | 0
3 | Ceiling
| Apply 1 coat of KCC or equ. brand sealer (water based) apply Wall Putty, sandering to obtain a smooth surface. And applying 2 coats of KCC emulsion on the Ceiling or equivalent brand. | 770 | m2 |  | 0
6.3 | SECOND FLOOR
1 | Interior Walls
| Apply 1 coat of KCC water based wall sealer or equi. on walls. Applying 2 coats of KCC VinlyFreshor equivalent brand. emulsion paint on all INTERIOR with putty or equivalent brand. | 947 | m2 |  | 0
2 | Exterior Walls
| Apply 1 coat of KCC oil based wall sealer or equi., applying of 2 coats of KCC Weather force or equivalent brand. emulsion paint on all EXTERIOR finish or equivalent brand. | 702 | m2 |  | 0
3 | Ceiling
| Apply 1 coat of KCC or equ. brand sealer (water based) apply Wall Putty, sandering to obtain a smooth surface. And applying 2 coats of KCC emulsion on the Ceiling or equivalent brand. | 770 | m2 |  | 0
6.4 | THIRD FLOOR
1 | Interior Walls
| Apply 1 coat of KCC water based wall sealer or equi. on walls. Applying 2 coats of KCC VinlyFresh or equivalent brand. emulsion paint on all INTERIOR with putty or equivalent brand. | 947 | m2 |  | 0
2 | Exterior Walls
| Apply 1 coat of KCC oil based wall sealer or equi., applying of 2 coats of KCC Weather force or equi. emulsion paint on all EXTERIOR finish or equivalent brand. | 702 | m2 |  | 0
3 | Ceiling
| Apply 1 coat of KCC or equ. brand sealer (water based) apply Wall Putty, sandering to obtain a smooth surface. And applying 2 coats of KCC emulsion on the Ceiling or equivalent brand. | 770 | m2 |  | 0
6.5 | FOURTH FLOOR
1 | Interior Walls
| Apply 1 coat of KCC water based wall sealer or equi. on walls. Applying 2 coats of KCC VinlyFresh or equi. emulsion paint on all INTERIOR with putty or equivalent brand. | 947 | m2 |  | 0
2 | Exterior Walls
| Apply 1 coat of KCC oil based wall sealer or equi., applying of 2 coats of KCC Weather force or equi. emulsion paint on all EXTERIOR finish or equivalent brand. | 702 | m2 |  | 0
0
3 | Ceiling |  |  |  | 0
| Apply 1 coat of KCC or equ. brand sealer (water based) apply Wall Putty, sandering to obtain a smooth surface. And applying 2 coats of KCC emulsion on the Ceiling or equivalent brand. | 770 | m2 |  | 0
6.6 | FIFTH FLOOR
1 | Interior Walls
| Apply 1 coat of KCC water based wall sealer or equi. on walls. Applying 2 coats of KCC VinlyFresh or equi. emulsion paint on all INTERIOR with putty or equivalent brand. | 1142 | m2 |  | 0
2 | Exterior Walls
| Apply 1 coat of KCC oil based wall sealer or equi., applying of 2 coats of KCC Weather force or equi. emulsion paint on all EXTERIOR finish or equivalent brand. | 800 | m2 |  | 0
3 | Ceiling
| Apply 1 coat of KCC or equ. brand sealer (water based) apply Wall Putty, sandering to obtain a smooth surface. And applying 2 coats of KCC emulsion on the Ceiling or equivalent brand. | 770 | m2 |  | 0
6.7 | TERRACE FLOOR
1 | Interior Walls (including lift machine rooms )
| Apply 1 coat of KCC water based wall sealer or equi. on walls. Applying 2 coats of KCC VinlyFresh or equi. emulsion paint on all INTERIOR with putty or equivalent brand. | 250 | m2 |  | 0
2 | Exterior Walls (including lift machine rooms & terrace parapet wall)
| Apply 1 coat of KCC oil based wall sealer or equi., applying of 2 coats of KCC Weather force or equi. emulsion paint on all EXTERIOR finish or equivalent brand. | 982 | m2 |  | 0
3 | Ceiling
| Apply 1 coat of KCC or equ. brand sealer (water based) apply Wall Putty, sandering to obtain a smooth surface. And applying 2 coats of KCC emulsion on the Ceiling or equivalent brand. | 92 | m2 |  | 0
7 | SCREEDING |  |  |  | 0
7.1 | GROUND FLOOR
| 50mm thick cement screed 1:4 incl. trowel finish. | 626 | m2 |  | 0
7.2 | FIRST FLOOR
| 50mm thick cement screed 1:4 incl. trowel finish. | 770 | m2 |  | 0
7.3 | SECOND FLOOR
| 50mm thick cement screed 1:4 incl. trowel finish. | 770 | m2 |  | 0
7.4 | THIRD FLOOR
| 50mm thick cement screed 1:4 incl. trowel finish. | 770 | m2 |  | 0
7.5 | FOURTH FLOOR
| 50mm thick cement screed 1:4 incl. trowel finish. | 770 | m2 |  | 0
7.6 | FIFTH FLOOR
| 50mm thick cement screed 1:4 incl. trowel finish. | 770 | m2 |  | 0
7.7 | TERRACE FLOOR + ROOF TOP
| 50mm thick cement screed 1:4 incl. trowel finish. | 882.7 | m2 |  | 0
7.8 | WATER PROOFING
1 | Application of 2 coats of approved water proofing chemical to the surface of toilet in accordance with the specifications and manufactures instructions. (floor - 292 m2, walls - 158m2) | 1 | item |  | 0
2 | Application of 2 coats of approved water proofing chemical to the surface of Roof Top . (floor -880M2, wall-115m2) | 1 | item |  | 0
3 | Application of 2 coats of approved water proofing chemical to the surface @ Planter Box Concrete & Masonary Walls ( Floor & Wall-340m2) | 1 | item |  | 0
8 | TILING WORKS |  |  |  | 0
8.1 | GROUND FLOOR
1 | Epoxy Floor Finish Include Stair | 412 | m2 |  | 0
2 | 300 x 300mm medium graded ceremic NON SLIP floor tiles | 51 | m2 |  | 0
3 | 600 x 300mm ceremic wall tiles(Hight 2.1) | 198 | m2 |  | 0
4 | Artificial Turf in Courd yard | 323 | m2 |  | 0
5 | Concrete Pavers in Enterance ,open Area | 395 | m2 |  | 0
8.2 | FIRST FLOOR
1 | Epoxy Floor Finish | 677 | m2 |  | 0
2 | 300 x 300mm medium graded ceremic NON SLIP floor tiles | 43 | m2 |  | 0
3 | 600 x 300mm ceremic wall tiles(Hight 2.1) | 169 | m2 |  | 0
8.3 | SECOND FLOOR
1 | Epoxy Floor Finish | 674 | m2 |  | 0
2 | 300 x 300mm medium graded ceremic NON SLIP floor tiles | 48 | m2 |  | 0
3 | 600 x 300mm ceremic wall tiles(Hight 2.1) | 182 | m2 |  | 0
8.4 | THIRD FLOOR
1 | Epoxy Floor Finish | 677 | m2 |  | 0
2 | 300 x 300mm medium graded ceremic NON SLIP floor tiles | 43 | m2 |  | 0
3 | 600 x 300mm ceremic wall tiles(Hight 2.1) | 169 | m2
0
8.5 | FOURTH FLOOR
1 | Epoxy Floor Finish | 677 | m2 |  | 0
2 | 300 x 300mm medium graded ceremic NON SLIP floor tiles | 43 | m2 |  | 0
3 | 600 x 300mm ceremic wall tiles(Hight 2.1) | 169 | m2 |  | 0
8.6 | FIFTH FLOOR
1 | Epoxy Floor Finish | 648 | m2 |  | 0
2 | 300 x 300mm medium graded ceremic NON SLIP floor tiles | 73 | m2 |  | 0
3 | 600 x 300mm ceremic wall tiles(Hight 2.1) | 398 | m2 |  | 0
8.7 | ROOF FLOOR
1 | Epoxy Floor Finish | 672 | m2 |  | 0
9 | CEILING |  |  |  | 0
1 | GROUND FLOOR
| Cement board ceiling in bathroom | 48 | m2 |  | 0
2 | FIRST FLOOR
| Cement board ceiling in bathroom | 43 | m2 |  | 0
3 | SECOND FLOOR
| Cement board ceiling in bathroom | 43 | m2 |  | 0
4 | THIRD FLOOR
| Cement board ceiling in bathroom | 43 | m2 |  | 0
5 | FOURTH FLOOR
| Cement board ceiling in bathroom | 43 | m2 |  | 0
6 | FIFTH FLOOR
| Cement board ceiling in bathroom | 73 | m2 |  | 0
10 | DOORS AND WINDOWS |  |  |  | 0
1. Other all glass shall be 5 mm thick black or clear tinted
2. Used RCC Aluminium profile
10.1 | GROUND FLOOR
| D1 40MM THICK OPENABLE SOLID TIMBER LOUVER DOOR PANEL(2.167 X 2.4) Mts | 2 | nos |  | 0
| D3 40MM THICK OPENABLE GLAZED TIMBER DOOR PANEL (0.975 X 2.4) Mts | 8 | nos |  | 0
| D4 40MM THICK OPENABLE SOLID TIMBER DOOR PANEL (1.1 X 2.4) Mts | 1 | nos |  | 0
| D5 40MM THICK OPENABLE SOLID TIMBER DOOR PANEL (0.9 X 2.4) Mts | 6 | nos |  | 0
| D6 40MM THICK OPENABLE SOLID TIMBER DOOR PANEL (0.75 X 2.2) Mts | 11 | nos |  | 0
| G1 OPENABLE STEEL GATE WITHSTEEL SLATS (5 X 3.15) Mts | 1 | nos |  | 0
| G2 OPENABLE STEEL GATE WITHSTEEL SLATS (1.2 X 3.15) Mts | 1 | nos |  | 0
| G3 OPENABLE STEEL GATE WITHSTEEL SLATS (0.8 X 2) Mts | 1 | nos |  | 0
| W1 ALUMINIUM FRAMED OPENABLE WINDOW PANEL (1.33 X 1.985) Mts | 7 | nos |  | 0
| W2 ALUMINIUM FRAMED OPENABLE WINDOW PANEL (0.68X 1.985) Mts | 4 | nos |  | 0
| W3 ALUMINIUM FRAMED OPENABLE GLASS WINDOW PANEL WITH LOUVERED WINDOW PANEL BELOW (0.68X 1.185) Mts | 11 | nos |  | 0
| W4 ALUMINIUM FRAMED SLIDING WINDOW PANEL (2.855 X 2.235) Mts | 4 | nos |  | 0
| W5 ALUMINIUM FRAMED SLIDING WINDOW PANEL (1.5 X1.2) Mts | 1 | nos |  | 0
| W9 ALUMINIUM FRAMED OPENABLE WINDOW PANEL (0.9X 1.235) Mts | 1 | nos |  | 0
10.2 | FIRST FLOORS
| D3 40MM THICK OPENABLE GLAZED TIMBER DOOR PANEL (0.975 X 2.4) Mts | 15 | nos |  | 0
| D5 40MM THICK OPENABLE SOLID TIMBER DOOR PANEL (0.9 X 2.4) Mts | 3 | nos |  | 0
| D6 40MM THICK OPENABLE SOLID TIMBER DOOR PANEL (0.75 X 2.2) Mts | 10 | nos |  | 0
| D7 40MM THICK OPENABLE SOLID TIMBER DOOR PANEL (0.75 X 2.2) Mts | 1 | nos |  | 0
| D8 40MM THICK OPENABLE GLAZED FIRE RATED STEEL DOOR PANEL (1.2 X 2.4) Mts | 1 | nos |  | 0
| W1 ALUMINIUM FRAMED OPENABLE WINDOW PANEL (1.33 X 1.985) Mts | 14 | nos |  | 0
| W2 ALUMINIUM FRAMED OPENABLE WINDOW PANEL (0.68X 1.985) Mts | 11 | nos |  | 0
| W3 ALUMINIUM FRAMED OPENABLE GLASS WINDOW PANEL WITH LOUVERED WINDOW PANEL BELOW (0.68X 1.185) Mts | 4 | nos |  | 0
| W4 ALUMINIUM FRAMED SLIDING WINDOW PANEL (2.855 X 2.235) Mts | 7 | nos |  | 0
| W10 ALUMINIUM FRAMED SLIDING WINDOW PANEL (3.075 X 2.235) Mts | 1 | nos |  | 0
| W13 ALUMINIUM FRAMED OPENABLE GLASS WINDOW PANEL WITH FIXED GLASS WINDOW PANEL BELOW (0.68X 1.255) Mts | 2 | nos |  | 0
10.3 | SECOND FLOOR
| D3 40MM THICK OPENABLE GLAZED TIMBER DOOR PANEL (0.975 X 2.4) Mts | 14 | nos |  | 0
| D4 40MM THICK OPENABLE SOLID TIMBER DOOR PANEL (1.1 X 2.4) Mts | 1 | nos |  | 0
| D5 40MM THICK OPENABLE SOLID TIMBER DOOR PANEL (0.9 X 2.4) Mts | 5 | nos |  | 0
| D6 40MM THICK OPENABLE SOLID TIMBER DOOR PANEL (0.75 X 2.2) Mts | 10 | nos |  | 0
| D7 40MM THICK OPENABLE SOLID TIMBER DOOR PANEL (0.75 X 2.2) Mts | 1 | nos |  | 0
| D8 40MM THICK OPENABLE GLAZED FIRE RATED STEEL DOOR PANEL (1.2 X 2.4) Mts | 1 | nos |  | 0
| W1 ALUMINIUM FRAMED OPENABLE WINDOW PANEL (1.33 X 1.985) Mts | 13 | nos |  | 0
| W2 ALUMINIUM FRAMED OPENABLE WINDOW PANEL (0.68X 1.985) Mts | 11 | nos |  | 0
| W3 ALUMINIUM FRAMED OPENABLE GLASS WINDOW PANEL WITH LOUVERED WINDOW PANEL BELOW (0.68X 1.185) Mts | 4 | nos |  | 0
| W4 ALUMINIUM FRAMED SLIDING WINDOW PANEL (2.855 X 2.235) Mts | 7 | nos |  | 0
| W10 ALUMINIUM FRAMED SLIDING WINDOW PANEL (3.075 X 2.235) Mts | 1 | nos |  | 0
| W13 ALUMINIUM FRAMED OPENABLE GLASS WINDOW PANEL WITH FIXED GLASS WINDOW PANEL BELOW (0.68X 1.255) Mts | 2 | nos |  | 0
10.4 | THIRD FLOOR
| D3 40MM THICK OPENABLE GLAZED TIMBER DOOR PANEL (0.975 X 2.4) Mts | 15 | nos |  | 0
| D5 40MM THICK OPENABLE SOLID TIMBER DOOR PANEL (0.9 X 2.4) Mts | 3 | nos |  | 0
| D6 40MM THICK OPENABLE SOLID TIMBER DOOR PANEL (0.75 X 2.2) Mts | 10 | nos |  | 0
| D7 40MM THICK OPENABLE SOLID TIMBER DOOR PANEL (0.75 X 2.2) Mts | 1 | nos |  | 0
| D8 40MM THICK OPENABLE GLAZED FIRE RATED STEEL DOOR PANEL (1.2 X 2.4) Mts | 1 | nos |  | 0
| W1 ALUMINIUM FRAMED OPENABLE WINDOW PANEL (1.33 X 1.985) Mts | 14 | nos |  | 0
| W2 ALUMINIUM FRAMED OPENABLE WINDOW PANEL (0.68X 1.985) Mts | 11 | nos |  | 0
| W3 ALUMINIUM FRAMED OPENABLE GLASS WINDOW PANEL WITH LOUVERED WINDOW PANEL BELOW (0.68X 1.185) Mts | 4 | nos |  | 0
| W4 ALUMINIUM FRAMED SLIDING WINDOW PANEL (2.855 X 2.235) Mts | 7 | nos |  | 0
| W10 ALUMINIUM FRAMED SLIDING WINDOW PANEL (3.075 X 2.235) Mts | 1 | nos |  | 0
| W13 ALUMINIUM FRAMED OPENABLE GLASS WINDOW PANEL WITH FIXED GLASS WINDOW PANEL BELOW (0.68X 1.255) Mts | 2 | nos |  | 0
10.5 | FOURTH FLOOR
| D3 40MM THICK OPENABLE GLAZED TIMBER DOOR PANEL (0.975 X 2.4) Mts | 15 | nos |  | 0
| D5 40MM THICK OPENABLE SOLID TIMBER DOOR PANEL (0.9 X 2.4) Mts | 3 | nos |  | 0
| D6 40MM THICK OPENABLE SOLID TIMBER DOOR PANEL (0.75 X 2.2) Mts | 10 | nos |  | 0
| D7 40MM THICK OPENABLE SOLID TIMBER DOOR PANEL (0.75 X 2.2) Mts | 1 | nos |  | 0
| D8 40MM THICK OPENABLE GLAZED FIRE RATED STEEL DOOR PANEL (1.2 X 2.4) Mts | 1 | nos |  | 0
| W1 ALUMINIUM FRAMED OPENABLE WINDOW PANEL (1.33 X 1.985) Mts | 14 | nos |  | 0
| W2 ALUMINIUM FRAMED OPENABLE WINDOW PANEL (0.68X 1.985) Mts | 11 | nos |  | 0
| W3 ALUMINIUM FRAMED OPENABLE GLASS WINDOW PANEL WITH LOUVERED WINDOW PANEL BELOW (0.68X 1.185) Mts | 4 | nos |  | 0
| W4 ALUMINIUM FRAMED SLIDING WINDOW PANEL (2.855 X 2.235) Mts | 7 | nos |  | 0
| W10 ALUMINIUM FRAMED SLIDING WINDOW PANEL (3.075 X 2.235) Mts | 1 | nos |  | 0
| W13 ALUMINIUM FRAMED OPENABLE GLASS WINDOW PANEL WITH FIXED GLASS WINDOW PANEL BELOW (0.68X 1.255) Mts | 2 | nos |  | 0
10.6 | FIFTH FLOOR
| D3 40MM THICK OPENABLE GLAZED TIMBER DOOR PANEL (0.975 X 2.4) Mts | 12 | nos |  | 0
| D5 40MM THICK OPENABLE SOLID TIMBER DOOR PANEL (0.9 X 2.4) Mts | 6 | nos |  | 0
| D6 40MM THICK OPENABLE SOLID TIMBER DOOR PANEL (0.75 X 2.2) Mts | 16 | nos |  | 0
| D7 40MM THICK OPENABLE SOLID TIMBER DOOR PANEL (0.75 X 2.2) Mts | 1 | nos |  | 0
| D8 40MM THICK OPENABLE GLAZED FIRE RATED STEEL DOOR PANEL (1.2 X 2.4) Mts | 1 | nos |  | 0
| G4 OPENABLE STEEL GATE WITHSTEEL SLATS (0.975 X 2) Mts with fence | 1 | nos |  | 0
| W1 ALUMINIUM FRAMED OPENABLE WINDOW PANEL (1.33 X 1.985) Mts | 12 | nos |  | 0
| W2 ALUMINIUM FRAMED OPENABLE WINDOW PANEL (0.68X 1.985) Mts | 11 | nos |  | 0
| W3 ALUMINIUM FRAMED OPENABLE GLASS WINDOW PANEL WITH LOUVERED WINDOW PANEL BELOW (0.68X 1.185) Mts | 7 | nos |  | 0
| W4 ALUMINIUM FRAMED SLIDING WINDOW PANEL (2.855 X 2.235) Mts | 6 | nos |  | 0
| W10 ALUMINIUM FRAMED SLIDING WINDOW PANEL (3.075 X 2.235) Mts | 1 | nos |  | 0
| W13 ALUMINIUM FRAMED OPENABLE GLASS WINDOW PANEL WITH FIXED GLASS WINDOW PANEL BELOW (0.68X 1.255) Mts | 2 | nos |  | 0
0
10.7 | TERRACE FLOOR |  |  |  | 0
| D6 40MM THICK OPENABLE SOLID TIMBER DOOR PANEL (0.75 X 2.2) Mts | 6 | nos |  | 0
11 | PLUMBING, HYDRAULICS , FITTINGS AND FIXTURES |  |  |  | 0
11.1 | PIPE, WATER METER & INSPECTION CHAMBER ETC…
| Providing and laying of fresh water pipe (UPVC Thai pipes) | 1 | item |  | 0
| Providing and laying of ground water pipe (UPVC Thai pipes) | 1 | item |  | 0
| Providing and laying of Sewage pipes (UPVC Thai pipes) | 1 | item |  | 0
| Providing and laying Waste water Pipes (UPVC Thai pipes) | 1 | item |  | 0
| Providing and laying Rain water Pipes (UPVC Thai pipes) | 1 | item |  | 0
| Main conection for water supply | 1 | item |  | 0
| Main conection for sewage line | 1 | item |  | 0
| Angle Valve | 220 | Nos |  | 0
| Stop valve | 220 | Nos |  | 0
11.2 | GROUND FLOOR
| WC - | 12 | nos |  | 0
| Wash basin - | 11 | nos |  | 0
| Wash basin tap - ' Chromed | 11 | nos |  | 0
| Wash basin Counter | 9 | nos |  | 0
| Muslim shower- '' Chromed | 12 | nos |  | 0
| Floor drain - | 12 | nos |  | 0
| Mirror | 10 | nos |  | 0
| Paper Holder | 12 | nos |  | 0
| Soap Holder | 12 | nos |  | 0
| Disable Grap Bar Vertical & Horizontal | 1 | Set |  | 0
11.3 | FIRST FLOOR
| WC - | 10 | nos |  | 0
| Wash basin - | 8 | nos |  | 0
| Wash basin tap - Chromed | 8 | nos |  | 0
| Wash basin Counter | 8 | nos |  | 0
| Muslim shower- Chromed | 10 | nos |  | 0
| Floor drain - | 16 | nos |  | 0
| Mirror | 8 | nos |  | 0
| Paper Holder | 10 | nos |  | 0
| Soap Holder | 10 | nos |  | 0
11.4 | SECOND FLOOR
| WC - | 11 | nos |  | 0
| Wash basin - | 9 | nos |  | 0
| Wash basin tap - Chromed | 9 | nos |  | 0
| Wash basin Counter | 8 | nos |  | 0
| Muslim shower- Chromed | 11 | nos |  | 0
| Floor drain - | 17 | nos |  | 0
| Mirror | 9 | nos |  | 0
| Paper Holder | 11 | nos |  | 0
| Soap Holder | 11 | nos |  | 0
11.5 | THIRD FLOOR
| WC - | 10 | nos |  | 0
| Wash basin - | 8 | nos |  | 0
| Wash basin tap - Chromed | 8 | nos |  | 0
| Wash basin Counter | 8 | nos |  | 0
| Muslim shower- Chromed | 10 | nos |  | 0
| Floor drain - | 16 | nos |  | 0
| Mirror | 8 | nos |  | 0
| Paper Holder | 10 | nos |  | 0
| Soap Holder | 10 | nos |  | 0
11.6 | FOURTH FLOOR
| WC - | 10 | nos |  | 0
| Wash basin - | 8 | nos |  | 0
| Wash basin tap - Chromed | 8 | nos |  | 0
| Wash basin Counter | 8 | nos |  | 0
| Muslim shower- Chromed | 10 | nos |  | 0
| Floor drain - | 16 | nos |  | 0
| Mirror | 8 | nos |  | 0
| Paper Holder | 10 | nos |  | 0
| Soap Holder | 10 | nos |  | 0
11.7 | FIFTH FLOOR
| WC - | 17 | nos |  | 0
| Wash basin - | 15 | nos |  | 0
| Wash basin tap - Chromed | 15 | nos |  | 0
| Wash basin Counter | 14 | nos |  | 0
| Muslim shower- Chromed | 17 | nos |  | 0
| Floor drain - | 17 | nos |  | 0
| Mirror | 17 | nos |  | 0
| Paper Holder | 17 | nos |  | 0
| Soap Holder | 17 | nos |  | 0
11.8 | TERRACE FLOOR
| Floor Drain | 16 | NOS |  | 0
12 | ELECTRICAL INSTALLATION |  |  |  | 0
Note :
MULTIMEDIA PROJECTOR ONLY CABLING
1
| Allow for main connection from Utility Regulatory Authority from main panel board / Transforme to main panel board of the proposed building. | 1 | item |  | 0
| Main panel board | 1 | nos |  | 0
| Feeder cable from main panel to D board | 1 | item |  | 0
| Distribution Board | 6 | nos |  | 0
| Wiring for Lights | 509 | points |  | 0
| Wiring for Fan | 138 | points |  | 0
| Wiring for power points | 355 | points |  | 0
| Wiring For TV POINTS | 30 | points |  | 0
| Wiring For Telephone | 70 | points |  | 0
| Wiring For Network | 57 | points |  | 0
| VGA CABLING 1 & 2 | 53 | points |  | 0
| Multimedia Projector Cabling | 26 | points |  | 0
| OUTLET Of TV, Network , Telephone, VGA, Multimedia Projector | 236 | nos |  | 0
| Speakers | 47 | nos |  | 0
| VO 2, Dia 300 Celing Recessed Duct Exhaust Fan | 43 | nos |  | 0
2 | GROUND FLOOR
| Celing Fan (V01 Dia 150mm ) | 14 | nos |  | 0
| Fan regulator | 14 | nos |  | 0
| L0 7 (2x28W Surface mount Tube light) | 31 | nos |  | 0
| L0 9 150 W canopy Light | 30 | nos |  | 0
| L 14 20W LED Celing DownLight | 1 | nos |  | 0
| L 15 20W LED Celing Flush Mount Light | 18 | nos |  | 0
| L 26 20W Weather Proof LED Luminaire Light | 2 | nos |  | 0
| L 35 50W Weather Proof LED Flood Light | 12 | nos |  | 0
| P 19, 1 gang 1 way | 8 | nos |  | 0
| P 20, 2G Light Switch | 7 | nos |  | 0
| P 21, 3G Switch | 12 | nos |  | 0
| P22 , 4G Switch | 6 | nos |  | 0
| 1x13A Socket Outlet | 3 | nos |  | 0
| 2x13A Socket Outlet | 39 | nos |  | 0
| 15A Socket Outlet | 1 | nos |  | 0
| TPN Isolator | 1 | nos |  | 0
| Switch Board | 1 | nos |  | 0
3 | FIRST FLOOR
| Celing Fan (V01 Dia 150mm ) | 28 | nos |  | 0
| Fan regulator | 28 | nos |  | 0
| L0 7 (2x28W Surface mount Tube light) | 36 | nos |  | 0
| L0 9 150 W canopy Light | 17 | nos |  | 0
| L 15 20W LED Celing Flush Mount Light | 18 | nos |  | 0
| L 26 20W Weather Proof LED Luminaire Light | 4 | nos |  | 0
| P 19, 1 gang 1 way | 8 | nos |  | 0
| P 20, 2G Light Switch | 2 | nos |  | 0
| P 21, 3G Switch | 20 | nos |  | 0
| P22 , 4G Switch | 1 | nos |  | 0
| 1x13A Socket Outlet | 16 | nos |  | 0
| 2x13A Socket Outlet | 38 | nos |  | 0
| 15A Socket Outlet | 14 | nos |  | 0
4 | SECOND FLOOR
| Celing Fan (V01 Dia 150mm ) | 28 | nos |  | 0
| Fan regulator | 28 | nos |  | 0
| L0 7 (2x28W Surface mount Tube light) | 35 | nos |  | 0
| L0 9 150 W canopy Light | 17 | nos |  | 0
| L 14 20W LED Celing DownLight | 3 | nos |  | 0
| L 15 20W LED Celing Flush Mount Light | 18 | nos |  | 0
| L 26 20W Weather Proof LED Luminaire Light | 4 | nos |  | 0
| P 19, 1 gang 1 way | 9 | nos |  | 0
| P 20, 2G Light Switch | 2 | nos |  | 0
| P 21, 3G Switch | 20 | nos |  | 0
| P22 , 4G Switch | 1 | nos |  | 0
| 1x13A Socket Outlet | 16 | nos |  | 0
| 2x13A Socket Outlet | 38 | nos |  | 0
| 15A Socket Outlet | 14 | nos |  | 0
5 | THIRD FLOOR
| Celing Fan (V01 Dia 150mm ) | 28 | nos |  | 0
| Fan regulator | 28 | nos |  | 0
| L0 7 (2x28W Surface mount Tube light) | 42 | nos |  | 0
| L0 9 150 W canopy Light | 17 | nos |  | 0
| L 15 20W LED Celing Flush Mount Light | 18 | nos |  | 0
| L 26 20W Weather Proof LED Luminaire Light | 4 | nos |  | 0
| P 19, 1 gang 1 way | 8 | nos |  | 0
| P 20, 2G Light Switch | 2 | nos |  | 0
| P 21, 3G Switch | 14 | nos |  | 0
| P22 , 4G Switch | 1 | nos |  | 0
| 1x13A Socket Outlet | 10 | nos |  | 0
| 2x13A Socket Outlet | 38 | nos |  | 0
| 15A Socket Outlet | 8 | nos |  | 0
6 | FOURTH FLOOR
| Celing Fan (V01 Dia 150mm ) | 26 | nos |  | 0
| Fan regulator | 26 | nos |  | 0
| L0 7 (2x28W Surface mount Tube light) | 36 | nos |  | 0
| L0 9 150 W canopy Light | 17 | nos |  | 0
| L 15 20W LED Celing Flush Mount Light | 18 | nos |  | 0
| L 26 20W Weather Proof LED Luminaire Light | 4 | nos |  | 0
| P 19, 1 gang 1 way | 8 | nos |  | 0
| P 20, 2G Light Switch | 2 | nos |  | 0
| P 21, 3G Switch | 20 | nos |  | 0
| P22 , 4G Switch | 1 | nos |  | 0
| 1x13A Socket Outlet | 16 | nos |  | 0
| 2x13A Socket Outlet | 38 | nos |  | 0
| 15A Socket Outlet | 14 | nos |  | 0
7 | FIFTH FLOOR
| Celing Fan (V01 Dia 150mm ) | 14 | nos |  | 0
| Fan regulator | 14 | nos |  | 0
| L0 7 (2x28W Surface mount Tube light) | 38 | nos |  | 0
| L0 9 150 W canopy Light | 17 | nos |  | 0
| L 15 20W LED Celing Flush Mount Light | 31 | nos |  | 0
| L 26 20W Weather Proof LED Luminaire Light | 4 | nos |  | 0
| P 19, 1 gang 1 way | 8 | nos |  | 0
| P 20, 2G Light Switch | 8 | nos |  | 0
| P 21, 3G Switch | 18 | nos |  | 0
| P22 , 4G Switch | 1 | nos |  | 0
| 1x13A Socket Outlet | 12 | nos |  | 0
| 2x13A Socket Outlet | 32 | nos |  | 0
| 15A Socket Outlet | 2 | nos |  | 0
8 | TERRACE FLOOR
| L0 9 150 W canopy Light | 4 | nos |  | 0
| L 13 Weather Proof Wall Light | 11 | nos |  | 0
| P 20, 2G Light Switch | 2 | nos |  | 0
| Switch Board | 1 | nos |  | 0
| 1x13A Socket Outlet | 6 | nos |  | 0
13 | AIR CONDITIONING & MECHANICAL VENTILATION |  |  |  | 0
1 | GROUND FLOOR
| 12000BTU SINGLE SPLIT A/C UNIT | 1 | nos |  | 0
| 24000BTU SINGLE SPLIT A/C UNIT | 1 | nos |  | 0
| 34100BTU Wall mount Unit | 3 | nos |  | 0
2 | FIRST FLOOR
| 34100BTU Wall mount Unit | 1 | nos |  | 0
3 | SECOND FLOOR
| 34100BTU Wall mount Unit | 1 | nos |  | 0
4 | THIRD FLOOR
| 36000BTU Ceilling mounted Unit | 3 | nos |  | 0
| 34100BTU Wall mount Unit | 1 | nos |  | 0
5 | FOURTH FLOOR
| 34100BTU Wall mount Unit | 1 | nos |  | 0
6 | FIFTH FLOOR
| 34100BTU Wall mount Unit | 2 | nos |  | 0
| 39000BTU Ceilling mounted Unit | 3 | nos |  | 0
14 | LIFT |  |  |  | 0
1 | SUPPLY and Installation Of Machine Room type Lift with 20Person capacity with all accessories . G+5 , 6 Stops. | 2 | Units |  | 0
15 | FIRE FIGHTING |  |  |  | 0
1 | Supply And Installation Of Fire System Include Dry Raiser System, HoseReel, manual Call Point, Fire Alarm Control Panel, Sounder, Landing Valve, Smoke Deductor(31), Heat Deductor(40), Co2 2kg Extingushier, H2o 9l Extinguisher, Exit Sign with 2 hours battary packup, DCP extinguisher (6kg) Complete. | 1 | Unit |  | 0
| EMERGIENCY LIGHT | 75 | Nos |  | 0
16 | METAL WORK |  |  |  | 0
1 | MAIN STAIRCASE 01 RAILING
| 50mm x 10 mm Flat Bar @ 100mm C/C Vertical And Top Rail by 50x10mm Flat Bar | 38 | RM |  | 0
2 | STAIR CASE 02 RAILING
| 50mm x 10 mm Flat Bar @ 100mm C/C Vertical And Top Rail by 50x10mm Flat Bar | 48.5 | RM |  | 0
3 | STAIR CASE 03 RAILING
| 50mm x 10 mm Flat Bar @ 100mm C/C Vertical And Top Rail by 50x10mm Flat Bar | 48.5 | RM |  | 0
4 | STAIR CASE 04 RAILING
| 50mm x 10 mm Flat Bar @ 100mm C/C Vertical And Top Rail by 50x10mm Flat Bar | 39 | RM |  | 0
5 | MACHINE ROOM STAIR CASE (with Handrail)
| 75 x 75mm , 6mm thick Steel Angle Framed Staircase with 40mm dia SS pipe hand railing fixed to slab with 25mm SS pipe support as per detailed drawing | 2 | Nos |  | 0
6 | BALCONY RAILING
1 | TYPE A
| First Floor | 61.7 | RM |  | 0
| 2nd Floor | 61.7 | RM |  | 0
| 3rd Floor | 61.7 | RM |  | 0
| 4th Floor | 61.7 | RM |  | 0
| 5th Floor | 61.7 | RM |  | 0
2 | TYPE B
| Ground Floor | 1 | RM |  | 0
| First Floor | 5.1 | RM |  | 0
| 2nd Floor | 5.1 | RM |  | 0
| 3rd Floor | 5.1 | RM |  | 0
| 4th Floor | 5.1 | RM |  | 0
| 5th Floor | 5.1 | RM |  | 0
7 | CANVAS SUN SHADE
| Canvas Shading in Roof Terrace | 536 | m2 |  | 0
17 | COMPOUND WALL |  |  |  | 0
1 | Compound Wall 2 mts height With Stiffner Column & Copping Beam 150mm Block work and plaster & painting. | 84.25 | RM |  | 0

## REINFORCMENT (hidden)
|  | FB 1 | FB 2 | FB 3 | FB 4 | FB 5
|  | 9 | 10.9 | 11.8 | 70.2 | 1.4
T25 |  | 10 | 10
T20 |  | 10
T16 |  | 2 | 10 | 22 | 14 | 14
T25 |  | 90 | 109 | 0 | 0 | 0 |  | 199 |  | 40.8205
T20 |  | 90 | 0 | 0 | 0 | 0 |  | 90 |  | 17.6471
T16 |  | 18 | 109 | 259.6 | 982.8 | 19.6 |  | 1389 |  | 263.0682
UNDER GROUND COLUMN
|  |  | C1 | C2 | C3 | C4 | C5 | C6
| NO OF COLUMN |  | 5 | 2 | 5 | 10 | 2 | 2
| Height of column |  | 2.05 | 2.05 | 2.05 | 2.05 | 2.05 | 2.05
| T25 |  | UNDER GROUND COLUMN C1: 12
| T20 |  | UNDER GROUND COLUMN C2: 12
| T16 |  | UNDER GROUND COLUMN C3: 12; UNDER GROUND COLUMN C4: 10
| T12 |  | UNDER GROUND COLUMN C5: 10; UNDER GROUND COLUMN C6: 10
| T25 |  | 123 | 0 | 0 | 0 | 0 | 0 | 123 |  | 25.2308
| T20 |  | 0 | 49.2 | 0 | 0 | 0 | 0 | 49.2 |  | 9.6471
| T16 |  | 0 | 0 | 123 | 205 | 0 | 0 | 328 |  | 62.1212
| T12 |  | 0 | 0 | 0 | 0 | 41 | 41 | 82 |  | 14.7748
No of Stirub |  |  | 56.6667 | 22.6667 | 56.6667 | 113.3333 | 22.6667 | 22.6667
Size of Stirub |  |  | 3.3462 | 3.1746 | 3.7752 | 2.574 | 2.7456 | 2.4882
|  |  | 189.618 | 71.9576 | 213.928 | 291.72 | 62.2336 | 56.3992 | 885.8564 |  | 161.0648
GROUND COLUMN
|  |  | C1 | C2 | C3 | C4 | C5 | C6
| NO OF COLUMN |  | 5 | 2 | 5 | 10 | 2 | 2
| Height of column |  | 3.48 | 3.48 | 3.48 | 3.48 | 3.48 | 3.48
| T25 |  | GROUND COLUMN C1: 12
| T20 |  | GROUND COLUMN C2: 12
| T16 |  | GROUND COLUMN C3: 12; GROUND COLUMN C4: 10
| T12 |  | GROUND COLUMN C5: 10; GROUND COLUMN C6: 10
| T25 |  | 208.8 | 0 | 0 | 0 | 0 | 0 | 208.8 |  | 42.8308
| T20 |  | 0 | 83.52 | 0 | 0 | 0 | 0 | 83.52 |  | 16.3765
| T16 |  | 0 | 0 | 208.8 | 348 | 0 | 0 | 556.8 |  | 105.4545
| T12 |  | 0 | 0 | 0 | 0 | 69.6 | 69.6 | 139.2 |  | 25.0811
No of Stirub |  |  | 116 | 46.4 | 116 | 232 | 46.4 | 46.4
Size of Stirub |  |  | 3.3462 | 3.1746 | 3.7752 | 2.574 | 2.7456 | 2.4882
|  |  | 388.1592 | 147.3014 | 437.9232 | 597.168 | 127.3958 | 115.4525 | 1813.4002 |  | 329.7091
1st Floor COLUMN
|  |  | C1 | C2 | C3 | C4 | C5 | C6
| NO OF COLUMN |  | 5 | 2 | 5 | 10 | 2 | 2
| Height of column |  | 3 | 3 | 3 | 3 | 3 | 3
| T25 |  | 1st Floor COLUMN C1: 12
| T20 |  | 1st Floor COLUMN C2: 12
| T16 |  | 1st Floor COLUMN C3: 12; 1st Floor COLUMN C4: 10
| T12 |  | 1st Floor COLUMN C5: 10; 1st Floor COLUMN C6: 10
| T25 |  | 180 | 0 | 0 | 0 | 0 | 0 | 180 |  | 36.9231
| T20 |  | 0 | 72 | 0 | 0 | 0 | 0 | 72 |  | 14.1176
| T16 |  | 0 | 0 | 180 | 300 | 0 | 0 | 480 |  | 90.9091
| T12 |  | 0 | 0 | 0 | 0 | 60 | 60 | 120 |  | 21.6216
No of Stirub |  |  | 100 | 40 | 100 | 200 | 40 | 40
Size of Stirub |  |  | 3.3462 | 3.1746 | 2.9172 | 2.574 | 2.7456 | 2.4882
|  |  | 334.62 | 126.984 | 291.72 | 514.8 | 109.824 | 99.528 | 1477.476 |  | 268.632
2nd Floor COLUMN
|  |  | C1 | C2 | C3 | C4 | C5 | C6
| NO OF COLUMN |  | 5 | 2 | 5 | 10 | 2 | 2
| Height of column |  | 3 | 3 | 3 | 3 | 3 | 3
| T25 |  | 2nd Floor COLUMN C1: 12
| T20 |  | 2nd Floor COLUMN C2: 12
| T16 |  | 2nd Floor COLUMN C3: 12; 2nd Floor COLUMN C4: 10
| T12 |  | 2nd Floor COLUMN C5: 10; 2nd Floor COLUMN C6: 10
| T25 |  | 180 | 0 | 0 | 0 | 0 | 0 | 180 |  | 36.9231
| T20 |  | 0 | 72 | 0 | 0 | 0 | 0 | 72 |  | 14.1176
| T16 |  | 0 | 0 | 180 | 300 | 0 | 0 | 480 |  | 90.9091
| T12 |  | 0 | 0 | 0 | 0 | 60 | 60 | 120 |  | 21.6216
No of Stirub |  |  | 100 | 40 | 100 | 200 | 40 | 40
Size of Stirub |  |  | 2.9172 | 2.8314 | 2.6598 | 2.574 | 2.7456 | 2.4882
|  |  | 291.72 | 113.256 | 265.98 | 514.8 | 109.824 | 99.528 | 1395.108 |  | 253.656
6th to 9th Floor COLUMN
|  |  | C1 | C2 | C3 | C4 | C5 | C6
| NO OF COLUMN |  | 5 | 2 | 5 | 10 | 2 | 2
| Height of column |  | 3 | 3 | 3 | 3 | 3 | 3
T25
| T20 |  | 6th to 9th Floor COLUMN C1: 4
| T16 |  | 6 | 8 | 8 | 6
| T12 |  | 6th to 9th Floor COLUMN C2: 2; 6th to 9th Floor COLUMN C5: 10; 6th to 9th Floor COLUMN C6: 10
| T25 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| T20 |  | 60 | 0 | 0 | 0 | 0 | 0 | 60 |  | 11.7647
| T16 |  | 90 | 48 | 120 | 180 | 0 | 0 | 438 |  | 82.9545
| T12 |  | 0 | 12 | 0 | 0 | 60 | 60 | 132 |  | 23.7838
No of Stirub |  |  | 100 | 40 | 100 | 200 | 40 | 40
Size of Stirub |  |  | 2.4882 | 2.2308 | 1.6588 | 2.574 | 1.92 | 1.74
|  |  | 248.82 | 89.232 | 165.88 | 514.8 | 76.8 | 69.6 | 1165.132 |  | 211.8422
.11+.11+.11+.11
0.24
0.3432
[10 empty] | 0.4 | 0.28
|  |  | 6th to 9th Floor COLUMN C3: 0.0286 |  | 142.8571 | 100
0.4004

## Concrete (hidden)
UNDER GROUND COLUMN
|  | C1 | C2 | C3 | C4 | C5 | C6
NO OF COLUMN |  | 5 | 2 | 5 | 10 | 2 | 2
SIZE |  | .575*.25 | .55*.250 | .50*.25 | .450*.25 | .650*.20 | .550*.20
|  | 0.11875 | 0.09 | 0.1375 | 0.1125 | 0.13 | 0.11
HEIGHT |  | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8
VOLUME |  | 0.475 | 0.144 | 0.55 | 0.9 | 0.208 | 0.176 | 2.453
PLYWOOD
|  | 1.65 | 1.6 | 1.5 | 1.4 | 1.7 | 1.5
| AREA | 6.6 | 2.56 | 6 | 11.2 | 2.72 | 2.4 | 31.48
10.5638
GROUND COLUMN
|  | C1 | C2 | C3 | C4 | C5 | C6
NO OF COLUMN |  | 5 | 2 | 5 | 10 | 2 | 2
SIZE |  | .575*.25 | .55*.250 | .50*.25 | .450*.25 | .650*.20 | .550*.20
|  | 0.14375 | 0.1375 | 0.125 | 0.1125 | 0.13 | 0.11
HEIGHT |  | 3.48 | 3.48 | 3.48 | 3.48 | 3.48 | 3.48
VOLUME |  | 2.5012 | 0.957 | 2.175 | 3.915 | 0.9048 | 0.7656 | 11.2187
PLYWOOD
|  | 1.65 | 1.6 | 1.5 | 1.4 | 1.7 | 1.5
| AREA | 28.71 | 11.136 | 26.1 | 48.72 | 11.832 | 10.44 | 136.938
45.9523
1ST FLOOR COLUMN
|  | C1 | C2 | C3 | C4 | C5 | C6
NO OF COLUMN |  | 5 | 2 | 5 | 10 | 2 | 2
SIZE |  | .575*.25 | .55*.250 | .50*.25 | .450*.25 | .650*.20 | .550*.20
|  | 0.14375 | 0.1375 | 0.125 | 0.1125 | 0.13 | 0.11
HEIGHT |  | 3 | 3 | 3 | 3 | 3 | 3
VOLUME |  | 2.1562 | 0.825 | 1.875 | 3.375 | 0.78 | 0.66 | 9.6712
PLYWOOD
|  | 1.65 | 1.6 | 1.5 | 1.4 | 1.7 | 1.5
| AREA | 24.75 | 9.6 | 22.5 | 42 | 10.2 | 9 | 118.05
39.6141
2nd FLOOR COLUMN
|  | C1 | C2 | C3 | C4 | C5 | C6
NO OF COLUMN |  | 5 | 2 | 5 | 10 | 2 | 2
SIZE |  | .575*.20 | .55*.20 | .50*.20 | .450*.20 | .650*.20 | .550*.20
|  | 0.115 | 0.11 | 0.1 | 0.09 | 0.13 | 0.11
HEIGHT |  | 3 | 3 | 3 | 3 | 3 | 3
VOLUME |  | 1.725 | 0.66 | 1.5 | 2.7 | 0.78 | 0.66 | 8.025
PLYWOOD
|  | 1.55 | 1.5 | 1.4 | 1.3 | 1.7 | 1.5
| AREA | 23.25 | 9 | 21 | 39 | 10.2 | 9 | 111.45
37.3993
6thFLOOR COLUMN
|  | C1 | C2 | C3 | C4 | C5 | C6
NO OF COLUMN |  | 5 | 2 | 5 | 10 | 2 | 2
SIZE |  | .50*.20 | .45*.20 | .40*.20 | .350*.20 | .650*.20 | .550*.20
|  | 0.1 | 0.09 | 0.08 | 0.07 | 0.13 | 0.11
HEIGHT |  | 3 | 3 | 3 | 3 | 3 | 3
VOLUME |  | 1.5 | 0.54 | 1.2 | 2.1 | 0.78 | 0.66 | 6.78

## CALCULATION SHEET (hidden)
Descreption | Unit | Length | Width | Breadth | Nos | Total
Excavation
Raft |  | 24.38 | 7.62 | 1.6 | 1 | 297.241 | 185.7756
Total | m3 |  |  |  |  | 297.241
Lean
|  | 24.38 | 7.62 | 0.05 | 1 | 9.2888
Total | m2 |  |  |  |  | 9.2888
RAFT Concrete |  | 24.38 | 7.62 | 0.4 | 1 | 74.3102
Total | m3 |  |  |  |  | 74.3102
Foundation Beam
Beams
FB 1 |  | 9 | 0.5 | 0.5 | 1 | 2.25
FB 2 |  | 10.9 | 0.5 | 0.5 | 1 | 2.725
FB 3 |  | 11.8 | 0.45 | 0.5 | 1 | 2.655
FB 4 |  | 70.2 | 0.35 | 0.5 | 1 | 12.285 |  | 24.38
FB 5 |  | 1.4 | 0.35 | 0.5 | 1 | 0.245
Total | m3 |  |  |  |  | 20.16 |  | 1.35
23.03
column Stair & lift wall & tank wall up to Ground level
C 1 &2 | [5 empty] | 0
C 3 | [5 empty] | 0
Stair Pad | [5 empty] | 0
Lift Wall | [5 empty] | 0
Total | m3 |  |  |  |  | 0
Ground Floor Columns
C 1 &2 | [5 empty] | 0
C 3 | [5 empty] | 0
Total | m3 |  |  |  |  | 0
Ground floor Lift Wall | [5 empty] | 0
Total | m3 |  |  |  |  | 0
Fisr floor Beam
B 1,2 & 3 | [5 empty] | 0
B 4,5 & CB 1 | [5 empty] | 0
Total | m3 |  |  |  |  | 0
First Floor Slab
0
0
0
0
Total | m3 |  |  |  |  | 0
Second Floor Beam
B 1,2 & 3 | [5 empty] | 0
B 4,5 & CB 1 | [5 empty] | 0
Total | m3 |  |  |  |  | 0
Second Floor Slab
0
Less | [5 empty] | 0
0
0
0
0
0
Total | m3 |  |  |  |  | 0
Terrace columns
C 3 | [5 empty] | 0
0
Total | m3 |  |  |  |  | 0
Masonry
Protection wall | [5 empty] | 0
Total | m2 |  |  |  |  | 0
Substructure Masonry | [5 empty] | 0
Total | m2 |  |  |  |  | 0
Substructure plaster | [5 empty] | 0
Total | m2 |  |  |  |  | 0
Boundry wall
0
Total | m2 |  |  |  |  | 0
Boundry wall Plaster
0
Total | m2 |  |  |  |  | 0
Ground Floor external masonry | [5 empty] | 0
0
Columns | [5 empty] | 0
GD2 | [5 empty] | 0
D1 | [5 empty] | 0
D1A | [5 empty] | 0
D1B | [5 empty] | 0
W1 | [5 empty] | 0
W2 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
Ground Floor external Plaster
0
0
Columns | [5 empty] | 0
GD2 | [5 empty] | 0
D1 | [5 empty] | 0
D1A | [5 empty] | 0
D1B | [5 empty] | 0
W1 | [5 empty] | 0
W2 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
Ground Floor internal masonry | [5 empty] | 0
0
D1 | [5 empty] | 0
W4 | [5 empty] | 0
W3 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
Ground Floor internal plaster | [5 empty] | 27
0
0
D1 | [5 empty] | 0
W4 | [5 empty] | 0
W3 | [5 empty] | 0
Total | m2 |  |  |  |  | 27
1st Floor external masonry | [5 empty] | 0
Columns | [5 empty] | 0
W1 | [5 empty] | 0
W4 | [5 empty] | 0
W5 | [5 empty] | 0
W6 | [5 empty] | 0
W7 | [5 empty] | 0
W8 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
1st Floor external Plaster | [5 empty] | 0
Columns | [5 empty] | 0
W1 | [5 empty] | 0
W4 | [5 empty] | 0
W5 | [5 empty] | 0
W6 | [5 empty] | 0
W7 | [5 empty] | 0
W8 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
1st Floor internal Msonry | [5 empty] | 0
0
D2 | [5 empty] | 0
D3 | [5 empty] | 0
W3 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
1st Floor internal Plaster | [5 empty] | 64
0
0
D2 | [5 empty] | 0
D3 | [5 empty] | 0
W3 | [5 empty] | 0
Total | m2 |  |  |  |  | 64
2nd Floor external masonry | [5 empty] | 0
0
0
Columns | [5 empty] | 0
W3 | [5 empty] | 0
W4 | [5 empty] | 0
W5 | [5 empty] | 0
W8 | [5 empty] | 0
W9 | [5 empty] | 0
W10 | [5 empty] | 0
D5 | [5 empty] | 0
D7 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
2nd Floor external Plaster
0
0
0
Columns | [5 empty] | 0
W3 | [5 empty] | 0
W4 | [5 empty] | 0
W5 | [5 empty] | 0
W8 | [5 empty] | 0
W9 | [5 empty] | 0
W10 | [5 empty] | 0
D5 | [5 empty] | 0
D7 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
2nd Floor internal Msonry | [5 empty] | 0
0
D2 | [5 empty] | 0
D3 | [5 empty] | 0
D4 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
2nd Floor internal Plaster | [5 empty] | 69
0
0
D2 | [5 empty] | 0
D3 | [5 empty] | 0
D4 | [5 empty] | 0
Total | m2 |  |  |  |  | 69
3rd Floor external masonry | [5 empty] | 0
0
0
Columns | [5 empty] | 0
W3 | [5 empty] | 0
W4 | [5 empty] | 0
W5 | [5 empty] | 0
W8 | [5 empty] | 0
W9 | [5 empty] | 0
W10 | [5 empty] | 0
D5 | [5 empty] | 0
D7 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
3rd Floor external Plaster
0
0
0
Columns | [5 empty] | 0
W3 | [5 empty] | 0
W4 | [5 empty] | 0
W5 | [5 empty] | 0
W8 | [5 empty] | 0
W9 | [5 empty] | 0
W10 | [5 empty] | 0
D5 | [5 empty] | 0
D7 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
3rd Floor internal Msonry | [5 empty] | 0
0
D2 | [5 empty] | 0
D3 | [5 empty] | 0
D4 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
3rd Floor internal Plaster | [5 empty] | 69
0
0
D2 | [5 empty] | 0
D3 | [5 empty] | 0
D4 | [5 empty] | 0
Total | m2 |  |  |  |  | 69
4th Floor external masonry | [5 empty] | 0
0
0
Columns | [5 empty] | 0
W3 | [5 empty] | 0
W4 | [5 empty] | 0
W5 | [5 empty] | 0
W8 | [5 empty] | 0
W9 | [5 empty] | 0
W10 | [5 empty] | 0
D5 | [5 empty] | 0
D7 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
4th Floor external Plaster
0
0
0
Columns | [5 empty] | 0
W3 | [5 empty] | 0
W4 | [5 empty] | 0
W5 | [5 empty] | 0
W8 | [5 empty] | 0
W9 | [5 empty] | 0
W10 | [5 empty] | 0
D5 | [5 empty] | 0
D7 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
4th Floor internal Msonry | [5 empty] | 0
0
D2 | [5 empty] | 0
D3 | [5 empty] | 0
D4 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
4th Floor internal Plaster | [5 empty] | 69
0
0
D2 | [5 empty] | 0
D3 | [5 empty] | 0
D4 | [5 empty] | 0
Total | m2 |  |  |  |  | 69
5th Floor external masonry | [5 empty] | 0
0
0
Columns | [5 empty] | 0
W3 | [5 empty] | 0
W4 | [5 empty] | 0
W5 | [5 empty] | 0
W8 | [5 empty] | 0
W9 | [5 empty] | 0
W10 | [5 empty] | 0
D5 | [5 empty] | 0
D7 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
5th Floor external Plaster
0
0
0
Columns | [5 empty] | 0
W3 | [5 empty] | 0
W4 | [5 empty] | 0
W5 | [5 empty] | 0
W8 | [5 empty] | 0
W9 | [5 empty] | 0
W10 | [5 empty] | 0
D5 | [5 empty] | 0
D7 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
5th Floor internal Msonry | [5 empty] | 0
0
D2 | [5 empty] | 0
D3 | [5 empty] | 0
D4 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
5th Floor internal Plaster | [5 empty] | 69
0
0
D2 | [5 empty] | 0
D3 | [5 empty] | 0
D4 | [5 empty] | 0
Total | m2 |  |  |  |  | 69
6th Floor external masonry | [5 empty] | 0
0
0
Columns | [5 empty] | 0
W3 | [5 empty] | 0
W4 | [5 empty] | 0
W5 | [5 empty] | 0
W8 | [5 empty] | 0
W9 | [5 empty] | 0
W10 | [5 empty] | 0
D5 | [5 empty] | 0
D7 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
6th Floor external Plaster
0
0
0
Columns | [5 empty] | 0
W3 | [5 empty] | 0
W4 | [5 empty] | 0
W5 | [5 empty] | 0
W8 | [5 empty] | 0
W9 | [5 empty] | 0
W10 | [5 empty] | 0
D5 | [5 empty] | 0
D7 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
6th Floor internal Msonry | [5 empty] | 0
0
D2 | [5 empty] | 0
D3 | [5 empty] | 0
D4 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
6th Floor internal Plaster | [5 empty] | 69
0
0
D2 | [5 empty] | 0
D3 | [5 empty] | 0
D4 | [5 empty] | 0
Total | m2 |  |  |  |  | 69
7th Floor external masonry | [5 empty] | 0
0
0
Columns | [5 empty] | 0
W3 | [5 empty] | 0
W4 | [5 empty] | 0
W5 | [5 empty] | 0
W8 | [5 empty] | 0
W9 | [5 empty] | 0
W10 | [5 empty] | 0
D5 | [5 empty] | 0
D7 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
7th Floor external Plaster
0
0
0
Columns | [5 empty] | 0
W3 | [5 empty] | 0
W4 | [5 empty] | 0
W5 | [5 empty] | 0
W8 | [5 empty] | 0
W9 | [5 empty] | 0
W10 | [5 empty] | 0
D5 | [5 empty] | 0
D7 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
7th Floor internal Msonry | [5 empty] | 0
0
D2 | [5 empty] | 0
D3 | [5 empty] | 0
D4 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
7th Floor internal Plaster | [5 empty] | 69
0
0
D2 | [5 empty] | 0
D3 | [5 empty] | 0
D4 | [5 empty] | 0
Total | m2 |  |  |  |  | 69
8th Floor external masonry | [5 empty] | 0
0
0
Columns | [5 empty] | 0
W3 | [5 empty] | 0
W4 | [5 empty] | 0
W5 | [5 empty] | 0
W8 | [5 empty] | 0
W9 | [5 empty] | 0
W10 | [5 empty] | 0
D5 | [5 empty] | 0
D7 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
8th Floor external Plaster
0
0
0
Columns | [5 empty] | 0
W3 | [5 empty] | 0
W4 | [5 empty] | 0
W5 | [5 empty] | 0
W8 | [5 empty] | 0
W9 | [5 empty] | 0
W10 | [5 empty] | 0
D5 | [5 empty] | 0
D7 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
8th Floor internal Msonry | [5 empty] | 0
0
D2 | [5 empty] | 0
D3 | [5 empty] | 0
D4 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
8th Floor internal Plaster | [5 empty] | 69
0
0
D2 | [5 empty] | 0
D3 | [5 empty] | 0
D4 | [5 empty] | 0
Total | m2 |  |  |  |  | 69
9th Floor external masonry | [5 empty] | 0
0
0
Columns | [5 empty] | 0
W3 | [5 empty] | 0
W4 | [5 empty] | 0
W5 | [5 empty] | 0
W8 | [5 empty] | 0
W9 | [5 empty] | 0
W10 | [5 empty] | 0
D5 | [5 empty] | 0
D7 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
9th Floor external Plaster
0
0
0
Columns | [5 empty] | 0
W3 | [5 empty] | 0
W4 | [5 empty] | 0
W5 | [5 empty] | 0
W8 | [5 empty] | 0
W9 | [5 empty] | 0
W10 | [5 empty] | 0
D5 | [5 empty] | 0
D7 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
9th Floor internal Msonry | [5 empty] | 0
0
D2 | [5 empty] | 0
D3 | [5 empty] | 0
D4 | [5 empty] | 0
Total | m2 |  |  |  |  | 0
9th Floor internal Plaster | [5 empty] | 69
0
0
D2 | [5 empty] | 0
D3 | [5 empty] | 0
D4 | [5 empty] | 0
Total | m2 |  |  |  |  | 69
Above Terace external masonry | [5 empty] | 0
Total | m2 |  |  |  |  | 0
Above Terace external Plaster
0
Total | m2 |  |  |  |  | 0

## Sheet1 (hidden)
EXCAVATION
10.54 | 12.25 | 1.5 | 193.6725
0
LEAN CONCRETE |  |  |  | #REF!
10.54 | 12.25 | 0.05 | 6.4557
0
FLOOR CONCRETE |  |  | #VALUE!
10.54 | 12.25 | 0.075 | 9.6836
REINFORCEMENT
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0