## cover
Bill of Quantities
F.Family and Children Service Center

## Summary
PROJECT : F.Family and Children Service Center
SUMMARY OF BILL OF QUANTITIES
Bl.no | Item Description | Amount
1 | PRELIMINARIES | 0
2 | GROUND WORKS | 0
3 | CONCRETE WORKS | 0
4 | MASONRY & PLASTERING | 0
5 | TIMBER WORKS | 0
6 | ROOF COVERING | 0
7 | FLOORING & TILING | 0
8 | CEILING | 0
9 | DOORS & WINDOWS | 0
10 | PAINTING | 0
11 | HYDRAULICS & DRAINAGE | 0
12 | ELECTRICAL INSTALLATIONS | 0
13 | STAIRS, WALKWAYS AND BALUSTRADES | 0
14 | AIRCONDITIONING AND MECHANICAL VENTILATION | 0
15 | FIRE DETECTION & FIRE PROTECTION | 0
16 | LANDSCPAING, BOUNDARY WALL & GUARDHOUSE | 0
| NET TOTAL | 0
| GST(6%) | 0
| GRAND TOTAL | 0

## BOQ
Project : F.Family and Children Service Center
BILL OF QUANTITIES
Item | Description | Unit | Qty | Rate | Amount
BILL No: 01
PRELIMINARIES
1.1 | General Notes
-1 | Abbreviations
m - metre
No - numbers
m³ - cubic metre
m² - square metre
m - metre
t - tonnes
incl - including
mm - millimetre
dia - diameter
SS - Stainless Steel
GI - Galvanised Iron
1.2 | Site Management Costs
-1 | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings, fences and similar items | Item | 1 |  | 0
1.3 | Sign Board
-1 | Allow for sign board. | nos | 1 |  | 0
1.4 | Clean-up
-1 | Allow for clean-up of completed works and site upon completion. | Item | 1 |  | 0
BILL No: 01 PRELIMINARIES
| TOTAL OF BILL No: 01 - Carried over to summary |  |  |  | 0
BILL NO : 02
GROUND WORK
2.1 | General
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating, additional working space and disposing surplus soil.
2.2 | Site clearance
-1 | Clearing site - Dispatch all debris, clearing and dispose all unwanted materials away from site and prepare site ready for proposed construction. | m² | 872.65 |  | 0
2.3 | Excavation
(a) Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork , back fill , dewatering and others
Excavation
-1 | Foundations | m³ | 192.99 |  | 0
2.4 | Back filling
(a) Rates shall include for: leveling, grading, trimming and compacting.
(b) Ground need to be compacted to the required density by the consultant
-1 | 600mm thick highly compacted hard core below ground floor slab | m² | 651.96 |  | 0
2.5 | Damp Proof Membrane
(a) Rates shall include for: dressing around and sealing to all penetrations, laps and turnups.
-1 | Polythene damp proof membrane (500 gauge) laid on blinding layer below foundation and ground floor slab. | m² | 651.96 |  | 0
BILL No: 02 GROUND WORKS
| TOTAL OF BILL No: 02 - Carried over to summary |  |  |  | 0
BILL NO : 03
3.0 | CONCRETE
(a) Rates shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
(b) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:6 by volume.
(c) Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
3.1 | LEAN CONCRETE
50mm thick lean concrete
-1 | Lean concrete below Foundations | m³ | 8.93 |  | 0
REINFORCED CONCRETE
Rate shall include for all cast in situ concrete as per drawing and 500 gauge polythene sheet or asphalt sheet shall be laid below Foundations, Tie beams & Wall Beams as damp proof membrane.
3.2 | FOUNDATIONS
-1 | Foundation Pad F1 | m³ | 4.48 |  | 0
-2 | Foundation Pad F2 | m³ | 17.84 |  | 0
-3 | Foundation Pad F3 | m³ | 4.2 |  | 0
-4 | Foundation Pad F4 | m³ | 7.85 |  | 0
-5 | Foundation Pad F5 | m³ | 1.13 |  | 0
-6 | Foundation beam FB1 | m³ | 12.71 |  | 0
-7 | Tie beam TB1 | m³ | 41.38 |  | 0
Columns at below ground floor level
-1 | Columns; C1 (200 x300mm) - 38 nos | m³ | 1.82 |  | 0
-2 | Columns; C2 (200 x300mm) - 8 nos | m³ | 0.38 |  | 0
-3 | Columns; C3 (200 x200mm) - 4 nos | m³ | 0.13 |  | 0
-4 | Columns; C5 (200 x200mm) - 1 nos | m³ | 0.03 |  | 0
-5 | Columns; C6 (300mm) - 4 nos | m³ | 0.23 |  | 0
3.3 | GROUND FLOOR
Columns
-1 | Columns; C1 (200 x300mm) - 38 nos | m³ | 7.3 |  | 0
-2 | Columns; C2 (200 x300mm) - 8 nos | m³ | 1.54 |  | 0
-3 | Columns; C3 (200 x200mm) - 4 nos | m³ | 0.51 |  | 0
-4 | Columns; C5 (200 x200mm) - 1 nos | m³ | 0.13 |  | 0
-5 | Columns; C6 (300mm) - 4 nos | m³ | 0.9 |  | 0
Slab
-6 | Floor slab, 75mm thick | m³ | 48.64 |  | 0
3.4 | FIRST FLOOR
Beams
-1 | Attached beams, B1 (200x450mm) | m³ | 0.84 |  | 0
-2 | Attached beams, B2 (200x450mm) | m³ | 5.87 |  | 0
-3 | Attached beams, B3 (200x400mm) | m³ | 11.91 |  | 0
-4 | Attached beams, B4 (200x400mm) | m³ | 5.1 |  | 0
-5 | Attached beams, B5 (200x400mm) | m³ | 7.18 |  | 0
Columns
-6 | Columns; C1 (200 x300mm) - 38 nos | m³ | 7.3 |  | 0
-7 | Columns; C2 (200 x300mm) - 8 nos | m³ | 1.54 |  | 0
-8 | Columns; C3 (200 x200mm) - 4 nos | m³ | 0.51 |  | 0
-9 | Columns; C5 (200 x200mm) - 1 nos | m³ | 0.13 |  | 0
-10 | Columns; C6 (300mm) - 4 nos | m³ | 0.9 |  | 0
Slab
-11 | Floor slab, 140mm thick | m³ | 92.97 |  | 0
3.5 | ROOF LEVEL
Attached beams
-1 | Attached beams, B5 (200x400mm) | m³ | 3.03 |  | 0
-2 | Attached beams, B6 (200x400mm) | m³ | 14.64 |  | 0
-3 | Attached beams, B7 (200x400mm) | m³ | 21.09 |  | 0
3.6 | Water proofing
-1 | Apply 2 coats of bitumin paint, Masterseal 420 or equivalent, to all surface of concrete below ground level in accordance with manufacturer's instructions. | item | 1 |  | 0
4.3 | Other concrete works
-1 | R.c.c. Window Sills and Lintels as per drawing | item | 1 |  | 0
-2 | 100 thick RC parapet wall on the balcony | m³ | 3.77 |  | 0
-3 | 100mm thick RC wall on the roof beam of the openings | item | 1 |  | 0
BILL No: 03 - CONCRETE WORKS
| TOTAL OF BILL No: 03 - Carried over to summary |  |  |  | 0
BILL N0: 04
MASONRY & PLASTERING
4.1 | MASONRY
4.1.1 | BELOW GROUND FLOOR LEVEL
-1 | 200mm wide solid brick wall | m² | 208.17 |  | 0
4.1.2 | GROUND FLOOR
-1 | External walls, 100mm thick ( 1:5 ) | m2 | 349 |  | 0
-2 | Internal walls, 100mm thick ( 1:5 ) | m2 | 572.45 |  | 0
4.1.3 | FIRST FLOOR
-1 | External walls, 100mm thick ( 1:5 ) | m2 | 220.62 |  | 0
-2 | Internal walls, 100mm thick ( 1:5 ) | m2 | 395.92 |  | 0
4.1.4 | ROOF LEVEL
-1 | External walls, 100mm thick ( 1:5 ) | m2 | 132.5 |  | 0
4.2 | PLASTERING
(a) 20mm thick Cement plastering on Externalwalls and 15mm thick plastering on interior walls concrete surfaces as specified incl. wire mesh at the joints of concrete surfaces and walls
(b)Rates shall include for External plastering shall 20mm thick (12+8mm) 2 coats in 1:4 cement and river sand mix ratio
c) Rates shall include for approved brand water proofing compound shall be mixed with cement mortar for external wall plastering as per manufacturers specifications.
4.2.1 | BELOW GROUND LEVEL
-1 | Plastering on both sides of 200mm wide solid brick wall | m² | 416.34 |  | 0
4.2.2 | GROUND FLOOR
-1 | External surface of Extrior walls | m2 | 349 |  | 0
-2 | Internal surface of Exterior walls & both sides of interior walls | m2 | 1493.9 |  | 0
4.2.3 | FIRST FLOOR
-1 | External surface of Extrior walls | m2 | 220.62 |  | 0
-2 | Internal surface of Exterior walls & both sides of interior walls | m2 | 1012.46 |  | 0
4.2.4 | ROOF LEVEL
-1 | Both sides of Extrior walls | m2 | 265 |  | 0
BILL No: 04 - MASONRY AND PLASTERING
| TOTAL OF BILL No: 04 - Carried over to summary |  |  |  | 0
BILL N0: 05
TIMBER WORKS
5.1 | General
(a) Rates shall include for all labour in framing,morlding and fitting around projections, grilles and similar and complete with cleats,packers,pipes,light fittings,hatches, wedges and similar and all nails, anchor bolts and screws.
5.2 | TIMBER WORKS
5.2.1 | FLOOR LEVEL
-1 | 50x100mm timber wall plate | m | 149.93 |  | 0
-2 | 75x200 timber ridge beam | m | 8.77 |  | 0
-3 | 50x200 timber hip beam | m | 76.77 |  | 0
-4 | 50x150mm timber roof rafters at 900 c/c | m | 542.17 |  | 0
-5 | 35x50mm timber roof battens at 600 c/c | m | 600.52 |  | 0
BILL No: 05 - TIMBER WORKS
| TOTAL OF BILL No: 05 - Carried over to summary |  |  |  | 0
BILL N0: 06
ROOF COVERING
6.1 | General
(a) Rates shall include for all labour in cutting, fixing,framing, morlding and fitting around projections and similar and all nails, and screws.
6.2 | ROOF COVERING
lysaght or equivalent roofing sheet, including all fixing, fixed in accordance with manufacturer's instrucions.
ROOF LEVEL
-1 | Lysaght roof ridge flashing | m | 68.02 |  | 0
-2 | Gutter flashing | m | 117.28 |  | 0
-3 | Rock wool insulation | m2 | 490.9 |  | 0
-4 | Lysaght roofing sheets | m2 | 490.9 |  | 0
BILL No: 06 - ROOF COVERING
| TOTAL OF BILL No: 06 - Carried over to summary |  |  |  | 0
BILL N0: 07
FLOORING & TILING
7.1 | General
(a) Rates shall include for laying 50mm thick cement mortar in 1 : 5 mix ratio,cleaning down to reveals where necessary and water proofing of Toilet and Balcony floors & Terrace.
(b) Rates shall include for: Fixing, bedding, grouting, and pointing materials, making good around pipes, sanitary fixtures, and similar; cleaning & Polishing.
(c) All Tiling work in accordance with specifications and finishes schedule.Toilet wall tiling shall be at ceiling height from the floor level. Toilet wall tiles shall be 300 x 200 mm size ceramic Polished tiles and Toilet Floor Tiles shall be 200 x 200mm Non- Slip ceramicTiles.
7.2 | FLOORING
50mm thick Cement Screeding
7.2.1 | GROUND FLOOR
-1 | Lobby | m2 | 136.05 |  | 0
-2 | Dining Area | m2 | 85.34 |  | 0
-3 | Kitchen, Kitchen store | m2 | 36.36 |  | 0
-4 | Library | m2 | 28.17 |  | 0
-5 | Rooms | m2 | 146.33 |  | 0
-6 | Store room, health room | m2 | 15.99 |  | 0
-7 | Toilets, wash area, trash | m2 | 97.05 |  | 0
-8 | Staircase | m2 | 14.81 |  | 0
-9 | Court Yards | m2 | 66.52 |  | 0
-10 | Entrances, steps, ramps | m2 | 19.89 |  | 0
7.2.2 | FIRST FLOOR
-1 | Lobby and Study Hall, Reception, Play area | m2 | 194.867 |  | 0
-2 | Offices, Meeting Rooms, Counseling rooms, Archive | m2 | 188.153 |  | 0
-3 | Tea Room, Laundry, Prayer room, First Aid & Feeding | m2 | 60.611 |  | 0
-4 | Toilets, wash area | m2 | 27.742 |  | 0
-5 | Open Terrace | m2 | 136.7 |  | 0
7.3 | TILING
All Tiling work in accordance with specifications and finishes schedule.Wall tiling shall be at ceiling height from the floor level. Toilet wall tiles shall be 300 x 600 mm size ceramic Polished tiles and Toilet Floor Tiles shall be 300 x 300mm Non- Slip ceramicTiles(or any other approved by the client/consultant)
7.3.1 | GROUND FLOOR
Floor tiling
-1 | Lobby | m2 | 136.05 |  | 0
-2 | Dining Area | m2 | 85.34 |  | 0
-3 | Kitchen, Kitchen store | m2 | 36.36 |  | 0
-4 | Library | m2 | 28.17 |  | 0
-5 | Rooms | m2 | 146.33 |  | 0
-6 | Store room, health room | m2 | 15.99 |  | 0
-7 | Toilets, wash area, trash | m2 | 97.05 |  | 0
-8 | Staircase | m2 | 14.81 |  | 0
-9 | Court yards | m2 | 66.52 |  | 0
-10 | Entrances, steps, ramps | m2 | 19.89 |  | 0
Wall tiling
-11 | Kitchen, kitchen store | m2 | 73.35 |  | 0
-12 | Toilets | m2 | 425.66 |  | 0
7.3.1 | FIRST FLOOR
Floor tiling
-1 | Lobby and Study Hall, Reception, Play area | m2 | 194.867 |  | 0
-2 | Offices, Meeting Rooms, Counseling rooms, Archive | m2 | 188.153 |  | 0
-3 | Tea Room, Laundry, Prayer room, First Aid & Feeding | m2 | 60.611 |  | 0
-4 | Toilets, wash area | m2 | 27.742 |  | 0
-5 | Open Terrace | m2 | 136.7 |  | 0
-6 | Staircase | m2 | 9.88 |  | 0
Wall tiling
-7 | Tea Room Sink area | m2 | 9.68 |  | 0
-8 | Toilets | m2 | 139.4 |  | 0
BILL No: 07 - FLOORING & TILING
| TOTAL OF BILL No: 07 - Carried over to summary |  |  |  | 0
BILL No: 08
CEILING
8.1 | General
(a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails,bolts & screws.
(b) Rates shall include for applying approved quality wood preservators as per manufactures instructions for all Timber structures.
8.2 | CEILING
(a) Rates shall include for 9mm thick gypsum board fixed on 35 x 50mm Timber frame,trimming, nails, screws,hooks, hangers, clips and similar.
(b) Rates shall include for plasterboard drywall grid ceiling system for the areas specified in the finishing schedule
8.2.1 | GROUND FLOOR
Ceiling system specified in the finishing schedule to
-1 | Lobby | m2 | 136.05 |  | 0
-2 | Dining Area | m2 | 85.34 |  | 0
-3 | Kitchen, Kitchen store | m2 | 36.36 |  | 0
-4 | Library | m2 | 28.17 |  | 0
-5 | Rooms | m2 | 146.33 |  | 0
-6 | Store room, health room | m2 | 15.99 |  | 0
-7 | Toilets, wash area, trash | m2 | 97.05 |  | 0
8.2.1 | FIRST FLOOR
Ceiling system specified in the finishing schedule to
-1 | Lobby and Study Hall, Reception, Play area | m2 | 194.867 |  | 0
-2 | Offices, Meeting Rooms, Counseling rooms, Archive | m2 | 188.153 |  | 0
-3 | Tea Room, Laundry, Prayer room, First Aid & Feeding | m2 | 60.611 |  | 0
-4 | Toilets, wash area | m2 | 27.742 |  | 0
BILL No: 08 - CEILING
| TOTAL OF BILL No: 08 - Carried over to summary |  |  |  | 0
BILL N0: 09
DOORS AND WINDOWS
9.1 | General
(a) Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
(b) Rates shall include for door frames and window frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings and installation.
(c) All Timber door frames shall be treated timber.
(d) All louvres, windows and sliding doors shall be 30 micron powder coated aluminium
9.2 | GROUND FLOOR
Door units
-1 | D1- Timber door as per drawings. (1600x2600mm) | nos | 1 |  | 0
-2 | D2- Timber door as per drawings. (900x2150mm) | nos | 3 |  | 0
-3 | D4- Timber door as per drawings. (900x2000mm) | nos | 4 |  | 0
-4 | D5- Timber door as per drawings. (900x2150mm) | nos | 6 |  | 0
-5 | D6- Timber door as per drawings. (800x2150mm) | nos | 13 |  | 0
-6 | D7- Timber door as per drawings. (700x2150mm) | nos | 12 |  | 0
-7 | D8- Timber door as per drawings. (900x2150mm) | nos | 3 |  | 0
-8 | D10- Aluminum door as per drawings. (3100x2150mm) | nos | 1 |  | 0
-9 | D11- Aluminum door as per drawings. (3225x2150mm) | nos | 1 |  | 0
Window units
-1 | W1- Aluminum Framed glass panel windows as per drawings (2510x2300mm) | nos | 4 |  | 0
-2 | W2- Aluminum Framed glass panel windows as per drawings (1775x2300mm) | nos | 2 |  | 0
-3 | W3- Aluminum Framed glass panel windows as per drawings (1273x2300mm) | nos | 2 |  | 0
-4 | W4- Aluminum Framed glass panel windows as per drawings (1550x1700mm) | nos | 3 |  | 0
-5 | W5- Aluminum Framed glass panel windows as per drawings (1050x1700mm) | nos | 13 |  | 0
-6 | W8- Aluminum Framed glass panel windows as per drawings (1006x700mm) | nos | 2 |  | 0
-7 | W9- Aluminum Framed glass panel windows as per drawings (1150x700mm) | nos | 2 |  | 0
-8 | W10- Aluminum Framed glass panel windows as per drawings (600x700mm) | nos | 9 |  | 0
-9 | W11- Aluminum Framed glass panel windows as per drawings (1700x700mm) | nos | 2 |  | 0
-10 | W16a- Aluminum Framed glass panel windows as per drawings (1500x2250mm) | nos | 1 |  | 0
9.2 | FIRST FLOOR
Door units
-1 | D2- Timber door as per drawings. (900x2150mm) | nos | 1 |  | 0
-2 | D3- Timber door as per drawings. (1600x2000mm) | nos | 3 |  | 0
-3 | D5- Timber door as per drawings. (900x2150mm) | nos | 16 |  | 0
-4 | D7- Timber door as per drawings. (700x2150mm) | nos | 7 |  | 0
-5 | D9- Aluminum door as per drawings. (2225x2250mm) | nos | 1 |  | 0
Window units
-1 | W7- Aluminum Framed glass panel windows as per drawings (1200x1900mm) | nos | 8 |  | 0
-2 | W9- Aluminum Framed glass panel windows as per drawings (1150x700mm) | nos | 1 |  | 0
-3 | W10- Aluminum Framed glass panel windows as per drawings (600x700mm) | nos | 3 |  | 0
-4 | W12- Aluminum Framed glass panel windows as per drawings (2000x1800mm) | nos | 3 |  | 0
-5 | W13- Aluminum Framed glass panel windows as per drawings (1006x2250mm) | nos | 4 |  | 0
-6 | W14- Aluminum Framed glass panel windows as per drawings (2350x1700mm) | nos | 6 |  | 0
-7 | W15- Aluminum Framed glass panel windows as per drawings (2950x2250mm) | nos | 5 |  | 0
-8 | W15a- Aluminum Framed glass panel windows as per drawings (2950x2250mm) | nos | 1 |  | 0
-9 | W16- Aluminum Framed glass panel windows as per drawings (1500x2250mm) | nos | 2 |  | 0
-10 | W16a- Aluminum Framed glass panel windows as per drawings (1500x2250mm) | nos | 1 |  | 0
-11 | W17- Aluminum Framed glass panel windows as per drawings (2050x1150mm) | nos | 1 |  | 0
-12 | W18- Aluminum Framed glass panel windows as per drawings (2050x1700mm) | nos | 1 |  | 0
BILL N0: 09 - DOORS AND WINDOWS
| TOTAL OF BILL No: 09 - Carried over to summary |  |  |  | 0
BILL No: 10
PAINTING
10.1 | General
(a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window furniture.
(b) All painting work shall be carried in accordance with the Specifications
(c)Rate shall include for weather proof paint finish for exterior surfaces of the wall complete including application of two coats of oil based wall sealer and two coats of weather bond paint
(d)Rate shall include for putty and paint finish for interior surfaces of the wall and ceilings complete including application of two coats of wall sealer, two coats of putty finish and two coats of emulsion paint finish on top for Interior painting.
10.2 | GROUND FLOOR
-1 | Painting exterior surfaces of external walls | m2 | 349 |  | 0
-2 | Painting interior surfaces of external and both sides ofintenal walls | m2 | 1493.9 |  | 0
-3 | Painting ceiling surface | m2 | 545.29 |  | 0
10.3 | FIRST FLOOR
-1 | Painting exterior surfaces of external walls | m2 | 220.62 |  | 0
-2 | Painting interior surfaces of external and both sides ofintenal walls | m2 | 1012.46 |  | 0
-3 | Painting ceiling surface | m2 | 471.373 |  | 0
BILL No: 10 - PAINTING
| TOTAL OF BILL No: 10 - Carried over to summary |  |  |  | 0
BILL No: 11
HYDRAULICS & DRAINAGE
11.1 | General
(a) Design provide and install plumbing network for the entire building complete in accordance to standard set by the local governing body MWSC
(b) The following items and description and the plumbing drawings are given as guidance as to the nature of the information to be returned by the contractor.
(c) Ground water connection shall be made as specified in the drawings.
(d) The cost shall include for; sockets, running joints, connectors, elbows, junctions, reducers, expansion joints, back nuts and similar, incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails , pvc glues, threadseals and fixing complete, including cutting and forming holes, excavating, laying pipes , backfilling trenches.
(e) All pipes shall be High Pressure uPVC "Mutha" or equivalent brand.
11.2 | HYDRAULICS
-1 | Charges supply and fixing for piping for all ground water and fresh water supply connection to the fixtures | item | 1 |  | 0
-2 | Charges for supply and Installation of ground water pump for all ground water supply connection to the fixtures to all floors | item | 1 |  | 0
11.3 | SANITARY FIXTURES &ACCESSORIES
11.3.1 | GROUND FLOOR
| No. of toilets | no | 11
-1 | WC | no | 11 |  | 0
-2 | Wash basin with trap | no | 19 |  | 0
-3 | Wash basin tap | no | 19 |  | 0
-4 | Water Tap | no | 9 |  | 0
-5 | Toilet paper holder | no | 11 |  | 0
-6 | Soap holder | no | 11 |  | 0
-7 | Mirror set | no | 11 |  | 0
-8 | Muslim Shower | no | 11 |  | 0
-9 | Floor trap | no | 17 |  | 0
-10 | Hand shower | no | 9 |  | 0
-11 | Head shower | no | 9 |  | 0
| No. of kitchen | no | 1
-12 | Sink with trap | no | 2 |  | 0
-13 | Sink tap | no | 2 |  | 0
-14 | Floor trap | no | 1 |  | 0
11.3.1 | FIRST FLOOR
| No. of toilets | no | 4
-1 | WC | no | 4 |  | 0
-2 | Wash basin with trap | no | 4 |  | 0
-3 | Wash basin tap | no | 4 |  | 0
-4 | Water Tap | no | 4 |  | 0
-5 | Toilet paper holder | no | 4 |  | 0
-6 | Soap holder | no | 4 |  | 0
-7 | Mirror set | no | 4 |  | 0
-8 | Muslim Shower | no | 4 |  | 0
-9 | Floor trap | no | 7 |  | 0
| No. of kitchen | no | 1
-10 | Sink with trap | no | 1 |  | 0
-11 | Sink tap | no | 1 |  | 0
-12 | Water tap for the laundry | no | 3 |  | 0
-13 | Floor trap for the laundry | no | 1 |  | 0
11.4 | DRAINAGE
Pipe work
(1) | Charges for Supply and Installation of piping for all discharge pipe network to all floors including sewerage and drainage pipes with all necessary connection to the Inspection chambers and main junctions from the fixtures. | item | 1 |  | 0
Inspection chambers
-2 | Charges for construction of R.c.c. Inspection chambers, 600 x 600mm size, at ground level to receive all waistages through pipes from all floors. | no | 2 |  | 0
Ground water well
-3 | Charges for construction of R.c.c.ground water well, dia 1200mm size | item | 1 |  | 0
BILL No: 11 - HYDRAULICS AND DRAINAGE
| TOTAL OF BILL No: 11 - Carried over to summary |  |  |  | 0
BILL No: 12
ELECTRICAL INSTALLATIONS
12 | General
(a) Rates shall include for screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, standard cable fixing or supporting clips and brackets.
(b) Rates shall include for electrical conduits, fittings equipment and similar all fixings to various building surface
(c) Rates shall include for supply and comlete instalation
12.1 | GROUND FLOOR
1.1 | Mains connections
-1 | Allow for connection to electrical mains and installation of meters | nos | 1 |  | 0
-2 | Floor distribution boards | nos | 1 |  | 0
1.2 | Ceilig Fans
-1 | Ceilig fans | nos | 18 |  | 0
-2 | Fan dimmer 900mm from FFL | nos | 18 |  | 0
1.3 | Electrical wiring
Electrical wiring with copper conductor cable in conduits in walls and in casing on soffits of slab as specified to:
-1 | Wiring to lighting (complete) | item | 32 |  | 0
-2 | wiring power points (complete) | item | 15 |  | 0
1.4 | Lighting
-1 | Ceiling mount light | nos | 148 |  | 0
-2 | Wall mount light | nos | 10 |  | 0
-3 | Soffit mount weather proof light | nos | 2 |  | 0
-4 | Weather proof mount light | nos | 14 |  | 0
-5 | Non maintained wall mount emergency light (3 hrs) | nos | 5 |  | 0
-6 | Weather proof garden light with sensor | nos | 6 |  | 0
-5 | Switch single gang (one way) | nos | 31 |  | 0
-6 | Switch double gang (one way) | nos | 26 |  | 0
-6 | Switch four gang (two way) | nos | 4 |  | 0
-7 | Switch four gang (one way) | nos | 20 |  | 0
1.5 | Power
-1 | 1x13A socket outlet 300 from FFL | nos | 10 |  | 0
-2 | 2x13A socket outlet 300 from FFL | nos | 10 |  | 0
-4 | Socket outlet emergency light 300 from roof beam | nos | 1 |  | 0
-5 | Socket outlet for AC 300 from roof beam | nos | 15 |  | 0
-6 | 1x13A socket outlet -shaver socket-water proof at 1200 from FFL | nos | 7 |  | 0
-7 | 2x15A socket outlet -for water heater -water proof at 1200 from FFL | nos | 8 |  | 0
-8 | Socket outlet for hood and ignition | nos | 2 |  | 0
1.6 | Network connections
-1 | allow for tv connection | item | 4 |  | 0
-2 | allow for internet connections | item | 4 |  | 0
12.1 | FIRST FLOOR
-2 | Floor distribution boards | nos | 1 |  | 0
1.2 | Ceilig Fans
-1 | Ceilig fans | nos | 5 |  | 0
-2 | Fan dimmer 900mm from FFL | nos | 5 |  | 0
1.3 | Electrical wiring
Electrical wiring with copper conductor cable in conduits in walls and in casing on soffits of slab as specified to:
-1 | Wiring to lighting/fan (complete) | item | 41 |  | 0
-2 | wiring power points (complete) | item | 15 |  | 0
1.4 | Lighting
-1 | Ceiling mount light | nos | 116 |  | 0
-2 | Wall mount light | nos | 3 |  | 0
-4 | Weather proof mount light | nos | 6 |  | 0
-5 | Non maintained wall mount emergency light (3 hrs) | nos | 4 |  | 0
-5 | Switch single gang (one way) | nos | 8 |  | 0
-6 | Switch double gang (one way) | nos | 4 |  | 0
-7 | Switch two gang (two way) | nos | 8 |  | 0
-8 | Switch four gang (one way) | nos | 15 |  | 0
-9 | Switch four gang (two way) | nos | 5 |  | 0
1.5 | Power
-1 | 1x13A socket outlet 300 from FFL | nos | 6 |  | 0
-2 | 2x13A socket outlet 300 from FFL | nos | 40 |  | 0
-3 | 2x13A socket outlet 1000 from FFL | nos | 4 |  | 0
-4 | Socket outlet emergency light 300 from roof beam | nos | 4 |  | 0
-5 | Socket outlet for AC 300 from roof beam | nos | 12 |  | 0
1.6 | Network connections
-1 | allow for tv connection | item | 4 |  | 0
-2 | allow for internet connections | item | 26 |  | 0
BILL No: 12 - ELECTRICAL INSTALLATIONS
| TOTAL OF BILL No: 12 - Carried over to summary |  |  |  | 0
BILL No: 13
STAIRS, WALKWAYS AND BALUSTRADES
13 | General
(a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts incl. those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
(b) Rates shall include for fabrication and erection and temporary supports and fixing into position.
13.1 | Staircase railing
-1 | Charges for supply and installation of SS pipe hand railing as per the drawing | item | 1 |  | 0
13.2 | Wheelchair Lift
-1 | Charges for supply and installation of Wheelchair lift approved by the Consultant. Rates shall include for installation as per manufactures instructions. | item | 1 |  | 0
BILL No: 13 - STAIRS, WALKWAYS AND BALUSTRADES
| TOTAL OF BILL No: 13 - Carried over to summary |  |  |  | 0
BILL No: 14
AIRCONDITIONING AND MECHANICAL VENTILATION
14 | General
(a) Rate shall include for necessary chasing, trenching, conduits, cables, cable trays, fittings and clips, cutting holes and chases in brick work/ block work/ concrete work, making good to all disturbed and complete with all necessary accessories such as sockets, connections, cable glands, boxes, hardware clips, soldering and jointing materials etc., for proper installing and laying of cables.
(b) Please refer to specifications and relevant drawings for specific details.
(c) Rates for piping system shall include for all piping with all necessary pipe fittings and valves.
(d) Rates for VRV/VRF Outdoor Units shall include for all Vibration Isolators, Power connection, Emergency stop switch, valves, refrigerant copper pipes complete with insulation and aluminum cladding with fittings and supports connections, fixing accessories necessary for complete to working order
14.1 | GROUND FLOOR
14.1.1 | Air Cooled VRV/VRF system
Supply & installation of Air Cooled, Multi Zone, Variable Refrigerant Flow (VRF) system with wired remote controller. The VRF system shall be of the inverter 2-pipe series in cooling only operation. Each system / zone shall be based on one air cooled outdoor unit connected via a single refrigerant circuit, comprising suction and liquid pipework, to up to 16 indoor units of different models and capacities.
Wall Mount Units
-1 | Wall mount unit - 5000 BTU/hr | Nos | 1 |  | 0
-2 | Wall mount unit - 7000 BTU/hr | Nos | 10 |  | 0
-3 | Wall mount unit - 9000 BTU/hr | Nos | 3 |  | 0
Ceiling Cassette Units
-1 | Ceiling Cassette Unit - 18000 BTU/hr | Nos | 1 |  | 0
-2 | Ceiling Cassette Unit - 24000 BTU/hr | Nos | 2 |  | 0
14.1.2 | Split Air-condition
Supply & installation of inverter type split Air-condition as per the drawing
-1 | Wall mount unit - 5000 BTU/hr | Nos | 1 |  | 0
14.1.3 | Mechanical ventilation system
Supply & installation of mechanical ventilation system as per the drawing
-1 | Ceiling concealed inline | Nos | 15 |  | 0
-2 | Wall mounted | Nos | 6 |  | 0
14.2 | FIRST FLOOR
14.2.1 | Multi-Split Air-condition
Supply & installation of inverter type muilt -split Air-condition as per the drawing.
Wall Mount Units
-1 | Wall mount unit - 5000 BTU/hr | Nos | 2 |  | 0
-2 | Wall mount unit - 7000 BTU/hr | Nos | 1 |  | 0
Ceiling Cassette Units
-1 | Ceiling Cassette unit - 24000 BTU/hr | Nos | 2 |  | 0
14.2.2 | Split Air-condition
Supply & installation of inverter type split Air-condition as per the drawing
-1 | Wall mount unit - 5000 BTU/hr | Nos | 2 |  | 0
-2 | Wall mount unit - 7000 BTU/hr | Nos | 4 |  | 0
-3 | Wall mount unit - 12000 BTU/hr | Nos | 4 |  | 0
14.2.3 | Mechanical ventilation system
Supply & installation of mechanical ventilation system as per the drawing
-1 | Ceiling concealed inline | Nos | 6 |  | 0
-2 | Wall mounted | Nos | 2 |  | 0
BILL No: 14 - AIRCONDITIONING AND MECHANICAL VENTILATION
| TOTAL OF BILL No: 14 - Carried over to summary |  |  |  | 0
BILL No: 15
FIRE DETECTION & FIRE PROTECTION
15 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for cable conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
(c) Rates shall include for all necessary electrical wiring and accessories required for completion
(d) All items shall be supply and complete installation
15.1 | Fire Detection & Fire Alarm System (Confirming to BS EN 54-1)
Supply and installation of
-1 | Smoke detectors | Nos | 66 |  | 0
-2 | Heat detectors | Nos | 2 |  | 0
-3 | Fire panel | Nos | 1 |  | 0
-4 | Manual call points | Nos | 11 |  | 0
-5 | Sounder with strobe light | Nos | 11 |  | 0
-6 | Exit Sign | Nos | 3 |  | 0
15.2 | Fire Extinguishers (Confirming to BS EN 3-10)
Supply and installation of
-1 | Dry chemical powder fire extinguishers | Nos | 12 |  | 0
-2 | CO2 gas fire extinguishers | Nos | 13 |  | 0
-3 | Water based extinguishers (9kgs) | Nos | 12 |  | 0
-4 | Fire blanket | Nos | 1 |  | 0
BILL No: 15 - FIRE DETECTION & FIRE PROTECTION
| TOTAL OF BILL No: 15 - Carried over to summary |  |  |  | 0
BILL No: 16
LANDSCPAING, BOUNDARY WALL & GUARDHOUSE
16 | General
(a) Rates shall include for: all planting work, fixing, excavation, backfilling, fertilization, seedlings and planting trees.
(b) Rates shall include for supply of seedlings and planting trees/shrubs, according to the drawing and specification approved by the Consultant
(c) Allow for supply and installation of landscape lighting as per the architects landscape design including necessary under ground wiring, junction boxes etc.
16.1 | Landscaping
-1 | Supply and planting trees/shrubs | item | 1 |  | 0
-2 | Supply and installation of outdoor furniture as per drawing | item | 1 |  | 0
-3 | Supply and installation of timber pergola as per drawing | item | 1 |  | 0
-4 | Supply and installtion of paving for the walkways as per the drawing | item | 1 |  | 0
-5 | Supply and installation of paving blocks for the motor cycle parking area | item | 1 |  | 0
16.2 | Boundary wall
Concrete works as per the drawing
-1 | Wall foundation beam, (200x300mm) | m³ | 1.74 |  | 0
-2 | Columns (150x150mm) | m³ | 0.34 |  | 0
-3 | Wall capping beam (150x125mm) | m³ | 0.54 |  | 0
Masonry works as per the drawing
-3 | External wall, 100mm thick (1:5) | m2 | 43.55 |  | 0
Plastering works as per the drawing
-4 | External surface of Extrior walls | m2 | 87.1 |  | 0
Painting/finishing works as per the drawing
-5 | Painting exterior surfaces of external walls | m2 | 87.1 |  | 0
-6 | Supply and fixing of granite/stone tile | item | 1 |  | 0
Gate as per the drawing
-7 | Supply and installation of boundary wall gate | item | 1 |  | 0
16.3 | Guardroom
Concrete works as per the drawing
-1 | Wall foundation beam, (200x300mm) | m³ | 0.53 |  | 0
-2 | Columns (150x150mm) | m³ | 0.48 |  | 0
-3 | Roof beam (400x150mm) | m³ | 0.53 |  | 0
-4 | Roof slab, 100mm thick | m³ | 0.88 |  | 0
-5 | Floor slab, 75mm thick | m³ | 0.32 |  | 0
Masonry works as per the drawing
-3 | External wall, 100mm thick (1:5) | m2 | 18.93 |  | 0
Plastering works as per the drawing
-4 | External surface of Extrior walls | m2 | 37.86 |  | 0
Painting/finishing works as per the drawing
-5 | Painting interior surfaces | m2 | 42.12 |  | 0
-6 | Painting exterior surfaces | m2 | 53.55 |  | 0
-7 | Supply and fixing of tiles | m2 | 4.26 |  | 0
-8 | Supply and fixing of granite/stone tile | m2 | 1 |  | 0
Doors/Windows as per the drawing
-9 | Supply and installation of door (2600x750 mm) | Nos | 1 |  | 0
-10 | Supply and installation of windows (1700x1700 mm) | Nos | 2 |  | 0
-11 | Supply and installation of windows (1700x550 mm) | Nos | 1 |  | 0
BILL No: 16 - LANDSCPAING, BOUNDARY WALL & GUARDHOUSE
| TOTAL OF BILL No: 16 - Carried over to summary |  |  |  | 0