## Boq
PROJECT : CONSTRUCTION OF PROPOSED THREE (3) STOREY CLASSROOM BLOCK AT GDH.THINADHOO
Item | Description | Unit | Qty | Material Rate | Labour Rate | Total
BILL No: 01
PRELIMINARIES
1.1 | General Notes
(1) | Abbreviations
m - metre
no - numbers
m³ - cubic metre
m² - square metre
m - metre
t - tonnes
incl - including
mm - millimetre
dia - diameter
SS - Stainless Steel
GI - Galvanised Iron
1.2 | Site Management Costs
(1) | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings, fences and similar items | Item | 1 |  | 0 | 0
0
1.3 | Sign Board |  |  |  |  | 0
(1) | Allow for sign board. | No | 1 |  | 0 | 0
0
1.4 | SAFETY |  |  |  |  | 0
(1) | Safety - Providing and fixing scaffolding with G.I. pipes and clamps and pvc netting alaround building during construction | Item | 1 |  | 0 | 0
[5 empty] | 0 | 0
1.5 | Clean-up |  |  |  | 0 | 0
(1) | Allow for clean-up of completed works and site upon completion. | Item | 1 |  | 0 | 0
BILL No: 01 PRELIMINARIES
| TOTAL OF BILL No: 01 - Carried over to summary |  |  |  |  | 0
BILL NO : 02
GROUND WORK
2.1 | General
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating, additional working space and disposing surplus soil.
2.2 | Site clearance |  |  |  |  | 0
| Clearing grass, bushes, shrubs, saplings, uprooting rank vegetation all along the pipeline route and removal & disposal of rubbish to approved tips anywhere in the island as directed by the Engineer-in-charge. | Item | 1 |  |  | 0 |  | 27.794 | 38.9116
| Cutting of trees, including trunks, branching and removal of stumps, roots, stacking of serviceable materials with all lifts and up to all lead within project area and earth filling in the depression/pit, including excavation & backfilling. | Item | 1 |  |  | 0
2.3 | EXCAVATION: |  |  |  |  | 0
| (a) Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork , dewatering and others |  |  |  |  | 0
1 ) | FOUNDATION FOOTINGS |  |  |  |  | 0
a ) | F1 - 2200 x 2200 x 1300mm depth | m³ | 62.92 |  |  | 0 | 62.92
b ) | F2 - 2000 x 2000 x 1300mm depth | m³ | 26 |  |  | 0 | 26
c ) | F3 - 1600 x 1600 x 1250mm depth | m³ | 3.2 |  |  | 0 | 3.2
d ) | F4 - 1400 x 1400 x 1200mm depth | m³ | 16.5 |  |  | 0 | 16.464
2 ) | FOUNDATION BEAM (WF1) |  |  |  |  | 0
a ) | WF1 - 300 x 300mm (Excavation depth 950mm) | m³ | 38.3 |  |  | 0 | 9.12 | 7.8 | 13.72 | 30 | 5.4 | 8.52 | 6 | 80.56 | 38.266
2.4 | Back filling
a ) Rates shall include for: leveling, grading, trimming and compacting.
b ) Ground need to be compacted to the density required by the consultant
1 ) | Labor charges for backfilling with Excavated earth up to ground Level. (Excavated earth shall be reused for Back filling up to Ground Level. Hence, Material rate shall not be applied) | m² | 125 |  |  | 0
2 ) | 500mm thick highly compacted hard core from Ground Level and up to ground floor slab - General Floor | m² | 168.1 |  |  | 0
3 ) | 450mm thick highly compacted hard core from Ground Level and up to ground floor slab - Corridors | m² | 87 |  |  | 0 | 86.436 | 0.124 | 86.56
4 ) | 50mm thick sand blinding layer (1:10 - Cement & Sand mix) to receive damp proof membrane below ground floor slab | m² | 280.1 |  |  | 0
2.5 | Damp Proof Membrane |  |  |  |  | 0
| (a) Rates shall include for: dressing around and sealing to all penetrations, laps and turnups. |  |  |  |  | 0
1 ) | Polythene damp proof membrane (500 gauge) laid on blinding layer. | m² | 753.75 |  |  | 0 | #REF!
[6 empty] | 0 | #REF!
BILL No: 02 GROUND WORKS
| TOTAL OF BILL No: 02 - Carried over to summary |  |  |  |  | 0
BILL NO : 03
3.0 | CONCRETE
(a) Rates shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
(b) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:6 by volume.
| (c) Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork. | [5 empty] | 62.92
3.1.1 | LEAN CONCRETE | [5 empty] | 26
| 50mm thick lean concrete | [5 empty] | 3.2
1 ) | FOOTINGS |  |  |  |  | 0
a ) | F1 - 2200 x 2200 x 350mm | m² | 48.4 |  |  | 0 | 48.4
b ) | F2 - 2000 x 2000 x 350mm | m² | 20 |  |  | 0 | 20
c ) | F3 - 1600 x 1600 x 300mm | m² | 2.56 |  |  | 0 | 2.56
d ) | F4 - 1400 x 1400 x 300mm | m² | 13.72 |  |  | 0 | 13.72
2 ) | FOUNDATION BEAM (WF1) |  |  |  |  | 0
a ) | WF1 - 300 x 300mm | m² | 40.3 |  |  | 0 | 9.12 | 7.8 | 13.72 | 30 | 5.4 | 8.52 | 6 | 80.56 | 40.28
3.2 | REINFORCED CONCRETE | [5 empty] | 9.12 | 7.8 | 13.72 | 30 | 5.4 | 8.52 | 6 | 80.56 | 38.266
Rate shall include for all cast in situ concrete as per drawing and 500 gauge polythene sheet or asphalt sheet shall be laid below Foundations, Tie beams & Wall Beams as damp proof membrane.
1.0 | FOUNDATIONS
1.1 | FOOTINGS
a ) | F1 - 2200 x 2200 x 350mm x 10nos | m³ | 17 |  |  | 0 | 16.94
b ) | F2 - 2000 x 2000 x 350mm x 05nos | m³ | 7 |  |  | 0 | 7
c ) | F3 - 1600 x 1600 x 300mm x 01no: | m³ | 0.77 |  |  | 0 | 0.768
d ) | F4 - 1400 x 1400 x 300mm x 07nos | m³ | 4.12 |  |  | 0 | 4.116
0
1.2 | FOUNDATION BEAM |  |  |  |  | 0
1 ) | WF1 - 300 x 300mm | m3 | 13.22 |  |  | 0 | 47.04 | 78.4 | 18.5 | 2.92 | 146.86 | 13.2174
1.3 | R.C.C. RETAINING WALL |  |  |  |  | 0
1 ) | 150mm thick R.C.C. Retaining wall | m3 | 10.81 |  |  | 0 | 30.57 | 5.4797 | 28.5 | 5.3224 | 10.802
2 ) | 100mm thick R.C.C. Retaining wall | m3 | 4.9 |  |  | 0 | 38.82 | 4.8331
0
2.0 | GROUND FLOOR
2.1 | COLUMNS
1 ) | C1 - 300 x 300mm x 13 nos: | m3 | 5.552 |  |  | 0 | 5.5516
2 ) | C2 - 300 x 300mm x 02 nos | m3 | 0.86 |  |  | 0 | 0.8541 | 0.544 | 1.3981
3 ) | C3 - 400 x 200mm x 01 nos | m3 | 0.4 |  |  | 0 | 0.3796
4 ) | C4 - 300mm ɸ Decorative Column x 07 nos | m3 | 2.22 |  |  |  | 2.2152
2.2 | STAIRCASE | m3 | 5.5 |  |  | 0 | 0.9625 | 0.87444 | 0.91 | 2.4984 | 5.2453
2.3 | R.C.C. GROUND FLOOR SLAB |  |  |  |  | 0 |  |  |  | 4.59
1 ) | 100mm thick R.C. slab | m3 | 28.1 |  |  | 0 | 28
2.4 | R.C.C. SILL & LINTEL |  |  |  |  | 0
1 ) | 900 x 100 to 150mm thick R.C. Sill and Lintels for rear side windows and A/C units. (Refer details) | m3 | 4.75 |  |  | 0 | 4.185 | 0.555 | 4.74
2.5 | R.C.C. STEPS (ENTRANCE) |  |  |  |  | 0
1 ) | 300 x 150mm size R.c.c. Steps | m3 | 4.8 |  |  | 0 | 2.6663 | 1.0674 | 1.0674 | 4.8011
3.0 | FIRST FLOOR
3.1 | FLOOR BEAMS
1 ) | B1 - 300 x 700mm | m3 | 6.6 |  |  | 0 | 6.5835
2 ) | B2 - 300 x 400mm | m3 | 1.4 |  |  | 0 | 1.3973 | 0.083835
3 ) | B3 - 300 x 400mm | m3 | 0.63 |  |  | 0 | 0.6237
4 ) | B4 - 200 x 400mm | m3 | 0.18 |  |  | 0 | 0.17658
5 ) | B5 - 300 x 400mm | m3 | 0.373 |  |  | 0 | 0.3726
6 ) | B6 - 200 x 400mm | m3 | 1.16 |  |  | 0 | 0.999 | 0.15768 | 1.1567
7 ) | B7 - 200 x 400mm | m3 | 1 |  |  | 0 | 0.999
8 ) | B8 - 200 x 400mm | m3 | 0.32 |  |  | 0 | 0.31536
9 ) | B9 - 300 x 400mm | m3 | 1.5 |  |  | 0 | 1.4985
3.2 | FLOOR SLAB
1 ) | 135mm thick Slab @ Toilet Floor level | m3 | 1.83 |  |  | 0 | 1.8225
2 ) | 135mm thick Slab @ Floor beam level | m3 | 34.32 |  |  |  | 37.8 | 1.8225 | 1.6673 | 3.4898 | 34.3103
3.3 | COLUMNS
1 ) | C1 - 300 x 300mm x 13 nos: | m3 | 5.552 |  |  | 0 | 4.095
2 ) | C2 - 300 x 300mm x 02 nos | m3 | 0.86 |  |  | 0 | 0.63 | 0.544 | 1.174
3 ) | C3 - 400 x 200mm x 01 nos | m3 | 0.4 |  |  | 0 | 0.28
4 ) | C4 - 300mm ɸ Decorative Column x 07 nos | m3 | 1.74 |  |  |  | 1.7326
0
3.4 | STAIRCASE | m3 | 4.7 |  |  | 0
4.0 | SECOND FLOOR
4.1 | FLOOR BEAMS
1 ) | B1 - 300 x 700mm | m3 | 6.6 |  |  | 0 | 6.5835
2 ) | B2 - 300 x 400mm | m3 | 1.4 |  |  | 0 | 1.3973 | 0.083835
3 ) | B3 - 300 x 400mm | m3 | 0.63 |  |  | 0 | 0.6237
4 ) | B4 - 200 x 400mm | m3 | 0.18 |  |  | 0 | 0.17658
5 ) | B5 - 300 x 400mm | m3 | 0.373 |  |  | 0 | 0.3726
6 ) | B6 - 200 x 400mm | m3 | 1.16 |  |  | 0 | 0.999 | 0.15768 | 1.1567
7 ) | B7 - 200 x 400mm | m3 | 1 |  |  | 0 | 0.999
8 ) | B8 - 200 x 400mm | m3 | 0.32 |  |  | 0 | 0.31536
9 ) | B9 - 300 x 400mm | m3 | 1.5 |  |  | 0 | 1.4985
4.2 | FLOOR SLAB
1 ) | 135mm thick Slab @ Toilet Floor level | m3 | 1.83 |  |  | 0 | 1.8225
2 ) | 135mm thick Slab @ Floor beam level | m3 | 34.32 |  |  |  | 37.8 | 1.8225 | 1.6673 | 3.4898 | 34.3103
4.3 | COLUMNS
1 ) | C1 - 300 x 300mm x 13 nos: | m3 | 5.552 |  |  | 0 | 4.095
2 ) | C2 - 300 x 300mm x 02 nos | m3 | 0.86 |  |  | 0 | 0.63 | 0.544 | 1.174
3 ) | C3 - 400 x 200mm x 01 nos | m3 | 0.4 |  |  | 0 | 0.28
4 ) | C4 - 300mm ɸ Decorative Column x 07 nos | m3 | 1.74 |  |  |  | 1.7326
4.4 | STAIRCASE | m3 | 2.5 |  |  | 0
5.0 | ROOF LEVEL
5.1 | ROOF BEAMS
1 ) | RB1 - 200 x 400mm | m3 | 3.1 |  |  | 0 | 3.08
2 ) | RB2 - 200 x 400mm | m3 | 3.45 |  |  | 0 | 1.96 | 1.48 | 3.44
3 ) | B6 - 200 x 400mm | m3 | 2.85 |  |  | 0 | 0.925 | 0.8176 | 0.94375 | 0.15 | 2.8364
5.2 | GUTTER SLAB
1 ) | 135thick R.c.c. Gutter Slab | m3 | 4.5 |  |  | 0 | 2.1775 | 2.2746 | 4.4521
2 ) | 100thick R.c.c. Wall (Gutter side) | m3 | 4.95 |  |  | 0 | 0.812 | 1.9285 | 0.9488 | 1.1386 | 0.0432 | 0.05418 | 4.9252
5.3 | COLUMNS
1 ) | C1 - 300 x 300mm x 3 nos: | m3 | 0.45 |  |  | 0 | 0.4482
2 ) | C2 - 300 x 300mm x 02 nos | m3 | 0.3 |  |  | 0 | 0.2988 | 0.544 | 0.8428
3 ) | C3 - 400 x 200mm x 01 nos | m3 | 0.153 |  |  | 0 | 0.1328
5.4 | ROOF SLAB BEAM
1 ) | B6 - 200 x 400mm | m3 | 1.25 |  |  | 0 | 23.51 | 1.246
5.5 | ROOF SLAB
1 ) | 135mm thick R.c.c. Slab & 150mm thick R.c.c. wall at 400mm above Roof beam Level. | m3 | 2.1 |  |  | 0 | 1.5365 | 13.5 | 0.53663 | 2.0731
2 ) | 135mm thick R.c.c. Slab @ 1513mm above Roof beam level. | m3 | 3.9 |  |  | 0 | 3.8647
5.6 | PARAPET WALL
1 ) | 100 x 600mm High R.c.c. Parapet wall | m3 | 1.45 |  |  | 0 | 23.79 | 1.4274
3.3 | FORM WORK
(a) Exposed surface shall have fair finish while remaining may have rough finish.
(b) Timber used for unexposed concrete surface shall sound dressed and seasoned good quality common timber while for exposed concrete surfaces dressedand matched boards uniformly thick and not more than 251mm wide.
c) Plywood used for forms shall be of commercial standard, moisture resistane conrete form plywoodnot lessthan 6mm thick and atleast 12mm thick.
(d) Rates shall include for; all necessary boarding,supports, erecting, framing, temporary cambering cutting, perforations for reinforcing bars, bolts,straps,ties, hangers, pipes and removal of formwork.
1.0 | FOUNDATIONS
1.1 | FOOTINGS
a ) | F1 - 2200 x 2200 x 350mm x 10nos | m2 | 30.8 |  |  | 0 | 30.8
b ) | F2 - 2000 x 2000 x 350mm x 05nos | m2 | 14 |  |  | 0 | 14
c ) | F3 - 1600 x 1600 x 300mm x 01no: | m2 | 1.92 |  |  | 0 | 1.92
d ) | F4 - 1400 x 1400 x 300mm x 07nos | m2 | 11.8 |  |  | 0 | 11.76
0
1.2 | FOUNDATION BEAM |  |  |  |  | 0
1 ) | WF1 - 300 x 300mm | m2 | 88.2 |  |  | 0 | 47.04 | 78.4 | 18.5 | 2.92 | 146.86 | 88.116
1.3 | R.C.C. RETAINING WALL |  |  |  |  | 0
1 ) | 150mm thick R.C.C. Retaining wall | m2 | 144.1 |  |  | 0 | 30.57 | 73.0623 | 28.5 | 70.965 | 144.0273
2 ) | 100mm thick R.C.C. Retaining wall | m2 | 57.85 |  |  | 0 | 38.82 | 57.8418
0
2.0 | GROUND FLOOR
2.1 | COLUMNS - 4475mm height
1 ) | C1 - 300 x 300mm x 13 nos: | m2 | 86.4 |  |  | 0 | 86.359
2 ) | C2 - 300 x 300mm x 02 nos | m2 | 13.3 |  |  | 0 | 13.286 | 0.544 | 13.83
3 ) | C3 - 400 x 200mm x 01 nos | m2 | 6.65 |  |  | 0 | 6.643
4 ) | C4 - 300mm ɸ Decorative Column x 07 nos | m2 | 30 |  |  |  | 29.5363
2.2 | STAIRCASE | m2 | 33 |  |  | 0 | 5.6 | 5.7602 | 6.1372 | 15.48 | 32.9775
2.3 | R.C.C. GROUND FLOOR SLAB |  |  |  |  | 0
1 ) | 100mm thick R.C. slab | m2 | 280 |  |  | 0 | 28
2.4 | R.C.C. SILL & LINTEL |  |  |  |  | 0
1 ) | 900 x 100 to 150mm thick R.C. Sill and Lintels for rear side windows and A/C units. (Refer details) | m2 | 51.4 |  |  | 0 | 38.3862 | 12.95 | 51.3362
2.5 | R.C.C. STEPS (ENTRANCE) |  |  |  |  | 0
1 ) | 300 x 150mm size R.c.c. Steps | m2 | 23.2 |  |  | 0 | 8.8875 | 7.116 | 7.116 | 23.1195
3.0 | FIRST FLOOR
3.1 | FLOOR BEAMS
1 ) | B1 - 300 x 700mm | m2 | 60 |  |  | 0 | 12.8205 | 47.124 | 59.9445
2 ) | B2 - 300 x 400mm | m2 | 15.9 |  |  | 0 | 12.09 | 3.7275 | 15.8175
3 ) | B3 - 300 x 400mm | m2 | 8.3 |  |  | 0 | 8.2005
4 ) | B4 - 200 x 400mm | m2 | 3.2 |  |  | 0 | 3.1555
5 ) | B5 - 300 x 400mm | m2 | 11.45 |  |  | 0 | 3.4612 | 3.0225 | 4.956 | 11.4398
6 ) | B6 - 200 x 400mm | m2 | 21 |  |  | 0 | 15.6662 | 2.49 | 2.8178 | 20.974
7 ) | B7 - 200 x 400mm | m2 | 15.4 |  |  | 0 | 15.355
8 ) | B8 - 200 x 400mm | m2 | 5.25 |  |  | 0 | 2.8178 | 2.4236 | 5.2414
9 ) | B9 - 300 x 400mm | m2 | 19.8 |  |  | 0 | 19.7025
3.2 | FLOOR SLAB
1 ) | 135mm thick Slab @ Toilet Floor level | m2 | 14 |  |  | 0 | 13.5
2 ) | 135mm thick Slab @ Floor beam level | m2 | 255 |  |  |  | 280 | 13.5 | 12.35 | 25.85 | 254.15
3.3 | COLUMNS - 3500mm height
1 ) | C1 - 300 x 300mm x 13 nos: | m2 | 63.7 |  |  | 0 | 63.7
2 ) | C2 - 300 x 300mm x 02 nos | m2 | 9.8 |  |  | 0 | 9.8 | 0.544 | 10.344
3 ) | C3 - 400 x 200mm x 01 nos | m2 | 4.9 |  |  | 0 | 4.9
4 ) | C4 - 300mm ɸ Decorative Column x 07 nos | m2 | 23.2 |  |  |  | 23.101
0
3.4 | STAIRCASE | m2 | 27.4 |  |  | 0
4.0 | SECOND FLOOR
4.1 | FLOOR BEAMS
1 ) | B1 - 300 x 700mm | m2 | 60 |  |  | 0 | 12.8205 | 47.124 | 59.9445
2 ) | B2 - 300 x 400mm | m2 | 15.9 |  |  | 0 | 12.09 | 3.7275 | 15.8175
3 ) | B3 - 300 x 400mm | m2 | 8.3 |  |  | 0 | 8.2005
4 ) | B4 - 200 x 400mm | m2 | 3.2 |  |  | 0 | 3.1555
5 ) | B5 - 300 x 400mm | m2 | 11.45 |  |  | 0 | 3.4612 | 3.0225 | 4.956 | 11.4398
6 ) | B6 - 200 x 400mm | m2 | 21 |  |  | 0 | 15.6662 | 2.49 | 2.8178 | 20.974
7 ) | B7 - 200 x 400mm | m2 | 15.4 |  |  | 0 | 15.355
8 ) | B8 - 200 x 400mm | m2 | 5.25 |  |  | 0 | 2.8178 | 2.4236 | 5.2414
9 ) | B9 - 300 x 400mm | m2 | 19.8 |  |  | 0 | 19.7025
4.2 | FLOOR SLAB
1 ) | 135mm thick Slab @ Toilet Floor level | m2 | 14 |  |  | 0 | 13.5
2 ) | 135mm thick Slab @ Floor beam level | m2 | 255 |  |  |  | 280 | 13.5 | 12.35 | 25.85 | 254.15
4.3 | COLUMNS - 3500mm height
1 ) | C1 - 300 x 300mm x 13 nos: | m2 | 63.7 |  |  | 0 | 63.7
2 ) | C2 - 300 x 300mm x 02 nos | m2 | 9.8 |  |  | 0 | 9.8 | 0.544 | 10.344
3 ) | C3 - 400 x 200mm x 01 nos | m2 | 4.9 |  |  | 0 | 4.9
4 ) | C4 - 300mm ɸ Decorative Column x 07 nos | m2 | 23.2 |  |  |  | 23.101
4.5 | STAIRCASE | m2 | 18 |  |  | 0
5.0 | ROOF LEVEL
5.1 | ROOF BEAMS
1 ) | RB1 - 200 x 400mm | m2 | 42.35 |  |  | 0 | 42.35
2 ) | RB2 - 200 x 400mm | m2 | 27 |  |  | 0 | 26.95 | 1.48 | 28.43
3 ) | B6 - 200 x 400mm | m2 | 41 |  |  | 0 | 15.6662 | 15.355 | 9.9395 |  | 40.9608
5.2 | GUTTER SLAB
1 ) | 135thick R.c.c. Gutter Slab | m2 | 36 |  |  | 0 | 16.32 | 19.5059 | 35.8259
2 ) | 100thick R.c.c. Wall (Gutter side) | m2 | 116.5 |  |  | 0 | 20.3 | 42.63 | 23.72 | 27.5152 | 0.96 | 1.3356 | 116.4608
5.3 | COLUMNS - 1660mm height
1 ) | C1 - 300 x 300mm x 3 nos: | m2 | 7 |  |  | 0 | 6.972
2 ) | C2 - 300 x 300mm x 02 nos | m2 | 4.7 |  |  | 0 | 4.648 | 0.544 | 5.192
3 ) | C3 - 400 x 200mm x 01 nos | m2 | 2.4 |  |  | 0 | 2.324
5.4 | ROOF SLAB BEAM
1 ) | B6 - 200 x 400mm | m2 | 22.7 |  |  | 0 | 23.51 | 22.6871
5.5 | ROOF SLAB
1 ) | 135mm thick R.c.c. Slab & 150mm thick R.c.c. wall @ 400mm above Roof beam | m2 | 19 |  |  | 0 | 11.3816 | 7.155 | 18.5366
2 ) | 135mm thick R.c.c. Slab @ 1513mm above Roof beam | m2 | 29 |  |  | 0
5.6 | PARAPET WALL
1 ) | 100 x 600mm High R.c.c. Parapet wall | m2 | 28.6 |  |  | 0 | 23.79 | 28.548
3.4 | REINFORCEMENT WORK
(a) Main reinforcement steel shall be high tensile steel hot rolled deformed bars complying with BS 1119 or BS 1172 Characteristic strength not less than 160N/mm2.
(b) Stirrups shall be hot rolled mildsteel round bars complying with BS 1119, Characteristic strength not less than 250N/mm2
(c Rates shall include for; distribution steel, cleaning, fabrication, placing, the provision for all necessary temporary fixings, and supports including chairs and tie wire , laps and wastage.
4.1 | FOUNDATIONS
1.1 | FOOTINGS
1 ) | F1, 2200 x 2200 x 350mm x 10nos
| 16mm dia deformed bars | t | 2.09 |  |  | 0 | 2085.6
0
2 ) | F2, 2000 x 2000 x 350mm x 05nos
| 16mm dia deformed bars | t | 0.664 |  |  | 0 | 663.6
3 ) | F3, 1600 x 1600 x 300mm x 01no:
| 12mm dia deformed bars | t | 0.062 |  |  | 0 | 61.5384
4 ) | F4, 1400 x 1400 x 300mm x 07nos
| 12mm dia deformed bars | t | 0.2 |  |  | 0 | 195.804
1.2 | FOUNDATION BEAMS |  |  |  |  | 0
a ) | WF1 | [9 empty] | 46.964
| 12mm dia deformed bars | t | 0.655 |  |  | 0 | 654.5448 |  |  |  | 1.45
| 6mm dia deformed bars | t | 0.2 |  |  | 0 | 194.472
0
1.3 | R.C.C. RETAINING WALL |  |  |  |  | 0
1 ) | 10mm dia deformed bars | t | 0.93 |  |  | 0 | 921.798
4.2 | GROUND FLOOR |  |  |  |  | 0
1 ) | COLUMNS |  |  |  |  | 0
a ) | C1 - 300 x 300 x 13nos |  |  |  |  | 0
| 20mm dia deformed bars | t | 1.541 |  |  | 0 | 1540.656
| 6mm dia. deformed bars | t | 0.32 |  |  | 0 | 311.688
b ) | C2 - 300 x 200mm x 02 nos
| 16mm dia deformed bars | t | 0.12 |  |  | 0 | 113.76
| 12mm dia deformed bars | t | 0.07 |  |  | 0 | 63.936
| 6mm dia M.S. Round bars | t | 0.03 |  |  | 0 | 26.64
c ) | C3 - 400 x 200mm x 01 no
| 20mm dia deformed bars | t | 0.19 |  |  | 0 | 118.512
| 6mm dia M.S. Round bars | t | 0.015 |  |  | 0 | 19.98
d ) | C4 - 300mm ɸ x 07 nos
| 12mm dia deformed bars | t | 0.23 |  |  | 0 | 223.776
| 6mm dia M.S. Round bars | t | 0.09 |  |  | 0 | 83.916
2 ) | STAIRCASE
| 16mm dia deformed bars | t | 0.42 |  |  | 0 | 417.12
| 12mm dia deformed bars | t | 0.6 |  |  | 0 | 586.08
3 ) | GROUND FLOOR SLAB
| 10mm dia deformed bars | t | 1.46 |  |  | 0 | 1451.184 | 29.0237
4 ) | R.C.C. SILL & LINTEL |  |  |  |  | 0
| 12mm dia deformed bars | t | 0.225 |  |  | 0 | 223.776 | 12.95 | 236.726
| 10mm dia deformed bars | t | 0.16 |  |  | 0 | 155.484
| 6mm dia M.S. Round bars | t | 0.06 |  |  | 0 | 55.944
5 ) | R.C.C. STEPS (ENTRANCE) |  |  |  |  | 0
| 10mm dia deformed bars | t | 0.35 |  |  | 0 | 340.584 |  |  | 340.584
4.3 | FIRST FLOOR
1 ) | SLAB BEAMS
a ) | B1, 300 x 700mm
| 25mm dia deformed bars | t | 0.35 |  |  | 0 | 347.22
| 20mm dia deformed bars | t | 1.04 |  |  | 0 | 1036.98
| 6mm dia MS round bars | t | 0.38 |  |  | 0 | 372.96
b ) | B2, 300 x 400mm
| 20mm dia deformed bars | t | 0.23 |  |  | 0 | 222.21
| 16mm dia deformed bars | t | 0.1 |  |  | 0 | 94.8
| 6mm dia MS round bars | t | 0.05 |  |  | 0 | 47.952
c ) | B3, 200 x 400mm
| 20mm dia deformed bars | t | 0.12 |  |  | 0 | 118.512
| 16mm dia deformed bars | t | 0.02 |  |  | 0 | 18.96
| 6mm dia MS round bars | t | 0.04 |  |  | 0 | 30.636
d ) | B4, 200 x 400mm
| 20mm dia deformed bars | t | 0.06 |  |  | 0 | 59.256
| 6mm dia MS round bars | t | 0.01 |  |  | 0 | 9.324
e ) | B5, 300 x 400mm
| 20mm dia deformed bars | t | 0.18 |  |  | 0 | 177.768
| 6mm dia MS round bars | t | 0.05 |  |  | 0 | 42.624
f ) | B6, 200 x 400mm
| 16mm dia deformed bars | t | 0.28 |  |  | 0 | 227.52
| 6mm dia MS round bars | t | 0.08 |  |  | 0 | 79.92
g ) | B7, 200 x 400mm
| 16mm dia deformed bars | t | 0.21 |  |  | 0 | 208.56
| 16mm dia deformed bars | t | 0.03 |  |  | 0 | 26.64
| 6mm dia MS round bars | t | 0.05 |  |  | 0 | 45.288
h ) | B8, 200 x 400mm
| 16mm dia deformed bars | t | 0.12 |  |  | 0 | 113.76
| 6mm dia MS round bars | t | 0.04 |  |  | 0 | 31.968
i ) | B9, 300 x 400mm
| 16mm dia deformed bars | t | 0.21 |  |  | 0 | 208.56
| 6mm dia MS round bars | t | 0.08 |  |  | 0 | 73.26
2 ) | FLOOR SLAB
a ) | Floor slab @ Toilet Level
| 10mm dia deformed bars | nos | 0.19 |  |  | 0 | 181.398
b ) | Floor slab @ Floor beam level
| 10mm dia deformed bars | nos | 3.82 |  |  | 0 | 3813.06
3 ) | COLUMNS |  |  |  |  | 0
a ) | C1 - 300 x 300 x 13nos |  |  |  |  | 0
| 20mm dia deformed bars | t | 1.35 |  |  | 0 | 1348.074 |  | 30
| 6mm dia. deformed bars | t | 0.21 |  |  | 0 | 207.792
b ) | C2 - 300 x 200mm x 02 nos
| 16mm dia deformed bars | t | 0.07 |  |  | 0 | 66.36
| 6mm dia M.S. Round bars | t | 0.02 |  |  | 0 | 18.648
c ) | C3 - 400 x 200mm x 01 no
| 20mm dia deformed bars | t | 0.06 |  |  | 0 | 59.256
| 16mm dia deformed bars | t | 0.04 |  |  | 0 | 37.92
| 6mm dia M.S. Round bars | t | 0.015 |  |  | 0 | 13.32
d ) | C4 - 300mm ɸ x 07 nos
| 12mm dia deformed bars | t | 0.2 |  |  | 0 | 197.136
| 6mm dia M.S. Round bars | t | 0.06 |  |  | 0 | 55.944
4 ) | STAIRCASE
| 16mm dia deformed bars | t | 0.36 |  |  | 0 | 360.24
| 12mm dia deformed bars | t | 0.565 |  |  | 0 | 564.768
5 ) | R.C.C. SILL & LINTEL |  |  |  |  | 0
| 12mm dia deformed bars | t | 0.225 |  |  | 0 | 223.776 | 12.95 | 236.726
| 10mm dia deformed bars | t | 0.16 |  |  | 0 | 155.484
| 6mm dia M.S. Round bars | t | 0.06 |  |  | 0 | 55.944
4.4 | SECOND FLOOR
1 ) | SLAB BEAMS
a ) | B1, 300 x 700mm
| 25mm dia deformed bars | t | 0.35 |  |  | 0 | 347.22
| 20mm dia deformed bars | t | 1.04 |  |  | 0 | 1036.98
| 6mm dia MS round bars | t | 0.38 |  |  | 0 | 372.96 | 7.4592
b ) | B2, 300 x 400mm
| 20mm dia deformed bars | t | 0.23 |  |  | 0 | 222.21
| 16mm dia deformed bars | t | 0.1 |  |  | 0 | 94.8
| 6mm dia MS round bars | t | 0.05 |  |  | 0 | 47.952 | 0.95904
c ) | B3, 200 x 400mm
| 20mm dia deformed bars | t | 0.12 |  |  | 0 | 118.512
| 16mm dia deformed bars | t | 0.02 |  |  | 0 | 18.96
| 6mm dia MS round bars | t | 0.04 |  |  | 0 | 30.636 | 0.61272
d ) | B4, 200 x 400mm
| 20mm dia deformed bars | t | 0.06 |  |  | 0 | 59.256
| 6mm dia MS round bars | t | 0.01 |  |  | 0 | 9.324
0
e ) | B5, 300 x 400mm
| 20mm dia deformed bars | t | 0.18 |  |  | 0 | 177.768
| 6mm dia MS round bars | t | 0.05 |  |  | 0 | 42.624
f ) | B6, 200 x 400mm
| 16mm dia deformed bars | t | 0.28 |  |  | 0 | 227.52
| 6mm dia MS round bars | t | 0.08 |  |  | 0 | 79.92
g ) | B7, 200 x 400mm
| 16mm dia deformed bars | t | 0.21 |  |  | 0 | 208.56
| 16mm dia deformed bars | t | 0.03 |  |  | 0 | 26.64
| 6mm dia MS round bars | t | 0.05 |  |  | 0 | 45.288
h ) | B8, 200 x 400mm
| 16mm dia deformed bars | t | 0.12 |  |  | 0 | 113.76
| 6mm dia MS round bars | t | 0.04 |  |  | 0 | 31.968
i ) | B9, 300 x 400mm
| 16mm dia deformed bars | t | 0.21 |  |  | 0 | 208.56
| 6mm dia MS round bars | t | 0.08 |  |  | 0 | 73.26
2 ) | FLOOR SLAB | t | 0.1814 |  |  | 0
a ) | Floor slab @ Toilet Level
| 10mm dia deformed bars | nos | 0.19 |  |  | 0 | 181.398 | 3.628
b ) | Floor slab @ Floor beam level
| 10mm dia deformed bars | nos | 3.82 |  |  | 0 | 3813.06
3 ) | COLUMNS |  |  |  |  | 0
a ) | C1 - 300 x 300 x 13nos |  |  |  |  | 0
| 20mm dia deformed bars | t | 1.35 |  |  | 0 | 1348.074
| 6mm dia. deformed bars | t | 0.21 |  |  | 0 | 207.792
0
b ) | C2 - 300 x 200mm x 02 nos
| 16mm dia deformed bars | t | 0.07 |  |  | 0 | 66.36
| 6mm dia M.S. Round bars | t | 0.02 |  |  | 0 | 18.648
c ) | C3 - 400 x 200mm x 01 no | [6 empty] | 0
| 16mm dia deformed bars | t | 0.08 |  |  | 0 | 75.84
| 6mm dia M.S. Round bars | t | 0.015 |  |  | 0 | 13.32
d ) | C4 - 300mm ɸ x 07 nos
| 12mm dia deformed bars | t | 0.2 |  |  | 0 | 197.136
| 6mm dia M.S. Round bars | t | 0.06 |  |  | 0 | 55.944
4 ) | STAIRCASE
| 16mm dia deformed bars | t | 0.2 |  |  | 0
| 12mm dia deformed bars | t | 0.35 |  |  | 0
5 ) | R.C.C. SILL & LINTEL |  |  |  |  | 0
| 12mm dia deformed bars | t | 0.225 |  |  | 0 | 223.776 | 12.95 | 236.726
| 10mm dia deformed bars | t | 0.16 |  |  | 0 | 155.484
| 6mm dia M.S. Round bars | t | 0.06 |  |  | 0 | 55.944
4.5 | ROOF LEVEL
5.1 | ROOF BEAMS
a ) | RB1, 200 x 400mm
| 16mm dia deformed bars | t | 0.21 |  |  | 0 | 208.56
| 6mm dia MS round bars | t | 0.07 |  |  | 0 | 61.272
b ) | RB2, 200 x 400mm
| 12mm dia deformed bars | t | 0.23 |  |  | 0 | 223.776
| 6mm dia MS round bars | t | 0.08 |  |  | 0 | 73.26
c ) | B6, 200 x 400mm
| 16mm dia deformed bars | t | 0.45 |  |  | 0 | 445.56
| 6mm dia MS round bars | t | 0.17 |  |  | 0 | 165.168
5.2 | GUTTER SLAB & WALL
1 ) | 10mm dia deformed bars | t | 0.97 |  |  | 0 | 962.52
5.3 | COLUMNS - 1660mm height
a ) | C1 - 300 x 300 x 03nos |  |  |  |  | 0
| 20mm dia deformed bars | t | 0.18 |  |  | 0 | 177.768
| 6mm dia. deformed bars | t | 0.21 |  |  | 0 | 22.644
b ) | C2 - 300 x 200mm x 02 nos
| 16mm dia deformed bars | t | 0.04 |  |  | 0 | 37.92
| 6mm dia M.S. Round bars | t | 0.012 |  |  | 0 | 10.656
[8 empty] | 0.544 | 0.544
c ) | C3 - 400 x 200mm x 01 no
| 16mm dia deformed bars | t | 0.04 |  |  | 0 | 37.92
| 6mm dia M.S. Round bars | t | 0.01 |  |  | 0 | 6.66
5.4 | ROOF SLAB BEAM
1 ) | B6 - 200 x 400mm | [5 empty] | 23.51 | 22.6871
| 16mm dia deformed bars | t | 0.45 |  |  | 0 | 246.48
| 6mm dia MS round bars | t | 0.082 |  |  | 0 | 81.252
5.5 | ROOF SLAB
1 ) | 135mm thick slab and 150mm thick wall at 400mm above roof beam Level
a ) | 10mm dia deformed bars | t | 0.25 |  |  | 0 | 388.71 | 11.3816 | 273.1584 | 168.5387 |  | 24.9885 | 55.53 | 249.0572
2 ) | 135mm thick slab at 1513mm above roof beam Level
a ) | 10mm dia deformed bars | t | 0.4 |  |  | 0 | 388.71
5.6 | PARAPET WALL
a ) | 10mm dia deformed bars | t | 0.17 |  |  | 0 | 264 | 162.888
3.5 | OTHER CONCRETE WORKS
1 ) | R.C.C. GROUND WATER WELL |  |  |  |  | 0
| Charges for Supply and Construction of 1200mm dia. R.C.C. Ground water well complete including 6mm dia. mesh @ 150c/c for 100mm thick walls and T10 dia. bars 150 spacing B/W one layer for 100mm thick R.C.C. base slab and Top slab. Depth of the well shall be considered with 3' deep water in the well during low tide. | no | 1 |  |  | 0
2 ) | R.C.C. Lintel beams & Sill beams |  |  |  |  | 0
| Charges for Concreting and Placing R.c.c. Lintel beams 150 x 150mm with 4nos - T12mm. dia Steel bars and Stirrups with R6mm bars @ 150mm spacing and Sill beam 150 x 150mm size with 2nos T10 steel bars. Lintel beams shall be placed above Doors & Windows wherever required. Sill beams shall be placed horizontally below all the windows through out the walls. |  |  |  |  | 0
a ) | Ground Floor | item | 1 |  |  | 0
b ) | First Floor | item | 1 |  |  | 0
c ) | Second Floor | item | 1 |  |  | 0
3.6 | WATER PROOFING
1 ) | Add Water proofing admixture, CONMIX MEGA ADD WL1 to below ground concrete work. | item | 1 |  |  | 0
2 ) | Apply Rubberised Bitumen Paint as Water proofing , CONMIX Moya proof RBE, or equivalent to exposed surface of below ground Concrete and Masonry structures. | item | 1 |  |  | 0
3 ) | Add Concrete Plasticizer, CONMIX MEGA FLOW P or equivalent to ALL CONCRETE WORK ABOVE GROUND LEVEL. | item | 1 |  |  | 0
3.7 | TESTING CONCRETE
1 ) | Charges for Testing Concrete - Test for estimation on strength of concrete in structure, compressive strength test shall be conducted for prepared test pieces (150 x 150mm Test Cubes) on the 07th day (3nos cubes) and 28th day (03nos cubes). Strength test shall be conducted for Foundation works, Columns, Slabs and Slab beams. | item | 1 |  |  | 0
BILL No: 03 - CONCRETE WORKS
| TOTAL OF BILL No: 03 - Carried over to summary |  |  |  |  | 0
BILL No: 04
MASONRY AND PLASTERING
4.1 | General
(a)Rates shall include for cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs.
(b)Cutting or leaving holes and openings as recesses for and building in pipes, conduits , sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joints.
(c)Cement blocks shall be made in River Sand or M.Sand. (Local sand shall not be approved for block making)
(e) All external wall and all inetrenal walls shall be 100mm thick Solid cement blocks and for masonry mix ratio 1:5 (cement and River Sand / M.Sand)
4.2 | MASONRY
1.0 | GROUND FLOOR | [6 empty] | 15.4
1.1 | EXTERNAL WALLS
1 ) | 2 x 100mm thick Solid Block wall | m2 | 61.6 |  |  | 0 | 33.9 | 105.09 | 23.7731 | 81.3169 | 85.3827 |  | 61.5127
2 ) | 100mm thick Solid Block wall | m2 | 87.9 |  |  | 0 | 24.39 | 75.609 | 13.4425 | 10.6375 | 1.71 | 25.79 | 11.1 | 86.709 | 60.919 | 63.965 | 23.87 | 87.835
1.2 | INTERIOR WALLS
1 ) | 150mm thick Block wall | m2 | 149.38 |  |  | 0 | 23.87 | 25.0635 |  | 53.35 | 149.38
2 ) | 100mm thick Block wall | m2 | 5.4 |  |  | 0 | 14.87 | 46.097 | 48.4019 | 5.4
2.0 | FIRST FLOOR
2.1 | EXTERNAL WALLS
1 ) | 2 x 100mm thick Solid Block wall | m2 | 61.52 |  |  | 0 | 33.9 | 105.09 | 23.7731 | 81.3169 | 85.3827 | 61.5127
2 ) | 100mm thick Solid Block wall | m2 | 81.32 |  |  | 0 | 21.42 | 66.402 | 13.4425 | 10.6375 | 1.71 | 25.79 | 11.1 | 77.502 | 51.712 | 54.2976 | 23.87 | 78.1676 | 3.15 | 81.3176
2.2 | INTERIOR WALLS
1 ) | 150mm thick Block wall | m2 | 25 |  |  | 0 | 23.87
2 ) | 100mm thick Block wall | m2 | 81.4 |  |  | 0 | 26.65 | 82.615 | 2.6885 | 4.2 | 0.69 | 7.5785 | 75.0365 | 78.7883
3.0 | SECOND FLOOR
3.1 | EXTERNAL WALLS
1 ) | 2 x 100mm thick Solid Block wall | m2 | 61.2 |  |  | 0 | 33.9 | 105.09 | 23.7731 | 81.3169 | 85.3827 | 61.5127
2 ) | 100mm thick Solid Block wall | m2 | 81.4 |  |  | 0 | 21.42 | 66.402 | 13.4425 | 10.6375 | 1.71 | 25.79 | 11.1 | 77.502 | 51.712 | 54.2976 | 23.87
3.2 | INTERIOR WALLS
1 ) | 150mm thick Block wall | m2 | 25 |  |  | 0 | 23.87
2 ) | 100mm thick Block wall | m2 | 28.7 |  |  | 0 | 11.25 | 34.875 | 2.6885 | 4.2 | 0.69 | 7.5785 | 27.2965 | 28.6613
4.0 | ABOVE SECOND FLOOR LEVEL
4.1 | EXTERNAL WALLS
1 ) | 2 x 100mm thick Solid Block wall | m2 | 55.8 |  |  | 0 | 23.87 | 32.922 | 1.08 | 56.792 | 55.712
4.2 | INTERIOR WALLS
1 ) | 100mm thick Block wall | m2 | 10.6 |  |  | 0 | 4.025 | 13.2825 | 2.6885 | 10.594
4.3 | PLASTERING
(a) 20mm thick Cement plastering on Exterior surface of External masonry walls and concrete surfaces and 15mm thick plastering on interior walls and concrete surface as specified incl. wire mesh shall be fixed at the joints of concrete surfaces and walls before plastering. Quantity is measured including concrete surfaces - Parapetwalls, Liftwalls, columns & beams.
(b) Thickness of plastering Interior and Exterior plastering shall be 25mm thick. Sand
c) River Fine Sand / M.Sand shall be used for all plastering work. Local sand is not approved for Plastering works.
d ) Rates shall include for approved brand water proofing compound shall be mixed with cement mortar for external wall plastering as per manufacturers specifications.
1.0 | GROUND FLOOR
1.1 | EXTERNAL PLASTERING
1 ) | Plastering on Exterior wall surfaces Retaining walls above Ground Level | m2 | 46.2 |  |  | 0 | 70.94 | 46.111
2 ) | Plastering on Exterior wall surfaces including Columns & Beams. | m2 | 267.3 |  |  | 0 | 47.04 | 16.6 | 63.64 | 222.74 | 27.95 | 3.225 | 22.32 | 6.66 | 21.168 | 304.063 | 23.7731 | 13.4425 | 10.6375 | 1.71 | 49.5631 | 254.4999 | 267.2249
3 ) | Decorative Plastering to the Columns C4 as per details given in the drawing. | nos | 7
1.2 | INTERIOR PLASTERING
1 ) | Internal surface of external walls and both surface of Interior walls including concrete surfaces. | m2 | 298.76 |  |  | 0
2.0 | FIRST FLOOR
2.1 | EXTERNAL PLASTERING
1 ) | Plastering on Exterior wall surfaces including Columns & Beams. | m2 | 273.6 |  |  | 0 | 47.04 | 16.6 | 63.64 | 222.74 | 27.95 | 3.225 | 22.32 | 6.66 | 21.168 | 304.063 | 23.7731 | 13.4425 | 10.6375 | 1.71 | 49.5631 | 254.4999 | 267.2249
2 ) | Decorative Plastering to the Columns C4 as per details given in the drawing. | nos | 7 | [14 empty] | 273.5249
2.2 | INTERIOR PLASTERING
1 ) | Internal surface of external walls and both surface of Interior walls including concrete surfaces. | m2 | 464 |  |  | 0 | 23.175 | 19.14 | 42.315 | 284.7799 | 2.6885 | 4.2 | 0.69 | 7.5785 | 277.2014 | 214.1486 | 491.3501 | 441.7869 | 463.8763
0
3.0 | SECOND FLOOR
3.1 | EXTERNAL PLASTERING | [5 empty] | 47.04 | 16.6 | 63.64 | 222.74 | 27.95 | 3.225 | 22.32 | 6.66 | 21.168 | 304.063 | 23.7731 | 13.4425 | 10.6375 | 1.71 | 49.5631 | 254.4999 | 267.2249
1 ) | Plastering on Exterior wall surfaces including Columns & Beams. | m2 | 273.6 |  |  | 0
2 ) | Decorative Plastering to the Columns C4 as per details given in the drawing. | nos | 7 |  |  |  | 13.571 | 40.713 |  | 40.713 | 3.225 | 3.655 | 6.88 | 33.833 | 35.5247 | 76.2377 | 16.6 | 92.8376 | 71.6696
3.2 | INTERIOR PLASTERING
1 ) | Internal surface of external walls and both surface of Interior walls including concrete surfaces. | m2 | 406.75 |  |  | 0 | 7.725 | 19.14 | 26.865 | 180.8015 | 2.6885 | 4.2 | 0.69 | 7.5785 | 173.223 | 214.1486 | 387.3716 | 387.3716 | 406.7401
3.0 | ABOVE SECOND FLOOR FFL
3.1 | EXTERNAL PLASTERING
1 ) | Plastering on Exterior wall surfaces including Columns & Beams. | m2 | 63.1 |  |  | 0 | 26.95 | 26.95
2 ) | Plastering on both surfaces of Gutter wall | m2 | 116.5 |  |  | 0 | 24.88 | 22.392
3 ) | Plastering on both surfaces of Parapet wall | m2 | 58.1 |  |  | 0
3.2 | INTERIOR PLASTERING
1 ) | Internal surface of external walls and both surface of Interior walls including concrete surfaces. | m2 | 90.4 |  |  | 0 | 4.025 | 27.0883 | 2.6885 | 24.3998 | 18.32 | 61.6468 | 86.0466 | 90.3489
BILL No: 04 - MASONRY AND PLASTERING
| TOTAL OF BILL No: 04 - Carried over to summary |  |  |  |  | 0
BILL N0: 05
FLOORING & TILING
5.1 | General
a ) Rates shall include for laying 50mm thick cement mortar in 1 : 5 mix ratio,cleaning down to reveals where necessary and water proofing of Toilet and Balcony floors & Terrace.
b ) Rates shall include for: Fixing, bedding, grouting, and pointing materials, making good around pipes, sanitary fixtures, and similar; cleaning & Polishing.
c ) M.Sand shall be used for Floor screeding work.. Local sand is not approved for Floor screeding works.
5.2 | FLOORING
50mm thick floor screeding
1.0 | GROUND FLOOR
| ENTRANCE STEPS | m2 | 29.6 |  |  | 0 | 19.72 | 29.58
| CORRIDOR | m2 | 84.8 |  |  | 0
| WARD AREA, DIRTY UTILITY, MEDICAL STORE | m2 | 142.43
| TOILETS | m2 | 10.91
| STORE | m2 | 21.05
| STAIRCASE | m2 | 21 |  |  |  | 10.5 | 6.1372 | 4.032 | 20.6693
2.0 | FIRST FLOOR
| CORRIDOR | m2 | 86.5 |  |  | 0
| LABORATORY 1 & 2 | m2 | 119
| PREPARATION ROOM / STORE | m2 | 30.8
| TOILET | m2 | 4.75
| W/C | m2 | 4.65 |  |  |  | 1.5312 | 1.575 | 1.52 | 4.6263
| STAIRCASE | m2 | 21
3.0 | SECOND FLOOR
| CORRIDOR | m2 | 86.5 |  |  | 0 |  |  |  |  | 2.28 | 2.28
| EXAMINATION & ASSEMBLY HALL | m2 | 152.1
| TOILET | m2 | 4.75 | [7 empty] | 0
| W/C | m2 | 4.65 |  |  |  | 1.5312 | 1.575 | 1.52 | 4.6263
| STAIRCASE | m2 | 12
4.0 | ABOVE SECOND FLOOR
| INVERTOR/NETWORK/SERVER ROOM | m2 | 13.31 |  |  | 0 |  |  |  |  | 2.28 | 2.28
| ROOF GUTTER | m2 | 36 |  |  | 0
| ROOF SLAB | m2 | 29 |  |  | 0
0
5.3 | TILING
a ) Rates shall include for: Fixing, bedding, grouting, and pointing materials, making good around pipes, sanitary fixtures, and similar; cleaning & Polishing.
b ) All Tiling work in accordance with specifications and finishes schedule.
c ) Tiles for all areas as specified shall be - 600 x 600mm HOMOGENEOUS / PORCELAIN Tiles. Tiles for Corridors - 600 x 600mm Non Skid Out door HOMOGENEOUS / PORCELAIN Tiles.
d ) Staircase Tiles : Steps - 600 x 300mm Homogeneous Step Tiles with nosing. Tread & Risers - 300 x 170mm Homogeneous Step Tiles. Landing & HalfLanding - 600 x 600mm Non Slip Homogeneous Tiles.
e ) All Tiling work in accordance with specifications and finishes schedule.Toilet wall tiling shall be up to ceiling height from the floor level. Toilet floor tiles - 300 x 300mm slip resistance HOMOGENEOUS / PORCELAIN Tiles. Toilet Wall Tiles - 300 x 600mm Polished HOMOGENEOUS / PORCELAIN.
1.0 | GROUND FLOOR
| TILING - ENTRANCE STEPS | m2 | 29.6 |  |  | 0
| FLOOR TILING - CORRIDOR | m2 | 84.8 |  |  | 0
| FLOOR TILING - WARD AREA, DIRTY UTILITY, MEDICAL STORE | m2 | 142.43
| FLOOR TILING - TOILETS | m2 | 10.91 |  |  |  | flr |  | wall
| WALL TILING - TOILET | m2 | 45 |  |  |  | 7
| FLOOR TILING - STORE | m2 | 21.05
| TILING - STAIRCASE | m2 | 21
2.0 | FIRST FLOOR
| FLOOR TILING - CORRIDOR | m2 | 86.5 |  |  | 0
| FLOOR TILING - LABORATORY 1 & 2 | m2 | 119
| FLOOR TILING - PREPARATION ROOM / STORE | m2 | 30.8
| FLOOR TILING - TOILET & W/C | m2 | 11.5
| WALL TILING - TOILET & W/C | m2 | 74 |  |  |  | 7
| STAIRCASE | m2 | 21
3.0 | SECOND FLOOR
| FLOOR TILING - CORRIDOR | m2 | 86.5 |  |  | 0
| FLOOR TILING - EXAMINATION & ASSEMBLY HALL | m2 | 152.1
| FLOOR TILING - TOILET & W/C | m2 | 11.5
| WALL TILING - TOILET & W/C | m2 | 74
| STAIRCASE | m2 | 12
36.14
4.0 | ABOVE SECOND FLOOR
| FLOOR TILING -INVERTOR /NETWORK / SERVER ROOM | m2 | 13.31 |  |  | 0
5.4 | WATER PROOFING
1 ) | Apply Water proofing Compound, Conmix Moyaproof HF, to all wet areas - Verandahs, Balconies, Toilets, Open Terrace and Gutter slab AS PER MANUFACTURER'S SPECIFICATIONS. | m2 | 332.3 |  |  | 0
2 ) | Charges for special Tile adhesive for placing HOMOGENEOUS / PORCELAIN type tiles, Conmix C 500, or equivalent to the tiling General areas and Toilets and Balconies. | item | 1 |  |  | 0
3)
BILL No: 05 -FLOORING AND TILING
| TOTAL OF BILL No: 05 - Carried over to summary |  |  |  |  | 0
BILL N0: 06
DOORS AND WINDOWS
6.1 | General
(a) Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
(b) Rates shall include for door frames and window frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings and installation.
(c) All Timber door frames shall be treated timber.
(d) All louvres, windows and sliding doors shall be 30 micron powder coated aluminium as per details given in Door/Window schedule.
1.0 | GROUND FLOOR
Door units
1 ) | D1- Timber Door - 120mm thick Timber Frame & 40mm thick Solid Timber Panel with View Glass panel & 4mm thick double Glazed Fix glass Panel at top, 950 x 2830mm | no | 4 |  |  | 0 |  | 6772.5
2 ) | D2 - Timber Door - 120mm thick Timber Frame & 40mm thick Solid Timber Panel with Fixed Timber Louvers & 4mm thick double Glazed Fix glass Panel at top, 950 x 2830mm | no | 3 |  |  | 0 |  | 5418
Window units
1 ) | W1 - 80 micron white powder coated Aluminium framed window with 6mm thick double Glazed Blue tinted Glass Openable and Fixed Window panels, 2325 x 1745mm | no | 3 |  |  | 0 |  | 9223.5
2 ) | W2 - 80 micron white powder coated Aluminium framed window with 6mm thick double Glazed Blue tinted Glass Sliding panels and Fixed panels, 1150 x 1850mm | no | 4 |  |  | 0 |  | 9530.95
3 ) | W4a - 300 x 150 Louvered Ventilation Grill at Floor Level. (Refer W4 detail in D/w schedule) | no | 4 |  |  | 0
4 ) | W5 - 80 micron white powder coated Aluminium framed Fixed Aluminium Louvered Window, 600 x 600mm | no | 3 |  |  | 0
5 ) | SHADING DEVICE 1 - 80 Micron Powder coated Aluminium framed Fixed Louvers, 2325 x 600mm (Out side W1 windows) | no | 5 |  |  | 0
6 ) | SHADING DEVICE 2 - 80 Micron Powder coated Aluminium framed Fixed Louvers, 1400 x 700mm (A/c out door unit locations) | no | 4 |  |  | 0
2.0 | FIRST FLOOR
Door units
1 ) | D1- Timber Door - 120mm thick Timber Frame & 40mm thick Solid Timber Panel with View Glass panel & 4mm thick double Glazed Fix glass Panel at top, 950 x 2830mm | no | 7 |  |  | 0 |  | 4751.5
2 ) | D2 - Timber Door - 120mm thick Timber Frame & 40mm thick Solid Timber Panel with Fixed Timber Louvers & 4mm thick double Glazed Fix glass Panel at top, 950 x 2830mm | no | 1 |  |  | 0 |  | 4192.5
3 ) | D4 - Timber Door - 120mm thick Timber Frame & 40mm thick Solid Timber Panel , 700 x 2000mm | no | 3 |  |  | 0 |  | 9921.24
Window units
1 ) | W1 - 80 micron white powder coated Aluminium framed window with 6mm thick double Glazed Blue tinted Glass Openable and Fixed Window panels, 2325 x 1745mm | no | 5 |  |  | 0 | [7 empty] | 0.93
2 ) | W2 - 80 micron white powder coated Aluminium framed window with 6mm thick double Glazed Blue tinted Glass Sliding panels and Fixed panels, 1150 x 1850mm | no | 5 |  |  | 0 |  | 6209.28
3 ) | W3 - 80 micron white powder coated Aluminium framed window with 6mm thick Blue tinted Glass Top hung openable panels, 1150 x 600mm | no | 1 |  |  | 0 |  | 9396.45 | [5 empty] | 0.93
4 ) | W4 - 80 micron white powder coated Aluminium framed window with 6mm thick Blue tinted Glass Fixed panel and Fixed Louvered panel 600 x 950mm | no | 3 |  |  | 0
5 ) | W4a - 300 x 150 Louvered Ventilation Grill at Floor Level. (Refer W4 detail in D/w schedule) | no | 3 |  |  | 0
6 ) | SHADING DEVICE 1 - 80 Micron Powder coated Aluminium framed Fixed Louvers, 2325 x 600mm (Out side W1 windows) | no | 5 |  |  | 0 |  | 5501.64
7 ) | SHADING DEVICE 2 - 80 Micron Powder coated Aluminium framed Fixed Louvers, 1400 x 700mm (A/c out door unit locations) | no | 4 |  |  | 0 |  | 928.125 |  |  |  |  | D5 | 1.9125
[13 empty] | D1 | 5.7375
3.0 | SECOND FLOOR
Door units
1 ) | D1- Timber Door - 120mm thick Timber Frame & 40mm thick Solid Timber Panel with View Glass panel & 4mm thick double Glazed Fix glass Panel at top, 950 x 2830mm | no | 5 |  |  | 0 | [6 empty] | V1 | 1.15
2 ) | D2 - Timber Door - 120mm thick Timber Frame & 40mm thick Solid Timber Panel with Fixed Timber Louvers & 4mm thick double Glazed Fix glass Panel at top, 950 x 2830mm | no | 1 |  |  | 0
3 ) | D4 - Timber Door - 120mm thick Timber Frame & 40mm thick Solid Timber Panel , 700 x 2000mm | no | 3 |  |  | 0 |  | 4595.625
8.8
Window units
1 ) | W1 - 80 micron white powder coated Aluminium framed window with 6mm thick double Glazed Blue tinted Glass Openable and Fixed Window panels, 2325 x 1745mm | no | 5 |  |  | 0
2 ) | W2 - 80 micron white powder coated Aluminium framed window with 6mm thick double Glazed Blue tinted Glass Sliding panels and Fixed panels, 1150 x 1850mm | no | 5 |  |  | 0 |  | 5198.4
3 ) | W3 - 80 micron white powder coated Aluminium framed window with 6mm thick Blue tinted Glass Top hung openable panels, 1150 x 600mm | no | 1 |  |  | 0 |  | 21727.6875
4 ) | W4 - 80 micron white powder coated Aluminium framed window with 6mm thick Blue tinted Glass Fixed panel and Fixed Louvered panel 600 x 950mm | no | 3 |  |  | 0 |  | 1614.735
5 ) | W4a - 300 x 150 Louvered Ventilation Grill at Floor Level. (Refer W4 detail in D/w schedule) | no | 3 |  |  | 0
6 ) | SHADING DEVICE 1 - 80 Micron Powder coated Aluminium framed Fixed Louvers, 2325 x 600mm (Out side W1 windows) | no | 5 |  |  | 0
7 ) | SHADING DEVICE 2 - 80 Micron Powder coated Aluminium framed Fixed Louvers, 1400 x 700mm (A/c out door unit locations) | no | 4 |  |  | 0
4.0 | ABOVE SECOND FLOOR
Door units
1 ) | D3 - Timber Door - 120mm thick Timber Frame & 40mm thick Solid Timber Panel with View Glass panel & 4mm thick double Glazed Fix glass Panel at top, 950 x 2830mm | no | 1 |  |  | 0
2 ) | D5 - 80 micron white powder coated Aluminium framed Door with 6mm thick Blue tinted Glass Openable panels, 963 x 1000mm | no | 1 |  |  | 0
Window units
1 ) | W6 - 80 micron white powder coated Aluminium framed window with 6mm thick Blue tinted Glass Top hung Openable Window panels,1150 x 600mm | no | 3 |  |  | 0
BILL N0: 06 - DOORS AND WINDOWS
| TOTAL OF BILL No: 06 - Carried over to summary |  |  |  |  | 0
BILL No: 07
WOOD WORK & CEILING
7.1 | General
(a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails,bolts & screws.
(b) Rates shall include for applying approved quality wood preservators as per manufactures instructions for all Timber structures.
(c) Rates shall include for 9mm thick gypsum board fixed on 35 x 50mm Timber frame,trimming, nails, screws,hooks, hangers, clips and similar.
7.2 | CEILING
1.0 | GROUND FLOOR
a ) | Supply Fabrication & Installation of 9mm thick fiibre cement board concealed ceiling fixed on 50 x 50mm Treated Timber frames. |  |  |  |  | 0
1) | Toilets | m2 | 10.91
2.0 | FIRST FLOOR
a ) | Supply Fabrication & Installation of 9mm thick fiibre cement board concealed ceiling fixed on 50 x 50mm Treated Timber frames. |  |  |  |  | 0
1) | Toilets | m2 | 11.5
3.0 | SECOND FLOOR
a ) | Supply and Installation of 600 x 600 x 12mm thick Acoustic Ceiling boards on Aluminium frame as per specifications. Rate shall include for, Supply and Fixing 50mm thick glass wool insulation with aluminium foil on both sides fixed above the ceiling. |  |  |  |  | 0
1) | Examination & Assembly Hall | m2 | 152.1
b ) | Supply Fabrication & Installation of 9mm thick fiibre cement board concealed ceiling fixed on 50 x 50mm Treated Timber frames. |  |  |  |  | 0
1) | Toilets | m2 | 11.5
2) | Corridor | m2 | 86.5
7.3 | WOOD WORK
1.0 | GROUND FLOOR
a ) | Supply, Fabircation of nursing counter as per the drawing requirements. | Item | 1 |  |  | 0 | 22.475
b) | Supply, Fabircation of sink cabinet as per the drawing requirements. | Item | 1
c ) | Design, Supply, Fabircation of wall cabinet at Medical store (7.5m Lenght x ceilign height. Fixing shall be of treated timber frames with polish fomica finish. | Item | 1
Cubical Curtains
| Supply and installation of privacy/cubicle curtains including curtain tracks and curtains carriers. (a) Contractor shall submit samples of curtain for Client's approval with data including laudary temperature limits, fade resistance, fire test characteristics and shall be of medical grade. Height of the curtains to be from 18 inches (457mm) below ceiling mounted track to a distance of not more than 10-12 inches from floor level. (b) Curved track shall have radius of 12" bends (C) Contractor shall supply all installation accessories including splices, end caps, connectors, end stops (removable), snap outs, and other accessories as required for a secure and operational installation. | nos | 7
2.0 | FIRST FLOOR
a ) | Supply, Fabircation and Fixing Timber Covering wall - 9mm thick Plaster board fixed on one side (Internal) of 50 x 50mm Treated Timber frame complete including Paint Finishes to Align Masonrywalls and Columns internally at Front wall. (Refer drawing A-1.02) | m2 | 38 |  |  | 0
3.0 | SECOND FLOOR
a ) | Supply, Fabircation and Fixing Timber Covering wall - 9mm thick Plaster board fixed on one side (Internal) of 50 x 50mm Treated Timber frame complete including Paint Finishes to Align Masonrywalls and Columns internally at Front wall. (Refer drawing A-1.03) | m2 | 38 |  |  | 0
b ) | Charges for supply and Installation and fabrications of foldable partition system as per design requirements. (Refer drawing) | item | 1
c ) | Supply, Fabrication and Installation of Staircase - 35mm thick Treated Solid Timber Treads fixed on 50 x 50 x 6mm Equal angle frame complete including Paint Finishes. Refer drawing detail (A-2.24) | item | 1
BILL No: 07 - WOOD WORK & CEILING
| TOTAL OF BILL No: 07 - Carried over to summary |  |  |  |  | 0
BILL N0: 08
ROOFING
8.1 | General
(a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails, bolts & screws.
(b) Rates shall include for: Welding, Apply primer and enamel paint coat to Roof trusses, Purlins, Base plates etc.
1.1 | ROOF FRAMING
1 | ROOF TRUSSES
1 ) | TR1 - Supply Fabrication & Fixing 75 x 75 x 6mm and 50 x 50 x 6mm Equal angles Welded to form 5.60m long Trusses complete including Expoxy / Rust proof Protection Paint Finishes. | no | 12 |  |  | 0
2 ) | Supply & Fixing C 100 20 Purlins @ 900mm spacing as per consultant's specification. | m | 310 |  |  | 0
3 ) | Supply & Fixing 75 x 75 x 6mm EQUAL ANGLE Connecting member to be welded between TR1 at the middle of roof structure. (Refer drawing Roof Structure Layout Plan) | m | 21 |  |  | 0
4 ) | Supply & Fixing bolts and screws to fix Roof Trusses & Purlins. | item | 1 |  |  | 0
1.2 | ROOF COVERING |  |  |  |  | 0
1 ) | Supply & Fixing Trim deck - Lysaght Roofing Sheets | m2 | 239.5 |  |  | 0 |  | 10.496 | 229.004
2 ) | Supply & Fixing screws to fix Roofing sheet to the Roof structures. | item | 1 |  |  | 0
1.3 | INSULATION |  |  |  |  | 0
1 ) | Supply and Fixing 50mm thick glass wool insulation with aluminium foil on both sides fixed underside of roof covering. | m2 | 239.5 |  |  | 0
2 ) | Supply and Fixing 25mm grid G.I. mesh to be fixed underneath and support for Insulation | m2 | 239.5 |  |  | 0
1.4 | CAPPING & FLASHING |  |  |  |  | 0
1 ) | Supply and Fixing Trim deck - Lysaght Flashing (400mm wide) | m | 28 |  |  | 0
2 ) | Supply and Fixing Trim deck - Lysaght Capping (400mm wide) | m | 21 |  |  | 0
1.5 | DOWN PIPE |  |  |  |  | 0
1 ) | Supply and Fixing 75mm dia. pvc down pipes including pipe work upto water tanks, bends, junctions, straps, joints brackets, clips and all fixings. | m | 122 |  |  | 0
2 ) | S.S. Capping with drainage holes to be fixed at all the drain holes on Gutter slab | nos | 8 |  |  | 0
BILL No: 08 -ROOFING
| TOTAL OF BILL No: 08 - Carried over to summary |  |  |  |  | 0
BILL No: 09
PAINTING
9.1 | General
(a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window furniture.
(b) All painting work shall be carried in accordance with the Specifications
(c)Rate shall include for weather proof paint finish for exterior surfaces of the wall complete including application of two coats of oil based wall sealer and two coats of weather bond paint
(d)Rate shall include for putty and paint finish for interior surfaces of the wall and ceilings complete including application of two coats of wall sealer, two coats of putty finish and two coats of emulsion paint finish on top for Interior painting.
1.0 | GROUND FLOOR
1.1 | EXTERNAL PAINTING
1 ) | PAINTING on Exterior wall surfaces Retaining walls above Ground Level | m2 | 46.2 |  |  | 0
2 ) | PAINTING on Exterior wall surfaces including Columns & Beams. | m2 | 298 |  |  | 0
1.2 | INTERIOR PAINTING
1 ) | Internal surface of external walls and both surface of Interior walls including concrete surfaces. | m2 | 298.76 |  |  | 0
2 ) | PAINTING - Soffit of Slab / Ceiling | m2 | 280 |  |  | 0
2.0 | FIRST FLOOR
2.1 | EXTERNAL PAINTING
1 ) | PAINTING on Exterior wall surfaces including Columns & Beams. | m2 | 298 |  |  | 0
2.2 | INTERIOR PAINTING
1 ) | PAINTING - Internal surface of external walls and both surface of Interior walls including concrete surfaces. | m2 | 464 |  |  | 0
2 ) | PAINTING - Soffit of Slab / Ceiling | m2 | 280 |  |  | 0
3.0 | SECOND FLOOR
3.1 | EXTERNAL PAINTING
1 ) | PAINTING on Exterior wall surfaces including Columns & Beams. | m2 | 298 |  |  | 0
3.2 | INTERIOR PAINTING
1 ) | PAINTING - Internal surface of external walls and both surface of Interior walls including concrete surfaces. | m2 | 406.75 |  |  | 0
2 ) | PAINTING - Soffit of Slab / Ceiling | m2 | 280 |  |  | 0
3.0 | ABOVE SECOND FLOOR FFL
3.1 | EXTERNAL PAINTING
1 ) | PAINTING on Exterior wall surfaces including Columns & Beams. | m2 | 63.1 |  |  | 0
2 ) | PAINTING on both surfaces of Gutter wall | m2 | 116.5 |  |  | 0
3 ) | PAINTING on both surfaces of Parapet wall | m2 | 58.1 |  |  | 0
3.2 | INTERIOR PAINTING
1 ) | PAINTING on Internal surface of external walls and both surface of Interior walls including concrete surfaces. | m2 | 90.4 |  |  | 0
2 ) | PAINTING - Soffit of Slab / Ceiling | m2 | 48 |  |  | 0
BILL No: 09 - PAINTING
| TOTAL OF BILL No: 09 - Carried over to summary |  |  |  |  | 0
BILL No: 10
METAL WORK
10.1 | General
(a) Rates shall include for ; all labour in framing, cutting, welding, cleats, baseplates, flanges,screws, nails, bends, and similar complete with grinding, surface smoothening and polish finishes.
10.2 | RAILING
1 | GROUND FLOOR
1 ) | S.S. Railing (Main Staircase) | no
a ) | Charges for Supply, Fabrication and Installation of Staircase railing - 40mm dia. S.S.PIPE AS HORIZONTAL TOP RAIL, BOTTOM RAIL & VERTICAL POST; 25mm dia. S.S. PIPE - HORIZONTAL MIDDLE RAILS & VERTICAL RAILS. Refer details in the Section Detail - YY (1). | m | 7 |  |  | 0
b ) | Charges for Supply, Fabrication and Installation of Staircase railing - 40mm dia. S.S.PIPE AS HORIZONTAL RAILING Fixed on the wall at Internal Staircase side. (Refer drawing - Stair / Toilet Typical Detail ) | m | 6 |  |  | 0
2 | FIRST FLOOR
1 ) | S.S. Railing (Main Staircase) | no
a ) | Charges for Supply, Fabrication and Installation of Staircase railing - 40mm dia. S.S.PIPE AS HORIZONTAL TOP RAIL, BOTTOM RAIL & VERTICAL POST; 25mm dia. S.S. PIPE - HORIZONTAL MIDDLE RAILS & VERTICAL RAILS. Refer details in the Section Detail - YY (1). | m | 7 |  |  | 0
b ) | Charges for Supply, Fabrication and Installation of Staircase railing - 40mm dia. S.S.PIPE AS HORIZONTAL RAILING Fixed on the wall at Internal Staircase side. (Refer drawing - Stair / Toilet Typical Detail ) | m | 6 |  |  | 0
2 ) | Balcony Railing | no
a ) | Charges for supply, fabrication and Installation of Balcony railing - 40mm dia. S.S.PIPE AS HORIZONTAL TOP RAIL ; 25mm dia. S.S. PIPE - HORIZONTAL BOTTOM RAIL & VERTICAL POST and 3 x 12mm dia. S.S. PIPE - HORIZONTAL MIDDLE RAILS. Refer Balconry Railing Details from the Drawing. | m | 25 |  |  | 0
3 | SECOND FLOOR
1 ) | S.S. Railing (Staircase) | no
a ) | Charges for Supply, Fabrication and Installation of Staircase railing - 40mm dia. S.S.PIPE AS HORIZONTAL TOP RAIL, BOTTOM RAIL & VERTICAL POST; 25mm dia. S.S. PIPE - HORIZONTAL MIDDLE RAILS & VERTICAL RAILS. Refer details in the Section Detail - YY (1). | m | 7 |  |  | 0
2 ) | Balcony Railing | no
| Charges for supply, fabrication and Installation of Balcony railing - 40mm dia. S.S.PIPE AS HORIZONTAL TOP RAIL ; 25mm dia. S.S. PIPE - HORIZONTAL BOTTOM RAIL & VERTICAL POST and 3 x 12mm dia. S.S. PIPE - HORIZONTAL MIDDLE RAILS. Refer Balconry Railing Details from the Drawing. | m | 25 |  |  | 0
4 | ROOF LEVEL
1 ) | S.S. LADDER | no
| Charges for supply, fabrication and Installation of S.S. LADDER - 1150 x 710mm size with 40mm dia. S.S. Pipe Access Ladder from Gutter Level slab to the Roof Top Slab . | item | 1 |  |  | 0
BILL No: 10 - METAL WORK
| TOTAL OF BILL No: 10 - Carried over to summary |  |  |  |  | 0
BILL No: 11
HYDRAULICS & DRAINAGE
11.1 | General
(a) Design provide and install plumbing network for the entire building complete in accordance to standard set by the local governing body MWSC
(b) The following items and description and the plumbing drawings are given as guidance as to the nature of the information to be returned by the contractor.
(c) Ground water connection shall be made as specified in the drawings.
(d) The cost shall include for; sockets, running joints, connectors, elbows, junctions, reducers, expansion joints, back nuts and similar, incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails , pvc glues, threadseals and fixing complete, including cutting and forming holes, excavating, laying pipes , backfilling trenches.
(e) All pipes shall be High Pressure uPVC "Mutha" or equivalent brand.
1.0 | GROUND FLOOR |  |  |  |  | 0
a ) | HYDRAULICS
1 ) | Charges for supply & installation of FRESH water Piping & Connection to the Fixtures including water meters. | item | 1 |  | 0 | 0
2 ) | Charges for Piping for Ground water supply connection to the fixtures. Rate shall include for Pipe work and its fittings. | item | 1 |  | 0 | 0
3 ) | Charges for Supply & Installation of Ground Water Pump, Davey Water pump or equivalent complete including Pipe work and Connection to fixtures. | item | 1 |  |  | 0
b ) | SANITARY FIXTURES & ACCESSORIES |  |  |  |  | 0
1 ) | WC with basin | no | 1 |  |  | 0
2 ) | Wash basin with trap including R.c.c. counter slab | no | 1 |  |  | 0
3 ) | Wash basin tap | no | 1 |  |  | 0
4 ) | Toilet paper holder | no | 2 |  |  | 0
5 ) | Mirror set | no | 1 |  |  | 0
6 ) | Muslim Shower | no | 2 |  |  | 0
7 ) | Lever-operated mixer shower | no | 1 |  |  | 0
8 ) | Adjustable shower head | no | 1
9 ) | S.S.Floor drain with trap (Toilets) | no | 3 |  |  | 0
10 ) | Cloth Hooks | no | 2 |  |  | 0
11 ) | Straight Grab Rail 750mm; Satin Finished Stainless Steel, 32mm Dia, 60mm clearance, concealed fixings | no | 3
12 ) | Straight Grab Rail 900mm; Satin Finished Stainless Steel, 32mm Dia, 60mm clearance, concealed fixings | no | 4
13 ) | 90 degree Angled Grab Rails H450mm V700mm; Satin Finished Stainless Steel, 32mm Dia, 60mm clearance, concealed fixings | no | 1
14 ) | Drop Down Grab Bar 700mm With Toilet Roll Holder;Satin Finished Stainless Steel, 32mm Dia, concealed fixings | no | 1
15 ) | 600mm projection fold-up shower seat; | no | 1
16 ) | 400mm x 250mm Padded backrest | no | 1
c ) | DRAINAGE
1.0 | Pipe work
1 ) | Charges for piping for all discharge pipes, sewerage and drainage pipes including connection Main junctions from the Fixtures. | item | 1 |  |  | 0
2 ) | Charges for construction and Pipe connection of Inspection chambers as per drawing | item | 1 |  |  | 0
3 ) | Charges for Installation of Main Junctions and Supply and fixing Pipe net work connection as per drawing | item | 1 |  |  | 0
2 | FIRST FLOOR |  |  |  |  | 0
a ) | HYDRAULICS
1 ) | Charges for supply & installation of FRESH water Piping & Connection to the Fixtures including water meters. | item | 1 |  | 0 | 0
2 ) | Charges for Piping for Ground water supply connection to the fixtures. Rate shall include for Pipe work and its fittings. | item | 1 |  | 0 | 0
b ) | SANITARY FIXTURES &ACCESSORIES |  |  |  |  | 0
1 ) | WC with basin | no | 3 |  |  | 0
2 ) | Wash basin with trap including R.c.c. counter slab | no | 2 |  |  | 0
3 ) | Wash basin tap | no | 2 |  |  | 0
4 ) | Toilet paper holder | no | 3 |  |  | 0
5 ) | Mirror set | no | 1 |  |  | 0
6 ) | Muslim Shower | no | 3 |  |  | 0
7 ) | S.S.Floor drain with trap (Toilets & Corridor) | no | 11 |  |  | 0
LABORATORY SINK
1 ) | Charges for supply and Installation of ceremic Laboratory Sink with Sink taps and Wasting Plug complete including Fixtures. | no | 5 |  |  | 0
2 ) | Charges for supply and Installation of Ready made Laboratory bench system with under bench cabinet units. (Refer drawing) | no | 10
c ) | DRAINAGE |  |  |  |  | 0
1.0 | Pipe work |  |  |  |  | 0
1 ) | Charges for piping for all discharge pipes, sewerage and drainage pipes including connection Main junctions from the Fixtures. | item | 1 |  |  | 0
3 | SECOND FLOOR |  |  |  |  | 0
a ) | HYDRAULICS
1 ) | Charges for supply & installation of FRESH water Piping & Connection to the Fixtures including water meters. | item | 1 |  | 0 | 0
2 ) | Charges for Piping for Ground water supply connection to the fixtures. Rate shall include for Pipe work and its fittings. | item | 1 |  | 0 | 0
b ) | SANITARY FIXTURES &ACCESSORIES |  |  |  |  | 0
1 ) | WC with basin | no | 3 |  |  | 0
2 ) | Wash basin with trap including R.c.c. counter slab | no | 2 |  |  | 0
3 ) | Wash basin tap | no | 2 |  |  | 0
4 ) | Toilet paper holder | no | 3 |  |  | 0
5 ) | Mirror set | no | 1 |  |  | 0
6 ) | Muslim Shower | no | 3 |  |  | 0
7 ) | S.S.Floor drain with trap (Toilets & Corridor) | no | 11 |  |  | 0
8 ) | Water taps | no | 4 |  |  | 0
c ) | DRAINAGE |  |  |  |  | 0
1.0 | Pipe work |  |  |  |  | 0
1 ) | Charges for piping for all discharge pipes, sewerage and drainage pipes including connection Main junctions from the Fixtures. | item | 1 |  |  | 0
4 | ROOF LEVEL |  |  |  |  | 0
a ) | SANITARY FIXTURES &ACCESSORIES |  |  |  |  | 0
1 ) | S.S. Floor drain with trap on Gutter slab | no | 8 |  |  | 0
c ) | DRAINAGE |  |  |  |  | 0
1.0 | Pipe work |  |  |  |  | 0
1 ) | Charges for piping for all drainage pipes & Rain water Down Pipes including connection Main junctions from the Fixtures. | item | 1 |  |  | 0
BILL No: 11 - HYDRAULICS AND DRAINAGE
| TOTAL OF BILL No: 11 - Carried over to summary |  |  |  |  | 0
BILL No: 12
ELECTRICAL INSTALLATIONS
12.1 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates shall include for electrical conduits, fittings, equipment and similar all fixings to various building surfaces and also all elecetrical work shall be carried out according to STELCO standards and specifications.
(d) Each Light/ light fixture and its switch is measured as one one point; similarly each fan or each socket outlet is measured as one point;
(e) Rates shall include for supply and complete installation of fittings and fixtures.
(f) All equipment shall be guaranteed for a period of 12 months from the date of commissioning or date of practical completion of the project which ever later
(g) The rate shall include for insurance during handling, re-handling, transport, storage until ready for installation, delivery of equipment up to the point of installation and until handing over.
(h) The rates shall include for comprehensive maintenance during defects liability period of 12 months from the date of handing over
(i) Rate shall include for supply, installation, maintaining, testing and commissioning of the system for power and lighting according to drawings and specifications to working order and approval of service Utility.
(j) All materials, equipment wiring shall confirm to local codes, specifications, standards/latest I.E.E. regulations ( BS 7671 ).
(k) All costs related to installation of service cables that complies with the local standards at the property from the local mains.
(l) All measurements to be made on site by the contractor.
(m) All building lights shall be Philips or equivalent and power sockets, switches dimmers shall be of brand legrand or equivalent.
1.0 | GROUND FLOOR |  |  |  |  | 0
1.1 | MAIN CONNECTION |  |  |  |  | 0
1 ) | Charges for Supply, Laying 50mm2 Main cables and connection to electrical Main panel board. | item | 1
1.2 | ELECTRICAL BOARDS
1 ) | Supply and Installation of Main Panel board as per Client/Consultant's requirement. | no | 1 |  |  | 0
2 ) | Supply and Installation of Main distribution board | no | 1 |  |  | 0
1.3 | ELECTRICAL WIRING
1 ) | 2.5mm2 Wiring to Light points | no | 81 |  |  | 0
2 ) | 2.5mm2 Wiring to Power points | no | 40 |  |  | 0
3 ) | 4.0mm2 Wiring to Power points | no | 5 |  |  | 0
4 ) | 16mm2 Cable from DB to panel boards | mtr | 10 |  |  | 0
5 ) | Telephone cable to TP sockets | no | 1 |  |  | 0
6 ) | TV cable to Tv sockets | no | 1 |  |  | 0
7 ) | CAT 06 Cabling - Security Camera System from Server room | no | 2 |  |  | 0
1.4 | FANS
| V01 - 1500mm dia. KDK or equivalent brand Fan with aluminium blades. | no | 16
1.5 | FIXTURES
1 ) | L07 -Ceiling Mount, 24W LED Light Surface mount. Philips or equivalent brand. | no | 50 |  |  | 0
2 ) | L07 -Ceiling Recessed, Aluminium framed 24W LED Light Surface mount. Philips or equivalent brand.(Corridor Area) | no | 12
3 ) | L15 - Surface mount Energy Saving Light. | no | 2 |  |  | 0
4 ) | L13 - Wall mount Weather Proof Luminaire. | no | 13 |  |  | 0
5 ) | S01 - SECURITY CAMERA | no | 2 |  |  | 0
1.6 | SOCKETS
1 ) | P05 - 1 x 13A Socket outlet at 900mm above FFL | no | 5 |  |  | 0
2 ) | P06 - 2 x 13A Socket outlet at 300mm above FFL | no | 25 |  |  | 0
3 ) | P10 - 2 x 13A Socket outlet at 1200mm above FFL | no | 5 |  |  | 0
4 ) | P13 - 2 x 13A Socket outlet - Floor Concealed. | no | 0 |  |  | 0
5 ) | P15 - 1 x 15A Socket outlet at Ceiling Level | no | 5 |  |  | 0
6 ) | P17 - 1 x 15A Socket outlet at 1200mm above FFL | no | 0 |  |  | 0
7 ) | T01 - Plain Telephone Out let | no | 1 |  |  | 0
8 ) | T10 - T.V. Point | no | 1 |  |  | 0
9 ) | HC01 OUT LET | no | 3 |  |  | 0
10 ) | HC02 OUT LET | no | 0 |  |  | 0
11 ) | S01 - SECURITY CAMERA OUT LET | no | 2
1.7 | SWITCHES
1 ) | 1 Gang 1 way Switches | no | 0 |  |  | 0
2 ) | 2 Gang 1 way Switches | no | 9 |  |  | 0
3 ) | 3 Gang 1 way Switches | no | 1 |  |  | 0
4 ) | 4 Gang 1 way Switches | no | 14 |  |  | 0
5 ) | Fan dimmers | no | 16
1.8 | AIR - CONDITIONING
1) | V04 - Multisplit Ceiling Cassette Inverter Airconditioning system; Design, supply and complete installation of complete system, with 40ø drop in water (type) 25ø extended as Cd drop in 32 flex conduit 18ø Cd drain (typ0 run above FC insulated, All AC unit shall be Wall Mount Multi split type full set complying to; Energy Efficient – SEER rating 17 or above, – Variable-Speed Inverter Compressor Cooling Range: 0° - 115° F Indoor Sound level as Low as 25 dB(A) Outdoor Sound level as Low as 60 dB(A) Washable Air Filter Wired Remote Controller Anti-Corrosion Heat Exchanger Treatment Refrigerant: R410A or R32 |  |  |  |  | 0
a) | Location G04: 24000Btu Ceiling Cassette Inverter Airconditioner System With Wired remote contol. | no | 5
b) | Location G05: 9000Btu Wallmount single spliit airconditioner system with wireless remote control. | no | 1
2.0 | FIRST FLOOR |  |  |  |  | 0
2.1 | ELECTRICAL BOARDS
1 ) | P33 - Supply and Installation of Main distribution board | no | 1 |  |  | 0
2.2 | ELECTRICAL WIRING
1 ) | 2.5mm2 Wiring to Light points | no | 73 |  |  | 0
2 ) | 2.5mm2 Wiring to Power points | no | 83 |  |  | 0
3 ) | 4.0mm2 Wiring to Power points | no | 12 |  |  | 0
4 ) | 16mm2 Cable from DB to panel boards | mtr | 14 |  |  | 0
5 ) | CAT 06 Cabling - Security Camera System from Server room | no | 2 |  |  | 0
6 ) | CAT 06 Cabling - Server room to Laboratory (F03 & F05) outlets | no | 4 |  |  | 0
7 ) | Cabling - HDMI CABLES from ceiling projector outlet to Wall outlet | no | 2
2.3 | FANS
| V01 - 1500mm dia. KDK brand or eqivalent Fan with aluminium blades | no | 16
2.4 | FIXTURES
1 ) | L07 -Ceiling Mount, 24W LED Light Surface mount. Philips or equivalent brand. | no | 50 |  |  | 0
2 ) | L07 -Ceiling Recessed, Aluminium framed 24W LED Light Surface mount. Philips or equivalent brand.(Corridor Area) | no | 12
3 ) | L 09 - Wall mount Energy Saving Light. | no | 2 |  |  | 0
4 ) | L 15 - Surface mount Energy Saving Light. | no | 5 |  |  | 0
5 ) | S01 - Security Cameras | no | 2
6 ) | Supply and complete installation of Multimedia Projector including power connection and cabling. Projector shall be LED lamp free, 3500 ANSI lumens and short throw. | no | 2
2.5 | SOCKETS
1 ) | P05 - 1 x 13A Socket outlet at 900mm above FFL | no | 5 |  |  | 0
2 ) | P06 - 2 x 13A Socket outlet at 300mm above FFL | no | 43 |  |  | 0
3 ) | P10 - 2 x 13A Socket outlet at 1200mm above FFL | no | 11 |  |  | 0
4 ) | P13 - 2 x 13A Socket outlet - Floor Concealed. | no | 24 |  |  | 0
5 ) | P15 - 1 x 15A Socket outlet at Ceiling Level | no | 6 |  |  | 0 | 5 for A/c & 01 for HC02
6 ) | P17 - 1 x 15A Socket outlet at 1200mm above FFL | no | 6 |  |  | 0
7 ) | HC01 - HDMI out let @ 300mm from FFL | no | 3 |  |  | 0
8 ) | HC02 - HDMI out let @ CEILING LEVEL | no | 1 |  |  | 0
2.6 | SWITCHES
1 ) | 1 Gang 1 way Switches | no | 3 |  |  | 0
2 ) | 2 Gang 1 way Switches | no | 7
3 ) | 3 Gang 1 way Switches | no | 0
4 ) | 4 Gang 1 way Switches | no | 13
5 ) | Fan dimmers | no | 16
1.8 | AIR - CONDITIONING
1) | V04 - Multisplit Ceiling Cassette Inverter Airconditioning system; Design, supply and complete installation of complete system, with 40ø drop in water (type) 25ø extended as Cd drop in 32 flex conduit 18ø Cd drain (typ0 run above FC insulated, All AC unit shall be Wall Mount Multi split type full set complying to; Energy Efficient – SEER rating 17 or above, – Variable-Speed Inverter Compressor Cooling Range: 0° - 115° F Indoor Sound level as Low as 25 dB(A) Outdoor Sound level as Low as 60 dB(A) Washable Air Filter Wired Remote Controller Anti-Corrosion Heat Exchanger Treatment Refrigerant: R410A or R32 | no | 5 |  |  | 0
a) | Location F03: 24000Btu Ceiling Cassette Inverter Airconditioner System With Wired remote contol. | no | 2 |  |  |  | 695 | 44480 | 1.8533
a) | Location F04: 24000Btu Ceiling Cassette Inverter Airconditioner System With Wired remote contol. | no | 1 |  |  |  | 344 | 22016 | 0.91733
b) | Location F05: 24000Btu Ceiling Cassette Inverter Airconditioner System With Wired remote contol. | no | 2
3.0 | SECOND FLOOR |  |  |  |  | 0
3.1 | ELECTRICAL BOARDS
1 ) | P33 - Supply and Installation of Main distribution board | no | 1 |  |  | 0
3.2 | ELECTRICAL WIRING
1 ) | 2.5mm2 Wiring to Light points | no | 73 |  |  | 0
2 ) | 2.5mm2 Wiring to Power points | no | 19 |  |  | 0
3 ) | 4.0mm2 Wiring to Power points | no | 6 |  |  | 0
4 ) | 16mm2 Cable from DB to panel boards | mtr | 14 |  |  | 0
5 ) | CAT 06 Cabling - Security Camera System from Server room | no | 1 |  |  | 0
6 ) | CAT 06 Cabling - Server room to Hall Area outlets | no | 2 |  |  | 0
7 ) | Cabling - HDMI CABLES from Ceiling projector outlet to Wall outlet | no | 2
3.3 | FANS
| V01 - 1500mm dia. KDK brand Fan | no | 16
3.4 | FIXTURES
1 ) | L07 -Ceiling Recessed, 24W LED Light Surface mount. Philips or equivalent brand. | no | 50 |  |  | 0
2 ) | L07 -Ceiling Recessed, Aluminium framed 24W LED Light Surface mount. Philips or equivalent brand.(Corridor Area) | no | 12
3 ) | L 09 - Wall mount Energy Saving Light. | no | 2 |  |  | 0
4 ) | L 15 - Surface mount Energy Saving Light. | no | 5 |  |  | 0
5 ) | S01 - Security Cameras | no | 1
6 ) | Supply and complete installation of Multimedia Projector including power connection and cabling. Projector shall be LED lamp free, 3500 ANSI lumens and short throw. | no | 1
3.5 | SOCKETS
1 ) | P05 - 1 x 13A Socket outlet at 900mm above FFL | no | 5 |  |  | 0
2 ) | P06 - 2 x 13A Socket outlet at 300mm above FFL | no | 10 |  |  | 0
3 ) | P10 - 2 x 13A Socket outlet at 1200mm above FFL | no | 4 |  |  | 0
4 ) | P13 - 2 x 13A Socket outlet - Floor Concealed. | no | 0 |  |  | 0
5 ) | P15 - 1 x 15A Socket outlet at Ceiling Level | no | 6 |  |  | 0
6 ) | HC01 - HDMI out let @ 300mm from FFL | no | 2 |  |  | 0
7 ) | HC02 - HDMI out let @ CEILING LEVEL | no | 1 |  |  | 0
8 ) | S01 - Security Camera Point | no | 1 |  |  | 0
3.6 | SWITCHES
1 ) | 1 Gang 1 way Switches | no | 3 |  |  | 0
2 ) | 2 Gang 1 way Switches | no | 7
3 ) | 3 Gang 1 way Switches | no | 0
4 ) | 4 Gang 1 way Switches | no | 13
5 ) | Fan dimmers | no | 16
3.7 | AIR - CONDITIONING
1) | V04 - Multisplit Ceiling Cassette Inverter Airconditioning system; Design, supply and complete installation of complete system, with 40ø drop in water (type) 25ø extended as Cd drop in 32 flex conduit 18ø Cd drain (typ0 run above FC insulated, All AC unit shall be Wall Mount Multi split type full set complying to; Energy Efficient – SEER rating 17 or above, – Variable-Speed Inverter Compressor Cooling Range: 0° - 115° F Indoor Sound level as Low as 25 dB(A) Outdoor Sound level as Low as 60 dB(A) Washable Air Filter Wired Remote Controller Anti-Corrosion Heat Exchanger Treatment Refrigerant: R410A or R32 | no | 5 |  |  | 0
a) | Location F08: 24000Btu Ceiling Cassette Inverter Airconditioner System With Wired remote contol. | no | 5 |  |  |  | 1723 | 110272 | 4.5947
4.0 | ABOVE SECOND FLOOR |  |  |  |  | 0
4.1 | ELECTRICAL WIRING
1 ) | 2.5mm2 Wiring to Light points | no | 3 |  |  | 0
2 ) | 2.5mm2 Wiring to Power points | no | 16 |  |  | 0
3 ) | 4.0mm2 Wiring to Power points | no | 0 |  |  | 0
4 ) | 16mm2 Cable from DB to panel boards | mtr | 14 |  |  | 0
5 ) | Cabling - HDMI CABLES | no | 1 |  |  | 0
4.2 | FANS
| V01 - 1500mm dia. KDK brakdnd or equivalent Fan with aluminium blades | no | 0
4.3 | FIXTURES
1 ) | L 09 - Wall mount Energy Saving Light. | no | 1 |  |  | 0
2 ) | L 15 - Surface mount Energy Saving Light. | no | 2 |  |  | 0
3 ) | T07 - Server unit | no | 1
4.4 | SOCKETS
1 ) | P05 - 1 x 13A Socket outlet at 900mm above FFL | no | 0 |  |  | 0
2 ) | P06 - 2 x 13A Socket outlet at 300mm above FFL | no | 16 |  |  | 0
3 ) | P10 - 2 x 13A Socket outlet at 1200mm above FFL | no | 0 |  |  | 0
4 ) | P13 - 2 x 13A Socket outlet - Floor Concealed. | no | 0 |  |  | 0
5 ) | P15 - 1 x 15A Socket outlet at Ceiling Level | no | 0 |  |  | 0
6 ) | P17 - 1 x 15A Socket outlet at 1200mm above FFL | no | 0 |  |  | 0
7 ) | HC01 - HDMI out let @ 300mm from FFL | no | 1 |  |  | 0
8 ) | HC02 - HDMI out let @ CEILING LEVEL | no | 0 |  |  | 0
9 ) | S01 - Security Camera Point | no | 0 |  |  | 0
4.5 | SWITCHES
1 ) | 1 Gang 1 way Switches | no | 1 |  |  | 0
2 ) | 2 Gang 1 way Switches | no | 1
3 ) | Fan dimmers | no | 0
4.6 | AIR - CONDITIONING
1 ) | 13000 BTU Air-Conditioning units - Wall mounted type inside Server room | no | 1 |  |  | 0
BILL No: 12 - ELECTRICAL INSTALLATIONS
| TOTAL OF BILL No: 12 - Carried over to summary |  |  |  |  | 0
BILL No: 13
FIRE FIGHTING SYSTEM
13.1 | GENERAL
a )Rates shall include for: sockets, running joints, connectors, elbows, junctions, reducers, expansion joints, back nuts, and similar incidental fittings, clips, saddles, brackets, straps, hangers screws nails and fixing complete including cutting and forming holes.
b ) Rate shall include for pipe works and inner and outer surface of all pipe work shall be galvanized steel.
c )All wiring and pipe work shall be done as specified in the drawing.
d )Shop drawings of the system shall be prepared to the standard of the government's relevant authority and submitted to the Consultant for approval.
13.2 | FIRE ALARM SYSTEM
Heat Resistant cable shall be laid for connecting the detectors.
1 | GROUND FLOOR
a ) | FIRE ALARM SYSTEM
1 ) | CONVENTIONAL FIRE ALARM PANEL | no | 1
2 ) | JUNCTION BOX | no | 1
3 ) | EXIT SIGN LIGHT | no | 6
4 ) | RESETABLE BREAK GLASS MANUAL CALL POINT | no | 1
5 ) | FIRE ALARM BELL | no | 1
6 ) | SMOKE DETECTOR | no | 10
7 ) | PORTABLE EXTINGUISHER (H2O) | no | 1
8 ) | PORTABLE EXTINGUISHER (CO2) | no | 1
2 | FIRST FLOOR
a ) | FIRE ALARM SYSTEM
1 ) | EXIT SIGN LIGHT | no | 7
2 ) | RESETABLE BREAK GLASS MANUAL CALL POINT | no | 1
3 ) | FIRE ALARM BELL | no | 1
4 ) | SMOKE DETECTOR | no | 10
5 ) | PORTABLE EXTINGUISHER (H2O) | no | 1
6 ) | PORTABLE EXTINGUISHER (CO2) | no | 1
3 | SECOND FLOOR
a ) | FIRE ALARM SYSTEM
1 ) | EXIT SIGN LIGHT | no | 7
2 ) | RESETABLE BREAK GLASS MANUAL CALL POINT | no | 1
3 ) | FIRE ALARM BELL | no | 1
4 ) | SMOKE DETECTOR | no | 10
5 ) | PORTABLE EXTINGUISHER (H2O) | no | 1
6 ) | PORTABLE EXTINGUISHER (CO2) | no | 1
4 | ABOVE SECOND FLOOR
a ) | FIRE ALARM SYSTEM
1 ) | EXIT SIGN LIGHT | no | 1
2 ) | SMOKE DETECTOR | no | 1
3 ) | PORTABLE EXTINGUISHER (H2O) | no | 1
4 ) | PORTABLE EXTINGUISHER (CO2) | no | 1
BILL No: 13 - FIRE FIGHTING SYSTEM
| TOTAL OF BILL No: 13 - Carried over to summary |  |  |  |  | 0
BILL No: 14
COMMON WORKS
14.1 | SOLAR PV SYSTEM
a ) | General
a) Rates shall include for: Design, supply and install according to operators’ demand/specifications. screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
b) Rate shall include for electrical conduits, fittings, equipment and similar all fixings
c) Rate shall include to complete the system and connect to the grid including supply and installation of net meter as per specification and approval of Consultant/ Client (Netmeter, Junction box specs, solar AC & DC cable specs, solar brackets specs, inverter specs & solar panel specs…etc)
1 | SOLAR PV SYSTEM Design, supply and install according to Maldives Energy Authority Regulations and Guidelines with a minimum capacity of 10 kW | Item | 1
14.2 | OXYGEN & AIR FOR ALL BEDS
a ) | General
a) Rates shall include for: Design, supply and install according to operators’ demand/specifications. screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
Design, supply and install of Oxygen, Medical Air and Ventilation points for 7 beds, integrated in Bed Head Units or Medical Pendants according to the specifications.
14.2.1 | OXYGEN & AIR DESIGN & BUILD
a ) | General
a) Rates shall include for: Design & build, supply and install according to operators’ demand/specifications. screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
14.2.2 | OXYGEN DELIVERY SYSTEM
1 | Design supply and complete installation of Piped and tested oxygen delivery system from the Oxygen bank. Oxygen bank, capacity to connect minimum 7 jumbo cylinder. System to be insttaled as per manufactures standards at Ground floor Storage area. | Item | 1
14.2.3 | VACCUUM SYSTEM
1 | Design supply and complete installation of Piped and tested vacuum system from a central vacuum system, | Item | 1
14.3 | NURSE CALL SYSTEM & PUBLIC ADDRESS SYSTEM
a ) | General
Nurse call system and Public address system. incluing all hardwear, wiring as required for all floors all inclusive installation and commissioning.design, supply and install according to hospital operators’ demand/specifications.
1 | Ward Arear: 7 unit with control panel | Item | 1
14.4 | LIGHTENING PROTECTION SYSTEM
a ) | finishing
1 | Design, supply and complete installation of standard lightening protection system to cover the whole building as per the local regulations (rates shall include for all fixing of system and down conductor to earthing) | Item | 1
14.4 | WARD EQUIPMENT
1 | Medical graded multifunctional beds with IV stand. | Nos | 7
2 | Supply and complete installation of Bed head units, with control panels , each unit must includes medical gas outlets ( for compressed medical gas & vaccum), 13amp 4 single sockets, 13amp 1 single socket with USB port, 1 network point, Obsevatuion light, X-ray film viwer and all necessary accessories for complete installation and operation. | Nos | 7
3 | Blinder curtains (~ 3.5 to 4.5 meter length) (a) Prior to fabrication, verify actual opening dimensions by on-site measurement. Blind dimension (b) Contractor shall submit specification for Client's approval (C) Contractor shall supply all installation accessories as required for a secure and operational installation. | Nos | 7
4 | Shoe storage bench /rack of 65cm height or equivalent | Nos | 1
5 | Wall mount hand sanitizer stand | Nos | 2
6 | Wall mount cardic monitor | Nos | 7
7 | Plastic chair | Nos | 7
8 | Rubber top stainless steel foot steps (double) | Nos | 7
9 | Refrigerator for medicine storage. Upright Type Internal volume not less than 250 lt. / freezer - 40÷50 lt. Temperature controlled within the range of +2°÷ +8° C. Number of shelves – 3 or 4. With defrosting system Power Requirements: 220 ± 10% V. 50 Hz. | Nos | 1
10 | Multi Functional Stainless steel medical trolley with 6 drawers | Nos | 7
11 | Digital adult weighing machine | Nos | 7
12 | Cordless phone | Nos | 1
13 | Portable IV stands | Nos | 2
14 | Patient shifting roller board | Nos | 7
15 | Veil hanging hooks | Nos | 12
16 | Wheelchair | Nos | 2
17 | Emergency trolley with defabrillator | Nos | 2
18 | IV fluid warmer | Nos | 2
19 | Syringe pumps | Nos | 2
20 | IV infusion pumps | Nos | 2
21 | Pressure infuser for IV fluids | Nos | 5
22 | Infrared vein detector | Nos | 5
23 | Foot operating portable dustbin 12-16 L | Nos | 3
24 | Foot operating portable dustbin - Large (20-30L) | Nos | 2
25 | Surface mount tissue dispenser | Nos | 4
26 | Free standing water dispenser (hot and cold water). (a) Contractor shall provide and install necessary fixtures including electrical connections, water supply connection and waste disposal lines based on Client's preference. (b) Contractor shall submit product specifications for Client's approval. | Nos | 1
27 | Paediatric and Neonatal Suction Machine | Nos | 1
BILL No: 14 - COMMON WORKS
| TOTAL OF BILL No: 14 - Carried over to summary |  |  |  |  | 0
BILL No: 15
ADDITIONS
14.1 | General
Provision to include quantities as per the drawing which is missed in the bill of quantities.
BILL No: 15 - ADDITIONS
| TOTAL OF BILL No: 15 - Carried over to summary |  |  |  |  | 0
BILL No: 16
OMISSIONS
15.1 | General
Provision to remove excess quantity given in the bill quantities than the drawing details
BILL No: 16 - OMISSIONS
| TOTAL OF BILL No: 16 - Carried over to summary |  |  |  |  | 0

## Summary
PROJECT : CONSTRUCTION OF PROPOSED THREE (3) STOREY CLASSROOM BLOCK AT GDH.THINADHOO
SUMMARY OF BILL OF QUANTITIES
Bl.no | Item Description | Amount
1 | PRELIMINARIES | 0
2 | GROUND WORKS | 0
3 | CONCRETE WORKS | 0
4 | MASONRY & PLASTERING | 0
5 | FLOORING & TILING | 0
6 | DOORS & WINDOWS | 0
7 | CEILING | 0
8 | ROOFING | 0
9 | PAINTING | 0
10 | METAL WORK | 0
11 | HYDRAULICS & DRAINAGE | 0
12 | ELECTRICAL INSTALLATIONS | 0
13 | FIRE FIGHTING SYSTEM | 0
14 | COMMON WORKS | 0
15 | ADDITIONS | 0
16 | OMMISSIONS | 0
| Total | 0
| GST Amount | 0
0
| GRAND TOTAL | 0 | 0

## Cover
BILL OF QUANTITIES
FOR
CONSTRUCTION OF PROPOSED THREE (3) STOREY CLASSROOM BLOCK AT GDH.THINADHOO
March 2021