## Cover
BILL OF QUANTITIES
CONSTRUCTION OF
02 STOREY ACCOMMODATION BUILDING
MALDIVES POLICE SERVICE
S. HITHADHOO

## Summary
MALDIVES POLICE SERVICE
INFRASTRUCTURE UNIT
FINANCE AND ASSET MANAGEMENT
Poject: Proposed 02 Storey Accommodation Building
Location: S. Hithadhoo
Client: Maldives Police Service
DATE: 16 August 2021
SUMMARY
Bill No | Description | Amount
1 | PRELIMINARIES
2 | GROUND WORKS
3 | CONCRETE WORKS
4 | MASONRY AND PLASTERING
5 | METAL WORKS
6 | CEILING
7 | DOORS AND WINDOWS
8 | TILING WORKS
9 | PAINTING
10 | HYDRAULICS & DRAINAGE
11 | ELECTRICAL INSTALLATIONS
12 | NET WORKING
13 | FIRE FIGHTING
14 | FURNITURE
15 | ADDITIONS
16 | OMISSIONS
TOTAL
GST (6%)
GRAND TOTAL

## BOQ
MALDIVES POLICE SERVICE
INFRASTRUCTURE UNIT
FINANCE AND ASSET MANAGEMENT
Project: Proposed 02 Storey Accommodation Building
Location: S. Hithadhoo Police Station
Client: Maldives Police Service
DATE: 16 August 2021
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
Bill No. 01
PRELIMINARIES
1.1 | General Notes
1 | Abbreviations
m - meter
No - numbers
m3 - cubic meter
m2 - square meter
Lm - Linear meter
t- tonnes
incl - including
mm - millimeter
dia - diameter
SS - Stainless Steel
GI - Galvanized Iron
1.2 | Site Management Costs
1 | Allow for all on and off site management cost including costs of mobilization, foreman and assistants, temporary services (electrical & water), hoardings and similar. | 1 | item
1.3 | Sign Board
1 | Allow for sign board stating project details. | 1 | Nos
1.4 | Clean - up
1 | Allow for clean - up of completed works and site upon completion. | 1 | item
1.5 | SAFETY
1 | Safety - Providing and fixing scaffolding with G.I. pipes and clamps and pvc netting alaround building during construction | 1 | Item
1.6 | INSURANCE, BONDS, GUARANTEES & WARRANTIES
1 | Insurances and Guarantees as stated in the general consditions. | 1 | Item
1.7 | AS-BUILT DRAWINGS
1 | Preparation and submission of "as-built" Drawings. | 1 | Item
TOTAL OF BILL NO. 01 (PRELIMINARIES)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 02
GROUND WORKS
2.1 | GENERAL
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and disposing surplus soil.
2.2 | SITE CLEARING
| Clear the area of site from rubbish and vegetable matters, stumps, roots etc. | 337.55 | m²
2.3 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork, lean concreting and others.
1 | Footing, F1 | 25.73 | m³
2 | Footing, F2 | 10.14 | m³
3 | Footing, F3 | 7.57 | m³
4 | Footing, F4 | 20.28 | m³
5 | Footing, F5 | 6.91 | m³
6 | Footing, F6 | 6 | m³
7 | Tie Beam, TB1 | 4.82 | m³
8 | Tie Beam, TB2 | 27.68 | m³
9 | Staircase Starter | 0.22 | m³
2.4 | BACK FILLING
(a) Rates shall include for: levelling, grading, trimming, compacting and similar.
(b) Ground need to be compacted to the required density by the consultant.
1 | Back Filling for Foundation | 75.53 | m³
2 | Earth Filling as per the drawings | 126.58 | m³
2.5 | DAMP PROOF MEMBRANE
(a) Rates shall include for: dressing around and sealing to all penetrations, laps and turn-ups
1 | Polythene damp proof membrane (500 gauge) laid on blinding layer under pad footings. | 63.86 | m²
2 | Polythene damp proof membrane (500 gauge) laid on blinding layer under ground floor slab. | 337.55 | m²
2.6 | DEWATERING
| This item shall include for all the piping, pumps, etc. Water needs to be pumped to an assigned area as per local regulation. | 1 | Item
TOTAL OF BILL NO. 02 (GROUND WORKS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 03
CONCRETE WORKS
General
a) Rate shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
b) Mix ratio for reinforced concrete shall be 1:2:4
3.1 | Lean Concrete
| 50mm thick lean concrete under pad footing, tie beams and stair starter with a mix ratio of 1:2:6 | 100.15 | m²
3.2 | Reinforced Concrete
In-situ reinforced concrete to:
Add water proofing compound to concrete mix for walls and cover slab below GL
3.2.1 | Foundation
1 | Footing, F1 | 6.43 | m³
2 | Footing, F2 | 2.54 | m³
3 | Footing, F3 | 1.89 | m³
4 | Footing, F4 | 5.07 | m³
5 | Footing, F5 | 1.73 | m³
6 | Footing, F6 | 1.5 | m³
7 | Tie Beam, TB1 | 2.14 | m³
8 | Tie Beam, TB2 | 12.3 | m³
9 | Columns C1, up to GFFL | 1.03 | m³
10 | Columns C2, up to GFFL | 0.57 | m³
11 | Columns C3, up to GFFL | 0.38 | m³
14 | Staircase starter up to GFFL | 0.22 | m³
3.2.2 | Ground Floor
1 | RCC Ground Slab 75 mm thick with T10@250 mm c/c ( Rate should include reinforcement and required shuttering for edge of slab | 25.32 | m³
2 | Columns C1 | 3.29 | m³
3 | Columns C2 | 0.92 | m³
4 | Columns C3 | 1.22 | m³
5 | Staircase waist incl, steps midlanding etc. up to First Floor Level | 2.42 | m³
3.2.3 | First Floor
1 | Attached beams B1 | 2.74 | m³
2 | Attached beams B2 | 4.98 | m³
3 | Attached beams B3 | 8.6 | m³
4 | Attached beams B4 | 3.19 | m³
5 | Attached beams CB1 | 0.43 | m³
6 | Suspended Slab | 49.24 | m³
7 | Columns C1 | 2.93 | m³
8 | Columns C2 | 0.92 | m³
9 | Columns C3 | 1.22 | m³
10 | Staircase waist incl, steps midlanding etc. up to Terrace Level | 2.97 | m³
3.2.4 | Terrace Level
1 | Attached beams B3 | 3.58 | m³
2 | Attached beams B4 | 10.13 | m³
3 | Attached beams B5 | 3.43 | m³
4 | Attached beams B6 | 1.72 | m³
5 | Suspended Slab | 49.48 | m³
6 | Columns C1 | 0.15 | m³
7 | Columns SC | 0.11 | m³
3.2.5 | Roof Level
1 | Attached beams B4 | 2.33 | m³
2 | Attached beams B4A | 0.66 | m³
3 | Suspended Slab | 6.04 | m³
3.3 | FORMWORK
a) Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes, removal of formwork and normal practices used.
3.3.1 | Foundation
1 | Footing, F1 | 14.7 | m²
2 | Footing, F2 | 7.8 | m²
3 | Footing, F3 | 5.22 | m²
4 | Footing, F4 | 15.6 | m²
5 | Footing, F5 | 5.76 | m²
6 | Footing, F6 | 6 | m²
7 | Tie Beam, TB1 | 21.44 | m²
8 | Tie Beam, TB2 | 123.02 | m²
9 | Columns C1, up to GFFL | 3.24 | m²
10 | Columns C2, up to GFFL | 17.1 | m²
11 | Columns C3, up to GFFL | 7.98 | m²
14 | Staircase starter up to GFFL | 7.6 | m²
3.3.2 | Ground Floor
1 | Columns C1 | 54.9 | m²
2 | Columns C2 | 16.47 | m²
3 | Columns C3 | 24.4 | m²
4 | Staircase waist incl, steps midlanding, midlanding beam etc. up to First Floor Level | 15.26 | m²
3.3.3 | First Floor
1 | Attached beams B1 | 26.93 | m²
2 | Attached beams B2 | 53.32 | m²
3 | Attached beams B3 | 105.08 | m²
4 | Attached beams B4 | 39.01 | m²
5 | Attached beams CB1 | 5.28 | m²
6 | Suspended Slab | 364.76 | m²
7 | Columns C1 | 48.8 | m²
8 | Columns C2 | 16.47 | m²
9 | Columns C3 | 24.4 | m²
10 | Staircase waist incl, steps midlanding, midlanding beam etc. up to Terrace Level | 17.09 | m²
3.3.4 | Terrace Level
1 | Attached beams B3 | 43.78 | m²
2 | Attached beams B4 | 123.86 | m²
3 | Attached beams B5 | 40.56 | m²
4 | Attached beams B6 | 20.28 | m²
5 | Suspended Slab | 366.48 | m²
6 | Columns C1 | 2.55 | m²
7 | Columns SC | 3.06 | m²
3.3.5 | Roof Level
1 | Attached beams B4 | 28.49 | m²
2 | Attached beams B4A | 8.03 | m²
3 | Suspended Slab | 44.74 | m²
3.4 | REINFORCEMENT
a) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and chair supports, laps, and any other wastages etc.
3.4.1 | Foundation
1 | 16 mm dia bars in Tie Beams | 1.31 | t
2 | 16 mm dia bars in Columns | 0.45 | t
3 | 12 mm dia bars in Footings | 0.88 | t
4 | 12 mm dia bars in Staircase Starter | 0.04 | t
5 | 6 mm dia bars in Tie Beams | 0.32 | t
6 | 6 mm dia bars in Columns | 0.08 | t
3.4.2 | Ground Floor
1 | 16 mm dia bars in Columns | 0.95 | t
2 | 16 mm dia bars in Stair midlanding beam | 0.02 | t
3 | 12 mm dia bars in Staircase | 0.26 | t
4 | 6 mm dia bars in Columns | 0.16 | t
5 | 6 mm dia bars in Stair midlanding beam | 0.004 | t
3.4.3 | First Floor
1 | 20 mm dia bars in Beams | 0.99 | t
2 | 16 mm dia bars in Beams | 1.35 | t
3 | 16 mm dia bars in Columns | 0.88 | t
4 | 16 mm dia bars in Stair midlanding beam | 0.02 | t
5 | 12 mm dia bars in Staircase | 0.26 | t
6 | 10 mm dia bars in Slab | 5.92 | t
7 | 6 mm dia bars in Beams | 0.66 | t
8 | 6 mm dia bars in Columns | 0.15 | t
9 | 6 mm dia bars in Stair midlanding beam | 0.004 | t
3.4.4 | Terrace Level
1 | 16 mm dia bars in Beams | 1.53 | t
2 | 16 mm dia bars in Columns | 0.11 | t
3 | 12 mm dia bars in Columns | 0.02 | t
4 | 10 mm dia bars in Slab | 5.95 | t
5 | 6 mm dia bars in Beams | 0.32 | t
6 | 6 mm dia bars in Columns | 0.02 | t
3.4.5 | Roof Level
1 | 16 mm dia bars in Beams | 0.21 | t
2 | 10 mm dia bars in Slab | 0.74 | t
3 | 6 mm dia bars in Beams | 0.08 | t
3.5 | OTHER CONCRETE WORKS
1 | 1500mm dia RC water wells 1.2 m depth of water level as per the instruction given in the drawing all necessary pipe connections and all related works. | 1 | Nos
2 | Soak Pit as per the instruction given in the drawing all necessary pipe connections and all related works. | 2 | Nos
3 | Balcony parapet walls 100 mm thick as per the drawings with reinforcement and shuttering , plastering etc. and all the related works. | 5.12 | m³
4 | Terrace parapet walls 100 mm thick as per the drawings with reinforcement and shuttering , plastering etc. and all the related works. | 16.35 | m³
5 | RCC Counter (Counter Detail 2) works as per the detail drawing including shuttering, reinforcement and other necessary works required for completion of concrete works. Rates shall include for all carpentry and finishing works as described. | 1 | Item
6 | RCC Service Counter (Counter Detail 2) works as per the detail drawing including shuttering, reinforcement and other necessary works required for completion of works including tray slide etc. as per the detailed drawing. Rates shall include for all carpentry and finishing works as described. | 2 | Item
7 | RCC Counter (Counter Detail 4 & 5) works as per the detail drawing including shuttering, reinforcement and other necessary works required for completion of works. Rates shall include for all carpentry and finishing works as described. | 2 | Item
8 | RCC Counter (Counter Detail 1) works as per the detail drawing including shuttering, reinforcement and other necessary works required for completion of works. Rates shall include for all carpentry and finishing works as described. | 1 | Item
9 | Reception Counter works as per the detail drawing including shuttering, reinforcement and other necessary works required for completion of works. Rates shall include for all carpentry and finishing works as described. | 1 | Item
10 | Window RC Casements as shown in the drawings with reinforcement and shuttering ,plastering etc. | 1 | Item
11 | Lintel beam (above doors and windows) and Sill beam (beneath windows) as shown in the drawings with reinforcement and shuttering , plastering etc. | 1 | Item
3.6 | WATER PROOFING
Rates shall include for: dressing around and sealing to all penetrations
1 | Apply bituminous type waterproofing to all surfaces of concrete below ground level up to GFFL in accordance with the specifications and manufacturer's instructions | 486.11 | m²
2 | Apply crystalline or equivalent type waterproofing material to the surface terrace slab up to 0.5m height in parapet walls in accordance with the specifications and manufacturer's instructions | 411.41 | m²
3 | Apply crystalline or equivalent type waterproofing material to the surface of roof slab in accordance with the specifications and manufacturer's instructions | 44.74 | m²
4 | Apply crystalline or equivalent type waterproofing material to the surface of balcony, toilets & washing areas up to 0.5m height in parapet/masonry walls in accordance with the specifications and manufacturer's instructions | 202.52 | m²
TOTAL OF BILL NO. 03 (CONCRETE WORKS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 04
MASONRY AND PLASTERING
4.1 | General
a) Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary works required.
4.2 | MASONRY WORKS
4.2.1 | All External walls, 150mm thick
150mm wide solid block wall, laid on and incl. 1:4 Cement Mortar, tie rods, compression gap filler, nylon / plastic mesh as specified.
1 | Below Ground | 150.68 | m²
2 | Ground Floor | 219.41 | m²
3 | First Floor | 227.95 | m²
4 | Terrace Level | 66.34 | m²
4.2.2 | All Internal walls, 150mm thick
150mm wide hollow blocks, laid on and incl. 1:4 Cement Mortar, tie rods, compression gap filler, nylon / plastic mesh on concrete and masonry joints as specified.
1 | Ground Floor | 180.33 | m²
2 | First Floor | 293.21 | m²
3 | Terrace Level | 5.76 | m²
4.2.3 | All Internal walls, 100mm thick
100mm wide hollow block wall on cement plastered and painted finish, and incl. 1:4 Cement Mortar, tie rods, compression gap filler, nylon / plastic mesh on concrete and masonry joints as specified.
1 | Ground Floor | 11.44 | m²
2 | First Floor | 66.5 | m²
4.3 | PLASTERING
4.3.1 | External Plastering
a) 30mm thick cement plastering (15mm rough layer & 15mm top layer) on EXTERNAL WALLS and concrete surfaces with 1:4 Cement mortar mix as specified incl. wire mesh at joints of concrete surfaces and walls (first, second coats).
1 | Below Ground | 301.35 | m²
2 | Ground Floor | 259.64 | m²
3 | First Floor | 351.4 | m²
4 | Terrace Level | 78.85 | m²
4.3.2 | Internal Plastering
a) 15mm cement plastering on INTERNAL WALLS and concrete surfaces with 1:4 Cement mortar mix as specified incl. wire mesh at joints of concrete surfaces and walls (one coat).
1 | Ground Floor | 685.64 | m²
2 | First Floor | 989.19 | m²
3 | Terrace Level | 90.37 | m²
4.4 | Cement Screed Finish
50mm thick Cement screeding on the
concrete floor with 1:4 cement mortar
mix incl.float finish to receive the tiles
1 | Ground Floor | 337.55 | m²
2 | First Floor | 364.76 | m²
3 | Terrace Level | 366.48 | m²
4 | Roof Level | 44.74 | m²
TOTAL OF BILL NO. 04 (MASONRY AND PLASTERING)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 05
METAL WORKS
5.1 | General
a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts incl. steel Flanges, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
b) Rates shall include for fabrication and erection and temporary supports and fixing into position.
5.2 | Staircase One Hand railing
As per the drawings with SS pipe and Treated timber with varnish finish
5.2.1 | Ground Floor
1 | 50mm dia SS Pipe railing in staircase | 9.61 | m
2 | 25mm dia SS Pipe railing in staircase | 25.32 | m
5.2.2 | First Floor
1 | 50mm dia SS Pipe railing in staircase | 12.21 | m
2 | 25mm dia SS Pipe railing in staircase | 33.72 | m
5.3 | Steel Rack in kitchen storage as per the drawings including all necessary fittings for complete installation. | 1 | Item
TOTAL OF BILL NO. 05 (METAL WORKS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 06
CEILING
6.1 | General
a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and timber bedding etc. similar and all nails and screws.
b) Rate shall include for: timber priming and all painting as specified in the drawing
c) Rate shall include for provision of air vent grills in all toilets and store rooms.
6.2 | Cement/Smart Board Ceiling
6 mm thk. Cement/Smart Board Ceiling System with 0.6 - 1.0mm tk Aluminum framing @600mm c/c both ways and smoothed with putty including beading, nails and screws.
1 | Ground Floor | 85.84 | m²
2 | First Floor | 82.36 | m²
6.3 | Gypsum Board Ceiling
9 mm thk. Gypsum Board Ceiling System with 0.6 - 1.0mm tk Aluminum framing @600mm c/c both ways and smoothed with putty & painted including framing, beading, nails and screws.
1 | Ground Floor | 210.47 | m²
2 | First Floor | 225.01 | m²
3 | Terrace | 19.21 | m²
6.4 | Gypsum Board Ceiling Access Panel
450 x450mm access panel. Rates shall include all necessary framing, screws, hook etc.
1 | Ground Floor | 15 | Nos
2 | First Floor | 12 | Nos
TOTAL OF BILL NO. 06 (CEILINGS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 07
DOORS AND WINDOWS
7.1 | General
a) Rates shall include for: locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
b) All Aluminum windows shall be white powder coated 60-80 micron aluminum.
c) All timber doors shall be solid timber paneled door with paint finish
d) Rates shall include application of wood putty in all timber door units to receive painting (1 coat wood primer and 2 coats of spray paint).
e) All glazing shall be 6mm blue / green reflective glass.
(Profiles to be chosen by client).
7.2 | GROUND FLOOR
7.2.1 | Aluminum Door Units
1 | Door, D01 | 1 | Nos
2 | Door, D02 | 1 | Nos
3 | Door, D05 | 3 | Nos
4 | Door, D07 | 7 | Nos
5 | Door, D08 | 2 | Nos
6 | Door, SD1 | 2 | Nos
7 | Duct Grilled Frame, GR3 - P1 | 8 | Nos
8 | Duct Grilled Frame, GR3 - P2 | 16 | Nos
9 | Shower Curtain (Aluminum Sliding Rail with 6ft high tempered glass) | 1 | Nos
7.2.2 | Timber Door Units
1 | Door, D03 | 8 | Nos
2 | Door, D10 | 1 | Nos
3 | Door, D06 | 3 | Nos
7.2.3 | Fiber Coated Door Units
1 | Door, D04 | 2 | Nos
2 | Door, D09 | 11 | Nos
7.2.4 | Aluminum Window Units
1 | Window, W01 | 8 | Nos
2 | Window, W02 | 18 | Nos
3 | Window, V01 | 10 | Nos
4 | Window, V02 | 3 | Nos
7.2.5 | Fixed Glass, Aluminum Framed
1 | Fixed Panel, FG1 | 8 | Nos
2 | Fixed Panel, FG2 | 8 | Nos
3 | Fixed Panel, FG3 | 3 | Nos
7.5 | CURTAIN, BLINDS & STICKER
Note: Supply and fixing of blind for all windows. Rates shall include for all accessories and completion of all necessary works. Specifications manufactures details shall be submitted for consultants approval.
7.5.1 | Vertical Blinds (Black out Blinds)
1 | Window, W01 | 7 | Nos
2 | Window, W02 | 8 | Nos
7.5.2 | Curtain (Dark Grey Canvas, Antique Bronze Grommet, Black out)
1 | Window, W01 | 1 | Nos
2 | Window, W02 | 10 | Nos
3 | Door, D07 | 6 | Nos
4 | Door, D08 | 2 | Nos
5 | Fixed Panel, FG1 | 4 | Nos
6 | Fixed Panel, FG2 | 4 | Nos
7.5.3 | Curtain (Lace & Black out, 2 Layers - Dark Grey Canvas, Antique Bronze Gormmet)
1 | Door, SD1 | 1 | Nos
TOTAL OF BILL NO. 07 (DOORS AND WINDOWS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 08
TILING WORKS
8.1 | General
a) Rates shall include for: fixing, bedding, grouting, pointing, finishing and any other similar works to ensure the required finish.
colour combination of tiles, pattern and texture my vary on actual and by the owner.
8.2 | 600 x 600mm Non-Skid Porcelain Tiles
Porcelain floor tiles laid on cement screeding including 4" tile skirting border around masonry walls.
1 | Ground Floor | 71.56 | m²
2 | First Floor | 13.65 | m²
3 | Terrace | 8.37 | m²
4 | 4" tile skirting | 68.99 | m
8.3 | 600 x 600mm Porcelain floor Tiles
Porcelain floor tiles laid on cement screeding including 4" tile skirting border around masonry walls.
1 | Ground Floor | 210.47 | m²
2 | First Floor | 225.02 | m²
3 | Terrace | 7.9 | m²
4 | 4" tile skirting | 402.31 | m
8.3 | 300 x 300mm Non-Skid Porcelain Tiles
Porcelain floor tiles laid on cement screeding including 4" tile skirting border around masonry walls.
1 | Ground Floor | 14.27 | m²
2 | First Floor | 82.44 | m²
3 | Terrace | 342.22 | m²
4 | 4" tile skirting | 217.96 | m
8.4 | 300X600mm Porcelain non- skid tiles
Porcelain non- skid tile for stair case at mid landing, riser & tread with nosing including 4" tile skirting.
1 | Ground Floor | 13.34 | m²
2 | First Floor | 13.34 | m²
8.5 | 300 X 600 Porcelain Gloss high quality tiles
Porcelain Gloss high quality tiles up to ceiling height.
1 | Ground Floor | 202.65 | m²
2 | First Floor | 212.22 | m²
TOTAL OF BILL NO. 08 (TILING WORKS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 09
PAINTING
9.1 | General
a) Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and / or making floors, fittings and similar work, removing and replacing door and window furniture
b) Colour and quality shall be approved prior to work.
9.2 | External Walls
Oil-Based paint finish
1 coat of wall sealer, 1 coat of textured & 2 coats of paints on external walls
1 | Ground Floor | 259.64 | m²
2 | First Floor | 351.4 | m²
3 | Terrace level | 78.85 | m²
9.3 | Internal Walls
Internal wall putty and Emulsion paint finish on plastered surfaces of on internal walls.
1 coat of wall sealer, & 2 coats of paints
1 | Ground Floor | 685.64 | m²
2 | First Floor | 989.19 | m²
3 | Terrace level | 90.37 | m²
9.4 | Concrete Slabs / Ceiling
Internal wall putty with emulsion paint finish
1 | Ground Floor | 364.76 | m²
2 | First Floor | 366.48 | m²
3 | Terrace level | 44.74 | m²
TOTAL OF BILL NO. 09 (PAINTING)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 10
HYDRAULICS & DRAINAGE
10.1 | General
(a) Rates shall include for sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints, backnuts and similar, incidental fittings, clips saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes, excavating, laying pipes and backfilling trenches.
(b) All pipe work and fittings shall be high pressure PVC.
(c) Rates shall include for supply and fixing of all pipes.
d) The Contractor shall submit shop drawing for the entire installation, including installation details for all items required for approval of the Consultant.
e) Record drawing During Construction; the Contractor shall keep an accurate record of all deviations between the work as shown on the Contract Drawings and that which is actually installed
f)The Contractor shall make a complete record of all changes and revisions in the original design which exist in the completed work, and submit the drawings after completion of project.
10.2 | Main Connections & Pipe Works
1 | Allow for water main connections | 1 | Nos
2 | Allow for well water connection | 1 | Item
3 | Allow for fresh water connection | 1 | Item
10.3 | Sanitary Fixtures & Accessories
Sanitary Fixtures complete including brackets flush pipes, overflows, plugs and washers etc.
a) All WC & Wash Basin fittings shall be "Cotto " or equivalent
b) All piping shall be of UPVC
c) All kitchen sinks shall be of SS type with chrome plated taps.
1 | Water Closet | 12 | Nos
2 | Wash basin wall mount with tap | 1 | Nos
3 | Wash basin Oval with faucet | 3 | Nos
4 | Wash basin with pedestal with tap | 10 | Nos
5 | Double Bowl "SS" Sink, with faucet | 1 | Nos
6 | Single Bowl "SS" Sink with faucet | 1 | Nos
7 | Muslim Shower | 12 | Nos
8 | Floor Drain | 31 | Nos
9 | Head shower | 9 | Nos
10 | Mirror with accessories | 12 | Nos
11 | Water Taps / Faucet (Chrome plated) | 11 | Nos
12 | Stop Valves | 24 | Nos
10.4 | Pumping System
Supply and installation of water pump (one for rain water, one for well complete, each will have standby pump system with automatic control board including connecting valves to pipework and electricity as per requirements "Grundfos or Equivalent"
1 | Well water pump | 1 | Nos
10.5 | Drainage
Discharge pipework
1 | All pipework connection from fixtures and up to the inspection chamber and main sewer | 1 | Item
2 | Constructing Inspection Chamber (600 x 600mm) with all provisions to connect pipelines as per drawing. | 3 | Nos
3 | Constructing Inspection Chamber (1000 x 1000mm) with all provisions to connect pipelines as per drawing. | 1 | Nos
TOTAL OF BILL NO. 10 (HYDRAULICS AND DRAINAGE)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 11
11.1 | ELECTRICAL INSTALLATIONS
GENERAL
(a) Design, provide and install electrical network for the entire building complete in accordance to standards set by the local governing body
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil.
(c) Rates for electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces.
(d) Light end and switch end of wiring together measured as one point.
(e) A point wiring for power points is measured as one point for each socket outlet; other end of wire is not included in the quantity.
(f) Rates shall include for supply and complete installation.
(g) Three phase power supply.
h) The Contractor shall submit shop drawing for the entire installation, including installation details for all items required for approval of the Consultant.
i) Record drawing During Construction; the Contractor shall keep an accurate record of all deviations between the work as shown on the Contract Drawings and that which is actually installed
j)The Contractor shall make a complete record of all changes and revisions in the original design which exist in the completed work, and submit the drawings after completion of project.
11.2 | MAINS CONNECTION
1 | Allow for connection to electrical mains from out side substation to 3 phase meter. | 1 | Item
2 | Allow for connection to electrical mains from main panel board to floor distribution boards. | 1 | Item
10.5 | CABLE TRAYS & CABLE TRENCH
1 | Supply and installation of powder coated cable trays for electric conduit, data cables and aircondition pipes above ceiling as specified in the drawings. | 1 | Item
2 | Construction of cable trenches in ground floor for electrical mains. | 1 | Item
11.3 | ELECTRICAL BOARDS
Complete installation, including for all cabling, wiring, connections, earthing, painting, testing and similar of:
1 | Main panel board, 3 phase | 1 | Nos
2 | Electrical Meter, 3 Phase | 1 | Nos
3 | Floor Main Distribution Boards | 5 | Nos
11.4 | Electrical wiring
Electrical wiring with copper conductor cable in conduits in walls and slab as specified to;
1 | 2.5mm2 Wiring to light fixtures, fans and its switches | 201 | Points
2 | Wiring to Socket Switches | 123 | Points
3 | Cabling to Distribution boards | 5 | Points
4 | IP Camera Point | 10 | Nos
11.5 | Lighting / Fan
1 | Ceiling Recessed Light (weather proof) 9W (white) LED Light | 28 | Nos
2 | Ceiling Recessed Light 18W (white) LED Light | 134 | Nos
3 | Wall Mounted Weather proof LED Light (warm) | 13 | Nos
4 | Wall Mounted LED Light (warm) E27 3W Bulb | 8 | Nos
5 | Emergency Light High Flux White LED (8Hrs Non-maintained) | 9 | Nos
6 | KDK Industrial Wall Mounted Ventilating Fan. (45GSC) reversible 18" | 3 | Nos
7 | 300W IP66 LED Weather Proof Flood Light with SS Bracket and Bolts. Rates shall include for installation of timer/sensor switch. | 4 | Nos
8 | Ceiling Fan 42" | 2 | Nos
11.6 | Socket outlets
1 | 13A Power Socket, 2.4m - 2 Gang | 2 | Nos
2 | 13A Power Socket, 1.2m - 2 Gang | 18 | Nos
3 | 13A Power Socket, 0.3m - 2 Gang | 50 | Nos
4 | 13A Power Socket, 0.3m - 2 Gang, weather proof | 1 | Nos
5 | 13A Power Socket, 1.2m - 2 Gang, weather proof | 2 | Nos
6 | 15A Power Socket, 0.3m - 2 Gang | 1 | Nos
7 | 15A Power Socket, 1.2m - 2 Gang | 2 | Nos
8 | 15A Power Socket, 2.4m - 2 Gang | 9 | Nos
10 | Access control door socket | 6 | Nos
11.7 | Light/Fan Switches
1 | Two way switch, 1.2m - 3 Gang | 2 | Nos
2 | One way switch, 1.2m - 1 Gang | 12 | Nos
3 | One way switch, 1.2m - 2 Gang | 28 | Nos
4 | One way switch, 1.2m - 4 Gang | 20 | Nos
5 | Fan Regulator | 2 | Nos
11.9 | AIR CONDITIONING SYSTEM
a) Rate shall include for electrical conduits, fittings, equipment and similar all fixings
b) Rate shall include for all necessary electrical wiring and accessories required for completion of Air condition system and drain pipes and out door trenches etc.
c) AC Rates shall include for all necessary installation of pipe, fittings & fixtures of air conditioning system shall be executed in conformance to the manufacturers specifications, to adhere with the owner's requirement and as per the drawings and brand "HITACHI" or equivalent
d) Air Conditioner shall be a Multi Type Ceiling Cassette system as per the drawings and specification. Rate shall Includes of all indoors units & Out door units including materials supply and installation etc. (Contractor has to submit the shop drawings along with indoor unit capacities and out door capacity)
11.9.1 | Ground Floor
1 | Indoor unit 9000 BTU AC with 15A Socket | 1 | Nos
2 | Indoor unit 12000 BTU AC with 15A Socket | 3 | Nos
3 | Indoor unit 18000 BTU AC with 15A Socket | 4 | Nos
4 | Indoor unit 24000 BTU AC with 15A Socket | 4 | Nos
11.9.2 | First Floor
1 | Indoor unit 18000 BTU AC with 15A Socket | 8 | Nos
2 | Indoor unit 24000 BTU AC with 15A Socket | 2 | Nos
TOTAL OF BILL NO. 11 (ELECTRICAL INSTALLATIONS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 12
NET WORKING
12.1 | General
a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
e) Networking rates shall include cable, conduits, boxes and DBs fixing and necessary items including screws and nails etc.
12.2 | IT NET WORKING
1 | 9U Wall mount Deep Rack
2 | It networking cable with sockets etc. including DBs and connections and HUBs etc. | 1 | Item
3 | IT Net working points - single | 4 | Points
4 | IT Net working points - double gang & double wire | 13 | Points
5 | Wi-Fi network socket including fiber optic cable | 4 | Nos
6 | CCTV camera point | 14 | Points
7 | controlled ( card ) access point | 5 | Points
12.3 | Cable TV Extension
1 | Cable TV socket outlets with fiber optic cable | 7 | Nos
12.4 | Projector Screen
1 | Elite Screen Spectrum 2 Series / 100 Inch Ceiling Mount Projector Screen | 1 | Nos
2 | Retractable Ceiling Mount Projector Lift | 1 | Nos
TOTAL OF BILL NO. 12 (AIR CONDITION SYSTEM & NET WORKING)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 13
FIRE FIGHTING
13.1 | General
a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
b) Rate shall include for electrical conduits, fittings, pumps, control boards and other equipment and similar all fixings
c) Rate shall include for all necessary electrical wiring and accessories required for completion of fire fighting system installation in accordance with the drawings, specification and NSS regulations
13.2 | Firefighting Equipment's
1 | CO2 Extinguisher 2 kg with cabinet | 4 | Nos
2 | H2O Extinguisher 9 litre with cabinet | 4 | Nos
3 | "Fire Exit" Sign | 5 | Nos
TOTAL OF BILL NO. 13 (FIRE FIGHTING)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 14
FURNITURE
14.1 | GENERAL
(a) The contractor must ensure actual site dimensions
(b) Assembling price should be included.
(c)The contractor shall ascertain that the work characters stipulated herein shall complete the whole of the work. No change or variation whatsoever shall be entertained unless or otherwise the written instructions from the owner.
(D)Catalog should be included and all materials shall be of approved (superior) quality delivered and fixed in the first class workmanship
[e] Contractor must refer given Floor layouts (Architectural floor plans) for furniture orientation and dimensions. E.g.: Left sided and right sided workstations shown in floor plans.
[f] Use Pictures given in Furniture Information for reference Only. Final furniture selection will be carried out after further discussion (Catalogues will be required) with the project winning contractor)
[g]Furniture approval: For furniture's ordering from abroad, price must include 2 persons travelling costs. ( transportations, ticket, accommodation and food )
14.2 | FURNITURE & ACCESSORIES
14.2.1 | WORK STATION (TL) | 2 | Nos
Table dimension: 1200mm x 1200mm
Attached drawer set (L390 x B450 x H720)
Wire management and cable grommet
Material :Solid Wood / Ready made wood
Partition fabric colour: *send colour options for approval
Colour: Maple/Beech
CPU Holder Must be included.
(a) | Partitions - FRONT (1200 x 1200mm) as per drawing | 2 | Nos
| Partitions - SIDE (600 x 1200mm) as per drawing | 2 | Nos
Refer layout for table orientation
14.2.2 | EXECUTIVE WORKSTATION (EX) | 1 | Set
Writing Table 2000 x900x750 mm with cable grommet
Side Table: 1000x450mm
Drawer set Should be included
Material: Solid Wood/Ready made wood
Colour: Wenge
(a) | High cabinet (1800x 395mm) | 1 | Nos
Colour: Wenge
(b) | High Back, Black Faux Leather Chair (HC) | 1 | Nos
*Check Furniture layout for Table orientation
14.2.3 | SOFA (SO1) | 1 | Nos
faux Leather 3 + 1 seater sofa
Colour: Black
Coffee table should be included
Design: Send catalogue for approval
14.2.4 | CONFERENCE TABLE WITH 11 CHAIRS (CT) | 1 | Nos
Seating for 11 person
Dimension:3900mm x 1500mm
Material: Solid Wood
Colour & Design : Send catalogue for approval
(a) | 1 High back (faux)Leather chair and 10 medium back Black (faux)leather Chairs. | 11 | Nos
14.2.5 | MEDIUM BACK CHAIR (MC1) | 4 | Nos
Seat: 508mm W x 457 D
Swivel chair with hydraulic height adjustment
Polyurethane arm rest
Lockable reclining system
Material : Fabric
Colour: Black
14.2.6 | WAITING ROOM SOFA SET (SO) | 2 | Set
Commercial grade sofa set
3 seater
Coffee table included
Material: Black PVC
Design: Send catalogue for approval
14.2.7 | SITTING AREA SOFA SET (SO2) | 1 | Set
3 seater + 1 Seater
Coffee table included
Material: High Quality Fabric
Design: Send catalogue for approval
14.2.8 | 12 COMPARTMENT BOOK SHELF (SH) | 1 | Nos
Dimensions: H1745 x W1175 x D295mm
Material: Wood
Colour: Wenge/walnut
14.2.9 | 4 DRAWER FILING CABINET WITH RECESS HANDLE (FC) | 1 | Nos
Dimensions: D685mm x W469.9 x H1370
Lock on each drawer
Material: Steel with epoxy coated
Colour: Light grey
14.2.10 | BUNK BED (BB) | 9 | Set
Slatted bed base standard size bed
Length: 6ft 6 inch mm x 3 ft mm
Mattress Type: Kurl-on or equivalent
Mattress Thickness: 5"
Must include 2 Fitted bedsheet (200 thread count) + 4 pillows with Cover per bunk bed
2 Fully zippered waterproof Mattress cover must be included for each bed
4 zippered waterproof Pillow protector cover must be included
Bed Material: Solid wood/Ready made wood
Wood colour: Walnut/Wenge
Bed linen: Send fabric and designs for quality approval
14.2.11 | SINGLE BED (SB) | 4 | Set
Slatted bed base
Length: 4 ft x 6 ft 6 inch
Mattress Type: Kurl-on or equivalent
Mattress Thickness: 8"
Must include 1 Fitted bedsheet (200 thread count) + 2 pillows with cover
1 Fully zippered waterproof Mattress cover must be included
2 zippered waterproof Pillow protector cover must be included
Bed Material: Solid wood/Ready made wood
Wood colour: Maple/White
Duvet cover and Duvet should me included
Bed linen: Send fabric and designs for Quality approval
14.2.12 | BEDROOM SET (BR) | 1 | Set
Queen Size 5ft x 6ft 3 inch
Mattress Type: Kurl-on or equivalent
Mattress Thickness: 8"
Must include 1 Fitted bedsheet (200 thread count) + 2 pillows with cover & Queen size Duvet and Duvet cover
1 Fully zippered waterproof Mattress cover must be included
2 zippered waterproof Pillow protector cover must be included
2 nos Bedside table
Bed colour: White/Maple
Bed linen: Send fabric and designs for approval
(a) | STUDY TABLE (BT) | 1 | Nos
Dimensions: 2000mm x 650mm x 750mm
Colour: White / Maple
(b) | CHAIR (BC) | 1 | Nos
Upholesterd Mid back chair
Swivel Height adjustable with armrest
Fabric Executive office chair in Cream colour
14.2.13 | IRONING BOARD | 2 | Nos
Iron board: 48" x 12"
14.2.14 | HANGING RACKS (TW1) | 3 | Nos
Should be able to hang 4 towel
Material: Wood
Colour: Wenge
14.2.15 | TOWEL RACK- 2 (TW2) | 4 | Nos
Should be able to hang 4 towel
Material: Wood
Colour: Wenge
14.2.16 | STEEL CLOTH HANGER (CH) | 6 | Nos
Clothes Drying Rack
Dimensions: Length 1500 mm
14.2.17 | SINGLE DOOR WARDROBE (WD) | 22 | Nos
Full Height Mirror
with Lock and key
Containing hanger rail and lower shelf
Dimension: W1200mm x D600mm x H 1800
Material: wood
Wood Colour: Walnut/wenge
Design: Send catalogue for approval
14.2.18 | TV RACK | 2 | Nos
Dimensions: L1400mm x W400mm x H500mm
Material: Wood
Colour: White/Maple
Design; Send catalogue for approval
14.2.19 | PLASTIC CHAIR WITH ARMREST (PC1) | 8 | Nos
14.2.20 | SQUARE TABLE (ST) | 2 | Nos
Seating for 4 person
900mm x 900mm
Material: Plastic
Colour: White
Design: Send catalogue for approval
14.2.21 | CINEMA ARMCHAIR (VB1)
4 Seaters
| Upholestry: High density durable Sponge | 3 | Nos
Material: PVC leather /Fabric
Material: Metal structure,
Colour: Black
Design: Send catalogue for approval
14.2.22 | SQAURE DINING TABLE (MT1) | 8 | Nos
seating for 4 person
L900mm x W900mm x H760mm
Material: Solid Wood/Ready made wood
Design: Send catalogue for approval
14.2.23 | WOODEN CHAIR (WC) | 32 | Nos
Dining chair with Medium back rest
PVC material
Wooden Legs
14.2.24 | VISITOR CHAIR (VC) | 2 | Nos
Swivel chair with hydraulic height adjustment
Polyurethane arm rest
Lockable reclining system
Material : Fabric
Colour: Black
Design: Send catalogue for approval
14.2.25 | GUEST CHAIR (GC)
| Medium back swivel chair with hydraulic height adjustment | 2 | Nos
Polyurethane arm rest
Lockable reclining system
Material : PVC material
Colour: Black
Design: Send catalogue for approval
14.2.26 | STEEL RACK SR & SR1
(a) | SR Dimensions : L3350mm x W600mm x H2500mm | 1 | Nos
4 compartment adjustable slotted angle pantry rack
(b) | SR1 Dimensions : L2000mm x W600mm x H2500mm | 1 | Nos
4 compartment adjustable slotted angle pantry rack
© | SR2 Dimensions : L2400mm x W600mm x H2500mm | 1 | Nos
4 compartment adjustable slotted angle rack
(d) | SR3 Dimensions : L2700mm x W600mm x H2500mm | 1 | Nos
4 compartment adjustable slotted angle rack
TOTAL OF BILL NO. 14 (FURNITURES)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 15
ADDITIONS
15.1 | General
a) Add all the items to be included in additions bill and attach additional sheets if necessary by mentioning the bill nos & sheet nos etc.
TOTAL OF BILL NO. 15 (ADDITIONS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 16
OMISSIONS
16.1 | General
a) Add all the items to be included (items to be deleted from BOQ) in omissions bill and attach additional sheets if necessary by mentioning the bill nos & sheet nos etc.
TOTAL OF BILL NO. 16 (OMISSIONS)
(CARRIED OVER TO THE GENERAL SUMMARY)