## Cover Page
CENTRAL PARK TOILET BLOCK 2018

## SUMMARY-BOQ
CENTRAL PARK TOILET BLOCK
Hulhumalé, Republic of Maldives
BILL OF QUANTITIES
SUMMARY
ITEM | DESCRIPTION |  | AMOUNT
Section 1 : General Requirements
1 | PRELIMINARIES | MVR. | 0
Section 2 : Facility Construction
2 | SITE DEVELOPMENT AND EARTH WORK | MVR. | 0
3 | CONCRETE WORK | MVR. | 0
4 | WATER PROOFING | MVR. | 0
5 | MASONRY WORK | MVR. | 0
6 | PLASTER WORK | MVR. | 0
7 | ROOF WORKS | MVR. | 0
8 | FINISHING WORKS | MVR. | 0
9 | DOOR AND WINDOWS | MVR. | 0
10 | MISCELLANEOUS WORKS | MVR. | 0
Section 3 : Facility Services
11 | ELECTRICAL INSTALLATION | MVR. | 0
12 | PLUMBING | MVR. | 0
GRAND TOTAL. |  | MVR. | 0
GST 6% |  | MVR. | 0
GRAND TOTAL incl GST. |  | MVR. | 0
NOTE: | It is the Bidder's responsibility to ensure that there is no page missing and / or in duplicate from these specified Bill of Quantities.

## BOQ-Prelim
CENTRAL PARK TOILET BLOCK
Hulhumalé, Republic of Maldives
BILL OF QUANTITIES
SECTION 1: GENERAL REQUIREMENTS
Item | Description | Unit | Qty. | Rate (MVR) | Amount (MVR)
General Notes :
The General Contractor is to provide any sum he considers necesssary in complying with the following requirements and terms. The monetary value of any item which is left unpriced shall be deemed to have been included in the rates of each item of work in the Bill of Quantities.
The Contractor shall be deemed to have satisfied himself as to the correctness and sufficiency of his tender for the works and of the rates and prices stated in the priced Bill of Quantities, which rates and prices shall be inclusive of all ancillary and other works and expenditure whether separately or specifically mentioned or described in the Contract Documents or not, which are either indispensably necessary to carry out and bring completion the works described in the Contract Documents or which may continently become necessary to overcome difficulties’ before completion.
Where any clause or item in these Bills of Quantities is not priced, it shall be deemed that the cost of such clause or item has been allowed elsewhere within these Bills of Quantities. No subsequent claim against such item or clause will be considered.
The Bill of Quantities are prepared and grouped in sections. Within each section the items are set out in trade order.
The General Contractor is requested to check the number of pages of the Bill of Quantities and if any page is missing or duplicating or if any figure is indistinctive, he shall notify the Project Manager who will rectify the matter. No claims for loss consequent upon the General Contractor's failure to observe this Clause will be considered.
“Approved equivalent” shall mean material, product, component or assembly having a similar standard of quality and identical level of performance in all respect of the materials and/or product specified. The contractor shall ensure such instruction adhered when submitting the sample for approval. Any sub standard materials and performance will be subjected to a cost reduction by Engineer.
Wherever the term "Ditto" appears in the Bill of Quantities, the item concerned will be interpreted in the context of the preceding items. The term may refer to a single word or phrase. Wherever the term "Allow" occur in the Generally and Preliminaries, the General Contractor shall provide cost/price on such items. The cost / price indicated on such items will be at the General Contractor's risk and no adjustment in relation thereto will be made at the Final Account, except where such adjustment is expressly provided for in the Conditions of Contract. In the absence of any price against such items, the cost of such items will be deemed to be included on the other rates contained in the Bill of Quantities.
Wherever the term "Provisional Sum" occur in the Main Works, the General Contractor shall provide cost on such items. The cost indicated on such items will be subject to remeasurement based on the actual quantity installed. Provisional Sums may be used in whole or in part as directed in writing by the Project Manager. The balance shall be deductible from the Contract Price.
All items in the Bill of Quantities shall be priced in detail not grouped together as total prices for any trades or sections.
The items of work and corresponding quantities indicated in the Bill of Quantities should remain unchanged.
The General Contractor shall be deemed to have taken into account all possible inclement weather when preparing his Bid and shall not be entitled to extra payment by reason of the occurrence or effect of excessive wind, typhoon or other meteorogical phenomena.
The General Contractor shall be responsible for checking all drawings issued to him and if he finds discrepancies in the drawings he shall, before proceeding with the works, inform the Engineer of such discrepancies and the Engineer's ruling shall be taken as final. No claims by the Contractor for any extra costs incurred as a result of discrepancies in the Contract Drawings will be entertained if he fails to inform the Architect of such discrepancies before proceeding with the Works.
The rates and prices inserted shall be deemed to have allowed for compliance with the above stipulations and other documents forming part of the Contract. All rates and prices entered against items measured and described in the Bills of Quantities shall be for the full inclusive value of the finished work described or shown on the Drawings or stipulated in the Specifications.
1 | PRELIMINARIES
Preamble Notes:
(a) | Tenderer shall visit the site prior to quoting and ascertain site conditions, access to site extends of extra payments may be claimed during construction consequent to omission of price inclusive through lack of prior study of site.
(b) | On practical completion of project the contractor should at not extra cost thoroughly clean out each room by washing all floors, cleaning glasses, removing paint stains, motar droppings, and clear site completely of all debris and restore to original conditions,with all services interrupted during construction.
SITE MANAGEMENT COST
1.1 | Allow for all on & off site management cost including cost of site staff,temporary services such as electricity water and telephone,provide and maintain necessary documents and all management related cost. | Item | 1 |  | 0
TEMPORARY FENCING, BARRIERS AND GATES
1.2 | Maintenance of temporary fencing, barriers and gates. | Item | 1 |  | 0
General Clean-Up
1.3 | Daily removal of debris, All kind of plantation and unnecessary materials from the project site resulting it suitable for suceeding works & to the dump at 'area as designated by the employer. The General Contractor shall allow all costs for 'proper housekeeping of the project site at all times. | Item | 1 |  | 0
Other Related Charges
1.4 | The tenderer is to insert fully described items to cover any other Method Related charges he may deem necessary. The tenderer shall distinguish between those charges which are “Fixed” and those that are “Time related” | Item | 1 |  | 0
| Total carried to main summary |  |  |  | 0
122

## BOQ-Civil
CENTRAL PARK TOILET BLOCK
Hulhumalé, Republic of Maldives
BILL OF QUANTITIES
Section 2 : Facility Construction
Sl No. | Description | Unit | Qty | Rate (MVR) | Amount (MVR) | Query | Recommendation/ Assumption | Rates Ref.
2 | SITE DEVELOPMENT AND EARTH WORK
(a) | Cost to include supply of material , labour , tools, & equipment, scaffolding, consumables (nails,screws,bolts,nuts,washer,etc.), cutting & forming, technical supervision and all other incidentals necessary to complete the work all in accordance with plans & specification.
(b) | Rates for demolishing existing structure shall include; breaking up and pulling down of structures and its associated substructure, and removing all incidental debris, cleaning and stacking materials required for making good, casing, covering up and protecting works to be retained or left intact, carrying out the works in sequence or phases; including piecemeal works.
(c) | Rates for setting aside for re-use shall include cleaning, stacking, protecting and dispatching from, and the subsequent returning to site as required.
(d) | Rates for cutting out existing structures shall include; using chisels, sledge hammers, pneumatic tools, flame cutters, diamond cores and other equipments/processes of various descriptions in cutting openings, quoining up jambs, forming recessed reveals, toothing and bonding, preparing thresholds and cut edges, providing necessary safety and security measures, installing temporary supports as required, cleaning and stacking materials required for making good, removing all debris from site.
(e) | All the works in this section shall be carried out as directed by the Engineer to his approval.
(f) | Clearing site is measured area on plan
(g) | Rates for site clearance shall include:
(1) clearing all general vegetation, tall grass, creepers, shrubs, bushes and small trees.
(2) clearing all rubbish, debris and unwanted materials.
(3) removal of existing soil piles
(h) | Unless otherwise described in the Bills of Quantities, excavation shall be deemed to commence at existing ground level.
(i) | Rates for excavation shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating, additional working space and disposing surplus soil.
(j) | Rates for excavation shall include for additional excavation and backfilling due to planking and strutting and Contractor's method or process and keeping excavation and/or site free from water at all times.
(k) | Rates for filling/backfilling shall include;
(1) spreading, leveling and compacting
(2) decrease in bulk volume
(l) | Ground needs to be compacted to the density required by the Engineer
2.1 | GROUND WORK
Site Clearance
2.1.1 | Removing the top soil average 150mm thick and clear the area of site from rubbish and vegetable matters, stumps, roots, and all required clearings. All debris should be transported off site and dumped at a location as per Engineer's instructions. | m2 | 420 |  | 0
Excavation
(a) | Excavation of sand bed in foundation trenches, Columns pits etc. upto a depth of 0.6m from existing natural ground level and stacking the excavated material within the site or adjacent plots including dressing of bottom, sides strutting, timbering, shoring, trimming of sides dewatering, all leads and lifts, incidentals, etc. complete with ramming of bottom, surface preparation as per specifications to receive the PCC. Excavation shall be payable only for vertical cut up to the outer edge of foundation lean concrete as indicated in drawings for all depths. Cost of extra excavation required for working space, supporting side shuttering of foundations and retaining walls and that required for making slopes for stability of excavation shall be deemed to be included in the rate quoted. (Note: The Line & levels in the drawings shall be strictly followed and over excavation if any shall be made good by contractor free of cost.) To organize the space for stacking of excavated earth for using the same in back filling will be responsidility of the contractor only.
2.1.2 | Excavation for pits, column footings and foundation trenches. Rate to include also for disposal of excess material as directed. | m3 | 38.82 |  | 0
Filling
2.1.3 | Filling with selected, suitable Gravels in layers,consolidating each deposited layer to Engineer's approval as shown in the drawing. Rate to include also for disposal of excess material as directed. | m3 | 0.69 |  | 0
2.1.4 | Filling with selected, Sharp Fine sand in layers each deposited layer to Engineer's approval as shown in the drawing. | m3 | 0.77 |  | 0
| Total carried over to summary |  |  |  | 0
3 | CONCRETE WORK
(a) | Concrete is measured net without deduction for the volume of reinforcement.
(b) | All concrete admixtures shall be administered in accordance with manufacturer's recommendations.
(c) | Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:3:6 by volume
(d) | Rates for concrete shall include;
(1) mixing, depositing, hoisting or pumping and placing in position
(2) compacting by suitable means
(3) packing and tampering around reinforcement including mechanical vibration
(4) curing and protection
(5) removing or cutting rebates, grooves, chases, mortises and the like, including making good after removal of formwork and casting in all required items
(6) additional concrete required to place the formwork and to conform to structural and excavated tolerances.
(7) all concrete test according to the engineers instructions.
(8) Rates shall be inclusive for any additional concrete required to place the formwork.
(e) | (Rates for all cement concrete items plain and reinforced described below shall include work at all levels and for all heights. (This section covers cast in situ structural and architectural as well as precast structural and architectural concrete work).
3.1 | 50mm thick lean concrete (Mix ratio 1:3:6) spread and levelled below foundation
3.1.1 | Foundation Footings, Tie beams and under floor slabs | m2 | 71.99 |  | 0
3.2 | Vibrated reinforced concrete (Mix ratio 1:2:3) as described to:
Below ground level
Footings
3.2.1 | F1, 650mm x 650mm x 250mm | m3 | 2.66 |  | 0
Tie Beams
3.2.2 | TB1, TB2 and TB3 | m3 | 7.26 |  | 0
Column Stumps
3.2.3 | 225mm x 225mm column stumps | m3 | 0.38 |  | 0
Above ground level
Vibrated reinforced concrete (Mix ratio 1:2:3) as described to:
Columns
3.2.4 | Column shafts of C1, C2, and C3 | m3 | 6.17 |  | 0
Roof Slab- Beams
3.2.5 | B1, 350mm x 200mm | m3 | 1.73 |  | 0
Slab
3.2.6 | 100mm thick Floor Slab | m3 | 18.32 |  | 0
3.2.7 | 100mm thick Roof Slab / Water tank Slab | m3 | 2.87 |  | 0
3.2.8 | 50mm thick Wash Basin Counter | m3 | 1.18 |  | 0
3.3 | FORM WORK
(a) | Approved Marine plywood or 3mm thick steel plate shuttering and centering for structural concrete work in locations called for including strutting, propping, bracing, bolting, wedging, casing, striking, removal etc. complete for any size, section, thickness. Props shall consist of well designed steel pipes adequately braced (wooden ballies as props shall not be permitted).
(b) | Rates for formwork shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes and removal of formwork.
(c) | Allow for forming grooves, drip course, chamfers, cut-outs, openings etc. where called for and for dressing with approved shuttering oil to prevent adhesion. Unexposed concrete surfaces subsequently left untreated (in the condition obtained on removal of form work) shall not constitute exposed concrete work and shall be measured under this item only. Irregular shapes with sides which may not be perpendicular to each other for shapes not conforming to rectangle or square shall not be paid separately. The finished surface should be smooth and as per direction as well as to the Engineer's approval. Rate shall include all cost for shuttering and deshuttering as well.
3.3.1 | Footings | m2 | 16.38 |  | 0
3.3.2 | Tie Beams | m2 | 75.81 |  | 0
3.3.3 | Columns including stumps | m2 | 131.16 |  | 0
3.3.4 | Roof Beams | m2 | 28.53 |  | 0
3.3.5 | Roof Slab | m2 | 20.87 |  | 0
3.3.6 | Wash Basin Counters | m2 | 16.51 |  | 0
3.4 | REINFORCEMENT WORK
(a) | Main reinforcement steel shall be high tensile steel hot rolled deformed bars complying with BS 4449, Characteristic strength not less than 460N/mm2
(b) | Stirrups shall be hot rolled mildsteel round bars complying with BS 4449, Characteristic strength not less than 250N/mm2
(c) | Rates shall include for; distribution steel, cleaning, fabrication, placing, the provision for all necessary temporary fixings, and supports including chairs and tie wire , laps and wastage.
(d) | No allowance has been made in the weight of steel reinforcement for rolling margin, tying wires, spacers, chairs and weight of weld etc.
(e) | Rates for bar reinforcement shall include;
(1) allowance for rolling margin, weight of welds and wastage
(2) cutting to length and fabricating including bending to various bend and radii
(3) placing in position, holding and supporting
(4) providing and tying with galvanised steel wire at all intersections
(5) providing and seating of spacer blocks and chairs
(6) providing all necessary laps, bends and anchorages
(7) cleaning by wire brushing
Footings
3.4.1 | T12 @ 100mm c/c b/w | Ton | 0.29 |  | 0
3.4.2 | Columns including stumps
C1, 225mm x 225mm
3.4.2.1 | 4T12 | Ton | 0.12 |  | 0
3.4.2.2 | R6 @ 150mm c/c | Ton | 0.04 |  | 0
C2, 225mm x 225mm
3.4.2.3 | 4T16 | Ton | 0.43 |  | 0
3.4.2.4 | R6 @ 150mm c/c | Ton | 0.08 |  | 0
C3, 100mm x 150mm
3.4.2.5 | 2T12 | Ton | 0.18 |  | 0
3.4.2.6 | R6 @ 150mm c/c | Ton | 0.03 |  | 0
3.4.3 | Tie Beams
3.4.3.1 | T16 | Ton | 0.68 |  | 0
3.4.3.2 | T12 | Ton | 0.12 |  | 0
3.4.3.3 | R6 | Ton | 0.16 |  | 0
Floor Slab
3.4.4 | T10 @ 200mm c/c | Ton | 1.22 |  | 0
3.4.5 | Roof Beams
3.4.5.1 | T12 | Ton | 0.15 |  | 0
3.4.5.2 | R6 @ 150mm c/c | Ton | 0.06 |  | 0
Roof Slab
3.4.6 | T10 @ 150mm c/c | Ton | 0.36 |  | 0
Wash Basin Counters
3.4.7 | T8 | Ton | 0.07 |  | 0
Precast Cement Concrete Planter Box
3.5 | Supplying, hoisting and fixing precast reinforced cement concrete planter boxes of 600mm x 600mm x 550mm with 1:2:3 grade concrete of any shape & thickness where ever required including the cost of required centering, shuttering, finishing smooth on exposed surfaces, making chamfered edges, grooves, drip course complete wherever shown ,including cost of reinforcement to complete as per drawing and specifications. | Nos | 8 |  | 0
| Total carried over to summary |  |  |  | 0
4 | WATER PROOFING
(a) | (Quoted Rates are for all heights, depths, levels, leads and lifts) The operations describe below are only indicative & the item is to be executed as per technical/ manufacturer's specification. Testing shall be done by ponding water (150mm depth) for 72 hours.
(b) | Waterproofing work to be carried out by a specialist water proofing sub contractor and shall provide a 10 years guarantee in an acceptable format for materials and workmenship through their principals.
(c) | Rate for damp proof membrane shall include for laying, dressing around, sealing all penetration and laps.
Bitumenous coat over concrete surface.
4.1 | Supply and laying two courses bitumenous water proofing treatment consisting bitumen applied hot over all desired area respectively,including preparation of surface but excluding grading, complete as per drawing and specifications. | Item | 1 |  | 0
Damp Proof Polythene Membrane
4.2 | Supplying and laying of Polythene damp proof membrane laid on blinding layer (Pool) other areas. The membrane is loosely-laid on the compacted surface before casting of the RCC slab and having uniform surface including necessary removal of membrane release liner while applying, necessary overlaps between the membranes and fixing overlaps by PrePrufe tape, firm rolling onto the surface to get a tight seal, etc. complete all as per manufacturer’s recommendations, etc. complete with all lead and lift for all materials and labour and as directed , at all heights and all locations. | m2 | 15.46 |  | 0
Modified Cementious Water Proofing over concrete surface.
4.3 | Supplying and laying composite built up waterproofing comprising of BASF Master Seal 588 in two coats(First coat to be brushed in horizonta direction of surface and second coat in vertical direction or vice-versa) mixing in the proportion as per manufacturer specification followed by a primer coat of neat cement slurry.Rates for waterproofing system shall include for screeding, dressing around and into pipes and outlets, and or providing the necessary agreed (accepted local) years guarantee for workmanship and materials and testing by flooding. | Item | 1 |  | 0
| Total carried over to summary |  |  |  | 0
5 | MASONRY WORK
5.1 | Block Work
(a) | Blocks shall be of standard quality with no defects and sample shall be submitted for approval of the Consultant. Vertical and horizontal joint of blocks shall be filled completely and suitable with mortar on line shall not be moved or rearranged. Joint and surface of block of exposed finished block wall shall be cleaned immediately after joint is filled.
(b) | Rates shall include for cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs.
(c) | Cutting or leaving holes and openings as recesses for and building in pipes, conduits , sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joints.
Supplying and laying masonry using selected quality blocks of approved class laid in cement mortar 1:5 (1 cement : 5 coarse sand) mix, joints finished, flush/ raked to 10mm depth including scaffolding, curing complete as per drawing and specifications.
5.1.1 | 100mm thick | m2 | 278.91 |  | 0
5.1.2 | 150mm thick | m2 | 38.9 |  | 0
5.2 | Clay Brick Work
Supplying and laying clay brick masonry masonry using selected quality of approved class, laid in cement mortar 1:5 (1 cement : 5 coarse sand) mix, joints finished, flush/ raked to 10mm depth including scaffolding, curing, complete as per drawing and specification.
5.2.1 | 75mm x 200mm clay brickwork | m2 | 13.86 |  | 0
| Total carried over to summary |  |  |  | 0
6 | PLASTER WORK
(a) | 20mm thick Cement plastering on Exterior surface of External masonry walls and concrete surfaces and 15mm thick plastering on interior walls and concrete surface as specified incl. wire mesh shall be fixed at the joints of concrete surfaces and walls before plastering. Quantity is measured including concrete surfaces - Parapet walls, Lift walls, columns & beams.
(b) | Rates shall include for External plastering shall 20mm thick (10+10mm) 2 coats in 1:4 cement and river sand mix ratio
(c) | Rates shall include for approved brand water proofing compound shall be mixed with cement mortar for external wall plastering as per manufacturers specifications.
(d) | Slab soffits, all beams & lift walls must be fare face finish with no plastering.
Internal Plaster
6.1 | Application of 12mm to 15mm thick plaster to masonry and RCC walls, columns etc. in cement mortar 1:5 (1 cement : 5 fine sand ) finished smooth including hacking the surfaces, scaffolding, curing, making grooves at desired location etc. complete as per drawing and specifications. | m2 | 123.15 |  | 0
External Plaster
6.2 | Application of 20mm cement plaster in two coats under layer 12mm thick cement plaster 1:4 (1 cement : 4 coarse sand) finished with a top layer 8 mm thick cement plaster 1:4 (1 cement :4 fine sand) including making of grooves, bands, drip course with a surface setting coat of neat cement applied within an hour of the completion of rendering.as shown in drawing. Rates shall include for approved brand water proofing compound shall be mixed with cement mortar for external wall plastering as per manufacturers specifications. | m2 | 470.41 |  | 0
| Total carried over to summary |  |  |  | 0
7 | ROOF WORK
(a) | Rates to include supply of materials, labor, tools & equipment, scaffoldings, consumables (nails, screws, bolts, nuts, washer, etc.), painting, reglets , chipping, making good on the affected area & technical supervision and all other incidentals necessary to complete the work all in accordance with drawings & specification.
(b) | Rates shall include framing, notching and fitting around projections, Flashing at sides, pipes, light fittings,hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails,bolts & screws. | [7 empty] | 20710.95 | 19599 | 1111.95
(c) | Rates shall include for applying approved quality wood preservators as per manufactures instructions for all Timber structures.
(d) | All timber main elements of roof structure to be approved grade or equivalent.
7.1 | Supply and installation of corrugated metal roofing sheet over a timber frame work of battens 38mm x38mm at 600 c/c & rafters 50mm x 150mm at 900 c/c, fascia board, and flashing fixed with all the fixing accessories along with rain water drain system consists with gutters and downpipes etc to complete as per drawings and specifications. | m2 | 102.13 |  | 0
7.2 | Supply and installation of polycarbonate roofing sheet over a timber frame work of battens 38mm x38mm at 600 c/c & rafters 50mm x 150mm at 900 c/c, fascia board, and flashing fixed with all the fixing accessories along with rain water drain system consists with gutters and downpipes etc to complete as per drawings and specifications. | m2 | 47.38 |  | 0
| Total carried over to summary |  |  |  | 0

## BOQ-Finishes
CENTRAL PARK TOILET BLOCK
Hulhumalé, Republic of Maldives
BILL OF QUANTITIES
Sl No. | Description | Unit | Qty | Rate (MVR) | Amount (MVR) | Query | Recommendation/ Assumption | Rates Ref.
General Preamble Notes:
(a) | The thickness stated for in situ finishing, beds and backings are nominal.
(b) | Rates for all timber structures shall include for:
(1) all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails,bolts & screws.
(2) Applying approved quality wood preservators as per manufacturer's instructions and approved painting.
(c) | Mix ratio for cement screeding shall be 1:5 and for concrete screeding shall be 1:3:6. Rate shall include for mixing, laying, cleaning down to reveals where necessary and making good as per shown in drawings. | [7 empty] | `
(d) | All specialised flooring systems shall be laid as per shown in drawings and according to manufacturer's instructions.
(e) | Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
(f) | Rates shall include for door frames and window frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings and installation.
(g) | All Timber door frames shall be treated timber.
(h) | All louvres, windows and sliding doors shall be 30 micron powder coated aluminium as per details given in Door/Window schedule.
8 | FINISHING WORK
8.1 | PAINTING
(a) | All painting work shall be carried in accordance with the Specifications and prior approval shall be given by the Engineer before commencing of work.
Interior Painting
8.1.1 | Supply and apply two coats of Emulsion paint on internal walls of approved brand, manufacturer and shade to give a smooth finish on newly plastered surfaces after smoothen by application of two coats of wall putty and a coat of approved primer. Rate shall include for preparing the surfaces by sand papering, scaffolding etc. to complete work as per the drawings and specifications. | m2 | 54.23 |  | 0
Exterior Painting
8.1.2 | Supply and apply two coats of Weather proof paint on external walls of approved brand, manufacturer and shade to give a smooth finish on new plastered surfaces after smoothen by application of two coats of wall putty and a coat of approved primer. Rate shall include for preparing the surfaces by sand papering, scaffolding etc. to complete work as per the drawings and specifications. | m2 | 420.08 |  | 0
8.2 | FLOORING & TILING
Screed
Supply and laying of floor screed of required thickness, complete as per the drawing and specifications. The rates shall include Grinding/ Polishing floor with mechanical grinder or desirable toll.
8.2.1 | 20mm thick floor screeding at common areas | m2 | 149.73 |  | 0
Floor Tiling
(a) | Rates shall include for: Fixing, bedding, grouting, and pointing materials, making good around pipes, sanitary fixtures, and similar; cleaning & Polishing.
(b) | All Tiling work in accordance with specifications and finishes schedule and prior approval shall be given before commencement of work.
Supply and lay of floor tiles of approved colour laid with suitable adhesive, Rate to include 30 mm thick cement and sand 1:3 bedding and pointing with suitable adhesive tile grout to match the colour of tiles complete as per drawing and specifications.
8.2.2 | 300mm x 300mm Ceramic tiles at Male & Female Toilets | m2 | 14.66 |  | 0
8.2.3 | 300mm x 300mm Homogeneous Tiles at Male & Female Disability Toilets | m2 | 8.93 |  | 0
Wall Tiling
Supply and lay of wall tiles laid with suitable adhesive on Concrete/Masonry base including 12 mm thick screed in cement and sand 1:3 and finished with tile grout pointing to match the colour of tiles as per drawings and specifications.
8.2.4 | 300mm x 300mm Ceramic wall tiles at Male & Female Toilets | m2 | 57.27 |  | 0
| Total carried over to summary |  |  |  | 0
9 | DOOR AND WINDOWS
9.1 | Doors
(a) | Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
(b) | Rates shall include for door frames and window frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings and installation.
(c) | All louvres, windows and sliding doors shall be 80 micron powder coated aluminium as per details given in Door/Window schedule.
Supplying and fixing in position selected frames & shutter of single or double leaf doors, windows, ventilators made to size and shape as shown in drawing,
Size: 1050mm x 2150mm (D1)
9.1.1 | MDF panel with PVC laminate and PVC louvers at Disability Toilet | No. | 2 |  | 0
Size: 700mm x 2150mm (D2)
9.1.2 | MDF panel with PVC laminate and PVC louvers at Toilets and Storage | No. | 12 |  | 0
Size: 500mm x 400mm (V1)
9.1.3 | Whilte powder coat aluminium frame with aluminium louvers at Utility | No. | 4 |  | 0
| Total carried over to summary |  |  |  | 0
10 | MISCELLANEOUS WORKS
(a) | Rate for steel works to include for fabricating and welding of steel members as shown in designs, painting to steel pipes with anti-corrosive paint with epoxy primer according to specifications, casting vertical pipes into concrete foundations and any other works required as shown in drawings.
Green Wall
10.1 | Supply, fabricate and assembly of green wall at both entrances, fixed in position to the 100mm thick masonry wall with all the Hollow sections, PVC piping, PVC boards, lower and upper felt layers etc. to complete as per the drawings and specification. (100mm thick masonry wall measured seperately). The Rate shall include for trough, down pipes, pumps and all other necessary fixing accessories required to complete the work. | Item | 1 |  | 0
Gabion Wall Work
10.2 | Supply and assemble of gabion wall at the given location, fixed in position at all heights and with all leads, Gabion Wall having a frame work of Wire mesh fixed to angle frame for support and complete as per drawings and specifications, and boulders/stones of approved shape size as approved by Engineer. The Rate shall include all other necessary incredentials required to complete the work in all aspects as per direction by the Engineer. | Item | 1 |  | 0
Laminated Toilet Partition Walls
10.3 | Supply and fixing of laminated partition walls for toilet cubicles shown in the drawing and complete with necessary fixing accessories as per the drawing and specifications. | m2 | 49.08 |  | 0
Wiremesh Grill for creeper plants
10.4 | Supply and installation of wiremesh grill for creeper plants as shown in the drawing fixed in position at given heights to complete as per the drawing and specifications. Rate Shall include for all fixing acessories, nut bolts fastners, antirust paint etc required to complete the work.
10.4.1 | 560mm x 2050mm | Nos | 4 |  | 0
10.4.2 | 560mm x 2300mm | Nos | 4 |  | 0
Cement Board Facia WorK
10.5 | Supply and fixing fibre cement board in required size of approved quality in counters faces etc complete as per drawings and specifications. Rate Shall include all fixing acessories, filling up of joints, chamfering of corners etc. | m2 | 6 |  | 0
Benches
10.6 | Supply and installation of Wooden bench of shape and sizes all as shown in drawings. Rate to include for treating of timber elements, welding of steel bars, all kind of frame work, with anti corrosion painted, fixing to foundations and any other works, completed as per drawings and specifications.
10.6.1 | 2600mmx450mm- 500mm high hardwood bench fixed to wall with angle 50 x50mm with M8 x 50 bolt, supported by 100mm GI pipe. | Nos | 2 |  | 0
10.6.2 | 1000mmx450mm- 450mm high hardwood bench fixed to wall with angle 50 x50mm with M8 x 50 bolt. | Nos | 4 |  | 0
10.6.3 | 1600mmx450mm- 450mm high hardwood bench with steel frame | Nos | 3 |  | 0
Vertical Wooden Fins
10.7 | Supplying, fabricating & installing in position verical wooden fins of heights, fabricated out of 50 x 100 wooden member fixed at an angle of 45˚ at 150 c/c including bending to profile as per drawing, all necessary fixing arrangement & all incidentals etc. complete as per drawing and specifications.
10.7.1 | 50mm x 100mm @ 150mm c/c - 2600mm high | m2 | 5.2 |  | 0
10.7.2 | 50mm x 100mm @ 150mm c/c - 3000mm high | m2 | 20.85 |  | 0
10.8 | Laying Paver Blocks
10.8.1 | Supply and lay in 45˚ Herington Pattern 100 x 200 mm Clay Brick in area as shown in the drawing. Rate should include for surface preparation, provide 10mm thick compacted sand bed, additional excavation if required, remove excess soil as directed by the Engineer and also rate shall include for additional labor and machineries which required during the paving process. | m2 | 7.35 |  | 0
10.8.2 | Supply and lay in 250 x 150 mm Clay Bricks in area as shown in the drawing. Rate should include for surface preparation, provide 10mm thick compacted sand bed, additional excavation if required, remove excess soil as directed by the Engineer and also rate shall include for additional labor and machineries which required during the paving process. | Item | 1 |  | 0
Toilet Accessories
10.9 | Supplying and placing items in position as directed by the Engineer. The rate shall include all necessary accessories required to install, fix in position complete as per drawing and specifications with prior approval of the Engineer.
10.9.1 | Water Dispensers | Nos | 2 |  | 0
10.9.2 | Dustbin | Nos | 4 |  | 0
10.9.3 | 400 x 450 mm Mirrors fixed to RCC column with 20mm x 20mm steel plate at different heights as mentioned in drawings. | Nos | 16 |  | 0
Signages
10.1 | Supply and installation of Acrylic / Pastic (Matt) signboards of given sizes and thicknesses at locations shown in the drawing. Rate shall include for design, fabricate, fixing in position and all the necessary consumables, equipment to complete the work as per drawing and specifications. | Item | 1 |  | 0
| Total carried over to summary |  |  |  | 0
Others (pls. specify)
10.11 | This refers to items not mentioned above that the bidder consider it as necessary (sundry items) as per plan and specification. Extra work related to above scope and not mentioned in "others" will not be entertained. |  |  |  | 0
| Total carried over to summary |  |  |  | 0

## BOQ-MEP
CENTRAL PARK TOILET BLOCK
Hulhumalé, Republic of Maldives
BILL OF QUANTITIES
Section 3 : Facility Services
Item | Description | Unit | Qty. | Rate (MVR) | Amount (MVR)
11 | ELECTRICAL INSTALLATION
(a) | Supply and install electrical network for the entire building complete in accordance to standards set by the local governing body STELCO. The scope of Electrical work includes the complete electrical installation for the proposed toilet block.
(b) | The following items and description and the drawings are given as a guidance as to the nature of the information required to be returned by the contractor. Should they not be appropriate the contractor should provide a similar BOQ using the Add/Omit sheets provided at the back of this BOQ
(c) | The cost shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(d) | Rates for electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
(e) | A light fixture is measured as one point; switch end of wire is not included in the quantity.
(f) | A point wiring for power points is measured (regardless of 1 gang, 2 gang etc) as one point for each socket outlet; other end of wire is not included in the quantity.
(g) | Contractor shall provide all cabling, wiring, conduits, etc. within the site boundaries. Cabling, wiring, conduits etc. outside the site boundaries are not included under this Contract.
(h) | The Bidders are requested to refer the Preamble Notes, General notes, Specifications, and other relevant information prior to pricing of the following items.
(i) | Rate shall include for necessary chasing, trenching, conduits, cables, cable trays, fittings and clips, cutting holes and chases in brick work/ block work/ concrete work complete with all necessary accessories such as sockets, connections, cable glands and boxes hardware clips, etc., for proper installing and laying of cables.
(j) | All under ground cables directly buried in ground to be properly laid in ground trenches and covered with cable tiles. Rate for under ground cables shall include for all necessary excavation, sand layers, cable tiles, warning strips and back filling with approved quality earth properly compacted.
(k) | Rates for all electrical panels shall include for supply and installation of all necessary MCCB's, MCB's, EFR's, ELCB's auxiliary contacts, Volt meters, ammeters, kWh meters, indicator lamps, selector switches, inter connecting copper bus bars, inter locks aligning and grounding the panel, interconnections, internal wiring instrument wiring loops, connecting to switch gears, cable gland lugs, steel channels and necessary hardware fixing and insulating materials with fully enclosed metal clad panels and distribution boards where ever necessary and complete as shown in drawing and comply with the specifications, and as per relevant latest B.S. standards and I.E.T. regulations and all complete to working order to the approval of the Engineer.
Point Wiring
(l) | Rates shall include for all conduits, conduit fittings, clips, earth cables, draw wire, wiring accessories, hardware fixing, insulating materials, making holes and chases in brick work, concrete work...etc. and making good the same.
(m) | Rate for lamp point shall include for cables, ceiling roses, flexible wire, bulb holders, and flush type switches, flush boxes etc..
(n) | Rates for socket outlets shall be inclusive of cables, switch socket outlets of correct rating, sunk boxes etc.
(o) | All cables for equipments and units designated to function under fire condition to be in fire rated cables and steel conduits as indicated and rates shall include accordingly.
Fittings
(p) | All the light fittings to be provided under this Contract shall be of the best quality without any defects to the complete satisfaction of the Architect/Engineer.
(q) | Rates shall also include for supply and installation of all the fittings complete with all the accessories, such as starters, bulbs, chokes, power factor correction capacitors…etc
(r) | Rates shall also include for all the fixing material such as rawl plugs, hooks, chains, flexible cords...etc.
(s) | Contractor shall get approval from the Engineer for Electrical fittings before installation.
(t) | All lighting and power circuits shall include earth cable of 2.5mm2 unless otherwise specified
(u) | All 5A/10A circuit shall be wired in 2x1/1.13 mm2 PVC insulated sheathed Cu cables and earth cable taken through minimum size of 20 mm PVC conduit unless otherwise specified . All corridors & staircases area lighting shall be wired with 2x2.5 mm2 PVC/PVC Cu+2.5mm2E PVC Cu cables drawn in PVC Conduits
(v) | All 13A/15A circuit/Socket outlet shall be wired in 2x7/0.067 mm2 PVC insulated sheathed Cu cables and earth cable taken through minimum size of 2.5 mm PVC conduit .All corridors & staircases area small power outlets shall be wired with 2x4 mm2 PVC/PVC Cu+2.5mm2E PVC Cu cables drawn in PVC Conduits
(w) | Contractor shall get the approval for position of fittings indicated in drawings from Architect/Engineer before commencing the work .
(x) | Rate shall include for cutting ,trimming , dressing , connecting cables ,cutting holes & chase holes in brick work and connecting cables to supply points and equipments complete with all accessories such as sockets, connectors, conduits, cable trays, cable glands,cable lugs, and boxes, hardware clips , fixing , etc.
Main Connection and Meter Box
11.1 | Supply and installation of outdoor weatherproof meter box (3-phase) for Central Park Toilet Block. Rate shall include for Main connection charge, earthing,all other accessories and testing and similar to complete.Rate shall include for concrete base with wall, wiring from stelco mains to meter box alog with trenches to lay and filling back etc complete in all aspects as directed by the Engineer. | Item | 1 |  | 0
Distribution Board
11.2 | Supply and installation of Distribution box (3-phase) af appoved size to accomodate any required breakers. Rate shall include for earthing,all other accessories and testing and similar to complete.Rate shall include for any support,wiring from meter to Distribution box alog with trenches to lay and filling back etc complete in all aspects as directed by Engineer to fix DB. | No. | 1 |  | 0
11.3 | Wires, Cables and Conduits
11.3.1 | Wiring to Light Points | No. | 54 |  | 0
11.3.2 | Wiring to Power Points | No. | 6 |  | 0
11.4 | Lighting and fixtures
Supply & fixing of light fixtures as specified in respective areas at desired level as per the drawing. Rate should all other required accessories to complete according to drawing.
11.4.1 | LED Waterproof wall mount Warm light Luminares with diffusers | No. | 22 |  | 0
11.4.2 | 3.5W Waterproof Pond Light | No. | 6 |  | 0
11.4.3 | Pendant warm Light | No. | 20 |  | 0
11.4.4 | Wall Mounted Emergency Light | No. | 6 |  | 0
11.5 | Switches
11.5.1 | One Gang Switch | No. | 18 |  | 0
11.5.2 | Three Gang Switch | No. | 8 |  | 0
11.6 | Power Sockets
Supply & fixing of Power sockets as specified in respective areas at desired level as per the drawing. Rate should all other required accessories to complete according to drawing.
11.6.1 | 1 x 13A Power Outlet | No. | 6 |  | 0
Testing & Commisioning
11.7 | Test the entire system as per STELCO regulations. | Item | 1 |  | 0
| Total carried to main summary |  |  |  | 0
12 | PLUMBING WORKS
(a) | Rates shall include for: sockets, running joints, connectors, elbows, junctions, reducers, expansion joints; backnuts and similar; incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails and fixing complete.
(b) | All pipework shall be uPVC.
(c) | The work shall be executed strictly in accordance with the rules and regulations set by the relevant local authorities.
(d) | The Contractor shall be responsible for obtaining the necessary approvals and test certificates from the concerned departments.
(e) | The Contractor shall be responsible to connect the drainage and water supply to the mains and to obtain the necessary approvals and certificates from the relevant authorities.
(f) | After all plumbing fixtures and equipment have been set ready for use, and before the Contractor leaves the job, he shall thoroughly clean all fixtures installed by him, removing all plaster, stickers, rust stains and other foreign matter of discolouration on fixtures, leaving every part in acceptable condition and ready for use to the satisfaction of the Consultants
(g) | All new and existing connections to mains, Pits, pumps etc and meter installation shall be arranged by the Contractor and payment of fees thereof, if any, shall also be made by him.
(h) | Contractor shall design, Provide and install plumbing network for the area complete in accordance to standard set by the local governing body MWSC
(i) | The Contractor shall be responsible for the watch and ward of all fittings until the Works is fully completed and handed over to the owner.
(j) | The following items and description and the plumbing drawings are given as guidance as to the nature of the information to be returned by the contractor.
(k) | Rates shall include for: excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus spoil; bends, junctions, reducers, expansion joints and all joints and other incidental materials
(l) | Rates shall include testing the entire system as per MWSC regulations.
12.1 | Water supply
Supply, fixing and testing pipes of an approved make including all fittings such as tees, crosses, plugs, sockets, elbows, reducers, unions, sleeve pieces, check nuts etc. for pool including trench excavation, sand filling around the pipes as required.
12.1.1 | Connecting to MWSC water main including water meter & connection charge. | Item | 1 |  | 0
12.1.2 | 38mm dia. UPVC high pressure fresh water pipe network | Item | 1 |  | 0
12.2 | Sewerage & Drainage Works
Supply, fixing and testing pipes of an approved make including all fittings such as tees, crosses, plugs, sockets, elbows, reducers, unions, sleeve pieces, check nuts etc. for pool including trench excavation, sand filling around the pipes as required.
12.2.1 | Connecting to MWSC main drainage system including. | Item | 1 |  | 0
12.2.2 | 100mm Dia solid waste PVC pipe | Item | 1 |  | 0
12.2.3 | 75mm Dia liquid waste PVC pipe | Item | 1 |  | 0
12.3 | Ground Well Water Supply
12.3.1 | Constructing Reinforced Concrete Ground well 1.2m in diameter including excavations, dewatering, rebar reinforcement, gravel bedding & formworks, manhole cover & etc. as per the requirements. | Nos | 3 |  | 0
12.3.2 | 38mm dia. UPVC ground water pipe network | Item | 1 |  | 0
Inspection chambers
12.4 | Supplying of inspection chamber for the required dimensions. Rates to includes all civil works, waterproofing, plaster, pipe connections & all other related works. | No. | 6 |  | 0
12.5 | Pumping System
Supply, install, testing and commissioning of electrical pump shown in the drawing to complete as per the given specifications.
12.5.1 | Electric Pump for ground water | Nos | 1 |  | 0
12.6 | Sanitry Fixtures
Supply and fixing of all below mentioned sanityry fixtures , complete with all electrical works required for completion of work complete with fittings concealed in chase, spreaders, domical waste, bottle trap and pipe to wall with flange, screws and washers complete, including cutting and making good the walls and floors where required. rates to include all accesories , making good the fixing area and necessary works required.
12.6.1 | WC | No. | 10 |  | 0
12.6.2 | Muslim shower | No. | 10 |  | 0
12.6.3 | Counter top wash basin | No. | 17 |  | 0
12.6.4 | Wash basin tap | No. | 17 |  | 0
12.6.5 | Toilet paper holder | No. | 10 |  | 0
12.6.6 | Tap | No. | 12 |  | 0
12.6.7 | 38mm valve | No. | 51 |  | 0
12.6.8 | Floor trap gully with drain | No. | 12 |  | 0
12.6.9 | Wall Mounted Urinal set | No. | 3 |  | 0
12.6.10 | Hooks/Hanger | No. | 10 |  | 0
12.6.11 | Handicap Toilet support Bar | No. | 2 |  | 0
12.6.12 | Handicap toilet WC | No. | 2 |  | 0
12.6.13 | Wash basin with pedestal | No. | 2 |  | 0
12.6.14 | Wash Basin tap | No. | 2 |  | 0
12.6.15 | OverHead Water tank (Required Capacity) | No. | 2 |  | 0
Testing & Commisioning
12.7 | Test the entire system as per MWSC regulations. | Item | 1 |  | 0
| Total carried to main summary |  |  |  | 0