## COVER
Bills of Quantities
School Hall

## BOQ
Item | Description | Qty | Unit | Rate | Total
Bill No. 1
PRELIMINARIES
1.1 | GENERAL NOTES
1.1.1 | Abbreviations
m - metre
No - numbers
m³ - cubic metre
m² - square metre
Lm - Linear metre
t - tonnes
incl - including
mm - millimetre
SS - Stainless Steel
GI - Galvanised Iron
1.2 | SITE MANAGEMENT COSTS
1 | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings and similar | 1 | item |  | 0
1.3 | SIGNBOARD
1 | Allow for sign board. | 1 | item |  | 0
1.4 | CLEAN-UP
1 | Allow for cleam-up of completed works and site upon completion | 1 | item |  | 0
BILL No: 01 PRELIMINARIES
| TOTAL OF BILL No: 01 - Carried over to summary |  |  |  | 0
Bill No. 2
GROUND WORKS
2.1 | GENERAL NOTES
1 | Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and disposing surplus soil.
2.2 | SITE CLEARING
2.2.1 | Clearing site including trees less than 0.5m girth complete with stumps and roots. | 899.6 | m2 |  | 0
2.3 | EXCAVATION
2.3.1 | Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork.
2.3.2 | Excavation for:
1 | Foundation Pad F1 | 83.3 | m3 |  | 0
2 | Foundation Pad F2 | 24 | m3 |  | 0
3 | Concrete Beam GB | 69.87 | m3 |  | 0
BILL No: 02 GROUND WORKS
| TOTAL OF BILL No: 02 - Carried over to summary |  |  |  | 0
Bill No. 3
CONCRETE
3.1 | GENERAL NOTES
(a) | Rates shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural andexcavated tolerances.
(b) | Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:6 by volume.
3.1.1 | Allow for concrete testing. | 1 | item |  | 0
3.2 | LEAN CONCRETE
(a) | Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
(b) | 50 mm thick lean concrete to the bottom of
1 | Foundation Pad F1 | 3.332 | m3 |  | 0
2 | Foundation Pad F2 | 0.96 | m3 |  | 0
3 | Concrete Beam GB | 3.68 | m3 |  | 0
3.3 | REINFORCED CONCRETE
In-situ reinforced concrete to:
(a) | Rates shall include for formwork, reinforcement, water proofing, additive to below ground concrete and plasticiser to all concrete.
(b) | 50 mm thick lean concrete to the bottom of
3.3.1 | FOUNDATIONS
1 | Foundation Pad F1 | 12.24 | m3 |  | 0
2 | Foundation Pad F2 | 2.7 | m3 |  | 0
3 | Concrete Beam GB | 22.23 | m3 |  | 0
3.3.2 | GROUND FLOOR
1 | Concrete columns C1, 200 X 400 | 16.728 | m3 |  | 0
2 | Concrete columns C2, 200 X 200 | 4.62 | m3 |  | 0
3 | Floor slab, 75mm thk. | 66.52 | m3 |  | 0
3.3.3 | CATWALK LEVEL
1 | Floor beam, B1 200 x 400 | 21.06 | m3 |  | 0
2 | Floor slab, 140mm thk. | 10.24 | m3 |  | 0
3.3.4 | ROOF LEVEL
1 | Roof beam, RB 200 x 350 | 6.92 | m3 |  | 0
3.4 | FORMWORK
(a) | Note: Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes and removal of formwork
3.4.1 | FOUNDATIONS
1 | Foundation Pad F1 | 40.8 | m2 |  | 0
2 | Foundation Pad F2 | 18 | m2 |  | 0
3 | Concrete Beam GB | 177.8 | m2 |  | 0
3.4.2 | GROUND FLOOR
1 | Concrete columns C1, 200 X 400 | 16.728 | m2 |  | 0
2 | Concrete columns C2, 200 X 200 | 4.62 | m2 |  | 0
3.4.3 | CATWALK LEVEL
1 | Floor beam, B1 200 x 400 | 268.3 | m3 |  | 0
2 | Floor slab, 140mm thk. | 83.59 | m3 |  | 0
3.4.4 | ROOF LEVEL
1 | Roof beam, RB 200 x 350 | 88.92 | m2 |  | 0
3.5 | REINFORCEMENT
(a) | Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings, and supports including tie wire and chair supports, laps and wastage
(b) | All reinforcing bars shall be high strength bars
FOUNDATIONS
3.5.1 | Foundation Pad F1
1 | Steel deformed bars, 10mm dia | 1.6 | t |  | 0
3.5.2 | Foundation Pad F2
1 | Steel deformed bars, 10mm dia | 0.32 | t |  | 0
3.5.3 | Concrete Beam GB
1 | Steel deformed bars, 16mm dia | 3.46 | t |  | 0
2 | Steel deformed bars, 6mm dia | 0.43 | t |  | 0
GROUND FLOOR
3.5.4 | Concrete columns C1, 200 X 400
1 | Steel deformed bars, 16mm dia | 2.03 | t |  | 0
2 | Steel deformed bars, 6mm dia | 0.9 | t |  | 0
3.5.5 | Concrete columns C2, 200 X 200
1 | Steel deformed bars, 12mm dia | 0.61 | t |  | 0
2 | Steel deformed bars, 6mm dia | 0.16 | t |  | 0
3.5.6 | Floor slab, 75mm thk.
1 | Steel deformed bars, 6mm dia. | 1.86 | t |  | 0
3.5.7 | CATWALK LEVEL
1 | Floor beam, B1 200 x 400 | 268.3 | m3 |  | 0
2 | Steel deformed bars, 16mm dia | 8.55 | t |  | 0
3 | Steel deformed bars, 6mm dia | 0.45 | t |  | 0
4 | Floor slab, 140mm thk. | 83.59 | m3 |  | 0
5 | Steel deformed bars, 10mm dia | 9.19 | t |  | 0
0
ROOF LEVEL
3.5.8 | Roof beam, RB 200 x 350
1 | Steel deformed bars, 12mm dia | 2.22 | t |  | 0
2 | Steel deformed bars, 6mm dia | 1.12 | t |  | 0
BILL No: 03 CONCRETE
| TOTAL OF BILL No: 03 - Carried over to summary |  |  |  | 0
Bill No. 4
MASONRY AND PLASTERING
4.1 | GENERAL NOTES
(a) | Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leaving
holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding
frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good
4.2 | CONCRETE BRICKWORK
4.2.1 | 150 mm wide cement hollow block wall, blocks laid on and incl. mortar (internal walls)
1 | Ground floor | 403.18 | m2 |  | 0
2 | First floor | 101.76 | m2 |  | 0
4.2.2 | 220 mm wide solid concrete brick parapet wall, (Balcony)
1 | Ground floor | 39.096 | m2 |  | 0
2 | First floor | 35.91 | m2 |  | 0
4.3 | PLASTERING
15 mm thick cement plastering as specified on
4.3.1 | External block wall
1 | Ground floor | 442.276 | m2 |  | 0
2 | First floor | 241.53 | m2 |  | 0
4.3.2 | Internal block wall
1 | Ground floor | 403.18 | m2 |  | 0
2 | First floor | 373.23 | m2 |  | 0
4.4 | CEMENT SCREED
50 mm thick cement screed 1:4, incl. trowel finish
1 | Cement screed on slab on ground | 899.6 | m2 |  | 0
2 | Cement screed on first floor slab | 344.1025 | m2 |  | 0
4.4 | MAIN STAGE | 99.12 | m2 |  | 0
1m hight solid block masonry side walls and steps, sand fill and compact, 100mm thk. Slab (R6@200 CC) on top, 50mm thk. screed and cement finish.
BILL No: 04 MASONRY AND PLASTERING
| TOTAL OF BILL No: 04 - Carried over to summary |  |  |  | 0
Bill No. 5
STRUCTURAL STEEL
5.1 | GENERAL NOTES
(a) | Rates shall include for: all fabrication work, welding, marking, drilling for bolts including those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
(b) | Rates shall include for all painting and finishing as specified
(c) | Rates shall include for fabrication and erection and temporary supports and fixing into position
5.2 | BALUSTRADES
1 | SS ladder vertical supports all bolts, nuts, washers and fixing, (3ml) | 2 | no |  | 0
5.3 | G.I. PIPE ROOF TRUSSES
G.I. pipe truss complete as shown on the Drawings
1 | Steel truss TR1 | 12 | no |  | 0
2 | Steel truss TR2 | 55 | no |  | 0
5.4 | G.I. PIPE BRACING
1 | 114 mm dia. G.I. pipe bracing as shown on the Drawings | 112 | m |  | 0
BILL No: 05 STRUCTURAL STEEL
| TOTAL OF BILL No: 05 - Carried over to summary |  |  |  | 0
BILL No: 06
WOODWORK
6.1 | GENERAL NOTES
Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws
6.2 | BEAM
1 | Timber beam, 50 x 150 mm | 0.68 | m3 |  | 0
6.3 | RIDGE BEAM
1 | Ridge beam, 200 x 400 mm | 3.4 | m3 |  | 0
6.4 | WALL PLATE
1 | Wall plate, 50 x 100 mm | 0.7 | m3 |  | 0
6.5 | RAFTERS
1 | Timber rafters, 50 x 150 mm | 10.67 | m3 |  | 0
6.6 | BATTENS
1 | Timber battens, 50 x 150 mm | 3.05 | m3 |  | 0
6.7 | FASCIA BOARDS
1 | Timber fascia boards, 25 x 250 mm | 1.13 | m |  | 0
BILL No: 06 - WOODWORK
| TOTAL OF BILL No: 06 - Carried over to summary |  |  |  | 0
BILL No: 07
ROOFING
7.1 | GENERAL NOTES
Rates shall include for: fair edges, dressing over angel fillets, turning into grooves, all other labours, circular edges, nails, screws and other fixings and laps
7.2 | ROOF COVERINGS
1 | Zinc alum or equivalent roof sheeting, incl. all fixings, fixed in accordance with manufacturer's instructions | 1071.19 | m2 |  | 0
7.3 | CAPPINGS AND FLASHINGS
1 | Flashings, 400mm girth | 170.78 | m |  | 0
7.4 | GUTTER
G.I. gutter including framing, and supports, straps, brackets, clips, stop ends, overflow, downpipe outlets and all fixings and fastenings
1 | Eaves gutter, 200 x 350 mm deep | 180.5 | m |  | 0
7.5 | DOWN PIPES
1 | 100 mm dia PVC down pipes including bends, junctions, straps, brackets, clips and all fixings | 150 | m |  | 0
7.6 | INSULATION
Rockwool insulation with aluminium foil on both sides on and incl wire mesh
1 | Fixed to underside of roofing | 1071.19 | m2 |  | 0
BILL No: 07 - ROOFING
| TOTAL OF BILL No: 07 - Carried over to summary |  |  |  | 0
BILL No: 08
CEILINGS
8.1 | PLYWOOD CEILINGS
6 mm plywood sheeted suspended ceiling, including 30 x 40 timber framing, 40 x 50 timber hangers, 20 x 80 timber cornice, trimming, and nails, screws and other fixings
1 | Ceiling, horizontal (ground floor) | 402.6 | m2 |  | 0
2 | Ceiling, horizontal (catwalk level) | 668.59 | m2 |  | 0
BILL N0: 08 CEILINGS
| TOTAL OF BILL No: 08 - Carried over to summary |  |  |  | 0
BILL N0: 09
DOORS AND WINDOWS
9.1 | GENERAL NOTES
(a) | Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware
(b) | Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings
(c) | Sizes are given overall outside dimensions of actual doors and windows
(d) | Aluminium frames shall be polyester powder coated
(e) | Thickness and sizes of glass panels are shown on the Drawings
(f) | Rates shall include for all painting as specified
9.2 | ALUMINIUM WINDOW UNIT
1 | W1, 2000x1700 ( 3.4 m2) | 13 | no |  | 0
2 | W2, 1400x1700 ( 2.38 m2) | 6 | no |  | 0
3 | W3, 2000x750 ( 1.5 m2) | 22 | no |  | 0
4 | W4, 1350x750 ( 1.0125 m2) | 4 | no |  | 0
9.3 | TIMBER DOOR UNITS
Timber panel door units
1 | D1, 1700x2100 ( 3.57 m2) | 8 | no |  | 0
2 | D2, 900x2100 ( 1.89 m2) | 3 | no |  | 0
3 | D3, 700x2100 ( 1.47 m2) | 3 | no |  | 0
9.4 | ALUMINIUM VENT UNITS
1 | V1, 900x600 ( 0.54 m2) | 2 | no |  | 0
BILL N0: 09 - DOORS AND WINDOWS
| TOTAL OF BILL No: 09 - Carried over to summary |  |  |  | 0
BILL N0: 10
FINISHES
10.1 | GENERAL NOTES
Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing
10.2 | CERAMIC TILES
1 | Ceramic wall tiles, 200 x 200 | 35.99 | m² |  | 0
BILL No: 10 - FINISHES
| TOTAL OF BILL No: 10 - Carried over to summary |  |  |  | 0
BILL No: 11
PAINTING
11.1 | GENERAL NOTES
(a) | Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window furniture
(b) | All painting work shall be carried in accordance with the Specifications
11.2 | WALLS
Emulsion paint finish on cement plastered walls
1 | Ground floor | 884.55 | m2 |  | 0
2 | Catwalk level | 715.8 | m2 |  | 0
11.3 | CEILINGS
1 | Emulsion paint on plywood ceilings and concrete
2 | Ground floor | 596.86 | m2 |  | 0
3 | Roof level | 668.59 | m2 |  | 0
BILL No: 11 - PAINTING
| TOTAL OF BILL No: 11 - Carried over to summary |  |  |  | 0
BILL No: 12
HYDRAULICS & DRAINAGE
12.1 | HYDRAULICS
12.1.1 | GENERAL
(a) | Rates shall include for: sockets, running joints, connectors, elbows, junctions, reducers, expansion joints; backnuts and similar; incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes; excavating, laying pipes and backfilling trenches
(b) | All pipework shall be UPVC
12.1.2 | GROUND WATER SUPPLY PIPEWORK
1 | 50 mm dia. high UPVC high pressure pipe | 10.6 | m |  | 0
2 | 32 mm dia. high UPVC high pressure pipe | 3.45 | m |  | 0
3 | 12 mm dia. high UPVC high pressure pipe | 8.1 | m |  | 0
12.1.3 | RAIN WATER SUPPLY PIPEWORK
1 | 50 mm dia. high UPVC high pressure pipe | 10 | m |  | 0
2 | 32 mm dia. high UPVC high pressure pipe | 3.3 | m |  | 0
3 | 12 mm dia. high UPVC high pressure pipe | 4.6 | m |  | 0
12.1.4 | PIPEWORK TO RAIN WATER TANK
1 | 150 mm dia. rain water drain pipe | 91.5 | m |  | 0
2 | 75 mm dia. rain water drain pipe | 34.5 | m |  | 0
12.1.5 | FITTINGS
1 | Install the following fittings as specified.
2 | Stop valve | 6 | no |  | 0
12.1.6 | SANITARY FIXTURES & ACCESSORIES
Sanitary fixtures complete including brackets, flush pipes, overflows, plugs and washers, as specified
1 | WC | 3 | no |  | 0
2 | Wash basin | 3 | no |  | 0
3 | Wash basin tap (rain water) | 3 | no |  | 0
4 | Wash basin tap (ground water) | 3 | no |  | 0
5 | Toilet paper holder | 3 | no |  | 0
6 | Towel hook | 3 | no |  | 0
7 | Soap holder | 3 | no |  | 0
8 | Muslim shower | 3 | no |  | 0
9 | tap | 3 | no |  | 0
10 | Floor trap | 3 | no |  | 0
11 | Mirror | 3 | no |  | 0
12.2 | DRAINAGE
12.2.1 | GENERAL
(a) | Rates shall include for: excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus spoil; bends, junctions, reducers, expansion joints and all joints and other incidental materials
(b) | All pipework shall be UPVC
12.2.2 | DISCHARGE PIPEWORK
1 | Connecting to existing sewer system | 1 | no |  | 0
2 | 150 mm dia. soil waste pipe | 10 | m |  | 0
3 | 100 mm dia. soil waste pipe | 5.6 | m |  | 0
4 | 50 mm dia. soil waste pipe | 6.7 | m |  | 0
12.2.3 | RAIN WATER CATCH BASIN
1 | Rain water catch basin complete as shown on the Drawings incl all pipe connections and similar | 2 | no |  | 0
12.2.5 | INSPECTION CHAMBERS
1 | Inspection chambers complete as shown on the Drawings incl all pipe connections and similar | 2 | no |  | 0
BILL No: 12 - HYDRAULICS & DRAINAGE
| TOTAL OF BILL No: 12 - Carried over to summary |  |  |  | 0
BILL No: 13
ELECTRICAL INSTALLATIONS
13.1 | GENERAL NOTES
(a) | Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) | Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) | Rates for electrical conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
(d) | Light end of wiring is measured as one point and switch end of wiring is measured as another point
(e) | A point wiring for power points is measured as one point for each socket outlet; other end of wire is not included in the quantity.
(f) | Rates shall include for supply and complete installation
13.1 | MAINS CONNECTION
1 | Allow for connection to electrical mains | 1 | no |  | 0
13.2 | ELECTRICAL BOARDS
Complete installation, including for all connections, earthing, painting, testing and similar of:
1 | Kilowatt meter | 1 | no |  | 0
2 | Main distribution board | 1 | no |  | 0
13.3 | ELECTRICAL WIRING
Electrical wiring with copper conductor cable in conduits in walls and in casing on soffits of slab as specified to:
1 | Wiring with 1.5 mm² cable to lighting | 84 | points |  | 0
2 | Wiring with 2.5 mm² cable to power points | 4 | points |  | 0
13.4 | CEILING FANS
1 | Ceiling fans, "Usha" or equivalent, 1.2m dia complete, including regulator | 14 | no |  | 0
13.5 | LIGHTING
1 | Ceiling recessed light with 4x2' tube lights with complete fixture | 37 | no |  | 0
2 | Wall mount flourescent tube lights with complete fixture | 8 | no |  | 0
3 | Decorative stage lights | 10 | no |  | 0
13.6 | "CLIPSAL" SOCKET OUTLETS
1 | Socket switches 13 Amps c/w PVC box.( 2 gang ) | 3 | no |  | 0
2 | Socket switches 13 Amps c/w PVC box.( 1 gang ) | 1 | no |  | 0
( All socket switches should incorporate a neon light.)
13.7 | "CLIPSAL" SWITCHES
1 | One way switches ( c/w PVC Box)
0
BILL No: 13 - ELECTRICAL INSTALLATIONS
| TOTAL OF BILL No: 13 - Carried over to summary |  |  |  | 0
BILL No: 14
TENDER ADJUSTMENTS
(a) Provide detail description of work items under each bill and insert extra pages if required.
14.1 | Addition
(1) | Bill No 1
(2) | Bill No 2
(3) | Bill No 3
(4) | Bill No 4
(5) | Bill No 5
(6) | Bill No 6
(7) | Bill No 7
(8) | Bill No 8
(9) | Bill No 9
(10) | Bill No 10
(11) | Bill No 11
(12) | Bill No 12
(13) | Bill No 13
14.2 | Omissions
(1) | Bill No 1
(2) | Bill No 2
(3) | Bill No 3
(4) | Bill No 4
(5) | Bill No 5
(6) | Bill No 6
(7) | Bill No 7
(8) | Bill No 8
(9) | Bill No 9
(10) | Bill No 10
(11) | Bill No 11
(12) | Bill No 12
(13) | Bill No 13
Total For Addition & Omissions
0

## SUMMARY
SUMMARY OF BILLS OF QUANTITIES
SCHOOL HALL
Bill No | Description | Material amount | Labor amount | Amount
0
1 | PRELIMINARIES |  |  | 0
2 | GROUND WORKS |  |  | 0
3 | CONCRETE |  |  | 0
4 | MASONRY AND PLASTERING |  |  | 0
5 | STRUCTURAL STEEL |  |  | 0
6 | WOODWORK |  |  | 0
7 | ROOFING |  |  | 0
8 | CEILINGS |  |  | 0
9 | DOORS AND WINDOWS |  |  | 0
10 | FINISHES |  |  | 0
11 | PAINTING |  |  | 0
12 | HYDRAULICS & DRAINAGE |  |  | 0
13 | ELECTRICAL INSTALLATIONS |  |  | 0
| ADDITION / OMISSION |  |  | 0
| GRAND TOTAL | 0 | 0 | 0