## Cover
Bill Of Quantities (BOQ)
BOQ for:
SUPPLY & INSTALLATION OF MEDICAL AND NON-MEDICAL MACHINERIES, EQUIPMENTS AND FURNITUES For Koveli Building New Operation Theaters at 5th Floor , Hulhumale Hospital , Maldives.
Project Title:
New Operation Theaters Hulhumale Hospital

## Summary
BOQ Summary - Estimated Cost
| Project:- SUPPLY & INSTALLATION OF MEDICAL AND NON-MEDICAL MACHINERIES, EQUIPMENTS AND FURNITUES For Koveli Building New Operation Theaters at 5th Floor , Hulhumale Hospital , Maldives. |  | 2022-02-06
Bill Item No | Description | Total Amount ( MVR )
1 | Theater Equipments & Machines
2 | Furnitures & Common Equipments
3 | Additional Works
4 | Omission Works
Total Amount ( MVR )
Contingency - 10 %
Total Incl. Contingency
GST - 6%
Grand Total ( MVR )

## EQUIPMENT
Item | Description | Unit | Quantity | Rate (MVR) | Amount (MVR)
Bill No: 2
Theater Equipment's & Machines
2 | General
(a) The Bidder is requested to refer Drawings, Specifications and other relevant documents.
(b) All items shall be supply and complete installation/fixing placing completely.
(c) All the works are according to the manufacture's technical specification & requested by the employer/engineer.
(d) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed.
(e) The rates shall cover all the works completely according to the bid details unless otherwise measured separately.
2.1 | Theater Equipment & Machine
Supply & placing operation theater equipment & machines as shown in the drawings , schedules , manufacture's specification completely.
1 | Surgical Panel - Digital image viewing system | nos | 4
2 | X-Ray Viewer | nos | 6
3 | Double Door Sterilizer Machine | nos | 1
4 | Infant Warmer | nos | 2
5 | Portable Incubator | nos | 1
6 | Anesthesia Pendant | nos | 4
7 | Anesthesia Unit | nos | 4
8 | Portable Scan Machine | nos | 1
9 | Suction Machine | nos | 5
10 | Patient Monitor | nos | 4
11 | Syringe Pump | nos | 4
12 | Infusion Pump | nos | 4
13 | Water Distiller | nos | 3
14 | Surgical Light Double Dome | nos | 4
15 | Crib/Baby Cradle | nos | 1
16 | Bed | nos | 7
17 | OT Table for OTHO / ref to spec. | nos | 1
18 | OT Table for General / ref to spec. | nos | 1
19 | OT Table gynae / ref to spec. | nos | 1
20 | Wheel Chair | nos | 1
21 | Foot Step ( Item Code : T6-23-201 ) | nos | 8
22 | Trolley ( Item Code : T6-68-401) | nos | 6
23 | Trolley ( Item Code : T6-68-402 ) | nos | 1
24 | Trolley ( Item Code : T6-68-403 ) | nos | 5
25 | Trolley ( Item Code : T6-68-404 ) | nos | 6
26 | Trolley ( Item Code : T6-68-405 ) | nos | 3
27 | Trolley ( Item Code : T6-68-406 ) | nos | 1
28 | Trolley ( Item Code : T6-68-407 ) | nos | 2
29 | Trolley ( Item Code : T6-68-409 ) | nos | 1
30 | Trolley ( Item Code : T6-68-410 ) | nos | 4
31 | Peripheral Modular LED Ceiling Light ( Item Code : T6-88-303 ) | nos | 4
32 | Cardiac Monitor | nos | 7
33 | Surgical Pendant | nos | 4
34 | Arthroscopy System | nos | 1
35 | Cautery Machine | nos | 4
36 | Customize Bed Head Unit | nos | 6
37 | AGSS Gas Outlet | nos | 4
38 | Surgical Air Gas Outlet | nos | 4
39 | Medical Air Gas Outlet | nos | 4
40 | N₂O Gas Outlet | nos | 4
41 | Vacuum Gas Outlet | nos | 8
42 | Defibrillator | nos | 5
43 | ECG Machine | nos | 1
44 | Fetal heart rate monitor (Doppler) | nos | 1
45 | Fluids warming unit | nos | 2
46 | Automatic Pressure infuser | nos | 2
47 | Pressure infuser bag | nos | 1
48 | Video laryngoscope | nos | 1
49 | Fiberoptic bronchoscope | nos | 1
50 | Vein detector | nos | 1
51 | Surgical clipper | nos | 2
52 | Medical graded high-quality spotlight | nos | 1
53 | Portable patient warming unit with cart and all accessories | nos | 5
54 | Scale for newborn children | nos | 1
55 | UV sterilization units (UV lights) | nos | 6
56 | Opertaing ENT microscope with 250mm & 400MM lenses with video attachment | nos | 1
57 | HEAD LIGHT FIBREOPTIC - COAXIAL | nos | 2
58 | Video camera single chip with UNIVERSAL ADAPTOR | nos | 1
59 | Video Camera 3 chip | nos | 1
60 | Coablator with bands | nos | 1
61 | Medical fogger machines with minimum 5 liters capacity | nos | 2
62 | Nerve stimulator | nos | 1
63 | Burr machine | nos | 2
64 | Portable ventilator | nos | 1
65 | Blood warmer | nos | 2
66 | Suction with Irrigation system | nos | 1
67 | ABG machine | nos | 1
68 | Bubble C PAP | nos | 1
69 | wall suction unit with pressure regulator for central suctioning in bed heads | nos | 6
70 | Digital adult weighing machine | nos | 2
71 | patient shifting roller board | nos | 4
72 | portable IV stands | nos | 12
73 | Small SS mayo trolley | nos | 10
74 | SS dressing trolley | nos | 1
75 | Adult laryngoscope with all size blades | nos | 5
76 | Paediatric laryngoscope with all size blades | nos | 2
77 | Dressing drums small size (sterilizable) | nos | 10
78 | Thermoscan | nos | 6
79 | Digital thermometer | nos | 2
80 | Adult Stethoscope | nos | 6
81 | Paediatric stethoscopes | nos | 3
82 | Neonatal stethoscopes | nos | 3
83 | BP apparatus | nos | 4
84 | Glucometers | nos | 6
85 | Diagnostic kit. | nos | 1
86 | SS cidex chamber medium size | nos | 10
87 | Bougie for adult | nos | 4
88 | Paediatric bougie | nos | 2
89 | Adult size stylet | nos | 5
90 | Paediatric size stylet | nos | 2
91 | SS kick basins with wheels | nos | 10
92 | Cardiac table height adjustable | nos | 4
93 | Double side Linen hamper with lid | nos | 4
94 | Bed lockers (plastic) | nos | 6
95 | Foot stool (SS) | nos | 8
96 | Foot board (wooden) | nos | 4
97 | Rotating stools (surgeon | nos | 10
98 | Narcotic cupboard (large) | nos | 1
99 | Lead apron stand with multiple arms (at least 10- 12 arms) | nos | 1
100 | Lead aprons (large size) | nos | 10
101 | Adult ambu bag | nos | 6
102 | Paediatric ambu bag | nos | 2
103 | Neonatal ambu bag | nos | 1
104 | MVA kit | nos | 2
105 | Thyroid collar | nos | 10
106 | Pulse oximeter | nos | 1
107 | Sterile container system (large)/ instruments sterilization container | nos | 15
108 | Sterile container system (medium)/ instruments sterilization container | nos | 15
109 | Sterile container system (small) /instruments sterilization container | nos | 10
110 | Arthroscopic shaver system | nos | 1

## FURNITURE
Item | Description | Unit | Quantity | Rate (MVR) | Amount (MVR)
Bill No: 1
Furnitures & Common Equipments
1 | General
(a) The Bidder is requested to refer Drawings, Specifications and other relevant documents.
(b) All items shall be supply and complete installation/fixing placing completely.
(c) All the works are according to the manufacture's technical specification & requested by the employer/engineer.
(d) Where there may be any discrepancies between the drawings and BOQ , details given in the drawings shall proceed.
(e) The rates shall cover all the works completely according to the bid details unless otherwise measured separately.
1.1 | Furnitures & Common Equipments
Supply & placing furniture works as shown in the drawings , schedules , manufacture's specification completely.
1 | 8 Pax Dining Set With Table ( Item Code : T6-15-401 ) | nr | 1
2 | Chair ( Item Code : T6-22-101 ) | nr | 2
3 | Office Chair ( Item Code : T6-32-101 ) | nr | 8
4 | Swivel Chair ( Item Code : T6-32-301 ) | nr | 1
5 | Swivel Chair ( Item Code : T6-32-302 ) | nr | 3
6 | Storage Cabinet ( Item Code : T6-35-104 ) | nr | 2
7 | Storage Cabinet ( Item Code : T6-35-105 ) | nr | 2
8 | Storage Cabinet ( Item Code : T6-35-106 ) | nr | 1
9 | Storage Cabinet ( Item Code : T6-35-107 ) | nr | 7
10 | Storage Cabinet ( Item Code : T6-35-108 ) | nr | 1
11 | Storage Cabinet ( Item Code : T6-35-109 ) | nr | 3
12 | Storage Cabinet ( Item Code : T6-35-110 ) | nr | 1
13 | Storage Cabinet ( Item Code : T6-35-111 ) | nr | 1
14 | Storage Cabinet ( Item Code : T6-35-112 ) | nr | 1
15 | Storage Cabinet ( Item Code : T6-35-113 ) | nr | 3
16 | Storage Cabinet ( Item Code : T6-35-114 ) | nr | 1
17 | Storage Cabinet ( Item Code : T6-35-115 ) | nr | 1
18 | Open Shelving ( Item Code : T6-35-402 ) | nr | 6
19 | Open Shelving ( Item Code : T6-35-403 ) | nr | 1
20 | Locker ( Item Code : T6-35-601 ) | nr | 25
21 | Locker ( Item Code : T6-35-602 ) | nr | 30
22 | Filling Drawer ( Item Code : T6-35-501 ) | nr | 1
23 | Bad Curtain Railling with all required accessories ( Item Code : T6-66-101 ) | m | 6
24 | Roller Blinds as per drawing mesurment. ( Item Code : T6-66-801 ) | nr | 2
25 | Cubicle Curtains ( Item Code : T6-66-901 ) | set | 12
26 | Linen Hamper ( Item Code : T6-68-201 ) | nr | 3
27 | Linen Hamper ( Item Code : T6-68-202 ) | nr | 1
28 | Ladder ( Item Code : T6-68-301 ) | nr | 2
29 | Trolley ( Item Code : T6-68-401 ) | nr | 2
Total Of Bill No: 1 - Carried over to summary