**SECTION 7**

**Employer’s Requirement**

**Section 7 – Employer’s Requirement**

The scope of work included in sewerage system of each package shall be as under:

1. Carryout surveys, investigation, Conduction of EIA, Preparation and approval of Concept Design and EIA from EPA.
2. Preparation of Design of civil, electrical and mechanical works of Water Supply System System i.e. Borehole, RO Plant including Brine Disposal, Sea Outfall, Ground Storage Tank, Rainwater Harvesting System and Water Distribution System etc.
3. Preparation of Construction Drawings
4. Construction of civil, electrical and mechanical works of Sewerage System i.e. Borehole, RO Plant including Brine Disposal, Sea Outfall, Ground Storage Tank, Rainwater Harvesting System and Water Distribution System etc.
5. Trial Run and Commissioning of Water Supply System
6. Operation and maintenance of Water Supply System for a period of one year after taking over of Employer

Note: Preparation of reports, design and construction shall be as per EPA Guidelines.