## BOQ
SL.NO | DESCRIPTION | QTY | UNIT | LABOUR RATE | MATERIAL RATE | LABOUR AMOUNT | MATERIAL AMOUNT | TOTAL AMOUNT
Bill No: 01
PRELIMINARIES
1.1 | General Notes
1 ) | Abbreviations
m - meter
No - numbers
m3 - cubic meter
m2 - square meter
Lm - Linear meter
t - tonnes
incl - including
mm - millimeter
dia - diameter
SS - Stainless Steel
GI - Galvanised Iron
1.2 | Site Management Costs
1 ) | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone,fax,hoardings and similar. | 1 | item |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
1.3 | Sign Board |  |  |  |  | 0 | 0 | 0
1 ) | Allow for sign board | 1 | no |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
1.4 | Clean - up |  |  |  |  | 0 | 0 | 0
1 ) | Allow for clean - up of completed works and site upon completion. | 1 | item |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
TOTAL OF BILL NO. 01 (PRELIMINARIES) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 02
GROUND WORKS
2.1 | GENERAL
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and disposing surplus soil.
2.2 | SITE CLEARING
| Clear the area of site from rubbish and vegetable matters, stumps, roots. Demolition shall be included (if any) | 565.86 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
2.3 | EXCAVATION |  |  |  |  | 0 | 0 | 0
| Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formworks |  |  |  |  | 0 | 0 | 0
1 ) | Excavation for Footings and Tie beams | 275 | m³ |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
2.4 | BACK FILLING |  |  |  |  | 0 | 0 | 0
| (a) Rates shall include for: levelling, grading, trimming, compacting and similar. |  |  |  |  | 0 | 0 | 0
| (b) Ground need to be compacted to the required density by the consultant. |  |  |  |  | 0 | 0 | 0
1 ) | Earth Filling as per drawings | 565.86 | m² |  |  | 0 | 0 | 0
2 ) | 50 mm thick sand blinding layer to receive damp proof membrane | 565.86 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
2.5 | DAMP PROOF MEMBRANE |  |  |  |  | 0 | 0 | 0
| (a) Rates shall include for: dressing around and sealing to all penetrations, laps and turnups |  |  |  |  | 0 | 0 | 0
1 ) | Polythene damp proof membrane (500 gauge) laid on blinding layer under footings, tie beams and ground floor slab | 793 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
2.6 | DEWATERING |  |  |  |  | 0 | 0 | 0
| This item shall include for all the piping, pumps, etc. Water needs to be pumped to an assigned area as per local regulation. | 1 | Item |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
TOTAL OF BILL NO. 02 (GROUND WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 03
CONCRETE WORKS
General
a) Rate shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
b) Mix ratio for reinforced concrete shall be 1:2:3
1 ) | Allow for concrete testing | 1 | item |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.1 | Lean Concrete |  |  |  |  | 0 | 0 | 0
| 50 mm thick lean concrete under the footings / strip footing and tie beam with a mix of 1:2:6 | 227 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.2 | Reinforced Concrete |  |  |  |  | 0 | 0 | 0
| In-situ reinforced concrete to: |  |  |  |  | 0 | 0 | 0
| *Add water proofing compound / admixture to concrete mix for walls GL and Roof Slabs |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.2.1 | Foundation |  |  |  |  | 0 | 0 | 0
1 ) | Footings, Strips and Tie Beams | 115 | m³ |  |  | 0 | 0 | 0
2 ) | Lift walls, Columns and Stair starter | 8.7 | m³ |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.2.2 | Ground Floor |  |  |  |  | 0 | 0 | 0
1 ) | RCC Ground Slab 100 mm thick, (Rate shall include for reinforcement and shuttering required as per the drawings) | 56.5 | m³ |  |  | 0 | 0 | 0
2 ) | Lift walls, Columns and Stairs | 22.6 | m³ |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.2.3 | First Floor |  |  |  |  | 0 | 0 | 0
1 ) | Attached Beams, Suspended Slab including slab turn downs | 108.2 | m³ |  |  | 0 | 0 | 0
2 ) | Lift walls, Columns and Stairs | 22.2 | m³ |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.2.4 | Second Floor |  |  |  |  | 0 | 0 | 0
1 ) | Attached Beams, Suspended Slab including slab turn downs | 100.3 | m³ |  |  | 0 | 0 | 0
2 ) | Lift walls, Columns and Stairs | 21.7 | m³ |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.2.5 | Terrace Floor |  |  |  |  | 0 | 0 | 0
1 ) | Attached Beams, Suspended Slab including Roof beams | 42.5 | m³ |  |  | 0 | 0 | 0
2 ) | Lift walls, Columns | 16.5 | m³ |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.2.6 | Roof Level |  |  |  |  | 0 | 0 | 0
1 ) | Attached beams, slab at Lift Machine room level and Roof level | 13.2 | m³ |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.3 | Formwork |  |  |  |  | 0 | 0 | 0
| a) Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes, removal of formwork and normal practices used. |  |  |  |  | 0 | 0 | 0
3.3.1 | Foundation |  |  |  |  | 0 | 0 | 0
1 ) | Footings, Strips and Tie Beams | 392 | m² |  |  | 0 | 0 | 0
2 ) | Lift walls, Columns and Stair starter | 98 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.3.2 | Ground Floor |  |  |  |  | 0 | 0 | 0
1 ) | Lift walls, Columns and Stairs | 265 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.3.3 | First Floor |  |  |  |  | 0 | 0 | 0
1 ) | Attached Beams, Suspended Slab including slab turn downs | 752 | m² |  |  | 0 | 0 | 0
2 ) | Lift walls, Columns and Stairs | 252 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.3.4 | Second Floor |  |  |  |  | 0 | 0 | 0
1 ) | Attached Beams, Suspended Slab including slab turn downs | 698 | m² |  |  | 0 | 0 | 0
2 ) | Lift walls, Columns and Stairs | 252 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.3.5 | Terrace Floor |  |  |  |  | 0 | 0 | 0
1 ) | Attached Beams, Suspended Slab including Roof beams | 322 | m² |  |  | 0 | 0 | 0
2 ) | Lift walls, Columns | 162 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.3.6 | Roof Level |  |  |  |  | 0 | 0 | 0
1 ) | Attached beams, slab at Lift Machine room level and Roof level | 102 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.4 | Reinforcement |  |  |  |  | 0 | 0 | 0
| a) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and chair supports, laps, and wastages. |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.4.1 | Foundation |  |  |  |  | 0 | 0 | 0
1 ) | Footings, Strips and Tie Beams |  |  |  |  | 0 | 0 | 0
| 20 mm dia bars | 170 | kg |  |  | 0 | 0 | 0
| 16 mm dia bars | 610 | kg |  |  | 0 | 0 | 0
| 12 mm dia bars | 375 | kg |  |  | 0 | 0 | 0
| 10 mm dia bars | 940 | kg |  |  | 0 | 0 | 0
| 6 mm dia bars | 720 | kg |  |  | 0 | 0 | 0
2 ) | Lift walls, Columns and Stair starter |  |  |  |  | 0 | 0 | 0
| 16 mm dia bars | 120 | kg |  |  | 0 | 0 | 0
| 12 mm dia bars | 160 | kg |  |  | 0 | 0 | 0
| 6 mm dia bars | 170 | kg |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.4.2 | Ground Floor |  |  |  |  | 0 | 0 | 0
1 ) | Lift walls, Columns and Stairs |  |  |  |  | 0 | 0 | 0
| 16 mm dia bars | 120 | kg |  |  | 0 | 0 | 0
| 12 mm dia bars | 390 | kg |  |  | 0 | 0 | 0
| 6 mm dia bars | 250 | kg |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.4.3 | First Floor |  |  |  |  | 0 | 0 | 0
1 ) | Attached Beams, Suspended Slab including slab turn downs |  |  |  |  | 0 | 0 | 0
| 25 mm dia bars | 10 | kg
| 20 mm dia bars | 235 | kg |  |  | 0 | 0 | 0
| 16 mm dia bars | 100 | kg |  |  | 0 | 0 | 0
| 12 mm dia bars | 80 | kg |  |  | 0 | 0 | 0
| 10 mm dia bars | 2700 | kg |  |  | 0 | 0 | 0
| 6 mm dia bars | 630 | kg |  |  | 0 | 0 | 0
2 ) | Lift walls, Columns and Stairs |  |  |  |  | 0 | 0 | 0
| 16 mm dia bars | 120 | kg |  |  | 0 | 0 | 0
| 12 mm dia bars | 390 | kg |  |  | 0 | 0 | 0
| 6 mm dia bars | 250 | kg |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.4.4 | Second Floor |  |  |  |  | 0 | 0 | 0
1 ) | Attached Beams, Suspended Slab including slab turn downs |  |  |  |  | 0 | 0 | 0
| 25 mm dia bars | 8 | kg
| 20 mm dia bars | 195 | kg |  |  | 0 | 0 | 0
| 16 mm dia bars | 100 | kg |  |  | 0 | 0 | 0
| 12 mm dia bars | 72 | kg |  |  | 0 | 0 | 0
| 10 mm dia bars | 2500 | kg |  |  | 0 | 0 | 0
| 6 mm dia bars | 540 | kg |  |  | 0 | 0 | 0
2 ) | Lift walls, Columns and Stairs |  |  |  |  | 0 | 0 | 0
| 16 mm dia bars | 120 | kg |  |  | 0 | 0 | 0
| 12 mm dia bars | 390 | kg |  |  | 0 | 0 | 0
| 6 mm dia bars | 250 | kg |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.4.5 | Terrace Floor |  |  |  |  | 0 | 0 | 0
1 ) | Attached Beams, Suspended Slab including Roof beams |  |  |  |  | 0 | 0 | 0
| 25 mm dia bars | 15 | kg
| 20 mm dia bars | 65 | kg |  |  | 0 | 0 | 0
| 16 mm dia bars | 135 | kg |  |  | 0 | 0 | 0
| 12 mm dia bars | 105 | kg |  |  | 0 | 0 | 0
| 10 mm dia bars | 670 | kg |  |  | 0 | 0 | 0
| 6 mm dia bars | 365 | kg |  |  | 0 | 0 | 0
2 ) | Lift walls, Columns |  |  |  |  | 0 | 0 | 0
| 16 mm dia bars | 15 | kg |  |  | 0 | 0 | 0
| 12 mm dia bars | 170 | kg |  |  | 0 | 0 | 0
| 6 mm dia bars | 20 | kg |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.4.6 | Roof Level |  |  |  |  | 0 | 0 | 0
1 ) | Attached beams, slab at Lift Machine room level and Roof level |  |  |  |  | 0 | 0 | 0
| 20 mm dia bars | 20 | kg |  |  | 0 | 0 | 0
| 16 mm dia bars | 35 | kg
| 12 mm dia bars | 15 | kg |  |  | 0 | 0 | 0
| 10 mm dia bars | 310 | kg |  |  | 0 | 0 | 0
| 6 mm dia bars | 100 | kg |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.5 | OTHER CONCRETE WORKS |  |  |  |  | 0 | 0 | 0
1 ) | Lintel Beam as per the specifications and drawings | 1 | Item |  |  | 0 | 0 | 0
2 ) | Sill Beam as per the specifications and drawings | 1 | Item |  |  | 0 | 0 | 0
3 ) | RCC parapet walls 1200 mm height, 80 mm thick as shown in drawings | 25 | m |  |  | 0 | 0 | 0
4 ) | Ramp as per the drawings | 1 | Item |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
3.6 | WATER PROOFING |  |  |  |  | 0 | 0 | 0
| Rate shall include for: dressing arround and sealing to all penetrations |  |  |  |  | 0 | 0 | 0
1 ) | Apply bituminous type waterproofing to all surfaces of concrete below ground level in accordance with the specifications and manufacturer's instructions | 1 | item |  |  | 0 | 0 | 0
2 ) | Apply crystalline or equivalent type waterproofing material to the surface of roof slab & terrace in accordance with the specifications and manufacturer's instructions | 1 | item |  |  | 0 | 0 | 0
3 ) | Apply crystalline or equivalent type waterproofing material to the surface of balcony and toilets in accordance with the specifications and manufacturer's instructions | 1 | item |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
TOTAL OF BILL NO. 03 (CONCRETE WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 04
MASONRY AND PLASTERING
4.1 | General
a) Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
4.2 | Cement block work
4.2.1 | 100mm wide solid blocks, laid on and incl. 1:5 Cement Mortor, tie rods, compression gap filler, nylon / plastic mesh as specified.
All External walls
1 ) | Ground Floor | 125 | m² |  |  | 0 | 0 | 0
2 ) | First Floor | 185 | m² |  |  | 0 | 0 | 0
3 ) | Second Floor | 215 | m² |  |  | 0 | 0 | 0
4 ) | Terrace Floor | 55 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
4.2.2 | 100mm wide solid blocks, laid on and incl. 1:5 Cement Mortor, tie rods, compression gap filler, nylon / plastic mesh as specified. |  |  |  |  | 0 | 0 | 0
| All Internal walls |  |  |  |  | 0 | 0 | 0
1 ) | Ground Floor | 448 | m² |  |  | 0 | 0 | 0
2 ) | First Floor | 422 | m² |  |  | 0 | 0 | 0
3 ) | Second Floor | 560 | m² |  |  | 0 | 0 | 0
4 ) | Terrace Floor | 32 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
4.3 | Plastering |  |  |  |  | 0 | 0 | 0
4.3.1 | a) 25mm cement plastering on external walls and concrete surfaces with 1:4 Cement mortor mix as specified incl. wire mesh at joints of concrete surfaces and walls (first,second coats). |  |  |  |  | 0 | 0 | 0
1 ) | Ground Floor | 138 | m² |  |  | 0 | 0 | 0
2 ) | First Floor | 205 | m² |  |  | 0 | 0 | 0
3 ) | Second Floor | 237 | m² |  |  | 0 | 0 | 0
4 ) | Terrace Floor | 60 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
4.3.2 | a) 15mm cement plastering on internal walls and concrete surfaces with 1:4 Cement mortor mix as specified incl. wire mesh at joints of concrete surfaces and walls (one coat). |  |  |  |  | 0 | 0 | 0
1 ) | Ground Floor | 1124 | m² |  |  | 0 | 0 | 0
2 ) | First Floor | 1134 | m² |  |  | 0 | 0 | 0
3 ) | Second Floor | 1469 | m² |  |  | 0 | 0 | 0
4 ) | Terrace Floor | 130 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
4.4 | Cement Screed Finish |  |  |  |  | 0 | 0 | 0
4.4.1 | 35mm thick Cement screeding on the |  |  |  |  | 0 | 0 | 0
| concrete floor with 1:4 cement mortar |  |  |  |  | 0 | 0 | 0
| mix incl. trowel finish; General Areas |  |  |  |  | 0 | 0 | 0
1 ) | Ground Floor | 560 | m² |  |  | 0 | 0 | 0
2 ) | First Floor | 520 | m² |  |  | 0 | 0 | 0
3 ) | Second Floor | 520 | m² |  |  | 0 | 0 | 0
4 ) | Terrace Floor | 70 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
4.4.2 | 75mm thick Cement screeding on the |  |  |  |  | 0 | 0 | 0
| concrete floor with 1:4 cement mortar |  |  |  |  | 0 | 0 | 0
| mix incl. trowel finish; Staircase, Toilet, balconies and Terrace areas |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
1 ) | Roof slab | 180 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
TOTAL OF BILL NO. 04 (MASONRY AND PLASTERING) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 05
METAL WORKS
5.1 | General
a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts incl. those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
b) Rates shall include for fabrication and erection and temporary supports and fixing into position.
5.2 | Staircase Handrailing
50 mm dia (1 no) top member, 38mm dia vertically and 25 mm dia horizontally 3 nos etc, including bolts, washers and fixing to reinforced concrete as shown in the drawing.
1 ) | Ground to First Floor | 7 | m |  |  | 0 | 0 | 0
2 ) | First to Second Floor | 7 | m |  |  | 0 | 0 | 0
3 ) | Second to Roof Floor | 7 | m |  |  | 0 | 0 | 0
TOTAL OF BILL NO. 05 (METAL WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 06
WOOD WORKS & ROOFING
6.1 | General
a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
b) Rate shall include for: timber priming and all painting as specified in the drawing
6.2 | Gypsum partition
1 ) | Gypsum partition wall (type-A) as shown in drawings | 30 | m²
Roof structure & Roof coverings
1 ) | 50 X 150 mm timber rafters | 425 | m
2 ) | 38 X 38 mm timber battens | 950 | m
3 ) | 25 X 250 mm timber Fascia | 45 | m
4 ) | MSP or Equivalent roofing sheets | 375 | m²
5 ) | 75 mm thick Rock wool insulation | 375 | m²
6 ) | End Flashing | 85 | m
7 ) | MSP Gutter as shown | 45 | m
8 ) | Down pipes as shown | 1 | Item
TOTAL OF BILL NO. 06 (WOOD WORKS & ROOFING) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 07
CEILING
7.1 | General
a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
b) Rate shall include for: timber priming and all painting as specified in the drawing
7.2 | Ceiling
Exposed ceiling with 600 X 600mm grid 9 mm gypsum accoustic board metal frame , beading, nails and screws.
[6 empty] | 0 | 0 | 0
1 ) | Ground Floor | 430 | m² |  |  | 0 | 0 | 0
2 ) | First Floor | 430 | m² |  |  | 0 | 0 | 0
3 ) | Second Floor | 430 | m² |  |  | 0 | 0 | 0
7.3 | 4 mm thick Cement board ceiling for eaves | 30 | m²
TOTAL OF BILL NO. 07 (CEILINGS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 08
DOORS AND WINDOWS
8.1 | General
a) Rates shall include for: locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
b) All Aluminium windows shall be white powder coated aluminium.
c) All timber doors shall be solid timber panneled door with varnish finish.
d) All glazing shall be 6mm Tinted.
(Profiles to be chosen by client).
8.2 | Aluminum / Timber Door
1 ) | Door D1 | 1 | nos |  |  | 0 | 0 | 0
2 ) | Door D2 | 1 | nos |  |  | 0 | 0 | 0
3 ) | Door D3 | 2 | nos |  |  | 0 | 0 | 0
4 ) | Door D4 | 2 | nos |  |  | 0 | 0 | 0
5 ) | Door D5 | 3 | nos |  |  | 0 | 0 | 0
6 ) | Door D6 | 27 | nos |  |  | 0 | 0 | 0
7 ) | Door D7 | 10 | nos |  |  | 0 | 0 | 0
8 ) | Door D8 | 3 | nos |  |  | 0 | 0 | 0
9 ) | Door D9 | 2 | nos |  |  | 0 | 0 | 0
10 ) | Door D10 | 6 | nos |  |  | 0 | 0 | 0
11 ) | Door D11 | 6 | nos |  |  | 0 | 0 | 0
12 ) | Door D12 | 17 | nos |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
8.4 | Window Units |  |  |  |  | 0 | 0 | 0
1 ) | Window W1 | 1 | nos |  |  | 0 | 0 | 0
2 ) | Window W2 | 2 | nos |  |  | 0 | 0 | 0
3 ) | Window W3 | 1 | nos |  |  | 0 | 0 | 0
4 ) | Window W4 | 1 | nos |  |  | 0 | 0 | 0
5 ) | Window W5 | 1 | nos |  |  | 0 | 0 | 0
6 ) | Window W6 | 13 | nos |  |  | 0 | 0 | 0
7 ) | Window W7 | 22 | nos |  |  | 0 | 0 | 0
8 ) | Window W8 | 1 | nos |  |  | 0 | 0 | 0
9 ) | Window W9 | 14 | nos |  |  | 0 | 0 | 0
10 ) | Window W10 | 7 | nos |  |  | 0 | 0 | 0
11 ) | Window W11 | 12 | nos |  |  | 0 | 0 | 0
12 ) | Window W12 | 8 | nos |  |  | 0 | 0 | 0
13 ) | Window W13 | 6 | nos |  |  | 0 | 0 | 0
14 ) | Window W14 | 4 | nos |  |  | 0 | 0 | 0
TOTAL OF BILL NO. 08 (DOORS AND WINDOWS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 9
FINISHES
9.1 | General
a) Rates shall include for: fixing, bedding, grouting, pointing, finishing and any other similar works to ensure the required finish.
b) Rates shall include for all other beading works required at the corneres
9.2 | Floor Tiling (general areas)
600 X 600 mm Porcelain tiles with 100 mm skirting
1 ) | Ground Floor | 510 | m² |  |  | 0 | 0 | 0
2 ) | Ground Floor (Anti-bacterial tiles for OT) | 11 | m² |  |  | 0 | 0 | 0
3 ) | First Floor | 540 | m² |  |  | 0 | 0 | 0
4 ) | Second Floor | 490 | m²
5 ) | Third Floor | 50 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
9.3 | Floor tiling (toilets) |  |  |  |  | 0 | 0 | 0
| 300 x 300 Non Slip Ceramic tiles: |  |  |  |  | 0 | 0 | 0
1 ) | Ground Floor | 40 | m² |  |  | 0 | 0 | 0
2 ) | First Floor | 25 | m² |  |  | 0 | 0 | 0
3 ) | Second Floor | 60 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
9.4 | Wall tiling (toilets & Internal walls) |  |  |  |  | 0 | 0 | 0
| 300 x 600 Polished Ceramic Tiles upto Ceiling height |  |  |  |  | 0 | 0 | 0
1 ) | Ground Floor | 325 | m² |  |  | 0 | 0 | 0
2 ) | Ground Floor (Anti-bacterial tiles for OT) | 60 | m² |  |  | 0 | 0 | 0
3 ) | First Floor | 320 | m² |  |  | 0 | 0 | 0
4 ) | Second Floor | 520 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
9.5 | CeramicTiles in Stair steps including Lift wall |  |  |  |  | 0 | 0 | 0
| 600 mm wide Non slip Ceramic Tiles with nosing & 100 mm skirting, inlcuding the lading areas |  |  |  |  | 0 | 0 | 0
1 ) | Ground Floor | 60 | m² |  |  | 0 | 0 | 0
2 ) | First Floor | 60 | m² |  |  | 0 | 0 | 0
3 ) | Second Floor | 60 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
9.6 | Tiling on terrace and balconies |  |  |  |  | 0 | 0 | 0
| 300 x 300 Ceramic Rustic / terra-cotta tiles with 100mm high skirting |  |  |  |  | 0 | 0 | 0
1 ) | Ground Floor | 50 | m² |  |  | 0 | 0 | 0
2 ) | First Floor | 75 | m² |  |  | 0 | 0 | 0
3 ) | Second Floor | 35 | m² |  |  | 0 | 0 | 0
4 ) | Terrace | 180 | m² |  |  | 0 | 0 | 0
TOTAL OF BILL NO. 9 (FINISHES) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 10
PAINTING
10.1 | General
a) Rates shall include for: the provition, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and / or making floors, fittings and similar work, removing and replacing door and window furniture
b) All painting work shall be carried in accordance with the specifications.
Painting system shall be Nippon or Equivalent
10.2 | Walls
Weather proof emulsion paint system with textured finish on plastered and concrete surfaces of external and normal emulsion paint on internal walls.
10.2.1 | External painting 1 coat of wall sealer, 1 coat tex compound & 2 coats of paints
1 ) | Ground Floor | 138 | m² |  |  | 0 | 0 | 0
2 ) | First Floor | 205 | m² |  |  | 0 | 0 | 0
3 ) | Second Floor | 237 | m² |  |  | 0 | 0 | 0
4 ) | Third Floor | 60 | m² |  |  | 0 | 0 | 0
10.2.2 | Emulsion paint putty finish system on plastered and concrete surfaces of internal walls. |  |  |  |  | 0 | 0 | 0
| Internal Painting 1 coat of wall sealer & 2 coats of paints |  |  |  |  | 0 | 0 | 0
1 ) | Ground Floor | 1124 | m² |  |  | 0 | 0 | 0
2 ) | First Floor | 1134 | m² |  |  | 0 | 0 | 0
3 ) | Second Floor | 1469 | m² |  |  | 0 | 0 | 0
4 ) | Third Floor | 130 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
10.3 | Ceilings |  |  |  |  | 0 | 0 | 0
| Emulsion paint putty finish on concrete slab and beams, plywood / cement fibre board of all internal surfaces. |  |  |  |  | 0 | 0 | 0
| 1 coat of primer & 2 coats of paints |  |  |  |  | 0 | 0 | 0
1 ) | Emulsion putty paint finish | 1670 | m² |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
TOTAL OF BILL NO. 10 (PAINTING) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 11
HYDRAULICS & DRAINAGE
11.1 | General
a) Rates shall include for: sockets, running joints, connections, elbows, junctions, reducers, expansion joints; backnuts and similar; incidental fittings, clips, saddles, brackets, straps, hanges, screws, nails and fixing complete, including cutting and
11.2 | Rain water pipework
| Allow for rain water discharge | 1 | item |  |  | 0 | 0 | 0
11.3 | Fresh water supply pipework |  |  |  |  | 0 | 0 | 0
1 ) | Allow for water connection to fixtures from MWSC mains | 1 | item |  |  | 0 | 0 | 0
2 ) | Supply and fixing MWSC fresh water mains (meters) | 1 | nos |  |  | 0 | 0 | 0
11.4 | Sanitary Fixtures & Accessories |  |  |  |  | 0 | 0 | 0
| Sanitary Fixtures complete including brackets flush pipes, overflows and washers etc. |  |  |  |  | 0 | 0 | 0
| 1 ) All toilet fittings shall be "Cotto" or equivalent - chrome plated |  |  |  |  | 0 | 0 | 0
| 2 ) All toilet fixtures shall be "Cotto" or equivalent brand. |  |  |  |  | 0 | 0 | 0
| 3 ) All piping shall be of UPVC |  |  |  |  | 0 | 0 | 0
| 4 ) All kitchen sinks shall be of SS type with chrome plated taps. |  |  |  |  | 0 | 0 | 0
| 5 ) All water pumps shall be of "Davie Jet" brand or equivalent. |  |  |  |  | 0 | 0 | 0
1 ) | Water Closet | 26 | nos |  |  | 0 | 0 | 0
2 ) | Wash basin including Counter top | 23 | nos |  |  | 0 | 0 | 0
3 ) | Wash basin tap | 23 | nos |  |  | 0 | 0 | 0
4 ) | Muslim Shower | 26 | nos |  |  | 0 | 0 | 0
5 ) | Floor waste with gully trap | 75 | nos |  |  | 0 | 0 | 0
6 ) | Head shower | 10 | nos |  |  | 0 | 0 | 0
7 ) | SS Kitchen Sink incl. concrete base and masonry support walls. | 4 | nos |  |  | 0 | 0 | 0
8 ) | Sink Tap | 4 | nos |  |  | 0 | 0 | 0
9 ) | Mirror with accessories | 23 | nos |  |  | 0 | 0 | 0
10 ) | Water Taps / Faucet | 26 | nos |  |  | 0 | 0 | 0
11 ) | Valves | 160 | nos |  |  | 0 | 0 | 0
12 ) | Toilet Accessories for Physically handicapped for specified toilets | 1 | Item
11.5 | Drainage |  |  |  |  | 0 | 0 | 0
| Discharge pipework |  |  |  |  | 0 | 0 | 0
1 ) | Complete Discharge pipe work | 1 | item |  |  | 0 | 0 | 0
2 ) | Connecting to MWSC sewer mains | 1 | item |  |  | 0 | 0 | 0
3 ) | Constructing Inspection Chamber of required size with all provisions to connect pipelines as per drawing. | 3 | nos |  |  | 0 | 0 | 0
TOTAL OF BILL NO. 11 (HYDRAULICS AND DRAINAGE) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 12
ELECTRICAL INSTALLATIONS
12.1 | General
a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
b) Rate shall include for electrical conduits, fittings, equipment and similar all fixings
c) Each light / light fixture and its switches shall measure as one one point: similarly each sockets or each fans shall measured as one point.
d) Rate shall include for supply and complete installation of all floors.
e) Provide junction box for each separate unit of telephone and cable tv system.
12.2 | Main Connection
| Allow for three phase main connection from STELCO board to Panel board from STELCO Transformer / Road DB | 1 | item |  |  | 0 | 0 | 0
12.3 | Electrical boards |  |  |  |  | 0 | 0 | 0
| Complete installation incl. for all connection earthing, painting, testing and similar of; |  |  |  |  | 0 | 0 | 0
1 ) | Main panel board | 1 | Item |  |  | 0 | 0 | 0
2 ) | Floor Main Distribution boards | 3 | nos
3 ) | Sub-Distribution boards | 6 | nos |  |  | 0 | 0 | 0
12.4 | Electrical wiring |  |  |  |  | 0 | 0 | 0
| Electrical wiring with copper conductor cable in conduits in walls and slab as specified to |  |  |  |  | 0 | 0 | 0
1 ) | 2.5mm2 Wiring to light fixtures, fans and its switches | 379 | points |  |  | 0 | 0 | 0
2 ) | Wiring to Socket Switches | 195 | points |  |  | 0 | 0 | 0
3 ) | Cabling to Floor / Distribution boards | 9 | points |  |  | 0 | 0 | 0
4 ) | Cabling to Telephone / Networking sockets | 20 | points |  |  | 0 | 0 | 0
5 ) | Cabling to Television sockets | 20 | points |  |  | 0 | 0 | 0
12.5 | Fans |  |  |  |  | 0 | 0 | 0
1 ) | Ceiling fans "USHA" or equivalent 1200 mm dia | 38 | nos |  |  | 0 | 0 | 0
2 ) | Fan dimmer | 38 | nos |  |  | 0 | 0 | 0
12.6 | Lighting and others |  |  |  |  | 0 | 0 | 0
1 ) | Ceiling mount light | 236 | nos |  |  | 0 | 0 | 0
2 ) | Wall mount light | 9 | nos |  |  | 0 | 0 | 0
3 ) | Weather proof Ceiling mount light | 3 | nos |  |  | 0 | 0 | 0
4 ) | Weather proof wall mount light | 4 | nos |  |  | 0 | 0 | 0
5 ) | Surgical light head | 1 | nos |  |  | 0 | 0 | 0
6 ) | Emergency Light packs | 67 | nos |  |  | 0 | 0 | 0
12.7 | Socket outlets |  |  |  |  | 0 | 0 | 0
| All sockets shall be "Clipsal"or equivalent |  |  |  |  | 0 | 0 | 0
1 ) | 13 Amps Socket Switch single | 137 | nos |  |  | 0 | 0 | 0
2 ) | 15 Amps Socket Switch | 55 | nos |  |  | 0 | 0 | 0
3 ) | 13 Amps Sockets switch single (W) | 15 | nos |  |  | 0 | 0 | 0
4 ) | Telephone / Networking Socket | 21 | nos |  |  | 0 | 0 | 0
5 ) | Television Socket | 21 | nos |  |  | 0 | 0 | 0
12.8 | Light Switches |  |  |  |  | 0 | 0 | 0
| All switches shall be "Clipsal"or equivalent |  |  |  |  | 0 | 0 | 0
1 ) | One Way switches | 120 | nos |  |  | 0 | 0 | 0
TOTAL OF BILL NO. 12 (ELECTRICAL INSTALLATIONS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 13
FIRE ALARM & FIRE FIGHTING, AC, GAS
13.1 | General
a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
b) Rate shall include for electrical conduits, fittings, pumps, contolr boards and other quipment and similar all fixings
c) Rate shall include for all necessary electrical wiring and accessaries required for completion of fire fighting system installation in acconrdance with the drawings, specification and NSS regulations
13.2 | Dry riser system and Alarm System
1 ) | Dry riser pipe work system as per the drawings | 1 | Item |  |  | 0 | 0 | 0
2 ) | Inlet for dry risers | 1 | Nos |  |  | 0 | 0 | 0
3 ) | Outlet for dry risers | 3 | Nos |  |  | 0 | 0 | 0
4 ) | Control panel for fire alram | 1 | Nos |  |  | 0 | 0 | 0
5 ) | Manual call point for fire alram system | 7 | Nos |  |  | 0 | 0 | 0
6 ) | Loop sounder for fire alram system | 7 | Nos |  |  | 0 | 0 | 0
7 ) | Smoke detector for fire alarm system | 43 | Nos |  |  | 0 | 0 | 0
8 ) | Heat detector for fire alarm system | 2 | Nos |  |  | 0 | 0 | 0
9 ) | Exit sign light | 14 | Nos |  |  | 0 | 0 | 0
10 ) | CO2 Extinguisher | 11 | Nos |  |  | 0 | 0 | 0
11 ) | H2O Extinguisher | 11 | Nos |  |  | 0 | 0 | 0
12 ) | Fire Blanket | 2 | Nos |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
13.3 | Gas Piping |  |  |  |  | 0 | 0 | 0
1 ) | Oxygen gas piping as per the drawings | 1 | Item |  |  | 0 | 0 | 0
2 ) | Vaccume piping as per the drawings | 1 | Item |  |  | 0 | 0 | 0
3 ) | Medical air piping as per the drawings | 1 | Item |  |  | 0 | 0 | 0
4 ) | Bed head units (17 units) as per the drawings with all control panels | 1 | Item |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
13.4 | VRV Air Conditioning system |  |  |  |  | 0 | 0 | 0
1 ) | Air Conditioner (35 units) as per the drawings (Rate shall include the air return exhaust grills, The Contractor shall propose the complete system as required) | 1 | Item |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
13.5 | Split Air Conditioning System
1 ) | Split Air conditioners for Lift Machine room | 2 | Nos
TOTAL OF BILL NO. 13 (FIRE ALARM & FIRE FIGHTING, AC, GAS ) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
| BILL NO: 14 |  |  |  |  | 0 | 0 | 0
| LIFTS |  |  |  |  | 0 | 0 | 0
1 ) | Supply and install lift complete: "Mitsubishi, to 1000 KG capacity standard type Hospital Deep lift, serving all levels ( 3 floors) as per manufacturer's instructions. | 1 | no |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
2 ) | Supply and install lift complete: "Mitsubishi, to 13 pax capacity standard type Hospital Deep lift, serving all levels ( 3 floors) as per manufacturer's instructions. | 1 | no |  |  | 0 | 0 | 0
TOTAL OF BILL NO. 14 (LIFT WORKS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 15
ADDITIONS
Bill No: 01
Bill No: 02
Bill No: 03
Bill No: 04
Bill No: 05
Bill No: 06
Bill No: 07
Bill No: 08
Bill No: 09
Bill No: 10
Bill No: 11
Bill No: 12
TOTAL OF BILL NO. 15 (ADDITIONS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 16
OMISSIONS
Bill No: 01
Bill No: 02
Bill No: 03
Bill No: 04
Bill No: 05
Bill No: 06
Bill No: 07
Bill No: 08
Bill No: 09
Bill No: 10
Bill No: 11
Bill No: 12
TOTAL OF BILL NO. 16 (OMISSIONS) | [7 empty] | 0
(CARRIED OVER TO THE GENERAL SUMMARY)

## SUMMARY
PROJECT: GN. ATOLL HOSPITAL EXTENSION
CONSTRUCTION OF 03 STOREY BUILDING
SUMMARY OF BILLS OF QUANTITIES
SL.NO | BILL NAME | AMOUNT (MRF)
1 ) | TOTAL OF BILL NO. 01 (PRELIMINARIES) | 0
2 ) | TOTAL OF BILL NO. 02 (GROUND WORKS) | 0
3 ) | TOTAL OF BILL NO. 03 (CONCRETE WORKS) | 0
4 ) | TOTAL OF BILL NO. 04 (MASONRY AND PLASTERING) | 0
5 ) | TOTAL OF BILL NO. 05 (METAL WORKS) | 0
6 ) | TOTAL OF BILL NO. 06 (WOOD WORKS & ROOFING) | 0
7 ) | TOTAL OF BILL NO. 07 (CEILINGS) | 0
8 ) | TOTAL OF BILL NO. 08 (DOORS AND WINDOWS) | 0
9 ) | TOTAL OF BILL NO. 9 (FINISHES) | 0
10 ) | TOTAL OF BILL NO. 10 (PAINTING) | 0
11 ) | TOTAL OF BILL NO. 11 (HYDRAULICS AND DRAINAGE) | 0
12 ) | TOTAL OF BILL NO. 12 (ELECTRICAL INSTALLATIONS) | 0
13 ) | TOTAL OF BILL NO. 13 (FIRE ALARM & FIRE FIGHTING, AC, GAS ) | 0
14 ) | TOTAL OF BILL NO. 14 (LIFT WORKS) | 0
15 ) | TOTAL OF BILL NO. 15 (ADDITIONS) | 0
16 ) | TOTAL OF BILL NO. 16 (OMISSIONS) | 0
GRAND TOTAL |  | 0

## Cover
BILL OF QUANTITIES
PROJECT: GN.ATOLL HOSPITAL EXTENSION
PROPOSED THREE-STOREY BUILDING
CLIENT:MINISTRY OF HEALTH
APRIL - 2016