## Cover (2)
BILL OF QUANTITIES
FUVAHMULAH CAMPUS MAIN BUILDING
CLIENT : MALDIVES NATIONAL UNIVERSITY

## BOQ Summary
SUMMARY OF BILL OF QUANTITIES |  |  |  | 1.29 | factor for extra & waste | 1.05
Project: MAIN BUILDING | Date:
Version:
Client: | Prepared by:
DESCRIPTION |  | AMOUNT (MVR) | %
Bill №: 01 - PRELIMINARIES
Bill №: 02 - EXCAVATION AND FILLING
Bill №: 03 - INSITU CONCRETE WORKS
Bill №: 04 - MASONRY
Bill №: 05 - CARPENTRY
Bill №: 06 - STRUCTURAL METAL WORKS
Bill №: 07 - CEILING
Bill №: 08 - WINDOWS, SCREENS & LIGHTS
Bill №: 09 - DOORS, SHUTTERS & HATCHES
Bill №: 10 - DECORATIONS
Bill №: 11 - FINISHES
Bill №: 12 - HYDRAULICS AND DRAINAGE
Bill №: 13 - ELECTRICAL INSTALLATIONS
Bill №: 14- INSULATION, FIRE STOPPING & FIRE PROTECTION
Bill №: 15- ADDITIONS AND OMMISIONS
TOTAL AMOUNT
NOTES to BoQ:

## BOQ for tender
0
BILL OF QUANTITIES
ITEM |  |  |  | DESCRIPTION |  | UNIT | QTY | MATERIAL RATE | LABOUR RATE | AMOUNT
1.0.00 |  |  |  | Bill №: 01 - PRELIMINARIES
1.1.00 | GENERAL NOTES
Abbreviations
|  |  | m | - metre
|  |  | nr | - numbers
|  |  | m3 | - cubic metres
|  |  | m2 | - square metres
|  |  | lm | - linear metre
|  |  | t | - tons
|  |  | inc. | - including
|  |  | mm | - millimetre
|  |  | SS | - stainless steel
|  |  | GI | - galvanized iron
1.2.00 | SITE MANAGEMENT COSTS
|  |  |  | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings & similar. |  | item | 1
1.3.00 | SIGN BOARD
|  |  |  | Allow for sign board. |  | nr | 1
1.4.00 | CLEAN-UP
|  |  |  | Allow for clean-up upon completion of works. |  | item | 1
1.5.00 | INSURANCE, BONDS, GUARANTEES AND WARRANTIES
|  |  |  | Insurance as stated in the general conditions. |  | item | 1
1.6.00 | TEMPORARY WORKS
|  |  |  | Allow for all temporary works as specified in the drawings and scope of works |  | item | 1
1.6.00 | TOTAL OF BILL №: 01 - Carried Over To Summary
2.0.00 |  |  |  | Bill №: 02 - EXCAVATION AND FILLING
2.1.00 | GENERAL
|  |  | (a) | Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating, and disposing surplus soil.
2.2.00 | SITE CLEARING
2.2.1 |  |  |  | Clear the area of site from rubbish and vegetable matters, stumps, roots. |  | m2 | 3720
2.3.00 | EXCAVATION
Excavation quantities are measured to the faces of concrete members. Rates shall include for all the additional excavation required to place the formwork. Rates shall include for backfilling.
2.3.1 |  |  |  | Excavation for Foundation pads / beam |  | m3 | 440.59
2.4.00 | FILLING
Rate shall include for: levelling, grading, trimming, compacting and similar
2.4.01 |  |  |  | Compacted earth filling under ground screed. |  | m2 | 802.7
2.4.02 |  |  |  | 100mm thick coarse aggregate layer under foundation |  | m2 | 802.7
2.4.03 |  |  |  | 50mm thick sand blinding below ground slab |  | m2 | 802.7
2.5.00 | DAMP-PROOF MEMBRANE
Rate shall include for: dressing around and sealing to all penetrations.
2.5.01 |  |  |  | Water Proof Membrane - DPM |  | m2 | 427.8
2.5.02 |  |  |  | Bituminous coating - below ground / roof slab |  | m2 | 1100.62
2.6.00 | DE-WATERING
2.6.01 |  |  |  | De-watering the excavation until completion of concrete work as required |  | item | 1
2.7.00 | TOTAL OF BILL №: 02 - Carried Over To Summary
3.0.00 |  |  |  | Bill №: 03 - INSITU CONCRETE WORKS
3.1.00 | GENERAL
|  |  | (a) | Rates shall include for: placing in position, making good after removal of formwork, mortar touch up to all concrete and casting in all required items; additional concrete required to conform to structural and excavated tolerances
|  |  | (b) | Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:6.
|  |  | (c) | All structural concrete shall be GRADE M25 and lean concrete shall be GRADE C15
|  |  | (d) | Rates shall include for: concrete, formwork, reinforcement, cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wires and chair supports, laps, distribution bars and wastage.
|  |  | (e) | Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes and removal of formwork.
|  |  | (f) | Rates shall include for: cleaning, fabrication, placing the provision for all necessary temporary fixings and supports including tie wires and chair supports, laps, distribution bars and wastage.
|  |  | (g) | All reinforcing bars shall be high strength bars.
|  |  | (h) | Slab soffits to be finished fairfaced, use plasteciser and formwork with reducing agent.
|  |  | (i) | Waterproofing shall be added to all areas specified.
|  |  | (j) | All works complete as per drawing and specification
3.1.01 |  |  |  | Allow for Concrete Testing. |  | item | 1
3.2.00 | MASS CONCRETE
Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
3.2.01 |  |  | 50 | mm Lean Concrete (Foundations) |  | m3 | 20.04
3.2.02 |  |  | 75 | mm Lean Concrete (Foundations) |  | m3 | 0.52
REINFORCED INSITU CONCRETE
3.3.00 | SUB-STRUCTURE
FOUNDATION PADS
3.3.01 | 2400 | x | 2400 | x 400mm Foundation pads, F1 |  | m3 | 29.96
3.3.02 | 2200 | x | 2200 | x 350mm Foundation pads, F2 |  | m3 | 13.56
3.3.03 | 2100 | x | 2100 | x 300mm Foundation pads, F3 |  | m3 | 9.27
3.3.04 | 1850 | x | 1850 | x 250mm Foundation pads, F4 |  | m3 | 7.71
3.3.05 | 1700 | x | 1700 | x 250mm Foundation pads, F5 |  | m3 | 2.89
3.3.06 | 1600 | x | 1600 | x 250mm Foundation pads, F6 |  | m3 | 5.12
3.3.07 | 1300 | x | 1300 | x 200mm Foundation pads, F7 |  | m3 | 1.36
3.3.08 | 750 | x | 1978 | x 300mm Foundation pads, F8 |  | m3 | 0.45
3.3.09 | 3700 | x | 3250 | x 400mm Foundation pads, LF1 |  | m3 | 4.81
3.3.10 | 2300 | x | 4300 | x 400mm Foundation pads, SF1 |  | m3 | 11.87
3.3.11 | 450 | x | 450 | x 200mm Foundation pads, F1-B (boundary wall) |  | m3 | 3.61
3.3.12 | 800 | x | 800 | x 200mm Foundation pads, F2-B (boundary wall) |  | m3 | 1.03
FOUNDATION BEAMS
3.3.13 | 350 | x | 250 | mm Foundation beam, TB (security post) |  | m3 | 1.43
3.3.14 | 350 | x | 200 | mm Foundation beam, TB (boundary wall) |  | m3 | 18.66
RC KICKER (STAIRCASE)
3.3.15 | 1480 | x | 250 | mm wide kicker |  | m3 | 0.54
RC WALL
3.3.16 |  |  | 200 | mm thick RC Lift pit Wall |  | m3 | 1.92
3.4.0 | GROUND FLOOR
GROUND BEAMS
3.4.01 | 300 | x | 200 | mm Ground beam, TB |  | m3 | 18.01
SLABS
3.4.02 |  |  | 100 | mm thk Concrete ground Slab |  | m3 | 80.27
3.4.03 |  |  | 150 | mm thk Concrete ramp Slab |  | m3 | 3.24
3.4.04 |  |  | 100 | mm thk Concrete ground Slab (security post) |  | m3 | 1.61
3.4.05 |  |  | 250 | mm thk Concrete base slab/wall (transformer and panel) |  | m3 | 6.91
3.4.06 |  |  | 100 | mm thk Concrete walkway Slab (compound) |  | m3 | 30.92
COLUMNS
3.4.07 | 300 | x | 500 | mm Concrete columns C1 |  | m3 | 27.27
3.4.08 | 300 | x | 600 | mm Concrete columns C2 |  | m3 | 10
3.4.09 | 300 | x | 500 | mm Concrete columns C3 |  | m3 | 9.09
3.4.10 | 200 | x | 200 | mm Concrete columns C1 (security post) |  | m3 | 0.52
3.4.11 | 150 | x | 150 | mm Concrete stiffener columns (boundary wall) |  | m3 | 3.81
3.4.12 | 400 | x | 400 | mm Concrete gate columns (boundary wall) |  | m3 | 2.63
STAIRS
3.4.13 |  |  |  | Staircase |  | m3 | 3.66
RC WALL
3.4.14 |  |  | 200 | mm thick RC Lift Wall |  | m3 | 6.56
3.4.15 |  |  | 75 | mm thick RC duct Wall |  | m3 | 1.74
3.5.0 | FIRST FLOOR
BEAMS
3.5.01 | 400 | x | 250 | mm Beam B1 |  | m3 | 15.17
3.5.02 | 600 | x | 250 | mm Beam B2 |  | m3 | 10.3
3.5.03 | 400 | x | 250 | mm Beam B3 |  | m3 | 2.95
3.5.04 | 600 | x | 200 | mm Beam B4 |  | m3 | 8.06
COLUMNS
3.5.05 | 300 | x | 500 | mm Concrete columns C1 |  | m3 | 15.39
3.5.06 | 300 | x | 600 | mm Concrete columns C2 |  | m3 | 5.65
3.5.07 | 300 | x | 500 | mm Concrete columns C3 |  | m3 | 5.13
SLABS
3.5.08 |  |  | 130 | mm thk Concrete Slab |  | m3 | 86.06
3.5.09 |  |  | 100 | mm thk Concrete Slab |  | m3 | 3.9
STAIRS
3.5.10 |  |  |  | Staircase |  | m3 | 3.47
RC WALL
3.5.11 |  |  | 200 | mm thick RC Lift Wall |  | m3 | 5.33
3.5.12 |  |  | 75 | mm thick RC duct Wall |  | m3 | 1.77
3.6.0 | SECOND FLOOR
BEAMS
3.6.01 | 400 | x | 250 | mm Beam B1 |  | m3 | 14.47
3.6.02 | 600 | x | 250 | mm Beam B2 |  | m3 | 10.3
3.6.03 | 400 | x | 250 | mm Beam B3 |  | m3 | 4.18
3.6.04 | 600 | x | 200 | mm Beam B4 |  | m3 | 8.06
COLUMNS
3.6.05 | 300 | x | 500 | mm Concrete columns C1 |  | m3 | 13.26
3.6.06 | 300 | x | 600 | mm Concrete columns C2 |  | m3 | 4.11
3.6.07 | 300 | x | 500 | mm Concrete columns C3 |  | m3 | 3
SLABS
3.6.08 |  |  | 130 | mm thk Concrete Slab |  | m3 | 101
3.6.09 |  |  | 100 | mm thk Concrete Slab |  | m3 | 3.9
RC WALL
3.6.10 |  |  | 200 | mm thick RC Lift Wall |  | m3 | 5.33
3.6.11 |  |  | 75 | mm thick RC duct Wall |  | m3 | 1.77
3.7.0 | TERRACE FLOOR
BEAMS
3.7.01 | 400 | x | 250 | mm Beam B1 |  | m3 | 12.47
3.7.02 | 600 | x | 250 | mm Beam B2 |  | m3 | 8.31
3.7.03 | 400 | x | 250 | mm Beam B3 |  | m3 | 3.45
3.7.04 | 600 | x | 200 | mm Beam B4 |  | m3 | 4.57
COLUMNS
3.7.05 | 300 | x | 500 | mm Concrete columns C1 |  | m3 | 4.29
3.7.06 | 300 | x | 600 | mm Concrete columns C2 |  | m3 | 1.41
SLABS
3.7.07 |  |  | 130 | mm thk Concrete Slab |  | m3 | 84.19
3.7.08 |  |  | 100 | mm thk Concrete Slab |  | m3 | 1.8
RC WALL
3.7.09 |  |  | 200 | mm thick RC Lift Wall |  | m3 | 4.92
3.7.10 |  |  | 75 | mm thick RC duct Wall |  | m3 | 1
3.8.00 | ROOF LEVEL
BEAMS
3.8.01 | 400 | x | 250 | mm Beam RB1 |  | m3 | 4.95
3.8.02 | 600 | x | 200 | mm Beam RB2 |  | m3 | 0.63
3.8.03 | 400 | x | 250 | mm Beam RB3 |  | m3 | 1.4
3.8.04 | 375 | x | 200 | mm Beam RB (security post) |  | m3 | 0.8
SLABS
3.8.05 |  |  | 130 | mm thk Concrete Slab |  | m3 | 14.41
3.8.06 |  |  | 100 | mm thk Concrete Slab |  | m3 | 3.43
3.8.07 |  |  | 130 | mm thk Concrete Slab (security post) |  | m3 | 2.77
RC WALL
3.8.08 |  |  | 200 | mm thick RC Lift Wall |  | m3 | 2.55
3.9.00 | OTHER WORKS
3.9.01 | 150 | x | 150 | mm Lintel Beam LB | item | item | 1
3.9.02 | 150 | x | 150 | mm Sill Beam SB | item | item | 1
3.9.03 | 100 | x | 100 | mm Capping Beam | item | m3 | 1.13
3.9.04 | 150 | x | 150 | mm Capping Beam (boundary wall) | item | m3 | 6
3.9.05 | 150 | x | 150 | mm Lintel Beam LB1 (security post) | item | item | 1
3.9.06 | 300 | x | 150 | mm Lintel Beam LB2 (security post) | item | item | 1
3.9.07 |  |  | 100 | mm thk RC kicker balcony wall - 1st floor |  | m3 | 0.67
3.9.08 |  |  | 100 | mm thk RC kicker balcony wall - 2nd floor |  | m3 | 0.76
3.9.09 |  |  | 100 | mm thk RC kicker balcony wall - terrace floor |  | m3 | 1.13
3.9.10 |  |  | 100 | mm thk RC kicker roof wall - (security post) |  | m3 | 0.29
3.10.00 |  |  |  | TOTAL OF BILL №: 03 - Carried Over To Summary
4.0.00 |  |  |  | Bill №: 04 - MASONRY
4.1.00 | GENERAL
|  |  | (a) | Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leavingholes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
|  |  | (b) | For masonry and plastering Hilaveli should be used
|  |  | (c) | All works complete as per drawing and specification
4.2.00 | BRICK WORK
|  |  | Full height | 150mm thk masonry solid block wall , bricks laid to form alternate courses of headers and stretchers, laid on and inc. mortar. (EXTERNAL WALLS)
4.2.01 |  |  |  | GROUND FLOOR |  | m2 | 1168.3
4.2.02 |  |  |  | GROUND FLOOR (security post) |  | m2 | 46.08
4.2.03 |  |  |  | FIRST FLOOR |  | m2 | 454.41
4.2.04 |  |  |  | SECOND FLOOR |  | m2 | 386.16
4.2.05 |  |  |  | TERRACE FLOOR |  | m2 | 117.2
|  |  | 1.925m height | 150mm thk masonry solid block wall , bricks laid to form alternate courses of headers and stretchers, laid on and inc. mortar.
4.2.06 |  |  |  | BOUNDARY WALL |  | m2 | 513.01
|  |  | Full height | 150mm thk masonry solid block wall , bricks laid to form alternate courses of headers and stretchers, laid on and inc. mortar (INTERNAL WALLS).
4.2.07 |  |  |  | GROUND FLOOR |  | m2 | 256.34
4.2.08 |  |  |  | GROUND FLOOR (security post) |  | m2 | 6.39
4.2.09 |  |  |  | FIRST FLOOR |  | m2 | 132.24
4.2.10 |  |  |  | SECOND FLOOR |  | m2 | 104.45
4.2.11 |  |  |  | TERRACE FLOOR |  | m2 | 63.05
|  |  | 2.4m height | 100mm thk masonry solid block wall , bricks laid to form alternate courses of headers and stretchers, laid on and inc. mortar (EXTERNAL WALLS).
4.2.12 |  |  |  | GROUND FLOOR |  | m2 | 38.25
|  |  | 2.4m height | 100mm thk masonry solid block wall , bricks laid to form alternate courses of headers and stretchers, laid on and inc. mortar (INTERNAL WALLS).
4.2.13 |  |  |  | GROUND FLOOR |  | m2 | 31.92
4.2.14 |  |  |  | FIRST FLOOR |  | m2 | 13.92
4.2.15 |  |  |  | SECOND FLOOR |  | m2 | 13.92
4.2.16 |  |  |  | TERRACE FLOOR |  | m2 | 13.92
|  |  | 1.05m height | 100mm thk masonry solid block wall , bricks laid to form alternate courses of headers and stretchers, laid on and inc. mortar (EXTERNAL WALLS).
4.2.17 |  |  |  | TERRACE FLOOR |  | m2 | 118.65
4.3.00 | PLASTERING
20mm thk cement plaster on external surface as specified on the drawing. Waterproofed with Sika product or equivalent.
4.3.01 |  |  |  | GROUND FLOOR |  | m2 | 1394.389
4.3.02 |  |  |  | GROUND FLOOR (security post) |  | m2 | 51.69
4.3.03 |  |  |  | FIRST FLOOR |  | m2 | 660.43
4.3.04 |  |  |  | SECOND FLOOR |  | m2 | 546.58
4.3.05 |  |  |  | TERRACE FLOOR |  | m2 | 425.05
16mm thk cement plaster on internal surface as specified on the drawing
4.3.06 |  |  |  | GROUND FLOOR |  | m2 | 1991.62
4.3.07 |  |  |  | GROUND FLOOR (security post) |  | m2 | 58.87
4.3.08 |  |  |  | FIRST FLOOR |  | m2 | 954
4.3.09 |  |  |  | SECOND FLOOR |  | m2 | 676.85
4.3.10 |  |  |  | ROOF LEVEL |  | m2 | 271.14
20mm thk cement plaster on external surface as specified on the drawing. Waterproofed with Sika product or equivalent.
4.3.11 |  |  |  | BOUNDARY WALL |  | m2 | 1066
4.4.00 | CEMENT SCREED
50mm thk cement screed waterproofed with SIKA product or equivalent
4.4.01 |  |  |  | GROUND FLOOR |  | m2 | 335.51
4.4.02 |  |  |  | GROUND FLOOR (security post) |  | m2 | 11.25
4.4.03 |  |  |  | FIRST FLOOR |  | m2 | 460.25
4.4.04 |  |  |  | SECOND FLOOR |  | m2 | 384.25
4.4.05 |  |  |  | TERRACE FLOOR |  | m2 | 43
25mm thk cement screed waterproofed with SIKA product or equivalent
4.4.06 |  |  |  | GROUND FLOOR |  | m2 | 25
4.4.07 |  |  |  | GROUND FLOOR (security post) |  | m2 | 2.03
4.4.08 |  |  |  | FIRST FLOOR |  | m2 | 23
4.4.09 |  |  |  | SECOND FLOOR |  | m2 | 23
4.4.10 |  |  |  | TERRACE FLOOR |  | m2 | 23
35mm thk cement screed with 2.5mm self leveling cement layer, waterproofed with SIKA product or equivalent
4.4.11 |  |  |  | GROUND FLOOR |  | m2 | 443
4.4.12 |  |  |  | FIRST FLOOR |  | m2 | 181
4.4.13 |  |  |  | SECOND FLOOR |  | m2 | 172
4.4.14 |  |  |  | TERRACE FLOOR |  | m2 | 57
Self leveling cement floor screed with bitumin waterproofing or equivalent
4.4.15 |  |  |  | SECOND FLOOR |  | m2 | 200
4.4.16 |  |  |  | TERRACE FLOOR |  | m2 | 505
4.4.17 |  |  |  | ROOF SLAB |  | m2 | 150
4.5.00 |  |  |  | TOTAL OF BILL №: 04 - Carried Over To Summary
5.0.00 |  |  |  | Bill №: 05 - CARPENTRY
5.1.00 | GENERAL
|  |  | (a) | Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
|  |  | (b) | All works complete as per drawing and specification
5.2.00 | FIXED FURNITURE
Fixed counter/furniture as per drawing
5.2.01 |  |  |  | Reception counter set - Ground floor |  | no | 1
5.2.02 |  |  |  | Trophy shelf - Ground floor |  | no | 1
5.3.00 |  |  |  | TOTAL OF BILL №: 05 - Carried Over To Summary
6.0.00 |  |  |  | Bill №: 06 - STRUCTURAL METAL WORKS
6.1.00 | GENERAL
|  |  | (a) | Rates shall include for: all fabrication work, welding, marking, drilling for bolts incl. those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
|  |  | (b) | Rates shall include for fabrication and erection and temporary supports and fixing into position.
|  |  | (c) | All works complete as per drawing and specification
6.2.00 |  |  |  | Staircase Handrailing
GI pipe railing handle, including bolts, washers and fixing to reinforced concrete as shown in the drawing.
6.2.01 |  |  |  | Ground to First Floor |  | m | 8.6
6.2.02 |  |  |  | First - Second Floor |  | m | 7.9
6.2.03 |  |  |  | Second - Terrace Floor |  | m | 8.4
6.3.00 |  |  |  | Glass Handrailing
Tempered glass / SS hollow railing, including bolts, washers and fixing to reinforced concrete as shown in the drawing.
6.3.01 |  |  |  | FIRST FLOOR |  | m | 66.2
6.3.02 |  |  |  | SECOND FLOOR |  | m | 75.6
6.4.00 |  |  |  | Shading thrills
1000mm wide Aluminium shading thrills, including fixing to reinforced concrete as shown in the drawing.
6.4.01 |  |  |  | FIRST FLOOR |  | m | 24.9
6.4.02 |  |  |  | SECOND FLOOR |  | m | 24.9
6.5.00 |  |  |  | Steel fencing
6.5.01 |  |  |  | 1500mm high steel fencing around transformer and panel system |  | m | 18.6
6.6.00 |  |  |  | TOTAL OF BILL №: 06 - Carried Over To Summary
7.0.00 |  |  |  | Bill №: 07 - CEILING
7.1.00 | GENERAL
|  |  | (a) | Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
|  |  | (b) | All works complete as per drawing and specification
7.2.00 |  |  |  | CEILING
9mm thick fixed ceiling 'BORAL' or equivalent plasterboard ceiling system with timber frame as per drawing
7.2.01 |  |  |  | Ground floor |  | m2 | 272
7.2.02 |  |  |  | First floor |  | m2 | 398
7.2.03 |  |  |  | Second floor |  | m2 | 328
6mm thick cement board ceiling system with timber frame as per drawing
7.2.04 |  |  |  | Ground floor |  | m2 | 175
7.2.05 |  |  |  | First floor |  | m2 | 247
7.2.06 |  |  |  | Second floor |  | m2 | 238
7.3.00 |  |  |  | TOTAL OF BILL №: 07 - Carried Over To Summary
8.0.00 |  |  |  | Bill №: 08 - WINDOWS, SCREENS & LIGHTS
8.1.00 | GENERAL
|  |  | (a) | Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
|  |  | (b) | Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings.
|  |  | (c) | Sizes are given overall outside dimensions of actual doors and windows.
|  |  | (d) | Thickness and sizes of glass panels are shown on the Drawings and doors and windows schedule
|  |  | (e) | Rates shall include for all painting as specified
|  |  | (f) | Rates shall include all items specified in the door schedule and specification.
|  |  | (g) | Frames and sashes to be 25-60 micron white powder coated aluminium other wise specified.
|  |  | (h) | All works complete as per drawing and specification
8.2.00 | WINDOWS
8.2.01 | 3825 | x | 3400 | CW1 - Aluminium frame window |  | nr | 2
8.2.02 | 3138 | x | 3600 | CW2 - Aluminium frame window |  | nr | 1
8.2.03 | 3187 | x | 3600 | CW3 - Aluminium frame window |  | nr | 3
8.2.04 | 3775 | x | 3600 | CW4 - Aluminium frame window |  | nr | 1
8.2.05 | 3775 | x | 3600 | CW5 - Aluminium frame window |  | nr | 1
8.2.06 | 3825 | x | 2650 | CW6 - Aluminium frame window |  | nr | 4
8.2.07 | 3138 | x | 2850 | CW7 - Aluminium frame window |  | nr | 2
8.2.08 | 3187 | x | 2850 | CW8 - Aluminium frame window |  | nr | 6
8.2.09 | 2600 | x | 1350 | SW1 - Aluminium frame window |  | nr | 31
8.2.10 | 1300 | x | 1350 | SW2 - Aluminium frame window |  | nr | 45
8.2.11 | 1300 | x | 1300 | SW3 - Aluminium frame window |  | nr | 5
8.2.12 | 600 | x | 600 | V1 - Aluminium frame window |  | nr | 36
8.2.13 | 1200 | x | 1250 | W1 - Aluminium frame window |  | nr | 12
8.2.14 | 2825 | x | 1300 | SW1 - Aluminium frame window (security post) |  | nr | 1
8.2.15 | 650 | x | 785 | V1 - Aluminium frame window (security post) |  | nr | 1
8.3.00 |  |  |  | TOTAL OF BILL №: 08 - Carried Over To Summary
9.0.00 |  |  |  | Bill №: 09 - DOORS, SHUTTERS & HATCHES
9.1.00 | GENERAL
|  |  | (a) | Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
|  |  | (b) | Rates shall include for door frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings.
|  |  | (c) | Sizes are given overall outside dimensions of actual doors and windows.
|  |  | (d) | Thickness and sizes of glass panels are shown on the Drawings and doors and windows schedule.
|  |  | (e) | Rates shall include for all painting as specified
|  |  | (f) | Rates shall include all items specified in the door schedule and specification.
|  |  | (g) | Frames and sashes to be 25-60 micron black powder coated aluminium other wise specified.
|  |  | (g) | All solid timber doors are teak timber or equivalent.
9.2.00 | DOORS
9.2.01 | 1000 | x | 2100 | D1 - Aluminium frame door |  | nr | 15
9.2.02 | 900 | x | 2100 | D2 - Aluminium frame door |  | nr | 8
9.2.03 | 700 | x | 2000 | D3 - PVC door |  | nr | 14
9.2.04 | 1150 | x | 2100 | D4 - Aluminium frame door |  | nr | 4
9.2.05 | 920 | x | 2100 | D5 - Aluminium frame door |  | nr | 12
9.2.06 | 750 | x | 2100 | D6 - Aluminium frame door |  | nr | 5
9.2.07 | 1430 | x | 2100 | D7 - Aluminium frame door |  | nr | 3
9.2.08 | 1510 | x | 2110 | D8 - Aluminium frame door |  | nr | 1
9.2.09 | 1000 | x | 2100 | D1A - Aluminium frame door |  | nr | 2
9.2.10 | 1000 | x | 2300 | D1 - Aluminium frame door (security post) |  | nr | 1
9.2.11 | 700 | x | 2000 | D2 - PVC door (security post) |  | nr | 1
9.2.12 | 2000 | x | 1250 | Fence gate |  | nr | 1
9.2.13 | 4100 | x | 2250 | boundary gate 1 |  | nr | 1
9.2.14 | 2000 | x | 1750 | boundary gate 2 |  | nr | 3
9.3.00 |  |  |  | TOTAL OF BILL №: 09 - Carried Over To Summary
10.0.00 |  |  |  | Bill №: 10 - DECORATIONS
10.1.00 | GENERAL
|  |  | (a) | Rates shall include for: the provision, erection and removal of scaffolding, preparation, wall putty application, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door & window furniture.
|  |  | (b) | All painting work shall be carried in accordance with the Specifications.
10.2.00 |  |  |  | FLOOR PAINTING
Epoxy floor paint finish as specified in the drawing
10.2.01 |  |  |  | GROUND FLOOR |  | m2 | 443
10.2.02 |  |  |  | FIRST FLOOR |  | m2 | 181
10.2.03 |  |  |  | SECOND FLOOR |  | m2 | 172
10.2.04 |  |  |  | TERRACE FLOOR |  | m2 | 57
10.2.00 |  |  |  | WALL PAINTING
EXTERNAL SURFACES: Exterior grade paint finish as specified
10.2.01 |  |  |  | GROUND FLOOR |  | m2 | 1394.39
10.2.01 |  |  |  | GROUND FLOOR (security post) |  | m2 | 51.69
10.2.02 |  |  |  | FIRST FLOOR |  | m2 | 660.43
10.2.03 |  |  |  | SECOND FLOOR |  | m2 | 546.58
10.2.04 |  |  |  | ROOF LEVEL |  | m2 | 425.05
EXTERNAL SURFACES: Exterior grade paint finish as specified
10.2.05 |  |  |  | BOUNDARY WALL |  | m2 | 1066
INTERNAL SURFACES: Interior grade paint finish as specified
10.2.06 |  |  |  | GROUND FLOOR |  | m2 | 1991.62
10.2.07 |  |  |  | GROUND FLOOR (security post) |  | m2 | 58.87
10.2.08 |  |  |  | FIRST FLOOR |  | m2 | 954
10.2.09 |  |  |  | SECOND FLOOR |  | m2 | 676.85
10.2.10 |  |  |  | ROOF LEVEL |  | m2 | 271.14
10.3.00 |  |  |  | CEILING PAINTING
Anti microbial paint applied with ground smooth finish as specified in specification and finishing schedule
10.3.01 |  |  |  | GROUND FLOOR |  | m2 | 272
10.3.02 |  |  |  | FIRST FLOOR |  | m2 | 398
10.3.03 |  |  |  | SECOND FLOOR |  | m2 | 328
Emulsion paint finish ground smoothing with putty as specified in specification and finishing schedule
10.3.04 |  |  |  | GROUND FLOOR |  | m2 | 190
10.3.05 |  |  |  | GROUND FLOOR (security post) |  | m2 | 21.3
10.3.06 |  |  |  | FIRST FLOOR |  | m2 | 261
10.3.07 |  |  |  | SECOND FLOOR |  | m2 | 250.7
10.4.00 |  |  |  | TOTAL OF BILL №: 10 - Carried Over To Summary
11.0.00 |  |  |  | Bill №: 11 - FINISHES
11.1.00 | GENERAL
|  |  | (a) | Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing.
11.2.00 |  |  |  | FLOOR TILING
600 x 600 homogeneous non slip floor tile on 25mm thick floor screed
11.2.01 |  |  |  | Ground Floor |  | m2 | 25
11.2.02 |  |  |  | Ground Floor (security post) |  | m2 | 2.03
11.2.03 |  |  |  | First Floor |  | m2 | 23
11.2.04 |  |  |  | Second Floor |  | m2 | 23
11.2.05 |  |  |  | Terrace Floor |  | m2 | 23
600 x 600 homogeneous non slip floor tile on 50mm thick floor screed
11.2.06 |  |  |  | Ground Floor |  | m2 | 315
11.2.07 |  |  |  | Ground Floor (security post) |  | m2 | 11.25
11.2.08 |  |  |  | First Floor |  | m2 | 441
11.2.09 |  |  |  | Second Floor |  | m2 | 365
11.2.10 |  |  |  | Terrace Floor |  | m2 | 43
600 x 600 Matte homogeneous Tiles - Staircase
11.2.11 |  |  |  | Ground Floor |  | m2 | 20.51
11.2.12 |  |  |  | First Floor |  | m2 | 19.25
11.2.13 |  |  |  | Second Floor |  | m2 | 19.25
11.3.00 |  |  |  | WALL TILING
300 x 600 Homogeneous wall Tiles upto 2.4m height - toilet area
11.3.01 |  |  |  | Ground Floor |  | m2 | 134.4
11.3.02 |  |  |  | Ground Floor (security post) |  | m2 | 12
11.3.03 |  |  |  | First Floor |  | m2 | 120.96
11.3.04 |  |  |  | Second Floor |  | m2 | 120.96
11.3.05 |  |  |  | Terrace Floor |  | m2 | 120.96
11.4.00 |  |  |  | TOTAL OF BILL №: 11 - Carried Over To Summary
12.0.00 |  |  |  | Bill №: 12 - HYDRAULICS AND DRAINAGE
12.1.00 | HYDRAULICS Main building, security post
12.2.00 | GENERAL
|  |  | (a) | Rates shall include for: sockets, running joints, connectors, elbows, junctions, valves, reducers, expansion joints; backnuts and similar; incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails and fixing complete including cutting and forming holes; excavating, laying pipes and backfilling trenches.
|  |  | (b) | Rate shall also includes the provision for pipe marking, and tagging as indicated in the specifications.
|  |  | (c) | Rate shall also includes the provisional sum for testing such as but not limited to hydrostatic pressure test for pressure line, and gravity leak test for all gravity lines which was stipulated in the specifications., chlorination/disinfection of network and tanks, and testing and commissioning.
|  |  | (d) | Rate includes the complete delivery of the system and is of working condition.
|  |  | (e) | All pipe work and fittings shall be uPVC.
|  |  | (f) | All works complete as per drawing and specification
12.3.00 |  |  |  | FRESH WATER SUPPLY NETWORK
12.3.01 |  |  |  | GROUND FLOOR |  | item | 1
12.3.02 |  |  |  | FIRST FLOOR |  | item | 1
12.3.03 |  |  |  | SECOND FLOOR |  | item | 1
12.3.04 |  |  |  | TERRACE FLOOR |  | item | 1
12.5.00 |  |  |  | RAIN PIPEWORK
12.5.01 |  |  |  | GROUND FLOOR |  | item | 1
12.5.02 |  |  |  | FIRST FLOOR |  | item | 1
12.5.03 |  |  |  | SECOND FLOOR |  | item | 1
12.5.04 |  |  |  | TERRACE FLOOR |  | item | 1
12.6.00 |  |  |  | SANITARY FITTINGS
Sanitary fittings including installations as per drawings
12.6.01 |  |  |  | WC |  | nr | 25
12.6.02 |  |  |  | Muslim Shower |  | nr | 25
12.6.03 |  |  |  | Wash basin with counter top |  | nr | 17
12.6.04 |  |  |  | Wash basin |  | nr | 1
12.6.05 |  |  |  | Wash basin tap |  | nr | 18
12.6.06 |  |  |  | Toilet paper holder |  | nr | 26
12.6.07 |  |  |  | Soap holder |  | nr | 26
12.6.08 |  |  |  | Mirror set |  | nr | 10
12.6.09 |  |  |  | Tap |  | nr | 5
12.6.10 |  |  |  | Railing set |  | nr | 26
12.6.11 |  |  |  | Floor drain gully trap |  | nr | 34
12.6.12 |  |  |  | Clean out |  | nr | 11
DISABLED TOILET
12.6.13 |  |  |  | Wash basin | nr | nr | 1
12.6.14 |  |  |  | Wash basin tap | nr | nr | 1
12.6.15 |  |  |  | Muslim shower with stop valve | nr | nr | 1
12.6.16 |  |  |  | Soap holder | nr | nr | 1
12.6.17 |  |  |  | Face Mirror | nr | nr | 1
12.6.18 |  |  |  | Water Closet | nr | nr | 1
12.6.19 |  |  |  | Floor drain gully trap |  | nr | 2
12.6.20 |  |  |  | Clean out |  | nr | 1
12.6.21 |  |  |  | SS Railings as per detailed drawing | nr | nr | 1
DRAINAGE - Main building, security post
12.7.00 |  |  |  | GENERAL
|  |  | (a) | Rates shall include for: excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus spoil; bends, junctions, reducers, expansion joints and all joints and other incidental materials.
|  |  | (b) | All pipeworks shall be uPVC.
|  |  | (c) | All works complete as per drawing and specification
12.8.00 |  |  |  | DRAINAGE PIPEWORKS
12.8.01 |  |  |  | GROUND FLOOR |  | item | 1
12.8.02 |  |  |  | FIRST FLOOR |  | item | 1
12.8.03 |  |  |  | SECOND FLOOR |  | item | 1
12.8.04 |  |  |  | TERRACE FLOOR |  | item | 1
12.9.00 |  |  |  | WATER METERS
12.9.01 |  |  |  | MWSC Water Meters |  | no | 6
12.10.00 |  |  |  | OTHERS
12.10.01 |  |  |  | Soak away pit 300x300 |  | no | 14
12.10.02 |  |  |  | Supper drain |  | no | 7
12.10.03 |  |  |  | Inspection chamber |  | no | 3
12.10.04 |  |  |  | Compact booster unit set |  | set | 2
12.11.00 |  |  |  | VALVES FOR PIPE LINES
12.11.01 |  |  |  | Gate vale |  | item | 1
12.12.00 |  |  |  | TOTAL OF BILL №: 12 - Carried Over To Summary
13.0.00 |  |  |  | Bill №: 13 - ELECTRICAL INSTALLATIONS
13.1.00 | GENERAL
|  |  | (a) | Design, provide and install electrical network for the entire building complete in accordance to standards set by the local governing body STELCO / FENAKA.
|  |  | (b) | The following items and description and the drawings HULS -01 to HULS-05 are given as a guidance as to the nature of the information required to be returned by the contractor. Should they not be appropriate the contractor should provide a similar BOQ using the Additions/Ommisions sheets provided at the back of this BOQ.
|  |  | (c) | The cost shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
|  |  | (d) | The cost shall also include for trenching including: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil.
|  |  | (e) | Rates for electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces.
|  |  | (f) | A light fixture is measured as one point; switch end of wire is not included in the quantity.
|  |  | (g) | A point wiring for power points is measured (regardless of 1 gang, 2 gang etc) as one point for each socket outlet; other end of wire is not included in the quantity.
|  |  | (h) | Contractor shall provide all cabling, wiring, conduits, etc. within the site boundaries. Cabling, wiring, conduits etc. outside the site boundaries are not included under this Contract.
|  |  | (i) | All works complete as per drawing and specification
13.2.00 | MAINS CONNECTION & BOARD
13.2.01 |  |  |  | Allow for connection to electrical mains |  | item | 1
13.3.00 | ELECTRICAL BOARDS
Complete installation, including for all cabling, wiring, connections, earthing, painting, testing and similar of:
13.3.01 |  |  |  | Light, Power & AC Distribution Board |  | nr | 9
13.4.00 | ELECTRICAL WIRING
Electrical wiring with copper conductor cable in conduits in walls and in casing on soffits of slab as specified to:
13.4.01 |  |  |  | Wiring To Lights, Fittings socket |  | pt | 2278
13.5.00 | LIGHTING
13.5.01 |  |  |  | Decorative entrance gate light IP65 (20W) |  | nr | 2
13.5.02 |  |  |  | Decorative boundary wall light IP65 (12W) |  | nr | 30
13.5.03 |  |  |  | LED flood light (20W) |  | nr | 5
13.5.04 |  |  |  | Under water light 3W |  | nr | 13
13.5.05 |  |  |  | Outdoor up light 12W- weatherproof |  | nr | 95
13.5.06 |  |  |  | LED twin light fixture(25W) IP 65 |  | nr | 48
13.5.07 |  |  |  | 3M outdoor type pole sleek (30W) |  | nr | 48
13.5.08 |  |  |  | LED outdoor recessed mount light IP65 (20W) |  | nr | 61
13.5.09 |  |  |  | LED recessed light (18W) |  | nr | 89
13.5.10 |  |  |  | LED square type light fixture (40W) |  | nr | 246
13.5.11 |  |  |  | Outdoor / staircase wall light IP65 (18W) |  | nr | 7
13.5.12 |  |  |  | LED recessed light (13W) |  | nr | 54
13.5.13 |  |  |  | Heavy duty ceiling mount industrial type (12W) |  | nr | 10
13.5.14 |  |  |  | LED recessed light type 2 (15W) |  | nr | 3
13.5.15 |  |  |  | LED ceiling light weather proof |  | nr | 1
13.5.16 |  |  |  | Emergency twin light - 2hrs battery backup |  | nr | 107
13.5.17 |  |  |  | Emergency light |  | nr | 1
13.6.00 | SWITCHES
13.6.01 |  |  |  | Light switch 1gang |  | nr | 6
13.6.02 |  |  |  | Light switch 2gang |  | nr | 13
13.6.03 |  |  |  | Light switch 2gang 2way |  | nr | 1
13.6.04 |  |  |  | Light switch 3gang |  | nr | 39
13.6.05 |  |  |  | Light switch 3gang 2way |  | nr | 25
13.6.06 |  |  |  | Light switch 4gang |  | nr | 53
13.6.07 |  |  |  | Light switch 4gang 2way |  | nr | 42
13.6.08 |  |  |  | Light switch 5gang |  | nr | 4
13.6.09 |  |  |  | Fan switch |  | nr | 97
13.7.00 | SOCKETS
13.7.01 |  |  |  | 13A power outlet |  | nr | 121
13.7.02 |  |  |  | 13A power outlet with enclouser |  | nr | 60
13.7.03 |  |  |  | 13A power outlet for UPS |  | nr | 9
13.7.04 |  |  |  | 13A Twin socket outlet for Ups |  | nr | 66
13.7.05 |  |  |  | 13A Twin socket outlet |  | nr | 197
13.7.06 |  |  |  | 13A Twin socket outlet with enclouser |  | nr | 1
13.7.07 |  |  |  | 16A switched power point with enclouser |  | nr | 9
13.7.08 |  |  |  | 20A power outlet |  | nr | 51
13.7.09 |  |  |  | Flex. power outlet w/ cover plate (exhaust fan) |  | nr | 31
13.7.10 |  |  |  | 13A power outlet with USB |  | nr | 73
13.7.11 |  |  |  | Three phase industrial socket IP -65 |  | nr | 10
13.7.12 |  |  |  | Single phase industrial socket IP -66 |  | nr | 18
13.7.13 |  |  |  | 2gang MCCB/MCB with enclouser box
13.7.14 |  |  |  | 4gang MCCB/MCB with enclouser box
13.8.00 | FAN
13.8.01 |  |  |  | Ceiling Fan 52" - 54" |  | nr | 93
13.8.02 |  |  |  | Ceiling Fan 29" - 36" |  | nr | 4
13.9.00 | IT/ SECURTIY SYSTEM
CCTV security system to manufacturers detail & Door access system (Door Operating/ access system with CCTV Camera
13.9.01 |  |  |  | Two gang TV socket outlet |  | nr | 14
13.9.02 |  |  |  | VGA cable port for projector |  | nr | 14
13.9.03 |  |  |  | Data outlet - wi-fi point |  | nr | 4
13.9.04 |  |  |  | Data outlet - telephone |  | nr | 63
13.9.05 |  |  |  | Data outlet |  | nr | 236
13.9.06 |  |  |  | Exit switch |  | nr | 10
13.9.07 |  |  |  | Electromagnetic lock |  | nr | 10
13.9.08 |  |  |  | Ceiling mount dome camera |  | nr | 38
13.9.09 |  |  |  | Wall mounted bullet IP camera |  | nr | 13
13.9.10 |  |  |  | Door operating system |  | nr | 10
13.9.11 |  |  |  | Emergency door release |  | nr | 4
13.9.12 |  |  |  | Ceiling speaker |  | nr | 14
13.9.13 |  |  |  | PA system |  | nr | 1
13.9.14 |  |  |  | Electronic access control panel |  | nr | 1
13.9.15 |  |  |  | IP close circuit television pull box |  | nr | 1
13.9.16 |  |  |  | Network video recorder |  | nr | 1
13.9.17 |  |  |  | Cabling wires and conduits as per drawing |  | item | 1
13.10.00 | AIR CONDITION AND VENTILATION
a. All the ACV equipment should be Anti corrosive
b. The minimum Energy efficient value for AC [EER] Should be 3.5 [KW/KW]
Rates shall include for complete installation of units
13.11.01 |  |  |  | Outdoor unit side discharge 3.6KW |  | nr | 1
13.11.02 |  |  |  | Outdoor unit side discharge 2.8KW |  | nr | 2
13.11.03 |  |  |  | Outdoor unit top discharge 34KW |  | nr | 1
13.11.04 |  |  |  | Outdoor unit top discharge 76KW |  | nr | 1
13.11.05 |  |  |  | Outdoor unit top discharge 52KW |  | nr | 1
13.11.06 |  |  |  | Outdoor unit top discharge 48KW |  | nr | 2
13.11.07 |  |  |  | Outdoor unit top discharge 40KW |  | nr | 1
13.11.08 |  |  |  | Wall mounted AC unit 3.6KW |  | nr | 1
13.11.09 |  |  |  | Wall mounted AC unit 2.8KW |  | nr | 4
13.11.10 |  |  |  | 4 way cassette AC unit 4.5KW |  | nr | 2
13.11.11 |  |  |  | 4 way cassette AC unit 5.2KW |  | nr | 2
13.11.12 |  |  |  | 4 way cassette AC unit 3.6KW |  | nr | 1
13.11.13 |  |  |  | 4 way cassette AC unit 5.0KW |  | nr | 2
13.11.14 |  |  |  | 4 way cassette AC unit 5.3KW |  | nr | 4
13.11.15 |  |  |  | 4 way cassette AC unit 6.2KW |  | nr | 2
13.11.16 |  |  |  | 4 way cassette AC unit 7.0KW |  | nr | 1
13.11.17 |  |  |  | 4 way cassette AC unit 6.5KW |  | nr | 8
13.11.18 |  |  |  | Indoor unit ducted type - 8KW |  | nr | 12
13.11.19 |  |  |  | Indoor unit ducted type - 9.5KW |  | nr | 8
13.11.20 |  |  |  | Exhaust air grill with damper |  | nr | 26
13.11.21 |  |  |  | Wall mounted fan - 90CFM |  | nr | 4
13.11.22 |  |  |  | Wall mounted fan - 125CFM |  | nr | 2
13.11.23 |  |  |  | Wall mounted fan - 160CFM |  | nr | 7
13.11.24 |  |  |  | Wall mounted fan - 180CFM |  | nr | 3
13.11.25 |  |  |  | Wall mounted fan - 250CFM |  | nr | 3
13.11.26 |  |  |  | Wall mounted fan - 270CFM |  | nr | 1
13.11.27 |  |  |  | Fresh air / exhaust air fan - 50CFM |  | nr | 1
13.11.28 |  |  |  | Fresh air / exhaust air fan - 215CFM |  | nr | 4
13.11.29 |  |  |  | Fresh air / exhaust air fan - 100CFM |  | nr | 1
13.11.30 |  |  |  | Fresh air / exhaust air fan - 250CFM |  | nr | 4
13.11.31 |  |  |  | Fresh air / exhaust air fan - 450CFM |  | nr | 4
13.11.32 |  |  |  | Louver |  | nr | 35
13.11.34 |  |  |  | Refrigent pipes with insulation |  | item | 1
13.11.35 |  |  |  | AC drain pipes with insulation |  | item | 1
13.11.36 |  |  |  | Exhaust air duct |  | item | 1
13.12.00 | LIGHTENING PROTECTION SYSTEM
13.12.01 |  |  |  | Lightning protection system complete as specified in the drawing | item | item | 1
13.13.00 |  |  |  | TOTAL OF BILL №: 13 - Carried Over To Summary
14.00.00 |  |  |  | Bill №: 14- INSULATION, FIRE STOPPING & FIRE PROTECTION
14.1.00 | GENERAL
|  |  | (a) | Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
|  |  | (b) | Rates for cable conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
|  |  | (c) | Rates shall include for all necessary electrical wiring and accessories required for completion as per drawing and specification
|  |  | (d) | All items shall be supply and complete installation
|  |  | (e) | All works complete as per drawing and specification
14.2.00 | FIRE FIGHTING SYSTEM
14.2.01 |  |  |  | 2Kg Carbondioxide fire Extinguishers |  | nr | 11
14.2.02 |  |  |  | 9Liters H2O fire Extinguishers |  | nr | 11
14.2.03 |  |  |  | 6Kg dry chemical powder Extinguishers |  | nr | 4
14.2.04 |  |  |  | Smoke detectors |  | nr | 42
14.2.05 |  |  |  | Heat detectors |  | nr | 1
14.2.06 |  |  |  | Manual call point |  | nr | 10
14.2.07 |  |  |  | Fire alarm control panel |  | nr | 7
14.2.08 |  |  |  | Fire hose reel w/25mm dia hose and 30m with in cabinet |  | nr | 8
14.2.09 |  |  |  | Fire alarm sounder with strobe light 95DB |  | nr | 5
14.2.10 |  |  |  | Exit light |  | nr | 2
14.2.11 |  |  |  | Illuminated type directional exit signs w backup batteries |  | nr | 11
14.2.12 |  |  |  | Fire resistance cable |  | item | 1
14.2.13 |  |  |  | Standby pump |  | nr | 1
14.2.14 |  |  |  | Duty pump |  | nr | 1
14.2.15 |  |  |  | Water meter |  | nr | 1
14.2.16 |  |  |  | Fire tank underground 9100 liters |  | nr | 1
14.3.00 |  |  |  | TOTAL OF BILL №: 14 - Carried Over To Summary
15.0.00 |  |  |  | Bill №: 15 - ADDITIONS AND OMMISIONS
15.1.00 | ADDITIONS
15.1.01 |  |  |  | Bill №: 01 - PRELIMINARIES
15.1.02 |  |  |  | Bill №: 02 - EXCAVATION AND FILLING
15.1.03 |  |  |  | Bill №: 03 - INSITU CONCRETE WORKS
15.1.04 |  |  |  | Bill №: 04 - MASONRY
15.1.05 |  |  |  | Bill №: 05 - CARPENTRY
15.1.06 |  |  |  | Bill №: 06 - STRUCTURAL METAL WORKS
15.1.07 |  |  |  | Bill №: 07 - CEILING
15.1.08 |  |  |  | Bill №: 08 - WINDOWS, SCREENS & LIGHTS
15.1.09 |  |  |  | Bill №: 09 - DOORS, SHUTTERS & HATCHES
15.1.10 |  |  |  | Bill №: 10 - DECORATIONS
15.1.11 |  |  |  | Bill №: 11 - FINISHES
15.1.12 |  |  |  | Bill №: 12 - HYDRAULICS AND DRAINAGE
15.1.13 |  |  |  | Bill №: 13 - ELECTRICAL INSTALLATIONS
15.1.14 |  |  |  | Bill №: 14- INSULATION, FIRE STOPPING & FIRE PROTECTION
TOTAL
15.2.00 | OMISSIONS
15.2.01 |  |  |  | Bill №: 01 - PRELIMINARIES
15.2.02 |  |  |  | Bill №: 02 - EXCAVATION AND FILLING
15.2.03 |  |  |  | Bill №: 03 - INSITU CONCRETE WORKS
15.2.04 |  |  |  | Bill №: 04 - MASONRY
15.2.05 |  |  |  | Bill №: 05 - CARPENTRY
15.2.06 |  |  |  | Bill №: 06 - STRUCTURAL METAL WORKS
15.2.07 |  |  |  | Bill №: 07 - CEILING
15.2.08 |  |  |  | Bill №: 08 - WINDOWS, SCREENS & LIGHTS
15.2.09 |  |  |  | Bill №: 09 - DOORS, SHUTTERS & HATCHES
15.2.10 |  |  |  | Bill №: 10 - DECORATIONS
15.2.11 |  |  |  | Bill №: 11 - FINISHES
15.2.12 |  |  |  | Bill №: 12 - HYDRAULICS AND DRAINAGE
15.2.13 |  |  |  | Bill №: 13 - ELECTRICAL INSTALLATIONS
15.2.14 |  |  |  | Bill №: 14- INSULATION, FIRE STOPPING & FIRE PROTECTION
TOTAL
15.3.00 |  |  |  | TOTAL OF BILL №: 15 - Carried Over To Summary