## BOQ
SLA1:F975.NO | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
Bill No: 01
PRELIMINARIES
1.1 | General Notes
1 | Abbreviations
m - meter
No - numbers
m3 - cubic meter
m2 - square meter
Lm - Linear meter
t - tonnes
incl - including
mm - millimeter
dia - diameter
SS - Stainless Steel
GI - Galvanised Iron
1.2 | Site Management Costs
1 | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone,fax,hoardings and similar. | 1 | item
1.3 | Sign Board
1 | Allow for sign board | 1 | no
1.4 | Clean - up
1 | Allow for clean - up of completed works and site upon completion. | 1 | item
TOTAL OF BILL NO. 01 (PRELIMINARIES)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 02
GROUND WORKS
2.1 | GENERAL
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and disposing surplus soil.
2.2 | EXCAVATION
2.2.1 | Staff Accommodation
1 | Excavation for Foundation (42 Nos) | 37.8 | m³
2 | Excavation for Ground Beams | 30.6 | m³
2.2.2 | Mosque
1 | Excavation for Wall Footing | 3.8 | m³
2 | Excavation for Ground Beams | 0 | m³
2.2.3 | Staff Kitchen and Mess
1 | Excavation for Foundation (27 Nos) | 24.3 | m³
2 | Excavation for Ground Beams | 13.58 | m³
2.2.4 | Staff Recreation
1 | Excavation for Foundation (30 Nos) | 27 | m³
2 | Excavation for Ground Beams | 14.5 | m³
2.2.5 | Jetty
1 | Sea bed Excavation for Foundation | ITEM
2.2.6 | Office
1 | Excavation for Foundation (14 Nos) | 12.6 | m³
2 | Excavation for Ground Beams | 6.5 | m³
2.2.7 | Powerhouse & RO
1 | Excavation for Foundation (15 Nos) | 10.4 | m³
2 | Excavation for Ground Beams | 5.72 | m³
2.2.8 | Waste Disposal
1 | Excavation for Footing | 2.2 | m³
2 | Excavation for Ground Beams | 2.27 | m³
2.3 | BACK FILLING
(a) Rates shall include for: levelling, grading, trimming, compacting and similar.
(b) Ground need to be compacted to the required density by the consultant.
2.3.1 | Staff Accommodation
1 | Earth Filling | 36.1 | m³
2 | 50 mm thick sand blinding layer to receive damp proof membrane | 363.5 | m²
2.3.2 | Mosque
1 | Earth Filling | 1.5 | m³
2 | 50 mm thick sand blinding layer to receive damp proof membrane | 28.2 | m²
2.3.3 | Staff Kitchen and Mess
1 | Earth Filling | 22.14 | m³
2 | 50 mm thick sand blinding layer to receive damp proof membrane | 363.5 | m²
2.3.4 | Staff Recreation
1 | Earth Filling | 22.14 | m³
2 | 50 mm thick sand blinding layer to receive damp proof membrane | 363.5 | m²
2.3.5 | Jetty
N/A
2.3.6 | Office
1 | Earth Filling | 10.56 | m³
2 | 50 mm thick sand blinding layer to receive damp proof membrane | 121.18 | m²
2.3.7 | Powerhouse & RO
1 | Earth Filling | 6.44 | m³
2 | 50 mm thick sand blinding layer to receive damp proof membrane | 109.44 | m²
2.3.8 | Waste Disposal
1 | Earth Filling | 0.7 | m³
2 | 50 mm thick sand blinding layer to receive damp proof membrane | 93.48 | m²
2.4 | DAMP PROOF MEMBRANE
(a) Rates shall include for: dressing around and sealing to all penetrations, laps and turnups
2.4.1 | Staff Accommodation
1 | Polythene damp proof membrane (500 gauge) laid on blinding layer under foundation beams and ground floor slab | 363.5 | m²
2.4.2 | Mosque
1 | Polythene damp proof membrane (500 gauge) laid on blinding layer under foundation beams and ground floor slab | 28.2 | m²
2.4.3 | Staff Kitchen and Mess
1 | Polythene damp proof membrane (500 gauge) laid on blinding layer under foundation beams and ground floor slab | 363.5 | m²
2.4.4 | Staff Recreation
1 | Polythene damp proof membrane (500 gauge) laid on blinding layer under foundation beams and ground floor slab | 363.5 | m²
2.4.5 | Jetty
N/A
2.4.6 | Office
1 | Polythene damp proof membrane (500 gauge) laid on blinding layer under foundation beams and ground floor slab | 121.18 | m²
2.4.7 | Powerhouse & RO
1 | Polythene damp proof membrane (500 gauge) laid on blinding layer under foundation beams and ground floor slab | 109.44 | m²
2.4.8 | Waste Disposal
1 ) | Polythene damp proof membrane (500 gauge) laid on blinding layer under foundation beams and ground floor slab | 93.48 | m²
TOTAL OF BILL NO. 02 (GROUND WORKS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 03
CONCRETE WORKS
General
a) Rate shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
b) Mix ratio for reinforced concrete shall be 1:2:3
c) Rates shall include for formworks : all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes, removal of formwork and normal practices used.
d) Rates shall include for reinforcing bars: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and chair supports, laps, and wastages.
3.1 | Lean Concrete
3.1.1 | Staff Accommodation
1 | Lean Concrete for foundation | 0 | m³
3.1.2 | Mosque
1 | Lean Concrete for foundation | 0.3 | m³
3.1.3 | Staff Kitchen and Mess
1 | Lean Concrete for foundation | 0 | m³
3.1.4 | Staff Recreation
1 | Lean Concrete for foundation | - | m³
3.1.5 | Jetty
1 | Lean Concrete for foundation (pre-cast) | 0.67 | m³
3.1.6 | Office
1 | Lean Concrete for foundation | 1.29 | m³
3.1.7 | Powerhouse & RO
1 | Lean Concrete for foundation | 1.32 | m³
3.1.8 | Waste Disposal
1 | Lean Concrete for foundation | 0.27 | m³
3.2 | Foundation
3.2.1 | Staff Accommodation
1 | Foundation - Pads | 14.7 | m³
2 | Ground Beams | 16.74 | m³
3 | Columns upto GFFL | 0.92 | m³
3.2.2 | Mosque
1 | Foundation - Pads | 2.35 | m³
2 | Ground Beams | 0 | m³
3 | Columns upto GFFL | 0.25 | m³
3.2.3 | Staff Kitchen and Mess
1 | Foundation - Pads | 9.45 | m³
2 | Ground Beams | 7.5 | m³
3 | Columns upto GFFL | 0.59 | m³
3.2.4 | Staff Recreation
1 | Foundation - Pads | 10.5 | m³
2 | Ground Beams | 7.8 | m³
3 | Columns upto GFFL | 0.66 | m³
3.2.5 | Jetty
1 | Foundation - Pads JETTY HEAD | 9.65 | m³
2 | Foundation - Pads WALKWAY | 15 | m³
3 | Lower Beams | 4.55 | m³
4 | Upper Beams | 7.56 | m³
5 | Columns upto Lower level | 14.64 | m³
3.2.6 | Office
1 | Foundation - Pads | 4.9 | m³
2 | Ground Beams | 3.5 | m³
3 | Columns upto GFFL | 0.14 | m³
3.2.7 | Powerhouse & RO
1 | Foundation - Pads | 5.6 | m³
2 | Ground Beams | 2.6 | m³
3 | Columns upto GFFL | 0.16 | m³
3.2.8 | Waste Disposal
1 | Foundation - Pads | 0.99 | m³
2 | Ground Beams | 2.26 | m³
3 | Columns upto GFFL | 0.242 | m³
3.3 | Ground Floor
3.3.1 | Staff Accommodation
1 | RCC Ground Slab 150 mm thick, (Rate shall include for reinforcement and form required) | 54.5 | m³
2 | Columns | 4.87 | m³
3 | Roof Beams | 25.1 | m³
4 | Lintel Beams above all windows where there is no concrete beam above. | 1 | item
3.3.2 | Mosque
1 | RCC Ground Slab 150 mm thick, (Rate shall include for reinforcement and form required) |  | m³
2 | Columns |  | m³
3 | Roof Beams |  | m³
4 | Lintel Beams above all windows where there is no concrete beam above. | 1 | item
3.3.3 | Staff Kitchen and Mess
1 | RCC Ground Slab 150 mm thick, (Rate shall include for reinforcement and form required) | 54.5 | m³
2 | Columns | 3.48 | m³
3 | Roof Beams | 11.11 | m³
4 | Lintel Beams above all windows where there is no concrete beam above. | 1 | item
3.3.4 | Staff Recreation
1 | RCC Ground Slab 150 mm thick, (Rate shall include for reinforcement and form required) | 54.5 | m³
2 | Columns | 3.48 | m³
3 | Roof Beams | 11.85 | m³
4 | Lintel Beams above all windows where there is no concrete beam above. | 1 | item
3.3.5 | Jetty
N/A
3.3.6 | Office
1 | RCC Ground Slab 150 mm thick, (Rate shall include for reinforcement and form required) | 18.18 | m³
2 | Columns | 1.62 | m³
3 | Roof Beams | 4.73 | m³
4 | Lintel Beams above all windows where there is no concrete beam above. | 1 | item
3.3.7 | Powerhouse & RO
1 | RCC Ground Slab 150 mm thick, (Rate shall include for reinforcement and form required) | 16.42 | m³
2 | Columns | 3.44 | m³
3 | Roof Beams | 4.16 | m³
4 | Lintel Beams above all windows where there is no concrete beam above. | 1 | item
3.3.8 | Waste Disposal
1 | RCC Ground Slab 150 mm thick, (Rate shall include for reinforcement and form required) | 14.02 | m³
2 | Columns |  | m³
3 | Roof Beams |  | m³
4 | Lintel Beams above all windows where there is no concrete beam above. | 1 | item
3.4 | WATER PROOFING
Rate shall include for: dressing arround and sealing to all penetrations
3.4.1 | Staff Accommodation
1 | Apply crystalline or equivalent type waterproofing material to the surface of toilets in accordance with the specifications and manufacturer's instructions | 1 | item
Rate shall include for: dressing arround and sealing to all penetrations
2 | Apply crystalline or equivalent type waterproofing material to the surface of Foundations below ground level in accordance with the specifications and manufacturer's instructions | 1 | item
Rate shall include for: dressing arround and sealing to all penetrations
3.4.2 | Mosque
1 | Apply crystalline or equivalent type waterproofing material to the surface of toilets in accordance with the specifications and manufacturer's instructions | 1 | item
Rate shall include for: dressing arround and sealing to all penetrations
2 | Apply crystalline or equivalent type waterproofing material to the surface of Foundations below ground level in accordance with the specifications and manufacturer's instructions | 1 | item
Rate shall include for: dressing arround and sealing to all penetrations
3.4.3 | Staff Kitchen and Mess
1 | Apply crystalline or equivalent type waterproofing material to the surface of toilets in accordance with the specifications and manufacturer's instructions | 1 | item
Rate shall include for: dressing arround and sealing to all penetrations
2 | Apply crystalline or equivalent type waterproofing material to the surface of Foundations below ground level in accordance with the specifications and manufacturer's instructions | 1 | item
Rate shall include for: dressing arround and sealing to all penetrations
3.4.4 | Staff Recreation
1 | Apply crystalline or equivalent type waterproofing material to the surface of toilets in accordance with the specifications and manufacturer's instructions | 1 | item
Rate shall include for: dressing arround and sealing to all penetrations
2 | Apply crystalline or equivalent type waterproofing material to the surface of Foundations below ground level in accordance with the specifications and manufacturer's instructions | 1 | item
Rate shall include for: dressing arround and sealing to all penetrations
3.4.5 | Jetty
N/A
3.4.6 | Office
1 | Apply crystalline or equivalent type waterproofing material to the surface of toilets in accordance with the specifications and manufacturer's instructions | 1 | item
Rate shall include for: dressing arround and sealing to all penetrations
2 | Apply crystalline or equivalent type waterproofing material to the surface of Foundations below ground level in accordance with the specifications and manufacturer's instructions | 1 | item
Rate shall include for: dressing arround and sealing to all penetrations
3.4.7 | Powerhouse & RO
1 | Apply crystalline or equivalent type waterproofing material to the surface of toilets in accordance with the specifications and manufacturer's instructions | 1 | item
Rate shall include for: dressing arround and sealing to all penetrations
2 | Apply crystalline or equivalent type waterproofing material to the surface of Foundations below ground level in accordance with the specifications and manufacturer's instructions | 1 | item
Rate shall include for: dressing arround and sealing to all penetrations
3.4.8 | Waste Disposal
1 | Apply crystalline or equivalent type waterproofing material to the surface of toilets in accordance with the specifications and manufacturer's instructions | 1 | item
Rate shall include for: dressing arround and sealing to all penetrations
2 | Apply crystalline or equivalent type waterproofing material to the surface of Foundations below ground level in accordance with the specifications and manufacturer's instructions | 1 | item
Rate shall include for: dressing arround and sealing to all penetrations
3.5 | JETTY LEVEL
3.5.5 | Jetty
1 | Columns | 3.36 | m³
2 | Upper Beams | 8.72 | m³
3 | Stair | 6.8 | m³
TOTAL OF BILL NO. 03 (CONCRETE WORKS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 04
MASONRY AND PLASTERING
4.1 | General
a) Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
4.2 | Cement block work
100 mm wide solid blocks, laid on and incl. 1:5 Cement Mortor, tie rods, compression gap filler, nylon / plastic mesh as specified.
4.2.1 | Staff Accommodation
1 | Ground Floor | 878.85 | m²
4.2.2 | Mosque
1 | Ground Floor | 61 | m²
4.2.3 | Staff Kitchen and Mess
1 | Ground Floor | 389 | m²
4.2.4 | Staff Recreation
1 | Ground Floor | 414.63 | m²
4.2.5 | Jetty
N/A
4.2.6 | Office
1 | Ground Floor | 186.12 | m²
4.2.7 | Powerhouse & RO
1 | Ground Floor | 279.14 | m²
4.2.8 | Waste Disposal
1 | Ground Floor | 267.1 | m²
4.3 | Plastering
a) 12mm -- Interior and 25 mm exterior cement plastering on walls and concrete surfaces with 1:4 Cement mortor mix as specified incl. wire mesh at joints of concrete surfaces and walls
4.3.1 | Staff Accommodation
1 | Exterior | 124.4 | m²
2 | Interior | 1633.28 | m²
3 |  |  | m²
4.3.2 | Mosque
1 | Exterior | 61 | m²
2 | Interior | 61 | m²
3 |  |  | m²
4.3.3 | Staff Kitchen and Mess
1 | Exterior | 124.4 | m²
2 | Interior | 653.5 | m²
3 |  |  | m²
4.3.4 | Staff Recreation
1 | Exterior | 124.4 | m²
2 | Interior | 704.8 | m²
3 |  |  | m²
4.3.5 | Jetty
N/A
4.3.6 | Office
1 | Exterior | 144.27 | m²
2 | Interior | 227.98 | m²
3 |  |  | m²
4.3.7 | Powerhouse & RO
1 | Exterior | 317.79 | m²
2 | Interior | 240.49 | m²
4.3.8 | Waste Disposal
1 ) | Exterior | 234.54 | m²
2 ) | Interior | 299.67 | m²
4.4 | Cement Screed Finish
30mm thick Cement screeding on the concrete floor with 1:4 cement motar mix incl. trowel finish; General areas
4.4.1 | Staff Accommodation
1 | Ground Floor | 363.5 | m²
4.4.2 | Mosque
1 | Ground Floor | 28.2 | m²
4.4.3 | Staff Kitchen and Mess
1 | Ground Floor | 363.5 | m²
4.4.4 | Staff Recreation
1 | Ground Floor | 363.5 | m²
4.4.5 | Jetty
1 | N/A
4.4.6 | Office
1 | Ground Floor | 121.18 | m²
4.4.7 | Powerhouse & RO
1 | Ground Floor | 109.44 | m²
4.4.8 | Waste Disposal
1 | Ground Floor | 93.48 | m²
TOTAL OF BILL NO. 04 (MASONRY AND PLASTERING)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 05
METAL AND WOOD WORKS
5.1 | General
a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts incl. those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
b) Rates shall include for fabrication and erection and temporary supports and fixing into position.
5.1.1 | Staff Accommodation
1 | Steel Roof Trusses & Roof Frame to Detail Drawings | 13 | Nos
5.1.2 | Mosque
1 | Timber Roof Frame to Detail Drawings | Item | Nos
5.1.3 | Staff Kitchen and Mess
1 | Steel Roof Trusses & Roof Frame to Detail Drawings | 13 | Nos
5.1.4 | Staff Recreation
1 | Steel Roof Trusses & Roof Frame to Detail Drawings | 13 | Nos
5.1.5 | Jetty
1 | Wood Decking and Finish: a) Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; ALL Timber TO BE TREATED WITH EPA APPROVED CHEMICALS | ITEM
2 | Metal works: a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts incl. those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
b) Rates shall include for fabrication and erection and temporary supports and fixing into position.
| SS BOAT MOORING HOOKS | 5 | Nos
5.1.6 | Office
1 | Steel Roof Trusses & Roof Frame to Detail Drawings | 5 | Nos
5.1.7 | Powerhouse & RO
1 | Steel Roof Trusses & Roof Frame to Detail Drawings | 6 | Nos
5.1.8 | Waste Disposal
1 | Timber Roof Frame to Detail Drawings | Item | Nos
TOTAL OF BILL NO. 05 (METAL WORKS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 06
ROOFING WORKS
6.1 | General
a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
b) Rate shall include for: timber priming and all painting as specified in the drawing
6.2 | Roofing
6.2.1 | Staff Accommodation
1 | Roofing Work as per the drawings, including Supply and Install Lysaght Roofing Sheet, with standard gutters and down pipes | 434.11 | m²
2 | Glass Fibre Standard Insulation below the roof, with fixing accessories | 434.11 | m²
6.2.2 | Mosque
1 | Roofing Work as per the drawings, including Supply and Install Lysaght Roofing Sheet, with standard gutters and down pipes | 79.7 | m²
2 | Glass Fibre Standard Insulation below the roof, with fixing accessories | 79.7 | m²
6.2.3 | Staff Kitchen and Mess
1 | Roofing Work as per the drawings, including Supply and Install Lysaght Roofing Sheet, with standard gutters and down pipes | 434.11 | m²
2 | Glass Fibre Standard Insulation below the roof, with fixing accessories | 434.11 | m²
6.2.4 | Staff Recreation
1 | Roofing Work as per the drawings, including Supply and Install Lysaght Roofing Sheet, with standard gutters and down pipes | 434.11 | m²
2 | Glass Fibre Standard Insulation below the roof, with fixing accessories | 434.11 | m²
6.2.5 | Jetty
N/A
6.2.6 | Office
1 | Roofing Work as per the drawings, including Supply and Install Lysaght Roofing Sheet, with standard gutters and down pipes | 189.16 | m²
2 | Glass Fibre Standard Insulation below the roof, with fixing accessories | 189.16 | m²
6.2.7 | Powerhouse & RO
1 | Roofing Work as per the drawings, including Supply and Install Lysaght Roofing Sheet, with standard gutters and down pipes | 88.41 | m²
2 | Glass Fibre Standard Insulation below the roof, with fixing accessories | 88.41 | m²
6.2.8 | Waste Disposal
1 ) | Roofing Work as per the drawings, including Supply and Install Lysaght Roofing Sheet, with standard gutters and down pipes | 156.71 | m²
2 ) | Glass Fibre Standard Insulation below the roof, with fixing accessories | 156.71 | m²
TOTAL OF BILL NO. 06 (WOOD WORKS AND ROOFING WORKS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 07
CEILING
7.1 | General
a) Rates shall include for: all labour in framing, notching and fitting around projections, pipes, light fittings, hatches, grilles and similar and complete with cleats, packers, wedges and similar and all nails and screws.
b) Rate shall include for: timber priming and all painting as specified in the drawing
7.2 | Cement Board Ceiling
4.5 mm Cement fibre board and/or on 35mm x 50mm aluminium frame at 600 X 600mm grid, smoothed and painted or pre-painted / aluminium finish, including framing and screws.
7.2.1 | Staff Accommodation
1 | Interior | 363.5 | m²
2 | Exterior of building below the roof | 107.27 | m²
7.2.2 | Mosque
1 | Interior | 26.52 | m²
2 | Exterior of building below the roof | 26.6 | m²
7.2.3 | Staff Kitchen and Mess
1 | Interior | 363.5 | m²
2 | Exterior of building below the roof | 107.27 | m²
7.2.4 | Staff Recreation
1 | Interior | 363.5 | m²
2 | Exterior of building below the roof | 107.27 | m²
7.2.5 | Jetty
N/A
7.2.6 | Office
1 | Interior | 121.18 | m²
2 | Exterior of building below the roof | 64.9 | m²
7.2.7 | Powerhouse & RO
1 | Interior | 109.44 | m²
2 | Exterior of building below the roof | 51.45 | m²
7.2.8 | Waste Disposal
1 ) | Interior | 93.48 | m²
2 ) | Exterior of building below the roof | 53 | m²
TOTAL OF BILL NO. 07 (CEILINGS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 08
DOORS AND WINDOWS
8.1 | General
A) Rates shall include for: locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
B) All Door & Windows to be Aluminum sections and shall be as per the drawings and client's approval
C) All glazing shall be 6mm tinted glass
D) Roller Shutter - All Aluminium with alumium slats and frame to be of all stainless steel, inlcluding channel guides
8.2 | Door & Window units
8.2.1 | Staff Accommodation
1 | Door D1 | 12 | nos
2 | Door D3 | 12 | nos
3 | W2 | 12 | nos
4 | W4 | 12 | nos
5 | W5 | 12 | nos
8.2.2 | Mosque
1 | Door D1 | 1 | nos
2 | W1 | 6 | nos
8.2.3 | Staff Kitchen and Mess
1 | Door DD1 | 3 | nos
2 | Door D1 | 3 | nos
3 | Door D3 | 1 | nos
4 | W2 | 1 | nos
5 | W5 | 18 | nos
8.2.4 | Staff Recreation
1 | Door D1 | 7 | nos
2 | Door D3 | 2 | nos
3 | W2 | 2 | nos
4 | W4 | 0 | nos
5 | W5 | 18 | nos
8.2.5 | Jetty
N/A
8.2.6 | Office
1 | Door DD1 | 1 | nos
2 | Door D1 | 1 | nos
3 | Door D3 | 1 | nos
4 | W2 | 2 | nos
5 | W5 | 11 | nos
8.2.7 | Powerhouse & RO
1 | D1 | 2 | nos
2 | D2 | 3 | nos
3 | D3 | 1 | nos
4 | W1 | 2 | nos
5 | W2 | 4 | nos
8.2.8 | Waste Disposal
1 | Door DD1 | 1 | nos
2 | W5 | 3 | nos
TOTAL OF BILL NO. 08 (DOORS AND WINDOWS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 9
FINISHES
9.1 | General
a) Rates shall include for: fixing, bedding, grouting, pointing, finishing and any other similar works to ensure the required finish.
b) Rates shall include for all other beading works required at the corneres
9.2 | Floor Tiling (general areas)
300 X 300 mm Homogenous Tiles with 100 mm skirting
9.2.1 | Staff Accommodation
1 | Ground Floor | 318.28 | m²
9.2.2 | Mosque
9.2.3 | Staff Kitchen and Mess
1 | Ground Floor | 318.28 | m²
9.2.4 | Staff Recreation
1 | Ground Floor | 318.28 | m²
9.2.5 | Jetty
N/A
9.2.6 | Office
1 | Ground Floor | 103.87 | m²
9.2.7 | Powerhouse & RO
1 | RO Plant Room | 36 | m²
2 | 1st Floor (Store) | 15 | m²
3 | 1st Floor (Control Room) | 21 | m²
9.2.8 | Waste Disposal
1 ) | Ground Floor | 93.48 | m²
9.3 | Floor tiling (toilets)
9.3.1 | Staff Accommodation
200 x 200 Non Slip Ceramic tiles:
1 | Ground Floor | 45.2 | m²
9.3.2 | Mosque
Prayer Hall: 300 X 300 mm Homogenous Tiles with 100 mm skirting
1 | Ground Floor | 28.2 | m²
Ablution Area: 200 x 200 Non Slip Ceramic tiles:
2 | Ground Floor | 1.2 | m²
9.3.3 | Staff Kitchen and Mess
200 x 200 Non Slip Ceramic tiles:
1 | Ground Floor | 3.76 | m²
9.3.4 | Staff Recreation
200 x 200 Non Slip Ceramic tiles:
1 | Ground Floor | 7.54 | m²
9.3.5 | Jetty
N/A
9.3.6 | Office
200 x 200 Non Slip Ceramic tiles:
1 | Ground Floor | 5.24 | m²
9.3.7 | Powerhouse & RO
N/A
9.3.8 | Waste Disposal
N/A
9.4 | Wall tiling
9.4.1 | Staff Accommodation
Toilets: 200 x 200 Polished Ceramic Tiles 1800 high
1 | Ground Floor | 326 | m²
9.4.2 | Mosque
Ablution Area: 200 x 200 Polished Ceramic Tiles
1 | Ground Floor | 3.75 | m²
9.4.3 | Staff Kitchen and Mess
Toilets: 200 x 200 Polished Ceramic Tiles 1800 high
1 | Ground Floor | 27.1 | m²
9.4.4 | Staff Recreation
200 x 200 Polished Ceramic Tiles 1800 high
1 | Ground Floor | 54.3 | m²
9.4.5 | Jetty
N/A
9.4.6 | Office
200 x 200 Polished Ceramic Tiles 1800 high
1 | Ground Floor | 17.31 | m²
9.4.7 | Powerhouse & RO
N/A
9.4.8 | Waste Disposal
N/A
TOTAL OF BILL NO. 9 (FINISHES)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 10
PAINTING
10.1 | General
a) Rates shall include for: the provition, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and / or making floors, fittings and similar work, removing and replacing door and window furniture
b) All painting work shall be carried in accordance with the specifications.
Weather bond for External Walls and Super Vinilex for interal
10.2 | Walls
Weather proof emulsion paint system with textured finish on plastered and concrete surfaces of external and normal emulsion paint on internal walls.
External painting 1 coat of wall sealer, & 2 coats of paints
10.2.1 | Staff Accommodation
1 | Interior | 124.4 | m²
2 | Exterior | 1633.28 | m²
10.2.2 | Mosque
1 | Interior | 61 | m²
2 | Exterior | 61 | m²
10.2.3 | Staff Kitchen and Mess
1 | Interior | 124.4 | m²
2 | Exterior | 653.5 | m²
10.2.4 | Staff Recreation
1 | Interior | 124.4 | m²
2 | Exterior | 704.8 | m²
10.2.5 | Jetty
N/A
10.2.6 | Office
1 | Interior | 144.27 | m²
2 | Exterior | 227.98 | m²
10.2.7 | Powerhouse & RO
1 | Interior | 317.79 | m²
2 | Exterior | 240.49 | m²
10.2.8 | Waste Disposal
1 | Interior | 234.54 | m²
2 | Exterior | 299.67 | m²
10.3 | Ceilings
Emulsion paint putty finish on concrete slab and beams, of all internal surfaces.
1 coat of primer & 2 coats of paints
10.3.1 | Staff Accommodation
1 | Exterior Ceiling | 107.27 | m²
10.3.2 | Mosque
1 | Exterior Ceiling | 26.6 | m²
10.3.3 | Staff Kitchen and Mess
1 | Exterior Ceiling | 107.27 | m²
10.3.4 | Staff Recreation
1 | Exterior Ceiling | 107.27 | m²
10.3.5 | Jetty
N/A
10.3.6 | Office
1 | Exterior Ceiling | 64.9 | m²
10.3.7 | Powerhouse & RO
1 | Exterior Ceiling | 51.45 | m²
10.3.8 | Waste Disposal
1 | Exterior Ceiling | 53 | m²
10.4 | Decks and wood surfaces
a) Rates shall include for: the provition, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and / or making floors, fittings and similar work, removing and replacing door and window furniture
b) All painting work shall be carried in accordance with the specifications.
Weather bond for External Walls and Super Vinilex for interal
10.4.5 | Jetty
1 | DECKS AND WOOD SURFACES
| Weather VARNISH / paint system | ITEM
TOTAL OF BILL NO. 10 (PAINTING)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 11
SANITARY, HYDRAULICS & DRAINAGE
11.1 | General
a) Rates shall include for: sockets, running joints, connections, elbows, junctions, reducers, expansion joints; backnuts and similar; incidental fittings, clips, saddles, brackets, straps, hanges, screws, nails and fixing complete, including cutting and
11.2 | Fresh water supply pipework
11.2.1 | Staff Accommodation
1 | Allow for water connection to fixtures from source | 1 | item
11.2.2 | Mosque
1 | Allow for water connection to fixtures from source | 1 | item
11.2.3 | Staff Kitchen and Mess
1 | Allow for water connection to fixtures from source | 1 | item
11.2.4 | Staff Recreation
1 | Allow for water connection to fixtures from source | 1 | item
11.2.5 | Jetty
N/A
11.2.6 | Office
1 | Allow for water connection to fixtures from source | 1 | item
11.2.7 | Powerhouse & RO
1 | Allow for water connection to fixtures from source | 1 | item
11.2.8 | Waste Disposal
1 | Allow for water connection to fixtures from source | 1 | item
11.3 | Sanitary Fixtures & Accessories
Sanitary Fixtures complete including brackets flush pipes, overflows and washers etc.
1) All toilet fittings shall be white ceramic and chrome plated
2) All toilet fixtures shall be to a brand accepted by client.
3) All piping shall be of UPVC
4) All kitchen sinks shall be of SS type with chrome plated taps.
5) All water pumps shall be of a brand approved by client.
11.3.1 | Staff Accommodation
1 | Water Closet | 12 | nos
2 | Wash basin | 12 | nos
3 | Wash basin tap | 12 | nos
4 | Muslim Shower | 12 | nos
5 | Floor waste with gully trap | 12 | nos
6 | Mirror with accessories | 12 | nos
7 | Water Taps / Faucet | 12 | nos
8 | Valves | 12 | nos
9 | Towel Rail SS | 12 | nos
11.3.2 | Mosque
1 | Ablution Tap | 6 | nos
2 | Floor waste with gully trap | 4 | nos
3 | Valves | 2 | nos
11.3.3 | Staff Kitchen and Mess
1 | Water Closet | 1 | nos
2 | Wash basin | 5 | nos
3 | Wash basin tap | 5 | nos
4 | Muslim Shower | 1 | nos
5 | Floor waste with gully trap | 5 | nos
6 | Mirror with accessories | 1 | nos
7 | Water Taps / Faucet | 2 | nos
8 | Valves | 6 | nos
9 | Towel Rail SS | 1 | nos
10 | Industrial Kitchen Sink SS | 8 | nos
11.3.4 | Staff Recreation
1 | Water Closet | 2 | nos
2 | Wash basin | 2 | nos
3 | Wash basin tap | 2 | nos
4 | Muslim Shower | 2 | nos
5 | Floor waste with gully trap | 2 | nos
6 | Mirror with accessories | 2 | nos
7 | Water Taps / Faucet | 2 | nos
8 | Valves | 2 | nos
9 | Towel Rail SS | 2 | nos
11.3.5 | Jetty
N/A
11.3.6 | Office
1 | Water Closet | 1 | nos
2 | Wash basin | 1 | nos
3 | Wash basin tap | 1 | nos
4 | Muslim Shower | 1 | nos
5 | Floor waste with gully trap | 1 | nos
6 | Mirror with accessories | 1 | nos
7 | Water Taps / Faucet | 2 | nos
8 | Valves | 2 | nos
9 | Towel Rail SS | 1 | nos
10 | Pantry Sink SS | 1 | nos
11.3.7 | Powerhouse & RO
1 | Water Taps / Faucet | 2 | nos
2 | Valves | 2 | nos
11.3.8 | Waste Disposal
1 | Washing Tap | 2 | nos
2 | Floor waste with gully trap | 4 | nos
3 | Valves | 2 | nos
11.4 | Drainage
11.4.1 | Staff Accommodation
Discharge pipework
1 | Complete Discharge pipe work | 1 | item
2 | Constructing Inspection Chamber of required size with all provisions to connect pipelines as per drawing. | 1 | item
11.4.2 | Mosque
Discharge pipework
1 | Complete Discharge pipe work | 1 | item
2 | Constructing Inspection Chamber of required size with all provisions to connect pipelines as per drawing. | 1 | item
3 | Oil / Grease Trap | 1 | item
11.4.3 | Staff Kitchen and Mess
Discharge pipework
1 | Complete Discharge pipe work | 1 | item
2 | Constructing Inspection Chamber of required size with all provisions to connect pipelines as per drawing. | 1 | item
3 | Oil / Grease Trap | 1 | item
11.4.4 | Staff Recreation
Discharge pipework
1 | Complete Discharge pipe work | 1 | item
2 | Constructing Inspection Chamber of required size with all provisions to connect pipelines as per drawing. | 1 | item
11.4.5 | Jetty
N/A
11.4.6 | Office
Discharge pipework
1 | Complete Discharge pipe work | 1 | item
2 | Constructing Inspection Chamber of required size with all provisions to connect pipelines as per drawing. | 1 | item
11.4.7 | Powerhouse & RO
Discharge pipework
1 | Complete Discharge pipe work | 1 | item
2 | Constructing Inspection Chamber of required size with all provisions to connect pipelines as per drawing. | 1 | item
3 | Reject water discharge of RO Plant | 1 | item
11.4.8 | Waste Disposal
1 | Complete Discharge pipe work | 1 | item
2 | Constructing Inspection Chamber of required size with all provisions to connect pipelines as per drawing. | 1 | item
3 | Oil / Grease Trap | 1 | item
TOTAL OF BILL NO. 11 (SANITARY, HYDRAULICS AND DRAINAGE)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 12
ELECTRICAL INSTALLATIONS
12.1 | General
a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories.
b) Rate shall include for electrical conduits, fittings, equipment and similar all fixings
c) Each light / light fixture and its switches shall measure as one one point: similarly each sockets or each fans shall measured as one point.
d) Rate shall include for supply and complete installation of all floors.
e) Provide junction box for each separate unit of telephone and cable tv system.
12.2 | Main Connection
12.2.1 | Staff Accommodation
| Allow for three phase main connection from existing panel | 1 | item
12.2.2 | Mosque
| Allow for three phase main connection from existing panel | 1 | item
12.2.3 | Staff Kitchen and Mess
| Allow for three phase main connection from existing panel | 1 | item
12.2.4 | Staff Recreation
| Allow for three phase main connection from existing panel | 1 | item
12.2.5 | Jetty
N/A
12.2.6 | Office
| Allow for three phase main connection from existing panel | 1 | item
12.2.7 | Powerhouse & RO
| Allow for three phase main connection from existing panel | 1 | item
12.2.8 | Waste Disposal
| Allow for three phase main connection from existing panel | 1 | item
12.3 | Electrical boards
Complete installation incl. for all connection earthing, painting, testing and similar of;
12.3.1 | Staff Accommodation
1 | Distribution boards | 1 | item
12.3.2 | Mosque
1 | Distribution boards | 1 | item
12.3.3 | Staff Kitchen and Mess
1 | Distribution boards | 1 | item
12.3.4 | Staff Recreation
1 | Distribution boards | 1 | item
12.3.5 | Jetty
1 | N/A
12.3.6 | Office
1 | Distribution boards | 1 | item
12.3.7 | Powerhouse & RO
1 | Distribution boards | 1 | item
12.3.8 | Waste Disposal
1 | Distribution boards | 1 | item
12.4 | Electrical wiring
Electrical wiring with copper conductor cable in conduits in walls and slab as specified to
12.4.1 | Staff Accommodation
1 | 2.5mm2 Wiring to light fixtures, power sockets and its switches | 278 | points
12.4.2 | Mosque
1 | 2.5mm2 Wiring to light fixtures, power sockets and its switches | 43 | points
12.4.3 | Staff Kitchen and Mess
1 | 2.5mm2 Wiring to light fixtures, power sockets and its switches | 145 | points
12.4.4 | Staff Recreation
1 | 2.5mm2 Wiring to light fixtures, power sockets and its switches | 169 | points
12.4.5 | Jetty
1 | N/A
12.4.6 | Office
1 | 2.5mm2 Wiring to light fixtures, power sockets and its switches | 148 | points
12.4.7 | Powerhouse & RO
1 | 2.5mm2 Wiring to light fixtures, power sockets and its switches | 92 | points
12.4.8 | Waste Disposal
1 | 2.5mm2 Wiring to light fixtures, power sockets and its switches | 35 | points
12.5 | Air-conditioning Units/ Ceiling Fan
12.5.1 | Staff Accommodation
1 | Split Type Airconditioning 12000BTU | 12 | nos
2 | Ceiling Fan and Fan Control | 12 | nos
12.5.2 | Mosque
1 | Split Type Airconditioning 12000BTU | 0 | nos
2 | Ceiling Fan and Fan Control | 4 | nos
12.5.3 | Staff Kitchen and Mess
1 | Split Type Airconditioning 12000BTU | 2 | nos
2 | Ceiling Fan and Fan Control | 18 | nos
12.5.4 | Staff Recreation
1 | Split Type Airconditioning 12000BTU | 2 | nos
2 | Ceiling Fan and Fan Control | 20 | nos
12.5.5 | Jetty
1 | N/A
12.5.6 | Office
1 | Split Type Airconditioning 12000BTU | 7 | nos
2 | Ceiling Fan and Fan Control | 9 | nos
12.5.7 | Powerhouse & RO
1 | Split Type Airconditioning 12000BTU | 3 | nos
12.5.8 | Waste Disposal
1 ) | Split Type Airconditioning 12000BTU | 0 | nos
2) | Ceiling Fan and Fan Control | 0 | nos
12.6 | Lighting - All LED Lights
12.6.1 | Staff Accommodation
1 | Ceiling Light | 11 | nos
2 | Out door Light | 6 | nos
3 | Wall Light | 24
4 | Night Light | 12
5 | Emergency Light | 14 | nos
12.6.2 | Mosque
1 | Ceiling Light | 4 | nos
2 | Out door Light | 7 | nos
3 | Wall Light | 4 | nos
4 | Night Light | 0
5 | Emergency Light | 2 | nos
12.6.3 | Staff Kitchen and Mess
1 | Ceiling Light | 30 | nos
2 | Out door Light | 8 | nos
3 | Wall Light | 1 | nos
4 | Night Light | 0
5 | Emergency Light | 8 | nos
12.6.4 | Staff Recreation
1 | Ceiling Light | 25 | nos
2 | Out door Light | 8 | nos
3 | Wall Light | 4 | nos
4 | Night Light | 0
5 | Emergency Light | 8 | nos
12.6.5 | Jetty
N/A
12.6.6 | Office
1 | Ceiling Light | 18 | nos
2 | Out door Light | 6 | nos
3 | Wall Light | 2
4 | Night Light | 0
5 | Emergency Light | 6 | nos
12.6.7 | Powerhouse & RO
1 | Ceiling Light | 24 | nos
2 | Out door Light | 6 | nos
3 | Wall Light | 0
4 | Night Light | 0
5 | Emergency Light | 3 | nos
12.6.8 | Waste Disposal
1 | Ceiling Light | 6 | nos
2 | Out door Light | 7 | nos
3 | Wall Light | 0 | nos
4 | Night Light | 0
5 | Emergency Light | 2 | nos
12.7 | Socket outlets
12.7.1 | Staff Accommodation
1 | 13 Amps Socket Switch Single | 84 | nos
2 | 13 Amps Socket Switch Double | 12 | nos
3 | 15 Amp sockets | 24 | nos
12.7.2 | Mosque
1 | 13 Amps Socket Switch Single | 5 | nos
2 | 13 Amps Socket Switch Double | 0 | nos
3 | 15 Amp sockets | 0 | nos
12.7.3 | Staff Kitchen and Mess
1 | 13 Amps Socket Switch Single | 25 | nos
2 | 13 Amps Socket Switch Double | 4 | nos
3 | 15 Amp sockets | 4 | nos
12.7.4 | Staff Recreation
1 | 13 Amps Socket Switch Single | 45 | nos
2 | 13 Amps Socket Switch Double | 8 | nos
3 | 15 Amp sockets | 4 | nos
12.7.5 | Jetty
N/A
12.7.6 | Office
1 | 13 Amps Socket Switch Single | 56 | nos
2 | 13 Amps Socket Switch Double | 4 | nos
3 | 15 Amp sockets | 8 | nos
12.7.7 | Powerhouse & RO
1 | 13 Amps Socket Switch Single | 18 | nos
2 | 13 Amps Socket Switch Double | 2 | nos
3 | 15 Amp sockets | 3 | nos
12.7.8 | Waste Disposal
1 | 13 Amps Socket Switch Single | 5 | nos
2 | 13 Amps Socket Switch Double | 0 | nos
3 | 15 Amp sockets | 0 | nos
12.8 | Light Switches
12.8.1 | Staff Accommodation
1 | One Way switches | 67 | nos
12.8.2 | Mosque
1 | One Way switches | 17 | nos
12.8.3 | Staff Kitchen and Mess
1 | One Way switches | 47 | nos
12.8.4 | Staff Recreation
1 | One Way switches | 45 | nos
12.8.5 | Jetty
1 | N/A
12.8.6 | Office
1 | One Way switches | 32 | nos
12.8.7 | Powerhouse & RO
1 | One Way switches | 33 | nos
12.8.8 | Waste Disposal
1 | One Way switches | 15 | nos
TOTAL OF BILL NO. 12 (ELECTRICAL INSTALLATIONS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 13
ADDITIONS
Bill No: 01
Bill No: 02
Bill No: 03
Bill No: 04
Bill No: 05
Bill No: 06
Bill No: 07
Bill No: 08
Bill No: 09
Bill No: 10
Bill No: 11
Bill No: 12
TOTAL OF BILL NO. 13 (ADDITIONS)
(CARRIED OVER TO THE GENERAL SUMMARY)
Bill No: 14
OMISSIONS
Bill No: 01
Bill No: 02
Bill No: 03
Bill No: 04
Bill No: 05
Bill No: 06
Bill No: 07
Bill No: 08
Bill No: 09
Bill No: 10
Bill No: 11
Bill No: 12
TOTAL OF BILL NO. 14 (OMISSIONS)
(CARRIED OVER TO THE GENERAL SUMMARY)

## SUMMARY
PROJECT: MATU DEVELOPMENT
BUILDING UNIT : STAFF ACCOMODATION
SUMMARY OF BILLS OF QUANTITIES
SL.NO | BILL NAME | AMOUNT (MRF)
1 ) | TOTAL OF BILL NO. 01 (PRELIMINARIES)
2 ) | TOTAL OF BILL NO. 02 (GROUND WORKS)
3 ) | TOTAL OF BILL NO. 03 (CONCRETE WORKS)
4 ) | TOTAL OF BILL NO. 04 (MASONRY AND PLASTERING)
5 ) | TOTAL OF BILL NO. 05 (METAL WORKS)
6 ) | TOTAL OF BILL NO. 06 (WOOD WORKS AND ROOFING WORKS)
7 ) | TOTAL OF BILL NO. 07 (CEILINGS)
8 ) | TOTAL OF BILL NO. 08 (DOORS AND WINDOWS)
9 ) | TOTAL OF BILL NO. 9 (FINISHES)
10 ) | TOTAL OF BILL NO. 10 (PAINTING)
11 ) | TOTAL OF BILL NO. 11 (SANITARY, HYDRAULICS AND DRAINAGE)
12 ) | TOTAL OF BILL NO. 12 (ELECTRICAL INSTALLATIONS)
13 ) | TOTAL OF BILL NO. 13 (ADDITIONS)
14 ) | TOTAL OF BILL NO. 14 (OMISSIONS)
GRAND TOTAL

## Cover
BILL OF QUANTITIES
PROJECT: MATU DEVELOPMENT
BUILDING UNIT : STAFF ACCOMODATION
November 2017