## BoQ
|  | Item | Description | Unit | Qty | Qty | Rate Rf | Amount Rf
BILL No: 01
PRELIMINARIES
|  | 1.1 | General Notes
|  | (1) | Abbreviations
m - metre
No - numbers
m³ - cubic metre
m² - square metre
m - metre
t - tonnes
incl - including
mm - millimetre
dia - diameter
SS - Stainless Steel
GI - Galvanised Iron
|  | 1.2 | Site Management Costs
|  | 1 | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings, security fencing and similar items and other related permits. | Item | sum | Sum
|  | 1.3 | Clean-up
|  | 1 | Allow for clean-up of completed works and site upon completion. | Item | sum | Sum
BILL No: 01 PRELIMINARIES
TOTAL OF BILL No: 01 - Carried over to summary
BILL No: 02
GROUND WORKS
|  | 1.2.1 | General
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating, additional working space and disposing surplus soil.
|  | 1.2.2 | Excavation
(a) Excavation quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork , back fill , dewatering and others
|  | 1 | Excavation for footings and Ground beams
|  |  | F1 | m³ | 5.4 | 5.1
|  |  | F2 | m³ | 0.63 | 0.51
|  |  | Ground Beam | m³ |  | 15.6
0
|  | 1.2.3 | Filling and Compaction |  |  |  |  | 0
|  |  | (a) Rates shall include for: leveling, grading, trimming and compacting. |  |  |  |  | 0
|  |  | (b) Ground need to be compacted to the required density by the consultant |  |  |  |  | 0
|  | 1 | 50 mm thick earthfillling under ground floor | m² | 124.88 | 35.28
|  | 2 | 25mm thick sand blinding layer to receive damp proof membrane | m² |  | 35.28
|  | 1.2.4 | Damp Proof Membrane
(a) Rates shall include for: dressing around and sealing to all penetrations, laps and turnups
|  | 1 | Polythene damp proof membrane (500 gauge) laid on blinding layer. | m² | 0 | 648.65
0
BILL No: 02 - GROUND WORKS
|  |  | TOTAL OF BILL No: 02 - Carried over to summary |  |  |  |  | 0
BILL No: 03
CONCRETE
|  | 3.1 | General
(a) Rates shall include for: placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
(b) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:2:6 by volume.
(c) Quantity is measured to the edges of concrete foundation members. Rates shall be inclusive for any additional concrete required to place the formwork.
(d) Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes, edge formwork and removal of formwork.
(e) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings, and supports including tie wire and chair supports, laps, distribution bars and wastage.
(f) All reinforcing bars shall be high yield bars.
sum
|  | 3.2 | Lean Concrete
|  |  | 50mm thick lean concrete to bottom of ; |  | 104.06
|  | 1 | Pad /Wall footing | m² |  | 35.28
| RC | 3.3 | Reinforced Concrete
In-situ reinforced concrete including formworks and reinforcement steel as per drawings.
|  | 1 | Footing (F1) | m³ | 2.16 | 2.53
|  | 2 | Footing (F2) | m³ | 0.25 | 0.26
|  | 3 | Columns R.C 150x150 | m³ | 3 | 2.4
|  | 4 | Ground Beam | m³ |  | 5.21
BILL No: 03 - CONCRETE WORKS
TOTAL OF BILL No: 03 - Carried over to summary
BILL No: 04
MASONRY AND PLASTERING
|  | 4.1 | General
(a) Rates shall include for: cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of floor slabs, cutting or leaving holes and openings as recesses for and building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good
|  | 4.2 | Cement blockkwork
|  | 4.2.1 | 150 mm wide solid block wall, laid on and incl. mortar (cement & river sand 1:5) and tie rods as specified
|  | 4.2.2 | External and Internal walls
|  | 1 | Ground floor | m² | #REF! | 1250.6
|  | 4.3 | Plastering
(a) Cement plastering (cement & river sand 1:5) on walls and concrete surfaces as specified incl. wire mesh at the joints of concrete surfaces and walls
|  | 1 | Internal and external surface of the walls, columns and beams | m² |  | 2501.2
0
0
|  | 4.4 | Screed |  |  |  |  | 0
|  | 1 | 50mm thick lean concrete to bottom of :Cement Screed. | Item |  | 1
|  | 2 | 50mm thick Concrete screed with an approved waterproofing admixture 1:2:3 incl. trowel finish on steps (Including Floor Painting) | m² | 163 | 631
BILL No: 04 - MASONRY AND PLASTERING
TOTAL OF BILL No: 04 - Carried over to summary
BILL No: 05
METAL WORKS
|  | 5.1 | General
(a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts including those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
(b) Rates shall include for all painting and finishing as specified
(c) Rates shall include for fabrication and erection and temporary supports and fixing into position
|  | 5.2 | Steel Truss
|  | 1 | Fabrication and fixing of GI PIPE Truss T1 (21m) | No | LS | 5
|  | 2 | Fabrication and fixing of GI PIPE Truss T2 (12m) | No |  | 11
|  | 5.3 | Steel Purlins
|  | 1 | Lysaght 150x50 purlins | m |  | 1502
|  | 5.4 | Steel Column
|  | 1 | GI Pipe | m |  | 90
0
|  | 5.5 | Steel Truss (Sunshade) |  |  |  |  | 0
|  | 1 | Fabrication and fixing of GI PIPE Truss | No |  | 7
BILL No: 05 STRUCTURAL STEEL
|  |  | TOTAL OF BILL No: 05 - Carried over to summary |  |  |  |  | 0
BILL No: 06
ROOFING
|  | 6.1 | General
(a) Rates shall include for: fair edges, dressing over angel fillets, turning into grooves, all other labours, circular edges, nails, screws and other fixings and laps.
|  | 6.2 | Curved roofing
|  | 1 | Lysaght Trim-Deck or equivalent roof sheeting, including all fixings, fixed in accordance with manufacturer's instructions. | m² | 56 | 841
|  | 6.3 | Steel Cladding
|  | 1 | Lysaght Trim-Deck or equivalent roofing sheet cladding on ends of roof trusses | m² | 56 | 206.86
|  | 6.4 | Roof Gutter
|  | 1 | Lysaght Trim-Deck or equivalent roofing Gutter | m |  | 39
BILL No: 06 - ROOFING
TOTAL OF BILL No: 06 - Carried over to summary
BILL N0: 07
DOORS AND WINDOWS
|  | 7.1 | General
(a) Rates shall include for locks, latches, closers, push plates, pull handles, bolts, kick plates, hinges and all door & window hardware.
(b) Rates shall include for door frames and window frames, mullions, transoms, trims, glazing, tinting, timber panels, boardings, framing, lining, fastenings and all fixings and installation.
(c) All door frames and window frames shall be treated timber
(e) Rates shall include for all painting as specified.
|  | 7.2 | Door Units
|  | 1 | Frame, finish and other requirement as shown in the door window schedule and all hinges, bolts, locks and other fixures are medium in quality.
|  | 1 | D1 - Solid timber door | No |  | 4
|  | 2 | D2 - Solid timber door | No | 33 | 6
|  | 3 | D3 - UPVC door (Toilet & Store) | No |  | 4
|  | 4 | FD1 - Steel Folding door (as per drwaings) | No |  | 20
|  | 5 | FD2 - Steel Folding door ( as per drawings) | No |  | 24
|  | 7.3 | Aluminium Window Units |  |  |  |  | 0
|  |  | Frame, finish and other requirement as shown in the door window schedule |  |  |  |  | 0
|  |  | Natural aluminium and 3mm thick clear glass |  |  |  |  | 0
0
|  | 1 | W1 - Aluminium | No | 36 | 3
|  | 2 | W2 - Aluminium | No | 36 | 4
|  | 3 | W3 - Aluminium | No | 6 | 5
|  | 4 | W4 - Aluminium | No |  | 13
|  | 5 | W5 - Aluminium | No |  | 3
|  | 6 | W6 - Aluminium | No |  | 1
|  | 7 | W7 - Aluminium Louvers | No |  | 12
|  | 8 | W8 - Aluminium | No |  | 2
|  | 9 | W9 - Aluminium | No |  | 4
BILL N0: 07 - DOORS AND WINDOWS
TOTAL OF BILL No: 07 - Carried over to summary
BILL N0: 08
FINISHES
|  | 8.1 | General
(a) Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing.
Allowances need to be made for laps and risers of the steps
|  | 8.2 | Ceremic tiles
All tiles are
|  | 1 | Ceramic floor tiles, toilet 200 x 200 | m² |  | 4.65
|  | 2 | Ceramic wall tiles, toilet 250 x 200 (2.1m hgt) | m² |  | 32.13
|  | 8.3 | Partition
|  | 1 | Partiotn wall including Painting | m |  | 38.45
|  | 8.4 | Painting
|  | 1 | Internal and external surface of the walls, columns and beams | m² |  | 2501.2
BILL No: 08 - FINISHES
|  |  | TOTAL OF BILL No: 08 - Carried over to summary |  |  |  |  | 0
BILL No: 09
HYDRAULICS & DRAINAGE
|  | 9.1 | Hydraulics
|  | 9.1.1 | General
(a) Rates shall include for: valves, sockets, running joints, connectors, elbows, junctions, reducers, expansion joints; backnuts and similar; incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails and
fixing complete, including cutting and forming holes; excavating, laying pipes and backfilling trenches.
(b) All pipework shall be UPVC.
H&D |  | 9.1.2 | Ground water supply pipework
|  | 1 | Allow for ground water supply pipework including connection from well | Item | sum | Sum
|  | 9.1.3 | Rain water discharge pipework
|  | 1 | Allow for rainwater discharge pipework including connection to wells | Item |  | Sum
|  | 2 | Down pipes inlcuding painting works | m |  | 10.8
H&D |  | 9.2 | Drainage
|  | 9.2.1 | General
|  |  | (a) Rates shall include for: excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus spoil; bends, junctions, reducers, expansion joints and all joints and other incidental materials. |  |  |  |  | 0
|  |  | (b) All pipework shall be UPVC |  |  |  |  | 0
0
|  | 9.2.2 | Discharge Pipework
|  | 1 | Allow for discharge pipework in accordance with the drawings and specification | Sum | 1 | Item
|  | 9.2.3 | Inspection chambers
|  | 1 | Inspection chambers complete as shown on the drawings incl. all pipe connections and similar |  | #REF!
|  | 2 | 400 x 400 x 300 Inspection chambers | No |  | 1
|  | 9.2.4 | Sanitary fixtures & accessories
Sanitary fixtures complete including brackets, flush pipes, overflows, plugs and washers, as specified.
|  | 1 | WC complete | No | #N/A | 3
|  | 2 | Wash basin | No |  | 3
|  | 3 | Floor waste with water trap. | No | #N/A | 4
|  | 4 | Wash basin taps | No | #REF! | 3
|  | 5 | Tap | No | #N/A | 3
|  | 6 | Muslim showers | No | #REF! | 3
|  | 7 | Floor clean out | No |  | 3
|  | 8 | Mirrors | No |  | 1
BILL No: 09 - HYDRAULICS & DRAINAGE
TOTAL OF BILL No: 09 - Carried over to summary
BILL No: 10
ELECTRICAL INSTALLATIONS
|  | 10.1 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates shall include for electrical conduits, fittings, equipment and similar all fixings to various building surfaces
(d) Each Light/ light fixture and its switch is measured as one one point; similarly each fan or each socket outlet is measured as one point;
|  | 10.2 | Mains connection
|  | 1 | Allow for connection to Power mains | Item | 1 | sum
|  | 10.3 | Electrical boards
Complete installation, including for all connections, earthing, painting, testing and similar of:
|  | 1 | Three phase distribution board | No |  | 1
|  | 10.4 | Electrical wiring
Electrical wiring with copper conductor cable in conduits in walls and in casing on soffits of slab as specified to:
|  | 1 | Wiring with 1.5 mm² cable to lighting & fan | Points | #N/A | 58
|  | 2 | Wiring with 2.5 mm² cable to power points | Points | #N/A | 13
|  | 10.5 | Ceiling fans
|  | 1 | Ceiling fans, "KDK" or equivalent, 1.4m dia complete | no |  | 9
|  | 10.6 | Lighting
|  | 1 | Concealed fluorescent lamp,40w, double | no |  | 22
|  | 2 | Concealed fluorescent lamp,40w, single | no |  | 23
|  | 3 | Wall Mount bulb (Toilet & Store) | no |  | 4
|  | 10.7 | Swithes
|  | 1 | One-way switch | no |  | 45
|  | 2 | 13A power points | no |  | 13
|  | 3 | Fan Dimer | no |  | 9
BILL No: 10 - ELECTRICAL INSTALLATIONS
TOTAL OF BILL No: 10 - Carried over to summary
Note on G128: I.Ali Calculated
Note on G133: I.Ali Calculated
Note on G252: Ashu
Note on G295: I.Ali Calculated

## Summary
SUMMARY OF BILLS OF QUANTITIES
YOUTH CENTER
Bill No | Description | Amount Rf
1 | PRELIMINARIES
2 | GROUND WORKS | 0
3 | CONCRETE | 0
4 | MASONRY AND PLASTERING | 0
5 | METAL WORKS | 0
6 | ROOFING | 0
7 | DOORS AND WINDOWS | 0
8 | FINISHES | 0
9 | HYDRAULICS AND DRAINAGE | 0
10 | ELECTRICAL INSTALLATIONS | 0
| GRAND TOTAL | 0
Unit Rate /m2
0

## cover
Bills of Quantities
Youth Centre At Atolls
2016-09-01